## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5799-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5799-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5799-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5799-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5799-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5799-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5799-3_0_3_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_5799-3_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_5799-3_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5799-3_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5799-3_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5799-3_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5799-3_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5799-3_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5799-3_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_5799-3_0_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_5799-3_0_3_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_5799-3_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5799-3_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5799-3_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_5799-3_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5799-3_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5799-3_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5799-3_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5799-3_0_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_5799-3_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5799-3_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5799-3_0_3_node_191 | 0.4 | n |  | TRUE
28 | bus_LV_5799-3_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5799-3_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5799-3_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5799-3_0_3_node_190 | 0.4 | n |  | TRUE
32 | bus_LV_5799-3_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5799-3_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_5799-3_0_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_5799-3_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5799-3_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5799-3_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5799-3_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5799-3_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5799-3_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5799-3_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_5799-3_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5799-3_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_5799-3_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5799-3_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5799-3_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_5799-3_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5799-3_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5799-3_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5799-3_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5799-3_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_5799-3_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_5799-3_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_5799-3_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_5799-3_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_5799-3_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_5799-3_0_3_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_5799-3_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_5799-3_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5799-3_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_5799-3_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_5799-3_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_5799-3_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_5799-3_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_5799-3_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_5799-3_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_5799-3_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_5799-3_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5799-3_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5799-3_0_3_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_5799-3_0_3_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_5799-3_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5799-3_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5799-3_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5799-3_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_5799-3_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_5799-3_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_5799-3_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5799-3_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_5799-3_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_5799-3_0_3_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5799-3_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_5799-3_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_MV_366_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5799-3_0_3_load_0 | 0 | 0.0037509 | 0.00094006 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5799-3_0_3_load_1 | 1 | 0.0050148 | 0.0012568 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5799-3_0_3_load_3 | 3 | 0.0044985 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5799-3_0_3_load_4 | 4 | 0.0051486 | 0.0012904 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5799-3_0_3_load_5 | 5 | 0.0052076 | 0.0013051 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5799-3_0_3_load_9 | 7 | 0.014603 | 0.0036598 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5799-3_0_3_load_11 | 8 | 0.0032385 | 0.00081165 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5799-3_0_3_load_6 | 9 | 0.0081896 | 0.0020525 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5799-3_0_3_load_7 | 10 | 0.0019296 | 0.00048361 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5799-3_0_3_load_8 | 11 | 0.0018287 | 0.00045832 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5799-3_0_3_load_14 | 14 | 0.0047581 | 0.0011925 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5799-3_0_3_load_57 | 15 | 0.002157 | 0.0005406 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5799-3_0_3_load_56 | 16 | 0.0022215 | 0.00055675 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5799-3_0_3_load_15 | 17 | 0.0021646 | 0.00054249 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5799-3_0_3_load_17 | 20 | 0.0029367 | 0.00073601 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5799-3_0_3_load_19 | 21 | 0.0058086 | 0.0014558 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5799-3_0_3_load_20 | 22 | 0.0014718 | 0.00036888 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5799-3_0_3_load_21 | 23 | 0.00082957 | 0.00020791 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5799-3_0_3_load_30 | 24 | 0.0028018 | 0.0007022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5799-3_0_3_load_22 | 25 | 0.0026299 | 0.0006591 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5799-3_0_3_load_191 | 27 | 0.00026379 | 6.6111e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5799-3_0_3_load_27 | 28 | 0.0019042 | 0.00047725 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5799-3_0_3_load_26 | 30 | 0.00030623 | 7.6747e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5799-3_0_3_load_190 | 31 | 0.00079327 | 0.00019881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5799-3_0_3_load_44 | 33 | 0.00198 | 0.00049624 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5799-3_0_3_load_46 | 34 | 0.0023391 | 0.00058622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5799-3_0_3_load_31 | 35 | 0.0030021 | 0.0007524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5799-3_0_3_load_32 | 36 | 0.0011263 | 0.00028228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5799-3_0_3_load_35 | 39 | 0.011295 | 0.0028308 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5799-3_0_3_load_36 | 40 | 0.01031 | 0.0025839 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5799-3_0_3_load_47 | 41 | 0.0045721 | 0.0011459 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5799-3_0_3_load_37 | 42 | 0.013631 | 0.0034163 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5799-3_0_3_load_48 | 43 | 0.0052704 | 0.0013209 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5799-3_0_3_load_38 | 44 | 0.027442 | 0.0068777 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5799-3_0_3_load_39 | 45 | 0.011344 | 0.0028432 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5799-3_0_3_load_53 | 46 | 0.0086057 | 0.0021568 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5799-3_0_3_load_40 | 47 | 0.01157 | 0.0028997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5799-3_0_3_load_41 | 48 | 0.011553 | 0.0028955 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5799-3_0_3_load_43 | 50 | 0.010012 | 0.0025093 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5799-3_0_3_load_45 | 51 | 0.0022967 | 0.0005756 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5799-3_0_3_load_51 | 52 | 0.0021821 | 0.00054688 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5799-3_0_3_load_50 | 53 | 0.005598 | 0.001403 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5799-3_0_3_load_52 | 54 | 0.0022907 | 0.0005741 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5799-3_0_3_load_54 | 55 | 0.0049386 | 0.0012377 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5799-3_0_3_load_55 | 56 | 0.0011747 | 0.0002944 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5799-3_0_3_load_73 | 57 | 0.0005387 | 0.00013501 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5799-3_0_3_load_64 | 58 | 0.002737 | 0.00068595 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5799-3_0_3_load_58 | 59 | 0.0025387 | 0.00063627 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5799-3_0_3_load_59 | 60 | 0.0026175 | 0.000656 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5799-3_0_3_load_60 | 61 | 0.00091942 | 0.00023043 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5799-3_0_3_load_61 | 62 | 0.003031 | 0.00075964 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5799-3_0_3_load_63 | 64 | 0.0025665 | 0.00064323 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5799-3_0_3_load_65 | 65 | 0.00059718 | 0.00014967 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5799-3_0_3_load_67 | 67 | 0.0006774 | 0.00016977 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5799-3_0_3_load_68 | 68 | 0.00088022 | 0.0002206 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5799-3_0_3_load_77 | 70 | 0.00044668 | 0.00011195 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5799-3_0_3_load_76 | 71 | 0.00091178 | 0.00022851 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5799-3_0_3_load_70 | 72 | 0.00087357 | 0.00021894 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5799-3_0_3_load_71 | 73 | 0.00059351 | 0.00014875 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5799-3_0_3_load_74 | 75 | 0.0029793 | 0.00074669 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5799-3_0_3_load_75 | 76 | 0.0063502 | 0.0015915 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5799-3_0_3_load_78 | 77 | 0.0035017 | 0.00087762 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5799-3_0_3_load_81 | 78 | 0.0042622 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5799-3_0_3_load_80 | 80 | 0.00042666 | 0.00010693 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5799-3_0_3_load_82 | 81 | 0.00098625 | 0.00024718 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5799-3_0_3_load_83 | 82 | 0.00059082 | 0.00014807 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5799-3_0_3_load_84 | 83 | 0.00045345 | 0.00011365 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5799-3_0_3_line_0 |  | 0 | 1 | 0.046906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5799-3_0_3_line_1 |  | 0 | 2 | 0.0065211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5799-3_0_3_line_2 |  | 1 | 3 | 0.043489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5799-3_0_3_line_3 |  | 2 | 4 | 0.039372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5799-3_0_3_line_4 |  | 2 | 5 | 0.0422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5799-3_0_3_line_5 |  | 3 | 6 | 0.035266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5799-3_0_3_line_6 |  | 4 | 7 | 0.035698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5799-3_0_3_line_7 |  | 5 | 8 | 0.009869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5799-3_0_3_line_8 |  | 6 | 53 | 0.033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5799-3_0_3_line_9 |  | 6 | 43 | 0.0091105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5799-3_0_3_line_10 |  | 7 | 10 | 0.0068716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5799-3_0_3_line_11 |  | 8 | 12 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5799-3_0_3_line_12 |  | 9 | 10 | 0.028326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5799-3_0_3_line_13 |  | 9 | 11 | 0.0062882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5799-3_0_3_line_14 |  | 12 | 13 | 0.060836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5799-3_0_3_line_15 |  | 12 | 14 | 0.014122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5799-3_0_3_line_16 |  | 13 | 15 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5799-3_0_3_line_17 |  | 13 | 16 | 0.032454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5799-3_0_3_line_18 |  | 15 | 58 | 0.034068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5799-3_0_3_line_19 |  | 17 | 18 | 0.020223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5799-3_0_3_line_20 |  | 17 | 19 | 0.080849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5799-3_0_3_line_21 |  | 18 | 20 | 0.027386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5799-3_0_3_line_22 |  | 19 | 21 | 0.014543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5799-3_0_3_line_23 |  | 19 | 22 | 0.045629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5799-3_0_3_line_24 |  | 21 | 23 | 0.0061167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5799-3_0_3_line_25 |  | 22 | 24 | 0.016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5799-3_0_3_line_26 |  | 24 | 29 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5799-3_0_3_line_27 |  | 25 | 26 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5799-3_0_3_line_28 |  | 25 | 27 | 0.12401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5799-3_0_3_line_29 |  | 26 | 28 | 0.030549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5799-3_0_3_line_30 |  | 26 | 29 | 0.034789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5799-3_0_3_line_31 |  | 27 | 31 | 0.0058491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5799-3_0_3_line_32 |  | 29 | 32 | 0.032423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5799-3_0_3_line_33 |  | 30 | 31 | 0.0042756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5799-3_0_3_line_34 |  | 32 | 33 | 0.024336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5799-3_0_3_line_35 |  | 32 | 34 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5799-3_0_3_line_36 |  | 33 | 49 | 0.04468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5799-3_0_3_line_37 |  | 34 | 38 | 0.0029743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5799-3_0_3_line_38 |  | 35 | 36 | 0.005847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5799-3_0_3_line_39 |  | 35 | 37 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5799-3_0_3_line_40 |  | 36 | 38 | 0.030065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5799-3_0_3_line_41 |  | 37 | 39 | 0.02223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5799-3_0_3_line_42 |  | 37 | 40 | 0.024454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_5799-3_0_3_line_43 |  | 38 | 41 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5799-3_0_3_line_44 |  | 39 | 42 | 0.015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5799-3_0_3_line_45 |  | 40 | 43 | 0.0095514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5799-3_0_3_line_46 |  | 42 | 44 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5799-3_0_3_line_47 |  | 44 | 45 | 0.027353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5799-3_0_3_line_48 |  | 45 | 46 | 0.0030831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5799-3_0_3_line_49 |  | 46 | 55 | 0.0047952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5799-3_0_3_line_50 |  | 47 | 48 | 0.015803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5799-3_0_3_line_51 |  | 47 | 49 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5799-3_0_3_line_52 |  | 48 | 50 | 0.00059849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5799-3_0_3_line_53 |  | 49 | 51 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5799-3_0_3_line_54 |  | 51 | 52 | 0.047687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5799-3_0_3_line_55 |  | 52 | 54 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5799-3_0_3_line_56 |  | 55 | 56 | 0.025995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5799-3_0_3_line_57 |  | 56 | 57 | 0.011622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5799-3_0_3_line_58 |  | 57 | 73 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5799-3_0_3_line_59 |  | 58 | 63 | 0.0027893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5799-3_0_3_line_60 |  | 59 | 60 | 0.0091733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5799-3_0_3_line_61 |  | 59 | 61 | 0.0063446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5799-3_0_3_line_62 |  | 60 | 62 | 0.00014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5799-3_0_3_line_63 |  | 62 | 63 | 0.034545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5799-3_0_3_line_64 |  | 63 | 64 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5799-3_0_3_line_65 |  | 65 | 66 | 0.036507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5799-3_0_3_line_66 |  | 65 | 67 | 0.0070001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5799-3_0_3_line_67 |  | 66 | 68 | 0.007883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5799-3_0_3_line_68 |  | 66 | 69 | 0.020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5799-3_0_3_line_69 |  | 69 | 70 | 0.0063847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5799-3_0_3_line_70 |  | 69 | 71 | 0.035314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5799-3_0_3_line_71 |  | 70 | 79 | 0.015871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5799-3_0_3_line_72 |  | 72 | 73 | 0.0063785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5799-3_0_3_line_73 |  | 72 | 74 | 0.020916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5799-3_0_3_line_74 |  | 74 | 75 | 0.023721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5799-3_0_3_line_75 |  | 74 | 76 | 0.027946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5799-3_0_3_line_76 |  | 75 | 77 | 0.0043827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5799-3_0_3_line_77 |  | 76 | 78 | 0.016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5799-3_0_3_line_78 |  | 77 | 79 | 0.013111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5799-3_0_3_line_79 |  | 78 | 81 | 0.024582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5799-3_0_3_line_80 |  | 79 | 80 | 0.0082262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5799-3_0_3_line_81 |  | 81 | 82 | 0.0077605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5799-3_0_3_line_82 |  | 82 | 83 | 0.04265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5799-3_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 84 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2549707.9307 | 1158360.228 | 2549728.5237 | 1158386.993 | 2549735.6569 | 1158398.0235
1 | 2549703.9542 | 1158355.0597 | 2549707.9307 | 1158360.228
2 | 2549759.2724 | 1158434.5415 | 2549735.6569 | 1158398.0235
3 | 2549703.9542 | 1158355.0597 | 2549678.5478 | 1158324.9813
4 | 2549703.9542 | 1158355.0597 | 2549674.991 | 1158366.0192 | 2549669.7365 | 1158375.9476
5 | 2549779.3234 | 1158463.4304 | 2549775.3804 | 1158459.4502 | 2549759.2724 | 1158434.5415
6 | 2549655.5128 | 1158297.7104 | 2549678.5478 | 1158324.9813
7 | 2549669.7365 | 1158375.9476 | 2549665.1201 | 1158384.6702
8 | 2549779.3234 | 1158463.4304 | 2549763.954 | 1158469.0619 | 2549754.3373 | 1158470.4876 | 2549748.1925 | 1158465.403
9 | 2549779.3234 | 1158463.4304 | 2549785.7355 | 1158469.9024
10 | 2549655.5128 | 1158297.7104 | 2549651.0787 | 1158292.4608
11 | 2549653.7362 | 1158391.1329 | 2549663.656 | 1158387.4366 | 2549665.1201 | 1158384.6702
12 | 2549632.8002 | 1158270.8211 | 2549651.0787 | 1158292.4608
13 | 2549632.8002 | 1158270.8211 | 2549628.7425 | 1158266.0172
14 | 2549608.0928 | 1158430.5365 | 2549645.62 | 1158394.1469 | 2549653.7362 | 1158391.1329
15 | 2549643.0666 | 1158386.7645 | 2549645.7598 | 1158384.3073 | 2549653.7362 | 1158391.1329
16 | 2549608.0928 | 1158430.5365 | 2549598.6326 | 1158441.1191
17 | 2549608.0928 | 1158430.5365 | 2549617.114 | 1158442.1781 | 2549630.142 | 1158454.1986
18 | 2549575.9272 | 1158466.5183 | 2549598.6326 | 1158441.1191
19 | 2549867.46 | 1158239.4203 | 2549874.848 | 1158258.2453
20 | 2549887.8941 | 1158338.035 | 2549874.848 | 1158258.2453
21 | 2549867.46 | 1158239.4203 | 2549887.537 | 1158220.795
22 | 2549887.8941 | 1158338.035 | 2549879.4685 | 1158340.7512 | 2549874.7557 | 1158343.94
23 | 2549887.8941 | 1158338.035 | 2549891.1981 | 1158366.4891 | 2549891.7098 | 1158383.4652
24 | 2549874.7557 | 1158343.94 | 2549869.6897 | 1158347.3678
25 | 2549891.7098 | 1158383.4652 | 2549891.9086 | 1158390.0623 | 2549893.0176 | 1158399.7758
26 | 2549894.5967 | 1158413.6078 | 2549893.0176 | 1158399.7758
27 | 2549920.8987 | 1158429.1521 | 2549923.2742 | 1158429.0322 | 2549938.4553 | 1158425.8927
28 | 2549938.4553 | 1158425.8927 | 2550058.6544 | 1158395.3759
29 | 2549920.8987 | 1158429.1521 | 2549932.809 | 1158457.2898
30 | 2549894.5967 | 1158413.6078 | 2549906.0095 | 1158429.8878 | 2549920.8987 | 1158429.1521
31 | 2550058.6544 | 1158395.3759 | 2550060.0995 | 1158401.0436
32 | 2549876.0723 | 1158438.9535 | 2549886.1398 | 1158431.8324 | 2549894.5967 | 1158413.6078
33 | 2550060.0995 | 1158401.0436 | 2550061.1559 | 1158405.1867
34 | 2549876.0723 | 1158438.9535 | 2549885.72 | 1158461.2954
35 | 2549876.0723 | 1158438.9535 | 2549852.4132 | 1158455.6963
36 | 2549903.4327 | 1158502.3141 | 2549885.72 | 1158461.2954
37 | 2549849.9853 | 1158457.4144 | 2549852.4132 | 1158455.6963
38 | 2549821.6668 | 1158479.1809 | 2549825.337 | 1158474.6294 | 2549825.337 | 1158474.6294
39 | 2549809.669 | 1158494.0595 | 2549821.6668 | 1158479.1809
40 | 2549849.9853 | 1158457.4144 | 2549843.4235 | 1158462.0494 | 2549825.337 | 1158474.6294
41 | 2549809.669 | 1158494.0595 | 2549813.2182 | 1158499.5327 | 2549818.7125 | 1158514.2474
42 | 2549809.669 | 1158494.0595 | 2549792.4579 | 1158476.6876
43 | 2549849.9853 | 1158457.4144 | 2549847.2825 | 1158445.8865
44 | 2549818.7125 | 1158514.2474 | 2549824.0486 | 1158528.5382
45 | 2549785.7355 | 1158469.9024 | 2549792.4579 | 1158476.6876
46 | 2549824.0486 | 1158528.5382 | 2549829.4221 | 1158542.9295
47 | 2549829.4221 | 1158542.9295 | 2549838.9901 | 1158568.554
48 | 2549840.0686 | 1158571.4423 | 2549838.9901 | 1158568.554
49 | 2549840.0686 | 1158571.4423 | 2549841.7459 | 1158575.9346 | 2549841.7459 | 1158575.9346
50 | 2549898.9191 | 1158511.7012 | 2549899.4424 | 1158527.496
51 | 2549903.4327 | 1158502.3141 | 2549898.9191 | 1158511.7012 | 2549898.9191 | 1158511.7012
52 | 2549899.4622 | 1158528.0942 | 2549899.4424 | 1158527.496
53 | 2549903.4327 | 1158502.3141 | 2549906.3922 | 1158503.2788 | 2549919.5396 | 1158494.1088 | 2549919.5396 | 1158494.1088
54 | 2549944.7557 | 1158521.948 | 2549934.203 | 1158526.9816 | 2549919.5396 | 1158494.1088
55 | 2549960.0116 | 1158514.6711 | 2549944.7557 | 1158521.948
56 | 2549846.4817 | 1158601.4949 | 2549841.7459 | 1158575.9346
57 | 2549846.4817 | 1158601.4949 | 2549848.599 | 1158612.9225
58 | 2549851.1689 | 1158626.7931 | 2549848.599 | 1158612.9225
59 | 2549574.0683 | 1158468.5978 | 2549575.9272 | 1158466.5183
60 | 2549548.4608 | 1158503.9722 | 2549553.1888 | 1158496.1113
61 | 2549548.4608 | 1158503.9722 | 2549545.1907 | 1158509.4091
62 | 2549553.1888 | 1158496.1113 | 2549553.2631 | 1158495.9878
63 | 2549574.0683 | 1158468.5978 | 2549560.8307 | 1158483.4057 | 2549553.2631 | 1158495.9878
64 | 2549574.0683 | 1158468.5978 | 2549588.7702 | 1158482.0926
65 | 2549804.3988 | 1158665.9274 | 2549802.6346 | 1158661.2175 | 2549797.5707 | 1158648.7755 | 2549794.0931 | 1158642.6902 | 2549788.7308 | 1158636.7319 | 2549787.2854 | 1158634.0804
66 | 2549783.935 | 1158627.9341 | 2549787.2854 | 1158634.0804
67 | 2549804.3988 | 1158665.9274 | 2549797.0329 | 1158668.7905
68 | 2549812.8546 | 1158684.3109 | 2549808.3113 | 1158676.3558 | 2549804.3988 | 1158665.9274
69 | 2549812.8546 | 1158684.3109 | 2549819.2382 | 1158684.4345
70 | 2549812.8546 | 1158684.3109 | 2549784.1031 | 1158683.751 | 2549777.5694 | 1158683.2006
71 | 2549834.7626 | 1158686.9403 | 2549826.8854 | 1158684.5827 | 2549819.2382 | 1158684.4345
72 | 2549852.3309 | 1158633.0648 | 2549851.1689 | 1158626.7931
73 | 2549856.3698 | 1158653.5867 | 2549853.9084 | 1158641.5787 | 2549852.3309 | 1158633.0648
74 | 2549856.3698 | 1158653.5867 | 2549854.6961 | 1158664.2952 | 2549848.8247 | 1158673.538 | 2549847.426 | 1158674.871
75 | 2549856.3698 | 1158653.5867 | 2549860.2346 | 1158653.7323 | 2549866.3794 | 1158655.1817 | 2549872.0414 | 1158659.4033 | 2549879.0165 | 1158667.5212
76 | 2549844.2534 | 1158677.8948 | 2549847.426 | 1158674.871
77 | 2549889.5618 | 1158679.7942 | 2549879.0165 | 1158667.5212
78 | 2549834.7626 | 1158686.9403 | 2549844.2534 | 1158677.8948
79 | 2549889.5618 | 1158679.7942 | 2549905.5821 | 1158698.4392
80 | 2549834.7626 | 1158686.9403 | 2549830.6025 | 1158694.037
81 | 2549905.5821 | 1158698.4392 | 2549907.3407 | 1158700.4859 | 2549910.5547 | 1158704.3967
82 | 2549910.5547 | 1158704.3967 | 2549921.7686 | 1158718.0415 | 2549931.2159 | 1158733.1151 | 2549933.1886 | 1158740.0385

## bus_geodata
| x | y | coords
0 | 2549707.9307 | 1158360.228
1 | 2549735.6569 | 1158398.0235
2 | 2549703.9542 | 1158355.0597
3 | 2549759.2724 | 1158434.5415
4 | 2549678.5478 | 1158324.9813
5 | 2549669.7365 | 1158375.9476
6 | 2549779.3234 | 1158463.4304
7 | 2549655.5128 | 1158297.7103
8 | 2549665.1201 | 1158384.6703
9 | 2549632.8002 | 1158270.8211
10 | 2549651.0787 | 1158292.4608
11 | 2549628.7425 | 1158266.0172
12 | 2549653.7362 | 1158391.1329
13 | 2549608.0928 | 1158430.5365
14 | 2549643.0665 | 1158386.7645
15 | 2549598.6326 | 1158441.1191
16 | 2549630.142 | 1158454.1985
17 | 2549874.848 | 1158258.2453
18 | 2549867.46 | 1158239.4203
19 | 2549887.8941 | 1158338.035
20 | 2549887.537 | 1158220.795
21 | 2549874.7557 | 1158343.94
22 | 2549891.7098 | 1158383.4652
23 | 2549869.6897 | 1158347.3678
24 | 2549893.0176 | 1158399.7758
25 | 2549938.4553 | 1158425.8927
26 | 2549920.8987 | 1158429.1521
27 | 2550058.6544 | 1158395.3759
28 | 2549932.809 | 1158457.2898
29 | 2549894.5967 | 1158413.6078
30 | 2550061.1559 | 1158405.1867
31 | 2550060.0995 | 1158401.0436
32 | 2549876.0723 | 1158438.9535
33 | 2549885.72 | 1158461.2954
34 | 2549852.4132 | 1158455.6963
35 | 2549821.6668 | 1158479.1809
36 | 2549825.337 | 1158474.6294
37 | 2549809.669 | 1158494.0595
38 | 2549849.9853 | 1158457.4144
39 | 2549818.7125 | 1158514.2474
40 | 2549792.4579 | 1158476.6876
41 | 2549847.2825 | 1158445.8865
42 | 2549824.0486 | 1158528.5382
43 | 2549785.7355 | 1158469.9024
44 | 2549829.4221 | 1158542.9295
45 | 2549838.9901 | 1158568.554
46 | 2549840.0686 | 1158571.4423
47 | 2549898.9191 | 1158511.7012
48 | 2549899.4424 | 1158527.496
49 | 2549903.4327 | 1158502.3141
50 | 2549899.4622 | 1158528.0942
51 | 2549919.5396 | 1158494.1088
52 | 2549944.7557 | 1158521.948
53 | 2549748.1925 | 1158465.403
54 | 2549960.0116 | 1158514.6711
55 | 2549841.7459 | 1158575.9346
56 | 2549846.4817 | 1158601.4949
57 | 2549848.599 | 1158612.9225
58 | 2549575.9272 | 1158466.5183
59 | 2549548.4608 | 1158503.9722
60 | 2549553.1888 | 1158496.1113
61 | 2549545.1907 | 1158509.4091
62 | 2549553.2631 | 1158495.9878
63 | 2549574.0683 | 1158468.5978
64 | 2549588.7702 | 1158482.0926
65 | 2549787.2854 | 1158634.0804
66 | 2549804.3988 | 1158665.9274
67 | 2549783.935 | 1158627.9341
68 | 2549797.0329 | 1158668.7905
69 | 2549812.8546 | 1158684.3109
70 | 2549819.2382 | 1158684.4345
71 | 2549777.5694 | 1158683.2006
72 | 2549852.3309 | 1158633.0648
73 | 2549851.1689 | 1158626.7931
74 | 2549856.3698 | 1158653.5867
75 | 2549847.426 | 1158674.871
76 | 2549879.0165 | 1158667.5212
77 | 2549844.2534 | 1158677.8948
78 | 2549889.5618 | 1158679.7942
79 | 2549834.7626 | 1158686.9403
80 | 2549830.6025 | 1158694.037
81 | 2549905.5821 | 1158698.4392
82 | 2549910.5547 | 1158704.3967
83 | 2549933.1886 | 1158740.0385
84 | 2549779.3234 | 1158463.4304

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1