## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_58-2_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_58-2_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_58-2_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_58-2_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_58-2_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_58-2_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_58-2_0_1_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_58-2_0_1_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_58-2_0_1_node_270 | 0.4 | n |  | TRUE
9 | bus_LV_58-2_0_1_node_268 | 0.4 | n |  | TRUE
10 | bus_LV_58-2_0_1_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_58-2_0_1_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_58-2_0_1_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_58-2_0_1_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_58-2_0_1_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_58-2_0_1_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_58-2_0_1_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_58-2_0_1_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_58-2_0_1_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_58-2_0_1_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_58-2_0_1_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_58-2_0_1_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_58-2_0_1_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_58-2_0_1_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_58-2_0_1_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_58-2_0_1_node_242 | 0.4 | n |  | TRUE
26 | bus_LV_58-2_0_1_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_58-2_0_1_node_237 | 0.4 | n |  | TRUE
28 | bus_LV_58-2_0_1_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_58-2_0_1_node_258 | 0.4 | n |  | TRUE
30 | bus_LV_58-2_0_1_node_257 | 0.4 | n |  | TRUE
31 | bus_LV_58-2_0_1_node_260 | 0.4 | n |  | TRUE
32 | bus_LV_58-2_0_1_node_256 | 0.4 | n |  | TRUE
33 | bus_LV_58-2_0_1_node_262 | 0.4 | n |  | TRUE
34 | bus_LV_58-2_0_1_node_263 | 0.4 | n |  | TRUE
35 | bus_LV_58-2_0_1_node_255 | 0.4 | n |  | TRUE
36 | bus_LV_58-2_0_1_node_264 | 0.4 | n |  | TRUE
37 | bus_LV_58-2_0_1_node_252 | 0.4 | n |  | TRUE
38 | bus_LV_58-2_0_1_node_273 | 0.4 | n |  | TRUE
39 | bus_LV_58-2_0_1_node_265 | 0.4 | n |  | TRUE
40 | bus_LV_58-2_0_1_node_253 | 0.4 | n |  | TRUE
41 | bus_LV_58-2_0_1_node_266 | 0.4 | n |  | TRUE
42 | bus_LV_58-2_0_1_node_267 | 0.4 | n |  | TRUE
43 | bus_LV_58-2_0_1_node_269 | 0.4 | n |  | TRUE
44 | bus_LV_58-2_0_1_node_271 | 0.4 | n |  | TRUE
45 | bus_LV_58-2_0_1_node_246 | 0.4 | n |  | TRUE
46 | bus_LV_58-2_0_1_node_272 | 0.4 | n |  | TRUE
47 | bus_LV_58-2_0_1_node_233 | 0.4 | n |  | TRUE
48 | bus_LV_58-2_0_1_node_234 | 0.4 | n |  | TRUE
49 | bus_LV_58-2_0_1_node_235 | 0.4 | n |  | TRUE
50 | bus_LV_58-2_0_1_node_236 | 0.4 | n |  | TRUE
51 | bus_LV_58-2_0_1_node_238 | 0.4 | n |  | TRUE
52 | bus_LV_58-2_0_1_node_239 | 0.4 | n |  | TRUE
53 | bus_LV_58-2_0_1_node_240 | 0.4 | n |  | TRUE
54 | bus_LV_58-2_0_1_node_245 | 0.4 | n |  | TRUE
55 | bus_LV_58-2_0_1_node_243 | 0.4 | n |  | TRUE
56 | bus_LV_58-2_0_1_node_244 | 0.4 | n |  | TRUE
57 | bus_LV_58-2_0_1_node_254 | 0.4 | n |  | TRUE
58 | bus_LV_58-2_0_1_node_247 | 0.4 | n |  | TRUE
59 | bus_LV_58-2_0_1_node_248 | 0.4 | n |  | TRUE
60 | bus_LV_58-2_0_1_node_249 | 0.4 | n |  | TRUE
61 | bus_LV_58-2_0_1_node_250 | 0.4 | n |  | TRUE
62 | bus_LV_58-2_0_1_node_251 | 0.4 | n |  | TRUE
63 | bus_MV_351_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_58-2_0_1_load_0 | 0 | 0.0007573 | 0.0001898 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_58-2_0_1_load_1 | 1 | 0.0013038 | 0.00032677 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_58-2_0_1_load_2 | 2 | 0.0024824 | 0.00062214 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_58-2_0_1_load_3 | 3 | 0.0014733 | 0.00036925 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_58-2_0_1_load_6 | 6 | 0.00083193 | 0.0002085 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_58-2_0_1_load_7 | 7 | 0.0018162 | 0.00045518 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_58-2_0_1_load_270 | 8 | 0.00082282 | 0.00020622 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_58-2_0_1_load_268 | 9 | 0.0013675 | 0.00034274 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_58-2_0_1_load_13 | 10 | 0.0012981 | 0.00032532 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_58-2_0_1_load_14 | 14 | 0.0013602 | 0.0003409 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_58-2_0_1_load_17 | 17 | 0.0014658 | 0.00036737 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_58-2_0_1_load_18 | 18 | 0.00079466 | 0.00019916 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_58-2_0_1_load_11 | 19 | 0.0014642 | 0.00036695 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_58-2_0_1_load_19 | 20 | 0.001881 | 0.00047144 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_58-2_0_1_load_20 | 21 | 0.00031106 | 7.796e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_58-2_0_1_load_22 | 22 | 0.0020899 | 0.00052378 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_58-2_0_1_load_26 | 23 | 0.0031299 | 0.00078442 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_58-2_0_1_load_24 | 24 | 0.00068254 | 0.00017106 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_58-2_0_1_load_242 | 25 | 0.0013227 | 0.00033151 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_58-2_0_1_load_21 | 26 | 0.00040053 | 0.00010038 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_58-2_0_1_load_237 | 27 | 0.0025112 | 0.00062937 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_58-2_0_1_load_23 | 28 | 0.0021929 | 0.00054959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_58-2_0_1_load_258 | 29 | 0.0019191 | 0.00048098 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_58-2_0_1_load_257 | 30 | 0.00067161 | 0.00016832 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_58-2_0_1_load_256 | 32 | 0.0028327 | 0.00070994 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_58-2_0_1_load_262 | 33 | 0.0015551 | 0.00038975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_58-2_0_1_load_263 | 34 | 0.0015695 | 0.00039337 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_58-2_0_1_load_255 | 35 | 0.0015092 | 0.00037823 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_58-2_0_1_load_264 | 36 | 0.0033115 | 0.00082993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_58-2_0_1_load_273 | 38 | 0.0029097 | 0.00072924 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_58-2_0_1_load_265 | 39 | 0.0051608 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_58-2_0_1_load_253 | 40 | 0.0065061 | 0.0016306 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_58-2_0_1_load_266 | 41 | 0.0015896 | 0.00039838 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_58-2_0_1_load_267 | 42 | 0.00070612 | 0.00017697 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_58-2_0_1_load_269 | 43 | 0.0012104 | 0.00030334 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_58-2_0_1_load_271 | 44 | 0.00058891 | 0.00014759 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_58-2_0_1_load_246 | 45 | 0.0011049 | 0.00027691 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_58-2_0_1_load_272 | 46 | 0.00093836 | 0.00023517 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_58-2_0_1_load_233 | 47 | 0.0030711 | 0.0007697 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_58-2_0_1_load_234 | 48 | 0.0048177 | 0.0012074 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_58-2_0_1_load_238 | 51 | 0.0046837 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_58-2_0_1_load_239 | 52 | 0.0042161 | 0.0010567 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_58-2_0_1_load_240 | 53 | 0.003473 | 0.0008704 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_58-2_0_1_load_245 | 54 | 0.0025431 | 0.00063736 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_58-2_0_1_load_244 | 56 | 0.0014661 | 0.00036743 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_58-2_0_1_load_254 | 57 | 0.0027598 | 0.00069167 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_58-2_0_1_load_247 | 58 | 0.0062926 | 0.0015771 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_58-2_0_1_load_248 | 59 | 0.0083215 | 0.0020856 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_58-2_0_1_load_251 | 62 | 0.0011991 | 0.00030053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_58-2_0_1_line_0 |  | 0 | 1 | 0.020992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_58-2_0_1_line_1 |  | 0 | 2 | 0.023121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_58-2_0_1_line_2 |  | 1 | 3 | 0.049447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_58-2_0_1_line_3 |  | 2 | 4 | 0.039398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_58-2_0_1_line_4 |  | 3 | 5 | 0.035624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_58-2_0_1_line_5 |  | 4 | 6 | 0.025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_58-2_0_1_line_6 |  | 4 | 7 | 0.02625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_58-2_0_1_line_7 |  | 5 | 8 | 0.029242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_58-2_0_1_line_8 |  | 5 | 9 | 0.022515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_58-2_0_1_line_9 |  | 6 | 10 | 0.017535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_58-2_0_1_line_10 |  | 7 | 11 | 0.11176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_58-2_0_1_line_11 |  | 8 | 33 | 0.0046737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_58-2_0_1_line_12 |  | 9 | 41 | 0.0082583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_58-2_0_1_line_13 |  | 10 | 22 | 0.024197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_58-2_0_1_line_14 |  | 11 | 12 | 0.10451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_58-2_0_1_line_15 |  | 11 | 13 | 0.1022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_58-2_0_1_line_16 |  | 12 | 14 | 0.049061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_58-2_0_1_line_17 |  | 13 | 21 | 0.06748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_58-2_0_1_line_18 |  | 15 | 16 | 0.16183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_58-2_0_1_line_19 |  | 15 | 17 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_58-2_0_1_line_20 |  | 15 | 18 | 0.015627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_58-2_0_1_line_21 |  | 16 | 23 | 0.11187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_58-2_0_1_line_22 |  | 18 | 24 | 0.021567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_58-2_0_1_line_23 |  | 19 | 20 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_58-2_0_1_line_24 |  | 20 | 25 | 0.03647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_58-2_0_1_line_25 |  | 22 | 28 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_58-2_0_1_line_26 |  | 24 | 28 | 0.0033197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_58-2_0_1_line_27 |  | 25 | 55 | 0.0091806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_58-2_0_1_line_28 |  | 26 | 27 | 0.070228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_58-2_0_1_line_29 |  | 27 | 49 | 0.023639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_58-2_0_1_line_30 |  | 29 | 30 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_58-2_0_1_line_31 |  | 30 | 37 | 0.0084338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_58-2_0_1_line_32 |  | 31 | 32 | 0.028604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_58-2_0_1_line_33 |  | 31 | 33 | 0.017225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_58-2_0_1_line_34 |  | 32 | 37 | 0.018849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_58-2_0_1_line_35 |  | 34 | 35 | 0.0068523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_58-2_0_1_line_36 |  | 34 | 36 | 0.0030632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_58-2_0_1_line_37 |  | 35 | 62 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_58-2_0_1_line_38 |  | 36 | 38 | 0.0084401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_58-2_0_1_line_39 |  | 37 | 60 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_58-2_0_1_line_40 |  | 39 | 40 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_58-2_0_1_line_41 |  | 40 | 61 | 0.011875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_58-2_0_1_line_42 |  | 41 | 42 | 0.0055834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_58-2_0_1_line_43 |  | 42 | 43 | 0.03859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_58-2_0_1_line_44 |  | 44 | 45 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_58-2_0_1_line_45 |  | 44 | 46 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_58-2_0_1_line_46 |  | 45 | 56 | 0.0027807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_58-2_0_1_line_47 |  | 47 | 48 | 0.0020418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_58-2_0_1_line_48 |  | 47 | 49 | 0.0099239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_58-2_0_1_line_49 |  | 48 | 50 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_58-2_0_1_line_50 |  | 49 | 51 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_58-2_0_1_line_51 |  | 50 | 52 | 0.0026898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_58-2_0_1_line_52 |  | 50 | 53 | 0.022534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_58-2_0_1_line_53 |  | 52 | 54 | 0.0067173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_58-2_0_1_line_54 |  | 53 | 55 | 0.034314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_58-2_0_1_line_55 |  | 54 | 57 | 0.0064458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_58-2_0_1_line_56 |  | 55 | 56 | 0.020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_58-2_0_1_line_57 |  | 57 | 61 | 0.0088006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_58-2_0_1_line_58 |  | 58 | 59 | 0.015015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_58-2_0_1_line_59 |  | 58 | 60 | 0.010816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_58-2_0_1_line_60 |  | 59 | 61 | 0.0077462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_58-2_0_1_line_61 |  | 60 | 62 | 0.030098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_58-2_0_1_trafo_272 | 0.63 MVA 20/0.4 kV | 63 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2677563.0595 | 1268357.7526 | 2677550.5151 | 1268350.5158 | 2677544.5286 | 1268347.9576
1 | 2677563.0595 | 1268357.7526 | 2677583.0869 | 1268369.3063
2 | 2677544.5286 | 1268347.9576 | 2677499.059 | 1268328.5276
3 | 2677615.6641 | 1268391.3476 | 2677596.4338 | 1268377.006 | 2677583.0869 | 1268369.3063
4 | 2677467.0004 | 1268313.08 | 2677472.6554 | 1268316.3456 | 2677483.7735 | 1268321.9958 | 2677499.059 | 1268328.5276
5 | 2677615.6641 | 1268391.3476 | 2677637.679 | 1268403.8231
6 | 2677615.6641 | 1268391.3476 | 2677613.9403 | 1268417.5406
7 | 2677467.0004 | 1268313.08 | 2677454.1282 | 1268305.7277 | 2677441.1904 | 1268299.3643
8 | 2677467.0004 | 1268313.08 | 2677458.6035 | 1268333.9709
9 | 2677637.679 | 1268403.8231 | 2677652.9346 | 1268412.4683
10 | 2677606.5986 | 1268529.0591 | 2677612.2408 | 1268443.3658 | 2677613.9403 | 1268417.5406
11 | 2677436.7265 | 1268297.9797 | 2677441.1904 | 1268299.3643
12 | 2677453.6909 | 1268339.6487 | 2677456.6988 | 1268338.7096 | 2677458.6035 | 1268333.9709
13 | 2677673.982 | 1268424.4047 | 2677673.5194 | 1268424.1334 | 2677652.9346 | 1268412.4683
14 | 2677606.5986 | 1268529.0591 | 2677613.141 | 1268563.8502 | 2677617.7796 | 1268576.8436 | 2677625.7039 | 1268594.6728 | 2677632.9864 | 1268610.3697 | 2677640.8718 | 1268627.1421
15 | 2677575.6114 | 1268620.7801 | 2677579.5754 | 1268569.4028 | 2677581.4116 | 1268557.9623 | 2677585.2551 | 1268548.4164 | 2677592.1057 | 1268541.423 | 2677606.5986 | 1268529.0591
16 | 2677685.406 | 1268647.6879 | 2677646.4396 | 1268628.4162 | 2677640.8718 | 1268627.1421
17 | 2677575.6114 | 1268620.7801 | 2677574.8136 | 1268630.5217 | 2677572.693 | 1268655.5914 | 2677572.5271 | 1268668.2214 | 2677574.0297 | 1268688.0804
18 | 2677718.3681 | 1268460.9298 | 2677731.2037 | 1268476.155 | 2677746.7368 | 1268490.5818 | 2677785.0991 | 1268518.6198 | 2677846.1796 | 1268559.5118
19 | 2677718.3681 | 1268460.9298 | 2677729.8617 | 1268451.2263
20 | 2677718.3681 | 1268460.9298 | 2677707.6078 | 1268449.597
21 | 2677846.1796 | 1268559.5118 | 2677857.3777 | 1268570.4568 | 2677903.9369 | 1268590.9532 | 2677947.6663 | 1268602.8614 | 2677947.6855 | 1268602.8647
22 | 2677691.6487 | 1268435.1797 | 2677700.3953 | 1268442.0008 | 2677707.6078 | 1268449.597
23 | 2677429.9531 | 1268415.7687 | 2677444.3888 | 1268425.094 | 2677444.4464 | 1268425.1307
24 | 2677429.9531 | 1268415.7687 | 2677399.3189 | 1268395.9795
25 | 2677688.9866 | 1268433.2036 | 2677673.982 | 1268424.4047
26 | 2677691.6487 | 1268435.1797 | 2677689.5031 | 1268433.5065 | 2677688.9866 | 1268433.2036
27 | 2677391.6074 | 1268390.998 | 2677399.3189 | 1268395.9795
28 | 2677370.9281 | 1268468.7225 | 2677359.2493 | 1268454.8468 | 2677354.3518 | 1268446.0535 | 2677352.4034 | 1268435.6309 | 2677353.9867 | 1268413.5899 | 2677353.3681 | 1268404.2851
29 | 2677346.497 | 1268382.0337 | 2677352.8109 | 1268395.905 | 2677353.3681 | 1268404.2851
30 | 2677376.3672 | 1268268.3292 | 2677373.4865 | 1268279.0293
31 | 2677373.0344 | 1268287.3733 | 2677372.8335 | 1268281.4549 | 2677373.4865 | 1268279.0293
32 | 2677419.9235 | 1268294.4818 | 2677397.7602 | 1268291.9451 | 2677391.573 | 1268290.778
33 | 2677419.9235 | 1268294.4818 | 2677429.4737 | 1268295.7302 | 2677436.7265 | 1268297.9797
34 | 2677373.0344 | 1268287.3733 | 2677379.9582 | 1268288.5872 | 2677391.573 | 1268290.778
35 | 2677324.7206 | 1268282.2974 | 2677317.9509 | 1268281.2365
36 | 2677315.1329 | 1268280.0359 | 2677317.9509 | 1268281.2365 | 2677317.9509 | 1268281.2365
37 | 2677334.7653 | 1268283.5695 | 2677334.7653 | 1268283.5695 | 2677325.2294 | 1268282.3771 | 2677324.7206 | 1268282.2974
38 | 2677315.1329 | 1268280.0359 | 2677310.0616 | 1268277.8751 | 2677307.8307 | 1268275.9792
39 | 2677373.0344 | 1268287.3733 | 2677368.0963 | 1268288.5652 | 2677363.6713 | 1268291.9544
40 | 2677383.4228 | 1268325.7506 | 2677368.642 | 1268325.1437
41 | 2677356.7774 | 1268324.6565 | 2677368.642 | 1268325.1437
42 | 2677453.6909 | 1268339.6487 | 2677453.6909 | 1268339.6487 | 2677448.1305 | 1268339.142
43 | 2677411.6468 | 1268326.999 | 2677434.7761 | 1268336.2092 | 2677445.8499 | 1268338.9342 | 2677448.1305 | 1268339.142
44 | 2677404.7024 | 1268371.3611 | 2677411.1423 | 1268361.7042
45 | 2677418.5787 | 1268350.5528 | 2677411.1423 | 1268361.7042
46 | 2677404.7024 | 1268371.3611 | 2677403.1597 | 1268373.6746
47 | 2677348.8365 | 1268372.3895 | 2677349.3178 | 1268370.4052
48 | 2677346.497 | 1268382.0337 | 2677348.8365 | 1268372.3895
49 | 2677354.4613 | 1268349.201 | 2677349.3178 | 1268370.4052
50 | 2677346.497 | 1268382.0337 | 2677340.3769 | 1268391.3054 | 2677331.7605 | 1268397.3015
51 | 2677354.4613 | 1268349.201 | 2677354.714 | 1268346.5231
52 | 2677354.4613 | 1268349.201 | 2677357.7975 | 1268356.5282 | 2677366.4674 | 1268368.13
53 | 2677354.714 | 1268346.5231 | 2677355.3451 | 1268339.8355
54 | 2677391.6074 | 1268390.998 | 2677373.5828 | 1268377.6515 | 2677366.4674 | 1268368.13
55 | 2677355.3451 | 1268339.8355 | 2677355.9506 | 1268333.4182
56 | 2677391.6074 | 1268390.998 | 2677403.1597 | 1268373.6746
57 | 2677356.7774 | 1268324.6565 | 2677355.9506 | 1268333.4182
58 | 2677360.3056 | 1268302.2235 | 2677357.9404 | 1268312.2953 | 2677357.503 | 1268316.9443
59 | 2677363.6713 | 1268291.9544 | 2677360.7702 | 1268300.2451 | 2677360.3056 | 1268302.2235
60 | 2677356.7774 | 1268324.6565 | 2677357.503 | 1268316.9443
61 | 2677363.6713 | 1268291.9544 | 2677344.8142 | 1268286.3921 | 2677334.7653 | 1268283.5695

## bus_geodata
| x | y | coords
0 | 2677563.0595 | 1268357.7526
1 | 2677544.5286 | 1268347.9576
2 | 2677583.0869 | 1268369.3063
3 | 2677499.059 | 1268328.5276
4 | 2677615.6641 | 1268391.3476
5 | 2677467.0004 | 1268313.08
6 | 2677637.679 | 1268403.8231
7 | 2677613.9403 | 1268417.5406
8 | 2677441.1904 | 1268299.3643
9 | 2677458.6035 | 1268333.9709
10 | 2677652.9346 | 1268412.4683
11 | 2677606.5986 | 1268529.0591
12 | 2677640.8718 | 1268627.1421
13 | 2677575.6114 | 1268620.7801
14 | 2677685.406 | 1268647.6879
15 | 2677718.3681 | 1268460.9298
16 | 2677846.1796 | 1268559.5118
17 | 2677729.8617 | 1268451.2263
18 | 2677707.6078 | 1268449.597
19 | 2677444.4464 | 1268425.1307
20 | 2677429.9531 | 1268415.7687
21 | 2677574.0297 | 1268688.0804
22 | 2677673.982 | 1268424.4047
23 | 2677947.6855 | 1268602.8647
24 | 2677691.6487 | 1268435.1797
25 | 2677399.3189 | 1268395.9795
26 | 2677370.9281 | 1268468.7225
27 | 2677353.3681 | 1268404.2851
28 | 2677688.9866 | 1268433.2036
29 | 2677376.3672 | 1268268.3292
30 | 2677373.4865 | 1268279.0293
31 | 2677419.9235 | 1268294.4818
32 | 2677391.573 | 1268290.778
33 | 2677436.7265 | 1268297.9797
34 | 2677317.9509 | 1268281.2365
35 | 2677324.7206 | 1268282.2974
36 | 2677315.1329 | 1268280.0359
37 | 2677373.0344 | 1268287.3733
38 | 2677307.8307 | 1268275.9792
39 | 2677383.4228 | 1268325.7506
40 | 2677368.642 | 1268325.1437
41 | 2677453.6909 | 1268339.6487
42 | 2677448.1305 | 1268339.142
43 | 2677411.6468 | 1268326.999
44 | 2677411.1423 | 1268361.7042
45 | 2677404.7024 | 1268371.3611
46 | 2677418.5787 | 1268350.5528
47 | 2677348.8365 | 1268372.3895
48 | 2677349.3178 | 1268370.4052
49 | 2677346.497 | 1268382.0337
50 | 2677354.4613 | 1268349.201
51 | 2677331.7605 | 1268397.3015
52 | 2677354.714 | 1268346.5231
53 | 2677366.4674 | 1268368.13
54 | 2677355.3451 | 1268339.8355
55 | 2677391.6074 | 1268390.998
56 | 2677403.1597 | 1268373.6746
57 | 2677355.9506 | 1268333.4182
58 | 2677360.3056 | 1268302.2235
59 | 2677357.503 | 1268316.9443
60 | 2677363.6713 | 1268291.9544
61 | 2677356.7774 | 1268324.6565
62 | 2677334.7653 | 1268283.5695
63 | 2677391.6074 | 1268390.998

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1