## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_58-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_58-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_58-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_58-5_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_58-5_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_58-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_58-5_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_58-5_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_58-5_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_58-5_0_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_58-5_0_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_58-5_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_58-5_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_58-5_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_58-5_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_58-5_0_4_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_58-5_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_58-5_0_4_node_117 | 0.4 | n |  | TRUE
18 | bus_LV_58-5_0_4_node_118 | 0.4 | n |  | TRUE
19 | bus_LV_58-5_0_4_node_119 | 0.4 | n |  | TRUE
20 | bus_LV_58-5_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_58-5_0_4_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_58-5_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_58-5_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_58-5_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_58-5_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_58-5_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_58-5_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_58-5_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_58-5_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_58-5_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_58-5_0_4_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_58-5_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_58-5_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_58-5_0_4_node_125 | 0.4 | n |  | TRUE
35 | bus_LV_58-5_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_58-5_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_58-5_0_4_node_126 | 0.4 | n |  | TRUE
38 | bus_LV_58-5_0_4_node_120 | 0.4 | n |  | TRUE
39 | bus_LV_58-5_0_4_node_124 | 0.4 | n |  | TRUE
40 | bus_LV_58-5_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_58-5_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_58-5_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_58-5_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_58-5_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_58-5_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_58-5_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_58-5_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_58-5_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_58-5_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_58-5_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_58-5_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_58-5_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_58-5_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_58-5_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_58-5_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_58-5_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_58-5_0_4_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_58-5_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_58-5_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_58-5_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_58-5_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_58-5_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_58-5_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_58-5_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_58-5_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_58-5_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_58-5_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_58-5_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_58-5_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_58-5_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_58-5_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_58-5_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_58-5_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_58-5_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_58-5_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_58-5_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_58-5_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_58-5_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_58-5_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_58-5_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_58-5_0_4_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_58-5_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_58-5_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_58-5_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_58-5_0_4_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_58-5_0_4_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_58-5_0_4_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_58-5_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_58-5_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_58-5_0_4_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_58-5_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_58-5_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_58-5_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_58-5_0_4_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_58-5_0_4_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_58-5_0_4_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_58-5_0_4_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_58-5_0_4_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_58-5_0_4_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_58-5_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_58-5_0_4_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_58-5_0_4_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_58-5_0_4_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_58-5_0_4_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_58-5_0_4_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_58-5_0_4_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_58-5_0_4_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_58-5_0_4_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_58-5_0_4_node_112 | 0.4 | n |  | TRUE
110 | bus_LV_58-5_0_4_node_113 | 0.4 | n |  | TRUE
111 | bus_LV_58-5_0_4_node_63 | 0.4 | n |  | TRUE
112 | bus_LV_58-5_0_4_node_70 | 0.4 | n |  | TRUE
113 | bus_LV_58-5_0_4_node_72 | 0.4 | n |  | TRUE
114 | bus_LV_58-5_0_4_node_122 | 0.4 | n |  | TRUE
115 | bus_LV_58-5_0_4_node_115 | 0.4 | n |  | TRUE
116 | bus_LV_58-5_0_4_node_116 | 0.4 | n |  | TRUE
117 | bus_LV_58-5_0_4_node_114 | 0.4 | n |  | TRUE
118 | bus_LV_58-5_0_4_node_121 | 0.4 | n |  | TRUE
119 | bus_MV_351_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_58-5_0_4_load_0 | 0 | 0.0061514 | 0.0015417 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_58-5_0_4_load_1 | 1 | 0.0026872 | 0.00067347 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_58-5_0_4_load_2 | 2 | 0.0021138 | 0.00052976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_58-5_0_4_load_4 | 3 | 0.0021162 | 0.00053038 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_58-5_0_4_load_7 | 4 | 0.0021138 | 0.00052976 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_58-5_0_4_load_10 | 6 | 0.0044135 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_58-5_0_4_load_8 | 7 | 0.0071405 | 0.0017896 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_58-5_0_4_load_20 | 9 | 0.0089397 | 0.0022405 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_58-5_0_4_load_81 | 10 | 0.0070033 | 0.0017552 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_58-5_0_4_load_12 | 11 | 0.0021153 | 0.00053013 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_58-5_0_4_load_11 | 12 | 0.0072635 | 0.0018204 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_58-5_0_4_load_9 | 13 | 0.020636 | 0.0051718 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_58-5_0_4_load_80 | 15 | 0.0021152 | 0.00053013 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_58-5_0_4_load_13 | 16 | 0.0021138 | 0.00052976 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_58-5_0_4_load_119 | 19 | 0.0072636 | 0.0018204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_58-5_0_4_load_15 | 22 | 0.0098975 | 0.0024805 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_58-5_0_4_load_18 | 24 | 0.0014844 | 0.00037202 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_58-5_0_4_load_19 | 25 | 0.0026665 | 0.00066829 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_58-5_0_4_load_22 | 27 | 0.0040522 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_58-5_0_4_load_24 | 29 | 0.046326 | 0.01161 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_58-5_0_4_load_65 | 31 | 0.0020398 | 0.00051123 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_58-5_0_4_load_30 | 32 | 0.00079474 | 0.00019918 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_58-5_0_4_load_36 | 33 | 0.0087768 | 0.0021997 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_58-5_0_4_load_125 | 34 | 0.015413 | 0.0038629 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_58-5_0_4_load_28 | 35 | 0.0020506 | 0.00051394 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_58-5_0_4_load_34 | 36 | 0.011527 | 0.0028888 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_58-5_0_4_load_126 | 37 | 0.015397 | 0.003859 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_58-5_0_4_load_26 | 40 | 0.0036653 | 0.00091862 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_58-5_0_4_load_27 | 41 | 0.0010777 | 0.00027011 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_58-5_0_4_load_29 | 42 | 0.0036116 | 0.00090516 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_58-5_0_4_load_32 | 44 | 0.0036424 | 0.00091286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_58-5_0_4_load_60 | 46 | 0.0020959 | 0.00052529 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_58-5_0_4_load_61 | 47 | 0.0030273 | 0.00075871 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_58-5_0_4_load_47 | 48 | 0.0016082 | 0.00040306 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_58-5_0_4_load_62 | 50 | 0.0080473 | 0.0020168 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_58-5_0_4_load_35 | 52 | 0.0078351 | 0.0019637 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_58-5_0_4_load_37 | 53 | 0.0037752 | 0.00094616 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_58-5_0_4_load_38 | 54 | 0.0081308 | 0.0020378 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_58-5_0_4_load_40 | 56 | 0.015167 | 0.0038012 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_58-5_0_4_load_123 | 57 | 0.0084958 | 0.0021292 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_58-5_0_4_load_41 | 58 | 0.0088927 | 0.0022287 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_58-5_0_4_load_42 | 59 | 0.013247 | 0.0033201 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_58-5_0_4_load_43 | 60 | 0.0020569 | 0.00051552 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_58-5_0_4_load_44 | 61 | 0.0042339 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_58-5_0_4_load_45 | 62 | 0.0084412 | 0.0021156 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_58-5_0_4_load_48 | 63 | 0.015848 | 0.0039718 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_58-5_0_4_load_49 | 64 | 0.0037044 | 0.0009284 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_58-5_0_4_load_50 | 65 | 0.0014327 | 0.00035907 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_58-5_0_4_load_51 | 66 | 0.0060463 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_58-5_0_4_load_52 | 67 | 0.0021854 | 0.00054772 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_58-5_0_4_load_53 | 68 | 0.0019774 | 0.00049559 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_58-5_0_4_load_54 | 69 | 0.0032353 | 0.00081085 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_58-5_0_4_load_55 | 70 | 0.0017139 | 0.00042954 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_58-5_0_4_load_69 | 72 | 0.0010309 | 0.00025836 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_58-5_0_4_load_71 | 73 | 0.0038977 | 0.00097686 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_58-5_0_4_load_68 | 74 | 0.00089552 | 0.00022444 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_58-5_0_4_load_74 | 75 | 0.00068853 | 0.00017256 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_58-5_0_4_load_75 | 76 | 0.00089183 | 0.00022351 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_58-5_0_4_load_79 | 80 | 0.0014568 | 0.0003651 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_58-5_0_4_load_100 | 81 | 0.0006278 | 0.00015734 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_58-5_0_4_load_83 | 82 | 0.0007429 | 0.00018619 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_58-5_0_4_load_84 | 83 | 0.0038461 | 0.00096392 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_58-5_0_4_load_85 | 84 | 0.00056722 | 0.00014216 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_58-5_0_4_load_98 | 86 | 0.0023798 | 0.00059644 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_58-5_0_4_load_96 | 87 | 0.0040885 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_58-5_0_4_load_87 | 88 | 0.0043411 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_58-5_0_4_load_88 | 89 | 0.0015251 | 0.00038222 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_58-5_0_4_load_89 | 90 | 0.00090401 | 0.00022657 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_58-5_0_4_load_91 | 91 | 0.0031756 | 0.00079588 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_58-5_0_4_load_92 | 92 | 0.0037806 | 0.0009475 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_58-5_0_4_load_93 | 94 | 0.00048451 | 0.00012143 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_58-5_0_4_load_97 | 96 | 0.003983 | 0.00099824 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_58-5_0_4_load_107 | 97 | 0.0004287 | 0.00010744 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_58-5_0_4_load_99 | 98 | 0.00066779 | 0.00016736 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_58-5_0_4_load_103 | 99 | 0.0028878 | 0.00072374 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_58-5_0_4_load_101 | 100 | 0.0012692 | 0.00031808 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_58-5_0_4_load_102 | 101 | 0.0016753 | 0.00041988 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_58-5_0_4_load_105 | 104 | 0.0010326 | 0.0002588 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_58-5_0_4_load_106 | 105 | 0.0011225 | 0.00028132 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_58-5_0_4_load_110 | 106 | 0.0003478 | 8.7166e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_58-5_0_4_load_111 | 107 | 0.0047544 | 0.0011916 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_58-5_0_4_load_109 | 108 | 0.00047329 | 0.00011862 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_58-5_0_4_load_112 | 109 | 0.0016215 | 0.00040638 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_58-5_0_4_load_113 | 110 | 0.0025032 | 0.00062737 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_58-5_0_4_load_63 | 111 | 0.0024169 | 0.00060573 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_58-5_0_4_load_122 | 114 | 0.007263 | 0.0018203 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_58-5_0_4_load_116 | 116 | 0.00051254 | 0.00012845 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_58-5_0_4_load_114 | 117 | 0.0006899 | 0.00017291 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_58-5_0_4_load_121 | 118 | 0.015559 | 0.0038994 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_58-5_0_4_line_0 |  | 0 | 1 | 0.0064276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_58-5_0_4_line_1 |  | 0 | 2 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_58-5_0_4_line_2 |  | 2 | 3 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_58-5_0_4_line_3 |  | 3 | 4 | 0.0055227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_58-5_0_4_line_4 |  | 4 | 11 | 0.012845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_58-5_0_4_line_5 |  | 5 | 6 | 0.045943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_58-5_0_4_line_6 |  | 5 | 7 | 0.019993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_58-5_0_4_line_7 |  | 6 | 12 | 0.028369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_58-5_0_4_line_8 |  | 7 | 13 | 0.076236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_58-5_0_4_line_9 |  | 8 | 9 | 0.03107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_58-5_0_4_line_10 |  | 8 | 10 | 0.03872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_58-5_0_4_line_11 |  | 9 | 14 | 0.0052871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_58-5_0_4_line_12 |  | 10 | 15 | 0.032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_58-5_0_4_line_13 |  | 11 | 16 | 0.019252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_58-5_0_4_line_14 |  | 12 | 17 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_58-5_0_4_line_15 |  | 14 | 26 | 0.047381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_58-5_0_4_line_16 |  | 14 | 22 | 0.02546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_58-5_0_4_line_17 |  | 15 | 21 | 0.041296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_58-5_0_4_line_18 |  | 16 | 20 | 0.033847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_58-5_0_4_line_19 |  | 17 | 18 | 0.026065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_58-5_0_4_line_20 |  | 17 | 19 | 0.015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_58-5_0_4_line_21 |  | 18 | 38 | 0.005853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_58-5_0_4_line_22 |  | 18 | 118 | 0.031182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_58-5_0_4_line_23 |  | 19 | 114 | 0.029119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_58-5_0_4_line_24 |  | 20 | 21 | 0.045137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_58-5_0_4_line_25 |  | 22 | 23 | 0.021318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_58-5_0_4_line_26 |  | 23 | 24 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_58-5_0_4_line_27 |  | 23 | 25 | 0.0019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_58-5_0_4_line_28 |  | 24 | 27 | 0.0021229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_58-5_0_4_line_29 |  | 25 | 28 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_58-5_0_4_line_30 |  | 26 | 29 | 0.02039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_58-5_0_4_line_31 |  | 26 | 30 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_58-5_0_4_line_32 |  | 27 | 31 | 0.027025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_58-5_0_4_line_33 |  | 28 | 32 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_58-5_0_4_line_34 |  | 28 | 33 | 0.045986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_58-5_0_4_line_35 |  | 30 | 34 | 0.030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_58-5_0_4_line_36 |  | 32 | 35 | 0.0010584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_58-5_0_4_line_37 |  | 33 | 36 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_58-5_0_4_line_38 |  | 34 | 39 | 0.046049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_58-5_0_4_line_39 |  | 35 | 40 | 0.0032292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_58-5_0_4_line_40 |  | 36 | 52 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_58-5_0_4_line_41 |  | 37 | 38 | 0.037453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_58-5_0_4_line_42 |  | 38 | 39 | 0.02181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_58-5_0_4_line_43 |  | 39 | 57 | 0.008939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_58-5_0_4_line_44 |  | 40 | 41 | 0.026714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_58-5_0_4_line_45 |  | 41 | 42 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_58-5_0_4_line_46 |  | 42 | 43 | 0.030482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_58-5_0_4_line_47 |  | 43 | 44 | 0.051467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_58-5_0_4_line_48 |  | 43 | 45 | 0.025651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_58-5_0_4_line_49 |  | 45 | 46 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_58-5_0_4_line_50 |  | 45 | 47 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_58-5_0_4_line_51 |  | 45 | 48 | 0.054718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_58-5_0_4_line_52 |  | 46 | 49 | 0.061624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_58-5_0_4_line_53 |  | 47 | 50 | 0.024538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_58-5_0_4_line_54 |  | 48 | 51 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_58-5_0_4_line_55 |  | 49 | 111 | 0.023579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_58-5_0_4_line_56 |  | 49 | 71 | 0.004222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_58-5_0_4_line_57 |  | 51 | 63 | 0.038919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_58-5_0_4_line_58 |  | 51 | 62 | 0.016717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_58-5_0_4_line_59 |  | 52 | 53 | 0.015123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_58-5_0_4_line_60 |  | 53 | 54 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_58-5_0_4_line_61 |  | 55 | 56 | 0.047998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_58-5_0_4_line_62 |  | 56 | 57 | 0.02303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_58-5_0_4_line_63 |  | 58 | 59 | 0.022572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_58-5_0_4_line_64 |  | 59 | 60 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_58-5_0_4_line_65 |  | 60 | 61 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_58-5_0_4_line_66 |  | 61 | 62 | 0.0096808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_58-5_0_4_line_67 |  | 63 | 64 | 0.0063679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_58-5_0_4_line_68 |  | 64 | 65 | 0.01405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_58-5_0_4_line_69 |  | 65 | 66 | 0.026433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_58-5_0_4_line_70 |  | 66 | 67 | 0.021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_58-5_0_4_line_71 |  | 67 | 68 | 0.0029466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_58-5_0_4_line_72 |  | 69 | 70 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_58-5_0_4_line_73 |  | 70 | 71 | 0.03073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_58-5_0_4_line_74 |  | 72 | 73 | 0.042239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_58-5_0_4_line_75 |  | 72 | 74 | 0.14082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_58-5_0_4_line_76 |  | 74 | 112 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_58-5_0_4_line_77 |  | 74 | 78 | 0.15983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_58-5_0_4_line_78 |  | 75 | 76 | 0.003194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_58-5_0_4_line_79 |  | 75 | 77 | 0.050291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_58-5_0_4_line_80 |  | 76 | 78 | 0.02174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_58-5_0_4_line_81 |  | 77 | 79 | 0.038055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_58-5_0_4_line_82 |  | 79 | 80 | 0.042117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_58-5_0_4_line_83 |  | 80 | 81 | 0.01844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_58-5_0_4_line_84 |  | 81 | 100 | 0.025515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_58-5_0_4_line_85 |  | 82 | 83 | 0.020365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_58-5_0_4_line_86 |  | 83 | 84 | 0.012129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_58-5_0_4_line_87 |  | 84 | 85 | 0.029013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_58-5_0_4_line_88 |  | 85 | 86 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_58-5_0_4_line_89 |  | 85 | 87 | 0.0057455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_58-5_0_4_line_90 |  | 86 | 98 | 0.019665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_58-5_0_4_line_91 |  | 87 | 93 | 0.021767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_58-5_0_4_line_92 |  | 88 | 89 | 0.014009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_58-5_0_4_line_93 |  | 88 | 90 | 0.014007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_58-5_0_4_line_94 |  | 90 | 91 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_58-5_0_4_line_95 |  | 91 | 92 | 0.013754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_58-5_0_4_line_96 |  | 92 | 93 | 0.0047851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_58-5_0_4_line_97 |  | 93 | 95 | 0.009897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_58-5_0_4_line_98 |  | 94 | 95 | 0.040134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_58-5_0_4_line_99 |  | 95 | 96 | 0.014859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_58-5_0_4_line_100 |  | 96 | 97 | 0.022044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_58-5_0_4_line_101 |  | 98 | 99 | 0.011363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_58-5_0_4_line_102 |  | 99 | 103 | 0.024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_58-5_0_4_line_103 |  | 100 | 101 | 0.0047889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_58-5_0_4_line_104 |  | 101 | 102 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_58-5_0_4_line_105 |  | 102 | 108 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_58-5_0_4_line_106 |  | 103 | 104 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
107 | LV_58-5_0_4_line_107 |  | 103 | 105 | 0.010465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_58-5_0_4_line_108 |  | 104 | 106 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_58-5_0_4_line_109 |  | 105 | 107 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_58-5_0_4_line_110 |  | 106 | 109 | 0.0025735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_58-5_0_4_line_111 |  | 107 | 110 | 0.0095532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_58-5_0_4_line_112 |  | 108 | 109 | 0.0082185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_58-5_0_4_line_113 |  | 112 | 113 | 0.033395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_58-5_0_4_line_114 |  | 113 | 116 | 0.0044569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_58-5_0_4_line_115 |  | 114 | 115 | 0.52144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_58-5_0_4_line_116 |  | 115 | 117 | 0.033009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_58-5_0_4_line_117 |  | 116 | 117 | 0.15355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_58-5_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 119 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2679904.3668 | 1267712.9834 | 2679908.5228 | 1267708.0801
1 | 2679904.3668 | 1267712.9834 | 2679902.163 | 1267715.5835 | 2679896.018 | 1267722.2788
2 | 2679896.018 | 1267722.2788 | 2679883.3903 | 1267736.0373
3 | 2679879.6559 | 1267740.1061 | 2679883.3903 | 1267736.0373
4 | 2679879.6559 | 1267740.1061 | 2679870.9703 | 1267749.5695
5 | 2679957.5062 | 1267699.4414 | 2679965.7473 | 1267695.6721 | 2679983.392 | 1267691.2296 | 2679991.1575 | 1267687.0091 | 2679997.95 | 1267679.8794
6 | 2679957.5062 | 1267699.4414 | 2679957.5071 | 1267679.4484
7 | 2680017.5184 | 1267659.3397 | 2679997.95 | 1267679.8794
8 | 2679957.5071 | 1267679.4484 | 2679957.5077 | 1267667.6385 | 2680002.815 | 1267621.8349
9 | 2679953.5622 | 1267756.6777 | 2679971.0732 | 1267778.2205 | 2679972.8781 | 1267780.9924
10 | 2679953.5622 | 1267756.6777 | 2679922.8323 | 1267780.2342
11 | 2679975.7632 | 1267785.423 | 2679972.8781 | 1267780.9924
12 | 2679893.6076 | 1267792.5582 | 2679894.1612 | 1267792.3694 | 2679902.6392 | 1267791.1052 | 2679910.1867 | 1267788.5163 | 2679921.7748 | 1267781.0448 | 2679922.8323 | 1267780.2342
13 | 2679870.9703 | 1267749.5695 | 2679865.8721 | 1267755.1243 | 2679857.5458 | 1267763.3621
14 | 2680026.3836 | 1267650.0345 | 2680017.5184 | 1267659.3397
15 | 2680008.4013 | 1267753.8398 | 2680009.7312 | 1267755.6926 | 2680002.0765 | 1267763.4062 | 2679975.7632 | 1267785.423
16 | 2679975.7632 | 1267785.423 | 2679987.4662 | 1267803.3733 | 2679989.1753 | 1267807.0252
17 | 2679862.3727 | 1267818.516 | 2679877.0553 | 1267802.0792 | 2679887.9525 | 1267794.4871 | 2679893.6076 | 1267792.5582
18 | 2679833.4845 | 1267787.1676 | 2679857.5458 | 1267763.3621
19 | 2680026.3836 | 1267650.0345 | 2680044.9999 | 1267668.3344
20 | 2680026.3836 | 1267650.0345 | 2680037.1995 | 1267638.6298
21 | 2680049.1747 | 1267672.4497 | 2680044.9999 | 1267668.3344
22 | 2680044.9999 | 1267668.3344 | 2680066.8461 | 1267646.0844
23 | 2680037.1995 | 1267638.6298 | 2680057.2373 | 1267617.5014
24 | 2679833.4845 | 1267787.1676 | 2679831.6915 | 1267788.9448 | 2679862.3727 | 1267818.516
25 | 2679997.2141 | 1267826.7348 | 2679994.0651 | 1267817.4738 | 2679989.1753 | 1267807.0252
26 | 2679997.2141 | 1267826.7348 | 2679978.3394 | 1267828.9012
27 | 2679997.2141 | 1267826.7348 | 2679999.1593 | 1267826.5351
28 | 2679978.3394 | 1267828.9012 | 2679976.2303 | 1267829.1432
29 | 2680019.8883 | 1267824.4066 | 2679999.1593 | 1267826.5351
30 | 2680008.4013 | 1267753.8398 | 2679996.2329 | 1267737.451
31 | 2680008.4013 | 1267753.8398 | 2680018.5509 | 1267743.102
32 | 2679949.3819 | 1267832.2248 | 2679976.2303 | 1267829.1432
33 | 2680019.8883 | 1267824.4066 | 2680027.3142 | 1267826.342 | 2680032.2594 | 1267828.3836
34 | 2680019.8883 | 1267824.4066 | 2680023.4878 | 1267815.4149 | 2680045.286 | 1267786.3883
35 | 2680018.5509 | 1267743.102 | 2680039.6077 | 1267720.8052
36 | 2680032.2594 | 1267828.3836 | 2680033.2377 | 1267828.7875
37 | 2680045.286 | 1267786.3883 | 2680054.1819 | 1267774.5427
38 | 2680064.7527 | 1267687.7617 | 2680057.7149 | 1267694.9387 | 2680061.1665 | 1267697.9768 | 2680039.6077 | 1267720.8052
39 | 2680033.2377 | 1267828.7875 | 2680036.2226 | 1267830.0199
40 | 2680054.1819 | 1267774.5427 | 2680054.1819 | 1267774.5427 | 2680059.5934 | 1267762.3841 | 2680062.1594 | 1267758.966
41 | 2680049.1747 | 1267672.4497 | 2680022.9796 | 1267699.2188
42 | 2680064.7527 | 1267687.7617 | 2680049.1747 | 1267672.4497
43 | 2680064.7527 | 1267687.7617 | 2680071.0073 | 1267681.3754
44 | 2680036.2226 | 1267830.0199 | 2680060.9148 | 1267840.2142
45 | 2680060.9148 | 1267840.2142 | 2680072.2934 | 1267844.9119
46 | 2680101.0175 | 1267855.0742 | 2680079.0844 | 1267847.7156 | 2680072.2934 | 1267844.9119
47 | 2680069.6237 | 1267895.9256 | 2680101.0175 | 1267855.0742
48 | 2680125.9609 | 1267861.3617 | 2680101.0175 | 1267855.0742
49 | 2680125.9609 | 1267861.3617 | 2680139.0081 | 1267864.229
50 | 2680125.9609 | 1267861.3617 | 2680125.926 | 1267872.8147 | 2680123.4253 | 1267884.023 | 2680123.4253 | 1267884.023
51 | 2680125.9609 | 1267861.3617 | 2680125.9134 | 1267848.7733 | 2680127.3673 | 1267810.4072 | 2680127.5307 | 1267806.6752
52 | 2680198.9159 | 1267878.6093 | 2680182.6993 | 1267874.3637 | 2680172.3946 | 1267871.5661 | 2680139.0081 | 1267864.229
53 | 2680123.4253 | 1267884.023 | 2680116.0769 | 1267900.2362 | 2680111.7713 | 1267905.4178
54 | 2680128.491 | 1267784.7354 | 2680127.5307 | 1267806.6752
55 | 2680198.9159 | 1267878.6093 | 2680182.3668 | 1267895.4044
56 | 2680198.9159 | 1267878.6093 | 2680203.0672 | 1267879.444
57 | 2680128.491 | 1267784.7354 | 2680167.3484 | 1267786.9307 | 2680167.3484 | 1267786.9307
58 | 2680128.491 | 1267784.7354 | 2680130.4878 | 1267768.1386
59 | 2680062.1594 | 1267758.966 | 2680071.2389 | 1267746.8713
60 | 2680083.225 | 1267729.8872 | 2680081.3707 | 1267733.5119 | 2680072.4186 | 1267745.2999 | 2680071.2389 | 1267746.8713
61 | 2680108.693 | 1267673.7794 | 2680104.9095 | 1267671.3484 | 2680104.5011 | 1267665.9386 | 2680105.5899 | 1267663.9184 | 2680106.1174 | 1267653.8843 | 2680104.5997 | 1267651.4507 | 2680102.3719 | 1267651.4205 | 2680099.1562 | 1267652.6334 | 2680087.1212 | 1267664.9219
62 | 2680071.0073 | 1267681.3754 | 2680087.1212 | 1267664.9219
63 | 2680137.9453 | 1267728.6133 | 2680138.6211 | 1267725.5148 | 2680145.9035 | 1267707.5327
64 | 2680137.9453 | 1267728.6133 | 2680135.7686 | 1267738.5934
65 | 2680131.9785 | 1267758.575 | 2680133.821 | 1267747.5227 | 2680135.7686 | 1267738.5934
66 | 2680131.9785 | 1267758.575 | 2680130.7563 | 1267765.9068 | 2680130.4878 | 1267768.1386
67 | 2680167.3484 | 1267786.9307 | 2680171.91 | 1267791.3739 | 2680171.91 | 1267791.3739
68 | 2680171.91 | 1267791.3739 | 2680168.8146 | 1267805.0789
69 | 2680168.8146 | 1267805.0789 | 2680162.9912 | 1267830.862
70 | 2680162.9912 | 1267830.862 | 2680161.6266 | 1267836.9038 | 2680164.6192 | 1267840.4805 | 2680174.7003 | 1267842.8158
71 | 2680177.5709 | 1267843.4808 | 2680174.7003 | 1267842.8158
72 | 2680229.2752 | 1267847.7653 | 2680223.4923 | 1267853.1671 | 2680220.856 | 1267855.63
73 | 2680203.0672 | 1267879.444 | 2680205.7889 | 1267869.7066 | 2680220.856 | 1267855.63
74 | 2680733.6824 | 1267154.3196 | 2680772.0728 | 1267171.9339
75 | 2680599.6726 | 1267113.4231 | 2680609.6567 | 1267115.8271 | 2680632.5004 | 1267120.0531 | 2680655.7166 | 1267124.0174 | 2680687.5367 | 1267134.1152 | 2680719.9371 | 1267148.0129 | 2680733.6824 | 1267154.3196
76 | 2680581.8234 | 1267107.0629 | 2680589.5842 | 1267110.994 | 2680599.6726 | 1267113.4231
77 | 2680707.5144 | 1266995.4562 | 2680599.6726 | 1267113.4231
78 | 2680723.998 | 1266976.7475 | 2680721.8865 | 1266979.144
79 | 2680757.2443 | 1266939.0131 | 2680723.998 | 1266976.7475
80 | 2680707.5144 | 1266995.4562 | 2680721.8865 | 1266979.144
81 | 2680782.9802 | 1266911.265 | 2680776.6739 | 1266915.4711 | 2680757.2443 | 1266939.0131
82 | 2680782.9802 | 1266911.265 | 2680824.3575 | 1266919.1248
83 | 2680824.3575 | 1266919.1248 | 2680828.1478 | 1266919.8448 | 2680837.8202 | 1266919.4323 | 2680842.6261 | 1266918.4741
84 | 2680864.092 | 1266925.7986 | 2680859.2349 | 1266919.2027 | 2680855.438 | 1266917.1825 | 2680851.6505 | 1266916.6748 | 2680842.6261 | 1266918.4741
85 | 2680997.4424 | 1266912.7258 | 2680994.9814 | 1266913.3676 | 2680977.3803 | 1266916.1664
86 | 2680965.3012 | 1266916.1937 | 2680974.3153 | 1266916.6537 | 2680977.3803 | 1266916.1664
87 | 2680938.7501 | 1266906.7478 | 2680943.7751 | 1266908.6959 | 2680949.4297 | 1266913.5994 | 2680959.4189 | 1266915.8936 | 2680965.3012 | 1266916.1937
88 | 2680938.7501 | 1266906.7478 | 2680936.2966 | 1266911.0843 | 2680932.5617 | 1266917.1713 | 2680929.824 | 1266922.5167
89 | 2680938.7501 | 1266906.7478 | 2680938.295 | 1266902.0489 | 2680937.6537 | 1266901.2497
90 | 2680921.0805 | 1266940.1254 | 2680923.0547 | 1266935.7335 | 2680929.824 | 1266922.5167
91 | 2680924.0308 | 1266884.2729 | 2680937.6537 | 1266901.2497
92 | 2680956.0468 | 1266851.6217 | 2680963.9697 | 1266840.0683
93 | 2680956.0468 | 1266851.6217 | 2680950.753 | 1266859.3414 | 2680947.3557 | 1266862.511
94 | 2680937.5862 | 1266871.6259 | 2680947.3557 | 1266862.511
95 | 2680937.5862 | 1266871.6259 | 2680927.5295 | 1266881.0086
96 | 2680924.0308 | 1266884.2729 | 2680927.5295 | 1266881.0086
97 | 2680924.0308 | 1266884.2729 | 2680916.9565 | 1266891.2149
98 | 2680916.9565 | 1266891.2149 | 2680904.0781 | 1266889.3372 | 2680877.9948 | 1266887.9681 | 2680877.1029 | 1266887.5146
99 | 2680916.9565 | 1266891.2149 | 2680906.7714 | 1266902.0343
100 | 2680906.7714 | 1266902.0343 | 2680898.4987 | 1266910.8222 | 2680892.1487 | 1266918.5147
101 | 2680921.0805 | 1266940.1254 | 2680916.4219 | 1266950.4891
102 | 2680910.8686 | 1266974.5529 | 2680911.2363 | 1266968.5977 | 2680914.808 | 1266954.0796 | 2680916.4219 | 1266950.4891
103 | 2680864.092 | 1266925.7986 | 2680866.9316 | 1266929.6547
104 | 2680875.3404 | 1266941.0737 | 2680866.9316 | 1266929.6547
105 | 2680875.3404 | 1266941.0737 | 2680880.9012 | 1266950.5464
106 | 2680910.8686 | 1266974.5529 | 2680901.7941 | 1266977.4866 | 2680897.0769 | 1266977.2552 | 2680895.2337 | 1266974.9615 | 2680894.3693 | 1266973.489
107 | 2680910.8686 | 1266974.5529 | 2680910.6466 | 1266978.1194 | 2680912.7839 | 1266984.6717
108 | 2680886.3646 | 1266959.8532 | 2680894.3693 | 1266973.489
109 | 2680919.1639 | 1266999.5937 | 2680914.0569 | 1266988.5743 | 2680912.7839 | 1266984.6717
110 | 2680886.3646 | 1266959.8532 | 2680885.0618 | 1266957.6339
111 | 2680919.1639 | 1266999.5937 | 2680923.181 | 1267008.2613
112 | 2680880.9012 | 1266950.5464 | 2680885.0618 | 1266957.6339
113 | 2680550.5473 | 1267112.8078 | 2680554.1607 | 1267108.4092 | 2680564.0487 | 1267107.6211 | 2680581.8234 | 1267107.0629
114 | 2680550.5473 | 1267112.8078 | 2680547.7153 | 1267116.2494
115 | 2680057.2373 | 1267617.5014 | 2680396.7948 | 1267221.7673
116 | 2680396.7948 | 1267221.7673 | 2680403.6921 | 1267208.9399 | 2680416.0469 | 1267195.245
117 | 2680547.7153 | 1267116.2494 | 2680416.0469 | 1267195.245

## bus_geodata
| x | y | coords
0 | 2679904.3668 | 1267712.9834
1 | 2679908.5228 | 1267708.0801
2 | 2679896.018 | 1267722.2788
3 | 2679883.3903 | 1267736.0373
4 | 2679879.6559 | 1267740.1061
5 | 2679957.5062 | 1267699.4414
6 | 2679997.95 | 1267679.8794
7 | 2679957.5071 | 1267679.4484
8 | 2679953.5622 | 1267756.6777
9 | 2679972.8781 | 1267780.9924
10 | 2679922.8323 | 1267780.2342
11 | 2679870.9703 | 1267749.5695
12 | 2680017.5184 | 1267659.3397
13 | 2680002.815 | 1267621.8349
14 | 2679975.7632 | 1267785.423
15 | 2679893.6076 | 1267792.5582
16 | 2679857.5458 | 1267763.3621
17 | 2680026.3836 | 1267650.0345
18 | 2680044.9999 | 1267668.3344
19 | 2680037.1995 | 1267638.6298
20 | 2679833.4845 | 1267787.1676
21 | 2679862.3727 | 1267818.516
22 | 2679989.1753 | 1267807.0252
23 | 2679997.2141 | 1267826.7348
24 | 2679978.3394 | 1267828.9012
25 | 2679999.1593 | 1267826.5351
26 | 2680008.4013 | 1267753.8398
27 | 2679976.2303 | 1267829.1432
28 | 2680019.8883 | 1267824.4066
29 | 2679996.2329 | 1267737.451
30 | 2680018.5509 | 1267743.102
31 | 2679949.3819 | 1267832.2248
32 | 2680032.2594 | 1267828.3836
33 | 2680045.286 | 1267786.3883
34 | 2680039.6077 | 1267720.8052
35 | 2680033.2377 | 1267828.7875
36 | 2680054.1819 | 1267774.5427
37 | 2680022.9796 | 1267699.2188
38 | 2680049.1747 | 1267672.4497
39 | 2680064.7527 | 1267687.7617
40 | 2680036.2226 | 1267830.0199
41 | 2680060.9148 | 1267840.2142
42 | 2680072.2934 | 1267844.9119
43 | 2680101.0175 | 1267855.0742
44 | 2680069.6237 | 1267895.9256
45 | 2680125.9609 | 1267861.3617
46 | 2680139.0081 | 1267864.229
47 | 2680123.4253 | 1267884.023
48 | 2680127.5307 | 1267806.6752
49 | 2680198.9159 | 1267878.6093
50 | 2680111.7713 | 1267905.4178
51 | 2680128.491 | 1267784.7354
52 | 2680062.1594 | 1267758.966
53 | 2680071.2389 | 1267746.8713
54 | 2680083.225 | 1267729.8872
55 | 2680108.693 | 1267673.7794
56 | 2680087.1212 | 1267664.9219
57 | 2680071.0073 | 1267681.3754
58 | 2680145.9035 | 1267707.5327
59 | 2680137.9453 | 1267728.6133
60 | 2680135.7686 | 1267738.5934
61 | 2680131.9785 | 1267758.575
62 | 2680130.4878 | 1267768.1386
63 | 2680167.3484 | 1267786.9307
64 | 2680171.91 | 1267791.3739
65 | 2680168.8146 | 1267805.0789
66 | 2680162.9912 | 1267830.862
67 | 2680174.7003 | 1267842.8158
68 | 2680177.5709 | 1267843.4808
69 | 2680229.2752 | 1267847.7653
70 | 2680220.856 | 1267855.63
71 | 2680203.0672 | 1267879.444
72 | 2680733.6824 | 1267154.3196
73 | 2680772.0728 | 1267171.9339
74 | 2680599.6726 | 1267113.4231
75 | 2680723.998 | 1266976.7475
76 | 2680721.8865 | 1266979.144
77 | 2680757.2443 | 1266939.0131
78 | 2680707.5144 | 1266995.4562
79 | 2680782.9802 | 1266911.265
80 | 2680824.3575 | 1266919.1248
81 | 2680842.6261 | 1266918.4741
82 | 2680997.4424 | 1266912.7258
83 | 2680977.3803 | 1266916.1664
84 | 2680965.3012 | 1266916.1937
85 | 2680938.7501 | 1266906.7478
86 | 2680929.824 | 1266922.5167
87 | 2680937.6537 | 1266901.2497
88 | 2680956.0468 | 1266851.6217
89 | 2680963.9697 | 1266840.0683
90 | 2680947.3557 | 1266862.511
91 | 2680937.5862 | 1266871.6259
92 | 2680927.5295 | 1266881.0086
93 | 2680924.0308 | 1266884.2729
94 | 2680877.1029 | 1266887.5146
95 | 2680916.9565 | 1266891.2149
96 | 2680906.7714 | 1266902.0343
97 | 2680892.1487 | 1266918.5147
98 | 2680921.0805 | 1266940.1254
99 | 2680916.4219 | 1266950.4891
100 | 2680864.092 | 1266925.7986
101 | 2680866.9316 | 1266929.6547
102 | 2680875.3404 | 1266941.0737
103 | 2680910.8686 | 1266974.5529
104 | 2680894.3693 | 1266973.489
105 | 2680912.7839 | 1266984.6717
106 | 2680886.3646 | 1266959.8532
107 | 2680919.1639 | 1266999.5937
108 | 2680880.9012 | 1266950.5464
109 | 2680885.0618 | 1266957.6339
110 | 2680923.181 | 1267008.2613
111 | 2680182.3668 | 1267895.4044
112 | 2680581.8234 | 1267107.0629
113 | 2680550.5473 | 1267112.8078
114 | 2680057.2373 | 1267617.5014
115 | 2680396.7948 | 1267221.7673
116 | 2680547.7153 | 1267116.2494
117 | 2680416.0469 | 1267195.245
118 | 2680066.8461 | 1267646.0844
119 | 2680064.7527 | 1267687.7617

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1