## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5805-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5805-1_0_4_node_211 | 0.4 | n |  | TRUE
2 | bus_LV_5805-1_0_4_node_47 | 0.4 | n |  | TRUE
3 | bus_LV_5805-1_0_4_node_48 | 0.4 | n |  | TRUE
4 | bus_LV_5805-1_0_4_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_5805-1_0_4_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_5805-1_0_4_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_5805-1_0_4_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_5805-1_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_5805-1_0_4_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_5805-1_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_5805-1_0_4_node_127 | 0.4 | n |  | TRUE
12 | bus_LV_5805-1_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_5805-1_0_4_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_5805-1_0_4_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_5805-1_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_5805-1_0_4_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_5805-1_0_4_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_5805-1_0_4_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_5805-1_0_4_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_5805-1_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_5805-1_0_4_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_5805-1_0_4_node_203 | 0.4 | n |  | TRUE
23 | bus_LV_5805-1_0_4_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_5805-1_0_4_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_5805-1_0_4_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_5805-1_0_4_node_115 | 0.4 | n |  | TRUE
27 | bus_LV_5805-1_0_4_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_5805-1_0_4_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_5805-1_0_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_5805-1_0_4_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_5805-1_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_5805-1_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_5805-1_0_4_node_113 | 0.4 | n |  | TRUE
34 | bus_LV_5805-1_0_4_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_5805-1_0_4_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_5805-1_0_4_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_5805-1_0_4_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_5805-1_0_4_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_5805-1_0_4_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_5805-1_0_4_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_5805-1_0_4_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_5805-1_0_4_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_5805-1_0_4_node_95 | 0.4 | n |  | TRUE
44 | bus_LV_5805-1_0_4_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_5805-1_0_4_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_5805-1_0_4_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_5805-1_0_4_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_5805-1_0_4_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_5805-1_0_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_5805-1_0_4_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_5805-1_0_4_node_125 | 0.4 | n |  | TRUE
52 | bus_LV_5805-1_0_4_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_5805-1_0_4_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_5805-1_0_4_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_5805-1_0_4_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_5805-1_0_4_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_5805-1_0_4_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_5805-1_0_4_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_5805-1_0_4_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_5805-1_0_4_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_5805-1_0_4_node_304 | 0.4 | n |  | TRUE
62 | bus_LV_5805-1_0_4_node_305 | 0.4 | n |  | TRUE
63 | bus_LV_5805-1_0_4_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_5805-1_0_4_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_5805-1_0_4_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_5805-1_0_4_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_5805-1_0_4_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_5805-1_0_4_node_106 | 0.4 | n |  | TRUE
69 | bus_LV_5805-1_0_4_node_107 | 0.4 | n |  | TRUE
70 | bus_LV_5805-1_0_4_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_5805-1_0_4_node_124 | 0.4 | n |  | TRUE
72 | bus_LV_5805-1_0_4_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_5805-1_0_4_node_114 | 0.4 | n |  | TRUE
74 | bus_LV_5805-1_0_4_node_117 | 0.4 | n |  | TRUE
75 | bus_LV_5805-1_0_4_node_118 | 0.4 | n |  | TRUE
76 | bus_LV_5805-1_0_4_node_119 | 0.4 | n |  | TRUE
77 | bus_LV_5805-1_0_4_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_5805-1_0_4_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_5805-1_0_4_node_121 | 0.4 | n |  | TRUE
80 | bus_LV_5805-1_0_4_node_126 | 0.4 | n |  | TRUE
81 | bus_LV_5805-1_0_4_node_123 | 0.4 | n |  | TRUE
82 | bus_LV_5805-1_0_4_node_128 | 0.4 | n |  | TRUE
83 | bus_LV_5805-1_0_4_node_129 | 0.4 | n |  | TRUE
84 | bus_LV_5805-1_0_4_node_205 | 0.4 | n |  | TRUE
85 | bus_LV_5805-1_0_4_node_130 | 0.4 | n |  | TRUE
86 | bus_LV_5805-1_0_4_node_131 | 0.4 | n |  | TRUE
87 | bus_LV_5805-1_0_4_node_132 | 0.4 | n |  | TRUE
88 | bus_LV_5805-1_0_4_node_204 | 0.4 | n |  | TRUE
89 | bus_LV_5805-1_0_4_node_306 | 0.4 | n |  | TRUE
90 | bus_MV_366_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5805-1_0_4_load_0 | 0 | 0.00067703 | 0.00016968 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5805-1_0_4_load_211 | 1 | 0.0016134 | 0.00040436 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5805-1_0_4_load_47 | 2 | 0.0031518 | 0.00078991 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5805-1_0_4_load_50 | 5 | 0.0045995 | 0.0011527 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5805-1_0_4_load_51 | 6 | 0.00103 | 0.00025815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5805-1_0_4_load_56 | 7 | 0.0018714 | 0.00046901 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5805-1_0_4_load_52 | 8 | 0.0052745 | 0.0013219 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5805-1_0_4_load_53 | 9 | 0.0022764 | 0.00057053 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5805-1_0_4_load_127 | 11 | 0.0029134 | 0.00073018 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5805-1_0_4_load_66 | 13 | 0.0012229 | 0.0003065 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5805-1_0_4_load_64 | 14 | 0.00014364 | 3.5999e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5805-1_0_4_load_59 | 15 | 0.007438 | 0.0018641 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5805-1_0_4_load_60 | 16 | 0.00148 | 0.00037092 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5805-1_0_4_load_63 | 18 | 0.00033001 | 8.2709e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5805-1_0_4_load_85 | 19 | 0.00076314 | 0.00019126 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5805-1_0_4_load_67 | 20 | 0.00034422 | 8.6269e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5805-1_0_4_load_69 | 23 | 0.00025391 | 6.3636e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5805-1_0_4_load_70 | 24 | 0.0004335 | 0.00010865 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5805-1_0_4_load_115 | 26 | 0.00035577 | 8.9164e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5805-1_0_4_load_109 | 27 | 0.00014461 | 3.6242e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5805-1_0_4_load_72 | 28 | 0.0031297 | 0.00078438 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5805-1_0_4_load_73 | 29 | 0.0026284 | 0.00065873 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5805-1_0_4_load_74 | 30 | 0.005683 | 0.0014243 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5805-1_0_4_load_75 | 31 | 0.00019054 | 4.7753e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5805-1_0_4_load_76 | 32 | 0.0082514 | 0.002068 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5805-1_0_4_load_113 | 33 | 0.0009498 | 0.00023804 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5805-1_0_4_load_79 | 34 | 0.0050663 | 0.0012697 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5805-1_0_4_load_77 | 35 | 0.0073291 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5805-1_0_4_load_78 | 36 | 0.00056829 | 0.00014243 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5805-1_0_4_load_80 | 37 | 0.0015382 | 0.0003855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5805-1_0_4_load_87 | 38 | 0.0011783 | 0.0002953 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5805-1_0_4_load_81 | 39 | 0.00029472 | 7.3863e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5805-1_0_4_load_82 | 40 | 0.0013847 | 0.00034703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5805-1_0_4_load_83 | 41 | 0.00065744 | 0.00016477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5805-1_0_4_load_84 | 42 | 0.00016741 | 4.1957e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5805-1_0_4_load_95 | 43 | 0.00059078 | 0.00014806 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5805-1_0_4_load_86 | 44 | 0.0026082 | 0.00065367 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5805-1_0_4_load_89 | 45 | 0.0014203 | 0.00035596 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5805-1_0_4_load_90 | 46 | 0.0021636 | 0.00054225 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5805-1_0_4_load_91 | 47 | 0.0014807 | 0.00037111 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5805-1_0_4_load_93 | 49 | 0.00025636 | 6.4249e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5805-1_0_4_load_94 | 50 | 0.0004231 | 0.00010604 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5805-1_0_4_load_133 | 52 | 0.00206 | 0.00051628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5805-1_0_4_load_110 | 53 | 0.00084896 | 0.00021277 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5805-1_0_4_load_96 | 54 | 0.0015886 | 0.00039815 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5805-1_0_4_load_97 | 55 | 0.00045393 | 0.00011377 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5805-1_0_4_load_103 | 59 | 0.00064798 | 0.0001624 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5805-1_0_4_load_101 | 60 | 0.001137 | 0.00028497 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5805-1_0_4_load_304 | 61 | 0.0075898 | 0.0019022 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5805-1_0_4_load_104 | 64 | 0.00028824 | 7.224e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5805-1_0_4_load_105 | 65 | 0.0022564 | 0.0005655 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5805-1_0_4_load_112 | 66 | 0.0012216 | 0.00030615 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5805-1_0_4_load_116 | 67 | 0.001018 | 0.00025514 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5805-1_0_4_load_107 | 69 | 0.0085629 | 0.0021461 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5805-1_0_4_load_108 | 70 | 0.0020536 | 0.00051469 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5805-1_0_4_load_124 | 71 | 0.0046828 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5805-1_0_4_load_111 | 72 | 0.0017186 | 0.00043072 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5805-1_0_4_load_114 | 73 | 0.00029185 | 7.3143e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5805-1_0_4_load_118 | 75 | 0.00037883 | 9.4944e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5805-1_0_4_load_119 | 76 | 0.0001818 | 4.5564e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5805-1_0_4_load_122 | 78 | 0.00031471 | 7.8873e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5805-1_0_4_load_126 | 80 | 0.0018623 | 0.00046674 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5805-1_0_4_load_123 | 81 | 0.00099912 | 0.0002504 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5805-1_0_4_load_205 | 84 | 0.0074286 | 0.0018618 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5805-1_0_4_load_130 | 85 | 0.0040278 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5805-1_0_4_load_132 | 87 | 0.0023993 | 0.00060132 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5805-1_0_4_load_204 | 88 | 0.0012475 | 0.00031264 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5805-1_0_4_load_306 | 89 | 0.0030039 | 0.00075285 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5805-1_0_4_line_0 |  | 0 | 1 | 0.27511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5805-1_0_4_line_1 |  | 1 | 22 | 0.30545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5805-1_0_4_line_2 |  | 2 | 3 | 0.0083149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5805-1_0_4_line_3 |  | 2 | 4 | 0.011858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5805-1_0_4_line_4 |  | 3 | 5 | 0.035911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5805-1_0_4_line_5 |  | 4 | 6 | 0.034396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5805-1_0_4_line_6 |  | 5 | 7 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5805-1_0_4_line_7 |  | 6 | 8 | 0.00088829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5805-1_0_4_line_8 |  | 7 | 11 | 0.1613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5805-1_0_4_line_9 |  | 8 | 9 | 0.11628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5805-1_0_4_line_10 |  | 9 | 10 | 0.19374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5805-1_0_4_line_11 |  | 10 | 15 | 0.041077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5805-1_0_4_line_12 |  | 11 | 82 | 0.033585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5805-1_0_4_line_13 |  | 12 | 13 | 0.027845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5805-1_0_4_line_14 |  | 12 | 14 | 0.11891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5805-1_0_4_line_15 |  | 13 | 20 | 0.14877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5805-1_0_4_line_16 |  | 15 | 16 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5805-1_0_4_line_17 |  | 16 | 17 | 0.026867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5805-1_0_4_line_18 |  | 17 | 18 | 0.09082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5805-1_0_4_line_19 |  | 18 | 19 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5805-1_0_4_line_20 |  | 19 | 41 | 0.00064131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5805-1_0_4_line_21 |  | 20 | 21 | 0.065852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5805-1_0_4_line_22 |  | 21 | 22 | 0.10497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5805-1_0_4_line_23 |  | 22 | 88 | 0.11175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5805-1_0_4_line_24 |  | 23 | 24 | 0.0065212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5805-1_0_4_line_25 |  | 24 | 25 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5805-1_0_4_line_26 |  | 25 | 26 | 0.037403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5805-1_0_4_line_27 |  | 25 | 27 | 0.059778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5805-1_0_4_line_28 |  | 26 | 53 | 0.038957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5805-1_0_4_line_29 |  | 27 | 69 | 0.022274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5805-1_0_4_line_30 |  | 28 | 29 | 0.051213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5805-1_0_4_line_31 |  | 28 | 30 | 0.039224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5805-1_0_4_line_32 |  | 29 | 31 | 0.018873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5805-1_0_4_line_33 |  | 30 | 32 | 0.047855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5805-1_0_4_line_34 |  | 31 | 33 | 0.0031189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5805-1_0_4_line_35 |  | 32 | 34 | 0.032068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5805-1_0_4_line_36 |  | 33 | 73 | 0.008205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_5805-1_0_4_line_37 |  | 34 | 35 | 0.032851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5805-1_0_4_line_38 |  | 35 | 36 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5805-1_0_4_line_39 |  | 36 | 37 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5805-1_0_4_line_40 |  | 37 | 38 | 0.037198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5805-1_0_4_line_41 |  | 38 | 44 | 0.030251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5805-1_0_4_line_42 |  | 39 | 40 | 0.0004351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5805-1_0_4_line_43 |  | 39 | 41 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5805-1_0_4_line_44 |  | 40 | 42 | 0.020395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5805-1_0_4_line_45 |  | 42 | 43 | 0.021273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5805-1_0_4_line_46 |  | 43 | 53 | 0.023859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5805-1_0_4_line_47 |  | 44 | 45 | 0.1402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5805-1_0_4_line_48 |  | 46 | 47 | 0.048071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5805-1_0_4_line_49 |  | 46 | 48 | 0.017696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5805-1_0_4_line_50 |  | 47 | 49 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5805-1_0_4_line_51 |  | 48 | 50 | 0.11049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5805-1_0_4_line_52 |  | 49 | 51 | 0.036963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5805-1_0_4_line_53 |  | 50 | 52 | 0.12374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5805-1_0_4_line_54 |  | 51 | 79 | 0.022615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5805-1_0_4_line_55 |  | 52 | 87 | 0.050606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5805-1_0_4_line_56 |  | 54 | 55 | 0.02358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5805-1_0_4_line_57 |  | 54 | 56 | 0.035897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5805-1_0_4_line_58 |  | 55 | 57 | 0.0061192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5805-1_0_4_line_59 |  | 56 | 58 | 0.11763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5805-1_0_4_line_60 |  | 57 | 59 | 0.012884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5805-1_0_4_line_61 |  | 57 | 60 | 0.035201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5805-1_0_4_line_62 |  | 58 | 61 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5805-1_0_4_line_63 |  | 58 | 62 | 0.006696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5805-1_0_4_line_64 |  | 59 | 66 | 0.034245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5805-1_0_4_line_65 |  | 60 | 63 | 0.021401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5805-1_0_4_line_66 |  | 62 | 89 | 0.00628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5805-1_0_4_line_67 |  | 63 | 64 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5805-1_0_4_line_68 |  | 63 | 65 | 0.042946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5805-1_0_4_line_69 |  | 64 | 67 | 0.0073056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5805-1_0_4_line_70 |  | 66 | 72 | 0.10644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5805-1_0_4_line_71 |  | 67 | 74 | 0.050858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5805-1_0_4_line_72 |  | 68 | 69 | 0.060894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5805-1_0_4_line_73 |  | 68 | 70 | 0.081805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5805-1_0_4_line_74 |  | 70 | 71 | 0.0049663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5805-1_0_4_line_75 |  | 71 | 81 | 0.0094872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_5805-1_0_4_line_76 |  | 73 | 74 | 0.026128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5805-1_0_4_line_77 |  | 74 | 75 | 0.0064598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5805-1_0_4_line_78 |  | 75 | 76 | 0.040208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_5805-1_0_4_line_79 |  | 76 | 77 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5805-1_0_4_line_80 |  | 77 | 78 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5805-1_0_4_line_81 |  | 78 | 80 | 0.0035598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5805-1_0_4_line_82 |  | 79 | 80 | 0.024525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5805-1_0_4_line_83 |  | 80 | 81 | 0.15983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5805-1_0_4_line_84 |  | 82 | 83 | 0.071862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5805-1_0_4_line_85 |  | 83 | 84 | 0.04717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_5805-1_0_4_line_86 |  | 84 | 88 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5805-1_0_4_line_87 |  | 85 | 86 | 0.041266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5805-1_0_4_line_88 |  | 86 | 87 | 0.041086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5805-1_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 90 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2550892.0735 | 1157281.2494 | 2550812.1664 | 1157544.4966
1 | 2551162.5767 | 1157139.3698 | 2550892.0735 | 1157281.2494
2 | 2551526.3447 | 1157358.871 | 2551530.1099 | 1157357.9846 | 2551534.1654 | 1157359.8084
3 | 2551535.4438 | 1157370.9483 | 2551536.757 | 1157365.5016 | 2551534.1654 | 1157359.8084
4 | 2551526.3447 | 1157358.871 | 2551507.5758 | 1157328.64 | 2551507.3767 | 1157328.3799
5 | 2551535.4438 | 1157370.9483 | 2551549.084 | 1157376.6079 | 2551556.149 | 1157385.5667 | 2551564.368 | 1157385.5004
6 | 2551497.4289 | 1157315.3857 | 2551507.3767 | 1157328.3799
7 | 2551564.368 | 1157385.5004 | 2551565.0408 | 1157386.0804
8 | 2551338.5077 | 1157342.9795 | 2551497.4289 | 1157315.3857
9 | 2551613.7805 | 1157341.2344 | 2551613.7209 | 1157356.6652 | 2551615.0842 | 1157372.6515 | 2551616.421 | 1157385.3474 | 2551614.4654 | 1157397.6585 | 2551605.8976 | 1157406.7545 | 2551591.6753 | 1157404.9571 | 2551574.7297 | 1157394.4326 | 2551565.0408 | 1157386.0804
10 | 2551730.1995 | 1157496.0898 | 2551613.7805 | 1157341.2344
11 | 2551730.1995 | 1157496.0898 | 2551766.6301 | 1157515.0658
12 | 2551334.8664 | 1157310.8723 | 2551332.2836 | 1157319.5199 | 2551332.7694 | 1157328.3762 | 2551338.5077 | 1157342.9795
13 | 2551384.1101 | 1157069.7915 | 2551374.2774 | 1157062.8563 | 2551365.3416 | 1157049.81
14 | 2551384.1101 | 1157069.7915 | 2551383.7785 | 1157026.9606 | 2551381.3743 | 1157004.6795 | 2551384.227 | 1156981.0329 | 2551389.2894 | 1156966.073 | 2551398.1558 | 1156955.1601
15 | 2551220.5369 | 1157015.7117 | 2551365.3416 | 1157049.81
16 | 2551766.6301 | 1157515.0658 | 2551785.2528 | 1157524.7661
17 | 2551809.0809 | 1157537.1777 | 2551785.2528 | 1157524.7661
18 | 2551809.0809 | 1157537.1777 | 2551798.982 | 1157569.4979 | 2551793.2352 | 1157613.8562 | 2551791.2502 | 1157625.9236
19 | 2551791.2502 | 1157625.9236 | 2551788.4814 | 1157642.7556
20 | 2551788.4814 | 1157642.7556 | 2551788.3773 | 1157643.3884
21 | 2551159.7469 | 1157035.6607 | 2551168.248 | 1157027.7985 | 2551190.0884 | 1157018.6384 | 2551220.5369 | 1157015.7117
22 | 2551159.7469 | 1157035.6607 | 2551159.7118 | 1157050.2019 | 2551154.8879 | 1157108.5162 | 2551158.8767 | 1157129.4392 | 2551162.5767 | 1157139.3698
23 | 2551162.5767 | 1157139.3698 | 2551233.5238 | 1157225.7038
24 | 2551762.0073 | 1157835.8486 | 2551760.2841 | 1157829.5592
25 | 2551753.0318 | 1157803.0893 | 2551760.2841 | 1157829.5592
26 | 2551753.0318 | 1157803.0893 | 2551758.9667 | 1157780.2853 | 2551761.9707 | 1157766.7764
27 | 2551753.0318 | 1157803.0893 | 2551747.9399 | 1157809.6337 | 2551737.9408 | 1157816.1285 | 2551700.5433 | 1157829.0378
28 | 2551761.9707 | 1157766.7764 | 2551770.4272 | 1157728.748
29 | 2551679.488 | 1157836.306 | 2551700.5433 | 1157829.0378
30 | 2551405.1369 | 1157950.9575 | 2551423.992 | 1157998.5735
31 | 2551405.1369 | 1157950.9575 | 2551390.6959 | 1157914.4886
32 | 2551430.9404 | 1158016.1208 | 2551423.992 | 1157998.5735
33 | 2551376.8871 | 1157868.7187 | 2551377.0078 | 1157869.3237 | 2551386.9104 | 1157904.9289 | 2551390.6959 | 1157914.4886
34 | 2551430.9404 | 1158016.1208 | 2551432.0887 | 1158019.0206
35 | 2551371.4811 | 1157837.1353 | 2551372.6605 | 1157847.5364 | 2551376.8871 | 1157868.7187
36 | 2551432.0887 | 1158019.0206 | 2551435.1095 | 1158026.6493
37 | 2551367.5087 | 1157804.5285 | 2551368.8458 | 1157813.8941 | 2551371.4811 | 1157837.1353
38 | 2551367.5087 | 1157804.5285 | 2551364.0042 | 1157779.9821
39 | 2551364.0042 | 1157779.9821 | 2551362.5359 | 1157769.6973
40 | 2551358.7696 | 1157732.7331 | 2551359.4576 | 1157748.1356 | 2551362.5359 | 1157769.6973
41 | 2551360.4647 | 1157702.5936 | 2551358.3711 | 1157723.8095 | 2551358.7696 | 1157732.7331
42 | 2551784.9211 | 1157664.3987 | 2551784.8505 | 1157664.828
43 | 2551784.9211 | 1157664.3987 | 2551788.3773 | 1157643.3884
44 | 2551784.8505 | 1157664.828 | 2551784.8505 | 1157664.828 | 2551780.2632 | 1157684.7002
45 | 2551780.2632 | 1157684.7002 | 2551779.1454 | 1157689.5423 | 2551775.6063 | 1157705.4576
46 | 2551775.6063 | 1157705.4576 | 2551770.4272 | 1157728.748
47 | 2551360.4647 | 1157702.5936 | 2551473.7921 | 1157620.0585
48 | 2551603.7694 | 1158190.3672 | 2551596.1115 | 1158176.4702 | 2551578.8567 | 1158149.2796
49 | 2551612.31 | 1158205.8661 | 2551603.7694 | 1158190.3672
50 | 2551578.8567 | 1158149.2796 | 2551576.1783 | 1158145.0589 | 2551568.6455 | 1158136.656
51 | 2551612.31 | 1158205.8661 | 2551626.7029 | 1158242.3804 | 2551646.4742 | 1158310.8191
52 | 2551543.9726 | 1158109.1332 | 2551568.6455 | 1158136.656
53 | 2551646.4742 | 1158310.8191 | 2551688.7129 | 1158427.1241
54 | 2551543.9726 | 1158109.1332 | 2551531.8313 | 1158102.7945 | 2551523.75 | 1158098.9021
55 | 2551723.6401 | 1158463.3513 | 2551694.4545 | 1158436.2255 | 2551688.7129 | 1158427.1241
56 | 2551308.0564 | 1158082.4498 | 2551319.1362 | 1158061.6356
57 | 2551303.6996 | 1158118.0816 | 2551308.0564 | 1158082.4498
58 | 2551322.0115 | 1158056.234 | 2551319.1362 | 1158061.6356
59 | 2551303.6996 | 1158118.0816 | 2551300.6656 | 1158142.8859 | 2551297.3227 | 1158170.2496 | 2551300.7972 | 1158181.783 | 2551309.7547 | 1158202.9549 | 2551310.371 | 1158212.7661 | 2551296.8932 | 1158227.85
60 | 2551322.0115 | 1158056.234 | 2551314.381 | 1158051.2266 | 2551311.4083 | 1158048.9284
61 | 2551322.0115 | 1158056.234 | 2551334.3739 | 1158051.976 | 2551344.5115 | 1158054.1617 | 2551353.1472 | 1158062.1377
62 | 2551296.8932 | 1158227.85 | 2551297.3557 | 1158233.8272 | 2551301.634 | 1158243.3308
63 | 2551296.8932 | 1158227.85 | 2551291.3659 | 1158231.6524
64 | 2551292.7121 | 1158020.7271 | 2551298.1672 | 1158029.6245 | 2551306.5117 | 1158045.1428 | 2551311.4083 | 1158048.9284
65 | 2551370.2726 | 1158074.1857 | 2551364.2706 | 1158072.4112 | 2551353.1472 | 1158062.1377
66 | 2551291.3659 | 1158231.6524 | 2551286.314 | 1158227.9025
67 | 2551370.2726 | 1158074.1857 | 2551376.6973 | 1158076.0903 | 2551387.1699 | 1158073.7255
68 | 2551370.2726 | 1158074.1857 | 2551351.0252 | 1158085.9589 | 2551343.7272 | 1158089.809 | 2551345.185 | 1158101.8534
69 | 2551387.1699 | 1158073.7255 | 2551390.5867 | 1158072.9539 | 2551394.0928 | 1158071.4816
70 | 2551292.7121 | 1158020.7271 | 2551192.4287 | 1157985.0409
71 | 2551440.9842 | 1158051.7906 | 2551394.0928 | 1158071.4816
72 | 2551622.879 | 1157858.3432 | 2551635.6882 | 1157851.4253 | 2551679.488 | 1157836.306
73 | 2551622.879 | 1157858.3432 | 2551619.7269 | 1157866.7841 | 2551603.1742 | 1157908.6061 | 2551603.2808 | 1157921.8344 | 2551605.5298 | 1157936.247
74 | 2551606.2955 | 1157941.1539 | 2551605.5298 | 1157936.247
75 | 2551607.7583 | 1157950.5277 | 2551606.2955 | 1157941.1539
76 | 2551440.9842 | 1158051.7906 | 2551440.1242 | 1158039.3133 | 2551435.1095 | 1158026.6493
77 | 2551440.9842 | 1158051.7906 | 2551445.6629 | 1158056.2447
78 | 2551445.6629 | 1158056.2447 | 2551449.7842 | 1158060.1683 | 2551479.9367 | 1158076.9705
79 | 2551490.8243 | 1158083.0375 | 2551479.9367 | 1158076.9705
80 | 2551490.8243 | 1158083.0375 | 2551507.7029 | 1158078.7382
81 | 2551511.1526 | 1158077.8595 | 2551507.7029 | 1158078.7382
82 | 2551523.75 | 1158098.9021 | 2551511.1526 | 1158077.8595 | 2551511.1526 | 1158077.8595
83 | 2551607.7583 | 1157950.5277 | 2551511.1526 | 1158077.8595
84 | 2551334.8664 | 1157310.8723 | 2551268.7094 | 1157282.3716
85 | 2551268.7094 | 1157282.3716 | 2551269.8259 | 1157274.4472 | 2551269.0992 | 1157268.9947 | 2551247.7245 | 1157242.9843
86 | 2551247.7245 | 1157242.9843 | 2551233.5238 | 1157225.7038
87 | 2551753.7349 | 1158491.3222 | 2551726.131 | 1158521.9962
88 | 2551753.7349 | 1158491.3222 | 2551723.6401 | 1158463.3513

## bus_geodata
| x | y | coords
0 | 2550812.1664 | 1157544.4966
1 | 2550892.0735 | 1157281.2494
2 | 2551534.1654 | 1157359.8084
3 | 2551526.3447 | 1157358.871
4 | 2551535.4438 | 1157370.9483
5 | 2551507.3767 | 1157328.3799
6 | 2551564.368 | 1157385.5004
7 | 2551497.4289 | 1157315.3857
8 | 2551565.0408 | 1157386.0804
9 | 2551613.7805 | 1157341.2344
10 | 2551730.1995 | 1157496.0898
11 | 2551338.5077 | 1157342.9795
12 | 2551384.1101 | 1157069.7915
13 | 2551365.3416 | 1157049.81
14 | 2551398.1558 | 1156955.1601
15 | 2551766.6301 | 1157515.0658
16 | 2551785.2528 | 1157524.7661
17 | 2551809.0809 | 1157537.1777
18 | 2551791.2502 | 1157625.9236
19 | 2551788.4813 | 1157642.7556
20 | 2551220.5369 | 1157015.7117
21 | 2551159.7469 | 1157035.6607
22 | 2551162.5767 | 1157139.3698
23 | 2551762.0073 | 1157835.8486
24 | 2551760.2841 | 1157829.5592
25 | 2551753.0318 | 1157803.0893
26 | 2551761.9707 | 1157766.7764
27 | 2551700.5433 | 1157829.0378
28 | 2551405.1369 | 1157950.9574
29 | 2551423.992 | 1157998.5735
30 | 2551390.6959 | 1157914.4886
31 | 2551430.9404 | 1158016.1208
32 | 2551376.8871 | 1157868.7187
33 | 2551432.0887 | 1158019.0206
34 | 2551371.4811 | 1157837.1353
35 | 2551367.5087 | 1157804.5285
36 | 2551364.0042 | 1157779.9821
37 | 2551362.5359 | 1157769.6973
38 | 2551358.7696 | 1157732.7331
39 | 2551784.9211 | 1157664.3987
40 | 2551784.8505 | 1157664.828
41 | 2551788.3773 | 1157643.3884
42 | 2551780.2631 | 1157684.7002
43 | 2551775.6063 | 1157705.4576
44 | 2551360.4647 | 1157702.5936
45 | 2551473.7921 | 1157620.0585
46 | 2551603.7694 | 1158190.3672
47 | 2551578.8567 | 1158149.2796
48 | 2551612.31 | 1158205.8661
49 | 2551568.6455 | 1158136.656
50 | 2551646.4742 | 1158310.8191
51 | 2551543.9726 | 1158109.1332
52 | 2551688.7129 | 1158427.1241
53 | 2551770.4272 | 1157728.748
54 | 2551308.0564 | 1158082.4498
55 | 2551319.1362 | 1158061.6356
56 | 2551303.6996 | 1158118.0816
57 | 2551322.0115 | 1158056.234
58 | 2551296.8932 | 1158227.85
59 | 2551311.4083 | 1158048.9284
60 | 2551353.1473 | 1158062.1377
61 | 2551301.634 | 1158243.3308
62 | 2551291.3659 | 1158231.6524
63 | 2551370.2726 | 1158074.1857
64 | 2551387.1699 | 1158073.7255
65 | 2551345.185 | 1158101.8534
66 | 2551292.7121 | 1158020.7271
67 | 2551394.0928 | 1158071.4816
68 | 2551622.879 | 1157858.3432
69 | 2551679.488 | 1157836.306
70 | 2551605.5298 | 1157936.247
71 | 2551606.2955 | 1157941.1539
72 | 2551192.4287 | 1157985.0409
73 | 2551435.1095 | 1158026.6493
74 | 2551440.9842 | 1158051.7906
75 | 2551445.6629 | 1158056.2447
76 | 2551479.9367 | 1158076.9705
77 | 2551490.8243 | 1158083.0375
78 | 2551507.7029 | 1158078.7382
79 | 2551523.75 | 1158098.9021
80 | 2551511.1526 | 1158077.8595
81 | 2551607.7583 | 1157950.5277
82 | 2551334.8664 | 1157310.8723
83 | 2551268.7094 | 1157282.3716
84 | 2551247.7245 | 1157242.9843
85 | 2551726.131 | 1158521.9962
86 | 2551753.7349 | 1158491.3222
87 | 2551723.6401 | 1158463.3513
88 | 2551233.5238 | 1157225.7038
89 | 2551286.314 | 1158227.9025
90 | 2551440.9842 | 1158051.7906

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1