## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5853-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5853-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5853-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5853-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5853-2_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5853-2_0_5_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_5853-2_0_5_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_5853-2_0_5_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_5853-2_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5853-2_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5853-2_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5853-2_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5853-2_0_5_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_5853-2_0_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5853-2_0_5_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_5853-2_0_5_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_5853-2_0_5_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_5853-2_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5853-2_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5853-2_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5853-2_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5853-2_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5853-2_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5853-2_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5853-2_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5853-2_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5853-2_0_5_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_5853-2_0_5_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5853-2_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_5853-2_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5853-2_0_5_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_5853-2_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5853-2_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_5853-2_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_5853-2_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5853-2_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5853-2_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5853-2_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5853-2_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5853-2_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_5853-2_0_5_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_5853-2_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_5853-2_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5853-2_0_5_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_5853-2_0_5_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_5853-2_0_5_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_5853-2_0_5_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5853-2_0_5_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_5853-2_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5853-2_0_5_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_5853-2_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5853-2_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_5853-2_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5853-2_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_5853-2_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5853-2_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_5853-2_0_5_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_5853-2_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_5853-2_0_5_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_5853-2_0_5_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_5853-2_0_5_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_5853-2_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5853-2_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5853-2_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5853-2_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5853-2_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5853-2_0_5_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_5853-2_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_5853-2_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5853-2_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_5853-2_0_5_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_5853-2_0_5_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5853-2_0_5_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_5853-2_0_5_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_5853-2_0_5_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5853-2_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5853-2_0_5_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_5853-2_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5853-2_0_5_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5853-2_0_5_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5853-2_0_5_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_5853-2_0_5_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_5853-2_0_5_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5853-2_0_5_node_82 | 0.4 | n |  | TRUE
84 | bus_MV_313_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5853-2_0_5_load_0 | 0 | 0.0019129 | 0.00047942 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5853-2_0_5_load_4 | 4 | 0.0032514 | 0.00081489 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5853-2_0_5_load_44 | 5 | 0.0034789 | 0.00087189 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5853-2_0_5_load_47 | 6 | 0.0055283 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5853-2_0_5_load_45 | 7 | 0.0030176 | 0.00075628 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5853-2_0_5_load_5 | 8 | 0.0025314 | 0.00063442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5853-2_0_5_load_8 | 11 | 0.0010552 | 0.00026447 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5853-2_0_5_load_26 | 13 | 0.0015421 | 0.0003865 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5853-2_0_5_load_84 | 14 | 0.0040152 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5853-2_0_5_load_43 | 15 | 0.0051845 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5853-2_0_5_load_83 | 16 | 0.00072837 | 0.00018255 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5853-2_0_5_load_9 | 17 | 0.0026623 | 0.00066723 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5853-2_0_5_load_10 | 18 | 0.0032019 | 0.00080247 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5853-2_0_5_load_13 | 21 | 0.0021742 | 0.00054491 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5853-2_0_5_load_15 | 23 | 0.0032434 | 0.00081287 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5853-2_0_5_load_16 | 25 | 0.0019686 | 0.00049337 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5853-2_0_5_load_70 | 26 | 0.0037434 | 0.0009382 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5853-2_0_5_load_31 | 28 | 0.0045489 | 0.0011401 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5853-2_0_5_load_17 | 29 | 0.002185 | 0.00054761 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5853-2_0_5_load_69 | 30 | 0.0016308 | 0.00040871 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5853-2_0_5_load_18 | 31 | 0.0024463 | 0.0006131 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5853-2_0_5_load_37 | 32 | 0.036966 | 0.0092646 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5853-2_0_5_load_36 | 33 | 0.04648 | 0.011649 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5853-2_0_5_load_19 | 34 | 0.073441 | 0.018406 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5853-2_0_5_load_25 | 38 | 0.0448 | 0.011228 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5853-2_0_5_load_60 | 40 | 0.007397 | 0.0018539 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5853-2_0_5_load_65 | 43 | 0.0012637 | 0.00031671 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5853-2_0_5_load_64 | 44 | 0.0011785 | 0.00029537 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5853-2_0_5_load_62 | 45 | 0.0053243 | 0.0013344 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5853-2_0_5_load_41 | 46 | 0.0043522 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5853-2_0_5_load_29 | 48 | 0.0015232 | 0.00038176 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5853-2_0_5_load_66 | 49 | 0.0017904 | 0.00044872 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5853-2_0_5_load_28 | 51 | 0.080585 | 0.020196 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5853-2_0_5_load_40 | 54 | 0.0036184 | 0.00090685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5853-2_0_5_load_38 | 55 | 0.0014661 | 0.00036744 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5853-2_0_5_load_71 | 56 | 0.0026201 | 0.00065666 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5853-2_0_5_load_85 | 58 | 0.011006 | 0.0027583 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5853-2_0_5_load_74 | 60 | 0.0016013 | 0.00040131 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5853-2_0_5_load_46 | 61 | 0.0043222 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5853-2_0_5_load_48 | 62 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5853-2_0_5_load_49 | 63 | 0.00073015 | 0.00018299 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5853-2_0_5_load_50 | 64 | 0.0068082 | 0.0017063 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5853-2_0_5_load_51 | 65 | 0.0042014 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5853-2_0_5_load_52 | 66 | 0.0055413 | 0.0013888 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5853-2_0_5_load_53 | 67 | 0.0042386 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5853-2_0_5_load_54 | 68 | 0.0054138 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5853-2_0_5_load_55 | 69 | 0.005215 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5853-2_0_5_load_56 | 70 | 0.0067047 | 0.0016804 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5853-2_0_5_load_57 | 71 | 0.0034545 | 0.00086578 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5853-2_0_5_load_58 | 72 | 0.0031585 | 0.00079159 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5853-2_0_5_load_61 | 73 | 0.037368 | 0.0093654 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5853-2_0_5_load_72 | 74 | 0.0097074 | 0.0024329 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5853-2_0_5_load_67 | 75 | 0.0031267 | 0.00078362 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5853-2_0_5_load_73 | 76 | 0.00063829 | 0.00015997 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5853-2_0_5_load_75 | 77 | 0.001788 | 0.00044811 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5853-2_0_5_load_77 | 78 | 0.0036328 | 0.00091046 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5853-2_0_5_load_80 | 81 | 0.0030974 | 0.00077627 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5853-2_0_5_load_81 | 82 | 0.0013122 | 0.00032886 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5853-2_0_5_load_82 | 83 | 0.0038803 | 0.00097249 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5853-2_0_5_line_0 |  | 0 | 1 | 0.046827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5853-2_0_5_line_1 |  | 0 | 2 | 0.025732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5853-2_0_5_line_2 |  | 1 | 3 | 0.068872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5853-2_0_5_line_3 |  | 2 | 4 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5853-2_0_5_line_4 |  | 3 | 5 | 0.063478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5853-2_0_5_line_5 |  | 4 | 6 | 0.024703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5853-2_0_5_line_6 |  | 5 | 7 | 0.021687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5853-2_0_5_line_7 |  | 7 | 61 | 0.0092953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5853-2_0_5_line_8 |  | 8 | 9 | 0.011073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5853-2_0_5_line_9 |  | 9 | 10 | 0.028925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5853-2_0_5_line_10 |  | 9 | 11 | 0.0014567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5853-2_0_5_line_11 |  | 10 | 12 | 0.02993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5853-2_0_5_line_12 |  | 10 | 13 | 0.028209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5853-2_0_5_line_13 |  | 11 | 14 | 0.01758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5853-2_0_5_line_14 |  | 12 | 15 | 0.0093445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5853-2_0_5_line_15 |  | 14 | 16 | 0.016516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5853-2_0_5_line_16 |  | 15 | 27 | 0.05023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5853-2_0_5_line_17 |  | 16 | 83 | 0.015897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5853-2_0_5_line_18 |  | 17 | 18 | 0.017232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5853-2_0_5_line_19 |  | 17 | 19 | 0.039403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5853-2_0_5_line_20 |  | 18 | 20 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5853-2_0_5_line_21 |  | 19 | 21 | 0.010803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5853-2_0_5_line_22 |  | 19 | 22 | 0.021834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5853-2_0_5_line_23 |  | 19 | 23 | 0.012956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5853-2_0_5_line_24 |  | 20 | 24 | 0.053505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5853-2_0_5_line_25 |  | 21 | 25 | 0.013518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5853-2_0_5_line_26 |  | 22 | 26 | 0.02356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5853-2_0_5_line_27 |  | 24 | 27 | 0.025725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5853-2_0_5_line_28 |  | 24 | 28 | 0.037767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5853-2_0_5_line_29 |  | 25 | 29 | 0.011381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5853-2_0_5_line_30 |  | 26 | 30 | 0.0080589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5853-2_0_5_line_31 |  | 28 | 52 | 0.0087053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5853-2_0_5_line_32 |  | 30 | 42 | 0.028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5853-2_0_5_line_33 |  | 31 | 32 | 0.0096681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5853-2_0_5_line_34 |  | 32 | 33 | 0.00094491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5853-2_0_5_line_35 |  | 33 | 52 | 0.044204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5853-2_0_5_line_36 |  | 34 | 35 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5853-2_0_5_line_37 |  | 34 | 36 | 0.043638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5853-2_0_5_line_38 |  | 35 | 37 | 0.010386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5853-2_0_5_line_39 |  | 36 | 38 | 0.050272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5853-2_0_5_line_40 |  | 37 | 39 | 0.036605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5853-2_0_5_line_41 |  | 37 | 40 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5853-2_0_5_line_42 |  | 38 | 46 | 0.0046613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5853-2_0_5_line_43 |  | 39 | 44 | 0.033472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5853-2_0_5_line_44 |  | 39 | 45 | 0.0080549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5853-2_0_5_line_45 |  | 40 | 47 | 0.0044377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5853-2_0_5_line_46 |  | 41 | 42 | 0.008795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5853-2_0_5_line_47 |  | 41 | 43 | 0.036942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5853-2_0_5_line_48 |  | 42 | 48 | 0.0091844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5853-2_0_5_line_49 |  | 43 | 49 | 0.013368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5853-2_0_5_line_50 |  | 46 | 50 | 0.035209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5853-2_0_5_line_51 |  | 47 | 73 | 0.05349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5853-2_0_5_line_52 |  | 47 | 72 | 0.0059534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5853-2_0_5_line_53 |  | 48 | 51 | 0.020657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5853-2_0_5_line_54 |  | 49 | 75 | 0.022582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5853-2_0_5_line_55 |  | 50 | 57 | 0.032761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5853-2_0_5_line_56 |  | 50 | 55 | 0.032278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5853-2_0_5_line_57 |  | 52 | 53 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5853-2_0_5_line_58 |  | 53 | 54 | 0.018049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5853-2_0_5_line_59 |  | 53 | 55 | 0.0043852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5853-2_0_5_line_60 |  | 54 | 56 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5853-2_0_5_line_61 |  | 57 | 58 | 0.014143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5853-2_0_5_line_62 |  | 57 | 59 | 0.062819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5853-2_0_5_line_63 |  | 59 | 60 | 0.0177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5853-2_0_5_line_64 |  | 60 | 76 | 0.009544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5853-2_0_5_line_65 |  | 61 | 62 | 0.0026675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5853-2_0_5_line_66 |  | 62 | 63 | 0.0086838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5853-2_0_5_line_67 |  | 63 | 64 | 0.0019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5853-2_0_5_line_68 |  | 64 | 65 | 0.0068157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5853-2_0_5_line_69 |  | 65 | 66 | 0.0072359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5853-2_0_5_line_70 |  | 66 | 67 | 0.010602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5853-2_0_5_line_71 |  | 67 | 68 | 0.0073763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5853-2_0_5_line_72 |  | 68 | 69 | 0.010451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5853-2_0_5_line_73 |  | 69 | 70 | 0.010417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5853-2_0_5_line_74 |  | 70 | 71 | 0.01136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5853-2_0_5_line_75 |  | 71 | 72 | 0.0073442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5853-2_0_5_line_76 |  | 73 | 74 | 0.0054593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5853-2_0_5_line_77 |  | 76 | 77 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5853-2_0_5_line_78 |  | 78 | 79 | 0.023523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5853-2_0_5_line_79 |  | 79 | 80 | 0.054822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5853-2_0_5_line_80 |  | 80 | 81 | 0.048936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5853-2_0_5_line_81 |  | 81 | 82 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5853-2_0_5_line_82 |  | 82 | 83 | 0.018527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5853-2_0_5_trafo_21 | 0.63 MVA 20/0.4 kV | 84 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2511607.9491 | 1145127.5141 | 2511636.0876 | 1145141.0425 | 2511648.0597 | 1145146.8036 | 2511650.1175 | 1145147.8738
1 | 2511672.9467 | 1145159.7462 | 2511650.1175 | 1145147.8738
2 | 2511636.1573 | 1145064.6628 | 2511621.4686 | 1145097.8869 | 2511607.9491 | 1145127.5141
3 | 2511672.9467 | 1145159.7462 | 2511676.3895 | 1145153.4809 | 2511686.3021 | 1145138.2568
4 | 2511636.1573 | 1145064.6628 | 2511682.7732 | 1145079.5211 | 2511693.3661 | 1145084.502 | 2511695.8166 | 1145085.9497
5 | 2511695.3353 | 1145117.7835 | 2511697.4248 | 1145119.1631 | 2511695.8454 | 1145123.6 | 2511686.3021 | 1145138.2568
6 | 2511695.8166 | 1145085.9497 | 2511706.4041 | 1145092.2043 | 2511713.8743 | 1145097.8931
7 | 2511721.2694 | 1145103.5246 | 2511713.8743 | 1145097.8931
8 | 2511954.5399 | 1145013.6136 | 2511948.9116 | 1145023.1498
9 | 2511954.5399 | 1145013.6136 | 2511975.6755 | 1145028.5691 | 2511974.116 | 1145031.2268
10 | 2511954.5399 | 1145013.6136 | 2511955.2804 | 1145012.3592
11 | 2511999.2524 | 1145047.5802 | 2511974.116 | 1145031.2268
12 | 2511974.116 | 1145031.2268 | 2511971.3188 | 1145031.7457 | 2511958.6083 | 1145053.695
13 | 2511964.2173 | 1144997.2201 | 2511955.2804 | 1145012.3592
14 | 2511999.2524 | 1145047.5802 | 2511997.2178 | 1145051.3789 | 2511994.5504 | 1145055.6496
15 | 2511972.613 | 1144982.9977 | 2511964.2173 | 1144997.2201
16 | 2511967.8958 | 1145098.2241 | 2511972.0946 | 1145091.6143 | 2511991.0158 | 1145061.3087 | 2511994.5504 | 1145055.6496
17 | 2511980.6941 | 1144969.3083 | 2511972.613 | 1144982.9977
18 | 2511954.6352 | 1145191.9086 | 2511957.9255 | 1145188.3122 | 2511966.7206 | 1145179.6308
19 | 2511928.1448 | 1145221.0782 | 2511946.3689 | 1145200.9442 | 2511954.6352 | 1145191.9086
20 | 2511987.1129 | 1145168.029 | 2511981.2844 | 1145169.8598 | 2511976.0893 | 1145172.4483 | 2511970.1815 | 1145176.2147 | 2511966.7206 | 1145179.6308
21 | 2511928.1448 | 1145221.0782 | 2511922.8128 | 1145216.409 | 2511920.205 | 1145213.7617
22 | 2511928.1448 | 1145221.0782 | 2511922.2691 | 1145228.613 | 2511916.6645 | 1145233.6647 | 2511912.2653 | 1145235.4968
23 | 2511928.1448 | 1145221.0782 | 2511936.8684 | 1145228.5773 | 2511938.0367 | 1145229.44
24 | 2511987.1129 | 1145168.029 | 2511986.1347 | 1145163.1404 | 2511984.52 | 1145158.339 | 2511981.5974 | 1145151.8556 | 2511960.1438 | 1145122.4851
25 | 2511920.205 | 1145213.7617 | 2511915.0284 | 1145208.507 | 2511911.24 | 1145203.6728
26 | 2511912.2653 | 1145235.4968 | 2511904.9611 | 1145235.726 | 2511900.7744 | 1145234.7533 | 2511895.2772 | 1145232.4435 | 2511889.9293 | 1145229.7433
27 | 2511960.1438 | 1145122.4851 | 2511960.682 | 1145117.2519 | 2511961.763 | 1145111.8329 | 2511964.2903 | 1145105.47 | 2511964.5963 | 1145104.854 | 2511967.8958 | 1145098.2241
28 | 2511960.1438 | 1145122.4851 | 2511955.7587 | 1145121.6154 | 2511950.9217 | 1145118.74 | 2511946.1498 | 1145114.0181 | 2511940.9598 | 1145108.5463 | 2511929.6548 | 1145101.6186 | 2511929.5228 | 1145101.5367
29 | 2511904.2197 | 1145194.7146 | 2511911.24 | 1145203.6728
30 | 2511882.7487 | 1145226.0848 | 2511887.7449 | 1145228.6403 | 2511889.9293 | 1145229.7433
31 | 2511922.125 | 1145096.9482 | 2511929.5228 | 1145101.5367
32 | 2511857.6605 | 1145213.3493 | 2511867.5226 | 1145218.2968 | 2511882.7487 | 1145226.0848
33 | 2511896.827 | 1145134.3407 | 2511891.2568 | 1145142.2428
34 | 2511897.3714 | 1145133.5683 | 2511896.827 | 1145134.3407
35 | 2511922.125 | 1145096.9482 | 2511919.1698 | 1145101.3718 | 2511902.2276 | 1145126.6791 | 2511897.3714 | 1145133.5683
36 | 2511804.8871 | 1145170.4298 | 2511816.0273 | 1145152.9928
37 | 2511846.0401 | 1145143.4335 | 2511843.2262 | 1145144.3864 | 2511838.1989 | 1145150.5525 | 2511824.2604 | 1145140.1059 | 2511816.0273 | 1145152.9928
38 | 2511804.8871 | 1145170.4298 | 2511797.7752 | 1145178.0163
39 | 2511846.0401 | 1145143.4335 | 2511836.6062 | 1145135.2 | 2511838.7637 | 1145131.9332 | 2511855.1001 | 1145107.2572 | 2511857.481 | 1145103.747
40 | 2511797.7752 | 1145178.0163 | 2511799.9344 | 1145180.1081 | 2511810.5031 | 1145188.1804 | 2511802.1167 | 1145199.5099 | 2511798.2458 | 1145204.3584
41 | 2511797.7752 | 1145178.0163 | 2511789.4133 | 1145169.9056
42 | 2511857.481 | 1145103.747 | 2511860.0977 | 1145099.8894
43 | 2511828.2717 | 1145218.7939 | 2511806.3157 | 1145210.2326 | 2511798.2458 | 1145204.3584
44 | 2511798.2458 | 1145204.3584 | 2511793.3884 | 1145210.7839
45 | 2511786.4202 | 1145166.6314 | 2511788.8889 | 1145169.3969 | 2511789.4133 | 1145169.9056
46 | 2511849.7877 | 1145209.3844 | 2511854.6569 | 1145211.8368 | 2511857.6605 | 1145213.3493
47 | 2511849.7877 | 1145209.3844 | 2511848.8969 | 1145214.6673 | 2511849.6393 | 1145217.6137 | 2511852.1276 | 1145221.1905 | 2511855.377 | 1145224.2781 | 2511869.6681 | 1145237.8469
48 | 2511857.6605 | 1145213.3493 | 2511861.9494 | 1145205.2278
49 | 2511869.6681 | 1145237.8469 | 2511874.2659 | 1145242.2123 | 2511879.5372 | 1145246.8601
50 | 2511879.8622 | 1145070.7509 | 2511860.0977 | 1145099.8894
51 | 2511786.4202 | 1145166.6314 | 2511793.0647 | 1145161.2309 | 2511810.0779 | 1145129.2738 | 2511802.8133 | 1145124.4429
52 | 2511786.4202 | 1145166.6314 | 2511782.4487 | 1145162.1963
53 | 2511861.9494 | 1145205.2278 | 2511862.4531 | 1145204.2738 | 2511872.9993 | 1145187.7785
54 | 2511879.5372 | 1145246.8601 | 2511896.4752 | 1145261.7947
55 | 2511851.85 | 1145053.7619 | 2511854.8505 | 1145055.5857 | 2511865.1001 | 1145061.795 | 2511867.5424 | 1145063.2823 | 2511879.8622 | 1145070.7509
56 | 2511879.8622 | 1145070.7509 | 2511894.6658 | 1145079.9286 | 2511907.294 | 1145087.7617
57 | 2511911.0205 | 1145090.0732 | 2511922.125 | 1145096.9482
58 | 2511911.0205 | 1145090.0732 | 2511915.1954 | 1145082.8856 | 2511920.0995 | 1145074.4743
59 | 2511911.0205 | 1145090.0732 | 2511907.294 | 1145087.7617
60 | 2511920.0995 | 1145074.4743 | 2511930.0753 | 1145057.364 | 2511934.3418 | 1145049.8372
61 | 2511851.85 | 1145053.7619 | 2511843.5576 | 1145065.2345
62 | 2511797.8627 | 1145021.4443 | 2511811.3156 | 1145028.6182 | 2511837.933 | 1145045.3273 | 2511851.85 | 1145053.7619
63 | 2511797.8627 | 1145021.4443 | 2511792.1355 | 1145021.8062 | 2511785.2093 | 1145024.2535 | 2511782.2051 | 1145027.7576
64 | 2511776.4846 | 1145035.3739 | 2511779.1954 | 1145031.268 | 2511782.2051 | 1145027.7576
65 | 2511721.2694 | 1145103.5246 | 2511723.3916 | 1145105.1407 | 2511723.3916 | 1145105.1407
66 | 2511729.994 | 1145110.7815 | 2511723.3916 | 1145105.1407
67 | 2511731.4901 | 1145112.0597 | 2511729.994 | 1145110.7815
68 | 2511731.4901 | 1145112.0597 | 2511736.6721 | 1145116.4869
69 | 2511742.1736 | 1145121.1871 | 2511736.6721 | 1145116.4869
70 | 2511742.1736 | 1145121.1871 | 2511746.7525 | 1145125.0991 | 2511750.0824 | 1145128.2426
71 | 2511755.4461 | 1145133.3062 | 2511750.0824 | 1145128.2426
72 | 2511755.4461 | 1145133.3062 | 2511763.0457 | 1145140.4806
73 | 2511769.9859 | 1145148.2487 | 2511763.0457 | 1145140.4806 | 2511763.0457 | 1145140.4806
74 | 2511769.9859 | 1145148.2487 | 2511777.5547 | 1145156.7203
75 | 2511777.5547 | 1145156.7203 | 2511781.7329 | 1145161.397 | 2511782.4487 | 1145162.1963
76 | 2511798.2674 | 1145121.4199 | 2511802.8133 | 1145124.4429
77 | 2511770.2196 | 1145044.8631 | 2511776.4846 | 1145035.3739
78 | 2512062.3392 | 1144935.9814 | 2512073.5149 | 1144915.2824
79 | 2512062.3392 | 1144935.9814 | 2512056.6497 | 1144932.618 | 2512049.4873 | 1144924.1732 | 2512040.4903 | 1144914.2876 | 2512023.0546 | 1144898.0215
80 | 2512023.0546 | 1144898.0215 | 2512018.9594 | 1144903.3178 | 2511997.7863 | 1144939.8695
81 | 2511997.7863 | 1144939.8695 | 2511990.0098 | 1144953.2943
82 | 2511980.6941 | 1144969.3083 | 2511982.7946 | 1144965.75 | 2511990.0098 | 1144953.2943

## bus_geodata
| x | y | coords
0 | 2511650.1175 | 1145147.8738
1 | 2511607.9491 | 1145127.5141
2 | 2511672.9467 | 1145159.7462
3 | 2511636.1573 | 1145064.6628
4 | 2511686.3021 | 1145138.2568
5 | 2511695.8166 | 1145085.9497
6 | 2511695.3353 | 1145117.7835
7 | 2511713.8743 | 1145097.8931
8 | 2511948.9116 | 1145023.1498
9 | 2511954.5399 | 1145013.6136
10 | 2511974.116 | 1145031.2268
11 | 2511955.2804 | 1145012.3592
12 | 2511999.2524 | 1145047.5802
13 | 2511958.6083 | 1145053.695
14 | 2511964.2173 | 1144997.2201
15 | 2511994.5504 | 1145055.6496
16 | 2511972.613 | 1144982.9977
17 | 2511954.6352 | 1145191.9086
18 | 2511966.7206 | 1145179.6308
19 | 2511928.1448 | 1145221.0782
20 | 2511987.1129 | 1145168.029
21 | 2511920.205 | 1145213.7617
22 | 2511912.2653 | 1145235.4968
23 | 2511938.0367 | 1145229.44
24 | 2511960.1438 | 1145122.4851
25 | 2511911.24 | 1145203.6728
26 | 2511889.9293 | 1145229.7433
27 | 2511967.8958 | 1145098.2241
28 | 2511929.5228 | 1145101.5367
29 | 2511904.2197 | 1145194.7146
30 | 2511882.7487 | 1145226.0848
31 | 2511891.2568 | 1145142.2428
32 | 2511896.827 | 1145134.3407
33 | 2511897.3714 | 1145133.5683
34 | 2511816.0273 | 1145152.9928
35 | 2511804.8871 | 1145170.4298
36 | 2511846.0401 | 1145143.4335
37 | 2511797.7752 | 1145178.0163
38 | 2511857.481 | 1145103.747
39 | 2511798.2458 | 1145204.3584
40 | 2511789.4133 | 1145169.9056
41 | 2511849.7877 | 1145209.3844
42 | 2511857.6605 | 1145213.3493
43 | 2511869.6681 | 1145237.8469
44 | 2511828.2717 | 1145218.7939
45 | 2511793.3884 | 1145210.7839
46 | 2511860.0977 | 1145099.8894
47 | 2511786.4202 | 1145166.6314
48 | 2511861.9494 | 1145205.2278
49 | 2511879.5372 | 1145246.8601
50 | 2511879.8622 | 1145070.7509
51 | 2511872.9993 | 1145187.7785
52 | 2511922.125 | 1145096.9482
53 | 2511911.0205 | 1145090.0732
54 | 2511920.0995 | 1145074.4743
55 | 2511907.294 | 1145087.7617
56 | 2511934.3418 | 1145049.8372
57 | 2511851.85 | 1145053.7619
58 | 2511843.5576 | 1145065.2345
59 | 2511797.8627 | 1145021.4443
60 | 2511782.2051 | 1145027.7576
61 | 2511721.2694 | 1145103.5246
62 | 2511723.3916 | 1145105.1407
63 | 2511729.994 | 1145110.7815
64 | 2511731.4901 | 1145112.0597
65 | 2511736.6721 | 1145116.4869
66 | 2511742.1736 | 1145121.1871
67 | 2511750.0824 | 1145128.2426
68 | 2511755.4461 | 1145133.3062
69 | 2511763.0457 | 1145140.4806
70 | 2511769.9859 | 1145148.2487
71 | 2511777.5547 | 1145156.7203
72 | 2511782.4487 | 1145162.1963
73 | 2511802.8133 | 1145124.4429
74 | 2511798.2674 | 1145121.4199
75 | 2511896.4752 | 1145261.7947
76 | 2511776.4846 | 1145035.3739
77 | 2511770.2196 | 1145044.8631
78 | 2512073.5149 | 1144915.2824
79 | 2512062.3392 | 1144935.9814
80 | 2512023.0546 | 1144898.0215
81 | 2511997.7863 | 1144939.8695
82 | 2511990.0098 | 1144953.2943
83 | 2511980.6941 | 1144969.3083
84 | 2511842.7259 | 1145191.5439

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1