## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5861-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5861-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5861-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5861-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5861-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5861-5_0_4_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_5861-5_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_5861-5_0_4_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_5861-5_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5861-5_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5861-5_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5861-5_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5861-5_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5861-5_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_5861-5_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_5861-5_0_4_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_5861-5_0_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5861-5_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5861-5_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5861-5_0_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5861-5_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_5861-5_0_4_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_5861-5_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_5861-5_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5861-5_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5861-5_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5861-5_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5861-5_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5861-5_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5861-5_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5861-5_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5861-5_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5861-5_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5861-5_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5861-5_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5861-5_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5861-5_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5861-5_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5861-5_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5861-5_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5861-5_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5861-5_0_4_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_5861-5_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5861-5_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_5861-5_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5861-5_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5861-5_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5861-5_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5861-5_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5861-5_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5861-5_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5861-5_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_5861-5_0_4_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_5861-5_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_5861-5_0_4_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_5861-5_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_5861-5_0_4_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_5861-5_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5861-5_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_5861-5_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5861-5_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5861-5_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_5861-5_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_5861-5_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5861-5_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5861-5_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5861-5_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5861-5_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5861-5_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5861-5_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_5861-5_0_4_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_5861-5_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_5861-5_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5861-5_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5861-5_0_4_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_5861-5_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5861-5_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_5861-5_0_4_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_5861-5_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_5861-5_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5861-5_0_4_node_91 | 0.4 | n |  | TRUE
81 | bus_LV_5861-5_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_5861-5_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5861-5_0_4_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_5861-5_0_4_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_5861-5_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_5861-5_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_5861-5_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_5861-5_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_5861-5_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5861-5_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5861-5_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_5861-5_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_5861-5_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_5861-5_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_5861-5_0_4_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_5861-5_0_4_node_98 | 0.4 | n |  | TRUE
97 | bus_MV_313_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5861-5_0_4_load_0 | 0 | 0.009033 | 0.0022639 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5861-5_0_4_load_1 | 1 | 0.0025864 | 0.00064822 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5861-5_0_4_load_3 | 3 | 0.0010942 | 0.00027424 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5861-5_0_4_load_61 | 6 | 0.0019195 | 0.00048107 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5861-5_0_4_load_59 | 7 | 0.0015447 | 0.00038714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5861-5_0_4_load_5 | 8 | 0.054484 | 0.013655 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5861-5_0_4_load_9 | 11 | 0.008364 | 0.0020962 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5861-5_0_4_load_8 | 12 | 0.0031306 | 0.00078459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5861-5_0_4_load_46 | 13 | 0.0017276 | 0.00043298 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5861-5_0_4_load_34 | 14 | 0.0023601 | 0.00059149 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5861-5_0_4_load_10 | 17 | 0.0059608 | 0.0014939 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5861-5_0_4_load_76 | 21 | 0.0041619 | 0.0010431 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5861-5_0_4_load_31 | 22 | 0.0066156 | 0.001658 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5861-5_0_4_load_12 | 23 | 0.020416 | 0.0051168 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5861-5_0_4_load_13 | 24 | 0.020764 | 0.005204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5861-5_0_4_load_14 | 25 | 0.020425 | 0.0051189 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5861-5_0_4_load_15 | 26 | 0.0043266 | 0.0010843 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5861-5_0_4_load_16 | 27 | 0.018271 | 0.0045792 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5861-5_0_4_load_17 | 28 | 0.0042723 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5861-5_0_4_load_18 | 29 | 0.0087125 | 0.0021835 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5861-5_0_4_load_20 | 32 | 0.039025 | 0.0097805 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5861-5_0_4_load_30 | 33 | 0.0012142 | 0.00030432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5861-5_0_4_load_26 | 34 | 0.010963 | 0.0027475 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5861-5_0_4_load_23 | 35 | 0.0057773 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5861-5_0_4_load_27 | 36 | 0.0025382 | 0.00063614 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5861-5_0_4_load_24 | 37 | 0.0083213 | 0.0020855 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5861-5_0_4_load_25 | 38 | 0.01611 | 0.0040376 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5861-5_0_4_load_35 | 39 | 0.0024089 | 0.00060373 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5861-5_0_4_load_36 | 40 | 0.003421 | 0.00085738 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5861-5_0_4_load_37 | 42 | 0.0029095 | 0.00072919 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5861-5_0_4_load_45 | 43 | 0.0021474 | 0.0005382 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5861-5_0_4_load_38 | 45 | 0.00563 | 0.001411 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5861-5_0_4_load_39 | 46 | 0.0076243 | 0.0019108 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5861-5_0_4_load_40 | 47 | 0.0090531 | 0.0022689 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5861-5_0_4_load_41 | 48 | 0.0084381 | 0.0021148 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5861-5_0_4_load_43 | 49 | 0.0057646 | 0.0014447 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5861-5_0_4_load_47 | 51 | 0.01076 | 0.0026967 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5861-5_0_4_load_74 | 52 | 0.0048143 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5861-5_0_4_load_72 | 53 | 0.0010813 | 0.00027099 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5861-5_0_4_load_79 | 54 | 0.0026213 | 0.00065696 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5861-5_0_4_load_70 | 55 | 0.0014469 | 0.00036263 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5861-5_0_4_load_64 | 56 | 0.012855 | 0.0032216 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5861-5_0_4_load_54 | 57 | 0.0023635 | 0.00059235 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5861-5_0_4_load_48 | 58 | 0.0028262 | 0.00070831 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5861-5_0_4_load_49 | 59 | 0.0029702 | 0.00074441 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5861-5_0_4_load_51 | 61 | 0.0015927 | 0.00039916 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5861-5_0_4_load_55 | 64 | 0.0065184 | 0.0016337 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5861-5_0_4_load_57 | 66 | 0.0050207 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5861-5_0_4_load_67 | 68 | 0.0014738 | 0.00036937 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5861-5_0_4_load_65 | 69 | 0.0018242 | 0.00045718 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5861-5_0_4_load_75 | 70 | 0.0031802 | 0.00079705 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5861-5_0_4_load_73 | 71 | 0.0066435 | 0.001665 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5861-5_0_4_load_68 | 72 | 0.0020206 | 0.0005064 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5861-5_0_4_load_66 | 73 | 0.0029282 | 0.00073387 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5861-5_0_4_load_71 | 75 | 0.0027283 | 0.00068378 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5861-5_0_4_load_62 | 76 | 0.0039826 | 0.00099813 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5861-5_0_4_load_95 | 77 | 0.0060674 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5861-5_0_4_load_69 | 78 | 0.0021563 | 0.00054043 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5861-5_0_4_load_80 | 79 | 0.0019353 | 0.00048504 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5861-5_0_4_load_91 | 80 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5861-5_0_4_load_77 | 81 | 0.004822 | 0.0012085 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5861-5_0_4_load_97 | 84 | 0.0027873 | 0.00069856 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5861-5_0_4_load_82 | 85 | 0.0010071 | 0.00025241 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5861-5_0_4_load_83 | 86 | 0.0052119 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5861-5_0_4_load_85 | 88 | 0.0019124 | 0.00047929 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5861-5_0_4_load_86 | 89 | 0.0027354 | 0.00068554 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5861-5_0_4_load_87 | 90 | 0.0029834 | 0.00074771 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5861-5_0_4_load_88 | 91 | 0.0011932 | 0.00029903 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5861-5_0_4_load_93 | 93 | 0.0045073 | 0.0011296 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5861-5_0_4_load_90 | 94 | 0.0069814 | 0.0017497 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5861-5_0_4_load_94 | 95 | 0.00079554 | 0.00019938 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5861-5_0_4_load_98 | 96 | 0.0036237 | 0.00090819 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5861-5_0_4_line_0 |  | 0 | 1 | 0.052961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5861-5_0_4_line_1 |  | 1 | 2 | 0.001524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5861-5_0_4_line_2 |  | 2 | 3 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5861-5_0_4_line_3 |  | 3 | 4 | 0.016038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5861-5_0_4_line_4 |  | 4 | 5 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5861-5_0_4_line_5 |  | 5 | 6 | 0.025564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5861-5_0_4_line_6 |  | 5 | 7 | 0.012344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5861-5_0_4_line_7 |  | 6 | 76 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5861-5_0_4_line_8 |  | 7 | 66 | 0.058041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5861-5_0_4_line_9 |  | 8 | 9 | 0.042813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5861-5_0_4_line_10 |  | 9 | 10 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5861-5_0_4_line_11 |  | 10 | 11 | 0.03537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5861-5_0_4_line_12 |  | 11 | 14 | 0.036792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5861-5_0_4_line_13 |  | 12 | 13 | 0.020082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5861-5_0_4_line_14 |  | 13 | 15 | 0.056469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5861-5_0_4_line_15 |  | 14 | 16 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5861-5_0_4_line_16 |  | 15 | 56 | 0.025575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5861-5_0_4_line_17 |  | 15 | 57 | 0.051738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5861-5_0_4_line_18 |  | 16 | 36 | 0.0089644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5861-5_0_4_line_19 |  | 16 | 30 | 0.041848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5861-5_0_4_line_20 |  | 17 | 18 | 0.026756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5861-5_0_4_line_21 |  | 18 | 19 | 0.040129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5861-5_0_4_line_22 |  | 18 | 20 | 0.026421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5861-5_0_4_line_23 |  | 19 | 21 | 0.0073093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5861-5_0_4_line_24 |  | 20 | 22 | 0.022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5861-5_0_4_line_25 |  | 21 | 41 | 0.047102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5861-5_0_4_line_26 |  | 22 | 30 | 0.059053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5861-5_0_4_line_27 |  | 23 | 24 | 0.00044759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5861-5_0_4_line_28 |  | 23 | 25 | 0.047047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5861-5_0_4_line_29 |  | 24 | 26 | 0.029509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5861-5_0_4_line_30 |  | 25 | 27 | 0.00058562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5861-5_0_4_line_31 |  | 26 | 28 | 0.032379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5861-5_0_4_line_32 |  | 26 | 29 | 0.031593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5861-5_0_4_line_33 |  | 27 | 30 | 0.026198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5861-5_0_4_line_34 |  | 28 | 31 | 0.013507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5861-5_0_4_line_35 |  | 29 | 32 | 0.028218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5861-5_0_4_line_36 |  | 31 | 33 | 0.019088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5861-5_0_4_line_37 |  | 31 | 34 | 0.0082787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5861-5_0_4_line_38 |  | 32 | 35 | 0.059537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5861-5_0_4_line_39 |  | 33 | 39 | 0.014709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5861-5_0_4_line_40 |  | 36 | 38 | 0.0016863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5861-5_0_4_line_41 |  | 37 | 38 | 0.02712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5861-5_0_4_line_42 |  | 39 | 40 | 0.0046903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5861-5_0_4_line_43 |  | 40 | 42 | 0.0084723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5861-5_0_4_line_44 |  | 41 | 81 | 0.018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5861-5_0_4_line_45 |  | 42 | 43 | 0.020105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5861-5_0_4_line_46 |  | 43 | 44 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5861-5_0_4_line_47 |  | 44 | 50 | 0.039437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5861-5_0_4_line_48 |  | 44 | 47 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5861-5_0_4_line_49 |  | 45 | 46 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5861-5_0_4_line_50 |  | 45 | 47 | 0.0061526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5861-5_0_4_line_51 |  | 46 | 48 | 0.031711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5861-5_0_4_line_52 |  | 48 | 49 | 0.0045528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5861-5_0_4_line_53 |  | 49 | 51 | 0.022415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5861-5_0_4_line_54 |  | 50 | 52 | 0.041345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5861-5_0_4_line_55 |  | 50 | 53 | 0.018077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5861-5_0_4_line_56 |  | 52 | 54 | 0.035157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5861-5_0_4_line_57 |  | 53 | 55 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5861-5_0_4_line_58 |  | 54 | 79 | 0.041549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5861-5_0_4_line_59 |  | 55 | 75 | 0.00707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5861-5_0_4_line_60 |  | 57 | 61 | 0.0030864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5861-5_0_4_line_61 |  | 58 | 59 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5861-5_0_4_line_62 |  | 58 | 60 | 0.041241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5861-5_0_4_line_63 |  | 59 | 61 | 0.017792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5861-5_0_4_line_64 |  | 60 | 62 | 0.007276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5861-5_0_4_line_65 |  | 60 | 63 | 0.00374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5861-5_0_4_line_66 |  | 62 | 64 | 0.027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5861-5_0_4_line_67 |  | 62 | 65 | 0.040047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5861-5_0_4_line_68 |  | 63 | 66 | 0.014548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5861-5_0_4_line_69 |  | 63 | 67 | 0.038058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5861-5_0_4_line_70 |  | 65 | 68 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5861-5_0_4_line_71 |  | 65 | 69 | 0.031697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5861-5_0_4_line_72 |  | 67 | 70 | 0.0034572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5861-5_0_4_line_73 |  | 67 | 71 | 0.052389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5861-5_0_4_line_74 |  | 68 | 72 | 0.0075374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5861-5_0_4_line_75 |  | 69 | 73 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5861-5_0_4_line_76 |  | 70 | 74 | 0.029368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5861-5_0_4_line_77 |  | 71 | 75 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5861-5_0_4_line_78 |  | 72 | 78 | 0.0049606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5861-5_0_4_line_79 |  | 74 | 80 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5861-5_0_4_line_80 |  | 76 | 77 | 0.027006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5861-5_0_4_line_81 |  | 79 | 82 | 0.023106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5861-5_0_4_line_82 |  | 80 | 94 | 0.022634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5861-5_0_4_line_83 |  | 82 | 83 | 0.060739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5861-5_0_4_line_84 |  | 83 | 84 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5861-5_0_4_line_85 |  | 84 | 96 | 0.0025123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5861-5_0_4_line_86 |  | 85 | 86 | 0.020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5861-5_0_4_line_87 |  | 86 | 87 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5861-5_0_4_line_88 |  | 87 | 88 | 0.0063547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5861-5_0_4_line_89 |  | 87 | 89 | 0.026618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5861-5_0_4_line_90 |  | 88 | 90 | 0.022133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5861-5_0_4_line_91 |  | 89 | 91 | 0.036797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5861-5_0_4_line_92 |  | 90 | 92 | 0.019481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5861-5_0_4_line_93 |  | 91 | 93 | 0.037294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5861-5_0_4_line_94 |  | 92 | 94 | 0.022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5861-5_0_4_line_95 |  | 93 | 95 | 0.04352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5861-5_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 97 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2515294.4951 | 1145353.5112 | 2515281.6061 | 1145323.5478 | 2515273.5727 | 1145304.8577
1 | 2515272.9709 | 1145303.4576 | 2515273.5727 | 1145304.8577
2 | 2515272.9709 | 1145303.4576 | 2515264.723 | 1145284.1772
3 | 2515258.4149 | 1145269.4314 | 2515264.723 | 1145284.1772
4 | 2515244.7926 | 1145258.072 | 2515251.1988 | 1145261.1837 | 2515258.4149 | 1145269.4314
5 | 2515244.7926 | 1145258.072 | 2515249.6192 | 1145247.7758 | 2515244.1342 | 1145234.686
6 | 2515244.7926 | 1145258.072 | 2515236.2327 | 1145256.9807 | 2515232.5239 | 1145257.1987
7 | 2515244.1342 | 1145234.686 | 2515236.9416 | 1145217.5208
8 | 2515232.5239 | 1145257.1987 | 2515230.0139 | 1145257.3463 | 2515222.1766 | 1145257.3677 | 2515213.8882 | 1145255.9169 | 2515176.7463 | 1145243.1498
9 | 2515093.0085 | 1145445.1866 | 2515104.0674 | 1145470.9346 | 2515108.4783 | 1145481.8566 | 2515109.5945 | 1145484.6538
10 | 2515093.0085 | 1145445.1866 | 2515094.8873 | 1145438.9342 | 2515095.743 | 1145432.0514
11 | 2515095.743 | 1145432.0514 | 2515092.8577 | 1145426.3332 | 2515089.3662 | 1145419.5785 | 2515077.5766 | 1145406.3148 | 2515074.357 | 1145404.6703 | 2515074.357 | 1145404.6703
12 | 2515052.9297 | 1145384.1828 | 2515051.7444 | 1145390.5699 | 2515052.2132 | 1145394.9325 | 2515054.6755 | 1145397.8995 | 2515063.2235 | 1145404.694 | 2515074.357 | 1145404.6703
13 | 2515157.88 | 1145401.9913 | 2515172.7982 | 1145388.548
14 | 2515220.3517 | 1145359.0974 | 2515188.4726 | 1145374.4331 | 2515179.0489 | 1145382.9153 | 2515172.7982 | 1145388.548
15 | 2515050.1435 | 1145374.5943 | 2515052.5754 | 1145378.1287 | 2515052.9297 | 1145384.1828
16 | 2515220.3517 | 1145359.0974 | 2515231.4422 | 1145382.1426
17 | 2515220.3517 | 1145359.0974 | 2515216.4223 | 1145350.7034 | 2515197.3996 | 1145312.7321
18 | 2515050.1435 | 1145374.5943 | 2515051.9188 | 1145370.8114 | 2515051.6209 | 1145366.0351
19 | 2515050.1435 | 1145374.5943 | 2515014.1963 | 1145396.1919
20 | 2514963.1498 | 1145460.1278 | 2514971.5814 | 1145465.7454 | 2514978.422 | 1145468.0724 | 2514987.7089 | 1145469.5199
21 | 2514963.1498 | 1145460.1278 | 2514956.6167 | 1145466.5127 | 2514945.0349 | 1145473.9474 | 2514939.24 | 1145477.6536 | 2514930.4603 | 1145483.2809
22 | 2514945.7278 | 1145440.3401 | 2514951.4248 | 1145448.1864 | 2514956.5312 | 1145453.9399 | 2514963.1498 | 1145460.1278
23 | 2514930.4603 | 1145483.2809 | 2514934.6673 | 1145489.2581
24 | 2514945.7278 | 1145440.3401 | 2514964.1898 | 1145427.5617
25 | 2514961.7776 | 1145527.7758 | 2514934.6673 | 1145489.2581
26 | 2515014.1963 | 1145396.1919 | 2514976.8499 | 1145418.7991 | 2514964.1898 | 1145427.5617
27 | 2514975.4176 | 1145332.8414 | 2514975.6494 | 1145333.2243
28 | 2515000.2091 | 1145373.3513 | 2514989.7614 | 1145356.4469 | 2514982.9338 | 1145345.2589 | 2514975.6494 | 1145333.2243
29 | 2514959.9435 | 1145307.7171 | 2514965.4522 | 1145316.3778 | 2514975.4176 | 1145332.8414
30 | 2515000.2091 | 1145373.3513 | 2515000.517 | 1145373.8495
31 | 2514959.9435 | 1145307.7171 | 2514987.706 | 1145291.0543
32 | 2514959.9435 | 1145307.7171 | 2514932.8571 | 1145323.9797
33 | 2515014.1963 | 1145396.1919 | 2515006.7702 | 1145383.9674 | 2515000.517 | 1145373.8495
34 | 2514999.9545 | 1145286.0284 | 2514995.0379 | 1145286.6537 | 2514987.706 | 1145291.0543
35 | 2514932.8571 | 1145323.9797 | 2514908.6642 | 1145338.5051
36 | 2514999.9545 | 1145286.0284 | 2514998.0066 | 1145280.864 | 2514989.4394 | 1145270.3418
37 | 2514999.9545 | 1145286.0284 | 2515003.8949 | 1145288.6521 | 2515005.7557 | 1145291.6691
38 | 2514908.6642 | 1145338.5051 | 2514873.5167 | 1145290.4504
39 | 2514982.0708 | 1145258.0645 | 2514982.0708 | 1145258.0645 | 2514982.7663 | 1145262.1459 | 2514989.4394 | 1145270.3418
40 | 2515051.6209 | 1145366.0351 | 2515051.6209 | 1145366.0351 | 2515050.7357 | 1145364.5998
41 | 2515036.4992 | 1145341.5168 | 2515050.7357 | 1145364.5998
42 | 2514982.0708 | 1145258.0645 | 2514982.6428 | 1145253.4092
43 | 2514987.1636 | 1145246.3287 | 2514984.3277 | 1145249.75 | 2514982.6428 | 1145253.4092 | 2514982.6428 | 1145253.4092
44 | 2514961.7776 | 1145527.7758 | 2514946.6649 | 1145538.2058
45 | 2515003.5322 | 1145234.8484 | 2514988.9062 | 1145244.2265 | 2514987.1636 | 1145246.3287
46 | 2515013.0665 | 1145226.4084 | 2515009.8094 | 1145230.8236 | 2515003.5322 | 1145234.8484
47 | 2515040.3503 | 1145199.0518 | 2515039.3708 | 1145203.1458 | 2515036.7513 | 1145207.0072 | 2515013.0665 | 1145226.4084
48 | 2515013.0665 | 1145226.4084 | 2515022.5443 | 1145241.8119
49 | 2515025.7686 | 1145247.052 | 2515038.1847 | 1145267.2309
50 | 2515025.7686 | 1145247.052 | 2515022.5443 | 1145241.8119
51 | 2515054.8028 | 1145294.2388 | 2515038.1847 | 1145267.2309
52 | 2515054.8028 | 1145294.2388 | 2515057.1887 | 1145298.1164
53 | 2515068.935 | 1145317.2067 | 2515057.1887 | 1145298.1164
54 | 2515040.3503 | 1145199.0518 | 2514999.7854 | 1145191.0568
55 | 2515040.3503 | 1145199.0518 | 2515057.9624 | 1145203.1233
56 | 2514999.7854 | 1145191.0568 | 2514965.2924 | 1145184.2585
57 | 2515071.1085 | 1145206.1624 | 2515057.9624 | 1145203.1233
58 | 2514965.2924 | 1145184.2585 | 2514956.2373 | 1145182.4739 | 2514924.4534 | 1145176.6111
59 | 2515071.1085 | 1145206.1624 | 2515077.9969 | 1145207.7548
60 | 2515196.0171 | 1145309.9726 | 2515197.3996 | 1145312.7321
61 | 2515182.9346 | 1145283.8585 | 2515188.0477 | 1145294.0648
62 | 2515164.4621 | 1145246.9856 | 2515182.9346 | 1145283.8585
63 | 2515188.0477 | 1145294.0648 | 2515196.0171 | 1145309.9726
64 | 2515164.4621 | 1145246.9856 | 2515157.9225 | 1145250.213
65 | 2515162.786 | 1145243.6406 | 2515164.4621 | 1145246.9856
66 | 2515162.4762 | 1145275.0856 | 2515155.7282 | 1145262.9847 | 2515154.8714 | 1145253.9915 | 2515157.9225 | 1145250.213
67 | 2515119.3956 | 1145239.8943 | 2515147.5409 | 1145245.2675 | 2515157.9225 | 1145250.213
68 | 2515162.786 | 1145243.6406 | 2515166.6673 | 1145242.0739 | 2515172.1929 | 1145241.5846 | 2515176.7463 | 1145243.1498
69 | 2515141.1224 | 1145212.4053 | 2515155.3761 | 1145230.9264 | 2515162.786 | 1145243.6406
70 | 2515119.3956 | 1145239.8943 | 2515106.5235 | 1145237.4355
71 | 2515119.3956 | 1145239.8943 | 2515118.4013 | 1145244.5777 | 2515130.3189 | 1145267.4454 | 2515129.3131 | 1145267.9443
72 | 2515141.1224 | 1145212.4053 | 2515138.7777 | 1145209.8647
73 | 2515141.1224 | 1145212.4053 | 2515133.2582 | 1145217.0633 | 2515124.5189 | 1145218.5096 | 2515091.012 | 1145210.7636
74 | 2515106.5235 | 1145237.4355 | 2515099.1199 | 1145236.0212
75 | 2515118.4381 | 1145273.3385 | 2515129.3131 | 1145267.9443
76 | 2515118.8598 | 1145188.2828 | 2515138.7777 | 1145209.8647
77 | 2515077.9969 | 1145207.7548 | 2515091.012 | 1145210.7636
78 | 2515094.2474 | 1145235.0905 | 2515099.1199 | 1145236.0212
79 | 2515118.8598 | 1145188.2828 | 2515126.5457 | 1145179.7027
80 | 2515226.5049 | 1145192.6133 | 2515236.9416 | 1145217.5208
81 | 2514901.7234 | 1145172.4604 | 2514916.5456 | 1145175.1525 | 2514924.4534 | 1145176.6111
82 | 2515111.2497 | 1145163.0197 | 2515126.5457 | 1145179.7027
83 | 2514894.4143 | 1145216.3672 | 2514877.4616 | 1145195.5946 | 2514899.6507 | 1145176.9478 | 2514901.7234 | 1145172.4604
84 | 2514894.4143 | 1145216.3672 | 2514908.6719 | 1145204.1126
85 | 2514910.5772 | 1145202.4751 | 2514908.6719 | 1145204.1126
86 | 2515023.6218 | 1145167.4582 | 2515036.6267 | 1145151.8564
87 | 2515051.8665 | 1145133.5732 | 2515036.6267 | 1145151.8564
88 | 2515051.8665 | 1145133.5732 | 2515056.7791 | 1145137.6042
89 | 2515051.8665 | 1145133.5732 | 2515031.2908 | 1145116.6874
90 | 2515073.8893 | 1145151.6441 | 2515056.7791 | 1145137.6042
91 | 2515031.2908 | 1145116.6874 | 2515022.9932 | 1145109.8778 | 2515003.038 | 1145093.1125
92 | 2515088.949 | 1145164.0013 | 2515073.8893 | 1145151.6441
93 | 2515003.038 | 1145093.1125 | 2514974.4835 | 1145069.1227
94 | 2515088.949 | 1145164.0013 | 2515100.9346 | 1145161.164 | 2515111.2497 | 1145163.0197
95 | 2514974.4835 | 1145069.1227 | 2514941.1622 | 1145041.128

## bus_geodata
| x | y | coords
0 | 2515294.4951 | 1145353.5112
1 | 2515273.5727 | 1145304.8577
2 | 2515272.9709 | 1145303.4576
3 | 2515264.723 | 1145284.1772
4 | 2515258.4149 | 1145269.4314
5 | 2515244.7926 | 1145258.072
6 | 2515244.1342 | 1145234.686
7 | 2515232.5239 | 1145257.1987
8 | 2515109.5945 | 1145484.6538
9 | 2515093.0085 | 1145445.1866
10 | 2515095.743 | 1145432.0514
11 | 2515074.357 | 1145404.6703
12 | 2515157.88 | 1145401.9913
13 | 2515172.7982 | 1145388.548
14 | 2515052.9297 | 1145384.1828
15 | 2515220.3517 | 1145359.0974
16 | 2515050.1435 | 1145374.5943
17 | 2514987.7089 | 1145469.5199
18 | 2514963.1498 | 1145460.1278
19 | 2514930.4603 | 1145483.2809
20 | 2514945.7278 | 1145440.3401
21 | 2514934.6673 | 1145489.2581
22 | 2514964.1898 | 1145427.5617
23 | 2514975.6494 | 1145333.2243
24 | 2514975.4176 | 1145332.8414
25 | 2515000.2091 | 1145373.3513
26 | 2514959.9435 | 1145307.7171
27 | 2515000.517 | 1145373.8495
28 | 2514987.706 | 1145291.0543
29 | 2514932.8571 | 1145323.9797
30 | 2515014.1963 | 1145396.1919
31 | 2514999.9545 | 1145286.0284
32 | 2514908.6642 | 1145338.5051
33 | 2514989.4394 | 1145270.3418
34 | 2515005.7557 | 1145291.6691
35 | 2514873.5167 | 1145290.4504
36 | 2515051.6209 | 1145366.0351
37 | 2515036.4992 | 1145341.5168
38 | 2515050.7357 | 1145364.5998
39 | 2514982.0708 | 1145258.0645
40 | 2514982.6428 | 1145253.4092
41 | 2514961.7776 | 1145527.7758
42 | 2514987.1636 | 1145246.3287
43 | 2515003.5322 | 1145234.8484
44 | 2515013.0665 | 1145226.4084
45 | 2515025.7686 | 1145247.052
46 | 2515038.1847 | 1145267.2309
47 | 2515022.5443 | 1145241.8119
48 | 2515054.8028 | 1145294.2388
49 | 2515057.1887 | 1145298.1164
50 | 2515040.3503 | 1145199.0518
51 | 2515068.935 | 1145317.2067
52 | 2514999.7854 | 1145191.0568
53 | 2515057.9624 | 1145203.1233
54 | 2514965.2924 | 1145184.2585
55 | 2515071.1085 | 1145206.1624
56 | 2515231.4422 | 1145382.1426
57 | 2515197.3996 | 1145312.7321
58 | 2515182.9346 | 1145283.8585
59 | 2515188.0477 | 1145294.0648
60 | 2515164.4621 | 1145246.9856
61 | 2515196.0171 | 1145309.9726
62 | 2515157.9225 | 1145250.213
63 | 2515162.786 | 1145243.6406
64 | 2515162.4762 | 1145275.0856
65 | 2515119.3956 | 1145239.8943
66 | 2515176.7463 | 1145243.1498
67 | 2515141.1224 | 1145212.4053
68 | 2515106.5235 | 1145237.4355
69 | 2515129.3131 | 1145267.9443
70 | 2515138.7777 | 1145209.8647
71 | 2515091.012 | 1145210.7636
72 | 2515099.1199 | 1145236.0212
73 | 2515118.4381 | 1145273.3385
74 | 2515118.8598 | 1145188.2828
75 | 2515077.9969 | 1145207.7548
76 | 2515236.9416 | 1145217.5208
77 | 2515226.5049 | 1145192.6133
78 | 2515094.2474 | 1145235.0905
79 | 2514924.4534 | 1145176.6111
80 | 2515126.5457 | 1145179.7027
81 | 2514946.6649 | 1145538.2058
82 | 2514901.7234 | 1145172.4604
83 | 2514894.4143 | 1145216.3672
84 | 2514908.6719 | 1145204.1126
85 | 2515023.6218 | 1145167.4582
86 | 2515036.6267 | 1145151.8564
87 | 2515051.8665 | 1145133.5732
88 | 2515056.7791 | 1145137.6042
89 | 2515031.2908 | 1145116.6874
90 | 2515073.8893 | 1145151.6441
91 | 2515003.038 | 1145093.1125
92 | 2515088.949 | 1145164.0013
93 | 2514974.4835 | 1145069.1227
94 | 2515111.2497 | 1145163.0197
95 | 2514941.1622 | 1145041.128
96 | 2514910.5772 | 1145202.4751
97 | 2515050.1435 | 1145374.5943

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1