## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5863-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5863-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5863-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5863-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5863-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5863-1_0_4_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_5863-1_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_5863-1_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5863-1_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5863-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5863-1_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5863-1_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5863-1_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5863-1_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5863-1_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5863-1_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5863-1_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5863-1_0_4_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_5863-1_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_5863-1_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_5863-1_0_4_node_105 | 0.4 | n |  | TRUE
21 | bus_LV_5863-1_0_4_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_5863-1_0_4_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_5863-1_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5863-1_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5863-1_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_5863-1_0_4_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_5863-1_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_5863-1_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5863-1_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5863-1_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5863-1_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5863-1_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5863-1_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5863-1_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5863-1_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5863-1_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5863-1_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5863-1_0_4_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_5863-1_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5863-1_0_4_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_5863-1_0_4_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_5863-1_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_5863-1_0_4_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_5863-1_0_4_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_5863-1_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5863-1_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5863-1_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5863-1_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5863-1_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5863-1_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5863-1_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_5863-1_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_5863-1_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5863-1_0_4_node_110 | 0.4 | n |  | TRUE
55 | bus_LV_5863-1_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5863-1_0_4_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_5863-1_0_4_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_5863-1_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5863-1_0_4_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_5863-1_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_5863-1_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_5863-1_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5863-1_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_5863-1_0_4_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_5863-1_0_4_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_5863-1_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5863-1_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_5863-1_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_5863-1_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5863-1_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5863-1_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5863-1_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_5863-1_0_4_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_5863-1_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5863-1_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_5863-1_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_5863-1_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5863-1_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_5863-1_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5863-1_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_5863-1_0_4_node_113 | 0.4 | n |  | TRUE
82 | bus_LV_5863-1_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_5863-1_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_5863-1_0_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_5863-1_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_5863-1_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_5863-1_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_5863-1_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_5863-1_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_5863-1_0_4_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_5863-1_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_5863-1_0_4_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_5863-1_0_4_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_5863-1_0_4_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_5863-1_0_4_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_5863-1_0_4_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_5863-1_0_4_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_5863-1_0_4_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_5863-1_0_4_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_5863-1_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_5863-1_0_4_node_79 | 0.4 | n |  | TRUE
102 | bus_LV_5863-1_0_4_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_5863-1_0_4_node_94 | 0.4 | n |  | TRUE
104 | bus_LV_5863-1_0_4_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_5863-1_0_4_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_5863-1_0_4_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_5863-1_0_4_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_5863-1_0_4_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_5863-1_0_4_node_109 | 0.4 | n |  | TRUE
110 | bus_MV_452_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5863-1_0_4_load_0 | 0 | 0.0051532 | 0.0012915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5863-1_0_4_load_3 | 3 | 0.0058627 | 0.0014693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5863-1_0_4_load_4 | 4 | 0.0021283 | 0.0005334 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5863-1_0_4_load_22 | 6 | 0.003516 | 0.00088118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5863-1_0_4_load_16 | 7 | 0.00087688 | 0.00021977 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5863-1_0_4_load_5 | 8 | 0.010518 | 0.0026361 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5863-1_0_4_load_9 | 12 | 0.0035675 | 0.00089411 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5863-1_0_4_load_10 | 13 | 0.0024211 | 0.00060677 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5863-1_0_4_load_13 | 16 | 0.010519 | 0.0026362 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5863-1_0_4_load_101 | 17 | 0.0011949 | 0.00029946 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5863-1_0_4_load_28 | 18 | 0.0023668 | 0.00059317 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5863-1_0_4_load_105 | 20 | 0.0016645 | 0.00041716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5863-1_0_4_load_68 | 21 | 0.0017876 | 0.00044801 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5863-1_0_4_load_100 | 22 | 0.0010281 | 0.00025768 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5863-1_0_4_load_23 | 25 | 0.0057577 | 0.001443 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5863-1_0_4_load_69 | 26 | 0.0047899 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5863-1_0_4_load_26 | 27 | 0.0078362 | 0.0019639 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5863-1_0_4_load_17 | 28 | 0.0026178 | 0.00065608 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5863-1_0_4_load_27 | 31 | 0.0057426 | 0.0014392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5863-1_0_4_load_29 | 32 | 0.0057667 | 0.0014453 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5863-1_0_4_load_30 | 33 | 0.01329 | 0.0033308 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5863-1_0_4_load_31 | 34 | 0.0051173 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5863-1_0_4_load_32 | 35 | 0.0065422 | 0.0016396 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5863-1_0_4_load_33 | 36 | 0.0051413 | 0.0012885 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5863-1_0_4_load_34 | 37 | 0.010986 | 0.0027533 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5863-1_0_4_load_92 | 41 | 0.0027625 | 0.00069235 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5863-1_0_4_load_44 | 42 | 0.0041182 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5863-1_0_4_load_89 | 43 | 0.0068316 | 0.0017122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5863-1_0_4_load_36 | 45 | 0.0028079 | 0.00070373 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5863-1_0_4_load_37 | 46 | 0.0055685 | 0.0013956 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5863-1_0_4_load_40 | 49 | 0.0018428 | 0.00046184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5863-1_0_4_load_55 | 51 | 0.011603 | 0.002908 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5863-1_0_4_load_47 | 53 | 0.0013272 | 0.00033263 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5863-1_0_4_load_110 | 54 | 0.0017884 | 0.00044821 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5863-1_0_4_load_115 | 56 | 0.0049828 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5863-1_0_4_load_114 | 57 | 0.0050635 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5863-1_0_4_load_45 | 58 | 0.0027493 | 0.00068905 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5863-1_0_4_load_111 | 59 | 0.001266 | 0.00031729 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5863-1_0_4_load_42 | 60 | 0.0043653 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5863-1_0_4_load_43 | 61 | 0.011173 | 0.0028002 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5863-1_0_4_load_46 | 62 | 0.002078 | 0.00052079 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5863-1_0_4_load_48 | 63 | 0.0023298 | 0.00058391 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5863-1_0_4_load_107 | 64 | 0.00216 | 0.00054134 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5863-1_0_4_load_108 | 65 | 0.0024433 | 0.00061235 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5863-1_0_4_load_49 | 66 | 0.0034496 | 0.00086455 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5863-1_0_4_load_50 | 67 | 0.00084674 | 0.00021221 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5863-1_0_4_load_51 | 68 | 0.0026327 | 0.00065981 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5863-1_0_4_load_52 | 69 | 0.0024361 | 0.00061053 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5863-1_0_4_load_53 | 70 | 0.0017038 | 0.000427 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5863-1_0_4_load_54 | 71 | 0.0038942 | 0.00097599 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5863-1_0_4_load_77 | 72 | 0.0025507 | 0.00063928 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5863-1_0_4_load_59 | 74 | 0.0043625 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5863-1_0_4_load_64 | 75 | 0.0046752 | 0.0011717 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5863-1_0_4_load_61 | 76 | 0.0026477 | 0.00066357 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5863-1_0_4_load_60 | 77 | 0.0048387 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5863-1_0_4_load_63 | 79 | 0.0011462 | 0.00028727 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5863-1_0_4_load_113 | 81 | 0.032486 | 0.0081418 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5863-1_0_4_load_66 | 83 | 0.0019652 | 0.00049253 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5863-1_0_4_load_67 | 84 | 0.0019126 | 0.00047933 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5863-1_0_4_load_85 | 85 | 0.031869 | 0.007987 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5863-1_0_4_load_87 | 86 | 0.0012763 | 0.00031986 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5863-1_0_4_load_70 | 90 | 0.0062067 | 0.0015556 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5863-1_0_4_load_71 | 91 | 0.0024681 | 0.00061856 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5863-1_0_4_load_73 | 93 | 0.0058479 | 0.0014656 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5863-1_0_4_load_75 | 95 | 0.003305 | 0.00082831 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5863-1_0_4_load_102 | 96 | 0.0026566 | 0.0006658 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5863-1_0_4_load_98 | 97 | 0.0029726 | 0.00074501 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5863-1_0_4_load_99 | 100 | 0.0046612 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5863-1_0_4_load_79 | 101 | 0.0029284 | 0.00073393 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5863-1_0_4_load_80 | 102 | 0.003819 | 0.00095714 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5863-1_0_4_load_94 | 103 | 0.0054243 | 0.0013595 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5863-1_0_4_load_97 | 105 | 0.0032673 | 0.00081885 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5863-1_0_4_load_112 | 108 | 0.013764 | 0.0034495 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5863-1_0_4_load_109 | 109 | 0.0021236 | 0.00053223 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5863-1_0_4_line_0 |  | 0 | 1 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5863-1_0_4_line_1 |  | 0 | 2 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5863-1_0_4_line_2 |  | 1 | 3 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5863-1_0_4_line_3 |  | 2 | 4 | 0.0082819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5863-1_0_4_line_4 |  | 4 | 5 | 0.014315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5863-1_0_4_line_5 |  | 5 | 6 | 0.012165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5863-1_0_4_line_6 |  | 5 | 7 | 0.025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5863-1_0_4_line_7 |  | 6 | 23 | 0.019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5863-1_0_4_line_8 |  | 8 | 9 | 0.038259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5863-1_0_4_line_9 |  | 8 | 10 | 0.051715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5863-1_0_4_line_10 |  | 9 | 11 | 0.069801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5863-1_0_4_line_11 |  | 9 | 12 | 0.011436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5863-1_0_4_line_12 |  | 10 | 13 | 0.029893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5863-1_0_4_line_13 |  | 10 | 14 | 0.044821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5863-1_0_4_line_14 |  | 10 | 15 | 0.067432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5863-1_0_4_line_15 |  | 11 | 16 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5863-1_0_4_line_16 |  | 12 | 17 | 0.0012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5863-1_0_4_line_17 |  | 13 | 18 | 0.031938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5863-1_0_4_line_18 |  | 14 | 19 | 0.039572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5863-1_0_4_line_19 |  | 14 | 20 | 0.089302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5863-1_0_4_line_20 |  | 15 | 21 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5863-1_0_4_line_21 |  | 17 | 22 | 0.010302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5863-1_0_4_line_22 |  | 19 | 23 | 0.028398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5863-1_0_4_line_23 |  | 19 | 24 | 0.030071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5863-1_0_4_line_24 |  | 19 | 25 | 0.023692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5863-1_0_4_line_25 |  | 21 | 26 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5863-1_0_4_line_26 |  | 22 | 100 | 0.009506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5863-1_0_4_line_27 |  | 23 | 31 | 0.0067114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5863-1_0_4_line_28 |  | 24 | 27 | 0.022299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5863-1_0_4_line_29 |  | 28 | 29 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5863-1_0_4_line_30 |  | 29 | 30 | 0.009959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5863-1_0_4_line_31 |  | 30 | 31 | 0.0057902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5863-1_0_4_line_32 |  | 32 | 33 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5863-1_0_4_line_33 |  | 32 | 34 | 0.0093343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5863-1_0_4_line_34 |  | 33 | 35 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5863-1_0_4_line_35 |  | 34 | 36 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5863-1_0_4_line_36 |  | 35 | 37 | 0.0037658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5863-1_0_4_line_37 |  | 36 | 38 | 0.014524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5863-1_0_4_line_38 |  | 37 | 39 | 0.031976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5863-1_0_4_line_39 |  | 38 | 40 | 0.054367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5863-1_0_4_line_40 |  | 38 | 41 | 0.020598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5863-1_0_4_line_41 |  | 38 | 42 | 0.0048245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5863-1_0_4_line_42 |  | 39 | 43 | 0.03846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5863-1_0_4_line_43 |  | 40 | 103 | 0.024103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5863-1_0_4_line_44 |  | 42 | 61 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5863-1_0_4_line_45 |  | 43 | 44 | 0.0067648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5863-1_0_4_line_46 |  | 44 | 89 | 0.020248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5863-1_0_4_line_47 |  | 45 | 46 | 0.07196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5863-1_0_4_line_48 |  | 45 | 47 | 0.038109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5863-1_0_4_line_49 |  | 46 | 48 | 0.049358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5863-1_0_4_line_50 |  | 47 | 49 | 0.01875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5863-1_0_4_line_51 |  | 47 | 50 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5863-1_0_4_line_52 |  | 48 | 51 | 0.0004267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5863-1_0_4_line_53 |  | 48 | 52 | 0.008405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5863-1_0_4_line_54 |  | 49 | 53 | 0.00074425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5863-1_0_4_line_55 |  | 50 | 54 | 0.018923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5863-1_0_4_line_56 |  | 51 | 55 | 0.014823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5863-1_0_4_line_57 |  | 52 | 56 | 0.033066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5863-1_0_4_line_58 |  | 52 | 57 | 0.031923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5863-1_0_4_line_59 |  | 53 | 58 | 0.0027989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5863-1_0_4_line_60 |  | 54 | 59 | 0.0064457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5863-1_0_4_line_61 |  | 55 | 74 | 0.021178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5863-1_0_4_line_62 |  | 58 | 62 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5863-1_0_4_line_63 |  | 60 | 61 | 0.034531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5863-1_0_4_line_64 |  | 62 | 63 | 0.0012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5863-1_0_4_line_65 |  | 63 | 64 | 0.0035831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5863-1_0_4_line_66 |  | 64 | 65 | 0.0087568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5863-1_0_4_line_67 |  | 65 | 109 | 0.0039885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5863-1_0_4_line_68 |  | 66 | 67 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5863-1_0_4_line_69 |  | 66 | 68 | 0.030574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5863-1_0_4_line_70 |  | 67 | 69 | 0.018903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5863-1_0_4_line_71 |  | 68 | 70 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5863-1_0_4_line_72 |  | 69 | 71 | 0.0024978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5863-1_0_4_line_73 |  | 70 | 72 | 0.0021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5863-1_0_4_line_74 |  | 72 | 73 | 0.0093968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5863-1_0_4_line_75 |  | 73 | 98 | 0.014873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_5863-1_0_4_line_76 |  | 73 | 93 | 0.025667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_5863-1_0_4_line_77 |  | 74 | 75 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5863-1_0_4_line_78 |  | 75 | 76 | 0.012935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5863-1_0_4_line_79 |  | 76 | 79 | 0.0099087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5863-1_0_4_line_80 |  | 76 | 77 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5863-1_0_4_line_81 |  | 77 | 78 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5863-1_0_4_line_82 |  | 78 | 80 | 0.039545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5863-1_0_4_line_83 |  | 80 | 81 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5863-1_0_4_line_84 |  | 80 | 82 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5863-1_0_4_line_85 |  | 81 | 85 | 0.068066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5863-1_0_4_line_86 |  | 82 | 86 | 0.010757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5863-1_0_4_line_87 |  | 83 | 84 | 0.0081525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5863-1_0_4_line_88 |  | 84 | 87 | 0.023143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5863-1_0_4_line_89 |  | 86 | 88 | 0.0072247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5863-1_0_4_line_90 |  | 87 | 88 | 0.032301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_5863-1_0_4_line_91 |  | 87 | 89 | 0.006863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5863-1_0_4_line_92 |  | 89 | 102 | 0.00527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5863-1_0_4_line_93 |  | 90 | 91 | 0.02387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5863-1_0_4_line_94 |  | 90 | 92 | 0.012992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5863-1_0_4_line_95 |  | 91 | 93 | 0.0056639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5863-1_0_4_line_96 |  | 92 | 94 | 0.080705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5863-1_0_4_line_97 |  | 92 | 95 | 0.020417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5863-1_0_4_line_98 |  | 94 | 96 | 0.060003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5863-1_0_4_line_99 |  | 95 | 97 | 0.034803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5863-1_0_4_line_100 |  | 96 | 99 | 0.071042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5863-1_0_4_line_101 |  | 97 | 100 | 0.00079207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5863-1_0_4_line_102 |  | 98 | 101 | 0.00069185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_5863-1_0_4_line_103 |  | 99 | 107 | 0.004016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5863-1_0_4_line_104 |  | 101 | 102 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_5863-1_0_4_line_105 |  | 103 | 106 | 0.019542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5863-1_0_4_line_106 |  | 104 | 105 | 0.05804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5863-1_0_4_line_107 |  | 104 | 106 | 0.024894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5863-1_0_4_line_108 |  | 107 | 108 | 0.072359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5863-1_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 110 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2511277.2178 | 1144659.8106 | 2511259.8482 | 1144652.2126
1 | 2511245.7219 | 1144646.0332 | 2511259.8482 | 1144652.2126
2 | 2511277.2178 | 1144659.8106 | 2511260.9714 | 1144683.7818
3 | 2511245.7219 | 1144646.0332 | 2511243.083 | 1144653.8835
4 | 2511238.522 | 1144667.452 | 2511243.083 | 1144653.8835
5 | 2511238.522 | 1144667.452 | 2511227.0274 | 1144663.4682
6 | 2511238.522 | 1144667.452 | 2511233.4899 | 1144692.5801
7 | 2511209.0217 | 1144657.1586 | 2511221.876 | 1144661.6829 | 2511227.0274 | 1144663.4682
8 | 2511091.5715 | 1144768.313 | 2511099.8593 | 1144752.9593 | 2511110.5573 | 1144735.1086
9 | 2511137.1417 | 1144690.7498 | 2511110.5573 | 1144735.1086
10 | 2511152.9456 | 1144801.3825 | 2511137.4529 | 1144790.4268 | 2511127.4474 | 1144784.6932 | 2511117.9958 | 1144780.0522 | 2511091.5715 | 1144768.313
11 | 2511091.5715 | 1144768.313 | 2511081.0152 | 1144763.9132
12 | 2511137.1417 | 1144690.7498 | 2511145.492 | 1144696.2632 | 2511159.7713 | 1144710.1048
13 | 2511137.1417 | 1144690.7498 | 2511142.5876 | 1144681.7196 | 2511160.1355 | 1144652.2766
14 | 2511137.1417 | 1144690.7498 | 2511142.5876 | 1144681.7196 | 2511134.1687 | 1144676.7631 | 2511093.765 | 1144652.5228
15 | 2511152.9456 | 1144801.3825 | 2511157.5664 | 1144795.811 | 2511165.3546 | 1144791.3712 | 2511169.9318 | 1144788.6567
16 | 2511081.0152 | 1144763.9132 | 2511079.876 | 1144763.4384
17 | 2511182.7034 | 1144732.3338 | 2511159.7713 | 1144710.1048
18 | 2511190.0292 | 1144678.2956 | 2511160.1355 | 1144652.2766
19 | 2511160.1355 | 1144652.2766 | 2511181.5832 | 1144616.2944 | 2511205.6939 | 1144575.4703
20 | 2511093.765 | 1144652.5228 | 2511085.6086 | 1144667.0579
21 | 2511070.3665 | 1144759.4749 | 2511079.876 | 1144763.4384
22 | 2511190.0292 | 1144678.2956 | 2511193.1286 | 1144674.292 | 2511209.0217 | 1144657.1586
23 | 2511190.0292 | 1144678.2956 | 2511194.6175 | 1144684.5761 | 2511199.5784 | 1144690.5843 | 2511210.4034 | 1144700.2861
24 | 2511190.0292 | 1144678.2956 | 2511186.5631 | 1144681.4041 | 2511172.6899 | 1144694.4396
25 | 2511073.1297 | 1144674.7963 | 2511079.4784 | 1144677.9822 | 2511085.6086 | 1144667.0579
26 | 2511061.5922 | 1144755.8177 | 2511070.3665 | 1144759.4749
27 | 2511209.0217 | 1144657.1586 | 2511210.0378 | 1144650.5245
28 | 2511210.4034 | 1144700.2861 | 2511194.9384 | 1144716.3505
29 | 2511208.7422 | 1144635.0829 | 2511216.2018 | 1144625.4027
30 | 2511210.9143 | 1144644.8011 | 2511208.7422 | 1144635.0829
31 | 2511210.9143 | 1144644.8011 | 2511210.0378 | 1144650.5245
32 | 2510869.0594 | 1144790.0372 | 2510869.0594 | 1144790.0372 | 2510872.0242 | 1144782.1553 | 2510872.7865 | 1144775.2338
33 | 2510869.0594 | 1144790.0372 | 2510864.4891 | 1144796.4086 | 2510863.2303 | 1144797.2119
34 | 2510875.0052 | 1144759.5373 | 2510874.0699 | 1144763.5806 | 2510872.7865 | 1144775.2338
35 | 2510863.2303 | 1144797.2119 | 2510855.9095 | 1144801.8833 | 2510848.3029 | 1144803.7719
36 | 2510875.0052 | 1144759.5373 | 2510875.8538 | 1144755.8684
37 | 2510834.3409 | 1144807.7394 | 2510840.719 | 1144805.6549 | 2510848.3029 | 1144803.7719
38 | 2510888.5945 | 1144726.7549 | 2510879.2717 | 1144743.803 | 2510876.5833 | 1144752.7147 | 2510875.8538 | 1144755.8684
39 | 2510834.3409 | 1144807.7394 | 2510828.3764 | 1144813.3644 | 2510822.2066 | 1144820.6935 | 2510801.2269 | 1144850.7332
40 | 2510834.3409 | 1144807.7394 | 2510851.4069 | 1144819.2735
41 | 2510834.3409 | 1144807.7394 | 2510830.1881 | 1144805.2837
42 | 2510888.5945 | 1144726.7549 | 2510895.1657 | 1144716.9407 | 2510910.499 | 1144703.0722 | 2510914.9304 | 1144699.0648
43 | 2510801.2269 | 1144850.7332 | 2510786.0118 | 1144842.4648 | 2510780.0604 | 1144839.2028
44 | 2510830.1881 | 1144805.2837 | 2510816.3093 | 1144797.0764
45 | 2510919.9478 | 1144694.5274 | 2510914.9304 | 1144699.0648
46 | 2510927.06 | 1144675.5665 | 2510919.9478 | 1144694.5274
47 | 2511083.5312 | 1144452.2451 | 2511078.9682 | 1144458.259 | 2511057.1663 | 1144488.4767 | 2511041.0781 | 1144510.3462
48 | 2511106.5662 | 1144421.8855 | 2511083.5312 | 1144452.2451
49 | 2511012.349 | 1144550.4756 | 2511024.7865 | 1144532.4923 | 2511041.0781 | 1144510.3462
50 | 2511106.5662 | 1144421.8855 | 2511108.6824 | 1144423.6331 | 2511119.5495 | 1144435.3839
51 | 2511112.5305 | 1144413.6037 | 2511106.5662 | 1144421.8855
52 | 2511012.349 | 1144550.4756 | 2511012.1065 | 1144550.8267
53 | 2511005.7321 | 1144545.2703 | 2511012.349 | 1144550.4756
54 | 2511120.0548 | 1144435.9303 | 2511119.5495 | 1144435.3839
55 | 2511112.5305 | 1144413.6037 | 2511123.1712 | 1144397.9554
56 | 2511003.6814 | 1144563.0223 | 2511012.1065 | 1144550.8267
57 | 2511005.7321 | 1144545.2703 | 2510997.8788 | 1144539.0827 | 2511006.0891 | 1144525.7534 | 2511006.979 | 1144518.3692
58 | 2511018.379 | 1144517.0222 | 2511018.1857 | 1144522.6617 | 2511017.2627 | 1144528.3232 | 2511015.4061 | 1144532.1751 | 2511011.0169 | 1144538.3436 | 2511005.7321 | 1144545.2703
59 | 2511121.9551 | 1144437.9852 | 2511120.0548 | 1144435.9303
60 | 2511123.1712 | 1144397.9554 | 2511126.7956 | 1144392.6253
61 | 2511003.6814 | 1144563.0223 | 2510991.3207 | 1144580.2187
62 | 2511121.9551 | 1144437.9852 | 2511131.5652 | 1144448.3768 | 2511136.9882 | 1144454.3869
63 | 2510786.5867 | 1144779.4999 | 2510816.3093 | 1144797.0764
64 | 2511137.8481 | 1144455.3399 | 2511136.9882 | 1144454.3869
65 | 2511140.2484 | 1144458.0001 | 2511137.8481 | 1144455.3399
66 | 2511140.2484 | 1144458.0001 | 2511146.1147 | 1144464.5015
67 | 2511148.7867 | 1144467.4628 | 2511146.1147 | 1144464.5015
68 | 2510990.0456 | 1144650.4552 | 2510996.4887 | 1144648.8018 | 2511002.8561 | 1144640.7808 | 2511006.1332 | 1144637.7929
69 | 2510990.0456 | 1144650.4552 | 2510987.8453 | 1144651.0198 | 2510976.8305 | 1144665.9248 | 2510970.9712 | 1144673.7414
70 | 2511006.1332 | 1144637.7929 | 2511013.3051 | 1144631.254 | 2511019.1087 | 1144624.1179
71 | 2510959.4527 | 1144689.1077 | 2510970.9712 | 1144673.7414
72 | 2511020.6847 | 1144622.18 | 2511019.1087 | 1144624.1179
73 | 2510958.1003 | 1144690.7852 | 2510959.3693 | 1144689.219 | 2510959.4527 | 1144689.1077
74 | 2510952.1845 | 1144698.0861 | 2510958.1003 | 1144690.7852
75 | 2510940.7392 | 1144688.5608 | 2510948.6946 | 1144695.425 | 2510952.1845 | 1144698.0861
76 | 2510952.1845 | 1144698.0861 | 2510967.1076 | 1144709.4611 | 2510972.8955 | 1144713.2236
77 | 2510991.3207 | 1144580.2187 | 2510984.2208 | 1144590.0962
78 | 2510976.6712 | 1144600.5994 | 2510984.2208 | 1144590.0962
79 | 2510976.6712 | 1144600.5994 | 2510970.8906 | 1144608.6473
80 | 2510976.6712 | 1144600.5994 | 2510973.2781 | 1144598.2481 | 2510961.3799 | 1144592.2014
81 | 2510943.1026 | 1144583.4077 | 2510960.7574 | 1144591.885 | 2510961.3799 | 1144592.2014
82 | 2510920.4202 | 1144615.8402 | 2510928.2533 | 1144604.5621 | 2510943.1026 | 1144583.4077
83 | 2510920.4202 | 1144615.8402 | 2510905.9651 | 1144604.4361
84 | 2510920.4202 | 1144615.8402 | 2510909.4798 | 1144633.6904
85 | 2510905.9651 | 1144604.4361 | 2510848.9559 | 1144567.2488
86 | 2510909.4798 | 1144633.6904 | 2510904.6849 | 1144641.5105 | 2510903.6569 | 1144642.7149
87 | 2510936.7024 | 1144652.5467 | 2510941.5957 | 1144646.026
88 | 2510922.2762 | 1144670.6343 | 2510931.1704 | 1144659.9186 | 2510936.7024 | 1144652.5467
89 | 2510898.9666 | 1144648.2102 | 2510903.6569 | 1144642.7149
90 | 2510922.2762 | 1144670.6343 | 2510903.6533 | 1144652.8102 | 2510898.9666 | 1144648.2102
91 | 2510922.2762 | 1144670.6343 | 2510927.06 | 1144675.5665
92 | 2510927.06 | 1144675.5665 | 2510930.8809 | 1144679.196
93 | 2510998.5886 | 1144727.7345 | 2510992.5848 | 1144724.6714 | 2510982.1889 | 1144719.0661 | 2510980.3684 | 1144718.0813 | 2510977.6442 | 1144716.3105
94 | 2511010.1618 | 1144733.6392 | 2510998.5886 | 1144727.7345
95 | 2510972.8955 | 1144713.2236 | 2510977.6442 | 1144716.3105
96 | 2511010.1618 | 1144733.6392 | 2510969.721 | 1144803.5341
97 | 2511010.1618 | 1144733.6392 | 2511028.8498 | 1144741.8609
98 | 2510969.721 | 1144803.5341 | 2511020.1774 | 1144836.0078
99 | 2511028.8498 | 1144741.8609 | 2511042.2391 | 1144747.7515 | 2511060.861 | 1144755.513
100 | 2511080.4473 | 1144873.6066 | 2511048.0738 | 1144853.9618 | 2511020.1774 | 1144836.0078
101 | 2511060.861 | 1144755.513 | 2511061.5922 | 1144755.8177
102 | 2510940.7392 | 1144688.5608 | 2510940.2376 | 1144688.0843
103 | 2511080.4473 | 1144873.6066 | 2511083.89 | 1144875.6903
104 | 2510940.2376 | 1144688.0843 | 2510930.8809 | 1144679.196
105 | 2510762.924 | 1144829.8104 | 2510780.0604 | 1144839.2028
106 | 2510764.5196 | 1144854.5015 | 2510746.7371 | 1144861.736 | 2510732.4994 | 1144864.9711 | 2510719.1583 | 1144864.413 | 2510709.2721 | 1144859.849
107 | 2510762.924 | 1144829.8104 | 2510765.1707 | 1144843.9967 | 2510764.5196 | 1144854.5015
108 | 2511110.213 | 1144823.3595 | 2511106.0351 | 1144831.337 | 2511095.9115 | 1144825.9388 | 2511094.3566 | 1144828.3632 | 2511090.4637 | 1144834.3019 | 2511088.3321 | 1144851.7883 | 2511084.8886 | 1144870.9839 | 2511083.89 | 1144875.6903

## bus_geodata
| x | y | coords
0 | 2511259.8482 | 1144652.2126
1 | 2511277.2178 | 1144659.8106
2 | 2511245.7219 | 1144646.0332
3 | 2511260.9714 | 1144683.7818
4 | 2511243.083 | 1144653.8835
5 | 2511238.522 | 1144667.452
6 | 2511227.0274 | 1144663.4682
7 | 2511233.4899 | 1144692.5801
8 | 2511110.5573 | 1144735.1086
9 | 2511091.5715 | 1144768.313
10 | 2511137.1417 | 1144690.7498
11 | 2511152.9456 | 1144801.3825
12 | 2511081.0152 | 1144763.9132
13 | 2511159.7713 | 1144710.1048
14 | 2511160.1355 | 1144652.2766
15 | 2511093.765 | 1144652.5228
16 | 2511169.9318 | 1144788.6567
17 | 2511079.876 | 1144763.4384
18 | 2511182.7034 | 1144732.3338
19 | 2511190.0292 | 1144678.2956
20 | 2511205.6939 | 1144575.4703
21 | 2511085.6086 | 1144667.0579
22 | 2511070.3665 | 1144759.4749
23 | 2511209.0217 | 1144657.1586
24 | 2511210.4034 | 1144700.2861
25 | 2511172.6899 | 1144694.4396
26 | 2511073.1297 | 1144674.7963
27 | 2511194.9384 | 1144716.3505
28 | 2511216.2018 | 1144625.4027
29 | 2511208.7422 | 1144635.0829
30 | 2511210.9143 | 1144644.8011
31 | 2511210.0378 | 1144650.5245
32 | 2510869.0594 | 1144790.0372
33 | 2510872.7865 | 1144775.2338
34 | 2510863.2303 | 1144797.2119
35 | 2510875.0052 | 1144759.5373
36 | 2510848.3029 | 1144803.7719
37 | 2510875.8538 | 1144755.8684
38 | 2510834.3409 | 1144807.7394
39 | 2510888.5945 | 1144726.7549
40 | 2510801.2269 | 1144850.7332
41 | 2510851.4069 | 1144819.2735
42 | 2510830.1881 | 1144805.2837
43 | 2510914.9304 | 1144699.0648
44 | 2510919.9478 | 1144694.5274
45 | 2511083.5312 | 1144452.2451
46 | 2511041.0781 | 1144510.3462
47 | 2511106.5662 | 1144421.8855
48 | 2511012.349 | 1144550.4756
49 | 2511119.5495 | 1144435.3839
50 | 2511112.5305 | 1144413.6037
51 | 2511012.1065 | 1144550.8267
52 | 2511005.7321 | 1144545.2703
53 | 2511120.0548 | 1144435.9303
54 | 2511123.1712 | 1144397.9554
55 | 2511003.6814 | 1144563.0223
56 | 2511006.979 | 1144518.3692
57 | 2511018.379 | 1144517.0222
58 | 2511121.9551 | 1144437.9852
59 | 2511126.7956 | 1144392.6253
60 | 2510786.5867 | 1144779.4999
61 | 2510816.3093 | 1144797.0764
62 | 2511136.9882 | 1144454.3869
63 | 2511137.8481 | 1144455.3399
64 | 2511140.2484 | 1144458.0001
65 | 2511146.1147 | 1144464.5015
66 | 2510990.0456 | 1144650.4552
67 | 2511006.1332 | 1144637.7929
68 | 2510970.9712 | 1144673.7414
69 | 2511019.1087 | 1144624.1179
70 | 2510959.4527 | 1144689.1077
71 | 2511020.6847 | 1144622.18
72 | 2510958.1003 | 1144690.7852
73 | 2510952.1845 | 1144698.0861
74 | 2510991.3207 | 1144580.2187
75 | 2510984.2208 | 1144590.0962
76 | 2510976.6712 | 1144600.5994
77 | 2510961.3799 | 1144592.2014
78 | 2510943.1026 | 1144583.4077
79 | 2510970.8906 | 1144608.6473
80 | 2510920.4202 | 1144615.8402
81 | 2510905.9651 | 1144604.4361
82 | 2510909.4798 | 1144633.6904
83 | 2510941.5957 | 1144646.026
84 | 2510936.7024 | 1144652.5467
85 | 2510848.9559 | 1144567.2488
86 | 2510903.6569 | 1144642.7149
87 | 2510922.2762 | 1144670.6343
88 | 2510898.9666 | 1144648.2102
89 | 2510927.06 | 1144675.5665
90 | 2510998.5886 | 1144727.7345
91 | 2510977.6442 | 1144716.3105
92 | 2511010.1618 | 1144733.6392
93 | 2510972.8955 | 1144713.2236
94 | 2510969.721 | 1144803.5341
95 | 2511028.8498 | 1144741.8609
96 | 2511020.1774 | 1144836.0078
97 | 2511060.861 | 1144755.513
98 | 2510940.7392 | 1144688.5608
99 | 2511080.4473 | 1144873.6066
100 | 2511061.5922 | 1144755.8177
101 | 2510940.2376 | 1144688.0843
102 | 2510930.8809 | 1144679.196
103 | 2510780.0604 | 1144839.2028
104 | 2510764.5196 | 1144854.5015
105 | 2510709.2721 | 1144859.849
106 | 2510762.924 | 1144829.8104
107 | 2511083.89 | 1144875.6903
108 | 2511110.213 | 1144823.3595
109 | 2511148.7867 | 1144467.4628
110 | 2510952.1845 | 1144698.0861

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1