## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_59-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_59-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_59-1_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_59-1_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_59-1_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_59-1_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_59-1_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_59-1_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_59-1_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_59-1_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_59-1_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_59-1_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_59-1_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_59-1_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_59-1_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_59-1_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_59-1_0_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_59-1_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_59-1_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_59-1_0_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_59-1_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_59-1_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_59-1_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_59-1_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_59-1_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_59-1_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_59-1_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_59-1_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_59-1_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_59-1_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_59-1_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_59-1_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_59-1_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_59-1_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_59-1_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_59-1_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_59-1_0_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_59-1_0_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_59-1_0_4_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_59-1_0_4_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_59-1_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_59-1_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_59-1_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_59-1_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_59-1_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_59-1_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_59-1_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_59-1_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_59-1_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_59-1_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_59-1_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_59-1_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_59-1_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_59-1_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_59-1_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_59-1_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_59-1_0_4_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_59-1_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_59-1_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_59-1_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_59-1_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_59-1_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_59-1_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_59-1_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_59-1_0_4_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_59-1_0_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_59-1_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_59-1_0_4_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_59-1_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_59-1_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_59-1_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_59-1_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_59-1_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_59-1_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_59-1_0_4_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_59-1_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_59-1_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_59-1_0_4_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_59-1_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_59-1_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_59-1_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_59-1_0_4_node_92 | 0.4 | n |  | TRUE
82 | bus_LV_59-1_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_59-1_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_59-1_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_59-1_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_59-1_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_59-1_0_4_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_59-1_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_59-1_0_4_node_98 | 0.4 | n |  | TRUE
90 | bus_LV_59-1_0_4_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_59-1_0_4_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_59-1_0_4_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_59-1_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_59-1_0_4_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_59-1_0_4_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_59-1_0_4_node_101 | 0.4 | n |  | TRUE
97 | bus_MV_351_1_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_59-1_0_4_load_0 | 0 | 0.00074013 | 0.0001855 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_59-1_0_4_load_1 | 1 | 0.0012189 | 0.00030548 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_59-1_0_4_load_4 | 3 | 0.002322 | 0.00058195 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_59-1_0_4_load_5 | 4 | 0.0021315 | 0.00053421 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_59-1_0_4_load_6 | 5 | 0.0025683 | 0.00064368 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_59-1_0_4_load_7 | 6 | 0.0010643 | 0.00026675 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_59-1_0_4_load_8 | 8 | 0.0010963 | 0.00027476 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_59-1_0_4_load_16 | 9 | 0.0018643 | 0.00046724 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_59-1_0_4_load_9 | 10 | 0.00081404 | 0.00020402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_59-1_0_4_load_10 | 11 | 0.0010529 | 0.00026389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_59-1_0_4_load_11 | 12 | 0.0017369 | 0.0004353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_59-1_0_4_load_12 | 13 | 0.0015455 | 0.00038734 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_59-1_0_4_load_13 | 14 | 0.0024525 | 0.00061466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_59-1_0_4_load_14 | 15 | 0.003778 | 0.00094685 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_59-1_0_4_load_32 | 16 | 0.0034321 | 0.00086017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_59-1_0_4_load_26 | 17 | 0.0088209 | 0.0022107 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_59-1_0_4_load_33 | 19 | 0.0025024 | 0.00062717 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_59-1_0_4_load_17 | 21 | 0.0013663 | 0.00034242 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_59-1_0_4_load_24 | 22 | 0.0063305 | 0.0015866 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_59-1_0_4_load_19 | 23 | 0.0012658 | 0.00031724 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_59-1_0_4_load_20 | 24 | 0.0074356 | 0.0018635 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_59-1_0_4_load_28 | 25 | 0.0016501 | 0.00041356 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_59-1_0_4_load_23 | 28 | 0.0052742 | 0.0013218 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_59-1_0_4_load_37 | 29 | 0.0053395 | 0.0013382 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_59-1_0_4_load_31 | 31 | 0.0076794 | 0.0019246 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_59-1_0_4_load_27 | 32 | 0.014317 | 0.0035881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_59-1_0_4_load_35 | 33 | 0.0059888 | 0.0015009 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_59-1_0_4_load_75 | 36 | 0.0070227 | 0.00176 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_59-1_0_4_load_76 | 37 | 0.0051194 | 0.001283 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_59-1_0_4_load_72 | 38 | 0.0054296 | 0.0013608 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_59-1_0_4_load_93 | 39 | 0.0057953 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_59-1_0_4_load_39 | 40 | 0.0039118 | 0.0009804 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_59-1_0_4_load_38 | 41 | 0.0052252 | 0.0013095 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_59-1_0_4_load_41 | 43 | 0.0036877 | 0.00092423 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_59-1_0_4_load_42 | 44 | 0.0033645 | 0.00084322 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_59-1_0_4_load_43 | 45 | 0.0031267 | 0.00078364 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_59-1_0_4_load_53 | 46 | 0.013022 | 0.0032636 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_59-1_0_4_load_44 | 47 | 0.0020214 | 0.00050662 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_59-1_0_4_load_45 | 49 | 0.0033639 | 0.00084307 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_59-1_0_4_load_47 | 50 | 0.01638 | 0.0041051 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_59-1_0_4_load_50 | 52 | 0.0063763 | 0.0015981 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_59-1_0_4_load_51 | 53 | 0.0053019 | 0.0013288 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_59-1_0_4_load_52 | 54 | 0.013053 | 0.0032714 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_59-1_0_4_load_66 | 55 | 0.025548 | 0.0064029 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_59-1_0_4_load_74 | 56 | 0.019169 | 0.0048042 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_59-1_0_4_load_67 | 57 | 0.014899 | 0.0037339 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_59-1_0_4_load_55 | 58 | 0.0030836 | 0.00077283 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_59-1_0_4_load_79 | 64 | 0.0019381 | 0.00048573 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_59-1_0_4_load_77 | 65 | 0.0014081 | 0.00035289 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_59-1_0_4_load_61 | 66 | 0.0030299 | 0.00075937 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_59-1_0_4_load_62 | 68 | 0.0089376 | 0.00224 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_59-1_0_4_load_65 | 71 | 0.0026762 | 0.00067071 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_59-1_0_4_load_68 | 73 | 0.0069417 | 0.0017398 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_59-1_0_4_load_84 | 74 | 0.001892 | 0.00047417 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_59-1_0_4_load_73 | 75 | 0.0019557 | 0.00049015 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_59-1_0_4_load_70 | 76 | 0.01676 | 0.0042004 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_59-1_0_4_load_85 | 77 | 0.0028002 | 0.0007018 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_59-1_0_4_load_88 | 78 | 0.0045218 | 0.0011333 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_59-1_0_4_load_71 | 79 | 0.0026081 | 0.00065364 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_59-1_0_4_load_89 | 80 | 0.00083631 | 0.0002096 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_59-1_0_4_load_92 | 81 | 0.0052418 | 0.0013137 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_59-1_0_4_load_81 | 82 | 0.0012076 | 0.00030265 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_59-1_0_4_load_82 | 83 | 0.0021606 | 0.00054149 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_59-1_0_4_load_87 | 85 | 0.00292 | 0.00073183 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_59-1_0_4_load_90 | 87 | 0.0026786 | 0.00067133 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_59-1_0_4_load_98 | 89 | 0.0027302 | 0.00068427 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_59-1_0_4_load_97 | 90 | 0.0026691 | 0.00066894 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_59-1_0_4_load_95 | 92 | 0.0052209 | 0.0013085 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_59-1_0_4_load_96 | 93 | 0.00074345 | 0.00018633 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_59-1_0_4_load_99 | 94 | 0.0015172 | 0.00038025 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_59-1_0_4_load_101 | 96 | 0.0015172 | 0.00038025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_59-1_0_4_line_0 |  | 0 | 1 | 0.024489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_59-1_0_4_line_1 |  | 1 | 2 | 0.0054667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_59-1_0_4_line_2 |  | 2 | 3 | 0.015388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_59-1_0_4_line_3 |  | 2 | 4 | 0.019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_59-1_0_4_line_4 |  | 2 | 5 | 0.022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_59-1_0_4_line_5 |  | 3 | 6 | 0.018046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_59-1_0_4_line_6 |  | 4 | 7 | 0.018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_59-1_0_4_line_7 |  | 6 | 8 | 0.0071463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_59-1_0_4_line_8 |  | 7 | 9 | 0.0085197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_59-1_0_4_line_9 |  | 8 | 10 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_59-1_0_4_line_10 |  | 9 | 20 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_59-1_0_4_line_11 |  | 10 | 11 | 0.017682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_59-1_0_4_line_12 |  | 11 | 12 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_59-1_0_4_line_13 |  | 12 | 13 | 0.019769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_59-1_0_4_line_14 |  | 13 | 14 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_59-1_0_4_line_15 |  | 13 | 15 | 0.027139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_59-1_0_4_line_16 |  | 15 | 16 | 0.0056093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_59-1_0_4_line_17 |  | 16 | 19 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_59-1_0_4_line_18 |  | 17 | 18 | 0.022333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_59-1_0_4_line_19 |  | 18 | 32 | 0.031257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_59-1_0_4_line_20 |  | 18 | 22 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_59-1_0_4_line_21 |  | 19 | 34 | 0.004129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_59-1_0_4_line_22 |  | 20 | 23 | 0.014659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_59-1_0_4_line_23 |  | 20 | 24 | 0.045529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_59-1_0_4_line_24 |  | 21 | 22 | 0.02986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_59-1_0_4_line_25 |  | 24 | 25 | 0.037423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_59-1_0_4_line_26 |  | 26 | 27 | 0.006687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_59-1_0_4_line_27 |  | 26 | 28 | 0.023376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_59-1_0_4_line_28 |  | 27 | 29 | 0.038665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_59-1_0_4_line_29 |  | 28 | 30 | 0.023076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_59-1_0_4_line_30 |  | 30 | 31 | 0.0031817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_59-1_0_4_line_31 |  | 30 | 32 | 0.032539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_59-1_0_4_line_32 |  | 31 | 33 | 0.028944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_59-1_0_4_line_33 |  | 33 | 34 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_59-1_0_4_line_34 |  | 34 | 35 | 0.034132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_59-1_0_4_line_35 |  | 35 | 36 | 0.021377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_59-1_0_4_line_36 |  | 35 | 37 | 0.028436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_59-1_0_4_line_37 |  | 36 | 38 | 0.0050687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_59-1_0_4_line_38 |  | 37 | 39 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_59-1_0_4_line_39 |  | 38 | 79 | 0.035389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_59-1_0_4_line_40 |  | 39 | 81 | 4.6565e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_59-1_0_4_line_41 |  | 40 | 41 | 0.036837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_59-1_0_4_line_42 |  | 41 | 42 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_59-1_0_4_line_43 |  | 42 | 43 | 0.027517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_59-1_0_4_line_44 |  | 42 | 44 | 0.0013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_59-1_0_4_line_45 |  | 43 | 45 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_59-1_0_4_line_46 |  | 44 | 46 | 0.018325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_59-1_0_4_line_47 |  | 45 | 47 | 0.022485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_59-1_0_4_line_48 |  | 46 | 48 | 0.0032812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_59-1_0_4_line_49 |  | 47 | 49 | 0.007597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_59-1_0_4_line_50 |  | 48 | 54 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_59-1_0_4_line_51 |  | 48 | 50 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_59-1_0_4_line_52 |  | 50 | 51 | 0.032639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_59-1_0_4_line_53 |  | 51 | 52 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_59-1_0_4_line_54 |  | 51 | 53 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_59-1_0_4_line_55 |  | 53 | 55 | 0.011372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_59-1_0_4_line_56 |  | 54 | 56 | 0.025909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_59-1_0_4_line_57 |  | 55 | 57 | 0.0077369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_59-1_0_4_line_58 |  | 57 | 73 | 2.2386e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_59-1_0_4_line_59 |  | 58 | 59 | 0.016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_59-1_0_4_line_60 |  | 58 | 60 | 0.017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_59-1_0_4_line_61 |  | 59 | 61 | 0.020329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_59-1_0_4_line_62 |  | 60 | 62 | 0.029482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_59-1_0_4_line_63 |  | 60 | 63 | 0.006439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_59-1_0_4_line_64 |  | 61 | 65 | 0.046866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_59-1_0_4_line_65 |  | 62 | 64 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_59-1_0_4_line_66 |  | 63 | 66 | 0.0099548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_59-1_0_4_line_67 |  | 64 | 67 | 0.025936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_59-1_0_4_line_68 |  | 66 | 68 | 0.0073196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_59-1_0_4_line_69 |  | 67 | 82 | 0.024772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_59-1_0_4_line_70 |  | 68 | 69 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_59-1_0_4_line_71 |  | 69 | 70 | 0.038712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_59-1_0_4_line_72 |  | 69 | 71 | 0.020751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_59-1_0_4_line_73 |  | 70 | 72 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_59-1_0_4_line_74 |  | 70 | 73 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_59-1_0_4_line_75 |  | 71 | 74 | 0.014509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_59-1_0_4_line_76 |  | 72 | 75 | 0.010577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_59-1_0_4_line_77 |  | 72 | 76 | 0.0060074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_59-1_0_4_line_78 |  | 74 | 77 | 0.013791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_59-1_0_4_line_79 |  | 75 | 78 | 0.0078558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_59-1_0_4_line_80 |  | 78 | 80 | 0.027668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_59-1_0_4_line_81 |  | 80 | 87 | 0.01106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_59-1_0_4_line_82 |  | 81 | 91 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_59-1_0_4_line_83 |  | 82 | 83 | 0.022728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_59-1_0_4_line_84 |  | 83 | 84 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_59-1_0_4_line_85 |  | 84 | 85 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_59-1_0_4_line_86 |  | 86 | 87 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_59-1_0_4_line_87 |  | 86 | 88 | 0.027881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_59-1_0_4_line_88 |  | 88 | 89 | 0.016704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_59-1_0_4_line_89 |  | 89 | 90 | 0.0042302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_59-1_0_4_line_90 |  | 90 | 92 | 0.025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_59-1_0_4_line_91 |  | 91 | 92 | 0.021074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_59-1_0_4_line_92 |  | 91 | 93 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_59-1_0_4_line_93 |  | 93 | 94 | 0.0025887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_59-1_0_4_line_94 |  | 94 | 95 | 0.045031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_59-1_0_4_line_95 |  | 95 | 96 | 0.035583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_59-1_0_4_trafo_72 | 0.63 MVA 20/0.4 kV | 97 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2680719.6831 | 1264210.3728 | 2680744.1593 | 1264211.1595
1 | 2680749.6232 | 1264211.3352 | 2680744.1593 | 1264211.1595
2 | 2680749.6232 | 1264211.3352 | 2680758.76 | 1264211.8603 | 2680764.9618 | 1264212.5144
3 | 2680749.6232 | 1264211.3352 | 2680752.1891 | 1264191.8252
4 | 2680749.6232 | 1264211.3352 | 2680744.5172 | 1264205.2162 | 2680730.3733 | 1264204.841
5 | 2680782.8362 | 1264214.8708 | 2680778.1423 | 1264213.9044 | 2680764.9618 | 1264212.5144
6 | 2680754.6581 | 1264173.0518 | 2680752.1891 | 1264191.8252
7 | 2680782.8362 | 1264214.8708 | 2680788.4398 | 1264216.0245 | 2680789.8035 | 1264216.4384
8 | 2680754.6581 | 1264173.0518 | 2680755.2973 | 1264164.5561
9 | 2680789.8035 | 1264216.4384 | 2680798.1086 | 1264218.9589 | 2680804.6488 | 1264220.93
10 | 2680756.9498 | 1264142.5927 | 2680755.2973 | 1264164.5561
11 | 2680821.7472 | 1264225.3914 | 2680812.5634 | 1264223.3153 | 2680804.6488 | 1264220.93
12 | 2680821.7472 | 1264225.3914 | 2680824.0294 | 1264225.9074 | 2680836.3182 | 1264227.8213 | 2680843.6839 | 1264228.8928
13 | 2680863.4138 | 1264229.8266 | 2680858.2094 | 1264229.811 | 2680846.1055 | 1264229.245 | 2680843.6839 | 1264228.8928
14 | 2680863.4138 | 1264229.8266 | 2680863.6443 | 1264221.2452 | 2680861.8674 | 1264219.5418 | 2680855.3025 | 1264219.2158
15 | 2680863.4138 | 1264229.8266 | 2680871.8794 | 1264229.8646 | 2680890.5024 | 1264228.496
16 | 2680896.0301 | 1264227.543 | 2680890.5024 | 1264228.496
17 | 2680896.0301 | 1264227.543 | 2680905.9797 | 1264225.8278 | 2680911.3398 | 1264224.9089
18 | 2680838.7097 | 1264178.5377 | 2680837.7515 | 1264188.5658 | 2680836.8886 | 1264200.795
19 | 2680838.7097 | 1264178.5377 | 2680841.464 | 1264178.7199 | 2680849.6414 | 1264176.1519 | 2680869.4721 | 1264174.2076
20 | 2680838.7097 | 1264178.5377 | 2680820.9483 | 1264177.3784
21 | 2680915.4094 | 1264224.2111 | 2680911.3398 | 1264224.9089
22 | 2680756.9498 | 1264142.5927 | 2680771.6068 | 1264142.359
23 | 2680756.9498 | 1264142.5927 | 2680756.9124 | 1264124.9339 | 2680759.0156 | 1264107.727 | 2680762.8119 | 1264098.3493 | 2680763.0422 | 1264097.9998
24 | 2680791.1517 | 1264175.4337 | 2680820.9483 | 1264177.3784
25 | 2680789.0769 | 1264071.4696 | 2680768.5269 | 1264089.6761 | 2680763.0422 | 1264097.9998
26 | 2680885.7187 | 1264133.3563 | 2680892.3667 | 1264132.4687
27 | 2680885.7187 | 1264133.3563 | 2680893.1745 | 1264155.5117
28 | 2680892.3667 | 1264132.4687 | 2680898.7486 | 1264131.2106 | 2680920.1873 | 1264124.4653 | 2680928.877 | 1264120.1868
29 | 2680900.5344 | 1264177.3822 | 2680893.1745 | 1264155.5117
30 | 2680900.5344 | 1264177.3822 | 2680901.5087 | 1264180.4111
31 | 2680900.5344 | 1264177.3822 | 2680887.602 | 1264178.4617 | 2680878.7018 | 1264173.3026 | 2680869.4721 | 1264174.2076
32 | 2680910.3719 | 1264207.965 | 2680901.5087 | 1264180.4111
33 | 2680915.4094 | 1264224.2111 | 2680914.5753 | 1264221.3197 | 2680913.7555 | 1264218.484 | 2680910.3719 | 1264207.965
34 | 2680949.1704 | 1264218.5576 | 2680937.4981 | 1264220.5772 | 2680930.4995 | 1264221.7713 | 2680915.4094 | 1264224.2111
35 | 2680949.1704 | 1264218.5576 | 2680956.9634 | 1264217.1076 | 2680969.9297 | 1264213.5306
36 | 2680949.1704 | 1264218.5576 | 2680954.8319 | 1264246.4243
37 | 2680974.8159 | 1264212.1826 | 2680969.9297 | 1264213.5306
38 | 2680959.6662 | 1264273.8265 | 2680957.7791 | 1264260.9308 | 2680954.8319 | 1264246.4243
39 | 2680974.8159 | 1264212.1826 | 2681008.9307 | 1264202.7713
40 | 2680959.6662 | 1264273.8265 | 2680959.673 | 1264273.8726
41 | 2680972.8137 | 1264150.655 | 2680963.4645 | 1264153.269 | 2680954.4502 | 1264158.0938 | 2680948.0373 | 1264166.0122 | 2680945.6312 | 1264172.2813
42 | 2680992.9606 | 1264145.022 | 2680972.8137 | 1264150.655
43 | 2680992.9606 | 1264145.022 | 2680989.4587 | 1264133.4427 | 2680990.782 | 1264125.9217 | 2680994.1546 | 1264118.9068 | 2680994.1546 | 1264118.9068
44 | 2680992.9606 | 1264145.022 | 2680994.3161 | 1264144.7018
45 | 2680994.1546 | 1264118.9068 | 2681008.1582 | 1264103.9335
46 | 2680994.3161 | 1264144.7018 | 2681012.1501 | 1264140.4897
47 | 2681008.1582 | 1264103.9335 | 2681023.5171 | 1264087.5112
48 | 2681015.3435 | 1264139.7355 | 2681012.1501 | 1264140.4897
49 | 2681023.5171 | 1264087.5112 | 2681028.7063 | 1264081.9627
50 | 2681015.3435 | 1264139.7355 | 2681019.6268 | 1264156.9549
51 | 2681015.3435 | 1264139.7355 | 2681034.3296 | 1264135.2506
52 | 2681063.8487 | 1264138.7994 | 2681058.3571 | 1264136.6447 | 2681052.3986 | 1264135.5844 | 2681047.4329 | 1264135.7276 | 2681046.2201 | 1264132.4417 | 2681034.3296 | 1264135.2506
53 | 2681063.8487 | 1264138.7994 | 2681068.9105 | 1264127.7154
54 | 2681063.8487 | 1264138.7994 | 2681067.1184 | 1264144.2374 | 2681069.9039 | 1264151.4812
55 | 2681070.4391 | 1264162.8408 | 2681069.9039 | 1264151.4812
56 | 2681024.7373 | 1264181.9527 | 2681025.2641 | 1264181.4373 | 2681025.252 | 1264179.569 | 2681019.6268 | 1264156.9549
57 | 2681070.4391 | 1264162.8408 | 2681070.6856 | 1264168.0716 | 2681070.606 | 1264170.5707
58 | 2681070.606 | 1264170.5707 | 2681070.6052 | 1264170.5931
59 | 2681176.8764 | 1264182.7174 | 2681174.5998 | 1264184.4986 | 2681170.0949 | 1264186.7386 | 2681164.6202 | 1264187.7531 | 2681161.1841 | 1264187.9936
60 | 2681143.1955 | 1264187.9926 | 2681147.1812 | 1264187.9028 | 2681160.1041 | 1264188.0692 | 2681161.1841 | 1264187.9936
61 | 2681176.8764 | 1264182.7174 | 2681180.5202 | 1264179.5538 | 2681184.24 | 1264175.246 | 2681188.5861 | 1264179.0864 | 2681190.5214 | 1264180.7587 | 2681191.6232 | 1264181.7079
62 | 2681143.1955 | 1264187.9926 | 2681142.7899 | 1264197.7836 | 2681144.396 | 1264217.3987
63 | 2681143.1955 | 1264187.9926 | 2681136.7386 | 1264188.1264
64 | 2681191.6232 | 1264181.7079 | 2681188.4634 | 1264213.7785 | 2681189.4224 | 1264228.387
65 | 2681144.396 | 1264217.3987 | 2681147.6148 | 1264238.9044
66 | 2681136.7386 | 1264188.1264 | 2681130.8005 | 1264187.778 | 2681126.801 | 1264187.5405
67 | 2681151.4538 | 1264264.5547 | 2681147.6148 | 1264238.9044
68 | 2681126.801 | 1264187.5405 | 2681119.4943 | 1264187.1067
69 | 2681151.4538 | 1264264.5547 | 2681126.9383 | 1264268.1112
70 | 2681108.8772 | 1264186.4762 | 2681119.4943 | 1264187.1067
71 | 2681070.0903 | 1264186.7558 | 2681077.7962 | 1264186.1721 | 2681090.8472 | 1264185.784 | 2681108.8772 | 1264186.4762
72 | 2681108.8772 | 1264186.4762 | 2681107.7601 | 1264196.5243 | 2681107.2695 | 1264200.4429 | 2681106.2141 | 1264203.7977 | 2681104.5661 | 1264206.5117
73 | 2681070.0903 | 1264186.7558 | 2681060.7127 | 1264188.4063 | 2681051.427 | 1264191.0478
74 | 2681070.0903 | 1264186.7558 | 2681070.6052 | 1264170.5931
75 | 2681096.568 | 1264218.6149 | 2681103.4552 | 1264208.3412 | 2681104.5661 | 1264206.5117
76 | 2681051.427 | 1264191.0478 | 2681051.743 | 1264201.6203
77 | 2681051.427 | 1264191.0478 | 2681045.636 | 1264192.6453
78 | 2681096.568 | 1264218.6149 | 2681092.3977 | 1264224.8358 | 2681088.6862 | 1264229.9282
79 | 2681051.743 | 1264201.6203 | 2681051.8762 | 1264206.0768 | 2681052.2144 | 1264209.4573
80 | 2681049.7843 | 1264236.3543 | 2681050.5739 | 1264232.3795 | 2681053.7309 | 1264224.6167 | 2681052.2144 | 1264209.4573
81 | 2681049.7843 | 1264236.3543 | 2681048.2519 | 1264244.0679 | 2681047.3634 | 1264247.1376
82 | 2680961.6842 | 1264287.6162 | 2680959.673 | 1264273.8726
83 | 2681126.9383 | 1264268.1112 | 2681104.4458 | 1264271.3743
84 | 2681078.9792 | 1264275.0688 | 2681104.4458 | 1264271.3743
85 | 2681078.9792 | 1264275.0688 | 2681075.7603 | 1264274.7244 | 2681067.7044 | 1264275.9043
86 | 2681047.4825 | 1264260.6258 | 2681044.8599 | 1264255.7861 | 2681047.3634 | 1264247.1376
87 | 2681029.2469 | 1264281.5367 | 2681035.4744 | 1264272.3037 | 2681041.3469 | 1264265.9014 | 2681047.4825 | 1264260.6258
88 | 2681029.2469 | 1264281.5367 | 2681012.61 | 1264283.0337
89 | 2681008.3968 | 1264283.4129 | 2681012.61 | 1264283.0337
90 | 2681008.3968 | 1264283.4129 | 2680982.6735 | 1264285.7275
91 | 2680961.6842 | 1264287.6162 | 2680982.6735 | 1264285.7275
92 | 2680961.6842 | 1264287.6162 | 2680962.809 | 1264302.8212 | 2680963.013 | 1264308.0627
93 | 2680963.013 | 1264308.0627 | 2680963.1136 | 1264310.6494
94 | 2680964.8646 | 1264355.6462 | 2680963.1136 | 1264310.6494
95 | 2680964.8646 | 1264355.6462 | 2680929.2987 | 1264356.7491

## bus_geodata
| x | y | coords
0 | 2680719.6831 | 1264210.3728
1 | 2680744.1593 | 1264211.1595
2 | 2680749.6232 | 1264211.3352
3 | 2680764.9618 | 1264212.5144
4 | 2680752.1891 | 1264191.8252
5 | 2680730.3733 | 1264204.841
6 | 2680782.8362 | 1264214.8708
7 | 2680754.6581 | 1264173.0518
8 | 2680789.8035 | 1264216.4384
9 | 2680755.2973 | 1264164.5561
10 | 2680804.6488 | 1264220.93
11 | 2680821.7472 | 1264225.3914
12 | 2680843.6839 | 1264228.8928
13 | 2680863.4138 | 1264229.8266
14 | 2680855.3025 | 1264219.2158
15 | 2680890.5024 | 1264228.496
16 | 2680896.0301 | 1264227.543
17 | 2680836.8886 | 1264200.795
18 | 2680838.7097 | 1264178.5377
19 | 2680911.3398 | 1264224.9089
20 | 2680756.9498 | 1264142.5927
21 | 2680791.1517 | 1264175.4337
22 | 2680820.9483 | 1264177.3784
23 | 2680771.6068 | 1264142.3589
24 | 2680763.0422 | 1264097.9998
25 | 2680789.0769 | 1264071.4696
26 | 2680885.7187 | 1264133.3563
27 | 2680892.3667 | 1264132.4687
28 | 2680893.1745 | 1264155.5117
29 | 2680928.877 | 1264120.1868
30 | 2680900.5344 | 1264177.3822
31 | 2680901.5087 | 1264180.4111
32 | 2680869.4721 | 1264174.2076
33 | 2680910.3719 | 1264207.965
34 | 2680915.4094 | 1264224.2111
35 | 2680949.1704 | 1264218.5576
36 | 2680969.9297 | 1264213.5306
37 | 2680954.8319 | 1264246.4243
38 | 2680974.8159 | 1264212.1826
39 | 2680959.6662 | 1264273.8265
40 | 2680945.6312 | 1264172.2813
41 | 2680972.8137 | 1264150.655
42 | 2680992.9606 | 1264145.022
43 | 2680994.1546 | 1264118.9068
44 | 2680994.3161 | 1264144.7018
45 | 2681008.1582 | 1264103.9336
46 | 2681012.1501 | 1264140.4897
47 | 2681023.5171 | 1264087.5112
48 | 2681015.3435 | 1264139.7355
49 | 2681028.7063 | 1264081.9627
50 | 2681034.3296 | 1264135.2506
51 | 2681063.8487 | 1264138.7994
52 | 2681068.9105 | 1264127.7154
53 | 2681069.9039 | 1264151.4812
54 | 2681019.6268 | 1264156.9549
55 | 2681070.4391 | 1264162.8408
56 | 2681024.7373 | 1264181.9527
57 | 2681070.606 | 1264170.5707
58 | 2681161.1841 | 1264187.9936
59 | 2681176.8764 | 1264182.7174
60 | 2681143.1955 | 1264187.9926
61 | 2681191.6232 | 1264181.7079
62 | 2681144.396 | 1264217.3987
63 | 2681136.7386 | 1264188.1264
64 | 2681147.6148 | 1264238.9044
65 | 2681189.4224 | 1264228.387
66 | 2681126.801 | 1264187.5405
67 | 2681151.4538 | 1264264.5547
68 | 2681119.4943 | 1264187.1067
69 | 2681108.8772 | 1264186.4762
70 | 2681070.0903 | 1264186.7558
71 | 2681104.5661 | 1264206.5117
72 | 2681051.427 | 1264191.0478
73 | 2681070.6052 | 1264170.5931
74 | 2681096.568 | 1264218.6149
75 | 2681051.743 | 1264201.6203
76 | 2681045.636 | 1264192.6453
77 | 2681088.6862 | 1264229.9282
78 | 2681052.2144 | 1264209.4573
79 | 2681008.9307 | 1264202.7713
80 | 2681049.7843 | 1264236.3543
81 | 2680959.673 | 1264273.8726
82 | 2681126.9383 | 1264268.1112
83 | 2681104.4458 | 1264271.3743
84 | 2681078.9792 | 1264275.0688
85 | 2681067.7044 | 1264275.9043
86 | 2681047.4825 | 1264260.6258
87 | 2681047.3634 | 1264247.1376
88 | 2681029.2469 | 1264281.5367
89 | 2681012.61 | 1264283.0337
90 | 2681008.3968 | 1264283.4129
91 | 2680961.6842 | 1264287.6162
92 | 2680982.6735 | 1264285.7275
93 | 2680963.013 | 1264308.0627
94 | 2680963.1136 | 1264310.6494
95 | 2680964.8646 | 1264355.6462
96 | 2680929.2987 | 1264356.7491
97 | 2680949.1704 | 1264218.5576

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1