## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_59-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_59-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_59-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_59-4_0_3_node_105 | 0.4 | n |  | TRUE
4 | bus_LV_59-4_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_59-4_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_59-4_0_3_node_106 | 0.4 | n |  | TRUE
7 | bus_LV_59-4_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_59-4_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_59-4_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_59-4_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_59-4_0_3_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_59-4_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_59-4_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_59-4_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_59-4_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_59-4_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_59-4_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_59-4_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_59-4_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_59-4_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_59-4_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_59-4_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_59-4_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_59-4_0_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_59-4_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_59-4_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_59-4_0_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_59-4_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_59-4_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_59-4_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_59-4_0_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_59-4_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_59-4_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_59-4_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_59-4_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_59-4_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_59-4_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_59-4_0_3_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_59-4_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_59-4_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_59-4_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_59-4_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_59-4_0_3_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_59-4_0_3_node_110 | 0.4 | n |  | TRUE
45 | bus_LV_59-4_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_59-4_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_59-4_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_59-4_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_59-4_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_59-4_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_59-4_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_59-4_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_59-4_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_59-4_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_59-4_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_59-4_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_59-4_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_59-4_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_59-4_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_59-4_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_59-4_0_3_node_108 | 0.4 | n |  | TRUE
62 | bus_LV_59-4_0_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_59-4_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_59-4_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_59-4_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_59-4_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_59-4_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_59-4_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_59-4_0_3_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_59-4_0_3_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_59-4_0_3_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_59-4_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_59-4_0_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_59-4_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_59-4_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_59-4_0_3_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_59-4_0_3_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_59-4_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_59-4_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_59-4_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_59-4_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_59-4_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_59-4_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_59-4_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_59-4_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_59-4_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_59-4_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_59-4_0_3_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_59-4_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_59-4_0_3_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_59-4_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_59-4_0_3_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_59-4_0_3_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_59-4_0_3_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_59-4_0_3_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_59-4_0_3_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_59-4_0_3_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_59-4_0_3_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_59-4_0_3_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_59-4_0_3_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_59-4_0_3_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_59-4_0_3_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_59-4_0_3_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_59-4_0_3_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_59-4_0_3_node_99 | 0.4 | n |  | TRUE
106 | bus_MV_351_1_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_59-4_0_3_load_0 | 0 | 0.00098812 | 0.00024765 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_59-4_0_3_load_1 | 1 | 0.012165 | 0.0030489 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_59-4_0_3_load_105 | 3 | 0.00043106 | 0.00010803 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_59-4_0_3_load_106 | 6 | 0.00066017 | 0.00016545 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_59-4_0_3_load_14 | 7 | 0.0074424 | 0.0018652 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_59-4_0_3_load_6 | 8 | 0.003398 | 0.00085162 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_59-4_0_3_load_5 | 9 | 0.0123 | 0.0030827 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_59-4_0_3_load_10 | 10 | 0.012359 | 0.0030975 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_59-4_0_3_load_8 | 14 | 0.0044973 | 0.0011271 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_59-4_0_3_load_15 | 15 | 0.009356 | 0.0023448 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_59-4_0_3_load_26 | 17 | 0.0035172 | 0.0008815 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_59-4_0_3_load_24 | 18 | 0.007331 | 0.0018373 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_59-4_0_3_load_23 | 19 | 0.0093597 | 0.0023458 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_59-4_0_3_load_37 | 22 | 0.0022306 | 0.00055905 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_59-4_0_3_load_18 | 23 | 0.0025713 | 0.00064443 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_59-4_0_3_load_47 | 24 | 0.0039216 | 0.00098285 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_59-4_0_3_load_38 | 25 | 0.0022103 | 0.00055395 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_59-4_0_3_load_48 | 27 | 0.0020039 | 0.00050222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_59-4_0_3_load_22 | 29 | 0.0035561 | 0.00089125 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_59-4_0_3_load_19 | 30 | 0.0093533 | 0.0023442 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_59-4_0_3_load_52 | 31 | 0.0061816 | 0.0015492 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_59-4_0_3_load_20 | 32 | 0.0026555 | 0.00066553 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_59-4_0_3_load_25 | 35 | 0.0032533 | 0.00081535 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_59-4_0_3_load_33 | 37 | 0.0058535 | 0.001467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_59-4_0_3_load_53 | 38 | 0.0063542 | 0.0015925 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_59-4_0_3_load_30 | 39 | 0.001775 | 0.00044485 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_59-4_0_3_load_34 | 40 | 0.0038011 | 0.00095264 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_59-4_0_3_load_31 | 41 | 0.0019314 | 0.00048405 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_59-4_0_3_load_32 | 42 | 0.0010858 | 0.00027213 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_59-4_0_3_load_109 | 43 | 0.001085 | 0.00027192 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_59-4_0_3_load_110 | 44 | 0.0030678 | 0.00076886 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_59-4_0_3_load_35 | 45 | 0.0018633 | 0.00046699 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_59-4_0_3_load_36 | 46 | 0.0071454 | 0.0017908 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_59-4_0_3_load_56 | 47 | 0.0023298 | 0.00058391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_59-4_0_3_load_66 | 48 | 0.0070438 | 0.0017653 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_59-4_0_3_load_39 | 49 | 0.0020925 | 0.00052444 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_59-4_0_3_load_43 | 50 | 0.0023443 | 0.00058753 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_59-4_0_3_load_41 | 51 | 0.00028731 | 7.2006e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_59-4_0_3_load_42 | 52 | 0.00061958 | 0.00015528 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_59-4_0_3_load_44 | 53 | 0.00029563 | 7.4091e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_59-4_0_3_load_45 | 54 | 0.00032364 | 8.1113e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_59-4_0_3_load_46 | 55 | 0.00027745 | 6.9535e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_59-4_0_3_load_49 | 56 | 0.0042021 | 0.0010531 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_59-4_0_3_load_50 | 57 | 0.00051372 | 0.00012875 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_59-4_0_3_load_51 | 58 | 0.00028491 | 7.1406e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_59-4_0_3_load_54 | 59 | 0.023471 | 0.0058823 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_59-4_0_3_load_55 | 60 | 0.0063067 | 0.0015806 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_59-4_0_3_load_108 | 61 | 0.0055234 | 0.0013843 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_59-4_0_3_load_64 | 63 | 0.0023285 | 0.00058358 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_59-4_0_3_load_57 | 64 | 0.0023298 | 0.00058391 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_59-4_0_3_load_58 | 65 | 0.0020783 | 0.00052087 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_59-4_0_3_load_59 | 66 | 0.0023143 | 0.00058002 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_59-4_0_3_load_61 | 68 | 0.0019724 | 0.00049432 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_59-4_0_3_load_91 | 69 | 0.00098858 | 0.00024776 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_59-4_0_3_load_82 | 70 | 0.0017322 | 0.00043414 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_59-4_0_3_load_92 | 71 | 0.0011435 | 0.00028658 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_59-4_0_3_load_62 | 73 | 0.0071452 | 0.0017908 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_59-4_0_3_load_63 | 74 | 0.003146 | 0.00078846 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_59-4_0_3_load_65 | 75 | 0.00090684 | 0.00022728 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_59-4_0_3_load_81 | 76 | 0.001521 | 0.00038121 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_59-4_0_3_load_83 | 77 | 0.0018423 | 0.00046173 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_59-4_0_3_load_68 | 78 | 0.006987 | 0.0017511 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_59-4_0_3_load_72 | 80 | 0.0017959 | 0.0004501 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_59-4_0_3_load_78 | 81 | 0.0020589 | 0.000516 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_59-4_0_3_load_76 | 82 | 0.0076086 | 0.0019069 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_59-4_0_3_load_79 | 83 | 0.0012216 | 0.00030616 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_59-4_0_3_load_74 | 84 | 0.0019966 | 0.0005004 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_59-4_0_3_load_75 | 85 | 0.0051844 | 0.0012993 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_59-4_0_3_load_77 | 86 | 0.0043261 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_59-4_0_3_load_80 | 87 | 0.00097543 | 0.00024447 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_59-4_0_3_load_89 | 88 | 0.0013508 | 0.00033854 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_59-4_0_3_load_84 | 90 | 0.0007896 | 0.00019789 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_59-4_0_3_load_87 | 91 | 0.00070613 | 0.00017697 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_59-4_0_3_load_85 | 92 | 0.0013421 | 0.00033635 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_59-4_0_3_load_86 | 93 | 0.0009098 | 0.00022802 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_59-4_0_3_load_100 | 95 | 0.0017199 | 0.00043104 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_59-4_0_3_load_101 | 96 | 0.00086692 | 0.00021727 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_59-4_0_3_load_93 | 97 | 0.0014093 | 0.00035321 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_59-4_0_3_load_95 | 99 | 0.00056734 | 0.00014219 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_59-4_0_3_load_97 | 101 | 0.00060212 | 0.0001509 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_59-4_0_3_load_103 | 102 | 0.00065318 | 0.0001637 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_59-4_0_3_load_98 | 103 | 0.00078205 | 0.000196 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_59-4_0_3_load_104 | 104 | 0.00059689 | 0.00014959 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_59-4_0_3_load_99 | 105 | 0.00060279 | 0.00015107 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_59-4_0_3_line_0 |  | 0 | 1 | 0.021414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_59-4_0_3_line_1 |  | 0 | 2 | 0.010039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_59-4_0_3_line_2 |  | 0 | 3 | 0.074327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_59-4_0_3_line_3 |  | 1 | 4 | 0.0099175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_59-4_0_3_line_4 |  | 2 | 5 | 0.010712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_59-4_0_3_line_5 |  | 3 | 6 | 0.018567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_59-4_0_3_line_6 |  | 4 | 7 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_59-4_0_3_line_7 |  | 5 | 8 | 0.035239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_59-4_0_3_line_8 |  | 7 | 11 | 0.0040315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_59-4_0_3_line_9 |  | 8 | 12 | 0.037994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_59-4_0_3_line_10 |  | 9 | 10 | 0.034035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_59-4_0_3_line_11 |  | 10 | 13 | 0.020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_59-4_0_3_line_12 |  | 11 | 20 | 0.023272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_59-4_0_3_line_13 |  | 12 | 14 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_59-4_0_3_line_14 |  | 13 | 20 | 0.020398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_59-4_0_3_line_15 |  | 13 | 21 | 0.003587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_59-4_0_3_line_16 |  | 14 | 15 | 0.032663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_59-4_0_3_line_17 |  | 16 | 17 | 0.032251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_59-4_0_3_line_18 |  | 16 | 18 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_59-4_0_3_line_19 |  | 18 | 19 | 0.036909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_59-4_0_3_line_20 |  | 19 | 35 | 0.0064358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_59-4_0_3_line_21 |  | 20 | 22 | 0.010252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_59-4_0_3_line_22 |  | 21 | 23 | 0.029989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_59-4_0_3_line_23 |  | 21 | 24 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_59-4_0_3_line_24 |  | 22 | 25 | 0.0066186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_59-4_0_3_line_25 |  | 23 | 26 | 0.0064892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_59-4_0_3_line_26 |  | 24 | 27 | 0.0062435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_59-4_0_3_line_27 |  | 25 | 49 | 0.0033181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_59-4_0_3_line_28 |  | 26 | 28 | 0.038495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_59-4_0_3_line_29 |  | 27 | 56 | 0.012007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_59-4_0_3_line_30 |  | 28 | 29 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_59-4_0_3_line_31 |  | 28 | 30 | 0.0093312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_59-4_0_3_line_32 |  | 29 | 31 | 0.025991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_59-4_0_3_line_33 |  | 30 | 32 | 0.026624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_59-4_0_3_line_34 |  | 31 | 38 | 0.0037862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_59-4_0_3_line_35 |  | 32 | 33 | 0.026525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_59-4_0_3_line_36 |  | 33 | 34 | 0.025957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_59-4_0_3_line_37 |  | 33 | 35 | 0.031316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_59-4_0_3_line_38 |  | 34 | 36 | 0.004863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_59-4_0_3_line_39 |  | 34 | 37 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_59-4_0_3_line_40 |  | 36 | 39 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_59-4_0_3_line_41 |  | 37 | 40 | 0.0010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_59-4_0_3_line_42 |  | 38 | 59 | 0.0025506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_59-4_0_3_line_43 |  | 39 | 41 | 0.021253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_59-4_0_3_line_44 |  | 40 | 45 | 0.031778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_59-4_0_3_line_45 |  | 41 | 42 | 0.012519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_59-4_0_3_line_46 |  | 42 | 43 | 0.014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_59-4_0_3_line_47 |  | 43 | 44 | 0.0012561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_59-4_0_3_line_48 |  | 45 | 46 | 0.0234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_59-4_0_3_line_49 |  | 46 | 47 | 0.00020916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_59-4_0_3_line_50 |  | 47 | 48 | 0.0058432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_59-4_0_3_line_51 |  | 48 | 63 | 0.0082926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_59-4_0_3_line_52 |  | 49 | 50 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_59-4_0_3_line_53 |  | 50 | 51 | 0.0065962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_59-4_0_3_line_54 |  | 51 | 52 | 0.0029588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_59-4_0_3_line_55 |  | 52 | 53 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_59-4_0_3_line_56 |  | 53 | 54 | 0.0066196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_59-4_0_3_line_57 |  | 54 | 55 | 0.0001874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_59-4_0_3_line_58 |  | 56 | 57 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_59-4_0_3_line_59 |  | 57 | 58 | 0.0053321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_59-4_0_3_line_60 |  | 59 | 60 | 0.022033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_59-4_0_3_line_61 |  | 60 | 61 | 0.00062576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_59-4_0_3_line_62 |  | 61 | 62 | 0.044744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_59-4_0_3_line_63 |  | 62 | 82 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_59-4_0_3_line_64 |  | 63 | 73 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_59-4_0_3_line_65 |  | 64 | 65 | 0.0025348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_59-4_0_3_line_66 |  | 64 | 66 | 0.006897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_59-4_0_3_line_67 |  | 65 | 67 | 0.016828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_59-4_0_3_line_68 |  | 66 | 68 | 0.023378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_59-4_0_3_line_69 |  | 67 | 69 | 0.031185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_59-4_0_3_line_70 |  | 68 | 70 | 0.0031675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_59-4_0_3_line_71 |  | 69 | 71 | 0.0070454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_59-4_0_3_line_72 |  | 70 | 72 | 0.018563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_59-4_0_3_line_73 |  | 71 | 97 | 0.024163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_59-4_0_3_line_74 |  | 72 | 76 | 0.013388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_59-4_0_3_line_75 |  | 72 | 75 | 0.011851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_59-4_0_3_line_76 |  | 73 | 74 | 0.005817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_59-4_0_3_line_77 |  | 74 | 75 | 0.025661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_59-4_0_3_line_78 |  | 76 | 77 | 0.021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_59-4_0_3_line_79 |  | 77 | 90 | 0.0021393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_59-4_0_3_line_80 |  | 78 | 79 | 0.052906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_59-4_0_3_line_81 |  | 79 | 80 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_59-4_0_3_line_82 |  | 80 | 81 | 0.029572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_59-4_0_3_line_83 |  | 81 | 83 | 0.02664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_59-4_0_3_line_84 |  | 82 | 84 | 0.0071045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_59-4_0_3_line_85 |  | 83 | 87 | 0.026985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_59-4_0_3_line_86 |  | 84 | 85 | 0.0099372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_59-4_0_3_line_87 |  | 85 | 86 | 0.018453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_59-4_0_3_line_88 |  | 87 | 88 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_59-4_0_3_line_89 |  | 88 | 89 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_59-4_0_3_line_90 |  | 89 | 94 | 0.032257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_59-4_0_3_line_91 |  | 90 | 91 | 0.0082257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_59-4_0_3_line_92 |  | 91 | 92 | 0.010221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_59-4_0_3_line_93 |  | 92 | 93 | 0.0039763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_59-4_0_3_line_94 |  | 93 | 94 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_59-4_0_3_line_95 |  | 94 | 95 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_59-4_0_3_line_96 |  | 95 | 96 | 0.028332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_59-4_0_3_line_97 |  | 97 | 98 | 0.037312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_59-4_0_3_line_98 |  | 98 | 99 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_59-4_0_3_line_99 |  | 98 | 100 | 0.037401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_59-4_0_3_line_100 |  | 99 | 101 | 0.0019599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_59-4_0_3_line_101 |  | 100 | 102 | 0.025231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_59-4_0_3_line_102 |  | 101 | 103 | 0.021322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_59-4_0_3_line_103 |  | 102 | 104 | 0.020421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_59-4_0_3_line_104 |  | 103 | 105 | 0.0047939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_59-4_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 106 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2681158.0732 | 1264282.9268 | 2681157.4355 | 1264292.9812 | 2681159.0654 | 1264304.2028
1 | 2681153.7581 | 1264275.0167 | 2681158.3296 | 1264278.8824 | 2681158.0732 | 1264282.9268
2 | 2681158.0732 | 1264282.9268 | 2681231.721 | 1264272.9053
3 | 2681160.4908 | 1264314.0173 | 2681159.0654 | 1264304.2028
4 | 2681153.7581 | 1264275.0167 | 2681151.4538 | 1264264.5547
5 | 2681231.721 | 1264272.9053 | 2681230.4072 | 1264264.3829 | 2681230.5616 | 1264254.4399
6 | 2681160.4908 | 1264314.0173 | 2681163.8387 | 1264338.4268 | 2681163.6914 | 1264341.3344
7 | 2681151.4538 | 1264264.5547 | 2681116.5801 | 1264269.6139
8 | 2681163.4874 | 1264345.3607 | 2681163.6914 | 1264341.3344
9 | 2681078.9792 | 1264275.0688 | 2681116.5801 | 1264269.6139
10 | 2681125.8011 | 1264346.4477 | 2681121.3739 | 1264312.7017
11 | 2681128.4299 | 1264366.4851 | 2681125.8011 | 1264346.4477
12 | 2681148.1082 | 1264361.7403 | 2681151.1452 | 1264360.5254 | 2681160.8383 | 1264351.7849 | 2681163.4874 | 1264345.3607
13 | 2681078.9792 | 1264275.0688 | 2681081.5626 | 1264292.3133
14 | 2681148.1082 | 1264361.7403 | 2681138.6033 | 1264365.5462 | 2681128.4299 | 1264366.4851
15 | 2681124.8477 | 1264366.814 | 2681128.4299 | 1264366.4851
16 | 2681081.5626 | 1264292.3133 | 2681086.4019 | 1264324.616
17 | 2681029.2469 | 1264281.5367 | 2680997.126 | 1264284.427
18 | 2681029.2469 | 1264281.5367 | 2681023.0154 | 1264294.9521
19 | 2681007.4666 | 1264328.4265 | 2681023.0154 | 1264294.9521
20 | 2681004.7554 | 1264334.2633 | 2681007.4666 | 1264328.4265
21 | 2681148.1082 | 1264361.7403 | 2681149.7971 | 1264371.8524
22 | 2681124.8477 | 1264366.814 | 2681100.3742 | 1264364.7879 | 2681094.9572 | 1264364.3842
23 | 2681124.8477 | 1264366.814 | 2681126.7623 | 1264379.2803
24 | 2681149.7971 | 1264371.8524 | 2681150.8875 | 1264378.3806
25 | 2681088.4859 | 1264363.9019 | 2681094.9572 | 1264364.3842
26 | 2681126.7623 | 1264379.2803 | 2681127.7101 | 1264385.4514
27 | 2681151.4341 | 1264381.6533 | 2681150.8875 | 1264378.3806
28 | 2681052.0307 | 1264373.2873 | 2681065.0332 | 1264365.9709 | 2681081.3228 | 1264363.37 | 2681088.4859 | 1264363.9019
29 | 2681129.5329 | 1264397.3195 | 2681127.7101 | 1264385.4514
30 | 2681052.0307 | 1264373.2873 | 2681057.6548 | 1264387.1752 | 2681057.9805 | 1264389.4166
31 | 2681052.0307 | 1264373.2873 | 2681043.6357 | 1264369.2135
32 | 2681057.9805 | 1264389.4166 | 2681061.7177 | 1264415.1376
33 | 2681017.2342 | 1264365.7768 | 2681043.6357 | 1264369.2135 | 2681043.6357 | 1264369.2135
34 | 2681062.2621 | 1264418.8844 | 2681061.7177 | 1264415.1376
35 | 2680990.931 | 1264362.3528 | 2681017.2342 | 1264365.7768
36 | 2680964.9938 | 1264360.5073 | 2680974.3553 | 1264360.5577 | 2680990.931 | 1264362.3528
37 | 2680990.931 | 1264362.3528 | 2680997.6206 | 1264349.6234 | 2681004.7554 | 1264334.2633
38 | 2680964.8646 | 1264355.6462 | 2680964.9938 | 1264360.5073
39 | 2680964.9938 | 1264360.5073 | 2680965.2868 | 1264383.7348
40 | 2680964.8646 | 1264355.6462 | 2680950.5419 | 1264356.0904
41 | 2680965.2868 | 1264383.7348 | 2680965.3007 | 1264384.8318
42 | 2681062.2621 | 1264418.8844 | 2681062.6288 | 1264421.4086
43 | 2680950.5419 | 1264356.0904 | 2680929.2987 | 1264356.7491
44 | 2680965.3007 | 1264384.8318 | 2680965.6401 | 1264411.734 | 2680965.1056 | 1264416.5786
45 | 2680929.4489 | 1264369.2673 | 2680929.2987 | 1264356.7491 | 2680929.2987 | 1264356.7491
46 | 2680929.6178 | 1264383.3417 | 2680929.4489 | 1264369.2673
47 | 2680929.6329 | 1264384.5977 | 2680929.6178 | 1264383.3417
48 | 2680965.1056 | 1264416.5786 | 2680962.5396 | 1264439.8374
49 | 2680962.5166 | 1264440.0453 | 2680962.5396 | 1264439.8374
50 | 2680961.8758 | 1264445.8532 | 2680962.5166 | 1264440.0453
51 | 2680961.8758 | 1264445.8532 | 2680960.9665 | 1264454.0958
52 | 2681151.4341 | 1264381.6533 | 2681153.8552 | 1264396.1484
53 | 2681154.9419 | 1264402.6545 | 2681153.8552 | 1264396.1484
54 | 2681154.9419 | 1264402.6545 | 2681155.4293 | 1264405.5729
55 | 2681155.4293 | 1264405.5729 | 2681157.8508 | 1264420.0707
56 | 2681158.9413 | 1264426.5998 | 2681157.8508 | 1264420.0707
57 | 2681158.9722 | 1264426.7846 | 2681158.9413 | 1264426.5998
58 | 2681129.5329 | 1264397.3195 | 2681132.3764 | 1264415.8338
59 | 2681133.1858 | 1264421.1042 | 2681132.3764 | 1264415.8338
60 | 2681062.6288 | 1264421.4086 | 2681065.7969 | 1264443.2125
61 | 2681065.7969 | 1264443.2125 | 2681065.8869 | 1264443.8318
62 | 2681072.3205 | 1264488.1107 | 2681065.8869 | 1264443.8318
63 | 2681072.3205 | 1264488.1107 | 2681059.9715 | 1264490.6128
64 | 2680959.0056 | 1264471.8691 | 2680960.9665 | 1264454.0958
65 | 2680903.2526 | 1264504.8142 | 2680900.7826 | 1264504.2447
66 | 2680903.2526 | 1264504.8142 | 2680909.9734 | 1264506.3635
67 | 2680884.1523 | 1264503.1237 | 2680893.7395 | 1264502.6211 | 2680900.7826 | 1264504.2447
68 | 2680932.8824 | 1264511.0035 | 2680916.9694 | 1264507.9764 | 2680909.9734 | 1264506.3635
69 | 2680884.1523 | 1264503.1237 | 2680873.2184 | 1264532.3291
70 | 2680935.9941 | 1264511.5954 | 2680932.8824 | 1264511.0035
71 | 2680870.838 | 1264538.9579 | 2680871.3003 | 1264537.4525 | 2680873.2184 | 1264532.3291
72 | 2680954.2541 | 1264514.9365 | 2680938.8899 | 1264512.1463 | 2680935.9941 | 1264511.5954
73 | 2680870.838 | 1264538.9579 | 2680863.7446 | 1264562.0564
74 | 2680954.2541 | 1264514.9365 | 2680952.7443 | 1264528.239
75 | 2680954.2541 | 1264514.9365 | 2680955.5536 | 1264503.1574
76 | 2680959.0056 | 1264471.8691 | 2680958.3677 | 1264477.6509
77 | 2680958.3677 | 1264477.6509 | 2680955.5536 | 1264503.1574
78 | 2680952.7443 | 1264528.239 | 2680950.353 | 1264549.309
79 | 2680950.1117 | 1264551.4347 | 2680950.353 | 1264549.309
80 | 2681079.6322 | 1264538.7283 | 2681125.0936 | 1264511.6663
81 | 2681079.6322 | 1264538.7283 | 2681062.3738 | 1264550.5372
82 | 2681062.3738 | 1264550.5372 | 2681037.9679 | 1264567.2367
83 | 2681037.9679 | 1264567.2367 | 2681015.9824 | 1264582.2801
84 | 2681053.0085 | 1264492.0235 | 2681059.9715 | 1264490.6128
85 | 2681015.9824 | 1264582.2801 | 2680993.7122 | 1264597.5183
86 | 2681053.0085 | 1264492.0235 | 2681043.2692 | 1264493.9968
87 | 2681025.1838 | 1264497.6611 | 2681043.2692 | 1264493.9968
88 | 2680993.7122 | 1264597.5183 | 2680981.0976 | 1264606.1497
89 | 2680963.6678 | 1264617.8014 | 2680979.1967 | 1264607.4504 | 2680981.0976 | 1264606.1497
90 | 2680945.4525 | 1264591.1423 | 2680963.6678 | 1264617.8014
91 | 2680950.1117 | 1264551.4347 | 2680949.1841 | 1264559.6079
92 | 2680948.0314 | 1264569.7636 | 2680949.1841 | 1264559.6079
93 | 2680948.0314 | 1264569.7636 | 2680947.8642 | 1264571.2375 | 2680947.5643 | 1264573.7123
94 | 2680945.4525 | 1264591.1423 | 2680947.5643 | 1264573.7123
95 | 2680945.4525 | 1264591.1423 | 2680936.0963 | 1264608.044
96 | 2680936.0963 | 1264608.044 | 2680934.3704 | 1264611.1618 | 2680921.3707 | 1264632.2445
97 | 2680852.7912 | 1264597.7243 | 2680863.7446 | 1264562.0564
98 | 2680852.7912 | 1264597.7243 | 2680866.7891 | 1264600.6192
99 | 2680844.2818 | 1264633.9585 | 2680845.1981 | 1264622.5844 | 2680852.7912 | 1264597.7243
100 | 2680868.7084 | 1264601.0161 | 2680866.7891 | 1264600.6192
101 | 2680844.2818 | 1264633.9585 | 2680865.0227 | 1264648.3262
102 | 2680868.7084 | 1264601.0161 | 2680883.0204 | 1264603.9759 | 2680889.7066 | 1264604.5089
103 | 2680865.0227 | 1264648.3262 | 2680881.8094 | 1264659.9546
104 | 2680894.4854 | 1264604.8898 | 2680889.7066 | 1264604.5089

## bus_geodata
| x | y | coords
0 | 2681158.0732 | 1264282.9268
1 | 2681159.0654 | 1264304.2028
2 | 2681153.7581 | 1264275.0167
3 | 2681231.721 | 1264272.9053
4 | 2681160.4908 | 1264314.0173
5 | 2681151.4538 | 1264264.5547
6 | 2681230.5616 | 1264254.4399
7 | 2681163.6914 | 1264341.3344
8 | 2681116.5801 | 1264269.6139
9 | 2681121.3739 | 1264312.7017
10 | 2681125.8011 | 1264346.4477
11 | 2681163.4874 | 1264345.3607
12 | 2681078.9792 | 1264275.0688
13 | 2681128.4299 | 1264366.4851
14 | 2681081.5626 | 1264292.3133
15 | 2681086.4019 | 1264324.616
16 | 2681029.2469 | 1264281.5367
17 | 2680997.126 | 1264284.427
18 | 2681023.0154 | 1264294.9521
19 | 2681007.4666 | 1264328.4265
20 | 2681148.1082 | 1264361.7403
21 | 2681124.8477 | 1264366.814
22 | 2681149.7971 | 1264371.8524
23 | 2681094.9572 | 1264364.3842
24 | 2681126.7623 | 1264379.2803
25 | 2681150.8875 | 1264378.3806
26 | 2681088.4859 | 1264363.9019
27 | 2681127.7101 | 1264385.4514
28 | 2681052.0307 | 1264373.2873
29 | 2681057.9805 | 1264389.4166
30 | 2681043.6357 | 1264369.2135
31 | 2681061.7177 | 1264415.1376
32 | 2681017.2342 | 1264365.7768
33 | 2680990.931 | 1264362.3528
34 | 2680964.9938 | 1264360.5073
35 | 2681004.7554 | 1264334.2633
36 | 2680964.8646 | 1264355.6462
37 | 2680965.2868 | 1264383.7348
38 | 2681062.2621 | 1264418.8844
39 | 2680950.5419 | 1264356.0904
40 | 2680965.3007 | 1264384.8318
41 | 2680929.2987 | 1264356.7491
42 | 2680929.4489 | 1264369.2673
43 | 2680929.6178 | 1264383.3417
44 | 2680929.6329 | 1264384.5977
45 | 2680965.1056 | 1264416.5786
46 | 2680962.5396 | 1264439.8374
47 | 2680962.5166 | 1264440.0453
48 | 2680961.8758 | 1264445.8532
49 | 2681151.4341 | 1264381.6533
50 | 2681153.8552 | 1264396.1484
51 | 2681154.9419 | 1264402.6545
52 | 2681155.4293 | 1264405.5729
53 | 2681157.8508 | 1264420.0707
54 | 2681158.9413 | 1264426.5998
55 | 2681158.9722 | 1264426.7846
56 | 2681129.5329 | 1264397.3195
57 | 2681132.3764 | 1264415.8338
58 | 2681133.1858 | 1264421.1042
59 | 2681062.6288 | 1264421.4086
60 | 2681065.7969 | 1264443.2125
61 | 2681065.8869 | 1264443.8318
62 | 2681072.3205 | 1264488.1107
63 | 2680960.9665 | 1264454.0958
64 | 2680903.2526 | 1264504.8142
65 | 2680900.7826 | 1264504.2447
66 | 2680909.9734 | 1264506.3635
67 | 2680884.1523 | 1264503.1237
68 | 2680932.8824 | 1264511.0035
69 | 2680873.2184 | 1264532.3291
70 | 2680935.9941 | 1264511.5954
71 | 2680870.838 | 1264538.9579
72 | 2680954.2541 | 1264514.9365
73 | 2680959.0056 | 1264471.8691
74 | 2680958.3677 | 1264477.6509
75 | 2680955.5536 | 1264503.1574
76 | 2680952.7443 | 1264528.239
77 | 2680950.353 | 1264549.309
78 | 2681125.0936 | 1264511.6663
79 | 2681079.6322 | 1264538.7283
80 | 2681062.3738 | 1264550.5372
81 | 2681037.9679 | 1264567.2367
82 | 2681059.9715 | 1264490.6128
83 | 2681015.9824 | 1264582.2801
84 | 2681053.0085 | 1264492.0235
85 | 2681043.2692 | 1264493.9968
86 | 2681025.1838 | 1264497.6611
87 | 2680993.7122 | 1264597.5183
88 | 2680981.0976 | 1264606.1497
89 | 2680963.6678 | 1264617.8014
90 | 2680950.1117 | 1264551.4347
91 | 2680949.1841 | 1264559.6079
92 | 2680948.0314 | 1264569.7636
93 | 2680947.5643 | 1264573.7123
94 | 2680945.4525 | 1264591.1423
95 | 2680936.0963 | 1264608.044
96 | 2680921.3707 | 1264632.2445
97 | 2680863.7446 | 1264562.0564
98 | 2680852.7912 | 1264597.7243
99 | 2680866.7891 | 1264600.6192
100 | 2680844.2818 | 1264633.9585
101 | 2680868.7084 | 1264601.0161
102 | 2680865.0227 | 1264648.3262
103 | 2680889.7066 | 1264604.5089
104 | 2680881.8094 | 1264659.9546
105 | 2680894.4854 | 1264604.8898
106 | 2681052.0307 | 1264373.2873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1