## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5904-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5904-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5904-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5904-1_0_3_node_96 | 0.4 | n |  | TRUE
4 | bus_LV_5904-1_0_3_node_95 | 0.4 | n |  | TRUE
5 | bus_LV_5904-1_0_3_node_108 | 0.4 | n |  | TRUE
6 | bus_LV_5904-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5904-1_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5904-1_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5904-1_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5904-1_0_3_node_107 | 0.4 | n |  | TRUE
11 | bus_LV_5904-1_0_3_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_5904-1_0_3_node_103 | 0.4 | n |  | TRUE
13 | bus_LV_5904-1_0_3_node_104 | 0.4 | n |  | TRUE
14 | bus_LV_5904-1_0_3_node_101 | 0.4 | n |  | TRUE
15 | bus_LV_5904-1_0_3_node_106 | 0.4 | n |  | TRUE
16 | bus_LV_5904-1_0_3_node_98 | 0.4 | n |  | TRUE
17 | bus_LV_5904-1_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5904-1_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5904-1_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5904-1_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5904-1_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5904-1_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_5904-1_0_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_5904-1_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5904-1_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5904-1_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_5904-1_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_5904-1_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_5904-1_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_5904-1_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5904-1_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5904-1_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5904-1_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5904-1_0_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_5904-1_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5904-1_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5904-1_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_5904-1_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5904-1_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5904-1_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5904-1_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_5904-1_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_5904-1_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_5904-1_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_5904-1_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5904-1_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5904-1_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_5904-1_0_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_5904-1_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5904-1_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_5904-1_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_5904-1_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5904-1_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5904-1_0_3_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_5904-1_0_3_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_5904-1_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5904-1_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5904-1_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5904-1_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5904-1_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5904-1_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5904-1_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5904-1_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5904-1_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5904-1_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5904-1_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5904-1_0_3_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_5904-1_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5904-1_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5904-1_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_5904-1_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_5904-1_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_5904-1_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5904-1_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5904-1_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_5904-1_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5904-1_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_5904-1_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_5904-1_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_5904-1_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5904-1_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_5904-1_0_3_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5904-1_0_3_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_5904-1_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_5904-1_0_3_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_5904-1_0_3_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_5904-1_0_3_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_5904-1_0_3_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_5904-1_0_3_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_5904-1_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5904-1_0_3_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_5904-1_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_5904-1_0_3_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_5904-1_0_3_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_5904-1_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_5904-1_0_3_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_5904-1_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_5904-1_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_5904-1_0_3_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_5904-1_0_3_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_5904-1_0_3_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_5904-1_0_3_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_5904-1_0_3_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_5904-1_0_3_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_5904-1_0_3_node_111 | 0.4 | n |  | TRUE
106 | bus_MV_316_1_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5904-1_0_3_load_0 | 0 | 0.004239 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5904-1_0_3_load_96 | 3 | 0.0029633 | 0.00074267 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5904-1_0_3_load_95 | 4 | 0.0019873 | 0.00049805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5904-1_0_3_load_108 | 5 | 0.011299 | 0.0028318 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5904-1_0_3_load_4 | 9 | 0.011788 | 0.0029544 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5904-1_0_3_load_107 | 10 | 0.0022251 | 0.00055766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5904-1_0_3_load_104 | 13 | 0.0014247 | 0.00035707 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5904-1_0_3_load_98 | 16 | 0.00085706 | 0.0002148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5904-1_0_3_load_8 | 17 | 0.0034477 | 0.00086407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5904-1_0_3_load_9 | 18 | 0.0011061 | 0.00027722 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5904-1_0_3_load_10 | 19 | 0.003646 | 0.00091378 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5904-1_0_3_load_11 | 20 | 0.0015366 | 0.0003851 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5904-1_0_3_load_27 | 22 | 0.001456 | 0.00036491 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5904-1_0_3_load_32 | 24 | 0.0023002 | 0.00057648 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5904-1_0_3_load_39 | 26 | 0.00099613 | 0.00024965 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5904-1_0_3_load_30 | 27 | 0.0030228 | 0.00075759 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5904-1_0_3_load_13 | 28 | 0.0034128 | 0.00085532 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5904-1_0_3_load_14 | 29 | 0.0042987 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5904-1_0_3_load_15 | 30 | 0.0035069 | 0.00087891 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5904-1_0_3_load_17 | 31 | 0.0038862 | 0.00097398 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5904-1_0_3_load_29 | 33 | 0.0030833 | 0.00077274 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5904-1_0_3_load_46 | 34 | 0.0027485 | 0.00068884 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5904-1_0_3_load_34 | 35 | 0.0036056 | 0.00090366 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5904-1_0_3_load_18 | 36 | 0.0014313 | 0.00035873 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5904-1_0_3_load_19 | 37 | 0.0022442 | 0.00056244 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5904-1_0_3_load_20 | 38 | 0.0016166 | 0.00040515 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5904-1_0_3_load_21 | 39 | 0.0020197 | 0.00050618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5904-1_0_3_load_22 | 40 | 0.001645 | 0.00041228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5904-1_0_3_load_35 | 41 | 0.0015303 | 0.00038354 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5904-1_0_3_load_23 | 42 | 0.0024598 | 0.00061648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5904-1_0_3_load_24 | 43 | 0.0029809 | 0.00074707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5904-1_0_3_load_26 | 44 | 0.0034114 | 0.00085497 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5904-1_0_3_load_33 | 45 | 0.0025677 | 0.00064352 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5904-1_0_3_load_31 | 46 | 0.0029933 | 0.00075019 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5904-1_0_3_load_44 | 47 | 0.0025081 | 0.00062859 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5904-1_0_3_load_78 | 48 | 0.0015577 | 0.00039039 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5904-1_0_3_load_37 | 49 | 0.0026884 | 0.00067379 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5904-1_0_3_load_40 | 51 | 0.0036137 | 0.00090568 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5904-1_0_3_load_41 | 52 | 0.0025651 | 0.00064288 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5904-1_0_3_load_42 | 53 | 0.0021169 | 0.00053055 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5904-1_0_3_load_61 | 54 | 0.0028741 | 0.00072032 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5904-1_0_3_load_79 | 55 | 0.0050912 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5904-1_0_3_load_43 | 56 | 0.0020002 | 0.0005013 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5904-1_0_3_load_49 | 58 | 0.0026194 | 0.00065649 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5904-1_0_3_load_48 | 59 | 0.0029554 | 0.00074069 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5904-1_0_3_load_45 | 60 | 0.00090233 | 0.00022615 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5904-1_0_3_load_47 | 61 | 0.0048345 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5904-1_0_3_load_50 | 62 | 0.0052781 | 0.0013228 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5904-1_0_3_load_109 | 67 | 0.0058836 | 0.0014746 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5904-1_0_3_load_59 | 68 | 0.0024585 | 0.00061616 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5904-1_0_3_load_57 | 69 | 0.0028469 | 0.0007135 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5904-1_0_3_load_56 | 70 | 0.0026172 | 0.00065593 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5904-1_0_3_load_58 | 71 | 0.0029766 | 0.00074601 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5904-1_0_3_load_60 | 72 | 0.006073 | 0.001522 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5904-1_0_3_load_70 | 73 | 0.00078185 | 0.00019595 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5904-1_0_3_load_68 | 74 | 0.0023447 | 0.00058764 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5904-1_0_3_load_63 | 75 | 0.0096105 | 0.0024086 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5904-1_0_3_load_64 | 76 | 0.007864 | 0.0019709 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5904-1_0_3_load_65 | 77 | 0.002484 | 0.00062255 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5904-1_0_3_load_67 | 79 | 0.0023495 | 0.00058885 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5904-1_0_3_load_77 | 80 | 0.001575 | 0.00039472 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5904-1_0_3_load_76 | 81 | 0.0019804 | 0.00049634 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5904-1_0_3_load_80 | 82 | 0.0022258 | 0.00055783 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5904-1_0_3_load_86 | 83 | 0.0024685 | 0.00061867 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5904-1_0_3_load_74 | 84 | 0.0026776 | 0.00067107 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5904-1_0_3_load_69 | 85 | 0.0034357 | 0.00086108 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5904-1_0_3_load_71 | 86 | 0.00091069 | 0.00022824 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5904-1_0_3_load_72 | 87 | 0.000706 | 0.00017694 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5904-1_0_3_load_75 | 89 | 0.0022424 | 0.00056199 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5904-1_0_3_load_85 | 90 | 0.0039005 | 0.00097756 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5904-1_0_3_load_84 | 91 | 0.0015968 | 0.0004002 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5904-1_0_3_load_87 | 92 | 0.0022762 | 0.00057048 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5904-1_0_3_load_81 | 93 | 0.00055415 | 0.00013888 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5904-1_0_3_load_82 | 94 | 0.0012585 | 0.00031542 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5904-1_0_3_load_89 | 95 | 0.0054363 | 0.0013625 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5904-1_0_3_load_88 | 96 | 0.0064332 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5904-1_0_3_load_90 | 97 | 0.010191 | 0.002554 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5904-1_0_3_load_91 | 98 | 0.0012506 | 0.00031342 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5904-1_0_3_load_92 | 99 | 0.0038401 | 0.00096242 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5904-1_0_3_load_94 | 101 | 0.0022436 | 0.0005623 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5904-1_0_3_load_100 | 102 | 0.00072675 | 0.00018214 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5904-1_0_3_load_99 | 103 | 0.011858 | 0.0029719 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5904-1_0_3_load_110 | 104 | 0.00090937 | 0.00022791 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5904-1_0_3_load_111 | 105 | 0.0011258 | 0.00028216 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5904-1_0_3_line_0 |  | 0 | 1 | 0.0020487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5904-1_0_3_line_1 |  | 1 | 2 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5904-1_0_3_line_2 |  | 2 | 5 | 0.018995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5904-1_0_3_line_3 |  | 2 | 6 | 0.089012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5904-1_0_3_line_4 |  | 3 | 4 | 0.021475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5904-1_0_3_line_5 |  | 4 | 101 | 0.024063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5904-1_0_3_line_6 |  | 6 | 9 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5904-1_0_3_line_7 |  | 7 | 8 | 0.11249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5904-1_0_3_line_8 |  | 7 | 9 | 0.047477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5904-1_0_3_line_9 |  | 8 | 10 | 0.034116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5904-1_0_3_line_10 |  | 8 | 11 | 0.09227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5904-1_0_3_line_11 |  | 11 | 15 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5904-1_0_3_line_12 |  | 11 | 16 | 0.0085868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5904-1_0_3_line_13 |  | 11 | 12 | 0.035226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5904-1_0_3_line_14 |  | 12 | 13 | 0.056619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5904-1_0_3_line_15 |  | 12 | 14 | 0.063253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5904-1_0_3_line_16 |  | 14 | 103 | 0.050315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5904-1_0_3_line_17 |  | 15 | 104 | 0.025689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5904-1_0_3_line_18 |  | 15 | 105 | 0.004897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5904-1_0_3_line_19 |  | 17 | 18 | 0.001319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5904-1_0_3_line_20 |  | 17 | 19 | 0.014379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5904-1_0_3_line_21 |  | 18 | 20 | 0.0058236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5904-1_0_3_line_22 |  | 19 | 21 | 0.023679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5904-1_0_3_line_23 |  | 20 | 22 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5904-1_0_3_line_24 |  | 21 | 23 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5904-1_0_3_line_25 |  | 21 | 24 | 0.043401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5904-1_0_3_line_26 |  | 22 | 25 | 0.021704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5904-1_0_3_line_27 |  | 23 | 26 | 0.091809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5904-1_0_3_line_28 |  | 24 | 27 | 0.022137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5904-1_0_3_line_29 |  | 25 | 32 | 0.042222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5904-1_0_3_line_30 |  | 25 | 29 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5904-1_0_3_line_31 |  | 26 | 48 | 0.0081673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5904-1_0_3_line_32 |  | 27 | 46 | 0.053208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5904-1_0_3_line_33 |  | 28 | 29 | 0.025915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5904-1_0_3_line_34 |  | 28 | 30 | 0.00014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5904-1_0_3_line_35 |  | 30 | 31 | 0.028471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5904-1_0_3_line_36 |  | 31 | 33 | 0.0048818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5904-1_0_3_line_37 |  | 32 | 34 | 0.0072088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5904-1_0_3_line_38 |  | 33 | 35 | 0.028337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5904-1_0_3_line_39 |  | 34 | 47 | 0.034522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5904-1_0_3_line_40 |  | 35 | 41 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5904-1_0_3_line_41 |  | 36 | 37 | 0.027034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5904-1_0_3_line_42 |  | 36 | 38 | 0.0082522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5904-1_0_3_line_43 |  | 37 | 39 | 0.00027861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5904-1_0_3_line_44 |  | 38 | 40 | 0.0038223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5904-1_0_3_line_45 |  | 40 | 41 | 0.0084856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5904-1_0_3_line_46 |  | 42 | 43 | 0.026947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5904-1_0_3_line_47 |  | 43 | 44 | 0.0096042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5904-1_0_3_line_48 |  | 44 | 45 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5904-1_0_3_line_49 |  | 45 | 46 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5904-1_0_3_line_50 |  | 47 | 60 | 0.0073603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5904-1_0_3_line_51 |  | 48 | 55 | 0.0030577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5904-1_0_3_line_52 |  | 49 | 50 | 0.046463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5904-1_0_3_line_53 |  | 50 | 51 | 0.02776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5904-1_0_3_line_54 |  | 50 | 52 | 0.012831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5904-1_0_3_line_55 |  | 51 | 53 | 0.026868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5904-1_0_3_line_56 |  | 52 | 54 | 0.02416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5904-1_0_3_line_57 |  | 53 | 56 | 0.0055181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5904-1_0_3_line_58 |  | 54 | 57 | 0.052375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5904-1_0_3_line_59 |  | 55 | 82 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5904-1_0_3_line_60 |  | 56 | 58 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5904-1_0_3_line_61 |  | 57 | 64 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5904-1_0_3_line_62 |  | 58 | 59 | 0.0062303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5904-1_0_3_line_63 |  | 59 | 61 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5904-1_0_3_line_64 |  | 60 | 61 | 0.0012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5904-1_0_3_line_65 |  | 62 | 63 | 0.074079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5904-1_0_3_line_66 |  | 62 | 64 | 0.028994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5904-1_0_3_line_67 |  | 63 | 65 | 0.027303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5904-1_0_3_line_68 |  | 64 | 66 | 0.009403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5904-1_0_3_line_69 |  | 65 | 67 | 0.092934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5904-1_0_3_line_70 |  | 66 | 68 | 0.013677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5904-1_0_3_line_71 |  | 68 | 69 | 0.016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5904-1_0_3_line_72 |  | 69 | 70 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5904-1_0_3_line_73 |  | 70 | 71 | 0.014924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5904-1_0_3_line_74 |  | 71 | 72 | 0.016426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5904-1_0_3_line_75 |  | 73 | 74 | 0.019517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5904-1_0_3_line_76 |  | 74 | 85 | 0.0054671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5904-1_0_3_line_77 |  | 75 | 76 | 0.037681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_5904-1_0_3_line_78 |  | 75 | 77 | 0.011524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5904-1_0_3_line_79 |  | 76 | 78 | 0.0072751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_5904-1_0_3_line_80 |  | 77 | 79 | 0.0073569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_5904-1_0_3_line_81 |  | 78 | 80 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_5904-1_0_3_line_82 |  | 78 | 81 | 0.014463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5904-1_0_3_line_83 |  | 79 | 82 | 0.0028675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_5904-1_0_3_line_84 |  | 80 | 83 | 0.0048803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_5904-1_0_3_line_85 |  | 81 | 84 | 0.0070514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5904-1_0_3_line_86 |  | 83 | 92 | 0.0060996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_5904-1_0_3_line_87 |  | 84 | 89 | 0.013293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5904-1_0_3_line_88 |  | 85 | 86 | 0.016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5904-1_0_3_line_89 |  | 86 | 87 | 0.0035267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5904-1_0_3_line_90 |  | 87 | 88 | 0.032406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5904-1_0_3_line_91 |  | 88 | 89 | 0.0070119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5904-1_0_3_line_92 |  | 88 | 90 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5904-1_0_3_line_93 |  | 90 | 91 | 0.029992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5904-1_0_3_line_94 |  | 91 | 94 | 0.0074693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5904-1_0_3_line_95 |  | 92 | 95 | 0.010838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_5904-1_0_3_line_96 |  | 93 | 94 | 0.0087248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5904-1_0_3_line_97 |  | 95 | 96 | 0.0070063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_5904-1_0_3_line_98 |  | 96 | 97 | 0.013336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_5904-1_0_3_line_99 |  | 97 | 98 | 0.0031515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_5904-1_0_3_line_100 |  | 98 | 99 | 0.0091925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_5904-1_0_3_line_101 |  | 99 | 100 | 0.014587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
102 | LV_5904-1_0_3_line_102 |  | 100 | 101 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5904-1_0_3_line_103 |  | 100 | 102 | 0.098317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_5904-1_0_3_line_104 |  | 102 | 103 | 0.081407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5904-1_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 106 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2535715.9823 | 1181132.4627 | 2535714.1958 | 1181131.4599
1 | 2535726.5248 | 1181138.3973 | 2535715.9823 | 1181132.4627
2 | 2535726.5248 | 1181138.3973 | 2535735.4407 | 1181121.6142
3 | 2535726.5248 | 1181138.3973 | 2535741.1179 | 1181146.7231 | 2535750.6405 | 1181136.6373 | 2535752.5051 | 1181133.8935 | 2535753.923 | 1181131.5103 | 2535760.8409 | 1181119.9739 | 2535762.28 | 1181117.4348 | 2535763.8011 | 1181114.7058 | 2535772.0958 | 1181100.5087 | 2535774.3984 | 1181096.5817 | 2535780.0925 | 1181086.2926
4 | 2536169.3605 | 1181103.1759 | 2536155.114 | 1181087.1071
5 | 2536185.5148 | 1181121.0073 | 2536179.8915 | 1181115.054 | 2536169.3605 | 1181103.1759
6 | 2535780.0925 | 1181086.2926 | 2535793.8252 | 1181094.5433
7 | 2535942.7198 | 1181086.2828 | 2535851.0616 | 1181112.6908 | 2535834.7126 | 1181118.6695
8 | 2535834.7126 | 1181118.6695 | 2535810.9881 | 1181104.9384 | 2535801.4167 | 1181099.1044 | 2535793.8252 | 1181094.5433
9 | 2535922.9413 | 1181062.3143 | 2535938 | 1181069.9018 | 2535941.9874 | 1181078.5196 | 2535942.7198 | 1181086.2828
10 | 2535942.7198 | 1181086.2828 | 2535949.5409 | 1181084.2087 | 2535962.9727 | 1181078.2504 | 2535970.5124 | 1181073.3892 | 2536006.7797 | 1181099.4494 | 2536016.4471 | 1181105.7051 | 2536018.3698 | 1181106.9519 | 2536021.2582 | 1181107.7993
11 | 2536021.2582 | 1181107.7993 | 2536020.2942 | 1181114.0687 | 2536017.3641 | 1181122.1713
12 | 2536021.2582 | 1181107.7993 | 2536025.7634 | 1181109.1297 | 2536029.4932 | 1181110.2318
13 | 2536021.2582 | 1181107.7993 | 2536018.3698 | 1181106.9519 | 2536016.4471 | 1181105.7051 | 2536006.7797 | 1181099.4494 | 2536001.1394 | 1181106.2358 | 2535997.2017 | 1181108.6793 | 2535992.3063 | 1181109.4209
14 | 2535992.3063 | 1181109.4209 | 2535965.473 | 1181109.1857 | 2535950.464 | 1181107.6454 | 2535936.0108 | 1181104.9795
15 | 2536029.1541 | 1181154.0856 | 2535999.9147 | 1181132.3859 | 2535994.5271 | 1181128.5303 | 2535991.9706 | 1181125.1557 | 2535990.5361 | 1181118.8564 | 2535992.3063 | 1181109.4209
16 | 2536029.1541 | 1181154.0856 | 2536056.046 | 1181171.9639 | 2536067.1071 | 1181178.5828 | 2536071.6846 | 1181180.9047
17 | 2536017.3641 | 1181122.1713 | 2536041.3767 | 1181131.4755
18 | 2536012.8004 | 1181120.3635 | 2536017.3641 | 1181122.1713
19 | 2536216.5207 | 1180908.3403 | 2536216.1557 | 1180908.9059 | 2536215.808 | 1180909.4502
20 | 2536208.0676 | 1180921.5679 | 2536215.808 | 1180909.4502
21 | 2536216.5207 | 1180908.3403 | 2536219.6783 | 1180903.4471
22 | 2536194.6702 | 1180941.0865 | 2536204.5867 | 1180927.0173 | 2536208.0676 | 1180921.5679
23 | 2536219.6783 | 1180903.4471 | 2536220.6489 | 1180901.9429 | 2536227.3203 | 1180891.5326 | 2536227.3635 | 1180891.4108
24 | 2536198.1334 | 1180957.1476 | 2536194.6702 | 1180941.0865
25 | 2536194.6702 | 1180941.0865 | 2536188.3633 | 1180931.9597 | 2536176.6686 | 1180916.0976 | 2536169.3724 | 1180905.8255
26 | 2536232.4802 | 1180870.4545 | 2536232.2005 | 1180874.3042 | 2536231.1539 | 1180880.7301 | 2536227.3635 | 1180891.4108
27 | 2536198.1334 | 1180957.1476 | 2536203.9512 | 1180985.5906 | 2536209.6524 | 1180999.5155 | 2536217.3937 | 1181011.3842 | 2536223.2946 | 1181020.4042 | 2536230.6242 | 1181032.3439 | 2536234.2665 | 1181040.323
28 | 2536156.3641 | 1180887.9205 | 2536159.0585 | 1180891.3047 | 2536169.3724 | 1180905.8255
29 | 2536236.5251 | 1180828.5988 | 2536236.104 | 1180835.674 | 2536235.5144 | 1180857.0257 | 2536232.4802 | 1180870.4545
30 | 2536232.4802 | 1180870.4545 | 2536229.4588 | 1180864.3055 | 2536225.039 | 1180859.843
31 | 2536237.6581 | 1181047.7529 | 2536234.2665 | 1181040.323
32 | 2536156.3641 | 1180887.9205 | 2536123.6093 | 1180846.78 | 2536123.204 | 1180846.3101
33 | 2536225.039 | 1180859.843 | 2536219.7612 | 1180854.5144 | 2536211.0816 | 1180846.3578 | 2536206.7007 | 1180841.5502
34 | 2536206.7007 | 1180841.5502 | 2536206.6007 | 1180841.4406
35 | 2536206.6007 | 1180841.4406 | 2536204.7907 | 1180839.4543 | 2536200.0872 | 1180834.5795 | 2536190.8826 | 1180825.8949 | 2536186.4755 | 1180821.3165
36 | 2536183.0594 | 1180817.8291 | 2536185.2367 | 1180820.0295 | 2536186.4755 | 1180821.3165
37 | 2536236.5251 | 1180828.5988 | 2536242.2559 | 1180832.4066 | 2536242.4944 | 1180832.6321
38 | 2536183.0594 | 1180817.8291 | 2536174.0795 | 1180808.7532 | 2536172.6285 | 1180806.6231 | 2536165.5462 | 1180799.2833 | 2536163.5267 | 1180797.3552
39 | 2536267.1142 | 1180856.8247 | 2536254.0995 | 1180843.609 | 2536242.4944 | 1180832.6321
40 | 2536148.7483 | 1180782.9343 | 2536154.7082 | 1180788.5818 | 2536158.0611 | 1180792.1369 | 2536163.5267 | 1180797.3552
41 | 2536134.5247 | 1180768.0892 | 2536126.9307 | 1180760.1398 | 2536115.1885 | 1180749.2125
42 | 2536140.225 | 1180774.0563 | 2536134.5247 | 1180768.0892
43 | 2536115.1885 | 1180749.2125 | 2536114.9845 | 1180749.0227
44 | 2536142.8653 | 1180776.8201 | 2536140.225 | 1180774.0563
45 | 2536148.7483 | 1180782.9343 | 2536148.3039 | 1180782.5133 | 2536142.8653 | 1180776.8201
46 | 2536089.6102 | 1180812.7738 | 2536079.3627 | 1180803.161 | 2536075.5293 | 1180799.6666 | 2536070.0486 | 1180794.2444
47 | 2536096.6148 | 1180819.3446 | 2536089.6102 | 1180812.7738
48 | 2536096.6148 | 1180819.3446 | 2536097.7482 | 1180820.4078 | 2536109.4089 | 1180831.3392
49 | 2536123.204 | 1180846.3101 | 2536117.6234 | 1180839.8399 | 2536113.4486 | 1180835.1263 | 2536109.4089 | 1180831.3392
50 | 2536267.1142 | 1180856.8247 | 2536272.2787 | 1180862.069
51 | 2536237.6581 | 1181047.7529 | 2536238.9278 | 1181050.5345
52 | 2536304.3627 | 1180955.3149 | 2536291.3979 | 1180948.538 | 2536280.8004 | 1180946.016 | 2536267.0897 | 1180943.783 | 2536260.0541 | 1180944.2193
53 | 2536304.3627 | 1180955.3149 | 2536304.193 | 1180927.5553
54 | 2536304.3627 | 1180955.3149 | 2536315.3927 | 1180961.8706
55 | 2536304.193 | 1180927.5553 | 2536304.1466 | 1180919.9638 | 2536304.5047 | 1180902.6724 | 2536304.1692 | 1180900.7201
56 | 2536336.1614 | 1180974.2145 | 2536315.3927 | 1180961.8706
57 | 2536303.2345 | 1180895.2818 | 2536303.2345 | 1180895.2818 | 2536304.1692 | 1180900.7201
58 | 2536380.8039 | 1181001.5169 | 2536378.3604 | 1180999.4083 | 2536349.9352 | 1180982.4009 | 2536336.1614 | 1180974.2145
59 | 2536248.4428 | 1181070.8232 | 2536239.0936 | 1181050.8976 | 2536238.9278 | 1181050.5345
60 | 2536303.2345 | 1180895.2818 | 2536295.3078 | 1180884.6601 | 2536295.2052 | 1180884.5596
61 | 2536405.7097 | 1180999.2953 | 2536386.38 | 1180999.4119 | 2536380.8039 | 1181001.5169
62 | 2536290.7543 | 1180880.1998 | 2536295.2052 | 1180884.5596
63 | 2536290.7543 | 1180880.1998 | 2536287.1341 | 1180876.6537 | 2536284.0355 | 1180874.0074 | 2536273.1601 | 1180862.9641
64 | 2536272.2787 | 1180862.069 | 2536273.1601 | 1180862.9641
65 | 2536508.7466 | 1181001.8693 | 2536473.8071 | 1181001.4177 | 2536434.6899 | 1181000.1985
66 | 2536405.7097 | 1180999.2953 | 2536434.6899 | 1181000.1985
67 | 2536508.7466 | 1181001.8693 | 2536508.8467 | 1181006.2597 | 2536508.3218 | 1181025.1648 | 2536509.0129 | 1181029.1042
68 | 2536405.2586 | 1180989.9059 | 2536405.7097 | 1180999.2953
69 | 2536424.2299 | 1181022.8897 | 2536444.055 | 1181011.1725 | 2536448.2159 | 1181009.5829 | 2536452.4087 | 1181008.838 | 2536458.4409 | 1181008.6849 | 2536466.1528 | 1181009.2034 | 2536472.2263 | 1181010.0727 | 2536477.0011 | 1181011.6229 | 2536488.0137 | 1181017.287 | 2536503.7386 | 1181026.5476 | 2536509.0129 | 1181029.1042
70 | 2536405.2586 | 1180989.9059 | 2536399.7088 | 1180982.9943 | 2536396.0635 | 1180979.8517
71 | 2536396.0635 | 1180979.8517 | 2536383.3291 | 1180968.8734
72 | 2536374.7446 | 1180961.3626 | 2536379.8366 | 1180965.8625 | 2536383.3291 | 1180968.8734
73 | 2536374.7446 | 1180961.3626 | 2536363.5617 | 1180951.4799
74 | 2536351.4207 | 1180940.4169 | 2536360.8925 | 1180949.1211 | 2536363.5617 | 1180951.4799
75 | 2536356.6611 | 1181111.3089 | 2536359.6763 | 1181111.1704 | 2536363.637 | 1181107.2816 | 2536370.3039 | 1181098.5974
76 | 2536356.6611 | 1181111.3089 | 2536351.1998 | 1181111.5599
77 | 2536258.2264 | 1181090.2386 | 2536266.8515 | 1181106.3444 | 2536275.126 | 1181117.3737 | 2536279.8926 | 1181120.357
78 | 2536258.2264 | 1181090.2386 | 2536252.7858 | 1181080.0794
79 | 2536286.0594 | 1181124.2167 | 2536279.8926 | 1181120.357
80 | 2536249.6608 | 1181073.4192 | 2536252.7858 | 1181080.0794 | 2536252.7858 | 1181080.0794
81 | 2536286.0594 | 1181124.2167 | 2536267.0116 | 1181127.5125
82 | 2536286.0594 | 1181124.2167 | 2536297.5207 | 1181133.0377
83 | 2536248.4428 | 1181070.8232 | 2536249.6608 | 1181073.4192
84 | 2536267.0116 | 1181127.5125 | 2536262.2027 | 1181128.3446
85 | 2536303.1087 | 1181137.3384 | 2536297.5207 | 1181133.0377
86 | 2536262.2027 | 1181128.3446 | 2536256.1924 | 1181129.3845
87 | 2536303.1087 | 1181137.3384 | 2536313.6432 | 1181145.4462
88 | 2536337.8837 | 1181118.0233 | 2536341.4162 | 1181112.0095 | 2536351.1998 | 1181111.5599
89 | 2536337.8837 | 1181118.0233 | 2536336.0975 | 1181121.0642
90 | 2536319.6842 | 1181149.0062 | 2536336.0975 | 1181121.0642
91 | 2536319.6842 | 1181149.0062 | 2536313.6432 | 1181145.4462
92 | 2536319.6842 | 1181149.0062 | 2536326.5168 | 1181153.0358 | 2536332.3725 | 1181154.9746 | 2536332.9857 | 1181155.0954
93 | 2536362.4452 | 1181160.7069 | 2536356.6725 | 1181159.7632 | 2536332.9857 | 1181155.0954
94 | 2536369.8166 | 1181161.9118 | 2536362.4452 | 1181160.7069
95 | 2536256.1924 | 1181129.3845 | 2536245.5254 | 1181131.2302 | 2536245.513 | 1181131.2322
96 | 2536378.4272 | 1181163.3194 | 2536369.8166 | 1181161.9118
97 | 2536238.5967 | 1181132.3516 | 2536245.513 | 1181131.2322
98 | 2536238.5967 | 1181132.3516 | 2536232.0684 | 1181133.4081 | 2536225.3511 | 1181133.676
99 | 2536222.2021 | 1181133.8015 | 2536225.3511 | 1181133.676
100 | 2536213.0165 | 1181134.1564 | 2536216.4639 | 1181134.0303 | 2536222.2021 | 1181133.8015
101 | 2536198.4387 | 1181134.6895 | 2536213.0165 | 1181134.1564
102 | 2536198.4387 | 1181134.6895 | 2536185.5148 | 1181121.0073
103 | 2536198.4387 | 1181134.6895 | 2536144.654 | 1181216.9906
104 | 2536071.6846 | 1181180.9047 | 2536095.6349 | 1181193.053 | 2536144.654 | 1181216.9906

## bus_geodata
| x | y | coords
0 | 2535714.1958 | 1181131.4599
1 | 2535715.9823 | 1181132.4627
2 | 2535726.5248 | 1181138.3973
3 | 2536155.114 | 1181087.1071
4 | 2536169.3605 | 1181103.1759
5 | 2535735.4407 | 1181121.6142
6 | 2535780.0925 | 1181086.2926
7 | 2535834.7126 | 1181118.6695
8 | 2535942.7198 | 1181086.2828
9 | 2535793.8252 | 1181094.5433
10 | 2535922.9413 | 1181062.3143
11 | 2536021.2582 | 1181107.7993
12 | 2535992.3063 | 1181109.4209
13 | 2535936.0108 | 1181104.9795
14 | 2536029.1541 | 1181154.0856
15 | 2536017.3641 | 1181122.1713
16 | 2536029.4932 | 1181110.2318
17 | 2536215.808 | 1180909.4502
18 | 2536216.5207 | 1180908.3403
19 | 2536208.0676 | 1180921.5679
20 | 2536219.6783 | 1180903.4471
21 | 2536194.6702 | 1180941.0865
22 | 2536227.3635 | 1180891.4108
23 | 2536198.1334 | 1180957.1476
24 | 2536169.3724 | 1180905.8255
25 | 2536232.4802 | 1180870.4545
26 | 2536234.2665 | 1181040.323
27 | 2536156.3641 | 1180887.9205
28 | 2536206.7007 | 1180841.5502
29 | 2536225.039 | 1180859.843
30 | 2536206.6007 | 1180841.4406
31 | 2536186.4755 | 1180821.3165
32 | 2536236.5251 | 1180828.5988
33 | 2536183.0594 | 1180817.8291
34 | 2536242.4944 | 1180832.6321
35 | 2536163.5267 | 1180797.3552
36 | 2536134.5247 | 1180768.0892
37 | 2536115.1885 | 1180749.2125
38 | 2536140.225 | 1180774.0563
39 | 2536114.9845 | 1180749.0227
40 | 2536142.8653 | 1180776.8201
41 | 2536148.7483 | 1180782.9343
42 | 2536070.0486 | 1180794.2444
43 | 2536089.6102 | 1180812.7738
44 | 2536096.6148 | 1180819.3446
45 | 2536109.4089 | 1180831.3392
46 | 2536123.204 | 1180846.3101
47 | 2536267.1142 | 1180856.8247
48 | 2536237.6581 | 1181047.7529
49 | 2536260.0541 | 1180944.2193
50 | 2536304.3627 | 1180955.3149
51 | 2536304.193 | 1180927.5553
52 | 2536315.3927 | 1180961.8706
53 | 2536304.1692 | 1180900.7201
54 | 2536336.1614 | 1180974.2145
55 | 2536238.9278 | 1181050.5345
56 | 2536303.2345 | 1180895.2818
57 | 2536380.8039 | 1181001.5169
58 | 2536295.2052 | 1180884.5596
59 | 2536290.7543 | 1180880.1998
60 | 2536272.2787 | 1180862.069
61 | 2536273.1601 | 1180862.9641
62 | 2536434.6899 | 1181000.1985
63 | 2536508.7466 | 1181001.8693
64 | 2536405.7097 | 1180999.2953
65 | 2536509.0129 | 1181029.1042
66 | 2536405.2586 | 1180989.9059
67 | 2536424.2299 | 1181022.8897
68 | 2536396.0635 | 1180979.8517
69 | 2536383.3291 | 1180968.8734
70 | 2536374.7446 | 1180961.3626
71 | 2536363.5617 | 1180951.4799
72 | 2536351.4207 | 1180940.4169
73 | 2536370.3039 | 1181098.5974
74 | 2536356.6611 | 1181111.3089
75 | 2536258.2264 | 1181090.2386
76 | 2536279.8926 | 1181120.357
77 | 2536252.7858 | 1181080.0794
78 | 2536286.0594 | 1181124.2167
79 | 2536249.6608 | 1181073.4192
80 | 2536267.0116 | 1181127.5125
81 | 2536297.5207 | 1181133.0377
82 | 2536248.4428 | 1181070.8232
83 | 2536262.2027 | 1181128.3446
84 | 2536303.1087 | 1181137.3384
85 | 2536351.1998 | 1181111.5599
86 | 2536337.8837 | 1181118.0233
87 | 2536336.0975 | 1181121.0642
88 | 2536319.6842 | 1181149.0062
89 | 2536313.6432 | 1181145.4462
90 | 2536332.9857 | 1181155.0954
91 | 2536362.4452 | 1181160.7069
92 | 2536256.1924 | 1181129.3845
93 | 2536378.4272 | 1181163.3194
94 | 2536369.8166 | 1181161.9118
95 | 2536245.513 | 1181131.2322
96 | 2536238.5967 | 1181132.3516
97 | 2536225.3511 | 1181133.676
98 | 2536222.2021 | 1181133.8015
99 | 2536213.0165 | 1181134.1564
100 | 2536198.4387 | 1181134.6895
101 | 2536185.5148 | 1181121.0073
102 | 2536144.654 | 1181216.9906
103 | 2536071.6846 | 1181180.9047
104 | 2536041.3767 | 1181131.4755
105 | 2536012.8004 | 1181120.3635
106 | 2536194.6702 | 1180941.0865

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1