## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5905-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5905-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5905-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5905-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5905-1_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5905-1_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5905-1_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5905-1_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5905-1_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5905-1_0_4_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_5905-1_0_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_5905-1_0_4_node_281 | 0.4 | n |  | TRUE
12 | bus_LV_5905-1_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5905-1_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5905-1_0_4_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_5905-1_0_4_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_5905-1_0_4_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_5905-1_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_5905-1_0_4_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_5905-1_0_4_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_5905-1_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_5905-1_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_5905-1_0_4_node_280 | 0.4 | n |  | TRUE
23 | bus_LV_5905-1_0_4_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_5905-1_0_4_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_5905-1_0_4_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_5905-1_0_4_node_285 | 0.4 | n |  | TRUE
27 | bus_LV_5905-1_0_4_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_5905-1_0_4_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_5905-1_0_4_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_5905-1_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_5905-1_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_5905-1_0_4_node_105 | 0.4 | n |  | TRUE
33 | bus_LV_5905-1_0_4_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_5905-1_0_4_node_107 | 0.4 | n |  | TRUE
35 | bus_LV_5905-1_0_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_5905-1_0_4_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_5905-1_0_4_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_5905-1_0_4_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_5905-1_0_4_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_5905-1_0_4_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_5905-1_0_4_node_114 | 0.4 | n |  | TRUE
42 | bus_LV_5905-1_0_4_node_112 | 0.4 | n |  | TRUE
43 | bus_LV_5905-1_0_4_node_111 | 0.4 | n |  | TRUE
44 | bus_LV_5905-1_0_4_node_113 | 0.4 | n |  | TRUE
45 | bus_LV_5905-1_0_4_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_5905-1_0_4_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_5905-1_0_4_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_5905-1_0_4_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_5905-1_0_4_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_5905-1_0_4_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_5905-1_0_4_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_5905-1_0_4_node_136 | 0.4 | n |  | TRUE
53 | bus_LV_5905-1_0_4_node_293 | 0.4 | n |  | TRUE
54 | bus_LV_5905-1_0_4_node_131 | 0.4 | n |  | TRUE
55 | bus_LV_5905-1_0_4_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_5905-1_0_4_node_94 | 0.4 | n |  | TRUE
57 | bus_LV_5905-1_0_4_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_5905-1_0_4_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_5905-1_0_4_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_5905-1_0_4_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_5905-1_0_4_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_5905-1_0_4_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_5905-1_0_4_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_5905-1_0_4_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_5905-1_0_4_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_5905-1_0_4_node_116 | 0.4 | n |  | TRUE
67 | bus_LV_5905-1_0_4_node_125 | 0.4 | n |  | TRUE
68 | bus_LV_5905-1_0_4_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_5905-1_0_4_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_5905-1_0_4_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_5905-1_0_4_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_5905-1_0_4_node_133 | 0.4 | n |  | TRUE
73 | bus_LV_5905-1_0_4_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_5905-1_0_4_node_127 | 0.4 | n |  | TRUE
75 | bus_LV_5905-1_0_4_node_118 | 0.4 | n |  | TRUE
76 | bus_LV_5905-1_0_4_node_119 | 0.4 | n |  | TRUE
77 | bus_LV_5905-1_0_4_node_129 | 0.4 | n |  | TRUE
78 | bus_LV_5905-1_0_4_node_123 | 0.4 | n |  | TRUE
79 | bus_LV_5905-1_0_4_node_128 | 0.4 | n |  | TRUE
80 | bus_LV_5905-1_0_4_node_134 | 0.4 | n |  | TRUE
81 | bus_LV_5905-1_0_4_node_124 | 0.4 | n |  | TRUE
82 | bus_LV_5905-1_0_4_node_287 | 0.4 | n |  | TRUE
83 | bus_LV_5905-1_0_4_node_139 | 0.4 | n |  | TRUE
84 | bus_LV_5905-1_0_4_node_130 | 0.4 | n |  | TRUE
85 | bus_LV_5905-1_0_4_node_132 | 0.4 | n |  | TRUE
86 | bus_LV_5905-1_0_4_node_137 | 0.4 | n |  | TRUE
87 | bus_LV_5905-1_0_4_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_5905-1_0_4_node_225 | 0.4 | n |  | TRUE
89 | bus_LV_5905-1_0_4_node_226 | 0.4 | n |  | TRUE
90 | bus_LV_5905-1_0_4_node_284 | 0.4 | n |  | TRUE
91 | bus_LV_5905-1_0_4_node_278 | 0.4 | n |  | TRUE
92 | bus_LV_5905-1_0_4_node_279 | 0.4 | n |  | TRUE
93 | bus_LV_5905-1_0_4_node_282 | 0.4 | n |  | TRUE
94 | bus_LV_5905-1_0_4_node_283 | 0.4 | n |  | TRUE
95 | bus_MV_316_1_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5905-1_0_4_load_0 | 0 | 0.0011102 | 0.00027825 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5905-1_0_4_load_3 | 3 | 0.0013588 | 0.00034055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5905-1_0_4_load_4 | 5 | 0.0015961 | 0.00040001 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5905-1_0_4_load_9 | 6 | 0.0060176 | 0.0015082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5905-1_0_4_load_5 | 7 | 0.0006064 | 0.00015198 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5905-1_0_4_load_281 | 11 | 0.0015856 | 0.0003974 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5905-1_0_4_load_8 | 12 | 0.0033499 | 0.00083957 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5905-1_0_4_load_10 | 13 | 0.00032296 | 8.0941e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5905-1_0_4_load_55 | 14 | 0.00025314 | 6.3442e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5905-1_0_4_load_57 | 15 | 0.0016135 | 0.00040438 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5905-1_0_4_load_58 | 16 | 0.0010881 | 0.00027269 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5905-1_0_4_load_64 | 18 | 0.0005291 | 0.00013261 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5905-1_0_4_load_66 | 19 | 0.00087866 | 0.00022021 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5905-1_0_4_load_69 | 21 | 0.00025767 | 6.4579e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5905-1_0_4_load_68 | 23 | 0.0060113 | 0.0015066 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5905-1_0_4_load_70 | 24 | 0.003932 | 0.00098544 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5905-1_0_4_load_71 | 25 | 0.0050961 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5905-1_0_4_load_285 | 26 | 0.0080815 | 0.0020254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5905-1_0_4_load_77 | 27 | 0.0019053 | 0.0004775 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5905-1_0_4_load_78 | 28 | 0.00087842 | 0.00022015 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5905-1_0_4_load_79 | 29 | 0.0016594 | 0.00041589 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5905-1_0_4_load_80 | 30 | 0.0011166 | 0.00027985 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5905-1_0_4_load_105 | 32 | 0.00071729 | 0.00017977 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5905-1_0_4_load_110 | 33 | 0.0018847 | 0.00047234 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5905-1_0_4_load_107 | 34 | 0.0013602 | 0.00034089 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5905-1_0_4_load_82 | 35 | 0.0034944 | 0.00087577 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5905-1_0_4_load_83 | 37 | 0.0034572 | 0.00086645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5905-1_0_4_load_87 | 40 | 0.0034814 | 0.00087253 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5905-1_0_4_load_114 | 41 | 0.0019504 | 0.00048883 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5905-1_0_4_load_112 | 42 | 0.0011725 | 0.00029387 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5905-1_0_4_load_113 | 44 | 0.0020454 | 0.00051263 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5905-1_0_4_load_120 | 45 | 0.0016392 | 0.00041083 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5905-1_0_4_load_88 | 46 | 0.0073758 | 0.0018485 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5905-1_0_4_load_89 | 47 | 0.0035469 | 0.00088895 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5905-1_0_4_load_93 | 51 | 0.00073859 | 0.00018511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5905-1_0_4_load_136 | 52 | 0.00027781 | 6.9626e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5905-1_0_4_load_293 | 53 | 0.0019986 | 0.00050089 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5905-1_0_4_load_115 | 55 | 0.0008212 | 0.00020581 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5905-1_0_4_load_94 | 56 | 0.00080245 | 0.00020111 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5905-1_0_4_load_95 | 57 | 0.006325 | 0.0015852 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5905-1_0_4_load_98 | 60 | 0.003813 | 0.00095562 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5905-1_0_4_load_121 | 61 | 0.0014914 | 0.00037378 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5905-1_0_4_load_99 | 63 | 0.00048738 | 0.00012215 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5905-1_0_4_load_100 | 64 | 0.0029382 | 0.00073639 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5905-1_0_4_load_125 | 67 | 0.0029394 | 0.00073669 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5905-1_0_4_load_103 | 68 | 0.0011295 | 0.00028308 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5905-1_0_4_load_104 | 69 | 0.0016579 | 0.00041551 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5905-1_0_4_load_106 | 70 | 0.00079555 | 0.00019938 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5905-1_0_4_load_108 | 71 | 0.0011157 | 0.00027963 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5905-1_0_4_load_133 | 72 | 0.0013624 | 0.00034144 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5905-1_0_4_load_117 | 73 | 0.00049134 | 0.00012314 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5905-1_0_4_load_127 | 74 | 0.0036486 | 0.00091442 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5905-1_0_4_load_118 | 75 | 0.00027813 | 6.9706e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5905-1_0_4_load_129 | 77 | 0.0029383 | 0.00073642 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5905-1_0_4_load_134 | 80 | 0.0040065 | 0.0010041 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5905-1_0_4_load_124 | 81 | 0.0015912 | 0.00039879 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5905-1_0_4_load_287 | 82 | 0.011937 | 0.0029918 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5905-1_0_4_load_130 | 84 | 0.0011748 | 0.00029444 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5905-1_0_4_load_137 | 86 | 0.052805 | 0.013234 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5905-1_0_4_load_138 | 87 | 0.0038606 | 0.00096755 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5905-1_0_4_load_225 | 88 | 0.00084828 | 0.0002126 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5905-1_0_4_load_226 | 89 | 0.001353 | 0.00033909 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5905-1_0_4_load_284 | 90 | 0.0021046 | 0.00052746 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5905-1_0_4_load_278 | 91 | 0.00067153 | 0.0001683 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5905-1_0_4_load_279 | 92 | 0.00046968 | 0.00011771 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5905-1_0_4_load_282 | 93 | 0.00059364 | 0.00014878 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5905-1_0_4_load_283 | 94 | 0.00068152 | 0.00017081 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5905-1_0_4_line_0 |  | 0 | 1 | 0.045817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5905-1_0_4_line_1 |  | 1 | 2 | 0.058943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5905-1_0_4_line_2 |  | 1 | 3 | 0.052073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5905-1_0_4_line_3 |  | 2 | 4 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5905-1_0_4_line_4 |  | 2 | 5 | 0.075257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5905-1_0_4_line_5 |  | 3 | 6 | 0.022658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5905-1_0_4_line_6 |  | 4 | 10 | 0.029758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5905-1_0_4_line_7 |  | 4 | 11 | 0.040592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5905-1_0_4_line_8 |  | 5 | 7 | 0.019141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5905-1_0_4_line_9 |  | 6 | 12 | 0.00057911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5905-1_0_4_line_10 |  | 7 | 8 | 0.094139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5905-1_0_4_line_11 |  | 8 | 9 | 0.39715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5905-1_0_4_line_12 |  | 9 | 63 | 0.08153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5905-1_0_4_line_13 |  | 10 | 16 | 0.023963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5905-1_0_4_line_14 |  | 10 | 14 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5905-1_0_4_line_15 |  | 11 | 93 | 0.018662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5905-1_0_4_line_16 |  | 12 | 13 | 0.01411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5905-1_0_4_line_17 |  | 14 | 15 | 0.0068325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5905-1_0_4_line_18 |  | 16 | 17 | 0.0022182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5905-1_0_4_line_19 |  | 17 | 20 | 0.023438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5905-1_0_4_line_20 |  | 17 | 18 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5905-1_0_4_line_21 |  | 18 | 19 | 0.023595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5905-1_0_4_line_22 |  | 20 | 21 | 0.014209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5905-1_0_4_line_23 |  | 20 | 22 | 0.002915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5905-1_0_4_line_24 |  | 21 | 23 | 0.043455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5905-1_0_4_line_25 |  | 22 | 88 | 0.034815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5905-1_0_4_line_26 |  | 22 | 91 | 0.017712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5905-1_0_4_line_27 |  | 23 | 24 | 0.0050114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5905-1_0_4_line_28 |  | 24 | 25 | 0.01016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5905-1_0_4_line_29 |  | 25 | 26 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5905-1_0_4_line_30 |  | 26 | 90 | 0.0054608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5905-1_0_4_line_31 |  | 27 | 28 | 0.066374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5905-1_0_4_line_32 |  | 27 | 29 | 0.0081486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5905-1_0_4_line_33 |  | 28 | 30 | 0.023322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5905-1_0_4_line_34 |  | 29 | 31 | 0.038117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5905-1_0_4_line_35 |  | 30 | 32 | 0.019124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5905-1_0_4_line_36 |  | 31 | 33 | 0.015007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5905-1_0_4_line_37 |  | 31 | 34 | 0.017487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5905-1_0_4_line_38 |  | 32 | 68 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5905-1_0_4_line_39 |  | 33 | 73 | 0.0098524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5905-1_0_4_line_40 |  | 34 | 71 | 0.03346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5905-1_0_4_line_41 |  | 35 | 36 | 0.00087054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5905-1_0_4_line_42 |  | 36 | 39 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5905-1_0_4_line_43 |  | 36 | 40 | 0.012277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5905-1_0_4_line_44 |  | 37 | 38 | 0.010947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5905-1_0_4_line_45 |  | 38 | 41 | 0.005609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5905-1_0_4_line_46 |  | 38 | 42 | 0.0043075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5905-1_0_4_line_47 |  | 39 | 43 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5905-1_0_4_line_48 |  | 39 | 44 | 0.009985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5905-1_0_4_line_49 |  | 39 | 42 | 0.0081656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5905-1_0_4_line_50 |  | 40 | 45 | 0.00065095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5905-1_0_4_line_51 |  | 41 | 74 | 0.024589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5905-1_0_4_line_52 |  | 43 | 70 | 0.009643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5905-1_0_4_line_53 |  | 46 | 47 | 0.026811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5905-1_0_4_line_54 |  | 46 | 48 | 0.03926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5905-1_0_4_line_55 |  | 47 | 49 | 0.00041631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5905-1_0_4_line_56 |  | 48 | 50 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5905-1_0_4_line_57 |  | 48 | 51 | 0.044372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5905-1_0_4_line_58 |  | 49 | 52 | 0.03778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5905-1_0_4_line_59 |  | 50 | 53 | 0.037949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5905-1_0_4_line_60 |  | 50 | 54 | 0.020469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5905-1_0_4_line_61 |  | 51 | 55 | 0.023436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5905-1_0_4_line_62 |  | 54 | 85 | 0.025453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5905-1_0_4_line_63 |  | 55 | 66 | 0.069348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5905-1_0_4_line_64 |  | 56 | 57 | 0.0065782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5905-1_0_4_line_65 |  | 56 | 58 | 0.025046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5905-1_0_4_line_66 |  | 58 | 59 | 0.047539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5905-1_0_4_line_67 |  | 58 | 60 | 0.029566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5905-1_0_4_line_68 |  | 59 | 61 | 0.00032255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5905-1_0_4_line_69 |  | 60 | 62 | 0.019966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5905-1_0_4_line_70 |  | 62 | 72 | 0.023643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5905-1_0_4_line_71 |  | 62 | 71 | 0.026595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5905-1_0_4_line_72 |  | 63 | 64 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5905-1_0_4_line_73 |  | 64 | 65 | 0.039356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5905-1_0_4_line_74 |  | 65 | 66 | 0.044075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5905-1_0_4_line_75 |  | 65 | 67 | 0.036079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5905-1_0_4_line_76 |  | 67 | 81 | 0.02238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5905-1_0_4_line_77 |  | 68 | 69 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5905-1_0_4_line_78 |  | 69 | 70 | 0.012716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5905-1_0_4_line_79 |  | 72 | 85 | 0.048092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5905-1_0_4_line_80 |  | 73 | 75 | 0.022637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5905-1_0_4_line_81 |  | 74 | 79 | 0.0084077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5905-1_0_4_line_82 |  | 75 | 76 | 0.05973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_5905-1_0_4_line_83 |  | 76 | 77 | 0.032244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_5905-1_0_4_line_84 |  | 77 | 83 | 0.081913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_5905-1_0_4_line_85 |  | 78 | 79 | 0.022804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5905-1_0_4_line_86 |  | 78 | 80 | 0.020103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5905-1_0_4_line_87 |  | 79 | 82 | 0.022604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5905-1_0_4_line_88 |  | 83 | 87 | 0.035701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_5905-1_0_4_line_89 |  | 84 | 85 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5905-1_0_4_line_90 |  | 86 | 87 | 0.10042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_5905-1_0_4_line_91 |  | 89 | 90 | 0.0023225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5905-1_0_4_line_92 |  | 91 | 92 | 0.018064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5905-1_0_4_line_93 |  | 93 | 94 | 0.027099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5905-1_0_4_trafo_137 | 0.63 MVA 20/0.4 kV | 95 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2534725.1253 | 1182098.1734 | 2534728.4271 | 1182100.5387 | 2534764.1774 | 1182122.113
1 | 2534725.1253 | 1182098.1734 | 2534677.1519 | 1182063.744
2 | 2534725.1253 | 1182098.1734 | 2534748.2397 | 1182063.1124 | 2534753.9713 | 1182054.8229
3 | 2534680.5203 | 1182054.0239 | 2534677.1519 | 1182063.744
4 | 2534677.1519 | 1182063.744 | 2534656.0618 | 1182109.3114 | 2534644.4779 | 1182131.5177
5 | 2534772.6082 | 1182060.7469 | 2534756.171 | 1182051.6415 | 2534753.9713 | 1182054.8229
6 | 2534669.4726 | 1182034.6556 | 2534684.9128 | 1182042.2803 | 2534680.5203 | 1182054.0239
7 | 2534680.5203 | 1182054.0239 | 2534701.9852 | 1182043.4391 | 2534711.8862 | 1182036.8384 | 2534715.8459 | 1182034.1973
8 | 2534644.4779 | 1182131.5177 | 2534641.3868 | 1182137.4433 | 2534635.1667 | 1182148.2366
9 | 2534773.1148 | 1182061.0275 | 2534772.6082 | 1182060.7469
10 | 2534583.0123 | 1182226.5544 | 2534619.0321 | 1182174.8645 | 2534631.3221 | 1182154.9077 | 2534635.1667 | 1182148.2366
11 | 2534411.27 | 1182584.6507 | 2534583.0123 | 1182226.5544
12 | 2534411.27 | 1182584.6507 | 2534468.0288 | 1182627.3754 | 2534476.2209 | 1182633.9246
13 | 2534669.4726 | 1182034.6556 | 2534649.0317 | 1182022.1494
14 | 2534669.4726 | 1182034.6556 | 2534674.2554 | 1182022.5595
15 | 2534715.8459 | 1182034.1973 | 2534719.3083 | 1182031.8879 | 2534728.4875 | 1182023.5163 | 2534729.7215 | 1182021.8466
16 | 2534785.4579 | 1182067.8649 | 2534773.1148 | 1182061.0275
17 | 2534669.5656 | 1182018.0007 | 2534674.4218 | 1182022.1389 | 2534674.2554 | 1182022.5595
18 | 2534647.1395 | 1182020.9917 | 2534649.0317 | 1182022.1494
19 | 2534627.105 | 1182008.7369 | 2534647.1395 | 1182020.9917
20 | 2534647.1395 | 1182020.9917 | 2534642.3699 | 1182030.4436
21 | 2534638.5608 | 1182052.8592 | 2534637.5721 | 1182039.9515 | 2534642.3699 | 1182030.4436
22 | 2534627.105 | 1182008.7369 | 2534618.979 | 1182020.3935
23 | 2534624.6516 | 1182007.1517 | 2534627.105 | 1182008.7369
24 | 2534618.979 | 1182020.3935 | 2534598.264 | 1182050.1091 | 2534593.9025 | 1182049.3118 | 2534591.7952 | 1182047.4713
25 | 2534624.6516 | 1182007.1517 | 2534595.3909 | 1181988.2872
26 | 2534624.6516 | 1182007.1517 | 2534635.0534 | 1181992.8158
27 | 2534588.0207 | 1182044.1747 | 2534591.7952 | 1182047.4713
28 | 2534588.0207 | 1182044.1747 | 2534580.3684 | 1182037.4913
29 | 2534568.2083 | 1182026.8706 | 2534580.3684 | 1182037.4913
30 | 2534564.0953 | 1182023.2784 | 2534564.0953 | 1182023.2784 | 2534568.2083 | 1182026.8706
31 | 2534841.5926 | 1182756.6692 | 2534841.5926 | 1182756.6692 | 2534849.7119 | 1182740.805 | 2534820.6784 | 1182726.5019 | 2534811.7546 | 1182740.0069
32 | 2534804.6637 | 1182735.9921 | 2534811.7546 | 1182740.0069
33 | 2534841.5926 | 1182756.6692 | 2534855.896 | 1182775.0906 | 2534855.896 | 1182775.0906
34 | 2534777.256 | 1182746.1864 | 2534791.1797 | 1182728.3578 | 2534804.6637 | 1182735.9921
35 | 2534855.896 | 1182775.0906 | 2534859.743 | 1182782.6753 | 2534870.0475 | 1182785.2421
36 | 2534777.256 | 1182746.1864 | 2534766.7223 | 1182735.4982
37 | 2534777.256 | 1182746.1864 | 2534778.1131 | 1182747.0554 | 2534789.989 | 1182758.1708
38 | 2534886.6088 | 1182785.8113 | 2534875.821 | 1182786.6803 | 2534870.0475 | 1182785.2421
39 | 2534759.8065 | 1182728.481 | 2534766.7223 | 1182735.4982
40 | 2534804.6559 | 1182785.7062 | 2534805.8962 | 1182779.7379 | 2534803.6427 | 1182772.6473 | 2534801.064 | 1182769.3291 | 2534790.371 | 1182758.5283 | 2534789.989 | 1182758.1708
41 | 2534930.101 | 1182815.395 | 2534930.9458 | 1182815.605
42 | 2534933.3836 | 1182804.8199 | 2534930.101 | 1182815.395
43 | 2534930.101 | 1182815.395 | 2534918.1845 | 1182812.4418
44 | 2534945.4587 | 1182807.9459 | 2534942.3125 | 1182818.4306 | 2534942.3125 | 1182818.4306
45 | 2534945.4587 | 1182807.9459 | 2534950.8891 | 1182809.3498
46 | 2534945.4587 | 1182807.9459 | 2534941.2887 | 1182806.8664
47 | 2534922.3154 | 1182798.7924 | 2534926.3622 | 1182803.0063 | 2534933.3836 | 1182804.8199
48 | 2534934.3292 | 1182794.8817 | 2534933.3836 | 1182804.8199
49 | 2534933.3836 | 1182804.8199 | 2534941.2887 | 1182806.8664
50 | 2534918.1845 | 1182812.4418 | 2534917.5527 | 1182812.2852 | 2534917.5527 | 1182812.2852
51 | 2534974.4498 | 1182816.3101 | 2534965.0605 | 1182813.0135 | 2534950.8891 | 1182809.3498
52 | 2534922.3154 | 1182798.7924 | 2534915.6291 | 1182791.8439
53 | 2534703.789 | 1182719.9454 | 2534717.6681 | 1182697.0063
54 | 2534683.4653 | 1182753.5361 | 2534703.789 | 1182719.9454
55 | 2534717.6681 | 1182697.0063 | 2534717.8836 | 1182696.6501
56 | 2534683.4653 | 1182753.5361 | 2534693.3593 | 1182759.6761
57 | 2534683.4653 | 1182753.5361 | 2534646.8879 | 1182728.4167
58 | 2534687.2142 | 1182683.6218 | 2534691.2279 | 1182679.1866 | 2534717.8836 | 1182696.6501
59 | 2534717.7497 | 1182730.5488 | 2534693.3593 | 1182759.6761
60 | 2534710.7645 | 1182770.5256 | 2534693.3593 | 1182759.6761
61 | 2534646.8879 | 1182728.4167 | 2534638.3213 | 1182722.5336 | 2534626.8176 | 1182716.3844
62 | 2534710.7645 | 1182770.5256 | 2534731.9777 | 1182784.68
63 | 2534560.9093 | 1182696.4649 | 2534575.8932 | 1182698.1242 | 2534599.7264 | 1182704.6452 | 2534619.5503 | 1182712.4997 | 2534626.8176 | 1182716.3844
64 | 2534845.221 | 1182797.453 | 2534848.17 | 1182803.3332
65 | 2534845.3331 | 1182826.6573 | 2534851.2543 | 1182809.483 | 2534848.17 | 1182803.3332
66 | 2534890.8491 | 1182840.8032 | 2534845.3331 | 1182826.6573
67 | 2534845.3331 | 1182826.6573 | 2534817.1866 | 1182817.6072
68 | 2534891.1525 | 1182840.9125 | 2534890.8491 | 1182840.8032
69 | 2534798.1794 | 1182811.4957 | 2534817.1866 | 1182817.6072
70 | 2534798.1794 | 1182811.4957 | 2534775.6962 | 1182804.1816
71 | 2534798.1794 | 1182811.4957 | 2534803.6617 | 1182790.4906 | 2534804.6559 | 1182785.7062
72 | 2534476.2209 | 1182633.9246 | 2534493.383 | 1182647.645
73 | 2534524.1228 | 1182672.2202 | 2534493.383 | 1182647.645
74 | 2534524.1228 | 1182672.2202 | 2534528.2506 | 1182675.4213 | 2534560.9093 | 1182696.4649
75 | 2534524.1228 | 1182672.2202 | 2534503.0461 | 1182675.4861 | 2534488.3173 | 1182676.2885
76 | 2534466.9263 | 1182680.5455 | 2534472.3922 | 1182677.1561 | 2534488.3173 | 1182676.2885
77 | 2534886.6088 | 1182785.8113 | 2534895.4499 | 1182785.0991 | 2534904.0955 | 1182787.3319
78 | 2534904.0955 | 1182787.3319 | 2534913.6658 | 1182789.8036 | 2534915.6291 | 1182791.8439
79 | 2534731.9777 | 1182784.68 | 2534736.9495 | 1182787.583 | 2534754.9622 | 1182797.4366 | 2534775.6962 | 1182804.1816
80 | 2534759.8065 | 1182728.481 | 2534757.7219 | 1182726.3659 | 2534754.7991 | 1182717.4149 | 2534758.4223 | 1182707.8257
81 | 2534982.3827 | 1182819.0953 | 2534974.4498 | 1182816.3101
82 | 2534776.936 | 1182651.0466 | 2534760.9068 | 1182701.2501 | 2534758.4223 | 1182707.8257
83 | 2534776.936 | 1182651.0466 | 2534808.1765 | 1182659.0276
84 | 2534887.5404 | 1182679.3024 | 2534808.1765 | 1182659.0276
85 | 2534982.3827 | 1182819.0953 | 2535003.9512 | 1182826.6764
86 | 2535003.9512 | 1182826.6764 | 2535009.8194 | 1182807.4489
87 | 2534982.3827 | 1182819.0953 | 2534969.3518 | 1182829.1761 | 2534971.712 | 1182834.8648
88 | 2534887.5404 | 1182679.3024 | 2534899.3271 | 1182645.6028
89 | 2534731.9777 | 1182784.68 | 2534739.668 | 1182772.9116
90 | 2534934.3428 | 1182551.4866 | 2534906.4752 | 1182625.1655 | 2534899.3271 | 1182645.6028
91 | 2534565.5718 | 1182021.4857 | 2534564.0953 | 1182023.2784
92 | 2534635.0534 | 1181992.8158 | 2534645.2801 | 1181978.7212 | 2534645.8804 | 1181978.9716
93 | 2534735.6635 | 1181996.3134 | 2534736.3064 | 1182005.2539 | 2534735.1047 | 1182009.8919 | 2534734.1303 | 1182013.6713 | 2534733.1758 | 1182017.1726 | 2534729.7215 | 1182021.8466

## bus_geodata
| x | y | coords
0 | 2534764.1774 | 1182122.113
1 | 2534725.1253 | 1182098.1734
2 | 2534677.1519 | 1182063.744
3 | 2534753.9713 | 1182054.8229
4 | 2534680.5203 | 1182054.0239
5 | 2534644.4779 | 1182131.5177
6 | 2534772.6082 | 1182060.7469
7 | 2534635.1667 | 1182148.2366
8 | 2534583.0123 | 1182226.5544
9 | 2534411.27 | 1182584.6507
10 | 2534669.4726 | 1182034.6556
11 | 2534715.8459 | 1182034.1973
12 | 2534773.1148 | 1182061.0275
13 | 2534785.4579 | 1182067.8649
14 | 2534674.2554 | 1182022.5595
15 | 2534669.5656 | 1182018.0007
16 | 2534649.0317 | 1182022.1494
17 | 2534647.1395 | 1182020.9917
18 | 2534642.3699 | 1182030.4436
19 | 2534638.5608 | 1182052.8592
20 | 2534627.105 | 1182008.7369
21 | 2534618.979 | 1182020.3935
22 | 2534624.6516 | 1182007.1517
23 | 2534591.7952 | 1182047.4713
24 | 2534588.0207 | 1182044.1747
25 | 2534580.3684 | 1182037.4913
26 | 2534568.2083 | 1182026.8706
27 | 2534811.7546 | 1182740.0069
28 | 2534841.5926 | 1182756.6692
29 | 2534804.6637 | 1182735.9921
30 | 2534855.896 | 1182775.0906
31 | 2534777.256 | 1182746.1864
32 | 2534870.0475 | 1182785.2421
33 | 2534766.7223 | 1182735.4982
34 | 2534789.989 | 1182758.1708
35 | 2534930.9458 | 1182815.605
36 | 2534930.101 | 1182815.395
37 | 2534942.3125 | 1182818.4306
38 | 2534945.4587 | 1182807.9459
39 | 2534933.3836 | 1182804.8199
40 | 2534918.1845 | 1182812.4418
41 | 2534950.8891 | 1182809.3498
42 | 2534941.2887 | 1182806.8664
43 | 2534922.3154 | 1182798.7924
44 | 2534934.3292 | 1182794.8817
45 | 2534917.5527 | 1182812.2852
46 | 2534703.789 | 1182719.9454
47 | 2534717.6681 | 1182697.0063
48 | 2534683.4653 | 1182753.5361
49 | 2534717.8836 | 1182696.6501
50 | 2534693.3593 | 1182759.6761
51 | 2534646.8879 | 1182728.4167
52 | 2534687.2142 | 1182683.6218
53 | 2534717.7497 | 1182730.5488
54 | 2534710.7645 | 1182770.5256
55 | 2534626.8176 | 1182716.3844
56 | 2534848.17 | 1182803.3332
57 | 2534845.221 | 1182797.453
58 | 2534845.3331 | 1182826.6573
59 | 2534890.8491 | 1182840.8032
60 | 2534817.1866 | 1182817.6072
61 | 2534891.1525 | 1182840.9125
62 | 2534798.1794 | 1182811.4957
63 | 2534476.2209 | 1182633.9246
64 | 2534493.383 | 1182647.645
65 | 2534524.1228 | 1182672.2202
66 | 2534560.9093 | 1182696.4649
67 | 2534488.3173 | 1182676.2885
68 | 2534886.6088 | 1182785.8113
69 | 2534904.0955 | 1182787.3319
70 | 2534915.6291 | 1182791.8439
71 | 2534804.6559 | 1182785.7062
72 | 2534775.6962 | 1182804.1816
73 | 2534759.8065 | 1182728.481
74 | 2534974.4498 | 1182816.3101
75 | 2534758.4223 | 1182707.8257
76 | 2534776.936 | 1182651.0466
77 | 2534808.1765 | 1182659.0276
78 | 2535003.9512 | 1182826.6764
79 | 2534982.3827 | 1182819.0953
80 | 2535009.8194 | 1182807.4489
81 | 2534466.9263 | 1182680.5455
82 | 2534971.712 | 1182834.8648
83 | 2534887.5404 | 1182679.3024
84 | 2534739.668 | 1182772.9116
85 | 2534731.9777 | 1182784.68
86 | 2534934.3428 | 1182551.4866
87 | 2534899.3271 | 1182645.6028
88 | 2534595.3909 | 1181988.2872
89 | 2534565.5718 | 1182021.4857
90 | 2534564.0953 | 1182023.2784
91 | 2534635.0534 | 1181992.8158
92 | 2534645.8804 | 1181978.9716
93 | 2534729.7215 | 1182021.8466
94 | 2534735.6635 | 1181996.3134
95 | 2534887.5404 | 1182679.3024

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1