## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5913-2_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5913-2_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5913-2_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5913-2_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5913-2_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5913-2_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5913-2_0_1_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_5913-2_0_1_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_5913-2_0_1_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_5913-2_0_1_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_5913-2_0_1_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_5913-2_0_1_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_5913-2_0_1_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5913-2_0_1_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5913-2_0_1_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5913-2_0_1_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5913-2_0_1_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5913-2_0_1_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_5913-2_0_1_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_5913-2_0_1_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_5913-2_0_1_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_5913-2_0_1_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_5913-2_0_1_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5913-2_0_1_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5913-2_0_1_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5913-2_0_1_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5913-2_0_1_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5913-2_0_1_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_5913-2_0_1_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_5913-2_0_1_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_5913-2_0_1_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5913-2_0_1_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5913-2_0_1_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5913-2_0_1_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5913-2_0_1_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_5913-2_0_1_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5913-2_0_1_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5913-2_0_1_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5913-2_0_1_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5913-2_0_1_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_5913-2_0_1_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_5913-2_0_1_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_5913-2_0_1_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_5913-2_0_1_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5913-2_0_1_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5913-2_0_1_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5913-2_0_1_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5913-2_0_1_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_5913-2_0_1_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_5913-2_0_1_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5913-2_0_1_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5913-2_0_1_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_5913-2_0_1_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5913-2_0_1_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5913-2_0_1_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5913-2_0_1_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5913-2_0_1_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_5913-2_0_1_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_5913-2_0_1_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5913-2_0_1_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_5913-2_0_1_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_5913-2_0_1_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_5913-2_0_1_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5913-2_0_1_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_5913-2_0_1_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5913-2_0_1_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5913-2_0_1_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5913-2_0_1_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5913-2_0_1_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5913-2_0_1_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5913-2_0_1_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5913-2_0_1_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_5913-2_0_1_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_5913-2_0_1_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_5913-2_0_1_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_5913-2_0_1_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_5913-2_0_1_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_5913-2_0_1_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_5913-2_0_1_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_5913-2_0_1_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_5913-2_0_1_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_5913-2_0_1_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5913-2_0_1_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_5913-2_0_1_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5913-2_0_1_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_5913-2_0_1_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_5913-2_0_1_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_5913-2_0_1_node_89 | 0.4 | n |  | TRUE
88 | bus_MV_367_1_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5913-2_0_1_load_0 | 0 | 0.00061007 | 0.0001529 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5913-2_0_1_load_1 | 1 | 0.0013083 | 0.00032789 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5913-2_0_1_load_4 | 4 | 0.00024254 | 6.0785e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5913-2_0_1_load_5 | 5 | 0.0022335 | 0.00055976 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5913-2_0_1_load_49 | 8 | 0.00099277 | 0.00024881 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5913-2_0_1_load_45 | 9 | 0.000796 | 0.0001995 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5913-2_0_1_load_28 | 10 | 0.00054201 | 0.00013584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5913-2_0_1_load_44 | 11 | 0.001285 | 0.00032205 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5913-2_0_1_load_6 | 12 | 0.0020999 | 0.00052627 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5913-2_0_1_load_7 | 13 | 0.0025165 | 0.0006307 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5913-2_0_1_load_9 | 15 | 0.00064908 | 0.00016267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5913-2_0_1_load_10 | 16 | 0.0018742 | 0.00046972 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5913-2_0_1_load_81 | 19 | 0.0019505 | 0.00048883 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5913-2_0_1_load_46 | 20 | 0.0029026 | 0.00072746 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5913-2_0_1_load_86 | 21 | 0.0017986 | 0.00045078 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5913-2_0_1_load_20 | 22 | 0.00076733 | 0.00019231 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5913-2_0_1_load_11 | 23 | 0.0011804 | 0.00029584 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5913-2_0_1_load_12 | 24 | 0.0013891 | 0.00034815 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5913-2_0_1_load_13 | 25 | 0.00045947 | 0.00011515 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5913-2_0_1_load_15 | 26 | 0.00055391 | 0.00013882 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5913-2_0_1_load_62 | 27 | 0.00084792 | 0.00021251 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5913-2_0_1_load_35 | 28 | 0.00021122 | 5.2937e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5913-2_0_1_load_16 | 30 | 0.0018034 | 0.00045199 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5913-2_0_1_load_17 | 31 | 0.00052459 | 0.00013148 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5913-2_0_1_load_18 | 32 | 0.0016021 | 0.00040153 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5913-2_0_1_load_19 | 33 | 0.00084555 | 0.00021192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5913-2_0_1_load_21 | 34 | 0.0023431 | 0.00058724 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5913-2_0_1_load_22 | 35 | 0.0024814 | 0.00062191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5913-2_0_1_load_24 | 37 | 0.002081 | 0.00052156 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5913-2_0_1_load_65 | 39 | 0.0019813 | 0.00049657 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5913-2_0_1_load_87 | 40 | 0.0012554 | 0.00031463 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5913-2_0_1_load_63 | 41 | 0.00082684 | 0.00020723 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5913-2_0_1_load_26 | 43 | 0.0018858 | 0.00047261 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5913-2_0_1_load_27 | 44 | 0.0029072 | 0.0007286 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5913-2_0_1_load_29 | 45 | 0.0034581 | 0.00086668 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5913-2_0_1_load_30 | 46 | 0.00020653 | 5.1762e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5913-2_0_1_load_31 | 47 | 0.001207 | 0.0003025 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5913-2_0_1_load_32 | 48 | 0.00034437 | 8.6308e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5913-2_0_1_load_33 | 51 | 0.0014831 | 0.0003717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5913-2_0_1_load_36 | 52 | 0.0019913 | 0.00049906 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5913-2_0_1_load_37 | 53 | 0.00079655 | 0.00019963 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5913-2_0_1_load_38 | 54 | 0.00039079 | 9.7942e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5913-2_0_1_load_39 | 55 | 0.0019675 | 0.00049311 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5913-2_0_1_load_40 | 56 | 0.0020676 | 0.0005182 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5913-2_0_1_load_55 | 58 | 0.0032883 | 0.00082412 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5913-2_0_1_load_60 | 59 | 0.00066967 | 0.00016783 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5913-2_0_1_load_80 | 60 | 0.00089431 | 0.00022413 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5913-2_0_1_load_56 | 61 | 0.0011145 | 0.00027933 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5913-2_0_1_load_58 | 62 | 0.00087978 | 0.00022049 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5913-2_0_1_load_50 | 63 | 0.00085498 | 0.00021428 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5913-2_0_1_load_51 | 64 | 0.00060032 | 0.00015045 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5913-2_0_1_load_53 | 66 | 0.00073633 | 0.00018454 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5913-2_0_1_load_66 | 67 | 0.00025679 | 6.4357e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5913-2_0_1_load_67 | 68 | 0.00063413 | 0.00015893 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5913-2_0_1_load_57 | 69 | 0.00073425 | 0.00018402 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5913-2_0_1_load_59 | 70 | 0.00098503 | 0.00024687 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5913-2_0_1_load_74 | 73 | 0.0034391 | 0.00086192 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5913-2_0_1_load_77 | 74 | 0.00069769 | 0.00017486 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5913-2_0_1_load_84 | 75 | 0.0014351 | 0.00035967 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5913-2_0_1_load_82 | 76 | 0.00028247 | 7.0793e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5913-2_0_1_load_78 | 78 | 0.0010124 | 0.00025373 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5913-2_0_1_load_64 | 79 | 0.001655 | 0.00041477 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5913-2_0_1_load_76 | 80 | 0.00079457 | 0.00019914 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5913-2_0_1_load_68 | 81 | 0.00082075 | 0.0002057 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5913-2_0_1_load_72 | 83 | 0.0032622 | 0.00081758 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5913-2_0_1_load_73 | 85 | 0.0020655 | 0.00051766 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5913-2_0_1_load_88 | 86 | 0.00082239 | 0.00020611 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5913-2_0_1_load_89 | 87 | 0.0050339 | 0.0012616 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5913-2_0_1_line_0 |  | 0 | 1 | 0.00056909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5913-2_0_1_line_1 |  | 0 | 2 | 0.016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5913-2_0_1_line_2 |  | 1 | 3 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5913-2_0_1_line_3 |  | 2 | 4 | 0.025912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5913-2_0_1_line_4 |  | 2 | 5 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5913-2_0_1_line_5 |  | 3 | 6 | 0.003324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5913-2_0_1_line_6 |  | 4 | 7 | 0.01783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5913-2_0_1_line_7 |  | 6 | 8 | 0.019914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5913-2_0_1_line_8 |  | 6 | 9 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5913-2_0_1_line_9 |  | 7 | 10 | 0.0099433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5913-2_0_1_line_10 |  | 7 | 11 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5913-2_0_1_line_11 |  | 8 | 52 | 0.038453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5913-2_0_1_line_12 |  | 9 | 20 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5913-2_0_1_line_13 |  | 10 | 44 | 0.016661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5913-2_0_1_line_14 |  | 11 | 49 | 0.0046053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5913-2_0_1_line_15 |  | 12 | 13 | 0.029336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5913-2_0_1_line_16 |  | 12 | 14 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5913-2_0_1_line_17 |  | 14 | 15 | 0.025572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5913-2_0_1_line_18 |  | 14 | 16 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5913-2_0_1_line_19 |  | 15 | 17 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5913-2_0_1_line_20 |  | 16 | 18 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5913-2_0_1_line_21 |  | 17 | 19 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5913-2_0_1_line_22 |  | 17 | 20 | 0.0030952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5913-2_0_1_line_23 |  | 18 | 21 | 0.0016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5913-2_0_1_line_24 |  | 18 | 22 | 0.025296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5913-2_0_1_line_25 |  | 19 | 27 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5913-2_0_1_line_26 |  | 21 | 38 | 0.019346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5913-2_0_1_line_27 |  | 22 | 33 | 0.0024903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5913-2_0_1_line_28 |  | 23 | 24 | 0.031013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5913-2_0_1_line_29 |  | 23 | 25 | 0.020487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5913-2_0_1_line_30 |  | 25 | 26 | 0.0015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5913-2_0_1_line_31 |  | 26 | 27 | 0.0064891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5913-2_0_1_line_32 |  | 28 | 29 | 0.0075197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5913-2_0_1_line_33 |  | 29 | 52 | 0.018013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5913-2_0_1_line_34 |  | 29 | 51 | 0.02078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5913-2_0_1_line_35 |  | 30 | 31 | 0.018255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5913-2_0_1_line_36 |  | 31 | 32 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5913-2_0_1_line_37 |  | 32 | 33 | 0.0077927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5913-2_0_1_line_38 |  | 34 | 35 | 0.039976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5913-2_0_1_line_39 |  | 34 | 36 | 0.036896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5913-2_0_1_line_40 |  | 36 | 37 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5913-2_0_1_line_41 |  | 36 | 38 | 0.004482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5913-2_0_1_line_42 |  | 37 | 39 | 0.0056275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5913-2_0_1_line_43 |  | 38 | 40 | 0.028289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5913-2_0_1_line_44 |  | 39 | 41 | 0.015842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5913-2_0_1_line_45 |  | 40 | 42 | 0.037143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5913-2_0_1_line_46 |  | 41 | 79 | 0.01915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5913-2_0_1_line_47 |  | 42 | 65 | 0.004209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5913-2_0_1_line_48 |  | 43 | 44 | 0.0005101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5913-2_0_1_line_49 |  | 45 | 46 | 0.0016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5913-2_0_1_line_50 |  | 45 | 47 | 0.011756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5913-2_0_1_line_51 |  | 47 | 48 | 0.0021446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5913-2_0_1_line_52 |  | 48 | 49 | 0.012623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5913-2_0_1_line_53 |  | 49 | 50 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5913-2_0_1_line_54 |  | 50 | 61 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5913-2_0_1_line_55 |  | 53 | 54 | 0.0068917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5913-2_0_1_line_56 |  | 53 | 55 | 0.0060973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5913-2_0_1_line_57 |  | 54 | 56 | 0.026592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5913-2_0_1_line_58 |  | 55 | 57 | 0.029428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5913-2_0_1_line_59 |  | 56 | 58 | 0.0080192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5913-2_0_1_line_60 |  | 57 | 59 | 0.012785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5913-2_0_1_line_61 |  | 57 | 60 | 0.0044651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5913-2_0_1_line_62 |  | 58 | 61 | 0.023982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5913-2_0_1_line_63 |  | 59 | 62 | 0.010364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5913-2_0_1_line_64 |  | 62 | 69 | 0.006529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5913-2_0_1_line_65 |  | 63 | 64 | 0.0073782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5913-2_0_1_line_66 |  | 63 | 65 | 0.03285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5913-2_0_1_line_67 |  | 65 | 66 | 0.020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5913-2_0_1_line_68 |  | 66 | 67 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5913-2_0_1_line_69 |  | 67 | 68 | 0.0065082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5913-2_0_1_line_70 |  | 68 | 80 | 0.0046468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5913-2_0_1_line_71 |  | 69 | 70 | 0.025485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5913-2_0_1_line_72 |  | 70 | 71 | 0.020456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5913-2_0_1_line_73 |  | 71 | 72 | 0.021735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5913-2_0_1_line_74 |  | 71 | 73 | 0.031243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5913-2_0_1_line_75 |  | 71 | 74 | 0.025921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5913-2_0_1_line_76 |  | 72 | 75 | 0.018167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5913-2_0_1_line_77 |  | 72 | 76 | 0.054015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5913-2_0_1_line_78 |  | 73 | 77 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5913-2_0_1_line_79 |  | 74 | 78 | 0.041652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5913-2_0_1_line_80 |  | 77 | 82 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5913-2_0_1_line_81 |  | 81 | 82 | 0.035635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5913-2_0_1_line_82 |  | 81 | 83 | 0.13154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5913-2_0_1_line_83 |  | 82 | 84 | 0.032646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5913-2_0_1_line_84 |  | 83 | 85 | 0.033571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5913-2_0_1_line_85 |  | 84 | 86 | 0.010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5913-2_0_1_line_86 |  | 86 | 87 | 0.059598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5913-2_0_1_trafo_5 | 0.63 MVA 20/0.4 kV | 88 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2546597.8497 | 1176239.2405 | 2546598.1855 | 1176238.781
1 | 2546587.5505 | 1176252.4751 | 2546594.6336 | 1176243.6404 | 2546597.8497 | 1176239.2405
2 | 2546607.9088 | 1176225.4787 | 2546598.1855 | 1176238.781
3 | 2546587.5505 | 1176252.4751 | 2546571.3344 | 1176272.6851
4 | 2546587.5505 | 1176252.4751 | 2546574.2694 | 1176240.4179
5 | 2546609.8722 | 1176222.7931 | 2546607.9088 | 1176225.4787
6 | 2546558.8903 | 1176285.3265 | 2546565.7719 | 1176279.6175 | 2546571.3344 | 1176272.6851
7 | 2546609.8722 | 1176222.7931 | 2546624.8003 | 1176235.9727
8 | 2546609.8722 | 1176222.7931 | 2546615.1932 | 1176209.882
9 | 2546558.8903 | 1176285.3265 | 2546565.0857 | 1176293.1037
10 | 2546558.8903 | 1176285.3265 | 2546548.9888 | 1176293.5305 | 2546548.2848 | 1176293.9717
11 | 2546653.6263 | 1176261.4223 | 2546624.8003 | 1176235.9727
12 | 2546615.1932 | 1176209.882 | 2546625.1374 | 1176185.7531
13 | 2546575.4666 | 1176306.135 | 2546565.0857 | 1176293.1037
14 | 2546544.3827 | 1176296.4176 | 2546548.2848 | 1176293.9717
15 | 2546653.5479 | 1176152.7766 | 2546661.1827 | 1176156.7109 | 2546676.1086 | 1176171.1219
16 | 2546635.3777 | 1176148.1139 | 2546644.8958 | 1176148.3181 | 2546653.5479 | 1176152.7766
17 | 2546635.3777 | 1176148.1139 | 2546633.7826 | 1176157.8223 | 2546629.292 | 1176172.9009
18 | 2546635.3777 | 1176148.1139 | 2546627.4796 | 1176136.7577
19 | 2546626.3168 | 1176182.8914 | 2546629.292 | 1176172.9009
20 | 2546621.2081 | 1176127.7402 | 2546627.4796 | 1176136.7577
21 | 2546626.3168 | 1176182.8914 | 2546637.3346 | 1176187.8949
22 | 2546626.3168 | 1176182.8914 | 2546625.1374 | 1176185.7531
23 | 2546621.2081 | 1176127.7402 | 2546620.2458 | 1176126.3441
24 | 2546621.2081 | 1176127.7402 | 2546632.7858 | 1176118.8988 | 2546642.5416 | 1176114.4358
25 | 2546637.3346 | 1176187.8949 | 2546646.602 | 1176192.1035
26 | 2546609.267 | 1176110.415 | 2546620.2458 | 1176126.3441
27 | 2546644.8061 | 1176113.3998 | 2546644.8061 | 1176113.3998 | 2546642.5416 | 1176114.4358
28 | 2546663.4267 | 1176212.9619 | 2546669.2023 | 1176234.9154 | 2546674.8118 | 1176241.0494
29 | 2546653.6614 | 1176195.8643 | 2546660.6499 | 1176202.4072 | 2546663.4267 | 1176212.9619
30 | 2546653.6614 | 1176195.8643 | 2546652.5104 | 1176194.7867 | 2546652.5104 | 1176194.7867
31 | 2546646.602 | 1176192.1035 | 2546652.5104 | 1176194.7867
32 | 2546667.1294 | 1176273.3437 | 2546673.1216 | 1176277.8868
33 | 2546667.1294 | 1176273.3437 | 2546653.6263 | 1176261.4223
34 | 2546667.1294 | 1176273.3437 | 2546654.6274 | 1176289.9419
35 | 2546676.5044 | 1176085.3038 | 2546671.0338 | 1176090.487 | 2546662.9614 | 1176097.5391
36 | 2546650.6748 | 1176108.2729 | 2546662.9614 | 1176097.5391
37 | 2546650.6748 | 1176108.2729 | 2546644.8061 | 1176113.3998
38 | 2546558.5775 | 1176046.8413 | 2546564.5936 | 1176054.3496 | 2546583.4337 | 1176078.1502
39 | 2546606.0062 | 1176107.3313 | 2546597.8519 | 1176096.3647 | 2546583.4337 | 1176078.1502
40 | 2546606.0062 | 1176107.3313 | 2546593.9445 | 1176118.1607
41 | 2546609.267 | 1176110.415 | 2546606.0062 | 1176107.3313
42 | 2546593.9445 | 1176118.1607 | 2546589.7571 | 1176121.9203
43 | 2546609.267 | 1176110.415 | 2546612.9845 | 1176104.7121 | 2546613.8697 | 1176083.249
44 | 2546577.9924 | 1176132.5305 | 2546581.7561 | 1176129.1039 | 2546589.7571 | 1176121.9203
45 | 2546610.7751 | 1176046.4111 | 2546612.8696 | 1176054.9971 | 2546614.2225 | 1176074.6958 | 2546613.8697 | 1176083.249
46 | 2546577.9924 | 1176132.5305 | 2546569.1775 | 1176140.5557 | 2546565.4154 | 1176146.7284
47 | 2546614.9954 | 1176046.518 | 2546610.7751 | 1176046.4111
48 | 2546575.4666 | 1176306.135 | 2546575.7844 | 1176306.534
49 | 2546524.3882 | 1176276.8907 | 2546526.0279 | 1176277.2711 | 2546526.0279 | 1176277.2711
50 | 2546534.1631 | 1176285.7572 | 2546526.0279 | 1176277.2711
51 | 2546535.6473 | 1176287.3054 | 2546534.1631 | 1176285.7572
52 | 2546544.3827 | 1176296.4176 | 2546535.6473 | 1176287.3054
53 | 2546544.3827 | 1176296.4176 | 2546533.7414 | 1176303.0829
54 | 2546533.7414 | 1176303.0829 | 2546539.8767 | 1176311.8661
55 | 2546517.6542 | 1176351.336 | 2546511.2194 | 1176353.8037
56 | 2546506.5622 | 1176353.2848 | 2546507.5471 | 1176355.212 | 2546511.2194 | 1176353.8037
57 | 2546517.6542 | 1176351.336 | 2546528.7688 | 1176347.0736 | 2546526.4295 | 1176335.0434 | 2546528.3528 | 1176333.5545
58 | 2546493.1707 | 1176327.0807 | 2546506.5622 | 1176353.2848
59 | 2546534.6939 | 1176328.6455 | 2546528.3528 | 1176333.5545
60 | 2546493.1707 | 1176327.0807 | 2546482.0988 | 1176333.4741
61 | 2546493.1707 | 1176327.0807 | 2546497.0378 | 1176324.8485
62 | 2546534.6939 | 1176328.6455 | 2546545.6648 | 1176320.1524 | 2546539.8767 | 1176311.8661
63 | 2546473.1241 | 1176338.6566 | 2546482.0988 | 1176333.4741
64 | 2546467.4701 | 1176341.9215 | 2546473.1241 | 1176338.6566
65 | 2546627.4904 | 1176029.9531 | 2546626.9828 | 1176024.4546 | 2546625.1417 | 1176024.6924
66 | 2546614.9954 | 1176046.518 | 2546612.7435 | 1176026.2937 | 2546625.1417 | 1176024.6924
67 | 2546614.9954 | 1176046.518 | 2546622.806 | 1176046.3705 | 2546632.2577 | 1176049.3879 | 2546634.3079 | 1176051.581
68 | 2546634.3079 | 1176051.581 | 2546638.5242 | 1176056.0912 | 2546645.1377 | 1176063.1361
69 | 2546645.1377 | 1176063.1361 | 2546645.1377 | 1176063.1361 | 2546647.1413 | 1176068.3878 | 2546646.5763 | 1176069.0719
70 | 2546643.6173 | 1176072.6549 | 2546646.5763 | 1176069.0719
71 | 2546467.4701 | 1176341.9215 | 2546452.3594 | 1176350.6473 | 2546444.9983 | 1176353.8706
72 | 2546426.2602 | 1176362.0759 | 2546444.9983 | 1176353.8706
73 | 2546430.4791 | 1176383.3942 | 2546426.2602 | 1176362.0759
74 | 2546426.2602 | 1176362.0759 | 2546398.6211 | 1176372.2288 | 2546396.8601 | 1176372.59
75 | 2546426.2602 | 1176362.0759 | 2546416.172 | 1176338.1985
76 | 2546430.4791 | 1176383.3942 | 2546441.2804 | 1176386.9551 | 2546448.101 | 1176386.4049
77 | 2546430.4791 | 1176383.3942 | 2546440.9693 | 1176436.3806
78 | 2546374.932 | 1176377.088 | 2546396.8601 | 1176372.59
79 | 2546416.172 | 1176338.1985 | 2546399.9612 | 1176299.8302
80 | 2546374.932 | 1176377.088 | 2546358.5232 | 1176379.8031
81 | 2546358.5232 | 1176379.8031 | 2546343.8249 | 1176371.2635 | 2546327.6881 | 1176361.9417
82 | 2546327.6881 | 1176361.9417 | 2546234.6223 | 1176268.9863
83 | 2546358.5232 | 1176379.8031 | 2546346.4188 | 1176381.8016 | 2546333.9608 | 1176382.736 | 2546335.429 | 1176390.4826
84 | 2546234.6223 | 1176268.9863 | 2546228.3774 | 1176262.1285 | 2546214.3488 | 1176242.292
85 | 2546335.429 | 1176390.4826 | 2546337.4749 | 1176401.2813
86 | 2546337.4749 | 1176401.2813 | 2546299.5255 | 1176447.2355

## bus_geodata
| x | y | coords
0 | 2546597.8497 | 1176239.2405
1 | 2546598.1855 | 1176238.781
2 | 2546587.5505 | 1176252.4751
3 | 2546607.9088 | 1176225.4787
4 | 2546571.3344 | 1176272.6851
5 | 2546574.2694 | 1176240.4179
6 | 2546609.8722 | 1176222.7931
7 | 2546558.8903 | 1176285.3265
8 | 2546624.8003 | 1176235.9727
9 | 2546615.1932 | 1176209.882
10 | 2546565.0857 | 1176293.1037
11 | 2546548.2848 | 1176293.9717
12 | 2546653.5479 | 1176152.7766
13 | 2546676.1086 | 1176171.1219
14 | 2546635.3777 | 1176148.1139
15 | 2546629.292 | 1176172.9009
16 | 2546627.4796 | 1176136.7577
17 | 2546626.3168 | 1176182.8914
18 | 2546621.2081 | 1176127.7402
19 | 2546637.3346 | 1176187.8949
20 | 2546625.1374 | 1176185.7531
21 | 2546620.2458 | 1176126.3441
22 | 2546642.5416 | 1176114.4358
23 | 2546663.4267 | 1176212.9619
24 | 2546674.8118 | 1176241.0494
25 | 2546653.6614 | 1176195.8643
26 | 2546652.5104 | 1176194.7867
27 | 2546646.602 | 1176192.1035
28 | 2546673.1216 | 1176277.8868
29 | 2546667.1294 | 1176273.3437
30 | 2546676.5044 | 1176085.3038
31 | 2546662.9614 | 1176097.5391
32 | 2546650.6748 | 1176108.2729
33 | 2546644.8061 | 1176113.3998
34 | 2546583.4337 | 1176078.1502
35 | 2546558.5775 | 1176046.8413
36 | 2546606.0062 | 1176107.3313
37 | 2546593.9445 | 1176118.1607
38 | 2546609.267 | 1176110.415
39 | 2546589.7571 | 1176121.9203
40 | 2546613.8697 | 1176083.249
41 | 2546577.9924 | 1176132.5305
42 | 2546610.7751 | 1176046.4111
43 | 2546575.7844 | 1176306.534
44 | 2546575.4666 | 1176306.135
45 | 2546526.0279 | 1176277.2711
46 | 2546524.3882 | 1176276.8907
47 | 2546534.1631 | 1176285.7572
48 | 2546535.6473 | 1176287.3054
49 | 2546544.3827 | 1176296.4176
50 | 2546533.7414 | 1176303.0829
51 | 2546654.6274 | 1176289.9419
52 | 2546653.6263 | 1176261.4223
53 | 2546511.2194 | 1176353.8037
54 | 2546517.6542 | 1176351.336
55 | 2546506.5622 | 1176353.2848
56 | 2546528.3528 | 1176333.5545
57 | 2546493.1707 | 1176327.0807
58 | 2546534.6939 | 1176328.6455
59 | 2546482.0988 | 1176333.4741
60 | 2546497.0378 | 1176324.8485
61 | 2546539.8767 | 1176311.8661
62 | 2546473.1241 | 1176338.6566
63 | 2546625.1417 | 1176024.6924
64 | 2546627.4904 | 1176029.9531
65 | 2546614.9954 | 1176046.518
66 | 2546634.3079 | 1176051.581
67 | 2546645.1377 | 1176063.1361
68 | 2546646.5763 | 1176069.0719
69 | 2546467.4701 | 1176341.9215
70 | 2546444.9983 | 1176353.8706
71 | 2546426.2602 | 1176362.0759
72 | 2546430.4791 | 1176383.3942
73 | 2546396.8601 | 1176372.59
74 | 2546416.172 | 1176338.1985
75 | 2546448.101 | 1176386.4049
76 | 2546440.9693 | 1176436.3806
77 | 2546374.932 | 1176377.088
78 | 2546399.9612 | 1176299.8302
79 | 2546565.4154 | 1176146.7284
80 | 2546643.6173 | 1176072.6549
81 | 2546327.6881 | 1176361.9417
82 | 2546358.5232 | 1176379.8031
83 | 2546234.6223 | 1176268.9863
84 | 2546335.429 | 1176390.4826
85 | 2546214.3488 | 1176242.292
86 | 2546337.4749 | 1176401.2813
87 | 2546299.5255 | 1176447.2355
88 | 2546587.5505 | 1176252.4751

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1