## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5930-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5930-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5930-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5930-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5930-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5930-1_0_2_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_5930-1_0_2_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_5930-1_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_5930-1_0_2_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_5930-1_0_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_5930-1_0_2_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_5930-1_0_2_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_5930-1_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5930-1_0_2_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_5930-1_0_2_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_5930-1_0_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_5930-1_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_5930-1_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5930-1_0_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_5930-1_0_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_5930-1_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5930-1_0_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_5930-1_0_2_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_5930-1_0_2_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_5930-1_0_2_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5930-1_0_2_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5930-1_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5930-1_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5930-1_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5930-1_0_2_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_5930-1_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_5930-1_0_2_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5930-1_0_2_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5930-1_0_2_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5930-1_0_2_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_5930-1_0_2_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_5930-1_0_2_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_5930-1_0_2_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_5930-1_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5930-1_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5930-1_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5930-1_0_2_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5930-1_0_2_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5930-1_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5930-1_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5930-1_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_5930-1_0_2_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5930-1_0_2_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_5930-1_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5930-1_0_2_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_5930-1_0_2_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_5930-1_0_2_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_5930-1_0_2_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_5930-1_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_5930-1_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5930-1_0_2_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_5930-1_0_2_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_5930-1_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5930-1_0_2_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_5930-1_0_2_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_5930-1_0_2_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_5930-1_0_2_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_5930-1_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5930-1_0_2_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_5930-1_0_2_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5930-1_0_2_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_5930-1_0_2_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_5930-1_0_2_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5930-1_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5930-1_0_2_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_5930-1_0_2_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5930-1_0_2_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5930-1_0_2_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5930-1_0_2_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5930-1_0_2_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_5930-1_0_2_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5930-1_0_2_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_5930-1_0_2_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5930-1_0_2_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5930-1_0_2_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5930-1_0_2_node_79 | 0.4 | n |  | TRUE
81 | bus_MV_316_1_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5930-1_0_2_load_0 | 0 | 0.0019686 | 0.00049337 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5930-1_0_2_load_1 | 1 | 0.0024724 | 0.00061963 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5930-1_0_2_load_69 | 6 | 0.0016443 | 0.00041211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5930-1_0_2_load_8 | 7 | 0.0024772 | 0.00062085 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5930-1_0_2_load_54 | 9 | 0.0014142 | 0.00035443 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5930-1_0_2_load_51 | 10 | 0.0032857 | 0.00082347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5930-1_0_2_load_6 | 12 | 0.0014351 | 0.00035967 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5930-1_0_2_load_63 | 13 | 0.001706 | 0.00042757 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5930-1_0_2_load_61 | 14 | 0.0053838 | 0.0013493 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5930-1_0_2_load_5 | 15 | 0.0069464 | 0.0017409 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5930-1_0_2_load_7 | 16 | 0.0019569 | 0.00049044 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5930-1_0_2_load_23 | 18 | 0.0015374 | 0.00038531 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5930-1_0_2_load_24 | 19 | 0.0015192 | 0.00038075 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5930-1_0_2_load_25 | 20 | 0.00082423 | 0.00020657 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5930-1_0_2_load_26 | 21 | 0.0042486 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5930-1_0_2_load_33 | 22 | 0.0056534 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5930-1_0_2_load_49 | 23 | 0.00082499 | 0.00020676 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5930-1_0_2_load_10 | 24 | 0.0054314 | 0.0013612 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5930-1_0_2_load_11 | 25 | 0.00086442 | 0.00021665 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5930-1_0_2_load_12 | 26 | 0.00074397 | 0.00018646 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5930-1_0_2_load_13 | 27 | 0.0014995 | 0.0003758 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5930-1_0_2_load_14 | 28 | 0.0025642 | 0.00064265 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5930-1_0_2_load_34 | 29 | 0.0051272 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5930-1_0_2_load_35 | 30 | 0.0013779 | 0.00034534 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5930-1_0_2_load_15 | 31 | 0.0038835 | 0.0009733 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5930-1_0_2_load_16 | 32 | 0.0030431 | 0.00076268 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5930-1_0_2_load_17 | 33 | 0.0021326 | 0.00053447 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5930-1_0_2_load_71 | 34 | 0.0012903 | 0.00032337 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5930-1_0_2_load_18 | 38 | 0.0022375 | 0.00056077 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5930-1_0_2_load_19 | 39 | 0.0012317 | 0.0003087 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5930-1_0_2_load_21 | 41 | 0.00077377 | 0.00019393 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5930-1_0_2_load_22 | 42 | 0.0010641 | 0.00026668 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5930-1_0_2_load_36 | 43 | 0.0035697 | 0.00089466 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5930-1_0_2_load_37 | 44 | 0.0013072 | 0.00032762 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5930-1_0_2_load_27 | 45 | 0.0036963 | 0.00092639 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5930-1_0_2_load_31 | 46 | 0.0016954 | 0.00042491 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5930-1_0_2_load_81 | 49 | 0.0037212 | 0.00093263 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5930-1_0_2_load_29 | 50 | 0.0028721 | 0.00071982 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5930-1_0_2_load_30 | 51 | 0.0013128 | 0.00032903 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5930-1_0_2_load_58 | 55 | 0.00079913 | 0.00020028 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5930-1_0_2_load_44 | 57 | 0.0012216 | 0.00030616 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5930-1_0_2_load_41 | 58 | 0.0047688 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5930-1_0_2_load_40 | 59 | 0.0026838 | 0.00067264 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5930-1_0_2_load_38 | 60 | 0.0027302 | 0.00068425 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5930-1_0_2_load_56 | 62 | 0.0038688 | 0.00096961 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5930-1_0_2_load_42 | 63 | 0.0020077 | 0.00050317 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5930-1_0_2_load_45 | 64 | 0.0012495 | 0.00031316 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5930-1_0_2_load_47 | 65 | 0.004418 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5930-1_0_2_load_82 | 66 | 0.0024423 | 0.00061209 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5930-1_0_2_load_59 | 67 | 0.00051622 | 0.00012938 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5930-1_0_2_load_65 | 68 | 0.00042253 | 0.00010589 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5930-1_0_2_load_55 | 69 | 0.0013138 | 0.00032928 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5930-1_0_2_load_60 | 70 | 0.0011054 | 0.00027704 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5930-1_0_2_load_64 | 71 | 0.0013779 | 0.00034533 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5930-1_0_2_load_68 | 72 | 0.0023363 | 0.00058554 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5930-1_0_2_load_66 | 73 | 0.0026313 | 0.00065947 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5930-1_0_2_load_67 | 74 | 0.0015281 | 0.00038297 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5930-1_0_2_load_72 | 75 | 0.0017004 | 0.00042617 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5930-1_0_2_load_73 | 76 | 0.0016995 | 0.00042594 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5930-1_0_2_load_76 | 78 | 0.0030852 | 0.00077322 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5930-1_0_2_load_80 | 79 | 0.0022737 | 0.00056985 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5930-1_0_2_load_79 | 80 | 0.0028681 | 0.0007188 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5930-1_0_2_line_0 |  | 0 | 1 | 0.023866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5930-1_0_2_line_1 |  | 1 | 2 | 0.039884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5930-1_0_2_line_2 |  | 2 | 3 | 0.064656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5930-1_0_2_line_3 |  | 2 | 4 | 0.039039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5930-1_0_2_line_4 |  | 3 | 5 | 0.002092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5930-1_0_2_line_5 |  | 3 | 6 | 0.035608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5930-1_0_2_line_6 |  | 4 | 7 | 0.026992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5930-1_0_2_line_7 |  | 4 | 8 | 0.028416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5930-1_0_2_line_8 |  | 5 | 9 | 0.082361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5930-1_0_2_line_9 |  | 5 | 10 | 0.030382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5930-1_0_2_line_10 |  | 6 | 11 | 0.0088078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5930-1_0_2_line_11 |  | 7 | 12 | 0.022242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5930-1_0_2_line_12 |  | 8 | 13 | 0.01936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5930-1_0_2_line_13 |  | 8 | 14 | 0.021314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5930-1_0_2_line_14 |  | 9 | 68 | 0.023704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5930-1_0_2_line_15 |  | 11 | 34 | 0.040736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5930-1_0_2_line_16 |  | 11 | 35 | 0.32685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5930-1_0_2_line_17 |  | 12 | 15 | 0.0027357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5930-1_0_2_line_18 |  | 13 | 72 | 0.00047184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5930-1_0_2_line_19 |  | 15 | 16 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5930-1_0_2_line_20 |  | 16 | 17 | 0.011623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5930-1_0_2_line_21 |  | 17 | 18 | 0.024257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5930-1_0_2_line_22 |  | 17 | 19 | 0.028202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5930-1_0_2_line_23 |  | 17 | 20 | 0.022632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5930-1_0_2_line_24 |  | 18 | 21 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5930-1_0_2_line_25 |  | 19 | 22 | 0.0065614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5930-1_0_2_line_26 |  | 20 | 23 | 0.0083748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5930-1_0_2_line_27 |  | 21 | 45 | 0.0041455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5930-1_0_2_line_28 |  | 22 | 46 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5930-1_0_2_line_29 |  | 23 | 27 | 0.0011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5930-1_0_2_line_30 |  | 24 | 25 | 0.0017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5930-1_0_2_line_31 |  | 24 | 26 | 0.0098054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5930-1_0_2_line_32 |  | 25 | 27 | 0.0094531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5930-1_0_2_line_33 |  | 26 | 28 | 0.0025479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5930-1_0_2_line_34 |  | 28 | 29 | 0.0057825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5930-1_0_2_line_35 |  | 29 | 30 | 0.012062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5930-1_0_2_line_36 |  | 30 | 58 | 0.025092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5930-1_0_2_line_37 |  | 31 | 32 | 0.033674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5930-1_0_2_line_38 |  | 32 | 33 | 0.026872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5930-1_0_2_line_39 |  | 33 | 36 | 0.058313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5930-1_0_2_line_40 |  | 35 | 79 | 0.014713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5930-1_0_2_line_41 |  | 35 | 76 | 0.017489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5930-1_0_2_line_42 |  | 36 | 37 | 0.090231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5930-1_0_2_line_43 |  | 37 | 79 | 0.083157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5930-1_0_2_line_44 |  | 38 | 39 | 0.0035724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5930-1_0_2_line_45 |  | 38 | 40 | 0.027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5930-1_0_2_line_46 |  | 39 | 41 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5930-1_0_2_line_47 |  | 40 | 42 | 0.017652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5930-1_0_2_line_48 |  | 41 | 43 | 0.0058486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5930-1_0_2_line_49 |  | 43 | 44 | 0.0057376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5930-1_0_2_line_50 |  | 44 | 60 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5930-1_0_2_line_51 |  | 45 | 47 | 0.027301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5930-1_0_2_line_52 |  | 46 | 50 | 0.0015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5930-1_0_2_line_53 |  | 47 | 48 | 0.067462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5930-1_0_2_line_54 |  | 48 | 49 | 0.035609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5930-1_0_2_line_55 |  | 50 | 51 | 0.029982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5930-1_0_2_line_56 |  | 51 | 52 | 0.0086729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5930-1_0_2_line_57 |  | 52 | 53 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5930-1_0_2_line_58 |  | 52 | 54 | 0.086374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5930-1_0_2_line_59 |  | 53 | 55 | 0.059894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5930-1_0_2_line_60 |  | 54 | 56 | 0.028632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5930-1_0_2_line_61 |  | 54 | 57 | 0.06584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5930-1_0_2_line_62 |  | 55 | 67 | 0.0048014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5930-1_0_2_line_63 |  | 56 | 66 | 0.096133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5930-1_0_2_line_64 |  | 57 | 64 | 0.0032535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5930-1_0_2_line_65 |  | 58 | 59 | 0.0083882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5930-1_0_2_line_66 |  | 59 | 63 | 0.015222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5930-1_0_2_line_67 |  | 60 | 61 | 0.0063472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5930-1_0_2_line_68 |  | 61 | 62 | 0.065846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5930-1_0_2_line_69 |  | 61 | 63 | 0.0042156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5930-1_0_2_line_70 |  | 64 | 65 | 0.0015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5930-1_0_2_line_71 |  | 67 | 70 | 0.016318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5930-1_0_2_line_72 |  | 68 | 71 | 0.0047622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5930-1_0_2_line_73 |  | 69 | 70 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5930-1_0_2_line_74 |  | 71 | 73 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5930-1_0_2_line_75 |  | 73 | 74 | 0.036158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5930-1_0_2_line_76 |  | 75 | 76 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5930-1_0_2_line_77 |  | 75 | 77 | 0.065141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5930-1_0_2_line_78 |  | 77 | 78 | 0.029569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5930-1_0_2_line_79 |  | 78 | 80 | 0.013708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5930-1_0_2_trafo_8 | 0.63 MVA 20/0.4 kV | 81 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2534400.2271 | 1179672.6104 | 2534393.584 | 1179663.6772 | 2534385.987 | 1179653.4582
1 | 2534374.9309 | 1179617.9334 | 2534373.1738 | 1179628.3809 | 2534373.2611 | 1179636.34 | 2534385.987 | 1179653.4582
2 | 2534374.9309 | 1179617.9334 | 2534394.3512 | 1179621.4781 | 2534419.8491 | 1179629.5922 | 2534431.6404 | 1179634.7882 | 2534436.4505 | 1179637.3259
3 | 2534374.9309 | 1179617.9334 | 2534336.4554 | 1179610.7068
4 | 2534436.4505 | 1179637.3259 | 2534437.7696 | 1179635.6994
5 | 2534436.4505 | 1179637.3259 | 2534452.1397 | 1179651.0619 | 2534462.9608 | 1179661.0937
6 | 2534336.4554 | 1179610.7068 | 2534310.5916 | 1179605.4765 | 2534310.0091 | 1179605.3129
7 | 2534336.4554 | 1179610.7068 | 2534339.0387 | 1179614.992 | 2534336.6451 | 1179626.6027 | 2534335.962 | 1179638.139
8 | 2534437.7696 | 1179635.6994 | 2534435.0542 | 1179633.9948 | 2534420.6337 | 1179626.593 | 2534394.4548 | 1179618.3863 | 2534369.494 | 1179613.9797 | 2534359.5153 | 1179612.046
9 | 2534437.7696 | 1179635.6994 | 2534440.2041 | 1179632.6821 | 2534454.3937 | 1179621.8094 | 2534457.6011 | 1179616.8159 | 2534456.8521 | 1179614.2282
10 | 2534469.42 | 1179667.0818 | 2534462.9608 | 1179661.0937
11 | 2534310.0091 | 1179605.3129 | 2534288.5954 | 1179599.2987
12 | 2534335.962 | 1179638.139 | 2534326.1894 | 1179654.8512
13 | 2534335.962 | 1179638.139 | 2534349.5977 | 1179654.521
14 | 2534336.244 | 1179607.5364 | 2534359.5153 | 1179612.046
15 | 2534469.42 | 1179667.0818 | 2534492.6852 | 1179633.6427
16 | 2534469.42 | 1179667.0818 | 2534625.4773 | 1179954.272
17 | 2534286.0781 | 1179598.2374 | 2534288.1922 | 1179599.1855 | 2534288.5954 | 1179599.2987
18 | 2534325.9512 | 1179655.2585 | 2534326.1894 | 1179654.8512
19 | 2534286.0781 | 1179598.2374 | 2534269.1325 | 1179590.6378
20 | 2534258.5268 | 1179585.8814 | 2534269.1325 | 1179590.6378
21 | 2534258.5268 | 1179585.8814 | 2534242.084 | 1179603.7151
22 | 2534258.5268 | 1179585.8814 | 2534270.1814 | 1179566.1088 | 2534272.8367 | 1179561.5794
23 | 2534258.5268 | 1179585.8814 | 2534240.402 | 1179572.3276
24 | 2534242.084 | 1179603.7151 | 2534230.4599 | 1179616.3224
25 | 2534272.8367 | 1179561.5794 | 2534276.1551 | 1179555.919
26 | 2534234.065 | 1179566.8781 | 2534237.2822 | 1179569.9946 | 2534240.402 | 1179572.3276
27 | 2534227.6498 | 1179619.3702 | 2534230.4599 | 1179616.3224
28 | 2534276.1551 | 1179555.919 | 2534281.4417 | 1179546.9013
29 | 2534234.065 | 1179566.8781 | 2534233.2299 | 1179566.0691
30 | 2534225.1883 | 1179558.2793 | 2534226.4402 | 1179559.4919
31 | 2534218.337 | 1179551.2712 | 2534221.2363 | 1179554.4509 | 2534225.1883 | 1179558.2793
32 | 2534233.2299 | 1179566.0691 | 2534226.4402 | 1179559.4919
33 | 2534216.6203 | 1179549.3884 | 2534218.337 | 1179551.2712
34 | 2534216.6203 | 1179549.3884 | 2534212.7243 | 1179545.1154
35 | 2534204.5977 | 1179536.2026 | 2534212.7243 | 1179545.1154
36 | 2534204.5977 | 1179536.2026 | 2534193.7072 | 1179524.2586 | 2534187.1297 | 1179518.2206
37 | 2534646.8068 | 1180031.1854 | 2534676.0952 | 1180014.5691
38 | 2534699.7649 | 1180002.0267 | 2534696.7227 | 1180002.8664 | 2534676.0952 | 1180014.5691
39 | 2534755.9759 | 1179986.5109 | 2534699.7649 | 1180002.0267
40 | 2534625.4773 | 1179954.272 | 2534638.8303 | 1179948.0945
41 | 2534625.4773 | 1179954.272 | 2534611.1901 | 1179964.3585
42 | 2534711.5224 | 1179907.9398 | 2534755.9759 | 1179986.5109
43 | 2534711.5224 | 1179907.9398 | 2534664.8564 | 1179936.0539 | 2534638.8303 | 1179948.0945
44 | 2534153.5952 | 1179463.0131 | 2534152.3322 | 1179459.6715
45 | 2534144.5059 | 1179433.1589 | 2534146.9403 | 1179445.4058 | 2534152.3322 | 1179459.6715
46 | 2534157.2603 | 1179472.71 | 2534153.5952 | 1179463.0131
47 | 2534144.5059 | 1179433.1589 | 2534142.347 | 1179422.3432 | 2534139.3229 | 1179416.4505
48 | 2534157.2603 | 1179472.71 | 2534159.3281 | 1179478.1809
49 | 2534161.3567 | 1179483.5479 | 2534159.3281 | 1179478.1809
50 | 2534161.3567 | 1179483.5479 | 2534166.2945 | 1179496.6124
51 | 2534209.1455 | 1179639.4433 | 2534215.5625 | 1179632.48 | 2534227.6498 | 1179619.3702
52 | 2534282.2109 | 1179545.5893 | 2534281.4417 | 1179546.9013
53 | 2534169.1273 | 1179585.0635 | 2534209.1455 | 1179639.4433
54 | 2534177.4918 | 1179552.3528 | 2534170.7758 | 1179559.9199 | 2534168.1152 | 1179570.8443 | 2534169.1273 | 1179585.0635
55 | 2534282.2109 | 1179545.5893 | 2534297.3739 | 1179519.7246
56 | 2534301.7601 | 1179512.2426 | 2534297.3739 | 1179519.7246
57 | 2534312.8168 | 1179497.1237 | 2534301.7601 | 1179512.2426
58 | 2534280.9696 | 1179429.2013 | 2534292.5081 | 1179464.9061 | 2534296.6434 | 1179477.6235 | 2534302.2112 | 1179497.6627 | 2534302.7917 | 1179505.3051 | 2534301.7601 | 1179512.2426
59 | 2534312.8168 | 1179497.1237 | 2534347.405 | 1179529.4627 | 2534356.6821 | 1179537.9043
60 | 2534272.3347 | 1179401.9028 | 2534276.098 | 1179414.1351 | 2534280.9696 | 1179429.2013
61 | 2534280.9696 | 1179429.2013 | 2534267.7263 | 1179442.7878 | 2534259.7826 | 1179455.4489 | 2534245.4995 | 1179478.6746 | 2534242.4678 | 1179482.2057
62 | 2534356.6821 | 1179537.9043 | 2534360.2333 | 1179541.1357
63 | 2534272.3347 | 1179401.9028 | 2534235.7385 | 1179443.4617 | 2534207.6348 | 1179467.3397 | 2534203.8841 | 1179468.7707
64 | 2534242.4678 | 1179482.2057 | 2534240.3485 | 1179484.6743
65 | 2534180.9503 | 1179512.5481 | 2534187.1297 | 1179518.2206
66 | 2534180.9503 | 1179512.5481 | 2534178.9512 | 1179510.7131 | 2534168.0443 | 1179504.5884
67 | 2534164.3687 | 1179502.5243 | 2534166.4865 | 1179497.1202 | 2534166.2945 | 1179496.6124
68 | 2534164.3687 | 1179502.5243 | 2534156.311 | 1179498.5552 | 2534138.9586 | 1179489.9856 | 2534118.4051 | 1179481.4069 | 2534103.3947 | 1179478.7818
69 | 2534164.3687 | 1179502.5243 | 2534168.0443 | 1179504.5884
70 | 2534239.3519 | 1179485.8351 | 2534240.3485 | 1179484.6743
71 | 2534372.3026 | 1179552.118 | 2534360.2333 | 1179541.1357
72 | 2534331.5688 | 1179606.6305 | 2534336.244 | 1179607.5364
73 | 2534389.631 | 1179567.8859 | 2534372.3026 | 1179552.118
74 | 2534331.5688 | 1179606.6305 | 2534318.3824 | 1179604.0752
75 | 2534283.7815 | 1179593.8899 | 2534289.2842 | 1179596.3607 | 2534311.1261 | 1179602.669 | 2534318.3824 | 1179604.0752
76 | 2534599.6455 | 1179974.7838 | 2534605.8512 | 1179968.1276 | 2534611.1901 | 1179964.3585
77 | 2534579.5941 | 1180035.0304 | 2534580.9944 | 1180013.5918 | 2534585.5989 | 1179997.3656 | 2534594.5103 | 1179980.2918 | 2534599.6455 | 1179974.7838
78 | 2534579.5941 | 1180035.0304 | 2534585.5168 | 1180034.5654 | 2534603.2026 | 1180027.0234 | 2534607.3669 | 1180025.6001
79 | 2534617.337 | 1180030.0263 | 2534613.0811 | 1180023.6469 | 2534607.3669 | 1180025.6001

## bus_geodata
| x | y | coords
0 | 2534400.2271 | 1179672.6104
1 | 2534385.987 | 1179653.4582
2 | 2534374.9309 | 1179617.9334
3 | 2534436.4505 | 1179637.3259
4 | 2534336.4554 | 1179610.7068
5 | 2534437.7696 | 1179635.6994
6 | 2534462.9608 | 1179661.0937
7 | 2534310.0091 | 1179605.3129
8 | 2534335.962 | 1179638.139
9 | 2534359.5153 | 1179612.046
10 | 2534456.8521 | 1179614.2282
11 | 2534469.42 | 1179667.0818
12 | 2534288.5954 | 1179599.2987
13 | 2534326.1894 | 1179654.8512
14 | 2534349.5977 | 1179654.521
15 | 2534286.0781 | 1179598.2374
16 | 2534269.1325 | 1179590.6378
17 | 2534258.5268 | 1179585.8814
18 | 2534242.084 | 1179603.7151
19 | 2534272.8367 | 1179561.5794
20 | 2534240.402 | 1179572.3276
21 | 2534230.4599 | 1179616.3224
22 | 2534276.1551 | 1179555.919
23 | 2534234.065 | 1179566.8781
24 | 2534225.1883 | 1179558.2793
25 | 2534226.4402 | 1179559.4919
26 | 2534218.337 | 1179551.2712
27 | 2534233.2299 | 1179566.0691
28 | 2534216.6203 | 1179549.3884
29 | 2534212.7243 | 1179545.1154
30 | 2534204.5977 | 1179536.2026
31 | 2534646.8068 | 1180031.1854
32 | 2534676.0952 | 1180014.5691
33 | 2534699.7649 | 1180002.0267
34 | 2534492.6852 | 1179633.6427
35 | 2534625.4773 | 1179954.272
36 | 2534755.9759 | 1179986.5109
37 | 2534711.5224 | 1179907.9398
38 | 2534152.3322 | 1179459.6715
39 | 2534153.5952 | 1179463.0131
40 | 2534144.5059 | 1179433.1589
41 | 2534157.2603 | 1179472.71
42 | 2534139.3229 | 1179416.4505
43 | 2534159.3281 | 1179478.1809
44 | 2534161.3567 | 1179483.5479
45 | 2534227.6498 | 1179619.3702
46 | 2534281.4417 | 1179546.9013
47 | 2534209.1455 | 1179639.4433
48 | 2534169.1273 | 1179585.0635
49 | 2534177.4918 | 1179552.3528
50 | 2534282.2109 | 1179545.5893
51 | 2534297.3739 | 1179519.7246
52 | 2534301.7601 | 1179512.2426
53 | 2534312.8168 | 1179497.1237
54 | 2534280.9696 | 1179429.2013
55 | 2534356.6821 | 1179537.9043
56 | 2534272.3347 | 1179401.9028
57 | 2534242.4678 | 1179482.2057
58 | 2534187.1297 | 1179518.2206
59 | 2534180.9503 | 1179512.5481
60 | 2534166.2945 | 1179496.6124
61 | 2534164.3687 | 1179502.5243
62 | 2534103.3947 | 1179478.7818
63 | 2534168.0443 | 1179504.5884
64 | 2534240.3485 | 1179484.6743
65 | 2534239.3519 | 1179485.8351
66 | 2534203.8841 | 1179468.7706
67 | 2534360.2333 | 1179541.1357
68 | 2534336.244 | 1179607.5364
69 | 2534389.631 | 1179567.8859
70 | 2534372.3026 | 1179552.118
71 | 2534331.5688 | 1179606.6305
72 | 2534325.9512 | 1179655.2585
73 | 2534318.3824 | 1179604.0752
74 | 2534283.7815 | 1179593.8899
75 | 2534599.6455 | 1179974.7838
76 | 2534611.1901 | 1179964.3585
77 | 2534579.5941 | 1180035.0304
78 | 2534607.3669 | 1180025.6001
79 | 2534638.8303 | 1179948.0945
80 | 2534617.337 | 1180030.0263
81 | 2534336.4554 | 1179610.7068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1