## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5939-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5939-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5939-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5939-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5939-5_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5939-5_0_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_5939-5_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5939-5_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5939-5_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5939-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5939-5_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_5939-5_0_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_5939-5_0_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5939-5_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5939-5_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_5939-5_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5939-5_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_5939-5_0_3_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_5939-5_0_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_5939-5_0_3_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_5939-5_0_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_5939-5_0_3_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_5939-5_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_5939-5_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_5939-5_0_3_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_5939-5_0_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_5939-5_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_5939-5_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_5939-5_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_5939-5_0_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_5939-5_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_5939-5_0_3_node_110 | 0.4 | n |  | TRUE
32 | bus_LV_5939-5_0_3_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_5939-5_0_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_5939-5_0_3_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_5939-5_0_3_node_96 | 0.4 | n |  | TRUE
36 | bus_LV_5939-5_0_3_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_5939-5_0_3_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_5939-5_0_3_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_5939-5_0_3_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_5939-5_0_3_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_5939-5_0_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_5939-5_0_3_node_101 | 0.4 | n |  | TRUE
43 | bus_LV_5939-5_0_3_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_5939-5_0_3_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_5939-5_0_3_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_5939-5_0_3_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_5939-5_0_3_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_5939-5_0_3_node_114 | 0.4 | n |  | TRUE
49 | bus_LV_5939-5_0_3_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_5939-5_0_3_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_5939-5_0_3_node_105 | 0.4 | n |  | TRUE
52 | bus_LV_5939-5_0_3_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_5939-5_0_3_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_5939-5_0_3_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_5939-5_0_3_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_5939-5_0_3_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_5939-5_0_3_node_120 | 0.4 | n |  | TRUE
58 | bus_LV_5939-5_0_3_node_122 | 0.4 | n |  | TRUE
59 | bus_LV_5939-5_0_3_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_5939-5_0_3_node_130 | 0.4 | n |  | TRUE
61 | bus_LV_5939-5_0_3_node_129 | 0.4 | n |  | TRUE
62 | bus_LV_5939-5_0_3_node_125 | 0.4 | n |  | TRUE
63 | bus_LV_5939-5_0_3_node_124 | 0.4 | n |  | TRUE
64 | bus_LV_5939-5_0_3_node_119 | 0.4 | n |  | TRUE
65 | bus_LV_5939-5_0_3_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_5939-5_0_3_node_123 | 0.4 | n |  | TRUE
67 | bus_MV_454_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5939-5_0_3_load_0 | 0 | 0.0010702 | 0.00026821 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5939-5_0_3_load_1 | 1 | 0.0015269 | 0.00038267 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5939-5_0_3_load_5 | 4 | 0.0011317 | 0.00028363 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5939-5_0_3_load_4 | 6 | 0.0073835 | 0.0018505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5939-5_0_3_load_35 | 10 | 0.035059 | 0.0087865 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5939-5_0_3_load_14 | 12 | 0.012432 | 0.0031158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5939-5_0_3_load_15 | 14 | 0.0056351 | 0.0014123 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5939-5_0_3_load_82 | 17 | 0.0043638 | 0.0010937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5939-5_0_3_load_81 | 18 | 0.0046218 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5939-5_0_3_load_74 | 19 | 0.000777 | 0.00019473 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5939-5_0_3_load_72 | 20 | 0.00060541 | 0.00015173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5939-5_0_3_load_73 | 21 | 0.00041727 | 0.00010458 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5939-5_0_3_load_37 | 22 | 0.0042332 | 0.0010609 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5939-5_0_3_load_38 | 23 | 0.0011099 | 0.00027816 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5939-5_0_3_load_41 | 26 | 0.0019388 | 0.00048592 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5939-5_0_3_load_42 | 27 | 0.0020939 | 0.00052478 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5939-5_0_3_load_44 | 30 | 0.0041332 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5939-5_0_3_load_110 | 31 | 0.0035388 | 0.00088692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5939-5_0_3_load_97 | 32 | 0.0034803 | 0.00087225 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5939-5_0_3_load_98 | 34 | 0.0027408 | 0.00068691 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5939-5_0_3_load_96 | 35 | 0.0040945 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5939-5_0_3_load_92 | 36 | 0.0047063 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5939-5_0_3_load_93 | 37 | 0.0010679 | 0.00026764 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5939-5_0_3_load_80 | 39 | 0.0027229 | 0.00068242 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5939-5_0_3_load_111 | 40 | 0.0037643 | 0.00094343 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5939-5_0_3_load_101 | 42 | 0.0014557 | 0.00036484 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5939-5_0_3_load_99 | 43 | 0.0015816 | 0.00039637 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5939-5_0_3_load_112 | 44 | 0.0027029 | 0.00067742 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5939-5_0_3_load_113 | 45 | 0.0026663 | 0.00066823 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5939-5_0_3_load_100 | 46 | 0.0015107 | 0.00037863 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5939-5_0_3_load_102 | 47 | 0.0013803 | 0.00034592 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5939-5_0_3_load_114 | 48 | 0.0015102 | 0.00037848 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5939-5_0_3_load_103 | 49 | 0.0041372 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5939-5_0_3_load_104 | 50 | 0.007012 | 0.0017574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5939-5_0_3_load_106 | 52 | 0.0063005 | 0.0015791 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5939-5_0_3_load_107 | 53 | 0.0082858 | 0.0020766 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5939-5_0_3_load_108 | 54 | 0.0028577 | 0.0007162 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5939-5_0_3_load_115 | 55 | 0.0045127 | 0.001131 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5939-5_0_3_load_109 | 56 | 0.0089212 | 0.0022359 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5939-5_0_3_load_118 | 59 | 0.010671 | 0.0026744 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5939-5_0_3_load_130 | 60 | 0.0028324 | 0.00070988 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5939-5_0_3_load_129 | 61 | 0.0028487 | 0.00071395 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5939-5_0_3_load_125 | 62 | 0.012529 | 0.0031402 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5939-5_0_3_load_124 | 63 | 0.011787 | 0.002954 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5939-5_0_3_load_119 | 64 | 0.0096069 | 0.0024077 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5939-5_0_3_load_121 | 65 | 0.019175 | 0.0048056 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5939-5_0_3_load_123 | 66 | 0.029175 | 0.0073119 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5939-5_0_3_line_0 |  | 0 | 1 | 0.020348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5939-5_0_3_line_1 |  | 0 | 2 | 0.017039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5939-5_0_3_line_2 |  | 1 | 3 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5939-5_0_3_line_3 |  | 2 | 4 | 0.015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5939-5_0_3_line_4 |  | 3 | 5 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5939-5_0_3_line_5 |  | 4 | 8 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5939-5_0_3_line_6 |  | 5 | 10 | 0.017177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5939-5_0_3_line_7 |  | 6 | 7 | 0.033132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5939-5_0_3_line_8 |  | 7 | 9 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5939-5_0_3_line_9 |  | 8 | 11 | 0.005513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5939-5_0_3_line_10 |  | 9 | 10 | 0.0094324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5939-5_0_3_line_11 |  | 11 | 19 | 0.01824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5939-5_0_3_line_12 |  | 11 | 20 | 0.036659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5939-5_0_3_line_13 |  | 12 | 13 | 0.026738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5939-5_0_3_line_14 |  | 13 | 16 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5939-5_0_3_line_15 |  | 13 | 15 | 0.043649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5939-5_0_3_line_16 |  | 14 | 15 | 0.02481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5939-5_0_3_line_17 |  | 16 | 17 | 0.079171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5939-5_0_3_line_18 |  | 17 | 18 | 0.021374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5939-5_0_3_line_19 |  | 18 | 39 | 0.022014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5939-5_0_3_line_20 |  | 20 | 21 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5939-5_0_3_line_21 |  | 21 | 38 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5939-5_0_3_line_22 |  | 22 | 23 | 0.023737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5939-5_0_3_line_23 |  | 22 | 24 | 0.015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5939-5_0_3_line_24 |  | 23 | 25 | 0.025806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5939-5_0_3_line_25 |  | 24 | 26 | 0.014786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5939-5_0_3_line_26 |  | 24 | 27 | 0.04651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5939-5_0_3_line_27 |  | 24 | 28 | 0.003277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5939-5_0_3_line_28 |  | 25 | 29 | 0.068942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5939-5_0_3_line_29 |  | 26 | 30 | 0.019053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5939-5_0_3_line_30 |  | 28 | 31 | 0.004857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5939-5_0_3_line_31 |  | 28 | 32 | 0.0025344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5939-5_0_3_line_32 |  | 29 | 36 | 0.043554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5939-5_0_3_line_33 |  | 29 | 37 | 0.026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5939-5_0_3_line_34 |  | 29 | 38 | 0.051128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5939-5_0_3_line_35 |  | 31 | 40 | 0.0076233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5939-5_0_3_line_36 |  | 32 | 35 | 0.0082501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5939-5_0_3_line_37 |  | 33 | 34 | 0.02669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5939-5_0_3_line_38 |  | 33 | 35 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5939-5_0_3_line_39 |  | 34 | 44 | 0.012696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5939-5_0_3_line_40 |  | 38 | 39 | 0.013885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5939-5_0_3_line_41 |  | 40 | 41 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5939-5_0_3_line_42 |  | 41 | 42 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5939-5_0_3_line_43 |  | 42 | 43 | 0.001065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5939-5_0_3_line_44 |  | 43 | 46 | 0.0086456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5939-5_0_3_line_45 |  | 44 | 45 | 0.011338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_5939-5_0_3_line_46 |  | 45 | 60 | 0.0070518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_5939-5_0_3_line_47 |  | 46 | 47 | 0.0080809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5939-5_0_3_line_48 |  | 47 | 48 | 0.0080821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5939-5_0_3_line_49 |  | 49 | 50 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5939-5_0_3_line_50 |  | 49 | 51 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5939-5_0_3_line_51 |  | 50 | 52 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5939-5_0_3_line_52 |  | 51 | 53 | 0.014927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5939-5_0_3_line_53 |  | 51 | 54 | 0.0043252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5939-5_0_3_line_54 |  | 52 | 55 | 0.010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5939-5_0_3_line_55 |  | 53 | 56 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5939-5_0_3_line_56 |  | 54 | 57 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5939-5_0_3_line_57 |  | 57 | 58 | 0.007284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_5939-5_0_3_line_58 |  | 57 | 59 | 0.029822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5939-5_0_3_line_59 |  | 58 | 61 | 0.012186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5939-5_0_3_line_60 |  | 59 | 64 | 0.029746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5939-5_0_3_line_61 |  | 60 | 61 | 0.0053937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5939-5_0_3_line_62 |  | 62 | 63 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5939-5_0_3_line_63 |  | 63 | 66 | 0.040796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5939-5_0_3_line_64 |  | 64 | 65 | 0.090182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5939-5_0_3_line_65 |  | 65 | 66 | 0.047215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5939-5_0_3_trafo_118 | 0.63 MVA 20/0.4 kV | 67 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2547590.0962 | 1183250.0181 | 2547599.3717 | 1183268.1286
1 | 2547582.3292 | 1183234.8528 | 2547590.0962 | 1183250.0181
2 | 2547605.2123 | 1183279.5325 | 2547599.3717 | 1183268.1286
3 | 2547582.3292 | 1183234.8528 | 2547568.015 | 1183240.8885
4 | 2547605.2123 | 1183279.5325 | 2547611.7368 | 1183292.2602
5 | 2547550.2605 | 1183248.3748 | 2547568.015 | 1183240.8885
6 | 2547611.7368 | 1183292.2602 | 2547627.8545 | 1183286.3203
7 | 2547629.4403 | 1183267.7583 | 2547614.3695 | 1183238.252
8 | 2547629.4403 | 1183267.7583 | 2547636.705 | 1183283.0586
9 | 2547547.7135 | 1183243.4833 | 2547550.2605 | 1183248.3748
10 | 2547636.705 | 1183283.0586 | 2547627.8545 | 1183286.3203
11 | 2547547.7135 | 1183243.4833 | 2547530.7741 | 1183250.2485
12 | 2547547.7135 | 1183243.4833 | 2547530.8134 | 1183210.9523
13 | 2547650.4134 | 1183169.3759 | 2547647.1887 | 1183162.945 | 2547628.4886 | 1183168.6276
14 | 2547650.4134 | 1183169.3759 | 2547654.2102 | 1183167.9085 | 2547650.5672 | 1183153.8104
15 | 2547670.0172 | 1183208.3925 | 2547650.4134 | 1183169.3759
16 | 2547670.0172 | 1183208.3925 | 2547647.9579 | 1183219.7468
17 | 2547650.5672 | 1183153.8104 | 2547625.5503 | 1183158.3875 | 2547596.7106 | 1183164.9438 | 2547591.1439 | 1183165.7041 | 2547588.5474 | 1183165.6157 | 2547585.8373 | 1183165.6395 | 2547581.5177 | 1183166.7001 | 2547573.2041 | 1183169.5498
18 | 2547552.9846 | 1183176.4804 | 2547573.2041 | 1183169.5498
19 | 2547532.2493 | 1183183.8744 | 2547551.7938 | 1183176.8886 | 2547552.9846 | 1183176.4804
20 | 2547530.8134 | 1183210.9523 | 2547525.0045 | 1183199.7708
21 | 2547519.1741 | 1183188.5478 | 2547525.0045 | 1183199.7708
22 | 2547409.6207 | 1183175.3358 | 2547426.5252 | 1183191.9992
23 | 2547398.8565 | 1183164.7251 | 2547409.6207 | 1183175.3358
24 | 2547438.8168 | 1183212.5335 | 2547437.6318 | 1183208.8752 | 2547437.4069 | 1183207.6098 | 2547438.407 | 1183204.9996 | 2547438.3281 | 1183203.8441 | 2547432.4809 | 1183197.8699 | 2547426.5252 | 1183191.9992
25 | 2547398.8565 | 1183164.7251 | 2547388.2286 | 1183175.0043
26 | 2547398.8565 | 1183164.7251 | 2547382.3654 | 1183148.2277 | 2547365.8707 | 1183131.9369
27 | 2547401.2184 | 1183162.4475 | 2547398.8565 | 1183164.7251
28 | 2547438.8168 | 1183212.5335 | 2547448.368 | 1183209.0921 | 2547451.4281 | 1183208.0757 | 2547474.953 | 1183199.6867 | 2547484.0376 | 1183196.1494 | 2547486.3166 | 1183200.0648 | 2547494.5103 | 1183214.1674
29 | 2547373.0293 | 1183184.7745 | 2547378.3942 | 1183184.516 | 2547388.2286 | 1183175.0043
30 | 2547401.2184 | 1183162.4475 | 2547397.7388 | 1183159.0589
31 | 2547401.2184 | 1183162.4475 | 2547403.0035 | 1183164.2465
32 | 2547494.5103 | 1183214.1674 | 2547469.9257 | 1183225.3227 | 2547474.4872 | 1183241.2389
33 | 2547494.5103 | 1183214.1674 | 2547469.9257 | 1183225.3227
34 | 2547494.5103 | 1183214.1674 | 2547486.3166 | 1183200.0648 | 2547519.1741 | 1183188.5478
35 | 2547397.7388 | 1183159.0589 | 2547392.2773 | 1183153.7404
36 | 2547408.8144 | 1183170.1029 | 2547403.0035 | 1183164.2465
37 | 2547428.7102 | 1183190.1544 | 2547430.4046 | 1183187.4936 | 2547432.2075 | 1183185.8768 | 2547433.8134 | 1183185.3069 | 2547435.2174 | 1183185.2278 | 2547447.1418 | 1183184.2558 | 2547453.1779 | 1183184.4482
38 | 2547428.7102 | 1183190.1544 | 2547408.8144 | 1183170.1029
39 | 2547453.1779 | 1183184.4482 | 2547459.1697 | 1183184.6392 | 2547465.1734 | 1183181.6621
40 | 2547519.1741 | 1183188.5478 | 2547532.2493 | 1183183.8744
41 | 2547374.9591 | 1183136.8755 | 2547392.2773 | 1183153.7404
42 | 2547374.9591 | 1183136.8755 | 2547385.5177 | 1183126.5732
43 | 2547386.2799 | 1183125.8295 | 2547385.5177 | 1183126.5732
44 | 2547386.2799 | 1183125.8295 | 2547392.4679 | 1183119.7917
45 | 2547465.1734 | 1183181.6621 | 2547468.2079 | 1183180.1573 | 2547470.6373 | 1183177.7236 | 2547473.8326 | 1183174.5374
46 | 2547478.8262 | 1183169.5582 | 2547473.8326 | 1183174.5374
47 | 2547398.2518 | 1183114.1482 | 2547392.4679 | 1183119.7917
48 | 2547404.0365 | 1183108.5039 | 2547398.2518 | 1183114.1482
49 | 2547461.6237 | 1183118.1993 | 2547453.8088 | 1183110.3953
50 | 2547480.7414 | 1183137.2903 | 2547461.6237 | 1183118.1993
51 | 2547444.5015 | 1183101.101 | 2547453.8088 | 1183110.3953
52 | 2547480.7414 | 1183137.2903 | 2547491.5263 | 1183126.9703
53 | 2547480.7414 | 1183137.2903 | 2547483.8598 | 1183140.2875
54 | 2547436.7379 | 1183093.3482 | 2547444.5015 | 1183101.101
55 | 2547504.4354 | 1183114.6177 | 2547491.5263 | 1183126.9703
56 | 2547497.3497 | 1183153.2533 | 2547483.8598 | 1183140.2875
57 | 2547497.3497 | 1183153.2533 | 2547492.9031 | 1183155.4935 | 2547491.2608 | 1183157.1311
58 | 2547497.3497 | 1183153.2533 | 2547500.0915 | 1183153.3626 | 2547517.8023 | 1183154.0408 | 2547527.1346 | 1183153.3965
59 | 2547491.2608 | 1183157.1311 | 2547482.6412 | 1183165.7455
60 | 2547527.1346 | 1183153.3965 | 2547529.2397 | 1183153.2512 | 2547533.4969 | 1183152.9136 | 2547544.4864 | 1183147.1918 | 2547552.5129 | 1183139.7055
61 | 2547478.8262 | 1183169.5582 | 2547482.6412 | 1183165.7455
62 | 2547520.3286 | 1183019.853 | 2547530.5274 | 1183029.7882
63 | 2547559.7498 | 1183058.255 | 2547530.5274 | 1183029.7882
64 | 2547552.5129 | 1183139.7055 | 2547556.6633 | 1183135.8343 | 2547572.8253 | 1183132.2684 | 2547584.8211 | 1183128.9837 | 2547595.9153 | 1183120.3929 | 2547597.9242 | 1183118.7521 | 2547609.469 | 1183106.6888 | 2547593.5704 | 1183091.2012
65 | 2547593.5704 | 1183091.2012 | 2547559.7498 | 1183058.255

## bus_geodata
| x | y | coords
0 | 2547590.0962 | 1183250.0181
1 | 2547599.3717 | 1183268.1286
2 | 2547582.3292 | 1183234.8528
3 | 2547605.2123 | 1183279.5325
4 | 2547568.015 | 1183240.8885
5 | 2547611.7368 | 1183292.2602
6 | 2547614.3695 | 1183238.252
7 | 2547629.4403 | 1183267.7583
8 | 2547550.2605 | 1183248.3748
9 | 2547636.705 | 1183283.0586
10 | 2547627.8545 | 1183286.3203
11 | 2547547.7135 | 1183243.4833
12 | 2547628.4886 | 1183168.6276
13 | 2547650.4134 | 1183169.3759
14 | 2547647.9579 | 1183219.7468
15 | 2547670.0172 | 1183208.3925
16 | 2547650.5672 | 1183153.8104
17 | 2547573.2041 | 1183169.5498
18 | 2547552.9846 | 1183176.4804
19 | 2547530.7741 | 1183250.2485
20 | 2547530.8134 | 1183210.9523
21 | 2547525.0045 | 1183199.7708
22 | 2547409.6207 | 1183175.3358
23 | 2547426.5252 | 1183191.9992
24 | 2547398.8565 | 1183164.7251
25 | 2547438.8168 | 1183212.5335
26 | 2547388.2286 | 1183175.0043
27 | 2547365.8707 | 1183131.9369
28 | 2547401.2184 | 1183162.4475
29 | 2547494.5103 | 1183214.1674
30 | 2547373.0293 | 1183184.7745
31 | 2547397.7388 | 1183159.0589
32 | 2547403.0035 | 1183164.2465
33 | 2547428.7102 | 1183190.1544
34 | 2547453.1779 | 1183184.4482
35 | 2547408.8144 | 1183170.1029
36 | 2547474.4872 | 1183241.2389
37 | 2547469.9257 | 1183225.3227
38 | 2547519.1741 | 1183188.5478
39 | 2547532.2493 | 1183183.8744
40 | 2547392.2773 | 1183153.7404
41 | 2547374.9591 | 1183136.8755
42 | 2547385.5177 | 1183126.5732
43 | 2547386.2799 | 1183125.8295
44 | 2547465.1734 | 1183181.6621
45 | 2547473.8326 | 1183174.5374
46 | 2547392.4679 | 1183119.7917
47 | 2547398.2518 | 1183114.1482
48 | 2547404.0365 | 1183108.5039
49 | 2547461.6237 | 1183118.1993
50 | 2547453.8088 | 1183110.3953
51 | 2547480.7414 | 1183137.2903
52 | 2547444.5015 | 1183101.101
53 | 2547491.5263 | 1183126.9703
54 | 2547483.8598 | 1183140.2875
55 | 2547436.7379 | 1183093.3482
56 | 2547504.4354 | 1183114.6177
57 | 2547497.3497 | 1183153.2533
58 | 2547491.2608 | 1183157.1311
59 | 2547527.1346 | 1183153.3965
60 | 2547478.8262 | 1183169.5582
61 | 2547482.6412 | 1183165.7455
62 | 2547520.3286 | 1183019.853
63 | 2547530.5274 | 1183029.7882
64 | 2547552.5129 | 1183139.7055
65 | 2547593.5704 | 1183091.2012
66 | 2547559.7498 | 1183058.255
67 | 2547497.3497 | 1183153.2533

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1