## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_623-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_623-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_623-7_0_4_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_623-7_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_623-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_623-7_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_623-7_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_623-7_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_623-7_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_623-7_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_623-7_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_623-7_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_623-7_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_623-7_0_4_node_169 | 0.4 | n |  | TRUE
14 | bus_LV_623-7_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_623-7_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_623-7_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_623-7_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_623-7_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_623-7_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_623-7_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_623-7_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_623-7_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_623-7_0_4_node_175 | 0.4 | n |  | TRUE
24 | bus_LV_623-7_0_4_node_131 | 0.4 | n |  | TRUE
25 | bus_LV_623-7_0_4_node_132 | 0.4 | n |  | TRUE
26 | bus_LV_623-7_0_4_node_133 | 0.4 | n |  | TRUE
27 | bus_LV_623-7_0_4_node_142 | 0.4 | n |  | TRUE
28 | bus_LV_623-7_0_4_node_141 | 0.4 | n |  | TRUE
29 | bus_LV_623-7_0_4_node_144 | 0.4 | n |  | TRUE
30 | bus_LV_623-7_0_4_node_143 | 0.4 | n |  | TRUE
31 | bus_LV_623-7_0_4_node_137 | 0.4 | n |  | TRUE
32 | bus_LV_623-7_0_4_node_134 | 0.4 | n |  | TRUE
33 | bus_LV_623-7_0_4_node_168 | 0.4 | n |  | TRUE
34 | bus_LV_623-7_0_4_node_128 | 0.4 | n |  | TRUE
35 | bus_LV_623-7_0_4_node_129 | 0.4 | n |  | TRUE
36 | bus_LV_623-7_0_4_node_146 | 0.4 | n |  | TRUE
37 | bus_LV_623-7_0_4_node_135 | 0.4 | n |  | TRUE
38 | bus_LV_623-7_0_4_node_147 | 0.4 | n |  | TRUE
39 | bus_LV_623-7_0_4_node_149 | 0.4 | n |  | TRUE
40 | bus_LV_623-7_0_4_node_150 | 0.4 | n |  | TRUE
41 | bus_LV_623-7_0_4_node_145 | 0.4 | n |  | TRUE
42 | bus_LV_623-7_0_4_node_151 | 0.4 | n |  | TRUE
43 | bus_LV_623-7_0_4_node_152 | 0.4 | n |  | TRUE
44 | bus_LV_623-7_0_4_node_166 | 0.4 | n |  | TRUE
45 | bus_LV_623-7_0_4_node_153 | 0.4 | n |  | TRUE
46 | bus_LV_623-7_0_4_node_154 | 0.4 | n |  | TRUE
47 | bus_LV_623-7_0_4_node_155 | 0.4 | n |  | TRUE
48 | bus_LV_623-7_0_4_node_156 | 0.4 | n |  | TRUE
49 | bus_LV_623-7_0_4_node_162 | 0.4 | n |  | TRUE
50 | bus_LV_623-7_0_4_node_160 | 0.4 | n |  | TRUE
51 | bus_LV_623-7_0_4_node_157 | 0.4 | n |  | TRUE
52 | bus_LV_623-7_0_4_node_158 | 0.4 | n |  | TRUE
53 | bus_LV_623-7_0_4_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_623-7_0_4_node_161 | 0.4 | n |  | TRUE
55 | bus_LV_623-7_0_4_node_164 | 0.4 | n |  | TRUE
56 | bus_LV_623-7_0_4_node_163 | 0.4 | n |  | TRUE
57 | bus_LV_623-7_0_4_node_138 | 0.4 | n |  | TRUE
58 | bus_LV_623-7_0_4_node_165 | 0.4 | n |  | TRUE
59 | bus_LV_623-7_0_4_node_136 | 0.4 | n |  | TRUE
60 | bus_LV_623-7_0_4_node_171 | 0.4 | n |  | TRUE
61 | bus_LV_623-7_0_4_node_167 | 0.4 | n |  | TRUE
62 | bus_LV_623-7_0_4_node_170 | 0.4 | n |  | TRUE
63 | bus_LV_623-7_0_4_node_176 | 0.4 | n |  | TRUE
64 | bus_MV_121_1_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_623-7_0_4_load_0 | 0 | 0.0014734 | 0.00036927 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_623-7_0_4_load_1 | 1 | 0.001454 | 0.00036441 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_623-7_0_4_load_2 | 3 | 0.0019545 | 0.00048986 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_623-7_0_4_load_4 | 4 | 0.0032132 | 0.00080531 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_623-7_0_4_load_3 | 5 | 0.0026933 | 0.00067501 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_623-7_0_4_load_5 | 6 | 0.0023281 | 0.00058347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_623-7_0_4_load_6 | 7 | 0.0066487 | 0.0016663 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_623-7_0_4_load_11 | 8 | 0.0056357 | 0.0014124 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_623-7_0_4_load_7 | 9 | 0.0045567 | 0.001142 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_623-7_0_4_load_10 | 12 | 0.0077189 | 0.0019345 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_623-7_0_4_load_12 | 14 | 0.056276 | 0.014104 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_623-7_0_4_load_13 | 15 | 0.020173 | 0.0050558 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_623-7_0_4_load_20 | 16 | 0.038006 | 0.0095253 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_623-7_0_4_load_15 | 17 | 0.003597 | 0.00090149 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_623-7_0_4_load_16 | 18 | 0.018545 | 0.0046479 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_623-7_0_4_load_17 | 19 | 0.021 | 0.005263 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_623-7_0_4_load_18 | 20 | 0.0070184 | 0.001759 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_623-7_0_4_load_175 | 23 | 0.036872 | 0.0092409 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_623-7_0_4_load_131 | 24 | 0.0008936 | 0.00022396 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_623-7_0_4_load_132 | 25 | 0.00087195 | 0.00021853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_623-7_0_4_load_133 | 26 | 0.0010659 | 0.00026714 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_623-7_0_4_load_141 | 28 | 0.00052797 | 0.00013232 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_623-7_0_4_load_143 | 30 | 0.00029591 | 7.4161e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_623-7_0_4_load_137 | 31 | 0.0018501 | 0.00046369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_623-7_0_4_load_134 | 32 | 0.0038096 | 0.00095479 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_623-7_0_4_load_168 | 33 | 0.0011729 | 0.00029395 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_623-7_0_4_load_146 | 36 | 0.00019907 | 4.9893e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_623-7_0_4_load_149 | 39 | 0.00018753 | 4.7e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_623-7_0_4_load_150 | 40 | 0.00017908 | 4.4881e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_623-7_0_4_load_151 | 42 | 0.00035772 | 8.9654e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_623-7_0_4_load_152 | 43 | 0.00071955 | 0.00018034 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_623-7_0_4_load_166 | 44 | 0.00057059 | 0.000143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_623-7_0_4_load_153 | 45 | 0.0030881 | 0.00077396 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_623-7_0_4_load_154 | 46 | 0.00039162 | 9.8148e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_623-7_0_4_load_162 | 49 | 0.0014429 | 0.00036162 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_623-7_0_4_load_160 | 50 | 0.0022388 | 0.0005611 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_623-7_0_4_load_158 | 52 | 0.0019291 | 0.00048348 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_623-7_0_4_load_159 | 53 | 0.00041865 | 0.00010492 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_623-7_0_4_load_161 | 54 | 0.00038485 | 9.6452e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_623-7_0_4_load_138 | 57 | 0.00074628 | 0.00018703 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_623-7_0_4_load_136 | 59 | 0.00066923 | 0.00016772 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_623-7_0_4_load_171 | 60 | 0.0017026 | 0.00042671 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_623-7_0_4_load_167 | 61 | 0.00068079 | 0.00017062 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_623-7_0_4_load_170 | 62 | 0.0023356 | 0.00058537 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_623-7_0_4_load_176 | 63 | 0.02026 | 0.0050775 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_623-7_0_4_line_0 |  | 0 | 1 | 0.03387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_623-7_0_4_line_1 |  | 0 | 2 | 0.24574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_623-7_0_4_line_2 |  | 1 | 3 | 0.033335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_623-7_0_4_line_3 |  | 2 | 14 | 0.048632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_623-7_0_4_line_4 |  | 3 | 4 | 0.034661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_623-7_0_4_line_5 |  | 4 | 5 | 0.03041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_623-7_0_4_line_6 |  | 5 | 6 | 0.028975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_623-7_0_4_line_7 |  | 6 | 7 | 0.028197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_623-7_0_4_line_8 |  | 7 | 8 | 0.025165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_623-7_0_4_line_9 |  | 8 | 12 | 0.023085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_623-7_0_4_line_10 |  | 9 | 10 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_623-7_0_4_line_11 |  | 10 | 11 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_623-7_0_4_line_12 |  | 11 | 12 | 0.029013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_623-7_0_4_line_13 |  | 11 | 13 | 0.31212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_623-7_0_4_line_14 |  | 13 | 33 | 0.065398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_623-7_0_4_line_15 |  | 14 | 15 | 0.034678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_623-7_0_4_line_16 |  | 14 | 16 | 0.14868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_623-7_0_4_line_17 |  | 15 | 17 | 0.0075648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_623-7_0_4_line_18 |  | 16 | 20 | 0.048952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_623-7_0_4_line_19 |  | 17 | 18 | 0.0086053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_623-7_0_4_line_20 |  | 19 | 20 | 0.0047452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_623-7_0_4_line_21 |  | 19 | 21 | 0.073485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_623-7_0_4_line_22 |  | 21 | 22 | 0.054653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_623-7_0_4_line_23 |  | 22 | 23 | 0.02344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_623-7_0_4_line_24 |  | 23 | 34 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_623-7_0_4_line_25 |  | 24 | 25 | 0.015365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_623-7_0_4_line_26 |  | 24 | 26 | 0.056904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_623-7_0_4_line_27 |  | 25 | 32 | 0.015431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_623-7_0_4_line_28 |  | 25 | 33 | 0.14488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_623-7_0_4_line_29 |  | 26 | 37 | 0.018265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_623-7_0_4_line_30 |  | 27 | 28 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_623-7_0_4_line_31 |  | 27 | 29 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_623-7_0_4_line_32 |  | 29 | 41 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_623-7_0_4_line_33 |  | 29 | 60 | 0.033976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_623-7_0_4_line_34 |  | 30 | 31 | 0.058053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_623-7_0_4_line_35 |  | 31 | 57 | 0.011435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_623-7_0_4_line_36 |  | 31 | 59 | 0.036749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_623-7_0_4_line_37 |  | 32 | 45 | 0.023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_623-7_0_4_line_38 |  | 34 | 35 | 0.002401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_623-7_0_4_line_39 |  | 35 | 63 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_623-7_0_4_line_40 |  | 36 | 37 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_623-7_0_4_line_41 |  | 36 | 38 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_623-7_0_4_line_42 |  | 38 | 39 | 0.040507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_623-7_0_4_line_43 |  | 38 | 40 | 0.018903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_623-7_0_4_line_44 |  | 39 | 42 | 0.0058576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_623-7_0_4_line_45 |  | 40 | 41 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_623-7_0_4_line_46 |  | 42 | 43 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_623-7_0_4_line_47 |  | 43 | 44 | 0.031666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_623-7_0_4_line_48 |  | 44 | 61 | 0.0030893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_623-7_0_4_line_49 |  | 46 | 47 | 0.022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_623-7_0_4_line_50 |  | 47 | 48 | 0.036871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_623-7_0_4_line_51 |  | 48 | 49 | 0.036915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_623-7_0_4_line_52 |  | 48 | 50 | 0.038865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_623-7_0_4_line_53 |  | 49 | 62 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_623-7_0_4_line_54 |  | 50 | 54 | 0.021565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_623-7_0_4_line_55 |  | 51 | 52 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_623-7_0_4_line_56 |  | 51 | 53 | 0.030126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_623-7_0_4_line_57 |  | 52 | 54 | 0.040561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_623-7_0_4_line_58 |  | 53 | 55 | 0.0064996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_623-7_0_4_line_59 |  | 55 | 56 | 0.035539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_623-7_0_4_line_60 |  | 56 | 57 | 0.0072096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_623-7_0_4_line_61 |  | 56 | 58 | 0.038592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_623-7_0_4_line_62 |  | 58 | 60 | 0.0065038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_623-7_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 64 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2607336.44 | 1195291.0536 | 2607336.44 | 1195291.0536 | 2607307.3121 | 1195308.3377
1 | 2607504.1358 | 1195111.4313 | 2607336.44 | 1195291.0536
2 | 2607307.3121 | 1195308.3377 | 2607278.6441 | 1195325.3489
3 | 2607504.1358 | 1195111.4313 | 2607523.1843 | 1195104.2512 | 2607547.9632 | 1195090.6316
4 | 2607247.6083 | 1195338.198 | 2607256.4179 | 1195338.5376 | 2607278.6441 | 1195325.3489
5 | 2607218.4612 | 1195330.3936 | 2607240.3435 | 1195337.918 | 2607247.6083 | 1195338.198
6 | 2607218.4612 | 1195330.3936 | 2607214.9079 | 1195329.1718 | 2607193.6778 | 1195315.563
7 | 2607193.6778 | 1195315.563 | 2607185.9262 | 1195310.5941 | 2607172.9175 | 1195296.7603
8 | 2607155.5021 | 1195278.6032 | 2607158.4958 | 1195281.4238 | 2607172.9175 | 1195296.7603
9 | 2607138.7004 | 1195262.773 | 2607155.5021 | 1195278.6032
10 | 2607109.0135 | 1195254.9958 | 2607098.1451 | 1195245.5446 | 2607096.2076 | 1195243.0233
11 | 2607109.0135 | 1195254.9958 | 2607117.5835 | 1195242.8772
12 | 2607117.5835 | 1195242.8772 | 2607138.7004 | 1195262.773
13 | 2607127.422 | 1194930.9124 | 2607117.5835 | 1195242.8772
14 | 2607127.422 | 1194930.9124 | 2607129.8138 | 1194899.1762 | 2607131.6909 | 1194883.9148 | 2607134.5655 | 1194869.166 | 2607135.5931 | 1194866.1687
15 | 2607547.9632 | 1195090.6316 | 2607567.9836 | 1195079.6275 | 2607579.812 | 1195079.3236
16 | 2607470.4197 | 1194963.7788 | 2607547.9632 | 1195090.6316
17 | 2607587.3743 | 1195079.1294 | 2607579.812 | 1195079.3236
18 | 2607470.4197 | 1194963.7788 | 2607496.789 | 1194922.5366
19 | 2607595.6319 | 1195081.5505 | 2607587.3743 | 1195079.1294 | 2607587.3743 | 1195079.1294
20 | 2607496.789 | 1194922.5366 | 2607499.3452 | 1194918.5387
21 | 2607530.1953 | 1194852.7378 | 2607521.6919 | 1194883.588 | 2607499.3452 | 1194918.5387
22 | 2607530.1953 | 1194852.7378 | 2607484.5864 | 1194822.4317
23 | 2607484.5864 | 1194822.4317 | 2607473.0679 | 1194833.2899 | 2607465.7737 | 1194835.4598
24 | 2607449.0553 | 1194836.9399 | 2607465.7737 | 1194835.4598
25 | 2607039.7108 | 1194754.9053 | 2607034.5901 | 1194761.8252 | 2607030.0948 | 1194766.8692
26 | 2607011.8315 | 1194707.4466 | 2607017.0295 | 1194714.3574 | 2607020.8983 | 1194729.0363 | 2607038.8578 | 1194748.0006 | 2607039.7108 | 1194754.9053 | 2607039.7108 | 1194754.9053
27 | 2607030.0948 | 1194766.8692 | 2607023.5048 | 1194774.2633 | 2607018.2342 | 1194772.6007
28 | 2607030.0948 | 1194766.8692 | 2607135.5931 | 1194866.1687
29 | 2607000.5812 | 1194693.0604 | 2607007.7482 | 1194702.0179 | 2607011.8315 | 1194707.4466
30 | 2607052.8538 | 1194637.7253 | 2607045.1154 | 1194628.6448 | 2607044.769 | 1194628.1513
31 | 2607052.8538 | 1194637.7253 | 2607056.4861 | 1194639.5749 | 2607060.1416 | 1194641.2023 | 2607063.4854 | 1194642.1845
32 | 2607063.4854 | 1194642.1845 | 2607059.2294 | 1194645.8926 | 2607055.1098 | 1194650.2568
33 | 2607063.4854 | 1194642.1845 | 2607067.8693 | 1194639.8551 | 2607072.6872 | 1194637.7485 | 2607092.5574 | 1194632.4356 | 2607095.6615 | 1194631.723
34 | 2607132.9688 | 1194585.4568 | 2607101.5376 | 1194536.6482
35 | 2607126.027 | 1194594.4341 | 2607128.5026 | 1194590.0889 | 2607132.9688 | 1194585.4568
36 | 2607159.1467 | 1194559.7243 | 2607157.8879 | 1194560.6859 | 2607152.1217 | 1194565.5928 | 2607132.9688 | 1194585.4568
37 | 2607002.9748 | 1194789.67 | 2607015.1615 | 1194774.4315 | 2607018.2342 | 1194772.6007 | 2607018.2342 | 1194772.6007
38 | 2607449.0553 | 1194836.9399 | 2607446.7231 | 1194837.5373
39 | 2607446.7231 | 1194837.5373 | 2607441.2432 | 1194838.9313 | 2607434.3063 | 1194841.7354 | 2607426.0166 | 1194847.9173 | 2607421.4558 | 1194854.1087
40 | 2607000.5812 | 1194693.0604 | 2607007.267 | 1194689.9776 | 2607019.4241 | 1194683.0844
41 | 2607032.7106 | 1194674.6991 | 2607027.3421 | 1194678.5949 | 2607019.4241 | 1194683.0844
42 | 2607032.7106 | 1194674.6991 | 2607039.2918 | 1194682.9222 | 2607049.382 | 1194687.6254 | 2607050.2197 | 1194688.0155 | 2607052.083 | 1194684.4157 | 2607055.2599 | 1194678.2606 | 2607061.4324 | 1194681.4299
43 | 2607032.7106 | 1194674.6991 | 2607036.9975 | 1194670.6131 | 2607043.3144 | 1194663.7168 | 2607045.7066 | 1194660.9886
44 | 2607066.6432 | 1194684.1055 | 2607061.4324 | 1194681.4299
45 | 2607055.1098 | 1194650.2568 | 2607050.2573 | 1194655.7985 | 2607045.7066 | 1194660.9886
46 | 2607076.787 | 1194689.3139 | 2607066.6432 | 1194684.1055
47 | 2607057.029 | 1194703.1314 | 2607066.6621 | 1194707.7118 | 2607076.787 | 1194689.3139 | 2607076.787 | 1194689.3139
48 | 2607058.4037 | 1194700.3649 | 2607057.029 | 1194703.1314
49 | 2607300.4665 | 1194723.0092 | 2607305.6612 | 1194718.1462 | 2607307.0444 | 1194714.7238 | 2607305.6015 | 1194710.7867 | 2607300.2078 | 1194705.1551
50 | 2607272.4869 | 1194698.9071 | 2607300.4665 | 1194723.0092
51 | 2607272.4869 | 1194698.9071 | 2607248.4793 | 1194726.9497
52 | 2607272.4869 | 1194698.9071 | 2607243.67 | 1194673.8814 | 2607243.1723 | 1194673.3912
53 | 2607241.0585 | 1194735.6176 | 2607248.4793 | 1194726.9497
54 | 2607227.8075 | 1194658.2593 | 2607243.1723 | 1194673.3912
55 | 2607182.4761 | 1194631.1079 | 2607191.1143 | 1194633.0081 | 2607195.4503 | 1194634.7058
56 | 2607182.4761 | 1194631.1079 | 2607169.7611 | 1194629.5142 | 2607157.4194 | 1194627.9987 | 2607152.5427 | 1194627.9262
57 | 2607227.8075 | 1194658.2593 | 2607220.6256 | 1194651.1862 | 2607213.0151 | 1194643.7176 | 2607208.4852 | 1194640.5883 | 2607200.5123 | 1194636.6879 | 2607195.4503 | 1194634.7058
58 | 2607146.0438 | 1194627.8296 | 2607152.5427 | 1194627.9262
59 | 2607123.2017 | 1194601.0551 | 2607129.8568 | 1194611.2128 | 2607134.3825 | 1194617.855 | 2607139.2531 | 1194622.8523 | 2607146.0438 | 1194627.8296
60 | 2607123.2017 | 1194601.0551 | 2607125.3569 | 1194595.6103 | 2607126.027 | 1194594.4341
61 | 2607123.2017 | 1194601.0551 | 2607117.7746 | 1194602.8497 | 2607112.795 | 1194606.2345 | 2607107.7437 | 1194612.3429 | 2607103.7562 | 1194620.9761 | 2607102.0004 | 1194630.2678
62 | 2607102.0004 | 1194630.2678 | 2607095.6615 | 1194631.723

## bus_geodata
| x | y | coords
0 | 2607336.44 | 1195291.0536
1 | 2607307.3121 | 1195308.3377
2 | 2607504.1358 | 1195111.4313
3 | 2607278.6441 | 1195325.3489
4 | 2607247.6083 | 1195338.198
5 | 2607218.4612 | 1195330.3936
6 | 2607193.6778 | 1195315.563
7 | 2607172.9175 | 1195296.7603
8 | 2607155.5021 | 1195278.6032
9 | 2607096.2076 | 1195243.0233
10 | 2607109.0135 | 1195254.9958
11 | 2607117.5835 | 1195242.8772
12 | 2607138.7004 | 1195262.773
13 | 2607127.422 | 1194930.9124
14 | 2607547.9632 | 1195090.6316
15 | 2607579.812 | 1195079.3236
16 | 2607470.4197 | 1194963.7788
17 | 2607587.3743 | 1195079.1294
18 | 2607595.6319 | 1195081.5505
19 | 2607499.3452 | 1194918.5387
20 | 2607496.789 | 1194922.5366
21 | 2607530.1953 | 1194852.7378
22 | 2607484.5864 | 1194822.4317
23 | 2607465.7737 | 1194835.4598
24 | 2607039.7108 | 1194754.9053
25 | 2607030.0948 | 1194766.8692
26 | 2607011.8315 | 1194707.4466
27 | 2607052.8538 | 1194637.7253
28 | 2607044.769 | 1194628.1513
29 | 2607063.4854 | 1194642.1845
30 | 2607101.5376 | 1194536.6482
31 | 2607132.9688 | 1194585.4568
32 | 2607018.2342 | 1194772.6007
33 | 2607135.5931 | 1194866.1687
34 | 2607449.0553 | 1194836.9399
35 | 2607446.7231 | 1194837.5373
36 | 2607019.4241 | 1194683.0845
37 | 2607000.5812 | 1194693.0604
38 | 2607032.7106 | 1194674.6991
39 | 2607061.4324 | 1194681.4299
40 | 2607045.7066 | 1194660.9886
41 | 2607055.1098 | 1194650.2568
42 | 2607066.6432 | 1194684.1055
43 | 2607076.787 | 1194689.3139
44 | 2607057.029 | 1194703.1314
45 | 2607002.9748 | 1194789.67
46 | 2607300.2078 | 1194705.1551
47 | 2607300.4665 | 1194723.0092
48 | 2607272.4869 | 1194698.9071
49 | 2607248.4793 | 1194726.9497
50 | 2607243.1723 | 1194673.3912
51 | 2607182.4761 | 1194631.1079
52 | 2607195.4503 | 1194634.7058
53 | 2607152.5427 | 1194627.9262
54 | 2607227.8075 | 1194658.2593
55 | 2607146.0438 | 1194627.8296
56 | 2607123.2017 | 1194601.0551
57 | 2607126.027 | 1194594.4341
58 | 2607102.0004 | 1194630.2678
59 | 2607159.1467 | 1194559.7243
60 | 2607095.6615 | 1194631.723
61 | 2607058.4037 | 1194700.3649
62 | 2607241.0585 | 1194735.6176
63 | 2607421.4558 | 1194854.1087
64 | 2607530.1953 | 1194852.7378

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1