## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_627-22_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_627-22_1_3_node_112 | 0.4 | n |  | TRUE
2 | bus_LV_627-22_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_627-22_1_3_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_627-22_1_3_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_627-22_1_3_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_627-22_1_3_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_627-22_1_3_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_627-22_1_3_node_125 | 0.4 | n |  | TRUE
9 | bus_LV_627-22_1_3_node_134 | 0.4 | n |  | TRUE
10 | bus_LV_627-22_1_3_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_627-22_1_3_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_627-22_1_3_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_627-22_1_3_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_627-22_1_3_node_139 | 0.4 | n |  | TRUE
15 | bus_LV_627-22_1_3_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_627-22_1_3_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_627-22_1_3_node_142 | 0.4 | n |  | TRUE
18 | bus_LV_627-22_1_3_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_627-22_1_3_node_149 | 0.4 | n |  | TRUE
20 | bus_LV_627-22_1_3_node_143 | 0.4 | n |  | TRUE
21 | bus_LV_627-22_1_3_node_144 | 0.4 | n |  | TRUE
22 | bus_LV_627-22_1_3_node_146 | 0.4 | n |  | TRUE
23 | bus_LV_627-22_1_3_node_147 | 0.4 | n |  | TRUE
24 | bus_LV_627-22_1_3_node_148 | 0.4 | n |  | TRUE
25 | bus_LV_627-22_1_3_node_150 | 0.4 | n |  | TRUE
26 | bus_LV_627-22_1_3_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_627-22_1_3_node_151 | 0.4 | n |  | TRUE
28 | bus_LV_627-22_1_3_node_152 | 0.4 | n |  | TRUE
29 | bus_LV_627-22_1_3_node_153 | 0.4 | n |  | TRUE
30 | bus_LV_627-22_1_3_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_627-22_1_3_node_154 | 0.4 | n |  | TRUE
32 | bus_LV_627-22_1_3_node_96 | 0.4 | n |  | TRUE
33 | bus_LV_627-22_1_3_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_627-22_1_3_node_155 | 0.4 | n |  | TRUE
35 | bus_LV_627-22_1_3_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_627-22_1_3_node_105 | 0.4 | n |  | TRUE
37 | bus_LV_627-22_1_3_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_627-22_1_3_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_627-22_1_3_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_627-22_1_3_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_627-22_1_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_627-22_1_3_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_627-22_1_3_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_627-22_1_3_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_627-22_1_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_627-22_1_3_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_627-22_1_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_627-22_1_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_627-22_1_3_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_627-22_1_3_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_627-22_1_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_627-22_1_3_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_627-22_1_3_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_627-22_1_3_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_627-22_1_3_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_627-22_1_3_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_627-22_1_3_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_627-22_1_3_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_627-22_1_3_node_98 | 0.4 | n |  | TRUE
60 | bus_LV_627-22_1_3_node_120 | 0.4 | n |  | TRUE
61 | bus_LV_627-22_1_3_node_100 | 0.4 | n |  | TRUE
62 | bus_LV_627-22_1_3_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_627-22_1_3_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_627-22_1_3_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_627-22_1_3_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_627-22_1_3_node_127 | 0.4 | n |  | TRUE
67 | bus_LV_627-22_1_3_node_121 | 0.4 | n |  | TRUE
68 | bus_LV_627-22_1_3_node_122 | 0.4 | n |  | TRUE
69 | bus_LV_627-22_1_3_node_123 | 0.4 | n |  | TRUE
70 | bus_LV_627-22_1_3_node_124 | 0.4 | n |  | TRUE
71 | bus_LV_627-22_1_3_node_126 | 0.4 | n |  | TRUE
72 | bus_MV_92_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_627-22_1_3_load_128 | 0 | 0.0021381 | 0.00053586 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_627-22_1_3_load_129 | 2 | 0.0028239 | 0.00070773 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_627-22_1_3_load_130 | 4 | 0.0030471 | 0.00076369 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_627-22_1_3_load_131 | 5 | 0.0025708 | 0.00064431 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_627-22_1_3_load_132 | 6 | 0.0031093 | 0.00077928 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_627-22_1_3_load_133 | 7 | 0.0023058 | 0.00057789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_627-22_1_3_load_125 | 8 | 0.0021568 | 0.00054054 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_627-22_1_3_load_134 | 9 | 0.0031806 | 0.00079715 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_627-22_1_3_load_135 | 10 | 0.0055993 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_627-22_1_3_load_138 | 11 | 0.0030231 | 0.00075767 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_627-22_1_3_load_82 | 12 | 0.003075 | 0.00077066 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_627-22_1_3_load_87 | 13 | 0.0031287 | 0.00078414 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_627-22_1_3_load_139 | 14 | 0.0030207 | 0.00075706 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_627-22_1_3_load_140 | 15 | 0.0030745 | 0.00077054 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_627-22_1_3_load_141 | 16 | 0.0031287 | 0.00078413 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_627-22_1_3_load_142 | 17 | 0.0050089 | 0.0012554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_627-22_1_3_load_83 | 18 | 0.0030731 | 0.00077019 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_627-22_1_3_load_149 | 19 | 0.0050802 | 0.0012732 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_627-22_1_3_load_143 | 20 | 0.002977 | 0.0007461 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_627-22_1_3_load_144 | 21 | 0.0028033 | 0.00070257 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_627-22_1_3_load_146 | 22 | 0.0029889 | 0.0007491 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_627-22_1_3_load_147 | 23 | 0.002959 | 0.00074158 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_627-22_1_3_load_148 | 24 | 0.0051159 | 0.0012822 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_627-22_1_3_load_150 | 25 | 0.0026353 | 0.00066046 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_627-22_1_3_load_151 | 27 | 0.0024023 | 0.00060207 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_627-22_1_3_load_152 | 28 | 0.0028442 | 0.00071281 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_627-22_1_3_load_153 | 29 | 0.0026192 | 0.00065643 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_627-22_1_3_load_111 | 33 | 0.0043128 | 0.0010809 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_627-22_1_3_load_155 | 34 | 0.0024465 | 0.00061315 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_627-22_1_3_load_62 | 35 | 0.0041612 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_627-22_1_3_load_105 | 36 | 0.0041578 | 0.0010421 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_627-22_1_3_load_72 | 37 | 0.0030665 | 0.00076854 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_627-22_1_3_load_73 | 38 | 0.0059388 | 0.0014884 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_627-22_1_3_load_75 | 40 | 0.0071942 | 0.001803 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_627-22_1_3_load_76 | 41 | 0.0041075 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_627-22_1_3_load_77 | 42 | 0.0039948 | 0.0010012 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_627-22_1_3_load_94 | 43 | 0.0022359 | 0.00056037 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_627-22_1_3_load_107 | 44 | 0.019927 | 0.0049943 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_627-22_1_3_load_78 | 45 | 0.0050818 | 0.0012736 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_627-22_1_3_load_79 | 46 | 0.0050462 | 0.0012647 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_627-22_1_3_load_81 | 48 | 0.0052763 | 0.0013224 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_627-22_1_3_load_90 | 49 | 0.0050178 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_627-22_1_3_load_84 | 50 | 0.0030764 | 0.00077101 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_627-22_1_3_load_85 | 51 | 0.0030731 | 0.00077019 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_627-22_1_3_load_86 | 52 | 0.0027665 | 0.00069335 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_627-22_1_3_load_89 | 55 | 0.010019 | 0.002511 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_627-22_1_3_load_109 | 57 | 0.051752 | 0.01297 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_627-22_1_3_load_95 | 58 | 0.010629 | 0.002664 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_627-22_1_3_load_98 | 59 | 0.0022131 | 0.00055465 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_627-22_1_3_load_120 | 60 | 0.0059791 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_627-22_1_3_load_100 | 61 | 0.0026165 | 0.00065576 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_627-22_1_3_load_101 | 62 | 0.0027692 | 0.00069402 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_627-22_1_3_load_102 | 63 | 0.0028459 | 0.00071326 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_627-22_1_3_load_108 | 64 | 0.0015591 | 0.00039075 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_627-22_1_3_load_110 | 65 | 0.081561 | 0.020441 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_627-22_1_3_load_127 | 66 | 0.0021925 | 0.00054948 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_627-22_1_3_load_121 | 67 | 0.0022033 | 0.00055221 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_627-22_1_3_load_122 | 68 | 0.0028268 | 0.00070847 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_627-22_1_3_load_124 | 70 | 0.0027512 | 0.00068951 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_627-22_1_3_load_126 | 71 | 0.0022285 | 0.00055852 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_627-22_1_3_line_0 |  | 0 | 1 | 0.0067854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_627-22_1_3_line_1 |  | 0 | 2 | 0.033203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_627-22_1_3_line_2 |  | 0 | 3 | 0.16459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_627-22_1_3_line_3 |  | 1 | 66 | 0.022447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_627-22_1_3_line_4 |  | 1 | 64 | 0.03012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_627-22_1_3_line_5 |  | 2 | 4 | 0.010852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_627-22_1_3_line_6 |  | 3 | 35 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_627-22_1_3_line_7 |  | 4 | 5 | 0.0023884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_627-22_1_3_line_8 |  | 5 | 6 | 0.018579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_627-22_1_3_line_9 |  | 7 | 8 | 0.029074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_627-22_1_3_line_10 |  | 7 | 9 | 0.027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_627-22_1_3_line_11 |  | 8 | 69 | 0.013742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_627-22_1_3_line_12 |  | 9 | 10 | 0.004672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_627-22_1_3_line_13 |  | 11 | 12 | 0.0062599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_627-22_1_3_line_14 |  | 11 | 13 | 0.0063151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_627-22_1_3_line_15 |  | 12 | 47 | 0.0062936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_627-22_1_3_line_16 |  | 13 | 51 | 0.0063667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_627-22_1_3_line_17 |  | 14 | 15 | 0.0062533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_627-22_1_3_line_18 |  | 14 | 16 | 0.0063119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_627-22_1_3_line_19 |  | 15 | 17 | 0.00087787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_627-22_1_3_line_20 |  | 16 | 18 | 0.0063666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_627-22_1_3_line_21 |  | 17 | 19 | 3.888e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_627-22_1_3_line_22 |  | 18 | 47 | 2.2511e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_627-22_1_3_line_23 |  | 19 | 24 | 3.8849e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_627-22_1_3_line_24 |  | 20 | 21 | 0.0017945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_627-22_1_3_line_25 |  | 21 | 22 | 0.034203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_627-22_1_3_line_26 |  | 22 | 23 | 0.0063584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_627-22_1_3_line_27 |  | 23 | 24 | 0.0053544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_627-22_1_3_line_28 |  | 25 | 26 | 0.021865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_627-22_1_3_line_29 |  | 25 | 27 | 0.0052275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_627-22_1_3_line_30 |  | 26 | 62 | 0.018096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_627-22_1_3_line_31 |  | 27 | 28 | 0.0054443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_627-22_1_3_line_32 |  | 28 | 29 | 0.0056694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_627-22_1_3_line_33 |  | 29 | 30 | 0.015144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_627-22_1_3_line_34 |  | 30 | 53 | 0.010601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_627-22_1_3_line_35 |  | 31 | 32 | 0.003446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_627-22_1_3_line_36 |  | 31 | 33 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_627-22_1_3_line_37 |  | 32 | 34 | 0.042993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_627-22_1_3_line_38 |  | 32 | 40 | 0.016793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_627-22_1_3_line_39 |  | 33 | 56 | 0.019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_627-22_1_3_line_40 |  | 35 | 36 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_627-22_1_3_line_41 |  | 37 | 38 | 0.0073427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_627-22_1_3_line_42 |  | 37 | 39 | 0.024941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_627-22_1_3_line_43 |  | 38 | 40 | 0.0088398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_627-22_1_3_line_44 |  | 39 | 41 | 0.034556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_627-22_1_3_line_45 |  | 39 | 42 | 0.017553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_627-22_1_3_line_46 |  | 41 | 43 | 0.0071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_627-22_1_3_line_47 |  | 42 | 44 | 0.012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_627-22_1_3_line_48 |  | 43 | 58 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_627-22_1_3_line_49 |  | 44 | 64 | 0.022573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_627-22_1_3_line_50 |  | 45 | 46 | 0.0063139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_627-22_1_3_line_51 |  | 45 | 47 | 0.02494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_627-22_1_3_line_52 |  | 46 | 48 | 0.0064372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_627-22_1_3_line_53 |  | 48 | 49 | 0.0064202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_627-22_1_3_line_54 |  | 49 | 55 | 0.032648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_627-22_1_3_line_55 |  | 50 | 51 | 0.0063119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_627-22_1_3_line_56 |  | 50 | 52 | 0.025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_627-22_1_3_line_57 |  | 52 | 53 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_627-22_1_3_line_58 |  | 53 | 54 | 0.055538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_627-22_1_3_line_59 |  | 54 | 56 | 0.014746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_627-22_1_3_line_60 |  | 56 | 57 | 0.030375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_627-22_1_3_line_61 |  | 57 | 65 | 0.0077061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_627-22_1_3_line_62 |  | 59 | 60 | 0.0029575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_627-22_1_3_line_63 |  | 60 | 67 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_627-22_1_3_line_64 |  | 61 | 62 | 0.00073705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_627-22_1_3_line_65 |  | 61 | 63 | 0.00075176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_627-22_1_3_line_66 |  | 66 | 71 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_627-22_1_3_line_67 |  | 67 | 68 | 0.0082421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_627-22_1_3_line_68 |  | 68 | 69 | 0.016404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_627-22_1_3_line_69 |  | 69 | 70 | 0.0063568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_627-22_1_3_line_70 |  | 70 | 71 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_627-22_1_3_trafo_109 | 0.63 MVA 20/0.4 kV | 72 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2607665.3372 | 1197907.7436 | 2607667.0784 | 1197914.3018
1 | 2607667.0784 | 1197914.3018 | 2607668.1717 | 1197918.4196 | 2607667.3486 | 1197924.9442 | 2607663.276 | 1197929.686 | 2607648.8162 | 1197936.8017
2 | 2607667.0784 | 1197914.3018 | 2607806.2575 | 1198002.1637
3 | 2607665.3372 | 1197907.7436 | 2607658.0326 | 1197902.9874 | 2607649.4958 | 1197902.9765 | 2607644.6922 | 1197904.9497
4 | 2607665.3372 | 1197907.7436 | 2607661.213 | 1197877.9073
5 | 2607648.8162 | 1197936.8017 | 2607648.5846 | 1197936.9157 | 2607641.6639 | 1197944.9362
6 | 2607806.2575 | 1198002.1637 | 2607820.6627 | 1197992.455 | 2607820.6627 | 1197992.455
7 | 2607640.1035 | 1197946.7445 | 2607641.6639 | 1197944.9362
8 | 2607640.1035 | 1197946.7445 | 2607633.3775 | 1197954.5392 | 2607630.6274 | 1197961.406 | 2607630.5995 | 1197962.2918
9 | 2607604.6894 | 1197931.8391 | 2607608.6115 | 1197943.5465 | 2607592.5661 | 1197948.2718
10 | 2607566.3618 | 1197955.9888 | 2607592.5661 | 1197948.2718
11 | 2607602.3454 | 1197918.4029 | 2607602.9518 | 1197926.6525 | 2607604.6894 | 1197931.8391
12 | 2607567.6431 | 1197960.4817 | 2607566.3618 | 1197955.9888
13 | 2607763.0472 | 1197705.6296 | 2607769.307 | 1197705.6421
14 | 2607763.0472 | 1197705.6296 | 2607756.7321 | 1197705.617
15 | 2607775.6006 | 1197705.6547 | 2607769.307 | 1197705.6421
16 | 2607756.7321 | 1197705.617 | 2607750.3654 | 1197705.6042
17 | 2607788.3016 | 1197705.6772 | 2607794.5549 | 1197705.6882
18 | 2607788.3016 | 1197705.6772 | 2607781.9897 | 1197705.666
19 | 2607794.5549 | 1197705.6882 | 2607795.4327 | 1197705.6898
20 | 2607775.6231 | 1197705.6547 | 2607781.9897 | 1197705.666
21 | 2607795.4327 | 1197705.6898 | 2607795.4716 | 1197705.6899
22 | 2607775.6006 | 1197705.6547 | 2607775.6231 | 1197705.6547
23 | 2607795.4716 | 1197705.6899 | 2607795.5105 | 1197705.6899
24 | 2607830.2531 | 1197688.2866 | 2607829.7402 | 1197690.0062
25 | 2607829.7402 | 1197690.0062 | 2607825.0635 | 1197705.6853 | 2607822.2152 | 1197705.7372 | 2607807.2232 | 1197705.7107
26 | 2607800.8649 | 1197705.6994 | 2607807.2232 | 1197705.7107
27 | 2607800.8649 | 1197705.6994 | 2607795.5105 | 1197705.6899
28 | 2607698.202 | 1197641.5767 | 2607698.6301 | 1197646.2687 | 2607698.4658 | 1197663.4213
29 | 2607698.4658 | 1197663.4213 | 2607698.4158 | 1197668.6486
30 | 2607698.202 | 1197641.5767 | 2607716.139 | 1197639.1824
31 | 2607698.4158 | 1197668.6486 | 2607698.3636 | 1197674.0927
32 | 2607698.3636 | 1197674.0927 | 2607698.3094 | 1197679.7619
33 | 2607698.1643 | 1197694.9051 | 2607698.3094 | 1197679.7619
34 | 2607697.869 | 1197705.4993 | 2607698.1643 | 1197694.9051
35 | 2607640.7572 | 1197773.9076 | 2607644.1847 | 1197773.4673
36 | 2607644.1847 | 1197773.4673 | 2607672.3263 | 1197771.0114
37 | 2607640.7572 | 1197773.9076 | 2607598.5573 | 1197782.1291
38 | 2607640.7572 | 1197773.9076 | 2607644.496 | 1197790.2792
39 | 2607691.7713 | 1197769.3145 | 2607672.3263 | 1197771.0114
40 | 2607820.6627 | 1197992.455 | 2607829.4286 | 1197991.7993 | 2607832.2577 | 1197992.1872
41 | 2607648.0989 | 1197806.0555 | 2607646.4641 | 1197798.8971
42 | 2607648.2514 | 1197827.4346 | 2607652.617 | 1197825.8393 | 2607648.0989 | 1197806.0555
43 | 2607644.496 | 1197790.2792 | 2607646.4641 | 1197798.8971
44 | 2607648.2514 | 1197827.4346 | 2607613.8669 | 1197830.8735
45 | 2607648.2514 | 1197827.4346 | 2607652.752 | 1197844.4011
46 | 2607613.8669 | 1197830.8735 | 2607606.8021 | 1197831.58
47 | 2607652.752 | 1197844.4011 | 2607655.1484 | 1197853.435 | 2607655.8129 | 1197856.0037
48 | 2607588.4352 | 1197833.4169 | 2607606.8021 | 1197831.58
49 | 2607655.8129 | 1197856.0037 | 2607660.9078 | 1197875.6987 | 2607661.213 | 1197877.9073
50 | 2607775.4535 | 1197736.9086 | 2607775.4832 | 1197730.5948
51 | 2607775.6006 | 1197705.6547 | 2607775.4832 | 1197730.5948
52 | 2607775.4535 | 1197736.9086 | 2607775.4232 | 1197743.3458
53 | 2607775.4232 | 1197743.3458 | 2607775.3929 | 1197749.7659
54 | 2607775.3929 | 1197749.7659 | 2607775.3698 | 1197754.6694 | 2607747.625 | 1197754.6375
55 | 2607750.3654 | 1197705.6042 | 2607744.0535 | 1197705.5916
56 | 2607718.6165 | 1197705.5408 | 2607744.0535 | 1197705.5916
57 | 2607697.869 | 1197705.4993 | 2607718.6165 | 1197705.5408
58 | 2607691.6074 | 1197754.5731 | 2607691.6627 | 1197705.2468 | 2607697.869 | 1197705.4993
59 | 2607691.7713 | 1197769.3145 | 2607691.6074 | 1197754.5731
60 | 2607691.7713 | 1197769.3145 | 2607722.1381 | 1197768.6085
61 | 2607729.8421 | 1197768.4293 | 2607722.1381 | 1197768.6085
62 | 2607565.4685 | 1197912.3934 | 2607562.6557 | 1197911.4797
63 | 2607565.4685 | 1197912.3934 | 2607577.7811 | 1197916.3931
64 | 2607716.8696 | 1197639.0848 | 2607716.139 | 1197639.1824
65 | 2607717.6147 | 1197638.9854 | 2607716.8696 | 1197639.0848
66 | 2607626.2357 | 1197911.899 | 2607630.7982 | 1197910.6569 | 2607644.6922 | 1197904.9497
67 | 2607585.9957 | 1197917.0652 | 2607577.7811 | 1197916.3931 | 2607577.7811 | 1197916.3931
68 | 2607602.3454 | 1197918.4029 | 2607585.9957 | 1197917.0652
69 | 2607602.3454 | 1197918.4029 | 2607608.479 | 1197916.7331
70 | 2607608.479 | 1197916.7331 | 2607626.2357 | 1197911.899

## bus_geodata
| x | y | coords
0 | 2607667.0784 | 1197914.3018
1 | 2607665.3372 | 1197907.7436
2 | 2607648.8162 | 1197936.8017
3 | 2607806.2575 | 1198002.1637
4 | 2607641.6639 | 1197944.9362
5 | 2607640.1035 | 1197946.7445
6 | 2607630.5995 | 1197962.2918
7 | 2607592.5661 | 1197948.2718
8 | 2607604.6894 | 1197931.8391
9 | 2607566.3618 | 1197955.9888
10 | 2607567.6431 | 1197960.4817
11 | 2607763.0472 | 1197705.6296
12 | 2607769.307 | 1197705.6421
13 | 2607756.7321 | 1197705.617
14 | 2607788.3016 | 1197705.6772
15 | 2607794.5549 | 1197705.6882
16 | 2607781.9897 | 1197705.666
17 | 2607795.4327 | 1197705.6898
18 | 2607775.6231 | 1197705.6547
19 | 2607795.4716 | 1197705.6899
20 | 2607830.2531 | 1197688.2866
21 | 2607829.7402 | 1197690.0062
22 | 2607807.2232 | 1197705.7107
23 | 2607800.8649 | 1197705.6994
24 | 2607795.5105 | 1197705.6899
25 | 2607698.4658 | 1197663.4213
26 | 2607698.202 | 1197641.5767
27 | 2607698.4158 | 1197668.6486
28 | 2607698.3636 | 1197674.0927
29 | 2607698.3094 | 1197679.7619
30 | 2607698.1643 | 1197694.9051
31 | 2607644.1847 | 1197773.4673
32 | 2607640.7572 | 1197773.9076
33 | 2607672.3263 | 1197771.0114
34 | 2607598.5573 | 1197782.1291
35 | 2607820.6627 | 1197992.455
36 | 2607832.2577 | 1197992.1872
37 | 2607648.0989 | 1197806.0555
38 | 2607646.4641 | 1197798.8971
39 | 2607648.2514 | 1197827.4346
40 | 2607644.496 | 1197790.2792
41 | 2607613.8669 | 1197830.8735
42 | 2607652.752 | 1197844.4011
43 | 2607606.8021 | 1197831.58
44 | 2607655.8129 | 1197856.0037
45 | 2607775.4832 | 1197730.5948
46 | 2607775.4535 | 1197736.9086
47 | 2607775.6006 | 1197705.6547
48 | 2607775.4232 | 1197743.3458
49 | 2607775.3929 | 1197749.7659
50 | 2607744.0535 | 1197705.5916
51 | 2607750.3654 | 1197705.6042
52 | 2607718.6165 | 1197705.5408
53 | 2607697.869 | 1197705.4993
54 | 2607691.6074 | 1197754.5731
55 | 2607747.625 | 1197754.6375
56 | 2607691.7713 | 1197769.3145
57 | 2607722.1381 | 1197768.6085
58 | 2607588.4352 | 1197833.4169
59 | 2607562.6557 | 1197911.4797
60 | 2607565.4685 | 1197912.3934
61 | 2607716.8696 | 1197639.0848
62 | 2607716.139 | 1197639.1824
63 | 2607717.6147 | 1197638.9854
64 | 2607661.213 | 1197877.9073
65 | 2607729.8421 | 1197768.4293
66 | 2607644.6922 | 1197904.9497
67 | 2607577.7811 | 1197916.3931
68 | 2607585.9957 | 1197917.0652
69 | 2607602.3454 | 1197918.4029
70 | 2607608.479 | 1197916.7331
71 | 2607626.2357 | 1197911.899
72 | 2607729.8421 | 1197768.4293

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1