## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_627-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_627-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_627-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_627-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_627-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_627-3_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_627-3_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_627-3_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_627-3_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_627-3_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_627-3_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_627-3_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_627-3_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_627-3_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_627-3_0_3_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_627-3_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_627-3_0_3_node_195 | 0.4 | n |  | TRUE
17 | bus_LV_627-3_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_627-3_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_627-3_0_3_node_199 | 0.4 | n |  | TRUE
20 | bus_LV_627-3_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_627-3_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_627-3_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_627-3_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_627-3_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_627-3_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_627-3_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_627-3_0_3_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_627-3_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_627-3_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_627-3_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_627-3_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_627-3_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_627-3_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_627-3_0_3_node_96 | 0.4 | n |  | TRUE
35 | bus_LV_627-3_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_627-3_0_3_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_627-3_0_3_node_194 | 0.4 | n |  | TRUE
38 | bus_LV_627-3_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_627-3_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_627-3_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_627-3_0_3_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_627-3_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_627-3_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_627-3_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_627-3_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_627-3_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_627-3_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_627-3_0_3_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_627-3_0_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_627-3_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_627-3_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_627-3_0_3_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_627-3_0_3_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_627-3_0_3_node_151 | 0.4 | n |  | TRUE
55 | bus_LV_627-3_0_3_node_191 | 0.4 | n |  | TRUE
56 | bus_LV_627-3_0_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_627-3_0_3_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_627-3_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_627-3_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_627-3_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_627-3_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_627-3_0_3_node_189 | 0.4 | n |  | TRUE
63 | bus_LV_627-3_0_3_node_179 | 0.4 | n |  | TRUE
64 | bus_LV_627-3_0_3_node_197 | 0.4 | n |  | TRUE
65 | bus_LV_627-3_0_3_node_185 | 0.4 | n |  | TRUE
66 | bus_LV_627-3_0_3_node_181 | 0.4 | n |  | TRUE
67 | bus_LV_627-3_0_3_node_177 | 0.4 | n |  | TRUE
68 | bus_LV_627-3_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_627-3_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_627-3_0_3_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_627-3_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_627-3_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_627-3_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_627-3_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_627-3_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_627-3_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_627-3_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_627-3_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_627-3_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_627-3_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_627-3_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_627-3_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_627-3_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_627-3_0_3_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_627-3_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_627-3_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_627-3_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_627-3_0_3_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_627-3_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_627-3_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_627-3_0_3_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_627-3_0_3_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_627-3_0_3_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_627-3_0_3_node_112 | 0.4 | n |  | TRUE
95 | bus_LV_627-3_0_3_node_120 | 0.4 | n |  | TRUE
96 | bus_LV_627-3_0_3_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_627-3_0_3_node_118 | 0.4 | n |  | TRUE
98 | bus_LV_627-3_0_3_node_113 | 0.4 | n |  | TRUE
99 | bus_LV_627-3_0_3_node_121 | 0.4 | n |  | TRUE
100 | bus_LV_627-3_0_3_node_122 | 0.4 | n |  | TRUE
101 | bus_LV_627-3_0_3_node_119 | 0.4 | n |  | TRUE
102 | bus_LV_627-3_0_3_node_150 | 0.4 | n |  | TRUE
103 | bus_LV_627-3_0_3_node_190 | 0.4 | n |  | TRUE
104 | bus_LV_627-3_0_3_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_627-3_0_3_node_108 | 0.4 | n |  | TRUE
106 | bus_LV_627-3_0_3_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_627-3_0_3_node_114 | 0.4 | n |  | TRUE
108 | bus_LV_627-3_0_3_node_111 | 0.4 | n |  | TRUE
109 | bus_LV_627-3_0_3_node_116 | 0.4 | n |  | TRUE
110 | bus_LV_627-3_0_3_node_117 | 0.4 | n |  | TRUE
111 | bus_LV_627-3_0_3_node_123 | 0.4 | n |  | TRUE
112 | bus_LV_627-3_0_3_node_124 | 0.4 | n |  | TRUE
113 | bus_LV_627-3_0_3_node_125 | 0.4 | n |  | TRUE
114 | bus_LV_627-3_0_3_node_126 | 0.4 | n |  | TRUE
115 | bus_LV_627-3_0_3_node_127 | 0.4 | n |  | TRUE
116 | bus_LV_627-3_0_3_node_128 | 0.4 | n |  | TRUE
117 | bus_LV_627-3_0_3_node_129 | 0.4 | n |  | TRUE
118 | bus_LV_627-3_0_3_node_130 | 0.4 | n |  | TRUE
119 | bus_LV_627-3_0_3_node_131 | 0.4 | n |  | TRUE
120 | bus_LV_627-3_0_3_node_132 | 0.4 | n |  | TRUE
121 | bus_LV_627-3_0_3_node_133 | 0.4 | n |  | TRUE
122 | bus_LV_627-3_0_3_node_134 | 0.4 | n |  | TRUE
123 | bus_LV_627-3_0_3_node_135 | 0.4 | n |  | TRUE
124 | bus_LV_627-3_0_3_node_136 | 0.4 | n |  | TRUE
125 | bus_LV_627-3_0_3_node_137 | 0.4 | n |  | TRUE
126 | bus_LV_627-3_0_3_node_138 | 0.4 | n |  | TRUE
127 | bus_LV_627-3_0_3_node_139 | 0.4 | n |  | TRUE
128 | bus_LV_627-3_0_3_node_140 | 0.4 | n |  | TRUE
129 | bus_LV_627-3_0_3_node_141 | 0.4 | n |  | TRUE
130 | bus_LV_627-3_0_3_node_142 | 0.4 | n |  | TRUE
131 | bus_LV_627-3_0_3_node_143 | 0.4 | n |  | TRUE
132 | bus_LV_627-3_0_3_node_144 | 0.4 | n |  | TRUE
133 | bus_LV_627-3_0_3_node_145 | 0.4 | n |  | TRUE
134 | bus_LV_627-3_0_3_node_146 | 0.4 | n |  | TRUE
135 | bus_LV_627-3_0_3_node_148 | 0.4 | n |  | TRUE
136 | bus_LV_627-3_0_3_node_149 | 0.4 | n |  | TRUE
137 | bus_LV_627-3_0_3_node_178 | 0.4 | n |  | TRUE
138 | bus_LV_627-3_0_3_node_180 | 0.4 | n |  | TRUE
139 | bus_LV_627-3_0_3_node_187 | 0.4 | n |  | TRUE
140 | bus_LV_627-3_0_3_node_193 | 0.4 | n |  | TRUE
141 | bus_LV_627-3_0_3_node_188 | 0.4 | n |  | TRUE
142 | bus_LV_627-3_0_3_node_192 | 0.4 | n |  | TRUE
143 | bus_LV_627-3_0_3_node_182 | 0.4 | n |  | TRUE
144 | bus_LV_627-3_0_3_node_183 | 0.4 | n |  | TRUE
145 | bus_LV_627-3_0_3_node_184 | 0.4 | n |  | TRUE
146 | bus_LV_627-3_0_3_node_186 | 0.4 | n |  | TRUE
147 | bus_MV_92_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_627-3_0_3_load_0 | 0 | 0.0011829 | 0.00029647 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_627-3_0_3_load_1 | 1 | 0.0061048 | 0.00153 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_627-3_0_3_load_3 | 3 | 0.00041784 | 0.00010472 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_627-3_0_3_load_4 | 4 | 0.0032055 | 0.00080339 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_627-3_0_3_load_25 | 7 | 0.0042617 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_627-3_0_3_load_20 | 8 | 0.0088479 | 0.0022175 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_627-3_0_3_load_9 | 9 | 0.0023919 | 0.00059947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_627-3_0_3_load_6 | 12 | 0.0017952 | 0.00044993 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_627-3_0_3_load_7 | 13 | 0.00072548 | 0.00018182 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_627-3_0_3_load_35 | 14 | 0.00047939 | 0.00012015 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_627-3_0_3_load_36 | 15 | 0.0026371 | 0.00066091 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_627-3_0_3_load_13 | 18 | 0.0023705 | 0.00059412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_627-3_0_3_load_199 | 19 | 0.00035377 | 8.8664e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_627-3_0_3_load_17 | 20 | 0.0082724 | 0.0020733 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_627-3_0_3_load_11 | 21 | 0.00039685 | 9.946e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_627-3_0_3_load_12 | 22 | 0.0017933 | 0.00044943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_627-3_0_3_load_14 | 23 | 0.001501 | 0.0003762 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_627-3_0_3_load_15 | 24 | 0.002291 | 0.00057418 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_627-3_0_3_load_26 | 25 | 0.0077326 | 0.001938 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_627-3_0_3_load_105 | 27 | 0.00098395 | 0.0002466 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_627-3_0_3_load_29 | 29 | 0.00079051 | 0.00019812 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_627-3_0_3_load_23 | 32 | 0.0015414 | 0.00038632 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_627-3_0_3_load_37 | 33 | 0.0017749 | 0.00044484 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_627-3_0_3_load_96 | 34 | 0.006006 | 0.0015052 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_627-3_0_3_load_38 | 35 | 0.0047177 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_627-3_0_3_load_194 | 37 | 0.00041299 | 0.0001035 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_627-3_0_3_load_33 | 38 | 0.0069339 | 0.0017378 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_627-3_0_3_load_34 | 39 | 0.0011108 | 0.00027839 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_627-3_0_3_load_54 | 40 | 0.0014659 | 0.00036738 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_627-3_0_3_load_52 | 41 | 0.0013444 | 0.00033693 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_627-3_0_3_load_39 | 42 | 0.0018163 | 0.0004552 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_627-3_0_3_load_40 | 43 | 0.00044544 | 0.00011164 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_627-3_0_3_load_42 | 45 | 0.0019759 | 0.0004952 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_627-3_0_3_load_43 | 46 | 0.0022417 | 0.00056181 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_627-3_0_3_load_49 | 51 | 0.002242 | 0.0005619 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_627-3_0_3_load_107 | 53 | 0.003755 | 0.00094108 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_627-3_0_3_load_151 | 54 | 0.0012109 | 0.00030349 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_627-3_0_3_load_191 | 55 | 0.0014437 | 0.00036183 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_627-3_0_3_load_70 | 56 | 0.002911 | 0.00072955 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_627-3_0_3_load_106 | 57 | 0.0020361 | 0.0005103 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_627-3_0_3_load_46 | 58 | 0.0012867 | 0.00032247 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_627-3_0_3_load_47 | 59 | 0.0021235 | 0.00053219 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_627-3_0_3_load_48 | 60 | 0.0013987 | 0.00035056 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_627-3_0_3_load_197 | 64 | 0.0023116 | 0.00057934 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_627-3_0_3_load_185 | 65 | 0.00088622 | 0.00022211 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_627-3_0_3_load_181 | 66 | 0.0011595 | 0.00029061 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_627-3_0_3_load_177 | 67 | 0.015985 | 0.0040062 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_627-3_0_3_load_51 | 68 | 0.013122 | 0.0032886 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_627-3_0_3_load_56 | 71 | 0.0024661 | 0.00061806 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_627-3_0_3_load_72 | 72 | 0.0010324 | 0.00025875 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_627-3_0_3_load_69 | 73 | 0.0012651 | 0.00031706 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_627-3_0_3_load_74 | 75 | 0.0018701 | 0.0004687 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_627-3_0_3_load_62 | 76 | 0.0045207 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_627-3_0_3_load_63 | 77 | 0.002926 | 0.00073333 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_627-3_0_3_load_64 | 78 | 0.003428 | 0.00085915 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_627-3_0_3_load_65 | 79 | 0.0036912 | 0.0009251 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_627-3_0_3_load_66 | 80 | 0.0019969 | 0.00050047 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_627-3_0_3_load_87 | 81 | 0.0012741 | 0.00031933 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_627-3_0_3_load_67 | 82 | 0.001434 | 0.00035938 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_627-3_0_3_load_68 | 83 | 0.0050855 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_627-3_0_3_load_86 | 84 | 0.00091259 | 0.00022872 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_627-3_0_3_load_84 | 85 | 0.0056805 | 0.0014237 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_627-3_0_3_load_85 | 86 | 0.0026742 | 0.00067022 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_627-3_0_3_load_88 | 87 | 0.0023083 | 0.00057852 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_627-3_0_3_load_92 | 91 | 0.0003277 | 8.2129e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_627-3_0_3_load_93 | 92 | 0.00019849 | 4.9747e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_627-3_0_3_load_94 | 93 | 0.00016457 | 4.1245e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_627-3_0_3_load_112 | 94 | 0.0017187 | 0.00043076 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_627-3_0_3_load_101 | 96 | 0.0019595 | 0.00049109 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_627-3_0_3_load_118 | 97 | 0.00024273 | 6.0834e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_627-3_0_3_load_113 | 98 | 0.0011848 | 0.00029693 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_627-3_0_3_load_121 | 99 | 0.0024868 | 0.00062324 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_627-3_0_3_load_122 | 100 | 0.00022268 | 5.581e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_627-3_0_3_load_119 | 101 | 0.000329 | 8.2455e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_627-3_0_3_load_150 | 102 | 0.0020405 | 0.00051141 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_627-3_0_3_load_190 | 103 | 0.002148 | 0.00053834 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_627-3_0_3_load_99 | 104 | 0.0035041 | 0.00087822 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_627-3_0_3_load_108 | 105 | 0.0018541 | 0.00046469 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_627-3_0_3_load_114 | 107 | 0.00014423 | 3.6147e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_627-3_0_3_load_111 | 108 | 0.003981 | 0.00099772 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_627-3_0_3_load_117 | 110 | 0.002906 | 0.00072832 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_627-3_0_3_load_123 | 111 | 0.0035985 | 0.00090187 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_627-3_0_3_load_124 | 112 | 0.00081371 | 0.00020393 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_627-3_0_3_load_125 | 113 | 0.0021476 | 0.00053823 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_627-3_0_3_load_126 | 114 | 0.00061119 | 0.00015318 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_627-3_0_3_load_127 | 115 | 0.0021181 | 0.00053084 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_627-3_0_3_load_128 | 116 | 0.00045962 | 0.00011519 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_627-3_0_3_load_129 | 117 | 0.0019316 | 0.0004841 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_627-3_0_3_load_130 | 118 | 0.00073238 | 0.00018355 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_627-3_0_3_load_131 | 119 | 0.0018175 | 0.00045551 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_627-3_0_3_load_132 | 120 | 0.0039973 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_627-3_0_3_load_133 | 121 | 0.002645 | 0.0006629 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_627-3_0_3_load_134 | 122 | 0.0021463 | 0.00053791 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_627-3_0_3_load_135 | 123 | 0.0020127 | 0.00050443 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_627-3_0_3_load_136 | 124 | 0.0022092 | 0.00055368 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_627-3_0_3_load_137 | 125 | 0.0022188 | 0.00055609 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_627-3_0_3_load_138 | 126 | 0.0022307 | 0.00055907 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_627-3_0_3_load_139 | 127 | 0.0035057 | 0.0008786 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_627-3_0_3_load_140 | 128 | 0.0048057 | 0.0012044 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_627-3_0_3_load_141 | 129 | 0.0027122 | 0.00067974 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_627-3_0_3_load_142 | 130 | 0.0024846 | 0.00062269 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_627-3_0_3_load_143 | 131 | 0.0014648 | 0.00036711 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_627-3_0_3_load_144 | 132 | 0.00063039 | 0.00015799 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_627-3_0_3_load_145 | 133 | 0.0022523 | 0.00056449 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_627-3_0_3_load_146 | 134 | 0.0038303 | 0.00095996 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_627-3_0_3_load_148 | 135 | 0.00087176 | 0.00021848 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_627-3_0_3_load_149 | 136 | 0.0046638 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_627-3_0_3_load_180 | 138 | 0.01553 | 0.0038922 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_627-3_0_3_load_187 | 139 | 0.0091141 | 0.0022842 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_627-3_0_3_load_193 | 140 | 0.0017318 | 0.00043402 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_627-3_0_3_load_188 | 141 | 0.0045701 | 0.0011454 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_627-3_0_3_load_192 | 142 | 0.0048817 | 0.0012235 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_627-3_0_3_load_182 | 143 | 0.0012597 | 0.0003157 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_627-3_0_3_load_183 | 144 | 0.0091616 | 0.0022961 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_627-3_0_3_load_184 | 145 | 0.0014642 | 0.00036697 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_627-3_0_3_load_186 | 146 | 0.0015599 | 0.00039094 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_627-3_0_3_line_0 |  | 0 | 1 | 0.059435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_627-3_0_3_line_1 |  | 0 | 2 | 0.0095657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_627-3_0_3_line_2 |  | 1 | 3 | 0.0051602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_627-3_0_3_line_3 |  | 2 | 4 | 0.03802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_627-3_0_3_line_4 |  | 2 | 5 | 0.13406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_627-3_0_3_line_5 |  | 3 | 6 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_627-3_0_3_line_6 |  | 5 | 7 | 0.025402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_627-3_0_3_line_7 |  | 5 | 8 | 0.013199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_627-3_0_3_line_8 |  | 6 | 9 | 0.023483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_627-3_0_3_line_9 |  | 6 | 10 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_627-3_0_3_line_10 |  | 7 | 25 | 0.097943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_627-3_0_3_line_11 |  | 9 | 21 | 0.061964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_627-3_0_3_line_12 |  | 10 | 18 | 0.019966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_627-3_0_3_line_13 |  | 10 | 12 | 0.057213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_627-3_0_3_line_14 |  | 11 | 12 | 0.015691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_627-3_0_3_line_15 |  | 11 | 13 | 0.083475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_627-3_0_3_line_16 |  | 13 | 17 | 0.034053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_627-3_0_3_line_17 |  | 14 | 15 | 0.027718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_627-3_0_3_line_18 |  | 15 | 16 | 0.129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_627-3_0_3_line_19 |  | 16 | 37 | 0.10488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_627-3_0_3_line_20 |  | 17 | 19 | 0.062031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_627-3_0_3_line_21 |  | 17 | 20 | 0.051782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_627-3_0_3_line_22 |  | 18 | 23 | 0.054547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_627-3_0_3_line_23 |  | 21 | 22 | 0.0035366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_627-3_0_3_line_24 |  | 23 | 24 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_627-3_0_3_line_25 |  | 25 | 26 | 0.032002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_627-3_0_3_line_26 |  | 25 | 27 | 0.11374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_627-3_0_3_line_27 |  | 26 | 37 | 0.2018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_627-3_0_3_line_28 |  | 27 | 29 | 0.028221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_627-3_0_3_line_29 |  | 28 | 29 | 0.018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_627-3_0_3_line_30 |  | 28 | 30 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_627-3_0_3_line_31 |  | 30 | 34 | 0.018612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_627-3_0_3_line_32 |  | 30 | 31 | 0.016542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_627-3_0_3_line_33 |  | 31 | 32 | 0.0092011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_627-3_0_3_line_34 |  | 32 | 33 | 0.025613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_627-3_0_3_line_35 |  | 33 | 35 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_627-3_0_3_line_36 |  | 34 | 36 | 0.019558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_627-3_0_3_line_37 |  | 36 | 104 | 0.05725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_627-3_0_3_line_38 |  | 36 | 48 | 0.031434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_627-3_0_3_line_39 |  | 38 | 39 | 0.01842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_627-3_0_3_line_40 |  | 39 | 40 | 0.031984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_627-3_0_3_line_41 |  | 40 | 41 | 0.029238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_627-3_0_3_line_42 |  | 41 | 68 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_627-3_0_3_line_43 |  | 42 | 43 | 0.032492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_627-3_0_3_line_44 |  | 42 | 44 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_627-3_0_3_line_45 |  | 43 | 45 | 0.027303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_627-3_0_3_line_46 |  | 44 | 46 | 0.016814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_627-3_0_3_line_47 |  | 44 | 47 | 0.02094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_627-3_0_3_line_48 |  | 46 | 48 | 0.010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_627-3_0_3_line_49 |  | 47 | 49 | 0.024012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_627-3_0_3_line_50 |  | 47 | 50 | 0.019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_627-3_0_3_line_51 |  | 47 | 51 | 0.010213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_627-3_0_3_line_52 |  | 49 | 54 | 0.019759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_627-3_0_3_line_53 |  | 49 | 55 | 0.049534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_627-3_0_3_line_54 |  | 50 | 52 | 0.015736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_627-3_0_3_line_55 |  | 50 | 53 | 0.083567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_627-3_0_3_line_56 |  | 52 | 56 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_627-3_0_3_line_57 |  | 53 | 57 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_627-3_0_3_line_58 |  | 54 | 102 | 0.012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_627-3_0_3_line_59 |  | 55 | 103 | 0.033392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_627-3_0_3_line_60 |  | 56 | 73 | 0.0032811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_627-3_0_3_line_61 |  | 57 | 80 | 0.0056749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_627-3_0_3_line_62 |  | 58 | 59 | 0.0063003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_627-3_0_3_line_63 |  | 58 | 60 | 0.045154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_627-3_0_3_line_64 |  | 60 | 61 | 0.02769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_627-3_0_3_line_65 |  | 61 | 62 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_627-3_0_3_line_66 |  | 61 | 63 | 0.005695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_627-3_0_3_line_67 |  | 62 | 64 | 0.062117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_627-3_0_3_line_68 |  | 62 | 65 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_627-3_0_3_line_69 |  | 63 | 66 | 0.022071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_627-3_0_3_line_70 |  | 63 | 67 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_627-3_0_3_line_71 |  | 65 | 144 | 0.013204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_627-3_0_3_line_72 |  | 66 | 140 | 0.0030006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_627-3_0_3_line_73 |  | 67 | 137 | 0.041154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_627-3_0_3_line_74 |  | 68 | 69 | 0.082296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_627-3_0_3_line_75 |  | 69 | 70 | 0.00785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_627-3_0_3_line_76 |  | 69 | 71 | 0.017529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_627-3_0_3_line_77 |  | 70 | 72 | 0.04924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_627-3_0_3_line_78 |  | 70 | 73 | 0.021912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_627-3_0_3_line_79 |  | 71 | 74 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_627-3_0_3_line_80 |  | 74 | 75 | 0.020801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_627-3_0_3_line_81 |  | 76 | 77 | 0.0063127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_627-3_0_3_line_82 |  | 76 | 78 | 0.029626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_627-3_0_3_line_83 |  | 77 | 79 | 0.023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_627-3_0_3_line_84 |  | 78 | 80 | 0.018068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_627-3_0_3_line_85 |  | 79 | 81 | 0.027208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_627-3_0_3_line_86 |  | 81 | 84 | 0.012234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_627-3_0_3_line_87 |  | 82 | 83 | 0.014357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_627-3_0_3_line_88 |  | 82 | 84 | 0.022187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_627-3_0_3_line_89 |  | 83 | 85 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_627-3_0_3_line_90 |  | 85 | 86 | 0.02012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_627-3_0_3_line_91 |  | 87 | 88 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_627-3_0_3_line_92 |  | 87 | 89 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_627-3_0_3_line_93 |  | 88 | 90 | 0.006789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_627-3_0_3_line_94 |  | 88 | 91 | 0.027961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_627-3_0_3_line_95 |  | 89 | 92 | 0.0090588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_627-3_0_3_line_96 |  | 89 | 93 | 0.026668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_627-3_0_3_line_97 |  | 90 | 94 | 0.070665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_627-3_0_3_line_98 |  | 91 | 95 | 0.051429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_627-3_0_3_line_99 |  | 92 | 96 | 0.076128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_627-3_0_3_line_100 |  | 93 | 97 | 0.002204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_627-3_0_3_line_101 |  | 94 | 98 | 0.039251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_627-3_0_3_line_102 |  | 95 | 99 | 0.068869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_627-3_0_3_line_103 |  | 95 | 100 | 0.030953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_627-3_0_3_line_104 |  | 97 | 101 | 0.023045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_627-3_0_3_line_105 |  | 98 | 107 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_627-3_0_3_line_106 |  | 99 | 111 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_627-3_0_3_line_107 |  | 102 | 136 | 0.0012904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_627-3_0_3_line_108 |  | 103 | 146 | 5.3598e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_627-3_0_3_line_109 |  | 105 | 106 | 0.028709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_627-3_0_3_line_110 |  | 105 | 107 | 0.40906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_627-3_0_3_line_111 |  | 106 | 108 | 0.0087934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_627-3_0_3_line_112 |  | 107 | 109 | 0.061173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_627-3_0_3_line_113 |  | 109 | 110 | 0.0281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_627-3_0_3_line_114 |  | 111 | 112 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_627-3_0_3_line_115 |  | 112 | 113 | 0.01353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_627-3_0_3_line_116 |  | 113 | 114 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_627-3_0_3_line_117 |  | 114 | 115 | 0.0094218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_627-3_0_3_line_118 |  | 115 | 116 | 0.010924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_627-3_0_3_line_119 |  | 116 | 117 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_627-3_0_3_line_120 |  | 117 | 118 | 0.0046764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_627-3_0_3_line_121 |  | 118 | 119 | 0.017002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_627-3_0_3_line_122 |  | 119 | 120 | 0.0078345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_627-3_0_3_line_123 |  | 120 | 121 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_627-3_0_3_line_124 |  | 121 | 122 | 0.0095722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_627-3_0_3_line_125 |  | 122 | 123 | 0.00092824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_627-3_0_3_line_126 |  | 123 | 124 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_627-3_0_3_line_127 |  | 124 | 125 | 0.0064595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_627-3_0_3_line_128 |  | 125 | 126 | 0.00049674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_627-3_0_3_line_129 |  | 126 | 127 | 0.022996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_627-3_0_3_line_130 |  | 127 | 128 | 0.00049695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_627-3_0_3_line_131 |  | 128 | 129 | 0.032045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_627-3_0_3_line_132 |  | 129 | 130 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_627-3_0_3_line_133 |  | 130 | 131 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_627-3_0_3_line_134 |  | 130 | 132 | 0.013012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_627-3_0_3_line_135 |  | 131 | 133 | 0.032618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_627-3_0_3_line_136 |  | 133 | 134 | 0.013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_627-3_0_3_line_137 |  | 134 | 135 | 0.013391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_627-3_0_3_line_138 |  | 135 | 136 | 0.019125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_627-3_0_3_line_139 |  | 137 | 138 | 0.077797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_627-3_0_3_line_140 |  | 138 | 139 | 0.030534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_627-3_0_3_line_141 |  | 139 | 141 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_627-3_0_3_line_142 |  | 140 | 142 | 0.0055446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_627-3_0_3_line_143 |  | 143 | 144 | 0.00017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_627-3_0_3_line_144 |  | 143 | 145 | 0.024021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_627-3_0_3_line_145 |  | 145 | 146 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_627-3_0_3_trafo_49 | 0.63 MVA 20/0.4 kV | 147 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2612286.3812 | 1197610.6559 | 2612277.8251 | 1197572.6411 | 2612274.7537 | 1197558.8385 | 2612275.5607 | 1197552.5611
1 | 2612288.4816 | 1197619.9882 | 2612286.3812 | 1197610.6559
2 | 2612275.5607 | 1197552.5611 | 2612276.2187 | 1197547.443
3 | 2612288.4816 | 1197619.9882 | 2612323.0436 | 1197604.1456
4 | 2612288.4816 | 1197619.9882 | 2612241.8156 | 1197745.6601
5 | 2612278.3639 | 1197532.5763 | 2612276.3711 | 1197546.2573 | 2612276.2187 | 1197547.443
6 | 2612241.8156 | 1197745.6601 | 2612258.5755 | 1197764.7491
7 | 2612241.8156 | 1197745.6601 | 2612229.1458 | 1197749.3595
8 | 2612278.3639 | 1197532.5763 | 2612270.2591 | 1197529.6582 | 2612262.9065 | 1197516.7342
9 | 2612294.1593 | 1197525.0268 | 2612278.3639 | 1197532.5763
10 | 2612284.9621 | 1197859.0705 | 2612258.5755 | 1197764.7491
11 | 2612231.6608 | 1197463.24 | 2612241.3575 | 1197480.9287 | 2612259.4757 | 1197510.7038 | 2612262.9065 | 1197516.7342
12 | 2612294.1593 | 1197525.0268 | 2612289.8759 | 1197505.526
13 | 2612294.1593 | 1197525.0268 | 2612309.145 | 1197522.3671 | 2612322.6707 | 1197522.317 | 2612332.3061 | 1197529.0293 | 2612337.6904 | 1197532.7757 | 2612344.6121 | 1197540.2196
14 | 2612355.2972 | 1197551.7109 | 2612344.6121 | 1197540.2196
15 | 2612355.2972 | 1197551.7109 | 2612353.5349 | 1197516.1549 | 2612345.1186 | 1197479.518 | 2612342.5142 | 1197469.5687
16 | 2612331.0999 | 1197437.7224 | 2612337.1087 | 1197448.9185 | 2612342.5142 | 1197469.5687
17 | 2612480.8433 | 1197796.79 | 2612502.587 | 1197813.9799
18 | 2612502.587 | 1197813.9799 | 2612447.1502 | 1197930.4586
19 | 2612447.1502 | 1197930.4586 | 2612449.2741 | 1197938.2005 | 2612452.4222 | 1197947.7788 | 2612452.9035 | 1197961.7206 | 2612446.3141 | 1197988.488 | 2612436.2403 | 1198021.0401 | 2612432.7272 | 1198031.6498
20 | 2612331.0999 | 1197437.7224 | 2612390.3363 | 1197419.3122
21 | 2612331.0999 | 1197437.7224 | 2612315.0384 | 1197407.7735 | 2612307.8212 | 1197391.5044
22 | 2612289.8759 | 1197505.526 | 2612282.3354 | 1197471.196 | 2612287.6597 | 1197459.6229 | 2612286.6109 | 1197453.0468
23 | 2612229.9608 | 1197460.1389 | 2612231.6608 | 1197463.24
24 | 2612276.8275 | 1197423.135 | 2612279.0626 | 1197432.9578 | 2612286.216 | 1197450.5707 | 2612286.6109 | 1197453.0468
25 | 2612315.9167 | 1197867.0988 | 2612295.5273 | 1197861.2205 | 2612284.9621 | 1197859.0705
26 | 2612183.1966 | 1197909.8612 | 2612284.9621 | 1197859.0705
27 | 2612315.9167 | 1197867.0988 | 2612432.7272 | 1198031.6498
28 | 2612170.2634 | 1197888.3188 | 2612170.4965 | 1197888.425 | 2612176.0049 | 1197890.9264 | 2612179.5562 | 1197893.4127 | 2612181.6828 | 1197896.2519 | 2612183.1907 | 1197899.9791 | 2612183.8911 | 1197903.7937 | 2612183.7929 | 1197907.162 | 2612183.1966 | 1197909.8612
29 | 2612160.6491 | 1197873.7861 | 2612162.7748 | 1197880.7942 | 2612163.5701 | 1197882.9192 | 2612165.2557 | 1197885.4017 | 2612167.3847 | 1197887.0068 | 2612170.2634 | 1197888.3188
30 | 2612147.9755 | 1197878.3852 | 2612160.6491 | 1197873.7861
31 | 2612147.9755 | 1197878.3852 | 2612131.0015 | 1197885.5992 | 2612130.8461 | 1197885.6638
32 | 2612147.9755 | 1197878.3852 | 2612141.8381 | 1197863.0201
33 | 2612141.8381 | 1197863.0201 | 2612133.2058 | 1197859.8354
34 | 2612133.2058 | 1197859.8354 | 2612118.7807 | 1197854.5135 | 2612109.3821 | 1197850.4542
35 | 2612093.748 | 1197843.7017 | 2612109.3821 | 1197850.4542
36 | 2612112.8539 | 1197893.3223 | 2612115.9182 | 1197891.8721 | 2612130.8461 | 1197885.6638
37 | 2612112.8539 | 1197893.3223 | 2612118.6203 | 1197911.3658 | 2612120.4773 | 1197915.7163 | 2612122.777 | 1197919.5341 | 2612125.2615 | 1197922.374 | 2612129.8763 | 1197926.1964 | 2612145.7678 | 1197937.2443
38 | 2612112.8539 | 1197893.3223 | 2612101.2523 | 1197898.813 | 2612094.4011 | 1197901.3227 | 2612088.2826 | 1197903.0225 | 2612083.3912 | 1197904.2021
39 | 2611957.4633 | 1197729.9987 | 2611955.2131 | 1197723.0377 | 2611952.1685 | 1197714.5494 | 2611951.2604 | 1197712.6713
40 | 2611967.2263 | 1197760.4532 | 2611964.9376 | 1197753.8847 | 2611958.2482 | 1197732.4266 | 2611957.4633 | 1197729.9987
41 | 2611980.092 | 1197786.5198 | 2611978.7514 | 1197784.7954 | 2611974.8185 | 1197778.8066 | 2611972.3077 | 1197773.81 | 2611969.6551 | 1197767.4236 | 2611967.2263 | 1197760.4532
42 | 2611980.092 | 1197786.5198 | 2611984.8889 | 1197792.6897 | 2611989.1963 | 1197797.9566 | 2611990.0362 | 1197798.8437
43 | 2612097.434 | 1197942.701 | 2612083.7499 | 1197945.4694 | 2612082.1275 | 1197945.6218 | 2612080.963 | 1197945.3081 | 2612079.9598 | 1197944.3056 | 2612077.1819 | 1197939.6642 | 2612073.5122 | 1197931.5919
44 | 2612067.6517 | 1197918.7005 | 2612073.5122 | 1197931.5919
45 | 2612115.5414 | 1197954.0936 | 2612110.9286 | 1197941.7443 | 2612110.1534 | 1197940.9646 | 2612108.9892 | 1197940.5064 | 2612107.9077 | 1197940.5821 | 2612097.434 | 1197942.701
46 | 2612067.6517 | 1197918.7005 | 2612081.6467 | 1197915.8382 | 2612083.8121 | 1197914.5307
47 | 2612050.6508 | 1197924.2694 | 2612050.7271 | 1197920.4008 | 2612058.495 | 1197920.2607 | 2612061.1227 | 1197920.0325 | 2612067.6517 | 1197918.7005
48 | 2612083.3912 | 1197904.2021 | 2612084.1262 | 1197913.5975 | 2612083.8121 | 1197914.5307
49 | 2612050.6508 | 1197924.2694 | 2612050.7953 | 1197931.9849 | 2612051.8516 | 1197948.2402
50 | 2612050.6508 | 1197924.2694 | 2612050.7271 | 1197920.4008 | 2612051.0337 | 1197915.5988 | 2612052.5702 | 1197905.1185
51 | 2612050.6508 | 1197924.2694 | 2612041.583 | 1197919.5696
52 | 2612051.8516 | 1197948.2402 | 2612051.9848 | 1197953.9768 | 2612051.8925 | 1197958.2456 | 2612051.2299 | 1197965.8483 | 2612051.216 | 1197967.9678
53 | 2612051.8516 | 1197948.2402 | 2612041.2802 | 1197952.7658 | 2612027.809 | 1197956.5075 | 2612012.301 | 1197958.1663 | 2612003.8805 | 1197957.3878
54 | 2612052.5702 | 1197905.1185 | 2612055.6778 | 1197889.6943
55 | 2612052.5702 | 1197905.1185 | 2612048.4519 | 1197904.3209 | 2612042.8579 | 1197902.72 | 2612036.6489 | 1197900.1951 | 2612028.7594 | 1197896.4217 | 2612022.6137 | 1197892.663 | 2612017.4962 | 1197888.8618 | 2612012.3799 | 1197884.4714 | 2612002.4546 | 1197874.2906 | 2611985.6806 | 1197857.7372
56 | 2612055.6778 | 1197889.6943 | 2612058.069 | 1197878.9842
57 | 2611985.6806 | 1197857.7372 | 2611978.1253 | 1197850.2812
58 | 2612053.122 | 1197980.7303 | 2612052.945 | 1197980.215 | 2612051.7736 | 1197975.7325 | 2612051.1971 | 1197970.8287 | 2612051.216 | 1197967.9678
59 | 2611970.8878 | 1197952.3145 | 2611977.996 | 1197953.5398 | 2611998.5352 | 1197956.8937 | 2612003.8805 | 1197957.3878
60 | 2612058.784 | 1197875.782 | 2612058.069 | 1197878.9842
61 | 2611974.0861 | 1197846.2952 | 2611978.1253 | 1197850.2812
62 | 2611981.923 | 1197897.7246 | 2611975.6882 | 1197898.6305
63 | 2611930.8728 | 1197903.7527 | 2611930.8728 | 1197903.7527 | 2611941.1087 | 1197903.2839 | 2611950.5609 | 1197902.4801 | 2611964.8365 | 1197900.2072 | 2611975.6882 | 1197898.6305
64 | 2611903.3488 | 1197901.0634 | 2611913.9232 | 1197902.7074 | 2611921.4001 | 1197903.4115 | 2611930.8728 | 1197903.7527
65 | 2611903.3488 | 1197901.0634 | 2611899.3496 | 1197928.5591
66 | 2611897.7539 | 1197899.9184 | 2611903.3488 | 1197901.0634
67 | 2611899.3496 | 1197928.5591 | 2611896.5619 | 1197940.3599 | 2611895.7852 | 1197944.216 | 2611895.9304 | 1197947.7626 | 2611896.3886 | 1197950.9986 | 2611897.3869 | 1197954.4802 | 2611898.9257 | 1197958.0296 | 2611901.1649 | 1197961.736 | 2611907.1829 | 1197972.2424 | 2611913.9637 | 1197985.9854
68 | 2611899.3496 | 1197928.5591 | 2611913.4038 | 1197934.2122 | 2611915.7258 | 1197934.7484
69 | 2611897.7539 | 1197899.9184 | 2611902.6835 | 1197887.099 | 2611907.3029 | 1197880.1595
70 | 2611897.7539 | 1197899.9184 | 2611891.1084 | 1197898.5378 | 2611884.8759 | 1197896.8034
71 | 2611928.6152 | 1197937.6142 | 2611920.2012 | 1197935.782 | 2611915.7258 | 1197934.7484
72 | 2611908.9655 | 1197877.6617 | 2611907.3029 | 1197880.1595
73 | 2611845.7268 | 1197884.1183 | 2611883.3831 | 1197896.3881 | 2611884.8759 | 1197896.8034
74 | 2612056.2351 | 1197847.2616 | 2612052.3878 | 1197844.2411 | 2612045.3756 | 1197839.6357 | 2612035.9443 | 1197833.7803 | 2612017.7358 | 1197822.4156 | 2612004.9076 | 1197812.9182 | 2611999.1452 | 1197807.8707 | 2611993.4672 | 1197802.4676 | 2611990.0362 | 1197798.8437
75 | 2612056.2351 | 1197847.2616 | 2612058.3836 | 1197850.5565 | 2612059.8156 | 1197854.2058
76 | 2612056.2351 | 1197847.2616 | 2612045.7067 | 1197849.197 | 2612042.3991 | 1197850.5022 | 2612040.3472 | 1197852.1434 | 2612039.9527 | 1197852.6488
77 | 2612104.0906 | 1197873.4718 | 2612077.0962 | 1197857.3311 | 2612074.1746 | 1197855.98 | 2612069.9813 | 1197854.6264 | 2612066.0152 | 1197853.8514 | 2612063.0074 | 1197853.7342 | 2612059.8156 | 1197854.2058
78 | 2612059.8156 | 1197854.2058 | 2612060.8184 | 1197859.1883 | 2612061.0623 | 1197862.8796 | 2612060.7341 | 1197867.0478 | 2612058.784 | 1197875.782
79 | 2612030.7553 | 1197873.2355 | 2612031.7617 | 1197868.8463 | 2612035.0135 | 1197861.2376 | 2612038.0338 | 1197855.1071 | 2612039.9527 | 1197852.6488
80 | 2612014.1715 | 1197860.6178 | 2612030.7553 | 1197873.2355
81 | 2611939.6717 | 1197813.2767 | 2611935.1004 | 1197808.9232
82 | 2611961.1252 | 1197833.708 | 2611939.6717 | 1197813.2767
83 | 2611917.8467 | 1197792.4916 | 2611935.1004 | 1197808.9232
84 | 2611961.1252 | 1197833.708 | 2611967.0216 | 1197839.3235 | 2611974.0861 | 1197846.2952
85 | 2611917.8467 | 1197792.4916 | 2611917.3688 | 1197765.2873
86 | 2611917.3688 | 1197765.2873 | 2611909.6786 | 1197758.2217 | 2611908.1711 | 1197757.2559
87 | 2611887.1074 | 1197764.2271 | 2611876.5157 | 1197754.5355
88 | 2611887.1074 | 1197764.2271 | 2611908.1711 | 1197757.2559
89 | 2611876.5157 | 1197754.5355 | 2611864.7921 | 1197743.8081
90 | 2611850.016 | 1197730.1525 | 2611864.6161 | 1197743.647 | 2611864.7921 | 1197743.8081
91 | 2612127.5565 | 1198464.0465 | 2612144.4383 | 1198452.6523
92 | 2612156.2378 | 1198442.882 | 2612153.8958 | 1198445.0118 | 2612150.135 | 1198448.3949 | 2612144.4383 | 1198452.6523
93 | 2612129.2108 | 1198470.6312 | 2612127.5565 | 1198464.0465
94 | 2612127.5565 | 1198464.0465 | 2612122.79 | 1198445.0712 | 2612121.4708 | 1198436.779
95 | 2612156.2378 | 1198442.882 | 2612155.5961 | 1198436.3661 | 2612155.4749 | 1198433.8577
96 | 2612156.2378 | 1198442.882 | 2612158.885 | 1198440.4639 | 2612164.1163 | 1198436.6724 | 2612167.5242 | 1198434.6338 | 2612169.1087 | 1198434.2813 | 2612170.7451 | 1198434.6403 | 2612172.0372 | 1198435.8102 | 2612173.3197 | 1198437.9807 | 2612174.3118 | 1198440.673 | 2612174.6956 | 1198442.8583
97 | 2612129.2108 | 1198470.6312 | 2612076.2471 | 1198472.7812 | 2612069.5134 | 1198470.1663 | 2612061.9249 | 1198463.0057
98 | 2612122.6133 | 1198385.4945 | 2612121.2668 | 1198399.9217 | 2612120.4245 | 1198413.5718 | 2612120.3659 | 1198423.766 | 2612121.0756 | 1198434.2953 | 2612121.4708 | 1198436.779
99 | 2612155.4749 | 1198433.8577 | 2612155.1723 | 1198427.5939 | 2612154.4854 | 1198413.3182 | 2612154.3472 | 1198395.0637 | 2612154.6556 | 1198374.331 | 2612155.3001 | 1198364.4047 | 2612155.7179 | 1198357.7903
100 | 2612174.6956 | 1198442.8583 | 2612175.077 | 1198445.0291
101 | 2612061.9249 | 1198463.0057 | 2612055.8179 | 1198457.243 | 2612045.7088 | 1198448.1067 | 2612033.5159 | 1198441.4565 | 2612030.2676 | 1198440.6809
102 | 2612122.6133 | 1198385.4945 | 2612122.8934 | 1198382.5268 | 2612124.1709 | 1198372.1015 | 2612124.7008 | 1198366.1105 | 2612125.0819 | 1198358.3849 | 2612126.552 | 1198331.7625 | 2612126.9243 | 1198324.6039 | 2612127.0109 | 1198319.4568 | 2612126.9325 | 1198316.8017
103 | 2612122.6133 | 1198385.4945 | 2612126.6847 | 1198386.6922 | 2612128.7769 | 1198387.6303 | 2612131.4002 | 1198389.481 | 2612133.5659 | 1198391.7199 | 2612135.2636 | 1198395.6588 | 2612135.7971 | 1198399.2062 | 2612135.863 | 1198409.4201
104 | 2612178.8127 | 1198467.7655 | 2612178.4887 | 1198464.9389 | 2612175.185 | 1198445.6441 | 2612175.077 | 1198445.0291
105 | 2612030.2676 | 1198440.6809 | 2612019.9074 | 1198438.2074
106 | 2612126.9325 | 1198316.8017 | 2612126.8826 | 1198315.1098 | 2612126.3045 | 1198311.0064 | 2612125.3618 | 1198306.4577 | 2612124.462 | 1198303.3431 | 2612122.7906 | 1198298.6976
107 | 2612053.122 | 1197980.7303 | 2612053.541 | 1197981.9507
108 | 2611970.8878 | 1197952.3145 | 2611970.8349 | 1197952.3054
109 | 2611606.8186 | 1198499.1037 | 2611607.2081 | 1198478.8158 | 2611612.2531 | 1198472.0776
110 | 2612019.9074 | 1198438.2074 | 2611612.2531 | 1198472.0776
111 | 2611606.8186 | 1198499.1037 | 2611598.0671 | 1198499.9612
112 | 2612023.6874 | 1198383.4168 | 2612018.0993 | 1198409.5308 | 2612010.9365 | 1198431.0947 | 2612017.4568 | 1198437.6223 | 2612019.9074 | 1198438.2074
113 | 2612030.6941 | 1198356.2052 | 2612023.6874 | 1198383.4168
114 | 2612122.7906 | 1198298.6976 | 2612121.5239 | 1198295.1772 | 2612118.4265 | 1198288.5645
115 | 2612113.2809 | 1198276.0567 | 2612117.005 | 1198285.5296 | 2612118.4265 | 1198288.5645
116 | 2612113.2809 | 1198276.0567 | 2612109.5957 | 1198266.6823 | 2612106.0741 | 1198256.7364
117 | 2612106.0741 | 1198256.7364 | 2612104.9239 | 1198253.4881 | 2612103.3702 | 1198247.7178
118 | 2612100.9932 | 1198237.0597 | 2612101.3585 | 1198239.1843 | 2612103.0041 | 1198246.3582 | 2612103.3702 | 1198247.7178
119 | 2612100.9932 | 1198237.0597 | 2612099.8306 | 1198230.2987 | 2612098.8669 | 1198221.0585 | 2612098.6486 | 1198218.6686
120 | 2612098.2233 | 1198214.0116 | 2612098.6486 | 1198218.6686
121 | 2612098.2233 | 1198214.0116 | 2612096.6769 | 1198197.0799
122 | 2612096.6769 | 1198197.0799 | 2612096.6764 | 1198197.0746 | 2612095.6043 | 1198189.3191
123 | 2612095.6043 | 1198189.3191 | 2612095.2729 | 1198186.9219 | 2612094.0149 | 1198180.1046 | 2612093.2123 | 1198177.0562
124 | 2612091.1111 | 1198167.7237 | 2612091.1756 | 1198168.2258 | 2612092.1407 | 1198172.9859 | 2612093.2123 | 1198177.0562
125 | 2612090.9929 | 1198166.803 | 2612091.1111 | 1198167.7237
126 | 2612090.9929 | 1198166.803 | 2612090.6358 | 1198164.0225 | 2612090.555 | 1198158.7528 | 2612090.2029 | 1198152.0819 | 2612089.8324 | 1198149.4029
127 | 2612089.8324 | 1198149.4029 | 2612089.3247 | 1198145.7323 | 2612088.863 | 1198143.0173
128 | 2612088.7798 | 1198142.5276 | 2612088.863 | 1198143.0173
129 | 2612088.7798 | 1198142.5276 | 2612086.0284 | 1198126.3486 | 2612084.5409 | 1198119.9339
130 | 2612084.4287 | 1198119.4498 | 2612084.5409 | 1198119.9339
131 | 2612084.4287 | 1198119.4498 | 2612082.6009 | 1198111.5671 | 2612081.39 | 1198104.0384 | 2612080.6684 | 1198099.3345 | 2612079.7348 | 1198087.8036
132 | 2612076.8474 | 1198071.9455 | 2612078.7129 | 1198079.62 | 2612079.643 | 1198086.6701 | 2612079.7348 | 1198087.8036
133 | 2612076.8474 | 1198071.9455 | 2612073.5911 | 1198058.2709
134 | 2612076.8474 | 1198071.9455 | 2612083.2359 | 1198072.2473 | 2612086.7072 | 1198072.8102 | 2612089.4602 | 1198074.2345
135 | 2612073.5911 | 1198058.2709 | 2612072.0297 | 1198051.7138 | 2612066.8858 | 1198034.5832 | 2612065.2599 | 1198026.7589
136 | 2612065.2599 | 1198026.7589 | 2612062.4405 | 1198013.1909
137 | 2612059.3766 | 1198000.1573 | 2612061.4479 | 1198008.4138 | 2612062.4405 | 1198013.1909
138 | 2612059.3766 | 1198000.1573 | 2612059.0455 | 1197998.8372 | 2612056.685 | 1197991.1061 | 2612053.541 | 1197981.9507
139 | 2611845.7268 | 1197884.1183 | 2611845.0773 | 1197889.0974 | 2611845.0161 | 1197893.1106 | 2611845.6243 | 1197897.4808 | 2611857.5546 | 1197949.0875 | 2611861.6055 | 1197959.7242
140 | 2611861.6055 | 1197959.7242 | 2611865.4184 | 1197969.7363 | 2611872.6468 | 1197988.1915
141 | 2611876.4126 | 1197997.8063 | 2611872.6468 | 1197988.1915
142 | 2611912.0379 | 1197873.0462 | 2611908.9655 | 1197877.6617
143 | 2611928.79 | 1197937.6522 | 2611928.6152 | 1197937.6142
144 | 2611928.79 | 1197937.6522 | 2611933.8037 | 1197938.744 | 2611936.8326 | 1197939.7616 | 2611939.7221 | 1197941.9241 | 2611948.6434 | 1197947.6449 | 2611950.0151 | 1197948.2216
145 | 2611950.0151 | 1197948.2216 | 2611951.7783 | 1197948.9629 | 2611955.0666 | 1197949.6698 | 2611963.2504 | 1197950.9979 | 2611970.8349 | 1197952.3054

## bus_geodata
| x | y | coords
0 | 2612286.3812 | 1197610.6559
1 | 2612275.5607 | 1197552.5611
2 | 2612288.4816 | 1197619.9882
3 | 2612276.2187 | 1197547.443
4 | 2612323.0436 | 1197604.1456
5 | 2612241.8156 | 1197745.6601
6 | 2612278.3639 | 1197532.5763
7 | 2612258.5755 | 1197764.7491
8 | 2612229.1458 | 1197749.3595
9 | 2612262.9065 | 1197516.7342
10 | 2612294.1593 | 1197525.0268
11 | 2612355.2972 | 1197551.7109
12 | 2612344.6121 | 1197540.2196
13 | 2612342.5142 | 1197469.5687
14 | 2612480.8433 | 1197796.79
15 | 2612502.587 | 1197813.9799
16 | 2612447.1502 | 1197930.4586
17 | 2612331.0999 | 1197437.7224
18 | 2612289.8759 | 1197505.526
19 | 2612390.3363 | 1197419.3122
20 | 2612307.8212 | 1197391.5044
21 | 2612231.6608 | 1197463.24
22 | 2612229.9608 | 1197460.1389
23 | 2612286.6109 | 1197453.0468
24 | 2612276.8275 | 1197423.135
25 | 2612284.9621 | 1197859.0705
26 | 2612315.9167 | 1197867.0988
27 | 2612183.1966 | 1197909.8612
28 | 2612160.6491 | 1197873.7861
29 | 2612170.2634 | 1197888.3188
30 | 2612147.9755 | 1197878.3852
31 | 2612141.8381 | 1197863.0201
32 | 2612133.2058 | 1197859.8354
33 | 2612109.3821 | 1197850.4542
34 | 2612130.8461 | 1197885.6638
35 | 2612093.748 | 1197843.7017
36 | 2612112.8539 | 1197893.3223
37 | 2612432.7272 | 1198031.6498
38 | 2611951.2604 | 1197712.6713
39 | 2611957.4633 | 1197729.9987
40 | 2611967.2263 | 1197760.4532
41 | 2611980.092 | 1197786.5198
42 | 2612073.5122 | 1197931.5919
43 | 2612097.434 | 1197942.701
44 | 2612067.6517 | 1197918.7005
45 | 2612115.5413 | 1197954.0936
46 | 2612083.8121 | 1197914.5307
47 | 2612050.6508 | 1197924.2694
48 | 2612083.3912 | 1197904.2021
49 | 2612051.8516 | 1197948.2402
50 | 2612052.5702 | 1197905.1185
51 | 2612041.583 | 1197919.5696
52 | 2612055.6778 | 1197889.6943
53 | 2611985.6806 | 1197857.7372
54 | 2612051.216 | 1197967.9678
55 | 2612003.8805 | 1197957.3878
56 | 2612058.069 | 1197878.9842
57 | 2611978.1253 | 1197850.2812
58 | 2611975.6882 | 1197898.6305
59 | 2611981.923 | 1197897.7246
60 | 2611930.8728 | 1197903.7527
61 | 2611903.3488 | 1197901.0634
62 | 2611899.3496 | 1197928.5591
63 | 2611897.7539 | 1197899.9184
64 | 2611913.9637 | 1197985.9854
65 | 2611915.7258 | 1197934.7484
66 | 2611907.3029 | 1197880.1595
67 | 2611884.8759 | 1197896.8034
68 | 2611990.0362 | 1197798.8437
69 | 2612056.2351 | 1197847.2616
70 | 2612059.8156 | 1197854.2058
71 | 2612039.9527 | 1197852.6488
72 | 2612104.0906 | 1197873.4718
73 | 2612058.784 | 1197875.782
74 | 2612030.7553 | 1197873.2355
75 | 2612014.1715 | 1197860.6178
76 | 2611939.6717 | 1197813.2767
77 | 2611935.1004 | 1197808.9232
78 | 2611961.1252 | 1197833.708
79 | 2611917.8467 | 1197792.4916
80 | 2611974.0861 | 1197846.2952
81 | 2611917.3688 | 1197765.2873
82 | 2611887.1074 | 1197764.2271
83 | 2611876.5157 | 1197754.5355
84 | 2611908.1711 | 1197757.2559
85 | 2611864.7921 | 1197743.8081
86 | 2611850.016 | 1197730.1525
87 | 2612144.4383 | 1198452.6523
88 | 2612127.5565 | 1198464.0465
89 | 2612156.2378 | 1198442.882
90 | 2612129.2108 | 1198470.6312
91 | 2612121.4708 | 1198436.779
92 | 2612155.4749 | 1198433.8577
93 | 2612174.6956 | 1198442.8583
94 | 2612061.9249 | 1198463.0057
95 | 2612122.6133 | 1198385.4945
96 | 2612155.7179 | 1198357.7903
97 | 2612175.077 | 1198445.0291
98 | 2612030.2676 | 1198440.6809
99 | 2612126.9325 | 1198316.8017
100 | 2612135.863 | 1198409.4201
101 | 2612178.8127 | 1198467.7655
102 | 2612053.122 | 1197980.7303
103 | 2611970.8878 | 1197952.3145
104 | 2612145.7678 | 1197937.2443
105 | 2611612.2531 | 1198472.0776
106 | 2611606.8186 | 1198499.1037
107 | 2612019.9074 | 1198438.2074
108 | 2611598.0671 | 1198499.9612
109 | 2612023.6874 | 1198383.4168
110 | 2612030.6941 | 1198356.2052
111 | 2612122.7906 | 1198298.6976
112 | 2612118.4265 | 1198288.5645
113 | 2612113.2809 | 1198276.0567
114 | 2612106.0741 | 1198256.7364
115 | 2612103.3702 | 1198247.7178
116 | 2612100.9932 | 1198237.0597
117 | 2612098.6486 | 1198218.6686
118 | 2612098.2233 | 1198214.0116
119 | 2612096.6769 | 1198197.0798
120 | 2612095.6043 | 1198189.3191
121 | 2612093.2123 | 1198177.0562
122 | 2612091.1111 | 1198167.7237
123 | 2612090.9929 | 1198166.803
124 | 2612089.8324 | 1198149.4029
125 | 2612088.863 | 1198143.0173
126 | 2612088.7798 | 1198142.5276
127 | 2612084.5409 | 1198119.9339
128 | 2612084.4287 | 1198119.4498
129 | 2612079.7348 | 1198087.8036
130 | 2612076.8474 | 1198071.9455
131 | 2612073.5911 | 1198058.2709
132 | 2612089.4602 | 1198074.2345
133 | 2612065.2599 | 1198026.7589
134 | 2612062.4405 | 1198013.1909
135 | 2612059.3766 | 1198000.1573
136 | 2612053.541 | 1197981.9507
137 | 2611845.7268 | 1197884.1183
138 | 2611861.6055 | 1197959.7242
139 | 2611872.6468 | 1197988.1915
140 | 2611908.9655 | 1197877.6617
141 | 2611876.4126 | 1197997.8063
142 | 2611912.0379 | 1197873.0462
143 | 2611928.79 | 1197937.6522
144 | 2611928.6152 | 1197937.6142
145 | 2611950.0151 | 1197948.2216
146 | 2611970.8349 | 1197952.3054
147 | 2612050.6508 | 1197924.2694

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1