## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_632-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_632-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_632-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_632-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_632-4_0_6_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_632-4_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_632-4_0_6_node_115 | 0.4 | n |  | TRUE
7 | bus_LV_632-4_0_6_node_106 | 0.4 | n |  | TRUE
8 | bus_LV_632-4_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_632-4_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_632-4_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_632-4_0_6_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_632-4_0_6_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_632-4_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_632-4_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_632-4_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_632-4_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_632-4_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_632-4_0_6_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_632-4_0_6_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_632-4_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_632-4_0_6_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_632-4_0_6_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_632-4_0_6_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_632-4_0_6_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_632-4_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_632-4_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_632-4_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_632-4_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_632-4_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_632-4_0_6_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_632-4_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_632-4_0_6_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_632-4_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_632-4_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_632-4_0_6_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_632-4_0_6_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_632-4_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_632-4_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_632-4_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_632-4_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_632-4_0_6_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_632-4_0_6_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_632-4_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_632-4_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_632-4_0_6_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_632-4_0_6_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_632-4_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_632-4_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_632-4_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_632-4_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_632-4_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_632-4_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_632-4_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_632-4_0_6_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_632-4_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_632-4_0_6_node_113 | 0.4 | n |  | TRUE
57 | bus_LV_632-4_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_632-4_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_632-4_0_6_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_632-4_0_6_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_632-4_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_632-4_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_632-4_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_632-4_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_632-4_0_6_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_632-4_0_6_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_632-4_0_6_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_632-4_0_6_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_632-4_0_6_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_632-4_0_6_node_39 | 0.4 | n |  | TRUE
71 | bus_LV_632-4_0_6_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_632-4_0_6_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_632-4_0_6_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_632-4_0_6_node_107 | 0.4 | n |  | TRUE
75 | bus_LV_632-4_0_6_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_632-4_0_6_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_632-4_0_6_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_632-4_0_6_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_632-4_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_632-4_0_6_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_632-4_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_632-4_0_6_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_632-4_0_6_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_632-4_0_6_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_632-4_0_6_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_632-4_0_6_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_632-4_0_6_node_110 | 0.4 | n |  | TRUE
88 | bus_LV_632-4_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_632-4_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_632-4_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_632-4_0_6_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_632-4_0_6_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_632-4_0_6_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_632-4_0_6_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_632-4_0_6_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_632-4_0_6_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_632-4_0_6_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_632-4_0_6_node_111 | 0.4 | n |  | TRUE
99 | bus_LV_632-4_0_6_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_632-4_0_6_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_632-4_0_6_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_632-4_0_6_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_632-4_0_6_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_632-4_0_6_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_632-4_0_6_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_632-4_0_6_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_632-4_0_6_node_94 | 0.4 | n |  | TRUE
108 | bus_LV_632-4_0_6_node_93 | 0.4 | n |  | TRUE
109 | bus_LV_632-4_0_6_node_95 | 0.4 | n |  | TRUE
110 | bus_LV_632-4_0_6_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_632-4_0_6_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_632-4_0_6_node_114 | 0.4 | n |  | TRUE
113 | bus_MV_98_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_632-4_0_6_load_0 | 0 | 0.0045049 | 0.001129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_632-4_0_6_load_1 | 1 | 0.00083298 | 0.00020877 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_632-4_0_6_load_3 | 3 | 0.0013568 | 0.00034003 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_632-4_0_6_load_12 | 4 | 0.0012087 | 0.00030294 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_632-4_0_6_load_13 | 5 | 0.0034403 | 0.00086223 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_632-4_0_6_load_115 | 6 | 0.0011245 | 0.00028182 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_632-4_0_6_load_106 | 7 | 0.00061198 | 0.00015338 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_632-4_0_6_load_4 | 8 | 0.00028645 | 7.1792e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_632-4_0_6_load_97 | 11 | 0.00018201 | 4.5615e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_632-4_0_6_load_96 | 12 | 0.00016184 | 4.0561e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_632-4_0_6_load_11 | 13 | 0.0002108 | 5.2831e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_632-4_0_6_load_9 | 14 | 8.3958e-05 | 2.1042e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_632-4_0_6_load_7 | 15 | 0.0011093 | 0.00027802 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_632-4_0_6_load_8 | 16 | 0.00023298 | 5.8391e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_632-4_0_6_load_10 | 17 | 0.00026688 | 6.6886e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_632-4_0_6_load_79 | 19 | 0.00062887 | 0.00015761 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_632-4_0_6_load_53 | 21 | 0.0025606 | 0.00064174 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_632-4_0_6_load_58 | 22 | 0.006252 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_632-4_0_6_load_51 | 23 | 0.019746 | 0.0049489 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_632-4_0_6_load_59 | 24 | 0.0045274 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_632-4_0_6_load_15 | 25 | 0.023796 | 0.005964 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_632-4_0_6_load_18 | 27 | 0.0599 | 0.015012 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_632-4_0_6_load_19 | 28 | 0.065137 | 0.016325 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_632-4_0_6_load_22 | 29 | 0.0036098 | 0.0009047 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_632-4_0_6_load_35 | 30 | 0.0061159 | 0.0015328 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_632-4_0_6_load_20 | 31 | 0.0034959 | 0.00087617 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_632-4_0_6_load_36 | 32 | 0.042871 | 0.010745 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_632-4_0_6_load_21 | 33 | 0.0052222 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_632-4_0_6_load_23 | 34 | 0.0018123 | 0.00045419 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_632-4_0_6_load_62 | 35 | 0.0013464 | 0.00033744 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_632-4_0_6_load_41 | 36 | 0.001509 | 0.0003782 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_632-4_0_6_load_24 | 37 | 0.0018537 | 0.00046459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_632-4_0_6_load_74 | 41 | 0.0049754 | 0.001247 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_632-4_0_6_load_71 | 42 | 0.0073672 | 0.0018464 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_632-4_0_6_load_45 | 44 | 0.0073361 | 0.0018386 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_632-4_0_6_load_109 | 45 | 0.0074289 | 0.0018619 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_632-4_0_6_load_72 | 46 | 0.0063459 | 0.0015904 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_632-4_0_6_load_38 | 48 | 0.0020635 | 0.00051716 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_632-4_0_6_load_43 | 49 | 0.0069113 | 0.0017321 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_632-4_0_6_load_29 | 50 | 0.0060655 | 0.0015202 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_632-4_0_6_load_30 | 51 | 0.0028628 | 0.00071748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_632-4_0_6_load_32 | 53 | 0.0023557 | 0.00059038 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_632-4_0_6_load_33 | 54 | 0.0052568 | 0.0013175 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_632-4_0_6_load_113 | 56 | 0.00069025 | 0.00017299 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_632-4_0_6_load_65 | 59 | 0.0065922 | 0.0016522 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_632-4_0_6_load_112 | 60 | 0.00062708 | 0.00015716 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_632-4_0_6_load_49 | 62 | 0.0061224 | 0.0015344 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_632-4_0_6_load_69 | 63 | 0.013421 | 0.0033637 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_632-4_0_6_load_63 | 65 | 0.0030197 | 0.00075681 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_632-4_0_6_load_60 | 67 | 0.0022426 | 0.00056205 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_632-4_0_6_load_61 | 68 | 0.035104 | 0.0087979 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_632-4_0_6_load_83 | 69 | 0.00068616 | 0.00017197 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_632-4_0_6_load_39 | 70 | 0.0019648 | 0.00049242 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_632-4_0_6_load_108 | 71 | 0.001409 | 0.00035312 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_632-4_0_6_load_44 | 72 | 0.0070023 | 0.001755 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_632-4_0_6_load_46 | 73 | 0.012884 | 0.0032291 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_632-4_0_6_load_107 | 74 | 0.0096969 | 0.0024303 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_632-4_0_6_load_52 | 75 | 0.001589 | 0.00039824 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_632-4_0_6_load_50 | 76 | 0.0033991 | 0.00085189 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_632-4_0_6_load_54 | 77 | 0.00073672 | 0.00018464 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_632-4_0_6_load_57 | 78 | 0.0010457 | 0.00026208 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_632-4_0_6_load_70 | 79 | 0.012717 | 0.0031873 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_632-4_0_6_load_84 | 80 | 0.00063282 | 0.0001586 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_632-4_0_6_load_64 | 81 | 0.0048828 | 0.0012237 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_632-4_0_6_load_66 | 82 | 0.0047205 | 0.0011831 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_632-4_0_6_load_67 | 83 | 0.00089693 | 0.00022479 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_632-4_0_6_load_68 | 84 | 0.0086132 | 0.0021587 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_632-4_0_6_load_73 | 85 | 0.0027142 | 0.00068024 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_632-4_0_6_load_75 | 86 | 0.032385 | 0.0081165 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_632-4_0_6_load_110 | 87 | 0.0060969 | 0.001528 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_632-4_0_6_load_76 | 88 | 0.00082386 | 0.00020648 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_632-4_0_6_load_77 | 89 | 0.0033715 | 0.00084497 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_632-4_0_6_load_78 | 90 | 0.00060062 | 0.00015053 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_632-4_0_6_load_103 | 91 | 8.5435e-05 | 2.1412e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_632-4_0_6_load_102 | 92 | 0.0002168 | 5.4334e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_632-4_0_6_load_80 | 93 | 0.00060338 | 0.00015122 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_632-4_0_6_load_81 | 94 | 0.0035316 | 0.0008851 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_632-4_0_6_load_98 | 95 | 0.00014416 | 3.6129e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_632-4_0_6_load_111 | 98 | 0.00071285 | 0.00017866 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_632-4_0_6_load_85 | 99 | 0.00077378 | 0.00019393 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_632-4_0_6_load_86 | 100 | 0.0002724 | 6.8269e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_632-4_0_6_load_87 | 101 | 0.00021053 | 5.2764e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_632-4_0_6_load_88 | 102 | 0.00012216 | 3.0616e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_632-4_0_6_load_89 | 103 | 0.00034817 | 8.7261e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_632-4_0_6_load_104 | 105 | 0.00075524 | 0.00018928 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_632-4_0_6_load_94 | 107 | 0.00041094 | 0.00010299 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_632-4_0_6_load_93 | 108 | 0.0010087 | 0.0002528 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_632-4_0_6_load_95 | 109 | 0.00094502 | 0.00023684 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_632-4_0_6_load_100 | 110 | 0.00018237 | 4.5705e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_632-4_0_6_load_101 | 111 | 0.00018272 | 4.5794e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_632-4_0_6_load_114 | 112 | 0.010396 | 0.0026055 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_632-4_0_6_line_0 |  | 0 | 1 | 0.0069788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_632-4_0_6_line_1 |  | 0 | 2 | 0.028402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_632-4_0_6_line_2 |  | 1 | 3 | 0.010328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_632-4_0_6_line_3 |  | 2 | 4 | 0.26962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_632-4_0_6_line_4 |  | 3 | 7 | 0.0051849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_632-4_0_6_line_5 |  | 4 | 5 | 0.057327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_632-4_0_6_line_6 |  | 4 | 6 | 0.06403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_632-4_0_6_line_7 |  | 5 | 20 | 0.043896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_632-4_0_6_line_8 |  | 7 | 8 | 0.15736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_632-4_0_6_line_9 |  | 8 | 9 | 0.028797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_632-4_0_6_line_10 |  | 9 | 10 | 0.089969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_632-4_0_6_line_11 |  | 10 | 13 | 0.13891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_632-4_0_6_line_12 |  | 10 | 11 | 0.14583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_632-4_0_6_line_13 |  | 11 | 12 | 0.010037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_632-4_0_6_line_14 |  | 12 | 109 | 0.0075236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_632-4_0_6_line_15 |  | 13 | 14 | 0.018998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_632-4_0_6_line_16 |  | 14 | 15 | 0.02037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_632-4_0_6_line_17 |  | 15 | 16 | 0.024846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_632-4_0_6_line_18 |  | 16 | 17 | 0.0051536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_632-4_0_6_line_19 |  | 17 | 18 | 0.085291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_632-4_0_6_line_20 |  | 18 | 19 | 0.13431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_632-4_0_6_line_21 |  | 19 | 88 | 0.1158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_632-4_0_6_line_22 |  | 20 | 21 | 0.00098558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_632-4_0_6_line_23 |  | 20 | 22 | 0.01633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_632-4_0_6_line_24 |  | 21 | 23 | 0.025444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_632-4_0_6_line_25 |  | 22 | 24 | 0.024893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_632-4_0_6_line_26 |  | 23 | 76 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_632-4_0_6_line_27 |  | 25 | 26 | 0.0080947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_632-4_0_6_line_28 |  | 26 | 27 | 0.020982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_632-4_0_6_line_29 |  | 26 | 28 | 0.033437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_632-4_0_6_line_30 |  | 27 | 29 | 0.025349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_632-4_0_6_line_31 |  | 28 | 30 | 0.042868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_632-4_0_6_line_32 |  | 29 | 31 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_632-4_0_6_line_33 |  | 30 | 32 | 0.001852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_632-4_0_6_line_34 |  | 31 | 33 | 0.016398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_632-4_0_6_line_35 |  | 32 | 66 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_632-4_0_6_line_36 |  | 33 | 34 | 0.014598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_632-4_0_6_line_37 |  | 34 | 35 | 0.011702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_632-4_0_6_line_38 |  | 35 | 36 | 0.0075957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_632-4_0_6_line_39 |  | 36 | 70 | 0.010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_632-4_0_6_line_40 |  | 37 | 38 | 0.031717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_632-4_0_6_line_41 |  | 38 | 39 | 0.02391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_632-4_0_6_line_42 |  | 38 | 40 | 0.036707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_632-4_0_6_line_43 |  | 39 | 41 | 0.0073522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_632-4_0_6_line_44 |  | 39 | 42 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_632-4_0_6_line_45 |  | 40 | 43 | 0.036555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_632-4_0_6_line_46 |  | 40 | 44 | 0.015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_632-4_0_6_line_47 |  | 41 | 45 | 0.0087983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_632-4_0_6_line_48 |  | 42 | 46 | 0.024326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_632-4_0_6_line_49 |  | 43 | 47 | 0.045138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_632-4_0_6_line_50 |  | 43 | 48 | 0.022307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_632-4_0_6_line_51 |  | 44 | 49 | 0.001551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_632-4_0_6_line_52 |  | 45 | 87 | 0.0081352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_632-4_0_6_line_53 |  | 46 | 85 | 1.7047e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_632-4_0_6_line_54 |  | 47 | 71 | 0.04277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_632-4_0_6_line_55 |  | 48 | 70 | 0.0072681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_632-4_0_6_line_56 |  | 49 | 72 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_632-4_0_6_line_57 |  | 50 | 51 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_632-4_0_6_line_58 |  | 50 | 52 | 0.037793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_632-4_0_6_line_59 |  | 51 | 53 | 0.0024407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_632-4_0_6_line_60 |  | 52 | 54 | 0.038163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_632-4_0_6_line_61 |  | 52 | 55 | 0.006623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_632-4_0_6_line_62 |  | 53 | 56 | 4.9691e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_632-4_0_6_line_63 |  | 54 | 57 | 0.033118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_632-4_0_6_line_64 |  | 55 | 58 | 0.037078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_632-4_0_6_line_65 |  | 55 | 59 | 0.020715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_632-4_0_6_line_66 |  | 56 | 60 | 1.9795e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_632-4_0_6_line_67 |  | 57 | 61 | 0.035746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_632-4_0_6_line_68 |  | 57 | 62 | 0.02908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_632-4_0_6_line_69 |  | 58 | 63 | 0.024235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_632-4_0_6_line_70 |  | 58 | 64 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_632-4_0_6_line_71 |  | 59 | 65 | 0.013785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_632-4_0_6_line_72 |  | 60 | 98 | 0.0025061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_632-4_0_6_line_73 |  | 61 | 74 | 0.023884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_632-4_0_6_line_74 |  | 62 | 75 | 0.0057402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_632-4_0_6_line_75 |  | 63 | 79 | 0.04394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_632-4_0_6_line_76 |  | 64 | 78 | 0.0033222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_632-4_0_6_line_77 |  | 64 | 77 | 0.0098032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_632-4_0_6_line_78 |  | 65 | 81 | 0.019495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_632-4_0_6_line_79 |  | 66 | 67 | 0.0060109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_632-4_0_6_line_80 |  | 66 | 68 | 0.013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_632-4_0_6_line_81 |  | 67 | 69 | 0.015655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_632-4_0_6_line_82 |  | 69 | 80 | 0.004835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_632-4_0_6_line_83 |  | 72 | 73 | 0.0093363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_632-4_0_6_line_84 |  | 75 | 76 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_632-4_0_6_line_85 |  | 80 | 98 | 0.0083426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_632-4_0_6_line_86 |  | 81 | 82 | 0.028695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_632-4_0_6_line_87 |  | 82 | 83 | 0.0050543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_632-4_0_6_line_88 |  | 83 | 84 | 0.012965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_632-4_0_6_line_89 |  | 85 | 86 | 0.00055949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_632-4_0_6_line_90 |  | 87 | 112 | 0.002783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_632-4_0_6_line_91 |  | 88 | 89 | 0.039478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_632-4_0_6_line_92 |  | 89 | 90 | 0.02831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_632-4_0_6_line_93 |  | 90 | 93 | 0.018687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_632-4_0_6_line_94 |  | 91 | 92 | 1.4058e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_632-4_0_6_line_95 |  | 92 | 111 | 0.082477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_632-4_0_6_line_96 |  | 93 | 94 | 0.00028888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_632-4_0_6_line_97 |  | 95 | 96 | 0.024392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_632-4_0_6_line_98 |  | 95 | 97 | 0.043135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_632-4_0_6_line_99 |  | 96 | 110 | 0.047093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_632-4_0_6_line_100 |  | 97 | 104 | 0.037066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_632-4_0_6_line_101 |  | 99 | 100 | 0.0067495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_632-4_0_6_line_102 |  | 99 | 101 | 0.01986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_632-4_0_6_line_103 |  | 100 | 102 | 0.021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_632-4_0_6_line_104 |  | 101 | 103 | 0.0039357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_632-4_0_6_line_105 |  | 102 | 104 | 0.05133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_632-4_0_6_line_106 |  | 103 | 105 | 0.00061359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_632-4_0_6_line_107 |  | 104 | 106 | 0.026482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_632-4_0_6_line_108 |  | 106 | 107 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_632-4_0_6_line_109 |  | 107 | 108 | 0.0086823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_632-4_0_6_line_110 |  | 108 | 109 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_632-4_0_6_line_111 |  | 110 | 111 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_632-4_0_6_trafo_29 | 0.63 MVA 20/0.4 kV | 113 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2611194.952 | 1188185.79 | 2611201.1514 | 1188182.5851
1 | 2611170.9775 | 1188200.7701 | 2611180.2207 | 1188193.4056 | 2611194.952 | 1188185.79
2 | 2611201.1514 | 1188182.5851 | 2611210.3256 | 1188177.8424
3 | 2610901.3861 | 1188204.3891 | 2611170.9775 | 1188200.7701
4 | 2611210.3256 | 1188177.8424 | 2611210.3256 | 1188177.8424 | 2611214.633 | 1188174.9563
5 | 2610851.2407 | 1188176.6081 | 2610892.9965 | 1188199.6937 | 2610901.3861 | 1188204.3891 | 2610901.3861 | 1188204.3891
6 | 2610901.3861 | 1188204.3891 | 2610902.2618 | 1188268.4129
7 | 2610813.384 | 1188154.3933 | 2610846.194 | 1188173.818 | 2610851.2407 | 1188176.6081
8 | 2611214.633 | 1188174.9563 | 2611370.886 | 1188156.3563
9 | 2611385.7958 | 1188132.17 | 2611378.3363 | 1188139.9711 | 2611371.1597 | 1188155.5768 | 2611370.886 | 1188156.3563
10 | 2611385.7958 | 1188132.17 | 2611398.6208 | 1188122.6448 | 2611411.7442 | 1188112.6867 | 2611423.0702 | 1188105.3377 | 2611440.9485 | 1188097.99 | 2611455.5445 | 1188095.85 | 2611465.6734 | 1188096.3029
11 | 2611598.5645 | 1188136.7362 | 2611465.6734 | 1188096.3029
12 | 2611514.9745 | 1187959.0634 | 2611465.6734 | 1188096.3029
13 | 2611514.9745 | 1187959.0634 | 2611515.0671 | 1187958.8255 | 2611518.7595 | 1187949.7671
14 | 2611521.5994 | 1187942.8 | 2611518.7595 | 1187949.7671
15 | 2611598.5645 | 1188136.7362 | 2611615.3704 | 1188139.1232 | 2611617.3874 | 1188139.2817
16 | 2611637.6952 | 1188140.8775 | 2611617.3874 | 1188139.2817
17 | 2611637.6952 | 1188140.8775 | 2611649.3087 | 1188141.7902 | 2611662.3437 | 1188143.8496
18 | 2611662.3437 | 1188143.8496 | 2611665.9779 | 1188144.4238 | 2611667.4328 | 1188144.662
19 | 2611751.149 | 1188140.6875 | 2611736.8445 | 1188145.8623 | 2611718.3795 | 1188148.8612 | 2611698.1339 | 1188149.6889 | 2611667.4328 | 1188144.662
20 | 2611751.149 | 1188140.6875 | 2611878.4871 | 1188097.9649
21 | 2611989.027 | 1188063.4511 | 2611878.4871 | 1188097.9649
22 | 2610812.5793 | 1188153.8242 | 2610813.384 | 1188154.3933
23 | 2610813.384 | 1188154.3933 | 2610822.3495 | 1188140.7444
24 | 2610812.5793 | 1188153.8242 | 2610791.8049 | 1188139.1331
25 | 2610836.0164 | 1188119.9382 | 2610822.3495 | 1188140.7444
26 | 2610778.1839 | 1188129.5007 | 2610791.8049 | 1188139.1331
27 | 2610511.1815 | 1188123.4757 | 2610511.5304 | 1188131.5629
28 | 2610511.1815 | 1188123.4757 | 2610510.5642 | 1188114.4365 | 2610510.357 | 1188102.5162
29 | 2610511.1815 | 1188123.4757 | 2610543.9217 | 1188130.2649
30 | 2610510.5846 | 1188077.168 | 2610510.3424 | 1188101.6739 | 2610510.357 | 1188102.5162
31 | 2610585.8963 | 1188138.969 | 2610543.9217 | 1188130.2649
32 | 2610510.5846 | 1188077.168 | 2610510.6944 | 1188066.056 | 2610510.8005 | 1188065.2296
33 | 2610585.8963 | 1188138.969 | 2610587.7096 | 1188139.3451
34 | 2610512.8886 | 1188048.9651 | 2610510.8005 | 1188065.2296
35 | 2610601.7435 | 1188142.2552 | 2610587.7096 | 1188139.3451
36 | 2610512.8886 | 1188048.9651 | 2610514.7476 | 1188034.4858
37 | 2610516.8702 | 1188022.9795 | 2610514.8625 | 1188033.5908 | 2610514.7476 | 1188034.4858
38 | 2610516.8702 | 1188022.9795 | 2610518.2823 | 1188015.5162
39 | 2610520.2584 | 1188005.0725 | 2610518.2823 | 1188015.5162
40 | 2610597.3879 | 1187986.2997 | 2610627.4323 | 1187976.1355
41 | 2610597.3879 | 1187986.2997 | 2610607.7621 | 1188007.8514
42 | 2610560.9652 | 1187985.891 | 2610575.0879 | 1187988.306 | 2610591.1761 | 1187987.7895 | 2610597.3879 | 1187986.2997
43 | 2610607.7621 | 1188007.8514 | 2610608.4891 | 1188015.1676 | 2610608.4891 | 1188015.1676
44 | 2610607.7621 | 1188007.8514 | 2610611.7016 | 1188014.5062 | 2610618.3605 | 1188022.8623
45 | 2610525.7566 | 1187976.0132 | 2610542.0213 | 1187979.2878 | 2610560.9652 | 1187985.891
46 | 2610560.9652 | 1187985.891 | 2610558.0987 | 1188001.0994
47 | 2610612.4033 | 1188023.0473 | 2610608.4891 | 1188015.1676
48 | 2610618.3605 | 1188022.8623 | 2610633.5209 | 1188041.8867
49 | 2610516.3881 | 1187937.4545 | 2610516.4296 | 1187939.9003 | 2610517.2418 | 1187942.2029 | 2610518.7564 | 1187944.1288 | 2610520.806 | 1187945.4664 | 2610523.1772 | 1187946.082 | 2610525.6261 | 1187945.9195 | 2610527.9471 | 1187957.8409 | 2610525.7566 | 1187976.0132
50 | 2610525.7566 | 1187976.0132 | 2610521.6096 | 1187997.9311
51 | 2610557.8114 | 1188002.6236 | 2610558.0987 | 1188001.0994
52 | 2610616.0225 | 1188030.3331 | 2610612.4033 | 1188023.0473
53 | 2610633.5209 | 1188041.8867 | 2610633.5315 | 1188041.9
54 | 2610516.3881 | 1187937.4545 | 2610507.4278 | 1187935.9937 | 2610497.188 | 1187933.33 | 2610486.4765 | 1187929.954 | 2610475.7681 | 1187924.8105
55 | 2610521.6096 | 1187997.9311 | 2610520.2584 | 1188005.0725
56 | 2610557.8114 | 1188002.6236 | 2610554.8563 | 1188018.302
57 | 2610658.1583 | 1188153.9555 | 2610640.7119 | 1188150.3372
58 | 2610695.1642 | 1188161.6305 | 2610658.1583 | 1188153.9555
59 | 2610638.3221 | 1188149.8416 | 2610640.7119 | 1188150.3372
60 | 2610695.1642 | 1188161.6305 | 2610701.1948 | 1188150.402 | 2610712.7728 | 1188127.774
61 | 2610692.7429 | 1188167.796 | 2610695.1642 | 1188161.6305
62 | 2610638.3221 | 1188149.8416 | 2610638.3172 | 1188149.8405
63 | 2610730.2629 | 1188099.7273 | 2610721.1476 | 1188112.6178 | 2610717.5675 | 1188118.4033 | 2610712.7728 | 1188127.774
64 | 2610675.9268 | 1188200.4944 | 2610679.7179 | 1188196.1321 | 2610683.8407 | 1188189.6361 | 2610687.6453 | 1188181.9722 | 2610692.7429 | 1188167.796
65 | 2610692.7429 | 1188167.796 | 2610711.496 | 1188176.5958
66 | 2610638.3172 | 1188149.8405 | 2610638.3153 | 1188149.8401
67 | 2610730.2629 | 1188099.7273 | 2610740.763 | 1188084.4936 | 2610750.1601 | 1188071.8705 | 2610751.0777 | 1188070.6381
68 | 2610730.2629 | 1188099.7273 | 2610755.0549 | 1188114.9252
69 | 2610675.9268 | 1188200.4944 | 2610689.8884 | 1188220.3037
70 | 2610661.3278 | 1188213.2418 | 2610675.9268 | 1188200.4944
71 | 2610723.975 | 1188182.4514 | 2610711.496 | 1188176.5958
72 | 2610635.8614 | 1188149.3312 | 2610638.3153 | 1188149.8401
73 | 2610751.0777 | 1188070.6381 | 2610759.7532 | 1188060.5928 | 2610767.1607 | 1188052.9956
74 | 2610755.0549 | 1188114.9252 | 2610759.9488 | 1188117.9252
75 | 2610718.9216 | 1188253.276 | 2610690.5656 | 1188221.2645 | 2610689.8884 | 1188220.3037
76 | 2610661.3278 | 1188213.2418 | 2610658.8819 | 1188215.4902
77 | 2610661.3278 | 1188213.2418 | 2610668.1096 | 1188220.3205
78 | 2610723.975 | 1188182.4514 | 2610741.6237 | 1188190.7329
79 | 2610601.7435 | 1188142.2552 | 2610607.6291 | 1188143.4759
80 | 2610604.4287 | 1188129.1309 | 2610601.7435 | 1188142.2552
81 | 2610622.9583 | 1188146.6551 | 2610607.6291 | 1188143.4759
82 | 2610622.9583 | 1188146.6551 | 2610627.6926 | 1188147.637
83 | 2610553.127 | 1188027.4767 | 2610554.8563 | 1188018.302
84 | 2610778.1839 | 1188129.5007 | 2610773.968 | 1188126.5193 | 2610759.9488 | 1188117.9252
85 | 2610627.6926 | 1188147.637 | 2610635.8614 | 1188149.3312
86 | 2610767.3775 | 1188203.3586 | 2610761.2814 | 1188199.9571 | 2610741.6237 | 1188190.7329
87 | 2610770.9943 | 1188206.8892 | 2610767.3775 | 1188203.3586 | 2610767.3775 | 1188203.3586
88 | 2610775.2212 | 1188219.003 | 2610774.0652 | 1188212.8644 | 2610770.9943 | 1188206.8892
89 | 2610633.5315 | 1188041.9 | 2610633.8802 | 1188042.3376
90 | 2610617.2606 | 1188032.8255 | 2610616.0225 | 1188030.3331
91 | 2611989.027 | 1188063.4511 | 2611992.4983 | 1188064.3459 | 2612015.7329 | 1188071.9406 | 2612025.562 | 1188077.8123
92 | 2612025.562 | 1188077.8123 | 2612031.4732 | 1188081.3436 | 2612042.4171 | 1188086.1458 | 2612051.746 | 1188087.7905
93 | 2612068.2891 | 1188096.0585 | 2612065.1018 | 1188093.9953 | 2612055.3646 | 1188088.4284 | 2612051.746 | 1188087.7905
94 | 2611724.8187 | 1187745.3674 | 2611724.8304 | 1187745.3597
95 | 2611657.1262 | 1187792.4635 | 2611672.5101 | 1187781.1249 | 2611706.7995 | 1187757.3013 | 2611724.8187 | 1187745.3674
96 | 2612068.5316 | 1188096.2154 | 2612068.2891 | 1188096.0585
97 | 2611619.9155 | 1187835.4848 | 2611615.0585 | 1187842.279 | 2611605.1703 | 1187854.9093
98 | 2611571.1981 | 1187881.2482 | 2611579.2489 | 1187875.6163 | 2611602.5098 | 1187858.3076 | 2611605.1703 | 1187854.9093
99 | 2611619.9155 | 1187835.4848 | 2611629.4994 | 1187822.0741 | 2611648.9857 | 1187798.4687
100 | 2611534.7396 | 1187887.2258 | 2611545.3959 | 1187887.3241 | 2611562.8573 | 1187882.9664 | 2611571.1981 | 1187881.2482
101 | 2611462.0468 | 1187854.5682 | 2611468.1362 | 1187857.4793
102 | 2611462.0468 | 1187854.5682 | 2611460.3229 | 1187853.744 | 2611444.1958 | 1187845.8633
103 | 2611487.6664 | 1187866.8063 | 2611487.5457 | 1187866.7582 | 2611468.1362 | 1187857.4793
104 | 2611444.1958 | 1187845.8633 | 2611440.6596 | 1187844.1354
105 | 2611534.7396 | 1187887.2258 | 2611524.4432 | 1187882.4592 | 2611508.3774 | 1187875.0468 | 2611487.6664 | 1187866.8063
106 | 2611440.1084 | 1187843.866 | 2611440.6596 | 1187844.1354
107 | 2611534.7396 | 1187887.2258 | 2611538.1233 | 1187892.9019 | 2611539.6479 | 1187901.3426 | 2611537.4908 | 1187912.4331
108 | 2611537.4908 | 1187912.4331 | 2611531.4441 | 1187922.6093
109 | 2611527.4401 | 1187930.3058 | 2611530.0218 | 1187925.0031 | 2611531.4441 | 1187922.6093
110 | 2611527.4401 | 1187930.3058 | 2611522.8461 | 1187939.7415 | 2611521.5994 | 1187942.8
111 | 2611657.1262 | 1187792.4635 | 2611648.997 | 1187798.4551 | 2611648.9857 | 1187798.4687

## bus_geodata
| x | y | coords
0 | 2611194.952 | 1188185.79
1 | 2611201.1514 | 1188182.5851
2 | 2611170.9775 | 1188200.7701
3 | 2611210.3256 | 1188177.8424
4 | 2610901.3861 | 1188204.3891
5 | 2610851.2407 | 1188176.6081
6 | 2610902.2618 | 1188268.4129
7 | 2611214.633 | 1188174.9563
8 | 2611370.886 | 1188156.3563
9 | 2611385.7958 | 1188132.17
10 | 2611465.6734 | 1188096.3029
11 | 2611514.9745 | 1187959.0634
12 | 2611518.7595 | 1187949.7671
13 | 2611598.5645 | 1188136.7362
14 | 2611617.3874 | 1188139.2817
15 | 2611637.6952 | 1188140.8775
16 | 2611662.3437 | 1188143.8496
17 | 2611667.4328 | 1188144.662
18 | 2611751.149 | 1188140.6875
19 | 2611878.4871 | 1188097.9649
20 | 2610813.384 | 1188154.3933
21 | 2610812.5793 | 1188153.8242
22 | 2610822.3495 | 1188140.7444
23 | 2610791.8049 | 1188139.1331
24 | 2610836.0164 | 1188119.9382
25 | 2610511.5304 | 1188131.5629
26 | 2610511.1815 | 1188123.4757
27 | 2610510.357 | 1188102.5162
28 | 2610543.9217 | 1188130.2649
29 | 2610510.5846 | 1188077.168
30 | 2610585.8963 | 1188138.969
31 | 2610510.8005 | 1188065.2296
32 | 2610587.7096 | 1188139.3451
33 | 2610512.8886 | 1188048.9651
34 | 2610514.7476 | 1188034.4858
35 | 2610516.8702 | 1188022.9795
36 | 2610518.2823 | 1188015.5162
37 | 2610627.4323 | 1187976.1355
38 | 2610597.3879 | 1187986.2997
39 | 2610607.7621 | 1188007.8514
40 | 2610560.9652 | 1187985.891
41 | 2610608.4891 | 1188015.1676
42 | 2610618.3605 | 1188022.8623
43 | 2610525.7566 | 1187976.0132
44 | 2610558.0987 | 1188001.0994
45 | 2610612.4033 | 1188023.0473
46 | 2610633.5209 | 1188041.8867
47 | 2610516.3881 | 1187937.4545
48 | 2610521.6096 | 1187997.9311
49 | 2610557.8114 | 1188002.6236
50 | 2610658.1583 | 1188153.9555
51 | 2610640.7119 | 1188150.3372
52 | 2610695.1642 | 1188161.6305
53 | 2610638.3221 | 1188149.8416
54 | 2610712.7728 | 1188127.774
55 | 2610692.7429 | 1188167.796
56 | 2610638.3172 | 1188149.8405
57 | 2610730.2629 | 1188099.7273
58 | 2610675.9268 | 1188200.4944
59 | 2610711.496 | 1188176.5958
60 | 2610638.3153 | 1188149.8401
61 | 2610751.0777 | 1188070.6381
62 | 2610755.0549 | 1188114.9252
63 | 2610689.8884 | 1188220.3037
64 | 2610661.3278 | 1188213.2418
65 | 2610723.975 | 1188182.4514
66 | 2610601.7435 | 1188142.2552
67 | 2610607.6291 | 1188143.4759
68 | 2610604.4287 | 1188129.1309
69 | 2610622.9583 | 1188146.6551
70 | 2610520.2584 | 1188005.0725
71 | 2610475.7681 | 1187924.8105
72 | 2610554.8563 | 1188018.302
73 | 2610553.127 | 1188027.4767
74 | 2610767.1607 | 1188052.9956
75 | 2610759.9488 | 1188117.9252
76 | 2610778.1839 | 1188129.5007
77 | 2610668.1096 | 1188220.3205
78 | 2610658.8819 | 1188215.4902
79 | 2610718.9216 | 1188253.276
80 | 2610627.6926 | 1188147.637
81 | 2610741.6237 | 1188190.7329
82 | 2610767.3775 | 1188203.3586
83 | 2610770.9943 | 1188206.8892
84 | 2610775.2212 | 1188219.003
85 | 2610633.5315 | 1188041.9
86 | 2610633.8802 | 1188042.3376
87 | 2610616.0225 | 1188030.3331
88 | 2611989.027 | 1188063.4511
89 | 2612025.562 | 1188077.8123
90 | 2612051.746 | 1188087.7905
91 | 2611724.8304 | 1187745.3597
92 | 2611724.8187 | 1187745.3674
93 | 2612068.2891 | 1188096.0585
94 | 2612068.5316 | 1188096.2154
95 | 2611605.1703 | 1187854.9093
96 | 2611619.9155 | 1187835.4848
97 | 2611571.1981 | 1187881.2482
98 | 2610635.8614 | 1188149.3312
99 | 2611462.0468 | 1187854.5682
100 | 2611468.1362 | 1187857.4793
101 | 2611444.1958 | 1187845.8633
102 | 2611487.6664 | 1187866.8063
103 | 2611440.6596 | 1187844.1354
104 | 2611534.7396 | 1187887.2258
105 | 2611440.1084 | 1187843.866
106 | 2611537.4908 | 1187912.4331
107 | 2611531.4441 | 1187922.6093
108 | 2611527.4401 | 1187930.3058
109 | 2611521.5994 | 1187942.8
110 | 2611648.9857 | 1187798.4687
111 | 2611657.1262 | 1187792.4635
112 | 2610617.2606 | 1188032.8255
113 | 2610695.1642 | 1188161.6305

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1