## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_632-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_632-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_632-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_632-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_632-5_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_632-5_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_632-5_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_632-5_0_4_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_632-5_0_4_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_632-5_0_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_632-5_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_632-5_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_632-5_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_632-5_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_632-5_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_632-5_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_632-5_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_632-5_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_632-5_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_632-5_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_632-5_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_632-5_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_632-5_0_4_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_632-5_0_4_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_632-5_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_632-5_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_632-5_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_632-5_0_4_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_632-5_0_4_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_632-5_0_4_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_632-5_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_632-5_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_632-5_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_632-5_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_632-5_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_632-5_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_632-5_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_632-5_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_632-5_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_632-5_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_632-5_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_632-5_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_632-5_0_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_632-5_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_632-5_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_632-5_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_632-5_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_632-5_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_632-5_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_632-5_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_632-5_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_632-5_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_632-5_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_632-5_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_632-5_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_632-5_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_632-5_0_4_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_632-5_0_4_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_632-5_0_4_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_632-5_0_4_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_632-5_0_4_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_632-5_0_4_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_632-5_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_632-5_0_4_node_106 | 0.4 | n |  | TRUE
64 | bus_LV_632-5_0_4_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_632-5_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_632-5_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_632-5_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_632-5_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_632-5_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_632-5_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_632-5_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_632-5_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_632-5_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_632-5_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_632-5_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_632-5_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_632-5_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_632-5_0_4_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_632-5_0_4_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_632-5_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_632-5_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_632-5_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_632-5_0_4_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_632-5_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_632-5_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_632-5_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_632-5_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_632-5_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_632-5_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_632-5_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_632-5_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_632-5_0_4_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_632-5_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_632-5_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_632-5_0_4_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_632-5_0_4_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_632-5_0_4_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_632-5_0_4_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_632-5_0_4_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_632-5_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_632-5_0_4_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_632-5_0_4_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_632-5_0_4_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_632-5_0_4_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_632-5_0_4_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_632-5_0_4_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_632-5_0_4_node_115 | 0.4 | n |  | TRUE
108 | bus_LV_632-5_0_4_node_113 | 0.4 | n |  | TRUE
109 | bus_LV_632-5_0_4_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_632-5_0_4_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_632-5_0_4_node_109 | 0.4 | n |  | TRUE
112 | bus_LV_632-5_0_4_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_632-5_0_4_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_632-5_0_4_node_112 | 0.4 | n |  | TRUE
115 | bus_LV_632-5_0_4_node_111 | 0.4 | n |  | TRUE
116 | bus_MV_98_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_632-5_0_4_load_0 | 0 | 0.0097095 | 0.0024334 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_632-5_0_4_load_1 | 1 | 0.0027524 | 0.00068981 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_632-5_0_4_load_3 | 3 | 0.0016743 | 0.00041963 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_632-5_0_4_load_4 | 6 | 0.00079411 | 0.00019902 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_632-5_0_4_load_62 | 7 | 0.0021559 | 0.00054031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_632-5_0_4_load_53 | 8 | 0.0040742 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_632-5_0_4_load_7 | 10 | 0.0028302 | 0.00070932 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_632-5_0_4_load_8 | 11 | 0.0087871 | 0.0022023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_632-5_0_4_load_11 | 14 | 0.0028772 | 0.0007211 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_632-5_0_4_load_13 | 16 | 0.0076356 | 0.0019137 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_632-5_0_4_load_14 | 17 | 0.0033374 | 0.00083643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_632-5_0_4_load_15 | 18 | 0.003819 | 0.00095714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_632-5_0_4_load_16 | 19 | 0.0032245 | 0.00080813 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_632-5_0_4_load_17 | 20 | 0.0030839 | 0.0007729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_632-5_0_4_load_18 | 21 | 0.0029318 | 0.00073477 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_632-5_0_4_load_61 | 22 | 0.019427 | 0.0048688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_632-5_0_4_load_54 | 24 | 0.0032848 | 0.00082326 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_632-5_0_4_load_19 | 25 | 0.0026474 | 0.00066351 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_632-5_0_4_load_65 | 26 | 0.0036981 | 0.00092684 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_632-5_0_4_load_58 | 28 | 0.0012959 | 0.00032477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_632-5_0_4_load_20 | 30 | 0.0030086 | 0.00075403 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_632-5_0_4_load_21 | 31 | 0.0017946 | 0.00044977 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_632-5_0_4_load_32 | 32 | 0.0019382 | 0.00048577 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_632-5_0_4_load_33 | 33 | 0.0015971 | 0.00040026 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_632-5_0_4_load_22 | 34 | 0.01078 | 0.0027018 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_632-5_0_4_load_23 | 35 | 0.0048965 | 0.0012272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_632-5_0_4_load_24 | 36 | 0.0057632 | 0.0014444 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_632-5_0_4_load_25 | 37 | 0.0037303 | 0.0009349 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_632-5_0_4_load_26 | 38 | 0.0029276 | 0.00073372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_632-5_0_4_load_27 | 39 | 0.0056011 | 0.0014038 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_632-5_0_4_load_28 | 40 | 0.0051868 | 0.0012999 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_632-5_0_4_load_29 | 41 | 0.010964 | 0.0027479 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_632-5_0_4_load_50 | 42 | 0.0023925 | 0.00059961 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_632-5_0_4_load_30 | 43 | 0.0038857 | 0.00097386 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_632-5_0_4_load_48 | 44 | 0.0056393 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_632-5_0_4_load_31 | 45 | 0.0011369 | 0.00028494 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_632-5_0_4_load_59 | 46 | 0.0024399 | 0.00061149 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_632-5_0_4_load_34 | 47 | 0.0028297 | 0.00070919 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_632-5_0_4_load_35 | 48 | 0.0085876 | 0.0021523 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_632-5_0_4_load_36 | 49 | 0.0014852 | 0.00037223 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_632-5_0_4_load_38 | 51 | 0.0059864 | 0.0015003 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_632-5_0_4_load_41 | 54 | 0.0064751 | 0.0016228 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_632-5_0_4_load_42 | 55 | 0.0042522 | 0.0010657 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_632-5_0_4_load_99 | 56 | 0.0063061 | 0.0015805 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_632-5_0_4_load_105 | 58 | 0.00092203 | 0.00023108 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_632-5_0_4_load_103 | 59 | 0.0023611 | 0.00059174 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_632-5_0_4_load_102 | 60 | 0.0078665 | 0.0019715 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_632-5_0_4_load_84 | 61 | 0.0040366 | 0.0010117 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_632-5_0_4_load_106 | 63 | 0.0025108 | 0.00062926 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_632-5_0_4_load_104 | 64 | 0.0050266 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_632-5_0_4_load_43 | 65 | 0.010467 | 0.0026232 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_632-5_0_4_load_44 | 66 | 0.007571 | 0.0018975 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_632-5_0_4_load_46 | 68 | 0.014675 | 0.0036779 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_632-5_0_4_load_47 | 69 | 0.0070285 | 0.0017615 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_632-5_0_4_load_49 | 70 | 0.003625 | 0.00090851 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_632-5_0_4_load_55 | 71 | 0.0015809 | 0.00039622 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_632-5_0_4_load_70 | 72 | 0.0023939 | 0.00059997 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_632-5_0_4_load_68 | 73 | 0.0015358 | 0.0003849 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_632-5_0_4_load_60 | 74 | 0.0031483 | 0.00078903 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_632-5_0_4_load_63 | 75 | 0.0013575 | 0.00034022 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_632-5_0_4_load_64 | 76 | 0.0027794 | 0.00069658 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_632-5_0_4_load_66 | 77 | 0.0015821 | 0.00039652 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_632-5_0_4_load_94 | 78 | 0.0049364 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_632-5_0_4_load_95 | 79 | 0.005312 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_632-5_0_4_load_67 | 80 | 0.0015593 | 0.00039079 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_632-5_0_4_load_73 | 81 | 0.0022682 | 0.00056846 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_632-5_0_4_load_74 | 82 | 0.0018311 | 0.00045891 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_632-5_0_4_load_69 | 83 | 0.0027598 | 0.00069168 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_632-5_0_4_load_71 | 84 | 0.0031967 | 0.00080118 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_632-5_0_4_load_72 | 85 | 0.0024989 | 0.00062627 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_632-5_0_4_load_75 | 86 | 0.0024132 | 0.0006048 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_632-5_0_4_load_76 | 87 | 0.0028059 | 0.00070321 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_632-5_0_4_load_77 | 88 | 0.0027231 | 0.00068248 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_632-5_0_4_load_78 | 89 | 0.0030487 | 0.00076409 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_632-5_0_4_load_90 | 91 | 0.0020842 | 0.00052235 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_632-5_0_4_load_89 | 92 | 0.0021185 | 0.00053094 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_632-5_0_4_load_80 | 93 | 0.0037386 | 0.00093699 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_632-5_0_4_load_83 | 94 | 0.00278 | 0.00069673 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_632-5_0_4_load_97 | 95 | 0.0027495 | 0.00068908 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_632-5_0_4_load_100 | 96 | 0.0021068 | 0.00052801 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_632-5_0_4_load_96 | 97 | 0.0018976 | 0.00047558 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_632-5_0_4_load_98 | 99 | 0.0046353 | 0.0011617 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_632-5_0_4_load_101 | 100 | 0.0021195 | 0.00053121 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_632-5_0_4_load_85 | 101 | 0.004199 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_632-5_0_4_load_86 | 102 | 0.0027512 | 0.00068951 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_632-5_0_4_load_92 | 104 | 0.0038464 | 0.000964 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_632-5_0_4_load_91 | 105 | 0.0039985 | 0.0010021 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_632-5_0_4_load_93 | 106 | 0.0029212 | 0.00073213 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_632-5_0_4_load_115 | 107 | 0.0056041 | 0.0014045 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_632-5_0_4_load_113 | 108 | 0.0022119 | 0.00055434 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_632-5_0_4_load_107 | 109 | 0.003639 | 0.00091202 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_632-5_0_4_load_110 | 112 | 0.0023642 | 0.00059251 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_632-5_0_4_load_114 | 113 | 0.0037313 | 0.00093514 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_632-5_0_4_load_111 | 115 | 0.0047494 | 0.0011903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 97 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_632-5_0_4_line_0 |  | 0 | 1 | 0.0063546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_632-5_0_4_line_1 |  | 0 | 2 | 0.030212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_632-5_0_4_line_2 |  | 1 | 3 | 0.0024381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_632-5_0_4_line_3 |  | 2 | 4 | 0.10703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_632-5_0_4_line_4 |  | 3 | 6 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_632-5_0_4_line_5 |  | 4 | 5 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_632-5_0_4_line_6 |  | 5 | 8 | 0.049329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_632-5_0_4_line_7 |  | 6 | 7 | 0.0042523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_632-5_0_4_line_8 |  | 8 | 9 | 0.045351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_632-5_0_4_line_9 |  | 9 | 29 | 0.00906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_632-5_0_4_line_10 |  | 9 | 47 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_632-5_0_4_line_11 |  | 10 | 11 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_632-5_0_4_line_12 |  | 10 | 12 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_632-5_0_4_line_13 |  | 11 | 13 | 0.015865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_632-5_0_4_line_14 |  | 12 | 14 | 0.028716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_632-5_0_4_line_15 |  | 13 | 15 | 0.006885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_632-5_0_4_line_16 |  | 13 | 16 | 0.020732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_632-5_0_4_line_17 |  | 14 | 17 | 0.0072994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_632-5_0_4_line_18 |  | 15 | 18 | 0.014279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_632-5_0_4_line_19 |  | 15 | 19 | 0.03845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_632-5_0_4_line_20 |  | 16 | 20 | 0.018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_632-5_0_4_line_21 |  | 17 | 21 | 0.012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_632-5_0_4_line_22 |  | 18 | 22 | 0.017354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_632-5_0_4_line_23 |  | 19 | 23 | 0.0054503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_632-5_0_4_line_24 |  | 20 | 24 | 0.0078951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_632-5_0_4_line_25 |  | 21 | 25 | 0.0070768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_632-5_0_4_line_26 |  | 22 | 26 | 0.003978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_632-5_0_4_line_27 |  | 23 | 27 | 0.037696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_632-5_0_4_line_28 |  | 23 | 28 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_632-5_0_4_line_29 |  | 24 | 29 | 0.036595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_632-5_0_4_line_30 |  | 25 | 30 | 0.0092157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_632-5_0_4_line_31 |  | 26 | 77 | 0.026139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_632-5_0_4_line_32 |  | 27 | 46 | 0.046199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_632-5_0_4_line_33 |  | 28 | 74 | 0.0013756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_632-5_0_4_line_34 |  | 29 | 71 | 0.019226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_632-5_0_4_line_35 |  | 31 | 32 | 0.0069414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_632-5_0_4_line_36 |  | 32 | 33 | 0.0062339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_632-5_0_4_line_37 |  | 33 | 47 | 0.018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_632-5_0_4_line_38 |  | 34 | 35 | 0.0067109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_632-5_0_4_line_39 |  | 34 | 36 | 0.00032025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_632-5_0_4_line_40 |  | 35 | 37 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_632-5_0_4_line_41 |  | 36 | 38 | 0.00024409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_632-5_0_4_line_42 |  | 37 | 39 | 0.0052413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_632-5_0_4_line_43 |  | 38 | 40 | 0.014304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_632-5_0_4_line_44 |  | 39 | 41 | 0.0019069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_632-5_0_4_line_45 |  | 40 | 42 | 0.0075274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_632-5_0_4_line_46 |  | 41 | 43 | 0.00020416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_632-5_0_4_line_47 |  | 42 | 44 | 0.014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_632-5_0_4_line_48 |  | 43 | 45 | 0.00967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_632-5_0_4_line_49 |  | 44 | 67 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_632-5_0_4_line_50 |  | 45 | 46 | 0.024912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_632-5_0_4_line_51 |  | 48 | 49 | 0.028874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_632-5_0_4_line_52 |  | 48 | 50 | 0.055721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_632-5_0_4_line_53 |  | 49 | 51 | 0.022792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_632-5_0_4_line_54 |  | 50 | 52 | 0.009566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_632-5_0_4_line_55 |  | 51 | 53 | 0.017647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_632-5_0_4_line_56 |  | 52 | 54 | 0.046842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_632-5_0_4_line_57 |  | 52 | 55 | 0.016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_632-5_0_4_line_58 |  | 53 | 56 | 0.02641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_632-5_0_4_line_59 |  | 53 | 57 | 0.032467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_632-5_0_4_line_60 |  | 54 | 58 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_632-5_0_4_line_61 |  | 55 | 59 | 0.029778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_632-5_0_4_line_62 |  | 56 | 60 | 0.0063882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_632-5_0_4_line_63 |  | 57 | 61 | 0.016339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_632-5_0_4_line_64 |  | 57 | 62 | 0.029564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_632-5_0_4_line_65 |  | 58 | 63 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_632-5_0_4_line_66 |  | 59 | 64 | 0.022563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_632-5_0_4_line_67 |  | 60 | 70 | 0.026743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_632-5_0_4_line_68 |  | 61 | 96 | 0.084061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_632-5_0_4_line_69 |  | 62 | 93 | 0.025257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_632-5_0_4_line_70 |  | 63 | 109 | 0.0059838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_632-5_0_4_line_71 |  | 65 | 66 | 0.0067512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_632-5_0_4_line_72 |  | 65 | 67 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_632-5_0_4_line_73 |  | 66 | 68 | 0.0086094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_632-5_0_4_line_74 |  | 67 | 69 | 0.010695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_632-5_0_4_line_75 |  | 68 | 70 | 0.014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_632-5_0_4_line_76 |  | 71 | 72 | 0.0010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_632-5_0_4_line_77 |  | 72 | 73 | 0.0002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_632-5_0_4_line_78 |  | 73 | 83 | 0.019752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_632-5_0_4_line_79 |  | 74 | 75 | 0.031749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_632-5_0_4_line_80 |  | 75 | 76 | 0.00088839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_632-5_0_4_line_81 |  | 76 | 78 | 0.022564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_632-5_0_4_line_82 |  | 77 | 80 | 0.017489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_632-5_0_4_line_83 |  | 78 | 79 | 0.01667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_632-5_0_4_line_84 |  | 79 | 97 | 0.020569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_632-5_0_4_line_85 |  | 80 | 81 | 0.0037387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_632-5_0_4_line_86 |  | 81 | 82 | 0.022531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_632-5_0_4_line_87 |  | 82 | 86 | 0.0022145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_632-5_0_4_line_88 |  | 83 | 84 | 0.011505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_632-5_0_4_line_89 |  | 84 | 85 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_632-5_0_4_line_90 |  | 87 | 88 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_632-5_0_4_line_91 |  | 88 | 89 | 0.023575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_632-5_0_4_line_92 |  | 89 | 90 | 0.031826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_632-5_0_4_line_93 |  | 90 | 91 | 0.0057005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_632-5_0_4_line_94 |  | 90 | 92 | 0.0031769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_632-5_0_4_line_95 |  | 91 | 97 | 0.036257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_632-5_0_4_line_96 |  | 92 | 98 | 0.039231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_632-5_0_4_line_97 |  | 93 | 94 | 0.018762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_632-5_0_4_line_98 |  | 94 | 95 | 0.011107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_632-5_0_4_line_99 |  | 95 | 99 | 0.010289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_632-5_0_4_line_100 |  | 96 | 100 | 0.038729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_632-5_0_4_line_101 |  | 98 | 103 | 0.009369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_632-5_0_4_line_102 |  | 98 | 102 | 0.031415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_632-5_0_4_line_103 |  | 101 | 102 | 0.029206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_632-5_0_4_line_104 |  | 103 | 104 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_632-5_0_4_line_105 |  | 104 | 105 | 0.023221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_632-5_0_4_line_106 |  | 105 | 106 | 0.02633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_632-5_0_4_line_107 |  | 107 | 108 | 0.022194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_632-5_0_4_line_108 |  | 108 | 111 | 0.019828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_632-5_0_4_line_109 |  | 109 | 110 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_632-5_0_4_line_110 |  | 110 | 111 | 0.023747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_632-5_0_4_line_111 |  | 110 | 112 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_632-5_0_4_line_112 |  | 111 | 113 | 0.024366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_632-5_0_4_line_113 |  | 112 | 114 | 0.045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_632-5_0_4_line_114 |  | 114 | 115 | 0.03433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_632-5_0_4_trafo_96 | 0.63 MVA 20/0.4 kV | 116 | 97 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2611060.8008 | 1188691.5503 | 2611062.2624 | 1188693.5264 | 2611065.8095 | 1188695.1394
1 | 2611042.3666 | 1188670.9782 | 2611057.2911 | 1188680.1992 | 2611056.853 | 1188686.2127 | 2611060.8008 | 1188691.5503
2 | 2611065.8095 | 1188695.1394 | 2611068.0289 | 1188696.1487
3 | 2610936.0532 | 1188683.3684 | 2611042.3666 | 1188670.9782
4 | 2611068.0289 | 1188696.1487 | 2611078.576 | 1188700.9448
5 | 2610920.6994 | 1188692.1118 | 2610924.6779 | 1188689.4509 | 2610936.0532 | 1188683.3684
6 | 2610920.6994 | 1188692.1118 | 2610917.1943 | 1188694.4622 | 2610895.2934 | 1188709.1191 | 2610880.3006 | 1188720.3892
7 | 2611082.4469 | 1188702.705 | 2611078.576 | 1188700.9448
8 | 2610843.4457 | 1188746.7896 | 2610859.8407 | 1188735.769 | 2610880.3006 | 1188720.3892
9 | 2610843.4457 | 1188746.7896 | 2610841.0861 | 1188748.3751 | 2610835.5894 | 1188751.3223
10 | 2610843.4457 | 1188746.7896 | 2610835.5894 | 1188769.2908
11 | 2610754.5992 | 1188789.4192 | 2610754.8803 | 1188781.46 | 2610753.7424 | 1188772.4269
12 | 2610737.5449 | 1188798.2379 | 2610750.6159 | 1188794.8261 | 2610754.5992 | 1188789.4192
13 | 2610751.7594 | 1188756.686 | 2610753.7424 | 1188772.4269
14 | 2610737.5449 | 1188798.2379 | 2610758.2937 | 1188800.5094 | 2610765.9025 | 1188802.4125
15 | 2610751.7594 | 1188756.686 | 2610744.9164 | 1188757.6076
16 | 2610751.7594 | 1188756.686 | 2610772.4683 | 1188755.7094
17 | 2610765.9025 | 1188802.4125 | 2610772.9838 | 1188804.1836
18 | 2610744.9164 | 1188757.6076 | 2610744.503 | 1188743.3348
19 | 2610744.9164 | 1188757.6076 | 2610732.1811 | 1188760.9088 | 2610707.5359 | 1188766.5996
20 | 2610772.4683 | 1188755.7094 | 2610791.3819 | 1188754.8174
21 | 2610784.9852 | 1188807.7795 | 2610779.3345 | 1188805.772 | 2610772.9838 | 1188804.1836
22 | 2610744.0445 | 1188725.9868 | 2610744.2051 | 1188733.0491 | 2610744.503 | 1188743.3348
23 | 2610702.2253 | 1188767.8258 | 2610707.5359 | 1188766.5996
24 | 2610799.2682 | 1188754.4455 | 2610791.3819 | 1188754.8174
25 | 2610784.9852 | 1188807.7795 | 2610791.6537 | 1188810.1486
26 | 2610744.0445 | 1188725.9868 | 2610743.9541 | 1188722.0098
27 | 2610702.2253 | 1188767.8258 | 2610679.5496 | 1188772.6214 | 2610665.1832 | 1188775.3529
28 | 2610702.2253 | 1188767.8258 | 2610703.34 | 1188753.9358
29 | 2610835.5894 | 1188751.3223 | 2610832.3534 | 1188752.5282 | 2610807.174 | 1188754.0727 | 2610799.2682 | 1188754.4455
30 | 2610791.6537 | 1188810.1486 | 2610798.5192 | 1188812.5877 | 2610800.4227 | 1188812.9054
31 | 2610743.9541 | 1188722.0098 | 2610743.5969 | 1188706.3007 | 2610743.6155 | 1188695.8752
32 | 2610665.1832 | 1188775.3529 | 2610662.3338 | 1188756.4047 | 2610658.9468 | 1188729.5799
33 | 2610703.34 | 1188753.9358 | 2610703.45 | 1188752.5646
34 | 2610835.5894 | 1188751.3223 | 2610830.2589 | 1188733.9481 | 2610829.9635 | 1188732.9377
35 | 2610825.8531 | 1188799.5122 | 2610827.6449 | 1188792.8061
36 | 2610827.6449 | 1188792.8061 | 2610828.5114 | 1188789.5629 | 2610829.4597 | 1188786.8467
37 | 2610829.4597 | 1188786.8467 | 2610835.5894 | 1188769.2908
38 | 2610658.5619 | 1188668.2964 | 2610658.5619 | 1188668.2964 | 2610658.2956 | 1188675.0021
39 | 2610658.5619 | 1188668.2964 | 2610658.5993 | 1188667.9784
40 | 2610658.2956 | 1188675.0021 | 2610657.7905 | 1188687.7238
41 | 2610658.5993 | 1188667.9784 | 2610658.6279 | 1188667.736
42 | 2610657.5826 | 1188692.961 | 2610657.7905 | 1188687.7238
43 | 2610660.3027 | 1188653.5303 | 2610658.6279 | 1188667.736
44 | 2610657.5826 | 1188692.961 | 2610657.5069 | 1188694.8664
45 | 2610660.3027 | 1188653.5303 | 2610661.0397 | 1188647.2788 | 2610661.2113 | 1188646.0581
46 | 2610657.4988 | 1188695.0704 | 2610657.5069 | 1188694.8664
47 | 2610663.2485 | 1188631.5633 | 2610661.2113 | 1188646.0581
48 | 2610657.4988 | 1188695.0704 | 2610657.1888 | 1188702.8787 | 2610657.2919 | 1188704.7314
49 | 2610665.1182 | 1188618.2597 | 2610663.2485 | 1188631.5633
50 | 2610658.9468 | 1188729.5799 | 2610658.4602 | 1188725.7262 | 2610657.2919 | 1188704.7314
51 | 2610580.1613 | 1188532.5905 | 2610595.4231 | 1188534.96 | 2610608.6797 | 1188537.1068
52 | 2610529.2334 | 1188513.4216 | 2610543.025 | 1188516.9586 | 2610552.4301 | 1188520.8994 | 2610560.0974 | 1188528.5168 | 2610576.955 | 1188532.0927 | 2610580.1613 | 1188532.5905
53 | 2610629.8528 | 1188534.7761 | 2610622.2934 | 1188539.5763 | 2610613.1895 | 1188537.8372 | 2610608.6797 | 1188537.1068
54 | 2610530.7983 | 1188503.986 | 2610529.2334 | 1188513.4216
55 | 2610646.966 | 1188536.107 | 2610638.1385 | 1188533.3677 | 2610629.8528 | 1188534.7761
56 | 2610530.7983 | 1188503.986 | 2610532.8036 | 1188486.8917 | 2610534.344 | 1188465.2832 | 2610534.3352 | 1188457.316
57 | 2610530.7983 | 1188503.986 | 2610514.4435 | 1188501.9211
58 | 2610646.966 | 1188536.107 | 2610646.3414 | 1188544.2879 | 2610646.3241 | 1188554.0708 | 2610645.2652 | 1188562.4259
59 | 2610678.8064 | 1188542.311 | 2610665.6973 | 1188541.1205 | 2610655.7259 | 1188538.2792 | 2610646.966 | 1188536.107
60 | 2610534.3352 | 1188457.316 | 2610534.3263 | 1188449.2526 | 2610533.8477 | 1188440.5435
61 | 2610514.4435 | 1188501.9211 | 2610502.9419 | 1188500.4689 | 2610485.0599 | 1188497.1614
62 | 2610643.483 | 1188568.5197 | 2610645.0014 | 1188564.5072 | 2610645.2652 | 1188562.4259
63 | 2610678.8064 | 1188542.311 | 2610677.5114 | 1188537.106 | 2610676.7738 | 1188527.1884 | 2610677.0171 | 1188526.1872
64 | 2610678.8064 | 1188542.311 | 2610687.3546 | 1188539.1023 | 2610696.7696 | 1188533.1159 | 2610702.1576 | 1188531.3579 | 2610705.7794 | 1188531.998
65 | 2610532.4119 | 1188421.8682 | 2610533.5058 | 1188434.3211 | 2610533.8477 | 1188440.5435
66 | 2610485.0599 | 1188497.1614 | 2610481.5238 | 1188496.5073 | 2610462.8177 | 1188493.3744
67 | 2610643.483 | 1188568.5197 | 2610639.0779 | 1188580.1605 | 2610635.1314 | 1188590.5923 | 2610634.9159 | 1188593.7283
68 | 2610677.0171 | 1188526.1872 | 2610697.3021 | 1188444.6108
69 | 2610705.7794 | 1188531.998 | 2610713.4215 | 1188536.4917 | 2610714.4353 | 1188541.1403 | 2610714.9902 | 1188550.7352 | 2610714.7287 | 1188552.7405
70 | 2610532.4119 | 1188421.8682 | 2610531.8883 | 1188415.9073
71 | 2610646.3962 | 1188610.0442 | 2610650.1505 | 1188611.5075 | 2610652.6316 | 1188612.6268
72 | 2610665.1182 | 1188618.2597 | 2610652.6316 | 1188612.6268
73 | 2610646.3962 | 1188610.0442 | 2610638.3747 | 1188606.9176 | 2610638.3747 | 1188606.9176
74 | 2610665.1182 | 1188618.2597 | 2610665.7666 | 1188609.6008 | 2610666.1736 | 1188607.6301
75 | 2610638.3747 | 1188606.9176 | 2610634.4582 | 1188600.3851 | 2610634.9159 | 1188593.7283
76 | 2610829.9635 | 1188732.9377 | 2610829.6619 | 1188731.9063
77 | 2610829.6058 | 1188731.7143 | 2610829.6619 | 1188731.9063
78 | 2610829.6058 | 1188731.7143 | 2610825.8168 | 1188718.7544 | 2610823.1498 | 1188713.1022 | 2610823.1498 | 1188713.1022
79 | 2610705.6286 | 1188720.8919 | 2610705.5254 | 1188722.0078 | 2610704.3001 | 1188741.9716 | 2610703.45 | 1188752.5646
80 | 2610705.7105 | 1188720.0073 | 2610705.6286 | 1188720.8919
81 | 2610705.7105 | 1188720.0073 | 2610707.7894 | 1188697.5393
82 | 2610744.9569 | 1188678.4848 | 2610743.6307 | 1188687.3686 | 2610743.6155 | 1188695.8752
83 | 2610710.6191 | 1188681.1344 | 2610708.2549 | 1188692.5083 | 2610707.7894 | 1188697.5393
84 | 2610710.6191 | 1188681.1344 | 2610711.8629 | 1188675.1501 | 2610717.5814 | 1188661.8727
85 | 2610745.5089 | 1188674.787 | 2610744.9569 | 1188678.4848
86 | 2610745.5089 | 1188674.787 | 2610746.9423 | 1188665.1852 | 2610750.2798 | 1188652.8043
87 | 2610750.8562 | 1188650.6661 | 2610750.2798 | 1188652.8043
88 | 2610823.1498 | 1188713.1022 | 2610818.682 | 1188712.2271 | 2610811.73 | 1188712.2146
89 | 2610794.5654 | 1188712.1838 | 2610811.73 | 1188712.2146
90 | 2610743.3624 | 1188544.9691 | 2610739.0573 | 1188568.842
91 | 2610739.0573 | 1188568.842 | 2610737.2574 | 1188578.8229 | 2610736.7898 | 1188592.248
92 | 2610735.6818 | 1188624.0548 | 2610736.7898 | 1188592.248
93 | 2610735.6818 | 1188624.0548 | 2610733.0802 | 1188628.7526 | 2610732.9296 | 1188629.0467
94 | 2610735.6818 | 1188624.0548 | 2610737.3114 | 1188621.3277
95 | 2610732.9296 | 1188629.0467 | 2610725.3117 | 1188643.9244 | 2610717.5814 | 1188661.8727
96 | 2610764.4066 | 1188593.6568 | 2610757.5565 | 1188598.4137 | 2610743.24 | 1188611.4061 | 2610737.3114 | 1188621.3277
97 | 2610711.4773 | 1188571.1889 | 2610711.8254 | 1188567.6495 | 2610714.0159 | 1188558.2041 | 2610714.7287 | 1188552.7405
98 | 2610711.4773 | 1188571.1889 | 2610711.0952 | 1188575.0743 | 2610711.0848 | 1188580.944 | 2610711.0609 | 1188582.2771
99 | 2610711.0609 | 1188582.2771 | 2610710.9238 | 1188589.9373 | 2610711.9417 | 1188592.3597
100 | 2610697.3021 | 1188444.6108 | 2610704.8774 | 1188417.281 | 2610707.438 | 1188407.2331
101 | 2610764.4066 | 1188593.6568 | 2610771.5641 | 1188587.5887
102 | 2610764.4066 | 1188593.6568 | 2610772.1473 | 1188594.1042 | 2610787.0293 | 1188597.5994 | 2610794.9807 | 1188600.2282
103 | 2610822.4601 | 1188610.0952 | 2610808.1593 | 1188604.5853 | 2610794.9807 | 1188600.2282
104 | 2610771.5641 | 1188587.5887 | 2610772.1342 | 1188576.3569
105 | 2610774.3253 | 1188553.3135 | 2610772.8105 | 1188560.2544 | 2610772.1807 | 1188575.439 | 2610772.1342 | 1188576.3569
106 | 2610774.3253 | 1188553.3135 | 2610776.4095 | 1188543.7634 | 2610779.9441 | 1188527.5903
107 | 2610595.7563 | 1188412.7645 | 2610586.9609 | 1188411.225 | 2610574.0209 | 1188408.3058
108 | 2610554.6792 | 1188403.9423 | 2610574.0209 | 1188408.3058
109 | 2610530.8659 | 1188404.2675 | 2610531.8883 | 1188415.9073
110 | 2610530.8659 | 1188404.2675 | 2610540.6595 | 1188404.2513 | 2610554.6792 | 1188403.9423
111 | 2610530.8659 | 1188404.2675 | 2610529.2909 | 1188393.3257 | 2610529.1412 | 1188390.9347
112 | 2610554.6792 | 1188403.9423 | 2610559.9338 | 1188395.6806 | 2610564.5544 | 1188381.8577
113 | 2610525.3156 | 1188346.1052 | 2610528.0072 | 1188372.8239 | 2610529.1412 | 1188390.9347
114 | 2610525.3156 | 1188346.1052 | 2610503.5781 | 1188350.036 | 2610493.8521 | 1188350.5749 | 2610491.4684 | 1188349.8252

## bus_geodata
| x | y | coords
0 | 2611060.8008 | 1188691.5503
1 | 2611065.8095 | 1188695.1394
2 | 2611042.3666 | 1188670.9782
3 | 2611068.0289 | 1188696.1487
4 | 2610936.0532 | 1188683.3684
5 | 2610920.6994 | 1188692.1118
6 | 2611078.576 | 1188700.9448
7 | 2611082.4469 | 1188702.705
8 | 2610880.3006 | 1188720.3892
9 | 2610843.4457 | 1188746.7896
10 | 2610754.5992 | 1188789.4192
11 | 2610753.7424 | 1188772.4269
12 | 2610737.5449 | 1188798.2379
13 | 2610751.7594 | 1188756.686
14 | 2610765.9025 | 1188802.4125
15 | 2610744.9164 | 1188757.6076
16 | 2610772.4683 | 1188755.7094
17 | 2610772.9838 | 1188804.1836
18 | 2610744.503 | 1188743.3348
19 | 2610707.5359 | 1188766.5996
20 | 2610791.3819 | 1188754.8174
21 | 2610784.9852 | 1188807.7795
22 | 2610744.0445 | 1188725.9868
23 | 2610702.2253 | 1188767.8258
24 | 2610799.2682 | 1188754.4455
25 | 2610791.6537 | 1188810.1486
26 | 2610743.9541 | 1188722.0098
27 | 2610665.1832 | 1188775.3529
28 | 2610703.34 | 1188753.9358
29 | 2610835.5894 | 1188751.3223
30 | 2610800.4227 | 1188812.9054
31 | 2610825.8531 | 1188799.5122
32 | 2610827.6449 | 1188792.8061
33 | 2610829.4597 | 1188786.8467
34 | 2610658.5619 | 1188668.2964
35 | 2610658.2956 | 1188675.0021
36 | 2610658.5993 | 1188667.9784
37 | 2610657.7905 | 1188687.7238
38 | 2610658.6279 | 1188667.736
39 | 2610657.5826 | 1188692.961
40 | 2610660.3027 | 1188653.5303
41 | 2610657.5069 | 1188694.8664
42 | 2610661.2113 | 1188646.0581
43 | 2610657.4988 | 1188695.0704
44 | 2610663.2485 | 1188631.5633
45 | 2610657.2919 | 1188704.7314
46 | 2610658.9468 | 1188729.5799
47 | 2610835.5894 | 1188769.2908
48 | 2610580.1613 | 1188532.5905
49 | 2610608.6797 | 1188537.1068
50 | 2610529.2334 | 1188513.4216
51 | 2610629.8528 | 1188534.7761
52 | 2610530.7983 | 1188503.986
53 | 2610646.966 | 1188536.107
54 | 2610534.3352 | 1188457.316
55 | 2610514.4435 | 1188501.9211
56 | 2610645.2652 | 1188562.4259
57 | 2610678.8064 | 1188542.311
58 | 2610533.8477 | 1188440.5435
59 | 2610485.0599 | 1188497.1614
60 | 2610643.483 | 1188568.5197
61 | 2610677.0171 | 1188526.1872
62 | 2610705.7794 | 1188531.998
63 | 2610532.4119 | 1188421.8682
64 | 2610462.8177 | 1188493.3744
65 | 2610652.6316 | 1188612.6267
66 | 2610646.3962 | 1188610.0442
67 | 2610665.1182 | 1188618.2597
68 | 2610638.3747 | 1188606.9176
69 | 2610666.1736 | 1188607.6301
70 | 2610634.9159 | 1188593.7283
71 | 2610829.9635 | 1188732.9377
72 | 2610829.6619 | 1188731.9063
73 | 2610829.6058 | 1188731.7143
74 | 2610703.45 | 1188752.5646
75 | 2610705.6286 | 1188720.8919
76 | 2610705.7105 | 1188720.0073
77 | 2610743.6155 | 1188695.8752
78 | 2610707.7894 | 1188697.5393
79 | 2610710.6191 | 1188681.1344
80 | 2610744.9569 | 1188678.4847
81 | 2610745.5089 | 1188674.787
82 | 2610750.2798 | 1188652.8043
83 | 2610823.1498 | 1188713.1022
84 | 2610811.73 | 1188712.2146
85 | 2610794.5654 | 1188712.1838
86 | 2610750.8562 | 1188650.6661
87 | 2610743.3624 | 1188544.9691
88 | 2610739.0573 | 1188568.842
89 | 2610736.7898 | 1188592.248
90 | 2610735.6818 | 1188624.0548
91 | 2610732.9296 | 1188629.0467
92 | 2610737.3114 | 1188621.3277
93 | 2610714.7287 | 1188552.7405
94 | 2610711.4773 | 1188571.1889
95 | 2610711.0609 | 1188582.2771
96 | 2610697.3021 | 1188444.6108
97 | 2610717.5814 | 1188661.8727
98 | 2610764.4066 | 1188593.6568
99 | 2610711.9417 | 1188592.3597
100 | 2610707.438 | 1188407.2331
101 | 2610822.4601 | 1188610.0952
102 | 2610794.9807 | 1188600.2282
103 | 2610771.5641 | 1188587.5887
104 | 2610772.1342 | 1188576.3569
105 | 2610774.3253 | 1188553.3135
106 | 2610779.9441 | 1188527.5903
107 | 2610595.7563 | 1188412.7645
108 | 2610574.0209 | 1188408.3058
109 | 2610531.8883 | 1188415.9073
110 | 2610530.8659 | 1188404.2675
111 | 2610554.6792 | 1188403.9423
112 | 2610529.1412 | 1188390.9347
113 | 2610564.5544 | 1188381.8577
114 | 2610525.3156 | 1188346.1052
115 | 2610491.4684 | 1188349.8252
116 | 2610735.6818 | 1188624.0548

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1