## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_64-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_64-10_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_64-10_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_64-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_64-10_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_64-10_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_64-10_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_64-10_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_64-10_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_64-10_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_64-10_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_64-10_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_64-10_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_64-10_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_64-10_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_64-10_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_64-10_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_64-10_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_64-10_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_64-10_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_64-10_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_64-10_0_4_node_120 | 0.4 | n |  | TRUE
22 | bus_LV_64-10_0_4_node_118 | 0.4 | n |  | TRUE
23 | bus_LV_64-10_0_4_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_64-10_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_64-10_0_4_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_64-10_0_4_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_64-10_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_64-10_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_64-10_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_64-10_0_4_node_117 | 0.4 | n |  | TRUE
31 | bus_LV_64-10_0_4_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_64-10_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_64-10_0_4_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_64-10_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_64-10_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_64-10_0_4_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_64-10_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_64-10_0_4_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_64-10_0_4_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_64-10_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_64-10_0_4_node_109 | 0.4 | n |  | TRUE
42 | bus_LV_64-10_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_64-10_0_4_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_64-10_0_4_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_64-10_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_64-10_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_64-10_0_4_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_64-10_0_4_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_64-10_0_4_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_64-10_0_4_node_108 | 0.4 | n |  | TRUE
51 | bus_LV_64-10_0_4_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_64-10_0_4_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_64-10_0_4_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_64-10_0_4_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_64-10_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_64-10_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_64-10_0_4_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_64-10_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_64-10_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_64-10_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_64-10_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_64-10_0_4_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_64-10_0_4_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_64-10_0_4_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_64-10_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_64-10_0_4_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_64-10_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_64-10_0_4_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_64-10_0_4_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_64-10_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_64-10_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_64-10_0_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_64-10_0_4_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_64-10_0_4_node_115 | 0.4 | n |  | TRUE
75 | bus_LV_64-10_0_4_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_64-10_0_4_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_64-10_0_4_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_64-10_0_4_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_64-10_0_4_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_64-10_0_4_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_64-10_0_4_node_101 | 0.4 | n |  | TRUE
82 | bus_LV_64-10_0_4_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_64-10_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_64-10_0_4_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_64-10_0_4_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_64-10_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_64-10_0_4_node_62 | 0.4 | n |  | TRUE
88 | bus_LV_64-10_0_4_node_66 | 0.4 | n |  | TRUE
89 | bus_LV_64-10_0_4_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_64-10_0_4_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_64-10_0_4_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_64-10_0_4_node_61 | 0.4 | n |  | TRUE
93 | bus_LV_64-10_0_4_node_63 | 0.4 | n |  | TRUE
94 | bus_LV_64-10_0_4_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_64-10_0_4_node_69 | 0.4 | n |  | TRUE
96 | bus_LV_64-10_0_4_node_81 | 0.4 | n |  | TRUE
97 | bus_LV_64-10_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_64-10_0_4_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_64-10_0_4_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_64-10_0_4_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_64-10_0_4_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_64-10_0_4_node_106 | 0.4 | n |  | TRUE
103 | bus_LV_64-10_0_4_node_84 | 0.4 | n |  | TRUE
104 | bus_LV_64-10_0_4_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_64-10_0_4_node_86 | 0.4 | n |  | TRUE
106 | bus_LV_64-10_0_4_node_87 | 0.4 | n |  | TRUE
107 | bus_LV_64-10_0_4_node_92 | 0.4 | n |  | TRUE
108 | bus_LV_64-10_0_4_node_88 | 0.4 | n |  | TRUE
109 | bus_LV_64-10_0_4_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_64-10_0_4_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_64-10_0_4_node_104 | 0.4 | n |  | TRUE
112 | bus_LV_64-10_0_4_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_64-10_0_4_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_64-10_0_4_node_116 | 0.4 | n |  | TRUE
115 | bus_MV_457_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_64-10_0_4_load_0 | 0 | 0.0092727 | 0.002324 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_64-10_0_4_load_1 | 2 | 0.031332 | 0.0078526 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_64-10_0_4_load_17 | 5 | 0.023179 | 0.0058093 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_64-10_0_4_load_16 | 6 | 0.0064384 | 0.0016136 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_64-10_0_4_load_12 | 9 | 0.0088254 | 0.0022119 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_64-10_0_4_load_35 | 10 | 0.00059463 | 0.00014903 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_64-10_0_4_load_19 | 11 | 0.0006003 | 0.00015045 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_64-10_0_4_load_25 | 17 | 0.0040902 | 0.0010251 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_64-10_0_4_load_20 | 19 | 0.0011849 | 0.00029695 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_64-10_0_4_load_21 | 20 | 0.0010188 | 0.00025534 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_64-10_0_4_load_120 | 21 | 0.00091358 | 0.00022896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_64-10_0_4_load_118 | 22 | 0.0037573 | 0.00094166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_64-10_0_4_load_79 | 23 | 0.0058218 | 0.0014591 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_64-10_0_4_load_56 | 25 | 0.0028899 | 0.00072427 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_64-10_0_4_load_18 | 27 | 0.00073401 | 0.00018396 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_64-10_0_4_load_24 | 28 | 0.0093194 | 0.0023357 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_64-10_0_4_load_22 | 29 | 0.00085762 | 0.00021494 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_64-10_0_4_load_117 | 30 | 0.0057107 | 0.0014312 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_64-10_0_4_load_68 | 31 | 0.0018599 | 0.00046614 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_64-10_0_4_load_58 | 32 | 0.0015234 | 0.00038181 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_64-10_0_4_load_67 | 33 | 0.0017933 | 0.00044945 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_64-10_0_4_load_55 | 37 | 0.003399 | 0.00085186 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_64-10_0_4_load_80 | 38 | 0.0050292 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_64-10_0_4_load_77 | 39 | 0.0025233 | 0.0006324 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_64-10_0_4_load_27 | 40 | 0.0055179 | 0.0013829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_64-10_0_4_load_119 | 43 | 0.0042418 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_64-10_0_4_load_110 | 47 | 0.0057959 | 0.0014526 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_64-10_0_4_load_108 | 50 | 0.0079155 | 0.0019838 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_64-10_0_4_load_112 | 52 | 0.0083834 | 0.0021011 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_64-10_0_4_load_107 | 53 | 0.006943 | 0.0017401 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_64-10_0_4_load_111 | 54 | 0.0055018 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_64-10_0_4_load_32 | 55 | 0.0025677 | 0.00064352 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_64-10_0_4_load_30 | 56 | 0.0044784 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_64-10_0_4_load_31 | 57 | 0.0049766 | 0.0012473 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_64-10_0_4_load_33 | 58 | 0.0028135 | 0.00070512 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_64-10_0_4_load_44 | 61 | 0.0037749 | 0.00094608 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_64-10_0_4_load_91 | 62 | 0.0025679 | 0.00064358 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_64-10_0_4_load_36 | 64 | 0.0025922 | 0.00064967 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_64-10_0_4_load_37 | 65 | 0.0058945 | 0.0014773 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_64-10_0_4_load_40 | 67 | 0.0017273 | 0.0004329 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_64-10_0_4_load_43 | 68 | 0.00080918 | 0.0002028 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_64-10_0_4_load_45 | 70 | 0.0017925 | 0.00044924 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_64-10_0_4_load_47 | 71 | 0.0020749 | 0.00052001 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_64-10_0_4_load_82 | 72 | 0.0022504 | 0.00056401 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_64-10_0_4_load_83 | 73 | 0.0021984 | 0.00055098 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_64-10_0_4_load_113 | 75 | 0.0058237 | 0.0014596 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_64-10_0_4_load_49 | 76 | 0.00176 | 0.00044109 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_64-10_0_4_load_50 | 77 | 0.0011441 | 0.00028673 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_64-10_0_4_load_51 | 78 | 0.0027566 | 0.00069086 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_64-10_0_4_load_53 | 80 | 0.002632 | 0.00065964 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_64-10_0_4_load_101 | 81 | 0.0022952 | 0.00057522 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_64-10_0_4_load_95 | 82 | 0.0036296 | 0.00090966 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_64-10_0_4_load_75 | 83 | 0.0021362 | 0.00053538 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_64-10_0_4_load_94 | 85 | 0.00089371 | 0.00022399 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_64-10_0_4_load_76 | 86 | 0.0021714 | 0.0005442 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_64-10_0_4_load_60 | 89 | 0.0017474 | 0.00043793 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_64-10_0_4_load_59 | 90 | 0.0019941 | 0.00049977 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_64-10_0_4_load_65 | 91 | 0.001824 | 0.00045714 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_64-10_0_4_load_69 | 95 | 0.0016255 | 0.0004074 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_64-10_0_4_load_81 | 96 | 0.00096888 | 0.00024282 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_64-10_0_4_load_97 | 97 | 0.0017437 | 0.00043702 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_64-10_0_4_load_78 | 98 | 0.0027393 | 0.00068654 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_64-10_0_4_load_96 | 99 | 0.0019067 | 0.00047786 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_64-10_0_4_load_98 | 100 | 0.0019353 | 0.00048504 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_64-10_0_4_load_103 | 101 | 0.0012226 | 0.00030642 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_64-10_0_4_load_106 | 102 | 0.0026411 | 0.00066193 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_64-10_0_4_load_84 | 103 | 0.0018047 | 0.0004523 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_64-10_0_4_load_87 | 106 | 0.003515 | 0.00088094 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_64-10_0_4_load_92 | 107 | 0.0050727 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_64-10_0_4_load_88 | 108 | 0.0026419 | 0.00066213 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_64-10_0_4_load_93 | 109 | 0.00343 | 0.00085964 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_64-10_0_4_load_90 | 110 | 0.0016996 | 0.00042595 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_64-10_0_4_load_104 | 111 | 0.0048287 | 0.0012102 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_64-10_0_4_load_105 | 112 | 0.0027871 | 0.00069851 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_64-10_0_4_load_114 | 113 | 0.0038483 | 0.00096447 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_64-10_0_4_load_116 | 114 | 0.0047042 | 0.001179 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_64-10_0_4_line_0 |  | 0 | 1 | 0.010232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_64-10_0_4_line_1 |  | 1 | 4 | 0.002782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_64-10_0_4_line_2 |  | 2 | 3 | 0.046563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_64-10_0_4_line_3 |  | 3 | 5 | 0.063618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_64-10_0_4_line_4 |  | 3 | 6 | 0.029475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_64-10_0_4_line_5 |  | 4 | 10 | 0.0070998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_64-10_0_4_line_6 |  | 4 | 11 | 0.019227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_64-10_0_4_line_7 |  | 5 | 24 | 0.11856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_64-10_0_4_line_8 |  | 6 | 12 | 0.031991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_64-10_0_4_line_9 |  | 7 | 8 | 0.003438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_64-10_0_4_line_10 |  | 7 | 9 | 0.062367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_64-10_0_4_line_11 |  | 8 | 25 | 0.019441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_64-10_0_4_line_12 |  | 8 | 26 | 0.029864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_64-10_0_4_line_13 |  | 8 | 10 | 0.027087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_64-10_0_4_line_14 |  | 11 | 27 | 0.045152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_64-10_0_4_line_15 |  | 12 | 13 | 0.056561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_64-10_0_4_line_16 |  | 12 | 14 | 0.030566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_64-10_0_4_line_17 |  | 13 | 21 | 0.041521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_64-10_0_4_line_18 |  | 13 | 15 | 0.022086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_64-10_0_4_line_19 |  | 14 | 23 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_64-10_0_4_line_20 |  | 14 | 18 | 0.00404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_64-10_0_4_line_21 |  | 15 | 16 | 0.003293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_64-10_0_4_line_22 |  | 15 | 17 | 0.05009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_64-10_0_4_line_23 |  | 16 | 22 | 0.020007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_64-10_0_4_line_24 |  | 17 | 28 | 0.043892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_64-10_0_4_line_25 |  | 18 | 19 | 0.0074465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_64-10_0_4_line_26 |  | 18 | 20 | 0.039682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_64-10_0_4_line_27 |  | 20 | 29 | 0.028971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_64-10_0_4_line_28 |  | 22 | 30 | 0.0016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_64-10_0_4_line_29 |  | 24 | 34 | 0.22678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_64-10_0_4_line_30 |  | 25 | 32 | 0.0013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_64-10_0_4_line_31 |  | 26 | 33 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_64-10_0_4_line_32 |  | 26 | 31 | 0.034051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_64-10_0_4_line_33 |  | 29 | 35 | 0.0012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_64-10_0_4_line_34 |  | 30 | 74 | 0.018634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_64-10_0_4_line_35 |  | 32 | 90 | 0.024461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_64-10_0_4_line_36 |  | 33 | 91 | 0.028229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_64-10_0_4_line_37 |  | 34 | 67 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_64-10_0_4_line_38 |  | 35 | 36 | 0.011024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_64-10_0_4_line_39 |  | 35 | 37 | 0.037575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_64-10_0_4_line_40 |  | 36 | 38 | 0.013252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_64-10_0_4_line_41 |  | 36 | 39 | 0.0043765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_64-10_0_4_line_42 |  | 38 | 60 | 0.018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_64-10_0_4_line_43 |  | 40 | 41 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_64-10_0_4_line_44 |  | 41 | 47 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_64-10_0_4_line_45 |  | 42 | 43 | 0.028175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_64-10_0_4_line_46 |  | 42 | 44 | 0.037873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_64-10_0_4_line_47 |  | 44 | 52 | 0.053574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_64-10_0_4_line_48 |  | 44 | 54 | 0.021451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_64-10_0_4_line_49 |  | 45 | 46 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_64-10_0_4_line_50 |  | 45 | 47 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_64-10_0_4_line_51 |  | 46 | 55 | 0.021508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_64-10_0_4_line_52 |  | 48 | 49 | 0.042755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_64-10_0_4_line_53 |  | 48 | 50 | 0.023476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_64-10_0_4_line_54 |  | 49 | 53 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_64-10_0_4_line_55 |  | 49 | 51 | 0.060933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_64-10_0_4_line_56 |  | 51 | 52 | 0.0025379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_64-10_0_4_line_57 |  | 53 | 102 | 0.024543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_64-10_0_4_line_58 |  | 55 | 56 | 0.031419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_64-10_0_4_line_59 |  | 56 | 57 | 0.0024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_64-10_0_4_line_60 |  | 57 | 58 | 0.035293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_64-10_0_4_line_61 |  | 58 | 59 | 0.024183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_64-10_0_4_line_62 |  | 59 | 60 | 0.036851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_64-10_0_4_line_63 |  | 59 | 61 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_64-10_0_4_line_64 |  | 61 | 70 | 0.026506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_64-10_0_4_line_65 |  | 62 | 63 | 0.032269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_64-10_0_4_line_66 |  | 63 | 110 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_64-10_0_4_line_67 |  | 63 | 108 | 0.0029387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_64-10_0_4_line_68 |  | 64 | 65 | 0.0064482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_64-10_0_4_line_69 |  | 65 | 66 | 0.027047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_64-10_0_4_line_70 |  | 66 | 68 | 0.030639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_64-10_0_4_line_71 |  | 67 | 69 | 0.027545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_64-10_0_4_line_72 |  | 68 | 69 | 0.015461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_64-10_0_4_line_73 |  | 70 | 71 | 0.0071118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_64-10_0_4_line_74 |  | 71 | 72 | 0.0045855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_64-10_0_4_line_75 |  | 72 | 73 | 0.019887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_64-10_0_4_line_76 |  | 73 | 103 | 0.021799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_64-10_0_4_line_77 |  | 74 | 75 | 0.0081861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_64-10_0_4_line_78 |  | 75 | 113 | 0.033924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_64-10_0_4_line_79 |  | 76 | 77 | 0.019249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_64-10_0_4_line_80 |  | 76 | 78 | 0.015321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_64-10_0_4_line_81 |  | 77 | 79 | 0.024794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_64-10_0_4_line_82 |  | 78 | 80 | 0.0064688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_64-10_0_4_line_83 |  | 79 | 81 | 0.0038303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_64-10_0_4_line_84 |  | 79 | 82 | 0.021691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_64-10_0_4_line_85 |  | 80 | 83 | 0.0227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_64-10_0_4_line_86 |  | 81 | 84 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_64-10_0_4_line_87 |  | 82 | 85 | 0.0066215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_64-10_0_4_line_88 |  | 83 | 86 | 0.0026307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_64-10_0_4_line_89 |  | 84 | 111 | 0.016182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_64-10_0_4_line_90 |  | 84 | 101 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_64-10_0_4_line_91 |  | 85 | 109 | 0.040043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_64-10_0_4_line_92 |  | 86 | 88 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_64-10_0_4_line_93 |  | 87 | 88 | 0.010551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_64-10_0_4_line_94 |  | 87 | 89 | 0.026385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_64-10_0_4_line_95 |  | 88 | 98 | 0.040323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_64-10_0_4_line_96 |  | 89 | 92 | 0.017768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_64-10_0_4_line_97 |  | 91 | 92 | 0.016685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_64-10_0_4_line_98 |  | 92 | 93 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_64-10_0_4_line_99 |  | 92 | 94 | 0.004199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_64-10_0_4_line_100 |  | 93 | 95 | 0.029283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_64-10_0_4_line_101 |  | 94 | 96 | 0.0059855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_64-10_0_4_line_102 |  | 94 | 97 | 0.042166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_64-10_0_4_line_103 |  | 97 | 99 | 0.026834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_64-10_0_4_line_104 |  | 100 | 101 | 0.030221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_64-10_0_4_line_105 |  | 102 | 112 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_64-10_0_4_line_106 |  | 103 | 104 | 0.026405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_64-10_0_4_line_107 |  | 104 | 105 | 0.02054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_64-10_0_4_line_108 |  | 104 | 106 | 0.016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_64-10_0_4_line_109 |  | 105 | 107 | 0.043621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_64-10_0_4_line_110 |  | 105 | 108 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_64-10_0_4_line_111 |  | 106 | 109 | 0.0011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_64-10_0_4_line_112 |  | 111 | 112 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_64-10_0_4_line_113 |  | 113 | 114 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_64-10_0_4_trafo_78 | 0.63 MVA 20/0.4 kV | 115 | 98 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2691145.6462 | 1256310.4877 | 2691142.1563 | 1256309.3554 | 2691141.3552 | 1256311.4224 | 2691137.5368 | 1256313.4986
1 | 2691148.2716 | 1256311.4289 | 2691145.6462 | 1256310.4877
2 | 2691144.2715 | 1256394.8325 | 2691134.8764 | 1256388.2828 | 2691127.962 | 1256380.8038 | 2691123.182 | 1256371.8677 | 2691120.3922 | 1256359.0704 | 2691120.5626 | 1256357.3861
3 | 2691144.2715 | 1256394.8325 | 2691140.4018 | 1256401.2224 | 2691132.0424 | 1256406.7647 | 2691123.363 | 1256409.5778 | 2691086.6095 | 1256413.7928
4 | 2691144.2715 | 1256394.8325 | 2691149.9618 | 1256397.5555 | 2691156.3815 | 1256397.4876 | 2691172.3021 | 1256402.6809
5 | 2691148.2716 | 1256311.4289 | 2691150.4492 | 1256304.6712
6 | 2691148.2716 | 1256311.4289 | 2691141.8629 | 1256329.5568
7 | 2690977.0353 | 1256431.4449 | 2690985.2241 | 1256424.2317 | 2691029.6438 | 1256408.3909 | 2691045.7373 | 1256402.645 | 2691054.8958 | 1256403.9868 | 2691069.9596 | 1256412.2138 | 2691079.7661 | 1256414.5776 | 2691086.6095 | 1256413.7928
8 | 2691202.7157 | 1256412.6018 | 2691172.3021 | 1256402.6809
9 | 2691151.42 | 1256277.9289 | 2691148.0104 | 1256278.4435
10 | 2691148.0104 | 1256278.4435 | 2691142.8374 | 1256265.1424 | 2691134.9821 | 1256254.591 | 2691107.1543 | 1256233.4609
11 | 2691151.42 | 1256277.9289 | 2691170.6396 | 1256275.0003
12 | 2691137.898 | 1256251.856 | 2691143.8956 | 1256258.6314 | 2691148.3426 | 1256267.1621 | 2691151.082 | 1256275.8777 | 2691151.42 | 1256277.9289
13 | 2691151.42 | 1256277.9289 | 2691152.7662 | 1256286.0227 | 2691152.4859 | 1256295.4035 | 2691150.9173 | 1256303.2187 | 2691150.4492 | 1256304.6712
14 | 2691138.0041 | 1256372.615 | 2691136.7831 | 1256370.754 | 2691134.8371 | 1256365.3754 | 2691133.8716 | 1256360.4789 | 2691133.9147 | 1256354.2525 | 2691134.8178 | 1256349.4849 | 2691141.8629 | 1256329.5568
15 | 2691202.7157 | 1256412.6018 | 2691199.3579 | 1256421.0122 | 2691245.9281 | 1256431.0708
16 | 2691202.7157 | 1256412.6018 | 2691204.1931 | 1256410.2116 | 2691205.7953 | 1256405.5993 | 2691206.7582 | 1256402.8342 | 2691198.7405 | 1256399.8973 | 2691193.4811 | 1256389.7751
17 | 2691245.9281 | 1256431.0708 | 2691244.9721 | 1256437.7947 | 2691243.8203 | 1256441.0795 | 2691238.8359 | 1256442.9598 | 2691212.8978 | 1256440.9919
18 | 2691245.9281 | 1256431.0708 | 2691247.3972 | 1256420.9078 | 2691248.0722 | 1256416.2701 | 2691255.166 | 1256416.9911
19 | 2691193.4811 | 1256389.7751 | 2691197.8374 | 1256377.0014
20 | 2691193.4811 | 1256389.7751 | 2691189.5995 | 1256388.6144
21 | 2691255.166 | 1256416.9911 | 2691255.5031 | 1256413.7159
22 | 2691255.166 | 1256416.9911 | 2691256.7475 | 1256417.1489 | 2691275.133 | 1256418.3221 | 2691295.521 | 1256417.2911 | 2691305.0847 | 1256415.9047
23 | 2691255.5031 | 1256413.7159 | 2691257.5577 | 1256393.8146
24 | 2691348.1766 | 1256407.646 | 2691316.2487 | 1256414.2862 | 2691305.0847 | 1256415.9047
25 | 2691189.5995 | 1256388.6144 | 2691185.1699 | 1256387.2896 | 2691182.6473 | 1256388.557
26 | 2691189.5995 | 1256388.6144 | 2691202.534 | 1256351.0991
27 | 2691211.9772 | 1256323.7102 | 2691202.534 | 1256351.0991
28 | 2691257.5577 | 1256393.8146 | 2691257.7306 | 1256392.1394
29 | 2690977.0353 | 1256431.4449 | 2691144.5099 | 1256517.432 | 2691128.7781 | 1256552.5951
30 | 2691171.9725 | 1256274.7972 | 2691170.6396 | 1256275.0003
31 | 2691137.898 | 1256251.856 | 2691151.2665 | 1256238.9963
32 | 2691137.898 | 1256251.856 | 2691133.4282 | 1256247.7396 | 2691111.2709 | 1256230.6628
33 | 2691212.3859 | 1256322.5248 | 2691211.9772 | 1256323.7102
34 | 2691259.6441 | 1256373.604 | 2691257.7306 | 1256392.1394
35 | 2691196.1547 | 1256271.1124 | 2691171.9725 | 1256274.7972
36 | 2691151.2665 | 1256238.9963 | 2691171.6111 | 1256219.426
37 | 2691128.7781 | 1256552.5951 | 2691141.6636 | 1256559.6211
38 | 2691222.94 | 1256325.8122 | 2691212.3859 | 1256322.5248
39 | 2691212.3859 | 1256322.5248 | 2691215.9909 | 1256302.4869 | 2691216.5052 | 1256287.2273 | 2691216.332 | 1256285.2881
40 | 2691222.94 | 1256325.8122 | 2691235.5677 | 1256329.8329
41 | 2691222.94 | 1256325.8122 | 2691223.8057 | 1256321.5221
42 | 2691253.162 | 1256334.6848 | 2691244.8867 | 1256332.8002 | 2691235.5677 | 1256329.8329
43 | 2691412.7052 | 1256347.1664 | 2691416.6119 | 1256370.9628
44 | 2691412.7052 | 1256347.1664 | 2691409.7341 | 1256336.265
45 | 2691366.5362 | 1256158.6954 | 2691393.2078 | 1256149.3886
46 | 2691387.8988 | 1256119.0385 | 2691383.892 | 1256122.5572 | 2691396.8707 | 1256148.1108 | 2691393.2078 | 1256149.3886
47 | 2691387.8988 | 1256119.0385 | 2691363.5239 | 1256074.3608 | 2691361.9535 | 1256072.1892
48 | 2691387.8988 | 1256119.0385 | 2691404.0032 | 1256104.8677
49 | 2691406.7736 | 1256325.4023 | 2691402.5604 | 1256312.5049
50 | 2691406.7736 | 1256325.4023 | 2691409.7341 | 1256336.265
51 | 2691402.5604 | 1256312.5049 | 2691389.2969 | 1256316.6479 | 2691381.8224 | 1256318.0914
52 | 2691310.6041 | 1256043.009 | 2691330.002 | 1256050.0136 | 2691331.9512 | 1256050.2995 | 2691334.6511 | 1256049.8407 | 2691339.6552 | 1256055.0109 | 2691344.7759 | 1256063.8634
53 | 2691310.6041 | 1256043.009 | 2691309.5265 | 1256045.8724 | 2691312.1614 | 1256051.5842 | 2691324.3442 | 1256058.7345
54 | 2691344.7759 | 1256063.8634 | 2691337.9947 | 1256068.7626 | 2691329.9673 | 1256080.8088
55 | 2691344.7759 | 1256063.8634 | 2691339.6552 | 1256055.0109 | 2691334.6511 | 1256049.8407 | 2691341.8383 | 1256046.4934 | 2691347.6114 | 1256043.8693 | 2691360.4664 | 1256070.1326
56 | 2691360.4664 | 1256070.1326 | 2691361.9535 | 1256072.1892
57 | 2691323.0372 | 1256101.9912 | 2691323.0372 | 1256101.9912 | 2691320.4355 | 1256095.1124 | 2691329.9673 | 1256080.8088
58 | 2691381.8224 | 1256318.0914 | 2691350.973 | 1256324.0491
59 | 2691348.5319 | 1256324.5206 | 2691350.973 | 1256324.0491
60 | 2691313.8794 | 1256331.2128 | 2691348.5319 | 1256324.5206
61 | 2691290.0027 | 1256334.9862 | 2691304.3104 | 1256333.0608 | 2691313.8794 | 1256331.2128
62 | 2691253.162 | 1256334.6848 | 2691265.9941 | 1256336.0058 | 2691279.1628 | 1256336.0421 | 2691290.0027 | 1256334.9862
63 | 2691290.0027 | 1256334.9862 | 2691288.0811 | 1256314.5521
64 | 2691288.0811 | 1256314.5521 | 2691286.5102 | 1256297.8477 | 2691287.2222 | 1256288.1463
65 | 2691385.5738 | 1256265.1835 | 2691372.4677 | 1256235.6804
66 | 2691372.4677 | 1256235.6804 | 2691386.7036 | 1256230.3977
67 | 2691372.4677 | 1256235.6804 | 2691370.6612 | 1256233.3627
68 | 2691144.5796 | 1256586.8904 | 2691150.3233 | 1256589.8211
69 | 2691174.415 | 1256602.1142 | 2691150.3233 | 1256589.8211
70 | 2691174.415 | 1256602.1142 | 2691179.8898 | 1256597.7617 | 2691182.3811 | 1256591.2505 | 2691183.2775 | 1256580.0667 | 2691180.4921 | 1256576.2987 | 2691179.8775 | 1256575.8374
71 | 2691167.5112 | 1256566.5578 | 2691153.8566 | 1256566.2696 | 2691141.6636 | 1256559.6211
72 | 2691167.5112 | 1256566.5578 | 2691179.8775 | 1256575.8374
73 | 2691287.2222 | 1256288.1463 | 2691287.3506 | 1256286.3962 | 2691288.7188 | 1256281.2168
74 | 2691289.8899 | 1256276.7834 | 2691288.7188 | 1256281.2168
75 | 2691289.8899 | 1256276.7834 | 2691289.8899 | 1256276.7834 | 2691296.1714 | 1256267.5953 | 2691302.24 | 1256261.282
76 | 2691317.6194 | 1256245.8731 | 2691315.5196 | 1256247.4668 | 2691302.24 | 1256261.282
77 | 2691259.6441 | 1256373.604 | 2691267.8278 | 1256373.4022
78 | 2691267.8278 | 1256373.4022 | 2691287.1093 | 1256372.9268 | 2691286.8562 | 1256369.2867 | 2691297.6533 | 1256367.2482
79 | 2691260.4887 | 1256198.3712 | 2691269.8527 | 1256186.0925 | 2691272.0445 | 1256182.9793
80 | 2691260.4887 | 1256198.3712 | 2691251.1979 | 1256210.5539
81 | 2691286.3173 | 1256162.7058 | 2691272.0445 | 1256182.9793
82 | 2691247.2752 | 1256215.6976 | 2691251.1979 | 1256210.5539
83 | 2691286.3173 | 1256162.7058 | 2691288.3737 | 1256159.4744
84 | 2691286.3173 | 1256162.7058 | 2691301.9793 | 1256177.712
85 | 2691247.2752 | 1256215.6976 | 2691240.1985 | 1256224.977 | 2691231.5084 | 1256231.7701
86 | 2691298.7629 | 1256143.1491 | 2691288.3737 | 1256159.4744
87 | 2691306.7605 | 1256182.2929 | 2691301.9793 | 1256177.712
88 | 2691229.4358 | 1256233.3903 | 2691231.5084 | 1256231.7701
89 | 2691298.7629 | 1256143.1491 | 2691305.9006 | 1256128.6266
90 | 2691298.7629 | 1256143.1491 | 2691284.4106 | 1256135.0774
91 | 2691329.5613 | 1256214.8953 | 2691314.0493 | 1256189.2764 | 2691306.7605 | 1256182.2929
92 | 2691217.7849 | 1256240.4216 | 2691226.2347 | 1256235.8927 | 2691229.4358 | 1256233.3903
93 | 2691217.7849 | 1256240.4216 | 2691208.0151 | 1256244.4743
94 | 2691208.0151 | 1256244.4743 | 2691199.9045 | 1256229.4487 | 2691194.6607 | 1256221.7555
95 | 2691217.7849 | 1256240.4216 | 2691219.3995 | 1256244.7943 | 2691215.6207 | 1256254.0878 | 2691217.6828 | 1256262.7041 | 2691219.5567 | 1256273.7416 | 2691220.0573 | 1256279.2934
96 | 2691183.6357 | 1256207.8591 | 2691190.751 | 1256216.0195 | 2691194.6607 | 1256221.7555
97 | 2691183.6357 | 1256207.8591 | 2691171.6111 | 1256219.426
98 | 2691183.6357 | 1256207.8591 | 2691174.6894 | 1256198.1137
99 | 2691186.7344 | 1256205.0157 | 2691183.6357 | 1256207.8591
100 | 2691174.6894 | 1256198.1137 | 2691151.6647 | 1256180.0199
101 | 2691186.7344 | 1256205.0157 | 2691190.7841 | 1256209.4232
102 | 2691186.7344 | 1256205.0157 | 2691184.5302 | 1256200.7228 | 2691184.3231 | 1256196.0493 | 2691185.5142 | 1256191.6865 | 2691202.6215 | 1256169.3437
103 | 2691218.9348 | 1256148.0379 | 2691202.6215 | 1256169.3437
104 | 2691258.0692 | 1256120.263 | 2691284.4106 | 1256135.0774
105 | 2691323.0372 | 1256101.9912 | 2691315.4043 | 1256109.2904
106 | 2691338.6525 | 1256229.9098 | 2691317.6194 | 1256245.8731
107 | 2691338.6525 | 1256229.9098 | 2691347.9635 | 1256224.805 | 2691357.9026 | 1256223.9688
108 | 2691338.6525 | 1256229.9098 | 2691330.1546 | 1256215.8752
109 | 2691374.0905 | 1256190.6703 | 2691379.1345 | 1256200.0888 | 2691369.3735 | 1256209.9014 | 2691358.6378 | 1256218.8539 | 2691357.9026 | 1256223.9688
110 | 2691357.9026 | 1256223.9688 | 2691365.7742 | 1256227.0927 | 2691370.6612 | 1256233.3627
111 | 2691329.5613 | 1256214.8953 | 2691330.1546 | 1256215.8752
112 | 2691305.9006 | 1256128.6266 | 2691315.4043 | 1256109.2904 | 2691315.4043 | 1256109.2904
113 | 2691309.1792 | 1256365.072 | 2691297.6533 | 1256367.2482

## bus_geodata
| x | y | coords
0 | 2691137.5368 | 1256313.4986
1 | 2691145.6462 | 1256310.4877
2 | 2691120.5626 | 1256357.3861
3 | 2691144.2715 | 1256394.8325
4 | 2691148.2716 | 1256311.4289
5 | 2691086.6095 | 1256413.7928
6 | 2691172.3021 | 1256402.6809
7 | 2691148.0104 | 1256278.4435
8 | 2691151.42 | 1256277.9289
9 | 2691107.1543 | 1256233.4609
10 | 2691150.4492 | 1256304.6712
11 | 2691141.8629 | 1256329.5568
12 | 2691202.7157 | 1256412.6018
13 | 2691245.9281 | 1256431.0708
14 | 2691193.4811 | 1256389.7751
15 | 2691255.166 | 1256416.9911
16 | 2691255.5031 | 1256413.7159
17 | 2691305.0847 | 1256415.9047
18 | 2691189.5995 | 1256388.6144
19 | 2691182.6473 | 1256388.557
20 | 2691202.534 | 1256351.0991
21 | 2691212.8978 | 1256440.9919
22 | 2691257.5577 | 1256393.8146
23 | 2691197.8374 | 1256377.0014
24 | 2690977.0353 | 1256431.4449
25 | 2691170.6396 | 1256275.0003
26 | 2691137.898 | 1256251.856
27 | 2691138.0041 | 1256372.615
28 | 2691348.1766 | 1256407.646
29 | 2691211.9772 | 1256323.7102
30 | 2691257.7306 | 1256392.1394
31 | 2691111.2709 | 1256230.6628
32 | 2691171.9725 | 1256274.7972
33 | 2691151.2665 | 1256238.9963
34 | 2691128.7781 | 1256552.5951
35 | 2691212.3859 | 1256322.5248
36 | 2691222.94 | 1256325.8122
37 | 2691216.332 | 1256285.2881
38 | 2691235.5677 | 1256329.8329
39 | 2691223.8057 | 1256321.5221
40 | 2691416.6119 | 1256370.9628
41 | 2691412.7052 | 1256347.1664
42 | 2691393.2078 | 1256149.3886
43 | 2691366.5362 | 1256158.6954
44 | 2691387.8988 | 1256119.0385
45 | 2691406.7736 | 1256325.4023
46 | 2691402.5604 | 1256312.5049
47 | 2691409.7341 | 1256336.265
48 | 2691310.6041 | 1256043.009
49 | 2691344.7759 | 1256063.8634
50 | 2691324.3442 | 1256058.7345
51 | 2691360.4664 | 1256070.1326
52 | 2691361.9535 | 1256072.1892
53 | 2691329.9673 | 1256080.8088
54 | 2691404.0032 | 1256104.8677
55 | 2691381.8224 | 1256318.0914
56 | 2691350.973 | 1256324.0491
57 | 2691348.5319 | 1256324.5206
58 | 2691313.8794 | 1256331.2128
59 | 2691290.0027 | 1256334.9862
60 | 2691253.162 | 1256334.6848
61 | 2691288.0811 | 1256314.5521
62 | 2691385.5738 | 1256265.1835
63 | 2691372.4677 | 1256235.6804
64 | 2691144.5796 | 1256586.8904
65 | 2691150.3233 | 1256589.8211
66 | 2691174.415 | 1256602.1142
67 | 2691141.6636 | 1256559.6211
68 | 2691179.8775 | 1256575.8374
69 | 2691167.5112 | 1256566.5578
70 | 2691287.2222 | 1256288.1463
71 | 2691288.7188 | 1256281.2168
72 | 2691289.8899 | 1256276.7834
73 | 2691302.24 | 1256261.282
74 | 2691259.6441 | 1256373.604
75 | 2691267.8278 | 1256373.4022
76 | 2691260.4887 | 1256198.3712
77 | 2691272.0445 | 1256182.9793
78 | 2691251.1979 | 1256210.5539
79 | 2691286.3173 | 1256162.7058
80 | 2691247.2752 | 1256215.6976
81 | 2691288.3737 | 1256159.4744
82 | 2691301.9793 | 1256177.712
83 | 2691231.5084 | 1256231.7701
84 | 2691298.7629 | 1256143.1491
85 | 2691306.7605 | 1256182.2929
86 | 2691229.4358 | 1256233.3903
87 | 2691208.0151 | 1256244.4743
88 | 2691217.7849 | 1256240.4216
89 | 2691194.6607 | 1256221.7555
90 | 2691196.1547 | 1256271.1124
91 | 2691171.6111 | 1256219.426
92 | 2691183.6357 | 1256207.8591
93 | 2691174.6894 | 1256198.1137
94 | 2691186.7344 | 1256205.0157
95 | 2691151.6647 | 1256180.0199
96 | 2691190.7841 | 1256209.4232
97 | 2691202.6215 | 1256169.3437
98 | 2691220.0573 | 1256279.2934
99 | 2691218.9348 | 1256148.0379
100 | 2691258.0692 | 1256120.263
101 | 2691284.4106 | 1256135.0774
102 | 2691323.0372 | 1256101.9912
103 | 2691317.6194 | 1256245.8731
104 | 2691338.6525 | 1256229.9098
105 | 2691357.9026 | 1256223.9688
106 | 2691330.1546 | 1256215.8752
107 | 2691374.0905 | 1256190.6703
108 | 2691370.6612 | 1256233.3627
109 | 2691329.5613 | 1256214.8953
110 | 2691386.7036 | 1256230.3977
111 | 2691305.9006 | 1256128.6266
112 | 2691315.4043 | 1256109.2904
113 | 2691297.6533 | 1256367.2482
114 | 2691309.1792 | 1256365.072
115 | 2691217.7849 | 1256240.4216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1