## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_64-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_64-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_64-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_64-11_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_64-11_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_64-11_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_64-11_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_64-11_0_5_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_64-11_0_5_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_64-11_0_5_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_64-11_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_64-11_0_5_node_91 | 0.4 | n |  | TRUE
12 | bus_LV_64-11_0_5_node_92 | 0.4 | n |  | TRUE
13 | bus_LV_64-11_0_5_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_64-11_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_64-11_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_64-11_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_64-11_0_5_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_64-11_0_5_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_64-11_0_5_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_64-11_0_5_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_64-11_0_5_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_64-11_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_64-11_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_64-11_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_64-11_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_64-11_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_64-11_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_64-11_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_64-11_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_64-11_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_64-11_0_5_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_64-11_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_64-11_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_64-11_0_5_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_64-11_0_5_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_64-11_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_64-11_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_64-11_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_64-11_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_64-11_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_64-11_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_64-11_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_64-11_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_64-11_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_64-11_0_5_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_64-11_0_5_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_64-11_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_64-11_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_64-11_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_64-11_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_64-11_0_5_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_64-11_0_5_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_64-11_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_64-11_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_64-11_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_64-11_0_5_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_64-11_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_64-11_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_64-11_0_5_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_64-11_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_64-11_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_64-11_0_5_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_64-11_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_64-11_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_64-11_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_64-11_0_5_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_64-11_0_5_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_64-11_0_5_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_64-11_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_64-11_0_5_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_64-11_0_5_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_64-11_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_64-11_0_5_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_64-11_0_5_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_64-11_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_64-11_0_5_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_64-11_0_5_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_64-11_0_5_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_64-11_0_5_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_64-11_0_5_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_64-11_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_64-11_0_5_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_64-11_0_5_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_64-11_0_5_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_64-11_0_5_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_64-11_0_5_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_64-11_0_5_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_64-11_0_5_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_64-11_0_5_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_64-11_0_5_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_64-11_0_5_node_97 | 0.4 | n |  | TRUE
92 | bus_MV_457_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_64-11_0_5_load_0 | 0 | 0.0092961 | 0.0023298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_64-11_0_5_load_1 | 1 | 0.0034281 | 0.00085917 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_64-11_0_5_load_2 | 2 | 0.0046245 | 0.001159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_64-11_0_5_load_4 | 3 | 0.0059687 | 0.0014959 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_64-11_0_5_load_5 | 5 | 0.0057514 | 0.0014414 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_64-11_0_5_load_6 | 6 | 0.0063481 | 0.001591 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_64-11_0_5_load_57 | 8 | 0.0079048 | 0.0019811 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_64-11_0_5_load_92 | 12 | 0.0030725 | 0.00077003 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_64-11_0_5_load_90 | 13 | 0.0015674 | 0.00039284 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_64-11_0_5_load_7 | 14 | 0.016872 | 0.0042285 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_64-11_0_5_load_64 | 18 | 0.0075866 | 0.0019014 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_64-11_0_5_load_58 | 19 | 0.013309 | 0.0033356 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_64-11_0_5_load_60 | 20 | 0.0045939 | 0.0011513 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_64-11_0_5_load_65 | 21 | 0.013001 | 0.0032582 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_64-11_0_5_load_11 | 22 | 0.031712 | 0.0079478 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_64-11_0_5_load_12 | 23 | 0.017784 | 0.0044572 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_64-11_0_5_load_13 | 24 | 0.020315 | 0.0050914 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_64-11_0_5_load_40 | 27 | 0.003008 | 0.00075387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_64-11_0_5_load_43 | 28 | 0.0028793 | 0.00072161 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_64-11_0_5_load_21 | 29 | 0.0060136 | 0.0015072 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_64-11_0_5_load_16 | 30 | 0.015303 | 0.0038353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_64-11_0_5_load_54 | 31 | 0.0048607 | 0.0012182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_64-11_0_5_load_19 | 33 | 0.011945 | 0.0029938 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_64-11_0_5_load_99 | 34 | 0.0063041 | 0.00158 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_64-11_0_5_load_98 | 35 | 0.0038815 | 0.00097279 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_64-11_0_5_load_22 | 36 | 0.0063046 | 0.0015801 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_64-11_0_5_load_26 | 39 | 0.026773 | 0.00671 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_64-11_0_5_load_36 | 40 | 0.019773 | 0.0049555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_64-11_0_5_load_34 | 41 | 0.069084 | 0.017314 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_64-11_0_5_load_69 | 45 | 0.0021044 | 0.00052741 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_64-11_0_5_load_62 | 46 | 0.014982 | 0.0037548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_64-11_0_5_load_33 | 49 | 0.013759 | 0.0034483 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_64-11_0_5_load_71 | 51 | 0.041477 | 0.010395 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_64-11_0_5_load_63 | 53 | 0.0061043 | 0.0015299 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_64-11_0_5_load_37 | 54 | 0.0029234 | 0.00073268 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_64-11_0_5_load_38 | 55 | 0.045619 | 0.011433 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_64-11_0_5_load_51 | 56 | 0.0039469 | 0.0009892 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_64-11_0_5_load_39 | 57 | 0.032142 | 0.0080556 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_64-11_0_5_load_44 | 58 | 0.0077388 | 0.0019395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_64-11_0_5_load_45 | 59 | 0.0043182 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_64-11_0_5_load_53 | 60 | 0.0017057 | 0.00042748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_64-11_0_5_load_46 | 61 | 0.0021667 | 0.00054304 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_64-11_0_5_load_47 | 62 | 0.0053435 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_64-11_0_5_load_48 | 63 | 0.0016584 | 0.00041563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_64-11_0_5_load_52 | 66 | 0.0015862 | 0.00039755 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_64-11_0_5_load_72 | 68 | 0.0010314 | 0.00025848 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_64-11_0_5_load_75 | 70 | 0.0081759 | 0.0020491 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_64-11_0_5_load_74 | 71 | 0.0011745 | 0.00029435 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_64-11_0_5_load_68 | 72 | 0.0054344 | 0.001362 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_64-11_0_5_load_77 | 74 | 0.00094408 | 0.00023661 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_64-11_0_5_load_78 | 75 | 0.00094501 | 0.00023684 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_64-11_0_5_load_79 | 76 | 0.00094407 | 0.00023661 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_64-11_0_5_load_80 | 77 | 0.00090343 | 0.00022642 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_64-11_0_5_load_81 | 78 | 0.00094407 | 0.00023661 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_64-11_0_5_load_85 | 79 | 0.00088545 | 0.00022191 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_64-11_0_5_load_83 | 80 | 0.00094501 | 0.00023684 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_64-11_0_5_load_82 | 81 | 0.00094549 | 0.00023696 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_64-11_0_5_load_84 | 82 | 0.00094407 | 0.00023661 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_64-11_0_5_load_86 | 83 | 0.0015645 | 0.00039209 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_64-11_0_5_load_87 | 84 | 0.00094549 | 0.00023696 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_64-11_0_5_load_88 | 85 | 0.00070967 | 0.00017786 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_64-11_0_5_load_89 | 86 | 0.0039577 | 0.00099191 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_64-11_0_5_load_93 | 87 | 0.0054642 | 0.0013694 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_64-11_0_5_load_94 | 88 | 0.001141 | 0.00028597 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_64-11_0_5_load_95 | 89 | 0.0024896 | 0.00062396 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_64-11_0_5_load_96 | 90 | 0.0011346 | 0.00028436 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_64-11_0_5_load_97 | 91 | 0.0010907 | 0.00027336 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_64-11_0_5_line_0 |  | 0 | 1 | 0.024075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_64-11_0_5_line_1 |  | 0 | 2 | 8.9514e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_64-11_0_5_line_2 |  | 2 | 3 | 0.014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_64-11_0_5_line_3 |  | 3 | 7 | 0.029872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_64-11_0_5_line_4 |  | 4 | 5 | 0.021678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_64-11_0_5_line_5 |  | 4 | 6 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_64-11_0_5_line_6 |  | 6 | 8 | 0.041398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_64-11_0_5_line_7 |  | 7 | 9 | 0.04271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_64-11_0_5_line_8 |  | 7 | 10 | 0.012604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_64-11_0_5_line_9 |  | 8 | 9 | 0.027216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_64-11_0_5_line_10 |  | 9 | 31 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_64-11_0_5_line_11 |  | 10 | 24 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_64-11_0_5_line_12 |  | 11 | 12 | 0.023397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_64-11_0_5_line_13 |  | 11 | 13 | 0.0084918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_64-11_0_5_line_14 |  | 12 | 87 | 0.00075474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_64-11_0_5_line_15 |  | 13 | 86 | 0.0074823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_64-11_0_5_line_16 |  | 14 | 15 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_64-11_0_5_line_17 |  | 15 | 16 | 0.059558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_64-11_0_5_line_18 |  | 16 | 17 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_64-11_0_5_line_19 |  | 16 | 18 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_64-11_0_5_line_20 |  | 17 | 20 | 0.018392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_64-11_0_5_line_21 |  | 17 | 19 | 0.037585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_64-11_0_5_line_22 |  | 18 | 21 | 0.015478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_64-11_0_5_line_23 |  | 20 | 44 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_64-11_0_5_line_24 |  | 22 | 23 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_64-11_0_5_line_25 |  | 22 | 24 | 0.02102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_64-11_0_5_line_26 |  | 23 | 25 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_64-11_0_5_line_27 |  | 25 | 26 | 0.055663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_64-11_0_5_line_28 |  | 26 | 29 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_64-11_0_5_line_29 |  | 26 | 30 | 0.029719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_64-11_0_5_line_30 |  | 27 | 28 | 0.00014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_64-11_0_5_line_31 |  | 28 | 48 | 0.020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_64-11_0_5_line_32 |  | 30 | 32 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_64-11_0_5_line_33 |  | 31 | 60 | 0.033286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_64-11_0_5_line_34 |  | 32 | 33 | 0.06193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_64-11_0_5_line_35 |  | 34 | 35 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_64-11_0_5_line_36 |  | 35 | 91 | 0.010927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_64-11_0_5_line_37 |  | 36 | 37 | 0.041692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_64-11_0_5_line_38 |  | 37 | 38 | 0.024828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_64-11_0_5_line_39 |  | 37 | 39 | 0.015493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_64-11_0_5_line_40 |  | 38 | 40 | 0.02626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_64-11_0_5_line_41 |  | 38 | 41 | 0.013784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_64-11_0_5_line_42 |  | 39 | 42 | 0.0028395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_64-11_0_5_line_43 |  | 40 | 51 | 0.017101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_64-11_0_5_line_44 |  | 41 | 50 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_64-11_0_5_line_45 |  | 42 | 43 | 0.022075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_64-11_0_5_line_46 |  | 43 | 44 | 0.040445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_64-11_0_5_line_47 |  | 43 | 45 | 0.034827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_64-11_0_5_line_48 |  | 44 | 46 | 0.024286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_64-11_0_5_line_49 |  | 45 | 52 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_64-11_0_5_line_50 |  | 47 | 48 | 0.061168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_64-11_0_5_line_51 |  | 47 | 49 | 0.035728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_64-11_0_5_line_52 |  | 48 | 50 | 0.047577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_64-11_0_5_line_53 |  | 50 | 54 | 0.010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_64-11_0_5_line_54 |  | 51 | 56 | 0.025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_64-11_0_5_line_55 |  | 52 | 72 | 0.038586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_64-11_0_5_line_56 |  | 52 | 53 | 0.025665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_64-11_0_5_line_57 |  | 54 | 55 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_64-11_0_5_line_58 |  | 55 | 57 | 0.0014769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_64-11_0_5_line_59 |  | 56 | 64 | 0.046425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_64-11_0_5_line_60 |  | 57 | 58 | 0.036891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_64-11_0_5_line_61 |  | 58 | 59 | 0.0028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_64-11_0_5_line_62 |  | 59 | 61 | 0.027613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_64-11_0_5_line_63 |  | 60 | 67 | 0.023383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_64-11_0_5_line_64 |  | 62 | 63 | 0.0051757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_64-11_0_5_line_65 |  | 62 | 64 | 0.015178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_64-11_0_5_line_66 |  | 63 | 65 | 0.024591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_64-11_0_5_line_67 |  | 64 | 66 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_64-11_0_5_line_68 |  | 65 | 67 | 0.036237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_64-11_0_5_line_69 |  | 66 | 68 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_64-11_0_5_line_70 |  | 67 | 69 | 0.029324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_64-11_0_5_line_71 |  | 69 | 70 | 0.029499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_64-11_0_5_line_72 |  | 70 | 71 | 0.063311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_64-11_0_5_line_73 |  | 71 | 73 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_64-11_0_5_line_74 |  | 73 | 74 | 0.041158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_64-11_0_5_line_75 |  | 74 | 75 | 0.0016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_64-11_0_5_line_76 |  | 75 | 76 | 0.0038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_64-11_0_5_line_77 |  | 76 | 77 | 0.045257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_64-11_0_5_line_78 |  | 77 | 78 | 0.0079158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_64-11_0_5_line_79 |  | 78 | 79 | 0.0019429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_64-11_0_5_line_80 |  | 79 | 80 | 0.0068339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_64-11_0_5_line_81 |  | 80 | 81 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_64-11_0_5_line_82 |  | 81 | 82 | 0.0015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_64-11_0_5_line_83 |  | 82 | 83 | 0.00071482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_64-11_0_5_line_84 |  | 83 | 84 | 0.0080637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_64-11_0_5_line_85 |  | 84 | 85 | 0.027715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_64-11_0_5_line_86 |  | 85 | 86 | 0.00069116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_64-11_0_5_line_87 |  | 87 | 88 | 0.024506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_64-11_0_5_line_88 |  | 88 | 89 | 0.0026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_64-11_0_5_line_89 |  | 89 | 90 | 0.0046394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_64-11_0_5_line_90 |  | 90 | 91 | 0.0072248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_64-11_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 92 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2691502.7957 | 1255850.4938 | 2691516.6256 | 1255860.4912 | 2691522.3024 | 1255864.6044
1 | 2691502.7957 | 1255850.4938 | 2691502.7232 | 1255850.4414
2 | 2691502.7232 | 1255850.4414 | 2691490.7031 | 1255841.7523
3 | 2691470.9834 | 1255820.8773 | 2691473.714 | 1255829.1704 | 2691486.6523 | 1255838.8223 | 2691488.8976 | 1255840.4471 | 2691490.7031 | 1255841.7523
4 | 2691553.9586 | 1255838.9181 | 2691571.0399 | 1255852.2654
5 | 2691553.9586 | 1255838.9181 | 2691538.0926 | 1255826.5165
6 | 2691538.0926 | 1255826.5165 | 2691505.4762 | 1255801.0221
7 | 2691470.9834 | 1255820.8773 | 2691466.9302 | 1255808.3494 | 2691484.0335 | 1255784.2614
8 | 2691458.3587 | 1255820.2152 | 2691470.9834 | 1255820.8773
9 | 2691484.0335 | 1255784.2614 | 2691505.4762 | 1255801.0221
10 | 2691484.0335 | 1255784.2614 | 2691493.5315 | 1255770.9737
11 | 2691458.3587 | 1255820.2152 | 2691449.8104 | 1255832.1882
12 | 2691598.3255 | 1255904.3553 | 2691582.62 | 1255921.6977
13 | 2691598.3255 | 1255904.3553 | 2691605.1562 | 1255899.3103
14 | 2691582.62 | 1255921.6977 | 2691582.1134 | 1255922.2571
15 | 2691611.1748 | 1255894.8651 | 2691605.1562 | 1255899.3103
16 | 2691250.4909 | 1255593.7097 | 2691246.3644 | 1255594.7025 | 2691230.39 | 1255596.4705
17 | 2691250.4909 | 1255593.7097 | 2691258.1838 | 1255591.849 | 2691260.5152 | 1255597.2002 | 2691269.5682 | 1255618.1783 | 2691279.2877 | 1255638.9777
18 | 2691290.4779 | 1255662.2349 | 2691279.2877 | 1255638.9777
19 | 2691279.2877 | 1255638.9777 | 2691288.1853 | 1255634.3223 | 2691293.9079 | 1255629.175
20 | 2691290.4779 | 1255662.2349 | 2691298.4498 | 1255678.8097
21 | 2691290.4779 | 1255662.2349 | 2691277.6686 | 1255668.6314 | 2691256.0852 | 1255659.9393
22 | 2691293.9079 | 1255629.175 | 2691305.4157 | 1255618.8241
23 | 2691307.7635 | 1255698.1739 | 2691298.4498 | 1255678.8097
24 | 2691426.0223 | 1255865.5068 | 2691437.5966 | 1255849.2954
25 | 2691449.8104 | 1255832.1882 | 2691437.5966 | 1255849.2954
26 | 2691418.8468 | 1255881.2861 | 2691423.0698 | 1255869.6422 | 2691426.0223 | 1255865.5068
27 | 2691418.8468 | 1255881.2861 | 2691418.5924 | 1255887.9874 | 2691419.8699 | 1255900.0165 | 2691422.8919 | 1255907.5246 | 2691429.7912 | 1255915.0147 | 2691444.6893 | 1255926.209
28 | 2691456.8098 | 1255909.2052 | 2691444.6893 | 1255926.209
29 | 2691444.6893 | 1255926.209 | 2691464.1171 | 1255940.5647 | 2691468.2859 | 1255944.2481
30 | 2691356.5443 | 1255840.2304 | 2691356.6606 | 1255840.3095
31 | 2691339.9766 | 1255828.9504 | 2691356.5443 | 1255840.2304
32 | 2691475.9787 | 1255951.045 | 2691468.2859 | 1255944.2481
33 | 2691512.8877 | 1255743.8941 | 2691493.5315 | 1255770.9737
34 | 2691475.9787 | 1255951.045 | 2691470.9303 | 1255956.0598 | 2691447.8656 | 1255978.3877 | 2691431.2321 | 1255993.8529
35 | 2691540.9646 | 1255977.8447 | 2691552.1285 | 1255962.0563
36 | 2691558.4371 | 1255953.1346 | 2691552.1285 | 1255962.0563
37 | 2691328.0937 | 1255758.2342 | 2691319.5244 | 1255777.7951 | 2691315.0141 | 1255788.0224 | 2691311.3136 | 1255796.4006
38 | 2691328.0937 | 1255758.2342 | 2691342.8717 | 1255764.0556 | 2691351.7024 | 1255762.2571
39 | 2691328.0937 | 1255758.2342 | 2691334.3622 | 1255744.0656
40 | 2691351.7024 | 1255762.2571 | 2691373.2857 | 1255747.298
41 | 2691351.7024 | 1255762.2571 | 2691359.7613 | 1255773.4395
42 | 2691335.5111 | 1255741.4689 | 2691334.3622 | 1255744.0656
43 | 2691373.2857 | 1255747.298 | 2691387.3409 | 1255737.5566
44 | 2691367.5132 | 1255790.1005 | 2691363.8582 | 1255779.1244 | 2691359.7613 | 1255773.4395
45 | 2691335.5111 | 1255741.4689 | 2691330.4189 | 1255739.5444 | 2691334.1659 | 1255731.8517 | 2691337.6951 | 1255724.5894
46 | 2691307.7635 | 1255698.1739 | 2691311.6117 | 1255703.4818 | 2691316.841 | 1255710.2121 | 2691324.8748 | 1255716.5521 | 2691332.9137 | 1255721.5911 | 2691337.6951 | 1255724.5894
47 | 2691337.6951 | 1255724.5894 | 2691351.7201 | 1255692.7107
48 | 2691307.7635 | 1255698.1739 | 2691286.9528 | 1255710.6926
49 | 2691360.1707 | 1255673.5185 | 2691356.7624 | 1255681.2497 | 2691351.7201 | 1255692.7107
50 | 2691325.4608 | 1255877.9982 | 2691316.1843 | 1255866.6574 | 2691314.8615 | 1255863.9015 | 2691320.7254 | 1255856.3861 | 2691328.2515 | 1255846.739 | 2691338.1779 | 1255835.0386 | 2691339.9766 | 1255828.9504
51 | 2691325.4608 | 1255877.9982 | 2691334.4858 | 1255876.3138 | 2691342.6978 | 1255877.4525 | 2691358.4886 | 1255886.6156
52 | 2691367.5132 | 1255790.1005 | 2691339.9766 | 1255828.9504
53 | 2691367.5132 | 1255790.1005 | 2691377.4414 | 1255788.0632
54 | 2691408.5593 | 1255722.9468 | 2691407.9819 | 1255723.2506 | 2691387.3409 | 1255737.5566
55 | 2691360.1707 | 1255673.5185 | 2691375.5987 | 1255638.1512
56 | 2691360.1707 | 1255673.5185 | 2691338.4686 | 1255659.8175
57 | 2691391.3303 | 1255780.3811 | 2691377.4414 | 1255788.0632
58 | 2691392.6227 | 1255779.6662 | 2691391.3303 | 1255780.3811
59 | 2691451.0576 | 1255704.4899 | 2691440.0658 | 1255708.4677 | 2691425.5574 | 1255714.0036 | 2691408.5593 | 1255722.9468
60 | 2691392.6227 | 1255779.6662 | 2691401.6737 | 1255774.66 | 2691414.6069 | 1255775.3713 | 2691423.1115 | 1255764.7649
61 | 2691423.1115 | 1255764.7649 | 2691424.8995 | 1255762.535
62 | 2691442.1732 | 1255740.9923 | 2691424.8995 | 1255762.535
63 | 2691526.4852 | 1255724.871 | 2691512.8877 | 1255743.8941
64 | 2691466.16 | 1255702.9765 | 2691471.3099 | 1255702.4605
65 | 2691451.0576 | 1255704.4899 | 2691466.16 | 1255702.9765
66 | 2691495.5654 | 1255705.8228 | 2691474.5161 | 1255702.1392 | 2691471.3099 | 1255702.4605
67 | 2691451.0576 | 1255704.4899 | 2691450.9658 | 1255694.325 | 2691451.223 | 1255693.5582
68 | 2691526.4852 | 1255724.871 | 2691495.5654 | 1255705.8228
69 | 2691451.223 | 1255693.5582 | 2691454.8586 | 1255682.7225
70 | 2691526.4852 | 1255724.871 | 2691551.5094 | 1255740.281
71 | 2691551.5094 | 1255740.281 | 2691570.3438 | 1255750.1132 | 2691578.1752 | 1255752.7158
72 | 2691639.5309 | 1255768.0833 | 2691619.5428 | 1255763.6514 | 2691593.2256 | 1255757.7174 | 2691578.1752 | 1255752.7158
73 | 2691657.1226 | 1255771.9838 | 2691639.5309 | 1255768.0833
74 | 2691657.1226 | 1255771.9838 | 2691669.6102 | 1255811.2021
75 | 2691669.6102 | 1255811.2021 | 2691670.1073 | 1255812.7632
76 | 2691670.1073 | 1255812.7632 | 2691671.2809 | 1255816.4488
77 | 2691671.2809 | 1255816.4488 | 2691679.7886 | 1255843.1681 | 2691677.5389 | 1255856.4325 | 2691674.2403 | 1255858.2407
78 | 2691667.299 | 1255862.0456 | 2691674.2403 | 1255858.2407
79 | 2691667.299 | 1255862.0456 | 2691665.5953 | 1255862.9795
80 | 2691659.6027 | 1255866.2644 | 2691665.5953 | 1255862.9795
81 | 2691644.1718 | 1255874.723 | 2691659.6027 | 1255866.2644
82 | 2691644.1718 | 1255874.723 | 2691642.809 | 1255875.47
83 | 2691642.1822 | 1255875.8136 | 2691642.809 | 1255875.47
84 | 2691635.1111 | 1255879.6897 | 2691642.1822 | 1255875.8136
85 | 2691635.1111 | 1255879.6897 | 2691621.9644 | 1255886.8962 | 2691611.7308 | 1255894.4545
86 | 2691611.1748 | 1255894.8651 | 2691611.7308 | 1255894.4545
87 | 2691566.7889 | 1255941.3233 | 2691573.7065 | 1255931.5402 | 2691582.1134 | 1255922.2571
88 | 2691565.2869 | 1255943.4475 | 2691566.7889 | 1255941.3233
89 | 2691565.2869 | 1255943.4475 | 2691562.6083 | 1255947.2356
90 | 2691562.6083 | 1255947.2356 | 2691558.4371 | 1255953.1346

## bus_geodata
| x | y | coords
0 | 2691502.7957 | 1255850.4938
1 | 2691522.3024 | 1255864.6044
2 | 2691502.7232 | 1255850.4414
3 | 2691490.7031 | 1255841.7523
4 | 2691553.9586 | 1255838.9181
5 | 2691571.0399 | 1255852.2654
6 | 2691538.0926 | 1255826.5165
7 | 2691470.9834 | 1255820.8773
8 | 2691505.4762 | 1255801.0221
9 | 2691484.0335 | 1255784.2614
10 | 2691458.3587 | 1255820.2152
11 | 2691598.3255 | 1255904.3553
12 | 2691582.62 | 1255921.6977
13 | 2691605.1562 | 1255899.3103
14 | 2691230.39 | 1255596.4705
15 | 2691250.4909 | 1255593.7097
16 | 2691279.2877 | 1255638.9777
17 | 2691290.4779 | 1255662.2349
18 | 2691293.9079 | 1255629.175
19 | 2691256.0852 | 1255659.9393
20 | 2691298.4498 | 1255678.8097
21 | 2691305.4157 | 1255618.8241
22 | 2691437.5966 | 1255849.2954
23 | 2691426.0223 | 1255865.5068
24 | 2691449.8104 | 1255832.1882
25 | 2691418.8468 | 1255881.2861
26 | 2691444.6893 | 1255926.209
27 | 2691356.6606 | 1255840.3095
28 | 2691356.5443 | 1255840.2304
29 | 2691456.8098 | 1255909.2052
30 | 2691468.2859 | 1255944.2481
31 | 2691493.5315 | 1255770.9737
32 | 2691475.9787 | 1255951.045
33 | 2691431.2321 | 1255993.8529
34 | 2691540.9646 | 1255977.8447
35 | 2691552.1285 | 1255962.0563
36 | 2691311.3136 | 1255796.4006
37 | 2691328.0937 | 1255758.2342
38 | 2691351.7024 | 1255762.2571
39 | 2691334.3622 | 1255744.0656
40 | 2691373.2857 | 1255747.298
41 | 2691359.7613 | 1255773.4395
42 | 2691335.5111 | 1255741.4689
43 | 2691337.6951 | 1255724.5894
44 | 2691307.7635 | 1255698.1739
45 | 2691351.7201 | 1255692.7107
46 | 2691286.9528 | 1255710.6926
47 | 2691325.4608 | 1255877.9982
48 | 2691339.9766 | 1255828.9504
49 | 2691358.4886 | 1255886.6156
50 | 2691367.5132 | 1255790.1005
51 | 2691387.3409 | 1255737.5566
52 | 2691360.1707 | 1255673.5185
53 | 2691338.4686 | 1255659.8175
54 | 2691377.4414 | 1255788.0632
55 | 2691391.3303 | 1255780.3811
56 | 2691408.5593 | 1255722.9468
57 | 2691392.6227 | 1255779.6662
58 | 2691423.1115 | 1255764.7649
59 | 2691424.8995 | 1255762.535
60 | 2691512.8877 | 1255743.8941
61 | 2691442.1732 | 1255740.9923
62 | 2691466.16 | 1255702.9765
63 | 2691471.3099 | 1255702.4605
64 | 2691451.0576 | 1255704.4899
65 | 2691495.5654 | 1255705.8228
66 | 2691451.223 | 1255693.5582
67 | 2691526.4852 | 1255724.871
68 | 2691454.8586 | 1255682.7225
69 | 2691551.5094 | 1255740.281
70 | 2691578.1752 | 1255752.7158
71 | 2691639.5309 | 1255768.0833
72 | 2691375.5987 | 1255638.1512
73 | 2691657.1226 | 1255771.9838
74 | 2691669.6102 | 1255811.2021
75 | 2691670.1073 | 1255812.7632
76 | 2691671.2808 | 1255816.4488
77 | 2691674.2403 | 1255858.2407
78 | 2691667.299 | 1255862.0456
79 | 2691665.5953 | 1255862.9795
80 | 2691659.6027 | 1255866.2644
81 | 2691644.1718 | 1255874.723
82 | 2691642.809 | 1255875.47
83 | 2691642.1822 | 1255875.8136
84 | 2691635.1111 | 1255879.6897
85 | 2691611.7308 | 1255894.4545
86 | 2691611.1748 | 1255894.8651
87 | 2691582.1134 | 1255922.2571
88 | 2691566.7889 | 1255941.3233
89 | 2691565.2869 | 1255943.4475
90 | 2691562.6083 | 1255947.2356
91 | 2691558.4371 | 1255953.1346
92 | 2691367.5132 | 1255790.1005

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1