## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_64-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_64-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_64-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_64-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_64-1_0_4_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_64-1_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_64-1_0_4_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_64-1_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_64-1_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_64-1_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_64-1_0_4_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_64-1_0_4_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_64-1_0_4_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_64-1_0_4_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_64-1_0_4_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_64-1_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_64-1_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_64-1_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_64-1_0_4_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_64-1_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_64-1_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_64-1_0_4_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_64-1_0_4_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_64-1_0_4_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_64-1_0_4_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_64-1_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_64-1_0_4_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_64-1_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_64-1_0_4_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_64-1_0_4_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_64-1_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_64-1_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_64-1_0_4_node_113 | 0.4 | n |  | TRUE
33 | bus_LV_64-1_0_4_node_114 | 0.4 | n |  | TRUE
34 | bus_LV_64-1_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_64-1_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_64-1_0_4_node_107 | 0.4 | n |  | TRUE
37 | bus_LV_64-1_0_4_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_64-1_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_64-1_0_4_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_64-1_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_64-1_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_64-1_0_4_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_64-1_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_64-1_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_64-1_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_64-1_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_64-1_0_4_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_64-1_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_64-1_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_64-1_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_64-1_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_64-1_0_4_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_64-1_0_4_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_64-1_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_64-1_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_64-1_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_64-1_0_4_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_64-1_0_4_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_64-1_0_4_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_64-1_0_4_node_90 | 0.4 | n |  | TRUE
61 | bus_LV_64-1_0_4_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_64-1_0_4_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_64-1_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_64-1_0_4_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_64-1_0_4_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_64-1_0_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_64-1_0_4_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_64-1_0_4_node_109 | 0.4 | n |  | TRUE
69 | bus_LV_64-1_0_4_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_64-1_0_4_node_26 | 0.4 | n |  | TRUE
71 | bus_LV_64-1_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_64-1_0_4_node_33 | 0.4 | n |  | TRUE
73 | bus_LV_64-1_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_64-1_0_4_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_64-1_0_4_node_38 | 0.4 | n |  | TRUE
76 | bus_LV_64-1_0_4_node_24 | 0.4 | n |  | TRUE
77 | bus_LV_64-1_0_4_node_25 | 0.4 | n |  | TRUE
78 | bus_LV_64-1_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_64-1_0_4_node_27 | 0.4 | n |  | TRUE
80 | bus_LV_64-1_0_4_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_64-1_0_4_node_39 | 0.4 | n |  | TRUE
82 | bus_LV_64-1_0_4_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_64-1_0_4_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_64-1_0_4_node_28 | 0.4 | n |  | TRUE
85 | bus_LV_64-1_0_4_node_29 | 0.4 | n |  | TRUE
86 | bus_LV_64-1_0_4_node_30 | 0.4 | n |  | TRUE
87 | bus_LV_64-1_0_4_node_31 | 0.4 | n |  | TRUE
88 | bus_LV_64-1_0_4_node_34 | 0.4 | n |  | TRUE
89 | bus_LV_64-1_0_4_node_41 | 0.4 | n |  | TRUE
90 | bus_LV_64-1_0_4_node_37 | 0.4 | n |  | TRUE
91 | bus_LV_64-1_0_4_node_52 | 0.4 | n |  | TRUE
92 | bus_LV_64-1_0_4_node_105 | 0.4 | n |  | TRUE
93 | bus_LV_64-1_0_4_node_43 | 0.4 | n |  | TRUE
94 | bus_LV_64-1_0_4_node_45 | 0.4 | n |  | TRUE
95 | bus_LV_64-1_0_4_node_67 | 0.4 | n |  | TRUE
96 | bus_LV_64-1_0_4_node_65 | 0.4 | n |  | TRUE
97 | bus_LV_64-1_0_4_node_66 | 0.4 | n |  | TRUE
98 | bus_LV_64-1_0_4_node_59 | 0.4 | n |  | TRUE
99 | bus_LV_64-1_0_4_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_64-1_0_4_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_64-1_0_4_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_64-1_0_4_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_64-1_0_4_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_64-1_0_4_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_64-1_0_4_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_64-1_0_4_node_101 | 0.4 | n |  | TRUE
107 | bus_LV_64-1_0_4_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_64-1_0_4_node_99 | 0.4 | n |  | TRUE
109 | bus_MV_457_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_64-1_0_4_load_0 | 0 | 0.0064 | 0.001604 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_64-1_0_4_load_2 | 2 | 0.001009 | 0.00025289 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_64-1_0_4_load_53 | 4 | 0.00075854 | 0.00019011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_64-1_0_4_load_50 | 6 | 0.02141 | 0.0053658 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_64-1_0_4_load_47 | 8 | 0.010372 | 0.0025996 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_64-1_0_4_load_48 | 11 | 0.0027917 | 0.00069967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_64-1_0_4_load_91 | 12 | 0.0020264 | 0.00050787 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_64-1_0_4_load_92 | 13 | 0.0039804 | 0.00099758 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_64-1_0_4_load_86 | 14 | 0.0056459 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_64-1_0_4_load_64 | 18 | 0.0029086 | 0.00072895 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_64-1_0_4_load_79 | 21 | 0.013978 | 0.0035031 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_64-1_0_4_load_82 | 22 | 0.014513 | 0.0036373 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_64-1_0_4_load_112 | 23 | 0.0063097 | 0.0015814 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_64-1_0_4_load_111 | 24 | 0.0043467 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_64-1_0_4_load_78 | 28 | 0.011204 | 0.0028079 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_64-1_0_4_load_77 | 29 | 0.015157 | 0.0037986 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_64-1_0_4_load_113 | 32 | 0.0035408 | 0.0008874 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_64-1_0_4_load_114 | 33 | 0.01022 | 0.0025614 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_64-1_0_4_load_107 | 36 | 0.0026021 | 0.00065216 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_64-1_0_4_load_73 | 37 | 0.0048362 | 0.0012121 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_64-1_0_4_load_70 | 39 | 0.003898 | 0.00097694 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_64-1_0_4_load_68 | 40 | 0.0048125 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_64-1_0_4_load_63 | 42 | 0.0066586 | 0.0016688 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_64-1_0_4_load_62 | 43 | 0.0086483 | 0.0021675 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_64-1_0_4_load_36 | 45 | 0.011705 | 0.0029334 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_64-1_0_4_load_35 | 46 | 0.0069109 | 0.001732 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_64-1_0_4_load_56 | 49 | 0.0034595 | 0.00086703 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_64-1_0_4_load_106 | 53 | 0.0087817 | 0.0022009 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_64-1_0_4_load_46 | 54 | 0.0059168 | 0.0014829 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_64-1_0_4_load_42 | 56 | 0.0070349 | 0.0017631 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_64-1_0_4_load_96 | 57 | 0.0064588 | 0.0016187 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_64-1_0_4_load_89 | 58 | 0.020555 | 0.0051515 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_64-1_0_4_load_94 | 62 | 0.010975 | 0.0027505 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_64-1_0_4_load_110 | 65 | 0.012208 | 0.0030596 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_64-1_0_4_load_75 | 66 | 0.0013304 | 0.00033342 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_64-1_0_4_load_108 | 67 | 0.0093163 | 0.0023349 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_64-1_0_4_load_109 | 68 | 0.0078637 | 0.0019708 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_64-1_0_4_load_69 | 71 | 0.0035881 | 0.00089926 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_64-1_0_4_load_71 | 73 | 0.0033709 | 0.00084482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_64-1_0_4_load_24 | 76 | 0.019034 | 0.0047703 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_64-1_0_4_load_54 | 80 | 0.0024549 | 0.00061525 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_64-1_0_4_load_39 | 81 | 0.014911 | 0.003737 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_64-1_0_4_load_58 | 83 | 0.004563 | 0.0011436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_64-1_0_4_load_28 | 84 | 0.0095733 | 0.0023993 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_64-1_0_4_load_31 | 87 | 0.0026411 | 0.00066193 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_64-1_0_4_load_41 | 89 | 0.00032091 | 8.0427e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_64-1_0_4_load_37 | 90 | 0.0067275 | 0.0016861 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_64-1_0_4_load_105 | 92 | 0.0007786 | 0.00019513 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_64-1_0_4_load_43 | 93 | 0.013489 | 0.0033807 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_64-1_0_4_load_45 | 94 | 0.01345 | 0.0033709 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_64-1_0_4_load_67 | 95 | 0.0081776 | 0.0020495 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_64-1_0_4_load_65 | 96 | 0.0045724 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_64-1_0_4_load_66 | 97 | 0.0022611 | 0.00056668 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_64-1_0_4_load_59 | 98 | 0.0043945 | 0.0011014 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_64-1_0_4_load_76 | 99 | 0.003056 | 0.00076591 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_64-1_0_4_load_80 | 100 | 0.0081188 | 0.0020348 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_64-1_0_4_load_81 | 101 | 0.0074144 | 0.0018582 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_64-1_0_4_load_84 | 102 | 0.015679 | 0.0039296 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_64-1_0_4_load_102 | 104 | 0.0030694 | 0.00076926 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_64-1_0_4_load_93 | 105 | 0.0064893 | 0.0016264 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_64-1_0_4_load_101 | 106 | 0.0088036 | 0.0022064 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_64-1_0_4_load_98 | 107 | 0.009312 | 0.0023338 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_64-1_0_4_load_99 | 108 | 0.0028058 | 0.00070319 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_64-1_0_4_line_0 |  | 0 | 1 | 0.059199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_64-1_0_4_line_1 |  | 1 | 2 | 0.062496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_64-1_0_4_line_2 |  | 2 | 3 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_64-1_0_4_line_3 |  | 3 | 4 | 0.033356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_64-1_0_4_line_4 |  | 4 | 50 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_64-1_0_4_line_5 |  | 5 | 6 | 0.02848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_64-1_0_4_line_6 |  | 5 | 7 | 0.054182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_64-1_0_4_line_7 |  | 5 | 8 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_64-1_0_4_line_8 |  | 7 | 12 | 0.023597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_64-1_0_4_line_9 |  | 7 | 13 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_64-1_0_4_line_10 |  | 7 | 14 | 0.032954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_64-1_0_4_line_11 |  | 9 | 10 | 0.047539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_64-1_0_4_line_12 |  | 9 | 11 | 0.024061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_64-1_0_4_line_13 |  | 10 | 54 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_64-1_0_4_line_14 |  | 10 | 55 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_64-1_0_4_line_15 |  | 10 | 56 | 0.033034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_64-1_0_4_line_16 |  | 11 | 17 | 0.03534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_64-1_0_4_line_17 |  | 12 | 57 | 0.047274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_64-1_0_4_line_18 |  | 14 | 16 | 0.05545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_64-1_0_4_line_19 |  | 15 | 16 | 0.021483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_64-1_0_4_line_20 |  | 15 | 17 | 0.034595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_64-1_0_4_line_21 |  | 15 | 18 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_64-1_0_4_line_22 |  | 16 | 22 | 0.02064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_64-1_0_4_line_23 |  | 19 | 20 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_64-1_0_4_line_24 |  | 19 | 21 | 0.0099369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_64-1_0_4_line_25 |  | 20 | 23 | 0.0059568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_64-1_0_4_line_26 |  | 20 | 24 | 0.0021892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_64-1_0_4_line_27 |  | 21 | 28 | 0.03504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_64-1_0_4_line_28 |  | 22 | 59 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_64-1_0_4_line_29 |  | 23 | 32 | 0.021963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_64-1_0_4_line_30 |  | 24 | 25 | 0.041264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_64-1_0_4_line_31 |  | 25 | 26 | 0.032937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_64-1_0_4_line_32 |  | 26 | 58 | 0.0091411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_64-1_0_4_line_33 |  | 27 | 28 | 0.027324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_64-1_0_4_line_34 |  | 27 | 29 | 0.03741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_64-1_0_4_line_35 |  | 29 | 66 | 0.0045459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_64-1_0_4_line_36 |  | 30 | 31 | 0.07383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_64-1_0_4_line_37 |  | 30 | 32 | 0.037474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_64-1_0_4_line_38 |  | 31 | 33 | 0.072392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_64-1_0_4_line_39 |  | 34 | 35 | 0.025297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_64-1_0_4_line_40 |  | 34 | 36 | 0.0088737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_64-1_0_4_line_41 |  | 35 | 37 | 0.018145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_64-1_0_4_line_42 |  | 36 | 53 | 0.02894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_64-1_0_4_line_43 |  | 37 | 69 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_64-1_0_4_line_44 |  | 38 | 39 | 0.019917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_64-1_0_4_line_45 |  | 38 | 40 | 0.023379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_64-1_0_4_line_46 |  | 39 | 70 | 0.012644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_64-1_0_4_line_47 |  | 40 | 71 | 0.03555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_64-1_0_4_line_48 |  | 41 | 42 | 0.030168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_64-1_0_4_line_49 |  | 41 | 43 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_64-1_0_4_line_50 |  | 42 | 52 | 0.017239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_64-1_0_4_line_51 |  | 44 | 45 | 0.038296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_64-1_0_4_line_52 |  | 44 | 46 | 0.0059766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_64-1_0_4_line_53 |  | 46 | 72 | 0.062157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_64-1_0_4_line_54 |  | 47 | 48 | 0.03807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_64-1_0_4_line_55 |  | 47 | 49 | 0.017978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_64-1_0_4_line_56 |  | 48 | 73 | 0.007317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_64-1_0_4_line_57 |  | 48 | 71 | 0.034059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_64-1_0_4_line_58 |  | 49 | 74 | 0.015776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_64-1_0_4_line_59 |  | 50 | 91 | 0.024013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_64-1_0_4_line_60 |  | 51 | 52 | 0.008762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_64-1_0_4_line_61 |  | 51 | 53 | 0.028471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_64-1_0_4_line_62 |  | 52 | 82 | 0.004064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_64-1_0_4_line_63 |  | 54 | 96 | 0.02814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_64-1_0_4_line_64 |  | 55 | 72 | 0.025261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_64-1_0_4_line_65 |  | 55 | 87 | 0.017412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_64-1_0_4_line_66 |  | 56 | 93 | 0.0065394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_64-1_0_4_line_67 |  | 58 | 63 | 0.054359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_64-1_0_4_line_68 |  | 59 | 102 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_64-1_0_4_line_69 |  | 59 | 103 | 0.059136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_64-1_0_4_line_70 |  | 60 | 61 | 0.064303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_64-1_0_4_line_71 |  | 60 | 62 | 0.031505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_64-1_0_4_line_72 |  | 60 | 63 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_64-1_0_4_line_73 |  | 61 | 64 | 0.031952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_64-1_0_4_line_74 |  | 61 | 65 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_64-1_0_4_line_75 |  | 62 | 105 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_64-1_0_4_line_76 |  | 63 | 102 | 0.020124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_64-1_0_4_line_77 |  | 64 | 106 | 0.0074801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_64-1_0_4_line_78 |  | 64 | 107 | 0.018673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_64-1_0_4_line_79 |  | 65 | 68 | 0.00068649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_64-1_0_4_line_80 |  | 66 | 69 | 0.048319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_64-1_0_4_line_81 |  | 67 | 68 | 0.041343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_64-1_0_4_line_82 |  | 69 | 99 | 0.0080319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_64-1_0_4_line_83 |  | 70 | 78 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_64-1_0_4_line_84 |  | 70 | 77 | 0.084821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_64-1_0_4_line_85 |  | 74 | 75 | 0.006105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_64-1_0_4_line_86 |  | 75 | 81 | 0.039375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_64-1_0_4_line_87 |  | 76 | 77 | 0.084154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_64-1_0_4_line_88 |  | 78 | 82 | 0.037432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_64-1_0_4_line_89 |  | 78 | 83 | 0.028158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_64-1_0_4_line_90 |  | 79 | 80 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_64-1_0_4_line_91 |  | 79 | 81 | 0.030251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_64-1_0_4_line_92 |  | 83 | 98 | 0.02708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_64-1_0_4_line_93 |  | 84 | 85 | 0.0015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_64-1_0_4_line_94 |  | 84 | 86 | 0.0046167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_64-1_0_4_line_95 |  | 85 | 87 | 0.030138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_64-1_0_4_line_96 |  | 86 | 88 | 0.045886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_64-1_0_4_line_97 |  | 88 | 89 | 0.016233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_64-1_0_4_line_98 |  | 88 | 90 | 0.041416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_64-1_0_4_line_99 |  | 89 | 91 | 0.01002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_64-1_0_4_line_100 |  | 91 | 92 | 0.068816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_64-1_0_4_line_101 |  | 93 | 94 | 0.020403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_64-1_0_4_line_102 |  | 94 | 95 | 0.0032662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_64-1_0_4_line_103 |  | 96 | 97 | 0.0091149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_64-1_0_4_line_104 |  | 99 | 100 | 0.0095902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_64-1_0_4_line_105 |  | 100 | 101 | 0.0082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_64-1_0_4_line_106 |  | 103 | 104 | 0.10204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_64-1_0_4_line_107 |  | 107 | 108 | 0.006482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_64-1_0_4_trafo_64 | 0.63 MVA 20/0.4 kV | 109 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2690820.0442 | 1255675.3454 | 2690812.3351 | 1255701.8701 | 2690842.1933 | 1255712.1458
1 | 2690820.0442 | 1255675.3454 | 2690879.9702 | 1255693.0831
2 | 2690900.1225 | 1255699.048 | 2690879.9702 | 1255693.0831
3 | 2690900.1225 | 1255699.048 | 2690891.0584 | 1255731.1489
4 | 2690886.8666 | 1255747.3266 | 2690889.5527 | 1255736.4816 | 2690891.0584 | 1255731.1489
5 | 2690953.8235 | 1255709.3583 | 2690943.1136 | 1255735.7478
6 | 2690953.8235 | 1255709.3583 | 2690955.8227 | 1255704.4408 | 2690987.0303 | 1255713.7052 | 2690998.158 | 1255717.0565 | 2690999.5321 | 1255712.563
7 | 2690953.8235 | 1255709.3583 | 2690970.0235 | 1255713.9629
8 | 2690999.5321 | 1255712.563 | 2691004.4563 | 1255705.3108 | 2691018.0591 | 1255699.4023
9 | 2690999.5321 | 1255712.563 | 2690986.2636 | 1255708.7784
10 | 2690999.5321 | 1255712.563 | 2691031.2265 | 1255721.5853
11 | 2691030.1994 | 1255803.5275 | 2691012.1099 | 1255798.1897 | 2690984.3885 | 1255790.3465
12 | 2691030.1994 | 1255803.5275 | 2691036.9793 | 1255780.4419
13 | 2690984.3885 | 1255790.3465 | 2690985.7068 | 1255783.5948 | 2690990.8446 | 1255771.2478
14 | 2690961.5374 | 1255796.4113 | 2690965.4567 | 1255793.6694 | 2690974.4796 | 1255790.1608 | 2690984.3885 | 1255790.3465
15 | 2690984.3885 | 1255790.3465 | 2690980.6584 | 1255809.7265 | 2690988.3214 | 1255820.5952
16 | 2691045.63 | 1255746.3534 | 2691045.863 | 1255748.859 | 2691045.0532 | 1255752.9497 | 2691036.9793 | 1255780.4419
17 | 2691018.0591 | 1255699.4023 | 2691031.0355 | 1255693.7659 | 2691033.7897 | 1255683.4113 | 2691038.0171 | 1255678.3056 | 2691044.371 | 1255680.1158 | 2691050.2522 | 1255687.1594
18 | 2691084.5576 | 1255736.7668 | 2691031.2265 | 1255721.5853
19 | 2691078.4248 | 1255757.3552 | 2691081.2038 | 1255748.3353 | 2691083.1157 | 1255741.7374 | 2691084.5576 | 1255736.7668
20 | 2691045.63 | 1255746.3534 | 2691051.9993 | 1255748.6198 | 2691058.4436 | 1255750.9207 | 2691078.4248 | 1255757.3552
21 | 2691078.4248 | 1255757.3552 | 2691075.5363 | 1255771.8627
22 | 2691084.5576 | 1255736.7668 | 2691084.4284 | 1255731.9277 | 2691088.2012 | 1255716.586
23 | 2691198.0763 | 1255792.1014 | 2691201.2324 | 1255787.0127 | 2691204.5122 | 1255781.7258
24 | 2691198.0763 | 1255792.1014 | 2691189.7867 | 1255786.6219
25 | 2691204.5122 | 1255781.7258 | 2691209.4969 | 1255784.987
26 | 2691204.5122 | 1255781.7258 | 2691202.5966 | 1255780.666
27 | 2691159.2335 | 1255769.9845 | 2691169.7566 | 1255774.1403 | 2691179.5359 | 1255778.8278 | 2691188.4138 | 1255785.7143 | 2691189.7867 | 1255786.6219
28 | 2691098.6421 | 1255695.0398 | 2691092.0972 | 1255700.7436 | 2691088.2012 | 1255716.586
29 | 2691227.8817 | 1255797.0026 | 2691225.6613 | 1255795.5623 | 2691209.4969 | 1255784.987
30 | 2691165.8096 | 1255762.0256 | 2691185.9257 | 1255771.4427 | 2691202.5966 | 1255780.666
31 | 2691151.4848 | 1255742.4454 | 2691170.6533 | 1255751.1917 | 2691165.8096 | 1255762.0256
32 | 2691151.4848 | 1255742.4454 | 2691145.395 | 1255739.6606 | 2691143.0883 | 1255738.8506
33 | 2691133.4261 | 1255761.0598 | 2691149.0706 | 1255765.971 | 2691159.2335 | 1255769.9845
34 | 2691133.4261 | 1255761.0598 | 2691132.8072 | 1255771.8587 | 2691137.5927 | 1255789.7796 | 2691134.7912 | 1255797.3201 | 2691134.7912 | 1255797.3201
35 | 2691134.7912 | 1255797.3201 | 2691134.9891 | 1255801.8617
36 | 2691259.8174 | 1255816.5716 | 2691263.2721 | 1255817.559 | 2691268.5987 | 1255816.0176 | 2691275.0912 | 1255810.7803 | 2691280.0568 | 1255806.7314 | 2691283.4182 | 1255810.8309 | 2691297.7868 | 1255799.1766 | 2691303.2133 | 1255791.6544 | 2691306.9208 | 1255783.5831 | 2691310.2537 | 1255776.3288
37 | 2691259.8174 | 1255816.5716 | 2691247.0139 | 1255809.4132 | 2691227.8817 | 1255797.0026
38 | 2691261.8561 | 1255741.122 | 2691277.1652 | 1255733.0516 | 2691286.7351 | 1255752.2919 | 2691309.1907 | 1255775.8009 | 2691310.2537 | 1255776.3288
39 | 2691179.0716 | 1255866.2333 | 2691172.6862 | 1255870.8942 | 2691160.3446 | 1255883.2027
40 | 2691160.3446 | 1255883.2027 | 2691154.0606 | 1255889.468
41 | 2691179.0716 | 1255866.2333 | 2691166.6749 | 1255852.9826
42 | 2691128.5181 | 1255901.1802 | 2691139.8899 | 1255899.2225 | 2691148.999 | 1255894.5146 | 2691154.0606 | 1255889.468
43 | 2691156.7049 | 1255842.3259 | 2691166.6749 | 1255852.9826
44 | 2691046.7033 | 1255918.2929 | 2691050.6893 | 1255937.8072
45 | 2691046.7033 | 1255918.2929 | 2691023.8965 | 1255923.4358
46 | 2691053.2198 | 1255950.1957 | 2691050.6893 | 1255937.8072
47 | 2691023.8965 | 1255923.4358 | 2690989.2174 | 1255931.256
48 | 2691064.4839 | 1255874.5655 | 2691083.7982 | 1255897.7402
49 | 2691064.4839 | 1255874.5655 | 2691072.2668 | 1255862.6232
50 | 2691094.835 | 1255910.9829 | 2691083.7982 | 1255897.7402
51 | 2690952.9245 | 1255884.6478 | 2690946.9879 | 1255891.0394 | 2690935.7068 | 1255894.2575 | 2690928.6897 | 1255894.8836 | 2690917.894 | 1255894.755
52 | 2690952.9245 | 1255884.6478 | 2690950.1031 | 1255879.3791
53 | 2690950.3646 | 1255818.5792 | 2690948.5416 | 1255826.2683 | 2690945.2249 | 1255842.808 | 2690944.8408 | 1255856.5128 | 2690947.821 | 1255875.1175 | 2690950.1031 | 1255879.3791
54 | 2690930.5389 | 1255922.7893 | 2690937.9573 | 1255941.2065 | 2690952.4736 | 1255939.5059 | 2690955.9927 | 1255938.7482
55 | 2690930.5389 | 1255922.7893 | 2690927.7183 | 1255924.2249 | 2690920.433 | 1255925.1249 | 2690916.1816 | 1255924.4479 | 2690913.8536 | 1255922.2994
56 | 2690954.0949 | 1255931.6802 | 2690955.9927 | 1255938.7482
57 | 2690955.9927 | 1255938.7482 | 2690989.2174 | 1255931.256
58 | 2690901.9165 | 1255932.3796 | 2690907.4963 | 1255929.0738 | 2690913.8536 | 1255922.2994
59 | 2690886.8666 | 1255747.3266 | 2690884.181 | 1255758.1494 | 2690882.8153 | 1255770.9384
60 | 2691094.835 | 1255910.9829 | 2691097.703 | 1255910.3821 | 2691100.628 | 1255910.4939 | 2691103.4442 | 1255911.3045
61 | 2691103.4442 | 1255911.3045 | 2691107.903 | 1255905.8577 | 2691109.5155 | 1255904.5037 | 2691111.457 | 1255903.8219 | 2691117.7752 | 1255903.0296 | 2691128.5181 | 1255901.1802
62 | 2691091.245 | 1255912.907 | 2691094.835 | 1255910.9829
63 | 2690990.8446 | 1255771.2478 | 2690999.2104 | 1255751.1437 | 2691003.0115 | 1255746.0383
64 | 2690950.3646 | 1255818.5792 | 2690952.7075 | 1255810.4311 | 2690954.7047 | 1255805.1465 | 2690958.5948 | 1255799.4018 | 2690961.5374 | 1255796.4113
65 | 2690961.5374 | 1255796.4113 | 2690958.5169 | 1255792.6954 | 2690946.6076 | 1255788.509
66 | 2690992.0896 | 1255825.9397 | 2690988.3214 | 1255820.5952
67 | 2691130.4824 | 1255703.3806 | 2691119.4655 | 1255730.5545 | 2691143.0883 | 1255738.8506
68 | 2691098.6421 | 1255695.0398 | 2691106.3806 | 1255697.0604 | 2691111.0163 | 1255698.2766
69 | 2691082.7829 | 1255640.8425 | 2691084.1785 | 1255645.7345 | 2691085.1352 | 1255650.2305 | 2691087.9618 | 1255658.7027 | 2691090.8748 | 1255686.0689 | 2691095.2839 | 1255687.2932 | 2691098.6421 | 1255695.0398
70 | 2691145.3881 | 1255707.2908 | 2691158.7086 | 1255710.7875 | 2691176.5069 | 1255715.454 | 2691183.9221 | 1255717.403 | 2691186.4271 | 1255711.4925 | 2691190.1925 | 1255702.5991 | 2691193.4646 | 1255694.8768
71 | 2691145.3881 | 1255707.2908 | 2691147.8478 | 1255698.9333 | 2691145.2788 | 1255693.8231 | 2691148.0192 | 1255691.2299 | 2691152.4841 | 1255687.3623 | 2691155.5929 | 1255684.3634 | 2691156.6522 | 1255681.4779
72 | 2691130.4824 | 1255703.3806 | 2691144.1484 | 1255706.9715 | 2691145.3881 | 1255707.2908
73 | 2691193.4646 | 1255694.8768 | 2691197.3239 | 1255685.7625 | 2691200.0404 | 1255679.3438 | 2691205.0668 | 1255670.3697 | 2691207.4172 | 1255666.1693
74 | 2691193.4646 | 1255694.8768 | 2691212.7827 | 1255702.5002
75 | 2691163.1841 | 1255663.6855 | 2691156.6522 | 1255681.4779
76 | 2691130.4824 | 1255703.3806 | 2691128.4539 | 1255702.849 | 2691126.1023 | 1255702.2345 | 2691111.0163 | 1255698.2766
77 | 2691207.4172 | 1255666.1693 | 2691212.2867 | 1255660.4913
78 | 2691207.4172 | 1255666.1693 | 2691190.1372 | 1255659.0925
79 | 2691213.4213 | 1255702.7522 | 2691212.7827 | 1255702.5002
80 | 2691156.7049 | 1255842.3259 | 2691143.8775 | 1255829.3628 | 2691135.6718 | 1255817.5272 | 2691134.9891 | 1255801.8617
81 | 2691245.6197 | 1255724.9489 | 2691232.413 | 1255719.6961 | 2691226.0723 | 1255707.7446 | 2691213.4213 | 1255702.7522
82 | 2691156.7049 | 1255842.3259 | 2691163.4015 | 1255837.8911
83 | 2691067.2069 | 1255941.226 | 2691064.8705 | 1255943.5475 | 2691053.2198 | 1255950.1957
84 | 2691053.2198 | 1255950.1957 | 2691059.8575 | 1255975.6954 | 2691061.1393 | 1255980.6301 | 2691063.6818 | 1255993.8351 | 2691064.0988 | 1256007.4187 | 2691063.3677 | 1256016.2032 | 2691062.9618 | 1256021.0119 | 2691060.3042 | 1256033.4251
85 | 2690901.9165 | 1255932.3796 | 2690896.1237 | 1255930.4002
86 | 2690896.1237 | 1255930.4002 | 2690858.4989 | 1255918.7913
87 | 2691060.3042 | 1256033.4251 | 2691054.5047 | 1256032.3796 | 2691046.7698 | 1256028.68 | 2691043.976 | 1256022.9881 | 2691041.8518 | 1256006.6205 | 2691035.4606 | 1255989.609 | 2691008.0672 | 1255998.0646
88 | 2691091.245 | 1255912.907 | 2691086.9421 | 1255916.0655 | 2691076.4611 | 1255931.9834 | 2691067.2069 | 1255941.226
89 | 2691067.2069 | 1255941.226 | 2691056.2012 | 1255926.5453 | 2691054.2785 | 1255916.9254
90 | 2690829.5923 | 1255909.8745 | 2690826.546 | 1255900.4649 | 2690826.1125 | 1255894.9985
91 | 2690829.5923 | 1255909.8745 | 2690856.6794 | 1255918.2299 | 2690858.4989 | 1255918.7913
92 | 2691054.2785 | 1255916.9254 | 2691052.195 | 1255906.5014 | 2691055.5506 | 1255901.6715 | 2691063.915 | 1255895.2109
93 | 2690921.939 | 1255786.3621 | 2690921.418 | 1255787.8373
94 | 2690919.8807 | 1255792.1906 | 2690921.418 | 1255787.8373
95 | 2690921.939 | 1255786.3621 | 2690923.9819 | 1255780.5556 | 2690946.6076 | 1255788.509
96 | 2690919.8807 | 1255792.1906 | 2690917.7828 | 1255798.1408 | 2690914.8489 | 1255806.4578 | 2690885.5674 | 1255797.0454
97 | 2690885.5674 | 1255797.0454 | 2690885.0628 | 1255793.0679 | 2690883.8278 | 1255780.9073
98 | 2690885.5674 | 1255797.0454 | 2690887.3848 | 1255806.9032 | 2690889.1391 | 1255816.4487 | 2690891.3616 | 1255828.4143 | 2690892.3495 | 1255837.8794
99 | 2690882.8153 | 1255770.9384 | 2690883.8278 | 1255780.9073
100 | 2690882.8153 | 1255770.9384 | 2690877.6182 | 1255770.9253 | 2690870.6625 | 1255768.5278 | 2690861.6487 | 1255763.5856 | 2690840.0239 | 1255755.1251 | 2690818.6613 | 1255746.7687
101 | 2690992.0896 | 1255825.9397 | 2691003.8461 | 1255842.6144
102 | 2691005.7282 | 1255845.2839 | 2691003.8461 | 1255842.6144
103 | 2691003.0115 | 1255746.0383 | 2691008.4548 | 1255738.7273
104 | 2691163.4015 | 1255837.8911 | 2691171.3973 | 1255832.5959
105 | 2691178.234 | 1255828.0684 | 2691171.3973 | 1255832.5959
106 | 2691082.7829 | 1255640.8425 | 2691094.1182 | 1255638.0591 | 2691103.8597 | 1255632.9717 | 2691128.5955 | 1255618.7078 | 2691164.874 | 1255597.027 | 2691171.6846 | 1255591.8463
107 | 2691190.1372 | 1255659.0925 | 2691184.1388 | 1255656.6359

## bus_geodata
| x | y | coords
0 | 2690842.1933 | 1255712.1458
1 | 2690820.0442 | 1255675.3454
2 | 2690879.9702 | 1255693.0831
3 | 2690900.1225 | 1255699.048
4 | 2690891.0584 | 1255731.1489
5 | 2690953.8235 | 1255709.3583
6 | 2690943.1136 | 1255735.7478
7 | 2690999.5321 | 1255712.563
8 | 2690970.0235 | 1255713.9629
9 | 2691030.1994 | 1255803.5275
10 | 2690984.3885 | 1255790.3465
11 | 2691036.9793 | 1255780.4419
12 | 2691018.0591 | 1255699.4023
13 | 2690986.2636 | 1255708.7784
14 | 2691031.2265 | 1255721.5853
15 | 2691078.4248 | 1255757.3552
16 | 2691084.5576 | 1255736.7668
17 | 2691045.63 | 1255746.3534
18 | 2691075.5363 | 1255771.8627
19 | 2691198.0763 | 1255792.1014
20 | 2691204.5122 | 1255781.7258
21 | 2691189.7867 | 1255786.6219
22 | 2691088.2012 | 1255716.586
23 | 2691209.4969 | 1255784.987
24 | 2691202.5966 | 1255780.666
25 | 2691165.8096 | 1255762.0256
26 | 2691151.4848 | 1255742.4454
27 | 2691133.4261 | 1255761.0598
28 | 2691159.2335 | 1255769.9845
29 | 2691134.7912 | 1255797.3201
30 | 2691259.8174 | 1255816.5716
31 | 2691310.2537 | 1255776.3288
32 | 2691227.8817 | 1255797.0026
33 | 2691261.8561 | 1255741.122
34 | 2691160.3446 | 1255883.2026
35 | 2691179.0716 | 1255866.2333
36 | 2691154.0606 | 1255889.468
37 | 2691166.6749 | 1255852.9826
38 | 2691046.7033 | 1255918.2929
39 | 2691050.6893 | 1255937.8072
40 | 2691023.8965 | 1255923.4358
41 | 2691064.4839 | 1255874.5655
42 | 2691083.7982 | 1255897.7402
43 | 2691072.2668 | 1255862.6232
44 | 2690952.9245 | 1255884.6478
45 | 2690917.894 | 1255894.755
46 | 2690950.1031 | 1255879.3791
47 | 2690930.5389 | 1255922.7893
48 | 2690955.9927 | 1255938.7482
49 | 2690913.8536 | 1255922.2994
50 | 2690886.8666 | 1255747.3266
51 | 2691103.4442 | 1255911.3045
52 | 2691094.835 | 1255910.9829
53 | 2691128.5181 | 1255901.1802
54 | 2690990.8446 | 1255771.2478
55 | 2690961.5374 | 1255796.4113
56 | 2690988.3214 | 1255820.5952
57 | 2691050.2522 | 1255687.1594
58 | 2691143.0883 | 1255738.8506
59 | 2691098.6421 | 1255695.0398
60 | 2691145.3881 | 1255707.2908
61 | 2691193.4646 | 1255694.8768
62 | 2691156.6522 | 1255681.4779
63 | 2691130.4824 | 1255703.3806
64 | 2691207.4172 | 1255666.1693
65 | 2691212.7827 | 1255702.5002
66 | 2691134.9891 | 1255801.8617
67 | 2691245.6197 | 1255724.9489
68 | 2691213.4213 | 1255702.7522
69 | 2691156.7049 | 1255842.3259
70 | 2691053.2199 | 1255950.1957
71 | 2690989.2174 | 1255931.256
72 | 2690950.3646 | 1255818.5792
73 | 2690954.0949 | 1255931.6802
74 | 2690901.9165 | 1255932.3796
75 | 2690896.1237 | 1255930.4002
76 | 2691008.0672 | 1255998.0646
77 | 2691060.3042 | 1256033.4251
78 | 2691067.2069 | 1255941.226
79 | 2690829.5923 | 1255909.8745
80 | 2690826.1125 | 1255894.9985
81 | 2690858.4989 | 1255918.7913
82 | 2691091.245 | 1255912.907
83 | 2691054.2785 | 1255916.9254
84 | 2690921.418 | 1255787.8373
85 | 2690921.939 | 1255786.3621
86 | 2690919.8807 | 1255792.1906
87 | 2690946.6076 | 1255788.509
88 | 2690885.5674 | 1255797.0454
89 | 2690883.8278 | 1255780.9073
90 | 2690892.3495 | 1255837.8794
91 | 2690882.8153 | 1255770.9384
92 | 2690818.6613 | 1255746.7687
93 | 2690992.0896 | 1255825.9397
94 | 2691003.8461 | 1255842.6144
95 | 2691005.7282 | 1255845.2839
96 | 2691003.0115 | 1255746.0383
97 | 2691008.4548 | 1255738.7273
98 | 2691063.915 | 1255895.2109
99 | 2691163.4015 | 1255837.8911
100 | 2691171.3973 | 1255832.5959
101 | 2691178.234 | 1255828.0684
102 | 2691111.0163 | 1255698.2766
103 | 2691082.7829 | 1255640.8425
104 | 2691171.6846 | 1255591.8463
105 | 2691163.1841 | 1255663.6855
106 | 2691212.2867 | 1255660.4913
107 | 2691190.1372 | 1255659.0925
108 | 2691184.1388 | 1255656.6359
109 | 2691078.4248 | 1255757.3552

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1