## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_64-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_64-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_64-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_64-7_0_6_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_64-7_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_64-7_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_64-7_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_64-7_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_64-7_0_6_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_64-7_0_6_node_178 | 0.4 | n |  | TRUE
10 | bus_LV_64-7_0_6_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_64-7_0_6_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_64-7_0_6_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_64-7_0_6_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_64-7_0_6_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_64-7_0_6_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_64-7_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_64-7_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_64-7_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_64-7_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_64-7_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_64-7_0_6_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_64-7_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_64-7_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_64-7_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_64-7_0_6_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_64-7_0_6_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_64-7_0_6_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_64-7_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_64-7_0_6_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_64-7_0_6_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_64-7_0_6_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_64-7_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_64-7_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_64-7_0_6_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_64-7_0_6_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_64-7_0_6_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_64-7_0_6_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_64-7_0_6_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_64-7_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_64-7_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_64-7_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_64-7_0_6_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_64-7_0_6_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_64-7_0_6_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_64-7_0_6_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_64-7_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_64-7_0_6_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_64-7_0_6_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_64-7_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_64-7_0_6_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_64-7_0_6_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_64-7_0_6_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_64-7_0_6_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_64-7_0_6_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_64-7_0_6_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_64-7_0_6_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_64-7_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_64-7_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_64-7_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_64-7_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_64-7_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_64-7_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_64-7_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_64-7_0_6_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_64-7_0_6_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_64-7_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_64-7_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_64-7_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_64-7_0_6_node_150 | 0.4 | n |  | TRUE
70 | bus_LV_64-7_0_6_node_149 | 0.4 | n |  | TRUE
71 | bus_LV_64-7_0_6_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_64-7_0_6_node_129 | 0.4 | n |  | TRUE
73 | bus_LV_64-7_0_6_node_125 | 0.4 | n |  | TRUE
74 | bus_LV_64-7_0_6_node_137 | 0.4 | n |  | TRUE
75 | bus_LV_64-7_0_6_node_118 | 0.4 | n |  | TRUE
76 | bus_LV_64-7_0_6_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_64-7_0_6_node_177 | 0.4 | n |  | TRUE
78 | bus_LV_64-7_0_6_node_175 | 0.4 | n |  | TRUE
79 | bus_LV_64-7_0_6_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_64-7_0_6_node_51 | 0.4 | n |  | TRUE
81 | bus_LV_64-7_0_6_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_64-7_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_64-7_0_6_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_64-7_0_6_node_176 | 0.4 | n |  | TRUE
85 | bus_LV_64-7_0_6_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_64-7_0_6_node_119 | 0.4 | n |  | TRUE
87 | bus_LV_64-7_0_6_node_127 | 0.4 | n |  | TRUE
88 | bus_LV_64-7_0_6_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_64-7_0_6_node_103 | 0.4 | n |  | TRUE
90 | bus_LV_64-7_0_6_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_64-7_0_6_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_64-7_0_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_64-7_0_6_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_64-7_0_6_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_64-7_0_6_node_172 | 0.4 | n |  | TRUE
96 | bus_LV_64-7_0_6_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_64-7_0_6_node_168 | 0.4 | n |  | TRUE
98 | bus_LV_64-7_0_6_node_174 | 0.4 | n |  | TRUE
99 | bus_LV_64-7_0_6_node_128 | 0.4 | n |  | TRUE
100 | bus_LV_64-7_0_6_node_126 | 0.4 | n |  | TRUE
101 | bus_LV_64-7_0_6_node_159 | 0.4 | n |  | TRUE
102 | bus_LV_64-7_0_6_node_83 | 0.4 | n |  | TRUE
103 | bus_LV_64-7_0_6_node_84 | 0.4 | n |  | TRUE
104 | bus_LV_64-7_0_6_node_141 | 0.4 | n |  | TRUE
105 | bus_LV_64-7_0_6_node_140 | 0.4 | n |  | TRUE
106 | bus_LV_64-7_0_6_node_133 | 0.4 | n |  | TRUE
107 | bus_LV_64-7_0_6_node_87 | 0.4 | n |  | TRUE
108 | bus_LV_64-7_0_6_node_88 | 0.4 | n |  | TRUE
109 | bus_LV_64-7_0_6_node_89 | 0.4 | n |  | TRUE
110 | bus_LV_64-7_0_6_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_64-7_0_6_node_92 | 0.4 | n |  | TRUE
112 | bus_LV_64-7_0_6_node_93 | 0.4 | n |  | TRUE
113 | bus_LV_64-7_0_6_node_106 | 0.4 | n |  | TRUE
114 | bus_LV_64-7_0_6_node_94 | 0.4 | n |  | TRUE
115 | bus_LV_64-7_0_6_node_96 | 0.4 | n |  | TRUE
116 | bus_LV_64-7_0_6_node_105 | 0.4 | n |  | TRUE
117 | bus_LV_64-7_0_6_node_95 | 0.4 | n |  | TRUE
118 | bus_LV_64-7_0_6_node_109 | 0.4 | n |  | TRUE
119 | bus_LV_64-7_0_6_node_108 | 0.4 | n |  | TRUE
120 | bus_LV_64-7_0_6_node_124 | 0.4 | n |  | TRUE
121 | bus_LV_64-7_0_6_node_139 | 0.4 | n |  | TRUE
122 | bus_LV_64-7_0_6_node_154 | 0.4 | n |  | TRUE
123 | bus_LV_64-7_0_6_node_122 | 0.4 | n |  | TRUE
124 | bus_LV_64-7_0_6_node_148 | 0.4 | n |  | TRUE
125 | bus_LV_64-7_0_6_node_147 | 0.4 | n |  | TRUE
126 | bus_LV_64-7_0_6_node_101 | 0.4 | n |  | TRUE
127 | bus_LV_64-7_0_6_node_162 | 0.4 | n |  | TRUE
128 | bus_LV_64-7_0_6_node_163 | 0.4 | n |  | TRUE
129 | bus_LV_64-7_0_6_node_167 | 0.4 | n |  | TRUE
130 | bus_LV_64-7_0_6_node_166 | 0.4 | n |  | TRUE
131 | bus_LV_64-7_0_6_node_173 | 0.4 | n |  | TRUE
132 | bus_LV_64-7_0_6_node_164 | 0.4 | n |  | TRUE
133 | bus_LV_64-7_0_6_node_104 | 0.4 | n |  | TRUE
134 | bus_LV_64-7_0_6_node_107 | 0.4 | n |  | TRUE
135 | bus_LV_64-7_0_6_node_111 | 0.4 | n |  | TRUE
136 | bus_LV_64-7_0_6_node_112 | 0.4 | n |  | TRUE
137 | bus_LV_64-7_0_6_node_113 | 0.4 | n |  | TRUE
138 | bus_LV_64-7_0_6_node_114 | 0.4 | n |  | TRUE
139 | bus_LV_64-7_0_6_node_145 | 0.4 | n |  | TRUE
140 | bus_LV_64-7_0_6_node_131 | 0.4 | n |  | TRUE
141 | bus_LV_64-7_0_6_node_143 | 0.4 | n |  | TRUE
142 | bus_LV_64-7_0_6_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_64-7_0_6_node_115 | 0.4 | n |  | TRUE
144 | bus_LV_64-7_0_6_node_116 | 0.4 | n |  | TRUE
145 | bus_LV_64-7_0_6_node_117 | 0.4 | n |  | TRUE
146 | bus_LV_64-7_0_6_node_120 | 0.4 | n |  | TRUE
147 | bus_LV_64-7_0_6_node_121 | 0.4 | n |  | TRUE
148 | bus_LV_64-7_0_6_node_123 | 0.4 | n |  | TRUE
149 | bus_LV_64-7_0_6_node_136 | 0.4 | n |  | TRUE
150 | bus_LV_64-7_0_6_node_153 | 0.4 | n |  | TRUE
151 | bus_LV_64-7_0_6_node_132 | 0.4 | n |  | TRUE
152 | bus_LV_64-7_0_6_node_135 | 0.4 | n |  | TRUE
153 | bus_LV_64-7_0_6_node_134 | 0.4 | n |  | TRUE
154 | bus_LV_64-7_0_6_node_138 | 0.4 | n |  | TRUE
155 | bus_LV_64-7_0_6_node_142 | 0.4 | n |  | TRUE
156 | bus_LV_64-7_0_6_node_144 | 0.4 | n |  | TRUE
157 | bus_LV_64-7_0_6_node_146 | 0.4 | n |  | TRUE
158 | bus_LV_64-7_0_6_node_151 | 0.4 | n |  | TRUE
159 | bus_LV_64-7_0_6_node_152 | 0.4 | n |  | TRUE
160 | bus_LV_64-7_0_6_node_155 | 0.4 | n |  | TRUE
161 | bus_LV_64-7_0_6_node_156 | 0.4 | n |  | TRUE
162 | bus_LV_64-7_0_6_node_158 | 0.4 | n |  | TRUE
163 | bus_LV_64-7_0_6_node_157 | 0.4 | n |  | TRUE
164 | bus_LV_64-7_0_6_node_160 | 0.4 | n |  | TRUE
165 | bus_LV_64-7_0_6_node_161 | 0.4 | n |  | TRUE
166 | bus_LV_64-7_0_6_node_170 | 0.4 | n |  | TRUE
167 | bus_LV_64-7_0_6_node_171 | 0.4 | n |  | TRUE
168 | bus_LV_64-7_0_6_node_165 | 0.4 | n |  | TRUE
169 | bus_MV_26_1_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_64-7_0_6_load_0 | 0 | 0.0011577 | 0.00029014 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_64-7_0_6_load_1 | 1 | 0.0011882 | 0.00029779 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_64-7_0_6_load_2 | 2 | 0.0019146 | 0.00047984 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_64-7_0_6_load_4 | 4 | 0.0024942 | 0.00062511 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_64-7_0_6_load_6 | 5 | 0.0044479 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_64-7_0_6_load_7 | 6 | 0.0040307 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_64-7_0_6_load_178 | 9 | 0.0013098 | 0.00032826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_64-7_0_6_load_38 | 10 | 0.00095327 | 0.00023891 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_64-7_0_6_load_39 | 11 | 0.0028685 | 0.00071892 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_64-7_0_6_load_13 | 13 | 0.010616 | 0.0026606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_64-7_0_6_load_10 | 16 | 0.001406 | 0.00035237 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_64-7_0_6_load_11 | 17 | 0.024328 | 0.0060971 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_64-7_0_6_load_66 | 21 | 0.012731 | 0.0031906 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_64-7_0_6_load_19 | 24 | 0.0068624 | 0.0017199 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_64-7_0_6_load_59 | 25 | 0.0096948 | 0.0024297 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_64-7_0_6_load_68 | 27 | 0.0055053 | 0.0013798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_64-7_0_6_load_71 | 30 | 0.0012901 | 0.00032333 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_64-7_0_6_load_98 | 31 | 0.0062724 | 0.001572 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_64-7_0_6_load_23 | 33 | 0.0056898 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_64-7_0_6_load_64 | 34 | 0.0051822 | 0.0012988 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_64-7_0_6_load_62 | 35 | 0.006175 | 0.0015476 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_64-7_0_6_load_61 | 36 | 0.0042028 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_64-7_0_6_load_65 | 37 | 0.001643 | 0.00041176 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_64-7_0_6_load_20 | 38 | 0.0091256 | 0.0022871 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_64-7_0_6_load_35 | 40 | 0.0023954 | 0.00060033 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_64-7_0_6_load_32 | 41 | 0.0015059 | 0.00037742 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_64-7_0_6_load_74 | 44 | 0.0082045 | 0.0020562 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_64-7_0_6_load_85 | 45 | 0.0035286 | 0.00088436 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_64-7_0_6_load_30 | 49 | 0.0032869 | 0.00082377 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_64-7_0_6_load_70 | 50 | 0.00064522 | 0.00016171 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_64-7_0_6_load_72 | 51 | 0.0011592 | 0.00029053 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_64-7_0_6_load_63 | 52 | 0.0008976 | 0.00022496 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_64-7_0_6_load_69 | 54 | 0.0040703 | 0.0010201 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_64-7_0_6_load_73 | 55 | 0.0079682 | 0.001997 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_64-7_0_6_load_37 | 58 | 0.0046448 | 0.0011641 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_64-7_0_6_load_46 | 59 | 0.0023953 | 0.00060033 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_64-7_0_6_load_43 | 60 | 0.0025758 | 0.00064557 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_64-7_0_6_load_57 | 61 | 0.0047462 | 0.0011895 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_64-7_0_6_load_48 | 63 | 0.00086068 | 0.00021571 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_64-7_0_6_load_50 | 64 | 0.0023962 | 0.00060054 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_64-7_0_6_load_44 | 65 | 0.0025937 | 0.00065005 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_64-7_0_6_load_56 | 66 | 0.0014947 | 0.00037461 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_64-7_0_6_load_54 | 68 | 0.0014601 | 0.00036593 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_64-7_0_6_load_150 | 69 | 0.0042192 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_64-7_0_6_load_149 | 70 | 0.0028222 | 0.00070731 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_64-7_0_6_load_129 | 72 | 0.0039598 | 0.00099241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_64-7_0_6_load_125 | 73 | 0.0021514 | 0.0005392 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_64-7_0_6_load_137 | 74 | 0.0040548 | 0.0010162 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_64-7_0_6_load_118 | 75 | 0.0026854 | 0.00067304 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_64-7_0_6_load_49 | 76 | 0.0031684 | 0.00079409 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_64-7_0_6_load_177 | 77 | 0.00086013 | 0.00021557 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_64-7_0_6_load_175 | 78 | 0.0026749 | 0.0006704 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_64-7_0_6_load_52 | 79 | 0.0019105 | 0.00047883 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_64-7_0_6_load_53 | 81 | 0.0043122 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_64-7_0_6_load_81 | 82 | 0.0037859 | 0.00094884 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_64-7_0_6_load_82 | 83 | 0.0069408 | 0.0017395 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_64-7_0_6_load_176 | 84 | 0.0008607 | 0.00021571 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_64-7_0_6_load_60 | 85 | 0.0016348 | 0.00040971 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_64-7_0_6_load_127 | 87 | 0.0016292 | 0.0004083 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_64-7_0_6_load_102 | 88 | 0.0040053 | 0.0010038 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_64-7_0_6_load_103 | 89 | 0.0071164 | 0.0017835 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_64-7_0_6_load_75 | 90 | 0.010243 | 0.0025671 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_64-7_0_6_load_77 | 92 | 0.010243 | 0.0025672 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_64-7_0_6_load_172 | 95 | 0.0060793 | 0.0015236 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_64-7_0_6_load_174 | 98 | 0.0060807 | 0.001524 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_64-7_0_6_load_128 | 99 | 0.00079991 | 0.00020048 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_64-7_0_6_load_126 | 100 | 0.0031066 | 0.00077858 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_64-7_0_6_load_159 | 101 | 0.0057377 | 0.001438 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_64-7_0_6_load_83 | 102 | 0.0033767 | 0.00084627 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_64-7_0_6_load_84 | 103 | 0.00072308 | 0.00018122 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_64-7_0_6_load_141 | 104 | 0.0018547 | 0.00046483 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_64-7_0_6_load_140 | 105 | 0.0044004 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_64-7_0_6_load_133 | 106 | 0.0011283 | 0.00028278 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_64-7_0_6_load_87 | 107 | 0.0050893 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_64-7_0_6_load_88 | 108 | 0.0019818 | 0.00049668 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_64-7_0_6_load_90 | 110 | 0.0029756 | 0.00074576 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_64-7_0_6_load_92 | 111 | 0.0010139 | 0.00025411 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_64-7_0_6_load_93 | 112 | 0.0017195 | 0.00043094 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_64-7_0_6_load_106 | 113 | 0.002754 | 0.00069021 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_64-7_0_6_load_96 | 115 | 0.0045657 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_64-7_0_6_load_105 | 116 | 0.0011437 | 0.00028665 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_64-7_0_6_load_95 | 117 | 0.017521 | 0.0043912 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_64-7_0_6_load_108 | 119 | 0.0030385 | 0.00076152 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_64-7_0_6_load_139 | 121 | 0.0038718 | 0.00097036 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_64-7_0_6_load_154 | 122 | 0.00062229 | 0.00015596 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_64-7_0_6_load_122 | 123 | 0.0023532 | 0.00058978 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_64-7_0_6_load_148 | 124 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_64-7_0_6_load_147 | 125 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_64-7_0_6_load_163 | 128 | 0.014026 | 0.0035152 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_64-7_0_6_load_167 | 129 | 0.023776 | 0.0059588 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_64-7_0_6_load_173 | 131 | 0.011536 | 0.0028911 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_64-7_0_6_load_107 | 134 | 0.0033212 | 0.00083236 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_64-7_0_6_load_111 | 135 | 0.0044363 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_64-7_0_6_load_113 | 137 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_64-7_0_6_load_114 | 138 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_64-7_0_6_load_145 | 139 | 0.0020253 | 0.0005076 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_64-7_0_6_load_131 | 140 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_64-7_0_6_load_143 | 141 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_64-7_0_6_load_130 | 142 | 0.0011277 | 0.00028263 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_64-7_0_6_load_115 | 143 | 0.0033091 | 0.00082934 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_64-7_0_6_load_116 | 144 | 0.0026782 | 0.00067123 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_64-7_0_6_load_117 | 145 | 0.00098368 | 0.00024653 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_64-7_0_6_load_120 | 146 | 0.0026778 | 0.00067113 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_64-7_0_6_load_121 | 147 | 0.0014966 | 0.00037508 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_64-7_0_6_load_123 | 148 | 0.002111 | 0.00052908 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_64-7_0_6_load_153 | 150 | 0.00066889 | 0.00016764 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_64-7_0_6_load_132 | 151 | 0.0011277 | 0.00028263 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_64-7_0_6_load_135 | 152 | 0.002658 | 0.00066615 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_64-7_0_6_load_134 | 153 | 0.0039678 | 0.00099443 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_64-7_0_6_load_138 | 154 | 0.0014195 | 0.00035577 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_64-7_0_6_load_142 | 155 | 0.0014967 | 0.00037511 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_64-7_0_6_load_144 | 156 | 0.0028204 | 0.00070686 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_64-7_0_6_load_146 | 157 | 0.0028203 | 0.00070684 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_64-7_0_6_load_152 | 159 | 0.0019572 | 0.00049052 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_64-7_0_6_load_155 | 160 | 0.0055366 | 0.0013876 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_64-7_0_6_load_160 | 164 | 0.0093278 | 0.0023378 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_64-7_0_6_load_170 | 166 | 0.019646 | 0.0049238 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_64-7_0_6_load_171 | 167 | 0.011536 | 0.0028912 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_64-7_0_6_load_165 | 168 | 0.020174 | 0.0050561 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_64-7_0_6_line_0 |  | 0 | 1 | 0.0133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_64-7_0_6_line_1 |  | 0 | 2 | 0.016508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_64-7_0_6_line_2 |  | 0 | 3 | 0.29416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_64-7_0_6_line_3 |  | 2 | 4 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_64-7_0_6_line_4 |  | 3 | 7 | 0.039537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_64-7_0_6_line_5 |  | 3 | 8 | 0.33964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_64-7_0_6_line_6 |  | 3 | 5 | 0.045797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_64-7_0_6_line_7 |  | 5 | 6 | 0.048399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_64-7_0_6_line_8 |  | 7 | 9 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_64-7_0_6_line_9 |  | 8 | 15 | 0.004437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_64-7_0_6_line_10 |  | 8 | 10 | 0.089949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_64-7_0_6_line_11 |  | 10 | 11 | 0.004597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_64-7_0_6_line_12 |  | 12 | 13 | 0.023775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_64-7_0_6_line_13 |  | 12 | 14 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_64-7_0_6_line_14 |  | 13 | 18 | 0.025479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_64-7_0_6_line_15 |  | 14 | 22 | 0.023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_64-7_0_6_line_16 |  | 15 | 62 | 0.033924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_64-7_0_6_line_17 |  | 15 | 63 | 0.017898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_64-7_0_6_line_18 |  | 15 | 40 | 0.06165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_64-7_0_6_line_19 |  | 16 | 17 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_64-7_0_6_line_20 |  | 16 | 18 | 0.027831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_64-7_0_6_line_21 |  | 18 | 19 | 0.048882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_64-7_0_6_line_22 |  | 19 | 20 | 0.011219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_64-7_0_6_line_23 |  | 19 | 21 | 0.064814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_64-7_0_6_line_24 |  | 20 | 32 | 0.009274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_64-7_0_6_line_25 |  | 20 | 33 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_64-7_0_6_line_26 |  | 20 | 23 | 0.004818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_64-7_0_6_line_27 |  | 21 | 37 | 0.017287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_64-7_0_6_line_28 |  | 22 | 25 | 0.05704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_64-7_0_6_line_29 |  | 23 | 24 | 0.024722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_64-7_0_6_line_30 |  | 24 | 38 | 0.016107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_64-7_0_6_line_31 |  | 25 | 42 | 0.023143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_64-7_0_6_line_32 |  | 26 | 27 | 0.05634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_64-7_0_6_line_33 |  | 26 | 28 | 0.041417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_64-7_0_6_line_34 |  | 27 | 54 | 0.00031593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_64-7_0_6_line_35 |  | 28 | 34 | 0.073578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_64-7_0_6_line_36 |  | 29 | 30 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_64-7_0_6_line_37 |  | 29 | 31 | 0.0035017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_64-7_0_6_line_38 |  | 30 | 50 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_64-7_0_6_line_39 |  | 31 | 53 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_64-7_0_6_line_40 |  | 32 | 35 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_64-7_0_6_line_41 |  | 32 | 36 | 0.070238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_64-7_0_6_line_42 |  | 33 | 48 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_64-7_0_6_line_43 |  | 34 | 52 | 0.011633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_64-7_0_6_line_44 |  | 37 | 52 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_64-7_0_6_line_45 |  | 39 | 40 | 0.043055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_64-7_0_6_line_46 |  | 39 | 41 | 0.012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_64-7_0_6_line_47 |  | 42 | 85 | 0.029774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_64-7_0_6_line_48 |  | 42 | 66 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_64-7_0_6_line_49 |  | 43 | 44 | 0.019261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_64-7_0_6_line_50 |  | 43 | 45 | 0.054853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_64-7_0_6_line_51 |  | 44 | 46 | 0.0098603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_64-7_0_6_line_52 |  | 45 | 47 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_64-7_0_6_line_53 |  | 46 | 51 | 0.024078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_64-7_0_6_line_54 |  | 47 | 94 | 0.004374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_64-7_0_6_line_55 |  | 48 | 49 | 0.014472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_64-7_0_6_line_56 |  | 49 | 50 | 0.015256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_64-7_0_6_line_57 |  | 51 | 55 | 0.01989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_64-7_0_6_line_58 |  | 53 | 126 | 0.00602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_64-7_0_6_line_59 |  | 56 | 57 | 0.014486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_64-7_0_6_line_60 |  | 56 | 58 | 0.0074502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_64-7_0_6_line_61 |  | 57 | 59 | 0.0229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_64-7_0_6_line_62 |  | 57 | 60 | 0.018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_64-7_0_6_line_63 |  | 58 | 61 | 0.026764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_64-7_0_6_line_64 |  | 59 | 64 | 0.019893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_64-7_0_6_line_65 |  | 60 | 65 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_64-7_0_6_line_66 |  | 61 | 66 | 0.027215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_64-7_0_6_line_67 |  | 62 | 67 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_64-7_0_6_line_68 |  | 62 | 68 | 0.0053049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_64-7_0_6_line_69 |  | 64 | 76 | 0.0066514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_64-7_0_6_line_70 |  | 65 | 71 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_64-7_0_6_line_71 |  | 67 | 77 | 0.010194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_64-7_0_6_line_72 |  | 67 | 78 | 0.005381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_64-7_0_6_line_73 |  | 68 | 79 | 0.028564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_64-7_0_6_line_74 |  | 69 | 70 | 0.034534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_64-7_0_6_line_75 |  | 70 | 158 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_64-7_0_6_line_76 |  | 71 | 72 | 0.0043417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_64-7_0_6_line_77 |  | 71 | 73 | 0.020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_64-7_0_6_line_78 |  | 72 | 74 | 0.0024915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_64-7_0_6_line_79 |  | 73 | 75 | 0.00061509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_64-7_0_6_line_80 |  | 74 | 152 | 0.024809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_64-7_0_6_line_81 |  | 75 | 144 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_64-7_0_6_line_82 |  | 76 | 80 | 0.027875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_64-7_0_6_line_83 |  | 78 | 84 | 0.0025942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_64-7_0_6_line_84 |  | 79 | 80 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_64-7_0_6_line_85 |  | 80 | 81 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_64-7_0_6_line_86 |  | 81 | 82 | 0.028707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_64-7_0_6_line_87 |  | 82 | 83 | 0.0080028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_64-7_0_6_line_88 |  | 83 | 102 | 0.02334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_64-7_0_6_line_89 |  | 85 | 86 | 0.031792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_64-7_0_6_line_90 |  | 86 | 87 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_64-7_0_6_line_91 |  | 87 | 100 | 0.025365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_64-7_0_6_line_92 |  | 88 | 89 | 0.020728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_64-7_0_6_line_93 |  | 89 | 133 | 0.015038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_64-7_0_6_line_94 |  | 90 | 91 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_64-7_0_6_line_95 |  | 91 | 92 | 0.018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_64-7_0_6_line_96 |  | 92 | 93 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_64-7_0_6_line_97 |  | 93 | 95 | 0.017713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_64-7_0_6_line_98 |  | 94 | 99 | 0.001618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_64-7_0_6_line_99 |  | 94 | 100 | 0.00055922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_64-7_0_6_line_100 |  | 95 | 98 | 0.035194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_64-7_0_6_line_101 |  | 96 | 97 | 0.030355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_64-7_0_6_line_102 |  | 96 | 98 | 0.03625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_64-7_0_6_line_103 |  | 97 | 101 | 0.019282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_64-7_0_6_line_104 |  | 99 | 106 | 0.023491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_64-7_0_6_line_105 |  | 101 | 161 | 0.038858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_64-7_0_6_line_106 |  | 102 | 103 | 0.013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_64-7_0_6_line_107 |  | 104 | 105 | 0.0099569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_64-7_0_6_line_108 |  | 105 | 154 | 0.010467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_64-7_0_6_line_109 |  | 106 | 151 | 0.0066491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_64-7_0_6_line_110 |  | 107 | 108 | 0.02224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_64-7_0_6_line_111 |  | 107 | 109 | 0.032778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_64-7_0_6_line_112 |  | 108 | 110 | 0.029232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_64-7_0_6_line_113 |  | 109 | 111 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_64-7_0_6_line_114 |  | 109 | 112 | 0.041286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_64-7_0_6_line_115 |  | 110 | 113 | 0.040746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_64-7_0_6_line_116 |  | 111 | 114 | 0.061978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_64-7_0_6_line_117 |  | 112 | 115 | 0.0081358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_64-7_0_6_line_118 |  | 113 | 116 | 0.012311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_64-7_0_6_line_119 |  | 114 | 117 | 0.059036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_64-7_0_6_line_120 |  | 116 | 133 | 0.0091801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_64-7_0_6_line_121 |  | 117 | 118 | 0.040322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_64-7_0_6_line_122 |  | 118 | 119 | 0.053785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_64-7_0_6_line_123 |  | 120 | 121 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_64-7_0_6_line_124 |  | 120 | 122 | 0.035761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_64-7_0_6_line_125 |  | 120 | 123 | 0.018976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_64-7_0_6_line_126 |  | 121 | 149 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_64-7_0_6_line_127 |  | 122 | 150 | 0.020395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_64-7_0_6_line_128 |  | 123 | 146 | 0.012366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_64-7_0_6_line_129 |  | 124 | 125 | 0.001182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_64-7_0_6_line_130 |  | 125 | 157 | 0.00049591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_64-7_0_6_line_131 |  | 126 | 127 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_64-7_0_6_line_132 |  | 126 | 128 | 0.025145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
133 | LV_64-7_0_6_line_133 |  | 127 | 131 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
134 | LV_64-7_0_6_line_134 |  | 128 | 132 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_64-7_0_6_line_135 |  | 129 | 130 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_64-7_0_6_line_136 |  | 130 | 168 | 0.025755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
137 | LV_64-7_0_6_line_137 |  | 130 | 162 | 0.027709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
138 | LV_64-7_0_6_line_138 |  | 132 | 168 | 0.024395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_64-7_0_6_line_139 |  | 132 | 165 | 0.023931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
140 | LV_64-7_0_6_line_140 |  | 133 | 134 | 0.0407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_64-7_0_6_line_141 |  | 134 | 135 | 0.024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_64-7_0_6_line_142 |  | 135 | 136 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_64-7_0_6_line_143 |  | 136 | 137 | 0.025518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_64-7_0_6_line_144 |  | 136 | 138 | 0.025536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_64-7_0_6_line_145 |  | 137 | 139 | 0.0079099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_64-7_0_6_line_146 |  | 138 | 140 | 0.0065418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_64-7_0_6_line_147 |  | 139 | 141 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_64-7_0_6_line_148 |  | 140 | 142 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
149 | LV_64-7_0_6_line_149 |  | 141 | 155 | 0.0017974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_64-7_0_6_line_150 |  | 142 | 151 | 0.0060832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
151 | LV_64-7_0_6_line_151 |  | 143 | 144 | 0.00752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_64-7_0_6_line_152 |  | 143 | 145 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_64-7_0_6_line_153 |  | 146 | 147 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_64-7_0_6_line_154 |  | 147 | 148 | 0.0055686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_64-7_0_6_line_155 |  | 149 | 154 | 0.03175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_64-7_0_6_line_156 |  | 149 | 153 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_64-7_0_6_line_157 |  | 150 | 159 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_64-7_0_6_line_158 |  | 152 | 153 | 7.4464e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_64-7_0_6_line_159 |  | 155 | 156 | 0.00073211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_64-7_0_6_line_160 |  | 156 | 157 | 0.023911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_64-7_0_6_line_161 |  | 158 | 159 | 0.022476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_64-7_0_6_line_162 |  | 160 | 161 | 0.0097474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_64-7_0_6_line_163 |  | 161 | 162 | 0.037199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
164 | LV_64-7_0_6_line_164 |  | 162 | 166 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
165 | LV_64-7_0_6_line_165 |  | 163 | 164 | 0.0083165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
166 | LV_64-7_0_6_line_166 |  | 163 | 165 | 0.035937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
167 | LV_64-7_0_6_line_167 |  | 165 | 167 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_64-7_0_6_trafo_85 | 0.63 MVA 20/0.4 kV | 169 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2691861.8711 | 1256834.5411 | 2691860.3438 | 1256834.6537 | 2691850.3367 | 1256830.6953 | 2691849.7704 | 1256829.8628
1 | 2691861.8711 | 1256834.5411 | 2691872.9306 | 1256833.726 | 2691877.9859 | 1256831.7743
2 | 2691861.8711 | 1256834.5411 | 2691758.6615 | 1257110.0042
3 | 2691877.9859 | 1256831.7743 | 2691893.6139 | 1256825.7407 | 2691899.8802 | 1256821.8086
4 | 2691758.6615 | 1257110.0042 | 2691719.0066 | 1257110.0899
5 | 2692093.7037 | 1257165.7278 | 2691758.6615 | 1257110.0042
6 | 2691758.6615 | 1257110.0042 | 2691745.3518 | 1257140.5664 | 2691745.9834 | 1257153.0133
7 | 2691709.4029 | 1257167.7571 | 2691717.2487 | 1257170.4545 | 2691743.7572 | 1257165.5836 | 2691746.3395 | 1257160.0303 | 2691745.9834 | 1257153.0133
8 | 2691719.0066 | 1257110.0899 | 2691698.0488 | 1257120.5964
9 | 2692098.1052 | 1257166.3856 | 2692093.7037 | 1257165.7278
10 | 2692093.7037 | 1257165.7278 | 2692091.619 | 1257178.5276 | 2692086.8411 | 1257203.017 | 2692081.178 | 1257229.1495 | 2692077.1168 | 1257248.7795 | 2692076.2995 | 1257253.9599
11 | 2692076.2995 | 1257253.9599 | 2692075.5831 | 1257258.5008
12 | 2692040.216 | 1257346.7384 | 2692051.7427 | 1257360.0725 | 2692055.648 | 1257364.8225
13 | 2692040.216 | 1257346.7384 | 2692044.5159 | 1257343.258 | 2692048.9076 | 1257339.6902 | 2692052.88 | 1257344.6558 | 2692058.1106 | 1257345.827
14 | 2692071.8295 | 1257384.5041 | 2692055.648 | 1257364.8225
15 | 2692058.1106 | 1257345.827 | 2692062.3726 | 1257352.5319 | 2692065.8789 | 1257348.1941 | 2692068.625 | 1257343.7666 | 2692070.5905 | 1257339.5828
16 | 2692098.1052 | 1257166.3856 | 2692101.7757 | 1257167.0099 | 2692105.9033 | 1257167.8303 | 2692110.9379 | 1257168.9984 | 2692115.9847 | 1257170.3558 | 2692131.068 | 1257174.6939
17 | 2692098.1052 | 1257166.3856 | 2692098.9948 | 1257158.1708 | 2692099.6459 | 1257149.285 | 2692099.6817 | 1257148.56
18 | 2692098.1052 | 1257166.3856 | 2692096.6157 | 1257176.804 | 2692094.4853 | 1257187.7016 | 2692086.42 | 1257226.9025
19 | 2692063.0639 | 1257416.6597 | 2692056.0626 | 1257409.5897 | 2692056.1372 | 1257406.439
20 | 2692071.8295 | 1257384.5041 | 2692056.2383 | 1257402.1755 | 2692056.1372 | 1257406.439
21 | 2692071.8295 | 1257384.5041 | 2692075.0077 | 1257380.8951 | 2692083.904 | 1257391.7086 | 2692102.6245 | 1257415.2406
22 | 2692110.3032 | 1257417.0615 | 2692107.3655 | 1257420.2405 | 2692102.6245 | 1257415.2406
23 | 2692102.6245 | 1257415.2406 | 2692092.1297 | 1257424.7626 | 2692088.4687 | 1257430.3211 | 2692085.7721 | 1257436.4173 | 2692084.5685 | 1257445.4279 | 2692086.3115 | 1257456.0189 | 2692089.0707 | 1257467.7044 | 2692089.7421 | 1257473.1536
24 | 2692110.3032 | 1257417.0615 | 2692107.3655 | 1257420.2405 | 2692103.9687 | 1257423.8349
25 | 2692110.3032 | 1257417.0615 | 2692116.7162 | 1257423.1661 | 2692120.7328 | 1257426.9123
26 | 2692107.2163 | 1257413.355 | 2692110.3032 | 1257417.0615
27 | 2692088.6774 | 1257490.3062 | 2692089.84 | 1257483.6845 | 2692090.162 | 1257476.5617 | 2692089.7421 | 1257473.1536
28 | 2692070.5905 | 1257339.5828 | 2692077.0561 | 1257341.3514 | 2692126.5965 | 1257350.2685
29 | 2692107.2163 | 1257413.355 | 2692109.5633 | 1257405.4964 | 2692114.2877 | 1257389.6661
30 | 2692120.1621 | 1257374.8247 | 2692117.5276 | 1257378.8104 | 2692114.2877 | 1257389.6661
31 | 2692149.3783 | 1257354.3424 | 2692134.0668 | 1257351.6131 | 2692126.5965 | 1257350.2685
32 | 2692154.4517 | 1257541.3241 | 2692141.2069 | 1257530.3649 | 2692139.9433 | 1257528.6995 | 2692139.2479 | 1257526.3868 | 2692139.2936 | 1257523.4519 | 2692145.0656 | 1257492.2729
33 | 2692125.7079 | 1257571.1781 | 2692130.0034 | 1257567.4865 | 2692140.6065 | 1257556.3205 | 2692154.4517 | 1257541.3241
34 | 2692145.1231 | 1257491.9623 | 2692145.0656 | 1257492.2729
35 | 2692125.7079 | 1257571.1781 | 2692097.0735 | 1257543.6442 | 2692088.8735 | 1257534.1425 | 2692086.3466 | 1257529.822 | 2692084.9317 | 1257525.2853 | 2692084.5139 | 1257519.6633 | 2692084.8822 | 1257513.9312 | 2692084.908 | 1257513.7697
36 | 2692185.3525 | 1257472.7623 | 2692175.8214 | 1257466.1996
37 | 2692185.3525 | 1257472.7623 | 2692188.2255 | 1257474.7643
38 | 2692175.8214 | 1257466.1996 | 2692157.7072 | 1257453.7268
39 | 2692203.2269 | 1257485.2172 | 2692188.2255 | 1257474.7643
40 | 2692103.9687 | 1257423.8349 | 2692109.6911 | 1257429.2504 | 2692118.1183 | 1257436.7279
41 | 2692103.9687 | 1257423.8349 | 2692102.1173 | 1257422.6274 | 2692099.8278 | 1257422.4361 | 2692097.7141 | 1257423.0592 | 2692096.1904 | 1257424.5367 | 2692091.6267 | 1257430.9152 | 2692088.8588 | 1257437.2327 | 2692087.8288 | 1257442.8433 | 2692088.4677 | 1257450.2479 | 2692091.9734 | 1257467.2603 | 2692093.485 | 1257477.2139 | 2692092.7794 | 1257483.2623
42 | 2692133.2217 | 1257436.867 | 2692124.1123 | 1257430.0644 | 2692120.7328 | 1257426.9123
43 | 2692086.7464 | 1257502.2826 | 2692084.908 | 1257513.7697
44 | 2692086.7464 | 1257502.2826 | 2692088.516 | 1257491.2254 | 2692088.6774 | 1257490.3062
45 | 2692078.0894 | 1257269.144 | 2692085.7554 | 1257230.1326 | 2692086.42 | 1257226.9025
46 | 2692078.0894 | 1257269.144 | 2692090.7935 | 1257270.4774
47 | 2692149.3783 | 1257354.3424 | 2692178.5814 | 1257360.1442
48 | 2692149.3783 | 1257354.3424 | 2692151.9689 | 1257338.5803
49 | 2692180.9486 | 1257364.831 | 2692176.6498 | 1257383.6057
50 | 2692180.9486 | 1257364.831 | 2692211.3305 | 1257372.6881 | 2692233.5469 | 1257380.2608
51 | 2692172.8966 | 1257392.2828 | 2692175.0981 | 1257390.3823 | 2692176.6498 | 1257383.6057
52 | 2692251.2604 | 1257386.2986 | 2692233.5469 | 1257380.2608
53 | 2692172.8966 | 1257392.2828 | 2692185.3768 | 1257400.5503 | 2692190.0588 | 1257408.3627
54 | 2692252.6149 | 1257382.1387 | 2692251.2604 | 1257386.2986
55 | 2692133.2217 | 1257436.867 | 2692145.1415 | 1257445.0746
56 | 2692157.7072 | 1257453.7268 | 2692145.1415 | 1257445.0746
57 | 2692190.0588 | 1257408.3627 | 2692190.0588 | 1257408.3627 | 2692208.0487 | 1257416.8455
58 | 2692206.645 | 1257480.2554 | 2692203.2269 | 1257485.2172
59 | 2692163.5593 | 1257263.6029 | 2692160.8189 | 1257277.8269
60 | 2692160.8189 | 1257277.8269 | 2692160.2043 | 1257285.2518
61 | 2692163.5593 | 1257263.6029 | 2692166.7894 | 1257240.9318
62 | 2692163.5593 | 1257263.6029 | 2692181.9623 | 1257265.2973
63 | 2692156.3826 | 1257311.7255 | 2692159.667 | 1257291.7422 | 2692160.2043 | 1257285.2518
64 | 2692166.7894 | 1257240.9318 | 2692169.5953 | 1257221.2377
65 | 2692208.2268 | 1257268.5911 | 2692189.4344 | 1257265.9854 | 2692181.9623 | 1257265.2973
66 | 2692151.9689 | 1257338.5803 | 2692156.3826 | 1257311.7255
67 | 2692131.068 | 1257174.6939 | 2692127.0881 | 1257192.0011
68 | 2692131.068 | 1257174.6939 | 2692136.1699 | 1257176.1473
69 | 2692170.5335 | 1257214.6528 | 2692169.5953 | 1257221.2377
70 | 2692228.4599 | 1257271.3863 | 2692217.8945 | 1257269.9317 | 2692208.2268 | 1257268.5911
71 | 2692127.0881 | 1257192.0011 | 2692137.093 | 1257194.1029
72 | 2692127.0881 | 1257192.0011 | 2692121.8292 | 1257190.8614
73 | 2692163.6411 | 1257183.9733 | 2692136.1699 | 1257176.1473
74 | 2692276.1495 | 1257167.2953 | 2692284.3212 | 1257168.7538 | 2692304.3053 | 1257177.0273 | 2692308.066 | 1257179.6826
75 | 2692326.3849 | 1257192.6172 | 2692308.066 | 1257179.6826
76 | 2692228.4599 | 1257271.3863 | 2692232.7422 | 1257272.1019
77 | 2692228.4599 | 1257271.3863 | 2692224.7855 | 1257291.3893
78 | 2692235.1996 | 1257272.5126 | 2692232.7422 | 1257272.1019
79 | 2692224.6744 | 1257291.9943 | 2692224.7855 | 1257291.3893
80 | 2692235.1996 | 1257272.5126 | 2692242.0367 | 1257273.6551 | 2692259.5351 | 1257277.3173
81 | 2692220.3623 | 1257315.4686 | 2692224.6744 | 1257291.9943
82 | 2692174.4653 | 1257187.0569 | 2692170.5335 | 1257214.6528
83 | 2692119.2938 | 1257190.3119 | 2692121.8292 | 1257190.8614
84 | 2692174.4653 | 1257187.0569 | 2692163.6411 | 1257183.9733
85 | 2692174.4653 | 1257187.0569 | 2692196.2629 | 1257192.2835
86 | 2692224.2713 | 1257198.5711 | 2692203.3318 | 1257193.9784 | 2692196.2629 | 1257192.2835
87 | 2692224.2713 | 1257198.5711 | 2692232.0884 | 1257200.2857
88 | 2692232.0884 | 1257200.2857 | 2692233.5678 | 1257200.6102 | 2692255.0379 | 1257204.53
89 | 2692209.3505 | 1257368.1203 | 2692181.8711 | 1257360.7978 | 2692178.5814 | 1257360.1442
90 | 2692209.3505 | 1257368.1203 | 2692227.9526 | 1257374.1477
91 | 2692227.9526 | 1257374.1477 | 2692252.0829 | 1257381.9663
92 | 2692390.8151 | 1257485.5611 | 2692397.8438 | 1257471.9742 | 2692399.8433 | 1257466.9253
93 | 2692405.3805 | 1257452.9435 | 2692399.8433 | 1257466.9253
94 | 2692276.5417 | 1257425.7459 | 2692262.4043 | 1257417.8638
95 | 2692276.5417 | 1257425.7459 | 2692293.3452 | 1257434.1518
96 | 2692307.9936 | 1257443.7837 | 2692294.7429 | 1257437.0719 | 2692295.5854 | 1257435.2725 | 2692293.3452 | 1257434.1518
97 | 2692307.9936 | 1257443.7837 | 2692323.9704 | 1257451.4312
98 | 2692252.6149 | 1257382.1387 | 2692254.1047 | 1257382.7697
99 | 2692252.0829 | 1257381.9663 | 2692252.6149 | 1257382.1387
100 | 2692323.9704 | 1257451.4312 | 2692340.1727 | 1257459.1866 | 2692355.2102 | 1257467.6003
101 | 2692370.8611 | 1257510.6392 | 2692378.5471 | 1257499.4281 | 2692387.0383 | 1257484.9491
102 | 2692387.0383 | 1257484.9491 | 2692365.9943 | 1257473.6341 | 2692355.2102 | 1257467.6003
103 | 2692370.8611 | 1257510.6392 | 2692364.3693 | 1257506.2233 | 2692355.0046 | 1257499.6694
104 | 2692275.736 | 1257391.9313 | 2692254.1047 | 1257382.7697
105 | 2692321.5784 | 1257482.7262 | 2692333.8683 | 1257490.5908 | 2692340.9835 | 1257489.8567 | 2692355.0046 | 1257499.6694
106 | 2692268.0415 | 1257206.904 | 2692255.0379 | 1257204.53
107 | 2692284.0161 | 1257229.3129 | 2692282.7757 | 1257239.1922
108 | 2692281.4717 | 1257249.5778 | 2692282.7757 | 1257239.1922
109 | 2692275.736 | 1257391.9313 | 2692281.8586 | 1257394.5245
110 | 2692412.0355 | 1257340.6189 | 2692414.0524 | 1257362.7674
111 | 2692409.0628 | 1257307.9757 | 2692412.0355 | 1257340.6189
112 | 2692415.6815 | 1257391.9461 | 2692414.8948 | 1257372.0172 | 2692414.0524 | 1257362.7674
113 | 2692409.0628 | 1257307.9757 | 2692415.4881 | 1257308.4541 | 2692425.216 | 1257309.1485
114 | 2692409.0628 | 1257307.9757 | 2692409.3701 | 1257274.2984 | 2692407.5495 | 1257271.123 | 2692403.7514 | 1257270.0506
115 | 2692415.6815 | 1257391.9461 | 2692416.078 | 1257401.9926 | 2692412.8529 | 1257425.9722 | 2692411.1185 | 1257432.2325
116 | 2692486.0855 | 1257320.3326 | 2692461.5177 | 1257314.4219 | 2692450.9681 | 1257312.4445 | 2692440.5575 | 1257310.7362 | 2692428.8515 | 1257309.4079 | 2692425.216 | 1257309.1485
117 | 2692403.7514 | 1257270.0506 | 2692395.9217 | 1257267.8398
118 | 2692407.8315 | 1257444.0967 | 2692411.1185 | 1257432.2325
119 | 2692486.0855 | 1257320.3326 | 2692492.8383 | 1257322.0505 | 2692499.605 | 1257322.8791 | 2692506.0136 | 1257322.49 | 2692512.9702 | 1257320.8196 | 2692536.6893 | 1257311.5608 | 2692542.5395 | 1257309.4667
120 | 2692405.3805 | 1257452.9435 | 2692407.8315 | 1257444.0967
121 | 2692581.7002 | 1257300.2111 | 2692566.139 | 1257302.8365 | 2692554.9227 | 1257305.3965 | 2692545.7975 | 1257308.3006 | 2692542.5395 | 1257309.4667
122 | 2692581.7002 | 1257300.2111 | 2692581.0165 | 1257306.3163 | 2692580.2024 | 1257312.0748 | 2692579.1012 | 1257316.9058 | 2692577.8419 | 1257321.234 | 2692575.5161 | 1257327.6916 | 2692573.2275 | 1257333.2269 | 2692568.9436 | 1257341.4441 | 2692565.4818 | 1257348.6957 | 2692564.67 | 1257350.7481
123 | 2692312.1364 | 1257288.4816 | 2692295.4401 | 1257284.9123
124 | 2692312.1364 | 1257288.4816 | 2692316.4282 | 1257252.9787
125 | 2692312.1364 | 1257288.4816 | 2692312.3953 | 1257295.569 | 2692306.5801 | 1257305.9332
126 | 2692277.5163 | 1257281.0805 | 2692295.4401 | 1257284.9123
127 | 2692318.8759 | 1257232.7309 | 2692316.4282 | 1257252.9787
128 | 2692300.5294 | 1257316.7172 | 2692306.5801 | 1257305.9332
129 | 2692345.0978 | 1257342.0147 | 2692345.1548 | 1257340.834
130 | 2692345.0739 | 1257342.51 | 2692345.0978 | 1257342.0147
131 | 2692219.9073 | 1257460.5798 | 2692206.645 | 1257480.2554
132 | 2692206.645 | 1257480.2554 | 2692227.3377 | 1257494.5408
133 | 2692219.9073 | 1257460.5798 | 2692229.2225 | 1257445.9146
134 | 2692247.4481 | 1257508.4243 | 2692227.3377 | 1257494.5408
135 | 2692288.7132 | 1257536.9232 | 2692309.4726 | 1257551.1426
136 | 2692288.7132 | 1257536.9232 | 2692267.5211 | 1257522.2873
137 | 2692302.6095 | 1257513.3657 | 2692302.1183 | 1257517.2945 | 2692288.7132 | 1257536.9232
138 | 2692247.4481 | 1257508.4243 | 2692267.5211 | 1257522.2873
139 | 2692260.9162 | 1257488.6186 | 2692247.4481 | 1257508.4243
140 | 2692405.3805 | 1257452.9435 | 2692371.4897 | 1257436.5795 | 2692368.7365 | 1257435.2324
141 | 2692368.7365 | 1257435.2324 | 2692359.4703 | 1257430.6985 | 2692354.9801 | 1257428.4934 | 2692346.5069 | 1257424.3798
142 | 2692332.4742 | 1257417.5671 | 2692346.5069 | 1257424.3798
143 | 2692332.4742 | 1257417.5671 | 2692338.5832 | 1257392.7907
144 | 2692332.4742 | 1257417.5671 | 2692323.9906 | 1257413.6873 | 2692309.252 | 1257406.9465
145 | 2692338.5832 | 1257392.7907 | 2692340.4768 | 1257385.1108
146 | 2692303.3029 | 1257404.2256 | 2692309.252 | 1257406.9465
147 | 2692342.6213 | 1257368.8144 | 2692340.4768 | 1257385.1108 | 2692340.4768 | 1257385.1108
148 | 2692287.4187 | 1257396.9918 | 2692290.9395 | 1257398.5712 | 2692303.3029 | 1257404.2256
149 | 2692342.8558 | 1257367.0324 | 2692342.6213 | 1257368.8144
150 | 2692287.4187 | 1257396.9918 | 2692282.9265 | 1257394.9767 | 2692281.8586 | 1257394.5245
151 | 2692219.0036 | 1257322.8648 | 2692220.3623 | 1257315.4686
152 | 2692219.0036 | 1257322.8648 | 2692217.6811 | 1257330.0646 | 2692216.7987 | 1257334.0953
153 | 2692300.5294 | 1257316.7172 | 2692295.1824 | 1257326.247 | 2692290.1801 | 1257329.372
154 | 2692285.4574 | 1257332.3224 | 2692290.1801 | 1257329.372
155 | 2692277.5163 | 1257281.0805 | 2692281.4717 | 1257249.5778
156 | 2692277.5163 | 1257281.0805 | 2692259.608 | 1257277.3326
157 | 2692318.8759 | 1257232.7309 | 2692320.0162 | 1257223.2976 | 2692321.8167 | 1257214.624
158 | 2692259.5351 | 1257277.3173 | 2692259.608 | 1257277.3326
159 | 2692342.8558 | 1257367.0324 | 2692342.9513 | 1257366.3065
160 | 2692342.9513 | 1257366.3065 | 2692344.4897 | 1257354.616 | 2692345.0739 | 1257342.51
161 | 2692326.3849 | 1257192.6172 | 2692321.8167 | 1257214.624
162 | 2692321.5784 | 1257482.7262 | 2692313.3661 | 1257477.4754
163 | 2692321.5784 | 1257482.7262 | 2692301.5211 | 1257511.5918 | 2692302.6095 | 1257513.3657
164 | 2692302.6095 | 1257513.3657 | 2692305.9393 | 1257514.0626 | 2692316.4276 | 1257521.3995
165 | 2692277.3359 | 1257459.9185 | 2692270.2981 | 1257455.4875
166 | 2692277.3359 | 1257459.9185 | 2692258.4267 | 1257486.745 | 2692260.9162 | 1257488.6186
167 | 2692260.9162 | 1257488.6186 | 2692274.3441 | 1257497.2875

## bus_geodata
| x | y | coords
0 | 2691861.8711 | 1256834.5411
1 | 2691849.7704 | 1256829.8628
2 | 2691877.9859 | 1256831.7743
3 | 2691758.6615 | 1257110.0042
4 | 2691899.8802 | 1256821.8086
5 | 2691745.9834 | 1257153.0133
6 | 2691709.4029 | 1257167.7571
7 | 2691719.0066 | 1257110.0899
8 | 2692093.7037 | 1257165.7278
9 | 2691698.0488 | 1257120.5964
10 | 2692076.2995 | 1257253.9599
11 | 2692075.5831 | 1257258.5008
12 | 2692040.216 | 1257346.7384
13 | 2692055.648 | 1257364.8225
14 | 2692058.1106 | 1257345.827
15 | 2692098.1052 | 1257166.3856
16 | 2692056.1372 | 1257406.439
17 | 2692063.0639 | 1257416.6597
18 | 2692071.8295 | 1257384.5041
19 | 2692102.6245 | 1257415.2406
20 | 2692110.3032 | 1257417.0615
21 | 2692089.7421 | 1257473.1536
22 | 2692070.5905 | 1257339.5828
23 | 2692107.2163 | 1257413.355
24 | 2692114.2877 | 1257389.6661
25 | 2692126.5965 | 1257350.2685
26 | 2692154.4517 | 1257541.3241
27 | 2692145.0656 | 1257492.2729
28 | 2692125.7079 | 1257571.1781
29 | 2692185.3525 | 1257472.7623
30 | 2692175.8214 | 1257466.1996
31 | 2692188.2255 | 1257474.7643
32 | 2692103.9687 | 1257423.8349
33 | 2692120.7328 | 1257426.9123
34 | 2692084.908 | 1257513.7697
35 | 2692118.1183 | 1257436.7279
36 | 2692092.7794 | 1257483.2623
37 | 2692088.6774 | 1257490.3062
38 | 2692120.1621 | 1257374.8247
39 | 2692078.0894 | 1257269.144
40 | 2692086.42 | 1257226.9025
41 | 2692090.7935 | 1257270.4774
42 | 2692149.3783 | 1257354.3424
43 | 2692180.9486 | 1257364.831
44 | 2692176.6498 | 1257383.6057
45 | 2692233.5469 | 1257380.2608
46 | 2692172.8966 | 1257392.2828
47 | 2692251.2604 | 1257386.2986
48 | 2692133.2217 | 1257436.867
49 | 2692145.1415 | 1257445.0746
50 | 2692157.7072 | 1257453.7268
51 | 2692190.0588 | 1257408.3627
52 | 2692086.7464 | 1257502.2826
53 | 2692203.2269 | 1257485.2172
54 | 2692145.1231 | 1257491.9623
55 | 2692208.0487 | 1257416.8455
56 | 2692160.8189 | 1257277.8269
57 | 2692163.5593 | 1257263.6029
58 | 2692160.2043 | 1257285.2518
59 | 2692166.7894 | 1257240.9318
60 | 2692181.9623 | 1257265.2973
61 | 2692156.3826 | 1257311.7255
62 | 2692131.068 | 1257174.6939
63 | 2692099.6817 | 1257148.56
64 | 2692169.5953 | 1257221.2377
65 | 2692208.2268 | 1257268.5911
66 | 2692151.9689 | 1257338.5803
67 | 2692127.0881 | 1257192.0011
68 | 2692136.1699 | 1257176.1473
69 | 2692276.1495 | 1257167.2953
70 | 2692308.066 | 1257179.6826
71 | 2692228.4599 | 1257271.3863
72 | 2692232.7422 | 1257272.1019
73 | 2692224.7855 | 1257291.3893
74 | 2692235.1996 | 1257272.5126
75 | 2692224.6744 | 1257291.9943
76 | 2692170.5335 | 1257214.6528
77 | 2692137.093 | 1257194.1029
78 | 2692121.8292 | 1257190.8614
79 | 2692163.6411 | 1257183.9733
80 | 2692174.4653 | 1257187.0569
81 | 2692196.2629 | 1257192.2835
82 | 2692224.2713 | 1257198.5711
83 | 2692232.0884 | 1257200.2857
84 | 2692119.2938 | 1257190.3119
85 | 2692178.5814 | 1257360.1442
86 | 2692209.3505 | 1257368.1203
87 | 2692227.9526 | 1257374.1477
88 | 2692390.8151 | 1257485.5611
89 | 2692399.8433 | 1257466.9253
90 | 2692262.4043 | 1257417.8638
91 | 2692276.5417 | 1257425.7459
92 | 2692293.3452 | 1257434.1518
93 | 2692307.9936 | 1257443.7837
94 | 2692252.6148 | 1257382.1387
95 | 2692323.9704 | 1257451.4312
96 | 2692387.0383 | 1257484.9491
97 | 2692370.8611 | 1257510.6392
98 | 2692355.2102 | 1257467.6003
99 | 2692254.1047 | 1257382.7697
100 | 2692252.0829 | 1257381.9663
101 | 2692355.0046 | 1257499.6694
102 | 2692255.0379 | 1257204.53
103 | 2692268.0415 | 1257206.904
104 | 2692284.0161 | 1257229.3129
105 | 2692282.7757 | 1257239.1922
106 | 2692275.736 | 1257391.9313
107 | 2692412.0355 | 1257340.6189
108 | 2692414.0524 | 1257362.7674
109 | 2692409.0628 | 1257307.9757
110 | 2692415.6815 | 1257391.9461
111 | 2692425.216 | 1257309.1485
112 | 2692403.7514 | 1257270.0506
113 | 2692411.1185 | 1257432.2325
114 | 2692486.0855 | 1257320.3326
115 | 2692395.9217 | 1257267.8398
116 | 2692407.8315 | 1257444.0967
117 | 2692542.5395 | 1257309.4667
118 | 2692581.7002 | 1257300.2111
119 | 2692564.67 | 1257350.7481
120 | 2692312.1364 | 1257288.4816
121 | 2692295.4401 | 1257284.9123
122 | 2692316.4282 | 1257252.9787
123 | 2692306.5801 | 1257305.9332
124 | 2692345.1548 | 1257340.834
125 | 2692345.0978 | 1257342.0147
126 | 2692206.645 | 1257480.2554
127 | 2692219.9073 | 1257460.5798
128 | 2692227.3376 | 1257494.5408
129 | 2692309.4726 | 1257551.1426
130 | 2692288.7132 | 1257536.9232
131 | 2692229.2225 | 1257445.9146
132 | 2692247.4481 | 1257508.4243
133 | 2692405.3805 | 1257452.9435
134 | 2692368.7365 | 1257435.2324
135 | 2692346.5069 | 1257424.3798
136 | 2692332.4742 | 1257417.5671
137 | 2692338.5832 | 1257392.7907
138 | 2692309.252 | 1257406.9465
139 | 2692340.4768 | 1257385.1108
140 | 2692303.3029 | 1257404.2256
141 | 2692342.6213 | 1257368.8144
142 | 2692287.4187 | 1257396.9918
143 | 2692219.0036 | 1257322.8648
144 | 2692220.3623 | 1257315.4686
145 | 2692216.7987 | 1257334.0953
146 | 2692300.5294 | 1257316.7172
147 | 2692290.1801 | 1257329.372
148 | 2692285.4574 | 1257332.3224
149 | 2692277.5163 | 1257281.0805
150 | 2692318.8759 | 1257232.7309
151 | 2692281.8586 | 1257394.5245
152 | 2692259.5351 | 1257277.3173
153 | 2692259.608 | 1257277.3326
154 | 2692281.4717 | 1257249.5778
155 | 2692342.8558 | 1257367.0324
156 | 2692342.9513 | 1257366.3065
157 | 2692345.0739 | 1257342.51
158 | 2692326.3849 | 1257192.6172
159 | 2692321.8167 | 1257214.624
160 | 2692313.3661 | 1257477.4754
161 | 2692321.5784 | 1257482.7262
162 | 2692302.6095 | 1257513.3657
163 | 2692277.3359 | 1257459.9185
164 | 2692270.2981 | 1257455.4875
165 | 2692260.9162 | 1257488.6186
166 | 2692316.4276 | 1257521.3995
167 | 2692274.3441 | 1257497.2875
168 | 2692267.5211 | 1257522.2873
169 | 2692251.2604 | 1257386.2986

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1