## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_64-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_64-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_64-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_64-8_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_64-8_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_64-8_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_64-8_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_64-8_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_64-8_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_64-8_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_64-8_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_64-8_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_64-8_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_64-8_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_64-8_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_64-8_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_64-8_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_64-8_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_64-8_0_5_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_64-8_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_64-8_0_5_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_64-8_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_64-8_0_5_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_64-8_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_64-8_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_64-8_0_5_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_64-8_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_64-8_0_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_64-8_0_5_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_64-8_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_64-8_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_64-8_0_5_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_64-8_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_64-8_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_64-8_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_64-8_0_5_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_64-8_0_5_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_64-8_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_64-8_0_5_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_64-8_0_5_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_64-8_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_64-8_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_64-8_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_64-8_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_64-8_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_64-8_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_64-8_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_64-8_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_64-8_0_5_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_64-8_0_5_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_64-8_0_5_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_64-8_0_5_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_64-8_0_5_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_64-8_0_5_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_64-8_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_64-8_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_64-8_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_64-8_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_64-8_0_5_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_64-8_0_5_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_64-8_0_5_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_64-8_0_5_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_64-8_0_5_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_64-8_0_5_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_64-8_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_64-8_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_64-8_0_5_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_64-8_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_64-8_0_5_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_64-8_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_64-8_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_64-8_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_64-8_0_5_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_64-8_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_64-8_0_5_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_64-8_0_5_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_64-8_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_64-8_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_64-8_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_64-8_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_64-8_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_64-8_0_5_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_64-8_0_5_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_64-8_0_5_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_64-8_0_5_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_64-8_0_5_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_64-8_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_64-8_0_5_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_64-8_0_5_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_64-8_0_5_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_64-8_0_5_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_64-8_0_5_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_64-8_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_MV_457_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_64-8_0_5_load_0 | 0 | 0.00075891 | 0.0001902 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_64-8_0_5_load_1 | 1 | 0.0011256 | 0.00028211 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_64-8_0_5_load_2 | 2 | 0.0015443 | 0.00038703 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_64-8_0_5_load_3 | 3 | 0.0020404 | 0.00051138 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_64-8_0_5_load_5 | 5 | 0.010896 | 0.0027307 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_64-8_0_5_load_6 | 6 | 0.0013432 | 0.00033664 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_64-8_0_5_load_7 | 7 | 0.0053357 | 0.0013373 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_64-8_0_5_load_8 | 8 | 0.0011613 | 0.00029105 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_64-8_0_5_load_9 | 9 | 0.0057213 | 0.0014339 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_64-8_0_5_load_10 | 11 | 0.0059355 | 0.0014876 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_64-8_0_5_load_14 | 12 | 0.0053203 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_64-8_0_5_load_11 | 13 | 0.0039346 | 0.00098611 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_64-8_0_5_load_12 | 14 | 0.0014603 | 0.00036597 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_64-8_0_5_load_16 | 15 | 0.0037014 | 0.00092766 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_64-8_0_5_load_17 | 16 | 0.0015237 | 0.00038186 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_64-8_0_5_load_19 | 18 | 0.0033573 | 0.00084143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_64-8_0_5_load_20 | 19 | 0.0035184 | 0.00088181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_64-8_0_5_load_24 | 20 | 0.0016553 | 0.00041487 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_64-8_0_5_load_48 | 22 | 0.0021748 | 0.00054505 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_64-8_0_5_load_22 | 23 | 0.004835 | 0.0012118 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_64-8_0_5_load_23 | 24 | 0.0081772 | 0.0020494 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_64-8_0_5_load_42 | 25 | 0.0046668 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_64-8_0_5_load_40 | 26 | 0.0028466 | 0.00071341 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_64-8_0_5_load_47 | 27 | 0.003979 | 0.00099724 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_64-8_0_5_load_25 | 28 | 0.0044236 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_64-8_0_5_load_26 | 29 | 0.0064026 | 0.0016046 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_64-8_0_5_load_27 | 30 | 0.0031784 | 0.00079659 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_64-8_0_5_load_96 | 31 | 0.0012506 | 0.00031343 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_64-8_0_5_load_28 | 32 | 0.0032203 | 0.00080708 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_64-8_0_5_load_29 | 33 | 0.0019983 | 0.00050082 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_64-8_0_5_load_30 | 34 | 0.003117 | 0.0007812 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_64-8_0_5_load_45 | 36 | 0.0040968 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_64-8_0_5_load_78 | 38 | 0.004777 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_64-8_0_5_load_76 | 39 | 0.0028119 | 0.00070473 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_64-8_0_5_load_31 | 40 | 0.002028 | 0.00050827 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_64-8_0_5_load_32 | 41 | 0.0014786 | 0.00037058 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_64-8_0_5_load_33 | 42 | 0.00093736 | 0.00023492 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_64-8_0_5_load_35 | 44 | 0.00095149 | 0.00023847 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_64-8_0_5_load_36 | 45 | 0.0016593 | 0.00041586 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_64-8_0_5_load_37 | 46 | 0.0038121 | 0.00095541 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_64-8_0_5_load_38 | 47 | 0.0011401 | 0.00028574 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_64-8_0_5_load_75 | 49 | 0.0017862 | 0.00044766 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_64-8_0_5_load_73 | 50 | 0.0014791 | 0.0003707 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_64-8_0_5_load_74 | 52 | 0.0059081 | 0.0014807 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_64-8_0_5_load_72 | 53 | 0.0010122 | 0.00025368 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_64-8_0_5_load_39 | 54 | 0.011012 | 0.0027599 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_64-8_0_5_load_41 | 55 | 0.002497 | 0.0006258 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_64-8_0_5_load_43 | 56 | 0.0048022 | 0.0012035 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_64-8_0_5_load_44 | 57 | 0.0022988 | 0.00057614 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_64-8_0_5_load_61 | 59 | 0.011797 | 0.0029565 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_64-8_0_5_load_59 | 60 | 0.0054228 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_64-8_0_5_load_71 | 61 | 0.00209 | 0.0005238 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_64-8_0_5_load_70 | 62 | 0.0030188 | 0.00075659 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_64-8_0_5_load_69 | 63 | 0.0020009 | 0.00050148 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_64-8_0_5_load_49 | 64 | 0.0015961 | 0.00040001 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_64-8_0_5_load_50 | 65 | 0.00058095 | 0.0001456 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_64-8_0_5_load_51 | 66 | 0.0012793 | 0.00032063 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_64-8_0_5_load_52 | 67 | 0.0024273 | 0.00060835 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_64-8_0_5_load_67 | 68 | 0.0030195 | 0.00075676 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_64-8_0_5_load_53 | 70 | 0.0062799 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_64-8_0_5_load_56 | 72 | 0.0015308 | 0.00038364 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_64-8_0_5_load_58 | 74 | 0.010709 | 0.002684 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_64-8_0_5_load_62 | 75 | 0.0011797 | 0.00029565 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_64-8_0_5_load_63 | 76 | 0.0036221 | 0.00090778 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_64-8_0_5_load_66 | 78 | 0.0011059 | 0.00027716 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_64-8_0_5_load_80 | 79 | 0.0045718 | 0.0011458 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_64-8_0_5_load_81 | 80 | 0.0038038 | 0.00095331 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_64-8_0_5_load_93 | 81 | 0.003496 | 0.00087618 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_64-8_0_5_load_82 | 82 | 0.0056063 | 0.0014051 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_64-8_0_5_load_83 | 83 | 0.0035777 | 0.00089666 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_64-8_0_5_load_84 | 84 | 0.0040348 | 0.0010112 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_64-8_0_5_load_85 | 85 | 0.0021948 | 0.00055006 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_64-8_0_5_load_86 | 86 | 0.0034437 | 0.00086308 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_64-8_0_5_load_87 | 87 | 0.0020966 | 0.00052545 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_64-8_0_5_load_88 | 88 | 0.0017967 | 0.00045029 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_64-8_0_5_load_91 | 89 | 0.0052222 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_64-8_0_5_load_95 | 90 | 0.0036818 | 0.00092274 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_64-8_0_5_load_90 | 91 | 0.0018502 | 0.00046371 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_64-8_0_5_line_0 |  | 0 | 1 | 0.020201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_64-8_0_5_line_1 |  | 0 | 2 | 0.0017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_64-8_0_5_line_2 |  | 2 | 3 | 0.026428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_64-8_0_5_line_3 |  | 3 | 4 | 0.037672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_64-8_0_5_line_4 |  | 4 | 5 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_64-8_0_5_line_5 |  | 4 | 6 | 0.035418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_64-8_0_5_line_6 |  | 5 | 7 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_64-8_0_5_line_7 |  | 6 | 8 | 0.032728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_64-8_0_5_line_8 |  | 7 | 9 | 0.0081002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_64-8_0_5_line_9 |  | 8 | 10 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_64-8_0_5_line_10 |  | 9 | 11 | 0.023177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_64-8_0_5_line_11 |  | 10 | 12 | 0.063446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_64-8_0_5_line_12 |  | 11 | 13 | 1.8538e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_64-8_0_5_line_13 |  | 13 | 14 | 0.025378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_64-8_0_5_line_14 |  | 14 | 15 | 0.0073446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_64-8_0_5_line_15 |  | 15 | 16 | 0.0094176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_64-8_0_5_line_16 |  | 16 | 17 | 0.025243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_64-8_0_5_line_17 |  | 17 | 18 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_64-8_0_5_line_18 |  | 17 | 19 | 0.00066527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_64-8_0_5_line_19 |  | 18 | 20 | 0.0052293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_64-8_0_5_line_20 |  | 19 | 21 | 0.057096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_64-8_0_5_line_21 |  | 20 | 22 | 0.01825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_64-8_0_5_line_22 |  | 21 | 23 | 0.022821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_64-8_0_5_line_23 |  | 22 | 27 | 0.0071411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_64-8_0_5_line_24 |  | 23 | 24 | 0.006064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_64-8_0_5_line_25 |  | 24 | 25 | 0.035176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_64-8_0_5_line_26 |  | 25 | 26 | 0.0026146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_64-8_0_5_line_27 |  | 26 | 54 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_64-8_0_5_line_28 |  | 27 | 64 | 0.022994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_64-8_0_5_line_29 |  | 28 | 29 | 0.033814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_64-8_0_5_line_30 |  | 28 | 30 | 0.040113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_64-8_0_5_line_31 |  | 28 | 31 | 0.057438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_64-8_0_5_line_32 |  | 29 | 32 | 0.0089622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_64-8_0_5_line_33 |  | 30 | 33 | 0.00014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_64-8_0_5_line_34 |  | 32 | 34 | 0.033756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_64-8_0_5_line_35 |  | 34 | 35 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_64-8_0_5_line_36 |  | 35 | 38 | 0.032094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_64-8_0_5_line_37 |  | 35 | 39 | 0.028188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_64-8_0_5_line_38 |  | 36 | 37 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_64-8_0_5_line_39 |  | 37 | 61 | 0.027468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_64-8_0_5_line_40 |  | 37 | 62 | 0.0097367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_64-8_0_5_line_41 |  | 38 | 79 | 0.0049805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_64-8_0_5_line_42 |  | 39 | 52 | 0.0011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_64-8_0_5_line_43 |  | 40 | 41 | 0.004329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_64-8_0_5_line_44 |  | 40 | 42 | 0.017264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_64-8_0_5_line_45 |  | 41 | 43 | 0.043517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_64-8_0_5_line_46 |  | 42 | 44 | 0.012445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_64-8_0_5_line_47 |  | 43 | 45 | 0.0073364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_64-8_0_5_line_48 |  | 43 | 46 | 0.024624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_64-8_0_5_line_49 |  | 44 | 47 | 0.0022897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_64-8_0_5_line_50 |  | 45 | 48 | 0.047328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_64-8_0_5_line_51 |  | 46 | 49 | 0.0014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_64-8_0_5_line_52 |  | 47 | 50 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_64-8_0_5_line_53 |  | 48 | 51 | 0.003176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_64-8_0_5_line_54 |  | 49 | 52 | 0.032348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_64-8_0_5_line_55 |  | 50 | 53 | 0.019106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_64-8_0_5_line_56 |  | 51 | 81 | 0.032757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_64-8_0_5_line_57 |  | 53 | 61 | 0.013152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_64-8_0_5_line_58 |  | 54 | 55 | 0.0019532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_64-8_0_5_line_59 |  | 55 | 56 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_64-8_0_5_line_60 |  | 56 | 57 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_64-8_0_5_line_61 |  | 57 | 58 | 0.02057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_64-8_0_5_line_62 |  | 58 | 59 | 0.034848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_64-8_0_5_line_63 |  | 58 | 60 | 0.017495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_64-8_0_5_line_64 |  | 60 | 74 | 0.0016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_64-8_0_5_line_65 |  | 62 | 63 | 0.028739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_64-8_0_5_line_66 |  | 63 | 69 | 0.027216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_64-8_0_5_line_67 |  | 64 | 65 | 0.025619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_64-8_0_5_line_68 |  | 65 | 66 | 0.046274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_64-8_0_5_line_69 |  | 66 | 67 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_64-8_0_5_line_70 |  | 67 | 68 | 0.022988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_64-8_0_5_line_71 |  | 68 | 69 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_64-8_0_5_line_72 |  | 69 | 78 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_64-8_0_5_line_73 |  | 70 | 71 | 0.029249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_64-8_0_5_line_74 |  | 71 | 72 | 0.0060548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_64-8_0_5_line_75 |  | 72 | 73 | 0.020604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_64-8_0_5_line_76 |  | 73 | 74 | 0.034191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_64-8_0_5_line_77 |  | 75 | 76 | 0.0051777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_64-8_0_5_line_78 |  | 76 | 77 | 0.029155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_64-8_0_5_line_79 |  | 77 | 78 | 0.022755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_64-8_0_5_line_80 |  | 79 | 80 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_64-8_0_5_line_81 |  | 80 | 82 | 0.031669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_64-8_0_5_line_82 |  | 81 | 92 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_64-8_0_5_line_83 |  | 82 | 83 | 0.011931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_64-8_0_5_line_84 |  | 83 | 84 | 0.0022406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_64-8_0_5_line_85 |  | 84 | 85 | 0.018788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_64-8_0_5_line_86 |  | 85 | 86 | 0.0056838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_64-8_0_5_line_87 |  | 86 | 87 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_64-8_0_5_line_88 |  | 88 | 89 | 0.086353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_64-8_0_5_line_89 |  | 89 | 90 | 0.12583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_64-8_0_5_line_90 |  | 89 | 91 | 0.045293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_64-8_0_5_line_91 |  | 90 | 92 | 0.030691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_64-8_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 93 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689762.7319 | 1257350.0323 | 2689753.3245 | 1257348.4405 | 2689742.8386 | 1257350.3557
1 | 2689762.7319 | 1257350.0323 | 2689764.4418 | 1257350.3216 | 2689764.4418 | 1257350.3216
2 | 2689790.7145 | 1257349.9316 | 2689783.4231 | 1257351.3102 | 2689764.4418 | 1257350.3216
3 | 2689827.457 | 1257347.275 | 2689819.0821 | 1257344.568 | 2689790.7145 | 1257349.9316
4 | 2689827.457 | 1257347.275 | 2689839.3302 | 1257335.2768
5 | 2689827.457 | 1257347.275 | 2689820.0283 | 1257357.2478 | 2689810.4886 | 1257373.6493 | 2689808.7017 | 1257377.2373
6 | 2689839.3302 | 1257335.2768 | 2689840.8674 | 1257333.7234 | 2689851.6891 | 1257326.7528
7 | 2689808.7017 | 1257377.2373 | 2689794.112 | 1257406.5329
8 | 2689858.4988 | 1257322.3664 | 2689851.6891 | 1257326.7528
9 | 2689786.6951 | 1257421.4257 | 2689794.112 | 1257406.5329
10 | 2689858.4988 | 1257322.3664 | 2689877.9832 | 1257309.8157
11 | 2689786.6951 | 1257421.4257 | 2689806.234 | 1257411.9924 | 2689825.7595 | 1257405.9284 | 2689835.4758 | 1257386.8387
12 | 2689877.9987 | 1257309.8057 | 2689877.9832 | 1257309.8157
13 | 2689898.8736 | 1257295.4064 | 2689890.5526 | 1257301.7192 | 2689877.9987 | 1257309.8057
14 | 2689898.8736 | 1257295.4064 | 2689904.7248 | 1257290.9672
15 | 2689904.7248 | 1257290.9672 | 2689912.2276 | 1257285.2751
16 | 2689932.338 | 1257270.0179 | 2689912.2276 | 1257285.2751
17 | 2689932.338 | 1257270.0179 | 2689937.3102 | 1257278.2888 | 2689943.7451 | 1257283.6018
18 | 2689932.338 | 1257270.0179 | 2689932.8582 | 1257269.6033
19 | 2689948.9684 | 1257283.8517 | 2689943.7451 | 1257283.6018
20 | 2689976.1352 | 1257232.5096 | 2689965.4001 | 1257243.6663 | 2689932.8582 | 1257269.6033
21 | 2689966.7192 | 1257280.1313 | 2689951.9214 | 1257283.993 | 2689948.9684 | 1257283.8517
22 | 2689976.1352 | 1257232.5096 | 2689993.5732 | 1257217.7885
23 | 2689973.6201 | 1257278.297 | 2689972.8183 | 1257278.5396 | 2689966.7192 | 1257280.1313
24 | 2689993.5732 | 1257217.7885 | 2689998.2068 | 1257213.8768
25 | 2690025.0854 | 1257191.1859 | 2689998.2068 | 1257213.8768
26 | 2690025.0854 | 1257191.1859 | 2690027.0833 | 1257189.4993
27 | 2690048.2925 | 1257171.5445 | 2690030.5819 | 1257186.5458 | 2690027.0833 | 1257189.4993
28 | 2689973.6201 | 1257278.297 | 2689995.6288 | 1257271.6363
29 | 2689994.3652 | 1257369.6605 | 2689991.0896 | 1257377.7726 | 2689994.1683 | 1257388.5501 | 2690006.3214 | 1257395.2067
30 | 2690027.29 | 1257346.7757 | 2690004.8857 | 1257361.692 | 2689994.3652 | 1257369.6605 | 2689994.3652 | 1257369.6605
31 | 2689994.3652 | 1257369.6605 | 2689937.8051 | 1257379.6644
32 | 2690015.2232 | 1257396.2456 | 2690006.3214 | 1257395.2067 | 2690006.3214 | 1257395.2067
33 | 2690027.29 | 1257346.7757 | 2690027.411 | 1257346.6951
34 | 2690015.2232 | 1257396.2456 | 2690031.8481 | 1257398.186 | 2690048.8167 | 1257399.4852
35 | 2690062.1207 | 1257400.5038 | 2690048.8167 | 1257399.4852
36 | 2690062.1207 | 1257400.5038 | 2690062.6653 | 1257432.5927
37 | 2690062.1207 | 1257400.5038 | 2690090.0426 | 1257404.37
38 | 2690084.7184 | 1257311.0666 | 2690066.1009 | 1257322.7139
39 | 2690084.7184 | 1257311.0666 | 2690108.5984 | 1257324.6406 | 2690108.5984 | 1257324.6406
40 | 2690084.7184 | 1257311.0666 | 2690092.1164 | 1257304.7361
41 | 2690057.6869 | 1257432.7374 | 2690062.6653 | 1257432.5927 | 2690062.6653 | 1257432.5927
42 | 2690091.1361 | 1257404.5214 | 2690090.0426 | 1257404.37
43 | 2690151.3923 | 1257367.7593 | 2690151.2117 | 1257372.0845
44 | 2690151.3923 | 1257367.7593 | 2690152.1121 | 1257350.5098
45 | 2690146.9159 | 1257413.6935 | 2690154.2677 | 1257398.4046 | 2690151.0505 | 1257375.9492 | 2690151.2117 | 1257372.0845
46 | 2690152.1121 | 1257350.5098 | 2690152.2145 | 1257348.0562 | 2690148.4264 | 1257338.8135
47 | 2690146.9159 | 1257413.6935 | 2690149.0664 | 1257415.5833 | 2690150.4995 | 1257419.821
48 | 2690146.9159 | 1257413.6935 | 2690140.6125 | 1257417.0891 | 2690123.9719 | 1257411.7889
49 | 2690147.328 | 1257336.8045 | 2690148.4264 | 1257338.8135 | 2690148.4264 | 1257338.8135
50 | 2690187.7395 | 1257444.6283 | 2690156.6894 | 1257431.4896 | 2690153.5115 | 1257428.7279 | 2690150.4995 | 1257419.821
51 | 2690123.9719 | 1257411.7889 | 2690122.633 | 1257411.3624
52 | 2690147.328 | 1257336.8045 | 2690140.8549 | 1257324.9652
53 | 2690190.63 | 1257445.9623 | 2690187.7395 | 1257444.6283
54 | 2690091.1361 | 1257404.5214 | 2690108.8601 | 1257406.9756 | 2690122.633 | 1257411.3624
55 | 2690121.7496 | 1257324.7729 | 2690140.8549 | 1257324.9652 | 2690140.8549 | 1257324.9652
56 | 2690190.63 | 1257445.9623 | 2690198.3351 | 1257448.5595 | 2690206.1691 | 1257462.979 | 2690211.8312 | 1257468.9922
57 | 2690121.7496 | 1257324.7729 | 2690108.5984 | 1257324.6406
58 | 2690048.2925 | 1257171.5445 | 2690049.7829 | 1257170.2821
59 | 2690049.7829 | 1257170.2821 | 2690058.813 | 1257162.6334
60 | 2690067.8265 | 1257154.9988 | 2690058.813 | 1257162.6334
61 | 2690084.99 | 1257143.6621 | 2690067.8265 | 1257154.9988
62 | 2690084.99 | 1257143.6621 | 2690063.8297 | 1257115.9744
63 | 2690084.99 | 1257143.6621 | 2690101.4095 | 1257137.6227
64 | 2690102.951 | 1257137.0557 | 2690101.4095 | 1257137.6227
65 | 2690113.9519 | 1257286.0514 | 2690092.1164 | 1257304.7361
66 | 2690123.7176 | 1257262.3331 | 2690123.6953 | 1257272.7076 | 2690119.2551 | 1257281.5135 | 2690113.9519 | 1257286.0514
67 | 2689995.6288 | 1257271.6363 | 2690020.1492 | 1257264.2154
68 | 2690065.0389 | 1257253.3443 | 2690057.7668 | 1257254.0453 | 2690021.1316 | 1257263.9181 | 2690020.1492 | 1257264.2154
69 | 2690083.2748 | 1257251.5863 | 2690065.0389 | 1257253.3443
70 | 2690083.2748 | 1257251.5863 | 2690087.6516 | 1257251.1644 | 2690106.2195 | 1257252.081
71 | 2690123.7176 | 1257262.3331 | 2690117.474 | 1257254.8656 | 2690106.2195 | 1257252.081 | 2690106.2195 | 1257252.081
72 | 2690123.7176 | 1257262.3331 | 2690140.4945 | 1257256.0858
73 | 2690132.5182 | 1257104.933 | 2690129.8194 | 1257085.5546 | 2690126.7289 | 1257076.3772
74 | 2690132.5182 | 1257104.933 | 2690133.4393 | 1257110.9173
75 | 2690136.5738 | 1257131.282 | 2690133.4393 | 1257110.9173
76 | 2690136.5738 | 1257131.282 | 2690106.7332 | 1257135.6645 | 2690102.951 | 1257137.0557
77 | 2690148.0627 | 1257223.6179 | 2690147.9544 | 1257228.7945
78 | 2690161.4757 | 1257247.5742 | 2690161.5698 | 1257244.8624 | 2690160.8428 | 1257243.5726 | 2690158.5969 | 1257243.4828 | 2690154.573 | 1257244.7558 | 2690147.7847 | 1257236.913 | 2690147.9544 | 1257228.7945
79 | 2690161.4757 | 1257247.5742 | 2690160.1225 | 1257248.7768 | 2690140.4945 | 1257256.0858
80 | 2690040.1574 | 1257433.2466 | 2690057.6869 | 1257432.7374
81 | 2690040.1574 | 1257433.2466 | 2690033.5287 | 1257433.4391 | 2690017.475 | 1257452.6527
82 | 2690209.3174 | 1257487.9576 | 2690211.8312 | 1257468.9922
83 | 2690017.475 | 1257452.6527 | 2690017.0607 | 1257453.1486 | 2690005.8214 | 1257454.1644
84 | 2690003.5899 | 1257454.3661 | 2690005.8214 | 1257454.1644
85 | 2690003.5899 | 1257454.3661 | 2689984.8786 | 1257456.0573
86 | 2689984.8786 | 1257456.0573 | 2689979.2179 | 1257456.569
87 | 2689965.3559 | 1257457.8219 | 2689979.2179 | 1257456.569
88 | 2690200.329 | 1257621.3114 | 2690117.6074 | 1257646.0892
89 | 2690237.112 | 1257500.973 | 2690200.329 | 1257621.3114
90 | 2690200.329 | 1257621.3114 | 2690205.9137 | 1257659.2398 | 2690203.7167 | 1257665.8391
91 | 2690209.3174 | 1257487.9576 | 2690237.112 | 1257500.973

## bus_geodata
| x | y | coords
0 | 2689762.7319 | 1257350.0323
1 | 2689742.8386 | 1257350.3557
2 | 2689764.4418 | 1257350.3216
3 | 2689790.7145 | 1257349.9316
4 | 2689827.457 | 1257347.275
5 | 2689839.3302 | 1257335.2768
6 | 2689808.7017 | 1257377.2373
7 | 2689851.6891 | 1257326.7528
8 | 2689794.112 | 1257406.5329
9 | 2689858.4988 | 1257322.3664
10 | 2689786.6951 | 1257421.4257
11 | 2689877.9832 | 1257309.8157
12 | 2689835.4758 | 1257386.8387
13 | 2689877.9987 | 1257309.8057
14 | 2689898.8736 | 1257295.4064
15 | 2689904.7248 | 1257290.9672
16 | 2689912.2276 | 1257285.2751
17 | 2689932.338 | 1257270.0179
18 | 2689943.7451 | 1257283.6018
19 | 2689932.8582 | 1257269.6033
20 | 2689948.9684 | 1257283.8517
21 | 2689976.1352 | 1257232.5096
22 | 2689966.7192 | 1257280.1313
23 | 2689993.5732 | 1257217.7885
24 | 2689998.2068 | 1257213.8768
25 | 2690025.0854 | 1257191.1859
26 | 2690027.0833 | 1257189.4993
27 | 2689973.6201 | 1257278.297
28 | 2689994.3652 | 1257369.6605
29 | 2690006.3214 | 1257395.2067
30 | 2690027.29 | 1257346.7757
31 | 2689937.8051 | 1257379.6644
32 | 2690015.2233 | 1257396.2456
33 | 2690027.411 | 1257346.6951
34 | 2690048.8167 | 1257399.4852
35 | 2690062.1207 | 1257400.5038
36 | 2690066.1009 | 1257322.7139
37 | 2690084.7184 | 1257311.0666
38 | 2690062.6653 | 1257432.5927
39 | 2690090.0426 | 1257404.37
40 | 2690151.3923 | 1257367.7593
41 | 2690151.2117 | 1257372.0845
42 | 2690152.1121 | 1257350.5098
43 | 2690146.9159 | 1257413.6935
44 | 2690148.4264 | 1257338.8135
45 | 2690150.4995 | 1257419.821
46 | 2690123.9719 | 1257411.7889
47 | 2690147.328 | 1257336.8045
48 | 2690187.7395 | 1257444.6283
49 | 2690122.633 | 1257411.3624
50 | 2690140.8549 | 1257324.9652
51 | 2690190.63 | 1257445.9623
52 | 2690091.1361 | 1257404.5214
53 | 2690121.7496 | 1257324.7729
54 | 2690048.2925 | 1257171.5445
55 | 2690049.7829 | 1257170.2821
56 | 2690058.813 | 1257162.6334
57 | 2690067.8265 | 1257154.9988
58 | 2690084.99 | 1257143.6621
59 | 2690063.8297 | 1257115.9744
60 | 2690101.4095 | 1257137.6227
61 | 2690108.5984 | 1257324.6406
62 | 2690092.1164 | 1257304.7361
63 | 2690113.9519 | 1257286.0514
64 | 2689995.6288 | 1257271.6363
65 | 2690020.1492 | 1257264.2154
66 | 2690065.0389 | 1257253.3443
67 | 2690083.2748 | 1257251.5863
68 | 2690106.2195 | 1257252.081
69 | 2690123.7176 | 1257262.3331
70 | 2690126.7289 | 1257076.3772
71 | 2690132.5182 | 1257104.933
72 | 2690133.4393 | 1257110.9173
73 | 2690136.5738 | 1257131.282
74 | 2690102.951 | 1257137.0557
75 | 2690148.0627 | 1257223.6179
76 | 2690147.9544 | 1257228.7945
77 | 2690161.4757 | 1257247.5742
78 | 2690140.4945 | 1257256.0858
79 | 2690057.6869 | 1257432.7374
80 | 2690040.1574 | 1257433.2466
81 | 2690211.8312 | 1257468.9922
82 | 2690017.475 | 1257452.6527
83 | 2690005.8214 | 1257454.1644
84 | 2690003.5899 | 1257454.3661
85 | 2689984.8786 | 1257456.0573
86 | 2689979.2179 | 1257456.569
87 | 2689965.3559 | 1257457.8219
88 | 2690117.6074 | 1257646.0892
89 | 2690200.329 | 1257621.3114
90 | 2690237.112 | 1257500.973
91 | 2690203.7167 | 1257665.8391
92 | 2690209.3174 | 1257487.9576
93 | 2690084.7184 | 1257311.0666

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1