## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_64-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_64-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_64-9_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_64-9_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_64-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_64-9_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_64-9_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_64-9_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_64-9_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_64-9_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_64-9_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_64-9_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_64-9_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_64-9_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_64-9_0_3_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_64-9_0_3_node_134 | 0.4 | n |  | TRUE
16 | bus_LV_64-9_0_3_node_137 | 0.4 | n |  | TRUE
17 | bus_LV_64-9_0_3_node_135 | 0.4 | n |  | TRUE
18 | bus_LV_64-9_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_64-9_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_64-9_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_64-9_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_64-9_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_64-9_0_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_64-9_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_64-9_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_64-9_0_3_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_64-9_0_3_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_64-9_0_3_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_64-9_0_3_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_64-9_0_3_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_64-9_0_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_64-9_0_3_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_64-9_0_3_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_64-9_0_3_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_64-9_0_3_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_64-9_0_3_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_64-9_0_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_64-9_0_3_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_64-9_0_3_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_64-9_0_3_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_64-9_0_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_64-9_0_3_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_64-9_0_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_64-9_0_3_node_101 | 0.4 | n |  | TRUE
45 | bus_LV_64-9_0_3_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_64-9_0_3_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_64-9_0_3_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_64-9_0_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_64-9_0_3_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_64-9_0_3_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_64-9_0_3_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_64-9_0_3_node_124 | 0.4 | n |  | TRUE
53 | bus_LV_64-9_0_3_node_125 | 0.4 | n |  | TRUE
54 | bus_LV_64-9_0_3_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_64-9_0_3_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_64-9_0_3_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_64-9_0_3_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_64-9_0_3_node_164 | 0.4 | n |  | TRUE
59 | bus_LV_64-9_0_3_node_119 | 0.4 | n |  | TRUE
60 | bus_LV_64-9_0_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_64-9_0_3_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_64-9_0_3_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_64-9_0_3_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_64-9_0_3_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_64-9_0_3_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_64-9_0_3_node_148 | 0.4 | n |  | TRUE
67 | bus_LV_64-9_0_3_node_149 | 0.4 | n |  | TRUE
68 | bus_LV_64-9_0_3_node_111 | 0.4 | n |  | TRUE
69 | bus_LV_64-9_0_3_node_112 | 0.4 | n |  | TRUE
70 | bus_LV_64-9_0_3_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_64-9_0_3_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_64-9_0_3_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_64-9_0_3_node_116 | 0.4 | n |  | TRUE
74 | bus_LV_64-9_0_3_node_117 | 0.4 | n |  | TRUE
75 | bus_LV_64-9_0_3_node_147 | 0.4 | n |  | TRUE
76 | bus_LV_64-9_0_3_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_64-9_0_3_node_146 | 0.4 | n |  | TRUE
78 | bus_LV_64-9_0_3_node_121 | 0.4 | n |  | TRUE
79 | bus_LV_64-9_0_3_node_120 | 0.4 | n |  | TRUE
80 | bus_LV_64-9_0_3_node_122 | 0.4 | n |  | TRUE
81 | bus_LV_64-9_0_3_node_126 | 0.4 | n |  | TRUE
82 | bus_LV_64-9_0_3_node_127 | 0.4 | n |  | TRUE
83 | bus_LV_64-9_0_3_node_128 | 0.4 | n |  | TRUE
84 | bus_LV_64-9_0_3_node_129 | 0.4 | n |  | TRUE
85 | bus_LV_64-9_0_3_node_130 | 0.4 | n |  | TRUE
86 | bus_LV_64-9_0_3_node_131 | 0.4 | n |  | TRUE
87 | bus_LV_64-9_0_3_node_132 | 0.4 | n |  | TRUE
88 | bus_LV_64-9_0_3_node_133 | 0.4 | n |  | TRUE
89 | bus_LV_64-9_0_3_node_138 | 0.4 | n |  | TRUE
90 | bus_LV_64-9_0_3_node_139 | 0.4 | n |  | TRUE
91 | bus_LV_64-9_0_3_node_140 | 0.4 | n |  | TRUE
92 | bus_LV_64-9_0_3_node_145 | 0.4 | n |  | TRUE
93 | bus_LV_64-9_0_3_node_144 | 0.4 | n |  | TRUE
94 | bus_LV_64-9_0_3_node_141 | 0.4 | n |  | TRUE
95 | bus_LV_64-9_0_3_node_142 | 0.4 | n |  | TRUE
96 | bus_LV_64-9_0_3_node_150 | 0.4 | n |  | TRUE
97 | bus_LV_64-9_0_3_node_151 | 0.4 | n |  | TRUE
98 | bus_LV_64-9_0_3_node_152 | 0.4 | n |  | TRUE
99 | bus_LV_64-9_0_3_node_153 | 0.4 | n |  | TRUE
100 | bus_LV_64-9_0_3_node_166 | 0.4 | n |  | TRUE
101 | bus_MV_457_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_64-9_0_3_load_0 | 0 | 0.0063228 | 0.0015846 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_64-9_0_3_load_1 | 1 | 0.0029654 | 0.00074319 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_64-9_0_3_load_7 | 3 | 0.0020919 | 0.00052429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_64-9_0_3_load_4 | 4 | 0.0059031 | 0.0014795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_64-9_0_3_load_13 | 5 | 0.0033453 | 0.00083841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_64-9_0_3_load_5 | 6 | 0.0025876 | 0.0006485 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_64-9_0_3_load_6 | 7 | 0.0045106 | 0.0011305 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_64-9_0_3_load_8 | 8 | 0.003833 | 0.00096064 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_64-9_0_3_load_9 | 9 | 0.0052928 | 0.0013265 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_64-9_0_3_load_14 | 10 | 0.0014997 | 0.00037586 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_64-9_0_3_load_10 | 11 | 0.0036949 | 0.00092604 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_64-9_0_3_load_11 | 12 | 0.00217 | 0.00054385 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_64-9_0_3_load_136 | 14 | 0.0017759 | 0.00044509 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_64-9_0_3_load_134 | 15 | 0.0057368 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_64-9_0_3_load_137 | 16 | 0.0031617 | 0.0007924 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_64-9_0_3_load_135 | 17 | 0.004812 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_64-9_0_3_load_17 | 18 | 0.003018 | 0.00075639 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_64-9_0_3_load_18 | 19 | 0.0033365 | 0.00083622 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_64-9_0_3_load_19 | 20 | 0.013334 | 0.0033418 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_64-9_0_3_load_20 | 21 | 0.0043295 | 0.0010851 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_64-9_0_3_load_22 | 24 | 0.0044604 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_64-9_0_3_load_21 | 25 | 0.0040293 | 0.0010098 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_64-9_0_3_load_100 | 27 | 0.0013084 | 0.00032791 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_64-9_0_3_load_47 | 28 | 0.0070365 | 0.0017635 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_64-9_0_3_load_91 | 29 | 0.0020639 | 0.00051726 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_64-9_0_3_load_87 | 31 | 0.0011519 | 0.00028869 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_64-9_0_3_load_83 | 32 | 0.0013311 | 0.00033361 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_64-9_0_3_load_99 | 33 | 0.0019008 | 0.00047638 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_64-9_0_3_load_75 | 34 | 0.0026827 | 0.00067235 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_64-9_0_3_load_77 | 37 | 0.0030161 | 0.00075592 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_64-9_0_3_load_78 | 38 | 0.0024737 | 0.00061996 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_64-9_0_3_load_80 | 40 | 0.0023984 | 0.0006011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_64-9_0_3_load_81 | 41 | 0.0026831 | 0.00067245 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_64-9_0_3_load_82 | 42 | 0.0024737 | 0.00061996 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_64-9_0_3_load_98 | 43 | 0.0063947 | 0.0016027 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_64-9_0_3_load_101 | 44 | 0.0036925 | 0.00092543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_64-9_0_3_load_97 | 45 | 0.0022201 | 0.0005564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_64-9_0_3_load_102 | 46 | 0.002212 | 0.00055438 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_64-9_0_3_load_84 | 50 | 0.0011517 | 0.00028865 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_64-9_0_3_load_86 | 51 | 0.0012414 | 0.00031112 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_64-9_0_3_load_124 | 52 | 0.0011524 | 0.00028883 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_64-9_0_3_load_125 | 53 | 0.0012413 | 0.00031111 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_64-9_0_3_load_88 | 54 | 0.0078283 | 0.001962 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_64-9_0_3_load_118 | 57 | 0.0051636 | 0.0012941 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_64-9_0_3_load_164 | 58 | 0.00079265 | 0.00019866 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_64-9_0_3_load_104 | 61 | 0.0013661 | 0.00034239 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_64-9_0_3_load_105 | 62 | 0.0020265 | 0.0005079 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_64-9_0_3_load_109 | 63 | 0.0019475 | 0.00048809 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_64-9_0_3_load_107 | 64 | 0.001401 | 0.00035113 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_64-9_0_3_load_110 | 65 | 0.0017468 | 0.00043779 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_64-9_0_3_load_148 | 66 | 0.0023662 | 0.00059301 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_64-9_0_3_load_149 | 67 | 0.0021281 | 0.00053336 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_64-9_0_3_load_111 | 68 | 0.0013273 | 0.00033266 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_64-9_0_3_load_112 | 69 | 0.0024793 | 0.00062137 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_64-9_0_3_load_113 | 70 | 0.0059031 | 0.0014795 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_64-9_0_3_load_114 | 71 | 0.0081089 | 0.0020323 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_64-9_0_3_load_115 | 72 | 0.0086749 | 0.0021741 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_64-9_0_3_load_116 | 73 | 0.0078468 | 0.0019666 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_64-9_0_3_load_147 | 75 | 0.0045046 | 0.001129 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_64-9_0_3_load_123 | 76 | 0.0057303 | 0.0014361 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_64-9_0_3_load_121 | 78 | 0.0049953 | 0.0012519 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_64-9_0_3_load_120 | 79 | 0.0041792 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_64-9_0_3_load_122 | 80 | 0.0010736 | 0.00026906 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_64-9_0_3_load_126 | 81 | 0.0011524 | 0.00028883 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_64-9_0_3_load_127 | 82 | 0.0011528 | 0.00028893 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_64-9_0_3_load_128 | 83 | 0.0014217 | 0.00035632 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_64-9_0_3_load_129 | 84 | 0.0014359 | 0.00035986 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_64-9_0_3_load_130 | 85 | 0.0020667 | 0.00051797 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_64-9_0_3_load_131 | 86 | 0.0014353 | 0.00035973 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_64-9_0_3_load_132 | 87 | 0.0039603 | 0.00099254 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_64-9_0_3_load_133 | 88 | 0.0017918 | 0.00044907 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_64-9_0_3_load_138 | 89 | 0.0017396 | 0.000436 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_64-9_0_3_load_139 | 90 | 0.0023988 | 0.00060121 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_64-9_0_3_load_145 | 92 | 0.0027237 | 0.00068263 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_64-9_0_3_load_144 | 93 | 0.0028067 | 0.00070343 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_64-9_0_3_load_141 | 94 | 0.0024222 | 0.00060706 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_64-9_0_3_load_142 | 95 | 0.0015422 | 0.00038651 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_64-9_0_3_load_150 | 96 | 0.0018685 | 0.00046829 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_64-9_0_3_load_151 | 97 | 0.0023951 | 0.00060026 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_64-9_0_3_load_152 | 98 | 0.0030338 | 0.00076034 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_64-9_0_3_load_166 | 100 | 0.0035271 | 0.00088399 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_64-9_0_3_line_0 |  | 0 | 1 | 0.04689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_64-9_0_3_line_1 |  | 1 | 2 | 0.007781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_64-9_0_3_line_2 |  | 2 | 3 | 0.015052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_64-9_0_3_line_3 |  | 2 | 4 | 0.017728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_64-9_0_3_line_4 |  | 3 | 5 | 0.032247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_64-9_0_3_line_5 |  | 4 | 6 | 0.0048545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_64-9_0_3_line_6 |  | 5 | 10 | 0.031535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_64-9_0_3_line_7 |  | 6 | 7 | 0.028824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_64-9_0_3_line_8 |  | 7 | 8 | 0.0025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_64-9_0_3_line_9 |  | 8 | 9 | 0.030355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_64-9_0_3_line_10 |  | 9 | 11 | 1.7022e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_64-9_0_3_line_11 |  | 11 | 12 | 0.030964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_64-9_0_3_line_12 |  | 12 | 13 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_64-9_0_3_line_13 |  | 13 | 14 | 0.017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_64-9_0_3_line_14 |  | 13 | 15 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_64-9_0_3_line_15 |  | 14 | 16 | 0.0034205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_64-9_0_3_line_16 |  | 15 | 17 | 0.039099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_64-9_0_3_line_17 |  | 16 | 89 | 0.02295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_64-9_0_3_line_18 |  | 17 | 31 | 0.001862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_64-9_0_3_line_19 |  | 18 | 19 | 0.013494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_64-9_0_3_line_20 |  | 18 | 20 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_64-9_0_3_line_21 |  | 19 | 21 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_64-9_0_3_line_22 |  | 21 | 22 | 0.013142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_64-9_0_3_line_23 |  | 22 | 23 | 0.01764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_64-9_0_3_line_24 |  | 22 | 24 | 0.058828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_64-9_0_3_line_25 |  | 23 | 26 | 0.019793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_64-9_0_3_line_26 |  | 23 | 27 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_64-9_0_3_line_27 |  | 24 | 25 | 0.0096344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_64-9_0_3_line_28 |  | 26 | 31 | 0.027629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_64-9_0_3_line_29 |  | 26 | 32 | 0.02805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_64-9_0_3_line_30 |  | 27 | 33 | 0.0042213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_64-9_0_3_line_31 |  | 28 | 29 | 0.028036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_64-9_0_3_line_32 |  | 29 | 30 | 0.032286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_64-9_0_3_line_33 |  | 30 | 55 | 0.00198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_64-9_0_3_line_34 |  | 30 | 54 | 0.05933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_64-9_0_3_line_35 |  | 32 | 50 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_64-9_0_3_line_36 |  | 33 | 55 | 0.018181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_64-9_0_3_line_37 |  | 34 | 35 | 0.059907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_64-9_0_3_line_38 |  | 35 | 36 | 0.07501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_64-9_0_3_line_39 |  | 36 | 64 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_64-9_0_3_line_40 |  | 36 | 61 | 0.038703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_64-9_0_3_line_41 |  | 37 | 38 | 0.0087131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_64-9_0_3_line_42 |  | 37 | 39 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_64-9_0_3_line_43 |  | 38 | 40 | 0.0228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_64-9_0_3_line_44 |  | 39 | 41 | 0.0040695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_64-9_0_3_line_45 |  | 39 | 42 | 0.02232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_64-9_0_3_line_46 |  | 40 | 43 | 0.0026679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_64-9_0_3_line_47 |  | 41 | 44 | 0.011175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_64-9_0_3_line_48 |  | 43 | 45 | 0.021327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_64-9_0_3_line_49 |  | 44 | 46 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_64-9_0_3_line_50 |  | 46 | 60 | 0.0078392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_64-9_0_3_line_51 |  | 47 | 48 | 0.009624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_64-9_0_3_line_52 |  | 47 | 49 | 0.029866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_64-9_0_3_line_53 |  | 48 | 58 | 0.0093768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_64-9_0_3_line_54 |  | 49 | 56 | 0.046924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_64-9_0_3_line_55 |  | 49 | 54 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_64-9_0_3_line_56 |  | 50 | 51 | 0.01188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_64-9_0_3_line_57 |  | 51 | 52 | 0.0061465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_64-9_0_3_line_58 |  | 52 | 53 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_64-9_0_3_line_59 |  | 53 | 81 | 0.0094265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_64-9_0_3_line_60 |  | 56 | 57 | 0.031547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_64-9_0_3_line_61 |  | 57 | 59 | 0.016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_64-9_0_3_line_62 |  | 59 | 79 | 0.011095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_64-9_0_3_line_63 |  | 59 | 78 | 0.01601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_64-9_0_3_line_64 |  | 60 | 61 | 0.017642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_64-9_0_3_line_65 |  | 60 | 62 | 0.022565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_64-9_0_3_line_66 |  | 62 | 63 | 0.0052345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_64-9_0_3_line_67 |  | 63 | 65 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_64-9_0_3_line_68 |  | 64 | 66 | 0.026636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_64-9_0_3_line_69 |  | 65 | 68 | 0.0042226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_64-9_0_3_line_70 |  | 66 | 67 | 0.028608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_64-9_0_3_line_71 |  | 67 | 96 | 0.026136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_64-9_0_3_line_72 |  | 68 | 69 | 0.022797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_64-9_0_3_line_73 |  | 69 | 70 | 0.0052124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_64-9_0_3_line_74 |  | 70 | 71 | 0.025962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_64-9_0_3_line_75 |  | 71 | 72 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_64-9_0_3_line_76 |  | 72 | 73 | 0.024596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_64-9_0_3_line_77 |  | 73 | 74 | 0.0017637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_64-9_0_3_line_78 |  | 74 | 75 | 0.032477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_64-9_0_3_line_79 |  | 74 | 76 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_64-9_0_3_line_80 |  | 75 | 77 | 0.012149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_64-9_0_3_line_81 |  | 76 | 78 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_64-9_0_3_line_82 |  | 77 | 88 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_64-9_0_3_line_83 |  | 79 | 80 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_64-9_0_3_line_84 |  | 81 | 82 | 0.02803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_64-9_0_3_line_85 |  | 83 | 84 | 0.0038367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_64-9_0_3_line_86 |  | 84 | 85 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_64-9_0_3_line_87 |  | 85 | 86 | 0.0035617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_64-9_0_3_line_88 |  | 86 | 87 | 0.02685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_64-9_0_3_line_89 |  | 87 | 88 | 0.0037175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_64-9_0_3_line_90 |  | 89 | 90 | 0.029432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_64-9_0_3_line_91 |  | 90 | 91 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_64-9_0_3_line_92 |  | 91 | 92 | 0.030757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_64-9_0_3_line_93 |  | 92 | 93 | 0.059213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_64-9_0_3_line_94 |  | 93 | 95 | 0.023928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_64-9_0_3_line_95 |  | 94 | 95 | 0.028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_64-9_0_3_line_96 |  | 96 | 97 | 0.026202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_64-9_0_3_line_97 |  | 97 | 98 | 0.031981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_64-9_0_3_line_98 |  | 98 | 99 | 0.02608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_64-9_0_3_line_99 |  | 99 | 100 | 0.043378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_64-9_0_3_trafo_92 | 0.63 MVA 20/0.4 kV | 101 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2690224.8593 | 1257433.7536 | 2690234.5292 | 1257412.6718 | 2690242.5334 | 1257390.3678
1 | 2690245.1617 | 1257383.0441 | 2690242.5334 | 1257390.3678
2 | 2690245.1617 | 1257383.0441 | 2690246.0049 | 1257368.0155
3 | 2690245.1617 | 1257383.0441 | 2690262.632 | 1257386.054
4 | 2690246.0049 | 1257368.0155 | 2690247.3055 | 1257344.8357 | 2690247.2066 | 1257335.8054
5 | 2690262.632 | 1257386.054 | 2690267.416 | 1257386.8783
6 | 2690247.2066 | 1257335.8054 | 2690246.8612 | 1257304.2727
7 | 2690296.036 | 1257390.0237 | 2690277.9474 | 1257388.6928 | 2690267.416 | 1257386.8783
8 | 2690298.5596 | 1257390.2093 | 2690296.036 | 1257390.0237
9 | 2690298.5596 | 1257390.2093 | 2690320.2812 | 1257391.8075 | 2690328.8359 | 1257392.3893
10 | 2690328.8359 | 1257392.3893 | 2690328.8529 | 1257392.3904
11 | 2690328.8529 | 1257392.3904 | 2690359.7456 | 1257394.4912
12 | 2690378.9056 | 1257395.7942 | 2690359.7456 | 1257394.4912
13 | 2690378.9056 | 1257395.7942 | 2690395.9495 | 1257399.1904 | 2690396.1822 | 1257399.277
14 | 2690378.9056 | 1257395.7942 | 2690382.6012 | 1257380.6303
15 | 2690396.1822 | 1257399.277 | 2690399.3878 | 1257400.4705
16 | 2690382.6012 | 1257380.6303 | 2690388.4798 | 1257356.5096 | 2690392.2398 | 1257355.722 | 2690394.482 | 1257345.5354
17 | 2690420.8599 | 1257408.561 | 2690420.0871 | 1257408.1771 | 2690399.3878 | 1257400.4705
18 | 2690394.482 | 1257345.5354 | 2690394.8823 | 1257343.7169
19 | 2690335.7239 | 1257313.1522 | 2690341.89 | 1257313.0645 | 2690349.0028 | 1257311.3037
20 | 2690321.3393 | 1257315.5863 | 2690329.0671 | 1257313.2468 | 2690335.7239 | 1257313.1522
21 | 2690349.0028 | 1257311.3037 | 2690351.1556 | 1257310.7708 | 2690358.9785 | 1257306.1532
22 | 2690369.2172 | 1257297.9142 | 2690358.9785 | 1257306.1532 | 2690358.9785 | 1257306.1532
23 | 2690369.2172 | 1257297.9142 | 2690382.2702 | 1257309.8227
24 | 2690369.2172 | 1257297.9142 | 2690345.9828 | 1257274.1966 | 2690325.5097 | 1257258.7833
25 | 2690382.2702 | 1257309.8227 | 2690392.7122 | 1257314.4413 | 2690400.8217 | 1257316.7336
26 | 2690382.2702 | 1257309.8227 | 2690392.6378 | 1257291.2105
27 | 2690316.9561 | 1257254.3495 | 2690325.5097 | 1257258.7833 | 2690325.5097 | 1257258.7833
28 | 2690400.8217 | 1257316.7336 | 2690394.8823 | 1257343.7169
29 | 2690400.8217 | 1257316.7336 | 2690416.8376 | 1257318.8242 | 2690428.5003 | 1257321.1798
30 | 2690394.6921 | 1257287.5228 | 2690392.6378 | 1257291.2105
31 | 2690362.1997 | 1257227.085 | 2690367.7466 | 1257241.6366 | 2690377.2385 | 1257249.7129
32 | 2690401.8278 | 1257270.6351 | 2690377.2385 | 1257249.7129
33 | 2690403.5394 | 1257271.6398 | 2690401.8278 | 1257270.6351
34 | 2690401.8278 | 1257270.6351 | 2690404.9637 | 1257256.4052 | 2690410.3014 | 1257257.4987 | 2690413.4793 | 1257241.5125 | 2690436.0312 | 1257246.086
35 | 2690428.5003 | 1257321.1798 | 2690430.7159 | 1257321.6273 | 2690439.0052 | 1257323.9877
36 | 2690403.5394 | 1257271.6398 | 2690394.6921 | 1257287.5228
37 | 2690510.2528 | 1257042.6689 | 2690501.1886 | 1257047.5453 | 2690475.5204 | 1257058.1724 | 2690471.8062 | 1257059.4055 | 2690454.8058 | 1257065.0723
38 | 2690547.2336 | 1257107.9298 | 2690510.2528 | 1257042.6689
39 | 2690547.2336 | 1257107.9298 | 2690557.4114 | 1257119.5351
40 | 2690547.2336 | 1257107.9298 | 2690518.542 | 1257121.9687 | 2690512.3352 | 1257124.6495
41 | 2690437.0463 | 1257143.7177 | 2690428.3643 | 1257144.4525
42 | 2690458.9075 | 1257140.4607 | 2690441.3822 | 1257143.3508 | 2690437.0463 | 1257143.7177
43 | 2690405.6348 | 1257146.247 | 2690425.2452 | 1257144.7165 | 2690428.3643 | 1257144.4525
44 | 2690458.9075 | 1257140.4607 | 2690462.9182 | 1257139.771
45 | 2690458.9075 | 1257140.4607 | 2690462.5307 | 1257162.485
46 | 2690402.975 | 1257146.4546 | 2690405.6348 | 1257146.247
47 | 2690462.9182 | 1257139.771 | 2690473.932 | 1257137.8771
48 | 2690402.975 | 1257146.4546 | 2690381.7125 | 1257148.1141
49 | 2690488.5914 | 1257133.7631 | 2690473.932 | 1257137.8771 | 2690473.932 | 1257137.8771
50 | 2690496.139 | 1257131.645 | 2690488.5914 | 1257133.7631
51 | 2690456.2844 | 1257206.9615 | 2690446.8593 | 1257204.8825
52 | 2690446.8593 | 1257204.8825 | 2690441.2096 | 1257233.0738 | 2690441.8213 | 1257234.0061
53 | 2690456.2844 | 1257206.9615 | 2690456.639 | 1257204.9765 | 2690460.4542 | 1257202.0658 | 2690462.9957 | 1257202.3866
54 | 2690461.1042 | 1257261.1553 | 2690465.6798 | 1257239.0968 | 2690441.8213 | 1257234.0061
55 | 2690441.8213 | 1257234.0061 | 2690439.394 | 1257246.7679 | 2690436.0312 | 1257246.086
56 | 2690450.1708 | 1257327.9485 | 2690445.6129 | 1257325.8693 | 2690439.0052 | 1257323.9877
57 | 2690450.1708 | 1257327.9485 | 2690455.763 | 1257330.4994
58 | 2690468.0919 | 1257336.7339 | 2690464.605 | 1257334.5329 | 2690455.763 | 1257330.4994
59 | 2690468.0919 | 1257336.7339 | 2690476.0632 | 1257341.7654
60 | 2690461.1042 | 1257261.1553 | 2690492.0386 | 1257267.3448
61 | 2690507.9809 | 1257270.5346 | 2690492.0386 | 1257267.3448
62 | 2690507.9809 | 1257270.5346 | 2690497.4755 | 1257274.1024
63 | 2690507.9809 | 1257270.5346 | 2690523.4883 | 1257266.5543
64 | 2690496.139 | 1257131.645 | 2690512.3352 | 1257124.6495
65 | 2690496.139 | 1257131.645 | 2690500.63 | 1257141.7437 | 2690507.2264 | 1257151.1797
66 | 2690507.2264 | 1257151.1797 | 2690510.2254 | 1257155.4699
67 | 2690521.1984 | 1257171.1666 | 2690510.2254 | 1257155.4699
68 | 2690575.0867 | 1257139.4533 | 2690573.6653 | 1257138.0688 | 2690557.4114 | 1257119.5351
69 | 2690521.1984 | 1257171.1666 | 2690523.6177 | 1257174.6274
70 | 2690575.0867 | 1257139.4533 | 2690595.5808 | 1257159.4141
71 | 2690615.0163 | 1257176.8757 | 2690601.1438 | 1257164.8324 | 2690595.5808 | 1257159.4141
72 | 2690536.6792 | 1257193.3118 | 2690523.6177 | 1257174.6274
73 | 2690536.6792 | 1257193.3118 | 2690539.6656 | 1257197.5838
74 | 2690554.5402 | 1257218.8617 | 2690539.6656 | 1257197.5838
75 | 2690554.5402 | 1257218.8617 | 2690554.5402 | 1257218.8617 | 2690559.4822 | 1257230.3015
76 | 2690568.2501 | 1257253.2466 | 2690565.2466 | 1257243.6448 | 2690559.4822 | 1257230.3015
77 | 2690568.7767 | 1257254.9299 | 2690568.2501 | 1257253.2466
78 | 2690568.7767 | 1257254.9299 | 2690576.1915 | 1257286.5494
79 | 2690568.7767 | 1257254.9299 | 2690550.4885 | 1257259.624
80 | 2690579.539 | 1257298.2173 | 2690577.3212 | 1257291.3669 | 2690576.1915 | 1257286.5494
81 | 2690523.4883 | 1257266.5543 | 2690550.4885 | 1257259.624
82 | 2690579.539 | 1257298.2173 | 2690560.3777 | 1257308.2291
83 | 2690475.9157 | 1257281.4243 | 2690497.4755 | 1257274.1024
84 | 2690497.9288 | 1257359.1786 | 2690483.5616 | 1257346.4986 | 2690476.0632 | 1257341.7654
85 | 2690508.3518 | 1257335.4126 | 2690511.7522 | 1257333.6359
86 | 2690530.1285 | 1257324.0343 | 2690511.7522 | 1257333.6359
87 | 2690530.1285 | 1257324.0343 | 2690533.2853 | 1257322.3849
88 | 2690533.2853 | 1257322.3849 | 2690557.0828 | 1257309.9507
89 | 2690560.3777 | 1257308.2291 | 2690557.0828 | 1257309.9507
90 | 2690420.8599 | 1257408.561 | 2690433.5738 | 1257414.8772 | 2690446.092 | 1257423.5616
91 | 2690458.8747 | 1257440.0057 | 2690455.9921 | 1257433.223 | 2690449.341 | 1257425.8156 | 2690446.092 | 1257423.5616
92 | 2690458.8747 | 1257440.0057 | 2690442.442 | 1257446.4597 | 2690431.242 | 1257453.259
93 | 2690431.242 | 1257453.259 | 2690422.7885 | 1257458.391 | 2690404.4347 | 1257474.6012 | 2690389.8068 | 1257494.6726
94 | 2690389.8068 | 1257494.6726 | 2690387.2349 | 1257498.2015 | 2690378.5822 | 1257515.7448
95 | 2690365.8554 | 1257541.5481 | 2690378.5822 | 1257515.7448
96 | 2690634.4288 | 1257194.435 | 2690631.3677 | 1257191.071 | 2690615.0163 | 1257176.8757
97 | 2690634.4288 | 1257194.435 | 2690652.7941 | 1257214.6175 | 2690655.4513 | 1257218.4856
98 | 2690670.2181 | 1257239.9819 | 2690655.4513 | 1257218.4856
99 | 2690670.2181 | 1257239.9819 | 2690638.1793 | 1257269.2254

## bus_geodata
| x | y | coords
0 | 2690224.8593 | 1257433.7536
1 | 2690242.5334 | 1257390.3678
2 | 2690245.1617 | 1257383.0441
3 | 2690246.0049 | 1257368.0155
4 | 2690262.632 | 1257386.054
5 | 2690247.2066 | 1257335.8054
6 | 2690267.416 | 1257386.8783
7 | 2690296.036 | 1257390.0237
8 | 2690298.5596 | 1257390.2093
9 | 2690328.8359 | 1257392.3893
10 | 2690246.8612 | 1257304.2727
11 | 2690328.8529 | 1257392.3904
12 | 2690359.7456 | 1257394.4912
13 | 2690378.9056 | 1257395.7942
14 | 2690396.1822 | 1257399.277
15 | 2690382.6012 | 1257380.6303
16 | 2690399.3878 | 1257400.4705
17 | 2690394.482 | 1257345.5354
18 | 2690335.7239 | 1257313.1522
19 | 2690349.0028 | 1257311.3037
20 | 2690321.3393 | 1257315.5863
21 | 2690358.9785 | 1257306.1532
22 | 2690369.2172 | 1257297.9142
23 | 2690382.2702 | 1257309.8227
24 | 2690325.5097 | 1257258.7833
25 | 2690316.9561 | 1257254.3495
26 | 2690400.8217 | 1257316.7336
27 | 2690392.6378 | 1257291.2105
28 | 2690362.1997 | 1257227.085
29 | 2690377.2385 | 1257249.7129
30 | 2690401.8278 | 1257270.6351
31 | 2690394.8823 | 1257343.7169
32 | 2690428.5003 | 1257321.1798
33 | 2690394.6921 | 1257287.5228
34 | 2690454.8058 | 1257065.0723
35 | 2690510.2528 | 1257042.6689
36 | 2690547.2336 | 1257107.9298
37 | 2690437.0463 | 1257143.7177
38 | 2690428.3643 | 1257144.4525
39 | 2690458.9075 | 1257140.4607
40 | 2690405.6348 | 1257146.247
41 | 2690462.9182 | 1257139.771
42 | 2690462.5307 | 1257162.485
43 | 2690402.975 | 1257146.4546
44 | 2690473.932 | 1257137.8771
45 | 2690381.7125 | 1257148.1141
46 | 2690488.5914 | 1257133.7631
47 | 2690446.8593 | 1257204.8825
48 | 2690456.2844 | 1257206.9615
49 | 2690441.8213 | 1257234.0061
50 | 2690439.0052 | 1257323.9877
51 | 2690450.1708 | 1257327.9485
52 | 2690455.763 | 1257330.4994
53 | 2690468.0919 | 1257336.7339
54 | 2690436.0312 | 1257246.086
55 | 2690403.5394 | 1257271.6398
56 | 2690461.1042 | 1257261.1553
57 | 2690492.0386 | 1257267.3448
58 | 2690462.9957 | 1257202.3866
59 | 2690507.9809 | 1257270.5346
60 | 2690496.139 | 1257131.645
61 | 2690512.3352 | 1257124.6495
62 | 2690507.2264 | 1257151.1797
63 | 2690510.2254 | 1257155.4699
64 | 2690557.4114 | 1257119.5351
65 | 2690521.1984 | 1257171.1666
66 | 2690575.0867 | 1257139.4533
67 | 2690595.5808 | 1257159.4141
68 | 2690523.6177 | 1257174.6274
69 | 2690536.6792 | 1257193.3118
70 | 2690539.6656 | 1257197.5838
71 | 2690554.5402 | 1257218.8617
72 | 2690559.4822 | 1257230.3015
73 | 2690568.2501 | 1257253.2466
74 | 2690568.7767 | 1257254.9299
75 | 2690576.1915 | 1257286.5494
76 | 2690550.4885 | 1257259.624
77 | 2690579.539 | 1257298.2173
78 | 2690523.4883 | 1257266.5543
79 | 2690497.4755 | 1257274.1024
80 | 2690475.9157 | 1257281.4243
81 | 2690476.0632 | 1257341.7654
82 | 2690497.9288 | 1257359.1786
83 | 2690508.3518 | 1257335.4126
84 | 2690511.7522 | 1257333.6359
85 | 2690530.1285 | 1257324.0343
86 | 2690533.2853 | 1257322.3849
87 | 2690557.0828 | 1257309.9507
88 | 2690560.3777 | 1257308.2291
89 | 2690420.8599 | 1257408.561
90 | 2690446.092 | 1257423.5616
91 | 2690458.8747 | 1257440.0057
92 | 2690431.242 | 1257453.259
93 | 2690389.8068 | 1257494.6726
94 | 2690365.8554 | 1257541.5481
95 | 2690378.5822 | 1257515.7448
96 | 2690615.0163 | 1257176.8757
97 | 2690634.4288 | 1257194.435
98 | 2690655.4513 | 1257218.4856
99 | 2690670.2181 | 1257239.9819
100 | 2690638.1793 | 1257269.2254
101 | 2690401.8278 | 1257270.6351

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1