## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_64-9_1_2_node_154 | 0.4 | n |  | TRUE
1 | bus_LV_64-9_1_2_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_64-9_1_2_node_155 | 0.4 | n |  | TRUE
3 | bus_LV_64-9_1_2_node_158 | 0.4 | n |  | TRUE
4 | bus_LV_64-9_1_2_node_159 | 0.4 | n |  | TRUE
5 | bus_LV_64-9_1_2_node_160 | 0.4 | n |  | TRUE
6 | bus_LV_64-9_1_2_node_163 | 0.4 | n |  | TRUE
7 | bus_LV_64-9_1_2_node_157 | 0.4 | n |  | TRUE
8 | bus_LV_64-9_1_2_node_161 | 0.4 | n |  | TRUE
9 | bus_LV_64-9_1_2_node_156 | 0.4 | n |  | TRUE
10 | bus_LV_64-9_1_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_64-9_1_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_64-9_1_2_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_64-9_1_2_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_64-9_1_2_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_64-9_1_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_64-9_1_2_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_64-9_1_2_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_64-9_1_2_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_64-9_1_2_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_64-9_1_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_64-9_1_2_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_64-9_1_2_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_64-9_1_2_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_64-9_1_2_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_64-9_1_2_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_64-9_1_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_64-9_1_2_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_64-9_1_2_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_64-9_1_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_64-9_1_2_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_64-9_1_2_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_64-9_1_2_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_64-9_1_2_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_64-9_1_2_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_64-9_1_2_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_64-9_1_2_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_64-9_1_2_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_64-9_1_2_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_64-9_1_2_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_64-9_1_2_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_64-9_1_2_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_64-9_1_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_64-9_1_2_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_64-9_1_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_64-9_1_2_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_64-9_1_2_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_64-9_1_2_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_64-9_1_2_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_64-9_1_2_node_162 | 0.4 | n |  | TRUE
50 | bus_LV_64-9_1_2_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_64-9_1_2_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_64-9_1_2_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_64-9_1_2_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_64-9_1_2_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_64-9_1_2_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_64-9_1_2_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_64-9_1_2_node_167 | 0.4 | n |  | TRUE
58 | bus_MV_457_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_64-9_1_2_load_154 | 0 | 0.010581 | 0.0026519 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_64-9_1_2_load_41 | 1 | 0.012628 | 0.0031648 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_64-9_1_2_load_155 | 2 | 0.011075 | 0.0027757 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_64-9_1_2_load_158 | 3 | 0.0089525 | 0.0022437 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_64-9_1_2_load_159 | 4 | 0.0066231 | 0.0016599 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_64-9_1_2_load_163 | 6 | 0.0018951 | 0.00047496 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_64-9_1_2_load_157 | 7 | 0.01055 | 0.0026441 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_64-9_1_2_load_156 | 9 | 0.0031779 | 0.00079647 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_64-9_1_2_load_15 | 10 | 0.0045955 | 0.0011517 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_64-9_1_2_load_16 | 11 | 0.003359 | 0.00084185 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_64-9_1_2_load_26 | 13 | 0.0033135 | 0.00083045 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_64-9_1_2_load_42 | 14 | 0.0028788 | 0.00072151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_64-9_1_2_load_35 | 15 | 0.008512 | 0.0021333 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_64-9_1_2_load_28 | 16 | 0.0094828 | 0.0023766 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_64-9_1_2_load_29 | 17 | 0.007581 | 0.0019 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_64-9_1_2_load_32 | 20 | 0.0030674 | 0.00076876 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_64-9_1_2_load_33 | 21 | 0.0055034 | 0.0013793 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_64-9_1_2_load_38 | 22 | 0.0043823 | 0.0010983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_64-9_1_2_load_37 | 23 | 0.00038679 | 9.694e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_64-9_1_2_load_48 | 24 | 0.0019132 | 0.00047949 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_64-9_1_2_load_34 | 26 | 0.0082981 | 0.0020797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_64-9_1_2_load_64 | 29 | 0.0038857 | 0.00097385 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_64-9_1_2_load_43 | 30 | 0.0077496 | 0.0019422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_64-9_1_2_load_44 | 31 | 0.0021405 | 0.00053645 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_64-9_1_2_load_45 | 32 | 0.0022897 | 0.00057386 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_64-9_1_2_load_46 | 33 | 0.0020029 | 0.00050197 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_64-9_1_2_load_49 | 34 | 0.0034068 | 0.00085383 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_64-9_1_2_load_50 | 35 | 0.0027136 | 0.00068009 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_64-9_1_2_load_51 | 36 | 0.0045035 | 0.0011287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_64-9_1_2_load_52 | 37 | 0.0022055 | 0.00055276 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_64-9_1_2_load_53 | 39 | 0.0026133 | 0.00065494 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_64-9_1_2_load_54 | 40 | 0.0017647 | 0.00044228 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_64-9_1_2_load_55 | 41 | 0.001177 | 0.00029498 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_64-9_1_2_load_56 | 42 | 0.0011528 | 0.00028891 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_64-9_1_2_load_57 | 43 | 0.0017378 | 0.00043553 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_64-9_1_2_load_62 | 44 | 0.0018846 | 0.00047232 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_64-9_1_2_load_58 | 45 | 0.0040308 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_64-9_1_2_load_59 | 46 | 0.0074821 | 0.0018752 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_64-9_1_2_load_61 | 47 | 0.00091469 | 0.00022924 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_64-9_1_2_load_65 | 50 | 0.0025994 | 0.00065147 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_64-9_1_2_load_66 | 51 | 0.00073099 | 0.0001832 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_64-9_1_2_load_67 | 52 | 0.0050604 | 0.0012683 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_64-9_1_2_load_68 | 53 | 0.0049397 | 0.001238 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_64-9_1_2_load_72 | 54 | 0.003408 | 0.00085413 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_64-9_1_2_load_73 | 55 | 0.0022053 | 0.0005527 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_64-9_1_2_load_74 | 56 | 0.0043078 | 0.0010796 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_64-9_1_2_load_167 | 57 | 0.002862 | 0.00071728 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_64-9_1_2_line_0 |  | 0 | 1 | 0.0014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_64-9_1_2_line_1 |  | 0 | 2 | 0.040234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_64-9_1_2_line_2 |  | 1 | 27 | 0.041639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_64-9_1_2_line_3 |  | 2 | 9 | 0.0059399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_64-9_1_2_line_4 |  | 3 | 4 | 0.037051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_64-9_1_2_line_5 |  | 3 | 5 | 0.024935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_64-9_1_2_line_6 |  | 4 | 8 | 0.025407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_64-9_1_2_line_7 |  | 5 | 49 | 0.052045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_64-9_1_2_line_8 |  | 6 | 7 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_64-9_1_2_line_9 |  | 6 | 8 | 0.030755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_64-9_1_2_line_10 |  | 7 | 9 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_64-9_1_2_line_11 |  | 10 | 11 | 0.00086653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_64-9_1_2_line_12 |  | 11 | 12 | 0.045701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_64-9_1_2_line_13 |  | 12 | 14 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_64-9_1_2_line_14 |  | 12 | 15 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_64-9_1_2_line_15 |  | 12 | 13 | 0.040102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_64-9_1_2_line_16 |  | 14 | 24 | 0.033804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_64-9_1_2_line_17 |  | 15 | 26 | 0.0078472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_64-9_1_2_line_18 |  | 16 | 17 | 0.014354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_64-9_1_2_line_19 |  | 16 | 18 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_64-9_1_2_line_20 |  | 17 | 19 | 0.023593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_64-9_1_2_line_21 |  | 18 | 20 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_64-9_1_2_line_22 |  | 18 | 21 | 0.017817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_64-9_1_2_line_23 |  | 19 | 22 | 0.0068583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_64-9_1_2_line_24 |  | 19 | 23 | 0.014655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_64-9_1_2_line_25 |  | 20 | 24 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_64-9_1_2_line_26 |  | 21 | 25 | 0.024425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_64-9_1_2_line_27 |  | 22 | 27 | 0.024041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_64-9_1_2_line_28 |  | 25 | 47 | 0.016091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_64-9_1_2_line_29 |  | 25 | 28 | 0.022417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_64-9_1_2_line_30 |  | 28 | 29 | 0.021616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_64-9_1_2_line_31 |  | 29 | 50 | 0.014669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_64-9_1_2_line_32 |  | 30 | 31 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_64-9_1_2_line_33 |  | 30 | 32 | 0.0074946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_64-9_1_2_line_34 |  | 32 | 33 | 0.010365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_64-9_1_2_line_35 |  | 33 | 34 | 0.007214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_64-9_1_2_line_36 |  | 34 | 35 | 0.019224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_64-9_1_2_line_37 |  | 35 | 36 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_64-9_1_2_line_38 |  | 36 | 37 | 0.0013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_64-9_1_2_line_39 |  | 37 | 38 | 0.017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_64-9_1_2_line_40 |  | 38 | 55 | 0.039981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_64-9_1_2_line_41 |  | 39 | 40 | 0.002842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_64-9_1_2_line_42 |  | 39 | 41 | 0.004469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_64-9_1_2_line_43 |  | 40 | 42 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_64-9_1_2_line_44 |  | 41 | 43 | 0.027227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_64-9_1_2_line_45 |  | 42 | 44 | 0.010288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_64-9_1_2_line_46 |  | 43 | 45 | 0.0079115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_64-9_1_2_line_47 |  | 44 | 48 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_64-9_1_2_line_48 |  | 45 | 46 | 0.0036337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_64-9_1_2_line_49 |  | 46 | 47 | 0.039583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_64-9_1_2_line_50 |  | 48 | 54 | 0.030572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_64-9_1_2_line_51 |  | 48 | 55 | 0.035337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_64-9_1_2_line_52 |  | 49 | 57 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_64-9_1_2_line_53 |  | 50 | 51 | 0.024224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_64-9_1_2_line_54 |  | 51 | 52 | 0.0039247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_64-9_1_2_line_55 |  | 52 | 53 | 0.0056743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_64-9_1_2_line_56 |  | 54 | 56 | 0.027774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_64-9_1_2_trafo_33 | 0.63 MVA 20/0.4 kV | 58 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2690171.5926 | 1257078.8653 | 2690171.2204 | 1257080.2797
1 | 2690171.5926 | 1257078.8653 | 2690176.4232 | 1257060.5113 | 2690173.3273 | 1257049.8781 | 2690173.236 | 1257039.698
2 | 2690177.8077 | 1257119.1004 | 2690175.2781 | 1257111.8895 | 2690175.5395 | 1257107.112 | 2690167.8737 | 1257092.9953 | 2690171.2204 | 1257080.2797
3 | 2690173.236 | 1257039.698 | 2690173.1826 | 1257033.7583
4 | 2690132.9916 | 1257037.4213 | 2690139.9713 | 1257024.606 | 2690153.9088 | 1257006.996
5 | 2690116.9363 | 1257055.9909 | 2690128.1627 | 1257046.2876 | 2690132.9916 | 1257037.4213
6 | 2690169.6766 | 1256987.0734 | 2690153.9088 | 1257006.996
7 | 2690132.5182 | 1257104.933 | 2690129.8194 | 1257085.5546 | 2690122.8712 | 1257064.9216 | 2690116.9363 | 1257055.9909
8 | 2690193.3203 | 1257006.8267 | 2690180.9548 | 1257020.2297
9 | 2690169.6766 | 1256987.0734 | 2690175.9692 | 1256992.3289 | 2690179.0597 | 1256994.9113 | 2690188.0852 | 1257002.4547 | 2690190.9523 | 1257004.8447 | 2690193.3203 | 1257006.8267
10 | 2690180.9548 | 1257020.2297 | 2690173.1373 | 1257028.7031 | 2690173.1826 | 1257033.7583
11 | 2690246.523 | 1257273.3991 | 2690246.5324 | 1257274.2656
12 | 2690245.6233 | 1257227.7074 | 2690246.4766 | 1257269.1639 | 2690246.523 | 1257273.3991
13 | 2690245.6233 | 1257227.7074 | 2690244.0712 | 1257207.4842
14 | 2690245.6233 | 1257227.7074 | 2690225.884 | 1257224.8815
15 | 2690245.6233 | 1257227.7074 | 2690253.8553 | 1257230.3905 | 2690283.6932 | 1257240.3114
16 | 2690244.0712 | 1257207.4842 | 2690241.4844 | 1257173.7798
17 | 2690225.884 | 1257224.8815 | 2690218.116 | 1257223.7694
18 | 2690220.031 | 1257147.1632 | 2690217.8075 | 1257147.3095 | 2690216.3505 | 1257147.4096 | 2690205.7087 | 1257148.1198
19 | 2690235.8651 | 1257144.1267 | 2690229.0608 | 1257144.7457 | 2690229.1528 | 1257146.6263 | 2690225.3717 | 1257146.8133 | 2690222.7446 | 1257146.9845 | 2690220.031 | 1257147.1632
20 | 2690182.168 | 1257149.6907 | 2690205.7087 | 1257148.1198
21 | 2690235.8651 | 1257144.1267 | 2690238.3284 | 1257154.7153
22 | 2690235.8651 | 1257144.1267 | 2690231.5036 | 1257126.8522
23 | 2690182.168 | 1257149.6907 | 2690181.2002 | 1257142.901
24 | 2690182.168 | 1257149.6907 | 2690182.0768 | 1257153.6924 | 2690179.1118 | 1257156.7385 | 2690174.9638 | 1257161.614
25 | 2690241.4844 | 1257173.7798 | 2690240.8547 | 1257165.5751 | 2690238.3284 | 1257154.7153
26 | 2690225.5244 | 1257103.1704 | 2690231.5036 | 1257126.8522
27 | 2690177.8077 | 1257119.1004 | 2690181.2002 | 1257142.901
28 | 2690225.5244 | 1257103.1704 | 2690241.186 | 1257099.4784
29 | 2690225.5244 | 1257103.1704 | 2690212.8182 | 1257106.0569 | 2690207.9853 | 1257105.4828 | 2690203.7902 | 1257103.6396
30 | 2690203.7902 | 1257103.6396 | 2690201.4981 | 1257098.6564 | 2690201.8411 | 1257090.0104 | 2690204.1472 | 1257082.8964
31 | 2690208.6707 | 1257068.9424 | 2690208.6707 | 1257068.9424 | 2690204.1472 | 1257082.8964
32 | 2690314.6762 | 1257187.351 | 2690313.6 | 1257198.8266
33 | 2690314.6762 | 1257187.351 | 2690315.0468 | 1257183.398 | 2690316.1523 | 1257180.0516
34 | 2690316.1523 | 1257180.0516 | 2690319.4035 | 1257170.2097 | 2690319.4035 | 1257170.2097
35 | 2690319.4035 | 1257170.2097 | 2690324.1342 | 1257164.7635
36 | 2690324.1342 | 1257164.7635 | 2690328.9836 | 1257159.1806 | 2690339.4364 | 1257153.6431
37 | 2690339.4364 | 1257153.6431 | 2690343.1632 | 1257151.6689 | 2690356.365 | 1257150.4152
38 | 2690357.7133 | 1257150.2871 | 2690356.365 | 1257150.4152
39 | 2690375.4422 | 1257148.6035 | 2690357.7133 | 1257150.2871
40 | 2690375.4422 | 1257148.6035 | 2690372.8971 | 1257108.7034
41 | 2690321.7998 | 1257080.4715 | 2690324.566 | 1257079.8192
42 | 2690321.7998 | 1257080.4715 | 2690317.4501 | 1257081.4971
43 | 2690324.566 | 1257079.8192 | 2690337.1941 | 1257076.8415 | 2690346.1221 | 1257075.4433 | 2690349.4873 | 1257074.9142
44 | 2690290.9497 | 1257087.7459 | 2690317.4501 | 1257081.4971
45 | 2690359.7094 | 1257073.909 | 2690354.4378 | 1257074.1359 | 2690349.4873 | 1257074.9142
46 | 2690290.9497 | 1257087.7459 | 2690283.2493 | 1257089.5616
47 | 2690370.6477 | 1257073.4383 | 2690359.7094 | 1257073.909
48 | 2690283.2493 | 1257089.5616 | 2690279.7126 | 1257090.3955
49 | 2690279.7126 | 1257090.3955 | 2690268.4544 | 1257093.0502 | 2690241.186 | 1257099.4784
50 | 2690370.6477 | 1257073.4383 | 2690401.213 | 1257072.81
51 | 2690370.6477 | 1257073.4383 | 2690372.8971 | 1257108.7034
52 | 2690132.5182 | 1257104.933 | 2690150.4978 | 1257097.4676
53 | 2690208.6707 | 1257068.9424 | 2690223.0753 | 1257049.4664
54 | 2690225.2181 | 1257046.2393 | 2690225.1879 | 1257046.61 | 2690223.0753 | 1257049.4664
55 | 2690225.2181 | 1257046.2393 | 2690225.6781 | 1257040.5837
56 | 2690428.8037 | 1257070.1079 | 2690411.9206 | 1257072.5899 | 2690401.213 | 1257072.81

## bus_geodata
| x | y | coords
0 | 2690171.5926 | 1257078.8653
1 | 2690171.2204 | 1257080.2797
2 | 2690173.236 | 1257039.698
3 | 2690132.9916 | 1257037.4213
4 | 2690153.9088 | 1257006.996
5 | 2690116.9363 | 1257055.9909
6 | 2690193.3203 | 1257006.8267
7 | 2690180.9548 | 1257020.2297
8 | 2690169.6766 | 1256987.0734
9 | 2690173.1826 | 1257033.7583
10 | 2690246.5324 | 1257274.2656
11 | 2690246.523 | 1257273.3991
12 | 2690245.6233 | 1257227.7074
13 | 2690283.6932 | 1257240.3114
14 | 2690244.0712 | 1257207.4842
15 | 2690225.884 | 1257224.8815
16 | 2690220.031 | 1257147.1632
17 | 2690205.7087 | 1257148.1198
18 | 2690235.8651 | 1257144.1267
19 | 2690182.168 | 1257149.6907
20 | 2690238.3284 | 1257154.7153
21 | 2690231.5036 | 1257126.8522
22 | 2690181.2002 | 1257142.901
23 | 2690174.9638 | 1257161.614
24 | 2690241.4844 | 1257173.7798
25 | 2690225.5244 | 1257103.1704
26 | 2690218.116 | 1257223.7694
27 | 2690177.8077 | 1257119.1004
28 | 2690203.7902 | 1257103.6396
29 | 2690204.1472 | 1257082.8964
30 | 2690314.6762 | 1257187.351
31 | 2690313.6 | 1257198.8266
32 | 2690316.1523 | 1257180.0516
33 | 2690319.4035 | 1257170.2097
34 | 2690324.1342 | 1257164.7635
35 | 2690339.4364 | 1257153.6431
36 | 2690356.365 | 1257150.4152
37 | 2690357.7133 | 1257150.2871
38 | 2690375.4422 | 1257148.6035
39 | 2690321.7998 | 1257080.4715
40 | 2690324.566 | 1257079.8192
41 | 2690317.4501 | 1257081.4971
42 | 2690349.4873 | 1257074.9142
43 | 2690290.9497 | 1257087.7459
44 | 2690359.7094 | 1257073.909
45 | 2690283.2493 | 1257089.5616
46 | 2690279.7126 | 1257090.3955
47 | 2690241.186 | 1257099.4784
48 | 2690370.6477 | 1257073.4383
49 | 2690132.5182 | 1257104.933
50 | 2690208.6707 | 1257068.9424
51 | 2690223.0753 | 1257049.4664
52 | 2690225.2181 | 1257046.2393
53 | 2690225.6781 | 1257040.5837
54 | 2690401.213 | 1257072.81
55 | 2690372.8971 | 1257108.7034
56 | 2690428.8037 | 1257070.1079
57 | 2690150.4978 | 1257097.4676
58 | 2690235.8651 | 1257144.1267

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1