## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6404-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6404-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6404-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6404-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6404-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6404-10_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_6404-10_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_6404-10_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_6404-10_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_6404-10_0_4_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_6404-10_0_4_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_6404-10_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6404-10_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6404-10_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6404-10_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6404-10_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6404-10_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6404-10_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6404-10_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6404-10_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6404-10_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6404-10_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6404-10_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6404-10_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_6404-10_0_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_6404-10_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_6404-10_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6404-10_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6404-10_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6404-10_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6404-10_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_6404-10_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_6404-10_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_6404-10_0_4_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_6404-10_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6404-10_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_6404-10_0_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_6404-10_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_6404-10_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6404-10_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6404-10_0_4_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_6404-10_0_4_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_6404-10_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_6404-10_0_4_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_6404-10_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6404-10_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6404-10_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6404-10_0_4_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_6404-10_0_4_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_6404-10_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6404-10_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_6404-10_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_6404-10_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6404-10_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6404-10_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_6404-10_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_6404-10_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_6404-10_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_6404-10_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6404-10_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6404-10_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6404-10_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_6404-10_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_6404-10_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_6404-10_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6404-10_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6404-10_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_6404-10_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_6404-10_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_6404-10_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_6404-10_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_6404-10_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_6404-10_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_6404-10_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6404-10_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_6404-10_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_6404-10_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_6404-10_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_6404-10_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6404-10_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6404-10_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_6404-10_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_6404-10_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_6404-10_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_6404-10_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_6404-10_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6404-10_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_6404-10_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_MV_320_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6404-10_0_4_load_0 | 0 | 0.011123 | 0.0027877 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6404-10_0_4_load_3 | 3 | 0.00092863 | 0.00023274 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6404-10_0_4_load_29 | 5 | 0.00089721 | 0.00022486 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6404-10_0_4_load_33 | 6 | 0.00071393 | 0.00017893 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6404-10_0_4_load_31 | 7 | 0.0017427 | 0.00043677 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6404-10_0_4_load_30 | 8 | 0.00078745 | 0.00019735 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6404-10_0_4_load_84 | 9 | 0.0016816 | 0.00042144 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6404-10_0_4_load_5 | 11 | 0.0098222 | 0.0024617 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6404-10_0_4_load_6 | 12 | 0.0086877 | 0.0021773 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6404-10_0_4_load_7 | 13 | 0.013699 | 0.0034333 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6404-10_0_4_load_8 | 14 | 0.026276 | 0.0065853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6404-10_0_4_load_9 | 15 | 0.010237 | 0.0025656 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6404-10_0_4_load_10 | 16 | 0.0071418 | 0.0017899 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6404-10_0_4_load_15 | 17 | 0.0095339 | 0.0023894 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6404-10_0_4_load_11 | 18 | 0.0015717 | 0.0003939 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6404-10_0_4_load_16 | 19 | 0.0099975 | 0.0025056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6404-10_0_4_load_12 | 20 | 0.0018974 | 0.00047552 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6404-10_0_4_load_13 | 21 | 0.0094604 | 0.002371 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6404-10_0_4_load_26 | 23 | 0.077051 | 0.019311 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6404-10_0_4_load_68 | 24 | 0.00038939 | 9.759e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6404-10_0_4_load_25 | 25 | 0.018433 | 0.0046198 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6404-10_0_4_load_23 | 29 | 0.0028655 | 0.00071816 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6404-10_0_4_load_20 | 30 | 0.083308 | 0.020879 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6404-10_0_4_load_55 | 31 | 0.0017182 | 0.00043063 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6404-10_0_4_load_58 | 32 | 0.011953 | 0.0029957 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6404-10_0_4_load_73 | 33 | 0.016925 | 0.0042419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6404-10_0_4_load_21 | 34 | 0.0036403 | 0.00091234 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6404-10_0_4_load_56 | 36 | 0.0012879 | 0.00032278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6404-10_0_4_load_22 | 37 | 0.017224 | 0.0043166 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6404-10_0_4_load_24 | 38 | 0.003263 | 0.00081778 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6404-10_0_4_load_71 | 40 | 0.0017193 | 0.0004309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6404-10_0_4_load_67 | 41 | 0.017743 | 0.0044469 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6404-10_0_4_load_27 | 42 | 0.016826 | 0.0042171 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6404-10_0_4_load_82 | 43 | 0.017749 | 0.0044484 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6404-10_0_4_load_35 | 44 | 0.0019685 | 0.00049335 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6404-10_0_4_load_36 | 45 | 0.0027996 | 0.00070166 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6404-10_0_4_load_34 | 46 | 0.0022203 | 0.00055646 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6404-10_0_4_load_87 | 47 | 0.00067276 | 0.00016861 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6404-10_0_4_load_83 | 48 | 0.001382 | 0.00034636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6404-10_0_4_load_37 | 49 | 0.0027846 | 0.00069789 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6404-10_0_4_load_38 | 50 | 0.0017182 | 0.00043063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6404-10_0_4_load_39 | 51 | 0.0018865 | 0.00047279 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6404-10_0_4_load_46 | 53 | 0.0034141 | 0.00085566 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6404-10_0_4_load_47 | 54 | 0.0017197 | 0.000431 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6404-10_0_4_load_40 | 55 | 0.0023864 | 0.00059809 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6404-10_0_4_load_42 | 57 | 0.0033145 | 0.00083069 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6404-10_0_4_load_43 | 58 | 0.0032329 | 0.00081024 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6404-10_0_4_load_44 | 59 | 0.0049076 | 0.00123 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6404-10_0_4_load_48 | 60 | 0.0015117 | 0.00037886 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6404-10_0_4_load_49 | 61 | 0.0027983 | 0.00070132 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6404-10_0_4_load_52 | 62 | 0.0011051 | 0.00027697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6404-10_0_4_load_53 | 63 | 0.0017187 | 0.00043073 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6404-10_0_4_load_50 | 64 | 0.0034273 | 0.00085897 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6404-10_0_4_load_51 | 65 | 0.0020683 | 0.00051837 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6404-10_0_4_load_57 | 66 | 0.0011944 | 0.00029935 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6404-10_0_4_load_59 | 67 | 0.0016145 | 0.00040463 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6404-10_0_4_load_61 | 69 | 0.0013801 | 0.00034587 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6404-10_0_4_load_62 | 70 | 0.0011911 | 0.00029851 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6404-10_0_4_load_63 | 71 | 0.0020914 | 0.00052415 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6404-10_0_4_load_64 | 72 | 0.0010957 | 0.0002746 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6404-10_0_4_load_65 | 73 | 0.0015294 | 0.0003833 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6404-10_0_4_load_66 | 74 | 0.019713 | 0.0049404 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6404-10_0_4_load_80 | 75 | 0.016521 | 0.0041406 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6404-10_0_4_load_69 | 76 | 0.0017187 | 0.00043073 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6404-10_0_4_load_70 | 77 | 0.010148 | 0.0025435 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6404-10_0_4_load_72 | 78 | 0.0017182 | 0.00043063 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6404-10_0_4_load_74 | 79 | 0.0017193 | 0.0004309 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6404-10_0_4_load_79 | 80 | 0.016521 | 0.0041406 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6404-10_0_4_load_77 | 81 | 0.0027979 | 0.00070122 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6404-10_0_4_load_75 | 82 | 0.00078745 | 0.00019735 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6404-10_0_4_load_76 | 83 | 0.0010045 | 0.00025174 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6404-10_0_4_load_78 | 84 | 0.00078764 | 0.0001974 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6404-10_0_4_load_81 | 85 | 0.017415 | 0.0043646 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6404-10_0_4_load_85 | 86 | 0.0010245 | 0.00025676 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6404-10_0_4_load_86 | 87 | 0.00092701 | 0.00023233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6404-10_0_4_line_0 |  | 0 | 1 | 0.0096377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6404-10_0_4_line_1 |  | 0 | 2 | 0.025043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6404-10_0_4_line_2 |  | 1 | 3 | 0.030273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6404-10_0_4_line_3 |  | 2 | 4 | 0.035392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6404-10_0_4_line_4 |  | 3 | 5 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6404-10_0_4_line_5 |  | 4 | 6 | 0.010748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6404-10_0_4_line_6 |  | 4 | 7 | 0.059216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6404-10_0_4_line_7 |  | 5 | 8 | 0.003396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6404-10_0_4_line_8 |  | 6 | 9 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6404-10_0_4_line_9 |  | 7 | 10 | 0.0028037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6404-10_0_4_line_10 |  | 8 | 44 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6404-10_0_4_line_11 |  | 9 | 48 | 0.018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6404-10_0_4_line_12 |  | 10 | 46 | 0.022465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6404-10_0_4_line_13 |  | 10 | 47 | 0.057154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6404-10_0_4_line_14 |  | 11 | 12 | 2.8651e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6404-10_0_4_line_15 |  | 11 | 13 | 0.011166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6404-10_0_4_line_16 |  | 12 | 14 | 0.0016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6404-10_0_4_line_17 |  | 13 | 15 | 0.014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6404-10_0_4_line_18 |  | 14 | 16 | 0.0032773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6404-10_0_4_line_19 |  | 15 | 17 | 0.0022777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6404-10_0_4_line_20 |  | 16 | 18 | 0.0061937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6404-10_0_4_line_21 |  | 17 | 19 | 0.0057504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6404-10_0_4_line_22 |  | 18 | 20 | 0.0076805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6404-10_0_4_line_23 |  | 19 | 26 | 0.024345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6404-10_0_4_line_24 |  | 20 | 21 | 0.04136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6404-10_0_4_line_25 |  | 21 | 22 | 0.057206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6404-10_0_4_line_26 |  | 22 | 23 | 0.057356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6404-10_0_4_line_27 |  | 22 | 24 | 0.21683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6404-10_0_4_line_28 |  | 23 | 25 | 0.012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6404-10_0_4_line_29 |  | 25 | 42 | 0.068168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6404-10_0_4_line_30 |  | 26 | 27 | 0.032313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6404-10_0_4_line_31 |  | 26 | 28 | 0.017843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6404-10_0_4_line_32 |  | 27 | 29 | 0.017056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6404-10_0_4_line_33 |  | 27 | 30 | 0.0075027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6404-10_0_4_line_34 |  | 28 | 31 | 0.027731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6404-10_0_4_line_35 |  | 28 | 32 | 0.015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6404-10_0_4_line_36 |  | 29 | 33 | 0.026627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6404-10_0_4_line_37 |  | 30 | 34 | 0.026787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6404-10_0_4_line_38 |  | 31 | 35 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6404-10_0_4_line_39 |  | 32 | 36 | 0.0077702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6404-10_0_4_line_40 |  | 33 | 40 | 0.0058431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6404-10_0_4_line_41 |  | 34 | 37 | 0.026897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6404-10_0_4_line_42 |  | 35 | 63 | 0.014781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6404-10_0_4_line_43 |  | 35 | 65 | 0.01464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6404-10_0_4_line_44 |  | 36 | 66 | 0.0072111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6404-10_0_4_line_45 |  | 37 | 38 | 0.024875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6404-10_0_4_line_46 |  | 38 | 39 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6404-10_0_4_line_47 |  | 39 | 41 | 0.03864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6404-10_0_4_line_48 |  | 40 | 76 | 0.032573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6404-10_0_4_line_49 |  | 41 | 43 | 0.031233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6404-10_0_4_line_50 |  | 43 | 75 | 0.033822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6404-10_0_4_line_51 |  | 44 | 45 | 0.012925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6404-10_0_4_line_52 |  | 45 | 49 | 0.0097606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6404-10_0_4_line_53 |  | 48 | 86 | 0.005834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6404-10_0_4_line_54 |  | 49 | 50 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6404-10_0_4_line_55 |  | 50 | 51 | 0.0021351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6404-10_0_4_line_56 |  | 51 | 52 | 0.022907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6404-10_0_4_line_57 |  | 52 | 53 | 0.015526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6404-10_0_4_line_58 |  | 52 | 54 | 0.0065221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6404-10_0_4_line_59 |  | 53 | 58 | 0.00011863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6404-10_0_4_line_60 |  | 54 | 62 | 0.024077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6404-10_0_4_line_61 |  | 55 | 56 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6404-10_0_4_line_62 |  | 55 | 57 | 0.0055408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6404-10_0_4_line_63 |  | 56 | 58 | 0.02144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6404-10_0_4_line_64 |  | 56 | 59 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6404-10_0_4_line_65 |  | 59 | 60 | 0.024991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6404-10_0_4_line_66 |  | 60 | 61 | 0.0099762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6404-10_0_4_line_67 |  | 62 | 63 | 0.0073016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6404-10_0_4_line_68 |  | 64 | 65 | 0.0015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6404-10_0_4_line_69 |  | 66 | 67 | 0.0080714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6404-10_0_4_line_70 |  | 67 | 68 | 0.014054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6404-10_0_4_line_71 |  | 68 | 69 | 0.0093719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6404-10_0_4_line_72 |  | 68 | 70 | 0.011344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6404-10_0_4_line_73 |  | 69 | 71 | 0.0043381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6404-10_0_4_line_74 |  | 70 | 72 | 0.0085331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6404-10_0_4_line_75 |  | 72 | 73 | 0.00079651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6404-10_0_4_line_76 |  | 73 | 74 | 0.0026212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6404-10_0_4_line_77 |  | 75 | 85 | 0.031917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6404-10_0_4_line_78 |  | 76 | 77 | 0.027577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6404-10_0_4_line_79 |  | 77 | 78 | 0.0040442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6404-10_0_4_line_80 |  | 78 | 79 | 0.032133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6404-10_0_4_line_81 |  | 79 | 80 | 0.030707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6404-10_0_4_line_82 |  | 80 | 81 | 0.0016441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6404-10_0_4_line_83 |  | 81 | 82 | 0.031761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6404-10_0_4_line_84 |  | 82 | 83 | 0.016095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6404-10_0_4_line_85 |  | 83 | 84 | 0.015975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6404-10_0_4_line_86 |  | 86 | 87 | 0.015135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6404-10_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 88 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2554257.4301 | 1200539.0189 | 2554253.2488 | 1200530.3354
1 | 2554242.3841 | 1200507.7722 | 2554253.2488 | 1200530.3354
2 | 2554257.4301 | 1200539.0189 | 2554274.2991 | 1200563.8258 | 2554274.4583 | 1200564.0488
3 | 2554242.3841 | 1200507.7722 | 2554253.0867 | 1200501.7756 | 2554257.1877 | 1200499.5206 | 2554263.2203 | 1200497.0062 | 2554269.261 | 1200495.5479 | 2554274.9233 | 1200494.3816
4 | 2554274.4583 | 1200564.0488 | 2554285.384 | 1200579.3569
5 | 2554274.9233 | 1200494.3816 | 2554275.965 | 1200483.6845
6 | 2554274.9233 | 1200494.3816 | 2554290.4525 | 1200500.3215 | 2554296.2655 | 1200502.9228 | 2554328.2122 | 1200519.9926
7 | 2554285.384 | 1200579.3569 | 2554287.3568 | 1200582.1211
8 | 2554277.0492 | 1200472.5519 | 2554275.965 | 1200483.6845
9 | 2554330.6851 | 1200521.3139 | 2554328.2122 | 1200519.9926
10 | 2554297.022 | 1200593.2293 | 2554290.6818 | 1200586.7798 | 2554287.3568 | 1200582.1211
11 | 2554278.875 | 1200453.8043 | 2554277.0492 | 1200472.5519
12 | 2554330.6851 | 1200521.3139 | 2554340.7641 | 1200527.3068 | 2554350.38 | 1200532.0872
13 | 2554330.6851 | 1200521.3139 | 2554365.7293 | 1200476.1645
14 | 2554456.0407 | 1200774.5299 | 2554456.0503 | 1200774.5569
15 | 2554452.3084 | 1200764.0057 | 2554456.0407 | 1200774.5299
16 | 2554456.5858 | 1200776.0669 | 2554456.0503 | 1200774.5569
17 | 2554447.5757 | 1200750.6607 | 2554452.3084 | 1200764.0057
18 | 2554456.5858 | 1200776.0669 | 2554456.6469 | 1200776.2392 | 2554457.6925 | 1200779.1516
19 | 2554447.5757 | 1200750.6607 | 2554447.5757 | 1200750.6607 | 2554446.4916 | 1200748.6576
20 | 2554457.6925 | 1200779.1516 | 2554459.7852 | 1200784.9811
21 | 2554446.4916 | 1200748.6576 | 2554443.7544 | 1200743.6004
22 | 2554459.7852 | 1200784.9811 | 2554462.3803 | 1200792.2099
23 | 2554432.1567 | 1200722.1958 | 2554434.4883 | 1200726.4804 | 2554443.7544 | 1200743.6004
24 | 2554484.3887 | 1200826.5019 | 2554474.6962 | 1200817.2246 | 2554468.0175 | 1200804.8797 | 2554464.7823 | 1200798.9011 | 2554462.3803 | 1200792.2099
25 | 2554524.6462 | 1200867.105 | 2554517.7698 | 1200860.7427 | 2554509.257 | 1200852.4252 | 2554505.5067 | 1200848.7517 | 2554489.4342 | 1200831.3312 | 2554484.3887 | 1200826.5019
26 | 2554524.6462 | 1200867.105 | 2554520.2811 | 1200871.6297 | 2554511.097 | 1200880.0713 | 2554507.3705 | 1200883.5016 | 2554491.1831 | 1200894.8761 | 2554479.1566 | 1200901.5324
27 | 2554524.6462 | 1200867.105 | 2554738.5015 | 1200902.9089
28 | 2554467.9509 | 1200907.7344 | 2554479.1566 | 1200901.5324
29 | 2554467.9509 | 1200907.7344 | 2554404.1638 | 1200931.7772
30 | 2554403.5215 | 1200737.3233 | 2554432.1567 | 1200722.1958
31 | 2554423.6178 | 1200706.5188 | 2554432.1567 | 1200722.1958
32 | 2554403.5215 | 1200737.3233 | 2554390.6259 | 1200726.1605
33 | 2554403.5215 | 1200737.3233 | 2554396.8882 | 1200740.829
34 | 2554423.6178 | 1200706.5188 | 2554403.6295 | 1200687.2967
35 | 2554423.6178 | 1200706.5188 | 2554428.0231 | 1200705.2511 | 2554435.4422 | 1200697.0835
36 | 2554370.4939 | 1200708.7335 | 2554390.6259 | 1200726.1605
37 | 2554396.8882 | 1200740.829 | 2554373.2053 | 1200753.3455
38 | 2554389.5539 | 1200673.7608 | 2554403.6295 | 1200687.2967
39 | 2554440.6667 | 1200691.3319 | 2554435.4422 | 1200697.0835
40 | 2554370.4939 | 1200708.7335 | 2554366.0761 | 1200704.9093
41 | 2554373.2053 | 1200753.3455 | 2554362.8169 | 1200758.8358 | 2554349.0855 | 1200765.2292
42 | 2554389.5539 | 1200673.7608 | 2554377.918 | 1200664.6457
43 | 2554389.5539 | 1200673.7608 | 2554399.3367 | 1200662.8698
44 | 2554440.6667 | 1200691.3319 | 2554445.5153 | 1200685.9942
45 | 2554349.0855 | 1200765.2292 | 2554326.5355 | 1200775.7286
46 | 2554310.3059 | 1200783.2852 | 2554326.5355 | 1200775.7286
47 | 2554310.3059 | 1200783.2852 | 2554281.1282 | 1200757.9528
48 | 2554341.4486 | 1200683.591 | 2554366.0761 | 1200704.9093
49 | 2554281.1282 | 1200757.9528 | 2554257.5439 | 1200737.4767
50 | 2554232.0044 | 1200715.3031 | 2554257.5439 | 1200737.4767
51 | 2554297.022 | 1200593.2293 | 2554303.525 | 1200599.8443 | 2554306.2523 | 1200602.2689
52 | 2554313.547 | 1200608.7541 | 2554306.2523 | 1200602.2689
53 | 2554278.875 | 1200453.8043 | 2554279.4404 | 1200447.9978
54 | 2554313.547 | 1200608.7541 | 2554330.2366 | 1200623.5915
55 | 2554331.8323 | 1200625.0101 | 2554330.2366 | 1200623.5915
56 | 2554348.9524 | 1200640.2303 | 2554331.8323 | 1200625.0101
57 | 2554348.9524 | 1200640.2303 | 2554359.2114 | 1200628.5759
58 | 2554348.9524 | 1200640.2303 | 2554353.8275 | 1200644.5629
59 | 2554359.2898 | 1200628.4869 | 2554359.2114 | 1200628.5759
60 | 2554372.17 | 1200660.143 | 2554365.3236 | 1200654.7799 | 2554353.8275 | 1200644.5629
61 | 2554373.4562 | 1200612.3936 | 2554361.5879 | 1200602.922
62 | 2554357.2572 | 1200599.4658 | 2554361.5879 | 1200602.922
63 | 2554373.4562 | 1200612.3936 | 2554359.2898 | 1200628.4869
64 | 2554373.4562 | 1200612.3936 | 2554384.5049 | 1200620.4596
65 | 2554384.5049 | 1200620.4596 | 2554404.6893 | 1200635.1948
66 | 2554404.6893 | 1200635.1948 | 2554412.4891 | 1200640.8889 | 2554412.5366 | 1200641.2044
67 | 2554372.17 | 1200660.143 | 2554377.918 | 1200664.6457
68 | 2554400.3865 | 1200661.7011 | 2554399.3367 | 1200662.8698
69 | 2554445.5153 | 1200685.9942 | 2554450.9423 | 1200680.0196
70 | 2554460.3917 | 1200669.6169 | 2554450.9423 | 1200680.0196
71 | 2554460.3917 | 1200669.6169 | 2554452.9435 | 1200663.9285
72 | 2554460.3917 | 1200669.6169 | 2554468.875 | 1200677.1477
73 | 2554449.4959 | 1200661.2954 | 2554452.9435 | 1200663.9285
74 | 2554468.875 | 1200677.1477 | 2554475.2564 | 1200682.8126
75 | 2554475.8521 | 1200683.3414 | 2554475.2564 | 1200682.8126
76 | 2554477.8123 | 1200685.0815 | 2554475.8521 | 1200683.3414
77 | 2554232.0044 | 1200715.3031 | 2554207.9038 | 1200694.3786
78 | 2554341.4486 | 1200683.591 | 2554320.5983 | 1200665.5422
79 | 2554320.5983 | 1200665.5422 | 2554317.5405 | 1200662.8954
80 | 2554317.5405 | 1200662.8954 | 2554293.2453 | 1200641.8646
81 | 2554270.0281 | 1200621.7671 | 2554293.2453 | 1200641.8646
82 | 2554270.0281 | 1200621.7671 | 2554268.785 | 1200620.691
83 | 2554244.7715 | 1200599.9041 | 2554268.785 | 1200620.691
84 | 2554244.7715 | 1200599.9041 | 2554232.6024 | 1200589.3702
85 | 2554232.6024 | 1200589.3702 | 2554220.5237 | 1200578.9145
86 | 2554280.9074 | 1200432.9342 | 2554279.4404 | 1200447.9978

## bus_geodata
| x | y | coords
0 | 2554253.2488 | 1200530.3354
1 | 2554257.4301 | 1200539.0189
2 | 2554242.3841 | 1200507.7722
3 | 2554274.4583 | 1200564.0488
4 | 2554274.9233 | 1200494.3816
5 | 2554285.384 | 1200579.3569
6 | 2554275.965 | 1200483.6845
7 | 2554328.2122 | 1200519.9926
8 | 2554287.3568 | 1200582.1211
9 | 2554277.0492 | 1200472.5519
10 | 2554330.6851 | 1200521.3139
11 | 2554456.0407 | 1200774.5299
12 | 2554456.0503 | 1200774.5569
13 | 2554452.3084 | 1200764.0057
14 | 2554456.5858 | 1200776.0669
15 | 2554447.5757 | 1200750.6607
16 | 2554457.6925 | 1200779.1516
17 | 2554446.4916 | 1200748.6576
18 | 2554459.7852 | 1200784.9811
19 | 2554443.7544 | 1200743.6004
20 | 2554462.3803 | 1200792.2099
21 | 2554484.3887 | 1200826.5019
22 | 2554524.6462 | 1200867.105
23 | 2554479.1566 | 1200901.5324
24 | 2554738.5015 | 1200902.9089
25 | 2554467.9509 | 1200907.7344
26 | 2554432.1567 | 1200722.1958
27 | 2554403.5215 | 1200737.3233
28 | 2554423.6178 | 1200706.5188
29 | 2554390.6259 | 1200726.1605
30 | 2554396.8882 | 1200740.829
31 | 2554403.6295 | 1200687.2967
32 | 2554435.4422 | 1200697.0835
33 | 2554370.4939 | 1200708.7335
34 | 2554373.2053 | 1200753.3455
35 | 2554389.5539 | 1200673.7608
36 | 2554440.6667 | 1200691.3319
37 | 2554349.0855 | 1200765.2292
38 | 2554326.5355 | 1200775.7286
39 | 2554310.3059 | 1200783.2852
40 | 2554366.0761 | 1200704.9093
41 | 2554281.1282 | 1200757.9528
42 | 2554404.1638 | 1200931.7772
43 | 2554257.5439 | 1200737.4767
44 | 2554297.022 | 1200593.2293
45 | 2554306.2523 | 1200602.2689
46 | 2554350.38 | 1200532.0872
47 | 2554365.7293 | 1200476.1645
48 | 2554278.875 | 1200453.8043
49 | 2554313.547 | 1200608.7541
50 | 2554330.2366 | 1200623.5915
51 | 2554331.8323 | 1200625.0101
52 | 2554348.9524 | 1200640.2303
53 | 2554359.2114 | 1200628.5759
54 | 2554353.8275 | 1200644.5629
55 | 2554361.5879 | 1200602.922
56 | 2554373.4562 | 1200612.3936
57 | 2554357.2572 | 1200599.4658
58 | 2554359.2898 | 1200628.4869
59 | 2554384.5049 | 1200620.4596
60 | 2554404.6893 | 1200635.1948
61 | 2554412.5366 | 1200641.2044
62 | 2554372.17 | 1200660.143
63 | 2554377.918 | 1200664.6457
64 | 2554400.3865 | 1200661.7011
65 | 2554399.3367 | 1200662.8698
66 | 2554445.5153 | 1200685.9942
67 | 2554450.9423 | 1200680.0196
68 | 2554460.3917 | 1200669.6169
69 | 2554452.9435 | 1200663.9285
70 | 2554468.875 | 1200677.1477
71 | 2554449.4959 | 1200661.2954
72 | 2554475.2564 | 1200682.8126
73 | 2554475.8521 | 1200683.3414
74 | 2554477.8123 | 1200685.0815
75 | 2554232.0044 | 1200715.3031
76 | 2554341.4486 | 1200683.591
77 | 2554320.5983 | 1200665.5422
78 | 2554317.5405 | 1200662.8954
79 | 2554293.2453 | 1200641.8646
80 | 2554270.0281 | 1200621.7671
81 | 2554268.785 | 1200620.691
82 | 2554244.7715 | 1200599.9041
83 | 2554232.6024 | 1200589.3702
84 | 2554220.5237 | 1200578.9145
85 | 2554207.9038 | 1200694.3786
86 | 2554279.4404 | 1200447.9978
87 | 2554280.9074 | 1200432.9342
88 | 2554396.8882 | 1200740.829

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1