## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6404-4_1_2_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_6404-4_1_2_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_6404-4_1_2_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_6404-4_1_2_node_57 | 0.4 | n |  | TRUE
4 | bus_LV_6404-4_1_2_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_6404-4_1_2_node_114 | 0.4 | n |  | TRUE
6 | bus_LV_6404-4_1_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_6404-4_1_2_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_6404-4_1_2_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_6404-4_1_2_node_121 | 0.4 | n |  | TRUE
10 | bus_LV_6404-4_1_2_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_6404-4_1_2_node_115 | 0.4 | n |  | TRUE
12 | bus_LV_6404-4_1_2_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_6404-4_1_2_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_6404-4_1_2_node_127 | 0.4 | n |  | TRUE
15 | bus_LV_6404-4_1_2_node_125 | 0.4 | n |  | TRUE
16 | bus_LV_6404-4_1_2_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_6404-4_1_2_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_6404-4_1_2_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_6404-4_1_2_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_6404-4_1_2_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_6404-4_1_2_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_6404-4_1_2_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_6404-4_1_2_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_6404-4_1_2_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_6404-4_1_2_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_6404-4_1_2_node_119 | 0.4 | n |  | TRUE
27 | bus_LV_6404-4_1_2_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_6404-4_1_2_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_6404-4_1_2_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_6404-4_1_2_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_6404-4_1_2_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_6404-4_1_2_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_6404-4_1_2_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_6404-4_1_2_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_6404-4_1_2_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_6404-4_1_2_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_6404-4_1_2_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_6404-4_1_2_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_6404-4_1_2_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_6404-4_1_2_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_6404-4_1_2_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_6404-4_1_2_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_6404-4_1_2_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_6404-4_1_2_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_6404-4_1_2_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_6404-4_1_2_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_6404-4_1_2_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_6404-4_1_2_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_6404-4_1_2_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_6404-4_1_2_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_6404-4_1_2_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_6404-4_1_2_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_6404-4_1_2_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_6404-4_1_2_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_6404-4_1_2_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_6404-4_1_2_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_6404-4_1_2_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_6404-4_1_2_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_6404-4_1_2_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_6404-4_1_2_node_96 | 0.4 | n |  | TRUE
61 | bus_LV_6404-4_1_2_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_6404-4_1_2_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_6404-4_1_2_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_6404-4_1_2_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_6404-4_1_2_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_6404-4_1_2_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_6404-4_1_2_node_128 | 0.4 | n |  | TRUE
68 | bus_LV_6404-4_1_2_node_126 | 0.4 | n |  | TRUE
69 | bus_LV_6404-4_1_2_node_120 | 0.4 | n |  | TRUE
70 | bus_LV_6404-4_1_2_node_122 | 0.4 | n |  | TRUE
71 | bus_LV_6404-4_1_2_node_135 | 0.4 | n |  | TRUE
72 | bus_LV_6404-4_1_2_node_134 | 0.4 | n |  | TRUE
73 | bus_LV_6404-4_1_2_node_124 | 0.4 | n |  | TRUE
74 | bus_LV_6404-4_1_2_node_129 | 0.4 | n |  | TRUE
75 | bus_LV_6404-4_1_2_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_6404-4_1_2_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_6404-4_1_2_node_132 | 0.4 | n |  | TRUE
78 | bus_LV_6404-4_1_2_node_133 | 0.4 | n |  | TRUE
79 | bus_LV_6404-4_1_2_node_136 | 0.4 | n |  | TRUE
80 | bus_LV_6404-4_1_2_node_138 | 0.4 | n |  | TRUE
81 | bus_LV_6404-4_1_2_node_139 | 0.4 | n |  | TRUE
82 | bus_LV_6404-4_1_2_node_140 | 0.4 | n |  | TRUE
83 | bus_MV_320_1_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6404-4_1_2_load_56 | 4 | 0.0027691 | 0.000694 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6404-4_1_2_load_114 | 5 | 0.0028596 | 0.00071669 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6404-4_1_2_load_62 | 7 | 0.0012302 | 0.00030833 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6404-4_1_2_load_61 | 8 | 0.0031381 | 0.00078648 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6404-4_1_2_load_121 | 9 | 0.002083 | 0.00052205 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6404-4_1_2_load_53 | 10 | 0.00024182 | 6.0605e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6404-4_1_2_load_63 | 12 | 0.0067517 | 0.0016921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6404-4_1_2_load_55 | 13 | 0.00060698 | 0.00015212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6404-4_1_2_load_127 | 14 | 0.00040925 | 0.00010257 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6404-4_1_2_load_125 | 15 | 0.00081192 | 0.00020349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6404-4_1_2_load_46 | 16 | 0.0029494 | 0.0007392 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6404-4_1_2_load_47 | 17 | 0.0025477 | 0.00063852 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6404-4_1_2_load_48 | 18 | 0.0012794 | 0.00032064 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6404-4_1_2_load_49 | 19 | 0.00067231 | 0.0001685 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6404-4_1_2_load_50 | 20 | 0.0015872 | 0.0003978 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6404-4_1_2_load_51 | 21 | 0.00080292 | 0.00020123 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6404-4_1_2_load_54 | 23 | 0.00041114 | 0.00010304 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6404-4_1_2_load_58 | 24 | 0.00072327 | 0.00018127 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6404-4_1_2_load_59 | 25 | 0.0025134 | 0.00062992 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6404-4_1_2_load_119 | 26 | 0.0024396 | 0.00061142 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6404-4_1_2_load_83 | 28 | 0.00025052 | 6.2785e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6404-4_1_2_load_84 | 29 | 0.0072031 | 0.0018053 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6404-4_1_2_load_68 | 31 | 0.0042478 | 0.0010646 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6404-4_1_2_load_65 | 32 | 0.0015806 | 0.00039614 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6404-4_1_2_load_69 | 33 | 0.00074499 | 0.00018671 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6404-4_1_2_load_66 | 34 | 0.0013111 | 0.00032858 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6404-4_1_2_load_67 | 35 | 0.0019111 | 0.00047897 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6404-4_1_2_load_70 | 36 | 0.0046964 | 0.001177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6404-4_1_2_load_71 | 37 | 0.002356 | 0.00059046 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6404-4_1_2_load_72 | 38 | 0.0039204 | 0.00098254 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6404-4_1_2_load_73 | 39 | 0.0031197 | 0.00078187 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6404-4_1_2_load_74 | 40 | 0.002304 | 0.00057744 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6404-4_1_2_load_77 | 41 | 0.0041275 | 0.0010344 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6404-4_1_2_load_75 | 42 | 0.010838 | 0.0027162 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6404-4_1_2_load_76 | 43 | 0.0022355 | 0.00056026 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6404-4_1_2_load_80 | 46 | 0.0080399 | 0.002015 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6404-4_1_2_load_102 | 50 | 0.002092 | 0.0005243 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6404-4_1_2_load_99 | 51 | 0.0069838 | 0.0017503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6404-4_1_2_load_85 | 52 | 0.001929 | 0.00048345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6404-4_1_2_load_87 | 53 | 0.0015234 | 0.0003818 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6404-4_1_2_load_88 | 54 | 0.0011803 | 0.00029581 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6404-4_1_2_load_89 | 55 | 0.0022776 | 0.00057083 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6404-4_1_2_load_100 | 59 | 0.0018488 | 0.00046336 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6404-4_1_2_load_96 | 60 | 0.0016043 | 0.00040208 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6404-4_1_2_load_123 | 61 | 0.0033752 | 0.00084591 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6404-4_1_2_load_98 | 62 | 0.0029214 | 0.00073218 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6404-4_1_2_load_97 | 63 | 0.00103 | 0.00025814 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6404-4_1_2_load_116 | 64 | 0.0026046 | 0.00065278 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6404-4_1_2_load_118 | 66 | 0.0020181 | 0.00050579 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6404-4_1_2_load_128 | 67 | 0.0015046 | 0.0003771 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6404-4_1_2_load_126 | 68 | 0.0011428 | 0.00028641 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6404-4_1_2_load_120 | 69 | 0.0014571 | 0.00036517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6404-4_1_2_load_122 | 70 | 0.0027971 | 0.00070103 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6404-4_1_2_load_135 | 71 | 0.0031014 | 0.00077729 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6404-4_1_2_load_134 | 72 | 0.0016224 | 0.00040661 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6404-4_1_2_load_124 | 73 | 0.0016893 | 0.00042339 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6404-4_1_2_load_129 | 74 | 0.0028224 | 0.00070737 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6404-4_1_2_load_130 | 75 | 0.0010036 | 0.00025152 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6404-4_1_2_load_131 | 76 | 0.0023403 | 0.00058654 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6404-4_1_2_load_132 | 77 | 0.0007781 | 0.00019501 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6404-4_1_2_load_133 | 78 | 0.0014236 | 0.0003568 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6404-4_1_2_load_138 | 80 | 0.0014028 | 0.00035157 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6404-4_1_2_load_139 | 81 | 0.0014021 | 0.00035139 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6404-4_1_2_load_140 | 82 | 0.0023477 | 0.00058838 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6404-4_1_2_line_0 |  | 0 | 1 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6404-4_1_2_line_1 |  | 0 | 2 | 0.009018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6404-4_1_2_line_2 |  | 1 | 3 | 0.008844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6404-4_1_2_line_3 |  | 1 | 4 | 0.023343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6404-4_1_2_line_4 |  | 2 | 5 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6404-4_1_2_line_5 |  | 3 | 9 | 0.050391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6404-4_1_2_line_6 |  | 4 | 10 | 0.023128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6404-4_1_2_line_7 |  | 5 | 11 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6404-4_1_2_line_8 |  | 6 | 7 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6404-4_1_2_line_9 |  | 6 | 8 | 0.025928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6404-4_1_2_line_10 |  | 7 | 12 | 0.026776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6404-4_1_2_line_11 |  | 8 | 13 | 0.039456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6404-4_1_2_line_12 |  | 9 | 26 | 0.0059689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6404-4_1_2_line_13 |  | 10 | 22 | 0.020657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6404-4_1_2_line_14 |  | 11 | 64 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6404-4_1_2_line_15 |  | 11 | 65 | 0.017908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6404-4_1_2_line_16 |  | 12 | 30 | 0.012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6404-4_1_2_line_17 |  | 13 | 22 | 0.016375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6404-4_1_2_line_18 |  | 14 | 15 | 0.011739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6404-4_1_2_line_19 |  | 15 | 73 | 0.0081706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6404-4_1_2_line_20 |  | 16 | 17 | 0.016583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6404-4_1_2_line_21 |  | 16 | 18 | 0.0046479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6404-4_1_2_line_22 |  | 17 | 19 | 0.027717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6404-4_1_2_line_23 |  | 18 | 20 | 0.020775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6404-4_1_2_line_24 |  | 19 | 21 | 0.016375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6404-4_1_2_line_25 |  | 21 | 22 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6404-4_1_2_line_26 |  | 22 | 23 | 0.018795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6404-4_1_2_line_27 |  | 23 | 24 | 0.021514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6404-4_1_2_line_28 |  | 24 | 25 | 0.03856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6404-4_1_2_line_29 |  | 25 | 27 | 0.028444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6404-4_1_2_line_30 |  | 26 | 69 | 0.022432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6404-4_1_2_line_31 |  | 27 | 28 | 0.059206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6404-4_1_2_line_32 |  | 28 | 29 | 0.037523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6404-4_1_2_line_33 |  | 30 | 31 | 0.019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6404-4_1_2_line_34 |  | 30 | 32 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6404-4_1_2_line_35 |  | 31 | 33 | 0.0038636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6404-4_1_2_line_36 |  | 32 | 34 | 0.0032174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6404-4_1_2_line_37 |  | 33 | 36 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6404-4_1_2_line_38 |  | 34 | 35 | 0.028055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6404-4_1_2_line_39 |  | 36 | 37 | 0.022687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6404-4_1_2_line_40 |  | 37 | 38 | 0.0072538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6404-4_1_2_line_41 |  | 38 | 39 | 0.0016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6404-4_1_2_line_42 |  | 39 | 40 | 0.0083118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6404-4_1_2_line_43 |  | 40 | 41 | 0.012473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6404-4_1_2_line_44 |  | 41 | 42 | 0.0019274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6404-4_1_2_line_45 |  | 42 | 43 | 0.017371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6404-4_1_2_line_46 |  | 43 | 44 | 0.012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6404-4_1_2_line_47 |  | 44 | 45 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6404-4_1_2_line_48 |  | 45 | 46 | 0.023538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6404-4_1_2_line_49 |  | 46 | 47 | 0.0070878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6404-4_1_2_line_50 |  | 47 | 48 | 0.010607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6404-4_1_2_line_51 |  | 48 | 49 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6404-4_1_2_line_52 |  | 48 | 50 | 0.069818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6404-4_1_2_line_53 |  | 49 | 51 | 0.010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6404-4_1_2_line_54 |  | 51 | 63 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6404-4_1_2_line_55 |  | 52 | 53 | 0.010927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6404-4_1_2_line_56 |  | 53 | 54 | 0.002146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6404-4_1_2_line_57 |  | 54 | 55 | 0.017743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6404-4_1_2_line_58 |  | 55 | 56 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6404-4_1_2_line_59 |  | 55 | 57 | 0.032988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6404-4_1_2_line_60 |  | 56 | 58 | 0.041854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6404-4_1_2_line_61 |  | 57 | 59 | 0.0219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6404-4_1_2_line_62 |  | 58 | 60 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6404-4_1_2_line_63 |  | 58 | 61 | 0.095369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6404-4_1_2_line_64 |  | 59 | 62 | 0.0021272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6404-4_1_2_line_65 |  | 62 | 63 | 0.0013421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6404-4_1_2_line_66 |  | 64 | 66 | 0.02006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6404-4_1_2_line_67 |  | 65 | 67 | 0.04416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6404-4_1_2_line_68 |  | 67 | 68 | 0.0070211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6404-4_1_2_line_69 |  | 68 | 73 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6404-4_1_2_line_70 |  | 69 | 70 | 0.0097357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6404-4_1_2_line_71 |  | 70 | 71 | 0.0022391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6404-4_1_2_line_72 |  | 71 | 72 | 0.012196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6404-4_1_2_line_73 |  | 72 | 77 | 0.0048513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6404-4_1_2_line_74 |  | 74 | 75 | 0.0021798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6404-4_1_2_line_75 |  | 74 | 76 | 0.0061114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6404-4_1_2_line_76 |  | 75 | 77 | 0.012404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6404-4_1_2_line_77 |  | 76 | 78 | 0.01686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6404-4_1_2_line_78 |  | 78 | 79 | 0.030534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6404-4_1_2_line_79 |  | 79 | 80 | 0.050129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6404-4_1_2_line_80 |  | 80 | 81 | 3.4828e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6404-4_1_2_line_81 |  | 81 | 82 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6404-4_1_2_trafo_62 | 0.63 MVA 20/0.4 kV | 83 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2553705.7974 | 1200053.6349 | 2553706.8301 | 1200044.4661 | 2553708.0667 | 1200039.9984
1 | 2553699.5771 | 1200036.9182 | 2553705.0953 | 1200038.7097 | 2553708.0667 | 1200039.9984
2 | 2553705.7974 | 1200053.6349 | 2553702.3138 | 1200052.0833 | 2553697.3895 | 1200053.2222
3 | 2553705.7974 | 1200053.6349 | 2553708.3526 | 1200065.0326 | 2553711.9796 | 1200073.2869 | 2553713.3448 | 1200075.5534
4 | 2553699.5771 | 1200036.9182 | 2553688.9681 | 1200032.4647 | 2553681.2944 | 1200027.7896
5 | 2553697.3895 | 1200053.2222 | 2553693.7323 | 1200054.807 | 2553689.8042 | 1200057.7725 | 2553671.8282 | 1200075.1665 | 2553659.147 | 1200085.6757
6 | 2553727.5634 | 1200093.677 | 2553717.4785 | 1200082.4161 | 2553713.3448 | 1200075.5534
7 | 2553668.4451 | 1200019.9615 | 2553681.2944 | 1200027.7896
8 | 2553799.4251 | 1200059.9345 | 2553810.4132 | 1200053.3901 | 2553812.7054 | 1200052.0431
9 | 2553799.4251 | 1200059.9345 | 2553780.3627 | 1200077.5097
10 | 2553835.791 | 1200038.4773 | 2553812.7054 | 1200052.0431
11 | 2553780.3627 | 1200077.5097 | 2553763.029 | 1200093.4912 | 2553749.9244 | 1200102.4596
12 | 2553654.5511 | 1200089.4844 | 2553659.147 | 1200085.6757
13 | 2553736.4109 | 1200111.708 | 2553735.5598 | 1200105.033 | 2553730.2572 | 1200096.6805 | 2553729.927 | 1200096.3162 | 2553727.5634 | 1200093.677
14 | 2553668.4451 | 1200019.9615 | 2553657.9155 | 1200033.2391
15 | 2553655.3997 | 1200007.6559 | 2553668.4451 | 1200019.9615
16 | 2553846.5312 | 1200033.01 | 2553842.2959 | 1200034.6548 | 2553835.791 | 1200038.4773
17 | 2553736.4109 | 1200111.708 | 2553749.9244 | 1200102.4596
18 | 2553574.4976 | 1200011.8906 | 2553586.2361 | 1200012.0442
19 | 2553594.4064 | 1200012.0729 | 2553589.2691 | 1200012.0839 | 2553586.2361 | 1200012.0442
20 | 2553678.7758 | 1200163.6645 | 2553684.6064 | 1200157.9141 | 2553690.9173 | 1200152.3802
21 | 2553675.4666 | 1200166.9282 | 2553678.7758 | 1200163.6645
22 | 2553711.7571 | 1200134.1062 | 2553690.9173 | 1200152.3802
23 | 2553675.4666 | 1200166.9282 | 2553660.6751 | 1200181.5166
24 | 2553711.7571 | 1200134.1062 | 2553724.069 | 1200123.3101
25 | 2553736.4109 | 1200111.708 | 2553728.0086 | 1200119.8555 | 2553724.069 | 1200123.3101
26 | 2553736.4109 | 1200111.708 | 2553738.7118 | 1200130.3619
27 | 2553738.7118 | 1200130.3619 | 2553740.4893 | 1200144.7728 | 2553742.0892 | 1200151.5817
28 | 2553742.0892 | 1200151.5817 | 2553744.9847 | 1200163.9043 | 2553746.9102 | 1200181.4883 | 2553746.8608 | 1200189.701
29 | 2553744.8263 | 1200218.0251 | 2553745.4542 | 1200214.5739 | 2553746.7972 | 1200200.2664 | 2553746.8608 | 1200189.701
30 | 2553654.5511 | 1200089.4844 | 2553637.2794 | 1200103.7979
31 | 2553744.8263 | 1200218.0251 | 2553761.9331 | 1200213.2342 | 2553774.3161 | 1200205.9785 | 2553789.2153 | 1200183.3546
32 | 2553809.853 | 1200152.017 | 2553789.2153 | 1200183.3546
33 | 2553846.5312 | 1200033.01 | 2553864.3455 | 1200026.0962
34 | 2553846.5312 | 1200033.01 | 2553851.4873 | 1200043.1907
35 | 2553864.3455 | 1200026.0962 | 2553867.6927 | 1200024.7971 | 2553867.9502 | 1200024.7058
36 | 2553852.8955 | 1200046.0836 | 2553851.4873 | 1200043.1907
37 | 2553883.365 | 1200019.2417 | 2553867.9502 | 1200024.7058
38 | 2553842.5508 | 1200070.5065 | 2553849.2835 | 1200063.0168 | 2553852.6481 | 1200055.0973 | 2553853.9501 | 1200048.2501 | 2553852.8955 | 1200046.0836
39 | 2553883.365 | 1200019.2417 | 2553893.9845 | 1200015.4774 | 2553904.1683 | 1200010.3082
40 | 2553904.1683 | 1200010.3082 | 2553910.6366 | 1200007.025
41 | 2553912.0817 | 1200006.2915 | 2553910.6366 | 1200007.025
42 | 2553912.0817 | 1200006.2915 | 2553918.8728 | 1200002.8445 | 2553919.4539 | 1200002.4615
43 | 2553919.4539 | 1200002.4615 | 2553929.8689 | 1199995.5985
44 | 2553929.8689 | 1199995.5985 | 2553931.4783 | 1199994.538
45 | 2553931.4783 | 1199994.538 | 2553945.9831 | 1199984.9798
46 | 2553956.003 | 1199978.3771 | 2553945.9831 | 1199984.9798
47 | 2553964.6946 | 1199970.172 | 2553963.1547 | 1199971.8738 | 2553956.003 | 1199978.3771
48 | 2553964.6946 | 1199970.172 | 2553965.2864 | 1199967.944 | 2553965.4634 | 1199962.2727 | 2553964.6373 | 1199946.7359
49 | 2553964.2609 | 1199939.6581 | 2553964.6373 | 1199946.7359
50 | 2553964.2609 | 1199939.6581 | 2553962.0545 | 1199933.9274 | 2553960.105 | 1199929.9069
51 | 2553948.432 | 1199917.8235 | 2553953.7626 | 1199923.9191 | 2553960.105 | 1199929.9069
52 | 2553960.105 | 1199929.9069 | 2553962.3294 | 1199920.2287 | 2553965.0149 | 1199913.0817 | 2553968.1401 | 1199907.6656 | 2553971.9569 | 1199903.0669 | 2553975.7102 | 1199900.114 | 2553981.8513 | 1199896.7981 | 2553989.5595 | 1199893.3255 | 2554007.6534 | 1199887.0712 | 2554008.2906 | 1199886.8639
53 | 2553948.432 | 1199917.8235 | 2553942.513 | 1199909.4756
54 | 2553933.7784 | 1199891.4551 | 2553933.7784 | 1199891.4551 | 2553935.7299 | 1199896.7097 | 2553938.1618 | 1199902.0606 | 2553942.513 | 1199909.4756
55 | 2553923.6571 | 1199803.0327 | 2553924.1737 | 1199808.1711 | 2553924.6492 | 1199813.9142
56 | 2553924.8262 | 1199816.0529 | 2553924.6492 | 1199813.9142
57 | 2553926.29 | 1199833.7359 | 2553924.8262 | 1199816.0529
58 | 2553926.29 | 1199833.7359 | 2553942.0966 | 1199832.9466
59 | 2553926.29 | 1199833.7359 | 2553928.9195 | 1199866.6119
60 | 2553942.0966 | 1199832.9466 | 2553957.6771 | 1199832.4483 | 2553957.7158 | 1199837.4508 | 2553958.3144 | 1199842.9937 | 2553961.3076 | 1199846.1168 | 2553967.9902 | 1199845.8762 | 2553972.4308 | 1199844.1743
61 | 2553928.9195 | 1199866.6119 | 2553930.3072 | 1199877.7186 | 2553932.0504 | 1199885.5763 | 2553932.8001 | 1199888.1267
62 | 2553972.4308 | 1199844.1743 | 2553971.9275 | 1199851.9493 | 2553969.3873 | 1199859.1841 | 2553967.2707 | 1199865.9935
63 | 2553972.4308 | 1199844.1743 | 2554041.7443 | 1199778.6692
64 | 2553933.3999 | 1199890.1675 | 2553932.8001 | 1199888.1267
65 | 2553933.7784 | 1199891.4551 | 2553933.3999 | 1199890.1675
66 | 2553645.4509 | 1200048.9566 | 2553657.9155 | 1200033.2391
67 | 2553655.3997 | 1200007.6559 | 2553624.7453 | 1200012.0078 | 2553611.5468 | 1200012.0361
68 | 2553611.5468 | 1200012.0361 | 2553604.5257 | 1200012.0512
69 | 2553594.4064 | 1200012.0729 | 2553604.5257 | 1200012.0512
70 | 2553629.7833 | 1200110.0102 | 2553637.2794 | 1200103.7979
71 | 2553629.7833 | 1200110.0102 | 2553628.0592 | 1200111.4389
72 | 2553628.0592 | 1200111.4389 | 2553618.7428 | 1200119.1597 | 2553618.6684 | 1200119.2201
73 | 2553614.9018 | 1200122.2775 | 2553618.6684 | 1200119.2201
74 | 2553603.5789 | 1200131.4686 | 2553605.2713 | 1200130.0948
75 | 2553603.5789 | 1200131.4686 | 2553598.8339 | 1200135.3202
76 | 2553605.2713 | 1200130.0948 | 2553614.9018 | 1200122.2775
77 | 2553585.744 | 1200145.9456 | 2553598.8339 | 1200135.3202
78 | 2553560.6883 | 1200163.3144 | 2553577.5056 | 1200152.6329 | 2553585.744 | 1200145.9456
79 | 2553560.6883 | 1200163.3144 | 2553530.757 | 1200123.1015
80 | 2553530.7362 | 1200123.0735 | 2553530.757 | 1200123.1015
81 | 2553518.705 | 1200106.9095 | 2553530.7362 | 1200123.0735

## bus_geodata
| x | y | coords
0 | 2553708.0667 | 1200039.9984
1 | 2553705.7974 | 1200053.6349
2 | 2553699.5771 | 1200036.9182
3 | 2553697.3895 | 1200053.2222
4 | 2553713.3448 | 1200075.5534
5 | 2553681.2944 | 1200027.7896
6 | 2553799.4251 | 1200059.9345
7 | 2553812.7054 | 1200052.0431
8 | 2553780.3627 | 1200077.5097
9 | 2553659.147 | 1200085.6757
10 | 2553727.5634 | 1200093.677
11 | 2553668.4451 | 1200019.9615
12 | 2553835.791 | 1200038.4773
13 | 2553749.9244 | 1200102.4596
14 | 2553574.4976 | 1200011.8906
15 | 2553586.2361 | 1200012.0442
16 | 2553678.7758 | 1200163.6645
17 | 2553690.9173 | 1200152.3802
18 | 2553675.4666 | 1200166.9282
19 | 2553711.7571 | 1200134.1062
20 | 2553660.6751 | 1200181.5166
21 | 2553724.069 | 1200123.3101
22 | 2553736.4109 | 1200111.708
23 | 2553738.7118 | 1200130.3619
24 | 2553742.0892 | 1200151.5817
25 | 2553746.8608 | 1200189.701
26 | 2553654.5511 | 1200089.4844
27 | 2553744.8263 | 1200218.0251
28 | 2553789.2153 | 1200183.3546
29 | 2553809.853 | 1200152.017
30 | 2553846.5312 | 1200033.01
31 | 2553864.3455 | 1200026.0962
32 | 2553851.4873 | 1200043.1907
33 | 2553867.9502 | 1200024.7058
34 | 2553852.8955 | 1200046.0836
35 | 2553842.5508 | 1200070.5065
36 | 2553883.365 | 1200019.2417
37 | 2553904.1683 | 1200010.3082
38 | 2553910.6366 | 1200007.025
39 | 2553912.0817 | 1200006.2915
40 | 2553919.4539 | 1200002.4615
41 | 2553929.8689 | 1199995.5985
42 | 2553931.4783 | 1199994.5379
43 | 2553945.9831 | 1199984.9798
44 | 2553956.003 | 1199978.3771
45 | 2553964.6946 | 1199970.172
46 | 2553964.6373 | 1199946.7359
47 | 2553964.2609 | 1199939.6581
48 | 2553960.105 | 1199929.9069
49 | 2553948.432 | 1199917.8235
50 | 2554008.2906 | 1199886.8639
51 | 2553942.513 | 1199909.4756
52 | 2553923.6571 | 1199803.0327
53 | 2553924.6492 | 1199813.9142
54 | 2553924.8262 | 1199816.0529
55 | 2553926.2899 | 1199833.7359
56 | 2553942.0966 | 1199832.9466
57 | 2553928.9195 | 1199866.6119
58 | 2553972.4308 | 1199844.1743
59 | 2553932.8001 | 1199888.1267
60 | 2553967.2707 | 1199865.9935
61 | 2554041.7443 | 1199778.6692
62 | 2553933.3999 | 1199890.1675
63 | 2553933.7784 | 1199891.4551
64 | 2553657.9155 | 1200033.2391
65 | 2553655.3997 | 1200007.6559
66 | 2553645.4509 | 1200048.9566
67 | 2553611.5468 | 1200012.0361
68 | 2553604.5257 | 1200012.0512
69 | 2553637.2794 | 1200103.7979
70 | 2553629.7833 | 1200110.0102
71 | 2553628.0592 | 1200111.4389
72 | 2553618.6684 | 1200119.2201
73 | 2553594.4064 | 1200012.0729
74 | 2553603.5789 | 1200131.4686
75 | 2553605.2713 | 1200130.0948
76 | 2553598.8339 | 1200135.3202
77 | 2553614.9018 | 1200122.2775
78 | 2553585.744 | 1200145.9456
79 | 2553560.6883 | 1200163.3144
80 | 2553530.757 | 1200123.1015
81 | 2553530.7362 | 1200123.0735
82 | 2553518.705 | 1200106.9095
83 | 2553799.4251 | 1200059.9345

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1