## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6404-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6404-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6404-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6404-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6404-8_0_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_6404-8_0_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_6404-8_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6404-8_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6404-8_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6404-8_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6404-8_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_6404-8_0_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_6404-8_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6404-8_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6404-8_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6404-8_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6404-8_0_2_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_6404-8_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6404-8_0_2_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_6404-8_0_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_6404-8_0_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_6404-8_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6404-8_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6404-8_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6404-8_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6404-8_0_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_6404-8_0_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6404-8_0_2_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_6404-8_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6404-8_0_2_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_6404-8_0_2_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_6404-8_0_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6404-8_0_2_node_112 | 0.4 | n |  | TRUE
33 | bus_LV_6404-8_0_2_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_6404-8_0_2_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_6404-8_0_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_6404-8_0_2_node_111 | 0.4 | n |  | TRUE
37 | bus_LV_6404-8_0_2_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_6404-8_0_2_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_6404-8_0_2_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_6404-8_0_2_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_6404-8_0_2_node_116 | 0.4 | n |  | TRUE
42 | bus_LV_6404-8_0_2_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_6404-8_0_2_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_6404-8_0_2_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_6404-8_0_2_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_6404-8_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6404-8_0_2_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_6404-8_0_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_6404-8_0_2_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_6404-8_0_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6404-8_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6404-8_0_2_node_115 | 0.4 | n |  | TRUE
53 | bus_LV_6404-8_0_2_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_6404-8_0_2_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_6404-8_0_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_6404-8_0_2_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_6404-8_0_2_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_6404-8_0_2_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_6404-8_0_2_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_6404-8_0_2_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_6404-8_0_2_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_6404-8_0_2_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_6404-8_0_2_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_6404-8_0_2_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_6404-8_0_2_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_6404-8_0_2_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_6404-8_0_2_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_6404-8_0_2_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6404-8_0_2_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_6404-8_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_6404-8_0_2_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_6404-8_0_2_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_6404-8_0_2_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_6404-8_0_2_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6404-8_0_2_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_6404-8_0_2_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_6404-8_0_2_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6404-8_0_2_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6404-8_0_2_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_6404-8_0_2_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_6404-8_0_2_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_6404-8_0_2_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_6404-8_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_6404-8_0_2_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_6404-8_0_2_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_6404-8_0_2_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_6404-8_0_2_node_102 | 0.4 | n |  | TRUE
88 | bus_LV_6404-8_0_2_node_110 | 0.4 | n |  | TRUE
89 | bus_MV_320_0_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6404-8_0_2_load_0 | 0 | 0.0045398 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6404-8_0_2_load_17 | 5 | 0.00077307 | 0.00019375 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6404-8_0_2_load_5 | 6 | 0.004719 | 0.0011827 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6404-8_0_2_load_6 | 8 | 0.0023427 | 0.00058714 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6404-8_0_2_load_14 | 9 | 0.00071222 | 0.0001785 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6404-8_0_2_load_12 | 10 | 0.00059778 | 0.00014982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6404-8_0_2_load_18 | 11 | 0.00050311 | 0.00012609 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6404-8_0_2_load_7 | 12 | 0.016162 | 0.0040505 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6404-8_0_2_load_9 | 14 | 0.0043521 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6404-8_0_2_load_11 | 17 | 0.021766 | 0.005455 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6404-8_0_2_load_44 | 19 | 0.026098 | 0.0065407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6404-8_0_2_load_45 | 20 | 0.0033741 | 0.00084563 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6404-8_0_2_load_15 | 21 | 0.0017063 | 0.00042764 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6404-8_0_2_load_16 | 22 | 0.00091695 | 0.00022981 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6404-8_0_2_load_20 | 24 | 0.0029694 | 0.00074419 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6404-8_0_2_load_38 | 25 | 0.00054219 | 0.00013589 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6404-8_0_2_load_96 | 29 | 0.00053716 | 0.00013463 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6404-8_0_2_load_87 | 30 | 0.00097102 | 0.00024336 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6404-8_0_2_load_112 | 32 | 0.001702 | 0.00042656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6404-8_0_2_load_86 | 33 | 0.00090541 | 0.00022692 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6404-8_0_2_load_85 | 35 | 0.0010778 | 0.00027013 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6404-8_0_2_load_111 | 36 | 0.0013065 | 0.00032744 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6404-8_0_2_load_46 | 38 | 0.0058921 | 0.0014767 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6404-8_0_2_load_59 | 39 | 0.0015546 | 0.00038963 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6404-8_0_2_load_63 | 40 | 0.0034187 | 0.00085682 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6404-8_0_2_load_116 | 41 | 0.0038757 | 0.00097134 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6404-8_0_2_load_47 | 43 | 0.0041937 | 0.001051 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6404-8_0_2_load_64 | 45 | 0.00022123 | 5.5445e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6404-8_0_2_load_48 | 46 | 0.005481 | 0.0013737 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6404-8_0_2_load_56 | 47 | 0.0047055 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6404-8_0_2_load_57 | 48 | 0.0045103 | 0.0011304 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6404-8_0_2_load_50 | 51 | 0.01098 | 0.0027518 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6404-8_0_2_load_115 | 52 | 0.021612 | 0.0054166 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6404-8_0_2_load_114 | 53 | 0.017905 | 0.0044874 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6404-8_0_2_load_113 | 54 | 0.029366 | 0.0073598 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6404-8_0_2_load_51 | 55 | 0.010645 | 0.0026678 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6404-8_0_2_load_58 | 56 | 0.0031009 | 0.00077716 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6404-8_0_2_load_61 | 57 | 0.0016547 | 0.00041471 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6404-8_0_2_load_62 | 58 | 0.0062051 | 0.0015551 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6404-8_0_2_load_103 | 59 | 0.0042132 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6404-8_0_2_load_104 | 61 | 0.0015073 | 0.00037777 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6404-8_0_2_load_94 | 62 | 0.0012787 | 0.00032047 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6404-8_0_2_load_92 | 63 | 0.0005369 | 0.00013456 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6404-8_0_2_load_65 | 64 | 0.00039232 | 9.8326e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6404-8_0_2_load_68 | 67 | 0.00030631 | 7.6768e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6404-8_0_2_load_70 | 69 | 0.00027188 | 6.8141e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6404-8_0_2_load_91 | 71 | 0.00081461 | 0.00020416 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6404-8_0_2_load_88 | 72 | 0.0010694 | 0.00026801 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6404-8_0_2_load_89 | 73 | 0.00032096 | 8.0441e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6404-8_0_2_load_72 | 74 | 0.0015022 | 0.00037649 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6404-8_0_2_load_73 | 75 | 0.0019227 | 0.00048187 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6404-8_0_2_load_74 | 76 | 0.00064911 | 0.00016268 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6404-8_0_2_load_75 | 77 | 0.00045424 | 0.00011384 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6404-8_0_2_load_76 | 78 | 0.00064013 | 0.00016043 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6404-8_0_2_load_77 | 79 | 0.00062961 | 0.00015779 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6404-8_0_2_load_83 | 80 | 0.00060546 | 0.00015174 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6404-8_0_2_load_78 | 81 | 0.0002338 | 5.8596e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6404-8_0_2_load_79 | 82 | 0.0019076 | 0.0004781 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6404-8_0_2_load_81 | 84 | 0.00064634 | 0.00016199 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6404-8_0_2_load_82 | 85 | 0.00076225 | 0.00019104 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6404-8_0_2_load_90 | 86 | 0.00030012 | 7.5217e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6404-8_0_2_load_102 | 87 | 0.0038302 | 0.00095994 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6404-8_0_2_load_110 | 88 | 0.004735 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6404-8_0_2_line_0 |  | 0 | 1 | 0.032895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6404-8_0_2_line_1 |  | 1 | 2 | 0.032975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6404-8_0_2_line_2 |  | 1 | 3 | 0.05385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6404-8_0_2_line_3 |  | 2 | 4 | 0.1057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6404-8_0_2_line_4 |  | 2 | 5 | 0.13788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6404-8_0_2_line_5 |  | 3 | 6 | 0.0079089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6404-8_0_2_line_6 |  | 4 | 9 | 0.098118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6404-8_0_2_line_7 |  | 4 | 10 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6404-8_0_2_line_8 |  | 5 | 11 | 0.015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6404-8_0_2_line_9 |  | 6 | 7 | 0.028483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6404-8_0_2_line_10 |  | 7 | 8 | 0.03417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6404-8_0_2_line_11 |  | 8 | 12 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6404-8_0_2_line_12 |  | 9 | 21 | 0.020823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6404-8_0_2_line_13 |  | 11 | 23 | 0.043973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6404-8_0_2_line_14 |  | 12 | 13 | 0.020648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6404-8_0_2_line_15 |  | 13 | 14 | 0.20822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6404-8_0_2_line_16 |  | 13 | 15 | 0.070091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6404-8_0_2_line_17 |  | 14 | 16 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6404-8_0_2_line_18 |  | 15 | 17 | 0.080191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6404-8_0_2_line_19 |  | 16 | 18 | 0.082167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6404-8_0_2_line_20 |  | 16 | 19 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6404-8_0_2_line_21 |  | 16 | 20 | 0.075929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6404-8_0_2_line_22 |  | 18 | 37 | 0.04403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6404-8_0_2_line_23 |  | 18 | 38 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6404-8_0_2_line_24 |  | 19 | 39 | 0.05815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6404-8_0_2_line_25 |  | 20 | 40 | 0.00318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6404-8_0_2_line_26 |  | 21 | 22 | 0.0099408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6404-8_0_2_line_27 |  | 23 | 24 | 0.14419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6404-8_0_2_line_28 |  | 24 | 25 | 0.045248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6404-8_0_2_line_29 |  | 26 | 27 | 0.093694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6404-8_0_2_line_30 |  | 26 | 28 | 0.15519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6404-8_0_2_line_31 |  | 26 | 29 | 0.28088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6404-8_0_2_line_32 |  | 27 | 31 | 0.083826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6404-8_0_2_line_33 |  | 28 | 30 | 0.065607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6404-8_0_2_line_34 |  | 30 | 35 | 0.0049595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6404-8_0_2_line_35 |  | 31 | 32 | 0.0079516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6404-8_0_2_line_36 |  | 32 | 36 | 0.028467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6404-8_0_2_line_37 |  | 33 | 34 | 0.1558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6404-8_0_2_line_38 |  | 34 | 35 | 0.046885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6404-8_0_2_line_39 |  | 34 | 80 | 0.039424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6404-8_0_2_line_40 |  | 36 | 88 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6404-8_0_2_line_41 |  | 37 | 41 | 0.068989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6404-8_0_2_line_42 |  | 37 | 42 | 0.081485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6404-8_0_2_line_43 |  | 38 | 43 | 0.0037406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6404-8_0_2_line_44 |  | 39 | 44 | 0.037382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6404-8_0_2_line_45 |  | 40 | 45 | 0.022251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6404-8_0_2_line_46 |  | 42 | 52 | 0.035852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6404-8_0_2_line_47 |  | 42 | 53 | 0.0038021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6404-8_0_2_line_48 |  | 43 | 46 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6404-8_0_2_line_49 |  | 44 | 57 | 0.041097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6404-8_0_2_line_50 |  | 44 | 58 | 0.027586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6404-8_0_2_line_51 |  | 45 | 64 | 0.00079007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6404-8_0_2_line_52 |  | 46 | 47 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6404-8_0_2_line_53 |  | 47 | 48 | 0.0067452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6404-8_0_2_line_54 |  | 48 | 56 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6404-8_0_2_line_55 |  | 49 | 50 | 0.071476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6404-8_0_2_line_56 |  | 49 | 51 | 0.021936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6404-8_0_2_line_57 |  | 50 | 53 | 0.040528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6404-8_0_2_line_58 |  | 50 | 54 | 0.019738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6404-8_0_2_line_59 |  | 51 | 55 | 0.036751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6404-8_0_2_line_60 |  | 57 | 59 | 0.027662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6404-8_0_2_line_61 |  | 58 | 60 | 0.044099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6404-8_0_2_line_62 |  | 59 | 61 | 0.11994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6404-8_0_2_line_63 |  | 60 | 62 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6404-8_0_2_line_64 |  | 60 | 63 | 0.10178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6404-8_0_2_line_65 |  | 62 | 87 | 0.04088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6404-8_0_2_line_66 |  | 63 | 85 | 0.021494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6404-8_0_2_line_67 |  | 64 | 65 | 0.01466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6404-8_0_2_line_68 |  | 65 | 66 | 0.087995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6404-8_0_2_line_69 |  | 66 | 67 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6404-8_0_2_line_70 |  | 67 | 68 | 0.021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6404-8_0_2_line_71 |  | 68 | 69 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6404-8_0_2_line_72 |  | 70 | 71 | 0.27543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6404-8_0_2_line_73 |  | 70 | 72 | 0.19264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6404-8_0_2_line_74 |  | 72 | 73 | 0.002641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6404-8_0_2_line_75 |  | 73 | 86 | 0.0116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6404-8_0_2_line_76 |  | 74 | 75 | 0.0091066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6404-8_0_2_line_77 |  | 74 | 76 | 0.0011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6404-8_0_2_line_78 |  | 75 | 77 | 0.0058567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6404-8_0_2_line_79 |  | 76 | 78 | 0.021609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6404-8_0_2_line_80 |  | 77 | 79 | 0.011744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6404-8_0_2_line_81 |  | 78 | 80 | 0.0060159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6404-8_0_2_line_82 |  | 79 | 81 | 0.0038838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6404-8_0_2_line_83 |  | 81 | 82 | 0.012143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6404-8_0_2_line_84 |  | 82 | 83 | 0.082642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6404-8_0_2_line_85 |  | 83 | 84 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6404-8_0_2_line_86 |  | 83 | 85 | 0.029223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6404-8_0_2_line_87 |  | 84 | 86 | 0.0053436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6404-8_0_2_trafo_58 | 0.63 MVA 20/0.4 kV | 89 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2553728.6869 | 1200745.405 | 2553726.5845 | 1200736.394 | 2553723.5249 | 1200721.7539 | 2553723.3109 | 1200713.0707
1 | 2553714.4548 | 1200775.1213 | 2553724.1124 | 1200753.2895 | 2553728.6869 | 1200745.405
2 | 2553728.6869 | 1200745.405 | 2553733.9845 | 1200742.4067 | 2553759.5461 | 1200726.7217 | 2553761.0876 | 1200729.1889 | 2553766.1841 | 1200726.7591 | 2553771.8214 | 1200719.4668
3 | 2553714.4548 | 1200775.1213 | 2553670.174 | 1200775.9212 | 2553655.2154 | 1200772.8691 | 2553643.3527 | 1200764.6567 | 2553620.7568 | 1200753.4816 | 2553614.0512 | 1200754.5455
4 | 2553714.4548 | 1200775.1213 | 2553705.2536 | 1200821.4079 | 2553666.5961 | 1200903.4478
5 | 2553771.8214 | 1200719.4668 | 2553773.7557 | 1200711.7981
6 | 2553614.0512 | 1200754.5455 | 2553626.9769 | 1200763.3944 | 2553632.9463 | 1200769.4514 | 2553638.1329 | 1200779.5946 | 2553642.1101 | 1200792.7934 | 2553643.2279 | 1200804.3802 | 2553640.5259 | 1200824.9573 | 2553637.8622 | 1200841.1168
7 | 2553614.0512 | 1200754.5455 | 2553604.2243 | 1200767.3879
8 | 2553660.1337 | 1200917.1625 | 2553666.5961 | 1200903.4478
9 | 2553791.1906 | 1200690.5224 | 2553775.6173 | 1200704.4177 | 2553773.7557 | 1200711.7981
10 | 2553791.1906 | 1200690.5224 | 2553792.6521 | 1200693.4572 | 2553796.6995 | 1200698.084 | 2553805.2143 | 1200706.5006 | 2553815.114 | 1200714.57
11 | 2553815.114 | 1200714.57 | 2553816.5902 | 1200715.7733 | 2553824.4788 | 1200723.939 | 2553825.4778 | 1200725.387
12 | 2553637.8622 | 1200841.1168 | 2553634.4754 | 1200861.663
13 | 2553642.1492 | 1200957.2865 | 2553654.8942 | 1200928.2821 | 2553660.1337 | 1200917.1625
14 | 2553836.8789 | 1200742.5981 | 2553831.2997 | 1200733.8252 | 2553825.4778 | 1200725.387
15 | 2553836.8789 | 1200742.5981 | 2553840.24 | 1200750.0207 | 2553842.5597 | 1200757.6181 | 2553843.8809 | 1200764.0671 | 2553845.4123 | 1200777.0293 | 2553843.8086 | 1200853.0071 | 2553844.1462 | 1200869.0691 | 2553847.7951 | 1200887.1178 | 2553852.1504 | 1200903.0042 | 2553857.2989 | 1200919.1068 | 2553864.3222 | 1200935.4951 | 2553871.3081 | 1200943.7483
16 | 2553836.8789 | 1200742.5981 | 2553842.8475 | 1200738.7608 | 2553846.6425 | 1200737.3306 | 2553850.766 | 1200736.0535 | 2553857.5737 | 1200732.4432 | 2553861.9881 | 1200726.4612 | 2553872.1042 | 1200705.7601 | 2553877.618 | 1200694.2998 | 2553880.285 | 1200691.6999
17 | 2553884.5722 | 1200959.4187 | 2553871.3081 | 1200943.7483
18 | 2553880.285 | 1200691.6999 | 2553881.9331 | 1200695.1558 | 2553880.448 | 1200705.8734 | 2553878.7132 | 1200715.8146 | 2553876.5311 | 1200725.9817 | 2553875.9236 | 1200735.0138 | 2553878.8948 | 1200739.271 | 2553883.2042 | 1200740.3716 | 2553887.2625 | 1200738.5392 | 2553889.727 | 1200735.3516 | 2553892.4173 | 1200717.6764
19 | 2553884.5722 | 1200959.4187 | 2553896.9639 | 1200949.5283 | 2553949.6751 | 1200909.0535
20 | 2553884.5722 | 1200959.4187 | 2553869.8377 | 1200965.5695 | 2553864.3423 | 1200967.5268
21 | 2553884.5722 | 1200959.4187 | 2553891.2695 | 1200964.1918 | 2553901.5 | 1200974.0627 | 2553923.7095 | 1200995.481 | 2553941.74 | 1201009.1633
22 | 2553980.4881 | 1200877.5199 | 2553949.6751 | 1200909.0535
23 | 2553949.6751 | 1200909.0535 | 2553939.5854 | 1200894.7401
24 | 2553812.3859 | 1200992.0607 | 2553812.6176 | 1200991.8274 | 2553823.0376 | 1200982.9194 | 2553833.832 | 1200978.1109 | 2553847.0878 | 1200973.6724 | 2553864.3423 | 1200967.5268
25 | 2553944.2732 | 1201011.0856 | 2553941.74 | 1201009.1633
26 | 2553634.4754 | 1200861.663 | 2553632.8587 | 1200871.4714
27 | 2553642.1492 | 1200957.2865 | 2553606.062 | 1201047.285 | 2553594.0915 | 1201082.8206 | 2553590.4759 | 1201091.8562
28 | 2553590.4759 | 1201091.8562 | 2553585.2289 | 1201104.9689 | 2553579.7524 | 1201116.2068 | 2553571.2495 | 1201125.8896 | 2553567.3169 | 1201130.0662
29 | 2553453.7188 | 1201609.17 | 2553448.5757 | 1201619.1603 | 2553445.1615 | 1201624.4233 | 2553440.4058 | 1201629.4522 | 2553430.2476 | 1201636.58 | 2553426.7703 | 1201640.5872 | 2553423.4341 | 1201645.127 | 2553419.1173 | 1201652.7317 | 2553415.2997 | 1201661.889 | 2553409.458 | 1201671.0954 | 2553398.656 | 1201683.4758
30 | 2553453.7188 | 1201609.17 | 2553457.5954 | 1201593.9088 | 2553463.7217 | 1201575.317 | 2553473.2864 | 1201545.7811 | 2553478.3961 | 1201532.467 | 2553489.3067 | 1201508.6016 | 2553500.1597 | 1201487.0825 | 2553511.5619 | 1201465.7147
31 | 2553453.7188 | 1201609.17 | 2553463.2851 | 1201619.7902 | 2553549.4367 | 1201698.2296 | 2553553.5372 | 1201701.9108 | 2553586.1955 | 1201731.2176 | 2553624.1981 | 1201757.8147 | 2553634.9773 | 1201763.0005 | 2553642.7053 | 1201765.3529 | 2553676.4889 | 1201771.0171
32 | 2553477.7573 | 1201705.0591 | 2553450.3056 | 1201689.5757 | 2553438.4263 | 1201685.8442 | 2553415.1579 | 1201686.5819 | 2553398.656 | 1201683.4758
33 | 2553511.5619 | 1201465.7147 | 2553521.1257 | 1201445.751 | 2553526.5302 | 1201435.0806 | 2553537.5719 | 1201417.2399 | 2553544.5279 | 1201409.3368
34 | 2553544.5279 | 1201409.3368 | 2553548.7908 | 1201406.8022
35 | 2553477.7573 | 1201705.0591 | 2553483.2351 | 1201710.823
36 | 2553502.8456 | 1201731.4574 | 2553483.2351 | 1201710.823
37 | 2553589.0909 | 1201382.8412 | 2553582.285 | 1201378.7475 | 2553572.0799 | 1201370.1776 | 2553560.4003 | 1201359.9183 | 2553550.2808 | 1201351.5813 | 2553535.5723 | 1201342.3685 | 2553523.7938 | 1201336.0345 | 2553507.9638 | 1201328.4313 | 2553498.9235 | 1201325.767 | 2553489.3181 | 1201324.8081 | 2553481.3269 | 1201326.8605 | 2553475.0511 | 1201330.2447 | 2553468.2386 | 1201335.0673 | 2553457.9088 | 1201345.6317
38 | 2553589.0909 | 1201382.8412 | 2553548.7908 | 1201406.8022
39 | 2553589.0909 | 1201382.8412 | 2553616.335 | 1201354.3458
40 | 2553518.6587 | 1201748.0961 | 2553502.8456 | 1201731.4574
41 | 2553980.4881 | 1200877.5199 | 2553927.6594 | 1200832.9804
42 | 2553984.3179 | 1200798.8012 | 2553982.609 | 1200805.207 | 2553981.416 | 1200830.1081 | 2553983.3991 | 1200864.1343 | 2553985.9494 | 1200871.0741 | 2553980.4881 | 1200877.5199
43 | 2553939.5854 | 1200894.7401 | 2553937.4302 | 1200891.6828
44 | 2553795.4512 | 1201024.9682 | 2553799.1821 | 1201018.2466 | 2553805.2728 | 1201001.7233 | 2553809.0225 | 1200995.4462 | 2553812.3859 | 1200992.0607
45 | 2553944.2732 | 1201011.0856 | 2553961.9986 | 1201024.5363
46 | 2553984.3179 | 1200798.8012 | 2553970.8016 | 1200797.1713 | 2553951.5544 | 1200808.4819
47 | 2553984.3179 | 1200798.8012 | 2553985.2973 | 1200795.1274
48 | 2553924.8707 | 1200879.7309 | 2553928.872 | 1200879.5419 | 2553937.4302 | 1200891.6828
49 | 2553795.4512 | 1201024.9682 | 2553831.8249 | 1201044.0962
50 | 2553795.4512 | 1201024.9682 | 2553782.058 | 1201049.085
51 | 2553962.6279 | 1201025.0139 | 2553961.9986 | 1201024.5363
52 | 2553924.8707 | 1200879.7309 | 2553918.7366 | 1200880.0205 | 2553909.246 | 1200887.2737
53 | 2553903.8868 | 1200891.3695 | 2553909.246 | 1200887.2737
54 | 2553895.1648 | 1200898.0352 | 2553903.8868 | 1200891.3695
55 | 2553994.017 | 1200755.6019 | 2554022.2905 | 1200770.6812 | 2554046.9894 | 1200785.1879 | 2554053.1248 | 1200776.3133
56 | 2554053.1248 | 1200776.3133 | 2554046.9854 | 1200772.8254 | 2554033.893 | 1200765.7635
57 | 2553994.017 | 1200755.6019 | 2553991.3384 | 1200772.4654 | 2553985.2973 | 1200795.1274
58 | 2553994.017 | 1200755.6019 | 2553977.3079 | 1200745.0952
59 | 2554033.893 | 1200765.7635 | 2554001.5473 | 1200748.3168
60 | 2553831.8249 | 1201044.0962 | 2553856.3081 | 1201056.9712
61 | 2553765.5003 | 1201089.8817 | 2553778.2379 | 1201055.9637 | 2553782.058 | 1201049.085
62 | 2553969.8471 | 1201092.3685 | 2553951.006 | 1201085.1877 | 2553937.1262 | 1201085.6952 | 2553884.7354 | 1201069.013 | 2553877.5733 | 1201066.1223 | 2553873.5551 | 1201064.2634 | 2553860.9736 | 1201059.4247 | 2553856.3081 | 1201056.9712
63 | 2553765.5003 | 1201089.8817 | 2553782.4235 | 1201099.065
64 | 2553765.5003 | 1201089.8817 | 2553754.358 | 1201118.4621 | 2553741.795 | 1201150.3333 | 2553735.2114 | 1201167.0494 | 2553728.2882 | 1201184.618
65 | 2553818.3546 | 1201118.5629 | 2553782.4235 | 1201099.065
66 | 2553719.4189 | 1201204.1691 | 2553724.5372 | 1201194.1366 | 2553728.2882 | 1201184.618
67 | 2553975.1173 | 1201032.6383 | 2553970.6068 | 1201030.1161 | 2553965.7676 | 1201027.3964 | 2553962.6279 | 1201025.0139
68 | 2553975.1173 | 1201032.6383 | 2554031.1481 | 1201066.2918 | 2554042.0832 | 1201072.8223 | 2554050.6267 | 1201078.1706
69 | 2554050.6267 | 1201078.1706 | 2554063.474 | 1201087.4065
70 | 2554081.2124 | 1201100.1585 | 2554063.474 | 1201087.4065
71 | 2554081.2124 | 1201100.1585 | 2554070.2848 | 1201110.3929 | 2554068.912 | 1201112.877
72 | 2553725.8053 | 1201392.6729 | 2553827.9463 | 1201460.1415 | 2553838.784 | 1201460.0575 | 2553849.5071 | 1201446.1666 | 2553909.4571 | 1201336.496
73 | 2553909.4571 | 1201336.496 | 2553873.9128 | 1201317.9159 | 2553775.0511 | 1201266.2301 | 2553738.7407 | 1201247.2455
74 | 2553738.7407 | 1201247.2455 | 2553736.4002 | 1201246.0218
75 | 2553736.4002 | 1201246.0218 | 2553726.1206 | 1201240.6472
76 | 2553636.2086 | 1201333.5669 | 2553640.7924 | 1201328.7749 | 2553642.3319 | 1201326.8366
77 | 2553636.2086 | 1201333.5669 | 2553635.429 | 1201334.3819
78 | 2553645.9745 | 1201322.2505 | 2553642.3319 | 1201326.8366
79 | 2553635.429 | 1201334.3819 | 2553621.3891 | 1201349.0596 | 2553620.4923 | 1201349.9975
80 | 2553645.9745 | 1201322.2505 | 2553653.1163 | 1201313.2591 | 2553653.2787 | 1201313.0546
81 | 2553620.4923 | 1201349.9975 | 2553616.335 | 1201354.3458
82 | 2553653.2787 | 1201313.0546 | 2553655.6941 | 1201310.0132
83 | 2553663.2462 | 1201300.5039 | 2553655.6941 | 1201310.0132
84 | 2553706.1388 | 1201230.1999 | 2553687.9955 | 1201265.7722 | 2553682.0556 | 1201275.1792 | 2553676.9878 | 1201283.2009 | 2553663.2462 | 1201300.5039
85 | 2553706.1388 | 1201230.1999 | 2553721.3852 | 1201238.1713
86 | 2553706.1388 | 1201230.1999 | 2553719.4189 | 1201204.1691
87 | 2553721.3852 | 1201238.1713 | 2553726.1206 | 1201240.6472

## bus_geodata
| x | y | coords
0 | 2553723.3109 | 1200713.0707
1 | 2553728.6869 | 1200745.405
2 | 2553714.4548 | 1200775.1213
3 | 2553771.8214 | 1200719.4668
4 | 2553614.0512 | 1200754.5455
5 | 2553666.5961 | 1200903.4478
6 | 2553773.7557 | 1200711.7981
7 | 2553791.1906 | 1200690.5224
8 | 2553815.114 | 1200714.57
9 | 2553637.8622 | 1200841.1168
10 | 2553604.2243 | 1200767.3879
11 | 2553660.1337 | 1200917.1625
12 | 2553825.4778 | 1200725.387
13 | 2553836.8789 | 1200742.5981
14 | 2553871.3081 | 1200943.7483
15 | 2553880.285 | 1200691.6999
16 | 2553884.5722 | 1200959.4187
17 | 2553892.4173 | 1200717.6764
18 | 2553949.6751 | 1200909.0535
19 | 2553864.3423 | 1200967.5268
20 | 2553941.74 | 1201009.1633
21 | 2553634.4754 | 1200861.663
22 | 2553632.8587 | 1200871.4714
23 | 2553642.1492 | 1200957.2865
24 | 2553590.4759 | 1201091.8562
25 | 2553567.3169 | 1201130.0662
26 | 2553453.7188 | 1201609.17
27 | 2553398.656 | 1201683.4758
28 | 2553511.5619 | 1201465.7147
29 | 2553676.4889 | 1201771.0171
30 | 2553544.5279 | 1201409.3368
31 | 2553477.7573 | 1201705.0591
32 | 2553483.2351 | 1201710.823
33 | 2553457.9088 | 1201345.6317
34 | 2553589.0909 | 1201382.8412
35 | 2553548.7908 | 1201406.8022
36 | 2553502.8456 | 1201731.4574
37 | 2553980.4881 | 1200877.5199
38 | 2553939.5854 | 1200894.7401
39 | 2553812.3859 | 1200992.0607
40 | 2553944.2732 | 1201011.0856
41 | 2553927.6594 | 1200832.9804
42 | 2553984.3179 | 1200798.8012
43 | 2553937.4302 | 1200891.6828
44 | 2553795.4512 | 1201024.9682
45 | 2553961.9986 | 1201024.5363
46 | 2553924.8707 | 1200879.7309
47 | 2553909.246 | 1200887.2737
48 | 2553903.8868 | 1200891.3695
49 | 2554053.1248 | 1200776.3133
50 | 2553994.017 | 1200755.6019
51 | 2554033.893 | 1200765.7635
52 | 2553951.5544 | 1200808.4819
53 | 2553985.2973 | 1200795.1274
54 | 2553977.3079 | 1200745.0952
55 | 2554001.5473 | 1200748.3168
56 | 2553895.1648 | 1200898.0352
57 | 2553831.8249 | 1201044.0962
58 | 2553782.058 | 1201049.085
59 | 2553856.3081 | 1201056.9712
60 | 2553765.5003 | 1201089.8817
61 | 2553969.8471 | 1201092.3685
62 | 2553782.4235 | 1201099.065
63 | 2553728.2882 | 1201184.618
64 | 2553962.6279 | 1201025.0139
65 | 2553975.1173 | 1201032.6383
66 | 2554050.6267 | 1201078.1706
67 | 2554063.474 | 1201087.4065
68 | 2554081.2124 | 1201100.1585
69 | 2554068.912 | 1201112.877
70 | 2553909.4571 | 1201336.496
71 | 2553725.8053 | 1201392.6729
72 | 2553738.7407 | 1201247.2455
73 | 2553736.4002 | 1201246.0218
74 | 2553636.2086 | 1201333.5669
75 | 2553642.3319 | 1201326.8366
76 | 2553635.429 | 1201334.3819
77 | 2553645.9745 | 1201322.2505
78 | 2553620.4923 | 1201349.9975
79 | 2553653.2787 | 1201313.0546
80 | 2553616.335 | 1201354.3458
81 | 2553655.6941 | 1201310.0132
82 | 2553663.2462 | 1201300.5039
83 | 2553706.1388 | 1201230.1999
84 | 2553721.3852 | 1201238.1713
85 | 2553719.4189 | 1201204.1691
86 | 2553726.1206 | 1201240.6472
87 | 2553818.3546 | 1201118.5629
88 | 2553518.6587 | 1201748.0961
89 | 2553949.6751 | 1200909.0535

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1