## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6404-9_1_2_node_229 | 0.4 | n |  | TRUE
1 | bus_LV_6404-9_1_2_node_224 | 0.4 | n |  | TRUE
2 | bus_LV_6404-9_1_2_node_228 | 0.4 | n |  | TRUE
3 | bus_LV_6404-9_1_2_node_230 | 0.4 | n |  | TRUE
4 | bus_LV_6404-9_1_2_node_225 | 0.4 | n |  | TRUE
5 | bus_LV_6404-9_1_2_node_219 | 0.4 | n |  | TRUE
6 | bus_LV_6404-9_1_2_node_218 | 0.4 | n |  | TRUE
7 | bus_LV_6404-9_1_2_node_231 | 0.4 | n |  | TRUE
8 | bus_LV_6404-9_1_2_node_223 | 0.4 | n |  | TRUE
9 | bus_LV_6404-9_1_2_node_226 | 0.4 | n |  | TRUE
10 | bus_LV_6404-9_1_2_node_233 | 0.4 | n |  | TRUE
11 | bus_LV_6404-9_1_2_node_232 | 0.4 | n |  | TRUE
12 | bus_LV_6404-9_1_2_node_222 | 0.4 | n |  | TRUE
13 | bus_LV_6404-9_1_2_node_220 | 0.4 | n |  | TRUE
14 | bus_LV_6404-9_1_2_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_6404-9_1_2_node_221 | 0.4 | n |  | TRUE
16 | bus_LV_6404-9_1_2_node_217 | 0.4 | n |  | TRUE
17 | bus_LV_6404-9_1_2_node_102 | 0.4 | n |  | TRUE
18 | bus_LV_6404-9_1_2_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_6404-9_1_2_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_6404-9_1_2_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6404-9_1_2_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_6404-9_1_2_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_6404-9_1_2_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_6404-9_1_2_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_6404-9_1_2_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_6404-9_1_2_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_6404-9_1_2_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_6404-9_1_2_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_6404-9_1_2_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_6404-9_1_2_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_6404-9_1_2_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_6404-9_1_2_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_6404-9_1_2_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_6404-9_1_2_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_6404-9_1_2_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_6404-9_1_2_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_6404-9_1_2_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_6404-9_1_2_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_6404-9_1_2_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_6404-9_1_2_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_6404-9_1_2_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_6404-9_1_2_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_6404-9_1_2_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_6404-9_1_2_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_6404-9_1_2_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_6404-9_1_2_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_6404-9_1_2_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_6404-9_1_2_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_6404-9_1_2_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_6404-9_1_2_node_216 | 0.4 | n |  | TRUE
51 | bus_LV_6404-9_1_2_node_110 | 0.4 | n |  | TRUE
52 | bus_LV_6404-9_1_2_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_6404-9_1_2_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_6404-9_1_2_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_6404-9_1_2_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_6404-9_1_2_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_6404-9_1_2_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_6404-9_1_2_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_6404-9_1_2_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_6404-9_1_2_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_6404-9_1_2_node_105 | 0.4 | n |  | TRUE
62 | bus_LV_6404-9_1_2_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_6404-9_1_2_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_6404-9_1_2_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_6404-9_1_2_node_111 | 0.4 | n |  | TRUE
66 | bus_LV_6404-9_1_2_node_227 | 0.4 | n |  | TRUE
67 | bus_MV_320_1_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6404-9_1_2_load_229 | 0 | 0.01778 | 0.004456 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6404-9_1_2_load_224 | 1 | 0.0070763 | 0.0017735 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6404-9_1_2_load_230 | 3 | 0.0082698 | 0.0020726 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6404-9_1_2_load_225 | 4 | 0.010265 | 0.0025726 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6404-9_1_2_load_219 | 5 | 0.00016846 | 4.2219e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6404-9_1_2_load_231 | 7 | 0.0029861 | 0.00074839 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6404-9_1_2_load_223 | 8 | 0.0041597 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6404-9_1_2_load_226 | 9 | 0.0044521 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6404-9_1_2_load_232 | 11 | 0.0070341 | 0.0017629 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6404-9_1_2_load_222 | 12 | 0.0014224 | 0.0003565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6404-9_1_2_load_220 | 13 | 0.0037593 | 0.00094218 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6404-9_1_2_load_90 | 14 | 0.0027362 | 0.00068575 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6404-9_1_2_load_221 | 15 | 0.001621 | 0.00040625 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6404-9_1_2_load_217 | 16 | 0.00055206 | 0.00013836 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6404-9_1_2_load_102 | 17 | 0.00011478 | 2.8766e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6404-9_1_2_load_60 | 18 | 0.0013968 | 0.00035007 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6404-9_1_2_load_62 | 19 | 0.0011637 | 0.00029165 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6404-9_1_2_load_68 | 20 | 0.0015133 | 0.00037926 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6404-9_1_2_load_64 | 22 | 0.00058989 | 0.00014784 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6404-9_1_2_load_65 | 23 | 0.0010002 | 0.00025067 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6404-9_1_2_load_66 | 24 | 0.00095975 | 0.00024054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6404-9_1_2_load_67 | 25 | 0.00094133 | 0.00023592 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6404-9_1_2_load_72 | 26 | 0.0025581 | 0.00064113 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6404-9_1_2_load_70 | 28 | 0.0016323 | 0.0004091 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6404-9_1_2_load_69 | 29 | 0.0019197 | 0.00048111 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6404-9_1_2_load_80 | 31 | 0.001017 | 0.00025489 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6404-9_1_2_load_81 | 33 | 0.002665 | 0.0006679 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6404-9_1_2_load_73 | 34 | 0.00092319 | 0.00023137 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6404-9_1_2_load_74 | 35 | 0.0027396 | 0.0006866 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6404-9_1_2_load_75 | 36 | 0.0016654 | 0.00041739 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6404-9_1_2_load_76 | 37 | 0.0019968 | 0.00050043 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6404-9_1_2_load_77 | 38 | 0.0052803 | 0.0013234 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6404-9_1_2_load_78 | 39 | 0.0028791 | 0.00072158 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6404-9_1_2_load_79 | 40 | 0.001329 | 0.00033307 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6404-9_1_2_load_95 | 41 | 0.0016179 | 0.00040548 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6404-9_1_2_load_85 | 42 | 0.0010221 | 0.00025617 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6404-9_1_2_load_82 | 43 | 0.0016622 | 0.00041657 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6404-9_1_2_load_83 | 44 | 0.0019337 | 0.00048463 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6404-9_1_2_load_84 | 45 | 0.0016519 | 0.000414 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6404-9_1_2_load_97 | 46 | 0.0015884 | 0.00039809 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6404-9_1_2_load_86 | 47 | 0.0010515 | 0.00026353 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6404-9_1_2_load_87 | 48 | 0.0040976 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6404-9_1_2_load_89 | 49 | 0.0029115 | 0.00072969 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6404-9_1_2_load_216 | 50 | 0.00053955 | 0.00013522 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6404-9_1_2_load_110 | 51 | 0.00043264 | 0.00010843 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6404-9_1_2_load_93 | 52 | 0.0002044 | 5.1227e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6404-9_1_2_load_94 | 53 | 0.00030755 | 7.7079e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6404-9_1_2_load_98 | 54 | 0.00082542 | 0.00020687 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6404-9_1_2_load_96 | 55 | 0.0027123 | 0.00067976 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6404-9_1_2_load_99 | 56 | 0.0010743 | 0.00026926 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6404-9_1_2_load_100 | 57 | 0.00090288 | 0.00022628 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6404-9_1_2_load_101 | 58 | 0.00054781 | 0.00013729 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6404-9_1_2_load_103 | 59 | 0.00027691 | 6.9399e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6404-9_1_2_load_104 | 60 | 0.00056024 | 0.00014041 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6404-9_1_2_load_105 | 61 | 0.0013212 | 0.00033113 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6404-9_1_2_load_106 | 62 | 0.0013501 | 0.00033837 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6404-9_1_2_load_107 | 64 | 0.00036265 | 9.089e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6404-9_1_2_load_111 | 65 | 0.00027054 | 6.7803e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6404-9_1_2_load_227 | 66 | 0.0015974 | 0.00040034 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6404-9_1_2_line_0 |  | 0 | 1 | 0.017578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6404-9_1_2_line_1 |  | 0 | 2 | 0.017791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6404-9_1_2_line_2 |  | 1 | 8 | 0.0081363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6404-9_1_2_line_3 |  | 2 | 3 | 0.038877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6404-9_1_2_line_4 |  | 2 | 66 | 0.013566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6404-9_1_2_line_5 |  | 3 | 4 | 0.095336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6404-9_1_2_line_6 |  | 4 | 9 | 0.011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6404-9_1_2_line_7 |  | 5 | 6 | 0.03655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6404-9_1_2_line_8 |  | 5 | 7 | 0.18488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6404-9_1_2_line_9 |  | 6 | 16 | 0.03167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6404-9_1_2_line_10 |  | 6 | 65 | 0.21544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6404-9_1_2_line_11 |  | 7 | 9 | 0.16118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6404-9_1_2_line_12 |  | 7 | 10 | 0.22315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6404-9_1_2_line_13 |  | 8 | 12 | 0.0026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6404-9_1_2_line_14 |  | 10 | 11 | 0.061835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6404-9_1_2_line_15 |  | 13 | 14 | 0.028007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6404-9_1_2_line_16 |  | 13 | 15 | 0.0017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6404-9_1_2_line_17 |  | 14 | 49 | 0.030858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6404-9_1_2_line_18 |  | 16 | 17 | 0.14483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6404-9_1_2_line_19 |  | 17 | 59 | 0.018895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6404-9_1_2_line_20 |  | 17 | 58 | 0.044001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6404-9_1_2_line_21 |  | 18 | 19 | 0.021313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6404-9_1_2_line_22 |  | 19 | 20 | 0.0050003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6404-9_1_2_line_23 |  | 20 | 28 | 0.01735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6404-9_1_2_line_24 |  | 21 | 22 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6404-9_1_2_line_25 |  | 21 | 23 | 0.063412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6404-9_1_2_line_26 |  | 22 | 24 | 0.017292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6404-9_1_2_line_27 |  | 23 | 25 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6404-9_1_2_line_28 |  | 24 | 26 | 0.010601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6404-9_1_2_line_29 |  | 25 | 27 | 0.11443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6404-9_1_2_line_30 |  | 26 | 34 | 0.019873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6404-9_1_2_line_31 |  | 27 | 52 | 0.041635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6404-9_1_2_line_32 |  | 28 | 32 | 0.012119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6404-9_1_2_line_33 |  | 29 | 30 | 0.20773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6404-9_1_2_line_34 |  | 29 | 31 | 0.086094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6404-9_1_2_line_35 |  | 30 | 49 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6404-9_1_2_line_36 |  | 31 | 42 | 0.0012025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6404-9_1_2_line_37 |  | 31 | 32 | 0.01178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6404-9_1_2_line_38 |  | 32 | 33 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6404-9_1_2_line_39 |  | 33 | 43 | 0.021114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6404-9_1_2_line_40 |  | 34 | 35 | 0.0036282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6404-9_1_2_line_41 |  | 35 | 36 | 0.022088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6404-9_1_2_line_42 |  | 36 | 37 | 0.0065139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6404-9_1_2_line_43 |  | 37 | 38 | 0.0045899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6404-9_1_2_line_44 |  | 38 | 39 | 0.0083513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6404-9_1_2_line_45 |  | 39 | 40 | 0.0059199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6404-9_1_2_line_46 |  | 40 | 41 | 0.002558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6404-9_1_2_line_47 |  | 41 | 55 | 0.00094676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6404-9_1_2_line_48 |  | 42 | 47 | 0.0086064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6404-9_1_2_line_49 |  | 43 | 44 | 0.0010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6404-9_1_2_line_50 |  | 44 | 45 | 0.009449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6404-9_1_2_line_51 |  | 45 | 46 | 0.0087593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6404-9_1_2_line_52 |  | 46 | 55 | 0.0049654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6404-9_1_2_line_53 |  | 47 | 48 | 0.0044504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6404-9_1_2_line_54 |  | 50 | 51 | 0.027447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6404-9_1_2_line_55 |  | 51 | 63 | 0.029297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6404-9_1_2_line_56 |  | 52 | 53 | 0.031573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6404-9_1_2_line_57 |  | 53 | 54 | 0.00092109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6404-9_1_2_line_58 |  | 54 | 56 | 0.002113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6404-9_1_2_line_59 |  | 56 | 57 | 0.039983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6404-9_1_2_line_60 |  | 57 | 58 | 0.11945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_6404-9_1_2_line_61 |  | 60 | 61 | 0.023599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6404-9_1_2_line_62 |  | 60 | 62 | 0.0084328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6404-9_1_2_line_63 |  | 61 | 63 | 0.17456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6404-9_1_2_line_64 |  | 62 | 64 | 0.023999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6404-9_1_2_line_65 |  | 63 | 65 | 0.033368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6404-9_1_2_trafo_103 | 0.63 MVA 20/0.4 kV | 67 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2552495.5401 | 1200199.4141 | 2552483.323 | 1200207.1721 | 2552481.4086 | 1200209.6182
1 | 2552470.444 | 1200223.6285 | 2552481.4086 | 1200209.6182
2 | 2552502.4086 | 1200195.0525 | 2552495.5401 | 1200199.4141
3 | 2552470.444 | 1200223.6285 | 2552470.0739 | 1200247.8675 | 2552473.7467 | 1200262.0347
4 | 2552470.444 | 1200223.6285 | 2552460.9148 | 1200233.2835
5 | 2552473.7467 | 1200262.0347 | 2552382.6189 | 1200290.0475
6 | 2552385.7987 | 1200300.9812 | 2552382.6189 | 1200290.0475
7 | 2552434.0283 | 1200639.9335 | 2552429.3736 | 1200628.9977 | 2552418.0874 | 1200607.0661
8 | 2552418.0874 | 1200607.0661 | 2552322.1202 | 1200449.0467
9 | 2552434.0283 | 1200639.9335 | 2552459.5195 | 1200621.1395
10 | 2552434.0283 | 1200639.9335 | 2552549.4847 | 1200821.8254
11 | 2552385.7987 | 1200300.9812 | 2552322.1202 | 1200449.0467
12 | 2552322.1202 | 1200449.0467 | 2552136.9608 | 1200324.4979
13 | 2552502.4086 | 1200195.0525 | 2552504.6451 | 1200193.6323
14 | 2552136.9608 | 1200324.4979 | 2552128.512 | 1200318.0176 | 2552122.7715 | 1200310.3705 | 2552119.7568 | 1200301.8343 | 2552119.278 | 1200293.4111 | 2552118.11 | 1200283.526 | 2552115.9895 | 1200269.5035
15 | 2552875.1919 | 1200262.717 | 2552896.9216 | 1200254.6173 | 2552901.4352 | 1200252.9347
16 | 2552875.1919 | 1200262.717 | 2552873.5111 | 1200263.3435
17 | 2552901.4352 | 1200252.9347 | 2552930.3495 | 1200242.1557
18 | 2552581.6482 | 1200543.2985 | 2552459.5195 | 1200621.1395
19 | 2552577.3922 | 1200524.8891 | 2552581.6482 | 1200543.2985
20 | 2552581.6482 | 1200543.2985 | 2552584.9484 | 1200557.5734 | 2552591.2552 | 1200569.53 | 2552603.1043 | 1200580.03
21 | 2553004.5737 | 1200526.1117 | 2553013.5941 | 1200529.7197 | 2553024.2718 | 1200534.2472
22 | 2553004.5737 | 1200526.1117 | 2552999.931 | 1200524.2547
23 | 2552999.931 | 1200524.2547 | 2552988.6534 | 1200519.744 | 2552983.6281 | 1200518.3944
24 | 2553000.6162 | 1200629.2786 | 2552990.6021 | 1200622.0817
25 | 2553000.6162 | 1200629.2786 | 2552958.6126 | 1200658.3263 | 2552947.6749 | 1200664.0463
26 | 2552990.6021 | 1200622.0817 | 2552988.7116 | 1200620.7231 | 2552976.1824 | 1200612.5407
27 | 2552947.6749 | 1200664.0463 | 2552933.0346 | 1200671.7025 | 2552927.3848 | 1200673.5935
28 | 2552967.4349 | 1200606.5543 | 2552973.6071 | 1200610.8588 | 2552976.1824 | 1200612.5407
29 | 2552927.3848 | 1200673.5935 | 2552813.2098 | 1200681.1995
30 | 2552967.4349 | 1200606.5543 | 2552954.2031 | 1200597.3265 | 2552951.0853 | 1200595.2585
31 | 2552813.2098 | 1200681.1995 | 2552797.8392 | 1200672.3606 | 2552788.1202 | 1200663.9327 | 2552778.7915 | 1200658.0286
32 | 2552971.9239 | 1200515.2511 | 2552983.6281 | 1200518.3944
33 | 2553014.3978 | 1200432.2568 | 2552951.4587 | 1200234.2863
34 | 2552967.3848 | 1200504.3808 | 2553014.3978 | 1200432.2568
35 | 2552951.4587 | 1200234.2863 | 2552930.3495 | 1200242.1557
36 | 2552966.1866 | 1200504.2793 | 2552967.3848 | 1200504.3808
37 | 2552971.9239 | 1200515.2511 | 2552967.3848 | 1200504.3808 | 2552967.3848 | 1200504.3808
38 | 2552971.9239 | 1200515.2511 | 2552963.2225 | 1200518.0992 | 2552956.5878 | 1200522.3968
39 | 2552956.5878 | 1200522.3968 | 2552949.9307 | 1200526.7089 | 2552938.2946 | 1200532.9043 | 2552938.2946 | 1200532.9043
40 | 2552948.0617 | 1200593.2531 | 2552951.0853 | 1200595.2585
41 | 2552948.0617 | 1200593.2531 | 2552936.2965 | 1200585.4499 | 2552930.6817 | 1200579.7929
42 | 2552926.8003 | 1200574.5998 | 2552929.191 | 1200578.2908 | 2552930.6817 | 1200579.7929
43 | 2552926.8003 | 1200574.5998 | 2552924.3051 | 1200570.7473 | 2552924.3051 | 1200570.7473
44 | 2552924.3051 | 1200570.7473 | 2552924.7827 | 1200562.4097
45 | 2552924.7827 | 1200562.4097 | 2552925.1213 | 1200556.4995
46 | 2552925.1213 | 1200556.4995 | 2552925.1213 | 1200556.4995 | 2552925.8757 | 1200554.0553
47 | 2552925.8757 | 1200554.0553 | 2552926.155 | 1200553.1506
48 | 2552957.612 | 1200503.5412 | 2552965.3433 | 1200504.2079 | 2552966.1866 | 1200504.2793
49 | 2552937.532 | 1200533.6931 | 2552938.2946 | 1200532.9043
50 | 2552930.9647 | 1200540.4867 | 2552937.532 | 1200533.6931
51 | 2552927.6195 | 1200548.4061 | 2552929.6415 | 1200541.8555 | 2552930.9647 | 1200540.4867
52 | 2552927.6195 | 1200548.4061 | 2552926.155 | 1200553.1506
53 | 2552953.178 | 1200503.1588 | 2552957.612 | 1200503.5412
54 | 2552551.7264 | 1200874.9821 | 2552564.8804 | 1200850.8923
55 | 2552582.3316 | 1200827.5701 | 2552571.7213 | 1200839.1499 | 2552565.9981 | 1200848.8454 | 2552564.8804 | 1200850.8923
56 | 2552778.7915 | 1200658.0286 | 2552774.571 | 1200655.3574 | 2552758.0991 | 1200644.9264 | 2552752.3108 | 1200640.8475
57 | 2552751.5579 | 1200640.3169 | 2552752.3108 | 1200640.8475
58 | 2552751.5579 | 1200640.3169 | 2552749.8307 | 1200639.0998
59 | 2552749.8307 | 1200639.0998 | 2552735.5244 | 1200629.0185 | 2552717.2491 | 1200616.7675 | 2552716.8524 | 1200616.4968
60 | 2552603.1043 | 1200580.03 | 2552716.8524 | 1200616.4968
61 | 2552721.5927 | 1200957.9272 | 2552721.5927 | 1200957.9272 | 2552722.0867 | 1200950.1522 | 2552721.0598 | 1200937.7755 | 2552720.3342 | 1200934.4651
62 | 2552721.5927 | 1200957.9272 | 2552724.6036 | 1200963.2619 | 2552725.8121 | 1200965.227
63 | 2552720.3342 | 1200934.4651 | 2552582.3316 | 1200827.5701
64 | 2552725.8121 | 1200965.227 | 2552732.8702 | 1200976.704 | 2552738.2037 | 1200985.778
65 | 2552582.3316 | 1200827.5701 | 2552560.2454 | 1200824.2327 | 2552549.7148 | 1200821.9263 | 2552549.4847 | 1200821.8254

## bus_geodata
| x | y | coords
0 | 2552481.4086 | 1200209.6182
1 | 2552495.5401 | 1200199.4141
2 | 2552470.444 | 1200223.6285
3 | 2552473.7467 | 1200262.0347
4 | 2552382.6189 | 1200290.0475
5 | 2552418.0874 | 1200607.0661
6 | 2552434.0283 | 1200639.9335
7 | 2552322.1202 | 1200449.0467
8 | 2552502.4086 | 1200195.0525
9 | 2552385.7987 | 1200300.9812
10 | 2552136.9608 | 1200324.4979
11 | 2552115.9895 | 1200269.5035
12 | 2552504.6451 | 1200193.6323
13 | 2552875.1919 | 1200262.717
14 | 2552901.4352 | 1200252.9347
15 | 2552873.5111 | 1200263.3435
16 | 2552459.5195 | 1200621.1395
17 | 2552581.6482 | 1200543.2985
18 | 2553024.2718 | 1200534.2472
19 | 2553004.5737 | 1200526.1117
20 | 2552999.931 | 1200524.2547
21 | 2553000.6162 | 1200629.2786
22 | 2552990.6021 | 1200622.0817
23 | 2552947.6749 | 1200664.0463
24 | 2552976.1824 | 1200612.5407
25 | 2552927.3848 | 1200673.5935
26 | 2552967.4349 | 1200606.5543
27 | 2552813.2098 | 1200681.1995
28 | 2552983.6281 | 1200518.3944
29 | 2553014.3978 | 1200432.2568
30 | 2552951.4587 | 1200234.2863
31 | 2552967.3848 | 1200504.3808
32 | 2552971.9239 | 1200515.2511
33 | 2552956.5878 | 1200522.3968
34 | 2552951.0853 | 1200595.2585
35 | 2552948.0617 | 1200593.2531
36 | 2552930.6817 | 1200579.7928
37 | 2552926.8003 | 1200574.5998
38 | 2552924.3051 | 1200570.7473
39 | 2552924.7827 | 1200562.4097
40 | 2552925.1213 | 1200556.4995
41 | 2552925.8757 | 1200554.0553
42 | 2552966.1866 | 1200504.2793
43 | 2552938.2946 | 1200532.9043
44 | 2552937.532 | 1200533.6931
45 | 2552930.9647 | 1200540.4867
46 | 2552927.6195 | 1200548.4061
47 | 2552957.612 | 1200503.5412
48 | 2552953.178 | 1200503.1588
49 | 2552930.3495 | 1200242.1557
50 | 2552551.7264 | 1200874.9821
51 | 2552564.8804 | 1200850.8923
52 | 2552778.7915 | 1200658.0286
53 | 2552752.3108 | 1200640.8475
54 | 2552751.5579 | 1200640.3169
55 | 2552926.155 | 1200553.1506
56 | 2552749.8307 | 1200639.0998
57 | 2552716.8524 | 1200616.4968
58 | 2552603.1043 | 1200580.03
59 | 2552577.3922 | 1200524.8891
60 | 2552721.5927 | 1200957.9272
61 | 2552720.3342 | 1200934.4651
62 | 2552725.8121 | 1200965.227
63 | 2552582.3316 | 1200827.5701
64 | 2552738.2037 | 1200985.778
65 | 2552549.4847 | 1200821.8254
66 | 2552460.9148 | 1200233.2835
67 | 2552577.3878 | 1200524.8705

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1