## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6416-10_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6416-10_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6416-10_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6416-10_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6416-10_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6416-10_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6416-10_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6416-10_0_6_node_105 | 0.4 | n |  | TRUE
8 | bus_LV_6416-10_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6416-10_0_6_node_104 | 0.4 | n |  | TRUE
10 | bus_LV_6416-10_0_6_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_6416-10_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6416-10_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6416-10_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6416-10_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6416-10_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6416-10_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6416-10_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6416-10_0_6_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_6416-10_0_6_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_6416-10_0_6_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_6416-10_0_6_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_6416-10_0_6_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_6416-10_0_6_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_6416-10_0_6_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_6416-10_0_6_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_6416-10_0_6_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_6416-10_0_6_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_6416-10_0_6_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_6416-10_0_6_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_6416-10_0_6_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_6416-10_0_6_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_6416-10_0_6_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_6416-10_0_6_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_6416-10_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_6416-10_0_6_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_6416-10_0_6_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_6416-10_0_6_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_6416-10_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_6416-10_0_6_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_6416-10_0_6_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_6416-10_0_6_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_6416-10_0_6_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6416-10_0_6_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_6416-10_0_6_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_6416-10_0_6_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_6416-10_0_6_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_6416-10_0_6_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_6416-10_0_6_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_6416-10_0_6_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_6416-10_0_6_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_6416-10_0_6_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_6416-10_0_6_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_6416-10_0_6_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_6416-10_0_6_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_6416-10_0_6_node_153 | 0.4 | n |  | TRUE
56 | bus_LV_6416-10_0_6_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_6416-10_0_6_node_151 | 0.4 | n |  | TRUE
58 | bus_LV_6416-10_0_6_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_6416-10_0_6_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_6416-10_0_6_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_6416-10_0_6_node_152 | 0.4 | n |  | TRUE
62 | bus_LV_6416-10_0_6_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_6416-10_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_6416-10_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_6416-10_0_6_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_6416-10_0_6_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_6416-10_0_6_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_6416-10_0_6_node_100 | 0.4 | n |  | TRUE
69 | bus_LV_6416-10_0_6_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_6416-10_0_6_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_6416-10_0_6_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_6416-10_0_6_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_6416-10_0_6_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_6416-10_0_6_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_6416-10_0_6_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_6416-10_0_6_node_89 | 0.4 | n |  | TRUE
77 | bus_LV_6416-10_0_6_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_6416-10_0_6_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_6416-10_0_6_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_6416-10_0_6_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_6416-10_0_6_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_6416-10_0_6_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_6416-10_0_6_node_98 | 0.4 | n |  | TRUE
84 | bus_LV_6416-10_0_6_node_99 | 0.4 | n |  | TRUE
85 | bus_LV_6416-10_0_6_node_103 | 0.4 | n |  | TRUE
86 | bus_LV_6416-10_0_6_node_102 | 0.4 | n |  | TRUE
87 | bus_LV_6416-10_0_6_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_6416-10_0_6_node_107 | 0.4 | n |  | TRUE
89 | bus_LV_6416-10_0_6_node_108 | 0.4 | n |  | TRUE
90 | bus_MV_320_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6416-10_0_6_load_0 | 0 | 0.0050521 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6416-10_0_6_load_1 | 1 | 0.0043378 | 0.0010871 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6416-10_0_6_load_2 | 2 | 0.018812 | 0.0047147 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6416-10_0_6_load_3 | 3 | 0.0033712 | 0.0008449 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6416-10_0_6_load_5 | 5 | 0.0037949 | 0.00095108 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6416-10_0_6_load_105 | 7 | 0.0028631 | 0.00071756 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6416-10_0_6_load_8 | 8 | 0.0081209 | 0.0020353 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6416-10_0_6_load_104 | 9 | 0.0041395 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6416-10_0_6_load_71 | 10 | 0.0099979 | 0.0025057 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6416-10_0_6_load_7 | 11 | 0.0038274 | 0.00095923 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6416-10_0_6_load_9 | 12 | 0.031927 | 0.0080017 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6416-10_0_6_load_10 | 13 | 0.0022674 | 0.00056826 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6416-10_0_6_load_11 | 14 | 0.0070734 | 0.0017728 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6416-10_0_6_load_12 | 15 | 0.014256 | 0.0035729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6416-10_0_6_load_13 | 16 | 0.0070715 | 0.0017723 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6416-10_0_6_load_14 | 17 | 0.0046721 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6416-10_0_6_load_60 | 18 | 0.011517 | 0.0028865 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6416-10_0_6_load_61 | 20 | 0.0070734 | 0.0017728 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6416-10_0_6_load_41 | 21 | 0.0035633 | 0.00089304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6416-10_0_6_load_42 | 22 | 0.0052932 | 0.0013266 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6416-10_0_6_load_38 | 23 | 0.0045944 | 0.0011515 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6416-10_0_6_load_35 | 24 | 0.0014706 | 0.00036856 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6416-10_0_6_load_36 | 25 | 0.0010226 | 0.0002563 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6416-10_0_6_load_37 | 26 | 0.00068933 | 0.00017276 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6416-10_0_6_load_39 | 27 | 0.00096559 | 0.000242 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6416-10_0_6_load_43 | 28 | 0.0010318 | 0.00025858 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6416-10_0_6_load_44 | 29 | 0.0050442 | 0.0012642 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6416-10_0_6_load_62 | 30 | 0.0028083 | 0.00070382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6416-10_0_6_load_46 | 31 | 0.0067235 | 0.0016851 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6416-10_0_6_load_63 | 32 | 0.0019071 | 0.00047797 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6416-10_0_6_load_45 | 33 | 0.0038572 | 0.00096671 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6416-10_0_6_load_47 | 34 | 0.0030997 | 0.00077686 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6416-10_0_6_load_48 | 35 | 0.0039419 | 0.00098793 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6416-10_0_6_load_49 | 36 | 0.0054116 | 0.0013563 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6416-10_0_6_load_56 | 37 | 0.0043165 | 0.0010818 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6416-10_0_6_load_50 | 39 | 0.00076705 | 0.00019224 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6416-10_0_6_load_51 | 40 | 0.011675 | 0.0029261 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6416-10_0_6_load_55 | 42 | 0.0022863 | 0.00057299 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6416-10_0_6_load_57 | 43 | 0.0010811 | 0.00027095 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6416-10_0_6_load_54 | 44 | 0.012915 | 0.0032369 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6416-10_0_6_load_58 | 45 | 0.015208 | 0.0038114 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6416-10_0_6_load_59 | 46 | 0.015435 | 0.0038684 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6416-10_0_6_load_65 | 47 | 0.0012055 | 0.00030212 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6416-10_0_6_load_72 | 48 | 0.0007992 | 0.0002003 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6416-10_0_6_load_66 | 49 | 0.00087889 | 0.00022027 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6416-10_0_6_load_80 | 52 | 0.010588 | 0.0026537 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6416-10_0_6_load_81 | 54 | 0.0097502 | 0.0024436 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6416-10_0_6_load_82 | 56 | 0.012229 | 0.0030648 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6416-10_0_6_load_85 | 58 | 0.00071725 | 0.00017976 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6416-10_0_6_load_83 | 59 | 0.001347 | 0.0003376 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6416-10_0_6_load_67 | 60 | 0.003679 | 0.00092205 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6416-10_0_6_load_152 | 61 | 0.0068913 | 0.0017271 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6416-10_0_6_load_68 | 62 | 0.0016641 | 0.00041707 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6416-10_0_6_load_69 | 63 | 0.0058512 | 0.0014665 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6416-10_0_6_load_74 | 64 | 0.0011204 | 0.00028079 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6416-10_0_6_load_75 | 65 | 0.0008541 | 0.00021406 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6416-10_0_6_load_76 | 66 | 0.0025868 | 0.00064831 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6416-10_0_6_load_100 | 68 | 0.0053139 | 0.0013318 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6416-10_0_6_load_96 | 69 | 0.0003968 | 9.9448e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6416-10_0_6_load_101 | 70 | 0.010099 | 0.0025312 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6416-10_0_6_load_94 | 71 | 0.00078621 | 0.00019704 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6416-10_0_6_load_109 | 72 | 0.0028288 | 0.00070895 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6416-10_0_6_load_86 | 73 | 0.0010047 | 0.0002518 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6416-10_0_6_load_87 | 74 | 0.0011079 | 0.00027766 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6416-10_0_6_load_89 | 76 | 0.0021676 | 0.00054324 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6416-10_0_6_load_90 | 77 | 0.0039097 | 0.00097986 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6416-10_0_6_load_91 | 78 | 0.0012144 | 0.00030436 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6416-10_0_6_load_92 | 79 | 0.0016511 | 0.00041381 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6416-10_0_6_load_97 | 80 | 0.0017693 | 0.00044342 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6416-10_0_6_load_93 | 82 | 0.00075341 | 0.00018882 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6416-10_0_6_load_98 | 83 | 0.0020715 | 0.00051917 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6416-10_0_6_load_99 | 84 | 0.0046048 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6416-10_0_6_load_103 | 85 | 0.0044321 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6416-10_0_6_load_102 | 86 | 0.0049443 | 0.0012392 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6416-10_0_6_load_106 | 87 | 0.015129 | 0.0037916 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6416-10_0_6_load_108 | 89 | 0.015816 | 0.0039639 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6416-10_0_6_line_0 |  | 0 | 1 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6416-10_0_6_line_1 |  | 0 | 2 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6416-10_0_6_line_2 |  | 1 | 3 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6416-10_0_6_line_3 |  | 2 | 4 | 0.083623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6416-10_0_6_line_4 |  | 3 | 5 | 0.016311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6416-10_0_6_line_5 |  | 4 | 6 | 0.072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6416-10_0_6_line_6 |  | 5 | 7 | 0.033284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6416-10_0_6_line_7 |  | 6 | 8 | 0.1188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6416-10_0_6_line_8 |  | 7 | 9 | 0.0071918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6416-10_0_6_line_9 |  | 8 | 10 | 0.052859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6416-10_0_6_line_10 |  | 9 | 86 | 0.021729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6416-10_0_6_line_11 |  | 10 | 11 | 0.17135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6416-10_0_6_line_12 |  | 12 | 13 | 0.013525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6416-10_0_6_line_13 |  | 12 | 14 | 0.014495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6416-10_0_6_line_14 |  | 13 | 15 | 0.012848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6416-10_0_6_line_15 |  | 14 | 16 | 0.015213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6416-10_0_6_line_16 |  | 15 | 17 | 0.0091975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6416-10_0_6_line_17 |  | 16 | 18 | 0.031632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6416-10_0_6_line_18 |  | 17 | 19 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6416-10_0_6_line_19 |  | 18 | 20 | 0.0037853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6416-10_0_6_line_20 |  | 19 | 21 | 0.040493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6416-10_0_6_line_21 |  | 19 | 22 | 0.021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6416-10_0_6_line_22 |  | 19 | 23 | 0.034898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6416-10_0_6_line_23 |  | 20 | 45 | 0.035999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6416-10_0_6_line_24 |  | 21 | 28 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6416-10_0_6_line_25 |  | 22 | 29 | 0.015173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6416-10_0_6_line_26 |  | 23 | 25 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6416-10_0_6_line_27 |  | 24 | 25 | 0.02192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6416-10_0_6_line_28 |  | 24 | 26 | 0.0054051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6416-10_0_6_line_29 |  | 26 | 27 | 0.0031815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6416-10_0_6_line_30 |  | 28 | 30 | 0.05047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6416-10_0_6_line_31 |  | 29 | 31 | 0.04552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6416-10_0_6_line_32 |  | 30 | 32 | 0.033459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6416-10_0_6_line_33 |  | 31 | 33 | 0.0025494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6416-10_0_6_line_34 |  | 32 | 51 | 0.039375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6416-10_0_6_line_35 |  | 32 | 52 | 0.12467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6416-10_0_6_line_36 |  | 33 | 34 | 0.020062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6416-10_0_6_line_37 |  | 34 | 35 | 0.0071464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6416-10_0_6_line_38 |  | 35 | 36 | 0.0043058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6416-10_0_6_line_39 |  | 36 | 37 | 0.02263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6416-10_0_6_line_40 |  | 37 | 38 | 0.057679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6416-10_0_6_line_41 |  | 38 | 43 | 0.040823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6416-10_0_6_line_42 |  | 38 | 40 | 0.029973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6416-10_0_6_line_43 |  | 39 | 40 | 0.0014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6416-10_0_6_line_44 |  | 39 | 41 | 0.023919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6416-10_0_6_line_45 |  | 41 | 42 | 0.0074662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6416-10_0_6_line_46 |  | 42 | 46 | 0.048153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6416-10_0_6_line_47 |  | 43 | 47 | 0.0038369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6416-10_0_6_line_48 |  | 44 | 45 | 0.0099621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6416-10_0_6_line_49 |  | 46 | 48 | 0.057175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6416-10_0_6_line_50 |  | 47 | 49 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6416-10_0_6_line_51 |  | 48 | 50 | 0.032883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6416-10_0_6_line_52 |  | 49 | 60 | 0.017858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6416-10_0_6_line_53 |  | 50 | 64 | 0.020678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6416-10_0_6_line_54 |  | 50 | 65 | 0.0051961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6416-10_0_6_line_55 |  | 51 | 53 | 0.1129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6416-10_0_6_line_56 |  | 52 | 54 | 0.037419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6416-10_0_6_line_57 |  | 53 | 58 | 0.042486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6416-10_0_6_line_58 |  | 54 | 56 | 0.0010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6416-10_0_6_line_59 |  | 55 | 56 | 0.10351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6416-10_0_6_line_60 |  | 55 | 57 | 0.035975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6416-10_0_6_line_61 |  | 56 | 59 | 0.054795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6416-10_0_6_line_62 |  | 57 | 61 | 0.010668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6416-10_0_6_line_63 |  | 58 | 72 | 0.042198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6416-10_0_6_line_64 |  | 60 | 62 | 0.010877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6416-10_0_6_line_65 |  | 62 | 63 | 0.00048886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6416-10_0_6_line_66 |  | 64 | 66 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6416-10_0_6_line_67 |  | 65 | 67 | 0.031761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6416-10_0_6_line_68 |  | 67 | 68 | 0.041487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6416-10_0_6_line_69 |  | 67 | 69 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6416-10_0_6_line_70 |  | 68 | 70 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6416-10_0_6_line_71 |  | 69 | 71 | 0.01567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6416-10_0_6_line_72 |  | 70 | 87 | 0.046383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6416-10_0_6_line_73 |  | 71 | 82 | 0.0042583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6416-10_0_6_line_74 |  | 73 | 74 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6416-10_0_6_line_75 |  | 73 | 75 | 0.013561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6416-10_0_6_line_76 |  | 75 | 76 | 0.016898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6416-10_0_6_line_77 |  | 75 | 77 | 0.0079514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6416-10_0_6_line_78 |  | 76 | 78 | 0.0021393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6416-10_0_6_line_79 |  | 77 | 79 | 0.025664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6416-10_0_6_line_80 |  | 78 | 80 | 0.024941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6416-10_0_6_line_81 |  | 80 | 81 | 0.021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6416-10_0_6_line_82 |  | 81 | 83 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6416-10_0_6_line_83 |  | 81 | 82 | 0.0097893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6416-10_0_6_line_84 |  | 83 | 84 | 0.032236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_6416-10_0_6_line_85 |  | 84 | 85 | 0.0023661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6416-10_0_6_line_86 |  | 85 | 86 | 0.038318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_6416-10_0_6_line_87 |  | 87 | 88 | 0.012755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6416-10_0_6_line_88 |  | 88 | 89 | 0.0091071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6416-10_0_6_trafo_58 | 0.63 MVA 20/0.4 kV | 90 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2556156.6456 | 1201380.773 | 2556143.4653 | 1201384.0348 | 2556141.7405 | 1201384.9061
1 | 2556156.6456 | 1201380.773 | 2556166.6228 | 1201378.3039
2 | 2556141.7405 | 1201384.9061 | 2556132.4309 | 1201389.6089
3 | 2556231.0564 | 1201329.2488 | 2556228.3144 | 1201337.2846 | 2556222.5213 | 1201344.409 | 2556210.643 | 1201354.1239 | 2556195.3937 | 1201364.9866 | 2556173.9309 | 1201376.4953 | 2556166.6228 | 1201378.3039
4 | 2556132.4309 | 1201389.6089 | 2556123.5219 | 1201394.1094 | 2556119.2786 | 1201398.8065
5 | 2556285.1256 | 1201283.4039 | 2556275.8847 | 1201292.6436 | 2556269.2582 | 1201299.2737 | 2556253.7051 | 1201313.3625 | 2556239.0375 | 1201327.7894 | 2556235.0469 | 1201328.5191 | 2556231.0564 | 1201329.2488
6 | 2556096.5929 | 1201423.1331 | 2556100.6012 | 1201419.4814 | 2556119.2786 | 1201398.8065
7 | 2556285.1256 | 1201283.4039 | 2556275.3877 | 1201271.5909 | 2556257.7396 | 1201250.1861 | 2556204.1006 | 1201196.6965
8 | 2556096.5929 | 1201423.1331 | 2556091.2765 | 1201427.9765
9 | 2556204.1006 | 1201196.6965 | 2556166.6716 | 1201159.3718
10 | 2556075.2141 | 1201442.6099 | 2556091.2765 | 1201427.9765
11 | 2556166.6716 | 1201159.3718 | 2556006.6451 | 1201098.1155
12 | 2555773.6014 | 1201332.3939 | 2555773.6014 | 1201332.3939 | 2555786.4874 | 1201336.5006
13 | 2555786.4874 | 1201336.5006 | 2555786.4874 | 1201336.5006 | 2555792.166 | 1201345.8082 | 2555793.0592 | 1201349.287
14 | 2555761.0396 | 1201335.0927 | 2555773.6014 | 1201332.3939
15 | 2555793.0592 | 1201349.287 | 2555796.8425 | 1201364.0223
16 | 2555752.0473 | 1201337.0247 | 2555761.0396 | 1201335.0927
17 | 2555804.709 | 1201394.6606 | 2555796.8425 | 1201364.0223
18 | 2555733.2953 | 1201341.0535 | 2555752.0473 | 1201337.0247
19 | 2555804.709 | 1201394.6606 | 2555805.6503 | 1201398.327
20 | 2555733.2953 | 1201341.0535 | 2555694.3346 | 1201352.0873
21 | 2555733.2953 | 1201341.0535 | 2555739.1083 | 1201362.1009
22 | 2555733.2953 | 1201341.0535 | 2555732.0223 | 1201336.6938 | 2555730.4839 | 1201331.4467 | 2555723.4993 | 1201307.5588
23 | 2555805.6503 | 1201398.327 | 2555814.6028 | 1201433.195
24 | 2555694.3346 | 1201352.0873 | 2555675.0468 | 1201357.5497
25 | 2555739.1083 | 1201362.1009 | 2555743.1478 | 1201376.7267
26 | 2555723.4993 | 1201307.5588 | 2555719.7451 | 1201294.7192
27 | 2555713.5934 | 1201273.6799 | 2555719.7451 | 1201294.7192
28 | 2555712.0766 | 1201268.4921 | 2555713.5934 | 1201273.6799
29 | 2555712.0766 | 1201268.4921 | 2555711.1837 | 1201265.4384
30 | 2555675.0468 | 1201357.5497 | 2555626.4866 | 1201371.3021
31 | 2555743.1478 | 1201376.7267 | 2555751.5824 | 1201407.2663 | 2555754.7346 | 1201418.6938 | 2555755.2172 | 1201420.6171
32 | 2555626.4866 | 1201371.3021 | 2555594.2933 | 1201380.4194
33 | 2555755.8376 | 1201423.0899 | 2555755.2172 | 1201420.6171
34 | 2555558.4778 | 1201366.4242 | 2555590.3371 | 1201381.5398 | 2555594.2933 | 1201380.4194
35 | 2555594.2933 | 1201380.4194 | 2555536.13 | 1201490.6946
36 | 2555755.8376 | 1201423.0899 | 2555760.7203 | 1201442.549
37 | 2555762.4596 | 1201449.4806 | 2555760.7203 | 1201442.549
38 | 2555762.4596 | 1201449.4806 | 2555763.5075 | 1201453.6569
39 | 2555769.0151 | 1201475.6066 | 2555763.5075 | 1201453.6569
40 | 2555782.836 | 1201531.6048 | 2555769.5976 | 1201477.9282 | 2555769.0151 | 1201475.6066
41 | 2555782.836 | 1201531.6048 | 2555791.5621 | 1201571.4837
42 | 2555782.836 | 1201531.6048 | 2555811.4392 | 1201522.646
43 | 2555812.7997 | 1201522.2199 | 2555811.4392 | 1201522.646
44 | 2555835.6255 | 1201515.0707 | 2555812.7997 | 1201522.2199
45 | 2555835.6255 | 1201515.0707 | 2555842.7269 | 1201512.7656
46 | 2555842.7269 | 1201512.7656 | 2555881.8203 | 1201500.0757 | 2555888.6653 | 1201498.3796
47 | 2555791.5621 | 1201571.4837 | 2555792.3823 | 1201575.2319
48 | 2555817.0802 | 1201442.8441 | 2555814.6028 | 1201433.195
49 | 2555924.1786 | 1201536.9909 | 2555912.3363 | 1201509.7554 | 2555909.53 | 1201505.9295 | 2555905.596 | 1201502.9681 | 2555900.4993 | 1201500.2598 | 2555895.4278 | 1201498.8854 | 2555888.6653 | 1201498.3796 | 2555888.6653 | 1201498.3796
50 | 2555794.986 | 1201587.0177 | 2555794.8582 | 1201586.5467 | 2555792.3823 | 1201575.2319
51 | 2555938.3761 | 1201566.6506 | 2555924.4307 | 1201537.5706 | 2555924.1786 | 1201536.9909
52 | 2555794.986 | 1201587.0177 | 2555799.6641 | 1201604.2521
53 | 2555938.3761 | 1201566.6506 | 2555936.0185 | 1201575.1284 | 2555936.5514 | 1201586.9948
54 | 2555938.3761 | 1201566.6506 | 2555941.4785 | 1201562.4824
55 | 2555534.5529 | 1201258.9974 | 2555536.6893 | 1201266.8303 | 2555538.0687 | 1201275.2248 | 2555539.1311 | 1201286.0118 | 2555539.5495 | 1201298.2268 | 2555541.4539 | 1201318.8353 | 2555542.8674 | 1201331.7988 | 2555545.7007 | 1201345.3075 | 2555547.6256 | 1201353.3644 | 2555550.9579 | 1201360.3213 | 2555558.4778 | 1201366.4242
56 | 2555504.7196 | 1201511.0318 | 2555536.13 | 1201490.6946
57 | 2555534.5529 | 1201258.9974 | 2555530.6569 | 1201249.9658 | 2555525.8768 | 1201239.7512 | 2555515.194 | 1201221.2401
58 | 2555504.7196 | 1201511.0318 | 2555503.7974 | 1201511.6289
59 | 2555503.7974 | 1201511.6289 | 2555553.6239 | 1201602.3607
60 | 2555576.6293 | 1201624.4684 | 2555577.3992 | 1201617.4921 | 2555570.8482 | 1201609.6031 | 2555559.5532 | 1201604.451 | 2555553.6239 | 1201602.3607
61 | 2555503.7974 | 1201511.6289 | 2555492.251 | 1201519.1048 | 2555457.0451 | 1201540.1955
62 | 2555576.6293 | 1201624.4684 | 2555586.0288 | 1201619.3733
63 | 2555515.194 | 1201221.2401 | 2555506.2517 | 1201205.7451 | 2555500.1548 | 1201195.5404 | 2555495.2898 | 1201189.2509 | 2555493.0081 | 1201185.4088
64 | 2555799.6641 | 1201604.2521 | 2555802.5134 | 1201614.7492
65 | 2555802.6414 | 1201615.221 | 2555802.5134 | 1201614.7492
66 | 2555937.1678 | 1201600.7192 | 2555936.5514 | 1201586.9948
67 | 2555960.442 | 1201537.0041 | 2555941.4785 | 1201562.4824
68 | 2555960.442 | 1201537.0041 | 2555964.1258 | 1201525.6927 | 2555961.966 | 1201512.5345 | 2555954.643 | 1201498.0205
69 | 2555960.442 | 1201537.0041 | 2555977.4079 | 1201525.2333
70 | 2555947.0004 | 1201483.9048 | 2555952.5887 | 1201493.9488 | 2555954.643 | 1201498.0205
71 | 2555977.4079 | 1201525.2333 | 2555990.2825 | 1201516.3009
72 | 2555947.0004 | 1201483.9048 | 2555941.0568 | 1201473.2223 | 2555927.7565 | 1201441.7593
73 | 2555993.7812 | 1201513.8736 | 2555990.2825 | 1201516.3009
74 | 2556068.0038 | 1201516.8813 | 2556069.0543 | 1201535.9654
75 | 2556067.2584 | 1201503.3412 | 2556068.0038 | 1201516.8813
76 | 2556067.2584 | 1201503.3412 | 2556050.409 | 1201504.6164
77 | 2556067.2584 | 1201503.3412 | 2556075.1841 | 1201502.7028
78 | 2556048.2758 | 1201504.7778 | 2556050.409 | 1201504.6164
79 | 2556100.5628 | 1201499.5065 | 2556094.7562 | 1201501.1262 | 2556075.1841 | 1201502.7028
80 | 2556023.4056 | 1201506.66 | 2556048.2758 | 1201504.7778
81 | 2556001.8243 | 1201508.2933 | 2556023.4056 | 1201506.66
82 | 2556001.8243 | 1201508.2933 | 2556020.1799 | 1201490.4478
83 | 2556001.8243 | 1201508.2933 | 2555993.7812 | 1201513.8736
84 | 2556020.1799 | 1201490.4478 | 2556044.4628 | 1201469.2455
85 | 2556046.2541 | 1201467.6997 | 2556044.4628 | 1201469.2455 | 2556044.4628 | 1201469.2455
86 | 2556075.2141 | 1201442.6099 | 2556073.1417 | 1201444.4979 | 2556046.2541 | 1201467.6997
87 | 2555922.79 | 1201430.0107 | 2555927.7565 | 1201441.7593
88 | 2555922.79 | 1201430.0107 | 2555922.5248 | 1201420.9075

## bus_geodata
| x | y | coords
0 | 2556156.6456 | 1201380.773
1 | 2556141.7405 | 1201384.9061
2 | 2556166.6228 | 1201378.3039
3 | 2556132.4309 | 1201389.6089
4 | 2556231.0563 | 1201329.2488
5 | 2556119.2786 | 1201398.8065
6 | 2556285.1256 | 1201283.4039
7 | 2556096.5929 | 1201423.1331
8 | 2556204.1006 | 1201196.6965
9 | 2556091.2765 | 1201427.9765
10 | 2556166.6716 | 1201159.3718
11 | 2556006.6451 | 1201098.1155
12 | 2555786.4874 | 1201336.5006
13 | 2555773.6014 | 1201332.3939
14 | 2555793.0592 | 1201349.287
15 | 2555761.0396 | 1201335.0927
16 | 2555796.8425 | 1201364.0223
17 | 2555752.0473 | 1201337.0247
18 | 2555804.709 | 1201394.6606
19 | 2555733.2953 | 1201341.0535
20 | 2555805.6503 | 1201398.327
21 | 2555694.3346 | 1201352.0873
22 | 2555739.1083 | 1201362.1009
23 | 2555723.4993 | 1201307.5588
24 | 2555713.5934 | 1201273.6799
25 | 2555719.7451 | 1201294.7192
26 | 2555712.0766 | 1201268.4921
27 | 2555711.1837 | 1201265.4384
28 | 2555675.0468 | 1201357.5497
29 | 2555743.1478 | 1201376.7267
30 | 2555626.4866 | 1201371.3021
31 | 2555755.2172 | 1201420.6171
32 | 2555594.2933 | 1201380.4194
33 | 2555755.8376 | 1201423.0899
34 | 2555760.7203 | 1201442.549
35 | 2555762.4596 | 1201449.4806
36 | 2555763.5075 | 1201453.6569
37 | 2555769.0151 | 1201475.6066
38 | 2555782.836 | 1201531.6048
39 | 2555812.7997 | 1201522.2199
40 | 2555811.4392 | 1201522.646
41 | 2555835.6255 | 1201515.0707
42 | 2555842.7269 | 1201512.7656
43 | 2555791.5621 | 1201571.4837
44 | 2555817.0802 | 1201442.8441
45 | 2555814.6028 | 1201433.195
46 | 2555888.6653 | 1201498.3796
47 | 2555792.3823 | 1201575.2319
48 | 2555924.1786 | 1201536.9909
49 | 2555794.986 | 1201587.0177
50 | 2555938.3761 | 1201566.6506
51 | 2555558.4778 | 1201366.4242
52 | 2555536.13 | 1201490.6946
53 | 2555534.5529 | 1201258.9974
54 | 2555504.7196 | 1201511.0318
55 | 2555553.6238 | 1201602.3607
56 | 2555503.7974 | 1201511.6289
57 | 2555576.6293 | 1201624.4684
58 | 2555515.194 | 1201221.2401
59 | 2555457.0451 | 1201540.1955
60 | 2555799.6641 | 1201604.2521
61 | 2555586.0288 | 1201619.3733
62 | 2555802.5134 | 1201614.7492
63 | 2555802.6414 | 1201615.221
64 | 2555936.5514 | 1201586.9948
65 | 2555941.4785 | 1201562.4824
66 | 2555937.1678 | 1201600.7192
67 | 2555960.442 | 1201537.0041
68 | 2555954.643 | 1201498.0205
69 | 2555977.4079 | 1201525.2333
70 | 2555947.0004 | 1201483.9048
71 | 2555990.2825 | 1201516.3009
72 | 2555493.0081 | 1201185.4088
73 | 2556068.0038 | 1201516.8813
74 | 2556069.0543 | 1201535.9654
75 | 2556067.2584 | 1201503.3412
76 | 2556050.409 | 1201504.6164
77 | 2556075.1841 | 1201502.7028
78 | 2556048.2758 | 1201504.7778
79 | 2556100.5628 | 1201499.5065
80 | 2556023.4056 | 1201506.66
81 | 2556001.8243 | 1201508.2933
82 | 2555993.7812 | 1201513.8736
83 | 2556020.1799 | 1201490.4478
84 | 2556044.4628 | 1201469.2455
85 | 2556046.2541 | 1201467.6997
86 | 2556075.2141 | 1201442.6099
87 | 2555927.7565 | 1201441.7593
88 | 2555922.79 | 1201430.0107
89 | 2555922.5248 | 1201420.9075
90 | 2555835.6255 | 1201515.0707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1