## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6416-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6416-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6416-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6416-14_0_6_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_6416-14_0_6_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_6416-14_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6416-14_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_6416-14_0_6_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_6416-14_0_6_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6416-14_0_6_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_6416-14_0_6_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_6416-14_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6416-14_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_6416-14_0_6_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6416-14_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6416-14_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6416-14_0_6_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_6416-14_0_6_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_6416-14_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_6416-14_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6416-14_0_6_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_6416-14_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_6416-14_0_6_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_6416-14_0_6_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_6416-14_0_6_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_6416-14_0_6_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_6416-14_0_6_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_6416-14_0_6_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_6416-14_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6416-14_0_6_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_6416-14_0_6_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_6416-14_0_6_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_6416-14_0_6_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_6416-14_0_6_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_6416-14_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_6416-14_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6416-14_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6416-14_0_6_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_6416-14_0_6_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_6416-14_0_6_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_6416-14_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_6416-14_0_6_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_6416-14_0_6_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_6416-14_0_6_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_6416-14_0_6_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_6416-14_0_6_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_6416-14_0_6_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_6416-14_0_6_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_6416-14_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6416-14_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6416-14_0_6_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_6416-14_0_6_node_90 | 0.4 | n |  | TRUE
52 | bus_LV_6416-14_0_6_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_6416-14_0_6_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_6416-14_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_6416-14_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_6416-14_0_6_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_6416-14_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6416-14_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6416-14_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_6416-14_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6416-14_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6416-14_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_6416-14_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_6416-14_0_6_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_6416-14_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_6416-14_0_6_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_6416-14_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6416-14_0_6_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_6416-14_0_6_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_6416-14_0_6_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_6416-14_0_6_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_6416-14_0_6_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_6416-14_0_6_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_6416-14_0_6_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6416-14_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_6416-14_0_6_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_6416-14_0_6_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_6416-14_0_6_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_6416-14_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_6416-14_0_6_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_6416-14_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_6416-14_0_6_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_6416-14_0_6_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_6416-14_0_6_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_6416-14_0_6_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_6416-14_0_6_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_6416-14_0_6_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_6416-14_0_6_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_6416-14_0_6_node_85 | 0.4 | n |  | TRUE
90 | bus_MV_327_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6416-14_0_6_load_0 | 0 | 0.0011521 | 0.00028874 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6416-14_0_6_load_22 | 4 | 0.0022733 | 0.00056974 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6416-14_0_6_load_8 | 5 | 0.0049715 | 0.001246 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6416-14_0_6_load_24 | 7 | 0.055196 | 0.013833 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6416-14_0_6_load_29 | 9 | 0.0020833 | 0.00052214 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6416-14_0_6_load_27 | 10 | 0.0014964 | 0.00037503 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6416-14_0_6_load_5 | 11 | 0.0073677 | 0.0018465 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6416-14_0_6_load_16 | 13 | 0.0065859 | 0.0016506 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6416-14_0_6_load_17 | 14 | 0.0019099 | 0.00047866 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6416-14_0_6_load_11 | 15 | 0.0037595 | 0.00094222 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6416-14_0_6_load_75 | 16 | 0.0054267 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6416-14_0_6_load_74 | 17 | 0.010899 | 0.0027316 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6416-14_0_6_load_9 | 18 | 0.0054356 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6416-14_0_6_load_23 | 21 | 0.016303 | 0.004086 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6416-14_0_6_load_80 | 22 | 0.0033112 | 0.00082986 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6416-14_0_6_load_77 | 23 | 0.041038 | 0.010285 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6416-14_0_6_load_92 | 25 | 0.014014 | 0.0035122 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6416-14_0_6_load_91 | 26 | 0.010642 | 0.0026672 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6416-14_0_6_load_30 | 27 | 0.066143 | 0.016577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6416-14_0_6_load_26 | 28 | 0.0050356 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6416-14_0_6_load_87 | 31 | 0.00058915 | 0.00014765 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6416-14_0_6_load_60 | 32 | 0.0038377 | 0.00096181 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6416-14_0_6_load_58 | 33 | 0.0039048 | 0.00097863 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6416-14_0_6_load_76 | 38 | 0.0033955 | 0.00085099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6416-14_0_6_load_73 | 39 | 0.0056766 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6416-14_0_6_load_96 | 41 | 0.0009896 | 0.00024802 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6416-14_0_6_load_83 | 42 | 0.0003676 | 9.2129e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6416-14_0_6_load_97 | 43 | 0.00098913 | 0.0002479 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6416-14_0_6_load_81 | 44 | 0.0014469 | 0.00036263 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6416-14_0_6_load_82 | 45 | 0.0069372 | 0.0017386 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6416-14_0_6_load_89 | 46 | 0.0029973 | 0.0007512 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6416-14_0_6_load_78 | 47 | 0.0039778 | 0.00099693 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6416-14_0_6_load_32 | 48 | 0.0081625 | 0.0020457 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6416-14_0_6_load_33 | 49 | 0.0081078 | 0.002032 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6416-14_0_6_load_93 | 50 | 0.027948 | 0.0070044 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6416-14_0_6_load_90 | 51 | 0.05693 | 0.014268 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6416-14_0_6_load_59 | 52 | 0.0034769 | 0.00087138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6416-14_0_6_load_68 | 53 | 0.001803 | 0.00045188 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6416-14_0_6_load_34 | 54 | 0.0017062 | 0.00042762 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6416-14_0_6_load_44 | 58 | 0.0047798 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6416-14_0_6_load_51 | 60 | 0.0038851 | 0.00097369 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6416-14_0_6_load_57 | 61 | 0.0015526 | 0.00038913 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6416-14_0_6_load_54 | 62 | 0.043104 | 0.010803 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6416-14_0_6_load_95 | 64 | 0.024781 | 0.0062106 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6416-14_0_6_load_42 | 66 | 0.0037855 | 0.00094874 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6416-14_0_6_load_55 | 67 | 0.0016275 | 0.00040789 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6416-14_0_6_load_40 | 68 | 0.013362 | 0.0033488 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6416-14_0_6_load_41 | 69 | 0.0015047 | 0.00037711 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6416-14_0_6_load_45 | 70 | 0.0031533 | 0.0007903 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6416-14_0_6_load_46 | 71 | 0.0068566 | 0.0017184 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6416-14_0_6_load_88 | 73 | 0.0022423 | 0.00056197 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6416-14_0_6_load_71 | 74 | 0.001602 | 0.00040149 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6416-14_0_6_load_56 | 76 | 0.017436 | 0.0043698 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6416-14_0_6_load_94 | 77 | 0.033485 | 0.0083921 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6416-14_0_6_load_69 | 78 | 0.0022985 | 0.00057606 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6416-14_0_6_load_63 | 79 | 0.001417 | 0.00035513 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6416-14_0_6_load_62 | 80 | 0.002944 | 0.00073783 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6416-14_0_6_load_64 | 81 | 0.0025248 | 0.00063279 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6416-14_0_6_load_66 | 82 | 0.0023763 | 0.00059555 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6416-14_0_6_load_70 | 83 | 0.0022098 | 0.00055384 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6416-14_0_6_load_99 | 85 | 0.0030715 | 0.00076978 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6416-14_0_6_load_98 | 86 | 0.0014683 | 0.000368 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6416-14_0_6_load_79 | 87 | 0.0019881 | 0.00049826 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6416-14_0_6_load_84 | 88 | 0.0022308 | 0.0005591 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6416-14_0_6_load_85 | 89 | 0.0033627 | 0.00084277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6416-14_0_6_line_0 |  | 0 | 1 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6416-14_0_6_line_1 |  | 1 | 2 | 0.042619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6416-14_0_6_line_2 |  | 2 | 3 | 0.027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6416-14_0_6_line_3 |  | 2 | 4 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6416-14_0_6_line_4 |  | 3 | 5 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6416-14_0_6_line_5 |  | 5 | 18 | 0.023271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6416-14_0_6_line_6 |  | 6 | 7 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6416-14_0_6_line_7 |  | 6 | 8 | 0.035034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6416-14_0_6_line_8 |  | 7 | 21 | 0.01194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6416-14_0_6_line_9 |  | 8 | 27 | 0.013103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6416-14_0_6_line_10 |  | 8 | 28 | 0.011162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6416-14_0_6_line_11 |  | 9 | 10 | 0.00031199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6416-14_0_6_line_12 |  | 10 | 28 | 0.022499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6416-14_0_6_line_13 |  | 11 | 12 | 0.067635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6416-14_0_6_line_14 |  | 12 | 13 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6416-14_0_6_line_15 |  | 12 | 14 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6416-14_0_6_line_16 |  | 12 | 15 | 0.017116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6416-14_0_6_line_17 |  | 13 | 34 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6416-14_0_6_line_18 |  | 14 | 35 | 0.022135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6416-14_0_6_line_19 |  | 15 | 18 | 0.027924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6416-14_0_6_line_20 |  | 16 | 17 | 0.012726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6416-14_0_6_line_21 |  | 17 | 39 | 0.024239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6416-14_0_6_line_22 |  | 19 | 20 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6416-14_0_6_line_23 |  | 19 | 21 | 0.019339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6416-14_0_6_line_24 |  | 20 | 22 | 0.019159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6416-14_0_6_line_25 |  | 20 | 23 | 0.014016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6416-14_0_6_line_26 |  | 22 | 46 | 0.0032068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6416-14_0_6_line_27 |  | 23 | 47 | 0.0083625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6416-14_0_6_line_28 |  | 24 | 25 | 0.019542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6416-14_0_6_line_29 |  | 24 | 26 | 0.0080478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6416-14_0_6_line_30 |  | 25 | 50 | 0.0051911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6416-14_0_6_line_31 |  | 26 | 51 | 0.012673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6416-14_0_6_line_32 |  | 27 | 48 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6416-14_0_6_line_33 |  | 29 | 30 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6416-14_0_6_line_34 |  | 29 | 31 | 0.13113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6416-14_0_6_line_35 |  | 30 | 75 | 0.004352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6416-14_0_6_line_36 |  | 30 | 79 | 0.011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6416-14_0_6_line_37 |  | 32 | 33 | 0.0036251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6416-14_0_6_line_38 |  | 33 | 49 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6416-14_0_6_line_39 |  | 34 | 36 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6416-14_0_6_line_40 |  | 35 | 37 | 0.017702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6416-14_0_6_line_41 |  | 36 | 38 | 0.025546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6416-14_0_6_line_42 |  | 36 | 39 | 0.021797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6416-14_0_6_line_43 |  | 37 | 43 | 0.01121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6416-14_0_6_line_44 |  | 37 | 44 | 0.0091404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6416-14_0_6_line_45 |  | 40 | 41 | 0.01952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6416-14_0_6_line_46 |  | 40 | 42 | 0.024768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6416-14_0_6_line_47 |  | 41 | 43 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6416-14_0_6_line_48 |  | 42 | 45 | 0.024206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6416-14_0_6_line_49 |  | 44 | 87 | 0.0023209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6416-14_0_6_line_50 |  | 45 | 88 | 0.027243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6416-14_0_6_line_51 |  | 46 | 73 | 0.024971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6416-14_0_6_line_52 |  | 47 | 87 | 0.0091877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6416-14_0_6_line_53 |  | 48 | 49 | 0.04529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6416-14_0_6_line_54 |  | 49 | 52 | 0.035752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6416-14_0_6_line_55 |  | 50 | 77 | 0.0085054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6416-14_0_6_line_56 |  | 51 | 72 | 0.059044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6416-14_0_6_line_57 |  | 52 | 53 | 0.0025011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6416-14_0_6_line_58 |  | 53 | 78 | 0.018542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6416-14_0_6_line_59 |  | 54 | 55 | 0.0067876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6416-14_0_6_line_60 |  | 55 | 56 | 0.025958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6416-14_0_6_line_61 |  | 55 | 57 | 0.018351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6416-14_0_6_line_62 |  | 56 | 58 | 0.0066731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6416-14_0_6_line_63 |  | 57 | 59 | 0.097744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6416-14_0_6_line_64 |  | 57 | 60 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6416-14_0_6_line_65 |  | 58 | 66 | 0.037372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6416-14_0_6_line_66 |  | 59 | 61 | 0.010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6416-14_0_6_line_67 |  | 59 | 62 | 0.0095583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6416-14_0_6_line_68 |  | 61 | 64 | 0.0019702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6416-14_0_6_line_69 |  | 62 | 67 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6416-14_0_6_line_70 |  | 63 | 64 | 0.044429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6416-14_0_6_line_71 |  | 63 | 65 | 0.038344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6416-14_0_6_line_72 |  | 65 | 71 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6416-14_0_6_line_73 |  | 66 | 68 | 0.067612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6416-14_0_6_line_74 |  | 67 | 76 | 0.0062902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6416-14_0_6_line_75 |  | 68 | 69 | 0.030926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6416-14_0_6_line_76 |  | 70 | 71 | 0.07246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6416-14_0_6_line_77 |  | 72 | 73 | 0.066438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6416-14_0_6_line_78 |  | 74 | 75 | 0.051826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6416-14_0_6_line_79 |  | 75 | 84 | 0.065765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6416-14_0_6_line_80 |  | 76 | 77 | 0.0077611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6416-14_0_6_line_81 |  | 78 | 83 | 0.0023373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6416-14_0_6_line_82 |  | 79 | 80 | 0.0037854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6416-14_0_6_line_83 |  | 80 | 81 | 0.031632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6416-14_0_6_line_84 |  | 81 | 82 | 0.0098044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6416-14_0_6_line_85 |  | 82 | 83 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6416-14_0_6_line_86 |  | 84 | 85 | 0.045315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6416-14_0_6_line_87 |  | 84 | 86 | 0.020335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6416-14_0_6_line_88 |  | 88 | 89 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6416-14_0_6_trafo_90 | 0.63 MVA 20/0.4 kV | 90 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2557411.738 | 1202762.0724 | 2557411.916 | 1202760.359 | 2557411.6777 | 1202738.7374 | 2557412.4318 | 1202737.632
1 | 2557411.738 | 1202762.0724 | 2557407.5974 | 1202804.4816
2 | 2557407.5974 | 1202804.4816 | 2557402.6229 | 1202800.5149 | 2557385.967 | 1202813.4302
3 | 2557407.5974 | 1202804.4816 | 2557416.0734 | 1202820.0725
4 | 2557385.967 | 1202813.4302 | 2557375.9582 | 1202801.1892
5 | 2557375.9582 | 1202801.1892 | 2557361.2278 | 1202783.1735
6 | 2557373.3091 | 1202883.1157 | 2557367.2839 | 1202874.6739
7 | 2557394.6236 | 1202903.4304 | 2557385.6077 | 1202905.7183 | 2557373.3091 | 1202883.1157
8 | 2557367.2839 | 1202874.6739 | 2557360.3471 | 1202864.955
9 | 2557394.6236 | 1202903.4304 | 2557403.8494 | 1202912.7341
10 | 2557394.6236 | 1202903.4304 | 2557402.5841 | 1202895.6062
11 | 2557418.6299 | 1202879.8353 | 2557418.8525 | 1202879.6166
12 | 2557402.5841 | 1202895.6062 | 2557418.6299 | 1202879.8353
13 | 2557328.9667 | 1202752.07 | 2557360.0303 | 1202691.99
14 | 2557328.9667 | 1202752.07 | 2557316.3072 | 1202744.3571
15 | 2557328.9667 | 1202752.07 | 2557316.807 | 1202767.4237
16 | 2557328.9667 | 1202752.07 | 2557338.8643 | 1202759.1809 | 2557342.4049 | 1202762.61
17 | 2557301.697 | 1202735.4559 | 2557316.3072 | 1202744.3571
18 | 2557301.806 | 1202783.5601 | 2557308.5828 | 1202777.8083 | 2557316.807 | 1202767.4237
19 | 2557361.2278 | 1202783.1735 | 2557352.0593 | 1202771.9604 | 2557342.4049 | 1202762.61
20 | 2557240.4479 | 1202706.3265 | 2557228.8037 | 1202701.1925
21 | 2557262.7564 | 1202715.8022 | 2557250.3148 | 1202710.6769 | 2557240.4479 | 1202706.3265
22 | 2557349.1122 | 1202849.2141 | 2557336.0078 | 1202833.121
23 | 2557349.1122 | 1202849.2141 | 2557360.3471 | 1202864.955
24 | 2557336.0078 | 1202833.121 | 2557323.7741 | 1202847.866
25 | 2557336.0078 | 1202833.121 | 2557327.3746 | 1202822.0796
26 | 2557321.7265 | 1202850.334 | 2557323.7741 | 1202847.866
27 | 2557327.3746 | 1202822.0796 | 2557322.2237 | 1202815.4918
28 | 2557346.6142 | 1202972.1572 | 2557336.1794 | 1202988.6805
29 | 2557346.6142 | 1202972.1572 | 2557339.5878 | 1202968.2333
30 | 2557336.1794 | 1202988.6805 | 2557333.4076 | 1202993.0697
31 | 2557339.5878 | 1202968.2333 | 2557328.523 | 1202962.0541
32 | 2557403.8494 | 1202912.7341 | 2557411.3395 | 1202920.2875
33 | 2557557.0474 | 1203020.3264 | 2557567.6784 | 1202999.1164
34 | 2557567.6784 | 1202999.1164 | 2557580.3142 | 1203006.1638 | 2557597.7754 | 1203016.601 | 2557681.8935 | 1203063.527
35 | 2557557.0474 | 1203020.3264 | 2557561.0994 | 1203021.9429
36 | 2557557.0474 | 1203020.3264 | 2557545.644 | 1203016.7322
37 | 2557461.7035 | 1202934.32 | 2557459.0758 | 1202936.8174
38 | 2557446.4248 | 1202948.8415 | 2557459.0758 | 1202936.8174
39 | 2557301.697 | 1202735.4559 | 2557282.5819 | 1202724.8424
40 | 2557309.5049 | 1202799.225 | 2557305.2275 | 1202793.797 | 2557303.4584 | 1202789.0292 | 2557301.806 | 1202783.5601
41 | 2557282.5819 | 1202724.8424 | 2557267.3734 | 1202745.3964
42 | 2557282.5819 | 1202724.8424 | 2557269.2805 | 1202718.4897 | 2557262.7564 | 1202715.8022
43 | 2557309.5049 | 1202799.225 | 2557302.3914 | 1202797.2859 | 2557298.8142 | 1202795.8986
44 | 2557309.5049 | 1202799.225 | 2557315.1349 | 1202806.4256
45 | 2557274.3687 | 1202771.1609 | 2557287.9926 | 1202785.1408
46 | 2557274.3687 | 1202771.1609 | 2557271.4766 | 1202774.2723 | 2557262.1961 | 1202784.2445 | 2557257.3467 | 1202789.1494
47 | 2557298.8142 | 1202795.8986 | 2557298.5074 | 1202795.7796 | 2557295.2198 | 1202792.5569 | 2557287.9926 | 1202785.1408
48 | 2557240.2947 | 1202806.3297 | 2557251.6575 | 1202794.9039 | 2557257.3467 | 1202789.1494
49 | 2557315.1349 | 1202806.4256 | 2557316.5645 | 1202808.2539
50 | 2557240.2947 | 1202806.3297 | 2557232.2037 | 1202814.4657 | 2557223.8813 | 1202821.1403 | 2557220.0181 | 1202824.4704
51 | 2557310.2465 | 1202871.3978 | 2557315.4085 | 1202861.6958 | 2557314.7029 | 1202858.7992 | 2557321.7265 | 1202850.334
52 | 2557322.2237 | 1202815.4918 | 2557316.5645 | 1202808.2539
53 | 2557446.4248 | 1202948.8415 | 2557416.8891 | 1202925.8839 | 2557411.3395 | 1202920.2875
54 | 2557446.4248 | 1202948.8415 | 2557475.0182 | 1202970.3043
55 | 2557333.4076 | 1202993.0697 | 2557331.07 | 1202996.7713 | 2557328.7052 | 1203000.1542
56 | 2557279.0392 | 1202930.0507 | 2557291.7922 | 1202937.4524 | 2557308.7582 | 1202947.7144 | 2557323.5192 | 1202959.2597 | 2557328.523 | 1202962.0541
57 | 2557475.0182 | 1202970.3043 | 2557477.0185 | 1202971.8058
58 | 2557477.0185 | 1202971.8058 | 2557491.8477 | 1202982.9369
59 | 2557244.1523 | 1203103.0213 | 2557243.3103 | 1203109.7564
60 | 2557244.1523 | 1203103.0213 | 2557237.4947 | 1203103.0579 | 2557219.8229 | 1203095.1358
61 | 2557244.1523 | 1203103.0213 | 2557254.8059 | 1203098.9092 | 2557261.7275 | 1203098.5482
62 | 2557219.8229 | 1203095.1358 | 2557213.9432 | 1203091.9801
63 | 2557261.7275 | 1203098.5482 | 2557254.8059 | 1203098.9092 | 2557285.518 | 1203048.2713 | 2557305.017 | 1203023.4175
64 | 2557261.7275 | 1203098.5482 | 2557267.6212 | 1203099.1396 | 2557276.7314 | 1203103.8607
65 | 2557181.3125 | 1203073.8083 | 2557186.5877 | 1203077.2978 | 2557213.9432 | 1203091.9801
66 | 2557305.017 | 1203023.4175 | 2557295.3776 | 1203018.831
67 | 2557305.017 | 1203023.4175 | 2557309.4289 | 1203024.2864 | 2557313.568 | 1203021.373
68 | 2557295.3776 | 1203018.831 | 2557293.5985 | 1203017.9844
69 | 2557313.568 | 1203021.373 | 2557314.1683 | 1203020.9505 | 2557320.6549 | 1203011.6709
70 | 2557253.4793 | 1202998.8953 | 2557293.5985 | 1203017.9844
71 | 2557253.4793 | 1202998.8953 | 2557219.4146 | 1202981.1075
72 | 2557219.4146 | 1202981.1075 | 2557217.7105 | 1202980.0858 | 2557208.5509 | 1202975.5631
73 | 2557124.3598 | 1203037.4047 | 2557142.3128 | 1203048.0105 | 2557181.3125 | 1203073.8083
74 | 2557324.2587 | 1203006.5153 | 2557320.6549 | 1203011.6709
75 | 2557124.3598 | 1203037.4047 | 2557097.7328 | 1203021.6746
76 | 2557141.5585 | 1202949.5473 | 2557148.9851 | 1202952.7085 | 2557169.2199 | 1202956.1428 | 2557208.5509 | 1202975.5631
77 | 2557279.0392 | 1202930.0507 | 2557310.2465 | 1202871.3978
78 | 2557561.0994 | 1203021.9429 | 2557558.8968 | 1203026.7835 | 2557549.5425 | 1203052.0311 | 2557548.6279 | 1203058.2189 | 2557543.7962 | 1203070.64
79 | 2557618.9405 | 1203053.538 | 2557561.0994 | 1203021.9429
80 | 2557328.7052 | 1203000.1542 | 2557324.2587 | 1203006.5153
81 | 2557491.8477 | 1202982.9369 | 2557493.717 | 1202984.3401
82 | 2557542.0337 | 1203015.5943 | 2557545.644 | 1203016.7322
83 | 2557542.0337 | 1203015.5943 | 2557537.4555 | 1203014.1513 | 2557515.1241 | 1202999.2768
84 | 2557506.9641 | 1202993.8416 | 2557515.1241 | 1202999.2768
85 | 2557506.9641 | 1202993.8416 | 2557501.7358 | 1202990.3592 | 2557493.717 | 1202984.3401
86 | 2557618.9405 | 1203053.538 | 2557647.6012 | 1203069.1986 | 2557644.1654 | 1203081.4522
87 | 2557609.1911 | 1203071.3952 | 2557618.9405 | 1203053.538
88 | 2557220.0181 | 1202824.4704 | 2557218.406 | 1202825.86 | 2557209.7001 | 1202835.2834 | 2557202.7574 | 1202842.4853

## bus_geodata
| x | y | coords
0 | 2557412.4318 | 1202737.632
1 | 2557411.738 | 1202762.0724
2 | 2557407.5974 | 1202804.4816
3 | 2557385.967 | 1202813.4302
4 | 2557416.0734 | 1202820.0725
5 | 2557375.9582 | 1202801.1892
6 | 2557373.3091 | 1202883.1157
7 | 2557367.2839 | 1202874.6739
8 | 2557394.6236 | 1202903.4304
9 | 2557418.8525 | 1202879.6166
10 | 2557418.6299 | 1202879.8353
11 | 2557360.0303 | 1202691.99
12 | 2557328.9667 | 1202752.07
13 | 2557316.3072 | 1202744.3571
14 | 2557316.807 | 1202767.4237
15 | 2557342.4049 | 1202762.61
16 | 2557228.8037 | 1202701.1925
17 | 2557240.4479 | 1202706.3265
18 | 2557361.2278 | 1202783.1736
19 | 2557349.1122 | 1202849.2141
20 | 2557336.0078 | 1202833.121
21 | 2557360.3471 | 1202864.955
22 | 2557323.7741 | 1202847.866
23 | 2557327.3746 | 1202822.0796
24 | 2557346.6142 | 1202972.1572
25 | 2557336.1794 | 1202988.6805
26 | 2557339.5878 | 1202968.2333
27 | 2557403.8494 | 1202912.7341
28 | 2557402.5841 | 1202895.6062
29 | 2557567.6784 | 1202999.1164
30 | 2557557.0474 | 1203020.3264
31 | 2557681.8935 | 1203063.527
32 | 2557461.7035 | 1202934.32
33 | 2557459.0758 | 1202936.8174
34 | 2557301.697 | 1202735.4559
35 | 2557301.806 | 1202783.5601
36 | 2557282.5819 | 1202724.8424
37 | 2557309.5049 | 1202799.225
38 | 2557267.3734 | 1202745.3964
39 | 2557262.7564 | 1202715.8022
40 | 2557274.3687 | 1202771.1609
41 | 2557287.9926 | 1202785.1408
42 | 2557257.3467 | 1202789.1494
43 | 2557298.8142 | 1202795.8986
44 | 2557315.1349 | 1202806.4256
45 | 2557240.2947 | 1202806.3297
46 | 2557321.7265 | 1202850.334
47 | 2557322.2237 | 1202815.4918
48 | 2557411.3395 | 1202920.2875
49 | 2557446.4248 | 1202948.8415
50 | 2557333.4076 | 1202993.0697
51 | 2557328.523 | 1202962.0541
52 | 2557475.0182 | 1202970.3043
53 | 2557477.0185 | 1202971.8058
54 | 2557243.3103 | 1203109.7564
55 | 2557244.1523 | 1203103.0213
56 | 2557219.8229 | 1203095.1358
57 | 2557261.7275 | 1203098.5482
58 | 2557213.9432 | 1203091.9801
59 | 2557305.017 | 1203023.4175
60 | 2557276.7314 | 1203103.8607
61 | 2557295.3776 | 1203018.8309
62 | 2557313.568 | 1203021.373
63 | 2557253.4793 | 1202998.8953
64 | 2557293.5985 | 1203017.9844
65 | 2557219.4146 | 1202981.1075
66 | 2557181.3125 | 1203073.8083
67 | 2557320.6549 | 1203011.6709
68 | 2557124.3598 | 1203037.4047
69 | 2557097.7328 | 1203021.6746
70 | 2557141.5585 | 1202949.5473
71 | 2557208.5509 | 1202975.5631
72 | 2557279.0392 | 1202930.0507
73 | 2557310.2465 | 1202871.3978
74 | 2557543.7962 | 1203070.64
75 | 2557561.0994 | 1203021.9429
76 | 2557324.2587 | 1203006.5153
77 | 2557328.7052 | 1203000.1542
78 | 2557491.8477 | 1202982.9369
79 | 2557545.644 | 1203016.7322
80 | 2557542.0337 | 1203015.5943
81 | 2557515.1241 | 1202999.2768
82 | 2557506.9641 | 1202993.8416
83 | 2557493.717 | 1202984.3401
84 | 2557618.9405 | 1203053.538
85 | 2557644.1654 | 1203081.4522
86 | 2557609.1911 | 1203071.3952
87 | 2557316.5645 | 1202808.2539
88 | 2557220.0181 | 1202824.4704
89 | 2557202.7574 | 1202842.4853
90 | 2557328.523 | 1202962.0541

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1