## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6416-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6416-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6416-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6416-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6416-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6416-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6416-4_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6416-4_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6416-4_0_4_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_6416-4_0_4_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_6416-4_0_4_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_6416-4_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_6416-4_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_6416-4_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6416-4_0_4_node_155 | 0.4 | n |  | TRUE
15 | bus_LV_6416-4_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6416-4_0_4_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_6416-4_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_6416-4_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6416-4_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6416-4_0_4_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_6416-4_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6416-4_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6416-4_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6416-4_0_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_6416-4_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6416-4_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6416-4_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6416-4_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6416-4_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6416-4_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6416-4_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6416-4_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6416-4_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6416-4_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6416-4_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6416-4_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6416-4_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6416-4_0_4_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_6416-4_0_4_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_6416-4_0_4_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_6416-4_0_4_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_6416-4_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6416-4_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6416-4_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_6416-4_0_4_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_6416-4_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6416-4_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6416-4_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6416-4_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6416-4_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_6416-4_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6416-4_0_4_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_6416-4_0_4_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_6416-4_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_6416-4_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6416-4_0_4_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_6416-4_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6416-4_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6416-4_0_4_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_6416-4_0_4_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_6416-4_0_4_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_6416-4_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6416-4_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_6416-4_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6416-4_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6416-4_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_6416-4_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_6416-4_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_6416-4_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6416-4_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6416-4_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_6416-4_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_6416-4_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_6416-4_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_6416-4_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_6416-4_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_6416-4_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_6416-4_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_6416-4_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6416-4_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_6416-4_0_4_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_6416-4_0_4_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_6416-4_0_4_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_6416-4_0_4_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_6416-4_0_4_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_6416-4_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6416-4_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_6416-4_0_4_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_6416-4_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_6416-4_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_6416-4_0_4_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_6416-4_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_6416-4_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_6416-4_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_6416-4_0_4_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_6416-4_0_4_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_6416-4_0_4_node_94 | 0.4 | n |  | TRUE
98 | bus_MV_320_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6416-4_0_4_load_0 | 0 | 0.015049 | 0.0037718 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6416-4_0_4_load_1 | 1 | 0.023775 | 0.0059586 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6416-4_0_4_load_3 | 3 | 0.007962 | 0.0019955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6416-4_0_4_load_4 | 4 | 0.0029573 | 0.00074117 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6416-4_0_4_load_6 | 6 | 0.005399 | 0.0013531 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6416-4_0_4_load_7 | 7 | 0.0079591 | 0.0019948 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6416-4_0_4_load_33 | 8 | 0.0062816 | 0.0015743 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6416-4_0_4_load_76 | 9 | 0.0027686 | 0.00069388 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6416-4_0_4_load_87 | 10 | 0.0057141 | 0.0014321 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6416-4_0_4_load_21 | 11 | 0.0079588 | 0.0019947 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6416-4_0_4_load_34 | 12 | 0.0026155 | 0.0006555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6416-4_0_4_load_155 | 14 | 0.016012 | 0.0040131 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6416-4_0_4_load_77 | 16 | 0.0020109 | 0.00050397 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6416-4_0_4_load_22 | 17 | 0.00094098 | 0.00023583 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6416-4_0_4_load_8 | 18 | 0.013595 | 0.0034071 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6416-4_0_4_load_65 | 20 | 0.0038778 | 0.00097186 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6416-4_0_4_load_11 | 21 | 0.012638 | 0.0031674 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6416-4_0_4_load_13 | 22 | 0.0012073 | 0.00030258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6416-4_0_4_load_14 | 23 | 0.00074135 | 0.0001858 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6416-4_0_4_load_66 | 24 | 0.0026619 | 0.00066714 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6416-4_0_4_load_18 | 25 | 0.00076715 | 0.00019227 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6416-4_0_4_load_16 | 26 | 0.00054878 | 0.00013754 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6416-4_0_4_load_15 | 27 | 0.0097012 | 0.0024314 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6416-4_0_4_load_24 | 31 | 0.0082323 | 0.0020632 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6416-4_0_4_load_25 | 32 | 0.0056431 | 0.0014143 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6416-4_0_4_load_26 | 33 | 0.0082323 | 0.0020632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6416-4_0_4_load_27 | 34 | 0.0082363 | 0.0020642 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6416-4_0_4_load_28 | 35 | 0.0027583 | 0.00069129 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6416-4_0_4_load_29 | 36 | 0.0020451 | 0.00051255 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6416-4_0_4_load_95 | 38 | 0.0017196 | 0.00043096 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6416-4_0_4_load_91 | 39 | 0.001541 | 0.00038621 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6416-4_0_4_load_98 | 40 | 0.0062722 | 0.001572 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6416-4_0_4_load_35 | 42 | 0.0032017 | 0.00080243 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6416-4_0_4_load_37 | 44 | 0.0061684 | 0.0015459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6416-4_0_4_load_96 | 45 | 0.004196 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6416-4_0_4_load_38 | 46 | 0.0076382 | 0.0019143 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6416-4_0_4_load_39 | 47 | 0.0084511 | 0.0021181 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6416-4_0_4_load_40 | 48 | 0.0071267 | 0.0017861 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6416-4_0_4_load_82 | 52 | 0.0033096 | 0.00082947 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6416-4_0_4_load_47 | 54 | 0.0050672 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6416-4_0_4_load_43 | 55 | 0.0083592 | 0.002095 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6416-4_0_4_load_99 | 56 | 0.0051195 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6416-4_0_4_load_44 | 57 | 0.0072948 | 0.0018282 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6416-4_0_4_load_46 | 58 | 0.00597 | 0.0014962 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6416-4_0_4_load_81 | 60 | 0.0012461 | 0.0003123 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6416-4_0_4_load_79 | 61 | 0.001909 | 0.00047844 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6416-4_0_4_load_48 | 62 | 0.001283 | 0.00032155 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6416-4_0_4_load_49 | 63 | 0.0014824 | 0.00037154 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6416-4_0_4_load_51 | 65 | 0.0017282 | 0.00043312 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6416-4_0_4_load_53 | 67 | 0.0013032 | 0.0003266 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6416-4_0_4_load_71 | 68 | 0.001123 | 0.00028144 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6416-4_0_4_load_68 | 69 | 0.001344 | 0.00033683 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6416-4_0_4_load_69 | 71 | 0.0011691 | 0.00029301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6416-4_0_4_load_83 | 72 | 0.0018279 | 0.00045812 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6416-4_0_4_load_55 | 73 | 0.0021369 | 0.00053557 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6416-4_0_4_load_54 | 74 | 0.0026262 | 0.00065819 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6416-4_0_4_load_58 | 76 | 0.0021579 | 0.00054081 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6416-4_0_4_load_74 | 78 | 0.0034411 | 0.00086241 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6416-4_0_4_load_72 | 79 | 0.002117 | 0.00053057 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6416-4_0_4_load_60 | 81 | 0.0060944 | 0.0015274 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6416-4_0_4_load_62 | 82 | 0.00165 | 0.00041352 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6416-4_0_4_load_61 | 83 | 0.0044853 | 0.0011241 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6416-4_0_4_load_73 | 85 | 0.001887 | 0.00047292 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6416-4_0_4_load_78 | 86 | 0.001785 | 0.00044736 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6416-4_0_4_load_75 | 87 | 0.0047275 | 0.0011848 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6416-4_0_4_load_70 | 88 | 0.00082294 | 0.00020625 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6416-4_0_4_load_85 | 89 | 0.0014103 | 0.00035346 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6416-4_0_4_load_86 | 90 | 0.0014462 | 0.00036245 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6416-4_0_4_load_100 | 91 | 0.0016807 | 0.00042122 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6416-4_0_4_load_88 | 92 | 0.0016888 | 0.00042325 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6416-4_0_4_load_89 | 93 | 0.0013372 | 0.00033512 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6416-4_0_4_load_90 | 94 | 0.0033916 | 0.00085001 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6416-4_0_4_load_92 | 95 | 0.0023362 | 0.00058552 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6416-4_0_4_load_93 | 96 | 0.0020222 | 0.00050682 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6416-4_0_4_load_94 | 97 | 0.0024307 | 0.00060918 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6416-4_0_4_line_0 |  | 0 | 1 | 0.07241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6416-4_0_4_line_1 |  | 0 | 2 | 0.037683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6416-4_0_4_line_2 |  | 1 | 3 | 0.089126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6416-4_0_4_line_3 |  | 2 | 4 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6416-4_0_4_line_4 |  | 2 | 5 | 0.006668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6416-4_0_4_line_5 |  | 2 | 6 | 0.03669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6416-4_0_4_line_6 |  | 3 | 7 | 0.034781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6416-4_0_4_line_7 |  | 4 | 8 | 0.0015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6416-4_0_4_line_8 |  | 5 | 9 | 0.059312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6416-4_0_4_line_9 |  | 6 | 10 | 0.018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6416-4_0_4_line_10 |  | 7 | 11 | 0.03543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6416-4_0_4_line_11 |  | 8 | 12 | 0.039825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6416-4_0_4_line_12 |  | 9 | 16 | 0.0030519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6416-4_0_4_line_13 |  | 11 | 17 | 0.034938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6416-4_0_4_line_14 |  | 12 | 42 | 0.031723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6416-4_0_4_line_15 |  | 13 | 14 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6416-4_0_4_line_16 |  | 13 | 15 | 0.037112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6416-4_0_4_line_17 |  | 15 | 21 | 0.01118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6416-4_0_4_line_18 |  | 15 | 18 | 0.06683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6416-4_0_4_line_19 |  | 16 | 84 | 0.030352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6416-4_0_4_line_20 |  | 17 | 29 | 0.021837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6416-4_0_4_line_21 |  | 18 | 19 | 0.070013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6416-4_0_4_line_22 |  | 18 | 20 | 0.05962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6416-4_0_4_line_23 |  | 19 | 22 | 0.012561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6416-4_0_4_line_24 |  | 19 | 23 | 0.011931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6416-4_0_4_line_25 |  | 20 | 24 | 0.031769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6416-4_0_4_line_26 |  | 23 | 25 | 0.029289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6416-4_0_4_line_27 |  | 25 | 26 | 0.023014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6416-4_0_4_line_28 |  | 26 | 27 | 0.0013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6416-4_0_4_line_29 |  | 27 | 28 | 0.06047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6416-4_0_4_line_30 |  | 28 | 29 | 0.11061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6416-4_0_4_line_31 |  | 29 | 30 | 0.048153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6416-4_0_4_line_32 |  | 30 | 31 | 0.060472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6416-4_0_4_line_33 |  | 31 | 32 | 0.030435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6416-4_0_4_line_34 |  | 32 | 33 | 0.0037832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6416-4_0_4_line_35 |  | 33 | 34 | 0.035699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6416-4_0_4_line_36 |  | 35 | 36 | 0.031079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6416-4_0_4_line_37 |  | 36 | 37 | 0.091353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6416-4_0_4_line_38 |  | 37 | 40 | 0.078709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6416-4_0_4_line_39 |  | 38 | 39 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6416-4_0_4_line_40 |  | 39 | 96 | 0.016917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6416-4_0_4_line_41 |  | 39 | 93 | 0.030331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6416-4_0_4_line_42 |  | 40 | 41 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6416-4_0_4_line_43 |  | 41 | 45 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6416-4_0_4_line_44 |  | 41 | 44 | 0.019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6416-4_0_4_line_45 |  | 42 | 43 | 0.0023757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6416-4_0_4_line_46 |  | 43 | 44 | 0.050204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6416-4_0_4_line_47 |  | 45 | 95 | 0.0046627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6416-4_0_4_line_48 |  | 46 | 47 | 0.039395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6416-4_0_4_line_49 |  | 46 | 48 | 0.0068761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6416-4_0_4_line_50 |  | 47 | 49 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6416-4_0_4_line_51 |  | 48 | 50 | 0.036008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6416-4_0_4_line_52 |  | 49 | 51 | 0.023347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6416-4_0_4_line_53 |  | 49 | 52 | 0.028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6416-4_0_4_line_54 |  | 50 | 53 | 0.072377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6416-4_0_4_line_55 |  | 51 | 54 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6416-4_0_4_line_56 |  | 51 | 55 | 0.0050035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6416-4_0_4_line_57 |  | 53 | 56 | 0.46006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6416-4_0_4_line_58 |  | 54 | 59 | 0.028897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6416-4_0_4_line_59 |  | 55 | 57 | 0.034438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6416-4_0_4_line_60 |  | 56 | 91 | 0.040816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6416-4_0_4_line_61 |  | 57 | 58 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6416-4_0_4_line_62 |  | 59 | 60 | 0.01837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6416-4_0_4_line_63 |  | 59 | 61 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6416-4_0_4_line_64 |  | 60 | 68 | 0.0098484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6416-4_0_4_line_65 |  | 61 | 86 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6416-4_0_4_line_66 |  | 62 | 63 | 0.0026348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6416-4_0_4_line_67 |  | 62 | 64 | 0.030711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6416-4_0_4_line_68 |  | 63 | 65 | 0.012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6416-4_0_4_line_69 |  | 64 | 66 | 0.024606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6416-4_0_4_line_70 |  | 64 | 67 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6416-4_0_4_line_71 |  | 66 | 68 | 0.015918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6416-4_0_4_line_72 |  | 66 | 69 | 0.012595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6416-4_0_4_line_73 |  | 67 | 70 | 0.031811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6416-4_0_4_line_74 |  | 69 | 71 | 0.01366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6416-4_0_4_line_75 |  | 70 | 72 | 0.0301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6416-4_0_4_line_76 |  | 70 | 73 | 0.00030355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6416-4_0_4_line_77 |  | 71 | 88 | 0.0013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6416-4_0_4_line_78 |  | 73 | 74 | 0.025154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6416-4_0_4_line_79 |  | 74 | 75 | 0.0047472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6416-4_0_4_line_80 |  | 75 | 76 | 0.021423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6416-4_0_4_line_81 |  | 75 | 77 | 0.023728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6416-4_0_4_line_82 |  | 77 | 78 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6416-4_0_4_line_83 |  | 77 | 79 | 0.0034218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6416-4_0_4_line_84 |  | 79 | 80 | 0.02214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6416-4_0_4_line_85 |  | 80 | 85 | 0.01806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6416-4_0_4_line_86 |  | 80 | 83 | 0.011128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6416-4_0_4_line_87 |  | 81 | 82 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6416-4_0_4_line_88 |  | 82 | 84 | 0.027157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6416-4_0_4_line_89 |  | 84 | 86 | 0.0077661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6416-4_0_4_line_90 |  | 85 | 87 | 0.0064353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6416-4_0_4_line_91 |  | 88 | 89 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6416-4_0_4_line_92 |  | 89 | 90 | 0.0048059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6416-4_0_4_line_93 |  | 92 | 93 | 0.0072955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6416-4_0_4_line_94 |  | 92 | 94 | 0.0084169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6416-4_0_4_line_95 |  | 94 | 95 | 0.023673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6416-4_0_4_line_96 |  | 96 | 97 | 0.020334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6416-4_0_4_trafo_76 | 0.63 MVA 20/0.4 kV | 98 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2554598.7788 | 1202188.4012 | 2554595.6919 | 1202163.8219 | 2554548.8255 | 1202172.3559
1 | 2554636.4119 | 1202186.458 | 2554598.7788 | 1202188.4012 | 2554598.7788 | 1202188.4012
2 | 2554548.8255 | 1202172.3559 | 2554519.5428 | 1202177.6881 | 2554484.011 | 1202186.7201 | 2554471.3982 | 1202181.4023 | 2554465.9082 | 1202174.2556
3 | 2554636.4119 | 1202186.458 | 2554640.2101 | 1202169.0996
4 | 2554634.9927 | 1202192.9725 | 2554636.4119 | 1202186.458
5 | 2554636.4119 | 1202186.458 | 2554673.0888 | 1202187.4181
6 | 2554465.9082 | 1202174.2556 | 2554444.7196 | 1202146.673
7 | 2554640.2101 | 1202169.0996 | 2554640.5472 | 1202167.5593
8 | 2554634.9927 | 1202192.9725 | 2554631.1658 | 1202221.0843 | 2554633.6183 | 1202251.9275
9 | 2554691.9183 | 1202187.911 | 2554673.0888 | 1202187.4181
10 | 2554444.7196 | 1202146.673 | 2554423.136 | 1202118.5762
11 | 2554640.5472 | 1202167.5593 | 2554645.7372 | 1202143.8406 | 2554645.2253 | 1202128.304
12 | 2554633.6183 | 1202251.9275 | 2554633.8602 | 1202254.9698
13 | 2554401.8518 | 1202090.8693 | 2554423.136 | 1202118.5762
14 | 2554633.2907 | 1202099.6811 | 2554644.9553 | 1202120.1108 | 2554645.2253 | 1202128.304
15 | 2554525 | 1202244.5734 | 2554514.5076 | 1202231.8796
16 | 2554525 | 1202244.5734 | 2554490.2081 | 1202257.7576
17 | 2554490.2081 | 1202257.7576 | 2554481.2604 | 1202251.0221
18 | 2554490.2081 | 1202257.7576 | 2554451.3475 | 1202272.2849 | 2554439.198 | 1202275.7798 | 2554428.2324 | 1202269.3717
19 | 2554636.266 | 1202285.2264 | 2554633.8602 | 1202254.9698
20 | 2554388.549 | 1202073.5521 | 2554401.8518 | 1202090.8693
21 | 2554367.7844 | 1202234.0468 | 2554428.2324 | 1202269.3717
22 | 2554428.2324 | 1202269.3717 | 2554426.142 | 1202328.9551
23 | 2554367.7844 | 1202234.0468 | 2554377.8865 | 1202226.543
24 | 2554367.7844 | 1202234.0468 | 2554360.8599 | 1202224.3313
25 | 2554426.142 | 1202328.9551 | 2554419.1122 | 1202340.07 | 2554417.0075 | 1202358.5681
26 | 2554343.8605 | 1202200.4799 | 2554360.8599 | 1202224.3313
27 | 2554330.5033 | 1202181.7388 | 2554343.8605 | 1202200.4799
28 | 2554330.5033 | 1202181.7388 | 2554329.6987 | 1202180.6099
29 | 2554294.3662 | 1202131.5399 | 2554297.6793 | 1202135.8503 | 2554308.6484 | 1202151.0748 | 2554329.6987 | 1202180.6099
30 | 2554388.549 | 1202073.5521 | 2554359.4321 | 1202091.4963 | 2554352.3222 | 1202096.2312 | 2554294.3662 | 1202131.5399
31 | 2554388.549 | 1202073.5521 | 2554415.9012 | 1202056.6999 | 2554429.5509 | 1202048.3019
32 | 2554429.5509 | 1202048.3019 | 2554459.9678 | 1202088.848 | 2554461.7916 | 1202098.4618 | 2554461.7916 | 1202098.4618
33 | 2554461.7916 | 1202098.4618 | 2554480.7054 | 1202122.3061
34 | 2554483.0565 | 1202125.2701 | 2554480.7054 | 1202122.3061
35 | 2554483.0565 | 1202125.2701 | 2554505.242 | 1202153.2389
36 | 2554875.3675 | 1202066.8742 | 2554845.1037 | 1202059.8035
37 | 2554757.4457 | 1202034.2071 | 2554827.3505 | 1202055.6557 | 2554845.1037 | 1202059.8035
38 | 2554703.287 | 1202091.3199 | 2554757.4457 | 1202034.2071
39 | 2554792.7523 | 1202134.7185 | 2554781.9575 | 1202130.2646
40 | 2554781.9575 | 1202130.2646 | 2554778.3454 | 1202141.6651 | 2554775.9288 | 1202145.9941
41 | 2554781.9575 | 1202130.2646 | 2554753.9137 | 1202118.7094
42 | 2554700.0587 | 1202106.7064 | 2554703.287 | 1202091.3199
43 | 2554700.0587 | 1202106.7064 | 2554711.0617 | 1202108.9259
44 | 2554700.0587 | 1202106.7064 | 2554681.4012 | 1202102.9398
45 | 2554632.1128 | 1202097.618 | 2554633.2907 | 1202099.6811
46 | 2554632.1128 | 1202097.618 | 2554644.6539 | 1202095.5214 | 2554681.4012 | 1202102.9398
47 | 2554711.0617 | 1202108.9259 | 2554715.6323 | 1202109.8479
48 | 2554797.5709 | 1202345.1803 | 2554781.387 | 1202346.8476 | 2554758.7346 | 1202342.1916
49 | 2554797.5709 | 1202345.1803 | 2554804.4108 | 1202344.4756
50 | 2554742.3703 | 1202338.8281 | 2554758.7346 | 1202342.1916
51 | 2554831.9571 | 1202322.9394 | 2554810.161 | 1202343.8832 | 2554804.4108 | 1202344.4756
52 | 2554719.4359 | 1202334.1218 | 2554742.3703 | 1202338.8281
53 | 2554742.3703 | 1202338.8281 | 2554729.0843 | 1202313.7709
54 | 2554831.9571 | 1202322.9394 | 2554842.5971 | 1202346.172 | 2554868.5463 | 1202385.1977
55 | 2554719.4359 | 1202334.1218 | 2554711.3983 | 1202324.9332 | 2554708.7075 | 1202322.7999
56 | 2554719.4359 | 1202334.1218 | 2554722.7328 | 1202337.8855
57 | 2554868.5463 | 1202385.1977 | 2554814.5187 | 1202842.0693
58 | 2554686.0638 | 1202304.8477 | 2554708.7075 | 1202322.7999
59 | 2554722.7328 | 1202337.8855 | 2554734.8276 | 1202351.6927 | 2554746.557 | 1202362.6959
60 | 2554814.5187 | 1202842.0693 | 2554824.2036 | 1202847.8414 | 2554830.1787 | 1202849.0635 | 2554842.9244 | 1202849.0558 | 2554850.8258 | 1202850.4411 | 2554853.2523 | 1202851.5666
61 | 2554759.2556 | 1202374.6083 | 2554746.557 | 1202362.6959
62 | 2554686.0638 | 1202304.8477 | 2554674.44 | 1202319.0722
63 | 2554686.0638 | 1202304.8477 | 2554666.11 | 1202296.9855
64 | 2554674.44 | 1202319.0722 | 2554668.2082 | 1202326.6982
65 | 2554666.11 | 1202296.9855 | 2554643.4915 | 1202288.0734
66 | 2554615.5674 | 1202355.4469 | 2554613.2019 | 1202356.6073
67 | 2554634.8881 | 1202332.1303 | 2554619.3672 | 1202353.5829 | 2554615.5674 | 1202355.4469
68 | 2554601.664 | 1202362.2671 | 2554613.2019 | 1202356.6073
69 | 2554658.1361 | 1202339.024 | 2554644.8546 | 1202332.7659 | 2554634.8881 | 1202332.1303
70 | 2554634.8881 | 1202332.1303 | 2554624.5922 | 1202331.4764
71 | 2554658.1361 | 1202339.024 | 2554668.2082 | 1202326.6982
72 | 2554658.1361 | 1202339.024 | 2554657.4383 | 1202351.5997
73 | 2554592.845 | 1202329.46 | 2554624.5922 | 1202331.4764
74 | 2554657.4383 | 1202351.5997 | 2554656.6816 | 1202365.2391
75 | 2554592.845 | 1202329.46 | 2554579.8639 | 1202356.63
76 | 2554592.845 | 1202329.46 | 2554592.5421 | 1202329.4407
77 | 2554656.6046 | 1202366.6267 | 2554656.6816 | 1202365.2391
78 | 2554567.4396 | 1202327.836 | 2554592.5421 | 1202329.4407
79 | 2554562.702 | 1202327.5331 | 2554567.4396 | 1202327.836
80 | 2554562.702 | 1202327.5331 | 2554556.2066 | 1202347.9498
81 | 2554539.3792 | 1202322.8194 | 2554562.702 | 1202327.5331
82 | 2554539.3792 | 1202322.8194 | 2554530.699 | 1202337.1493
83 | 2554539.3792 | 1202322.8194 | 2554536.1867 | 1202321.5879
84 | 2554519.6649 | 1202308.3171 | 2554526.3505 | 1202317.7937 | 2554536.1867 | 1202321.5879
85 | 2554519.6649 | 1202308.3171 | 2554501.65 | 1202307.0366
86 | 2554519.6649 | 1202308.3171 | 2554522.8377 | 1202297.651
87 | 2554580.0694 | 1202282.5554 | 2554609.1394 | 1202283.9371
88 | 2554636.266 | 1202285.2264 | 2554609.1394 | 1202283.9371
89 | 2554636.266 | 1202285.2264 | 2554643.4915 | 1202288.0734
90 | 2554495.2309 | 1202306.5804 | 2554501.65 | 1202307.0366
91 | 2554656.6046 | 1202366.6267 | 2554655.9999 | 1202377.5239
92 | 2554655.7337 | 1202382.3224 | 2554655.9999 | 1202377.5239
93 | 2554747.0885 | 1202116.1933 | 2554748.4967 | 1202116.4773 | 2554753.9137 | 1202118.7094
94 | 2554747.0885 | 1202116.1933 | 2554738.8378 | 1202114.5289
95 | 2554715.6323 | 1202109.8479 | 2554738.8378 | 1202114.5289
96 | 2554766.017 | 1202163.749 | 2554775.9288 | 1202145.9941

## bus_geodata
| x | y | coords
0 | 2554598.7788 | 1202188.4012
1 | 2554548.8255 | 1202172.3559
2 | 2554636.4119 | 1202186.458
3 | 2554465.9082 | 1202174.2556
4 | 2554640.2101 | 1202169.0996
5 | 2554634.9927 | 1202192.9725
6 | 2554673.0888 | 1202187.4181
7 | 2554444.7196 | 1202146.673
8 | 2554640.5472 | 1202167.5593
9 | 2554633.6183 | 1202251.9275
10 | 2554691.9183 | 1202187.911
11 | 2554423.136 | 1202118.5762
12 | 2554645.2253 | 1202128.304
13 | 2554525 | 1202244.5734
14 | 2554514.5076 | 1202231.8796
15 | 2554490.2081 | 1202257.7576
16 | 2554633.8602 | 1202254.9698
17 | 2554401.8518 | 1202090.8693
18 | 2554428.2324 | 1202269.3717
19 | 2554367.7844 | 1202234.0468
20 | 2554426.142 | 1202328.9551
21 | 2554481.2604 | 1202251.0221
22 | 2554377.8865 | 1202226.543
23 | 2554360.8599 | 1202224.3313
24 | 2554417.0075 | 1202358.5681
25 | 2554343.8605 | 1202200.4799
26 | 2554330.5033 | 1202181.7388
27 | 2554329.6987 | 1202180.6099
28 | 2554294.3662 | 1202131.5399
29 | 2554388.549 | 1202073.5521
30 | 2554429.5509 | 1202048.3019
31 | 2554461.7916 | 1202098.4618
32 | 2554480.7054 | 1202122.3061
33 | 2554483.0565 | 1202125.2701
34 | 2554505.242 | 1202153.2389
35 | 2554875.3675 | 1202066.8742
36 | 2554845.1037 | 1202059.8035
37 | 2554757.4457 | 1202034.2071
38 | 2554792.7523 | 1202134.7185
39 | 2554781.9575 | 1202130.2646
40 | 2554703.287 | 1202091.3199
41 | 2554700.0587 | 1202106.7064
42 | 2554633.2907 | 1202099.6811
43 | 2554632.1128 | 1202097.618
44 | 2554681.4012 | 1202102.9398
45 | 2554711.0617 | 1202108.9259
46 | 2554797.5709 | 1202345.1803
47 | 2554758.7346 | 1202342.1916
48 | 2554804.4108 | 1202344.4756
49 | 2554742.3703 | 1202338.8281
50 | 2554831.9571 | 1202322.9394
51 | 2554719.4359 | 1202334.1218
52 | 2554729.0843 | 1202313.7709
53 | 2554868.5463 | 1202385.1977
54 | 2554708.7075 | 1202322.7999
55 | 2554722.7328 | 1202337.8855
56 | 2554814.5187 | 1202842.0693
57 | 2554746.557 | 1202362.6959
58 | 2554759.2556 | 1202374.6083
59 | 2554686.0638 | 1202304.8477
60 | 2554674.44 | 1202319.0722
61 | 2554666.11 | 1202296.9855
62 | 2554615.5674 | 1202355.4469
63 | 2554613.2019 | 1202356.6073
64 | 2554634.8881 | 1202332.1303
65 | 2554601.664 | 1202362.2671
66 | 2554658.1361 | 1202339.024
67 | 2554624.5922 | 1202331.4764
68 | 2554668.2082 | 1202326.6982
69 | 2554657.4383 | 1202351.5997
70 | 2554592.845 | 1202329.46
71 | 2554656.6816 | 1202365.2391
72 | 2554579.8639 | 1202356.63
73 | 2554592.5421 | 1202329.4407
74 | 2554567.4396 | 1202327.836
75 | 2554562.702 | 1202327.5331
76 | 2554556.2066 | 1202347.9498
77 | 2554539.3792 | 1202322.8194
78 | 2554530.699 | 1202337.1493
79 | 2554536.1867 | 1202321.5879
80 | 2554519.6649 | 1202308.3171
81 | 2554580.0694 | 1202282.5554
82 | 2554609.1394 | 1202283.9371
83 | 2554522.8377 | 1202297.651
84 | 2554636.266 | 1202285.2264
85 | 2554501.65 | 1202307.0366
86 | 2554643.4915 | 1202288.0734
87 | 2554495.2309 | 1202306.5804
88 | 2554656.6046 | 1202366.6267
89 | 2554655.9999 | 1202377.5239
90 | 2554655.7337 | 1202382.3224
91 | 2554853.2523 | 1202851.5666
92 | 2554747.0885 | 1202116.1933
93 | 2554753.9137 | 1202118.7094
94 | 2554738.8378 | 1202114.5289
95 | 2554715.6323 | 1202109.8479
96 | 2554775.9288 | 1202145.9941
97 | 2554766.017 | 1202163.749
98 | 2554636.266 | 1202285.2264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1