## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_65-3_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_65-3_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_65-3_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_65-3_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_65-3_0_7_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_65-3_0_7_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_65-3_0_7_node_89 | 0.4 | n |  | TRUE
7 | bus_LV_65-3_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_65-3_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_65-3_0_7_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_65-3_0_7_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_65-3_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_65-3_0_7_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_65-3_0_7_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_65-3_0_7_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_65-3_0_7_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_65-3_0_7_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_65-3_0_7_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_65-3_0_7_node_148 | 0.4 | n |  | TRUE
19 | bus_LV_65-3_0_7_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_65-3_0_7_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_65-3_0_7_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_65-3_0_7_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_65-3_0_7_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_65-3_0_7_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_65-3_0_7_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_65-3_0_7_node_111 | 0.4 | n |  | TRUE
27 | bus_LV_65-3_0_7_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_65-3_0_7_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_65-3_0_7_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_65-3_0_7_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_65-3_0_7_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_65-3_0_7_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_65-3_0_7_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_65-3_0_7_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_65-3_0_7_node_125 | 0.4 | n |  | TRUE
36 | bus_LV_65-3_0_7_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_65-3_0_7_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_65-3_0_7_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_65-3_0_7_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_65-3_0_7_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_65-3_0_7_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_65-3_0_7_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_65-3_0_7_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_65-3_0_7_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_65-3_0_7_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_65-3_0_7_node_118 | 0.4 | n |  | TRUE
47 | bus_LV_65-3_0_7_node_121 | 0.4 | n |  | TRUE
48 | bus_LV_65-3_0_7_node_119 | 0.4 | n |  | TRUE
49 | bus_LV_65-3_0_7_node_120 | 0.4 | n |  | TRUE
50 | bus_LV_65-3_0_7_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_65-3_0_7_node_133 | 0.4 | n |  | TRUE
52 | bus_LV_65-3_0_7_node_124 | 0.4 | n |  | TRUE
53 | bus_LV_65-3_0_7_node_132 | 0.4 | n |  | TRUE
54 | bus_LV_65-3_0_7_node_129 | 0.4 | n |  | TRUE
55 | bus_LV_65-3_0_7_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_65-3_0_7_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_65-3_0_7_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_65-3_0_7_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_65-3_0_7_node_144 | 0.4 | n |  | TRUE
60 | bus_LV_65-3_0_7_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_65-3_0_7_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_65-3_0_7_node_145 | 0.4 | n |  | TRUE
63 | bus_LV_65-3_0_7_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_65-3_0_7_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_65-3_0_7_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_65-3_0_7_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_65-3_0_7_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_65-3_0_7_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_65-3_0_7_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_65-3_0_7_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_65-3_0_7_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_65-3_0_7_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_65-3_0_7_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_65-3_0_7_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_65-3_0_7_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_65-3_0_7_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_65-3_0_7_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_65-3_0_7_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_65-3_0_7_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_65-3_0_7_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_65-3_0_7_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_65-3_0_7_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_65-3_0_7_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_65-3_0_7_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_65-3_0_7_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_65-3_0_7_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_65-3_0_7_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_65-3_0_7_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_65-3_0_7_node_123 | 0.4 | n |  | TRUE
90 | bus_LV_65-3_0_7_node_128 | 0.4 | n |  | TRUE
91 | bus_LV_65-3_0_7_node_127 | 0.4 | n |  | TRUE
92 | bus_LV_65-3_0_7_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_65-3_0_7_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_65-3_0_7_node_147 | 0.4 | n |  | TRUE
95 | bus_LV_65-3_0_7_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_65-3_0_7_node_69 | 0.4 | n |  | TRUE
97 | bus_LV_65-3_0_7_node_70 | 0.4 | n |  | TRUE
98 | bus_LV_65-3_0_7_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_65-3_0_7_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_65-3_0_7_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_65-3_0_7_node_74 | 0.4 | n |  | TRUE
102 | bus_LV_65-3_0_7_node_76 | 0.4 | n |  | TRUE
103 | bus_LV_65-3_0_7_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_65-3_0_7_node_81 | 0.4 | n |  | TRUE
105 | bus_LV_65-3_0_7_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_65-3_0_7_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_65-3_0_7_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_65-3_0_7_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_65-3_0_7_node_88 | 0.4 | n |  | TRUE
110 | bus_LV_65-3_0_7_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_65-3_0_7_node_92 | 0.4 | n |  | TRUE
112 | bus_LV_65-3_0_7_node_93 | 0.4 | n |  | TRUE
113 | bus_LV_65-3_0_7_node_94 | 0.4 | n |  | TRUE
114 | bus_LV_65-3_0_7_node_95 | 0.4 | n |  | TRUE
115 | bus_LV_65-3_0_7_node_96 | 0.4 | n |  | TRUE
116 | bus_LV_65-3_0_7_node_97 | 0.4 | n |  | TRUE
117 | bus_LV_65-3_0_7_node_98 | 0.4 | n |  | TRUE
118 | bus_LV_65-3_0_7_node_99 | 0.4 | n |  | TRUE
119 | bus_LV_65-3_0_7_node_106 | 0.4 | n |  | TRUE
120 | bus_LV_65-3_0_7_node_112 | 0.4 | n |  | TRUE
121 | bus_LV_65-3_0_7_node_113 | 0.4 | n |  | TRUE
122 | bus_LV_65-3_0_7_node_114 | 0.4 | n |  | TRUE
123 | bus_LV_65-3_0_7_node_115 | 0.4 | n |  | TRUE
124 | bus_LV_65-3_0_7_node_117 | 0.4 | n |  | TRUE
125 | bus_LV_65-3_0_7_node_131 | 0.4 | n |  | TRUE
126 | bus_LV_65-3_0_7_node_134 | 0.4 | n |  | TRUE
127 | bus_LV_65-3_0_7_node_135 | 0.4 | n |  | TRUE
128 | bus_LV_65-3_0_7_node_130 | 0.4 | n |  | TRUE
129 | bus_LV_65-3_0_7_node_143 | 0.4 | n |  | TRUE
130 | bus_LV_65-3_0_7_node_142 | 0.4 | n |  | TRUE
131 | bus_LV_65-3_0_7_node_136 | 0.4 | n |  | TRUE
132 | bus_LV_65-3_0_7_node_137 | 0.4 | n |  | TRUE
133 | bus_LV_65-3_0_7_node_138 | 0.4 | n |  | TRUE
134 | bus_LV_65-3_0_7_node_139 | 0.4 | n |  | TRUE
135 | bus_LV_65-3_0_7_node_146 | 0.4 | n |  | TRUE
136 | bus_MV_372_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_65-3_0_7_load_0 | 0 | 0.00016942 | 4.2461e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_65-3_0_7_load_4 | 3 | 0.00018101 | 4.5367e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_65-3_0_7_load_89 | 6 | 0.001365 | 0.00034209 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_65-3_0_7_load_5 | 7 | 0.00083056 | 0.00020816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_65-3_0_7_load_6 | 8 | 0.00013458 | 3.3729e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_65-3_0_7_load_10 | 10 | 0.00027908 | 6.9943e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_65-3_0_7_load_12 | 13 | 0.00023272 | 5.8324e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_65-3_0_7_load_13 | 14 | 6.9089e-05 | 1.7315e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_65-3_0_7_load_148 | 18 | 0.00012492 | 3.1309e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_65-3_0_7_load_111 | 26 | 0.00022701 | 5.6894e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_65-3_0_7_load_15 | 27 | 0.00021673 | 5.4317e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_65-3_0_7_load_21 | 30 | 0.00028293 | 7.0909e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_65-3_0_7_load_27 | 31 | 0.00033265 | 8.337e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_65-3_0_7_load_22 | 32 | 0.00020391 | 5.1105e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_65-3_0_7_load_28 | 33 | 0.00049481 | 0.00012401 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_65-3_0_7_load_29 | 34 | 0.00063054 | 0.00015803 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_65-3_0_7_load_125 | 35 | 0.0014706 | 0.00036856 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_65-3_0_7_load_36 | 36 | 0.00020325 | 5.0938e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_65-3_0_7_load_108 | 39 | 0.0031796 | 0.0007969 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_65-3_0_7_load_75 | 41 | 0.00065269 | 0.00016358 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_65-3_0_7_load_50 | 43 | 0.0005202 | 0.00013037 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_65-3_0_7_load_86 | 44 | 0.00032822 | 8.226e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_65-3_0_7_load_87 | 45 | 0.0014836 | 0.00037183 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_65-3_0_7_load_120 | 49 | 0.00030548 | 7.656e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_65-3_0_7_load_133 | 51 | 0.0028274 | 0.00070862 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_65-3_0_7_load_129 | 54 | 0.0020589 | 0.00051602 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_65-3_0_7_load_34 | 55 | 0.00022926 | 5.7459e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_65-3_0_7_load_33 | 58 | 0.00071672 | 0.00017963 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_65-3_0_7_load_144 | 59 | 0.00017085 | 4.2819e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_65-3_0_7_load_39 | 61 | 0.00066286 | 0.00016613 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_65-3_0_7_load_145 | 62 | 0.00047034 | 0.00011788 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_65-3_0_7_load_38 | 63 | 0.00017322 | 4.3414e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_65-3_0_7_load_44 | 64 | 0.00079407 | 0.00019901 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_65-3_0_7_load_43 | 65 | 0.0003282 | 8.2255e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_65-3_0_7_load_42 | 67 | 0.00053194 | 0.00013332 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_65-3_0_7_load_45 | 68 | 0.0023522 | 0.00058952 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_65-3_0_7_load_46 | 69 | 0.00027453 | 6.8804e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_65-3_0_7_load_48 | 71 | 0.0008557 | 0.00021446 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_65-3_0_7_load_49 | 72 | 0.00018956 | 4.7508e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_65-3_0_7_load_85 | 73 | 0.00032039 | 8.0298e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_65-3_0_7_load_52 | 74 | 0.0015604 | 0.00039107 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_65-3_0_7_load_53 | 75 | 0.0036391 | 0.00091205 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_65-3_0_7_load_55 | 77 | 0.0013518 | 0.00033878 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_65-3_0_7_load_56 | 78 | 0.0065859 | 0.0016506 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_65-3_0_7_load_57 | 79 | 0.0018349 | 0.00045986 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_65-3_0_7_load_58 | 80 | 0.0068237 | 0.0017102 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_65-3_0_7_load_62 | 82 | 0.0053944 | 0.001352 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_65-3_0_7_load_63 | 83 | 0.006266 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_65-3_0_7_load_64 | 84 | 0.0032423 | 0.0008126 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_65-3_0_7_load_68 | 88 | 0.0013468 | 0.00033755 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_65-3_0_7_load_127 | 91 | 0.004125 | 0.0010338 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_65-3_0_7_load_102 | 92 | 0.0017493 | 0.00043842 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_65-3_0_7_load_147 | 94 | 0.0048305 | 0.0012106 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_65-3_0_7_load_100 | 95 | 0.0054092 | 0.0013557 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_65-3_0_7_load_69 | 96 | 0.00062137 | 0.00015573 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_65-3_0_7_load_70 | 97 | 0.0016167 | 0.00040519 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_65-3_0_7_load_71 | 98 | 0.0012261 | 0.0003073 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_65-3_0_7_load_72 | 99 | 0.00013464 | 3.3744e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_65-3_0_7_load_74 | 101 | 0.00030667 | 7.686e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_65-3_0_7_load_76 | 102 | 0.0015372 | 0.00038525 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_65-3_0_7_load_105 | 103 | 0.00043828 | 0.00010984 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_65-3_0_7_load_103 | 105 | 0.0010245 | 0.00025677 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_65-3_0_7_load_110 | 106 | 0.0012534 | 0.00031414 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_65-3_0_7_load_109 | 108 | 0.0018653 | 0.00046749 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_65-3_0_7_load_88 | 109 | 0.00019767 | 4.9542e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_65-3_0_7_load_90 | 110 | 0.00088351 | 0.00022143 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_65-3_0_7_load_92 | 111 | 0.0016653 | 0.00041735 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_65-3_0_7_load_93 | 112 | 0.0011003 | 0.00027576 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_65-3_0_7_load_94 | 113 | 0.0012607 | 0.00031596 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_65-3_0_7_load_95 | 114 | 0.001984 | 0.00049723 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_65-3_0_7_load_96 | 115 | 0.00054066 | 0.0001355 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_65-3_0_7_load_97 | 116 | 0.0070586 | 0.001769 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_65-3_0_7_load_98 | 117 | 0.00028819 | 7.2228e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_65-3_0_7_load_99 | 118 | 0.00031522 | 7.9002e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_65-3_0_7_load_106 | 119 | 0.00033728 | 8.4531e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_65-3_0_7_load_112 | 120 | 0.00045363 | 0.00011369 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_65-3_0_7_load_113 | 121 | 0.00086652 | 0.00021717 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_65-3_0_7_load_114 | 122 | 0.00083617 | 0.00020956 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_65-3_0_7_load_117 | 124 | 0.0010039 | 0.0002516 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_65-3_0_7_load_131 | 125 | 0.00037973 | 9.5168e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_65-3_0_7_load_134 | 126 | 0.00097949 | 0.00024548 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_65-3_0_7_load_135 | 127 | 0.0011773 | 0.00029506 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_65-3_0_7_load_130 | 128 | 0.00088791 | 0.00022253 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_65-3_0_7_load_143 | 129 | 0.00029817 | 7.4729e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_65-3_0_7_load_142 | 130 | 0.0018375 | 0.00046052 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_65-3_0_7_load_136 | 131 | 0.001051 | 0.00026342 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_65-3_0_7_load_137 | 132 | 0.00063723 | 0.0001597 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_65-3_0_7_load_138 | 133 | 0.0088075 | 0.0022074 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_65-3_0_7_load_139 | 134 | 0.0057091 | 0.0014308 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_65-3_0_7_load_146 | 135 | 0.00076647 | 0.00019209 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_65-3_0_7_line_0 |  | 0 | 1 | 0.10962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_65-3_0_7_line_1 |  | 1 | 2 | 0.13732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_65-3_0_7_line_2 |  | 2 | 3 | 0.53944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_65-3_0_7_line_3 |  | 3 | 4 | 0.011926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_65-3_0_7_line_4 |  | 4 | 5 | 0.47713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_65-3_0_7_line_5 |  | 5 | 6 | 0.037293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_65-3_0_7_line_6 |  | 6 | 110 | 0.02233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_65-3_0_7_line_7 |  | 7 | 8 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_65-3_0_7_line_8 |  | 8 | 9 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_65-3_0_7_line_9 |  | 9 | 10 | 0.029723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_65-3_0_7_line_10 |  | 10 | 12 | 0.084391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_65-3_0_7_line_11 |  | 11 | 12 | 0.058565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_65-3_0_7_line_12 |  | 11 | 13 | 0.044438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_65-3_0_7_line_13 |  | 12 | 14 | 0.25887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_65-3_0_7_line_14 |  | 14 | 15 | 0.16755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_65-3_0_7_line_15 |  | 15 | 16 | 0.24078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_65-3_0_7_line_16 |  | 16 | 22 | 0.33075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_65-3_0_7_line_17 |  | 16 | 23 | 0.30402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_65-3_0_7_line_18 |  | 16 | 20 | 0.86621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_65-3_0_7_line_19 |  | 17 | 18 | 0.29083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_65-3_0_7_line_20 |  | 17 | 19 | 0.31769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_65-3_0_7_line_21 |  | 18 | 20 | 0.11475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_65-3_0_7_line_22 |  | 19 | 31 | 0.025544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_65-3_0_7_line_23 |  | 20 | 21 | 0.547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_65-3_0_7_line_24 |  | 21 | 35 | 0.023841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_65-3_0_7_line_25 |  | 22 | 39 | 0.09162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_65-3_0_7_line_26 |  | 23 | 42 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_65-3_0_7_line_27 |  | 23 | 43 | 0.016495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_65-3_0_7_line_28 |  | 23 | 40 | 0.36768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_65-3_0_7_line_29 |  | 24 | 25 | 0.042735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_65-3_0_7_line_30 |  | 24 | 26 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_65-3_0_7_line_31 |  | 25 | 103 | 0.033074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_65-3_0_7_line_32 |  | 25 | 104 | 0.03659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_65-3_0_7_line_33 |  | 26 | 106 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_65-3_0_7_line_34 |  | 27 | 28 | 0.027367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_65-3_0_7_line_35 |  | 28 | 29 | 0.012681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_65-3_0_7_line_36 |  | 28 | 30 | 0.039335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_65-3_0_7_line_37 |  | 29 | 32 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_65-3_0_7_line_38 |  | 29 | 33 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_65-3_0_7_line_39 |  | 30 | 34 | 0.020175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_65-3_0_7_line_40 |  | 31 | 36 | 0.0033297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_65-3_0_7_line_41 |  | 33 | 37 | 0.042125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_65-3_0_7_line_42 |  | 34 | 38 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_65-3_0_7_line_43 |  | 35 | 47 | 0.042335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_65-3_0_7_line_44 |  | 36 | 55 | 0.021875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_65-3_0_7_line_45 |  | 37 | 56 | 0.07674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_65-3_0_7_line_46 |  | 38 | 57 | 0.031271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_65-3_0_7_line_47 |  | 38 | 58 | 0.023552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_65-3_0_7_line_48 |  | 39 | 108 | 0.045309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_65-3_0_7_line_49 |  | 40 | 41 | 0.28149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_65-3_0_7_line_50 |  | 41 | 100 | 0.034591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_65-3_0_7_line_51 |  | 42 | 73 | 0.049931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_65-3_0_7_line_52 |  | 43 | 71 | 0.012293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_65-3_0_7_line_53 |  | 44 | 45 | 0.029836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_65-3_0_7_line_54 |  | 45 | 109 | 0.020794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_65-3_0_7_line_55 |  | 46 | 47 | 0.13861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_65-3_0_7_line_56 |  | 46 | 48 | 0.44995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_65-3_0_7_line_57 |  | 46 | 49 | 0.040433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_65-3_0_7_line_58 |  | 47 | 50 | 0.70778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_65-3_0_7_line_59 |  | 48 | 94 | 0.35972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_65-3_0_7_line_60 |  | 49 | 124 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_65-3_0_7_line_61 |  | 50 | 51 | 0.062217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_65-3_0_7_line_62 |  | 51 | 125 | 0.0095911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_65-3_0_7_line_63 |  | 52 | 53 | 0.003585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_65-3_0_7_line_64 |  | 52 | 54 | 0.014355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_65-3_0_7_line_65 |  | 53 | 126 | 0.0056307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_65-3_0_7_line_66 |  | 53 | 127 | 0.025505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_65-3_0_7_line_67 |  | 54 | 128 | 0.0021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_65-3_0_7_line_68 |  | 55 | 58 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_65-3_0_7_line_69 |  | 56 | 59 | 0.047238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_65-3_0_7_line_70 |  | 57 | 63 | 0.014328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_65-3_0_7_line_71 |  | 57 | 60 | 0.007744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_65-3_0_7_line_72 |  | 59 | 62 | 0.00029768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_65-3_0_7_line_73 |  | 60 | 61 | 0.025366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_65-3_0_7_line_74 |  | 62 | 135 | 0.052051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_65-3_0_7_line_75 |  | 63 | 64 | 0.022562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_65-3_0_7_line_76 |  | 64 | 65 | 0.0033845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_65-3_0_7_line_77 |  | 65 | 66 | 0.035279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_65-3_0_7_line_78 |  | 66 | 67 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_65-3_0_7_line_79 |  | 68 | 69 | 0.0036433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_65-3_0_7_line_80 |  | 68 | 70 | 0.046442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_65-3_0_7_line_81 |  | 69 | 71 | 0.040896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_65-3_0_7_line_82 |  | 70 | 72 | 0.019542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_65-3_0_7_line_83 |  | 73 | 109 | 0.0055484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_65-3_0_7_line_84 |  | 74 | 75 | 0.0043036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_65-3_0_7_line_85 |  | 74 | 76 | 0.0071923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_65-3_0_7_line_86 |  | 75 | 77 | 0.0011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_65-3_0_7_line_87 |  | 76 | 78 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_65-3_0_7_line_88 |  | 76 | 79 | 0.010403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_65-3_0_7_line_89 |  | 77 | 80 | 0.0061216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_65-3_0_7_line_90 |  | 79 | 81 | 0.0052255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_65-3_0_7_line_91 |  | 81 | 82 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_65-3_0_7_line_92 |  | 81 | 83 | 0.041937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_65-3_0_7_line_93 |  | 82 | 84 | 0.00096012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_65-3_0_7_line_94 |  | 84 | 85 | 0.16738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_65-3_0_7_line_95 |  | 85 | 86 | 0.19571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_65-3_0_7_line_96 |  | 86 | 87 | 0.039185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_65-3_0_7_line_97 |  | 86 | 88 | 0.037144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_65-3_0_7_line_98 |  | 87 | 92 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_65-3_0_7_line_99 |  | 87 | 93 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_65-3_0_7_line_100 |  | 88 | 89 | 0.10385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_65-3_0_7_line_101 |  | 89 | 90 | 0.21813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_65-3_0_7_line_102 |  | 90 | 91 | 0.031176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_65-3_0_7_line_103 |  | 92 | 94 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_65-3_0_7_line_104 |  | 93 | 95 | 0.0087948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_65-3_0_7_line_105 |  | 95 | 118 | 0.010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_65-3_0_7_line_106 |  | 96 | 97 | 0.00024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_65-3_0_7_line_107 |  | 96 | 98 | 0.047468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_65-3_0_7_line_108 |  | 97 | 99 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_65-3_0_7_line_109 |  | 98 | 100 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_65-3_0_7_line_110 |  | 99 | 101 | 0.0091061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_65-3_0_7_line_111 |  | 100 | 102 | 0.092392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_65-3_0_7_line_112 |  | 104 | 105 | 0.026391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_65-3_0_7_line_113 |  | 105 | 107 | 0.015685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_65-3_0_7_line_114 |  | 106 | 108 | 0.0046403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_65-3_0_7_line_115 |  | 107 | 119 | 0.0087669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_65-3_0_7_line_116 |  | 110 | 111 | 0.0025504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_65-3_0_7_line_117 |  | 111 | 112 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_65-3_0_7_line_118 |  | 112 | 113 | 0.0017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_65-3_0_7_line_119 |  | 113 | 114 | 0.013335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_65-3_0_7_line_120 |  | 114 | 115 | 0.0037992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_65-3_0_7_line_121 |  | 115 | 116 | 0.011913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_65-3_0_7_line_122 |  | 116 | 117 | 0.0081094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_65-3_0_7_line_123 |  | 117 | 118 | 0.0088268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_65-3_0_7_line_124 |  | 120 | 121 | 0.0087729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_65-3_0_7_line_125 |  | 120 | 122 | 0.024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_65-3_0_7_line_126 |  | 121 | 123 | 0.010958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_65-3_0_7_line_127 |  | 123 | 124 | 0.017845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_65-3_0_7_line_128 |  | 125 | 128 | 0.026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_65-3_0_7_line_129 |  | 126 | 131 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_65-3_0_7_line_130 |  | 127 | 130 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_65-3_0_7_line_131 |  | 129 | 130 | 0.0026095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_65-3_0_7_line_132 |  | 131 | 132 | 0.0050165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_65-3_0_7_line_133 |  | 132 | 133 | 0.0098888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_65-3_0_7_line_134 |  | 133 | 134 | 0.030351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_65-3_0_7_trafo_118 | 0.63 MVA 20/0.4 kV | 136 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2690116.0314 | 1261234.7334 | 2690110.9867 | 1261231.4651 | 2690101.5574 | 1261206.8353 | 2690082.7355 | 1261159.6001 | 2690072.3707 | 1261146.3985 | 2690064.4602 | 1261140.9438
1 | 2690116.0314 | 1261234.7334 | 2690129.3678 | 1261234.9145 | 2690145.9697 | 1261228.5179 | 2690195.379 | 1261192.3533 | 2690208.1374 | 1261182.0174 | 2690230.7257 | 1261164.1143
2 | 2690230.7257 | 1261164.1143 | 2690256.0062 | 1261144.6288 | 2690276.556 | 1261134.879 | 2690312.6187 | 1261128.3909 | 2690347.3916 | 1261124.452 | 2690376.36 | 1261120.1132 | 2690397.6219 | 1261111.1308 | 2690410.3503 | 1261101.8068 | 2690416.6743 | 1261090.9059 | 2690417.9425 | 1261067.6068 | 2690407.6795 | 1261054.6841 | 2690392.6737 | 1261046.3483 | 2690328.4892 | 1261033.7581 | 2690307.0163 | 1261030.3943 | 2690295.5484 | 1261021.8347 | 2690291.5237 | 1261014.4452 | 2690290.7468 | 1261000.6668 | 2690297.2905 | 1260981.2958 | 2690301.7981 | 1260963.4838 | 2690302.1182 | 1260949.4331 | 2690293.5552 | 1260933.7344 | 2690276.7847 | 1260927.9072 | 2690263.461 | 1260921.9103 | 2690254.0912 | 1260910.6696 | 2690252.7372 | 1260896.6711 | 2690257.0151 | 1260881.0685 | 2690259.2517 | 1260878.0919
3 | 2690266.416 | 1260868.5575 | 2690259.2517 | 1260878.0919
4 | 2690266.416 | 1260868.5575 | 2690282.9226 | 1260868.4759 | 2690299.8882 | 1260869.4356 | 2690336.7858 | 1260875.9929 | 2690367.0955 | 1260881.6157 | 2690425.3854 | 1260891.4029 | 2690543.377 | 1260913.2579 | 2690566.9783 | 1260921.3589 | 2690602.7068 | 1260943.6792 | 2690646.5633 | 1260967.2251 | 2690716.5078 | 1261004.738
5 | 2690716.5078 | 1261004.738 | 2690733.7846 | 1261015.8339 | 2690747.8889 | 1261024.887
6 | 2690747.8889 | 1261024.887 | 2690756.4498 | 1261030.382 | 2690765.5569 | 1261038.435
7 | 2690400.449 | 1259819.132 | 2690411.6443 | 1259809.1166
8 | 2690419.789 | 1259798.4299 | 2690414.1037 | 1259806.9164 | 2690411.6443 | 1259809.1166
9 | 2690419.789 | 1259798.4299 | 2690441.8846 | 1259778.549
10 | 2690477.6282 | 1259709.7883 | 2690480.0648 | 1259723.4697 | 2690480.0137 | 1259736.1678 | 2690474.3924 | 1259748.347 | 2690462.6374 | 1259759.8765 | 2690441.8846 | 1259778.549
11 | 2690477.6282 | 1259709.7883 | 2690447.729 | 1259728.2013 | 2690430.5219 | 1259744.2955
12 | 2690430.5219 | 1259744.2955 | 2690432.4069 | 1259750.6738 | 2690433.3239 | 1259757.749 | 2690429.4874 | 1259765.1184 | 2690420.7887 | 1259772.9806 | 2690417.8583 | 1259775.8158 | 2690413.1553 | 1259780.3634
13 | 2690477.6282 | 1259709.7883 | 2690500.9486 | 1259705.5415 | 2690540.684 | 1259697.5652 | 2690585.7085 | 1259691.2603 | 2690628.5082 | 1259687.4792 | 2690676.5538 | 1259703.4167 | 2690717.2478 | 1259709.1448 | 2690731.7274 | 1259709.6611
14 | 2690885.3548 | 1259648.5094 | 2690836.4285 | 1259672.2437 | 2690764.4734 | 1259707.7567 | 2690747.354 | 1259710.2183 | 2690731.7274 | 1259709.6611
15 | 2690885.3548 | 1259648.5094 | 2690916.1712 | 1259630.3795 | 2690943.3706 | 1259606.7788 | 2690974.6446 | 1259582.4513 | 2691018.0805 | 1259539.8633 | 2691009.9092 | 1259483.0149 | 2691008.5337 | 1259471.9739
16 | 2691263.5449 | 1259347.569 | 2691259.436 | 1259352.4762 | 2691227.8424 | 1259379.2881 | 2691188.7528 | 1259400.9028 | 2691147.6441 | 1259414.636 | 2691106.7073 | 1259420.6437 | 2691002.9316 | 1259422.5598 | 2691008.5337 | 1259471.9739
17 | 2690750.3566 | 1259439.8841 | 2690776.0034 | 1259432.972 | 2690788.5468 | 1259429.5839 | 2690793.0906 | 1259428.7307 | 2690799.4473 | 1259427.6385 | 2690813.1942 | 1259425.9036 | 2690845.1402 | 1259424.1036 | 2690936.1984 | 1259424.1353 | 2690957.3439 | 1259423.6599 | 2691002.9316 | 1259422.5598 | 2691008.5337 | 1259471.9739
18 | 2691008.5337 | 1259471.9739 | 2691009.9092 | 1259483.0149 | 2691018.0805 | 1259539.8633 | 2691059.2962 | 1259571.9782 | 2691061.9791 | 1259574.477 | 2691084.222 | 1259595.2246 | 2691118.4923 | 1259637.7302 | 2691135.7364 | 1259655.0872 | 2691186.6472 | 1259695.3589 | 2691198.5667 | 1259713.835 | 2691203.1792 | 1259738.8258 | 2691208.5674 | 1259753.0979 | 2691215.4657 | 1259767.2154 | 2691314.0613 | 1259800.162 | 2691327.6779 | 1259808.7678 | 2691322.8903 | 1259817.6121 | 2691318.9485 | 1259824.8903 | 2691268.2844 | 1259902.5815 | 2691256.1121 | 1259921.0417 | 2691254.9353 | 1259926.9616 | 2691268.7083 | 1259960.1002 | 2691272.5903 | 1259970.3571 | 2691276.5483 | 1259980.0814 | 2691278.923 | 1259985.9227 | 2691280.2792 | 1259995.7292 | 2691279.5167 | 1260002.6451 | 2691275.7029 | 1260021.1788 | 2691270.468 | 1260046.318 | 2691268.0518 | 1260058.7906 | 2691252.7643 | 1260132.6023 | 2691251.542 | 1260137.0758 | 2691250.2214 | 1260140.5916 | 2691248.2766 | 1260144.0199 | 2691245.6494 | 1260147.2153
19 | 2690856.5262 | 1260054.8772 | 2690878.1973 | 1260064.1951 | 2690921.1276 | 1260082.647 | 2690962.2398 | 1260100.6931 | 2690976.9377 | 1260103.6769 | 2690994.1092 | 1260100.216 | 2691025.2096 | 1260096.8027 | 2691055.0582 | 1260099.7976 | 2691108.536 | 1260114.6324 | 2691133.9822 | 1260121.3421
20 | 2690856.5262 | 1260054.8772 | 2690742.163 | 1260072.5587 | 2690722.5181 | 1260076.0937 | 2690704.7193 | 1260083.1153 | 2690678.6222 | 1260096.9707 | 2690615.6651 | 1260135.9595 | 2690591.3027 | 1260148.7966 | 2690561.353 | 1260159.3021
21 | 2691245.6494 | 1260147.2153 | 2691222.4247 | 1260140.4407 | 2691173.6609 | 1260131.8046 | 2691133.9822 | 1260121.3421
22 | 2690561.353 | 1260159.3021 | 2690541.6235 | 1260164.4487 | 2690536.7395 | 1260166.0966
23 | 2691163.8731 | 1260577.4186 | 2691164.8679 | 1260569.1162 | 2691166.6173 | 1260554.8874 | 2691174.1633 | 1260542.0935 | 2691182.8332 | 1260536.5783 | 2691205.1619 | 1260530.4842 | 2691214.1908 | 1260527.5988 | 2691226.3782 | 1260523.7059 | 2691234.6272 | 1260516.6497 | 2691239.0369 | 1260508.3221 | 2691238.4407 | 1260501.0405 | 2691232.3576 | 1260485.4454 | 2691220.324 | 1260472.5274 | 2691210.5702 | 1260462.3023 | 2691200.483 | 1260456.5867 | 2691190.0869 | 1260452.8235 | 2691165.9743 | 1260449.9386 | 2691174.0406 | 1260435.6738 | 2691191.9719 | 1260419.0591 | 2691209.1408 | 1260400.5646 | 2691216.8979 | 1260387.2958 | 2691217.4498 | 1260374.4831 | 2691216.2777 | 1260367.4038 | 2691215.4927 | 1260353.792 | 2691218.5789 | 1260337.4488 | 2691215.1402 | 1260318.9923 | 2691215.5863 | 1260309.1247 | 2691213.3169 | 1260301.8395 | 2691211.1621 | 1260296.4019 | 2691214.5489 | 1260263.9951 | 2691217.8279 | 1260220.0107 | 2691218.9247 | 1260195.8196 | 2691223.7891 | 1260180.5046 | 2691239.0573 | 1260155.2978 | 2691241.5715 | 1260152.1007 | 2691245.6494 | 1260147.2153
24 | 2691163.8731 | 1260577.4186 | 2691152.2442 | 1260587.136 | 2691150.5445 | 1260595.6547
25 | 2691263.5449 | 1259347.569 | 2691309.718 | 1259293.4717 | 2691315.6835 | 1259286.4805 | 2691322.7171 | 1259277.6278
26 | 2690739.7809 | 1259443.2691 | 2690750.3566 | 1259439.8841
27 | 2690750.3566 | 1259439.8841 | 2690745.834 | 1259424.6249 | 2690745.5575 | 1259424.1154
28 | 2690750.3566 | 1259439.8841 | 2690776.0034 | 1259432.972 | 2690788.5468 | 1259429.5839 | 2690793.0906 | 1259428.7307 | 2690799.4473 | 1259427.6385 | 2690813.1942 | 1259425.9036 | 2690814.649 | 1259406.2771 | 2690831.474 | 1259379.8477 | 2690859.6989 | 1259353.8271 | 2690873.6856 | 1259332.0802 | 2690892.7019 | 1259298.4901 | 2690894.4873 | 1259280.9148 | 2690887.194 | 1259265.9243 | 2690859.4296 | 1259217.7711 | 2690845.9951 | 1259192.267 | 2690840.3279 | 1259162.2007
29 | 2691339.3302 | 1259191.4591 | 2691352.2641 | 1259199.9432 | 2691374.7094 | 1259215.4241
30 | 2691374.7094 | 1259215.4241 | 2691362.7478 | 1259231.4543
31 | 2691339.3302 | 1259191.4591 | 2691329.5268 | 1259206.7755 | 2691322.4131 | 1259214.8832 | 2691318.6013 | 1259216.4016
32 | 2691308.6709 | 1259171.3479 | 2691339.3302 | 1259191.4591
33 | 2691355.7892 | 1259240.2501 | 2691357.6963 | 1259238.224 | 2691362.7478 | 1259231.4543
34 | 2690417.3143 | 1260145.1328 | 2690432.0579 | 1260122.077
35 | 2690406.6796 | 1260138.1759 | 2690417.3143 | 1260145.1328
36 | 2690417.3143 | 1260145.1328 | 2690449.9914 | 1260167.0291
37 | 2690406.6796 | 1260138.1759 | 2690402.557 | 1260133.209 | 2690398.3656 | 1260113.8651
38 | 2690406.6796 | 1260138.1759 | 2690396.4946 | 1260150.7669
39 | 2690449.9914 | 1260167.0291 | 2690466.7519 | 1260178.26
40 | 2690533.5846 | 1260167.1611 | 2690536.7395 | 1260166.0966
41 | 2690370.0018 | 1260183.5182 | 2690396.4946 | 1260150.7669
42 | 2690482.6292 | 1260188.8991 | 2690466.7519 | 1260178.26
43 | 2691156.7838 | 1260636.3673 | 2691150.8431 | 1260623.2654 | 2691148.5767 | 1260605.5163 | 2691150.5445 | 1260595.6547
44 | 2690512.8571 | 1260174.1546 | 2690533.5846 | 1260167.1611
45 | 2690352.824 | 1260236.2755 | 2690388.4509 | 1260210.8327 | 2690370.0018 | 1260183.5182
46 | 2690482.6292 | 1260188.8991 | 2690474.862 | 1260201.9351 | 2690468.5492 | 1260207.6097 | 2690461.2911 | 1260210.034
47 | 2690482.6292 | 1260188.8991 | 2690491.4957 | 1260181.362 | 2690502.7853 | 1260177.5529
48 | 2691322.7171 | 1259277.6278 | 2691334.143 | 1259263.2469 | 2691352.6087 | 1259243.6291
49 | 2690840.3279 | 1259162.2007 | 2690849.145 | 1259141.3195 | 2690864.023 | 1259121.4545 | 2690892.0784 | 1259094.7753 | 2690900.2505 | 1259081.5459 | 2690908.3532 | 1259068.4156 | 2690912.5285 | 1259045.4505 | 2690908.868 | 1259013.836 | 2690899.9736 | 1258983.7979 | 2690891.1686 | 1258949.4133 | 2690885.0867 | 1258922.7767 | 2690880.9413 | 1258908.3615
50 | 2690871.3813 | 1258875.1176 | 2690880.9413 | 1258908.3615
51 | 2690739.7809 | 1259443.2691 | 2690753.6335 | 1259466.5666 | 2690764.642 | 1259486.5623 | 2690764.642 | 1259486.5623
52 | 2690745.5575 | 1259424.1154 | 2690739.6959 | 1259413.3093
53 | 2690806.2495 | 1259522.718 | 2690805.0851 | 1259520.0091 | 2690798.7449 | 1259511.683 | 2690786.414 | 1259500.8368
54 | 2690768.8344 | 1259490.1966 | 2690772.5948 | 1259493.4564 | 2690783.2664 | 1259498.0681 | 2690786.414 | 1259500.8368
55 | 2691041.631 | 1260648.2261 | 2691044.3401 | 1260648.5013 | 2691153.5089 | 1260662.0372 | 2691156.1004 | 1260642.0724 | 2691156.7838 | 1260636.3673
56 | 2691041.631 | 1260648.2261 | 2691010.8 | 1260645.0938 | 2691016.8065 | 1260653.9376 | 2691029.019 | 1260665.5236 | 2691042.8629 | 1260680.8042 | 2691051.3058 | 1260694.9009 | 2691057.5308 | 1260707.6624 | 2691084.1266 | 1260785.0999 | 2691108.6299 | 1260852.0415 | 2691117.5922 | 1260875.9318 | 2691128.3285 | 1260911.3698 | 2691141.9331 | 1260956.2928 | 2691165.3704 | 1261030.2016
57 | 2691041.631 | 1260648.2261 | 2691033.6387 | 1260608.5909
58 | 2691156.7838 | 1260636.3673 | 2691156.1004 | 1260642.0724 | 2691153.5089 | 1260662.0372 | 2691253.1063 | 1260675.016 | 2691299.1363 | 1260683.2214 | 2691352.4322 | 1260695.7873 | 2691434.4936 | 1260723.6547 | 2691452.2974 | 1260730.3797 | 2691618.7525 | 1260825.119 | 2691625.7985 | 1260828.5864 | 2691634.2521 | 1260833.6213 | 2691648.2785 | 1260829.2239 | 2691663.12 | 1260827.1856 | 2691680.8527 | 1260826.304 | 2691706.3934 | 1260826.411 | 2691733.7279 | 1260827.0019 | 2691749.2179 | 1260827.8538 | 2691764.4168 | 1260829.9801 | 2691783.3925 | 1260832.5431 | 2691797.7894 | 1260829.5307
59 | 2691165.3704 | 1261030.2016 | 2691139.975 | 1261050.5599 | 2691122.9412 | 1261058.4594 | 2690979.1415 | 1261093.9192 | 2690958.4308 | 1261095.9134 | 2690910.0839 | 1261096.9268 | 2690895.4586 | 1261097.2245 | 2690882.5069 | 1261098.9603 | 2690875.9124 | 1261099.9487 | 2690843.6148 | 1261112.9519 | 2690823.3622 | 1261121.3865
60 | 2691016.9481 | 1260608.8386 | 2691026.3474 | 1260607.0027 | 2691033.5853 | 1260608.3262 | 2691033.6387 | 1260608.5909
61 | 2691797.7894 | 1260829.5307 | 2691808.6842 | 1260826.8421 | 2691829.9233 | 1260812.7493 | 2691851.9619 | 1260799.9093
62 | 2691860.2491 | 1260795.0811 | 2691851.9619 | 1260799.9093
63 | 2691901.7602 | 1260774.245 | 2691898.1647 | 1260774.267
64 | 2691898.1647 | 1260774.267 | 2691885.4997 | 1260781.0248
65 | 2691901.7602 | 1260774.245 | 2691906.749 | 1260771.6341
66 | 2691901.7602 | 1260774.245 | 2691906.7213 | 1260794.4938 | 2691908.9854 | 1260798.5642
67 | 2691885.4997 | 1260781.0248 | 2691883.6011 | 1260782.0378
68 | 2690512.8571 | 1260174.1546 | 2690502.7853 | 1260177.5529
69 | 2690352.824 | 1260236.2755 | 2690373.4233 | 1260257.0398 | 2690390.5673 | 1260262.4897
70 | 2690461.2911 | 1260210.034 | 2690460.301 | 1260219.5709 | 2690462.4976 | 1260223.7712
71 | 2690453.5331 | 1260209.6596 | 2690461.2911 | 1260210.034
72 | 2690390.851 | 1260262.5798 | 2690390.5673 | 1260262.4897
73 | 2690453.5331 | 1260209.6596 | 2690456.2804 | 1260226.6706 | 2690459.8655 | 1260233.9725
74 | 2690428.0519 | 1260241.9735 | 2690422.956 | 1260258.7645 | 2690411.7395 | 1260265.2204 | 2690402.8949 | 1260266.4085 | 2690390.851 | 1260262.5798
75 | 2690480.023 | 1260236.3552 | 2690473.4172 | 1260231.3363 | 2690465.0025 | 1260228.561 | 2690462.4976 | 1260223.7712
76 | 2690480.023 | 1260236.3552 | 2690482.7179 | 1260238.4027
77 | 2690502.9951 | 1260265.7714 | 2690495.7625 | 1260248.3136 | 2690482.7179 | 1260238.4027
78 | 2690502.9951 | 1260265.7714 | 2690520.1268 | 1260258.7162
79 | 2690709.9422 | 1259380.4322 | 2690712.8173 | 1259382.67
80 | 2690670.2787 | 1259357.0025 | 2690691.6903 | 1259366.2267 | 2690709.9422 | 1259380.4322
81 | 2690712.8173 | 1259382.67 | 2690714.412 | 1259383.9111 | 2690737.7989 | 1259409.8123 | 2690739.6959 | 1259413.3093
82 | 2690670.2787 | 1259357.0025 | 2690656.3363 | 1259370.6953
83 | 2690764.642 | 1259486.5623 | 2690768.8344 | 1259490.1966
84 | 2690648.9894 | 1261525.3911 | 2690646.5679 | 1261528.9488
85 | 2690653.569 | 1261519.8607 | 2690650.0953 | 1261523.7662 | 2690648.9894 | 1261525.3911
86 | 2690646.5679 | 1261528.9488 | 2690645.9361 | 1261529.877
87 | 2690653.569 | 1261519.8607 | 2690665.4777 | 1261527.5938 | 2690666.9778 | 1261528.568
88 | 2690653.569 | 1261519.8607 | 2690661.4087 | 1261513.0232
89 | 2690643.6968 | 1261535.5578 | 2690645.6161 | 1261530.3472 | 2690645.9361 | 1261529.877
90 | 2690665.3469 | 1261509.5886 | 2690661.4087 | 1261513.0232
91 | 2690665.3469 | 1261509.5886 | 2690674.4929 | 1261502.3897 | 2690677.518 | 1261496.8857
92 | 2690665.3469 | 1261509.5886 | 2690670.402 | 1261513.6137 | 2690702.719 | 1261528.247
93 | 2690677.9804 | 1261496.0443 | 2690677.518 | 1261496.8857
94 | 2690696.7376 | 1261330.0602 | 2690683.7016 | 1261456.7167 | 2690683.2454 | 1261464.8384 | 2690681.2768 | 1261487.0592 | 2690679.3536 | 1261493.546 | 2690677.9804 | 1261496.0443
95 | 2690789.012 | 1261168.0021 | 2690778.0282 | 1261171.6587 | 2690765.4787 | 1261179.1165 | 2690755.8831 | 1261189.055 | 2690749.9575 | 1261198.5161 | 2690744.7781 | 1261210.9131 | 2690735.2151 | 1261258.0151 | 2690730.65 | 1261275.0808 | 2690724.3161 | 1261292.0083 | 2690717.2311 | 1261306.311 | 2690707.3146 | 1261319.9921 | 2690696.7376 | 1261330.0602
96 | 2690789.012 | 1261168.0021 | 2690790.9394 | 1261128.8672
97 | 2690789.012 | 1261168.0021 | 2690805.4833 | 1261166.7427 | 2690822.249 | 1261169.3688 | 2690825.8033 | 1261170.2195
98 | 2690790.9394 | 1261128.8672 | 2690811.5489 | 1261126.2156
99 | 2690790.9394 | 1261128.8672 | 2690791.1871 | 1261115.6827
100 | 2690926.9789 | 1261193.5744 | 2690909.4779 | 1261190.2472 | 2690890.0153 | 1261185.589 | 2690825.8033 | 1261170.2195
101 | 2690926.9789 | 1261193.5744 | 2691021.319 | 1261275.3011 | 2691048.6003 | 1261298.2947 | 2691069.1469 | 1261310.3316 | 2691067.4288 | 1261314.7309 | 2691093.4463 | 1261327.764
102 | 2691093.4463 | 1261327.764 | 2691090.825 | 1261332.5719 | 2691089.9108 | 1261332.2354 | 2691087.1832 | 1261331.2259 | 2691085.7744 | 1261330.7038 | 2691083.1292 | 1261329.729 | 2691080.5963 | 1261328.8004 | 2691080.1461 | 1261329.6497 | 2691079.4007 | 1261331.0727 | 2691077.8015 | 1261334.106 | 2691069.932 | 1261330.1654
103 | 2690823.3622 | 1261121.3865 | 2690811.8642 | 1261126.175 | 2690811.5489 | 1261126.2156
104 | 2690791.1871 | 1261115.6827 | 2690791.7527 | 1261106.9062
105 | 2690792.4431 | 1261096.191 | 2690791.7527 | 1261106.9062
106 | 2690806.7768 | 1258893.6204 | 2690807.0046 | 1258893.5303
107 | 2690807.0046 | 1258893.5303 | 2690822.6405 | 1258887.3458 | 2690841.7219 | 1258881.9789 | 2690852.275 | 1258879.5376
108 | 2690806.7768 | 1258893.6204 | 2690803.2903 | 1258894.9994 | 2690796.6583 | 1258903.2162
109 | 2690871.3813 | 1258875.1176 | 2690852.275 | 1258879.5376
110 | 2690790.939 | 1258910.3022 | 2690796.6583 | 1258903.2162
111 | 2690871.3813 | 1258875.1176 | 2690879.8222 | 1258888.0796 | 2690924.333 | 1258910.7033 | 2690948.4177 | 1258917.7789 | 2690950.1992 | 1258918.4137
112 | 2691308.6709 | 1259171.3479 | 2691290.7251 | 1259190.6976
113 | 2691280.0595 | 1259202.1976 | 2691290.7251 | 1259190.6976
114 | 2691355.7892 | 1259240.2501 | 2691352.6087 | 1259243.6291
115 | 2691280.0595 | 1259202.1976 | 2691275.3765 | 1259209.6091
116 | 2690767.4674 | 1261040.1244 | 2690765.5569 | 1261038.435
117 | 2690780.2559 | 1261052.3907 | 2690777.2843 | 1261048.8051 | 2690767.4674 | 1261040.1244
118 | 2690780.2559 | 1261052.3907 | 2690780.5327 | 1261052.7248 | 2690781.3697 | 1261053.7364
119 | 2690789.8704 | 1261064.0103 | 2690789.8704 | 1261064.0103 | 2690781.3697 | 1261053.7364
120 | 2690789.8704 | 1261064.0103 | 2690790.1751 | 1261065.2716 | 2690790.7578 | 1261067.7044
121 | 2690790.7578 | 1261067.7044 | 2690793.5322 | 1261079.2898
122 | 2690793.5322 | 1261079.2898 | 2690793.5322 | 1261079.2898 | 2690793.0107 | 1261087.3824
123 | 2690792.4431 | 1261096.191 | 2690793.0107 | 1261087.3824
124 | 2690983.9304 | 1260600.0553 | 2690990.8238 | 1260605.4816
125 | 2690983.9304 | 1260600.0553 | 2690978.6577 | 1260595.9049 | 2690965.7066 | 1260597.04 | 2690962.0841 | 1260599.9912
126 | 2690999.4345 | 1260612.2596 | 2690990.8238 | 1260605.4816
127 | 2690999.4345 | 1260612.2596 | 2691016.9481 | 1260608.8386
128 | 2691860.2491 | 1260795.0811 | 2691872.1426 | 1260788.1517 | 2691883.6011 | 1260782.0378
129 | 2691923.0624 | 1260763.0963 | 2691906.749 | 1260771.6341
130 | 2691914.1903 | 1260807.9213 | 2691908.9854 | 1260798.5642
131 | 2691914.1903 | 1260807.9213 | 2691915.4588 | 1260810.2018
132 | 2691923.0624 | 1260763.0963 | 2691927.5069 | 1260760.7702
133 | 2691936.2684 | 1260756.1848 | 2691927.5069 | 1260760.7702
134 | 2691936.2684 | 1260756.1848 | 2691963.1593 | 1260742.1111

## bus_geodata
| x | y | coords
0 | 2690064.4602 | 1261140.9438
1 | 2690116.0314 | 1261234.7334
2 | 2690230.7257 | 1261164.1143
3 | 2690259.2517 | 1260878.0919
4 | 2690266.416 | 1260868.5575
5 | 2690716.5078 | 1261004.738
6 | 2690747.8889 | 1261024.887
7 | 2690400.449 | 1259819.132
8 | 2690411.6443 | 1259809.1166
9 | 2690419.789 | 1259798.4299
10 | 2690441.8846 | 1259778.549
11 | 2690430.5219 | 1259744.2955
12 | 2690477.6282 | 1259709.7883
13 | 2690413.1553 | 1259780.3634
14 | 2690731.7274 | 1259709.6611
15 | 2690885.3548 | 1259648.5094
16 | 2691008.5337 | 1259471.9739
17 | 2690856.5262 | 1260054.8772
18 | 2691133.9822 | 1260121.3421
19 | 2690561.353 | 1260159.3021
20 | 2691245.6494 | 1260147.2153
21 | 2691163.8731 | 1260577.4186
22 | 2691263.5449 | 1259347.569
23 | 2690750.3566 | 1259439.8841
24 | 2691374.7094 | 1259215.4241
25 | 2691339.3302 | 1259191.4591
26 | 2691362.7478 | 1259231.4543
27 | 2690432.0579 | 1260122.077
28 | 2690417.3143 | 1260145.1328
29 | 2690406.6796 | 1260138.1759
30 | 2690449.9914 | 1260167.0291
31 | 2690536.7395 | 1260166.0966
32 | 2690398.3656 | 1260113.8651
33 | 2690396.4946 | 1260150.7669
34 | 2690466.7519 | 1260178.26
35 | 2691150.5445 | 1260595.6547
36 | 2690533.5846 | 1260167.1611
37 | 2690370.0018 | 1260183.5182
38 | 2690482.6292 | 1260188.8991
39 | 2691322.7171 | 1259277.6278
40 | 2690840.3279 | 1259162.2007
41 | 2690880.9413 | 1258908.3615
42 | 2690739.7809 | 1259443.2691
43 | 2690745.5575 | 1259424.1154
44 | 2690806.2495 | 1259522.718
45 | 2690786.414 | 1259500.8368
46 | 2691041.631 | 1260648.2261
47 | 2691156.7838 | 1260636.3673
48 | 2691165.3704 | 1261030.2016
49 | 2691033.6387 | 1260608.5909
50 | 2691797.7894 | 1260829.5307
51 | 2691851.9619 | 1260799.9093
52 | 2691898.1647 | 1260774.267
53 | 2691901.7602 | 1260774.245
54 | 2691885.4997 | 1260781.0248
55 | 2690512.8571 | 1260174.1546
56 | 2690352.824 | 1260236.2755
57 | 2690461.2911 | 1260210.034
58 | 2690502.7853 | 1260177.5529
59 | 2690390.5673 | 1260262.4897
60 | 2690453.5331 | 1260209.6596
61 | 2690459.8655 | 1260233.9725
62 | 2690390.851 | 1260262.5798
63 | 2690462.4976 | 1260223.7712
64 | 2690480.023 | 1260236.3552
65 | 2690482.7179 | 1260238.4027
66 | 2690502.9951 | 1260265.7714
67 | 2690520.1268 | 1260258.7162
68 | 2690709.9422 | 1259380.4322
69 | 2690712.8173 | 1259382.67
70 | 2690670.2787 | 1259357.0025
71 | 2690739.6959 | 1259413.3093
72 | 2690656.3363 | 1259370.6953
73 | 2690764.642 | 1259486.5623
74 | 2690648.9894 | 1261525.3911
75 | 2690646.5679 | 1261528.9488
76 | 2690653.569 | 1261519.8607
77 | 2690645.9361 | 1261529.877
78 | 2690666.9778 | 1261528.568
79 | 2690661.4087 | 1261513.0232
80 | 2690643.6968 | 1261535.5578
81 | 2690665.3469 | 1261509.5886
82 | 2690677.518 | 1261496.8857
83 | 2690702.719 | 1261528.247
84 | 2690677.9804 | 1261496.0443
85 | 2690696.7376 | 1261330.0602
86 | 2690789.012 | 1261168.0021
87 | 2690790.9394 | 1261128.8672
88 | 2690825.8033 | 1261170.2195
89 | 2690926.9789 | 1261193.5744
90 | 2691093.4463 | 1261327.764
91 | 2691069.932 | 1261330.1654
92 | 2690811.5489 | 1261126.2156
93 | 2690791.1871 | 1261115.6827
94 | 2690823.3622 | 1261121.3865
95 | 2690791.7527 | 1261106.9062
96 | 2690807.0046 | 1258893.5303
97 | 2690806.7768 | 1258893.6204
98 | 2690852.275 | 1258879.5376
99 | 2690796.6583 | 1258903.2162
100 | 2690871.3813 | 1258875.1176
101 | 2690790.939 | 1258910.3022
102 | 2690950.1992 | 1258918.4137
103 | 2691318.6013 | 1259216.4016
104 | 2691308.6709 | 1259171.3479
105 | 2691290.7251 | 1259190.6976
106 | 2691355.7892 | 1259240.2501
107 | 2691280.0595 | 1259202.1976
108 | 2691352.6087 | 1259243.6291
109 | 2690768.8344 | 1259490.1966
110 | 2690765.5569 | 1261038.435
111 | 2690767.4674 | 1261040.1244
112 | 2690780.2559 | 1261052.3907
113 | 2690781.3697 | 1261053.7364
114 | 2690789.8704 | 1261064.0103
115 | 2690790.7578 | 1261067.7044
116 | 2690793.5322 | 1261079.2898
117 | 2690793.0107 | 1261087.3824
118 | 2690792.4431 | 1261096.191
119 | 2691275.3765 | 1259209.6091
120 | 2690983.9304 | 1260600.0553
121 | 2690990.8238 | 1260605.4816
122 | 2690962.0841 | 1260599.9912
123 | 2690999.4345 | 1260612.2596
124 | 2691016.9481 | 1260608.8386
125 | 2691860.2491 | 1260795.0811
126 | 2691906.749 | 1260771.6341
127 | 2691908.9854 | 1260798.5642
128 | 2691883.6011 | 1260782.0378
129 | 2691915.4588 | 1260810.2018
130 | 2691914.1903 | 1260807.9213
131 | 2691923.0624 | 1260763.0963
132 | 2691927.5069 | 1260760.7702
133 | 2691936.2684 | 1260756.1848
134 | 2691963.1593 | 1260742.1111
135 | 2690428.0519 | 1260241.9735
136 | 2691010.8 | 1260645.0938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1