## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6602-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6602-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6602-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6602-1_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6602-1_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6602-1_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6602-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6602-1_0_3_node_314 | 0.4 | n |  | TRUE
8 | bus_LV_6602-1_0_3_node_313 | 0.4 | n |  | TRUE
9 | bus_LV_6602-1_0_3_node_199 | 0.4 | n |  | TRUE
10 | bus_LV_6602-1_0_3_node_200 | 0.4 | n |  | TRUE
11 | bus_LV_6602-1_0_3_node_201 | 0.4 | n |  | TRUE
12 | bus_LV_6602-1_0_3_node_268 | 0.4 | n |  | TRUE
13 | bus_LV_6602-1_0_3_node_250 | 0.4 | n |  | TRUE
14 | bus_LV_6602-1_0_3_node_251 | 0.4 | n |  | TRUE
15 | bus_LV_6602-1_0_3_node_252 | 0.4 | n |  | TRUE
16 | bus_LV_6602-1_0_3_node_253 | 0.4 | n |  | TRUE
17 | bus_LV_6602-1_0_3_node_254 | 0.4 | n |  | TRUE
18 | bus_LV_6602-1_0_3_node_255 | 0.4 | n |  | TRUE
19 | bus_LV_6602-1_0_3_node_274 | 0.4 | n |  | TRUE
20 | bus_LV_6602-1_0_3_node_280 | 0.4 | n |  | TRUE
21 | bus_LV_6602-1_0_3_node_256 | 0.4 | n |  | TRUE
22 | bus_LV_6602-1_0_3_node_257 | 0.4 | n |  | TRUE
23 | bus_LV_6602-1_0_3_node_258 | 0.4 | n |  | TRUE
24 | bus_LV_6602-1_0_3_node_270 | 0.4 | n |  | TRUE
25 | bus_LV_6602-1_0_3_node_262 | 0.4 | n |  | TRUE
26 | bus_LV_6602-1_0_3_node_259 | 0.4 | n |  | TRUE
27 | bus_LV_6602-1_0_3_node_260 | 0.4 | n |  | TRUE
28 | bus_LV_6602-1_0_3_node_321 | 0.4 | n |  | TRUE
29 | bus_LV_6602-1_0_3_node_261 | 0.4 | n |  | TRUE
30 | bus_LV_6602-1_0_3_node_264 | 0.4 | n |  | TRUE
31 | bus_LV_6602-1_0_3_node_263 | 0.4 | n |  | TRUE
32 | bus_LV_6602-1_0_3_node_267 | 0.4 | n |  | TRUE
33 | bus_LV_6602-1_0_3_node_265 | 0.4 | n |  | TRUE
34 | bus_LV_6602-1_0_3_node_272 | 0.4 | n |  | TRUE
35 | bus_LV_6602-1_0_3_node_269 | 0.4 | n |  | TRUE
36 | bus_LV_6602-1_0_3_node_282 | 0.4 | n |  | TRUE
37 | bus_LV_6602-1_0_3_node_279 | 0.4 | n |  | TRUE
38 | bus_LV_6602-1_0_3_node_271 | 0.4 | n |  | TRUE
39 | bus_LV_6602-1_0_3_node_273 | 0.4 | n |  | TRUE
40 | bus_LV_6602-1_0_3_node_276 | 0.4 | n |  | TRUE
41 | bus_LV_6602-1_0_3_node_275 | 0.4 | n |  | TRUE
42 | bus_LV_6602-1_0_3_node_277 | 0.4 | n |  | TRUE
43 | bus_LV_6602-1_0_3_node_278 | 0.4 | n |  | TRUE
44 | bus_LV_6602-1_0_3_node_281 | 0.4 | n |  | TRUE
45 | bus_LV_6602-1_0_3_node_283 | 0.4 | n |  | TRUE
46 | bus_LV_6602-1_0_3_node_284 | 0.4 | n |  | TRUE
47 | bus_LV_6602-1_0_3_node_285 | 0.4 | n |  | TRUE
48 | bus_LV_6602-1_0_3_node_286 | 0.4 | n |  | TRUE
49 | bus_LV_6602-1_0_3_node_287 | 0.4 | n |  | TRUE
50 | bus_LV_6602-1_0_3_node_291 | 0.4 | n |  | TRUE
51 | bus_LV_6602-1_0_3_node_319 | 0.4 | n |  | TRUE
52 | bus_LV_6602-1_0_3_node_288 | 0.4 | n |  | TRUE
53 | bus_LV_6602-1_0_3_node_289 | 0.4 | n |  | TRUE
54 | bus_LV_6602-1_0_3_node_306 | 0.4 | n |  | TRUE
55 | bus_LV_6602-1_0_3_node_312 | 0.4 | n |  | TRUE
56 | bus_LV_6602-1_0_3_node_308 | 0.4 | n |  | TRUE
57 | bus_LV_6602-1_0_3_node_320 | 0.4 | n |  | TRUE
58 | bus_LV_6602-1_0_3_node_292 | 0.4 | n |  | TRUE
59 | bus_LV_6602-1_0_3_node_305 | 0.4 | n |  | TRUE
60 | bus_LV_6602-1_0_3_node_293 | 0.4 | n |  | TRUE
61 | bus_LV_6602-1_0_3_node_304 | 0.4 | n |  | TRUE
62 | bus_LV_6602-1_0_3_node_301 | 0.4 | n |  | TRUE
63 | bus_LV_6602-1_0_3_node_294 | 0.4 | n |  | TRUE
64 | bus_LV_6602-1_0_3_node_295 | 0.4 | n |  | TRUE
65 | bus_LV_6602-1_0_3_node_296 | 0.4 | n |  | TRUE
66 | bus_LV_6602-1_0_3_node_297 | 0.4 | n |  | TRUE
67 | bus_LV_6602-1_0_3_node_298 | 0.4 | n |  | TRUE
68 | bus_LV_6602-1_0_3_node_299 | 0.4 | n |  | TRUE
69 | bus_LV_6602-1_0_3_node_300 | 0.4 | n |  | TRUE
70 | bus_LV_6602-1_0_3_node_303 | 0.4 | n |  | TRUE
71 | bus_LV_6602-1_0_3_node_311 | 0.4 | n |  | TRUE
72 | bus_LV_6602-1_0_3_node_315 | 0.4 | n |  | TRUE
73 | bus_LV_6602-1_0_3_node_302 | 0.4 | n |  | TRUE
74 | bus_LV_6602-1_0_3_node_310 | 0.4 | n |  | TRUE
75 | bus_LV_6602-1_0_3_node_307 | 0.4 | n |  | TRUE
76 | bus_LV_6602-1_0_3_node_309 | 0.4 | n |  | TRUE
77 | bus_MV_459_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6602-1_0_3_load_0 | 0 | 0.00054183 | 0.0001358 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6602-1_0_3_load_1 | 1 | 0.0020581 | 0.0005158 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6602-1_0_3_load_2 | 2 | 0.00071194 | 0.00017843 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6602-1_0_3_load_5 | 3 | 0.00047746 | 0.00011966 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6602-1_0_3_load_3 | 4 | 0.00081559 | 0.00020441 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6602-1_0_3_load_314 | 7 | 0.0012859 | 0.00032228 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6602-1_0_3_load_313 | 8 | 0.001884 | 0.00047218 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6602-1_0_3_load_199 | 9 | 0.0026871 | 0.00067346 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6602-1_0_3_load_200 | 10 | 0.0018824 | 0.00047176 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6602-1_0_3_load_250 | 13 | 0.0035554 | 0.00089106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6602-1_0_3_load_253 | 16 | 0.004439 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6602-1_0_3_load_255 | 18 | 0.0036342 | 0.00091082 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6602-1_0_3_load_280 | 20 | 0.0029926 | 0.00075001 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6602-1_0_3_load_257 | 22 | 0.0053304 | 0.0013359 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6602-1_0_3_load_258 | 23 | 0.00096661 | 0.00024225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6602-1_0_3_load_259 | 26 | 0.0016173 | 0.00040533 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6602-1_0_3_load_260 | 27 | 0.00070224 | 0.000176 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6602-1_0_3_load_321 | 28 | 0.0014453 | 0.00036223 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6602-1_0_3_load_261 | 29 | 0.0023647 | 0.00059265 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6602-1_0_3_load_264 | 30 | 0.0040684 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6602-1_0_3_load_267 | 32 | 0.00077704 | 0.00019474 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6602-1_0_3_load_272 | 34 | 0.0009758 | 0.00024456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6602-1_0_3_load_269 | 35 | 0.0008294 | 0.00020787 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6602-1_0_3_load_282 | 36 | 0.0013876 | 0.00034776 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6602-1_0_3_load_271 | 38 | 0.00091928 | 0.00023039 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6602-1_0_3_load_273 | 39 | 0.0054475 | 0.0013653 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6602-1_0_3_load_276 | 40 | 0.0040146 | 0.0010062 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6602-1_0_3_load_277 | 42 | 0.0040997 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6602-1_0_3_load_281 | 44 | 0.0021507 | 0.00053901 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6602-1_0_3_load_283 | 45 | 0.00077504 | 0.00019424 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6602-1_0_3_load_284 | 46 | 0.0023575 | 0.00059084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6602-1_0_3_load_319 | 51 | 0.001308 | 0.00032782 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6602-1_0_3_load_306 | 54 | 0.00037919 | 9.5034e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6602-1_0_3_load_312 | 55 | 0.0011017 | 0.00027612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6602-1_0_3_load_308 | 56 | 0.00095187 | 0.00023856 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6602-1_0_3_load_305 | 59 | 0.0013503 | 0.0003384 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6602-1_0_3_load_301 | 62 | 0.0013271 | 0.0003326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6602-1_0_3_load_294 | 63 | 0.00072995 | 0.00018294 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6602-1_0_3_load_295 | 64 | 0.00082603 | 0.00020702 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6602-1_0_3_load_297 | 66 | 0.0018157 | 0.00045505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6602-1_0_3_load_300 | 69 | 0.0013259 | 0.0003323 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6602-1_0_3_load_311 | 71 | 0.0014523 | 0.00036399 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6602-1_0_3_load_315 | 72 | 0.0010957 | 0.00027462 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6602-1_0_3_load_310 | 74 | 0.0007838 | 0.00019644 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6602-1_0_3_load_307 | 75 | 0.00069856 | 0.00017508 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6602-1_0_3_load_309 | 76 | 0.00097888 | 0.00024533 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6602-1_0_3_line_0 |  | 0 | 1 | 0.0070752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6602-1_0_3_line_1 |  | 1 | 2 | 0.0011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6602-1_0_3_line_2 |  | 2 | 3 | 0.86958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6602-1_0_3_line_3 |  | 3 | 4 | 0.1668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6602-1_0_3_line_4 |  | 4 | 5 | 0.033229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6602-1_0_3_line_5 |  | 5 | 6 | 0.062136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6602-1_0_3_line_6 |  | 5 | 7 | 0.18208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6602-1_0_3_line_7 |  | 6 | 8 | 0.047519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6602-1_0_3_line_8 |  | 7 | 68 | 0.051132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6602-1_0_3_line_9 |  | 9 | 10 | 0.21705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6602-1_0_3_line_10 |  | 10 | 11 | 0.069132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6602-1_0_3_line_11 |  | 11 | 12 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6602-1_0_3_line_12 |  | 12 | 35 | 0.067259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6602-1_0_3_line_13 |  | 12 | 32 | 0.15074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6602-1_0_3_line_14 |  | 13 | 14 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6602-1_0_3_line_15 |  | 13 | 15 | 0.0071684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6602-1_0_3_line_16 |  | 14 | 16 | 0.00010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6602-1_0_3_line_17 |  | 15 | 17 | 0.019005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6602-1_0_3_line_18 |  | 16 | 18 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6602-1_0_3_line_19 |  | 17 | 19 | 0.003347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6602-1_0_3_line_20 |  | 17 | 20 | 0.021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6602-1_0_3_line_21 |  | 18 | 21 | 0.028403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6602-1_0_3_line_22 |  | 19 | 40 | 0.023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6602-1_0_3_line_23 |  | 19 | 39 | 0.019387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6602-1_0_3_line_24 |  | 21 | 22 | 0.017621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6602-1_0_3_line_25 |  | 21 | 23 | 0.018574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6602-1_0_3_line_26 |  | 22 | 24 | 0.019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6602-1_0_3_line_27 |  | 23 | 25 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6602-1_0_3_line_28 |  | 23 | 26 | 0.25481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6602-1_0_3_line_29 |  | 24 | 37 | 0.02223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6602-1_0_3_line_30 |  | 25 | 31 | 0.035533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6602-1_0_3_line_31 |  | 26 | 27 | 0.00081591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6602-1_0_3_line_32 |  | 26 | 28 | 0.25352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6602-1_0_3_line_33 |  | 27 | 29 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6602-1_0_3_line_34 |  | 28 | 57 | 0.05181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6602-1_0_3_line_35 |  | 29 | 30 | 0.0043477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6602-1_0_3_line_36 |  | 30 | 33 | 0.10457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6602-1_0_3_line_37 |  | 31 | 32 | 0.018314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6602-1_0_3_line_38 |  | 33 | 34 | 0.077146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6602-1_0_3_line_39 |  | 34 | 38 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6602-1_0_3_line_40 |  | 35 | 36 | 0.043556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6602-1_0_3_line_41 |  | 36 | 45 | 0.013861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6602-1_0_3_line_42 |  | 37 | 43 | 0.022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6602-1_0_3_line_43 |  | 41 | 42 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6602-1_0_3_line_44 |  | 41 | 43 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6602-1_0_3_line_45 |  | 43 | 44 | 0.0069984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6602-1_0_3_line_46 |  | 46 | 47 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6602-1_0_3_line_47 |  | 46 | 48 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6602-1_0_3_line_48 |  | 47 | 49 | 0.005515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6602-1_0_3_line_49 |  | 48 | 50 | 0.05373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6602-1_0_3_line_50 |  | 49 | 51 | 0.15919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6602-1_0_3_line_51 |  | 50 | 56 | 0.0033979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6602-1_0_3_line_52 |  | 50 | 57 | 0.2872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6602-1_0_3_line_53 |  | 52 | 53 | 0.034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6602-1_0_3_line_54 |  | 52 | 54 | 0.028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6602-1_0_3_line_55 |  | 53 | 55 | 0.021365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6602-1_0_3_line_56 |  | 54 | 75 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6602-1_0_3_line_57 |  | 55 | 59 | 0.0038862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6602-1_0_3_line_58 |  | 56 | 75 | 0.0030565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6602-1_0_3_line_59 |  | 58 | 59 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6602-1_0_3_line_60 |  | 58 | 60 | 0.02438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6602-1_0_3_line_61 |  | 60 | 61 | 0.006277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6602-1_0_3_line_62 |  | 60 | 62 | 0.040099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6602-1_0_3_line_63 |  | 61 | 74 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6602-1_0_3_line_64 |  | 62 | 73 | 0.025239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6602-1_0_3_line_65 |  | 63 | 64 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6602-1_0_3_line_66 |  | 63 | 65 | 0.021195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6602-1_0_3_line_67 |  | 64 | 66 | 0.0071347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6602-1_0_3_line_68 |  | 65 | 67 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6602-1_0_3_line_69 |  | 65 | 68 | 0.035083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6602-1_0_3_line_70 |  | 65 | 69 | 0.041499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6602-1_0_3_line_71 |  | 66 | 70 | 0.010706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6602-1_0_3_line_72 |  | 67 | 71 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6602-1_0_3_line_73 |  | 69 | 72 | 0.072243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6602-1_0_3_line_74 |  | 70 | 73 | 0.021101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6602-1_0_3_line_75 |  | 74 | 76 | 0.0025095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6602-1_0_3_trafo_267 | 0.63 MVA 20/0.4 kV | 77 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2508466.7854 | 1124403.4183 | 2508461.0137 | 1124407.5105
1 | 2508461.0137 | 1124407.5105 | 2508460.0377 | 1124408.2025
2 | 2507862.8456 | 1125040.2927 | 2508460.0377 | 1124408.2025
3 | 2507718.3628 | 1125123.6441 | 2507862.8456 | 1125040.2927
4 | 2507691.7308 | 1125143.5156 | 2507695.1758 | 1125140.9059 | 2507701.8827 | 1125135.8226 | 2507718.3628 | 1125123.6441
5 | 2507691.7308 | 1125143.5156 | 2507711.5502 | 1125169.573 | 2507729.3789 | 1125193.0149
6 | 2507580.5462 | 1124999.3188 | 2507691.7308 | 1125143.5156
7 | 2507729.3789 | 1125193.0149 | 2507758.3076 | 1125230.7135
8 | 2507549.3237 | 1124958.8259 | 2507580.5462 | 1124999.3188
9 | 2506895.6395 | 1125412.4551 | 2507029.1488 | 1125241.328
10 | 2507068.4188 | 1125184.662 | 2507058.3043 | 1125196.736 | 2507051.8321 | 1125205.0183 | 2507047.3374 | 1125211.0355 | 2507041.9475 | 1125219.0011 | 2507035.6095 | 1125229.4827 | 2507030.233 | 1125239.3158 | 2507029.1488 | 1125241.328
11 | 2507068.4188 | 1125184.662 | 2507065.0559 | 1125181.5674 | 2507065.5647 | 1125180.0586 | 2507065.9073 | 1125176.2733 | 2507065.2616 | 1125173.3926 | 2507064.0803 | 1125170.7759 | 2507068.8567 | 1125168.5344
12 | 2507068.8567 | 1125168.5344 | 2507072.68 | 1125165.974 | 2507075.188 | 1125167.125 | 2507077.9314 | 1125167.0383 | 2507081.9536 | 1125165.8869 | 2507086.4331 | 1125161.8823 | 2507103.2784 | 1125148.3039 | 2507124.4892 | 1125134.4677
13 | 2507068.8567 | 1125168.5344 | 2507066.0982 | 1125165.6306 | 2507055.442 | 1125152.0307 | 2506992.6101 | 1125054.1606 | 2506985.6623 | 1125042.9864
14 | 2506883.452 | 1125032.173 | 2506867.673 | 1125039.5856
15 | 2506861.1848 | 1125042.6336 | 2506867.673 | 1125039.5856
16 | 2506883.452 | 1125032.173 | 2506883.542 | 1125032.1275
17 | 2506843.939 | 1125050.7266 | 2506861.1848 | 1125042.6336
18 | 2506899.6969 | 1125023.9685 | 2506883.542 | 1125032.1275
19 | 2506840.8201 | 1125051.9643 | 2506843.939 | 1125050.7266
20 | 2506843.939 | 1125050.7266 | 2506841.4329 | 1125045.7066 | 2506832.869 | 1125032.3417
21 | 2506925.5221 | 1125012.4351 | 2506919.6235 | 1125013.9046 | 2506899.6969 | 1125023.9685
22 | 2506840.8201 | 1125051.9643 | 2506839.2128 | 1125050.2325 | 2506836.5046 | 1125049.1069 | 2506831.9561 | 1125048.6323 | 2506826.0453 | 1125049.8131 | 2506821.9453 | 1125050.4211 | 2506818.5617 | 1125048.4943
23 | 2506840.8201 | 1125051.9643 | 2506849.1572 | 1125069.4676
24 | 2506925.5221 | 1125012.4351 | 2506933.3591 | 1125028.2178
25 | 2506925.5221 | 1125012.4351 | 2506942.2506 | 1125004.3622
26 | 2506942.0568 | 1125045.7339 | 2506933.3591 | 1125028.2178
27 | 2506958.1016 | 1124996.7127 | 2506942.2506 | 1125004.3622
28 | 2506827.203 | 1124776.9978 | 2506942.2506 | 1125004.3622
29 | 2506942.0568 | 1125045.7339 | 2506936.2114 | 1125049.1593 | 2506931.5293 | 1125054.5236 | 2506924.055 | 1125058.3076
30 | 2506958.1016 | 1124996.7127 | 2506975.992 | 1125027.4336
31 | 2506827.203 | 1124776.9978 | 2506826.7465 | 1124776.3215
32 | 2506827.203 | 1124776.9978 | 2507037.292 | 1124635.0973
33 | 2506819.7354 | 1124765.9327 | 2506822.1522 | 1124769.5145 | 2506826.7465 | 1124776.3215
34 | 2507075.3423 | 1124624.9948 | 2507073.8113 | 1124626.2191 | 2507064.6783 | 1124633.4973 | 2507053.2216 | 1124642.5901 | 2507051.0659 | 1124644.3021 | 2507047.5847 | 1124647.0684 | 2507044.1198 | 1124645.8765 | 2507037.292 | 1124635.0973
35 | 2506819.7354 | 1124765.9327 | 2506817.3037 | 1124762.3286
36 | 2506755.0288 | 1124678.3392 | 2506758.4286 | 1124682.8005 | 2506812.6121 | 1124755.3753 | 2506817.3037 | 1124762.3286
37 | 2506975.992 | 1125027.4336 | 2506985.6623 | 1125042.9864
38 | 2506755.0288 | 1124678.3392 | 2506752.3702 | 1124680.437 | 2506709.6655 | 1124714.1166 | 2506699.9224 | 1124721.7939 | 2506694.4246 | 1124726.0748
39 | 2506683.2934 | 1124734.742 | 2506694.4246 | 1124726.0748
40 | 2507163.3678 | 1125114.8677 | 2507148.125 | 1125122.1099 | 2507125.9875 | 1125133.4903 | 2507124.4892 | 1125134.4677
41 | 2507163.3678 | 1125114.8677 | 2507175.8873 | 1125108.9195
42 | 2506924.055 | 1125058.3076 | 2506924.4722 | 1125060.3691 | 2506924.3945 | 1125062.3271 | 2506923.697 | 1125064.5947 | 2506922.5375 | 1125066.4026 | 2506921.0707 | 1125067.7816 | 2506918.0313 | 1125069.1737 | 2506915.0269 | 1125069.3312 | 2506912.5251 | 1125068.5915 | 2506910.3667 | 1125067.1127
43 | 2506892.0698 | 1125077.0451 | 2506894.1515 | 1125082.0494 | 2506884.2206 | 1125087.0166
44 | 2506910.3667 | 1125067.1127 | 2506892.0698 | 1125077.0451
45 | 2506910.3667 | 1125067.1127 | 2506909.3624 | 1125065.9831 | 2506908.3957 | 1125064.297 | 2506907.733 | 1125060.8162
46 | 2507394.2186 | 1124686.2698 | 2507383.843 | 1124694.2698
47 | 2507371.1061 | 1124704.0904 | 2507383.843 | 1124694.2698
48 | 2507390.8362 | 1124681.9079 | 2507394.2186 | 1124686.2698
49 | 2507343.8971 | 1124726.7768 | 2507346.4284 | 1124709.3386 | 2507346.6618 | 1124707.9675 | 2507348.008 | 1124700.2199 | 2507359.6481 | 1124695.5275 | 2507371.1061 | 1124704.0904
50 | 2507535.0597 | 1124632.0024 | 2507508.1212 | 1124645.2227 | 2507476.3037 | 1124661.0749 | 2507469.2712 | 1124665.0628 | 2507457.8537 | 1124671.7194 | 2507454.6321 | 1124672.8139 | 2507451.7021 | 1124672.8143 | 2507448.7502 | 1124672.3926 | 2507445.6698 | 1124671.1279 | 2507436.7983 | 1124665.805 | 2507433.1348 | 1124664.7383 | 2507430.4113 | 1124664.6244 | 2507425.9077 | 1124666.5946 | 2507393.9765 | 1124680.5367 | 2507390.8362 | 1124681.9079
51 | 2507343.8971 | 1124726.7768 | 2507346.0226 | 1124729.4278
52 | 2507343.8971 | 1124726.7768 | 2507075.3423 | 1124624.9948
53 | 2507381.6855 | 1124753.4024 | 2507386.0439 | 1124759.0613 | 2507402.8987 | 1124780.6827
54 | 2507381.6855 | 1124753.4024 | 2507357.8186 | 1124744.1405 | 2507355.7373 | 1124741.5446
55 | 2507402.8987 | 1124780.6827 | 2507401.5544 | 1124787.5408 | 2507400.0747 | 1124797.6473 | 2507400.5903 | 1124800.0965 | 2507401.6012 | 1124801.4118
56 | 2507355.7373 | 1124741.5446 | 2507347.9345 | 1124731.8125
57 | 2507401.6012 | 1124801.4118 | 2507403.6979 | 1124804.1402 | 2507403.9697 | 1124804.4928
58 | 2507347.9345 | 1124731.8125 | 2507346.0226 | 1124729.4278
59 | 2507426.707 | 1124811.7811 | 2507420.7014 | 1124811.8287 | 2507412.5417 | 1124811.687 | 2507408.6953 | 1124810.2451 | 2507407.1357 | 1124808.6013 | 2507403.9697 | 1124804.4928
60 | 2507426.707 | 1124811.7811 | 2507434.077 | 1124811.7126 | 2507444.6363 | 1124825.0478
61 | 2507444.6363 | 1124825.0478 | 2507447.3406 | 1124819.3807
62 | 2507444.6363 | 1124825.0478 | 2507455.3649 | 1124839.3699 | 2507462.8957 | 1124849.2939 | 2507468.0452 | 1124855.7745 | 2507468.9571 | 1124856.9258
63 | 2507447.3406 | 1124819.3807 | 2507442.9789 | 1124813.4996 | 2507437.3706 | 1124806.1782
64 | 2507484.6269 | 1124876.711 | 2507468.9571 | 1124856.9258
65 | 2507523.1477 | 1124909.2787 | 2507515.665 | 1124899.6608 | 2507514.8972 | 1124899.189
66 | 2507534.986 | 1124926.8037 | 2507529.5467 | 1124917.5036 | 2507523.1477 | 1124909.2787
67 | 2507514.8972 | 1124899.189 | 2507511.7811 | 1124897.2744 | 2507509.9985 | 1124896.1677 | 2507508.677 | 1124895.773
68 | 2507520.7953 | 1124936.1043 | 2507534.986 | 1124926.8037
69 | 2507549.3237 | 1124958.8259 | 2507542.4144 | 1124944.1561 | 2507538.784 | 1124935.6621 | 2507534.986 | 1124926.8037
70 | 2507534.986 | 1124926.8037 | 2507557.8011 | 1124910.7338 | 2507564.1246 | 1124906.2789 | 2507568.9141 | 1124902.907
71 | 2507498.4188 | 1124892.7095 | 2507508.677 | 1124895.773
72 | 2507520.7953 | 1124936.1043 | 2507514.5103 | 1124928.4737 | 2507509.2391 | 1124920.4719
73 | 2507568.9141 | 1124902.907 | 2507587.0315 | 1124890.1521 | 2507607.6652 | 1124875.6166 | 2507619.0613 | 1124867.582 | 2507627.9761 | 1124861.3044
74 | 2507498.4188 | 1124892.7095 | 2507484.6269 | 1124876.711
75 | 2507435.8445 | 1124804.186 | 2507437.3706 | 1124806.1782

## bus_geodata
| x | y | coords
0 | 2508466.7854 | 1124403.4183
1 | 2508461.0137 | 1124407.5105
2 | 2508460.0377 | 1124408.2025
3 | 2507862.8456 | 1125040.2927
4 | 2507718.3628 | 1125123.6441
5 | 2507691.7308 | 1125143.5156
6 | 2507729.3789 | 1125193.0149
7 | 2507580.5462 | 1124999.3188
8 | 2507758.3076 | 1125230.7135
9 | 2506895.6395 | 1125412.4551
10 | 2507029.1488 | 1125241.328
11 | 2507068.4188 | 1125184.662
12 | 2507068.8567 | 1125168.5344
13 | 2506867.673 | 1125039.5856
14 | 2506883.452 | 1125032.173
15 | 2506861.1848 | 1125042.6336
16 | 2506883.542 | 1125032.1275
17 | 2506843.939 | 1125050.7266
18 | 2506899.6969 | 1125023.9685
19 | 2506840.8201 | 1125051.9643
20 | 2506832.869 | 1125032.3417
21 | 2506925.5221 | 1125012.4351
22 | 2506933.3591 | 1125028.2178
23 | 2506942.2506 | 1125004.3622
24 | 2506942.0568 | 1125045.7339
25 | 2506958.1016 | 1124996.7127
26 | 2506827.203 | 1124776.9978
27 | 2506826.7465 | 1124776.3215
28 | 2507037.292 | 1124635.0973
29 | 2506819.7354 | 1124765.9327
30 | 2506817.3037 | 1124762.3286
31 | 2506975.992 | 1125027.4336
32 | 2506985.6623 | 1125042.9864
33 | 2506755.0288 | 1124678.3392
34 | 2506694.4246 | 1124726.0748
35 | 2507124.4892 | 1125134.4677
36 | 2507163.3678 | 1125114.8677
37 | 2506924.055 | 1125058.3076
38 | 2506683.2934 | 1124734.742
39 | 2506849.1572 | 1125069.4676
40 | 2506818.5617 | 1125048.4943
41 | 2506892.0698 | 1125077.0451
42 | 2506884.2206 | 1125087.0165
43 | 2506910.3667 | 1125067.1127
44 | 2506907.733 | 1125060.8162
45 | 2507175.8873 | 1125108.9195
46 | 2507383.843 | 1124694.2698
47 | 2507394.2186 | 1124686.2698
48 | 2507371.1061 | 1124704.0904
49 | 2507390.8362 | 1124681.9079
50 | 2507343.8971 | 1124726.7768
51 | 2507535.0597 | 1124632.0024
52 | 2507381.6855 | 1124753.4024
53 | 2507402.8987 | 1124780.6827
54 | 2507355.7373 | 1124741.5446
55 | 2507401.6012 | 1124801.4118
56 | 2507346.0226 | 1124729.4278
57 | 2507075.3423 | 1124624.9948
58 | 2507426.707 | 1124811.7811
59 | 2507403.9697 | 1124804.4928
60 | 2507444.6363 | 1124825.0478
61 | 2507447.3406 | 1124819.3807
62 | 2507468.9571 | 1124856.9258
63 | 2507523.1477 | 1124909.2787
64 | 2507514.8972 | 1124899.189
65 | 2507534.986 | 1124926.8037
66 | 2507508.677 | 1124895.773
67 | 2507520.7953 | 1124936.1043
68 | 2507549.3237 | 1124958.8259
69 | 2507568.9141 | 1124902.907
70 | 2507498.4188 | 1124892.7095
71 | 2507509.2391 | 1124920.4719
72 | 2507627.9761 | 1124861.3044
73 | 2507484.6269 | 1124876.711
74 | 2507437.3706 | 1124806.1782
75 | 2507347.9345 | 1124731.8125
76 | 2507435.8445 | 1124804.186
77 | 2506975.992 | 1125027.4336

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1