## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6603-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6603-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6603-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6603-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6603-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6603-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6603-1_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_6603-1_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6603-1_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6603-1_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6603-1_0_2_node_170 | 0.4 | n |  | TRUE
11 | bus_LV_6603-1_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6603-1_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6603-1_0_2_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_6603-1_0_2_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_6603-1_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6603-1_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6603-1_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6603-1_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6603-1_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6603-1_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_6603-1_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6603-1_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_6603-1_0_2_node_139 | 0.4 | n |  | TRUE
24 | bus_LV_6603-1_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6603-1_0_2_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_6603-1_0_2_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_6603-1_0_2_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_6603-1_0_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_6603-1_0_2_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_6603-1_0_2_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_6603-1_0_2_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_6603-1_0_2_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_6603-1_0_2_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_6603-1_0_2_node_167 | 0.4 | n |  | TRUE
35 | bus_LV_6603-1_0_2_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_6603-1_0_2_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_6603-1_0_2_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_6603-1_0_2_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_6603-1_0_2_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_6603-1_0_2_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_6603-1_0_2_node_123 | 0.4 | n |  | TRUE
42 | bus_LV_6603-1_0_2_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_6603-1_0_2_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_6603-1_0_2_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_6603-1_0_2_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_6603-1_0_2_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_6603-1_0_2_node_164 | 0.4 | n |  | TRUE
48 | bus_LV_6603-1_0_2_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_6603-1_0_2_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_6603-1_0_2_node_118 | 0.4 | n |  | TRUE
51 | bus_LV_6603-1_0_2_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_6603-1_0_2_node_120 | 0.4 | n |  | TRUE
53 | bus_LV_6603-1_0_2_node_165 | 0.4 | n |  | TRUE
54 | bus_LV_6603-1_0_2_node_124 | 0.4 | n |  | TRUE
55 | bus_LV_6603-1_0_2_node_126 | 0.4 | n |  | TRUE
56 | bus_LV_6603-1_0_2_node_132 | 0.4 | n |  | TRUE
57 | bus_LV_6603-1_0_2_node_127 | 0.4 | n |  | TRUE
58 | bus_LV_6603-1_0_2_node_128 | 0.4 | n |  | TRUE
59 | bus_LV_6603-1_0_2_node_129 | 0.4 | n |  | TRUE
60 | bus_LV_6603-1_0_2_node_138 | 0.4 | n |  | TRUE
61 | bus_LV_6603-1_0_2_node_130 | 0.4 | n |  | TRUE
62 | bus_LV_6603-1_0_2_node_166 | 0.4 | n |  | TRUE
63 | bus_LV_6603-1_0_2_node_131 | 0.4 | n |  | TRUE
64 | bus_LV_6603-1_0_2_node_133 | 0.4 | n |  | TRUE
65 | bus_LV_6603-1_0_2_node_134 | 0.4 | n |  | TRUE
66 | bus_LV_6603-1_0_2_node_135 | 0.4 | n |  | TRUE
67 | bus_LV_6603-1_0_2_node_141 | 0.4 | n |  | TRUE
68 | bus_LV_6603-1_0_2_node_136 | 0.4 | n |  | TRUE
69 | bus_LV_6603-1_0_2_node_137 | 0.4 | n |  | TRUE
70 | bus_LV_6603-1_0_2_node_140 | 0.4 | n |  | TRUE
71 | bus_LV_6603-1_0_2_node_143 | 0.4 | n |  | TRUE
72 | bus_LV_6603-1_0_2_node_142 | 0.4 | n |  | TRUE
73 | bus_LV_6603-1_0_2_node_144 | 0.4 | n |  | TRUE
74 | bus_MV_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6603-1_0_2_load_0 | 0 | 0.00063022 | 0.00015795 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6603-1_0_2_load_1 | 1 | 0.0005319 | 0.00013331 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6603-1_0_2_load_3 | 3 | 0.0002655 | 6.6541e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6603-1_0_2_load_16 | 6 | 0.0011569 | 0.00028995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6603-1_0_2_load_8 | 9 | 0.00054509 | 0.00013661 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6603-1_0_2_load_170 | 10 | 0.00081497 | 0.00020425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6603-1_0_2_load_70 | 14 | 0.0011547 | 0.00028939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6603-1_0_2_load_11 | 15 | 7.551e-05 | 1.8925e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6603-1_0_2_load_12 | 16 | 0.0011569 | 0.00028994 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6603-1_0_2_load_13 | 17 | 4.4167e-05 | 1.1069e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6603-1_0_2_load_14 | 18 | 0.0011568 | 0.00028992 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6603-1_0_2_load_15 | 19 | 7.5546e-05 | 1.8934e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6603-1_0_2_load_18 | 20 | 0.00049376 | 0.00012375 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6603-1_0_2_load_139 | 23 | 0.00013571 | 3.4012e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6603-1_0_2_load_59 | 26 | 8.8921e-05 | 2.2286e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6603-1_0_2_load_62 | 29 | 7.7741e-05 | 1.9484e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6603-1_0_2_load_63 | 30 | 0.00014831 | 3.7171e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6603-1_0_2_load_64 | 31 | 5.4203e-05 | 1.3584e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6603-1_0_2_load_72 | 33 | 6.8117e-05 | 1.7072e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6603-1_0_2_load_167 | 34 | 0.0001329 | 3.3308e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6603-1_0_2_load_66 | 35 | 7.6299e-05 | 1.9122e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6603-1_0_2_load_78 | 38 | 0.00022651 | 5.6768e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6603-1_0_2_load_95 | 39 | 0.00099228 | 0.00024869 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6603-1_0_2_load_73 | 40 | 0.00010716 | 2.6857e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6603-1_0_2_load_123 | 41 | 0.00010929 | 2.7391e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6603-1_0_2_load_76 | 42 | 0.00049132 | 0.00012314 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6603-1_0_2_load_77 | 43 | 0.00030805 | 7.7204e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6603-1_0_2_load_98 | 46 | 0.001606 | 0.0004025 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6603-1_0_2_load_164 | 47 | 0.0002187 | 5.481e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6603-1_0_2_load_118 | 50 | 0.00063299 | 0.00015864 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6603-1_0_2_load_165 | 53 | 0.0033782 | 0.00084665 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6603-1_0_2_load_126 | 55 | 0.00023148 | 5.8013e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6603-1_0_2_load_132 | 56 | 3.4333e-05 | 8.6047e-06 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6603-1_0_2_load_127 | 57 | 0.00011 | 2.7569e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6603-1_0_2_load_128 | 58 | 5.4729e-05 | 1.3716e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6603-1_0_2_load_129 | 59 | 6.7163e-05 | 1.6833e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6603-1_0_2_load_130 | 61 | 0.00010935 | 2.7405e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6603-1_0_2_load_166 | 62 | 4.4995e-05 | 1.1277e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6603-1_0_2_load_131 | 63 | 9.6291e-05 | 2.4133e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6603-1_0_2_load_134 | 65 | 0.00010728 | 2.6886e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6603-1_0_2_load_135 | 66 | 6.8959e-05 | 1.7283e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6603-1_0_2_load_136 | 68 | 9.2899e-05 | 2.3283e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6603-1_0_2_load_137 | 69 | 6.6898e-05 | 1.6766e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6603-1_0_2_load_140 | 70 | 0.0002431 | 6.0927e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6603-1_0_2_load_143 | 71 | 7.1362e-05 | 1.7885e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6603-1_0_2_load_142 | 72 | 0.00018071 | 4.5289e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6603-1_0_2_load_144 | 73 | 0.00033644 | 8.4319e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6603-1_0_2_line_0 |  | 0 | 1 | 0.027321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6603-1_0_2_line_1 |  | 0 | 2 | 0.030001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6603-1_0_2_line_2 |  | 1 | 3 | 0.029781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6603-1_0_2_line_3 |  | 2 | 4 | 0.01464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6603-1_0_2_line_4 |  | 3 | 5 | 0.046209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6603-1_0_2_line_5 |  | 4 | 6 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6603-1_0_2_line_6 |  | 5 | 7 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6603-1_0_2_line_7 |  | 6 | 18 | 0.03325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6603-1_0_2_line_8 |  | 7 | 8 | 0.14144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6603-1_0_2_line_9 |  | 7 | 9 | 0.0076967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6603-1_0_2_line_10 |  | 8 | 10 | 0.014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6603-1_0_2_line_11 |  | 8 | 11 | 0.037325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6603-1_0_2_line_12 |  | 11 | 12 | 0.010439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6603-1_0_2_line_13 |  | 12 | 13 | 0.3132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6603-1_0_2_line_14 |  | 12 | 14 | 0.04183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6603-1_0_2_line_15 |  | 13 | 36 | 0.0134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6603-1_0_2_line_16 |  | 14 | 24 | 0.038928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6603-1_0_2_line_17 |  | 15 | 16 | 0.033427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6603-1_0_2_line_18 |  | 15 | 17 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6603-1_0_2_line_19 |  | 16 | 18 | 0.033096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6603-1_0_2_line_20 |  | 17 | 19 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6603-1_0_2_line_21 |  | 20 | 21 | 0.013629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6603-1_0_2_line_22 |  | 21 | 22 | 0.18494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6603-1_0_2_line_23 |  | 22 | 23 | 0.24758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6603-1_0_2_line_24 |  | 23 | 69 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6603-1_0_2_line_25 |  | 24 | 25 | 0.009807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6603-1_0_2_line_26 |  | 25 | 38 | 0.0095421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6603-1_0_2_line_27 |  | 25 | 39 | 0.039794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6603-1_0_2_line_28 |  | 26 | 27 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6603-1_0_2_line_29 |  | 26 | 28 | 0.038362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6603-1_0_2_line_30 |  | 27 | 29 | 0.016559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6603-1_0_2_line_31 |  | 27 | 30 | 0.043875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6603-1_0_2_line_32 |  | 28 | 31 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6603-1_0_2_line_33 |  | 28 | 32 | 0.018778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6603-1_0_2_line_34 |  | 29 | 33 | 0.00056695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6603-1_0_2_line_35 |  | 32 | 34 | 0.046982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6603-1_0_2_line_36 |  | 33 | 37 | 0.030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6603-1_0_2_line_37 |  | 34 | 72 | 0.045596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6603-1_0_2_line_38 |  | 35 | 36 | 0.019512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6603-1_0_2_line_39 |  | 36 | 37 | 0.038753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6603-1_0_2_line_40 |  | 38 | 43 | 0.027327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6603-1_0_2_line_41 |  | 39 | 44 | 0.17034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6603-1_0_2_line_42 |  | 40 | 41 | 0.049816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6603-1_0_2_line_43 |  | 41 | 54 | 0.033266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6603-1_0_2_line_44 |  | 42 | 43 | 0.095432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6603-1_0_2_line_45 |  | 44 | 45 | 0.016754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6603-1_0_2_line_46 |  | 44 | 46 | 0.039184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6603-1_0_2_line_47 |  | 45 | 47 | 0.039179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6603-1_0_2_line_48 |  | 46 | 48 | 0.036461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6603-1_0_2_line_49 |  | 48 | 49 | 0.035304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6603-1_0_2_line_50 |  | 49 | 50 | 0.053065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6603-1_0_2_line_51 |  | 50 | 51 | 0.081945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6603-1_0_2_line_52 |  | 51 | 52 | 0.08197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6603-1_0_2_line_53 |  | 52 | 53 | 0.11869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6603-1_0_2_line_54 |  | 54 | 55 | 0.010284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6603-1_0_2_line_55 |  | 55 | 56 | 0.0043626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6603-1_0_2_line_56 |  | 56 | 63 | 0.022111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6603-1_0_2_line_57 |  | 57 | 58 | 0.03405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6603-1_0_2_line_58 |  | 58 | 59 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6603-1_0_2_line_59 |  | 59 | 60 | 0.024987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6603-1_0_2_line_60 |  | 60 | 70 | 0.026591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6603-1_0_2_line_61 |  | 60 | 68 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6603-1_0_2_line_62 |  | 61 | 62 | 0.022961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6603-1_0_2_line_63 |  | 62 | 66 | 0.014214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6603-1_0_2_line_64 |  | 63 | 64 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6603-1_0_2_line_65 |  | 64 | 65 | 0.0079225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6603-1_0_2_line_66 |  | 64 | 66 | 0.0074874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6603-1_0_2_line_67 |  | 65 | 67 | 0.042867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6603-1_0_2_line_68 |  | 67 | 72 | 0.031358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6603-1_0_2_line_69 |  | 67 | 71 | 0.027644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6603-1_0_2_line_70 |  | 67 | 73 | 0.032613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6603-1_0_2_line_71 |  | 68 | 69 | 0.0085278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6603-1_0_2_line_72 |  | 70 | 71 | 0.025862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6603-1_0_2_trafo_76 | 0.63 MVA 20/0.4 kV | 74 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2487247.2429 | 1113067.1977 | 2487252.3377 | 1113050.5848 | 2487255.4401 | 1113041.1364
1 | 2487238.6733 | 1113095.9472 | 2487241.8129 | 1113084.9036 | 2487247.2429 | 1113067.1977
2 | 2487265.7347 | 1113013.3329 | 2487265.6384 | 1113013.4681 | 2487263.8791 | 1113016.0804 | 2487262.2389 | 1113019.6911 | 2487260.834 | 1113023.9089 | 2487258.4573 | 1113031.9474 | 2487255.4401 | 1113041.1364
3 | 2487234.6787 | 1113110.0309 | 2487236.7911 | 1113102.7423 | 2487238.6733 | 1113095.9472
4 | 2487301.0062 | 1112984.2792 | 2487298.9353 | 1112985.0961 | 2487293.5015 | 1112987.8769 | 2487288.1366 | 1112991.4569 | 2487282.8668 | 1112995.5799 | 2487276.678 | 1113000.9654 | 2487271.563 | 1113006.342 | 2487267.325 | 1113011.1018 | 2487265.7347 | 1113013.3329
5 | 2487234.6787 | 1113110.0309 | 2487234.067 | 1113112.0325 | 2487231.323 | 1113120.9407
6 | 2487314.5167 | 1112979.5691 | 2487309.1977 | 1112981.8808 | 2487305.1635 | 1112983.0677 | 2487301.0062 | 1112984.2792
7 | 2487231.323 | 1113120.9407 | 2487228.4937 | 1113130.1261 | 2487224.0733 | 1113143.7508 | 2487221.3463 | 1113152.6575
8 | 2487314.5167 | 1112979.5691 | 2487334.1845 | 1112963.6259 | 2487348.8936 | 1112950.6659 | 2487360.0308 | 1112939.24 | 2487365.1166 | 1112929.7947 | 2487366.0325 | 1112929.1883 | 2487374.7948 | 1112932.1273 | 2487379.4889 | 1112932.7738 | 2487383.4509 | 1112933.1003 | 2487404.9422 | 1112939.983 | 2487422.3177 | 1112946.5755 | 2487431.3501 | 1112949.9209
9 | 2487314.5167 | 1112979.5691 | 2487316.8361 | 1112980.4821 | 2487320.3721 | 1112981.1723 | 2487321.9726 | 1112981.223
10 | 2487431.3501 | 1112949.9209 | 2487435.2202 | 1112940.7428 | 2487435.3641 | 1112936.0148
11 | 2487431.3501 | 1112949.9209 | 2487438.2103 | 1112955.6972 | 2487447.4464 | 1112962.9303 | 2487451.3981 | 1112964.7803 | 2487462.5746 | 1112969.9983
12 | 2487462.5746 | 1112969.9983 | 2487467.638 | 1112970.5601 | 2487472.9544 | 1112969.7719
13 | 2487390.2013 | 1113262.2044 | 2487382.3376 | 1113226.16 | 2487380.2677 | 1113214.1572 | 2487378.9471 | 1113202.9744 | 2487378.6999 | 1113194.6735 | 2487379.7009 | 1113185.3598 | 2487381.677 | 1113175.7166 | 2487385.8968 | 1113162.0958 | 2487390.8122 | 1113150.1409 | 2487470.0118 | 1112977.7207 | 2487472.9544 | 1112969.7719
14 | 2487472.9544 | 1112969.7719 | 2487493.0031 | 1112964.7293 | 2487499.4817 | 1112963.2858 | 2487504.2773 | 1112962.7408 | 2487508.9518 | 1112962.7428 | 2487513.9694 | 1112962.6622
15 | 2487392.2695 | 1113275.3635 | 2487392.1799 | 1113271.7962 | 2487391.2653 | 1113265.4089 | 2487390.2013 | 1113262.2044
16 | 2487551.9115 | 1112969.0714 | 2487548.7576 | 1112968.1515 | 2487543.688 | 1112966.0109 | 2487538.9897 | 1112964.3082 | 2487533.5855 | 1112963.2856 | 2487522.1906 | 1112962.5301 | 2487513.9694 | 1112962.6622
17 | 2487201.333 | 1113216.0979 | 2487204.2652 | 1113206.8284 | 2487208.6103 | 1113193.3162 | 2487211.4648 | 1113184.2439
18 | 2487201.333 | 1113216.0979 | 2487198.5232 | 1113224.9807 | 2487198.0598 | 1113226.3995
19 | 2487211.4648 | 1113184.2439 | 2487214.0223 | 1113176.1151 | 2487218.5166 | 1113161.8997 | 2487221.3463 | 1113152.6575
20 | 2487191.2636 | 1113247.6241 | 2487193.999 | 1113238.8298 | 2487198.0598 | 1113226.3995
21 | 2487607.2265 | 1113637.2319 | 2487606.0211 | 1113650.808
22 | 2487526.5506 | 1113755.2861 | 2487528.6154 | 1113745.4301 | 2487528.6384 | 1113735.4453 | 2487528.8779 | 1113716.3282 | 2487529.2461 | 1113707.4599 | 2487530.2602 | 1113696.7673 | 2487531.5869 | 1113685.4351 | 2487533.1556 | 1113675.0658 | 2487535.3225 | 1113666.5421 | 2487538.3059 | 1113657.0582 | 2487541.6643 | 1113647.8008 | 2487547.9842 | 1113632.8624 | 2487551.5999 | 1113632.873 | 2487561.6972 | 1113632.8855 | 2487585.5604 | 1113634.9326 | 2487603.1532 | 1113636.7072 | 2487607.2265 | 1113637.2319
23 | 2487526.5506 | 1113755.2861 | 2487521.7563 | 1113748.8042 | 2487519.0288 | 1113742.9621 | 2487501.5476 | 1113716.4249 | 2487498.8185 | 1113710.9164 | 2487496.9772 | 1113707.4483 | 2487495.3944 | 1113704.5869 | 2487493.3978 | 1113701.4886 | 2487489.4671 | 1113694.924 | 2487488.4674 | 1113692.263 | 2487487.9605 | 1113689.515 | 2487487.5944 | 1113686.442 | 2487487.4624 | 1113682.2528 | 2487489.9667 | 1113653.2426 | 2487490.0362 | 1113650.3282 | 2487483.4686 | 1113632.8276 | 2487471.3166 | 1113647.7855 | 2487447.3072 | 1113674.4273 | 2487444.1297 | 1113677.6218 | 2487440.0467 | 1113679.8992 | 2487436.8833 | 1113681.359 | 2487433.3769 | 1113682.2359 | 2487429.9624 | 1113682.2438 | 2487427.0064 | 1113681.9763 | 2487423.7996 | 1113681.5246 | 2487419.9108 | 1113680.1182 | 2487415.3695 | 1113677.6899 | 2487412.6567 | 1113675.1386 | 2487410.3311 | 1113672.2133 | 2487408.2157 | 1113668.5502 | 2487405.7575 | 1113661.8248 | 2487405.1951 | 1113658.0764
24 | 2487405.1951 | 1113658.0764 | 2487404.6198 | 1113654.2409 | 2487404.0189 | 1113641.0806
25 | 2487561.5973 | 1112967.6683 | 2487557.4531 | 1112968.7571 | 2487551.9115 | 1112969.0714
26 | 2487561.5973 | 1112967.6683 | 2487564.5497 | 1112974.3735 | 2487565.6695 | 1112976.2854
27 | 2487561.5973 | 1112967.6683 | 2487578.9743 | 1112961.4638 | 2487589.0528 | 1112959.9868 | 2487593.4131 | 1112960.1282 | 2487598.762 | 1112961.0851 | 2487600.0741 | 1112961.4441
28 | 2487342.2462 | 1113341.0265 | 2487341.9458 | 1113345.2238 | 2487342.0132 | 1113348.0133 | 2487342.2029 | 1113350.7338 | 2487345.2933 | 1113367.1792
29 | 2487352.8586 | 1113404.7825 | 2487349.7235 | 1113390.7538 | 2487345.2933 | 1113367.1792
30 | 2487342.2462 | 1113341.0265 | 2487343.0863 | 1113338.8428 | 2487344.2235 | 1113337.265 | 2487345.7427 | 1113335.8692 | 2487349.0889 | 1113333.4275 | 2487354.06 | 1113329.9453
31 | 2487342.2462 | 1113341.0265 | 2487330.6923 | 1113345.8002 | 2487319.2225 | 1113353.8412 | 2487305.0039 | 1113363.8121
32 | 2487352.8586 | 1113404.7825 | 2487338.6381 | 1113406.993
33 | 2487356.9467 | 1113423.1075 | 2487352.8586 | 1113404.7825
34 | 2487354.06 | 1113329.9453 | 2487354.5244 | 1113329.6201
35 | 2487356.9467 | 1113423.1075 | 2487358.9073 | 1113435.4681 | 2487362.0323 | 1113455.1786 | 2487362.9248 | 1113463.2785 | 2487363.6225 | 1113469.6009
36 | 2487378.8064 | 1113310.8152 | 2487372.595 | 1113316.6346 | 2487365.8516 | 1113321.6856 | 2487354.5244 | 1113329.6201
37 | 2487363.6225 | 1113469.6009 | 2487368.624 | 1113514.9218
38 | 2487392.2695 | 1113275.3635 | 2487380.6286 | 1113282.5292 | 2487377.3491 | 1113277.6935
39 | 2487392.2695 | 1113275.3635 | 2487391.4977 | 1113282.8829 | 2487390.4084 | 1113288.6959 | 2487388.5476 | 1113294.5677 | 2487386.5174 | 1113299.6422 | 2487383.7965 | 1113304.963 | 2487378.8064 | 1113310.8152
40 | 2487578.2416 | 1113000.5244 | 2487576.9292 | 1112997.7703 | 2487573.1233 | 1112989.6245 | 2487570.3667 | 1112984.3054 | 2487565.6695 | 1112976.2854
41 | 2487767.0764 | 1112993.4624 | 2487762.3498 | 1112993.5612 | 2487759.012 | 1112993.5564 | 2487753.2433 | 1112992.874 | 2487745.4663 | 1112991.3839 | 2487703.5389 | 1112980.7097 | 2487685.2021 | 1112977.2475 | 2487643.9078 | 1112970.309 | 2487619.9747 | 1112965.8835 | 2487608.4149 | 1112963.7299 | 2487603.3282 | 1112962.3345 | 2487600.0741 | 1112961.4441
42 | 2487421.769 | 1113441.6875 | 2487418.228 | 1113422.7564 | 2487415.5028 | 1113410.8214 | 2487412.8476 | 1113400.1526 | 2487410.669 | 1113393.1641
43 | 2487424.5739 | 1113474.8286 | 2487423.4273 | 1113459.7065 | 2487421.9771 | 1113442.8 | 2487421.769 | 1113441.6875
44 | 2487636.6504 | 1113075.5901 | 2487632.68 | 1113071.3287 | 2487620.1507 | 1113055.2395 | 2487599.5711 | 1113031.6836 | 2487594.48 | 1113025.8854 | 2487588.5217 | 1113018.3243 | 2487584.8047 | 1113012.8786 | 2487580.9731 | 1113006.2564 | 2487578.2416 | 1113000.5244
45 | 2487758.3013 | 1113007.7234 | 2487760.7682 | 1113004.0975 | 2487764.083 | 1112999.1106 | 2487767.0764 | 1112993.4624
46 | 2487767.0764 | 1112993.4624 | 2487774.5685 | 1112991.6668 | 2487784.4004 | 1112986.8926 | 2487795.3337 | 1112980.2634 | 2487799.9474 | 1112975.7415 | 2487800.8163 | 1112974.7695
47 | 2487758.3013 | 1113007.7234 | 2487759.2582 | 1113013.0759 | 2487761.5785 | 1113018.6255 | 2487766.7714 | 1113028.6692 | 2487771.8279 | 1113038.4486 | 2487774.3156 | 1113043.2531
48 | 2487821.2206 | 1112944.6379 | 2487805.1323 | 1112969.9416 | 2487800.8163 | 1112974.7695
49 | 2487845.809 | 1112969.8325 | 2487839.3617 | 1112961.3018 | 2487834.162 | 1112955.8834 | 2487830.8559 | 1112953.0094 | 2487821.2206 | 1112944.6379
50 | 2487845.809 | 1112969.8325 | 2487852.51 | 1112980.382 | 2487872.7921 | 1113015.5145
51 | 2487914.309 | 1113086.1634 | 2487872.9849 | 1113015.8486 | 2487872.7921 | 1113015.5145
52 | 2487850.3006 | 1113137.5604 | 2487869.6619 | 1113121.7136 | 2487889.5423 | 1113106.7689 | 2487909.793 | 1113089.7049 | 2487911.5199 | 1113088.2498 | 2487914.309 | 1113086.1634
53 | 2487850.3006 | 1113137.5604 | 2487854.2506 | 1113143.0909 | 2487864.6177 | 1113155.5294 | 2487875.1385 | 1113166.2639 | 2487883.2359 | 1113174.2192 | 2487894.4565 | 1113184.774 | 2487906.0446 | 1113195.1553 | 2487912.9671 | 1113200.9977 | 2487915.3039 | 1113202.4442 | 2487918.3405 | 1113203.7111 | 2487921.1001 | 1113204.2048 | 2487925.2396 | 1113204.9509 | 2487929.3943 | 1113205.6856 | 2487931.9143 | 1113206.5951 | 2487933.6844 | 1113207.474 | 2487935.6173 | 1113208.8058 | 2487938.8027 | 1113211.015 | 2487939.6676 | 1113211.7703
54 | 2487424.5739 | 1113474.8286 | 2487424.9234 | 1113485.1066
55 | 2487424.9234 | 1113485.1066 | 2487425.0717 | 1113489.4666
56 | 2487424.8776 | 1113511.5638 | 2487425.0975 | 1113507.5405 | 2487425.3414 | 1113497.3959 | 2487425.0717 | 1113489.4666
57 | 2487459.1617 | 1113556.974 | 2487458.4764 | 1113558.8652 | 2487455.9003 | 1113565.7399 | 2487453.4897 | 1113570.7102 | 2487450.9105 | 1113575.339 | 2487447.9377 | 1113579.5748 | 2487444.5224 | 1113584.108 | 2487442.4421 | 1113586.3018
58 | 2487422.4726 | 1113605.3376 | 2487439.7035 | 1113589.1898 | 2487442.4421 | 1113586.3018
59 | 2487402.6368 | 1113620.333 | 2487413.9934 | 1113613.2838 | 2487422.4726 | 1113605.3376
60 | 2487402.6368 | 1113620.333 | 2487399.404 | 1113608.93 | 2487394.0414 | 1113595.2021
61 | 2487402.6368 | 1113620.333 | 2487403.3665 | 1113625.0893 | 2487403.5505 | 1113630.823 | 2487403.6299 | 1113632.5617
62 | 2487441.6794 | 1113529.5374 | 2487448.1852 | 1113528.0916 | 2487456.0461 | 1113525.3993 | 2487461.7276 | 1113522.2471 | 2487462.924 | 1113521.3582
63 | 2487441.6794 | 1113529.5374 | 2487438.0834 | 1113530.3365 | 2487434.2776 | 1113530.9076 | 2487431.3618 | 1113531.1509 | 2487427.6078 | 1113531.0428
64 | 2487420.3206 | 1113529.4105 | 2487422.4993 | 1113524.022 | 2487424.0048 | 1113518.5682 | 2487424.7575 | 1113513.7621 | 2487424.8776 | 1113511.5638
65 | 2487420.3206 | 1113529.4105 | 2487418.4146 | 1113532.0255 | 2487415.9521 | 1113534.2061 | 2487414.7762 | 1113534.9613
66 | 2487420.3206 | 1113529.4105 | 2487426.6699 | 1113531.0158 | 2487427.6078 | 1113531.0428
67 | 2487373.4313 | 1113545.8601 | 2487377.2606 | 1113544.8883 | 2487409.0608 | 1113537.1028 | 2487412.9748 | 1113536.1182 | 2487414.7762 | 1113534.9613
68 | 2487373.4313 | 1113545.8601 | 2487370.7309 | 1113534.0136 | 2487368.624 | 1113514.9218
69 | 2487373.4313 | 1113545.8601 | 2487377.6434 | 1113557.5673 | 2487383.9447 | 1113571.4026
70 | 2487373.4313 | 1113545.8601 | 2487369.0173 | 1113545.7088 | 2487365.9426 | 1113545.2991 | 2487363.3729 | 1113544.6242 | 2487361.2219 | 1113543.6191 | 2487358.2141 | 1113541.8183 | 2487351.5471 | 1113536.0163 | 2487345.6494 | 1113531.035
71 | 2487403.6299 | 1113632.5617 | 2487404.0189 | 1113641.0806
72 | 2487394.0414 | 1113595.2021 | 2487389.5642 | 1113583.7408 | 2487383.9447 | 1113571.4026

## bus_geodata
| x | y | coords
0 | 2487247.2429 | 1113067.1977
1 | 2487255.4401 | 1113041.1364
2 | 2487238.6733 | 1113095.9472
3 | 2487265.7347 | 1113013.3329
4 | 2487234.6787 | 1113110.0309
5 | 2487301.0062 | 1112984.2792
6 | 2487231.323 | 1113120.9407
7 | 2487314.5167 | 1112979.5691
8 | 2487431.3501 | 1112949.9209
9 | 2487321.9726 | 1112981.223
10 | 2487435.3641 | 1112936.0148
11 | 2487462.5746 | 1112969.9983
12 | 2487472.9544 | 1112969.7719
13 | 2487390.2013 | 1113262.2044
14 | 2487513.9694 | 1112962.6622
15 | 2487201.333 | 1113216.0979
16 | 2487211.4648 | 1113184.2439
17 | 2487198.0598 | 1113226.3995
18 | 2487221.3463 | 1113152.6575
19 | 2487191.2636 | 1113247.6241
20 | 2487606.0211 | 1113650.808
21 | 2487607.2265 | 1113637.2319
22 | 2487526.5506 | 1113755.2861
23 | 2487405.1951 | 1113658.0764
24 | 2487551.9115 | 1112969.0714
25 | 2487561.5973 | 1112967.6683
26 | 2487345.2933 | 1113367.1792
27 | 2487342.2462 | 1113341.0265
28 | 2487352.8586 | 1113404.7825
29 | 2487354.06 | 1113329.9453
30 | 2487305.0039 | 1113363.8121
31 | 2487338.6381 | 1113406.993
32 | 2487356.9467 | 1113423.1075
33 | 2487354.5244 | 1113329.6201
34 | 2487363.6225 | 1113469.6009
35 | 2487377.3491 | 1113277.6935
36 | 2487392.2695 | 1113275.3635
37 | 2487378.8064 | 1113310.8152
38 | 2487565.6695 | 1112976.2854
39 | 2487600.0741 | 1112961.4441
40 | 2487410.669 | 1113393.1641
41 | 2487421.769 | 1113441.6875
42 | 2487636.6504 | 1113075.5901
43 | 2487578.2416 | 1113000.5244
44 | 2487767.0764 | 1112993.4624
45 | 2487758.3013 | 1113007.7234
46 | 2487800.8163 | 1112974.7695
47 | 2487774.3156 | 1113043.2531
48 | 2487821.2206 | 1112944.6379
49 | 2487845.809 | 1112969.8325
50 | 2487872.7921 | 1113015.5145
51 | 2487914.309 | 1113086.1634
52 | 2487850.3006 | 1113137.5604
53 | 2487939.6676 | 1113211.7703
54 | 2487424.5739 | 1113474.8286
55 | 2487424.9234 | 1113485.1066
56 | 2487425.0717 | 1113489.4666
57 | 2487459.1617 | 1113556.974
58 | 2487442.4421 | 1113586.3018
59 | 2487422.4726 | 1113605.3376
60 | 2487402.6368 | 1113620.333
61 | 2487462.924 | 1113521.3582
62 | 2487441.6794 | 1113529.5374
63 | 2487424.8776 | 1113511.5638
64 | 2487420.3206 | 1113529.4105
65 | 2487414.7762 | 1113534.9613
66 | 2487427.6078 | 1113531.0428
67 | 2487373.4313 | 1113545.8601
68 | 2487403.6299 | 1113632.5617
69 | 2487404.0189 | 1113641.0806
70 | 2487394.0414 | 1113595.2021
71 | 2487383.9447 | 1113571.4026
72 | 2487368.624 | 1113514.9218
73 | 2487345.6494 | 1113531.035
74 | 2487636.6504 | 1113075.5901

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1