## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6610-1_3_2_node_21 | 0.4 | n |  | TRUE
1 | bus_LV_6610-1_3_2_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_6610-1_3_2_node_23 | 0.4 | n |  | TRUE
3 | bus_LV_6610-1_3_2_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_6610-1_3_2_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_6610-1_3_2_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_6610-1_3_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_6610-1_3_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_6610-1_3_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_6610-1_3_2_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_6610-1_3_2_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_6610-1_3_2_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_6610-1_3_2_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_6610-1_3_2_node_119 | 0.4 | n |  | TRUE
14 | bus_LV_6610-1_3_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_6610-1_3_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_6610-1_3_2_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_6610-1_3_2_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_6610-1_3_2_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_6610-1_3_2_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_6610-1_3_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_6610-1_3_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_6610-1_3_2_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_6610-1_3_2_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_6610-1_3_2_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_6610-1_3_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_6610-1_3_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6610-1_3_2_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_6610-1_3_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_6610-1_3_2_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_6610-1_3_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_6610-1_3_2_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_6610-1_3_2_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_6610-1_3_2_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_6610-1_3_2_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_6610-1_3_2_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_6610-1_3_2_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_6610-1_3_2_node_120 | 0.4 | n |  | TRUE
38 | bus_LV_6610-1_3_2_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_6610-1_3_2_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_6610-1_3_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_6610-1_3_2_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_6610-1_3_2_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_6610-1_3_2_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_6610-1_3_2_node_90 | 0.4 | n |  | TRUE
45 | bus_LV_6610-1_3_2_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_6610-1_3_2_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_6610-1_3_2_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_6610-1_3_2_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_6610-1_3_2_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_6610-1_3_2_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_6610-1_3_2_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_6610-1_3_2_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_6610-1_3_2_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_6610-1_3_2_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_6610-1_3_2_node_221 | 0.4 | n |  | TRUE
56 | bus_LV_6610-1_3_2_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_6610-1_3_2_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_6610-1_3_2_node_222 | 0.4 | n |  | TRUE
59 | bus_LV_6610-1_3_2_node_220 | 0.4 | n |  | TRUE
60 | bus_LV_6610-1_3_2_node_267 | 0.4 | n |  | TRUE
61 | bus_LV_6610-1_3_2_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_6610-1_3_2_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_6610-1_3_2_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_6610-1_3_2_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_6610-1_3_2_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_6610-1_3_2_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_6610-1_3_2_node_122 | 0.4 | n |  | TRUE
68 | bus_LV_6610-1_3_2_node_121 | 0.4 | n |  | TRUE
69 | bus_LV_6610-1_3_2_node_148 | 0.4 | n |  | TRUE
70 | bus_LV_6610-1_3_2_node_130 | 0.4 | n |  | TRUE
71 | bus_LV_6610-1_3_2_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_6610-1_3_2_node_128 | 0.4 | n |  | TRUE
73 | bus_LV_6610-1_3_2_node_127 | 0.4 | n |  | TRUE
74 | bus_LV_6610-1_3_2_node_129 | 0.4 | n |  | TRUE
75 | bus_LV_6610-1_3_2_node_149 | 0.4 | n |  | TRUE
76 | bus_LV_6610-1_3_2_node_150 | 0.4 | n |  | TRUE
77 | bus_LV_6610-1_3_2_node_154 | 0.4 | n |  | TRUE
78 | bus_LV_6610-1_3_2_node_151 | 0.4 | n |  | TRUE
79 | bus_LV_6610-1_3_2_node_152 | 0.4 | n |  | TRUE
80 | bus_LV_6610-1_3_2_node_153 | 0.4 | n |  | TRUE
81 | bus_LV_6610-1_3_2_node_171 | 0.4 | n |  | TRUE
82 | bus_LV_6610-1_3_2_node_172 | 0.4 | n |  | TRUE
83 | bus_LV_6610-1_3_2_node_225 | 0.4 | n |  | TRUE
84 | bus_LV_6610-1_3_2_node_200 | 0.4 | n |  | TRUE
85 | bus_LV_6610-1_3_2_node_199 | 0.4 | n |  | TRUE
86 | bus_LV_6610-1_3_2_node_201 | 0.4 | n |  | TRUE
87 | bus_LV_6610-1_3_2_node_202 | 0.4 | n |  | TRUE
88 | bus_LV_6610-1_3_2_node_203 | 0.4 | n |  | TRUE
89 | bus_LV_6610-1_3_2_node_219 | 0.4 | n |  | TRUE
90 | bus_LV_6610-1_3_2_node_223 | 0.4 | n |  | TRUE
91 | bus_LV_6610-1_3_2_node_232 | 0.4 | n |  | TRUE
92 | bus_LV_6610-1_3_2_node_224 | 0.4 | n |  | TRUE
93 | bus_LV_6610-1_3_2_node_227 | 0.4 | n |  | TRUE
94 | bus_LV_6610-1_3_2_node_254 | 0.4 | n |  | TRUE
95 | bus_LV_6610-1_3_2_node_233 | 0.4 | n |  | TRUE
96 | bus_LV_6610-1_3_2_node_234 | 0.4 | n |  | TRUE
97 | bus_LV_6610-1_3_2_node_235 | 0.4 | n |  | TRUE
98 | bus_LV_6610-1_3_2_node_236 | 0.4 | n |  | TRUE
99 | bus_LV_6610-1_3_2_node_255 | 0.4 | n |  | TRUE
100 | bus_LV_6610-1_3_2_node_256 | 0.4 | n |  | TRUE
101 | bus_MV_453_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6610-1_3_2_load_21 | 0 | 0.00091527 | 0.00022939 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6610-1_3_2_load_22 | 1 | 0.00028155 | 7.0563e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6610-1_3_2_load_24 | 3 | 0.00038868 | 9.7413e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6610-1_3_2_load_25 | 4 | 0.00025013 | 6.2689e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6610-1_3_2_load_31 | 5 | 0.00020585 | 5.1592e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6610-1_3_2_load_32 | 6 | 0.00020515 | 5.1417e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6610-1_3_2_load_51 | 9 | 0.0001633 | 4.0926e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6610-1_3_2_load_79 | 10 | 0.00091696 | 0.00022981 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6610-1_3_2_load_71 | 16 | 0.00024276 | 6.084e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6610-1_3_2_load_64 | 17 | 0.00018295 | 4.5852e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6610-1_3_2_load_41 | 18 | 0.0011399 | 0.00028568 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6610-1_3_2_load_42 | 19 | 0.00086942 | 0.0002179 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6610-1_3_2_load_43 | 20 | 9.0096e-05 | 2.258e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6610-1_3_2_load_45 | 22 | 8.2968e-05 | 2.0794e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6610-1_3_2_load_46 | 23 | 0.00055 | 0.00013784 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6610-1_3_2_load_50 | 24 | 0.0011869 | 0.00029746 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6610-1_3_2_load_55 | 25 | 0.00047616 | 0.00011934 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6610-1_3_2_load_96 | 27 | 0.00021241 | 5.3235e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6610-1_3_2_load_95 | 29 | 0.00025676 | 6.4349e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6610-1_3_2_load_57 | 31 | 0.00034513 | 8.6497e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6610-1_3_2_load_56 | 32 | 0.00029664 | 7.4346e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6610-1_3_2_load_80 | 33 | 0.00087621 | 0.0002196 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6610-1_3_2_load_61 | 34 | 0.00011119 | 2.7868e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6610-1_3_2_load_62 | 35 | 0.0003689 | 9.2454e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6610-1_3_2_load_63 | 36 | 0.00021644 | 5.4244e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6610-1_3_2_load_120 | 37 | 0.0016664 | 0.00041763 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6610-1_3_2_load_82 | 38 | 0.0001898 | 4.7568e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6610-1_3_2_load_84 | 39 | 0.00035727 | 8.9539e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6610-1_3_2_load_87 | 40 | 0.00024935 | 6.2494e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6610-1_3_2_load_92 | 41 | 0.00031636 | 7.9287e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6610-1_3_2_load_88 | 42 | 0.00055315 | 0.00013863 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6610-1_3_2_load_89 | 43 | 0.00020399 | 5.1125e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6610-1_3_2_load_90 | 44 | 0.00036761 | 9.2132e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6610-1_3_2_load_94 | 46 | 0.00051326 | 0.00012864 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6610-1_3_2_load_100 | 48 | 0.015265 | 0.0038258 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6610-1_3_2_load_101 | 49 | 0.0058619 | 0.0014691 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6610-1_3_2_load_97 | 50 | 0.0004509 | 0.00011301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6610-1_3_2_load_98 | 51 | 0.00098313 | 0.00024639 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6610-1_3_2_load_102 | 53 | 0.0044694 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6610-1_3_2_load_103 | 54 | 0.0027352 | 0.00068551 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6610-1_3_2_load_105 | 57 | 0.00019236 | 4.8211e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6610-1_3_2_load_267 | 60 | 0.0062766 | 0.0015731 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6610-1_3_2_load_113 | 61 | 0.00090541 | 0.00022692 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6610-1_3_2_load_114 | 62 | 0.00065472 | 0.00016409 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6610-1_3_2_load_116 | 64 | 0.0012083 | 0.00030284 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6610-1_3_2_load_117 | 65 | 0.0014949 | 0.00037465 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6610-1_3_2_load_118 | 66 | 0.00063317 | 0.00015869 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6610-1_3_2_load_122 | 67 | 0.00075698 | 0.00018972 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6610-1_3_2_load_130 | 70 | 0.0006498 | 0.00016285 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6610-1_3_2_load_123 | 71 | 0.00024558 | 6.1547e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6610-1_3_2_load_128 | 72 | 0.0013075 | 0.00032768 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6610-1_3_2_load_127 | 73 | 0.00072651 | 0.00018208 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6610-1_3_2_load_129 | 74 | 0.0023641 | 0.00059249 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6610-1_3_2_load_149 | 75 | 0.00094857 | 0.00023773 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6610-1_3_2_load_150 | 76 | 0.00058981 | 0.00014782 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6610-1_3_2_load_154 | 77 | 0.0013064 | 0.00032741 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6610-1_3_2_load_151 | 78 | 0.00032062 | 8.0355e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6610-1_3_2_load_152 | 79 | 0.00081287 | 0.00020372 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6610-1_3_2_load_153 | 80 | 0.00052008 | 0.00013034 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6610-1_3_2_load_225 | 83 | 0.0026819 | 0.00067215 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6610-1_3_2_load_200 | 84 | 0.0004646 | 0.00011644 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6610-1_3_2_load_199 | 85 | 0.00099398 | 0.00024912 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6610-1_3_2_load_201 | 86 | 0.0019338 | 0.00048466 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6610-1_3_2_load_202 | 87 | 0.0013234 | 0.00033167 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6610-1_3_2_load_203 | 88 | 0.0017266 | 0.00043274 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6610-1_3_2_load_219 | 89 | 0.0029585 | 0.00074147 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6610-1_3_2_load_232 | 91 | 0.00036635 | 9.1816e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6610-1_3_2_load_227 | 93 | 0.0021671 | 0.00054313 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6610-1_3_2_load_254 | 94 | 0.0056774 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6610-1_3_2_load_233 | 95 | 0.00021003 | 5.2638e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6610-1_3_2_load_235 | 97 | 0.00081352 | 0.00020389 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6610-1_3_2_load_236 | 98 | 0.00018418 | 4.616e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6610-1_3_2_load_256 | 100 | 0.0059973 | 0.0015031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6610-1_3_2_line_0 |  | 0 | 1 | 0.030403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6610-1_3_2_line_1 |  | 0 | 2 | 0.055983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6610-1_3_2_line_2 |  | 1 | 3 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6610-1_3_2_line_3 |  | 2 | 4 | 0.0054112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6610-1_3_2_line_4 |  | 3 | 5 | 0.0056062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6610-1_3_2_line_5 |  | 4 | 6 | 0.013346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6610-1_3_2_line_6 |  | 5 | 9 | 0.0029456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6610-1_3_2_line_7 |  | 6 | 15 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6610-1_3_2_line_8 |  | 7 | 8 | 0.006954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6610-1_3_2_line_9 |  | 7 | 9 | 0.038707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6610-1_3_2_line_10 |  | 8 | 10 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6610-1_3_2_line_11 |  | 8 | 11 | 0.1977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6610-1_3_2_line_12 |  | 11 | 37 | 0.10618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6610-1_3_2_line_13 |  | 12 | 13 | 0.12985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6610-1_3_2_line_14 |  | 12 | 14 | 0.018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6610-1_3_2_line_15 |  | 13 | 65 | 0.20182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6610-1_3_2_line_16 |  | 14 | 17 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6610-1_3_2_line_17 |  | 14 | 16 | 0.048052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6610-1_3_2_line_18 |  | 15 | 16 | 0.034785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6610-1_3_2_line_19 |  | 17 | 36 | 0.050305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6610-1_3_2_line_20 |  | 18 | 19 | 0.075994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6610-1_3_2_line_21 |  | 18 | 20 | 0.080971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6610-1_3_2_line_22 |  | 19 | 21 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6610-1_3_2_line_23 |  | 20 | 22 | 0.00093922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6610-1_3_2_line_24 |  | 21 | 23 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6610-1_3_2_line_25 |  | 22 | 24 | 0.047865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6610-1_3_2_line_26 |  | 23 | 25 | 0.050485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6610-1_3_2_line_27 |  | 24 | 32 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6610-1_3_2_line_28 |  | 25 | 28 | 0.024441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6610-1_3_2_line_29 |  | 26 | 27 | 0.00481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6610-1_3_2_line_30 |  | 26 | 28 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6610-1_3_2_line_31 |  | 26 | 29 | 0.023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6610-1_3_2_line_32 |  | 28 | 33 | 0.002978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6610-1_3_2_line_33 |  | 30 | 31 | 0.027891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6610-1_3_2_line_34 |  | 30 | 32 | 0.014937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6610-1_3_2_line_35 |  | 31 | 34 | 0.0091317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6610-1_3_2_line_36 |  | 34 | 35 | 0.019866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6610-1_3_2_line_37 |  | 35 | 36 | 0.071555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6610-1_3_2_line_38 |  | 38 | 39 | 0.011494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6610-1_3_2_line_39 |  | 39 | 40 | 0.0087563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6610-1_3_2_line_40 |  | 40 | 41 | 0.032954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6610-1_3_2_line_41 |  | 41 | 44 | 0.048666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6610-1_3_2_line_42 |  | 42 | 43 | 0.0020101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6610-1_3_2_line_43 |  | 42 | 44 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6610-1_3_2_line_44 |  | 43 | 45 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6610-1_3_2_line_45 |  | 45 | 46 | 0.0018679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6610-1_3_2_line_46 |  | 46 | 50 | 0.0069274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6610-1_3_2_line_47 |  | 47 | 48 | 0.019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6610-1_3_2_line_48 |  | 47 | 49 | 0.050098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6610-1_3_2_line_49 |  | 49 | 55 | 0.0328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6610-1_3_2_line_50 |  | 50 | 51 | 0.06112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6610-1_3_2_line_51 |  | 51 | 52 | 0.10422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6610-1_3_2_line_52 |  | 52 | 53 | 0.058045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6610-1_3_2_line_53 |  | 52 | 54 | 0.080792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6610-1_3_2_line_54 |  | 53 | 56 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6610-1_3_2_line_55 |  | 54 | 57 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6610-1_3_2_line_56 |  | 55 | 90 | 0.043978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6610-1_3_2_line_57 |  | 55 | 59 | 0.076273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6610-1_3_2_line_58 |  | 56 | 58 | 0.052329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6610-1_3_2_line_59 |  | 56 | 59 | 0.009468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6610-1_3_2_line_60 |  | 57 | 60 | 0.010667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6610-1_3_2_line_61 |  | 58 | 91 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6610-1_3_2_line_62 |  | 59 | 89 | 0.023032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6610-1_3_2_line_63 |  | 60 | 77 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6610-1_3_2_line_64 |  | 61 | 62 | 0.007831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6610-1_3_2_line_65 |  | 61 | 63 | 0.14714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6610-1_3_2_line_66 |  | 63 | 64 | 0.044463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6610-1_3_2_line_67 |  | 63 | 65 | 0.042888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6610-1_3_2_line_68 |  | 64 | 66 | 0.031548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6610-1_3_2_line_69 |  | 66 | 67 | 0.00029855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6610-1_3_2_line_70 |  | 67 | 71 | 0.050755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6610-1_3_2_line_71 |  | 68 | 69 | 0.12411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6610-1_3_2_line_72 |  | 68 | 70 | 0.14668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6610-1_3_2_line_73 |  | 69 | 75 | 0.16315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6610-1_3_2_line_74 |  | 69 | 76 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6610-1_3_2_line_75 |  | 70 | 74 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6610-1_3_2_line_76 |  | 71 | 72 | 0.058109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6610-1_3_2_line_77 |  | 72 | 73 | 0.014996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6610-1_3_2_line_78 |  | 73 | 74 | 0.040285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6610-1_3_2_line_79 |  | 75 | 77 | 0.0014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6610-1_3_2_line_80 |  | 76 | 78 | 0.0097817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6610-1_3_2_line_81 |  | 78 | 79 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6610-1_3_2_line_82 |  | 79 | 80 | 0.07239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6610-1_3_2_line_83 |  | 81 | 82 | 0.043007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6610-1_3_2_line_84 |  | 81 | 83 | 0.058911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6610-1_3_2_line_85 |  | 82 | 84 | 0.020659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6610-1_3_2_line_86 |  | 83 | 90 | 0.032513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6610-1_3_2_line_87 |  | 84 | 85 | 0.017293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6610-1_3_2_line_88 |  | 85 | 86 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6610-1_3_2_line_89 |  | 86 | 87 | 0.0077624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6610-1_3_2_line_90 |  | 87 | 88 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6610-1_3_2_line_91 |  | 90 | 92 | 0.009294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6610-1_3_2_line_92 |  | 91 | 95 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6610-1_3_2_line_93 |  | 92 | 93 | 0.00028657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6610-1_3_2_line_94 |  | 93 | 94 | 0.022349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6610-1_3_2_line_95 |  | 94 | 99 | 0.010537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6610-1_3_2_line_96 |  | 95 | 96 | 0.031552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6610-1_3_2_line_97 |  | 96 | 97 | 0.0051417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6610-1_3_2_line_98 |  | 96 | 98 | 0.047065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6610-1_3_2_line_99 |  | 99 | 100 | 0.005481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6610-1_3_2_trafo_103 | 0.63 MVA 20/0.4 kV | 101 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2505028.1883 | 1132907.6346 | 2505032.0364 | 1132918.9163 | 2505037.32 | 1132936.6276
1 | 2505051.187 | 1132990.8476 | 2505049.8475 | 1132984.0201 | 2505039.8404 | 1132945.0761 | 2505037.32 | 1132936.6276
2 | 2505024.0384 | 1132895.5172 | 2505024.2058 | 1132895.9589 | 2505028.1883 | 1132907.6346
3 | 2505051.187 | 1132990.8476 | 2505052.2642 | 1132996.1505
4 | 2505024.0384 | 1132895.5172 | 2505022.0516 | 1132890.275
5 | 2505054.9209 | 1133009.2296 | 2505052.2642 | 1132996.1505
6 | 2505022.0516 | 1132890.275 | 2505021.0076 | 1132887.5206
7 | 2505060.5271 | 1133036.8287 | 2505054.9209 | 1133009.2296
8 | 2505003.5729 | 1132845.3306 | 2505006.1694 | 1132851.7825
9 | 2505006.1694 | 1132851.7825 | 2505016.0755 | 1132874.5071 | 2505021.0076 | 1132887.5206
10 | 2505003.5729 | 1132845.3306 | 2505015.4383 | 1132844.321
11 | 2504911.2601 | 1132683.4636 | 2504916.4712 | 1132680.891 | 2504921.4668 | 1132678.3219 | 2504932.5957 | 1132700.4267 | 2504950.9685 | 1132737.0596 | 2504971.421 | 1132777.6511 | 2504979.169 | 1132789.4808 | 2505003.5729 | 1132845.3306
12 | 2504911.2601 | 1132683.4636 | 2504918.9817 | 1132698.9736 | 2504934.851 | 1132730.654 | 2504958.6173 | 1132778.5002
13 | 2504965.7209 | 1133202.155 | 2504974.9459 | 1133198.2963 | 2504981.0618 | 1133195.0202 | 2504987.4374 | 1133191.1286 | 2504996.8262 | 1133184.9548 | 2505006.9489 | 1133177.4686 | 2505013.4054 | 1133172.3527 | 2505018.2468 | 1133167.8405 | 2505024.0287 | 1133160.4672 | 2505028.816 | 1133153.4987 | 2505037.6897 | 1133139.0614 | 2505042.7173 | 1133131.7 | 2505047.4831 | 1133125.8103 | 2505050.3668 | 1133122.6408 | 2505053.8905 | 1133119.0387 | 2505056.5298 | 1133116.9737 | 2505059.1788 | 1133115.52
14 | 2505059.1788 | 1133115.52 | 2505066.2063 | 1133113.4082 | 2505070.9319 | 1133114.2566 | 2505075.3157 | 1133118.3345
15 | 2504965.7209 | 1133202.155 | 2504961.8776 | 1133196.2231 | 2504956.3587 | 1133189.0056 | 2504940.5457 | 1133166.1852 | 2504930.5892 | 1133151.4887 | 2504925.7164 | 1133144.2388 | 2504920.3584 | 1133136.9743 | 2504915.1717 | 1133130.3298 | 2504911.719 | 1133126.215 | 2504907.5121 | 1133121.6452 | 2504901.1281 | 1133115.2419 | 2504896.2814 | 1133110.6266 | 2504891.4516 | 1133106.5891 | 2504885.172 | 1133101.4405 | 2504878.0117 | 1133096.1057 | 2504871.6039 | 1133091.6151 | 2504864.9015 | 1133086.9957 | 2504859.1291 | 1133082.7619 | 2504854.7709 | 1133079.3397 | 2504850.4188 | 1133075.8172 | 2504846.6514 | 1133072.2634 | 2504843.0584 | 1133068.54 | 2504839.5217 | 1133064.4822 | 2504836.3734 | 1133060.6406 | 2504833.29 | 1133056.52 | 2504831.5868 | 1133053.8287
16 | 2505075.3157 | 1133118.3345 | 2505078.2429 | 1133134.595
17 | 2505075.3157 | 1133118.3345 | 2505072.7757 | 1133104.2103 | 2505066.8582 | 1133071.033
18 | 2505060.5271 | 1133036.8287 | 2505066.1632 | 1133067.1362 | 2505066.8582 | 1133071.033
19 | 2505087.1183 | 1133184.111 | 2505084.4704 | 1133169.1882 | 2505078.2429 | 1133134.595
20 | 2505152.69 | 1133544.4522 | 2505145.5532 | 1133507 | 2505139.185 | 1133469.7441 | 2505139.1723 | 1133469.6734
21 | 2505124.833 | 1133389.9822 | 2505129.3984 | 1133415.3759 | 2505139.1723 | 1133469.6734
22 | 2505157.6678 | 1133572.3382 | 2505154.8767 | 1133555.9276 | 2505152.69 | 1133544.4522
23 | 2505124.6668 | 1133389.0578 | 2505124.833 | 1133389.9822
24 | 2505157.6678 | 1133572.3382 | 2505159.772 | 1133583.5978
25 | 2505115.9178 | 1133341.9995 | 2505123.3232 | 1133381.5842 | 2505124.6668 | 1133389.0578
26 | 2505168.8269 | 1133633.2638 | 2505165.8721 | 1133616.6918 | 2505161.7283 | 1133594.0654 | 2505159.772 | 1133583.5978
27 | 2505115.9178 | 1133341.9995 | 2505112.7708 | 1133325.1771
28 | 2505173.117 | 1133657.3249 | 2505168.8269 | 1133633.2638
29 | 2505158.5196 | 1133669.0837 | 2505153.8416 | 1133670.2579
30 | 2505173.117 | 1133657.3249 | 2505167.1239 | 1133667.403 | 2505158.5196 | 1133669.0837
31 | 2505158.5196 | 1133669.0837 | 2505160.8828 | 1133681.2984 | 2505163.0685 | 1133691.7073
32 | 2505173.117 | 1133657.3249 | 2505176.0491 | 1133656.7562
33 | 2505110.024 | 1133310.4945 | 2505104.9481 | 1133283.0698
34 | 2505110.024 | 1133310.4945 | 2505112.7708 | 1133325.1771
35 | 2505103.2862 | 1133274.0906 | 2505104.9481 | 1133283.0698
36 | 2505103.2862 | 1133274.0906 | 2505099.6708 | 1133254.5563
37 | 2505087.1183 | 1133184.111 | 2505098.4028 | 1133247.7057 | 2505099.6708 | 1133254.5563
38 | 2504920.9767 | 1133865.7025 | 2504913.2041 | 1133857.2353
39 | 2504907.1637 | 1133850.8985 | 2504909.9864 | 1133853.73 | 2504913.2041 | 1133857.2353
40 | 2504907.1637 | 1133850.8985 | 2504884.508 | 1133828.1716 | 2504883.8753 | 1133827.5831
41 | 2504847.7842 | 1133794.9479 | 2504861.4736 | 1133806.7439 | 2504883.8753 | 1133827.5831
42 | 2504837.6018 | 1133786.1738 | 2504837.4886 | 1133786.0762 | 2504836.0076 | 1133784.95
43 | 2504847.7842 | 1133794.9479 | 2504837.6018 | 1133786.1738
44 | 2504824.0543 | 1133775.8597 | 2504836.0076 | 1133784.95
45 | 2504824.0543 | 1133775.8597 | 2504822.5427 | 1133774.7624
46 | 2504822.5427 | 1133774.7624 | 2504816.9367 | 1133770.6928
47 | 2504712.8663 | 1133841.1878 | 2504713.7412 | 1133842.4747 | 2504714.4996 | 1133845.1533 | 2504713.9758 | 1133849.5198 | 2504711.9958 | 1133853.8203 | 2504708.9205 | 1133858.4717
48 | 2504708.9205 | 1133858.4717 | 2504694.5008 | 1133848.7491 | 2504674.4623 | 1133835.2241 | 2504667.1979 | 1133830.7517
49 | 2504639.2667 | 1133813.5559 | 2504667.1979 | 1133830.7517
50 | 2504816.9367 | 1133770.6928 | 2504811.3283 | 1133766.6215 | 2504803.7946 | 1133761.9708 | 2504799.7558 | 1133759.7332 | 2504790.4192 | 1133754.9998 | 2504771.6842 | 1133747.4798 | 2504762.4247 | 1133743.5382
51 | 2504680.7593 | 1133684.6772 | 2504683.8876 | 1133691.1651 | 2504688.0575 | 1133698.2813 | 2504692.9708 | 1133705.1857 | 2504697.1586 | 1133709.5333 | 2504701.8449 | 1133714.2511 | 2504707.4203 | 1133718.7213 | 2504715.9195 | 1133724.0459 | 2504726.2677 | 1133728.4741 | 2504743.005 | 1133735.7587 | 2504759.1429 | 1133742.1412 | 2504762.4247 | 1133743.5382
52 | 2504680.7593 | 1133684.6772 | 2504673.4105 | 1133688.8181 | 2504684.0825 | 1133712.753 | 2504667.5502 | 1133720.8746 | 2504663.0294 | 1133722.9733
53 | 2504680.7593 | 1133684.6772 | 2504677.2939 | 1133675.8599 | 2504657.8953 | 1133627.8482 | 2504653.1835 | 1133615.1928 | 2504651.7288 | 1133609.3393
54 | 2504644.1121 | 1133731.4515 | 2504650.8885 | 1133728.6093 | 2504663.0294 | 1133722.9733
55 | 2504651.7288 | 1133609.3393 | 2504651.1772 | 1133607.1195 | 2504649.1319 | 1133598.0352 | 2504648.0291 | 1133591.6968
56 | 2504639.2667 | 1133813.5559 | 2504631.266 | 1133809.0796 | 2504626.1776 | 1133806.6808 | 2504621.215 | 1133804.936 | 2504616.2917 | 1133803.7353 | 2504611.7928 | 1133803.0727 | 2504607.4138 | 1133802.6972 | 2504602.6802 | 1133802.7721 | 2504597.4153 | 1133803.3335
57 | 2504639.2667 | 1133813.5559 | 2504645.7744 | 1133800.0559 | 2504649.4372 | 1133790.6812 | 2504650.8293 | 1133785.7229 | 2504651.8846 | 1133780.8921 | 2504652.389 | 1133776.7594 | 2504652.469 | 1133773.0559 | 2504652.4852 | 1133767.2632 | 2504651.9198 | 1133759.7453 | 2504650.247 | 1133751.3333 | 2504647.2483 | 1133740.3851
58 | 2504625.7984 | 1133682.4332 | 2504629.6029 | 1133693.213 | 2504631.9597 | 1133699.1127 | 2504638.0513 | 1133714.7926 | 2504643.1708 | 1133728.887 | 2504644.1121 | 1133731.4515
59 | 2504644.1121 | 1133731.4515 | 2504647.2483 | 1133740.3851
60 | 2504646.1735 | 1133581.192 | 2504646.8537 | 1133584.941 | 2504648.0291 | 1133591.6968
61 | 2504625.7984 | 1133682.4332 | 2504622.9763 | 1133674.3729 | 2504622.5572 | 1133672.9304
62 | 2504647.2483 | 1133740.3851 | 2504668.5078 | 1133731.5242
63 | 2504646.1735 | 1133581.192 | 2504643.0583 | 1133564.0215 | 2504643.0206 | 1133563.8114
64 | 2504771.4473 | 1132874.1039 | 2504770.7015 | 1132870.9721 | 2504769.5201 | 1132866.5144
65 | 2504814.2198 | 1133014.7176 | 2504805.3468 | 1132990.1537 | 2504795.1469 | 1132961.5416 | 2504791.873 | 1132951.6983 | 2504791.5253 | 1132950.6476 | 2504786.9805 | 1132935.8992 | 2504783.3721 | 1132923.8933 | 2504780.2103 | 1132910.913 | 2504774.4786 | 1132886.8333 | 2504771.4473 | 1132874.1039
66 | 2504814.2198 | 1133014.7176 | 2504808.6203 | 1133016.5626 | 2504774.0397 | 1133033.6399
67 | 2504814.2198 | 1133014.7176 | 2504819.0754 | 1133027.6933 | 2504821.5117 | 1133034.2367 | 2504823.5395 | 1133038.7963 | 2504827.6269 | 1133047.0147 | 2504830.6288 | 1133052.315 | 2504831.5868 | 1133053.8287
68 | 2504774.0397 | 1133033.6399 | 2504756.7117 | 1133042.1973 | 2504745.7529 | 1133047.6087
69 | 2504745.7529 | 1133047.6087 | 2504745.4852 | 1133047.7409
70 | 2504702.8813 | 1133074.8226 | 2504702.8813 | 1133074.8226 | 2504705.4008 | 1133072.0033 | 2504709.3111 | 1133069.0064 | 2504716.8515 | 1133063.7841 | 2504729.3823 | 1133055.6924 | 2504745.4852 | 1133047.7409
71 | 2504707.7198 | 1133306.4763 | 2504700.8169 | 1133313.5229 | 2504640.6444 | 1133379.2359 | 2504635.4908 | 1133385.3989 | 2504631.7556 | 1133390.6944 | 2504629.2907 | 1133395.4919 | 2504627.3528 | 1133400.5145
72 | 2504707.7198 | 1133306.4763 | 2504704.3816 | 1133300.3586 | 2504702.1718 | 1133295.9686 | 2504700.0965 | 1133288.886 | 2504694.9079 | 1133267.0212 | 2504692.4063 | 1133256.8434 | 2504689.7058 | 1133247.7139 | 2504687.9505 | 1133242.3717 | 2504685.7747 | 1133236.7248 | 2504683.5476 | 1133231.7347 | 2504681.0632 | 1133227.0266 | 2504678.1197 | 1133222.0145 | 2504668.4179 | 1133207.3922 | 2504668.41 | 1133207.3812 | 2504663.4491 | 1133199.4436 | 2504660.877 | 1133194.548 | 2504658.3891 | 1133188.1611 | 2504654.2326 | 1133175.0966 | 2504653.2812 | 1133171.5734
73 | 2504627.3528 | 1133400.5145 | 2504625.9771 | 1133407.9741 | 2504625.5524 | 1133415.1963 | 2504626.0523 | 1133423.4379 | 2504634.002 | 1133508.3974 | 2504637.1131 | 1133530.8286 | 2504642.7725 | 1133562.4261
74 | 2504627.3528 | 1133400.5145 | 2504619.6616 | 1133391.7863 | 2504613.813 | 1133385.202
75 | 2504653.2812 | 1133171.5734 | 2504650.4533 | 1133161.1012
76 | 2504702.8813 | 1133074.8226 | 2504700.4475 | 1133077.7072 | 2504697.6385 | 1133081.6984 | 2504690.3356 | 1133092.198 | 2504679.3058 | 1133108.0485 | 2504676.6111 | 1133111.4709 | 2504674.488 | 1133113.5502 | 2504673.0134 | 1133114.7631 | 2504669.7694 | 1133116.5599 | 2504665.8794 | 1133118.6355
77 | 2504652.6493 | 1133125.6959 | 2504664.8522 | 1133119.1836 | 2504665.8794 | 1133118.6355
78 | 2504652.6493 | 1133125.6959 | 2504651.7345 | 1133126.184 | 2504647.5585 | 1133128.9295 | 2504645.2235 | 1133130.7564 | 2504644.6062 | 1133132.1336 | 2504644.3131 | 1133134.0506 | 2504644.3184 | 1133136.8188 | 2504644.729 | 1133139.9031 | 2504650.4533 | 1133161.1012
79 | 2504642.7725 | 1133562.4261 | 2504643.0206 | 1133563.8114
80 | 2504613.813 | 1133385.202 | 2504607.3168 | 1133377.8888
81 | 2504597.6164 | 1133366.6059 | 2504599.8589 | 1133369.419 | 2504601.8199 | 1133371.7005 | 2504607.3168 | 1133377.8888
82 | 2504597.6164 | 1133366.6059 | 2504597.0231 | 1133365.8617 | 2504593.6038 | 1133361.4353 | 2504590.7468 | 1133357.5114 | 2504589.0244 | 1133354.7369 | 2504587.205 | 1133351.1857 | 2504585.7061 | 1133346.9624 | 2504583.7317 | 1133338.4773 | 2504577.5158 | 1133302.3202 | 2504576.8634 | 1133298.5207
83 | 2504497.3232 | 1133883.6659 | 2504500.1773 | 1133886.4447 | 2504502.8834 | 1133884.2561 | 2504506.5184 | 1133880.4407 | 2504514.0437 | 1133870.4488 | 2504519.4463 | 1133862.5474 | 2504524.3544 | 1133855.9879
84 | 2504524.3544 | 1133855.9879 | 2504527.3306 | 1133852.8611 | 2504534.2358 | 1133846.4924 | 2504551.5237 | 1133831.1763 | 2504562.6772 | 1133821.3049 | 2504567.1567 | 1133817.3316 | 2504568.1259 | 1133816.5884
85 | 2504497.3232 | 1133883.6659 | 2504481.3096 | 1133870.6144
86 | 2504597.4153 | 1133803.3335 | 2504591.9988 | 1133804.531 | 2504587.6394 | 1133805.8785 | 2504581.9831 | 1133807.9803 | 2504578.0856 | 1133809.8098 | 2504572.3824 | 1133813.3243 | 2504568.1259 | 1133816.5884
87 | 2504489.4513 | 1133856.8331 | 2504480.1954 | 1133869.7063 | 2504481.3096 | 1133870.6144
88 | 2504489.4513 | 1133856.8331 | 2504499.1941 | 1133843.2829
89 | 2504503.7256 | 1133836.9804 | 2504499.1941 | 1133843.2829
90 | 2504514.8922 | 1133821.4499 | 2504503.7256 | 1133836.9804
91 | 2504599.8216 | 1133794.3566 | 2504597.4153 | 1133803.3335
92 | 2504622.5572 | 1133672.9304 | 2504619.6134 | 1133662.7968 | 2504617.3999 | 1133654.7602 | 2504616.9205 | 1133652.1368
93 | 2504599.9683 | 1133794.1104 | 2504599.8216 | 1133794.3566
94 | 2504599.9683 | 1133794.1104 | 2504604.884 | 1133785.8603 | 2504610.5316 | 1133779.8006 | 2504614.1856 | 1133777.239
95 | 2504622.8138 | 1133771.1901 | 2504614.1856 | 1133777.239
96 | 2504611.4927 | 1133621.0553 | 2504615.7225 | 1133645.5811 | 2504616.9205 | 1133652.1368
97 | 2504611.4927 | 1133621.0553 | 2504610.6492 | 1133615.9833
98 | 2504611.4927 | 1133621.0553 | 2504619.1944 | 1133630.9507 | 2504624.1661 | 1133642.0233 | 2504631.9934 | 1133662.9984
99 | 2504626.8587 | 1133767.4795 | 2504622.8138 | 1133771.1901

## bus_geodata
| x | y | coords
0 | 2505037.32 | 1132936.6276
1 | 2505028.1883 | 1132907.6346
2 | 2505051.187 | 1132990.8476
3 | 2505024.0384 | 1132895.5172
4 | 2505052.2642 | 1132996.1505
5 | 2505022.0516 | 1132890.275
6 | 2505054.9209 | 1133009.2296
7 | 2505006.1694 | 1132851.7825
8 | 2505003.5729 | 1132845.3306
9 | 2505021.0076 | 1132887.5206
10 | 2505015.4383 | 1132844.321
11 | 2504911.2601 | 1132683.4636
12 | 2505059.1788 | 1133115.52
13 | 2504965.7209 | 1133202.155
14 | 2505075.3157 | 1133118.3345
15 | 2505060.5271 | 1133036.8287
16 | 2505066.8582 | 1133071.033
17 | 2505078.2429 | 1133134.595
18 | 2505139.1723 | 1133469.6734
19 | 2505152.69 | 1133544.4522
20 | 2505124.833 | 1133389.9822
21 | 2505157.6678 | 1133572.3382
22 | 2505124.6668 | 1133389.0578
23 | 2505159.772 | 1133583.5978
24 | 2505115.9178 | 1133341.9995
25 | 2505168.8269 | 1133633.2638
26 | 2505158.5196 | 1133669.0837
27 | 2505153.8416 | 1133670.2579
28 | 2505173.1169 | 1133657.3249
29 | 2505163.0685 | 1133691.7073
30 | 2505110.024 | 1133310.4945
31 | 2505104.9481 | 1133283.0698
32 | 2505112.7708 | 1133325.1771
33 | 2505176.0491 | 1133656.7562
34 | 2505103.2862 | 1133274.0906
35 | 2505099.6708 | 1133254.5563
36 | 2505087.1183 | 1133184.111
37 | 2504958.6173 | 1132778.5002
38 | 2504920.9767 | 1133865.7025
39 | 2504913.2041 | 1133857.2353
40 | 2504907.1637 | 1133850.8985
41 | 2504883.8753 | 1133827.5831
42 | 2504837.6018 | 1133786.1738
43 | 2504836.0076 | 1133784.95
44 | 2504847.7842 | 1133794.9479
45 | 2504824.0543 | 1133775.8597
46 | 2504822.5427 | 1133774.7624
47 | 2504708.9205 | 1133858.4717
48 | 2504712.8663 | 1133841.1878
49 | 2504667.1979 | 1133830.7517
50 | 2504816.9367 | 1133770.6928
51 | 2504762.4247 | 1133743.5382
52 | 2504680.7593 | 1133684.6772
53 | 2504663.0294 | 1133722.9733
54 | 2504651.7288 | 1133609.3393
55 | 2504639.2667 | 1133813.5559
56 | 2504644.1121 | 1133731.4515
57 | 2504648.0291 | 1133591.6968
58 | 2504625.7984 | 1133682.4332
59 | 2504647.2483 | 1133740.3851
60 | 2504646.1735 | 1133581.192
61 | 2504771.4473 | 1132874.1039
62 | 2504769.5201 | 1132866.5144
63 | 2504814.2198 | 1133014.7176
64 | 2504774.0397 | 1133033.6399
65 | 2504831.5868 | 1133053.8287
66 | 2504745.7529 | 1133047.6087
67 | 2504745.4852 | 1133047.7409
68 | 2504707.7198 | 1133306.4763
69 | 2504627.3528 | 1133400.5145
70 | 2504653.2812 | 1133171.5734
71 | 2504702.8813 | 1133074.8226
72 | 2504665.8794 | 1133118.6355
73 | 2504652.6493 | 1133125.6959
74 | 2504650.4533 | 1133161.1012
75 | 2504642.7725 | 1133562.4261
76 | 2504613.813 | 1133385.202
77 | 2504643.0206 | 1133563.8114
78 | 2504607.3168 | 1133377.8888
79 | 2504597.6164 | 1133366.6059
80 | 2504576.8634 | 1133298.5207
81 | 2504524.3544 | 1133855.9879
82 | 2504497.3232 | 1133883.6659
83 | 2504568.1259 | 1133816.5884
84 | 2504481.3096 | 1133870.6144
85 | 2504489.4513 | 1133856.8331
86 | 2504499.1941 | 1133843.2829
87 | 2504503.7256 | 1133836.9804
88 | 2504514.8922 | 1133821.4499
89 | 2504668.5078 | 1133731.5242
90 | 2504597.4153 | 1133803.3335
91 | 2504622.5572 | 1133672.9304
92 | 2504599.8216 | 1133794.3566
93 | 2504599.9683 | 1133794.1104
94 | 2504614.1856 | 1133777.239
95 | 2504616.9205 | 1133652.1368
96 | 2504611.4927 | 1133621.0553
97 | 2504610.6492 | 1133615.9833
98 | 2504631.9934 | 1133662.9984
99 | 2504622.8138 | 1133771.1901
100 | 2504626.8587 | 1133767.4795
101 | 2504680.7593 | 1133684.6772

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1