## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_662-1_1_2_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_662-1_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_662-1_1_2_node_76 | 0.4 | n |  | TRUE
3 | bus_LV_662-1_1_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_662-1_1_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_662-1_1_2_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_662-1_1_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_662-1_1_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_662-1_1_2_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_662-1_1_2_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_662-1_1_2_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_662-1_1_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_662-1_1_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_662-1_1_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_662-1_1_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_662-1_1_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_662-1_1_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_662-1_1_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_662-1_1_2_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_662-1_1_2_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_662-1_1_2_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_662-1_1_2_node_90 | 0.4 | n |  | TRUE
22 | bus_LV_662-1_1_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_662-1_1_2_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_662-1_1_2_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_662-1_1_2_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_662-1_1_2_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_662-1_1_2_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_662-1_1_2_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_662-1_1_2_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_662-1_1_2_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_662-1_1_2_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_662-1_1_2_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_662-1_1_2_node_223 | 0.4 | n |  | TRUE
34 | bus_LV_662-1_1_2_node_117 | 0.4 | n |  | TRUE
35 | bus_LV_662-1_1_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_662-1_1_2_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_662-1_1_2_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_662-1_1_2_node_103 | 0.4 | n |  | TRUE
39 | bus_LV_662-1_1_2_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_662-1_1_2_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_662-1_1_2_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_662-1_1_2_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_662-1_1_2_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_662-1_1_2_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_662-1_1_2_node_114 | 0.4 | n |  | TRUE
46 | bus_LV_662-1_1_2_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_662-1_1_2_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_662-1_1_2_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_662-1_1_2_node_111 | 0.4 | n |  | TRUE
50 | bus_LV_662-1_1_2_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_662-1_1_2_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_662-1_1_2_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_662-1_1_2_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_662-1_1_2_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_662-1_1_2_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_662-1_1_2_node_107 | 0.4 | n |  | TRUE
57 | bus_LV_662-1_1_2_node_108 | 0.4 | n |  | TRUE
58 | bus_LV_662-1_1_2_node_109 | 0.4 | n |  | TRUE
59 | bus_LV_662-1_1_2_node_110 | 0.4 | n |  | TRUE
60 | bus_LV_662-1_1_2_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_662-1_1_2_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_662-1_1_2_node_133 | 0.4 | n |  | TRUE
63 | bus_LV_662-1_1_2_node_136 | 0.4 | n |  | TRUE
64 | bus_LV_662-1_1_2_node_135 | 0.4 | n |  | TRUE
65 | bus_LV_662-1_1_2_node_116 | 0.4 | n |  | TRUE
66 | bus_LV_662-1_1_2_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_662-1_1_2_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_662-1_1_2_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_662-1_1_2_node_121 | 0.4 | n |  | TRUE
70 | bus_LV_662-1_1_2_node_122 | 0.4 | n |  | TRUE
71 | bus_LV_662-1_1_2_node_123 | 0.4 | n |  | TRUE
72 | bus_LV_662-1_1_2_node_131 | 0.4 | n |  | TRUE
73 | bus_LV_662-1_1_2_node_134 | 0.4 | n |  | TRUE
74 | bus_LV_662-1_1_2_node_125 | 0.4 | n |  | TRUE
75 | bus_LV_662-1_1_2_node_126 | 0.4 | n |  | TRUE
76 | bus_LV_662-1_1_2_node_127 | 0.4 | n |  | TRUE
77 | bus_LV_662-1_1_2_node_128 | 0.4 | n |  | TRUE
78 | bus_LV_662-1_1_2_node_129 | 0.4 | n |  | TRUE
79 | bus_LV_662-1_1_2_node_132 | 0.4 | n |  | TRUE
80 | bus_LV_662-1_1_2_node_130 | 0.4 | n |  | TRUE
81 | bus_LV_662-1_1_2_node_162 | 0.4 | n |  | TRUE
82 | bus_LV_662-1_1_2_node_157 | 0.4 | n |  | TRUE
83 | bus_LV_662-1_1_2_node_158 | 0.4 | n |  | TRUE
84 | bus_LV_662-1_1_2_node_159 | 0.4 | n |  | TRUE
85 | bus_LV_662-1_1_2_node_160 | 0.4 | n |  | TRUE
86 | bus_MV_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_662-1_1_2_load_6 | 1 | 0.00037077 | 9.2924e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_662-1_1_2_load_4 | 3 | 0.00086367 | 0.00021646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_662-1_1_2_load_5 | 4 | 0.00019662 | 4.9278e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_662-1_1_2_load_9 | 7 | 0.00068151 | 0.0001708 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_662-1_1_2_load_82 | 9 | 0.001992 | 0.00049925 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_662-1_1_2_load_10 | 11 | 0.001616 | 0.00040501 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_662-1_1_2_load_13 | 14 | 0.00066577 | 0.00016686 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_662-1_1_2_load_14 | 15 | 0.00088338 | 0.0002214 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_662-1_1_2_load_15 | 16 | 0.00022335 | 5.5976e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_662-1_1_2_load_16 | 17 | 0.00039949 | 0.00010012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_662-1_1_2_load_93 | 18 | 0.00036795 | 9.2218e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_662-1_1_2_load_98 | 19 | 0.0026602 | 0.00066671 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_662-1_1_2_load_22 | 20 | 0.00069478 | 0.00017413 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_662-1_1_2_load_90 | 21 | 0.0018656 | 0.00046757 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_662-1_1_2_load_23 | 22 | 0.00027459 | 6.8818e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_662-1_1_2_load_71 | 23 | 0.00020825 | 5.2192e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_662-1_1_2_load_72 | 24 | 0.00053535 | 0.00013417 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_662-1_1_2_load_75 | 28 | 8.99e-05 | 2.2531e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_662-1_1_2_load_84 | 30 | 0.00033106 | 8.2972e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_662-1_1_2_load_79 | 31 | 0.0007068 | 0.00017714 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_662-1_1_2_load_223 | 33 | 0.00029819 | 7.4734e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_662-1_1_2_load_117 | 34 | 0.00072733 | 0.00018229 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_662-1_1_2_load_85 | 35 | 0.00030252 | 7.5818e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_662-1_1_2_load_86 | 36 | 0.00035261 | 8.8371e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_662-1_1_2_load_88 | 37 | 0.0012982 | 0.00032537 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_662-1_1_2_load_103 | 38 | 0.00011826 | 2.964e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_662-1_1_2_load_89 | 39 | 0.0004138 | 0.00010371 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_662-1_1_2_load_91 | 40 | 0.00058207 | 0.00014588 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_662-1_1_2_load_94 | 43 | 0.00014479 | 3.6289e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_662-1_1_2_load_95 | 44 | 0.0010076 | 0.00025252 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_662-1_1_2_load_96 | 46 | 0.00026326 | 6.5978e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_662-1_1_2_load_97 | 47 | 0.00049522 | 0.00012411 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_662-1_1_2_load_99 | 48 | 0.00024359 | 6.1049e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_662-1_1_2_load_111 | 49 | 0.00022904 | 5.7404e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_662-1_1_2_load_101 | 50 | 0.00052908 | 0.0001326 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_662-1_1_2_load_102 | 51 | 0.0015104 | 0.00037854 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_662-1_1_2_load_104 | 52 | 0.0016936 | 0.00042446 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_662-1_1_2_load_105 | 53 | 0.002334 | 0.00058495 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_662-1_1_2_load_113 | 54 | 0.00029129 | 7.3005e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_662-1_1_2_load_106 | 55 | 0.0018063 | 0.00045271 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_662-1_1_2_load_107 | 56 | 0.00075826 | 0.00019004 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_662-1_1_2_load_108 | 57 | 0.0010803 | 0.00027076 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_662-1_1_2_load_109 | 58 | 0.0001702 | 4.2655e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_662-1_1_2_load_133 | 62 | 0.0016259 | 0.00040749 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_662-1_1_2_load_135 | 64 | 0.011317 | 0.0028363 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_662-1_1_2_load_116 | 65 | 0.0013354 | 0.00033468 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_662-1_1_2_load_118 | 66 | 0.0021617 | 0.00054177 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_662-1_1_2_load_119 | 67 | 0.0017811 | 0.00044638 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_662-1_1_2_load_121 | 69 | 0.00018821 | 4.7169e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_662-1_1_2_load_122 | 70 | 0.00012669 | 3.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_662-1_1_2_load_123 | 71 | 0.00017273 | 4.3291e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_662-1_1_2_load_131 | 72 | 0.00060103 | 0.00015063 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_662-1_1_2_load_134 | 73 | 0.00073419 | 0.00018401 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_662-1_1_2_load_125 | 74 | 0.00029137 | 7.3024e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_662-1_1_2_load_126 | 75 | 0.00018634 | 4.6702e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_662-1_1_2_load_128 | 77 | 0.0011065 | 0.00027732 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_662-1_1_2_load_129 | 78 | 0.00023855 | 5.9786e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_662-1_1_2_load_132 | 79 | 0.001175 | 0.00029447 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_662-1_1_2_load_130 | 80 | 0.00061989 | 0.00015536 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_662-1_1_2_load_162 | 81 | 0.004034 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_662-1_1_2_load_157 | 82 | 0.0074781 | 0.0018742 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_662-1_1_2_load_158 | 83 | 0.0012462 | 0.00031233 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_662-1_1_2_load_159 | 84 | 0.0027512 | 0.00068953 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_662-1_1_2_load_160 | 85 | 0.0013947 | 0.00034955 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_662-1_1_2_line_0 |  | 0 | 1 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_662-1_1_2_line_1 |  | 0 | 2 | 0.13707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_662-1_1_2_line_2 |  | 1 | 3 | 0.018684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_662-1_1_2_line_3 |  | 2 | 28 | 0.0066939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_662-1_1_2_line_4 |  | 3 | 4 | 0.026164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_662-1_1_2_line_5 |  | 5 | 6 | 0.21239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_662-1_1_2_line_6 |  | 5 | 7 | 0.038166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_662-1_1_2_line_7 |  | 6 | 8 | 0.20821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_662-1_1_2_line_8 |  | 6 | 9 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_662-1_1_2_line_9 |  | 7 | 10 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_662-1_1_2_line_10 |  | 8 | 34 | 0.068445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_662-1_1_2_line_11 |  | 10 | 29 | 0.009243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_662-1_1_2_line_12 |  | 10 | 28 | 0.18145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_662-1_1_2_line_13 |  | 11 | 12 | 0.020156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_662-1_1_2_line_14 |  | 11 | 13 | 0.012428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_662-1_1_2_line_15 |  | 12 | 14 | 0.004186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_662-1_1_2_line_16 |  | 12 | 15 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_662-1_1_2_line_17 |  | 13 | 16 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_662-1_1_2_line_18 |  | 13 | 17 | 0.031601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_662-1_1_2_line_19 |  | 14 | 18 | 0.008573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_662-1_1_2_line_20 |  | 15 | 19 | 0.0033933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_662-1_1_2_line_21 |  | 16 | 20 | 0.0070282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_662-1_1_2_line_22 |  | 17 | 21 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_662-1_1_2_line_23 |  | 18 | 43 | 0.025908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_662-1_1_2_line_24 |  | 19 | 46 | 0.0035413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_662-1_1_2_line_25 |  | 20 | 22 | 0.0058231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_662-1_1_2_line_26 |  | 21 | 39 | 0.035299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_662-1_1_2_line_27 |  | 23 | 24 | 0.034107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_662-1_1_2_line_28 |  | 24 | 25 | 0.025498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_662-1_1_2_line_29 |  | 25 | 26 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_662-1_1_2_line_30 |  | 25 | 27 | 0.028871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_662-1_1_2_line_31 |  | 26 | 29 | 0.040792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_662-1_1_2_line_32 |  | 27 | 32 | 0.064211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_662-1_1_2_line_33 |  | 27 | 31 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_662-1_1_2_line_34 |  | 29 | 30 | 0.044528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_662-1_1_2_line_35 |  | 30 | 35 | 0.033743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_662-1_1_2_line_36 |  | 32 | 33 | 0.044351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_662-1_1_2_line_37 |  | 34 | 65 | 0.0028621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_662-1_1_2_line_38 |  | 35 | 36 | 0.070743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_662-1_1_2_line_39 |  | 36 | 37 | 0.018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_662-1_1_2_line_40 |  | 37 | 38 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_662-1_1_2_line_41 |  | 38 | 41 | 0.089938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_662-1_1_2_line_42 |  | 39 | 40 | 0.017974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_662-1_1_2_line_43 |  | 40 | 41 | 0.022034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_662-1_1_2_line_44 |  | 41 | 42 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_662-1_1_2_line_45 |  | 42 | 50 | 0.12186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_662-1_1_2_line_46 |  | 44 | 45 | 0.028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_662-1_1_2_line_47 |  | 45 | 62 | 0.071304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_662-1_1_2_line_48 |  | 46 | 47 | 0.023046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_662-1_1_2_line_49 |  | 47 | 48 | 0.00076679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_662-1_1_2_line_50 |  | 48 | 49 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_662-1_1_2_line_51 |  | 49 | 60 | 0.027118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_662-1_1_2_line_52 |  | 51 | 52 | 0.0040238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_662-1_1_2_line_53 |  | 52 | 53 | 0.0071413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_662-1_1_2_line_54 |  | 53 | 54 | 0.013704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_662-1_1_2_line_55 |  | 54 | 60 | 0.0027983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_662-1_1_2_line_56 |  | 55 | 56 | 0.026595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_662-1_1_2_line_57 |  | 55 | 57 | 0.0092011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_662-1_1_2_line_58 |  | 56 | 58 | 0.021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_662-1_1_2_line_59 |  | 57 | 59 | 0.068863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_662-1_1_2_line_60 |  | 58 | 60 | 0.00024653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_662-1_1_2_line_61 |  | 59 | 61 | 0.38597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_662-1_1_2_line_62 |  | 61 | 63 | 0.024137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_662-1_1_2_line_63 |  | 61 | 64 | 0.036817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_662-1_1_2_line_64 |  | 62 | 70 | 0.034546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_662-1_1_2_line_65 |  | 63 | 81 | 0.068428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_662-1_1_2_line_66 |  | 65 | 66 | 0.0040497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_662-1_1_2_line_67 |  | 66 | 67 | 0.031008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_662-1_1_2_line_68 |  | 67 | 68 | 0.083437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_662-1_1_2_line_69 |  | 68 | 69 | 0.015682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_662-1_1_2_line_70 |  | 68 | 70 | 0.038532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_662-1_1_2_line_71 |  | 68 | 71 | 0.034778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_662-1_1_2_line_72 |  | 69 | 72 | 0.01298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_662-1_1_2_line_73 |  | 71 | 73 | 0.031748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_662-1_1_2_line_74 |  | 72 | 79 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_662-1_1_2_line_75 |  | 74 | 75 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_662-1_1_2_line_76 |  | 74 | 76 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_662-1_1_2_line_77 |  | 75 | 77 | 0.012128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_662-1_1_2_line_78 |  | 76 | 78 | 0.018915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_662-1_1_2_line_79 |  | 77 | 79 | 0.0078045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_662-1_1_2_line_80 |  | 78 | 80 | 0.049701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_662-1_1_2_line_81 |  | 81 | 85 | 0.0077029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_662-1_1_2_line_82 |  | 82 | 83 | 0.0013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_662-1_1_2_line_83 |  | 82 | 84 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_662-1_1_2_line_84 |  | 83 | 85 | 0.0069075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_662-1_1_2_trafo_111 | 0.63 MVA 20/0.4 kV | 86 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2583332.3298 | 1200392.746 | 2583314.846 | 1200406.3479
1 | 2583214.3634 | 1200405.9516 | 2583242.5442 | 1200387.2843 | 2583271.2263 | 1200365.4695 | 2583317.8779 | 1200383.1924 | 2583332.3298 | 1200392.746
2 | 2583300.0991 | 1200417.8205 | 2583314.846 | 1200406.3479
3 | 2583214.3634 | 1200405.9516 | 2583208.7512 | 1200409.6002
4 | 2583300.0991 | 1200417.8205 | 2583279.4482 | 1200433.8863
5 | 2583102.5869 | 1200563.9538 | 2583243.0738 | 1200723.5648
6 | 2583102.5869 | 1200563.9538 | 2583079.8561 | 1200533.2957
7 | 2583243.0738 | 1200723.5648 | 2583330.657 | 1200803.1617 | 2583398.0807 | 1200863.0388
8 | 2583243.0738 | 1200723.5648 | 2583256.9669 | 1200709.2732
9 | 2583071.5861 | 1200522.1415 | 2583079.8561 | 1200533.2957
10 | 2583398.0807 | 1200863.0388 | 2583354.5814 | 1200915.8827
11 | 2583071.5861 | 1200522.1415 | 2583066.5477 | 1200514.385
12 | 2583071.5861 | 1200522.1415 | 2583090.2563 | 1200486.6359 | 2583208.7512 | 1200409.6002
13 | 2582896.0312 | 1200855.5357 | 2582906.5473 | 1200838.3409
14 | 2582913.0316 | 1200827.7384 | 2582906.5473 | 1200838.3409
15 | 2582896.0312 | 1200855.5357 | 2582899.5833 | 1200857.7504
16 | 2582896.0312 | 1200855.5357 | 2582879.3546 | 1200846.9118
17 | 2582913.0316 | 1200827.7384 | 2582900.6783 | 1200802.2463
18 | 2582913.0316 | 1200827.7384 | 2582931.8348 | 1200802.3404
19 | 2582899.5833 | 1200857.7504 | 2582906.8581 | 1200862.2861
20 | 2582879.3546 | 1200846.9118 | 2582876.3405 | 1200845.3532
21 | 2582897.6135 | 1200795.9216 | 2582900.6783 | 1200802.2463
22 | 2582938.9292 | 1200792.7577 | 2582931.8348 | 1200802.3404
23 | 2582906.8581 | 1200862.2861 | 2582928.843 | 1200875.9933
24 | 2582873.1949 | 1200843.7265 | 2582876.3405 | 1200845.3532
25 | 2582895.1766 | 1200790.642 | 2582895.3591 | 1200791.2694 | 2582897.6135 | 1200795.9216
26 | 2582931.4348 | 1200765.1741 | 2582941.2369 | 1200773.5391 | 2582945.7185 | 1200783.5873 | 2582938.9292 | 1200792.7577
27 | 2583075.375 | 1200424.629 | 2583050.4253 | 1200447.8835
28 | 2583031.7729 | 1200465.2687 | 2583050.4253 | 1200447.8835
29 | 2583031.7729 | 1200465.2687 | 2583042.6733 | 1200481.2685
30 | 2583031.7729 | 1200465.2687 | 2583014.7085 | 1200441.9492
31 | 2583066.5477 | 1200514.385 | 2583060.5864 | 1200505.9975 | 2583046.3954 | 1200486.5385 | 2583042.6733 | 1200481.2685
32 | 2583014.7085 | 1200441.9492 | 2582992.2545 | 1200458.5001 | 2582985.221 | 1200461.1995 | 2582976.4065 | 1200461.2803 | 2582957.5314 | 1200454.3306
33 | 2583014.7085 | 1200441.9492 | 2583007.6434 | 1200429.2199
34 | 2583066.5477 | 1200514.385 | 2583050.5732 | 1200528.8161 | 2583036.684 | 1200547.1498
35 | 2583036.684 | 1200547.1498 | 2583033.7684 | 1200550.9983 | 2583026.9433 | 1200560.0004 | 2583017.3273 | 1200574.7623
36 | 2582957.5314 | 1200454.3306 | 2582945.1388 | 1200443.6604 | 2582929.7938 | 1200428.096 | 2582928.6573 | 1200422.0071
37 | 2583352.7624 | 1200918.0924 | 2583354.5814 | 1200915.8827
38 | 2583017.3273 | 1200574.7623 | 2582994.4612 | 1200609.8647 | 2582978.6668 | 1200634.0068
39 | 2582968.8122 | 1200649.0699 | 2582978.6668 | 1200634.0068
40 | 2582956.2435 | 1200668.2815 | 2582968.8122 | 1200649.0699
41 | 2582901.0017 | 1200739.2028 | 2582923.6892 | 1200711.6449 | 2582951.892 | 1200674.9329 | 2582956.2435 | 1200668.2815
42 | 2582931.4348 | 1200765.1741 | 2582917.7625 | 1200753.5063
43 | 2582901.0017 | 1200739.2028 | 2582917.7625 | 1200753.5063
44 | 2582901.0017 | 1200739.2028 | 2582884.8403 | 1200757.1034
45 | 2582884.8403 | 1200757.1034 | 2582879.2696 | 1200749.5598 | 2582857.9279 | 1200726.3087 | 2582835.5192 | 1200705.3286 | 2582829.2844 | 1200697.1756 | 2582827.5312 | 1200691.0329 | 2582827.1898 | 1200683.5075 | 2582829.443 | 1200675.6523 | 2582835.2807 | 1200667.5533 | 2582841.5766 | 1200662.6102
46 | 2583147.1019 | 1201041.7974 | 2583135.6356 | 1201043.1974 | 2583122.7694 | 1201042.1333 | 2583119.2463 | 1201041.0178
47 | 2583147.1019 | 1201041.7974 | 2583158.4306 | 1201037.5297 | 2583167.8118 | 1201030.8773 | 2583176.6316 | 1201022.1809 | 2583183.7657 | 1201014.9346 | 2583191.9625 | 1201009.3306 | 2583199.5717 | 1201005.8405 | 2583206.2952 | 1201004.5718
48 | 2582873.1949 | 1200843.7265 | 2582870.7611 | 1200842.468 | 2582851.7928 | 1200835.2187
49 | 2582851.0766 | 1200834.945 | 2582851.7928 | 1200835.2187
50 | 2582836.9236 | 1200828.2888 | 2582848.4727 | 1200833.9499 | 2582851.0766 | 1200834.945
51 | 2582818.3715 | 1200808.5563 | 2582825.0389 | 1200816.3302 | 2582836.658 | 1200828.1586 | 2582836.9236 | 1200828.2888
52 | 2582834.9161 | 1200791.6661 | 2582838.3612 | 1200789.5872
53 | 2582834.9161 | 1200791.6661 | 2582834.9161 | 1200791.6661 | 2582829.9189 | 1200796.7677
54 | 2582820.3296 | 1200806.5573 | 2582829.9189 | 1200796.7677
55 | 2582818.3715 | 1200808.5563 | 2582820.3296 | 1200806.5573
56 | 2582783.1051 | 1200841.0821 | 2582802.6551 | 1200823.0514
57 | 2582783.1051 | 1200841.0821 | 2582776.3414 | 1200847.3202
58 | 2582818.1903 | 1200808.7235 | 2582802.6551 | 1200823.0514
59 | 2582748.2178 | 1200906.4903 | 2582747.6587 | 1200900.0662 | 2582750.1111 | 1200882.2384 | 2582754.654 | 1200871.3193 | 2582760.8748 | 1200861.5848 | 2582776.3414 | 1200847.3202
60 | 2582818.1903 | 1200808.7235 | 2582818.3715 | 1200808.5563
61 | 2582496.5507 | 1201007.2027 | 2582504.4293 | 1201012.6713 | 2582523.2 | 1201025.9456 | 2582538.9066 | 1201037.817 | 2582545.9145 | 1201042.2655 | 2582568.4562 | 1201056.7961 | 2582576.7779 | 1201060.2403 | 2582586.5358 | 1201062.902 | 2582596.9812 | 1201063.8275 | 2582671.4851 | 1201062.7315 | 2582678.919 | 1201061.9205 | 2582685.4912 | 1201060.5562 | 2582691.7185 | 1201058.3925 | 2582697.3582 | 1201055.6634 | 2582709.8549 | 1201047.4449 | 2582720.0141 | 1201038.9552 | 2582725.9409 | 1201032.8569 | 2582730.6319 | 1201025.8394 | 2582734.2931 | 1201018.0246 | 2582737.001 | 1201009.5788 | 2582742.7123 | 1200989.5625 | 2582747.7228 | 1200969.3258 | 2582749.8665 | 1200957.9245 | 2582750.4586 | 1200946.8724 | 2582748.2178 | 1200906.4903
62 | 2582496.5507 | 1201007.2027 | 2582477.0311 | 1200992.9302
63 | 2582496.5507 | 1201007.2027 | 2582503.986 | 1200991.35 | 2582506.7322 | 1200975.3332 | 2582506.5757 | 1200972.2804
64 | 2583240.7374 | 1201002.0731 | 2583208.244 | 1201004.204 | 2583206.2952 | 1201004.5718
65 | 2582477.0311 | 1200992.9302 | 2582472.9938 | 1200989.2623 | 2582469.7322 | 1200985.3365 | 2582467.1162 | 1200980.9529 | 2582465.4586 | 1200976.3776 | 2582464.5952 | 1200970.11 | 2582464.272 | 1200963.7631 | 2582463.9403 | 1200939.0285 | 2582462.4555 | 1200928.6545
66 | 2583352.7624 | 1200918.0924 | 2583350.1887 | 1200921.2191
67 | 2583330.4816 | 1200945.1596 | 2583350.1887 | 1200921.2191
68 | 2583277.4542 | 1201009.5785 | 2583330.4816 | 1200945.1596
69 | 2583277.4542 | 1201009.5785 | 2583287.1779 | 1201016.4216 | 2583289.052 | 1201019.7181
70 | 2583277.4542 | 1201009.5785 | 2583265.7152 | 1201003.3971 | 2583260.0782 | 1201001.7676 | 2583254.1245 | 1201001.1952 | 2583240.7374 | 1201002.0731
71 | 2583277.4542 | 1201009.5785 | 2583258.091 | 1201033.9574 | 2583255.9251 | 1201036.8896
72 | 2583289.052 | 1201019.7181 | 2583289.8322 | 1201023.8181 | 2583289.894 | 1201032.6248
73 | 2583237.1036 | 1201062.4568 | 2583239.4611 | 1201059.1791 | 2583255.9251 | 1201036.8896
74 | 2583289.894 | 1201032.6248 | 2583289.9085 | 1201034.6905 | 2583291.9406 | 1201045.4906 | 2583295.359 | 1201053.93 | 2583297.2095 | 1201056.8837
75 | 2583320.974 | 1201090.6216 | 2583308.1685 | 1201073.5172
76 | 2583328.0344 | 1201100.0522 | 2583320.974 | 1201090.6216
77 | 2583301.3529 | 1201063.4974 | 2583304.8701 | 1201069.1115 | 2583308.1685 | 1201073.5172
78 | 2583328.0344 | 1201100.0522 | 2583341.7261 | 1201105.1499 | 2583345.9481 | 1201105.99
79 | 2583301.3529 | 1201063.4974 | 2583297.2095 | 1201056.8837
80 | 2583345.9481 | 1201105.99 | 2583352.304 | 1201107.2547 | 2583395.3922 | 1201110.6321
81 | 2582462.4555 | 1200928.6545 | 2582461.3641 | 1200921.0293
82 | 2582460.1811 | 1200912.8456 | 2582460.376 | 1200914.1928
83 | 2582460.1811 | 1200912.8456 | 2582455.7812 | 1200882.4329 | 2582455.7812 | 1200882.4329
84 | 2582460.376 | 1200914.1928 | 2582461.2746 | 1200920.404 | 2582461.3641 | 1200921.0293

## bus_geodata
| x | y | coords
0 | 2583332.3298 | 1200392.746
1 | 2583314.846 | 1200406.3479
2 | 2583214.3634 | 1200405.9516
3 | 2583300.0991 | 1200417.8205
4 | 2583279.4482 | 1200433.8863
5 | 2583102.5869 | 1200563.9538
6 | 2583243.0738 | 1200723.5648
7 | 2583079.8561 | 1200533.2957
8 | 2583398.0807 | 1200863.0388
9 | 2583256.9669 | 1200709.2732
10 | 2583071.5861 | 1200522.1415
11 | 2582906.5473 | 1200838.3409
12 | 2582896.0312 | 1200855.5357
13 | 2582913.0316 | 1200827.7384
14 | 2582899.5833 | 1200857.7504
15 | 2582879.3546 | 1200846.9118
16 | 2582900.6783 | 1200802.2463
17 | 2582931.8348 | 1200802.3404
18 | 2582906.8581 | 1200862.2861
19 | 2582876.3405 | 1200845.3532
20 | 2582897.6135 | 1200795.9216
21 | 2582938.9292 | 1200792.7577
22 | 2582895.1766 | 1200790.642
23 | 2583075.375 | 1200424.629
24 | 2583050.4253 | 1200447.8835
25 | 2583031.7729 | 1200465.2687
26 | 2583042.6733 | 1200481.2685
27 | 2583014.7085 | 1200441.9492
28 | 2583208.7512 | 1200409.6002
29 | 2583066.5477 | 1200514.385
30 | 2583036.684 | 1200547.1498
31 | 2583007.6434 | 1200429.2199
32 | 2582957.5314 | 1200454.3306
33 | 2582928.6573 | 1200422.0071
34 | 2583354.5814 | 1200915.8827
35 | 2583017.3273 | 1200574.7623
36 | 2582978.6668 | 1200634.0068
37 | 2582968.8122 | 1200649.0699
38 | 2582956.2435 | 1200668.2815
39 | 2582931.4348 | 1200765.1741
40 | 2582917.7625 | 1200753.5063
41 | 2582901.0017 | 1200739.2028
42 | 2582884.8403 | 1200757.1034
43 | 2582928.843 | 1200875.9933
44 | 2583119.2463 | 1201041.0178
45 | 2583147.1019 | 1201041.7974
46 | 2582873.1949 | 1200843.7265
47 | 2582851.7928 | 1200835.2187
48 | 2582851.0766 | 1200834.945
49 | 2582836.9236 | 1200828.2888
50 | 2582841.5766 | 1200662.6102
51 | 2582838.3612 | 1200789.5872
52 | 2582834.9161 | 1200791.6661
53 | 2582829.9189 | 1200796.7677
54 | 2582820.3296 | 1200806.5573
55 | 2582783.1051 | 1200841.0821
56 | 2582802.6551 | 1200823.0514
57 | 2582776.3414 | 1200847.3202
58 | 2582818.1903 | 1200808.7235
59 | 2582748.2178 | 1200906.4903
60 | 2582818.3715 | 1200808.5563
61 | 2582496.5507 | 1201007.2027
62 | 2583206.2952 | 1201004.5718
63 | 2582477.0311 | 1200992.9302
64 | 2582506.5757 | 1200972.2804
65 | 2583352.7624 | 1200918.0924
66 | 2583350.1887 | 1200921.2191
67 | 2583330.4816 | 1200945.1596
68 | 2583277.4542 | 1201009.5785
69 | 2583289.052 | 1201019.7181
70 | 2583240.7374 | 1201002.0731
71 | 2583255.9251 | 1201036.8896
72 | 2583289.894 | 1201032.6248
73 | 2583237.1036 | 1201062.4568
74 | 2583320.974 | 1201090.6216
75 | 2583308.1685 | 1201073.5172
76 | 2583328.0344 | 1201100.0522
77 | 2583301.3529 | 1201063.4974
78 | 2583345.9481 | 1201105.99
79 | 2583297.2095 | 1201056.8837
80 | 2583395.3922 | 1201110.6321
81 | 2582462.4555 | 1200928.6545
82 | 2582460.1811 | 1200912.8456
83 | 2582460.376 | 1200914.1928
84 | 2582455.7812 | 1200882.4329
85 | 2582461.3641 | 1200921.0293
86 | 2582836.9236 | 1200828.2888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1