## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_662-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_662-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_662-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_662-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_662-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_662-2_0_3_node_170 | 0.4 | n |  | TRUE
6 | bus_LV_662-2_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_662-2_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_662-2_0_3_node_193 | 0.4 | n |  | TRUE
9 | bus_LV_662-2_0_3_node_192 | 0.4 | n |  | TRUE
10 | bus_LV_662-2_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_662-2_0_3_node_194 | 0.4 | n |  | TRUE
12 | bus_LV_662-2_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_662-2_0_3_node_206 | 0.4 | n |  | TRUE
14 | bus_LV_662-2_0_3_node_169 | 0.4 | n |  | TRUE
15 | bus_LV_662-2_0_3_node_204 | 0.4 | n |  | TRUE
16 | bus_LV_662-2_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_662-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_662-2_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_662-2_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_662-2_0_3_node_215 | 0.4 | n |  | TRUE
21 | bus_LV_662-2_0_3_node_224 | 0.4 | n |  | TRUE
22 | bus_LV_662-2_0_3_node_216 | 0.4 | n |  | TRUE
23 | bus_LV_662-2_0_3_node_218 | 0.4 | n |  | TRUE
24 | bus_LV_662-2_0_3_node_223 | 0.4 | n |  | TRUE
25 | bus_LV_662-2_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_662-2_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_662-2_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_662-2_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_662-2_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_662-2_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_662-2_0_3_node_295 | 0.4 | n |  | TRUE
32 | bus_LV_662-2_0_3_node_240 | 0.4 | n |  | TRUE
33 | bus_LV_662-2_0_3_node_242 | 0.4 | n |  | TRUE
34 | bus_LV_662-2_0_3_node_239 | 0.4 | n |  | TRUE
35 | bus_LV_662-2_0_3_node_241 | 0.4 | n |  | TRUE
36 | bus_LV_662-2_0_3_node_304 | 0.4 | n |  | TRUE
37 | bus_LV_662-2_0_3_node_254 | 0.4 | n |  | TRUE
38 | bus_LV_662-2_0_3_node_292 | 0.4 | n |  | TRUE
39 | bus_LV_662-2_0_3_node_257 | 0.4 | n |  | TRUE
40 | bus_LV_662-2_0_3_node_263 | 0.4 | n |  | TRUE
41 | bus_LV_662-2_0_3_node_264 | 0.4 | n |  | TRUE
42 | bus_LV_662-2_0_3_node_265 | 0.4 | n |  | TRUE
43 | bus_LV_662-2_0_3_node_266 | 0.4 | n |  | TRUE
44 | bus_LV_662-2_0_3_node_267 | 0.4 | n |  | TRUE
45 | bus_LV_662-2_0_3_node_272 | 0.4 | n |  | TRUE
46 | bus_LV_662-2_0_3_node_268 | 0.4 | n |  | TRUE
47 | bus_LV_662-2_0_3_node_269 | 0.4 | n |  | TRUE
48 | bus_LV_662-2_0_3_node_271 | 0.4 | n |  | TRUE
49 | bus_LV_662-2_0_3_node_283 | 0.4 | n |  | TRUE
50 | bus_LV_662-2_0_3_node_281 | 0.4 | n |  | TRUE
51 | bus_LV_662-2_0_3_node_273 | 0.4 | n |  | TRUE
52 | bus_LV_662-2_0_3_node_275 | 0.4 | n |  | TRUE
53 | bus_LV_662-2_0_3_node_274 | 0.4 | n |  | TRUE
54 | bus_LV_662-2_0_3_node_276 | 0.4 | n |  | TRUE
55 | bus_LV_662-2_0_3_node_277 | 0.4 | n |  | TRUE
56 | bus_LV_662-2_0_3_node_278 | 0.4 | n |  | TRUE
57 | bus_LV_662-2_0_3_node_280 | 0.4 | n |  | TRUE
58 | bus_LV_662-2_0_3_node_282 | 0.4 | n |  | TRUE
59 | bus_LV_662-2_0_3_node_221 | 0.4 | n |  | TRUE
60 | bus_LV_662-2_0_3_node_168 | 0.4 | n |  | TRUE
61 | bus_LV_662-2_0_3_node_203 | 0.4 | n |  | TRUE
62 | bus_LV_662-2_0_3_node_160 | 0.4 | n |  | TRUE
63 | bus_LV_662-2_0_3_node_161 | 0.4 | n |  | TRUE
64 | bus_LV_662-2_0_3_node_162 | 0.4 | n |  | TRUE
65 | bus_LV_662-2_0_3_node_177 | 0.4 | n |  | TRUE
66 | bus_LV_662-2_0_3_node_214 | 0.4 | n |  | TRUE
67 | bus_LV_662-2_0_3_node_173 | 0.4 | n |  | TRUE
68 | bus_LV_662-2_0_3_node_202 | 0.4 | n |  | TRUE
69 | bus_LV_662-2_0_3_node_171 | 0.4 | n |  | TRUE
70 | bus_LV_662-2_0_3_node_172 | 0.4 | n |  | TRUE
71 | bus_LV_662-2_0_3_node_174 | 0.4 | n |  | TRUE
72 | bus_LV_662-2_0_3_node_175 | 0.4 | n |  | TRUE
73 | bus_LV_662-2_0_3_node_176 | 0.4 | n |  | TRUE
74 | bus_LV_662-2_0_3_node_178 | 0.4 | n |  | TRUE
75 | bus_LV_662-2_0_3_node_179 | 0.4 | n |  | TRUE
76 | bus_LV_662-2_0_3_node_180 | 0.4 | n |  | TRUE
77 | bus_LV_662-2_0_3_node_181 | 0.4 | n |  | TRUE
78 | bus_LV_662-2_0_3_node_182 | 0.4 | n |  | TRUE
79 | bus_LV_662-2_0_3_node_183 | 0.4 | n |  | TRUE
80 | bus_LV_662-2_0_3_node_200 | 0.4 | n |  | TRUE
81 | bus_LV_662-2_0_3_node_184 | 0.4 | n |  | TRUE
82 | bus_LV_662-2_0_3_node_185 | 0.4 | n |  | TRUE
83 | bus_LV_662-2_0_3_node_186 | 0.4 | n |  | TRUE
84 | bus_LV_662-2_0_3_node_213 | 0.4 | n |  | TRUE
85 | bus_LV_662-2_0_3_node_198 | 0.4 | n |  | TRUE
86 | bus_LV_662-2_0_3_node_195 | 0.4 | n |  | TRUE
87 | bus_LV_662-2_0_3_node_196 | 0.4 | n |  | TRUE
88 | bus_LV_662-2_0_3_node_187 | 0.4 | n |  | TRUE
89 | bus_LV_662-2_0_3_node_188 | 0.4 | n |  | TRUE
90 | bus_LV_662-2_0_3_node_189 | 0.4 | n |  | TRUE
91 | bus_LV_662-2_0_3_node_190 | 0.4 | n |  | TRUE
92 | bus_LV_662-2_0_3_node_191 | 0.4 | n |  | TRUE
93 | bus_LV_662-2_0_3_node_210 | 0.4 | n |  | TRUE
94 | bus_LV_662-2_0_3_node_208 | 0.4 | n |  | TRUE
95 | bus_LV_662-2_0_3_node_207 | 0.4 | n |  | TRUE
96 | bus_LV_662-2_0_3_node_199 | 0.4 | n |  | TRUE
97 | bus_LV_662-2_0_3_node_201 | 0.4 | n |  | TRUE
98 | bus_LV_662-2_0_3_node_197 | 0.4 | n |  | TRUE
99 | bus_LV_662-2_0_3_node_205 | 0.4 | n |  | TRUE
100 | bus_LV_662-2_0_3_node_317 | 0.4 | n |  | TRUE
101 | bus_LV_662-2_0_3_node_209 | 0.4 | n |  | TRUE
102 | bus_LV_662-2_0_3_node_211 | 0.4 | n |  | TRUE
103 | bus_LV_662-2_0_3_node_309 | 0.4 | n |  | TRUE
104 | bus_LV_662-2_0_3_node_212 | 0.4 | n |  | TRUE
105 | bus_LV_662-2_0_3_node_310 | 0.4 | n |  | TRUE
106 | bus_LV_662-2_0_3_node_227 | 0.4 | n |  | TRUE
107 | bus_LV_662-2_0_3_node_217 | 0.4 | n |  | TRUE
108 | bus_LV_662-2_0_3_node_225 | 0.4 | n |  | TRUE
109 | bus_LV_662-2_0_3_node_236 | 0.4 | n |  | TRUE
110 | bus_LV_662-2_0_3_node_222 | 0.4 | n |  | TRUE
111 | bus_LV_662-2_0_3_node_228 | 0.4 | n |  | TRUE
112 | bus_LV_662-2_0_3_node_259 | 0.4 | n |  | TRUE
113 | bus_LV_662-2_0_3_node_249 | 0.4 | n |  | TRUE
114 | bus_LV_662-2_0_3_node_237 | 0.4 | n |  | TRUE
115 | bus_LV_662-2_0_3_node_220 | 0.4 | n |  | TRUE
116 | bus_LV_662-2_0_3_node_219 | 0.4 | n |  | TRUE
117 | bus_LV_662-2_0_3_node_262 | 0.4 | n |  | TRUE
118 | bus_LV_662-2_0_3_node_258 | 0.4 | n |  | TRUE
119 | bus_LV_662-2_0_3_node_247 | 0.4 | n |  | TRUE
120 | bus_LV_662-2_0_3_node_229 | 0.4 | n |  | TRUE
121 | bus_LV_662-2_0_3_node_230 | 0.4 | n |  | TRUE
122 | bus_LV_662-2_0_3_node_233 | 0.4 | n |  | TRUE
123 | bus_LV_662-2_0_3_node_231 | 0.4 | n |  | TRUE
124 | bus_LV_662-2_0_3_node_232 | 0.4 | n |  | TRUE
125 | bus_LV_662-2_0_3_node_234 | 0.4 | n |  | TRUE
126 | bus_LV_662-2_0_3_node_235 | 0.4 | n |  | TRUE
127 | bus_LV_662-2_0_3_node_238 | 0.4 | n |  | TRUE
128 | bus_LV_662-2_0_3_node_311 | 0.4 | n |  | TRUE
129 | bus_LV_662-2_0_3_node_256 | 0.4 | n |  | TRUE
130 | bus_LV_662-2_0_3_node_299 | 0.4 | n |  | TRUE
131 | bus_LV_662-2_0_3_node_301 | 0.4 | n |  | TRUE
132 | bus_LV_662-2_0_3_node_255 | 0.4 | n |  | TRUE
133 | bus_LV_662-2_0_3_node_293 | 0.4 | n |  | TRUE
134 | bus_LV_662-2_0_3_node_243 | 0.4 | n |  | TRUE
135 | bus_LV_662-2_0_3_node_244 | 0.4 | n |  | TRUE
136 | bus_LV_662-2_0_3_node_245 | 0.4 | n |  | TRUE
137 | bus_LV_662-2_0_3_node_246 | 0.4 | n |  | TRUE
138 | bus_LV_662-2_0_3_node_248 | 0.4 | n |  | TRUE
139 | bus_LV_662-2_0_3_node_250 | 0.4 | n |  | TRUE
140 | bus_LV_662-2_0_3_node_251 | 0.4 | n |  | TRUE
141 | bus_LV_662-2_0_3_node_252 | 0.4 | n |  | TRUE
142 | bus_LV_662-2_0_3_node_253 | 0.4 | n |  | TRUE
143 | bus_LV_662-2_0_3_node_260 | 0.4 | n |  | TRUE
144 | bus_LV_662-2_0_3_node_261 | 0.4 | n |  | TRUE
145 | bus_LV_662-2_0_3_node_307 | 0.4 | n |  | TRUE
146 | bus_LV_662-2_0_3_node_308 | 0.4 | n |  | TRUE
147 | bus_LV_662-2_0_3_node_297 | 0.4 | n |  | TRUE
148 | bus_LV_662-2_0_3_node_302 | 0.4 | n |  | TRUE
149 | bus_LV_662-2_0_3_node_294 | 0.4 | n |  | TRUE
150 | bus_LV_662-2_0_3_node_303 | 0.4 | n |  | TRUE
151 | bus_LV_662-2_0_3_node_305 | 0.4 | n |  | TRUE
152 | bus_LV_662-2_0_3_node_296 | 0.4 | n |  | TRUE
153 | bus_LV_662-2_0_3_node_298 | 0.4 | n |  | TRUE
154 | bus_LV_662-2_0_3_node_300 | 0.4 | n |  | TRUE
155 | bus_LV_662-2_0_3_node_306 | 0.4 | n |  | TRUE
156 | bus_LV_662-2_0_3_node_313 | 0.4 | n |  | TRUE
157 | bus_LV_662-2_0_3_node_314 | 0.4 | n |  | TRUE
158 | bus_LV_662-2_0_3_node_315 | 0.4 | n |  | TRUE
159 | bus_LV_662-2_0_3_node_316 | 0.4 | n |  | TRUE
160 | bus_MV_381_1_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_662-2_0_3_load_0 | 0 | 0.00046311 | 0.00011607 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_662-2_0_3_load_1 | 1 | 0.00057272 | 0.00014354 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_662-2_0_3_load_170 | 5 | 0.0018408 | 0.00046134 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_662-2_0_3_load_15 | 6 | 0.0022029 | 0.00055211 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_662-2_0_3_load_193 | 8 | 0.00095763 | 0.00024 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_662-2_0_3_load_192 | 9 | 0.0011041 | 0.00027671 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_662-2_0_3_load_206 | 13 | 0.0038306 | 0.00096004 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_662-2_0_3_load_169 | 14 | 0.018681 | 0.0046818 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_662-2_0_3_load_204 | 15 | 0.00063132 | 0.00015822 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_662-2_0_3_load_11 | 16 | 0.00094971 | 0.00023802 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_662-2_0_3_load_12 | 17 | 0.0025478 | 0.00063854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_662-2_0_3_load_14 | 18 | 0.0012185 | 0.00030537 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_662-2_0_3_load_16 | 19 | 0.0031285 | 0.00078407 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_662-2_0_3_load_224 | 21 | 0.002411 | 0.00060426 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_662-2_0_3_load_216 | 22 | 0.0017082 | 0.00042811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_662-2_0_3_load_223 | 24 | 0.0036207 | 0.00090742 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_662-2_0_3_load_38 | 25 | 0.0061233 | 0.0015346 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_662-2_0_3_load_39 | 26 | 0.002417 | 0.00060575 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_662-2_0_3_load_43 | 29 | 0.0025939 | 0.0006501 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_662-2_0_3_load_41 | 30 | 0.0024994 | 0.0006264 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_662-2_0_3_load_295 | 31 | 0.0042631 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_662-2_0_3_load_239 | 34 | 0.0010768 | 0.00026986 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_662-2_0_3_load_254 | 37 | 0.0007581 | 0.00019 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_662-2_0_3_load_292 | 38 | 0.0079746 | 0.0019986 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_662-2_0_3_load_257 | 39 | 0.0020949 | 0.00052504 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_662-2_0_3_load_263 | 40 | 0.00071837 | 0.00018004 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_662-2_0_3_load_264 | 41 | 0.00064145 | 0.00016076 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_662-2_0_3_load_265 | 42 | 0.00034988 | 8.7687e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_662-2_0_3_load_266 | 43 | 0.0010627 | 0.00026633 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_662-2_0_3_load_267 | 44 | 0.00041391 | 0.00010373 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_662-2_0_3_load_272 | 45 | 0.0048319 | 0.001211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_662-2_0_3_load_268 | 46 | 0.00063725 | 0.00015971 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_662-2_0_3_load_269 | 47 | 0.00043268 | 0.00010844 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_662-2_0_3_load_283 | 49 | 0.00015959 | 3.9997e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_662-2_0_3_load_281 | 50 | 0.0021021 | 0.00052683 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_662-2_0_3_load_273 | 51 | 0.00037251 | 9.336e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_662-2_0_3_load_275 | 52 | 0.0014558 | 0.00036485 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_662-2_0_3_load_274 | 53 | 0.00045419 | 0.00011383 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_662-2_0_3_load_277 | 55 | 0.00019067 | 4.7785e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_662-2_0_3_load_278 | 56 | 0.0001751 | 4.3883e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_662-2_0_3_load_280 | 57 | 0.0038319 | 0.00096037 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_662-2_0_3_load_168 | 60 | 0.00096086 | 0.00024081 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_662-2_0_3_load_203 | 61 | 0.0035662 | 0.00089376 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_662-2_0_3_load_161 | 63 | 0.00095867 | 0.00024026 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_662-2_0_3_load_162 | 64 | 0.00093352 | 0.00023396 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_662-2_0_3_load_177 | 65 | 0.0012049 | 0.00030198 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_662-2_0_3_load_214 | 66 | 0.0012671 | 0.00031757 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_662-2_0_3_load_202 | 68 | 0.00055886 | 0.00014006 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_662-2_0_3_load_171 | 69 | 0.0011398 | 0.00028565 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_662-2_0_3_load_174 | 71 | 0.0015192 | 0.00038076 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_662-2_0_3_load_175 | 72 | 0.0011147 | 0.00027937 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_662-2_0_3_load_176 | 73 | 0.0011726 | 0.00029389 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_662-2_0_3_load_179 | 75 | 0.004093 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_662-2_0_3_load_180 | 76 | 0.0034105 | 0.00085475 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_662-2_0_3_load_182 | 78 | 0.00066249 | 0.00016604 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_662-2_0_3_load_183 | 79 | 0.00043732 | 0.0001096 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_662-2_0_3_load_186 | 83 | 0.0036072 | 0.00090405 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_662-2_0_3_load_213 | 84 | 0.00039647 | 9.9365e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_662-2_0_3_load_198 | 85 | 0.00048915 | 0.00012259 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_662-2_0_3_load_195 | 86 | 0.00059861 | 0.00015003 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_662-2_0_3_load_196 | 87 | 0.0007706 | 0.00019313 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_662-2_0_3_load_187 | 88 | 0.00050708 | 0.00012709 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_662-2_0_3_load_188 | 89 | 0.00074779 | 0.00018741 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_662-2_0_3_load_189 | 90 | 0.00046692 | 0.00011702 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_662-2_0_3_load_190 | 91 | 0.00064993 | 0.00016289 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_662-2_0_3_load_191 | 92 | 0.00056203 | 0.00014086 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_662-2_0_3_load_197 | 98 | 0.0010689 | 0.00026788 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_662-2_0_3_load_205 | 99 | 0.00083881 | 0.00021023 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_662-2_0_3_load_317 | 100 | 0.00096703 | 0.00024236 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_662-2_0_3_load_211 | 102 | 0.00077985 | 0.00019545 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_662-2_0_3_load_309 | 103 | 0.0038332 | 0.0009607 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_662-2_0_3_load_212 | 104 | 0.00070752 | 0.00017732 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_662-2_0_3_load_227 | 106 | 0.00084252 | 0.00021116 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_662-2_0_3_load_236 | 109 | 0.00056126 | 0.00014067 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_662-2_0_3_load_222 | 110 | 0.00138 | 0.00034585 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_662-2_0_3_load_249 | 113 | 0.0022368 | 0.0005606 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_662-2_0_3_load_237 | 114 | 0.00036491 | 9.1454e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_662-2_0_3_load_220 | 115 | 0.0039331 | 0.00098573 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_662-2_0_3_load_219 | 116 | 0.00036009 | 9.0247e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_662-2_0_3_load_262 | 117 | 0.0046603 | 0.001168 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_662-2_0_3_load_247 | 119 | 0.0016972 | 0.00042536 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_662-2_0_3_load_229 | 120 | 0.00074496 | 0.00018671 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_662-2_0_3_load_230 | 121 | 0.00066004 | 0.00016542 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_662-2_0_3_load_231 | 123 | 0.0032488 | 0.00081422 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_662-2_0_3_load_232 | 124 | 0.00061745 | 0.00015475 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_662-2_0_3_load_234 | 125 | 0.00075212 | 0.0001885 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_662-2_0_3_load_238 | 127 | 0.002891 | 0.00072456 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_662-2_0_3_load_311 | 128 | 0.0022923 | 0.0005745 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_662-2_0_3_load_301 | 131 | 0.0020612 | 0.00051658 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_662-2_0_3_load_293 | 133 | 0.0018458 | 0.00046259 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_662-2_0_3_load_243 | 134 | 0.0019455 | 0.00048759 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_662-2_0_3_load_244 | 135 | 0.0017817 | 0.00044654 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_662-2_0_3_load_245 | 136 | 0.0025573 | 0.00064093 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_662-2_0_3_load_246 | 137 | 0.0015362 | 0.00038502 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_662-2_0_3_load_248 | 138 | 0.0023719 | 0.00059446 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_662-2_0_3_load_250 | 139 | 0.0018276 | 0.00045804 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_662-2_0_3_load_251 | 140 | 0.0016591 | 0.00041581 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_662-2_0_3_load_252 | 141 | 0.002164 | 0.00054235 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_662-2_0_3_load_253 | 142 | 0.001333 | 0.00033408 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_662-2_0_3_load_260 | 143 | 0.001306 | 0.00032733 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_662-2_0_3_load_261 | 144 | 0.0013453 | 0.00033715 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_662-2_0_3_load_307 | 145 | 0.00037842 | 9.4841e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_662-2_0_3_load_308 | 146 | 0.00058617 | 0.00014691 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_662-2_0_3_load_297 | 147 | 0.0036114 | 0.00090511 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_662-2_0_3_load_294 | 149 | 0.0015841 | 0.00039702 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_662-2_0_3_load_303 | 150 | 0.0005489 | 0.00013757 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_662-2_0_3_load_305 | 151 | 0.0053531 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_662-2_0_3_load_296 | 152 | 0.0039128 | 0.00098064 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_662-2_0_3_load_298 | 153 | 0.0024887 | 0.00062374 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_662-2_0_3_load_300 | 154 | 0.0012731 | 0.00031908 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_662-2_0_3_load_306 | 155 | 0.0027547 | 0.00069041 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_662-2_0_3_load_313 | 156 | 0.00085766 | 0.00021495 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_662-2_0_3_load_314 | 157 | 0.00082249 | 0.00020614 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_662-2_0_3_load_315 | 158 | 0.000794 | 0.000199 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_662-2_0_3_load_316 | 159 | 0.0089639 | 0.0022466 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 115 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_662-2_0_3_line_0 |  | 0 | 1 | 0.023831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_662-2_0_3_line_1 |  | 0 | 2 | 0.047883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_662-2_0_3_line_2 |  | 1 | 3 | 0.023256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_662-2_0_3_line_3 |  | 2 | 4 | 0.02035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_662-2_0_3_line_4 |  | 3 | 5 | 0.055426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_662-2_0_3_line_5 |  | 4 | 6 | 0.02316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_662-2_0_3_line_6 |  | 5 | 14 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_662-2_0_3_line_7 |  | 6 | 12 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_662-2_0_3_line_8 |  | 7 | 8 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_662-2_0_3_line_9 |  | 7 | 9 | 0.0096579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_662-2_0_3_line_10 |  | 8 | 13 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_662-2_0_3_line_11 |  | 9 | 10 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_662-2_0_3_line_12 |  | 10 | 11 | 0.026574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_662-2_0_3_line_13 |  | 11 | 15 | 0.034515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_662-2_0_3_line_14 |  | 12 | 19 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_662-2_0_3_line_15 |  | 12 | 16 | 0.013198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_662-2_0_3_line_16 |  | 13 | 95 | 0.030322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_662-2_0_3_line_17 |  | 14 | 62 | 0.059994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_662-2_0_3_line_18 |  | 15 | 99 | 0.017814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_662-2_0_3_line_19 |  | 16 | 17 | 0.011777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_662-2_0_3_line_20 |  | 17 | 18 | 0.019853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_662-2_0_3_line_21 |  | 18 | 20 | 0.044112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_662-2_0_3_line_22 |  | 19 | 21 | 0.0015332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_662-2_0_3_line_23 |  | 20 | 22 | 0.025093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_662-2_0_3_line_24 |  | 20 | 23 | 0.028847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_662-2_0_3_line_25 |  | 21 | 24 | 0.03925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_662-2_0_3_line_26 |  | 22 | 106 | 0.0022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_662-2_0_3_line_27 |  | 23 | 110 | 0.029213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_662-2_0_3_line_28 |  | 23 | 107 | 0.029334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_662-2_0_3_line_29 |  | 25 | 26 | 0.036122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_662-2_0_3_line_30 |  | 25 | 27 | 0.043399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_662-2_0_3_line_31 |  | 27 | 28 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_662-2_0_3_line_32 |  | 27 | 29 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_662-2_0_3_line_33 |  | 28 | 32 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_662-2_0_3_line_34 |  | 28 | 33 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_662-2_0_3_line_35 |  | 28 | 34 | 0.11023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_662-2_0_3_line_36 |  | 29 | 35 | 0.013335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_662-2_0_3_line_37 |  | 30 | 31 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_662-2_0_3_line_38 |  | 31 | 36 | 0.043411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_662-2_0_3_line_39 |  | 32 | 37 | 0.26609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_662-2_0_3_line_40 |  | 33 | 39 | 0.021407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_662-2_0_3_line_41 |  | 35 | 38 | 0.0086823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_662-2_0_3_line_42 |  | 36 | 151 | 0.031347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_662-2_0_3_line_43 |  | 37 | 132 | 0.33834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_662-2_0_3_line_44 |  | 38 | 133 | 0.041453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_662-2_0_3_line_45 |  | 39 | 118 | 0.028568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_662-2_0_3_line_46 |  | 40 | 41 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_662-2_0_3_line_47 |  | 40 | 42 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_662-2_0_3_line_48 |  | 41 | 43 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_662-2_0_3_line_49 |  | 42 | 44 | 0.033211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_662-2_0_3_line_50 |  | 43 | 45 | 0.0064897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_662-2_0_3_line_51 |  | 45 | 51 | 0.0053303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_662-2_0_3_line_52 |  | 46 | 47 | 0.020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_662-2_0_3_line_53 |  | 47 | 48 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_662-2_0_3_line_54 |  | 48 | 49 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_662-2_0_3_line_55 |  | 48 | 50 | 0.01947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_662-2_0_3_line_56 |  | 49 | 56 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_662-2_0_3_line_57 |  | 50 | 57 | 0.046582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_662-2_0_3_line_58 |  | 51 | 52 | 0.043262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_662-2_0_3_line_59 |  | 52 | 53 | 0.011841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_662-2_0_3_line_60 |  | 53 | 54 | 0.027615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_662-2_0_3_line_61 |  | 54 | 55 | 0.042982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_662-2_0_3_line_62 |  | 54 | 56 | 0.024196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_662-2_0_3_line_63 |  | 57 | 58 | 0.25091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_662-2_0_3_line_64 |  | 58 | 59 | 1.1274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_662-2_0_3_line_65 |  | 59 | 116 | 0.09037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_662-2_0_3_line_66 |  | 60 | 61 | 0.14342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_662-2_0_3_line_67 |  | 61 | 68 | 0.040147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_662-2_0_3_line_68 |  | 62 | 63 | 0.046726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_662-2_0_3_line_69 |  | 62 | 64 | 0.011976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_662-2_0_3_line_70 |  | 63 | 65 | 0.0027716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_662-2_0_3_line_71 |  | 64 | 66 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_662-2_0_3_line_72 |  | 65 | 67 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_662-2_0_3_line_73 |  | 67 | 73 | 0.031231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_662-2_0_3_line_74 |  | 67 | 69 | 0.017272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_662-2_0_3_line_75 |  | 68 | 82 | 0.0222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_662-2_0_3_line_76 |  | 69 | 70 | 0.021547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_662-2_0_3_line_77 |  | 70 | 71 | 0.014188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_662-2_0_3_line_78 |  | 70 | 72 | 0.022209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_662-2_0_3_line_79 |  | 71 | 74 | 0.025933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_662-2_0_3_line_80 |  | 74 | 75 | 0.021168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_662-2_0_3_line_81 |  | 74 | 76 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_662-2_0_3_line_82 |  | 76 | 77 | 0.022414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_662-2_0_3_line_83 |  | 77 | 78 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_662-2_0_3_line_84 |  | 77 | 79 | 0.015477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_662-2_0_3_line_85 |  | 79 | 80 | 0.0092444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_662-2_0_3_line_86 |  | 80 | 84 | 0.002801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_662-2_0_3_line_87 |  | 80 | 85 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_662-2_0_3_line_88 |  | 81 | 82 | 0.008636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_662-2_0_3_line_89 |  | 81 | 83 | 0.034598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_662-2_0_3_line_90 |  | 83 | 86 | 0.0019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_662-2_0_3_line_91 |  | 84 | 93 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_662-2_0_3_line_92 |  | 85 | 98 | 0.0034627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_662-2_0_3_line_93 |  | 86 | 87 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_662-2_0_3_line_94 |  | 87 | 92 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_662-2_0_3_line_95 |  | 88 | 89 | 0.0069774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_662-2_0_3_line_96 |  | 88 | 90 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_662-2_0_3_line_97 |  | 89 | 91 | 0.0054332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_662-2_0_3_line_98 |  | 90 | 92 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_662-2_0_3_line_99 |  | 91 | 93 | 0.014675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_662-2_0_3_line_100 |  | 93 | 94 | 0.050114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_662-2_0_3_line_101 |  | 94 | 101 | 0.040035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_662-2_0_3_line_102 |  | 94 | 102 | 0.10106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_662-2_0_3_line_103 |  | 95 | 101 | 0.047781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_662-2_0_3_line_104 |  | 96 | 97 | 0.028451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_662-2_0_3_line_105 |  | 96 | 98 | 0.043141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_662-2_0_3_line_106 |  | 97 | 100 | 0.010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_662-2_0_3_line_107 |  | 101 | 103 | 0.023903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_662-2_0_3_line_108 |  | 102 | 104 | 0.12312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_662-2_0_3_line_109 |  | 103 | 105 | 0.035472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_662-2_0_3_line_110 |  | 105 | 128 | 0.012519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_662-2_0_3_line_111 |  | 106 | 111 | 0.019741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_662-2_0_3_line_112 |  | 107 | 108 | 0.095864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_662-2_0_3_line_113 |  | 107 | 109 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_662-2_0_3_line_114 |  | 108 | 112 | 0.058825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
115 | LV_662-2_0_3_line_115 |  | 108 | 113 | 0.045942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_662-2_0_3_line_116 |  | 109 | 114 | 0.0071514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_662-2_0_3_line_117 |  | 110 | 115 | 0.0004596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
118 | LV_662-2_0_3_line_118 |  | 111 | 120 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_662-2_0_3_line_119 |  | 111 | 121 | 0.039213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_662-2_0_3_line_120 |  | 112 | 117 | 0.022063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_662-2_0_3_line_121 |  | 112 | 118 | 0.045761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
122 | LV_662-2_0_3_line_122 |  | 113 | 119 | 0.056689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_662-2_0_3_line_123 |  | 114 | 127 | 0.0086319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_662-2_0_3_line_124 |  | 115 | 116 | 0.038953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_662-2_0_3_line_125 |  | 117 | 144 | 0.033418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_662-2_0_3_line_126 |  | 119 | 136 | 0.035374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_662-2_0_3_line_127 |  | 120 | 122 | 0.0095653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_662-2_0_3_line_128 |  | 122 | 123 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_662-2_0_3_line_129 |  | 124 | 125 | 0.00028424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_662-2_0_3_line_130 |  | 125 | 126 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_662-2_0_3_line_131 |  | 126 | 127 | 0.0045307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_662-2_0_3_line_132 |  | 129 | 130 | 0.05702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_662-2_0_3_line_133 |  | 129 | 131 | 0.052498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_662-2_0_3_line_134 |  | 130 | 147 | 0.040184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_662-2_0_3_line_135 |  | 131 | 148 | 0.048158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_662-2_0_3_line_136 |  | 132 | 145 | 0.31618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_662-2_0_3_line_137 |  | 133 | 149 | 0.023121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_662-2_0_3_line_138 |  | 134 | 135 | 0.025007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_662-2_0_3_line_139 |  | 134 | 136 | 0.023995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_662-2_0_3_line_140 |  | 135 | 137 | 0.0028001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_662-2_0_3_line_141 |  | 137 | 138 | 0.020355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_662-2_0_3_line_142 |  | 139 | 140 | 0.029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_662-2_0_3_line_143 |  | 139 | 141 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_662-2_0_3_line_144 |  | 140 | 142 | 0.0071542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_662-2_0_3_line_145 |  | 142 | 143 | 0.0060899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_662-2_0_3_line_146 |  | 143 | 144 | 0.0061175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_662-2_0_3_line_147 |  | 145 | 146 | 0.036198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_662-2_0_3_line_148 |  | 147 | 152 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_662-2_0_3_line_149 |  | 148 | 150 | 0.012785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_662-2_0_3_line_150 |  | 148 | 149 | 0.0093096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_662-2_0_3_line_151 |  | 150 | 156 | 0.039845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_662-2_0_3_line_152 |  | 151 | 155 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_662-2_0_3_line_153 |  | 152 | 153 | 0.017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_662-2_0_3_line_154 |  | 153 | 154 | 0.00044218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_662-2_0_3_line_155 |  | 154 | 155 | 0.017808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_662-2_0_3_line_156 |  | 156 | 157 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_662-2_0_3_line_157 |  | 157 | 158 | 0.0073734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_662-2_0_3_line_158 |  | 158 | 159 | 0.0071894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_662-2_0_3_trafo_220 | 0.63 MVA 20/0.4 kV | 160 | 115 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2584310.9978 | 1199258.3481 | 2584307.2406 | 1199256.9795 | 2584302.9982 | 1199259.2475 | 2584301.6188 | 1199252.97 | 2584293.6564 | 1199249.7353
1 | 2584332.0638 | 1199240.7164 | 2584333.0838 | 1199243.5263 | 2584339.7067 | 1199248.9451 | 2584337.7427 | 1199254.8424 | 2584314.614 | 1199252.5021 | 2584310.9978 | 1199258.3481
2 | 2584271.8654 | 1199241.6536 | 2584281.3906 | 1199244.7523 | 2584293.6564 | 1199249.7353
3 | 2584332.0638 | 1199240.7164 | 2584352.4115 | 1199242.297
4 | 2584271.8654 | 1199241.6536 | 2584272.974 | 1199186.2388
5 | 2584352.4115 | 1199242.297 | 2584370.2837 | 1199246.3299 | 2584375.0825 | 1199246.9492
6 | 2584272.974 | 1199186.2388 | 2584278.8911 | 1199180.6021 | 2584290.5845 | 1199173.335
7 | 2584386.4894 | 1199247.8326 | 2584379.2327 | 1199247.4848 | 2584375.0825 | 1199246.9492
8 | 2584396.5413 | 1199112.311 | 2584406.3189 | 1199095.346
9 | 2584396.5413 | 1199112.311 | 2584392.4324 | 1199110.3874 | 2584387.7975 | 1199108.2095
10 | 2584414.9617 | 1199078.8716 | 2584408.7591 | 1199091.1119 | 2584406.3189 | 1199095.346
11 | 2584377.3396 | 1199118.1868 | 2584383.1551 | 1199117.6712 | 2584387.7975 | 1199108.2095
12 | 2584379.5617 | 1199091.7111 | 2584377.3396 | 1199118.1868
13 | 2584379.5617 | 1199091.7111 | 2584373.1217 | 1199097.9647 | 2584355.8895 | 1199116.8135
14 | 2584386.4894 | 1199247.8326 | 2584379.72 | 1199269.9943
15 | 2584386.4894 | 1199247.8326 | 2584397.1782 | 1199247.5488 | 2584399.662 | 1199247.2228
16 | 2584425.2888 | 1199050.4912 | 2584424.1094 | 1199053.6626 | 2584420.671 | 1199066.4563 | 2584419.4317 | 1199070.0504 | 2584414.9617 | 1199078.8716
17 | 2584309.8848 | 1199116.5302 | 2584290.5845 | 1199173.335
18 | 2584341.2958 | 1199126.7751 | 2584353.0714 | 1199119.896 | 2584355.8895 | 1199116.8135
19 | 2584399.662 | 1199247.2228 | 2584406.4255 | 1199246.335 | 2584411.2566 | 1199245.2322
20 | 2584430.1174 | 1199239.1483 | 2584424.4494 | 1199241.4851 | 2584415.2444 | 1199244.3219 | 2584411.2566 | 1199245.2322
21 | 2584470.7962 | 1199222.0979 | 2584457.6306 | 1199227.324 | 2584435.1959 | 1199237.0546 | 2584430.1174 | 1199239.1483
22 | 2584379.72 | 1199269.9943 | 2584379.2722 | 1199271.4606
23 | 2584470.7962 | 1199222.0979 | 2584458.315 | 1199200.3286
24 | 2584470.7962 | 1199222.0979 | 2584482.2587 | 1199217.8212 | 2584490.5886 | 1199215.1202 | 2584493.7138 | 1199222.3271
25 | 2584382.4839 | 1199308.3979 | 2584377.603 | 1199293.6695 | 2584374.3739 | 1199287.4969 | 2584379.2722 | 1199271.4606
26 | 2584457.2164 | 1199198.4124 | 2584458.315 | 1199200.3286
27 | 2584493.7138 | 1199222.3271 | 2584495.9859 | 1199243.9773 | 2584496.2598 | 1199251.416
28 | 2584511.4443 | 1199209.9853 | 2584490.5886 | 1199215.1202 | 2584493.7138 | 1199222.3271
29 | 2584807.2128 | 1199264.9216 | 2584793.7475 | 1199231.4033
30 | 2584777.5694 | 1199191.1322 | 2584793.7475 | 1199231.4033
31 | 2584777.5694 | 1199191.1322 | 2584767.7538 | 1199166.7664
32 | 2584777.5694 | 1199191.1322 | 2584788.9252 | 1199186.6896 | 2584793.9306 | 1199184.7391
33 | 2584777.7954 | 1199154.5452 | 2584764.4982 | 1199159.0484 | 2584767.7538 | 1199166.7664
34 | 2584750.4459 | 1199163.031 | 2584764.4982 | 1199159.0484 | 2584767.7538 | 1199166.7664
35 | 2584767.7538 | 1199166.7664 | 2584760.3061 | 1199169.1423 | 2584695.763 | 1199189.1856 | 2584662.3412 | 1199198.9803
36 | 2584806.3508 | 1199179.8858 | 2584799.0337 | 1199182.7505 | 2584793.9306 | 1199184.7391
37 | 2584839.8837 | 1199346.2471 | 2584832.4597 | 1199327.767
38 | 2584856.5792 | 1199386.3133 | 2584849.8634 | 1199371.0888 | 2584839.8837 | 1199346.2471
39 | 2584777.7954 | 1199154.5452 | 2584770.4061 | 1199147.0379 | 2584750.49 | 1199100.1526 | 2584737.4823 | 1199069.2026 | 2584705.2765 | 1198989.6315 | 2584676.6801 | 1198919.3562 | 2584673.1507 | 1198910.7145
40 | 2584750.4459 | 1199163.031 | 2584740.6863 | 1199157.5864 | 2584730.8719 | 1199160.4765
41 | 2584806.3508 | 1199179.8858 | 2584813.4905 | 1199184.8262
42 | 2584856.5792 | 1199386.3133 | 2584879.9812 | 1199365.4571
43 | 2584780.4428 | 1198621.6295 | 2584747.6167 | 1198660.0565 | 2584714.51 | 1198710.5576 | 2584693.2581 | 1198742.9186 | 2584652.7988 | 1198805.9123 | 2584646.4661 | 1198815.645 | 2584641.5649 | 1198825.374 | 2584642.8256 | 1198835.8986 | 2584648.6047 | 1198850.6139 | 2584673.1507 | 1198910.7145
44 | 2584813.4905 | 1199184.8262 | 2584828.0882 | 1199194.9273 | 2584838.7339 | 1199201.5926 | 2584848.7683 | 1199206.4328
45 | 2584708.6291 | 1199176.957 | 2584721.6055 | 1199163.2051 | 2584730.8719 | 1199160.4765
46 | 2584592.9059 | 1200932.0938 | 2584588.8209 | 1200920.3121
47 | 2584592.9059 | 1200932.0938 | 2584594.4267 | 1200936.4797 | 2584596.4802 | 1200943.1156
48 | 2584585.4848 | 1200910.6907 | 2584588.8209 | 1200920.3121
49 | 2584596.4802 | 1200943.1156 | 2584603.0926 | 1200964.4835 | 2584605.1553 | 1200975.1292
50 | 2584585.4848 | 1200910.6907 | 2584583.3588 | 1200904.5591
51 | 2584581.7868 | 1200899.4668 | 2584582.9694 | 1200903.436 | 2584583.3588 | 1200904.5591
52 | 2584584.5902 | 1200740.965 | 2584583.1344 | 1200747.0732 | 2584578.5746 | 1200760.1544
53 | 2584573.9924 | 1200773.3 | 2584578.5746 | 1200760.1544
54 | 2584573.9924 | 1200773.3 | 2584584.6206 | 1200785.957 | 2584585.4396 | 1200787.0285
55 | 2584573.9924 | 1200773.3 | 2584562.6631 | 1200757.4653
56 | 2584592.7073 | 1200797.6137 | 2584591.4563 | 1200794.8997 | 2584585.4396 | 1200787.0285
57 | 2584563.4675 | 1200711.9765 | 2584560.7021 | 1200726.3313 | 2584558.8788 | 1200736.4526 | 2584558.6292 | 1200742.9234 | 2584559.5295 | 1200749.5914 | 2584562.6631 | 1200757.4653 | 2584562.6631 | 1200757.4653
58 | 2584587.6851 | 1200858.3269 | 2584582.5465 | 1200869.5298 | 2584579.8722 | 1200877.3299 | 2584578.5313 | 1200888.5394 | 2584581.7868 | 1200899.4668
59 | 2584592.6217 | 1200847.5644 | 2584587.6851 | 1200858.3269
60 | 2584598.7091 | 1200820.9172 | 2584598.118 | 1200830.724 | 2584595.5344 | 1200841.2142 | 2584592.6217 | 1200847.5644
61 | 2584598.7091 | 1200820.9172 | 2584567.5114 | 1200813.0049 | 2584557.1529 | 1200809.9613
62 | 2584598.7091 | 1200820.9172 | 2584597.2152 | 1200811.3381 | 2584594.9315 | 1200802.4392 | 2584592.7073 | 1200797.6137
63 | 2584453.02 | 1200502.7689 | 2584505.7233 | 1200551.4909 | 2584518.3592 | 1200563.2199 | 2584524.5026 | 1200569.2627 | 2584530.3198 | 1200575.7622 | 2584536.0396 | 1200582.8622 | 2584541.0447 | 1200590.2866 | 2584545.8146 | 1200597.9894 | 2584556.7238 | 1200624.8867 | 2584561.4207 | 1200639.6492 | 2584564.8262 | 1200655.4711 | 2584566.2166 | 1200672.0543 | 2584565.8588 | 1200692.5329 | 2584564.3897 | 1200707.1891 | 2584563.4675 | 1200711.9765
64 | 2584460.165 | 1199375.4194 | 2584453.02 | 1200502.7689
65 | 2584460.165 | 1199375.4194 | 2584475.6246 | 1199312.9787 | 2584484.9802 | 1199288.6732
66 | 2584293.7515 | 1199056.3398 | 2584358.3474 | 1198946.2552 | 2584368.4988 | 1198934.1719
67 | 2584394.323 | 1198903.433 | 2584368.4988 | 1198934.1719
68 | 2584309.8848 | 1199116.5302 | 2584324.6975 | 1199103.6064 | 2584336.7919 | 1199090.5452 | 2584339.7133 | 1199081.751
69 | 2584309.8848 | 1199116.5302 | 2584300.7269 | 1199108.8123
70 | 2584340.5871 | 1199079.1208 | 2584339.7133 | 1199081.751
71 | 2584296.386 | 1199093.6646 | 2584293.6314 | 1199100.0087 | 2584296.1036 | 1199104.9159 | 2584300.7269 | 1199108.8123
72 | 2584345.9699 | 1199062.9173 | 2584340.5871 | 1199079.1208
73 | 2584345.9699 | 1199062.9173 | 2584319.0357 | 1199046.9797
74 | 2584345.9699 | 1199062.9173 | 2584351.5436 | 1199046.5697
75 | 2584408.6027 | 1198886.4355 | 2584394.323 | 1198903.433
76 | 2584358.4969 | 1199026.1757 | 2584351.5436 | 1199046.5697
77 | 2584358.4969 | 1199026.1757 | 2584365.8857 | 1199014.0633
78 | 2584339.3561 | 1199014.8199 | 2584358.4969 | 1199026.1757
79 | 2584379.3908 | 1198991.9245 | 2584365.8857 | 1199014.0633
80 | 2584379.3908 | 1198991.9245 | 2584361.3241 | 1198980.8105
81 | 2584379.3908 | 1198991.9245 | 2584387.8004 | 1198978.6375
82 | 2584399.7876 | 1198959.698 | 2584387.8004 | 1198978.6375
83 | 2584399.7876 | 1198959.698 | 2584409.4887 | 1198945.1757
84 | 2584399.7876 | 1198959.698 | 2584414.1885 | 1198965.3674
85 | 2584422.7904 | 1198968.7537 | 2584414.1885 | 1198965.3674
86 | 2584422.7904 | 1198968.7537 | 2584424.1412 | 1198966.3
87 | 2584422.7904 | 1198968.7537 | 2584418.8677 | 1198980.0134
88 | 2584408.6027 | 1198886.4355 | 2584417.2092 | 1198887.4023
89 | 2584417.2092 | 1198887.4023 | 2584423.9672 | 1198880.3364 | 2584441.3224 | 1198875.555 | 2584447.9284 | 1198877.2462
90 | 2584449.7898 | 1198877.7227 | 2584447.9284 | 1198877.2462
91 | 2584430.8684 | 1198954.0802 | 2584424.1412 | 1198966.3
92 | 2584417.7285 | 1198983.2834 | 2584418.8677 | 1198980.0134
93 | 2584449.7898 | 1198877.7227 | 2584452.8426 | 1198878.5043 | 2584464.1696 | 1198883.2883 | 2584467.5671 | 1198886.8147 | 2584469.5824 | 1198891.7009
94 | 2584469.5824 | 1198891.7009 | 2584469.5824 | 1198891.7009 | 2584469.667 | 1198906.5865
95 | 2584443.3652 | 1198938.3267 | 2584447.7015 | 1198932.8604
96 | 2584460.1307 | 1198917.7173 | 2584454.508 | 1198924.2801 | 2584447.7015 | 1198932.8604
97 | 2584443.3652 | 1198938.3267 | 2584439.9886 | 1198942.5833
98 | 2584460.1307 | 1198917.7173 | 2584469.667 | 1198906.5865 | 2584469.667 | 1198906.5865
99 | 2584430.8684 | 1198954.0802 | 2584439.9886 | 1198942.5833
100 | 2584430.8684 | 1198954.0802 | 2584444.4441 | 1198962.7827 | 2584454.9063 | 1198980.4871 | 2584466.4673 | 1198987.4495
101 | 2584453.1651 | 1199019.2458 | 2584447.9937 | 1199015.7241 | 2584461.1349 | 1198995.1787 | 2584463.5546 | 1198991.6927 | 2584466.4673 | 1198987.4495
102 | 2584466.4673 | 1198987.4495 | 2584476.3279 | 1198973.1049 | 2584488.0064 | 1198958.033 | 2584505.8913 | 1198934.5292 | 2584513.6782 | 1198924.926 | 2584516.6634 | 1198922.1945 | 2584524.0155 | 1198915.1605 | 2584527.4084 | 1198911.0939 | 2584529.1546 | 1198908.4477
103 | 2584453.1651 | 1199019.2458 | 2584447.9937 | 1199015.7241 | 2584425.2888 | 1199050.4912
104 | 2584402.1632 | 1199023.5151 | 2584396.6188 | 1199022.9515 | 2584378.4966 | 1199037.0067
105 | 2584402.1632 | 1199023.5151 | 2584416.0646 | 1198988.0595 | 2584417.7285 | 1198983.2834
106 | 2584378.4966 | 1199037.0067 | 2584374.3204 | 1199047.1453
107 | 2584453.1651 | 1199019.2458 | 2584464.6165 | 1199001.7843 | 2584467.0879 | 1199003.5232
108 | 2584595.461 | 1198804.7266 | 2584589.5482 | 1198814.8363 | 2584584.8175 | 1198822.7639 | 2584575.8319 | 1198837.0727 | 2584564.6373 | 1198853.9886 | 2584530.4875 | 1198906.4278 | 2584529.1546 | 1198908.4477
109 | 2584475.5476 | 1199027.0693 | 2584474.7927 | 1199026.6489 | 2584458.5787 | 1199016.3746 | 2584467.0879 | 1199003.5232
110 | 2584482.3803 | 1199016.5681 | 2584475.5476 | 1199027.0693
111 | 2584447.0495 | 1199181.4936 | 2584453.6634 | 1199192.2155 | 2584457.2164 | 1199198.4124
112 | 2584511.4443 | 1199209.9853 | 2584532.1833 | 1199206.8518 | 2584548.6549 | 1199205.1525 | 2584565.4034 | 1199204.5754 | 2584606.8673 | 1199201.5774
113 | 2584511.4443 | 1199209.9853 | 2584510.6988 | 1199201.4938 | 2584510.7779 | 1199193.6579
114 | 2584664.6633 | 1199190.044 | 2584642.4841 | 1199195.7154 | 2584606.8673 | 1199201.5774
115 | 2584606.8673 | 1199201.5774 | 2584605.5221 | 1199190.7639 | 2584612.2604 | 1199158.4846 | 2584612.4366 | 1199156.4224
116 | 2584510.7779 | 1199193.6579 | 2584510.8319 | 1199188.2974 | 2584511.0233 | 1199186.517
117 | 2584496.2598 | 1199251.416 | 2584496.2767 | 1199251.8753
118 | 2584447.0495 | 1199181.4936 | 2584450.4591 | 1199171.7706
119 | 2584447.0495 | 1199181.4936 | 2584440.4356 | 1199170.7718 | 2584423.5419 | 1199150.206
120 | 2584664.6633 | 1199190.044 | 2584664.2978 | 1199169.3894 | 2584664.263 | 1199167.9842
121 | 2584708.6291 | 1199176.957 | 2584673.6797 | 1199187.7751 | 2584664.6633 | 1199190.044
122 | 2584617.2627 | 1199099.9391 | 2584612.4366 | 1199156.4224
123 | 2584511.0233 | 1199186.517 | 2584511.9459 | 1199177.9345
124 | 2584484.9802 | 1199288.6732 | 2584493.2296 | 1199267.2414 | 2584495.9477 | 1199261.4534 | 2584496.3792 | 1199254.6598 | 2584496.2767 | 1199251.8753
125 | 2584664.263 | 1199167.9842 | 2584663.4349 | 1199134.5765
126 | 2584617.2627 | 1199099.9391 | 2584620.2741 | 1199064.6938
127 | 2584453.6244 | 1199162.7441 | 2584450.4591 | 1199171.7706
128 | 2584453.6244 | 1199162.7441 | 2584469.0661 | 1199166.4003
129 | 2584500.4701 | 1199172.2198 | 2584500.7529 | 1199172.2484
130 | 2584512.4301 | 1199173.4297 | 2584500.7529 | 1199172.2484
131 | 2584512.4301 | 1199173.4297 | 2584511.9459 | 1199177.9345
132 | 2584966.3966 | 1199281.5447 | 2584978.7272 | 1199232.0202 | 2584979.0699 | 1199226.0495
133 | 2584979.0699 | 1199226.0495 | 2584970.5073 | 1199227.105 | 2584949.3116 | 1199227.3588 | 2584937.272 | 1199226.3999 | 2584926.7998 | 1199224.7853
134 | 2584966.3966 | 1199281.5447 | 2584952.2164 | 1199301.08 | 2584940.2382 | 1199311.7551
135 | 2584879.2104 | 1199217.4091 | 2584899.2498 | 1199220.5376 | 2584926.7998 | 1199224.7853
136 | 2584780.4428 | 1198621.6295 | 2584488.7551 | 1198499.6145
137 | 2584848.7683 | 1199206.4328 | 2584857.235 | 1199210.5169 | 2584870.3274 | 1199214.6231
138 | 2584622.3169 | 1199040.7858 | 2584624.4458 | 1199015.8697
139 | 2584622.3169 | 1199040.7858 | 2584620.2741 | 1199064.6938
140 | 2584624.4458 | 1199015.8697 | 2584624.6842 | 1199013.0798
141 | 2584626.417 | 1198992.7987 | 2584624.6842 | 1199013.0798
142 | 2584662.4994 | 1199085.534 | 2584662.4706 | 1199095.6766 | 2584662.9551 | 1199115.2209
143 | 2584662.5783 | 1199057.7448 | 2584662.4994 | 1199085.534
144 | 2584663.1324 | 1199122.3728 | 2584662.9551 | 1199115.2209
145 | 2584663.1324 | 1199122.3728 | 2584663.2833 | 1199128.4608
146 | 2584663.4349 | 1199134.5765 | 2584663.2833 | 1199128.4608
147 | 2584488.7551 | 1198499.6145 | 2584481.0811 | 1198466.6089 | 2584480.5923 | 1198464.3491
148 | 2584920.0449 | 1199329.7517 | 2584940.2382 | 1199311.7551
149 | 2584879.2104 | 1199217.4091 | 2584877.582 | 1199223.75 | 2584875.6142 | 1199229.6697
150 | 2584879.2104 | 1199217.4091 | 2584870.3274 | 1199214.6231
151 | 2584875.6142 | 1199229.6697 | 2584863.0455 | 1199267.4802
152 | 2584879.9812 | 1199365.4571 | 2584893.3061 | 1199353.5817
153 | 2584920.0449 | 1199329.7517 | 2584906.9304 | 1199341.4395
154 | 2584906.9304 | 1199341.4395 | 2584906.6003 | 1199341.7337
155 | 2584893.3061 | 1199353.5817 | 2584906.6003 | 1199341.7337
156 | 2584863.0455 | 1199267.4802 | 2584857.1361 | 1199285.2573
157 | 2584857.1361 | 1199285.2573 | 2584854.8103 | 1199292.2542
158 | 2584852.5424 | 1199299.0766 | 2584854.8103 | 1199292.2542

## bus_geodata
| x | y | coords
0 | 2584310.9978 | 1199258.3481
1 | 2584293.6564 | 1199249.7353
2 | 2584332.0638 | 1199240.7164
3 | 2584271.8654 | 1199241.6536
4 | 2584352.4115 | 1199242.297
5 | 2584272.974 | 1199186.2388
6 | 2584375.0825 | 1199246.9492
7 | 2584396.5413 | 1199112.311
8 | 2584406.3189 | 1199095.346
9 | 2584387.7975 | 1199108.2095
10 | 2584377.3396 | 1199118.1868
11 | 2584379.5617 | 1199091.7111
12 | 2584386.4894 | 1199247.8326
13 | 2584414.9617 | 1199078.8716
14 | 2584290.5845 | 1199173.335
15 | 2584355.8895 | 1199116.8135
16 | 2584399.662 | 1199247.2228
17 | 2584411.2566 | 1199245.2322
18 | 2584430.1174 | 1199239.1483
19 | 2584379.72 | 1199269.9943
20 | 2584470.7962 | 1199222.0979
21 | 2584379.2722 | 1199271.4606
22 | 2584458.315 | 1199200.3286
23 | 2584493.7138 | 1199222.3271
24 | 2584382.4839 | 1199308.3979
25 | 2584793.7475 | 1199231.4033
26 | 2584807.2128 | 1199264.9216
27 | 2584777.5694 | 1199191.1322
28 | 2584767.7538 | 1199166.7664
29 | 2584793.9306 | 1199184.7391
30 | 2584832.4597 | 1199327.767
31 | 2584839.8837 | 1199346.2471
32 | 2584777.7954 | 1199154.5452
33 | 2584750.4459 | 1199163.031
34 | 2584662.3412 | 1199198.9803
35 | 2584806.3508 | 1199179.8858
36 | 2584856.5792 | 1199386.3133
37 | 2584673.1507 | 1198910.7145
38 | 2584813.4905 | 1199184.8262
39 | 2584730.8719 | 1199160.4765
40 | 2584592.9059 | 1200932.0938
41 | 2584588.8209 | 1200920.3121
42 | 2584596.4802 | 1200943.1156
43 | 2584585.4848 | 1200910.6907
44 | 2584605.1553 | 1200975.1292
45 | 2584583.3588 | 1200904.5591
46 | 2584584.5902 | 1200740.965
47 | 2584578.5746 | 1200760.1544
48 | 2584573.9924 | 1200773.3
49 | 2584585.4396 | 1200787.0285
50 | 2584562.6631 | 1200757.4653
51 | 2584581.7868 | 1200899.4668
52 | 2584587.6851 | 1200858.3269
53 | 2584592.6217 | 1200847.5644
54 | 2584598.7091 | 1200820.9172
55 | 2584557.1529 | 1200809.9613
56 | 2584592.7073 | 1200797.6137
57 | 2584563.4675 | 1200711.9765
58 | 2584453.0201 | 1200502.7688
59 | 2584460.165 | 1199375.4194
60 | 2584293.7515 | 1199056.3398
61 | 2584368.4988 | 1198934.1719
62 | 2584309.8848 | 1199116.5302
63 | 2584339.7133 | 1199081.751
64 | 2584300.7269 | 1199108.8123
65 | 2584340.5871 | 1199079.1208
66 | 2584296.386 | 1199093.6646
67 | 2584345.9699 | 1199062.9173
68 | 2584394.323 | 1198903.433
69 | 2584351.5436 | 1199046.5697
70 | 2584358.4969 | 1199026.1757
71 | 2584365.8857 | 1199014.0633
72 | 2584339.3561 | 1199014.8199
73 | 2584319.0357 | 1199046.9797
74 | 2584379.3908 | 1198991.9245
75 | 2584361.3241 | 1198980.8105
76 | 2584387.8004 | 1198978.6375
77 | 2584399.7876 | 1198959.698
78 | 2584409.4887 | 1198945.1757
79 | 2584414.1885 | 1198965.3674
80 | 2584422.7904 | 1198968.7537
81 | 2584417.2092 | 1198887.4023
82 | 2584408.6027 | 1198886.4355
83 | 2584447.9284 | 1198877.2462
84 | 2584424.1412 | 1198966.3
85 | 2584418.8677 | 1198980.0134
86 | 2584449.7898 | 1198877.7227
87 | 2584469.5824 | 1198891.7009
88 | 2584447.7015 | 1198932.8604
89 | 2584443.3652 | 1198938.3267
90 | 2584460.1307 | 1198917.7173
91 | 2584439.9886 | 1198942.5833
92 | 2584469.667 | 1198906.5865
93 | 2584430.8684 | 1198954.0802
94 | 2584466.4673 | 1198987.4495
95 | 2584425.2888 | 1199050.4912
96 | 2584402.1632 | 1199023.5151
97 | 2584378.4966 | 1199037.0067
98 | 2584417.7285 | 1198983.2834
99 | 2584341.2958 | 1199126.7751
100 | 2584374.3204 | 1199047.1453
101 | 2584453.1651 | 1199019.2458
102 | 2584529.1546 | 1198908.4477
103 | 2584467.0879 | 1199003.5232
104 | 2584595.461 | 1198804.7266
105 | 2584475.5476 | 1199027.0693
106 | 2584457.2164 | 1199198.4124
107 | 2584511.4443 | 1199209.9853
108 | 2584606.8673 | 1199201.5774
109 | 2584510.7779 | 1199193.6579
110 | 2584496.2598 | 1199251.416
111 | 2584447.0495 | 1199181.4936
112 | 2584664.6633 | 1199190.044
113 | 2584612.4366 | 1199156.4224
114 | 2584511.0233 | 1199186.517
115 | 2584496.2767 | 1199251.8753
116 | 2584484.9802 | 1199288.6732
117 | 2584664.263 | 1199167.9842
118 | 2584708.6291 | 1199176.957
119 | 2584617.2627 | 1199099.9391
120 | 2584450.4591 | 1199171.7706
121 | 2584423.5419 | 1199150.206
122 | 2584453.6244 | 1199162.7441
123 | 2584469.0661 | 1199166.4003
124 | 2584500.4701 | 1199172.2198
125 | 2584500.7529 | 1199172.2484
126 | 2584512.4301 | 1199173.4297
127 | 2584511.9459 | 1199177.9345
128 | 2584482.3803 | 1199016.5681
129 | 2584979.0699 | 1199226.0495
130 | 2584966.3966 | 1199281.5447
131 | 2584926.7998 | 1199224.7853
132 | 2584780.4428 | 1198621.6295
133 | 2584848.7683 | 1199206.4328
134 | 2584622.3169 | 1199040.7858
135 | 2584624.4458 | 1199015.8697
136 | 2584620.2741 | 1199064.6938
137 | 2584624.6842 | 1199013.0798
138 | 2584626.417 | 1198992.7987
139 | 2584662.4994 | 1199085.534
140 | 2584662.9551 | 1199115.2209
141 | 2584662.5783 | 1199057.7448
142 | 2584663.1324 | 1199122.3728
143 | 2584663.2833 | 1199128.4608
144 | 2584663.4349 | 1199134.5765
145 | 2584488.7551 | 1198499.6145
146 | 2584480.5923 | 1198464.3491
147 | 2584940.2382 | 1199311.7551
148 | 2584879.2104 | 1199217.4091
149 | 2584870.3274 | 1199214.6231
150 | 2584875.6142 | 1199229.6697
151 | 2584879.9812 | 1199365.4571
152 | 2584920.0449 | 1199329.7517
153 | 2584906.9304 | 1199341.4395
154 | 2584906.6003 | 1199341.7337
155 | 2584893.3061 | 1199353.5817
156 | 2584863.0455 | 1199267.4802
157 | 2584857.1361 | 1199285.2573
158 | 2584854.8103 | 1199292.2542
159 | 2584852.5424 | 1199299.0766
160 | 2584493.7138 | 1199222.3271

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1