## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6620-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6620-1_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6620-1_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_6620-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6620-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6620-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6620-1_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6620-1_0_4_node_93 | 0.4 | n |  | TRUE
8 | bus_LV_6620-1_0_4_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_6620-1_0_4_node_95 | 0.4 | n |  | TRUE
10 | bus_LV_6620-1_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6620-1_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6620-1_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_6620-1_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_6620-1_0_4_node_96 | 0.4 | n |  | TRUE
15 | bus_LV_6620-1_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_6620-1_0_4_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_6620-1_0_4_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_6620-1_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_6620-1_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6620-1_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6620-1_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6620-1_0_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_6620-1_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_6620-1_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6620-1_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_6620-1_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_6620-1_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_6620-1_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_6620-1_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6620-1_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6620-1_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_6620-1_0_4_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_6620-1_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_6620-1_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6620-1_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6620-1_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_6620-1_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6620-1_0_4_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_6620-1_0_4_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_6620-1_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6620-1_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6620-1_0_4_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_6620-1_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6620-1_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6620-1_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6620-1_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6620-1_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_6620-1_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_6620-1_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_6620-1_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6620-1_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_6620-1_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6620-1_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_6620-1_0_4_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_6620-1_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_6620-1_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6620-1_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_6620-1_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_6620-1_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_6620-1_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_6620-1_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6620-1_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6620-1_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_6620-1_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6620-1_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_6620-1_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_6620-1_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_6620-1_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6620-1_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6620-1_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_6620-1_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_6620-1_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_6620-1_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_6620-1_0_4_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_6620-1_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_6620-1_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_6620-1_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_6620-1_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_6620-1_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_6620-1_0_4_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_6620-1_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_6620-1_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_6620-1_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_6620-1_0_4_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_6620-1_0_4_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_6620-1_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_6620-1_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_6620-1_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_6620-1_0_4_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_6620-1_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_MV_458_1_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6620-1_0_4_load_0 | 0 | 0.0079494 | 0.0019923 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6620-1_0_4_load_3 | 3 | 0.00086301 | 0.00021629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6620-1_0_4_load_93 | 7 | 0.0011426 | 0.00028636 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6620-1_0_4_load_95 | 9 | 0.011399 | 0.0028569 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6620-1_0_4_load_10 | 10 | 0.0020839 | 0.00052229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6620-1_0_4_load_6 | 11 | 0.0013568 | 0.00034005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6620-1_0_4_load_96 | 14 | 0.0015108 | 0.00037864 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6620-1_0_4_load_70 | 16 | 0.0010866 | 0.00027233 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6620-1_0_4_load_67 | 17 | 0.0068635 | 0.0017202 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6620-1_0_4_load_7 | 18 | 0.00072343 | 0.00018131 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6620-1_0_4_load_22 | 23 | 0.029329 | 0.0073505 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6620-1_0_4_load_11 | 25 | 0.0011718 | 0.00029369 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6620-1_0_4_load_12 | 26 | 0.00094568 | 0.00023701 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6620-1_0_4_load_14 | 28 | 0.0022254 | 0.00055773 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6620-1_0_4_load_30 | 30 | 0.015414 | 0.0038632 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6620-1_0_4_load_31 | 31 | 0.0096753 | 0.0024249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6620-1_0_4_load_54 | 32 | 0.0023252 | 0.00058274 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6620-1_0_4_load_38 | 33 | 0.0064166 | 0.0016081 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6620-1_0_4_load_36 | 35 | 0.0041464 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6620-1_0_4_load_33 | 37 | 0.0047266 | 0.0011846 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6620-1_0_4_load_75 | 38 | 0.0096173 | 0.0024103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6620-1_0_4_load_74 | 39 | 0.0095587 | 0.0023956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6620-1_0_4_load_37 | 40 | 0.0090806 | 0.0022758 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6620-1_0_4_load_34 | 41 | 0.0012768 | 0.00032001 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6620-1_0_4_load_78 | 42 | 0.00034264 | 8.5875e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6620-1_0_4_load_25 | 43 | 0.0074005 | 0.0018547 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6620-1_0_4_load_26 | 44 | 0.011365 | 0.0028484 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6620-1_0_4_load_27 | 45 | 0.0066626 | 0.0016698 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6620-1_0_4_load_28 | 46 | 0.0059665 | 0.0014953 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6620-1_0_4_load_29 | 47 | 0.00816 | 0.0020451 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6620-1_0_4_load_60 | 48 | 0.0099061 | 0.0024827 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6620-1_0_4_load_61 | 49 | 0.0024698 | 0.00061899 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6620-1_0_4_load_35 | 52 | 0.0013027 | 0.00032649 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6620-1_0_4_load_72 | 53 | 0.0022115 | 0.00055426 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6620-1_0_4_load_71 | 54 | 0.0063597 | 0.0015939 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6620-1_0_4_load_39 | 55 | 0.0048145 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6620-1_0_4_load_42 | 57 | 0.016247 | 0.004072 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6620-1_0_4_load_64 | 59 | 0.0037113 | 0.00093015 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6620-1_0_4_load_63 | 60 | 0.013392 | 0.0033563 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6620-1_0_4_load_47 | 61 | 0.0050969 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6620-1_0_4_load_51 | 63 | 0.0020696 | 0.00051868 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6620-1_0_4_load_52 | 64 | 0.0086872 | 0.0021772 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6620-1_0_4_load_59 | 69 | 0.0015213 | 0.00038126 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6620-1_0_4_load_58 | 70 | 0.00098962 | 0.00024802 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6620-1_0_4_load_55 | 71 | 0.0015609 | 0.00039119 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6620-1_0_4_load_66 | 72 | 0.0013547 | 0.00033952 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6620-1_0_4_load_73 | 75 | 0.0043676 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6620-1_0_4_load_76 | 76 | 0.0033405 | 0.00083721 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6620-1_0_4_load_77 | 77 | 0.0005878 | 0.00014732 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6620-1_0_4_load_84 | 80 | 0.00076609 | 0.000192 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6620-1_0_4_load_83 | 81 | 0.0010173 | 0.00025497 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6620-1_0_4_load_85 | 83 | 0.00018876 | 4.7309e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6620-1_0_4_load_87 | 86 | 0.00027626 | 6.9236e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6620-1_0_4_load_90 | 88 | 0.00046182 | 0.00011574 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6620-1_0_4_load_91 | 89 | 0.006094 | 0.0015273 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6620-1_0_4_load_92 | 90 | 0.0051936 | 0.0013016 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6620-1_0_4_line_0 |  | 0 | 1 | 0.026902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6620-1_0_4_line_1 |  | 1 | 5 | 0.049597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6620-1_0_4_line_2 |  | 2 | 3 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6620-1_0_4_line_3 |  | 2 | 4 | 0.039973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6620-1_0_4_line_4 |  | 3 | 6 | 0.051407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6620-1_0_4_line_5 |  | 4 | 7 | 0.085609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6620-1_0_4_line_6 |  | 5 | 8 | 0.049226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6620-1_0_4_line_7 |  | 5 | 9 | 0.024001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6620-1_0_4_line_8 |  | 6 | 10 | 0.0021204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6620-1_0_4_line_9 |  | 6 | 11 | 0.010852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6620-1_0_4_line_10 |  | 7 | 12 | 0.15312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6620-1_0_4_line_11 |  | 8 | 16 | 0.022285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6620-1_0_4_line_12 |  | 8 | 17 | 0.015351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6620-1_0_4_line_13 |  | 10 | 21 | 0.028304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6620-1_0_4_line_14 |  | 11 | 18 | 0.0032399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6620-1_0_4_line_15 |  | 12 | 22 | 0.18653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6620-1_0_4_line_16 |  | 13 | 14 | 0.008471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6620-1_0_4_line_17 |  | 13 | 15 | 0.086132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6620-1_0_4_line_18 |  | 15 | 50 | 0.038915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6620-1_0_4_line_19 |  | 15 | 47 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6620-1_0_4_line_20 |  | 17 | 73 | 0.02944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6620-1_0_4_line_21 |  | 18 | 19 | 0.11656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6620-1_0_4_line_22 |  | 19 | 20 | 0.008507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6620-1_0_4_line_23 |  | 20 | 23 | 0.064353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6620-1_0_4_line_24 |  | 21 | 24 | 0.013997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6620-1_0_4_line_25 |  | 22 | 42 | 0.077884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6620-1_0_4_line_26 |  | 24 | 28 | 0.031701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6620-1_0_4_line_27 |  | 25 | 26 | 0.00011254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6620-1_0_4_line_28 |  | 25 | 27 | 0.0083279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6620-1_0_4_line_29 |  | 26 | 28 | 0.022831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6620-1_0_4_line_30 |  | 27 | 29 | 0.016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6620-1_0_4_line_31 |  | 29 | 30 | 0.025392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6620-1_0_4_line_32 |  | 30 | 31 | 0.0083812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6620-1_0_4_line_33 |  | 31 | 51 | 0.027906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6620-1_0_4_line_34 |  | 32 | 33 | 0.0060711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6620-1_0_4_line_35 |  | 33 | 51 | 0.01337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6620-1_0_4_line_36 |  | 34 | 35 | 0.01735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6620-1_0_4_line_37 |  | 34 | 36 | 0.022613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6620-1_0_4_line_38 |  | 34 | 37 | 0.046112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6620-1_0_4_line_39 |  | 35 | 40 | 0.013322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6620-1_0_4_line_40 |  | 36 | 38 | 0.030773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6620-1_0_4_line_41 |  | 37 | 41 | 0.0017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6620-1_0_4_line_42 |  | 38 | 39 | 0.041788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6620-1_0_4_line_43 |  | 40 | 51 | 0.037774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6620-1_0_4_line_44 |  | 41 | 52 | 0.00034139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6620-1_0_4_line_45 |  | 42 | 76 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6620-1_0_4_line_46 |  | 43 | 44 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6620-1_0_4_line_47 |  | 43 | 45 | 0.028506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6620-1_0_4_line_48 |  | 44 | 46 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6620-1_0_4_line_49 |  | 45 | 47 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6620-1_0_4_line_50 |  | 46 | 48 | 0.014763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6620-1_0_4_line_51 |  | 48 | 49 | 0.017218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6620-1_0_4_line_52 |  | 49 | 73 | 0.015231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6620-1_0_4_line_53 |  | 50 | 55 | 0.0043167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6620-1_0_4_line_54 |  | 52 | 53 | 0.0079891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6620-1_0_4_line_55 |  | 53 | 54 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6620-1_0_4_line_56 |  | 54 | 75 | 0.0013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6620-1_0_4_line_57 |  | 55 | 56 | 0.026142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6620-1_0_4_line_58 |  | 56 | 57 | 0.012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6620-1_0_4_line_59 |  | 58 | 59 | 0.047824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6620-1_0_4_line_60 |  | 58 | 60 | 0.034676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6620-1_0_4_line_61 |  | 59 | 66 | 0.021347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6620-1_0_4_line_62 |  | 60 | 65 | 0.034028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6620-1_0_4_line_63 |  | 61 | 62 | 0.011226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6620-1_0_4_line_64 |  | 62 | 65 | 0.006524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6620-1_0_4_line_65 |  | 63 | 64 | 0.045962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6620-1_0_4_line_66 |  | 64 | 67 | 0.1103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6620-1_0_4_line_67 |  | 66 | 72 | 0.0026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6620-1_0_4_line_68 |  | 66 | 70 | 0.0020292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6620-1_0_4_line_69 |  | 67 | 68 | 0.004636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6620-1_0_4_line_70 |  | 67 | 69 | 0.040263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6620-1_0_4_line_71 |  | 68 | 70 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6620-1_0_4_line_72 |  | 68 | 71 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6620-1_0_4_line_73 |  | 72 | 74 | 0.029379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6620-1_0_4_line_74 |  | 73 | 74 | 0.007843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6620-1_0_4_line_75 |  | 74 | 75 | 0.015626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6620-1_0_4_line_76 |  | 76 | 77 | 0.058454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6620-1_0_4_line_77 |  | 77 | 78 | 0.084436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6620-1_0_4_line_78 |  | 78 | 79 | 0.30542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6620-1_0_4_line_79 |  | 79 | 80 | 0.0023225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6620-1_0_4_line_80 |  | 79 | 81 | 0.058886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6620-1_0_4_line_81 |  | 80 | 84 | 0.16573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6620-1_0_4_line_82 |  | 81 | 82 | 0.0025202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6620-1_0_4_line_83 |  | 82 | 83 | 0.028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6620-1_0_4_line_84 |  | 84 | 85 | 0.39324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6620-1_0_4_line_85 |  | 85 | 89 | 0.031606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6620-1_0_4_line_86 |  | 86 | 87 | 0.065477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6620-1_0_4_line_87 |  | 87 | 88 | 0.067161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6620-1_0_4_line_88 |  | 87 | 89 | 0.064915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6620-1_0_4_line_89 |  | 88 | 90 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6620-1_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 91 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2488974.7379 | 1115146.8956 | 2489001.6061 | 1115148.2345
1 | 2488931.1194 | 1115141.192 | 2488932.4009 | 1115148.3065 | 2488967.8009 | 1115146.8227 | 2488974.7379 | 1115146.8956
2 | 2489180.4881 | 1115132.9049 | 2489180.422 | 1115130.9827 | 2489179.809 | 1115114.2226
3 | 2489180.4881 | 1115132.9049 | 2489180.7838 | 1115141.0382 | 2489180.8178 | 1115142.0494 | 2489181.3676 | 1115157.3049 | 2489181.403 | 1115158.3938 | 2489181.573 | 1115163.0382 | 2489181.5101 | 1115168.8766 | 2489181.4844 | 1115171.2675 | 2489181.4669 | 1115172.8466
4 | 2489177.9303 | 1115062.8502 | 2489179.809 | 1115114.2226
5 | 2489181.4669 | 1115172.8466 | 2489187.1206 | 1115168.2179 | 2489189.0644 | 1115166.3922 | 2489191.6524 | 1115164.7437 | 2489195.326 | 1115162.9086 | 2489199.1221 | 1115161.8606 | 2489208.7294 | 1115160.9842 | 2489229.2531 | 1115160.7084 | 2489245.5446 | 1115160.866 | 2489260.8644 | 1115161.942 | 2489263.5478 | 1115162.2414
6 | 2488967.4154 | 1115110.2502 | 2488967.0436 | 1115111.0353 | 2488964.1248 | 1115114.858 | 2488960.6309 | 1115117.6462 | 2488957.6923 | 1115119.5458 | 2488953.819 | 1115121.0178 | 2488948.8294 | 1115122.2657 | 2488947.666 | 1115122.4205 | 2488941.1417 | 1115130.9458 | 2488932.8279 | 1115140.0154 | 2488931.7692 | 1115140.8243 | 2488931.1194 | 1115141.192
7 | 2488931.1194 | 1115141.192 | 2488930.3399 | 1115141.6399 | 2488907.2822 | 1115143.0661
8 | 2489177.9303 | 1115062.8502 | 2489175.8099 | 1115062.8476
9 | 2489177.9303 | 1115062.8502 | 2489188.7822 | 1115062.7704
10 | 2489411.8356 | 1115197.5608 | 2489404.4113 | 1115195.3284 | 2489397.4277 | 1115193.1212 | 2489389.7599 | 1115189.8258 | 2489379.1622 | 1115185.9502 | 2489348.1107 | 1115176.0446 | 2489337.2342 | 1115172.9748 | 2489332.3056 | 1115171.6529 | 2489324.6653 | 1115170.2806 | 2489311.9148 | 1115168.6348 | 2489279.6087 | 1115164.0338 | 2489263.5478 | 1115162.2414
11 | 2488967.4154 | 1115110.2502 | 2488973.6404 | 1115114.8724 | 2488975.5065 | 1115116.8172 | 2488976.7042 | 1115118.5297 | 2488981.918 | 1115126.7648
12 | 2488967.4154 | 1115110.2502 | 2488967.713 | 1115109.6332 | 2488968.3454 | 1115108.3208 | 2488969.8744 | 1115102.8335 | 2488971.5423 | 1115095.5085
13 | 2489147.5058 | 1115062.7627 | 2489154.0101 | 1115062.8214 | 2489158.7755 | 1115062.8231 | 2489166.5379 | 1115062.8365 | 2489175.8099 | 1115062.8476
14 | 2489188.7822 | 1115062.7704 | 2489190.0932 | 1115062.7608 | 2489192.0216 | 1115062.8038
15 | 2489411.8356 | 1115197.5608 | 2489411.8976 | 1115200.1058 | 2489412.2721 | 1115202.8452 | 2489413.778 | 1115209.5999 | 2489432.9743 | 1115279.5285 | 2489450.4034 | 1115346.1762 | 2489450.8847 | 1115348.0019 | 2489454.7807 | 1115353.69 | 2489457.7596 | 1115362.8639 | 2489460.1137 | 1115372.9275 | 2489458.4606 | 1115376.7157
16 | 2488871.466 | 1115138.3739 | 2488872.4701 | 1115146.7832
17 | 2488833.3685 | 1115087.64 | 2488835.7185 | 1115093.2116 | 2488837.1839 | 1115114.9546 | 2488837.1877 | 1115125.2502 | 2488837.2245 | 1115131.8761 | 2488868.031 | 1115129.2309 | 2488868.4957 | 1115135.6044 | 2488871.466 | 1115138.3739
18 | 2488833.3685 | 1115087.64 | 2488830.6252 | 1115085.4556 | 2488826.5474 | 1115061.0922 | 2488825.5873 | 1115054.6612 | 2488824.4548 | 1115050.6127
19 | 2488833.3685 | 1115087.64 | 2488847.5062 | 1115082.6431
20 | 2488978.0797 | 1115066.8038 | 2488973.9269 | 1115085.0364 | 2488971.5423 | 1115095.5085
21 | 2489308.27 | 1115070.7483 | 2489259.8086 | 1115066.2984 | 2489257.3411 | 1115066.099 | 2489247.6961 | 1115065.3416 | 2489240.5493 | 1115064.7831 | 2489216.437 | 1115063.5458 | 2489211.9083 | 1115063.3952 | 2489200.2229 | 1115062.9866 | 2489192.0216 | 1115062.8038
22 | 2489307.6606 | 1115079.2317 | 2489308.27 | 1115070.7483
23 | 2489307.6606 | 1115079.2317 | 2489285.3098 | 1115077.5949 | 2489243.4084 | 1115075.7424
24 | 2489137.0799 | 1115059.0179 | 2489137.178 | 1115062.6852 | 2489143.8136 | 1115062.7415 | 2489147.5058 | 1115062.7627
25 | 2489458.4606 | 1115376.7157 | 2489461.4539 | 1115387.9462 | 2489469.4619 | 1115417.9085 | 2489472.229 | 1115426.9084 | 2489475.8192 | 1115436.5714 | 2489480.5692 | 1115447.1583 | 2489482.3951 | 1115450.6264
26 | 2489137.0799 | 1115059.0179 | 2489137.1 | 1115048.733 | 2489138.3227 | 1115027.3518
27 | 2489139.63 | 1115004.5586 | 2489139.6365 | 1115004.4463
28 | 2489140.1136 | 1114996.1321 | 2489139.6365 | 1115004.4463
29 | 2489138.3227 | 1115027.3518 | 2489138.5506 | 1115023.3675 | 2489139.63 | 1115004.5586
30 | 2489140.1136 | 1114996.1321 | 2489123.4639 | 1114995.8368
31 | 2489123.4639 | 1114995.8368 | 2489098.0755 | 1114995.3868
32 | 2489098.0755 | 1114995.3868 | 2489089.6957 | 1114995.2383
33 | 2489061.794 | 1114994.7438 | 2489089.6957 | 1114995.2383
34 | 2489048.4246 | 1114994.639 | 2489042.3536 | 1114994.5914
35 | 2489061.794 | 1114994.7438 | 2489048.4246 | 1114994.639
36 | 2489064.3024 | 1115062.876 | 2489063.3946 | 1115058.4341 | 2489062.7332 | 1115054.3769 | 2489061.7559 | 1115051.6263 | 2489061.7597 | 1115045.8396
37 | 2489072.9876 | 1115076.5703 | 2489073.1766 | 1115066.6603 | 2489064.2244 | 1115066.6243 | 2489064.3024 | 1115062.876
38 | 2489064.3024 | 1115062.876 | 2489048.67 | 1115062.8736 | 2489018.1909 | 1115062.8863
39 | 2489061.7685 | 1115032.5178 | 2489061.7597 | 1115045.8396
40 | 2489072.9876 | 1115076.5703 | 2489068.1879 | 1115080.5942 | 2489067.5483 | 1115105.0998
41 | 2489018.1909 | 1115062.8863 | 2489017.6603 | 1115062.8865 | 2489016.4193 | 1115062.8873
42 | 2489067.5483 | 1115105.0998 | 2489104.0737 | 1115104.7414 | 2489109.3348 | 1115104.7409
43 | 2489061.794 | 1114994.7438 | 2489061.7891 | 1115001.2148 | 2489061.7685 | 1115032.5178
44 | 2489016.4193 | 1115062.8873 | 2489016.0779 | 1115062.8875
45 | 2489489.679 | 1115464.4833 | 2489487.2551 | 1115459.7222 | 2489486.0656 | 1115457.5981 | 2489482.3951 | 1115450.6264
46 | 2488904.583 | 1115068.712 | 2488888.7241 | 1115070.8137
47 | 2488861.3984 | 1115077.733 | 2488862.4364 | 1115077.3662 | 2488869.8203 | 1115073.5948 | 2488873.9296 | 1115072.7744 | 2488888.7241 | 1115070.8137
48 | 2488904.583 | 1115068.712 | 2488915.4197 | 1115067.2759 | 2488919.0765 | 1115066.6306 | 2488923.2546 | 1115066.6094 | 2488930.9083 | 1115065.7936
49 | 2488861.3984 | 1115077.733 | 2488847.5062 | 1115082.6431
50 | 2488945.6623 | 1115065.4792 | 2488932.3274 | 1115065.6423 | 2488930.9083 | 1115065.7936
51 | 2488945.6623 | 1115065.4792 | 2488948.6512 | 1115065.4427 | 2488956.6662 | 1115065.7514 | 2488961.4822 | 1115065.9854 | 2488962.8668 | 1115066.0537
52 | 2488978.0797 | 1115066.8038 | 2488962.8668 | 1115066.0537
53 | 2488824.4548 | 1115050.6127 | 2488826.3236 | 1115047.6542 | 2488826.2234 | 1115046.8429
54 | 2489008.0929 | 1115062.7838 | 2489009.5121 | 1115062.8915 | 2489016.0779 | 1115062.8875
55 | 2488996.3545 | 1115061.2944 | 2489002.3115 | 1115062.3453 | 2489008.0929 | 1115062.7838
56 | 2488996.3545 | 1115061.2944 | 2488996.0893 | 1115061.2476 | 2488995.0638 | 1115061.1146
57 | 2488822.9666 | 1115020.9093 | 2488823.2386 | 1115022.2608 | 2488823.4288 | 1115024.203 | 2488826.2234 | 1115046.8429
58 | 2488822.9666 | 1115020.9093 | 2488824.8273 | 1115018.3512 | 2488827.3049 | 1115016.1599 | 2488831.758 | 1115012.6091
59 | 2488943.8789 | 1114977.1388 | 2488946.0044 | 1114981.0023 | 2488955.7868 | 1114998.9124 | 2488960.5729 | 1115007.6081 | 2488966.6854 | 1115019.1735
60 | 2488943.8789 | 1114977.1388 | 2488929.3096 | 1114985.4115 | 2488919.8253 | 1114989.6328 | 2488916.217 | 1114990.3995 | 2488912.3857 | 1114990.7976
61 | 2488985.0052 | 1115027.5287 | 2488978.2556 | 1115026.7297 | 2488974.4489 | 1115025.9435 | 2488971.0928 | 1115024.4596 | 2488969.3544 | 1115023.1684 | 2488967.7662 | 1115021.2185 | 2488966.6854 | 1115019.1735
62 | 2488880.8786 | 1114998.6535 | 2488887.4964 | 1114999.844 | 2488891.4452 | 1114999.5379 | 2488895.8498 | 1114998.3897 | 2488901.6682 | 1114993.9022 | 2488904.2211 | 1114992.0207 | 2488906.9894 | 1114991.3584 | 2488912.3857 | 1114990.7976
63 | 2488874.4814 | 1114997.2812 | 2488877.3768 | 1114986.4347
64 | 2488874.4814 | 1114997.2812 | 2488880.8786 | 1114998.6535
65 | 2488858.0601 | 1114957.1361 | 2488871.1437 | 1114957.2828 | 2488879.7599 | 1114957.5137 | 2488893.7986 | 1114957.7784 | 2488899.5348 | 1114958.0622 | 2488904.0044 | 1114958.2584
66 | 2488982.431 | 1115013.0997 | 2488982.1891 | 1115014.2271 | 2488981.5766 | 1115014.9388 | 2488980.3549 | 1115015.7062 | 2488978.7685 | 1115016.3802 | 2488977.0317 | 1115016.8568 | 2488975.2364 | 1115017.0899 | 2488973.4087 | 1115017.2457 | 2488971.3688 | 1115017.1942 | 2488970.0033 | 1115016.8635 | 2488968.5727 | 1115015.9224 | 2488967.7192 | 1115014.8707 | 2488966.2252 | 1115012.163 | 2488963.559 | 1115007.0308 | 2488961.2914 | 1115002.5694 | 2488959.7675 | 1114999.9179 | 2488957.4976 | 1114995.3343 | 2488953.7454 | 1114987.4201 | 2488950.598 | 1114981.7408 | 2488949.8843 | 1114980.3085 | 2488945.8288 | 1114972.7001 | 2488944.9436 | 1114971.182 | 2488943.7985 | 1114969.8132 | 2488941.3748 | 1114968.2122 | 2488936.6292 | 1114965.5086 | 2488932.9047 | 1114963.7313 | 2488929.0355 | 1114962.4904 | 2488926.3643 | 1114961.7167 | 2488921.8269 | 1114960.677 | 2488917.0812 | 1114959.6523 | 2488913.737 | 1114959.2356 | 2488908.4628 | 1114958.4541 | 2488904.0044 | 1114958.2584
67 | 2488985.0052 | 1115027.5287 | 2488984.5534 | 1115030.1522
68 | 2488985.0052 | 1115027.5287 | 2488985.3008 | 1115025.5211
69 | 2488987.0312 | 1115013.7714 | 2488982.431 | 1115013.0997
70 | 2488982.431 | 1115013.0997 | 2488983.1064 | 1115009.9186 | 2488984.9304 | 1114990.628 | 2488985.047 | 1114983.9326 | 2488984.7555 | 1114976.4663 | 2488984.3938 | 1114973.019
71 | 2488987.0312 | 1115013.7714 | 2488985.3008 | 1115025.5211
72 | 2488987.0312 | 1115013.7714 | 2488988.8408 | 1115003.3758 | 2488989.1015 | 1115000.3455
73 | 2488979.568 | 1115059.1047 | 2488984.5534 | 1115030.1522
74 | 2488978.0797 | 1115066.8038 | 2488979.568 | 1115059.1047
75 | 2488979.568 | 1115059.1047 | 2488995.0638 | 1115061.1146
76 | 2489489.679 | 1115464.4833 | 2489492.1736 | 1115469.3832 | 2489499.9289 | 1115483.84 | 2489504.5026 | 1115492.8068 | 2489509.1418 | 1115502.8287 | 2489512.9319 | 1115512.8772 | 2489514.2852 | 1115517.379
77 | 2489518.9107 | 1115601.315 | 2489518.8837 | 1115584.1932 | 2489519.0675 | 1115561.6973 | 2489519.1532 | 1115551.5891 | 2489518.6515 | 1115539.3458 | 2489517.8483 | 1115531.7332 | 2489515.9003 | 1115522.7518 | 2489514.2852 | 1115517.379
78 | 2489518.9107 | 1115601.315 | 2489519.7066 | 1115619.9461 | 2489521.4993 | 1115636.9134 | 2489523.9437 | 1115653.2017 | 2489524.8487 | 1115659.2002 | 2489525.3513 | 1115662.6155 | 2489529.9938 | 1115690.1599 | 2489534.3748 | 1115712.6948 | 2489536.5468 | 1115722.1057 | 2489538.7878 | 1115729.7921 | 2489541.8586 | 1115738.5196 | 2489544.8983 | 1115747.2365 | 2489553.2451 | 1115767.8866 | 2489556.7632 | 1115776.5837 | 2489562.9981 | 1115791.9578 | 2489570.2474 | 1115809.6037 | 2489573.3618 | 1115818.1859 | 2489576.3019 | 1115826.1041 | 2489578.3109 | 1115835.4736 | 2489578.7677 | 1115841.4581 | 2489578.2059 | 1115845.3709 | 2489577.0442 | 1115848.1495 | 2489574.513 | 1115851.6313 | 2489568.1933 | 1115857.8284 | 2489558.5256 | 1115844.7629 | 2489553.0129 | 1115837.2141 | 2489546.6825 | 1115828.8686
79 | 2489546.6825 | 1115828.8686 | 2489545.2765 | 1115827.0199
80 | 2489546.6825 | 1115828.8686 | 2489515.3412 | 1115859.5497 | 2489527.0857 | 1115868.9233
81 | 2489425.958 | 1115756.7256 | 2489428.3134 | 1115752.502 | 2489430.9415 | 1115749.2518 | 2489434.6658 | 1115745.9817 | 2489439.324 | 1115743.1058 | 2489443.6915 | 1115741.2248 | 2489448.0471 | 1115739.9555 | 2489452.3073 | 1115739.3884 | 2489456.4443 | 1115739.2572 | 2489460.8079 | 1115739.7 | 2489466.291 | 1115740.9674 | 2489471.9735 | 1115743.0094 | 2489478.2489 | 1115746.2192 | 2489483.5954 | 1115749.7349 | 2489488.3245 | 1115753.6956 | 2489492.9134 | 1115758.4372 | 2489497.1259 | 1115763.7082 | 2489515.9501 | 1115788.4586 | 2489545.2765 | 1115827.0199
82 | 2489529.0554 | 1115870.4954 | 2489527.0857 | 1115868.9233
83 | 2489529.0554 | 1115870.4954 | 2489535.013 | 1115880.4154 | 2489535.761 | 1115883.3147 | 2489536.0878 | 1115885.9883 | 2489535.8103 | 1115888.1281 | 2489530.1505 | 1115895.3584
84 | 2489425.958 | 1115756.7256 | 2489115.2634 | 1115997.7792
85 | 2489115.2634 | 1115997.7792 | 2489108.762 | 1115992.7728 | 2489099.6643 | 1115984.7231 | 2489091.5024 | 1115976.9762
86 | 2489040.8213 | 1115936.8034 | 2489039.6393 | 1115927.9415 | 2489039.494 | 1115921.2842 | 2489038.4934 | 1115916.4104 | 2489037.4339 | 1115912.5384 | 2489035.8382 | 1115908.4872 | 2489033.7727 | 1115904.5003 | 2489031.003 | 1115900.4373 | 2489026.8317 | 1115895.744 | 2489021.0236 | 1115890.6471 | 2489010.8423 | 1115882.372
87 | 2489040.8213 | 1115936.8034 | 2489035.2813 | 1115946.3223 | 2489019.6401 | 1115976.0175 | 2489012.7512 | 1115990.2977 | 2489010.433 | 1115996.6152
88 | 2489040.8213 | 1115936.8034 | 2489046.8041 | 1115939.64 | 2489050.7713 | 1115942.4692 | 2489058.0372 | 1115947.8951 | 2489065.8596 | 1115954.1892 | 2489083.6788 | 1115969.5505 | 2489091.5024 | 1115976.9762
89 | 2489010.433 | 1115996.6152 | 2489009.0298 | 1116000.4393 | 2489004.4369 | 1116013.5877 | 2489003.2611 | 1116017.4702

## bus_geodata
| x | y | coords
0 | 2489001.6061 | 1115148.2345
1 | 2488974.7379 | 1115146.8956
2 | 2489180.4881 | 1115132.9049
3 | 2489179.809 | 1115114.2226
4 | 2489181.4669 | 1115172.8466
5 | 2488931.1194 | 1115141.192
6 | 2489177.9303 | 1115062.8502
7 | 2489263.5478 | 1115162.2414
8 | 2488967.4154 | 1115110.2502
9 | 2488907.2822 | 1115143.0661
10 | 2489175.8099 | 1115062.8476
11 | 2489188.7822 | 1115062.7704
12 | 2489411.8356 | 1115197.5608
13 | 2488871.466 | 1115138.3739
14 | 2488872.4701 | 1115146.7832
15 | 2488833.3685 | 1115087.64
16 | 2488981.918 | 1115126.7648
17 | 2488971.5423 | 1115095.5085
18 | 2489192.0216 | 1115062.8038
19 | 2489308.27 | 1115070.7483
20 | 2489307.6606 | 1115079.2317
21 | 2489147.5058 | 1115062.7627
22 | 2489458.4606 | 1115376.7157
23 | 2489243.4084 | 1115075.7424
24 | 2489137.0799 | 1115059.0179
25 | 2489139.6365 | 1115004.4463
26 | 2489139.63 | 1115004.5586
27 | 2489140.1136 | 1114996.1321
28 | 2489138.3227 | 1115027.3518
29 | 2489123.4639 | 1114995.8368
30 | 2489098.0755 | 1114995.3868
31 | 2489089.6957 | 1114995.2383
32 | 2489042.3536 | 1114994.5914
33 | 2489048.4246 | 1114994.639
34 | 2489064.3024 | 1115062.876
35 | 2489061.7597 | 1115045.8396
36 | 2489072.9876 | 1115076.5703
37 | 2489018.1909 | 1115062.8863
38 | 2489067.5483 | 1115105.0998
39 | 2489109.3348 | 1115104.7409
40 | 2489061.7685 | 1115032.5178
41 | 2489016.4193 | 1115062.8873
42 | 2489482.3951 | 1115450.6264
43 | 2488888.7241 | 1115070.8137
44 | 2488904.583 | 1115068.712
45 | 2488861.3984 | 1115077.733
46 | 2488930.9083 | 1115065.7936
47 | 2488847.5062 | 1115082.6431
48 | 2488945.6623 | 1115065.4792
49 | 2488962.8668 | 1115066.0537
50 | 2488824.4548 | 1115050.6127
51 | 2489061.794 | 1114994.7438
52 | 2489016.0779 | 1115062.8875
53 | 2489008.0929 | 1115062.7838
54 | 2488996.3545 | 1115061.2944
55 | 2488826.2234 | 1115046.8429
56 | 2488822.9666 | 1115020.9093
57 | 2488831.758 | 1115012.6091
58 | 2488943.8789 | 1114977.1388
59 | 2488966.6854 | 1115019.1735
60 | 2488912.3858 | 1114990.7976
61 | 2488877.3768 | 1114986.4347
62 | 2488874.4814 | 1114997.2812
63 | 2488858.0601 | 1114957.1361
64 | 2488904.0045 | 1114958.2584
65 | 2488880.8786 | 1114998.6535
66 | 2488985.0052 | 1115027.5287
67 | 2488982.431 | 1115013.0997
68 | 2488987.0312 | 1115013.7714
69 | 2488984.3938 | 1114973.019
70 | 2488985.3008 | 1115025.5211
71 | 2488989.1015 | 1115000.3455
72 | 2488984.5534 | 1115030.1522
73 | 2488978.0797 | 1115066.8038
74 | 2488979.568 | 1115059.1047
75 | 2488995.0638 | 1115061.1146
76 | 2489489.679 | 1115464.4833
77 | 2489514.2852 | 1115517.379
78 | 2489518.9107 | 1115601.315
79 | 2489546.6825 | 1115828.8686
80 | 2489545.2765 | 1115827.0199
81 | 2489527.0857 | 1115868.9233
82 | 2489529.0554 | 1115870.4954
83 | 2489530.1505 | 1115895.3584
84 | 2489425.958 | 1115756.7256
85 | 2489115.2634 | 1115997.7792
86 | 2489010.8423 | 1115882.372
87 | 2489040.8213 | 1115936.8034
88 | 2489010.433 | 1115996.6152
89 | 2489091.5024 | 1115976.9762
90 | 2489003.2611 | 1116017.4702
91 | 2488979.568 | 1115059.1047

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1