## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6626-2_1_2_node_32 | 0.4 | n |  | TRUE
1 | bus_LV_6626-2_1_2_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_6626-2_1_2_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_6626-2_1_2_node_83 | 0.4 | n |  | TRUE
4 | bus_LV_6626-2_1_2_node_82 | 0.4 | n |  | TRUE
5 | bus_LV_6626-2_1_2_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_6626-2_1_2_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_6626-2_1_2_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_6626-2_1_2_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_6626-2_1_2_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_6626-2_1_2_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_6626-2_1_2_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_6626-2_1_2_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_6626-2_1_2_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_6626-2_1_2_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_6626-2_1_2_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_6626-2_1_2_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_6626-2_1_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_6626-2_1_2_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_6626-2_1_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_6626-2_1_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_6626-2_1_2_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_6626-2_1_2_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_6626-2_1_2_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_6626-2_1_2_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_6626-2_1_2_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_6626-2_1_2_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_6626-2_1_2_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_6626-2_1_2_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_6626-2_1_2_node_110 | 0.4 | n |  | TRUE
30 | bus_LV_6626-2_1_2_node_125 | 0.4 | n |  | TRUE
31 | bus_LV_6626-2_1_2_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_6626-2_1_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_6626-2_1_2_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_6626-2_1_2_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_6626-2_1_2_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_6626-2_1_2_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_6626-2_1_2_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_6626-2_1_2_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_6626-2_1_2_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_6626-2_1_2_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_6626-2_1_2_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_6626-2_1_2_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_6626-2_1_2_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_6626-2_1_2_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_6626-2_1_2_node_111 | 0.4 | n |  | TRUE
46 | bus_LV_6626-2_1_2_node_112 | 0.4 | n |  | TRUE
47 | bus_LV_6626-2_1_2_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_6626-2_1_2_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_6626-2_1_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_6626-2_1_2_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_6626-2_1_2_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_6626-2_1_2_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_6626-2_1_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_6626-2_1_2_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_6626-2_1_2_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_6626-2_1_2_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_6626-2_1_2_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_6626-2_1_2_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_6626-2_1_2_node_124 | 0.4 | n |  | TRUE
60 | bus_LV_6626-2_1_2_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_6626-2_1_2_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_6626-2_1_2_node_113 | 0.4 | n |  | TRUE
63 | bus_LV_6626-2_1_2_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_6626-2_1_2_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_6626-2_1_2_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_6626-2_1_2_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_6626-2_1_2_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_6626-2_1_2_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_6626-2_1_2_node_107 | 0.4 | n |  | TRUE
70 | bus_LV_6626-2_1_2_node_123 | 0.4 | n |  | TRUE
71 | bus_LV_6626-2_1_2_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_6626-2_1_2_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_6626-2_1_2_node_122 | 0.4 | n |  | TRUE
74 | bus_LV_6626-2_1_2_node_126 | 0.4 | n |  | TRUE
75 | bus_LV_6626-2_1_2_node_96 | 0.4 | n |  | TRUE
76 | bus_LV_6626-2_1_2_node_97 | 0.4 | n |  | TRUE
77 | bus_LV_6626-2_1_2_node_98 | 0.4 | n |  | TRUE
78 | bus_LV_6626-2_1_2_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_6626-2_1_2_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_6626-2_1_2_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_6626-2_1_2_node_120 | 0.4 | n |  | TRUE
82 | bus_LV_6626-2_1_2_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_6626-2_1_2_node_117 | 0.4 | n |  | TRUE
84 | bus_LV_6626-2_1_2_node_121 | 0.4 | n |  | TRUE
85 | bus_LV_6626-2_1_2_node_103 | 0.4 | n |  | TRUE
86 | bus_LV_6626-2_1_2_node_115 | 0.4 | n |  | TRUE
87 | bus_LV_6626-2_1_2_node_102 | 0.4 | n |  | TRUE
88 | bus_LV_6626-2_1_2_node_114 | 0.4 | n |  | TRUE
89 | bus_LV_6626-2_1_2_node_116 | 0.4 | n |  | TRUE
90 | bus_LV_6626-2_1_2_node_118 | 0.4 | n |  | TRUE
91 | bus_LV_6626-2_1_2_node_170 | 0.4 | n |  | TRUE
92 | bus_MV_459_1_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6626-2_1_2_load_32 | 0 | 0.00097808 | 0.00024513 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6626-2_1_2_load_83 | 3 | 0.00069469 | 0.00017411 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6626-2_1_2_load_82 | 4 | 0.0021508 | 0.00053904 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6626-2_1_2_load_36 | 5 | 0.0020333 | 0.00050958 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6626-2_1_2_load_37 | 6 | 0.001693 | 0.0004243 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6626-2_1_2_load_39 | 8 | 0.0019894 | 0.00049859 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6626-2_1_2_load_40 | 9 | 0.0015093 | 0.00037827 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6626-2_1_2_load_41 | 10 | 0.00734 | 0.0018396 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6626-2_1_2_load_62 | 11 | 0.0010604 | 0.00026577 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6626-2_1_2_load_90 | 12 | 0.00055213 | 0.00013838 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6626-2_1_2_load_91 | 15 | 0.0024386 | 0.00061116 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6626-2_1_2_load_42 | 17 | 0.0017081 | 0.0004281 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6626-2_1_2_load_43 | 18 | 0.00052914 | 0.00013262 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6626-2_1_2_load_44 | 19 | 0.00055973 | 0.00014028 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6626-2_1_2_load_45 | 20 | 0.002197 | 0.00055063 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6626-2_1_2_load_46 | 21 | 0.0012262 | 0.00030733 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6626-2_1_2_load_75 | 22 | 0.00066548 | 0.00016679 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6626-2_1_2_load_47 | 24 | 0.0037148 | 0.00093101 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6626-2_1_2_load_48 | 25 | 0.00066216 | 0.00016595 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6626-2_1_2_load_49 | 26 | 0.00085167 | 0.00021345 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6626-2_1_2_load_50 | 27 | 0.00080465 | 0.00020166 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6626-2_1_2_load_51 | 28 | 0.0024373 | 0.00061085 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6626-2_1_2_load_110 | 29 | 0.00090122 | 0.00022587 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6626-2_1_2_load_125 | 30 | 0.002002 | 0.00050176 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6626-2_1_2_load_95 | 31 | 0.0007355 | 0.00018433 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6626-2_1_2_load_52 | 32 | 0.0022867 | 0.00057311 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6626-2_1_2_load_53 | 33 | 0.0026552 | 0.00066546 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6626-2_1_2_load_54 | 34 | 0.0030106 | 0.00075453 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6626-2_1_2_load_55 | 35 | 0.0065214 | 0.0016344 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6626-2_1_2_load_56 | 36 | 0.00045184 | 0.00011324 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6626-2_1_2_load_89 | 37 | 0.0019866 | 0.00049788 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6626-2_1_2_load_77 | 38 | 0.00078549 | 0.00019686 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6626-2_1_2_load_67 | 39 | 0.0010001 | 0.00025065 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6626-2_1_2_load_76 | 40 | 0.00048959 | 0.0001227 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6626-2_1_2_load_57 | 41 | 0.0021259 | 0.0005328 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6626-2_1_2_load_58 | 42 | 0.0016775 | 0.00042042 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6626-2_1_2_load_60 | 43 | 0.0016257 | 0.00040745 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6626-2_1_2_load_61 | 44 | 0.021045 | 0.0052743 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6626-2_1_2_load_111 | 45 | 0.0011305 | 0.00028333 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6626-2_1_2_load_112 | 46 | 0.0015988 | 0.00040069 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6626-2_1_2_load_63 | 47 | 0.01669 | 0.0041829 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6626-2_1_2_load_64 | 48 | 0.00099735 | 0.00024996 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6626-2_1_2_load_92 | 50 | 0.0012333 | 0.0003091 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6626-2_1_2_load_69 | 51 | 0.0013543 | 0.00033941 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6626-2_1_2_load_70 | 52 | 0.0084612 | 0.0021206 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6626-2_1_2_load_72 | 54 | 0.0040827 | 0.0010232 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6626-2_1_2_load_74 | 56 | 0.0008566 | 0.00021469 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6626-2_1_2_load_79 | 57 | 0.00071326 | 0.00017876 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6626-2_1_2_load_81 | 58 | 0.00052556 | 0.00013172 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6626-2_1_2_load_124 | 59 | 0.00078629 | 0.00019706 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6626-2_1_2_load_78 | 60 | 0.0017005 | 0.00042618 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6626-2_1_2_load_80 | 61 | 0.0046417 | 0.0011633 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6626-2_1_2_load_113 | 62 | 0.00047778 | 0.00011974 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6626-2_1_2_load_84 | 64 | 0.0026109 | 0.00065434 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6626-2_1_2_load_85 | 65 | 0.0012587 | 0.00031547 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6626-2_1_2_load_86 | 66 | 0.0012753 | 0.00031963 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6626-2_1_2_load_87 | 67 | 0.00041532 | 0.00010409 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6626-2_1_2_load_88 | 68 | 0.0021295 | 0.00053369 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6626-2_1_2_load_123 | 70 | 0.0014986 | 0.00037559 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6626-2_1_2_load_108 | 71 | 0.001105 | 0.00027693 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6626-2_1_2_load_109 | 72 | 0.001876 | 0.00047016 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6626-2_1_2_load_122 | 73 | 0.00094292 | 0.00023632 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6626-2_1_2_load_126 | 74 | 0.0018099 | 0.00045361 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6626-2_1_2_load_96 | 75 | 0.0012088 | 0.00030295 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6626-2_1_2_load_97 | 76 | 0.00036766 | 9.2144e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6626-2_1_2_load_99 | 78 | 0.001767 | 0.00044286 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6626-2_1_2_load_100 | 79 | 0.0028341 | 0.00071029 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6626-2_1_2_load_101 | 80 | 0.0028872 | 0.0007236 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6626-2_1_2_load_120 | 81 | 0.0012442 | 0.00031183 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6626-2_1_2_load_105 | 82 | 0.0028857 | 0.00072323 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6626-2_1_2_load_121 | 84 | 0.0004203 | 0.00010534 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6626-2_1_2_load_103 | 85 | 0.0042715 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6626-2_1_2_load_115 | 86 | 0.0040151 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6626-2_1_2_load_102 | 87 | 0.0011331 | 0.00028398 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6626-2_1_2_load_114 | 88 | 0.0014916 | 0.00037382 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6626-2_1_2_load_170 | 91 | 0.029195 | 0.007317 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6626-2_1_2_line_0 |  | 0 | 1 | 0.030018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6626-2_1_2_line_1 |  | 1 | 2 | 0.019729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6626-2_1_2_line_2 |  | 2 | 3 | 0.28183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6626-2_1_2_line_3 |  | 3 | 4 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6626-2_1_2_line_4 |  | 4 | 61 | 0.011532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6626-2_1_2_line_5 |  | 5 | 6 | 0.0080587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6626-2_1_2_line_6 |  | 5 | 7 | 0.024649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6626-2_1_2_line_7 |  | 6 | 8 | 0.012908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6626-2_1_2_line_8 |  | 7 | 9 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6626-2_1_2_line_9 |  | 7 | 10 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6626-2_1_2_line_10 |  | 8 | 11 | 0.0094769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6626-2_1_2_line_11 |  | 9 | 12 | 0.021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6626-2_1_2_line_12 |  | 10 | 13 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6626-2_1_2_line_13 |  | 11 | 14 | 0.0041336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6626-2_1_2_line_14 |  | 12 | 15 | 0.0032495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6626-2_1_2_line_15 |  | 13 | 16 | 0.017686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6626-2_1_2_line_16 |  | 14 | 44 | 0.03365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6626-2_1_2_line_17 |  | 14 | 41 | 0.023204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6626-2_1_2_line_18 |  | 15 | 21 | 0.010035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6626-2_1_2_line_19 |  | 16 | 50 | 0.027331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6626-2_1_2_line_20 |  | 16 | 48 | 0.0071992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6626-2_1_2_line_21 |  | 17 | 18 | 0.0077773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6626-2_1_2_line_22 |  | 17 | 19 | 0.0013485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6626-2_1_2_line_23 |  | 18 | 20 | 0.00069036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6626-2_1_2_line_24 |  | 19 | 21 | 0.0062362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6626-2_1_2_line_25 |  | 20 | 22 | 0.0067383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6626-2_1_2_line_26 |  | 22 | 23 | 0.01226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6626-2_1_2_line_27 |  | 23 | 63 | 0.004108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6626-2_1_2_line_28 |  | 24 | 25 | 0.015807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6626-2_1_2_line_29 |  | 24 | 26 | 0.00058508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6626-2_1_2_line_30 |  | 25 | 27 | 0.0059275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6626-2_1_2_line_31 |  | 26 | 28 | 0.00070114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6626-2_1_2_line_32 |  | 27 | 29 | 0.0018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6626-2_1_2_line_33 |  | 28 | 30 | 0.00044806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6626-2_1_2_line_34 |  | 29 | 31 | 0.0019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6626-2_1_2_line_35 |  | 31 | 54 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6626-2_1_2_line_36 |  | 32 | 33 | 0.013253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6626-2_1_2_line_37 |  | 32 | 34 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6626-2_1_2_line_38 |  | 33 | 35 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6626-2_1_2_line_39 |  | 34 | 36 | 0.0023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6626-2_1_2_line_40 |  | 35 | 37 | 0.0063206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6626-2_1_2_line_41 |  | 36 | 38 | 0.0020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6626-2_1_2_line_42 |  | 37 | 39 | 0.032979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6626-2_1_2_line_43 |  | 38 | 40 | 0.013641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6626-2_1_2_line_44 |  | 39 | 49 | 0.0042055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6626-2_1_2_line_45 |  | 40 | 60 | 0.0074467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6626-2_1_2_line_46 |  | 41 | 42 | 0.00023976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6626-2_1_2_line_47 |  | 42 | 43 | 0.0021372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6626-2_1_2_line_48 |  | 43 | 45 | 0.016327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6626-2_1_2_line_49 |  | 45 | 46 | 0.00061749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6626-2_1_2_line_50 |  | 46 | 72 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6626-2_1_2_line_51 |  | 47 | 48 | 0.0032889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6626-2_1_2_line_52 |  | 47 | 49 | 0.010193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6626-2_1_2_line_53 |  | 51 | 52 | 0.0068523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6626-2_1_2_line_54 |  | 51 | 53 | 0.023554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6626-2_1_2_line_55 |  | 52 | 54 | 0.029334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6626-2_1_2_line_56 |  | 53 | 55 | 0.02895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6626-2_1_2_line_57 |  | 53 | 56 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6626-2_1_2_line_58 |  | 55 | 57 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6626-2_1_2_line_59 |  | 55 | 58 | 0.026531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6626-2_1_2_line_60 |  | 56 | 59 | 0.01485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6626-2_1_2_line_61 |  | 57 | 60 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6626-2_1_2_line_62 |  | 58 | 61 | 0.0041865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6626-2_1_2_line_63 |  | 59 | 62 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6626-2_1_2_line_64 |  | 63 | 74 | 0.0076819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6626-2_1_2_line_65 |  | 64 | 65 | 0.0058176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6626-2_1_2_line_66 |  | 64 | 66 | 0.0015073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6626-2_1_2_line_67 |  | 65 | 67 | 0.0083196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6626-2_1_2_line_68 |  | 66 | 68 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6626-2_1_2_line_69 |  | 67 | 69 | 0.0082903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6626-2_1_2_line_70 |  | 68 | 70 | 0.00062391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6626-2_1_2_line_71 |  | 69 | 71 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6626-2_1_2_line_72 |  | 69 | 72 | 0.004402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6626-2_1_2_line_73 |  | 70 | 73 | 0.011701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6626-2_1_2_line_74 |  | 73 | 84 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6626-2_1_2_line_75 |  | 75 | 76 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6626-2_1_2_line_76 |  | 75 | 77 | 0.02245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6626-2_1_2_line_77 |  | 76 | 78 | 0.0094586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6626-2_1_2_line_78 |  | 77 | 79 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6626-2_1_2_line_79 |  | 77 | 80 | 0.00036807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6626-2_1_2_line_80 |  | 78 | 81 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6626-2_1_2_line_81 |  | 79 | 82 | 0.013997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6626-2_1_2_line_82 |  | 80 | 83 | 0.020134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6626-2_1_2_line_83 |  | 81 | 84 | 0.004444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6626-2_1_2_line_84 |  | 82 | 85 | 0.03005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6626-2_1_2_line_85 |  | 83 | 86 | 0.029826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6626-2_1_2_line_86 |  | 85 | 87 | 0.012616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6626-2_1_2_line_87 |  | 86 | 88 | 0.16112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6626-2_1_2_line_88 |  | 88 | 89 | 0.0077695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6626-2_1_2_line_89 |  | 89 | 90 | 0.26185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6626-2_1_2_line_90 |  | 90 | 91 | 0.042073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6626-2_1_2_trafo_111 | 0.63 MVA 20/0.4 kV | 92 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2509293.1771 | 1120786.8929 | 2509304.693 | 1120814.6143
1 | 2509281.1376 | 1120771.2419 | 2509293.1771 | 1120786.8929
2 | 2509281.1376 | 1120771.2419 | 2509273.7055 | 1120762.8706 | 2509264.9717 | 1120754.1408 | 2509253.17 | 1120744.0563 | 2509241.9862 | 1120736.5864 | 2509227.3014 | 1120728.2129 | 2509184.6789 | 1120708.0297 | 2509169.2004 | 1120700.2464 | 2509158.944 | 1120692.8961 | 2509152.1496 | 1120685.9051 | 2509145.7718 | 1120676.8621 | 2509139.489 | 1120665.4163 | 2509134.3392 | 1120653.3754 | 2509125.5885 | 1120630.2041 | 2509113.1508 | 1120585.5642 | 2509108.4958 | 1120568.9751
3 | 2509108.4958 | 1120568.9751 | 2509105.0693 | 1120556.7641
4 | 2509101.9536 | 1120545.6606 | 2509105.0693 | 1120556.7641
5 | 2508891.8551 | 1120484.4494 | 2508890.4361 | 1120479.9413 | 2508889.7512 | 1120476.6799
6 | 2508901.2393 | 1120507.1394 | 2508897.1318 | 1120499.7968 | 2508894.5286 | 1120492.9431 | 2508891.8551 | 1120484.4494
7 | 2508889.7512 | 1120476.6799 | 2508887.0985 | 1120464.0473
8 | 2508901.2393 | 1120507.1394 | 2508880.3491 | 1120514.9358
9 | 2508901.2393 | 1120507.1394 | 2508906.1071 | 1120513.7367 | 2508912.0992 | 1120521.2176 | 2508913.9 | 1120523.2813
10 | 2508885.1509 | 1120454.7727 | 2508887.0985 | 1120464.0473
11 | 2508880.3491 | 1120514.9358 | 2508860.675 | 1120522.2783
12 | 2508923.4365 | 1120534.2102 | 2508913.9 | 1120523.2813
13 | 2508884.3014 | 1120450.7273 | 2508885.1509 | 1120454.7727
14 | 2508860.675 | 1120522.2783 | 2508858.8331 | 1120522.9657 | 2508859.1696 | 1120524.2043
15 | 2508927.9033 | 1120551.0641 | 2508926.7484 | 1120540.9866 | 2508923.4365 | 1120534.2102
16 | 2508884.3014 | 1120450.7273 | 2508915.6219 | 1120438.4262
17 | 2508884.3014 | 1120450.7273 | 2508877.7969 | 1120428.4536
18 | 2508861.8004 | 1120533.8882 | 2508859.1696 | 1120524.2043
19 | 2508927.9033 | 1120551.0641 | 2508917.7155 | 1120554.9533 | 2508904.8976 | 1120560.4385 | 2508902.4942 | 1120561.0663
20 | 2508927.9033 | 1120551.0641 | 2508929.6978 | 1120550.3367 | 2508934.5689 | 1120548.3444
21 | 2508863.7889 | 1120541.2076 | 2508865.8278 | 1120548.7129
22 | 2508863.7889 | 1120541.2076 | 2508863.4353 | 1120539.9062
23 | 2508866.0088 | 1120549.3791 | 2508865.8278 | 1120548.7129
24 | 2508863.4353 | 1120539.9062 | 2508861.8004 | 1120533.8882
25 | 2508867.7193 | 1120555.8959 | 2508867.3699 | 1120554.3893 | 2508866.0088 | 1120549.3791
26 | 2508870.4893 | 1120567.8393 | 2508867.7193 | 1120555.8959
27 | 2508870.4893 | 1120567.8393 | 2508866.4341 | 1120568.5675
28 | 2509224.473 | 1120480.7576 | 2509220.8874 | 1120483.0619 | 2509216.0911 | 1120485.8245 | 2509210.6752 | 1120488.4292
29 | 2509224.473 | 1120480.7576 | 2509224.9652 | 1120480.4413
30 | 2509210.6752 | 1120488.4292 | 2509205.3334 | 1120490.9983
31 | 2509224.9652 | 1120480.4413 | 2509225.5551 | 1120480.0622
32 | 2509203.628 | 1120491.8112 | 2509203.8498 | 1120491.7118 | 2509205.3334 | 1120490.9983
33 | 2509225.5551 | 1120480.0622 | 2509225.932 | 1120479.82
34 | 2509203.628 | 1120491.8112 | 2509201.8147 | 1120492.6234
35 | 2509201.8147 | 1120492.6234 | 2509181.907 | 1120501.5405
36 | 2509017.4245 | 1120516.161 | 2509014.5548 | 1120517.028 | 2509005.1088 | 1120521.0207
37 | 2509017.4245 | 1120516.161 | 2509020.1311 | 1120515.3431 | 2509022.3552 | 1120514.965 | 2509026.8649 | 1120514.1856 | 2509031.8876 | 1120513.6849
38 | 2508988.3303 | 1120529.4631 | 2508988.7226 | 1120529.3242 | 2508995.0809 | 1120525.2594 | 2509005.1088 | 1120521.0207
39 | 2509034.2155 | 1120513.4529 | 2509031.8876 | 1120513.6849
40 | 2508988.3303 | 1120529.4631 | 2508982.3721 | 1120531.5726
41 | 2509034.2155 | 1120513.4529 | 2509036.2815 | 1120513.247
42 | 2508982.3721 | 1120531.5726 | 2508970.1266 | 1120535.9081 | 2508967.3246 | 1120536.8508 | 2508957.7517 | 1120540.0747 | 2508953.4527 | 1120541.5181 | 2508951.1818 | 1120542.2827
43 | 2509049.9092 | 1120512.8858 | 2509045.4563 | 1120512.9273 | 2509038.9527 | 1120512.9808 | 2509036.2815 | 1120513.247
44 | 2508947.1961 | 1120543.6247 | 2508951.1818 | 1120542.2827
45 | 2509049.9092 | 1120512.8858 | 2509051.2808 | 1120512.873 | 2509057.3495 | 1120513.1486 | 2509057.3495 | 1120513.1486
46 | 2508877.7969 | 1120428.4536 | 2508877.7297 | 1120428.2234
47 | 2508877.1306 | 1120426.1719 | 2508877.7297 | 1120428.2234
48 | 2508877.1306 | 1120426.1719 | 2508875.1892 | 1120419.5236 | 2508872.6698 | 1120410.4668
49 | 2508872.6698 | 1120410.4668 | 2508872.5043 | 1120409.8719
50 | 2508868.4569 | 1120393.2652 | 2508870.588 | 1120402.983 | 2508872.5043 | 1120409.8719
51 | 2508937.6289 | 1120547.1403 | 2508936.4997 | 1120547.5548 | 2508934.5689 | 1120548.3444
52 | 2508947.1961 | 1120543.6247 | 2508945.1551 | 1120544.3781 | 2508937.6289 | 1120547.1403
53 | 2509146.4654 | 1120508.3674 | 2509146.8563 | 1120508.3112 | 2509153.2461 | 1120507.3799
54 | 2509123.1508 | 1120511.714 | 2509133.637 | 1120510.211 | 2509146.4654 | 1120508.3674
55 | 2509153.2461 | 1120507.3799 | 2509164.9717 | 1120505.6708 | 2509175.3062 | 1120503.8256 | 2509176.8876 | 1120503.2904 | 2509181.5318 | 1120501.7086 | 2509181.907 | 1120501.5405
56 | 2509094.4185 | 1120515.8928 | 2509116.4297 | 1120512.6933 | 2509123.1508 | 1120511.714
57 | 2509123.1508 | 1120511.714 | 2509117.746 | 1120493.0163
58 | 2509094.4185 | 1120515.8928 | 2509085.6612 | 1120515.8911 | 2509080.0259 | 1120515.2351
59 | 2509094.4185 | 1120515.8928 | 2509097.7015 | 1120530.5078 | 2509100.8225 | 1120541.6299
60 | 2509113.6248 | 1120478.7492 | 2509115.6952 | 1120485.9216 | 2509117.746 | 1120493.0163
61 | 2509080.0259 | 1120515.2351 | 2509074.16 | 1120514.5522 | 2509057.3495 | 1120513.1486
62 | 2509101.9536 | 1120545.6606 | 2509100.8225 | 1120541.6299
63 | 2509110.4666 | 1120467.8163 | 2509111.6497 | 1120471.9073 | 2509113.6248 | 1120478.7492
64 | 2508866.4341 | 1120568.5675 | 2508858.8761 | 1120569.9413
65 | 2508866.6822 | 1120366.5533 | 2508866.6822 | 1120366.5533 | 2508866.897 | 1120372.3669
66 | 2508866.6822 | 1120366.5533 | 2508866.4015 | 1120365.0723
67 | 2508867.2041 | 1120380.6809 | 2508866.897 | 1120372.3669
68 | 2508864.1468 | 1120353.1761 | 2508866.4015 | 1120365.0723
69 | 2508867.514 | 1120388.9654 | 2508867.3472 | 1120384.5541 | 2508867.2041 | 1120380.6809
70 | 2508864.1468 | 1120353.1761 | 2508864.0307 | 1120352.5631
71 | 2508867.514 | 1120388.9654 | 2508852.3881 | 1120390.3164
72 | 2508867.514 | 1120388.9654 | 2508868.4569 | 1120393.2652
73 | 2508864.0307 | 1120352.5631 | 2508863.4212 | 1120349.3477 | 2508861.1637 | 1120341.2276
74 | 2508856.0407 | 1120329.7805 | 2508857.0112 | 1120331.0555 | 2508859.8723 | 1120336.5824 | 2508861.1637 | 1120341.2276
75 | 2508817.4032 | 1120287.7649 | 2508828.0534 | 1120298.8505 | 2508832.7953 | 1120303.809
76 | 2508805.052 | 1120269.1906 | 2508812.9239 | 1120283.1024 | 2508817.4032 | 1120287.7649
77 | 2508832.7953 | 1120303.809 | 2508839.3324 | 1120310.645
78 | 2508805.052 | 1120269.1906 | 2508825.5131 | 1120256.6136
79 | 2508804.8759 | 1120268.8673 | 2508805.052 | 1120269.1906
80 | 2508853.3491 | 1120326.2442 | 2508849.8162 | 1120321.6027 | 2508842.8625 | 1120314.3365 | 2508839.3324 | 1120310.645
81 | 2508825.5131 | 1120256.6136 | 2508837.4371 | 1120249.2842
82 | 2508796.132 | 1120250.7696 | 2508797.8001 | 1120254.958 | 2508799.1476 | 1120258.3509 | 2508804.8759 | 1120268.8673
83 | 2508856.0407 | 1120329.7805 | 2508853.3491 | 1120326.2442
84 | 2508863.7449 | 1120234.9325 | 2508854.6156 | 1120238.7249 | 2508837.4371 | 1120249.2842
85 | 2508796.132 | 1120250.7696 | 2508780.8718 | 1120252.9566 | 2508767.3686 | 1120257.9871
86 | 2508875.3958 | 1120230.0926 | 2508863.7449 | 1120234.9325
87 | 2508767.3686 | 1120257.9871 | 2508720.0641 | 1120275.6101 | 2508673.4951 | 1120293.8131 | 2508638.0806 | 1120308.746 | 2508619.805 | 1120316.638 | 2508617.5826 | 1120317.2045
88 | 2508609.9832 | 1120318.721 | 2508612.6644 | 1120318.4581 | 2508617.5826 | 1120317.2045
89 | 2508394.7803 | 1120181.528 | 2508400.2557 | 1120185.4029 | 2508411.1058 | 1120193.6213 | 2508418.1326 | 1120198.5401 | 2508424.8797 | 1120202.8294 | 2508433.0951 | 1120206.7518 | 2508440.5717 | 1120209.7848 | 2508451.609 | 1120213.053 | 2508467.0371 | 1120216.8551 | 2508480.8021 | 1120220.8936 | 2508494.1961 | 1120225.4048 | 2508502.606 | 1120228.9241 | 2508510.4545 | 1120232.5742 | 2508517.7493 | 1120236.8553 | 2508527.8902 | 1120243.1056 | 2508534.8972 | 1120249.27 | 2508545.1154 | 1120260.122 | 2508564.6376 | 1120283.1073 | 2508582.4104 | 1120302.1612 | 2508595.5692 | 1120314.6031 | 2508601.33 | 1120317.4622 | 2508605.65 | 1120318.4197 | 2508609.9832 | 1120318.721
90 | 2508395.2205 | 1120146.4335 | 2508392.8592 | 1120146.4248 | 2508391.2429 | 1120147.2053 | 2508389.9235 | 1120148.2259 | 2508388.7864 | 1120150.0776 | 2508388.0026 | 1120152.8356 | 2508387.8255 | 1120155.4065 | 2508388.3018 | 1120159.8464 | 2508389.0253 | 1120162.7817 | 2508390.2803 | 1120165.6533 | 2508391.6011 | 1120169.3021 | 2508391.7758 | 1120174.2135 | 2508394.5306 | 1120175.2391 | 2508394.7803 | 1120181.528

## bus_geodata
| x | y | coords
0 | 2509304.693 | 1120814.6143
1 | 2509293.1771 | 1120786.8929
2 | 2509281.1376 | 1120771.2419
3 | 2509108.4958 | 1120568.9751
4 | 2509105.0693 | 1120556.7641
5 | 2508891.8551 | 1120484.4494
6 | 2508889.7512 | 1120476.6799
7 | 2508901.2393 | 1120507.1394
8 | 2508887.0985 | 1120464.0473
9 | 2508880.3491 | 1120514.9358
10 | 2508913.9 | 1120523.2813
11 | 2508885.1509 | 1120454.7727
12 | 2508860.675 | 1120522.2783
13 | 2508923.4365 | 1120534.2102
14 | 2508884.3014 | 1120450.7273
15 | 2508859.1696 | 1120524.2043
16 | 2508927.9033 | 1120551.0641
17 | 2508863.7889 | 1120541.2076
18 | 2508865.8278 | 1120548.7129
19 | 2508863.4353 | 1120539.9062
20 | 2508866.0088 | 1120549.3791
21 | 2508861.8004 | 1120533.8882
22 | 2508867.7193 | 1120555.8959
23 | 2508870.4893 | 1120567.8393
24 | 2509224.473 | 1120480.7576
25 | 2509210.6752 | 1120488.4292
26 | 2509224.9652 | 1120480.4413
27 | 2509205.3334 | 1120490.9983
28 | 2509225.5551 | 1120480.0622
29 | 2509203.628 | 1120491.8112
30 | 2509225.932 | 1120479.82
31 | 2509201.8147 | 1120492.6234
32 | 2509017.4245 | 1120516.161
33 | 2509005.1088 | 1120521.0207
34 | 2509031.8876 | 1120513.6849
35 | 2508988.3303 | 1120529.4631
36 | 2509034.2155 | 1120513.4529
37 | 2508982.3721 | 1120531.5726
38 | 2509036.2815 | 1120513.247
39 | 2508951.1818 | 1120542.2827
40 | 2509049.9092 | 1120512.8858
41 | 2508877.7969 | 1120428.4536
42 | 2508877.7297 | 1120428.2234
43 | 2508877.1306 | 1120426.1719
44 | 2508915.6219 | 1120438.4262
45 | 2508872.6698 | 1120410.4668
46 | 2508872.5043 | 1120409.8719
47 | 2508937.6289 | 1120547.1403
48 | 2508934.5689 | 1120548.3444
49 | 2508947.1961 | 1120543.6247
50 | 2508902.4942 | 1120561.0663
51 | 2509146.4654 | 1120508.3674
52 | 2509153.2461 | 1120507.3799
53 | 2509123.1508 | 1120511.714
54 | 2509181.907 | 1120501.5405
55 | 2509094.4185 | 1120515.8928
56 | 2509117.746 | 1120493.0163
57 | 2509080.0259 | 1120515.2351
58 | 2509100.8225 | 1120541.6299
59 | 2509113.6248 | 1120478.7492
60 | 2509057.3495 | 1120513.1486
61 | 2509101.9536 | 1120545.6606
62 | 2509110.4666 | 1120467.8163
63 | 2508866.4341 | 1120568.5675
64 | 2508866.6822 | 1120366.5533
65 | 2508866.897 | 1120372.3669
66 | 2508866.4015 | 1120365.0723
67 | 2508867.2041 | 1120380.6809
68 | 2508864.1468 | 1120353.1761
69 | 2508867.514 | 1120388.9654
70 | 2508864.0307 | 1120352.5631
71 | 2508852.3881 | 1120390.3164
72 | 2508868.4569 | 1120393.2652
73 | 2508861.1637 | 1120341.2276
74 | 2508858.8761 | 1120569.9413
75 | 2508817.4032 | 1120287.7649
76 | 2508832.7953 | 1120303.809
77 | 2508805.052 | 1120269.1906
78 | 2508839.3324 | 1120310.645
79 | 2508825.5131 | 1120256.6136
80 | 2508804.8759 | 1120268.8673
81 | 2508853.3491 | 1120326.2442
82 | 2508837.4371 | 1120249.2842
83 | 2508796.132 | 1120250.7696
84 | 2508856.0407 | 1120329.7805
85 | 2508863.7449 | 1120234.9325
86 | 2508767.3686 | 1120257.9871
87 | 2508875.3958 | 1120230.0926
88 | 2508617.5826 | 1120317.2045
89 | 2508609.9832 | 1120318.721
90 | 2508394.7803 | 1120181.528
91 | 2508395.2205 | 1120146.4335
92 | 2508867.514 | 1120388.9654

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1