## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6629-1_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_6629-1_1_3_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_6629-1_1_3_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_6629-1_1_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_6629-1_1_3_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_6629-1_1_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_6629-1_1_3_node_122 | 0.4 | n |  | TRUE
7 | bus_LV_6629-1_1_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_6629-1_1_3_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_6629-1_1_3_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_6629-1_1_3_node_121 | 0.4 | n |  | TRUE
11 | bus_LV_6629-1_1_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_6629-1_1_3_node_116 | 0.4 | n |  | TRUE
13 | bus_LV_6629-1_1_3_node_114 | 0.4 | n |  | TRUE
14 | bus_LV_6629-1_1_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_6629-1_1_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_6629-1_1_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_6629-1_1_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_6629-1_1_3_node_117 | 0.4 | n |  | TRUE
19 | bus_LV_6629-1_1_3_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_6629-1_1_3_node_102 | 0.4 | n |  | TRUE
21 | bus_LV_6629-1_1_3_node_103 | 0.4 | n |  | TRUE
22 | bus_LV_6629-1_1_3_node_98 | 0.4 | n |  | TRUE
23 | bus_LV_6629-1_1_3_node_113 | 0.4 | n |  | TRUE
24 | bus_LV_6629-1_1_3_node_112 | 0.4 | n |  | TRUE
25 | bus_LV_6629-1_1_3_node_115 | 0.4 | n |  | TRUE
26 | bus_LV_6629-1_1_3_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_6629-1_1_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_6629-1_1_3_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_6629-1_1_3_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_6629-1_1_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_6629-1_1_3_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_6629-1_1_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_6629-1_1_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_6629-1_1_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_6629-1_1_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_6629-1_1_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_6629-1_1_3_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_6629-1_1_3_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_6629-1_1_3_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_6629-1_1_3_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_6629-1_1_3_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_6629-1_1_3_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_6629-1_1_3_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_6629-1_1_3_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_6629-1_1_3_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_6629-1_1_3_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_6629-1_1_3_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_6629-1_1_3_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_6629-1_1_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_6629-1_1_3_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_6629-1_1_3_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_6629-1_1_3_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_6629-1_1_3_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_6629-1_1_3_node_104 | 0.4 | n |  | TRUE
55 | bus_LV_6629-1_1_3_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_6629-1_1_3_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_6629-1_1_3_node_108 | 0.4 | n |  | TRUE
58 | bus_LV_6629-1_1_3_node_109 | 0.4 | n |  | TRUE
59 | bus_LV_6629-1_1_3_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_6629-1_1_3_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_6629-1_1_3_node_120 | 0.4 | n |  | TRUE
62 | bus_MV_459_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6629-1_1_3_load_15 | 0 | 0.00025146 | 6.3023e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6629-1_1_3_load_18 | 3 | 0.0001845 | 4.6241e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6629-1_1_3_load_122 | 6 | 0.0011086 | 0.00027784 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6629-1_1_3_load_21 | 7 | 0.00033755 | 8.4597e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6629-1_1_3_load_76 | 8 | 0.00023439 | 5.8743e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6629-1_1_3_load_72 | 9 | 8.1208e-05 | 2.0353e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6629-1_1_3_load_121 | 10 | 0.015737 | 0.003944 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6629-1_1_3_load_116 | 12 | 0.0030256 | 0.0007583 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6629-1_1_3_load_114 | 13 | 0.0050011 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6629-1_1_3_load_22 | 14 | 0.00053383 | 0.00013379 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6629-1_1_3_load_23 | 15 | 0.00044441 | 0.00011138 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6629-1_1_3_load_26 | 16 | 0.00055611 | 0.00013937 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6629-1_1_3_load_27 | 17 | 0.00091911 | 0.00023035 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6629-1_1_3_load_117 | 18 | 0.0067868 | 0.0017009 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6629-1_1_3_load_103 | 21 | 0.0030913 | 0.00077476 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6629-1_1_3_load_98 | 22 | 0.010382 | 0.0026021 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6629-1_1_3_load_113 | 23 | 0.0062664 | 0.0015705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6629-1_1_3_load_112 | 24 | 0.0025844 | 0.0006477 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6629-1_1_3_load_115 | 25 | 0.0029085 | 0.00072895 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6629-1_1_3_load_96 | 28 | 0.0010087 | 0.0002528 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6629-1_1_3_load_95 | 29 | 0.00070246 | 0.00017605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6629-1_1_3_load_28 | 30 | 0.00093629 | 0.00023466 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6629-1_1_3_load_90 | 32 | 0.004174 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6629-1_1_3_load_86 | 33 | 0.0010318 | 0.00025859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6629-1_1_3_load_80 | 34 | 0.0003452 | 8.6516e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6629-1_1_3_load_78 | 35 | 0.00027701 | 6.9424e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6629-1_1_3_load_71 | 36 | 0.00010113 | 2.5347e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6629-1_1_3_load_73 | 37 | 0.00041936 | 0.0001051 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6629-1_1_3_load_75 | 38 | 0.00073254 | 0.00018359 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6629-1_1_3_load_82 | 39 | 0.00054437 | 0.00013643 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6629-1_1_3_load_85 | 40 | 8.976e-05 | 2.2496e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6629-1_1_3_load_83 | 41 | 0.00044963 | 0.00011269 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6629-1_1_3_load_77 | 42 | 0.00033113 | 8.2989e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6629-1_1_3_load_79 | 43 | 0.00057263 | 0.00014352 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6629-1_1_3_load_81 | 44 | 0.001981 | 0.00049648 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6629-1_1_3_load_94 | 45 | 0.00051976 | 0.00013026 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6629-1_1_3_load_84 | 46 | 0.00073265 | 0.00018362 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6629-1_1_3_load_93 | 47 | 0.00095408 | 0.00023911 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6629-1_1_3_load_92 | 48 | 0.0012573 | 0.0003151 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6629-1_1_3_load_87 | 49 | 0.0019978 | 0.00050069 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6629-1_1_3_load_89 | 50 | 0.0029802 | 0.00074691 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6629-1_1_3_load_91 | 51 | 0.00089811 | 0.00022509 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6629-1_1_3_load_99 | 52 | 0.0036946 | 0.00092596 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6629-1_1_3_load_101 | 53 | 0.010832 | 0.0027148 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6629-1_1_3_load_108 | 57 | 0.0015547 | 0.00038965 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6629-1_1_3_load_109 | 58 | 0.0033141 | 0.00083058 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6629-1_1_3_load_118 | 59 | 0.0068633 | 0.0017201 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6629-1_1_3_load_119 | 60 | 0.021772 | 0.0054565 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6629-1_1_3_load_120 | 61 | 0.015946 | 0.0039965 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6629-1_1_3_line_0 |  | 0 | 1 | 0.031744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6629-1_1_3_line_1 |  | 1 | 2 | 0.021573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6629-1_1_3_line_2 |  | 2 | 7 | 0.022448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6629-1_1_3_line_3 |  | 2 | 5 | 0.011528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6629-1_1_3_line_4 |  | 3 | 4 | 0.030127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6629-1_1_3_line_5 |  | 4 | 8 | 0.041335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6629-1_1_3_line_6 |  | 4 | 9 | 0.016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6629-1_1_3_line_7 |  | 5 | 6 | 0.06577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6629-1_1_3_line_8 |  | 6 | 10 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6629-1_1_3_line_9 |  | 7 | 14 | 0.010427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6629-1_1_3_line_10 |  | 8 | 40 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6629-1_1_3_line_11 |  | 9 | 36 | 0.0071171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6629-1_1_3_line_12 |  | 10 | 61 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6629-1_1_3_line_13 |  | 11 | 12 | 0.031689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6629-1_1_3_line_14 |  | 11 | 13 | 0.052582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6629-1_1_3_line_15 |  | 12 | 18 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6629-1_1_3_line_16 |  | 13 | 25 | 0.0060279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6629-1_1_3_line_17 |  | 14 | 15 | 0.0010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6629-1_1_3_line_18 |  | 15 | 16 | 0.0044922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6629-1_1_3_line_19 |  | 16 | 17 | 0.13376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6629-1_1_3_line_20 |  | 17 | 30 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6629-1_1_3_line_21 |  | 18 | 59 | 0.011004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6629-1_1_3_line_22 |  | 19 | 20 | 0.004961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6629-1_1_3_line_23 |  | 19 | 21 | 0.031809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6629-1_1_3_line_24 |  | 19 | 22 | 0.070352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6629-1_1_3_line_25 |  | 20 | 23 | 0.10409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6629-1_1_3_line_26 |  | 20 | 24 | 0.03307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6629-1_1_3_line_27 |  | 21 | 54 | 0.21397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6629-1_1_3_line_28 |  | 22 | 52 | 0.038078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6629-1_1_3_line_29 |  | 24 | 55 | 0.055056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6629-1_1_3_line_30 |  | 25 | 56 | 0.19043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6629-1_1_3_line_31 |  | 26 | 27 | 0.10687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6629-1_1_3_line_32 |  | 26 | 28 | 0.13427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6629-1_1_3_line_33 |  | 27 | 34 | 0.052532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6629-1_1_3_line_34 |  | 28 | 29 | 0.087397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6629-1_1_3_line_35 |  | 30 | 31 | 0.015463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6629-1_1_3_line_36 |  | 31 | 32 | 0.021786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6629-1_1_3_line_37 |  | 31 | 33 | 0.0044665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6629-1_1_3_line_38 |  | 33 | 49 | 0.011631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6629-1_1_3_line_39 |  | 34 | 35 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6629-1_1_3_line_40 |  | 35 | 42 | 0.0040259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6629-1_1_3_line_41 |  | 36 | 37 | 0.053133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6629-1_1_3_line_42 |  | 37 | 38 | 0.0011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6629-1_1_3_line_43 |  | 38 | 39 | 0.0080631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6629-1_1_3_line_44 |  | 39 | 41 | 0.00097635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6629-1_1_3_line_45 |  | 41 | 46 | 0.026998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6629-1_1_3_line_46 |  | 42 | 43 | 0.0081575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6629-1_1_3_line_47 |  | 43 | 44 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6629-1_1_3_line_48 |  | 44 | 45 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6629-1_1_3_line_49 |  | 45 | 46 | 0.009685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6629-1_1_3_line_50 |  | 46 | 47 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6629-1_1_3_line_51 |  | 47 | 48 | 0.0074201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6629-1_1_3_line_52 |  | 48 | 51 | 0.0099769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6629-1_1_3_line_53 |  | 49 | 50 | 0.0068639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6629-1_1_3_line_54 |  | 50 | 51 | 0.0029462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6629-1_1_3_line_55 |  | 52 | 53 | 0.0021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6629-1_1_3_line_56 |  | 54 | 56 | 0.31616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6629-1_1_3_line_57 |  | 55 | 57 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6629-1_1_3_line_58 |  | 57 | 58 | 0.004702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6629-1_1_3_line_59 |  | 59 | 60 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6629-1_1_3_line_60 |  | 60 | 61 | 0.024091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6629-1_1_3_trafo_24 | 0.63 MVA 20/0.4 kV | 62 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2507754.3423 | 1121359.4868 | 2507764.3537 | 1121354.7867 | 2507771.9778 | 1121351.3795 | 2507777.9313 | 1121348.7093 | 2507783.1846 | 1121346.2322
1 | 2507739.0842 | 1121373.2279 | 2507741.7715 | 1121371.8861 | 2507744.512 | 1121365.9406 | 2507745.359 | 1121364.3156 | 2507747.1906 | 1121363.0091 | 2507751.1712 | 1121360.9805 | 2507754.3423 | 1121359.4868
2 | 2507739.0842 | 1121373.2279 | 2507741.8099 | 1121377.9336 | 2507748.3554 | 1121387.7619 | 2507750.2001 | 1121390.3464 | 2507751.3798 | 1121391.9939
3 | 2507739.0842 | 1121373.2279 | 2507733.1166 | 1121363.3574
4 | 2507972.0622 | 1121579.546 | 2507971.4779 | 1121576.642 | 2507970.0353 | 1121569.5486 | 2507967.9971 | 1121563.3648 | 2507962.2525 | 1121551.2417
5 | 2507972.0622 | 1121579.546 | 2508013.196 | 1121583.6207
6 | 2507972.0622 | 1121579.546 | 2507955.3877 | 1121579.3109
7 | 2507733.1166 | 1121363.3574 | 2507714.618 | 1121372.5342 | 2507674.7272 | 1121391.3324 | 2507673.8024 | 1121391.7682
8 | 2507673.8024 | 1121391.7682 | 2507662.1058 | 1121397.2795
9 | 2507751.3798 | 1121391.9939 | 2507757.4503 | 1121400.4711
10 | 2508025.0834 | 1121584.7982 | 2508013.196 | 1121583.6207
11 | 2507948.2714 | 1121579.2105 | 2507955.3877 | 1121579.3109
12 | 2507662.1058 | 1121397.2795 | 2507650.4196 | 1121402.786
13 | 2507558.5259 | 1121446.0855 | 2507587.192 | 1121432.5783
14 | 2507558.5259 | 1121446.0855 | 2507552.177 | 1121433.9975 | 2507548.5852 | 1121427.1483 | 2507536.9598 | 1121405.0016 | 2507534.0858 | 1121399.5289
15 | 2507587.192 | 1121432.5783 | 2507597.7516 | 1121427.6027
16 | 2507534.0858 | 1121399.5289 | 2507532.0888 | 1121395.7261 | 2507531.3019 | 1121394.1824
17 | 2507757.4503 | 1121400.4711 | 2507758.0391 | 1121401.2935
18 | 2507760.6545 | 1121404.9458 | 2507758.0391 | 1121401.2935
19 | 2507760.6545 | 1121404.9458 | 2507766.8089 | 1121413.5403 | 2507780.0524 | 1121432.5831 | 2507806.2472 | 1121470.2397 | 2507809.4916 | 1121476.0826 | 2507812.4265 | 1121481.3633 | 2507828.2337 | 1121519.6271
20 | 2507828.2337 | 1121519.6271 | 2507832.3188 | 1121529.5157
21 | 2507607.7057 | 1121422.9124 | 2507597.7516 | 1121427.6027
22 | 2507269.6522 | 1121587.2837 | 2507267.2098 | 1121582.963
23 | 2507267.2098 | 1121582.963 | 2507264.3167 | 1121576.4146 | 2507254.3589 | 1121553.8652
24 | 2507267.2098 | 1121582.963 | 2507214.8622 | 1121608.7485 | 2507204.8303 | 1121614.0612 | 2507204.2618 | 1121614.3698
25 | 2507269.6522 | 1121587.2837 | 2507236.3738 | 1121603.971 | 2507215.1027 | 1121614.8596 | 2507206.934 | 1121618.9319 | 2507192.9621 | 1121626.3953 | 2507177.3275 | 1121635.3067
26 | 2507269.6522 | 1121587.2837 | 2507270.6829 | 1121589.1024 | 2507277.7453 | 1121600.9012 | 2507280.5321 | 1121605.5502 | 2507286.9064 | 1121615.4907
27 | 2507161.3164 | 1121361.2095 | 2507214.7618 | 1121473.6016 | 2507235.2656 | 1121513.1998 | 2507239.269 | 1121521.2099 | 2507250.594 | 1121545.3396 | 2507254.3589 | 1121553.8652
28 | 2507204.2618 | 1121614.3698 | 2507191.5488 | 1121621.2695 | 2507170.7927 | 1121632.5283
29 | 2507320.1527 | 1121659.3307 | 2507305.7235 | 1121641.5078 | 2507290.9805 | 1121621.8442 | 2507286.9064 | 1121615.4907
30 | 2507446.7658 | 1121223.5497 | 2507469.061 | 1121268.3355 | 2507520.5721 | 1121373.133 | 2507531.3019 | 1121394.1824
31 | 2507843.3096 | 1121773.8135 | 2507873.5786 | 1121746.4022 | 2507911.1376 | 1121713.9215 | 2507923.9063 | 1121703.3984
32 | 2507843.3096 | 1121773.8135 | 2507841.5221 | 1121764.3461 | 2507840.1644 | 1121758.7857 | 2507838.3106 | 1121754.0778 | 2507836.4528 | 1121750.1148 | 2507833.2359 | 1121744.5494 | 2507826.4294 | 1121734.7695 | 2507783.9728 | 1121678.8276 | 2507770.8903 | 1121662.5229
33 | 2507923.9063 | 1121703.3984 | 2507907.2198 | 1121683.1181 | 2507900.252 | 1121674.8971 | 2507892.7738 | 1121665.0829 | 2507890.9806 | 1121662.4883
34 | 2507721.7847 | 1121590.3308 | 2507732.3651 | 1121607.6609 | 2507758.8476 | 1121647.5142 | 2507770.8903 | 1121662.5229
35 | 2507838.1662 | 1121543.8308 | 2507837.3483 | 1121541.7976 | 2507835.3841 | 1121536.9357 | 2507832.3188 | 1121529.5157
36 | 2507838.1662 | 1121543.8308 | 2507817.853 | 1121551.8565
37 | 2507838.1662 | 1121543.8308 | 2507839.8389 | 1121547.9723
38 | 2507839.8389 | 1121547.9723 | 2507840.8439 | 1121550.4606 | 2507844.1894 | 1121558.7586
39 | 2507883.2309 | 1121651.2057 | 2507884.9801 | 1121653.8059 | 2507890.9806 | 1121662.4883
40 | 2507881.1314 | 1121647.7787 | 2507881.7597 | 1121649.0188 | 2507883.2309 | 1121651.2057
41 | 2507948.2714 | 1121579.2105 | 2507943.2581 | 1121579.1399 | 2507931.7595 | 1121579.8821 | 2507923.2846 | 1121581.6122 | 2507914.1199 | 1121584.1422 | 2507896.6362 | 1121590.0009
42 | 2507896.6362 | 1121590.0009 | 2507895.5794 | 1121590.355
43 | 2507887.9341 | 1121592.9169 | 2507895.5794 | 1121590.355
44 | 2507887.9341 | 1121592.9169 | 2507887.0084 | 1121593.2271
45 | 2507862.5477 | 1121604.2846 | 2507867.8201 | 1121600.9689 | 2507873.6947 | 1121597.6885 | 2507887.0084 | 1121593.2271
46 | 2507881.1314 | 1121647.7787 | 2507877.4448 | 1121640.5018
47 | 2507877.4448 | 1121640.5018 | 2507873.3924 | 1121632.503 | 2507871.7007 | 1121628.1012
48 | 2507866.022 | 1121613.3249 | 2507871.7007 | 1121628.1012
49 | 2507862.5477 | 1121604.2846 | 2507866.022 | 1121613.3249
50 | 2507862.5477 | 1121604.2846 | 2507856.9355 | 1121590.3728 | 2507854.3629 | 1121583.992
51 | 2507854.3629 | 1121583.992 | 2507851.5883 | 1121577.1102
52 | 2507847.8577 | 1121567.857 | 2507851.5883 | 1121577.1102
53 | 2507844.1894 | 1121558.7586 | 2507846.756 | 1121565.1245
54 | 2507847.8577 | 1121567.857 | 2507846.756 | 1121565.1245
55 | 2507168.9282 | 1121633.604 | 2507170.7927 | 1121632.5283 | 2507170.7927 | 1121632.5283
56 | 2507446.7658 | 1121223.5497 | 2507444.3153 | 1121224.7435 | 2507435.693 | 1121228.9669 | 2507428.8242 | 1121232.3186 | 2507209.21 | 1121338.6495 | 2507168.6388 | 1121357.7728 | 2507161.3164 | 1121361.2095
57 | 2507320.1527 | 1121659.3307 | 2507302.3018 | 1121676.4259 | 2507300.9631 | 1121677.8527
58 | 2507300.9631 | 1121677.8527 | 2507297.746 | 1121681.2818
59 | 2507628.6267 | 1121413.0546 | 2507607.7057 | 1121422.9124
60 | 2507628.6267 | 1121413.0546 | 2507650.4196 | 1121402.786

## bus_geodata
| x | y | coords
0 | 2507783.1846 | 1121346.2322
1 | 2507754.3423 | 1121359.4868
2 | 2507739.0842 | 1121373.2279
3 | 2507962.2525 | 1121551.2417
4 | 2507972.0622 | 1121579.546
5 | 2507733.1166 | 1121363.3574
6 | 2507673.8024 | 1121391.7682
7 | 2507751.3798 | 1121391.9939
8 | 2508013.196 | 1121583.6207
9 | 2507955.3877 | 1121579.3109
10 | 2507662.1058 | 1121397.2795
11 | 2507558.5259 | 1121446.0855
12 | 2507587.192 | 1121432.5783
13 | 2507534.0858 | 1121399.5289
14 | 2507757.4503 | 1121400.4711
15 | 2507758.0391 | 1121401.2935
16 | 2507760.6545 | 1121404.9458
17 | 2507828.2337 | 1121519.6271
18 | 2507597.7516 | 1121427.6027
19 | 2507267.2098 | 1121582.963
20 | 2507269.6522 | 1121587.2837
21 | 2507254.3589 | 1121553.8652
22 | 2507204.2618 | 1121614.3698
23 | 2507177.3275 | 1121635.3067
24 | 2507286.9064 | 1121615.4907
25 | 2507531.3019 | 1121394.1824
26 | 2507843.3096 | 1121773.8135
27 | 2507923.9063 | 1121703.3984
28 | 2507770.8903 | 1121662.5229
29 | 2507721.7847 | 1121590.3308
30 | 2507832.3188 | 1121529.5157
31 | 2507838.1662 | 1121543.8308
32 | 2507817.853 | 1121551.8564
33 | 2507839.8389 | 1121547.9723
34 | 2507890.9806 | 1121662.4883
35 | 2507883.2309 | 1121651.2057
36 | 2507948.2714 | 1121579.2105
37 | 2507896.6362 | 1121590.0009
38 | 2507895.5794 | 1121590.355
39 | 2507887.9341 | 1121592.9169
40 | 2508025.0834 | 1121584.7982
41 | 2507887.0084 | 1121593.2271
42 | 2507881.1314 | 1121647.7787
43 | 2507877.4448 | 1121640.5018
44 | 2507871.7007 | 1121628.1012
45 | 2507866.022 | 1121613.3249
46 | 2507862.5477 | 1121604.2846
47 | 2507854.3629 | 1121583.992
48 | 2507851.5883 | 1121577.1102
49 | 2507844.1894 | 1121558.7586
50 | 2507846.756 | 1121565.1245
51 | 2507847.8577 | 1121567.857
52 | 2507170.7927 | 1121632.5283
53 | 2507168.9282 | 1121633.604
54 | 2507161.3164 | 1121361.2095
55 | 2507320.1527 | 1121659.3307
56 | 2507446.7658 | 1121223.5497
57 | 2507300.9631 | 1121677.8527
58 | 2507297.746 | 1121681.2818
59 | 2507607.7057 | 1121422.9124
60 | 2507628.6267 | 1121413.0546
61 | 2507650.4196 | 1121402.786
62 | 2507556.6099 | 1121446.9153

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1