## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6632-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6632-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6632-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6632-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6632-1_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_6632-1_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_6632-1_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6632-1_0_3_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_6632-1_0_3_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_6632-1_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6632-1_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6632-1_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6632-1_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6632-1_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6632-1_0_3_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_6632-1_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_6632-1_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6632-1_0_3_node_122 | 0.4 | n |  | TRUE
18 | bus_LV_6632-1_0_3_node_119 | 0.4 | n |  | TRUE
19 | bus_LV_6632-1_0_3_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_6632-1_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6632-1_0_3_node_113 | 0.4 | n |  | TRUE
22 | bus_LV_6632-1_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_6632-1_0_3_node_116 | 0.4 | n |  | TRUE
24 | bus_LV_6632-1_0_3_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_6632-1_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_6632-1_0_3_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_6632-1_0_3_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_6632-1_0_3_node_120 | 0.4 | n |  | TRUE
29 | bus_LV_6632-1_0_3_node_125 | 0.4 | n |  | TRUE
30 | bus_LV_6632-1_0_3_node_121 | 0.4 | n |  | TRUE
31 | bus_LV_6632-1_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6632-1_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6632-1_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6632-1_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6632-1_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6632-1_0_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6632-1_0_3_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_6632-1_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6632-1_0_3_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_6632-1_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_6632-1_0_3_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_6632-1_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_6632-1_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_6632-1_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_6632-1_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6632-1_0_3_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_6632-1_0_3_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_6632-1_0_3_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_6632-1_0_3_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_6632-1_0_3_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_6632-1_0_3_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_6632-1_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_6632-1_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6632-1_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_6632-1_0_3_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_6632-1_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_6632-1_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6632-1_0_3_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_6632-1_0_3_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_6632-1_0_3_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_6632-1_0_3_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_6632-1_0_3_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_6632-1_0_3_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_6632-1_0_3_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_6632-1_0_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_6632-1_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6632-1_0_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_6632-1_0_3_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_6632-1_0_3_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_6632-1_0_3_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_6632-1_0_3_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_6632-1_0_3_node_39 | 0.4 | n |  | TRUE
73 | bus_LV_6632-1_0_3_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_6632-1_0_3_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_6632-1_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_6632-1_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_6632-1_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_6632-1_0_3_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_6632-1_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_6632-1_0_3_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_6632-1_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6632-1_0_3_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_6632-1_0_3_node_117 | 0.4 | n |  | TRUE
84 | bus_LV_6632-1_0_3_node_118 | 0.4 | n |  | TRUE
85 | bus_LV_6632-1_0_3_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_6632-1_0_3_node_51 | 0.4 | n |  | TRUE
87 | bus_LV_6632-1_0_3_node_52 | 0.4 | n |  | TRUE
88 | bus_LV_6632-1_0_3_node_53 | 0.4 | n |  | TRUE
89 | bus_LV_6632-1_0_3_node_55 | 0.4 | n |  | TRUE
90 | bus_LV_6632-1_0_3_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_6632-1_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_6632-1_0_3_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_6632-1_0_3_node_59 | 0.4 | n |  | TRUE
94 | bus_LV_6632-1_0_3_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_6632-1_0_3_node_64 | 0.4 | n |  | TRUE
96 | bus_LV_6632-1_0_3_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_6632-1_0_3_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_6632-1_0_3_node_69 | 0.4 | n |  | TRUE
99 | bus_LV_6632-1_0_3_node_70 | 0.4 | n |  | TRUE
100 | bus_LV_6632-1_0_3_node_75 | 0.4 | n |  | TRUE
101 | bus_LV_6632-1_0_3_node_92 | 0.4 | n |  | TRUE
102 | bus_MV_458_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6632-1_0_3_load_0 | 0 | 0.0014133 | 0.0003542 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6632-1_0_3_load_16 | 5 | 0.00084355 | 0.00021141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6632-1_0_3_load_84 | 7 | 0.0075073 | 0.0018815 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6632-1_0_3_load_82 | 8 | 0.0016328 | 0.00040921 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6632-1_0_3_load_15 | 10 | 0.0016009 | 0.00040121 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6632-1_0_3_load_10 | 12 | 0.0037624 | 0.00094295 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6632-1_0_3_load_122 | 17 | 0.0025655 | 0.00064298 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6632-1_0_3_load_119 | 18 | 0.00053694 | 0.00013457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6632-1_0_3_load_113 | 21 | 0.0045321 | 0.0011359 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6632-1_0_3_load_116 | 23 | 0.001008 | 0.00025263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6632-1_0_3_load_42 | 25 | 0.0016864 | 0.00042264 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6632-1_0_3_load_43 | 26 | 0.0015455 | 0.00038733 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6632-1_0_3_load_120 | 28 | 0.00142 | 0.00035589 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6632-1_0_3_load_125 | 29 | 0.00088312 | 0.00022133 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6632-1_0_3_load_121 | 30 | 0.0010284 | 0.00025773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6632-1_0_3_load_17 | 31 | 0.0030845 | 0.00077304 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6632-1_0_3_load_18 | 32 | 0.00082477 | 0.00020671 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6632-1_0_3_load_19 | 33 | 0.0029442 | 0.00073788 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6632-1_0_3_load_20 | 34 | 0.0018781 | 0.00047069 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6632-1_0_3_load_48 | 36 | 0.013178 | 0.0033027 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6632-1_0_3_load_67 | 37 | 0.0014782 | 0.00037047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6632-1_0_3_load_28 | 38 | 0.0023864 | 0.00059808 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6632-1_0_3_load_25 | 40 | 0.00095898 | 0.00024034 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6632-1_0_3_load_98 | 41 | 0.0059676 | 0.0014956 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6632-1_0_3_load_22 | 42 | 0.0017024 | 0.00042666 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6632-1_0_3_load_23 | 43 | 0.0018503 | 0.00046373 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6632-1_0_3_load_24 | 44 | 0.0086194 | 0.0021602 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6632-1_0_3_load_99 | 46 | 0.0010395 | 0.00026052 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6632-1_0_3_load_74 | 50 | 0.0035143 | 0.00088077 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6632-1_0_3_load_27 | 51 | 0.0049297 | 0.0012355 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6632-1_0_3_load_29 | 52 | 0.0036086 | 0.0009044 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6632-1_0_3_load_96 | 55 | 0.0010632 | 0.00026647 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6632-1_0_3_load_60 | 56 | 0.0044303 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6632-1_0_3_load_56 | 57 | 0.0016343 | 0.0004096 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6632-1_0_3_load_31 | 59 | 0.0023546 | 0.00059012 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6632-1_0_3_load_34 | 62 | 0.0014779 | 0.00037039 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6632-1_0_3_load_35 | 63 | 0.0039259 | 0.00098394 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6632-1_0_3_load_36 | 64 | 0.010212 | 0.0025592 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6632-1_0_3_load_85 | 65 | 0.0041238 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6632-1_0_3_load_49 | 66 | 0.020778 | 0.0052074 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6632-1_0_3_load_87 | 69 | 0.020577 | 0.0051572 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6632-1_0_3_load_37 | 70 | 0.00086785 | 0.0002175 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6632-1_0_3_load_38 | 71 | 0.0010904 | 0.00027327 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6632-1_0_3_load_39 | 72 | 0.0026212 | 0.00065694 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6632-1_0_3_load_78 | 74 | 0.0012786 | 0.00032045 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6632-1_0_3_load_68 | 75 | 0.0054301 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6632-1_0_3_load_71 | 76 | 0.0018561 | 0.00046519 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6632-1_0_3_load_77 | 77 | 0.00067428 | 0.00016899 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6632-1_0_3_load_44 | 78 | 0.0051413 | 0.0012885 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6632-1_0_3_load_63 | 81 | 0.0029332 | 0.00073513 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6632-1_0_3_load_54 | 82 | 0.0016487 | 0.0004132 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6632-1_0_3_load_117 | 83 | 0.0012882 | 0.00032285 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6632-1_0_3_load_118 | 84 | 0.00072938 | 0.0001828 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6632-1_0_3_load_94 | 85 | 0.0014271 | 0.00035766 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6632-1_0_3_load_51 | 86 | 0.00088928 | 0.00022288 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6632-1_0_3_load_52 | 87 | 0.018661 | 0.0046769 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6632-1_0_3_load_53 | 88 | 0.024807 | 0.0062172 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6632-1_0_3_load_89 | 90 | 0.0076316 | 0.0019127 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6632-1_0_3_load_57 | 92 | 0.0049091 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6632-1_0_3_load_65 | 94 | 0.016222 | 0.0040656 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6632-1_0_3_load_64 | 95 | 0.026912 | 0.0067449 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6632-1_0_3_load_100 | 96 | 0.0079837 | 0.0020009 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6632-1_0_3_load_93 | 97 | 0.025797 | 0.0064653 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6632-1_0_3_load_69 | 98 | 0.010283 | 0.0025772 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6632-1_0_3_load_70 | 99 | 0.0079281 | 0.001987 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6632-1_0_3_load_75 | 100 | 0.0011621 | 0.00029125 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6632-1_0_3_load_92 | 101 | 0.015782 | 0.0039553 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6632-1_0_3_line_0 |  | 0 | 1 | 0.033578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6632-1_0_3_line_1 |  | 0 | 2 | 0.043759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6632-1_0_3_line_2 |  | 1 | 3 | 0.045419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6632-1_0_3_line_3 |  | 2 | 4 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6632-1_0_3_line_4 |  | 3 | 5 | 0.047404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6632-1_0_3_line_5 |  | 4 | 11 | 0.007866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6632-1_0_3_line_6 |  | 4 | 12 | 0.030143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6632-1_0_3_line_7 |  | 5 | 9 | 0.048483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6632-1_0_3_line_8 |  | 6 | 7 | 0.025025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6632-1_0_3_line_9 |  | 6 | 8 | 0.046775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6632-1_0_3_line_10 |  | 7 | 19 | 0.054567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6632-1_0_3_line_11 |  | 9 | 10 | 0.049376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6632-1_0_3_line_12 |  | 11 | 20 | 0.024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6632-1_0_3_line_13 |  | 13 | 14 | 0.1972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6632-1_0_3_line_14 |  | 13 | 15 | 0.078999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6632-1_0_3_line_15 |  | 14 | 21 | 0.027177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6632-1_0_3_line_16 |  | 15 | 24 | 0.025798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6632-1_0_3_line_17 |  | 16 | 17 | 0.03536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6632-1_0_3_line_18 |  | 16 | 18 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6632-1_0_3_line_19 |  | 18 | 22 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6632-1_0_3_line_20 |  | 19 | 24 | 0.061107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6632-1_0_3_line_21 |  | 20 | 27 | 0.018257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6632-1_0_3_line_22 |  | 20 | 28 | 0.012602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6632-1_0_3_line_23 |  | 22 | 23 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6632-1_0_3_line_24 |  | 23 | 83 | 0.00022033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6632-1_0_3_line_25 |  | 24 | 76 | 0.10049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6632-1_0_3_line_26 |  | 24 | 27 | 0.10598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6632-1_0_3_line_27 |  | 25 | 26 | 0.030328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6632-1_0_3_line_28 |  | 26 | 78 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6632-1_0_3_line_29 |  | 27 | 29 | 0.045942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6632-1_0_3_line_30 |  | 28 | 30 | 0.0026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6632-1_0_3_line_31 |  | 30 | 84 | 0.01501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6632-1_0_3_line_32 |  | 31 | 32 | 0.019597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6632-1_0_3_line_33 |  | 31 | 33 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6632-1_0_3_line_34 |  | 32 | 34 | 0.015798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6632-1_0_3_line_35 |  | 33 | 35 | 0.0099885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6632-1_0_3_line_36 |  | 34 | 36 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6632-1_0_3_line_37 |  | 35 | 37 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6632-1_0_3_line_38 |  | 35 | 38 | 0.0054193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6632-1_0_3_line_39 |  | 36 | 39 | 0.028785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6632-1_0_3_line_40 |  | 36 | 40 | 0.023677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6632-1_0_3_line_41 |  | 37 | 41 | 0.0089864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6632-1_0_3_line_42 |  | 39 | 75 | 0.020079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6632-1_0_3_line_43 |  | 40 | 43 | 0.0014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6632-1_0_3_line_44 |  | 41 | 58 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6632-1_0_3_line_45 |  | 42 | 43 | 0.013313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6632-1_0_3_line_46 |  | 42 | 44 | 0.022947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6632-1_0_3_line_47 |  | 44 | 45 | 0.003876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6632-1_0_3_line_48 |  | 45 | 46 | 0.021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6632-1_0_3_line_49 |  | 45 | 47 | 0.030243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6632-1_0_3_line_50 |  | 46 | 48 | 0.023382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6632-1_0_3_line_51 |  | 47 | 49 | 0.021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6632-1_0_3_line_52 |  | 47 | 50 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6632-1_0_3_line_53 |  | 48 | 89 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6632-1_0_3_line_54 |  | 49 | 99 | 0.021527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6632-1_0_3_line_55 |  | 50 | 100 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6632-1_0_3_line_56 |  | 51 | 52 | 0.0077195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6632-1_0_3_line_57 |  | 52 | 53 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6632-1_0_3_line_58 |  | 53 | 54 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6632-1_0_3_line_59 |  | 53 | 55 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6632-1_0_3_line_60 |  | 54 | 56 | 0.07396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_6632-1_0_3_line_61 |  | 54 | 57 | 0.04419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6632-1_0_3_line_62 |  | 55 | 58 | 0.004927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_6632-1_0_3_line_63 |  | 56 | 69 | 0.076988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6632-1_0_3_line_64 |  | 57 | 92 | 0.024861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6632-1_0_3_line_65 |  | 59 | 60 | 0.066297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6632-1_0_3_line_66 |  | 59 | 61 | 0.044707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6632-1_0_3_line_67 |  | 60 | 62 | 0.0058402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6632-1_0_3_line_68 |  | 61 | 63 | 0.023865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6632-1_0_3_line_69 |  | 61 | 64 | 0.00525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6632-1_0_3_line_70 |  | 62 | 65 | 0.0010105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6632-1_0_3_line_71 |  | 63 | 66 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6632-1_0_3_line_72 |  | 64 | 67 | 0.019406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6632-1_0_3_line_73 |  | 66 | 68 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6632-1_0_3_line_74 |  | 67 | 69 | 0.038056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6632-1_0_3_line_75 |  | 68 | 85 | 0.00331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6632-1_0_3_line_76 |  | 70 | 71 | 0.044408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6632-1_0_3_line_77 |  | 70 | 72 | 0.017934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6632-1_0_3_line_78 |  | 72 | 73 | 0.034888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6632-1_0_3_line_79 |  | 73 | 74 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6632-1_0_3_line_80 |  | 74 | 77 | 0.019722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6632-1_0_3_line_81 |  | 76 | 98 | 0.054566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6632-1_0_3_line_82 |  | 77 | 100 | 0.0097692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6632-1_0_3_line_83 |  | 78 | 79 | 0.060893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6632-1_0_3_line_84 |  | 79 | 80 | 0.060695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6632-1_0_3_line_85 |  | 79 | 81 | 0.12025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6632-1_0_3_line_86 |  | 79 | 82 | 0.016113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6632-1_0_3_line_87 |  | 80 | 96 | 0.034913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6632-1_0_3_line_88 |  | 82 | 87 | 0.012696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6632-1_0_3_line_89 |  | 83 | 84 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6632-1_0_3_line_90 |  | 86 | 87 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6632-1_0_3_line_91 |  | 86 | 88 | 0.028699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6632-1_0_3_line_92 |  | 88 | 89 | 0.03453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6632-1_0_3_line_93 |  | 89 | 90 | 0.031312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6632-1_0_3_line_94 |  | 90 | 91 | 0.02896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6632-1_0_3_line_95 |  | 91 | 97 | 0.039284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6632-1_0_3_line_96 |  | 91 | 101 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6632-1_0_3_line_97 |  | 92 | 93 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6632-1_0_3_line_98 |  | 93 | 94 | 0.0016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6632-1_0_3_line_99 |  | 94 | 95 | 0.026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6632-1_0_3_line_100 |  | 98 | 99 | 0.011452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6632-1_0_3_trafo_99 | 0.63 MVA 20/0.4 kV | 102 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2494881.0321 | 1112752.407 | 2494888.0266 | 1112759.6569 | 2494904.3537 | 1112776.5652
1 | 2494934.8893 | 1112807.9079 | 2494920.2212 | 1112792.9973 | 2494904.3537 | 1112776.5652
2 | 2494857.9992 | 1112782.5819 | 2494865.1478 | 1112786.249 | 2494881.0321 | 1112752.407
3 | 2494946.1969 | 1112796.5823 | 2494934.8893 | 1112807.9079
4 | 2494857.9992 | 1112782.5819 | 2494879.6381 | 1112740.4047
5 | 2494951.8027 | 1112791.0481 | 2494946.1969 | 1112796.5823
6 | 2494946.1969 | 1112796.5823 | 2494925.4104 | 1112774.7529
7 | 2494901.7696 | 1112697.2672 | 2494879.6381 | 1112740.4047
8 | 2494967.7082 | 1112586.5743 | 2494970.0439 | 1112589.38 | 2494983.6195 | 1112605.8892
9 | 2494967.7082 | 1112586.5743 | 2494963.5087 | 1112582.778 | 2494937.0638 | 1112551.297
10 | 2495018.2776 | 1112648.0368 | 2495005.8384 | 1112632.9094 | 2494983.6195 | 1112605.8892
11 | 2494901.7696 | 1112697.2672 | 2494859.7636 | 1112671.316
12 | 2494951.8027 | 1112791.0481 | 2494966.7999 | 1112775.9561 | 2494969.9925 | 1112776.501
13 | 2495125.1304 | 1112774.9666 | 2495129.511 | 1112779.8606 | 2495249.9741 | 1112876.5374 | 2495267.3023 | 1112890.302 | 2495273.1262 | 1112895.5714 | 2495278.1274 | 1112899.732
14 | 2495074.1194 | 1112714.645 | 2495095.1264 | 1112739.5637 | 2495125.1304 | 1112774.9666
15 | 2495278.1274 | 1112899.732 | 2495258.5188 | 1112918.5492
16 | 2495057.7793 | 1112694.6487 | 2495074.1194 | 1112714.645
17 | 2495001.3627 | 1112841.621 | 2494976.6136 | 1112816.3661
18 | 2495001.3627 | 1112841.621 | 2495010.4061 | 1112832.5392
19 | 2495014.7564 | 1112820.0527 | 2495018.8587 | 1112824.0508 | 2495010.4061 | 1112832.5392
20 | 2495018.2776 | 1112648.0368 | 2495027.8357 | 1112659.6563 | 2495029.2318 | 1112661.2999 | 2495054.8911 | 1112691.6079 | 2495057.7793 | 1112694.6487
21 | 2494983.1855 | 1112763.8419 | 2494969.9925 | 1112776.501
22 | 2494969.9925 | 1112776.501 | 2494979.0251 | 1112785.2889
23 | 2495014.7564 | 1112820.0527 | 2495003.0095 | 1112808.6238
24 | 2495002.8516 | 1112808.4702 | 2495003.0095 | 1112808.6238
25 | 2495057.7793 | 1112694.6487 | 2495073.8846 | 1112679.2708 | 2495110.477 | 1112643.2026 | 2495128.8491 | 1112623.6376
26 | 2494983.1855 | 1112763.8419 | 2494995.2139 | 1112752.1924 | 2495054.8911 | 1112691.6079 | 2495057.7793 | 1112694.6487
27 | 2495220.8627 | 1112676.9929 | 2495199.7029 | 1112698.7201
28 | 2495220.8627 | 1112676.9929 | 2495234.4114 | 1112663.0809
29 | 2494983.1855 | 1112763.8419 | 2494950.9132 | 1112731.1443
30 | 2494979.0251 | 1112785.2889 | 2494980.9482 | 1112787.16
31 | 2494991.7065 | 1112797.6269 | 2494980.9482 | 1112787.16
32 | 2495132.7425 | 1112419.4573 | 2495120.9826 | 1112435.1335
33 | 2495139.7414 | 1112410.1275 | 2495132.7425 | 1112419.4573
34 | 2495111.5026 | 1112447.7708 | 2495120.9826 | 1112435.1335
35 | 2495145.7353 | 1112402.1373 | 2495139.7414 | 1112410.1275
36 | 2495104.7423 | 1112456.7824 | 2495111.5026 | 1112447.7708
37 | 2495145.7353 | 1112402.1373 | 2495133.8038 | 1112393.0723
38 | 2495145.7353 | 1112402.1373 | 2495145.3921 | 1112396.729
39 | 2495083.9343 | 1112437.1525 | 2495085.3791 | 1112439.818 | 2495087.2345 | 1112442.1096 | 2495089.494 | 1112444.0828 | 2495104.7423 | 1112456.7824
40 | 2495104.7423 | 1112456.7824 | 2495123.2984 | 1112471.4879
41 | 2495133.8038 | 1112393.0723 | 2495126.6483 | 1112387.6359
42 | 2495083.9343 | 1112437.1525 | 2495077.9012 | 1112439.4585 | 2495071.5708 | 1112444.2268 | 2495067.212 | 1112447.8918
43 | 2495124.4037 | 1112472.3639 | 2495123.2984 | 1112471.4879
44 | 2495110.2666 | 1112375.1899 | 2495126.6483 | 1112387.6359
45 | 2495124.4037 | 1112472.3639 | 2495132.4752 | 1112478.7606 | 2495134.7664 | 1112480.7188
46 | 2495152.0415 | 1112495.8209 | 2495143.7844 | 1112488.4265 | 2495134.7664 | 1112480.7188
47 | 2495154.929 | 1112498.4066 | 2495152.0415 | 1112495.8209
48 | 2495154.929 | 1112498.4066 | 2495169.0801 | 1112513.3489 | 2495169.9325 | 1112514.189
49 | 2495156.2018 | 1112528.615 | 2495154.929 | 1112498.4066
50 | 2495186.5858 | 1112530.6014 | 2495175.6988 | 1112519.8719 | 2495169.9325 | 1112514.189
51 | 2495159.8914 | 1112549.8092 | 2495156.2018 | 1112528.615
52 | 2495156.2018 | 1112528.615 | 2495147.7233 | 1112537.1033
53 | 2495186.5858 | 1112530.6014 | 2495191.1256 | 1112534.87 | 2495198.5182 | 1112541.9132
54 | 2495159.8914 | 1112549.8092 | 2495161.7369 | 1112560.4507 | 2495161.3168 | 1112571.1695
55 | 2495147.7233 | 1112537.1033 | 2495134.7702 | 1112550.0714
56 | 2495135.6093 | 1112370.3501 | 2495141.8026 | 1112374.9582
57 | 2495124.0264 | 1112361.7318 | 2495135.6093 | 1112370.3501
58 | 2495139.6796 | 1112345.6171 | 2495134.2556 | 1112351.4258 | 2495124.0264 | 1112361.7318
59 | 2495124.0264 | 1112361.7318 | 2495113.7889 | 1112371.7448
60 | 2495139.6796 | 1112345.6171 | 2495148.5459 | 1112347.6204 | 2495154.634 | 1112349.3716 | 2495162.1226 | 1112352.1326 | 2495186.3585 | 1112361.786 | 2495208.8542 | 1112371.4068
61 | 2495139.6796 | 1112345.6171 | 2495136.4199 | 1112344.7841 | 2495134.0212 | 1112343.6916 | 2495131.7705 | 1112342.2296 | 2495128.5079 | 1112339.4399 | 2495117.3625 | 1112328.0923 | 2495110.4837 | 1112323.5196 | 2495104.3578 | 1112320.0346
62 | 2495110.2666 | 1112375.1899 | 2495113.7889 | 1112371.7448
63 | 2495208.8542 | 1112371.4068 | 2495213.1677 | 1112373.2516 | 2495238.449 | 1112384.388 | 2495242.1089 | 1112386.0257 | 2495245.5115 | 1112387.9792 | 2495276.4849 | 1112407.737
64 | 2495104.3578 | 1112320.0346 | 2495086.6576 | 1112313.0034 | 2495081.1645 | 1112311.0937
65 | 2495353.823 | 1112335.6618 | 2495348.8209 | 1112343.987 | 2495344.2067 | 1112352.3943 | 2495340.186 | 1112361.6142 | 2495337.7091 | 1112370.2959 | 2495336.6103 | 1112377.7974 | 2495335.6728 | 1112387.0307 | 2495335.4391 | 1112398.0739
66 | 2495329.2836 | 1112441.5761 | 2495331.3551 | 1112438.4938 | 2495333.8998 | 1112432.3904 | 2495334.8905 | 1112424.0012 | 2495335.4391 | 1112398.0739
67 | 2495353.823 | 1112335.6618 | 2495357.4198 | 1112331.0607
68 | 2495329.2836 | 1112441.5761 | 2495331.7744 | 1112443.5232 | 2495337.3651 | 1112449.1412 | 2495339.5785 | 1112451.1376 | 2495341.5402 | 1112452.4267 | 2495346.5667 | 1112455.3528 | 2495348.0101 | 1112456.1171
69 | 2495329.2836 | 1112441.5761 | 2495324.8729 | 1112438.7286
70 | 2495357.4198 | 1112331.0607 | 2495358.0422 | 1112330.2646
71 | 2495348.0101 | 1112456.1171 | 2495360.1874 | 1112462.5647
72 | 2495308.5691 | 1112428.2034 | 2495324.8729 | 1112438.7286
73 | 2495379.765 | 1112472.6236 | 2495374.959 | 1112470.383 | 2495370.4596 | 1112468.0036 | 2495360.1874 | 1112462.5647
74 | 2495308.5691 | 1112428.2034 | 2495276.4849 | 1112407.737
75 | 2495381.01 | 1112469.5557 | 2495379.765 | 1112472.6236
76 | 2495034.2005 | 1112513.5529 | 2495063.2065 | 1112547.1796
77 | 2495074.9201 | 1112560.7591 | 2495063.2065 | 1112547.1796
78 | 2495097.7077 | 1112587.1768 | 2495074.9201 | 1112560.7591
79 | 2495097.7077 | 1112587.1768 | 2495113.929 | 1112570.9367
80 | 2495113.929 | 1112570.9367 | 2495127.8663 | 1112556.9832
81 | 2495160.8682 | 1112582.613 | 2495160.4456 | 1112593.3942 | 2495147.4089 | 1112606.6395 | 2495133.2739 | 1112618.9255 | 2495128.8491 | 1112623.6376
82 | 2495127.8663 | 1112556.9832 | 2495134.7702 | 1112550.0714
83 | 2495276.9951 | 1112619.5609 | 2495261.3113 | 1112636.1205 | 2495234.4114 | 1112663.0809
84 | 2495319.2992 | 1112575.9237 | 2495276.9951 | 1112619.5609
85 | 2495276.9951 | 1112619.5609 | 2495363.0501 | 1112703.5529
86 | 2495276.9951 | 1112619.5609 | 2495265.5414 | 1112608.2282
87 | 2495319.2992 | 1112575.9237 | 2495343.2991 | 1112550.5681
88 | 2495256.5161 | 1112599.2983 | 2495265.5414 | 1112608.2282
89 | 2494991.7065 | 1112797.6269 | 2495002.8516 | 1112808.4702
90 | 2495243.465 | 1112586.3851 | 2495256.5161 | 1112599.2983
91 | 2495243.465 | 1112586.3851 | 2495223.064 | 1112566.1996
92 | 2495198.5182 | 1112541.9132 | 2495223.064 | 1112566.1996
93 | 2495198.5182 | 1112541.9132 | 2495220.3182 | 1112519.4368
94 | 2495240.4811 | 1112498.6483 | 2495220.3182 | 1112519.4368
95 | 2495240.4811 | 1112498.6483 | 2495268.5323 | 1112526.1504
96 | 2495240.4811 | 1112498.6483 | 2495253.6131 | 1112485.0284
97 | 2495067.5889 | 1112306.374 | 2495081.1645 | 1112311.0937
98 | 2495067.5889 | 1112306.374 | 2495066.0855 | 1112305.7366
99 | 2495041.388 | 1112295.2654 | 2495066.0855 | 1112305.7366
100 | 2495160.8682 | 1112582.613 | 2495161.3168 | 1112571.1695

## bus_geodata
| x | y | coords
0 | 2494904.3537 | 1112776.5652
1 | 2494881.0321 | 1112752.407
2 | 2494934.8893 | 1112807.9079
3 | 2494857.9992 | 1112782.5819
4 | 2494946.1969 | 1112796.5823
5 | 2494879.6381 | 1112740.4047
6 | 2494967.7082 | 1112586.5743
7 | 2494983.6195 | 1112605.8892
8 | 2494937.0638 | 1112551.297
9 | 2494901.7696 | 1112697.2672
10 | 2494859.7636 | 1112671.316
11 | 2494951.8027 | 1112791.0481
12 | 2494925.4104 | 1112774.7529
13 | 2495125.1304 | 1112774.9666
14 | 2495278.1274 | 1112899.732
15 | 2495074.1194 | 1112714.645
16 | 2495001.3627 | 1112841.621
17 | 2494976.6136 | 1112816.3661
18 | 2495010.4061 | 1112832.5392
19 | 2495018.2776 | 1112648.0368
20 | 2494969.9925 | 1112776.501
21 | 2495258.5188 | 1112918.5492
22 | 2495014.7564 | 1112820.0527
23 | 2495003.0095 | 1112808.6238
24 | 2495057.7793 | 1112694.6487
25 | 2495199.7029 | 1112698.7201
26 | 2495220.8627 | 1112676.9929
27 | 2494983.1855 | 1112763.8419
28 | 2494979.0251 | 1112785.2889
29 | 2494950.9132 | 1112731.1443
30 | 2494980.9482 | 1112787.16
31 | 2495132.7425 | 1112419.4573
32 | 2495120.9826 | 1112435.1335
33 | 2495139.7414 | 1112410.1275
34 | 2495111.5026 | 1112447.7708
35 | 2495145.7353 | 1112402.1373
36 | 2495104.7423 | 1112456.7824
37 | 2495133.8038 | 1112393.0723
38 | 2495145.3921 | 1112396.729
39 | 2495083.9343 | 1112437.1525
40 | 2495123.2984 | 1112471.4879
41 | 2495126.6483 | 1112387.6359
42 | 2495134.7664 | 1112480.7188
43 | 2495124.4037 | 1112472.3639
44 | 2495152.0415 | 1112495.8208
45 | 2495154.929 | 1112498.4066
46 | 2495169.9325 | 1112514.189
47 | 2495156.2018 | 1112528.615
48 | 2495186.5858 | 1112530.6014
49 | 2495159.8914 | 1112549.8092
50 | 2495147.7233 | 1112537.1033
51 | 2495141.8026 | 1112374.9582
52 | 2495135.6093 | 1112370.3501
53 | 2495124.0264 | 1112361.7318
54 | 2495139.6796 | 1112345.6171
55 | 2495113.7889 | 1112371.7448
56 | 2495208.8542 | 1112371.4068
57 | 2495104.3578 | 1112320.0346
58 | 2495110.2666 | 1112375.1899
59 | 2495335.4391 | 1112398.0738
60 | 2495353.823 | 1112335.6618
61 | 2495329.2836 | 1112441.5761
62 | 2495357.4198 | 1112331.0607
63 | 2495348.0101 | 1112456.1171
64 | 2495324.8729 | 1112438.7286
65 | 2495358.0422 | 1112330.2646
66 | 2495360.1874 | 1112462.5647
67 | 2495308.5691 | 1112428.2034
68 | 2495379.765 | 1112472.6236
69 | 2495276.4849 | 1112407.737
70 | 2495063.2065 | 1112547.1796
71 | 2495034.2005 | 1112513.5529
72 | 2495074.9201 | 1112560.7591
73 | 2495097.7077 | 1112587.1768
74 | 2495113.929 | 1112570.9367
75 | 2495067.212 | 1112447.8918
76 | 2495128.8491 | 1112623.6376
77 | 2495127.8663 | 1112556.9832
78 | 2495234.4114 | 1112663.0809
79 | 2495276.9951 | 1112619.5609
80 | 2495319.2992 | 1112575.9237
81 | 2495363.0501 | 1112703.5529
82 | 2495265.5414 | 1112608.2282
83 | 2495002.8516 | 1112808.4702
84 | 2494991.7065 | 1112797.6269
85 | 2495381.01 | 1112469.5557
86 | 2495243.465 | 1112586.3851
87 | 2495256.5161 | 1112599.2983
88 | 2495223.064 | 1112566.1996
89 | 2495198.5182 | 1112541.9132
90 | 2495220.3182 | 1112519.4368
91 | 2495240.4811 | 1112498.6483
92 | 2495081.1645 | 1112311.0937
93 | 2495067.5889 | 1112306.374
94 | 2495066.0855 | 1112305.7366
95 | 2495041.388 | 1112295.2654
96 | 2495343.2991 | 1112550.5681
97 | 2495268.5323 | 1112526.1504
98 | 2495160.8682 | 1112582.613
99 | 2495161.3168 | 1112571.1695
100 | 2495134.7702 | 1112550.0714
101 | 2495253.6131 | 1112485.0284
102 | 2495154.929 | 1112498.4066

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1