## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6638-11_1_2_node_141 | 0.4 | n |  | TRUE
1 | bus_LV_6638-11_1_2_node_142 | 0.4 | n |  | TRUE
2 | bus_LV_6638-11_1_2_node_145 | 0.4 | n |  | TRUE
3 | bus_LV_6638-11_1_2_node_146 | 0.4 | n |  | TRUE
4 | bus_LV_6638-11_1_2_node_152 | 0.4 | n |  | TRUE
5 | bus_LV_6638-11_1_2_node_209 | 0.4 | n |  | TRUE
6 | bus_LV_6638-11_1_2_node_147 | 0.4 | n |  | TRUE
7 | bus_LV_6638-11_1_2_node_150 | 0.4 | n |  | TRUE
8 | bus_LV_6638-11_1_2_node_149 | 0.4 | n |  | TRUE
9 | bus_LV_6638-11_1_2_node_148 | 0.4 | n |  | TRUE
10 | bus_LV_6638-11_1_2_node_151 | 0.4 | n |  | TRUE
11 | bus_LV_6638-11_1_2_node_170 | 0.4 | n |  | TRUE
12 | bus_LV_6638-11_1_2_node_153 | 0.4 | n |  | TRUE
13 | bus_LV_6638-11_1_2_node_124 | 0.4 | n |  | TRUE
14 | bus_LV_6638-11_1_2_node_154 | 0.4 | n |  | TRUE
15 | bus_LV_6638-11_1_2_node_188 | 0.4 | n |  | TRUE
16 | bus_LV_6638-11_1_2_node_155 | 0.4 | n |  | TRUE
17 | bus_LV_6638-11_1_2_node_156 | 0.4 | n |  | TRUE
18 | bus_LV_6638-11_1_2_node_157 | 0.4 | n |  | TRUE
19 | bus_LV_6638-11_1_2_node_158 | 0.4 | n |  | TRUE
20 | bus_LV_6638-11_1_2_node_159 | 0.4 | n |  | TRUE
21 | bus_LV_6638-11_1_2_node_160 | 0.4 | n |  | TRUE
22 | bus_LV_6638-11_1_2_node_161 | 0.4 | n |  | TRUE
23 | bus_LV_6638-11_1_2_node_162 | 0.4 | n |  | TRUE
24 | bus_LV_6638-11_1_2_node_177 | 0.4 | n |  | TRUE
25 | bus_LV_6638-11_1_2_node_192 | 0.4 | n |  | TRUE
26 | bus_LV_6638-11_1_2_node_169 | 0.4 | n |  | TRUE
27 | bus_LV_6638-11_1_2_node_163 | 0.4 | n |  | TRUE
28 | bus_LV_6638-11_1_2_node_164 | 0.4 | n |  | TRUE
29 | bus_LV_6638-11_1_2_node_165 | 0.4 | n |  | TRUE
30 | bus_LV_6638-11_1_2_node_166 | 0.4 | n |  | TRUE
31 | bus_LV_6638-11_1_2_node_167 | 0.4 | n |  | TRUE
32 | bus_LV_6638-11_1_2_node_168 | 0.4 | n |  | TRUE
33 | bus_LV_6638-11_1_2_node_171 | 0.4 | n |  | TRUE
34 | bus_LV_6638-11_1_2_node_181 | 0.4 | n |  | TRUE
35 | bus_LV_6638-11_1_2_node_172 | 0.4 | n |  | TRUE
36 | bus_LV_6638-11_1_2_node_174 | 0.4 | n |  | TRUE
37 | bus_LV_6638-11_1_2_node_175 | 0.4 | n |  | TRUE
38 | bus_LV_6638-11_1_2_node_176 | 0.4 | n |  | TRUE
39 | bus_LV_6638-11_1_2_node_200 | 0.4 | n |  | TRUE
40 | bus_LV_6638-11_1_2_node_178 | 0.4 | n |  | TRUE
41 | bus_LV_6638-11_1_2_node_179 | 0.4 | n |  | TRUE
42 | bus_LV_6638-11_1_2_node_180 | 0.4 | n |  | TRUE
43 | bus_LV_6638-11_1_2_node_182 | 0.4 | n |  | TRUE
44 | bus_LV_6638-11_1_2_node_183 | 0.4 | n |  | TRUE
45 | bus_LV_6638-11_1_2_node_184 | 0.4 | n |  | TRUE
46 | bus_LV_6638-11_1_2_node_185 | 0.4 | n |  | TRUE
47 | bus_LV_6638-11_1_2_node_186 | 0.4 | n |  | TRUE
48 | bus_LV_6638-11_1_2_node_187 | 0.4 | n |  | TRUE
49 | bus_LV_6638-11_1_2_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_6638-11_1_2_node_201 | 0.4 | n |  | TRUE
51 | bus_LV_6638-11_1_2_node_189 | 0.4 | n |  | TRUE
52 | bus_LV_6638-11_1_2_node_190 | 0.4 | n |  | TRUE
53 | bus_LV_6638-11_1_2_node_191 | 0.4 | n |  | TRUE
54 | bus_LV_6638-11_1_2_node_193 | 0.4 | n |  | TRUE
55 | bus_LV_6638-11_1_2_node_194 | 0.4 | n |  | TRUE
56 | bus_LV_6638-11_1_2_node_195 | 0.4 | n |  | TRUE
57 | bus_LV_6638-11_1_2_node_196 | 0.4 | n |  | TRUE
58 | bus_LV_6638-11_1_2_node_197 | 0.4 | n |  | TRUE
59 | bus_LV_6638-11_1_2_node_198 | 0.4 | n |  | TRUE
60 | bus_LV_6638-11_1_2_node_199 | 0.4 | n |  | TRUE
61 | bus_LV_6638-11_1_2_node_207 | 0.4 | n |  | TRUE
62 | bus_LV_6638-11_1_2_node_123 | 0.4 | n |  | TRUE
63 | bus_LV_6638-11_1_2_node_206 | 0.4 | n |  | TRUE
64 | bus_LV_6638-11_1_2_node_122 | 0.4 | n |  | TRUE
65 | bus_MV_463_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6638-11_1_2_load_141 | 0 | 0.00042058 | 0.00010541 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6638-11_1_2_load_152 | 4 | 0.00036879 | 9.2428e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6638-11_1_2_load_209 | 5 | 0.00024185 | 6.0613e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6638-11_1_2_load_150 | 7 | 0.0013283 | 0.00033291 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6638-11_1_2_load_149 | 8 | 0.00062339 | 0.00015624 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6638-11_1_2_load_148 | 9 | 0.00030936 | 7.7534e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6638-11_1_2_load_151 | 10 | 0.0032814 | 0.00082239 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6638-11_1_2_load_170 | 11 | 0.00049492 | 0.00012404 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6638-11_1_2_load_153 | 12 | 0.00052757 | 0.00013222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6638-11_1_2_load_154 | 14 | 0.00020633 | 5.1712e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6638-11_1_2_load_188 | 15 | 0.0012862 | 0.00032234 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6638-11_1_2_load_155 | 16 | 0.0013931 | 0.00034914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6638-11_1_2_load_156 | 17 | 0.00014973 | 3.7527e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6638-11_1_2_load_157 | 18 | 0.0021002 | 0.00052635 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6638-11_1_2_load_158 | 19 | 0.00013536 | 3.3924e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6638-11_1_2_load_160 | 21 | 0.00064496 | 0.00016164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6638-11_1_2_load_161 | 22 | 0.0037654 | 0.00094371 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6638-11_1_2_load_162 | 23 | 0.00077887 | 0.0001952 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6638-11_1_2_load_177 | 24 | 0.00056729 | 0.00014218 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6638-11_1_2_load_192 | 25 | 0.00081683 | 0.00020472 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6638-11_1_2_load_169 | 26 | 0.0038021 | 0.0009529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6638-11_1_2_load_163 | 27 | 0.003311 | 0.00082982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6638-11_1_2_load_164 | 28 | 0.0044097 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6638-11_1_2_load_166 | 30 | 0.00094442 | 0.00023669 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6638-11_1_2_load_167 | 31 | 0.00031343 | 7.8554e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6638-11_1_2_load_168 | 32 | 0.0089604 | 0.0022457 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6638-11_1_2_load_171 | 33 | 0.0044662 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6638-11_1_2_load_181 | 34 | 0.0080333 | 0.0020133 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6638-11_1_2_load_172 | 35 | 0.0002681 | 6.7191e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6638-11_1_2_load_174 | 36 | 0.00018721 | 4.6919e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6638-11_1_2_load_175 | 37 | 0.00056321 | 0.00014115 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6638-11_1_2_load_176 | 38 | 0.0014899 | 0.0003734 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6638-11_1_2_load_200 | 39 | 0.00038011 | 9.5264e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6638-11_1_2_load_178 | 40 | 0.0005529 | 0.00013857 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6638-11_1_2_load_179 | 41 | 0.0015223 | 0.00038152 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6638-11_1_2_load_182 | 43 | 0.00047789 | 0.00011977 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6638-11_1_2_load_183 | 44 | 0.0010927 | 0.00027386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6638-11_1_2_load_185 | 46 | 0.00081204 | 0.00020352 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6638-11_1_2_load_186 | 47 | 0.00061617 | 0.00015443 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6638-11_1_2_load_187 | 48 | 0.0014939 | 0.00037441 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6638-11_1_2_load_201 | 50 | 0.0011764 | 0.00029482 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6638-11_1_2_load_189 | 51 | 0.00076738 | 0.00019232 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6638-11_1_2_load_190 | 52 | 0.0011008 | 0.00027588 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6638-11_1_2_load_191 | 53 | 0.0043829 | 0.0010985 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6638-11_1_2_load_193 | 54 | 0.0013911 | 0.00034865 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6638-11_1_2_load_194 | 55 | 0.00030497 | 7.6432e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6638-11_1_2_load_195 | 56 | 0.0019539 | 0.00048968 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6638-11_1_2_load_196 | 57 | 0.0013109 | 0.00032854 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6638-11_1_2_load_198 | 59 | 0.00036377 | 9.1169e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6638-11_1_2_load_207 | 61 | 0.00090944 | 0.00022793 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6638-11_1_2_load_206 | 63 | 0.00022105 | 5.54e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6638-11_1_2_line_0 |  | 0 | 1 | 0.10887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6638-11_1_2_line_1 |  | 1 | 2 | 0.30789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6638-11_1_2_line_2 |  | 2 | 3 | 0.21895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6638-11_1_2_line_3 |  | 2 | 4 | 0.10646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6638-11_1_2_line_4 |  | 3 | 5 | 0.093093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6638-11_1_2_line_5 |  | 4 | 12 | 0.2187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6638-11_1_2_line_6 |  | 6 | 7 | 0.11067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6638-11_1_2_line_7 |  | 6 | 8 | 0.016657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6638-11_1_2_line_8 |  | 7 | 10 | 0.047499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6638-11_1_2_line_9 |  | 8 | 9 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6638-11_1_2_line_10 |  | 10 | 11 | 0.030871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6638-11_1_2_line_11 |  | 11 | 31 | 0.0069143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6638-11_1_2_line_12 |  | 12 | 13 | 0.031077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6638-11_1_2_line_13 |  | 13 | 14 | 0.021514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6638-11_1_2_line_14 |  | 13 | 62 | 0.076701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6638-11_1_2_line_15 |  | 14 | 15 | 0.019102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6638-11_1_2_line_16 |  | 15 | 40 | 0.040986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6638-11_1_2_line_17 |  | 16 | 17 | 0.005268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6638-11_1_2_line_18 |  | 16 | 18 | 0.011478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6638-11_1_2_line_19 |  | 17 | 19 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6638-11_1_2_line_20 |  | 18 | 20 | 0.01667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6638-11_1_2_line_21 |  | 19 | 21 | 0.038607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6638-11_1_2_line_22 |  | 20 | 22 | 0.0088227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6638-11_1_2_line_23 |  | 20 | 23 | 0.0047254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6638-11_1_2_line_24 |  | 21 | 24 | 0.00079803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6638-11_1_2_line_25 |  | 22 | 25 | 0.005414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6638-11_1_2_line_26 |  | 23 | 26 | 0.018022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6638-11_1_2_line_27 |  | 24 | 40 | 0.029969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6638-11_1_2_line_28 |  | 25 | 53 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6638-11_1_2_line_29 |  | 26 | 30 | 0.012052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6638-11_1_2_line_30 |  | 27 | 28 | 0.0066694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6638-11_1_2_line_31 |  | 27 | 29 | 0.018195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6638-11_1_2_line_32 |  | 28 | 30 | 0.034367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6638-11_1_2_line_33 |  | 29 | 31 | 0.0077832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6638-11_1_2_line_34 |  | 29 | 32 | 0.036822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6638-11_1_2_line_35 |  | 32 | 33 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6638-11_1_2_line_36 |  | 33 | 34 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6638-11_1_2_line_37 |  | 34 | 42 | 0.057454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6638-11_1_2_line_38 |  | 35 | 36 | 0.0097024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6638-11_1_2_line_39 |  | 36 | 37 | 0.0089431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6638-11_1_2_line_40 |  | 37 | 38 | 0.14232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6638-11_1_2_line_41 |  | 38 | 39 | 0.018638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6638-11_1_2_line_42 |  | 39 | 49 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6638-11_1_2_line_43 |  | 41 | 42 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6638-11_1_2_line_44 |  | 43 | 44 | 0.025066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6638-11_1_2_line_45 |  | 43 | 45 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6638-11_1_2_line_46 |  | 44 | 46 | 0.047664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6638-11_1_2_line_47 |  | 45 | 47 | 0.007049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6638-11_1_2_line_48 |  | 46 | 48 | 0.002781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6638-11_1_2_line_49 |  | 47 | 49 | 0.033602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6638-11_1_2_line_50 |  | 48 | 50 | 0.050704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6638-11_1_2_line_51 |  | 49 | 58 | 0.32832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6638-11_1_2_line_52 |  | 50 | 62 | 0.033336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6638-11_1_2_line_53 |  | 51 | 52 | 0.022716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6638-11_1_2_line_54 |  | 51 | 53 | 0.0060803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6638-11_1_2_line_55 |  | 54 | 55 | 0.19546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6638-11_1_2_line_56 |  | 54 | 56 | 0.027791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6638-11_1_2_line_57 |  | 55 | 57 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6638-11_1_2_line_58 |  | 56 | 58 | 0.028849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6638-11_1_2_line_59 |  | 58 | 59 | 0.058773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6638-11_1_2_line_60 |  | 58 | 60 | 0.31244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6638-11_1_2_line_61 |  | 60 | 61 | 0.045105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6638-11_1_2_line_62 |  | 62 | 64 | 0.066809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6638-11_1_2_line_63 |  | 63 | 64 | 0.031563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6638-11_1_2_trafo_155 | 0.63 MVA 20/0.4 kV | 65 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2491112.3065 | 1118428.5026 | 2491128.6119 | 1118469.3691 | 2491146.5795 | 1118517.2547 | 2491151.2536 | 1118530.1634
1 | 2490956.0633 | 1118652.318 | 2490953.5724 | 1118644.3133 | 2490948.7688 | 1118623.2083 | 2490942.6299 | 1118592.6991 | 2490942.4254 | 1118583.4968 | 2490944.2097 | 1118577.1494 | 2490947.8545 | 1118569.9568 | 2490988.1787 | 1118520.7425 | 2490990.7844 | 1118517.5601 | 2491000.5721 | 1118504.7199 | 2491007.8043 | 1118493.9826 | 2491015.6176 | 1118483.3682 | 2491025.3525 | 1118472.2968 | 2491035.8439 | 1118464.2248 | 2491049.2656 | 1118455.9888 | 2491076.7693 | 1118442.3069 | 2491092.3355 | 1118434.844 | 2491095.5651 | 1118433.296 | 2491103.0613 | 1118429.9144 | 2491106.8775 | 1118429.223 | 2491112.3065 | 1118428.5026
2 | 2490777.8742 | 1118719.8654 | 2490782.4095 | 1118716.2589 | 2490808.7107 | 1118701.4856 | 2490837.2203 | 1118684.6157 | 2490852.7334 | 1118675.541 | 2490868.2849 | 1118666.4545 | 2490924.2596 | 1118630.3882 | 2490931.703 | 1118624.1055 | 2490939.7322 | 1118634.4563 | 2490944.975 | 1118642.2558 | 2490949.6237 | 1118647.4976 | 2490956.0633 | 1118652.318
3 | 2490956.0633 | 1118652.318 | 2490960.2769 | 1118662.9712 | 2490971.9296 | 1118693.2031 | 2490976.2334 | 1118706.2896 | 2490978.0028 | 1118711.5278 | 2490978.7438 | 1118715.8061 | 2490978.22 | 1118721.4303 | 2490976.3483 | 1118725.9336 | 2490972.9995 | 1118730.2746 | 2490967.3489 | 1118734.9573 | 2490955.9773 | 1118740.8438 | 2490953.3525 | 1118741.8207
4 | 2490777.8742 | 1118719.8654 | 2490793.4649 | 1118746.29 | 2490799.5131 | 1118758.4999 | 2490804.0516 | 1118767.4683 | 2490804.866 | 1118772.8126 | 2490804.9839 | 1118774.2114 | 2490804.1684 | 1118777.3504 | 2490802.3052 | 1118780.6083 | 2490798.0045 | 1118783.5212 | 2490791.7236 | 1118787.4816 | 2490780.7831 | 1118793.294
5 | 2490759.3561 | 1118839.6726 | 2490771.1501 | 1118835.1508 | 2490779.0889 | 1118831.9609 | 2490810.8361 | 1118816.6 | 2490823.5482 | 1118809.7328 | 2490837.7203 | 1118800.7934 | 2490852.3151 | 1118788.7556 | 2490867.699 | 1118776.8147 | 2490877.0217 | 1118771.5987 | 2490890.1267 | 1118765.5361 | 2490916.5446 | 1118755.5199 | 2490953.3525 | 1118741.8207
6 | 2490552.4286 | 1118486.0319 | 2490553.6762 | 1118490.1342 | 2490555.818 | 1118494.5984 | 2490561.9585 | 1118504.1936 | 2490564.6595 | 1118508.8477 | 2490566.0535 | 1118512.9363 | 2490566.704 | 1118517.3163 | 2490567.826 | 1118532.3947 | 2490568.5714 | 1118537.3289 | 2490569.5916 | 1118541.2352 | 2490571.3649 | 1118544.9611 | 2490575.5477 | 1118550.4557 | 2490578.3477 | 1118554.1852 | 2490581.3229 | 1118559.4905 | 2490582.0685 | 1118561.4449 | 2490582.3435 | 1118564.6976 | 2490581.7849 | 1118567.9543 | 2490580.6732 | 1118570.9319 | 2490578.3461 | 1118574.5652 | 2490574.7169 | 1118578.3333 | 2490568.7306 | 1118584.5012
7 | 2490552.4286 | 1118486.0319 | 2490551.8127 | 1118483.9861 | 2490551.0668 | 1118477.7511 | 2490551.4335 | 1118469.5187
8 | 2490554.1176 | 1118629.1284 | 2490556.3757 | 1118625.1845 | 2490557.5537 | 1118622.4615 | 2490558.8715 | 1118619.3578 | 2490559.5251 | 1118615.8103 | 2490561.0483 | 1118607.4218 | 2490563.4869 | 1118595.0251 | 2490565.7377 | 1118588.8804 | 2490568.7306 | 1118584.5012
9 | 2490552.4496 | 1118451.0902 | 2490551.8132 | 1118460.9934 | 2490551.4335 | 1118469.5187
10 | 2490554.1176 | 1118629.1284 | 2490552.0659 | 1118632.7119 | 2490547.5195 | 1118642.9452 | 2490543.5198 | 1118652.257 | 2490541.6246 | 1118657.3238
11 | 2490539.1268 | 1118663.7701 | 2490539.9858 | 1118661.7049 | 2490541.6246 | 1118657.3238
12 | 2490730.3389 | 1118850.798 | 2490759.3561 | 1118839.6726
13 | 2490730.3389 | 1118850.798 | 2490727.6441 | 1118844.7649 | 2490722.2117 | 1118832.4662 | 2490721.6318 | 1118831.1248
14 | 2490730.3389 | 1118850.798 | 2490734.2799 | 1118856.5972 | 2490738.3382 | 1118861.2047 | 2490743.0671 | 1118865.3331 | 2490749.8554 | 1118870.6584 | 2490759.7924 | 1118878.0949 | 2490770.4065 | 1118884.563 | 2490771.7085 | 1118891.2661 | 2490771.9805 | 1118896.0643 | 2490771.4643 | 1118903.3784 | 2490771.2119 | 1118908.2083
15 | 2490714.0517 | 1118813.5913 | 2490721.6318 | 1118831.1248
16 | 2490714.0517 | 1118813.5913 | 2490704.5219 | 1118791.548 | 2490696.7459 | 1118777.2792 | 2490696.369 | 1118776.6643
17 | 2490642.6592 | 1118708.9121 | 2490642.6592 | 1118708.9121 | 2490645.5338 | 1118713.3267
18 | 2490637.6731 | 1118698.5742 | 2490642.6592 | 1118708.9121
19 | 2490652.4639 | 1118723.7576 | 2490651.7895 | 1118722.934 | 2490645.5338 | 1118713.3267
20 | 2490628.8048 | 1118684.6356 | 2490631.3693 | 1118687.3021 | 2490633.7334 | 1118690.4059 | 2490637.6731 | 1118698.5742
21 | 2490679.1507 | 1118751.1888 | 2490674.9191 | 1118745.3639 | 2490669.8382 | 1118738.8515 | 2490666.299 | 1118735.2131 | 2490664.6163 | 1118733.9315 | 2490662.4952 | 1118732.3133 | 2490657.8462 | 1118729.1953 | 2490655.073 | 1118726.9439 | 2490652.4639 | 1118723.7576
22 | 2490628.8048 | 1118684.6356 | 2490630.4464 | 1118675.967
23 | 2490628.8048 | 1118684.6356 | 2490625.8453 | 1118682.7546 | 2490624.739 | 1118682.2433
24 | 2490679.1507 | 1118751.1888 | 2490679.6197 | 1118751.8345
25 | 2490628.6627 | 1118670.8553 | 2490630.4464 | 1118675.967 | 2490630.4464 | 1118675.967
26 | 2490607.0655 | 1118680.6502 | 2490609.7388 | 1118680.3442 | 2490612.4501 | 1118680.0283 | 2490616.8538 | 1118680.2489 | 2490619.6922 | 1118680.5533 | 2490623.1599 | 1118681.5134 | 2490624.739 | 1118682.2433
27 | 2490696.369 | 1118776.6643 | 2490690.2957 | 1118766.7555 | 2490683.8561 | 1118757.666 | 2490679.6197 | 1118751.8345
28 | 2490628.6627 | 1118670.8553 | 2490624.1507 | 1118657.9254
29 | 2490595.0817 | 1118681.9229 | 2490598.0843 | 1118681.6781 | 2490607.0655 | 1118680.6502
30 | 2490554.7725 | 1118677.2783 | 2490561.0364 | 1118679.5683
31 | 2490537.5831 | 1118671.388 | 2490540.0002 | 1118671.8779 | 2490554.7725 | 1118677.2783
32 | 2490595.0817 | 1118681.9229 | 2490592.6506 | 1118682.1211 | 2490583.5179 | 1118682.4754 | 2490576.3324 | 1118682.5165 | 2490573.0364 | 1118682.0869 | 2490569.8639 | 1118681.6551 | 2490567.2847 | 1118681.1681 | 2490562.5239 | 1118679.9868 | 2490561.4151 | 1118679.7067 | 2490561.0364 | 1118679.5683
33 | 2490537.5831 | 1118671.388 | 2490538.9281 | 1118664.2479 | 2490539.1268 | 1118663.7701
34 | 2490537.5831 | 1118671.388 | 2490535.2887 | 1118671.285 | 2490533.2044 | 1118671.7008 | 2490528.4096 | 1118673.7555 | 2490524.5689 | 1118675.2149 | 2490520.6938 | 1118676.0522 | 2490515.6968 | 1118676.7431 | 2490501.7617 | 1118678.6558
35 | 2490490.659 | 1118680.5924 | 2490501.6063 | 1118678.6772 | 2490501.7617 | 1118678.6558
36 | 2490469.3735 | 1118684.7057 | 2490481.4798 | 1118682.3217 | 2490487.0022 | 1118681.2321 | 2490490.659 | 1118680.5924
37 | 2490417.6432 | 1118672.4268 | 2490422.3526 | 1118678.0118 | 2490425.9985 | 1118681.1366 | 2490428.3664 | 1118682.7392 | 2490431.4581 | 1118684.6734 | 2490435.6429 | 1118686.4432 | 2490439.5839 | 1118687.5392 | 2490443.4099 | 1118688.2482 | 2490447.4507 | 1118688.464 | 2490450.0654 | 1118688.3499 | 2490454.1831 | 1118687.6972 | 2490469.3735 | 1118684.7057
38 | 2490881.6045 | 1119226.5734 | 2490873.8568 | 1119220.733
39 | 2490866.7154 | 1119215.3497 | 2490873.8568 | 1119220.733
40 | 2490866.7154 | 1119215.3497 | 2490832.5069 | 1119189.5628 | 2490823.2849 | 1119183.6476 | 2490806.0844 | 1119173.5738 | 2490787.8695 | 1119161.617 | 2490779.1726 | 1119155.2922 | 2490767.361 | 1119146.5998 | 2490751.1659 | 1119132.6291
41 | 2490737.0537 | 1119120.4553 | 2490751.1659 | 1119132.6291
42 | 2490725.9789 | 1119110.9017 | 2490737.0537 | 1119120.4553
43 | 2490417.6432 | 1118672.4268 | 2490415.3946 | 1118663.7729 | 2490414.6107 | 1118660.965
44 | 2490761.7808 | 1119037.6852 | 2490761.7808 | 1119037.6852 | 2490744.754 | 1119056.0807
45 | 2490735.3985 | 1119071.3725 | 2490736.1512 | 1119068.6015 | 2490737.85 | 1119064.8017 | 2490739.5208 | 1119062.0141 | 2490742.8999 | 1119058.0839 | 2490744.754 | 1119056.0807
46 | 2490761.7808 | 1119037.6852 | 2490765.1536 | 1119032.9768 | 2490767.5015 | 1119029.6433 | 2490769.1478 | 1119026.3559 | 2490770.8679 | 1119021.1659 | 2490771.913 | 1119017.9227 | 2490772.55 | 1119014.7313 | 2490772.7782 | 1119010.7023 | 2490772.8338 | 1119005.6647 | 2490771.4561 | 1118999.897 | 2490769.0549 | 1118993.3366
47 | 2490735.3985 | 1119071.3725 | 2490735.0001 | 1119072.8139 | 2490733.7581 | 1119078.2268
48 | 2490768.099 | 1118990.7251 | 2490769.0549 | 1118993.3366
49 | 2490725.9789 | 1119110.9017 | 2490727.7055 | 1119105.2224 | 2490730.3637 | 1119093.0108 | 2490732.546 | 1119083.5097 | 2490733.7581 | 1119078.2268
50 | 2490765.949 | 1118941.0522 | 2490764.4438 | 1118948.8459 | 2490763.3268 | 1118954.9478 | 2490762.7387 | 1118960.4175 | 2490762.7435 | 1118964.0976 | 2490762.7408 | 1118966.0879 | 2490763.0932 | 1118970.64 | 2490763.5574 | 1118975.8239 | 2490764.644 | 1118981.2856 | 2490768.099 | 1118990.7251
51 | 2490688.4749 | 1118985.7867 | 2490680.5478 | 1118997.293 | 2490635.628 | 1119031.0825 | 2490599.9173 | 1119059.7803 | 2490593.6879 | 1119066.1415 | 2490589.1418 | 1119071.6829 | 2490591.9653 | 1119073.3107 | 2490595.8173 | 1119076.7544 | 2490599.2702 | 1119079.8939 | 2490605.1217 | 1119086.3479 | 2490610.5503 | 1119092.4648 | 2490622.0218 | 1119107.5116 | 2490632.8201 | 1119123.7492 | 2490638.1166 | 1119132.8038 | 2490650.3068 | 1119154.3085 | 2490652.1687 | 1119157.8216 | 2490687.9664 | 1119140.3521 | 2490702.4014 | 1119132.7752 | 2490709.9581 | 1119127.6798 | 2490715.4084 | 1119123.4786 | 2490718.8041 | 1119120.4709 | 2490722.9554 | 1119115.715 | 2490725.9789 | 1119110.9017
52 | 2490771.2119 | 1118908.2083 | 2490771.0785 | 1118914.4926 | 2490765.949 | 1118941.0522
53 | 2490619.6331 | 1118630.1306 | 2490619.1576 | 1118633.0876 | 2490618.334 | 1118638.7617 | 2490619.4969 | 1118644.5889 | 2490622.1474 | 1118652.1846
54 | 2490624.1507 | 1118657.9254 | 2490622.1474 | 1118652.1846
55 | 2490672.2557 | 1118936.7213 | 2490662.2217 | 1118922.8979 | 2490596.088 | 1118826.8533 | 2490648.7383 | 1118794.5584
56 | 2490688.581 | 1118959.2119 | 2490688.581 | 1118959.2119 | 2490672.2557 | 1118936.7213
57 | 2490655.3918 | 1118786.8216 | 2490651.1669 | 1118793.0687 | 2490648.7383 | 1118794.5584
58 | 2490688.4749 | 1118985.7867 | 2490687.035 | 1118984.2673 | 2490685.3397 | 1118982.2855 | 2490684.6179 | 1118980.7865 | 2490684.2835 | 1118979.7919 | 2490684.463 | 1118978.1987 | 2490688.0974 | 1118969.6052 | 2490688.7181 | 1118966.3696 | 2490689.0191 | 1118961.6723 | 2490688.581 | 1118959.2119
59 | 2490688.4749 | 1118985.7867 | 2490689.5608 | 1118986.9345 | 2490692.3458 | 1118988.1405 | 2490694.4396 | 1118988.6808 | 2490699.5119 | 1118988.7559 | 2490705.1187 | 1118988.0763 | 2490711.8108 | 1118986.8102 | 2490721.0496 | 1118983.808 | 2490722.9965 | 1118983.0612 | 2490728.468 | 1118980.4495 | 2490741.926 | 1118972.1677 | 2490742.5982 | 1118971.7341
60 | 2490496.2149 | 1118834.443 | 2490515.4874 | 1118866.7819 | 2490529.1823 | 1118895.8864 | 2490536.6374 | 1118909.894 | 2490544.3322 | 1118921.7958 | 2490552.2536 | 1118931.7256 | 2490635.628 | 1119031.0825 | 2490680.5478 | 1118997.293 | 2490688.4749 | 1118985.7867
61 | 2490488.1245 | 1118791.7616 | 2490488.2425 | 1118799.5535 | 2490498.5809 | 1118825.2942 | 2490498.4366 | 1118828.8325 | 2490496.2149 | 1118834.443
62 | 2490781.0672 | 1118852.5942 | 2490779.4941 | 1118861.6507 | 2490778.4765 | 1118879.2361 | 2490778.1523 | 1118883.0778 | 2490776.698 | 1118888.0295 | 2490770.4065 | 1118884.563 | 2490771.7085 | 1118891.2661 | 2490771.9805 | 1118896.0643 | 2490771.4643 | 1118903.3784 | 2490771.2119 | 1118908.2083
63 | 2490781.0672 | 1118852.5942 | 2490768.8136 | 1118849.8025 | 2490765.5237 | 1118849.7063 | 2490759.52 | 1118851.06 | 2490751.1942 | 1118855.9024

## bus_geodata
| x | y | coords
0 | 2491151.2536 | 1118530.1634
1 | 2491112.3065 | 1118428.5026
2 | 2490956.0633 | 1118652.318
3 | 2490777.8742 | 1118719.8654
4 | 2490953.3525 | 1118741.8207
5 | 2490780.7831 | 1118793.294
6 | 2490552.4286 | 1118486.0319
7 | 2490568.7306 | 1118584.5012
8 | 2490551.4335 | 1118469.5187
9 | 2490552.4496 | 1118451.0902
10 | 2490554.1176 | 1118629.1284
11 | 2490541.6246 | 1118657.3238
12 | 2490759.3561 | 1118839.6726
13 | 2490730.3389 | 1118850.798
14 | 2490721.6318 | 1118831.1248
15 | 2490714.0517 | 1118813.5913
16 | 2490642.6592 | 1118708.9121
17 | 2490645.5338 | 1118713.3267
18 | 2490637.6731 | 1118698.5742
19 | 2490652.4639 | 1118723.7576
20 | 2490628.8048 | 1118684.6356
21 | 2490679.1507 | 1118751.1888
22 | 2490630.4464 | 1118675.967
23 | 2490624.739 | 1118682.2433
24 | 2490679.6197 | 1118751.8345
25 | 2490628.6627 | 1118670.8553
26 | 2490607.0655 | 1118680.6502
27 | 2490554.7725 | 1118677.2783
28 | 2490561.0364 | 1118679.5683
29 | 2490537.5831 | 1118671.388
30 | 2490595.0817 | 1118681.9229
31 | 2490539.1268 | 1118663.7701
32 | 2490501.7617 | 1118678.6558
33 | 2490490.659 | 1118680.5924
34 | 2490469.3735 | 1118684.7057
35 | 2490881.6045 | 1119226.5734
36 | 2490873.8568 | 1119220.733
37 | 2490866.7154 | 1119215.3497
38 | 2490751.1659 | 1119132.6291
39 | 2490737.0537 | 1119120.4553
40 | 2490696.369 | 1118776.6643
41 | 2490414.6107 | 1118660.965
42 | 2490417.6432 | 1118672.4268
43 | 2490744.754 | 1119056.0807
44 | 2490761.7808 | 1119037.6852
45 | 2490735.3985 | 1119071.3725
46 | 2490769.0549 | 1118993.3366
47 | 2490733.7581 | 1119078.2268
48 | 2490768.099 | 1118990.7251
49 | 2490725.9789 | 1119110.9017
50 | 2490765.949 | 1118941.0522
51 | 2490622.1474 | 1118652.1846
52 | 2490619.6331 | 1118630.1306
53 | 2490624.1507 | 1118657.9254
54 | 2490672.2557 | 1118936.7213
55 | 2490648.7383 | 1118794.5584
56 | 2490688.581 | 1118959.2119
57 | 2490655.3918 | 1118786.8216
58 | 2490688.4749 | 1118985.7867
59 | 2490742.5982 | 1118971.7341
60 | 2490496.2149 | 1118834.443
61 | 2490488.1245 | 1118791.7616
62 | 2490771.2119 | 1118908.2083
63 | 2490751.1942 | 1118855.9024
64 | 2490781.0672 | 1118852.5942
65 | 2490628.8048 | 1118684.6356

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1