## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6638-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6638-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6638-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6638-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6638-7_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6638-7_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6638-7_0_5_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_6638-7_0_5_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6638-7_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6638-7_0_5_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_6638-7_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_6638-7_0_5_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_6638-7_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6638-7_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6638-7_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6638-7_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6638-7_0_5_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_6638-7_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6638-7_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_6638-7_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6638-7_0_5_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_6638-7_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_6638-7_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6638-7_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6638-7_0_5_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_6638-7_0_5_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6638-7_0_5_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_6638-7_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6638-7_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6638-7_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6638-7_0_5_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_6638-7_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6638-7_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6638-7_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_6638-7_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_6638-7_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_6638-7_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6638-7_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6638-7_0_5_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_6638-7_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6638-7_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6638-7_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6638-7_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6638-7_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_6638-7_0_5_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_6638-7_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_6638-7_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_6638-7_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6638-7_0_5_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6638-7_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6638-7_0_5_node_47 | 0.4 | n |  | TRUE
51 | bus_MV_463_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6638-7_0_5_load_0 | 0 | 0.0005161 | 0.00012935 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6638-7_0_5_load_1 | 1 | 0.00019097 | 4.786e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6638-7_0_5_load_3 | 3 | 0.0001082 | 2.7116e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6638-7_0_5_load_7 | 5 | 0.00051594 | 0.00012931 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6638-7_0_5_load_41 | 6 | 0.00034283 | 8.5921e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6638-7_0_5_load_40 | 7 | 0.00064141 | 0.00016075 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6638-7_0_5_load_8 | 8 | 0.00057794 | 0.00014484 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6638-7_0_5_load_35 | 9 | 0.00017926 | 4.4927e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6638-7_0_5_load_36 | 10 | 0.00069629 | 0.00017451 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6638-7_0_5_load_38 | 11 | 0.00040741 | 0.00010211 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6638-7_0_5_load_9 | 12 | 0.0044273 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6638-7_0_5_load_53 | 16 | 0.02031 | 0.0050903 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6638-7_0_5_load_24 | 18 | 0.0013824 | 0.00034645 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6638-7_0_5_load_22 | 20 | 0.07505 | 0.018809 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6638-7_0_5_load_23 | 21 | 0.086964 | 0.021795 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6638-7_0_5_load_43 | 24 | 0.0048317 | 0.0012109 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6638-7_0_5_load_50 | 26 | 0.016513 | 0.0041385 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6638-7_0_5_load_20 | 27 | 0.020919 | 0.0052428 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6638-7_0_5_load_42 | 30 | 0.00089207 | 0.00022357 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6638-7_0_5_load_34 | 33 | 0.018279 | 0.0045812 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6638-7_0_5_load_39 | 34 | 0.0048722 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6638-7_0_5_load_30 | 36 | 0.0084787 | 0.002125 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6638-7_0_5_load_29 | 37 | 0.022594 | 0.0056627 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6638-7_0_5_load_49 | 38 | 0.071693 | 0.017968 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6638-7_0_5_load_25 | 39 | 0.0011836 | 0.00029664 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6638-7_0_5_load_27 | 41 | 0.010151 | 0.002544 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6638-7_0_5_load_28 | 42 | 0.00031076 | 7.7883e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6638-7_0_5_load_31 | 43 | 0.01713 | 0.0042933 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6638-7_0_5_load_51 | 44 | 0.054032 | 0.013542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6638-7_0_5_load_44 | 47 | 0.031674 | 0.0079383 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6638-7_0_5_load_48 | 48 | 0.0055334 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6638-7_0_5_load_47 | 50 | 0.00021078 | 5.2827e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6638-7_0_5_line_0 |  | 0 | 1 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6638-7_0_5_line_1 |  | 0 | 2 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6638-7_0_5_line_2 |  | 1 | 3 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6638-7_0_5_line_3 |  | 2 | 4 | 0.18394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6638-7_0_5_line_4 |  | 3 | 5 | 0.013225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6638-7_0_5_line_5 |  | 4 | 6 | 0.061544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6638-7_0_5_line_6 |  | 4 | 7 | 0.14586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6638-7_0_5_line_7 |  | 5 | 8 | 0.0022964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6638-7_0_5_line_8 |  | 7 | 11 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6638-7_0_5_line_9 |  | 9 | 10 | 0.014526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6638-7_0_5_line_10 |  | 10 | 49 | 0.016588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6638-7_0_5_line_11 |  | 11 | 49 | 0.040104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6638-7_0_5_line_12 |  | 12 | 13 | 0.059761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6638-7_0_5_line_13 |  | 13 | 14 | 0.085934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6638-7_0_5_line_14 |  | 13 | 15 | 0.15126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6638-7_0_5_line_15 |  | 14 | 16 | 0.007064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6638-7_0_5_line_16 |  | 15 | 21 | 0.1581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6638-7_0_5_line_17 |  | 17 | 18 | 0.14815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6638-7_0_5_line_18 |  | 17 | 19 | 0.043497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6638-7_0_5_line_19 |  | 17 | 20 | 0.092509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6638-7_0_5_line_20 |  | 18 | 30 | 0.14184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6638-7_0_5_line_21 |  | 19 | 27 | 0.1501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6638-7_0_5_line_22 |  | 19 | 22 | 0.070755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6638-7_0_5_line_23 |  | 20 | 21 | 0.0038744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6638-7_0_5_line_24 |  | 22 | 23 | 0.22244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6638-7_0_5_line_25 |  | 22 | 24 | 0.031231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6638-7_0_5_line_26 |  | 23 | 25 | 0.051865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6638-7_0_5_line_27 |  | 23 | 26 | 0.068842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6638-7_0_5_line_28 |  | 24 | 34 | 0.0089888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6638-7_0_5_line_29 |  | 25 | 35 | 0.026097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_6638-7_0_5_line_30 |  | 25 | 36 | 0.048204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6638-7_0_5_line_31 |  | 28 | 29 | 0.047202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6638-7_0_5_line_32 |  | 28 | 30 | 0.12849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6638-7_0_5_line_33 |  | 29 | 33 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6638-7_0_5_line_34 |  | 29 | 31 | 0.11848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6638-7_0_5_line_35 |  | 31 | 32 | 0.015081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6638-7_0_5_line_36 |  | 32 | 37 | 0.036151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6638-7_0_5_line_37 |  | 33 | 38 | 0.14374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6638-7_0_5_line_38 |  | 34 | 49 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6638-7_0_5_line_39 |  | 35 | 44 | 0.009784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6638-7_0_5_line_40 |  | 35 | 45 | 0.025687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6638-7_0_5_line_41 |  | 36 | 43 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6638-7_0_5_line_42 |  | 38 | 48 | 0.057556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6638-7_0_5_line_43 |  | 39 | 40 | 0.042544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6638-7_0_5_line_44 |  | 40 | 41 | 0.035689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6638-7_0_5_line_45 |  | 40 | 42 | 0.014967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6638-7_0_5_line_46 |  | 41 | 43 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6638-7_0_5_line_47 |  | 45 | 46 | 0.034284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6638-7_0_5_line_48 |  | 45 | 47 | 0.019343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6638-7_0_5_line_49 |  | 46 | 50 | 0.045798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6638-7_0_5_trafo_20 | 0.63 MVA 20/0.4 kV | 51 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2493051.6012 | 1119081.0857 | 2493037.9981 | 1119093.0033
1 | 2493059.6197 | 1119074.0608 | 2493051.6012 | 1119081.0857
2 | 2493030.4341 | 1119099.63 | 2493037.9981 | 1119093.0033
3 | 2493059.6197 | 1119074.0608 | 2493062.6891 | 1119076.9751 | 2493070.6533 | 1119080.8479 | 2493077.2238 | 1119084.4674 | 2493086.3251 | 1119090.6661 | 2493118.3248 | 1119113.8044 | 2493131.8606 | 1119125.0503 | 2493203.5056 | 1119187.8143
4 | 2493020.4863 | 1119108.3451 | 2493030.4341 | 1119099.63
5 | 2493203.5056 | 1119187.8143 | 2493158.7567 | 1119230.1985
6 | 2493203.5056 | 1119187.8143 | 2493224.3424 | 1119206.9254 | 2493234.8363 | 1119216.3907 | 2493245.0353 | 1119224.8939 | 2493253.939 | 1119231.2854 | 2493263.3415 | 1119237.0787 | 2493281.8332 | 1119246.6586 | 2493299.3472 | 1119255.5109 | 2493307.0972 | 1119260.3885 | 2493316.0538 | 1119266.7235 | 2493322.1749 | 1119271.2118
7 | 2493020.4863 | 1119108.3451 | 2493018.7591 | 1119109.8584
8 | 2493335.7064 | 1119281.5589 | 2493332.0596 | 1119278.4599 | 2493322.1749 | 1119271.2118
9 | 2493383.0997 | 1119281.9905 | 2493375.076 | 1119294.099
10 | 2493365.9132 | 1119307.9264 | 2493375.076 | 1119294.099
11 | 2493365.9132 | 1119307.9264 | 2493356.8352 | 1119299.5143 | 2493335.7064 | 1119281.5589
12 | 2493714.708 | 1119428.6206 | 2493712.3193 | 1119428.3958 | 2493709.9687 | 1119429.0264 | 2493707.8644 | 1119430.0529 | 2493705.5629 | 1119431.7166 | 2493696.8757 | 1119440.664 | 2493692.2154 | 1119443.8034 | 2493683.4178 | 1119453.0529 | 2493682.1795 | 1119454.609 | 2493681.793 | 1119456.328 | 2493682.1857 | 1119458.0333 | 2493682.8912 | 1119459.533 | 2493691.2638 | 1119467.7544
13 | 2493644.8036 | 1119387.9899 | 2493654.464 | 1119396.6367 | 2493657.0273 | 1119397.57 | 2493663.1357 | 1119397.7739 | 2493679.0299 | 1119397.9613 | 2493684.9372 | 1119398.5801 | 2493709.1823 | 1119422.9252 | 2493714.708 | 1119428.6206
14 | 2493714.708 | 1119428.6206 | 2493717.5502 | 1119429.6158 | 2493720.7357 | 1119430.3825 | 2493722.8368 | 1119430.4901 | 2493724.5932 | 1119430.3036 | 2493727.1863 | 1119429.4241 | 2493729.0822 | 1119427.9565 | 2493750.8195 | 1119406.2385 | 2493753.9447 | 1119403.1371 | 2493742.3107 | 1119391.5341 | 2493733.2052 | 1119384.5896 | 2493726.5661 | 1119379.225 | 2493720.8373 | 1119374.2669 | 2493692.1363 | 1119345.8308 | 2493686.7144 | 1119340.7784 | 2493679.1492 | 1119335.8526
15 | 2493644.8036 | 1119387.9899 | 2493639.8981 | 1119382.8951
16 | 2493679.1492 | 1119335.8526 | 2493669.9995 | 1119331.6774 | 2493663.6442 | 1119329.7212 | 2493656.4334 | 1119328.714 | 2493650.2675 | 1119328.3111 | 2493522.5725 | 1119336.1289
17 | 2493429.8179 | 1119351.7283 | 2493428.7371 | 1119353.4596 | 2493428.1294 | 1119357.5173 | 2493428.7054 | 1119362.6105 | 2493431.0513 | 1119369.5958 | 2493435.4474 | 1119378.1795 | 2493442.5517 | 1119386.7154 | 2493519.4386 | 1119463.645
18 | 2493387.75 | 1119362.7879 | 2493393.8112 | 1119361.1911 | 2493409.5599 | 1119357.0554 | 2493421.5365 | 1119353.909 | 2493429.8179 | 1119351.7283
19 | 2493429.8179 | 1119351.7283 | 2493431.1768 | 1119349.5696 | 2493434.9811 | 1119346.0337 | 2493439.1838 | 1119343.647 | 2493443.4704 | 1119342.5152 | 2493460.0704 | 1119340.6994 | 2493490.9495 | 1119338.065 | 2493518.7053 | 1119336.3657
20 | 2493619.7134 | 1119563.9676 | 2493597.821 | 1119542.0708 | 2493519.4386 | 1119463.645
21 | 2493387.75 | 1119362.7879 | 2493394.4101 | 1119364.516 | 2493401.0533 | 1119367.0339 | 2493408.0456 | 1119370.5352 | 2493415.2165 | 1119375.8455 | 2493422.1883 | 1119382.5603 | 2493437.4392 | 1119397.9126 | 2493453.5138 | 1119410.9601 | 2493463.2979 | 1119419.6044 | 2493501.6818 | 1119458.002
22 | 2493339.731 | 1119355.4297 | 2493341.3103 | 1119361.8282 | 2493343.5045 | 1119366.3368 | 2493357.9003 | 1119359.89 | 2493367.3127 | 1119356.1994 | 2493388.8457 | 1119359.711 | 2493393.8112 | 1119361.1911 | 2493387.75 | 1119362.7879
23 | 2493522.5725 | 1119336.1289 | 2493518.7053 | 1119336.3657
24 | 2493288.4228 | 1119506.6987 | 2493247.9842 | 1119465.7303 | 2493291.7983 | 1119423.7969 | 2493285.0497 | 1119409.1843 | 2493283.0835 | 1119404.9162 | 2493306.7036 | 1119387.6329 | 2493318.6242 | 1119380.0066 | 2493329.7047 | 1119373.318 | 2493343.5045 | 1119366.3368 | 2493341.3103 | 1119361.8282 | 2493339.731 | 1119355.4297
25 | 2493339.731 | 1119355.4297 | 2493339.4519 | 1119353.6112 | 2493339.4661 | 1119351.7876 | 2493340.0275 | 1119349.4873 | 2493341.7295 | 1119344.9099 | 2493352.8484 | 1119327.9061
26 | 2493288.4228 | 1119506.6987 | 2493297.7976 | 1119516.1949 | 2493324.7396 | 1119543.7263
27 | 2493337.2896 | 1119458.0721 | 2493288.4228 | 1119506.6987
28 | 2493357.7678 | 1119320.3829 | 2493352.8484 | 1119327.9061
29 | 2493324.7396 | 1119543.7263 | 2493343.1821 | 1119525.2114
30 | 2493324.7396 | 1119543.7263 | 2493337.609 | 1119558.3977 | 2493357.7499 | 1119578.8264
31 | 2493677.4881 | 1119652.9856 | 2493686.6386 | 1119643.1962 | 2493689.9034 | 1119639.7033 | 2493702.6357 | 1119652.3432 | 2493707.7962 | 1119657.4669 | 2493710.5514 | 1119654.839
32 | 2493710.5514 | 1119654.839 | 2493651.6651 | 1119595.9362 | 2493639.1349 | 1119583.393 | 2493619.7134 | 1119563.9676
33 | 2493677.4881 | 1119652.9856 | 2493674.4125 | 1119656.264 | 2493666.1326 | 1119664.6483 | 2493666.1077 | 1119665.2889
34 | 2493612.4377 | 1119568.7975 | 2493633.0761 | 1119589.5034 | 2493652.2607 | 1119608.734 | 2493686.6386 | 1119643.1962 | 2493677.4881 | 1119652.9856
35 | 2493601.7201 | 1119579.4373 | 2493612.4377 | 1119568.7975
36 | 2493601.7201 | 1119579.4373 | 2493576.0632 | 1119604.9048
37 | 2493666.1077 | 1119665.2889 | 2493554.4772 | 1119755.8375
38 | 2493365.9132 | 1119307.9264 | 2493357.7678 | 1119320.3829
39 | 2493336.3592 | 1119518.1828 | 2493343.1821 | 1119525.2114
40 | 2493361.3471 | 1119517.6418 | 2493356.0052 | 1119512.3215 | 2493343.1821 | 1119525.2114
41 | 2493373.9443 | 1119595.2523 | 2493357.7499 | 1119578.8264
42 | 2493554.4772 | 1119755.8375 | 2493565.0297 | 1119766.0806 | 2493585.8024 | 1119788.7408 | 2493595.1293 | 1119796.4631
43 | 2493408.568 | 1119630.3709 | 2493411.0351 | 1119632.8512 | 2493417.9899 | 1119635.119 | 2493440.8675 | 1119657.1057
44 | 2493408.568 | 1119630.3709 | 2493383.512 | 1119604.9568
45 | 2493408.568 | 1119630.3709 | 2493419.471 | 1119620.1172
46 | 2493373.9443 | 1119595.2523 | 2493383.512 | 1119604.9568
47 | 2493361.3471 | 1119517.6418 | 2493373.653 | 1119530.1218 | 2493385.4168 | 1119542.0554
48 | 2493361.3471 | 1119517.6418 | 2493375.1039 | 1119504.0441
49 | 2493385.4168 | 1119542.0554 | 2493389.9489 | 1119546.1004 | 2493386.4435 | 1119549.5088 | 2493407.3891 | 1119569.2079 | 2493403.4407 | 1119573.8319

## bus_geodata
| x | y | coords
0 | 2493051.6012 | 1119081.0857
1 | 2493037.9981 | 1119093.0033
2 | 2493059.6197 | 1119074.0608
3 | 2493030.4341 | 1119099.63
4 | 2493203.5056 | 1119187.8143
5 | 2493020.4863 | 1119108.3451
6 | 2493158.7567 | 1119230.1985
7 | 2493322.1749 | 1119271.2118
8 | 2493018.7591 | 1119109.8584
9 | 2493383.0997 | 1119281.9905
10 | 2493375.076 | 1119294.099
11 | 2493335.7064 | 1119281.5589
12 | 2493691.2638 | 1119467.7544
13 | 2493714.708 | 1119428.6206
14 | 2493644.8036 | 1119387.9899
15 | 2493679.1492 | 1119335.8526
16 | 2493639.8981 | 1119382.8951
17 | 2493429.8179 | 1119351.7283
18 | 2493519.4386 | 1119463.645
19 | 2493387.75 | 1119362.7879
20 | 2493518.7053 | 1119336.3657
21 | 2493522.5725 | 1119336.1289
22 | 2493339.731 | 1119355.4297
23 | 2493288.4228 | 1119506.6987
24 | 2493352.8484 | 1119327.9061
25 | 2493324.7396 | 1119543.7263
26 | 2493337.2896 | 1119458.0721
27 | 2493501.6819 | 1119458.002
28 | 2493710.5514 | 1119654.839
29 | 2493677.4881 | 1119652.9856
30 | 2493619.7134 | 1119563.9676
31 | 2493612.4377 | 1119568.7975
32 | 2493601.7201 | 1119579.4373
33 | 2493666.1077 | 1119665.2889
34 | 2493357.7678 | 1119320.3829
35 | 2493343.1821 | 1119525.2114
36 | 2493357.7499 | 1119578.8264
37 | 2493576.0632 | 1119604.9048
38 | 2493554.4772 | 1119755.8375
39 | 2493440.8675 | 1119657.1057
40 | 2493408.568 | 1119630.3709
41 | 2493383.512 | 1119604.9568
42 | 2493419.471 | 1119620.1172
43 | 2493373.9443 | 1119595.2523
44 | 2493336.3592 | 1119518.1828
45 | 2493361.3471 | 1119517.6418
46 | 2493385.4168 | 1119542.0554
47 | 2493375.1039 | 1119504.0441
48 | 2493595.1293 | 1119796.4631
49 | 2493365.9132 | 1119307.9264
50 | 2493403.4407 | 1119573.8319
51 | 2493387.75 | 1119362.7879

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1