## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_667-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_667-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_667-3_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_667-3_0_4_node_92 | 0.4 | n |  | TRUE
4 | bus_LV_667-3_0_4_node_106 | 0.4 | n |  | TRUE
5 | bus_LV_667-3_0_4_node_90 | 0.4 | n |  | TRUE
6 | bus_LV_667-3_0_4_node_104 | 0.4 | n |  | TRUE
7 | bus_LV_667-3_0_4_node_109 | 0.4 | n |  | TRUE
8 | bus_LV_667-3_0_4_node_110 | 0.4 | n |  | TRUE
9 | bus_LV_667-3_0_4_node_107 | 0.4 | n |  | TRUE
10 | bus_LV_667-3_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_667-3_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_667-3_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_667-3_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_667-3_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_667-3_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_667-3_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_667-3_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_667-3_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_667-3_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_667-3_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_667-3_0_4_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_667-3_0_4_node_135 | 0.4 | n |  | TRUE
23 | bus_LV_667-3_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_667-3_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_667-3_0_4_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_667-3_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_667-3_0_4_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_667-3_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_667-3_0_4_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_667-3_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_667-3_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_667-3_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_667-3_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_667-3_0_4_node_148 | 0.4 | n |  | TRUE
35 | bus_LV_667-3_0_4_node_151 | 0.4 | n |  | TRUE
36 | bus_LV_667-3_0_4_node_166 | 0.4 | n |  | TRUE
37 | bus_LV_667-3_0_4_node_147 | 0.4 | n |  | TRUE
38 | bus_LV_667-3_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_667-3_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_667-3_0_4_node_137 | 0.4 | n |  | TRUE
41 | bus_LV_667-3_0_4_node_133 | 0.4 | n |  | TRUE
42 | bus_LV_667-3_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_667-3_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_667-3_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_667-3_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_667-3_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_667-3_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_667-3_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_667-3_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_667-3_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_667-3_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_667-3_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_667-3_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_667-3_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_667-3_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_667-3_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_667-3_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_667-3_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_667-3_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_667-3_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_667-3_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_667-3_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_667-3_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_667-3_0_4_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_667-3_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_667-3_0_4_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_667-3_0_4_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_667-3_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_667-3_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_667-3_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_667-3_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_667-3_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_667-3_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_667-3_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_667-3_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_667-3_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_667-3_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_667-3_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_667-3_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_667-3_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_667-3_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_667-3_0_4_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_667-3_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_667-3_0_4_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_667-3_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_667-3_0_4_node_141 | 0.4 | n |  | TRUE
87 | bus_LV_667-3_0_4_node_140 | 0.4 | n |  | TRUE
88 | bus_LV_667-3_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_667-3_0_4_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_667-3_0_4_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_667-3_0_4_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_667-3_0_4_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_667-3_0_4_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_667-3_0_4_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_667-3_0_4_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_667-3_0_4_node_81 | 0.4 | n |  | TRUE
97 | bus_LV_667-3_0_4_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_667-3_0_4_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_667-3_0_4_node_127 | 0.4 | n |  | TRUE
100 | bus_LV_667-3_0_4_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_667-3_0_4_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_667-3_0_4_node_130 | 0.4 | n |  | TRUE
103 | bus_LV_667-3_0_4_node_126 | 0.4 | n |  | TRUE
104 | bus_LV_667-3_0_4_node_144 | 0.4 | n |  | TRUE
105 | bus_LV_667-3_0_4_node_172 | 0.4 | n |  | TRUE
106 | bus_LV_667-3_0_4_node_145 | 0.4 | n |  | TRUE
107 | bus_LV_667-3_0_4_node_171 | 0.4 | n |  | TRUE
108 | bus_LV_667-3_0_4_node_91 | 0.4 | n |  | TRUE
109 | bus_LV_667-3_0_4_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_667-3_0_4_node_94 | 0.4 | n |  | TRUE
111 | bus_LV_667-3_0_4_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_667-3_0_4_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_667-3_0_4_node_108 | 0.4 | n |  | TRUE
114 | bus_LV_667-3_0_4_node_112 | 0.4 | n |  | TRUE
115 | bus_LV_667-3_0_4_node_97 | 0.4 | n |  | TRUE
116 | bus_LV_667-3_0_4_node_98 | 0.4 | n |  | TRUE
117 | bus_LV_667-3_0_4_node_101 | 0.4 | n |  | TRUE
118 | bus_LV_667-3_0_4_node_102 | 0.4 | n |  | TRUE
119 | bus_LV_667-3_0_4_node_103 | 0.4 | n |  | TRUE
120 | bus_LV_667-3_0_4_node_125 | 0.4 | n |  | TRUE
121 | bus_LV_667-3_0_4_node_120 | 0.4 | n |  | TRUE
122 | bus_LV_667-3_0_4_node_128 | 0.4 | n |  | TRUE
123 | bus_LV_667-3_0_4_node_99 | 0.4 | n |  | TRUE
124 | bus_LV_667-3_0_4_node_119 | 0.4 | n |  | TRUE
125 | bus_LV_667-3_0_4_node_121 | 0.4 | n |  | TRUE
126 | bus_LV_667-3_0_4_node_117 | 0.4 | n |  | TRUE
127 | bus_LV_667-3_0_4_node_116 | 0.4 | n |  | TRUE
128 | bus_LV_667-3_0_4_node_118 | 0.4 | n |  | TRUE
129 | bus_LV_667-3_0_4_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_667-3_0_4_node_111 | 0.4 | n |  | TRUE
131 | bus_LV_667-3_0_4_node_113 | 0.4 | n |  | TRUE
132 | bus_LV_667-3_0_4_node_115 | 0.4 | n |  | TRUE
133 | bus_LV_667-3_0_4_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_667-3_0_4_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_667-3_0_4_node_129 | 0.4 | n |  | TRUE
136 | bus_LV_667-3_0_4_node_131 | 0.4 | n |  | TRUE
137 | bus_LV_667-3_0_4_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_667-3_0_4_node_134 | 0.4 | n |  | TRUE
139 | bus_LV_667-3_0_4_node_143 | 0.4 | n |  | TRUE
140 | bus_LV_667-3_0_4_node_136 | 0.4 | n |  | TRUE
141 | bus_LV_667-3_0_4_node_138 | 0.4 | n |  | TRUE
142 | bus_LV_667-3_0_4_node_139 | 0.4 | n |  | TRUE
143 | bus_LV_667-3_0_4_node_142 | 0.4 | n |  | TRUE
144 | bus_LV_667-3_0_4_node_146 | 0.4 | n |  | TRUE
145 | bus_LV_667-3_0_4_node_164 | 0.4 | n |  | TRUE
146 | bus_LV_667-3_0_4_node_163 | 0.4 | n |  | TRUE
147 | bus_LV_667-3_0_4_node_149 | 0.4 | n |  | TRUE
148 | bus_LV_667-3_0_4_node_150 | 0.4 | n |  | TRUE
149 | bus_LV_667-3_0_4_node_157 | 0.4 | n |  | TRUE
150 | bus_LV_667-3_0_4_node_155 | 0.4 | n |  | TRUE
151 | bus_LV_667-3_0_4_node_167 | 0.4 | n |  | TRUE
152 | bus_LV_667-3_0_4_node_152 | 0.4 | n |  | TRUE
153 | bus_LV_667-3_0_4_node_153 | 0.4 | n |  | TRUE
154 | bus_LV_667-3_0_4_node_154 | 0.4 | n |  | TRUE
155 | bus_LV_667-3_0_4_node_156 | 0.4 | n |  | TRUE
156 | bus_LV_667-3_0_4_node_161 | 0.4 | n |  | TRUE
157 | bus_LV_667-3_0_4_node_159 | 0.4 | n |  | TRUE
158 | bus_LV_667-3_0_4_node_158 | 0.4 | n |  | TRUE
159 | bus_LV_667-3_0_4_node_160 | 0.4 | n |  | TRUE
160 | bus_LV_667-3_0_4_node_162 | 0.4 | n |  | TRUE
161 | bus_LV_667-3_0_4_node_165 | 0.4 | n |  | TRUE
162 | bus_LV_667-3_0_4_node_168 | 0.4 | n |  | TRUE
163 | bus_LV_667-3_0_4_node_169 | 0.4 | n |  | TRUE
164 | bus_LV_667-3_0_4_node_170 | 0.4 | n |  | TRUE
165 | bus_MV_380_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_667-3_0_4_load_0 | 0 | 0.012489 | 0.0031299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_667-3_0_4_load_106 | 4 | 0.0025673 | 0.00064342 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_667-3_0_4_load_90 | 5 | 0.00030774 | 7.7127e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_667-3_0_4_load_104 | 6 | 0.00051124 | 0.00012813 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_667-3_0_4_load_110 | 8 | 0.0002787 | 6.9849e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_667-3_0_4_load_107 | 9 | 0.00051114 | 0.0001281 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_667-3_0_4_load_4 | 10 | 0.0010223 | 0.00025622 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_667-3_0_4_load_5 | 11 | 0.000778 | 0.00019498 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_667-3_0_4_load_8 | 14 | 0.0020906 | 0.00052396 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_667-3_0_4_load_9 | 15 | 0.0026919 | 0.00067464 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_667-3_0_4_load_24 | 16 | 0.0030348 | 0.00076059 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_667-3_0_4_load_25 | 17 | 0.00048803 | 0.00012231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_667-3_0_4_load_22 | 18 | 0.0028616 | 0.00071718 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_667-3_0_4_load_14 | 19 | 0.002226 | 0.0005579 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_667-3_0_4_load_11 | 20 | 0.0025244 | 0.00063268 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_667-3_0_4_load_35 | 21 | 0.0027093 | 0.00067902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_667-3_0_4_load_20 | 23 | 0.0035262 | 0.00088375 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_667-3_0_4_load_15 | 24 | 0.0013945 | 0.0003495 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_667-3_0_4_load_10 | 25 | 0.0028473 | 0.0007136 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_667-3_0_4_load_51 | 27 | 0.0020381 | 0.00051079 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_667-3_0_4_load_26 | 28 | 0.0017486 | 0.00043824 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_667-3_0_4_load_23 | 30 | 0.0042842 | 0.0010737 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_667-3_0_4_load_16 | 31 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_667-3_0_4_load_148 | 34 | 0.0004007 | 0.00010042 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_667-3_0_4_load_151 | 35 | 0.00022524 | 5.645e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_667-3_0_4_load_147 | 37 | 0.00040804 | 0.00010226 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_667-3_0_4_load_21 | 38 | 0.0019804 | 0.00049633 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_667-3_0_4_load_34 | 39 | 0.0029327 | 0.000735 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_667-3_0_4_load_137 | 40 | 0.00055455 | 0.00013898 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_667-3_0_4_load_133 | 41 | 0.00054892 | 0.00013757 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_667-3_0_4_load_27 | 42 | 0.0045769 | 0.0011471 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_667-3_0_4_load_28 | 43 | 0.0027019 | 0.00067716 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_667-3_0_4_load_29 | 44 | 0.0088506 | 0.0022182 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_667-3_0_4_load_30 | 45 | 0.0028665 | 0.00071842 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_667-3_0_4_load_33 | 47 | 0.0026636 | 0.00066756 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_667-3_0_4_load_46 | 48 | 0.0019123 | 0.00047926 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_667-3_0_4_load_37 | 49 | 0.0023912 | 0.00059929 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_667-3_0_4_load_32 | 50 | 0.0038842 | 0.00097347 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_667-3_0_4_load_45 | 51 | 0.0036342 | 0.00091083 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_667-3_0_4_load_47 | 52 | 0.0025756 | 0.0006455 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_667-3_0_4_load_52 | 53 | 0.0025968 | 0.00065083 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_667-3_0_4_load_36 | 54 | 0.0025836 | 0.0006475 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_667-3_0_4_load_38 | 55 | 0.0041181 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_667-3_0_4_load_40 | 56 | 0.0023841 | 0.00059751 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_667-3_0_4_load_41 | 57 | 0.0015263 | 0.00038254 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_667-3_0_4_load_42 | 58 | 0.001801 | 0.00045137 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_667-3_0_4_load_43 | 59 | 0.0017677 | 0.00044303 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_667-3_0_4_load_44 | 60 | 0.005887 | 0.0014754 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_667-3_0_4_load_53 | 62 | 0.0022549 | 0.00056513 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_667-3_0_4_load_49 | 63 | 0.0024461 | 0.00061304 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_667-3_0_4_load_72 | 64 | 0.0042409 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_667-3_0_4_load_73 | 65 | 0.0019541 | 0.00048974 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_667-3_0_4_load_85 | 66 | 0.002528 | 0.00063359 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_667-3_0_4_load_79 | 67 | 0.0021417 | 0.00053675 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_667-3_0_4_load_54 | 68 | 0.0031489 | 0.0007892 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_667-3_0_4_load_58 | 72 | 0.0035263 | 0.00088377 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_667-3_0_4_load_59 | 73 | 0.006194 | 0.0015524 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_667-3_0_4_load_60 | 74 | 0.00058139 | 0.00014571 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_667-3_0_4_load_71 | 75 | 0.012997 | 0.0032573 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_667-3_0_4_load_65 | 76 | 0.003834 | 0.00096089 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_667-3_0_4_load_75 | 77 | 0.0027003 | 0.00067676 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_667-3_0_4_load_78 | 78 | 0.020117 | 0.0050417 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_667-3_0_4_load_66 | 80 | 0.0024498 | 0.00061399 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_667-3_0_4_load_76 | 81 | 0.0034868 | 0.00087387 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_667-3_0_4_load_61 | 82 | 0.0091235 | 0.0022866 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_667-3_0_4_load_62 | 83 | 0.0072802 | 0.0018246 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_667-3_0_4_load_63 | 84 | 0.027139 | 0.0068016 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_667-3_0_4_load_64 | 85 | 0.0072788 | 0.0018242 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_667-3_0_4_load_141 | 86 | 0.007279 | 0.0018243 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_667-3_0_4_load_140 | 87 | 0.00069275 | 0.00017362 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_667-3_0_4_load_74 | 88 | 0.0023758 | 0.00059542 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_667-3_0_4_load_67 | 89 | 0.0071087 | 0.0017816 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_667-3_0_4_load_68 | 90 | 0.0045553 | 0.0011417 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_667-3_0_4_load_69 | 91 | 0.0063787 | 0.0015987 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_667-3_0_4_load_70 | 92 | 0.0069442 | 0.0017404 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_667-3_0_4_load_84 | 94 | 0.038107 | 0.0095505 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_667-3_0_4_load_80 | 95 | 0.007007 | 0.0017561 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_667-3_0_4_load_81 | 96 | 0.028729 | 0.0072003 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_667-3_0_4_load_83 | 97 | 0.00038215 | 9.5776e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_667-3_0_4_load_88 | 100 | 0.00035168 | 8.8139e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_667-3_0_4_load_89 | 101 | 0.00021755 | 5.4524e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_667-3_0_4_load_130 | 102 | 0.00075187 | 0.00018844 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_667-3_0_4_load_144 | 104 | 0.00013261 | 3.3235e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_667-3_0_4_load_172 | 105 | 0.00031661 | 7.9349e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_667-3_0_4_load_145 | 106 | 0.00033632 | 8.4289e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_667-3_0_4_load_171 | 107 | 0.00029559 | 7.4083e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_667-3_0_4_load_94 | 110 | 0.0017801 | 0.00044614 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_667-3_0_4_load_95 | 111 | 0.00087019 | 0.00021809 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_667-3_0_4_load_96 | 112 | 0.00025202 | 6.3162e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_667-3_0_4_load_108 | 113 | 0.000365 | 9.1479e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_667-3_0_4_load_112 | 114 | 0.00025193 | 6.3139e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_667-3_0_4_load_97 | 115 | 0.0021654 | 0.0005427 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_667-3_0_4_load_102 | 118 | 0.00096518 | 0.0002419 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_667-3_0_4_load_125 | 120 | 0.0021669 | 0.00054308 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_667-3_0_4_load_120 | 121 | 0.0010865 | 0.0002723 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_667-3_0_4_load_128 | 122 | 0.00078646 | 0.00019711 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_667-3_0_4_load_99 | 123 | 0.0033347 | 0.00083575 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_667-3_0_4_load_119 | 124 | 0.0023989 | 0.00060122 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_667-3_0_4_load_121 | 125 | 0.00082347 | 0.00020638 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_667-3_0_4_load_117 | 126 | 0.00158 | 0.00039597 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_667-3_0_4_load_118 | 128 | 0.0014327 | 0.00035906 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_667-3_0_4_load_105 | 129 | 0.00051125 | 0.00012813 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_667-3_0_4_load_111 | 130 | 0.0008278 | 0.00020747 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_667-3_0_4_load_113 | 131 | 0.00061715 | 0.00015467 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_667-3_0_4_load_115 | 132 | 0.00013399 | 3.3582e-05 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_667-3_0_4_load_124 | 133 | 0.0026686 | 0.00066883 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_667-3_0_4_load_122 | 134 | 0.0016044 | 0.00040211 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_667-3_0_4_load_129 | 135 | 0.0026608 | 0.00066685 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_667-3_0_4_load_131 | 136 | 0.0042565 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_667-3_0_4_load_132 | 137 | 0.0025809 | 0.00064685 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_667-3_0_4_load_134 | 138 | 0.0030135 | 0.00075525 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_667-3_0_4_load_143 | 139 | 0.012078 | 0.0030271 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_667-3_0_4_load_136 | 140 | 0.00050215 | 0.00012585 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_667-3_0_4_load_138 | 141 | 0.00050453 | 0.00012645 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_667-3_0_4_load_146 | 144 | 0.00018135 | 4.5451e-05 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_667-3_0_4_load_164 | 145 | 0.00043007 | 0.00010779 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_667-3_0_4_load_163 | 146 | 0.00041356 | 0.00010365 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_667-3_0_4_load_149 | 147 | 0.00078835 | 0.00019758 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_667-3_0_4_load_150 | 148 | 0.00077891 | 0.00019521 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_667-3_0_4_load_157 | 149 | 0.00079088 | 0.00019821 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_667-3_0_4_load_155 | 150 | 0.00077687 | 0.0001947 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_667-3_0_4_load_167 | 151 | 0.00019769 | 4.9545e-05 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_667-3_0_4_load_152 | 152 | 0.00040182 | 0.0001007 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_667-3_0_4_load_153 | 153 | 0.0003954 | 9.9098e-05 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_667-3_0_4_load_154 | 154 | 0.00079423 | 0.00019905 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_667-3_0_4_load_156 | 155 | 0.00080898 | 0.00020275 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_667-3_0_4_load_161 | 156 | 0.00080432 | 0.00020158 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_667-3_0_4_load_159 | 157 | 0.00040841 | 0.00010236 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_667-3_0_4_load_158 | 158 | 0.00041866 | 0.00010493 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_667-3_0_4_load_160 | 159 | 0.00082686 | 0.00020723 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_667-3_0_4_load_162 | 160 | 0.00082477 | 0.00020671 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_667-3_0_4_load_165 | 161 | 0.00084181 | 0.00021098 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_667-3_0_4_load_168 | 162 | 0.00024567 | 6.157e-05 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_667-3_0_4_load_169 | 163 | 0.00027991 | 7.0152e-05 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_667-3_0_4_load_170 | 164 | 0.00022195 | 5.5626e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_667-3_0_4_line_0 |  | 0 | 1 | 0.049109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_667-3_0_4_line_1 |  | 1 | 2 | 0.066582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_667-3_0_4_line_2 |  | 2 | 3 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_667-3_0_4_line_3 |  | 2 | 4 | 0.033752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_667-3_0_4_line_4 |  | 3 | 5 | 0.0046363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_667-3_0_4_line_5 |  | 4 | 6 | 0.031866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_667-3_0_4_line_6 |  | 5 | 108 | 0.03495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_667-3_0_4_line_7 |  | 6 | 129 | 0.018285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_667-3_0_4_line_8 |  | 7 | 8 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_667-3_0_4_line_9 |  | 7 | 9 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_667-3_0_4_line_10 |  | 8 | 103 | 0.052359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_667-3_0_4_line_11 |  | 9 | 129 | 0.015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_667-3_0_4_line_12 |  | 10 | 11 | 0.025022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_667-3_0_4_line_13 |  | 10 | 12 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_667-3_0_4_line_14 |  | 11 | 13 | 0.021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_667-3_0_4_line_15 |  | 12 | 14 | 0.014139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_667-3_0_4_line_16 |  | 12 | 15 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_667-3_0_4_line_17 |  | 13 | 16 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_667-3_0_4_line_18 |  | 13 | 17 | 0.01904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_667-3_0_4_line_19 |  | 13 | 18 | 0.017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_667-3_0_4_line_20 |  | 14 | 19 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_667-3_0_4_line_21 |  | 15 | 20 | 0.022559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_667-3_0_4_line_22 |  | 16 | 21 | 0.013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_667-3_0_4_line_23 |  | 17 | 22 | 0.023734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_667-3_0_4_line_24 |  | 18 | 23 | 0.0066438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_667-3_0_4_line_25 |  | 19 | 24 | 0.0038776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_667-3_0_4_line_26 |  | 20 | 25 | 0.019543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_667-3_0_4_line_27 |  | 21 | 39 | 0.0064448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_667-3_0_4_line_28 |  | 22 | 40 | 0.0023122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_667-3_0_4_line_29 |  | 22 | 41 | 0.018597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_667-3_0_4_line_30 |  | 23 | 38 | 0.020105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_667-3_0_4_line_31 |  | 26 | 27 | 0.017357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_667-3_0_4_line_32 |  | 26 | 28 | 0.019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_667-3_0_4_line_33 |  | 27 | 29 | 0.01201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_667-3_0_4_line_34 |  | 28 | 30 | 0.0087487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_667-3_0_4_line_35 |  | 29 | 59 | 0.010524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_667-3_0_4_line_36 |  | 30 | 38 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_667-3_0_4_line_37 |  | 31 | 32 | 0.020246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_667-3_0_4_line_38 |  | 32 | 33 | 0.033692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_667-3_0_4_line_39 |  | 33 | 34 | 0.043222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_667-3_0_4_line_40 |  | 34 | 37 | 9.913e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_667-3_0_4_line_41 |  | 35 | 36 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_667-3_0_4_line_42 |  | 36 | 151 | 0.034537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_667-3_0_4_line_43 |  | 37 | 147 | 0.00020597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_667-3_0_4_line_44 |  | 39 | 50 | 0.0041708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_667-3_0_4_line_45 |  | 40 | 140 | 0.01179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_667-3_0_4_line_46 |  | 41 | 136 | 0.014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_667-3_0_4_line_47 |  | 42 | 43 | 0.022105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_667-3_0_4_line_48 |  | 42 | 44 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_667-3_0_4_line_49 |  | 43 | 45 | 0.019007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_667-3_0_4_line_50 |  | 44 | 46 | 0.019949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_667-3_0_4_line_51 |  | 45 | 47 | 0.0064437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_667-3_0_4_line_52 |  | 46 | 48 | 0.02306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_667-3_0_4_line_53 |  | 46 | 49 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_667-3_0_4_line_54 |  | 47 | 50 | 0.0090094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_667-3_0_4_line_55 |  | 48 | 53 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_667-3_0_4_line_56 |  | 49 | 54 | 0.025635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_667-3_0_4_line_57 |  | 51 | 52 | 0.0071189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_667-3_0_4_line_58 |  | 52 | 61 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_667-3_0_4_line_59 |  | 53 | 62 | 0.0075813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_667-3_0_4_line_60 |  | 54 | 55 | 0.024531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_667-3_0_4_line_61 |  | 56 | 57 | 0.0021379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_667-3_0_4_line_62 |  | 56 | 58 | 0.0048473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_667-3_0_4_line_63 |  | 57 | 59 | 0.0066786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_667-3_0_4_line_64 |  | 58 | 60 | 0.0040635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_667-3_0_4_line_65 |  | 61 | 63 | 0.048301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_667-3_0_4_line_66 |  | 62 | 66 | 0.0045877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_667-3_0_4_line_67 |  | 63 | 64 | 0.0065793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_667-3_0_4_line_68 |  | 64 | 65 | 0.015913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_667-3_0_4_line_69 |  | 65 | 81 | 0.005424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_667-3_0_4_line_70 |  | 66 | 67 | 0.0028385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_667-3_0_4_line_71 |  | 67 | 88 | 0.0069201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_667-3_0_4_line_72 |  | 68 | 69 | 0.03151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_667-3_0_4_line_73 |  | 68 | 70 | 0.039427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_667-3_0_4_line_74 |  | 69 | 71 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_667-3_0_4_line_75 |  | 69 | 72 | 0.015318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_667-3_0_4_line_76 |  | 70 | 73 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_667-3_0_4_line_77 |  | 70 | 74 | 0.01279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_667-3_0_4_line_78 |  | 71 | 75 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_667-3_0_4_line_79 |  | 72 | 76 | 0.030613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_667-3_0_4_line_80 |  | 73 | 77 | 0.0052162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_667-3_0_4_line_81 |  | 76 | 80 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_667-3_0_4_line_82 |  | 77 | 81 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_667-3_0_4_line_83 |  | 78 | 79 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_667-3_0_4_line_84 |  | 79 | 93 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_667-3_0_4_line_85 |  | 79 | 92 | 0.021906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_667-3_0_4_line_86 |  | 80 | 88 | 0.011428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_667-3_0_4_line_87 |  | 82 | 83 | 0.0039847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_667-3_0_4_line_88 |  | 82 | 84 | 0.0041627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_667-3_0_4_line_89 |  | 83 | 85 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_667-3_0_4_line_90 |  | 85 | 86 | 0.01913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_667-3_0_4_line_91 |  | 86 | 87 | 0.026053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_667-3_0_4_line_92 |  | 87 | 142 | 0.012652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_667-3_0_4_line_93 |  | 89 | 90 | 0.0095005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_667-3_0_4_line_94 |  | 89 | 91 | 0.0040882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_667-3_0_4_line_95 |  | 90 | 92 | 0.005089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_667-3_0_4_line_96 |  | 93 | 94 | 0.049141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_667-3_0_4_line_97 |  | 93 | 95 | 0.0028924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_667-3_0_4_line_98 |  | 94 | 99 | 0.015896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_667-3_0_4_line_99 |  | 95 | 96 | 0.029642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_667-3_0_4_line_100 |  | 96 | 97 | 0.034376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_667-3_0_4_line_101 |  | 97 | 98 | 0.019812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_667-3_0_4_line_102 |  | 98 | 100 | 0.030606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_667-3_0_4_line_103 |  | 98 | 101 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_667-3_0_4_line_104 |  | 99 | 102 | 0.028023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_667-3_0_4_line_105 |  | 99 | 103 | 0.037562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_667-3_0_4_line_106 |  | 100 | 104 | 0.0014479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_667-3_0_4_line_107 |  | 101 | 105 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_667-3_0_4_line_108 |  | 102 | 135 | 0.074624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_667-3_0_4_line_109 |  | 103 | 122 | 0.060609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_667-3_0_4_line_110 |  | 104 | 106 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_667-3_0_4_line_111 |  | 105 | 107 | 0.0020366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_667-3_0_4_line_112 |  | 106 | 144 | 0.0012195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_667-3_0_4_line_113 |  | 107 | 164 | 0.01954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_667-3_0_4_line_114 |  | 108 | 109 | 0.043943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_667-3_0_4_line_115 |  | 109 | 110 | 0.027195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_667-3_0_4_line_116 |  | 110 | 111 | 0.030825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_667-3_0_4_line_117 |  | 111 | 112 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_667-3_0_4_line_118 |  | 112 | 113 | 0.0027321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_667-3_0_4_line_119 |  | 113 | 114 | 0.010938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_667-3_0_4_line_120 |  | 114 | 130 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_667-3_0_4_line_121 |  | 115 | 116 | 0.073518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_667-3_0_4_line_122 |  | 116 | 117 | 0.024608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_667-3_0_4_line_123 |  | 116 | 118 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_667-3_0_4_line_124 |  | 117 | 119 | 0.005592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_667-3_0_4_line_125 |  | 117 | 120 | 0.030593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_667-3_0_4_line_126 |  | 118 | 121 | 0.065546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_667-3_0_4_line_127 |  | 119 | 122 | 0.084112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_667-3_0_4_line_128 |  | 120 | 127 | 0.039469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_667-3_0_4_line_129 |  | 121 | 128 | 0.021231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_667-3_0_4_line_130 |  | 123 | 124 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_667-3_0_4_line_131 |  | 124 | 125 | 0.12403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_667-3_0_4_line_132 |  | 124 | 126 | 0.038249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_667-3_0_4_line_133 |  | 125 | 134 | 0.044153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_667-3_0_4_line_134 |  | 126 | 128 | 0.068954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_667-3_0_4_line_135 |  | 127 | 133 | 0.049585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_667-3_0_4_line_136 |  | 127 | 132 | 0.054872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_667-3_0_4_line_137 |  | 130 | 131 | 0.041123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_667-3_0_4_line_138 |  | 136 | 137 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_667-3_0_4_line_139 |  | 137 | 138 | 0.006447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_667-3_0_4_line_140 |  | 138 | 139 | 0.0046735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_667-3_0_4_line_141 |  | 140 | 141 | 0.0054534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
142 | LV_667-3_0_4_line_142 |  | 141 | 142 | 0.011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
143 | LV_667-3_0_4_line_143 |  | 142 | 143 | 0.009953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
144 | LV_667-3_0_4_line_144 |  | 143 | 144 | 0.019052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
145 | LV_667-3_0_4_line_145 |  | 143 | 145 | 0.016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_667-3_0_4_line_146 |  | 145 | 146 | 5.861e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_667-3_0_4_line_147 |  | 146 | 161 | 0.024868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_667-3_0_4_line_148 |  | 147 | 148 | 5.4235e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_667-3_0_4_line_149 |  | 148 | 149 | 0.00010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_667-3_0_4_line_150 |  | 149 | 150 | 0.0021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_667-3_0_4_line_151 |  | 150 | 153 | 0.028558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_667-3_0_4_line_152 |  | 151 | 162 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_667-3_0_4_line_153 |  | 152 | 153 | 0.00017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_667-3_0_4_line_154 |  | 152 | 154 | 0.00027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_667-3_0_4_line_155 |  | 154 | 155 | 9.301e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_667-3_0_4_line_156 |  | 155 | 156 | 8.2386e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_667-3_0_4_line_157 |  | 156 | 157 | 0.025008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_667-3_0_4_line_158 |  | 157 | 158 | 1.1078e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_667-3_0_4_line_159 |  | 158 | 159 | 0.00034552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_667-3_0_4_line_160 |  | 159 | 160 | 0.00011269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_667-3_0_4_line_161 |  | 160 | 161 | 0.00012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_667-3_0_4_line_162 |  | 162 | 163 | 0.020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_667-3_0_4_line_163 |  | 163 | 164 | 0.0037706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_667-3_0_4_trafo_61 | 0.63 MVA 20/0.4 kV | 165 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2584564.5181 | 1195095.066 | 2584573.7065 | 1195112.6737 | 2584577.8878 | 1195141.6218
1 | 2584504.3176 | 1195102.482 | 2584516.9403 | 1195101.8043 | 2584517.6154 | 1195094.7988 | 2584531.2001 | 1195094.8746 | 2584564.5181 | 1195095.066
2 | 2584488.9066 | 1195103.267 | 2584504.3176 | 1195102.482
3 | 2584504.3176 | 1195102.482 | 2584502.6584 | 1195136.1928
4 | 2584488.9066 | 1195103.267 | 2584488.4622 | 1195098.652
5 | 2584502.1986 | 1195168.0175 | 2584501.6187 | 1195157.3182 | 2584502.6584 | 1195136.1928
6 | 2584465.545 | 1195076.2136 | 2584468.811 | 1195078.1728 | 2584487.5753 | 1195089.4409 | 2584488.4622 | 1195098.652
7 | 2584502.1986 | 1195168.0175 | 2584503.1883 | 1195186.2753
8 | 2584513.056 | 1195210.5168 | 2584514.4249 | 1195232.3701
9 | 2584513.056 | 1195210.5168 | 2584504.412 | 1195208.8495 | 2584504.0313 | 1195201.8264
10 | 2584518.9856 | 1195284.5074 | 2584516.339 | 1195262.925 | 2584514.4249 | 1195232.3701
11 | 2584503.1883 | 1195186.2753 | 2584504.0313 | 1195201.8264
12 | 2584808.5458 | 1195346.9843 | 2584798.6145 | 1195324.0172
13 | 2584813.7745 | 1195359.0761 | 2584808.5458 | 1195346.9843
14 | 2584790.231 | 1195304.6295 | 2584798.6145 | 1195324.0172
15 | 2584813.7745 | 1195359.0761 | 2584819.566 | 1195371.9745
16 | 2584813.7745 | 1195359.0761 | 2584830.3964 | 1195351.4508
17 | 2584790.231 | 1195304.6295 | 2584786.5065 | 1195296.1234 | 2584782.6238 | 1195288.4547
18 | 2584790.231 | 1195304.6295 | 2584775.0606 | 1195312.9172 | 2584773.3945 | 1195313.4645
19 | 2584790.231 | 1195304.6295 | 2584805.7951 | 1195297.5252
20 | 2584827.5521 | 1195389.7607 | 2584819.566 | 1195371.9745
21 | 2584850.9004 | 1195342.0445 | 2584830.3964 | 1195351.4508
22 | 2584776.6529 | 1195276.6616 | 2584782.6238 | 1195288.4547
23 | 2584750.8462 | 1195320.8723 | 2584773.3945 | 1195313.4645
24 | 2584805.7951 | 1195297.5252 | 2584811.839 | 1195294.7664
25 | 2584827.5521 | 1195389.7607 | 2584829.1404 | 1195393.2981
26 | 2584868.6635 | 1195333.8956 | 2584850.9004 | 1195342.0445
27 | 2584776.6529 | 1195276.6616 | 2584773.7417 | 1195270.9117
28 | 2584750.8462 | 1195320.8723 | 2584748.6327 | 1195321.5408
29 | 2584750.8462 | 1195320.8723 | 2584744.9727 | 1195303.2273
30 | 2584830.1292 | 1195286.4178 | 2584811.839 | 1195294.7664
31 | 2584869.9284 | 1195268.2513 | 2584863.1423 | 1195252.2759
32 | 2584869.9284 | 1195268.2513 | 2584852.3743 | 1195276.2639
33 | 2584858.4467 | 1195241.2217 | 2584863.1423 | 1195252.2759
34 | 2584844.4155 | 1195279.8968 | 2584852.3743 | 1195276.2639
35 | 2584858.4467 | 1195241.2217 | 2584850.1024 | 1195237.5187 | 2584848.8402 | 1195238.1123
36 | 2584844.4155 | 1195279.8968 | 2584830.1292 | 1195286.4178
37 | 2584788.0705 | 1195457.7388 | 2584805.6978 | 1195447.7796
38 | 2584788.0705 | 1195457.7388 | 2584784.324 | 1195458.4265 | 2584756.0546 | 1195468.382
39 | 2584756.0546 | 1195468.382 | 2584742.4908 | 1195427.3434
40 | 2584742.4597 | 1195427.2493 | 2584742.4908 | 1195427.3434
41 | 2584682.1112 | 1195492.4403 | 2584696.0656 | 1195487.9001
42 | 2584682.1112 | 1195492.4403 | 2584672.7555 | 1195459.1945
43 | 2584742.3951 | 1195427.0538 | 2584742.4597 | 1195427.2493
44 | 2584771.8577 | 1195267.1907 | 2584773.7417 | 1195270.9117
45 | 2584748.6327 | 1195321.5408 | 2584737.3465 | 1195324.9493
46 | 2584740.4597 | 1195289.6695 | 2584744.9727 | 1195303.2273
47 | 2584748.248 | 1195215.8258 | 2584756.8427 | 1195236.1911
48 | 2584748.248 | 1195215.8258 | 2584747.0189 | 1195212.9135 | 2584741.1847 | 1195197.9391
49 | 2584756.8427 | 1195236.1911 | 2584760.2493 | 1195244.263 | 2584764.8774 | 1195253.404
50 | 2584733.9428 | 1195179.3514 | 2584741.1847 | 1195197.9391
51 | 2584767.7881 | 1195259.1528 | 2584764.8774 | 1195253.404
52 | 2584733.9428 | 1195179.3514 | 2584710.903 | 1195180.3231
53 | 2584733.9428 | 1195179.3514 | 2584755.368 | 1195170.8338
54 | 2584771.8577 | 1195267.1907 | 2584767.7881 | 1195259.1528
55 | 2584710.903 | 1195180.3231 | 2584708.1179 | 1195180.4406 | 2584697.4137 | 1195180.9215
56 | 2584779.1894 | 1195161.3636 | 2584755.368 | 1195170.8338
57 | 2584715.4055 | 1195120.7494 | 2584717.0763 | 1195127.6694
58 | 2584711.0108 | 1195102.5472 | 2584715.4055 | 1195120.7494
59 | 2584689.8401 | 1195181.2619 | 2584697.4137 | 1195180.9215
60 | 2584779.1894 | 1195161.3636 | 2584801.9854 | 1195152.301
61 | 2584840.8619 | 1195241.8641 | 2584842.7966 | 1195240.9543
62 | 2584836.4754 | 1195243.9268 | 2584840.8619 | 1195241.8641
63 | 2584848.8402 | 1195238.1123 | 2584842.7966 | 1195240.9543
64 | 2584832.7982 | 1195245.6561 | 2584836.4754 | 1195243.9268
65 | 2584711.0108 | 1195102.5472 | 2584698.4383 | 1195105.0142 | 2584665.8364 | 1195110.6678 | 2584663.4432 | 1195110.8527
66 | 2584685.257 | 1195181.4678 | 2584689.8401 | 1195181.2619
67 | 2584663.4432 | 1195110.8527 | 2584656.8835 | 1195111.3595
68 | 2584656.8835 | 1195111.3595 | 2584641.0173 | 1195112.5854
69 | 2584641.0173 | 1195112.5854 | 2584635.6095 | 1195113.0033
70 | 2584685.257 | 1195181.4678 | 2584682.4214 | 1195181.5952
71 | 2584675.5083 | 1195181.9059 | 2584682.4214 | 1195181.5952
72 | 2584597.4499 | 1195181.46 | 2584592.5588 | 1195158.0157 | 2584591.6763 | 1195150.5068
73 | 2584587.0742 | 1195111.3495 | 2584591.6763 | 1195150.5068
74 | 2584597.4499 | 1195181.46 | 2584600.8451 | 1195195.1029
75 | 2584597.4499 | 1195181.46 | 2584612.7665 | 1195181.6305
76 | 2584587.0742 | 1195111.3495 | 2584612.6958 | 1195113.3771
77 | 2584587.0742 | 1195111.3495 | 2584585.1401 | 1195098.7069
78 | 2584600.8451 | 1195195.1029 | 2584609.8174 | 1195205.8854 | 2584617.8096 | 1195215.4874
79 | 2584612.7665 | 1195181.6305 | 2584643.3777 | 1195181.9712
80 | 2584612.6958 | 1195113.3771 | 2584617.8957 | 1195113.7886
81 | 2584643.3777 | 1195181.9712 | 2584664.0877 | 1195182.2017
82 | 2584635.6095 | 1195113.0033 | 2584621.6253 | 1195114.0838 | 2584617.8957 | 1195113.7886
83 | 2584617.7054 | 1195262.7953 | 2584614.3073 | 1195249.1525
84 | 2584620.9915 | 1195272.592 | 2584617.7054 | 1195262.7953
85 | 2584617.7054 | 1195262.7953 | 2584639.0709 | 1195257.9597
86 | 2584664.0877 | 1195182.2017 | 2584667.9638 | 1195182.2449 | 2584675.5083 | 1195181.9059
87 | 2584696.2418 | 1195256.181 | 2584697.5104 | 1195259.9584
88 | 2584694.9165 | 1195252.235 | 2584696.2418 | 1195256.181
89 | 2584702.583 | 1195275.0615 | 2584697.5104 | 1195259.9584
90 | 2584708.6736 | 1195293.1957 | 2584702.583 | 1195275.0615
91 | 2584716.9685 | 1195317.8932 | 2584708.6736 | 1195293.1957
92 | 2584720.9968 | 1195329.8871 | 2584716.9685 | 1195317.8932
93 | 2584643.0852 | 1195245.854 | 2584643.9066 | 1195251.2214 | 2584643.3837 | 1195255.2583
94 | 2584643.0852 | 1195245.854 | 2584643.0852 | 1195245.854 | 2584640.4698 | 1195242.7119
95 | 2584639.0709 | 1195257.9597 | 2584643.3837 | 1195255.2583
96 | 2584620.9915 | 1195272.592 | 2584597.6483 | 1195275.6874 | 2584572.2449 | 1195278.805
97 | 2584620.9915 | 1195272.592 | 2584621.7531 | 1195275.3823
98 | 2584556.4672 | 1195280.7413 | 2584572.2449 | 1195278.805
99 | 2584621.7531 | 1195275.3823 | 2584629.5589 | 1195303.9784
100 | 2584629.5589 | 1195303.9784 | 2584634.0824 | 1195320.5504 | 2584638.7593 | 1195337.1001
101 | 2584644.1472 | 1195356.1656 | 2584638.7593 | 1195337.1001
102 | 2584644.1472 | 1195356.1656 | 2584673.1183 | 1195346.2951
103 | 2584644.1472 | 1195356.1656 | 2584648.4791 | 1195369.7172 | 2584648.7638 | 1195370.7804
104 | 2584556.4672 | 1195280.7413 | 2584563.2793 | 1195286.9825 | 2584566.7963 | 1195305.4342
105 | 2584518.9856 | 1195284.5074 | 2584556.4672 | 1195280.7413
106 | 2584674.4888 | 1195345.8282 | 2584673.1183 | 1195346.2951
107 | 2584654.4522 | 1195392.0217 | 2584648.7638 | 1195370.7804
108 | 2584602.0681 | 1195347.1584 | 2584581.4901 | 1195349.513 | 2584577.5485 | 1195319.0737 | 2584569.6437 | 1195320.3727 | 2584566.7963 | 1195305.4342
109 | 2584518.9856 | 1195284.5074 | 2584527.3432 | 1195344.5378
110 | 2584674.4888 | 1195345.8282 | 2584692.3926 | 1195339.7283
111 | 2584654.979 | 1195393.989 | 2584654.4522 | 1195392.0217
112 | 2584693.5469 | 1195339.335 | 2584692.3926 | 1195339.7283
113 | 2584660.0336 | 1195412.8637 | 2584654.979 | 1195393.989
114 | 2584465.545 | 1195076.2136 | 2584457.239 | 1195081.5381 | 2584429.8699 | 1195080.7982 | 2584423.0651 | 1195080.3935
115 | 2584423.0651 | 1195080.3935 | 2584429.3529 | 1195106.8512
116 | 2584429.3529 | 1195106.8512 | 2584436.4543 | 1195136.7329 | 2584436.4729 | 1195136.8423
117 | 2584436.4729 | 1195136.8423 | 2584439.3971 | 1195154.0322
118 | 2584439.8553 | 1195156.7256 | 2584439.3971 | 1195154.0322
119 | 2584439.8553 | 1195156.7256 | 2584441.6897 | 1195167.5087
120 | 2584443.5851 | 1195183.4133 | 2584441.7548 | 1195167.8912 | 2584441.6897 | 1195167.5087
121 | 2584538.3028 | 1195453.0136 | 2584542.1948 | 1195481.8967 | 2584543.297 | 1195526.257
122 | 2584535.0092 | 1195428.6314 | 2584538.3028 | 1195453.0136
123 | 2584538.3028 | 1195453.0136 | 2584530.6939 | 1195459.6147 | 2584525.8158 | 1195470.422
124 | 2584540.5223 | 1195427.6054 | 2584535.0092 | 1195428.6314
125 | 2584535.0092 | 1195428.6314 | 2584504.6365 | 1195432.2979
126 | 2584525.8158 | 1195470.422 | 2584525.8158 | 1195470.422 | 2584537.1541 | 1195523.9433 | 2584537.2667 | 1195534.7795
127 | 2584540.5223 | 1195427.6054 | 2584530.2197 | 1195365.199 | 2584527.3432 | 1195344.5378
128 | 2584465.4516 | 1195437.0282 | 2584504.6365 | 1195432.2979
129 | 2584537.2667 | 1195534.7795 | 2584537.4874 | 1195556.0095
130 | 2584540.6686 | 1195662.9918 | 2584554.9534 | 1195666.4536
131 | 2584540.6686 | 1195662.9918 | 2584454.7868 | 1195752.4752
132 | 2584540.6686 | 1195662.9918 | 2584538.6413 | 1195653.4752 | 2584538.3328 | 1195637.3451 | 2584538.204 | 1195624.9598
133 | 2584454.7868 | 1195752.4752 | 2584455.5218 | 1195753.5118 | 2584464.9312 | 1195762.681 | 2584471.2589 | 1195770.3241 | 2584480.6669 | 1195787.7707
134 | 2584538.204 | 1195624.9598 | 2584537.4874 | 1195556.0095
135 | 2584465.4516 | 1195437.0282 | 2584468.1858 | 1195454.2303 | 2584470.4755 | 1195467.4758 | 2584472.0744 | 1195478.7777 | 2584472.7144 | 1195486.0604
136 | 2584465.4516 | 1195437.0282 | 2584461.3576 | 1195382.3093
137 | 2584443.5851 | 1195183.4133 | 2584446.609 | 1195209.056 | 2584447.9856 | 1195224.2968
138 | 2584740.4597 | 1195289.6695 | 2584735.7089 | 1195275.3972
139 | 2584735.7089 | 1195275.3972 | 2584733.6727 | 1195269.2801
140 | 2584732.1967 | 1195264.8459 | 2584733.6727 | 1195269.2801
141 | 2584732.126 | 1195326.5259 | 2584737.3465 | 1195324.9493
142 | 2584720.9968 | 1195329.8871 | 2584732.126 | 1195326.5259
143 | 2584720.9968 | 1195329.8871 | 2584711.581 | 1195333.1908
144 | 2584711.581 | 1195333.1908 | 2584693.5469 | 1195339.335
145 | 2584711.581 | 1195333.1908 | 2584712.464 | 1195335.8344 | 2584714.1549 | 1195341.6109 | 2584716.6536 | 1195349.1707
146 | 2584716.6536 | 1195349.1707 | 2584716.672 | 1195349.2264
147 | 2584716.672 | 1195349.2264 | 2584724.476 | 1195372.8381
148 | 2584742.378 | 1195427.0023 | 2584742.3951 | 1195427.0538
149 | 2584742.3445 | 1195426.9008 | 2584742.378 | 1195427.0023
150 | 2584741.6655 | 1195424.8464 | 2584742.3445 | 1195426.9008
151 | 2584732.7036 | 1195397.7314 | 2584741.6655 | 1195424.8464
152 | 2584672.7555 | 1195459.1945 | 2584666.3369 | 1195436.3856
153 | 2584732.6499 | 1195397.5689 | 2584732.7036 | 1195397.7314
154 | 2584732.5639 | 1195397.3086 | 2584732.6499 | 1195397.5689
155 | 2584732.5347 | 1195397.2203 | 2584732.5639 | 1195397.3086
156 | 2584732.5088 | 1195397.1421 | 2584732.5347 | 1195397.2203
157 | 2584724.661 | 1195373.3978 | 2584732.5088 | 1195397.1421
158 | 2584724.6575 | 1195373.3873 | 2584724.661 | 1195373.3978
159 | 2584724.5491 | 1195373.0592 | 2584724.6575 | 1195373.3873
160 | 2584724.5137 | 1195372.9522 | 2584724.5491 | 1195373.0592
161 | 2584724.476 | 1195372.8381 | 2584724.5137 | 1195372.9522
162 | 2584666.3369 | 1195436.3856 | 2584666.2491 | 1195436.0734 | 2584661.009 | 1195416.5059
163 | 2584661.009 | 1195416.5059 | 2584660.0336 | 1195412.8637

## bus_geodata
| x | y | coords
0 | 2584577.8878 | 1195141.6218
1 | 2584564.5181 | 1195095.066
2 | 2584504.3176 | 1195102.482
3 | 2584488.9066 | 1195103.267
4 | 2584502.6584 | 1195136.1928
5 | 2584488.4622 | 1195098.652
6 | 2584502.1986 | 1195168.0175
7 | 2584513.056 | 1195210.5168
8 | 2584514.4249 | 1195232.3701
9 | 2584504.0313 | 1195201.8264
10 | 2584808.5458 | 1195346.9843
11 | 2584798.6145 | 1195324.0172
12 | 2584813.7745 | 1195359.0761
13 | 2584790.231 | 1195304.6295
14 | 2584819.566 | 1195371.9745
15 | 2584830.3964 | 1195351.4508
16 | 2584782.6238 | 1195288.4547
17 | 2584773.3945 | 1195313.4645
18 | 2584805.7951 | 1195297.5252
19 | 2584827.5521 | 1195389.7607
20 | 2584850.9004 | 1195342.0445
21 | 2584776.6529 | 1195276.6616
22 | 2584750.8462 | 1195320.8723
23 | 2584811.839 | 1195294.7664
24 | 2584829.1404 | 1195393.2981
25 | 2584868.6635 | 1195333.8956
26 | 2584869.9284 | 1195268.2513
27 | 2584863.1423 | 1195252.2759
28 | 2584852.3743 | 1195276.2639
29 | 2584858.4467 | 1195241.2217
30 | 2584844.4155 | 1195279.8968
31 | 2584805.6978 | 1195447.7796
32 | 2584788.0705 | 1195457.7388
33 | 2584756.0546 | 1195468.382
34 | 2584742.4908 | 1195427.3434
35 | 2584696.0656 | 1195487.9001
36 | 2584682.1112 | 1195492.4403
37 | 2584742.4597 | 1195427.2493
38 | 2584830.1292 | 1195286.4178
39 | 2584773.7417 | 1195270.9117
40 | 2584748.6327 | 1195321.5408
41 | 2584744.9727 | 1195303.2273
42 | 2584748.248 | 1195215.8258
43 | 2584756.8427 | 1195236.1911
44 | 2584741.1847 | 1195197.9391
45 | 2584764.8774 | 1195253.404
46 | 2584733.9428 | 1195179.3514
47 | 2584767.7881 | 1195259.1528
48 | 2584710.903 | 1195180.3231
49 | 2584755.368 | 1195170.8338
50 | 2584771.8577 | 1195267.1907
51 | 2584717.0763 | 1195127.6694
52 | 2584715.4055 | 1195120.7494
53 | 2584697.4137 | 1195180.9215
54 | 2584779.1894 | 1195161.3636
55 | 2584801.9854 | 1195152.301
56 | 2584840.8619 | 1195241.8641
57 | 2584842.7966 | 1195240.9543
58 | 2584836.4754 | 1195243.9268
59 | 2584848.8402 | 1195238.1123
60 | 2584832.7982 | 1195245.6561
61 | 2584711.0108 | 1195102.5472
62 | 2584689.8401 | 1195181.2619
63 | 2584663.4432 | 1195110.8527
64 | 2584656.8835 | 1195111.3595
65 | 2584641.0173 | 1195112.5854
66 | 2584685.257 | 1195181.4678
67 | 2584682.4214 | 1195181.5952
68 | 2584591.6763 | 1195150.5068
69 | 2584597.4499 | 1195181.46
70 | 2584587.0742 | 1195111.3495
71 | 2584600.8451 | 1195195.1029
72 | 2584612.7665 | 1195181.6305
73 | 2584612.6958 | 1195113.3771
74 | 2584585.1401 | 1195098.7069
75 | 2584617.8096 | 1195215.4874
76 | 2584643.3777 | 1195181.9712
77 | 2584617.8957 | 1195113.7886
78 | 2584614.3073 | 1195249.1525
79 | 2584617.7054 | 1195262.7953
80 | 2584664.0877 | 1195182.2017
81 | 2584635.6095 | 1195113.0033
82 | 2584696.2418 | 1195256.181
83 | 2584697.5104 | 1195259.9584
84 | 2584694.9165 | 1195252.235
85 | 2584702.583 | 1195275.0615
86 | 2584708.6736 | 1195293.1957
87 | 2584716.9685 | 1195317.8932
88 | 2584675.5083 | 1195181.9059
89 | 2584643.0852 | 1195245.854
90 | 2584643.3837 | 1195255.2583
91 | 2584640.4698 | 1195242.7119
92 | 2584639.0709 | 1195257.9597
93 | 2584620.9915 | 1195272.592
94 | 2584572.2449 | 1195278.805
95 | 2584621.7531 | 1195275.3823
96 | 2584629.5589 | 1195303.9784
97 | 2584638.7593 | 1195337.1001
98 | 2584644.1472 | 1195356.1656
99 | 2584556.4672 | 1195280.7413
100 | 2584673.1183 | 1195346.2951
101 | 2584648.7638 | 1195370.7804
102 | 2584566.7963 | 1195305.4342
103 | 2584518.9856 | 1195284.5074
104 | 2584674.4888 | 1195345.8282
105 | 2584654.4522 | 1195392.0217
106 | 2584692.3926 | 1195339.7283
107 | 2584654.979 | 1195393.989
108 | 2584465.545 | 1195076.2136
109 | 2584423.0651 | 1195080.3935
110 | 2584429.3529 | 1195106.8512
111 | 2584436.4729 | 1195136.8423
112 | 2584439.3971 | 1195154.0322
113 | 2584439.8553 | 1195156.7256
114 | 2584441.6897 | 1195167.5087
115 | 2584543.297 | 1195526.257
116 | 2584538.3028 | 1195453.0136
117 | 2584535.0092 | 1195428.6314
118 | 2584525.8158 | 1195470.422
119 | 2584540.5223 | 1195427.6054
120 | 2584504.6365 | 1195432.2979
121 | 2584537.2667 | 1195534.7795
122 | 2584527.3432 | 1195344.5378
123 | 2584554.9534 | 1195666.4536
124 | 2584540.6686 | 1195662.9918
125 | 2584454.7868 | 1195752.4752
126 | 2584538.204 | 1195624.9598
127 | 2584465.4516 | 1195437.0282
128 | 2584537.4874 | 1195556.0095
129 | 2584503.1883 | 1195186.2753
130 | 2584443.5851 | 1195183.4133
131 | 2584447.9856 | 1195224.2968
132 | 2584461.3576 | 1195382.3093
133 | 2584472.7144 | 1195486.0604
134 | 2584480.6669 | 1195787.7707
135 | 2584602.0681 | 1195347.1584
136 | 2584740.4597 | 1195289.6695
137 | 2584735.7089 | 1195275.3972
138 | 2584733.6727 | 1195269.2801
139 | 2584732.1967 | 1195264.8459
140 | 2584737.3465 | 1195324.9493
141 | 2584732.126 | 1195326.5259
142 | 2584720.9968 | 1195329.8871
143 | 2584711.581 | 1195333.1908
144 | 2584693.5469 | 1195339.335
145 | 2584716.6536 | 1195349.1707
146 | 2584716.672 | 1195349.2264
147 | 2584742.3951 | 1195427.0538
148 | 2584742.378 | 1195427.0023
149 | 2584742.3445 | 1195426.9008
150 | 2584741.6655 | 1195424.8464
151 | 2584672.7555 | 1195459.1945
152 | 2584732.6499 | 1195397.5689
153 | 2584732.7036 | 1195397.7314
154 | 2584732.5639 | 1195397.3086
155 | 2584732.5347 | 1195397.2203
156 | 2584732.5088 | 1195397.1421
157 | 2584724.661 | 1195373.3978
158 | 2584724.6575 | 1195373.3873
159 | 2584724.5491 | 1195373.0592
160 | 2584724.5137 | 1195372.9522
161 | 2584724.476 | 1195372.8381
162 | 2584666.3369 | 1195436.3856
163 | 2584661.009 | 1195416.5059
164 | 2584660.0336 | 1195412.8637
165 | 2584694.9165 | 1195252.235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1