## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_667-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_667-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_667-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_667-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_667-7_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_667-7_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_667-7_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_667-7_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_667-7_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_667-7_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_667-7_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_667-7_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_667-7_0_4_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_667-7_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_667-7_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_667-7_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_667-7_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_667-7_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_667-7_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_667-7_0_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_667-7_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_667-7_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_667-7_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_667-7_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_667-7_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_667-7_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_667-7_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_667-7_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_667-7_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_667-7_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_667-7_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_667-7_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_667-7_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_667-7_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_667-7_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_667-7_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_667-7_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_667-7_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_667-7_0_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_667-7_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_667-7_0_4_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_667-7_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_667-7_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_667-7_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_667-7_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_667-7_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_667-7_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_667-7_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_667-7_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_667-7_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_667-7_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_667-7_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_667-7_0_4_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_667-7_0_4_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_667-7_0_4_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_667-7_0_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_667-7_0_4_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_667-7_0_4_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_667-7_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_667-7_0_4_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_667-7_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_667-7_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_667-7_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_667-7_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_667-7_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_667-7_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_667-7_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_667-7_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_667-7_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_667-7_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_667-7_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_667-7_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_667-7_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_667-7_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_667-7_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_667-7_0_4_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_667-7_0_4_node_112 | 0.4 | n |  | TRUE
77 | bus_LV_667-7_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_667-7_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_667-7_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_667-7_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_667-7_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_667-7_0_4_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_667-7_0_4_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_667-7_0_4_node_114 | 0.4 | n |  | TRUE
85 | bus_LV_667-7_0_4_node_111 | 0.4 | n |  | TRUE
86 | bus_LV_667-7_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_667-7_0_4_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_667-7_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_667-7_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_667-7_0_4_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_667-7_0_4_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_667-7_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_667-7_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_667-7_0_4_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_667-7_0_4_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_667-7_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_667-7_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_667-7_0_4_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_667-7_0_4_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_667-7_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_667-7_0_4_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_667-7_0_4_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_667-7_0_4_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_667-7_0_4_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_667-7_0_4_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_667-7_0_4_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_667-7_0_4_node_100 | 0.4 | n |  | TRUE
108 | bus_LV_667-7_0_4_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_667-7_0_4_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_667-7_0_4_node_106 | 0.4 | n |  | TRUE
111 | bus_LV_667-7_0_4_node_107 | 0.4 | n |  | TRUE
112 | bus_LV_667-7_0_4_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_667-7_0_4_node_109 | 0.4 | n |  | TRUE
114 | bus_LV_667-7_0_4_node_110 | 0.4 | n |  | TRUE
115 | bus_LV_667-7_0_4_node_115 | 0.4 | n |  | TRUE
116 | bus_MV_380_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_667-7_0_4_load_0 | 0 | 0.00078132 | 0.00019582 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_667-7_0_4_load_1 | 1 | 0.0017126 | 0.00042922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_667-7_0_4_load_3 | 3 | 0.00055279 | 0.00013854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_667-7_0_4_load_5 | 4 | 0.0011381 | 0.00028525 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_667-7_0_4_load_6 | 5 | 0.0051736 | 0.0012966 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_667-7_0_4_load_4 | 6 | 0.003177 | 0.00079623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_667-7_0_4_load_7 | 7 | 0.0032638 | 0.00081799 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_667-7_0_4_load_12 | 9 | 0.0050737 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_667-7_0_4_load_33 | 10 | 0.0022409 | 0.00056163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_667-7_0_4_load_47 | 11 | 0.0045269 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_667-7_0_4_load_46 | 12 | 0.0036702 | 0.00091983 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_667-7_0_4_load_32 | 14 | 0.002281 | 0.00057168 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_667-7_0_4_load_44 | 15 | 0.0013158 | 0.00032978 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_667-7_0_4_load_9 | 16 | 0.0023673 | 0.00059331 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_667-7_0_4_load_13 | 18 | 0.001108 | 0.00027769 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_667-7_0_4_load_53 | 19 | 0.00050561 | 0.00012672 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_667-7_0_4_load_14 | 21 | 0.0011102 | 0.00027823 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_667-7_0_4_load_15 | 22 | 0.0011412 | 0.00028601 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_667-7_0_4_load_16 | 23 | 0.0014798 | 0.00037088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_667-7_0_4_load_17 | 24 | 0.0016785 | 0.00042066 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_667-7_0_4_load_18 | 25 | 0.001263 | 0.00031654 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_667-7_0_4_load_19 | 26 | 0.0016034 | 0.00040185 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_667-7_0_4_load_28 | 27 | 0.0015959 | 0.00039996 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_667-7_0_4_load_29 | 28 | 0.0040845 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_667-7_0_4_load_20 | 29 | 0.0053884 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_667-7_0_4_load_22 | 31 | 0.0045502 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_667-7_0_4_load_24 | 33 | 0.0021027 | 0.00052699 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_667-7_0_4_load_25 | 34 | 0.0028595 | 0.00071667 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_667-7_0_4_load_26 | 35 | 0.0034932 | 0.00087547 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_667-7_0_4_load_27 | 36 | 0.0027383 | 0.00068629 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_667-7_0_4_load_73 | 38 | 0.0047953 | 0.0012018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_667-7_0_4_load_31 | 39 | 0.0028654 | 0.00071813 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_667-7_0_4_load_83 | 40 | 0.0026827 | 0.00067234 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_667-7_0_4_load_34 | 41 | 0.0051906 | 0.0013009 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_667-7_0_4_load_37 | 44 | 0.010035 | 0.002515 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_667-7_0_4_load_39 | 46 | 0.0016412 | 0.00041131 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_667-7_0_4_load_40 | 47 | 0.0014198 | 0.00035585 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_667-7_0_4_load_41 | 48 | 0.0048806 | 0.0012232 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_667-7_0_4_load_43 | 50 | 0.0041907 | 0.0010503 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_667-7_0_4_load_45 | 51 | 0.0019365 | 0.00048533 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_667-7_0_4_load_80 | 52 | 0.0093374 | 0.0023402 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_667-7_0_4_load_68 | 54 | 0.0014986 | 0.00037559 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_667-7_0_4_load_72 | 55 | 0.0046768 | 0.0011721 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_667-7_0_4_load_95 | 56 | 0.0094591 | 0.0023707 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_667-7_0_4_load_77 | 57 | 0.011493 | 0.0028804 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_667-7_0_4_load_85 | 59 | 0.0021129 | 0.00052955 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_667-7_0_4_load_48 | 60 | 0.0011406 | 0.00028586 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_667-7_0_4_load_49 | 61 | 0.0028056 | 0.00070315 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_667-7_0_4_load_52 | 63 | 0.011835 | 0.0029661 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_667-7_0_4_load_54 | 64 | 0.0015547 | 0.00038964 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_667-7_0_4_load_56 | 66 | 0.0018241 | 0.00045716 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_667-7_0_4_load_57 | 67 | 0.0013411 | 0.00033611 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_667-7_0_4_load_59 | 69 | 0.0076019 | 0.0019052 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_667-7_0_4_load_60 | 70 | 0.0044806 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_667-7_0_4_load_61 | 71 | 0.0036596 | 0.00091719 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_667-7_0_4_load_113 | 75 | 0.010203 | 0.0025572 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_667-7_0_4_load_67 | 77 | 0.0018365 | 0.00046028 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_667-7_0_4_load_63 | 78 | 0.00081922 | 0.00020532 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_667-7_0_4_load_64 | 79 | 0.0050423 | 0.0012637 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_667-7_0_4_load_69 | 80 | 0.0017918 | 0.00044908 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_667-7_0_4_load_71 | 81 | 0.0036418 | 0.00091273 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_667-7_0_4_load_92 | 82 | 0.0015243 | 0.00038202 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_667-7_0_4_load_90 | 83 | 0.001587 | 0.00039774 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_667-7_0_4_load_114 | 84 | 0.010431 | 0.0026142 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_667-7_0_4_load_111 | 85 | 0.022799 | 0.0057141 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_667-7_0_4_load_84 | 86 | 0.0020228 | 0.00050697 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_667-7_0_4_load_81 | 88 | 0.0020129 | 0.00050448 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_667-7_0_4_load_82 | 89 | 0.0019441 | 0.00048724 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_667-7_0_4_load_74 | 90 | 0.0018281 | 0.00045816 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_667-7_0_4_load_75 | 91 | 0.0032986 | 0.00082671 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_667-7_0_4_load_79 | 92 | 0.0044789 | 0.0011225 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_667-7_0_4_load_96 | 93 | 0.0083234 | 0.002086 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_667-7_0_4_load_86 | 94 | 0.0047541 | 0.0011915 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_667-7_0_4_load_87 | 95 | 0.01832 | 0.0045915 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_667-7_0_4_load_88 | 96 | 0.0070452 | 0.0017657 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_667-7_0_4_load_89 | 97 | 0.0037689 | 0.00094457 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_667-7_0_4_load_102 | 98 | 0.007105 | 0.0017807 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_667-7_0_4_load_91 | 100 | 0.0015961 | 0.00040002 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_667-7_0_4_load_93 | 101 | 0.002297 | 0.00057568 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_667-7_0_4_load_94 | 102 | 0.0018521 | 0.00046417 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_667-7_0_4_load_101 | 103 | 0.0027834 | 0.00069759 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_667-7_0_4_load_98 | 105 | 0.021426 | 0.0053698 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_667-7_0_4_load_99 | 106 | 0.010494 | 0.0026301 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_667-7_0_4_load_100 | 107 | 0.012074 | 0.0030261 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_667-7_0_4_load_105 | 108 | 0.012458 | 0.0031222 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_667-7_0_4_load_106 | 110 | 0.003547 | 0.00088895 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_667-7_0_4_load_108 | 112 | 0.0017298 | 0.00043352 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_667-7_0_4_load_109 | 113 | 0.0014277 | 0.00035783 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_667-7_0_4_load_110 | 114 | 0.015161 | 0.0037998 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_667-7_0_4_load_115 | 115 | 0.014714 | 0.0036877 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_667-7_0_4_line_0 |  | 0 | 1 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_667-7_0_4_line_1 |  | 0 | 2 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_667-7_0_4_line_2 |  | 1 | 3 | 0.015026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_667-7_0_4_line_3 |  | 2 | 4 | 0.036677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_667-7_0_4_line_4 |  | 3 | 5 | 0.0011401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_667-7_0_4_line_5 |  | 4 | 8 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_667-7_0_4_line_6 |  | 5 | 9 | 0.00082903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_667-7_0_4_line_7 |  | 6 | 7 | 0.0036666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_667-7_0_4_line_8 |  | 7 | 10 | 0.018898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_667-7_0_4_line_9 |  | 8 | 11 | 0.036101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_667-7_0_4_line_10 |  | 8 | 12 | 0.0079708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_667-7_0_4_line_11 |  | 9 | 13 | 0.0075941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_667-7_0_4_line_12 |  | 10 | 14 | 0.0082951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_667-7_0_4_line_13 |  | 12 | 15 | 0.024264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_667-7_0_4_line_14 |  | 13 | 18 | 0.029857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_667-7_0_4_line_15 |  | 13 | 17 | 0.002527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_667-7_0_4_line_16 |  | 14 | 39 | 0.010108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_667-7_0_4_line_17 |  | 15 | 46 | 0.0061992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_667-7_0_4_line_18 |  | 16 | 17 | 0.026427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_667-7_0_4_line_19 |  | 18 | 19 | 0.0079402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_667-7_0_4_line_20 |  | 19 | 20 | 0.03577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_667-7_0_4_line_21 |  | 20 | 61 | 0.030697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_667-7_0_4_line_22 |  | 21 | 22 | 0.0099782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_667-7_0_4_line_23 |  | 21 | 23 | 0.0048132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_667-7_0_4_line_24 |  | 22 | 24 | 0.0051629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_667-7_0_4_line_25 |  | 23 | 25 | 0.0032104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_667-7_0_4_line_26 |  | 25 | 26 | 0.0058377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_667-7_0_4_line_27 |  | 26 | 27 | 0.00011343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_667-7_0_4_line_28 |  | 27 | 28 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_667-7_0_4_line_29 |  | 28 | 37 | 0.011882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_667-7_0_4_line_30 |  | 29 | 30 | 0.039877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_667-7_0_4_line_31 |  | 29 | 31 | 0.0028882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_667-7_0_4_line_32 |  | 30 | 32 | 0.012649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_667-7_0_4_line_33 |  | 30 | 33 | 0.017868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_667-7_0_4_line_34 |  | 32 | 34 | 0.0081045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_667-7_0_4_line_35 |  | 32 | 35 | 0.017589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_667-7_0_4_line_36 |  | 33 | 36 | 0.022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_667-7_0_4_line_37 |  | 34 | 37 | 0.016476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_667-7_0_4_line_38 |  | 35 | 38 | 0.010292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_667-7_0_4_line_39 |  | 37 | 39 | 0.018236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_667-7_0_4_line_40 |  | 38 | 40 | 0.04336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_667-7_0_4_line_41 |  | 40 | 89 | 0.00042001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_667-7_0_4_line_42 |  | 41 | 42 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_667-7_0_4_line_43 |  | 41 | 43 | 0.0013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_667-7_0_4_line_44 |  | 42 | 44 | 0.017197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_667-7_0_4_line_45 |  | 42 | 45 | 0.027534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_667-7_0_4_line_46 |  | 43 | 46 | 0.014186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_667-7_0_4_line_47 |  | 43 | 47 | 0.027194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_667-7_0_4_line_48 |  | 44 | 48 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_667-7_0_4_line_49 |  | 45 | 49 | 0.032607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_667-7_0_4_line_50 |  | 45 | 50 | 0.033996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_667-7_0_4_line_51 |  | 47 | 51 | 0.0051132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_667-7_0_4_line_52 |  | 49 | 52 | 0.0076017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_667-7_0_4_line_53 |  | 49 | 53 | 0.039348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_667-7_0_4_line_54 |  | 50 | 54 | 0.02593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_667-7_0_4_line_55 |  | 51 | 55 | 0.0089863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_667-7_0_4_line_56 |  | 52 | 56 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_667-7_0_4_line_57 |  | 53 | 57 | 0.032766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_667-7_0_4_line_58 |  | 54 | 58 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_667-7_0_4_line_59 |  | 55 | 59 | 0.032789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_667-7_0_4_line_60 |  | 56 | 93 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_667-7_0_4_line_61 |  | 57 | 92 | 0.0086239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_667-7_0_4_line_62 |  | 58 | 80 | 0.034336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_667-7_0_4_line_63 |  | 58 | 79 | 0.0243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_667-7_0_4_line_64 |  | 59 | 86 | 0.008166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_667-7_0_4_line_65 |  | 60 | 61 | 0.023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_667-7_0_4_line_66 |  | 60 | 62 | 0.0056728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_667-7_0_4_line_67 |  | 62 | 63 | 0.021155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_667-7_0_4_line_68 |  | 64 | 65 | 0.0032844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_667-7_0_4_line_69 |  | 65 | 66 | 0.022012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_667-7_0_4_line_70 |  | 66 | 67 | 0.019644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_667-7_0_4_line_71 |  | 67 | 68 | 0.0088315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_667-7_0_4_line_72 |  | 68 | 69 | 0.012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_667-7_0_4_line_73 |  | 69 | 70 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_667-7_0_4_line_74 |  | 70 | 71 | 0.0021516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_667-7_0_4_line_75 |  | 71 | 72 | 0.014319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_667-7_0_4_line_76 |  | 72 | 73 | 0.035734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_667-7_0_4_line_77 |  | 72 | 74 | 0.009933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_667-7_0_4_line_78 |  | 73 | 75 | 0.020621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_667-7_0_4_line_79 |  | 73 | 76 | 0.009459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_667-7_0_4_line_80 |  | 74 | 77 | 0.051573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_667-7_0_4_line_81 |  | 74 | 78 | 0.036829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_667-7_0_4_line_82 |  | 75 | 84 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_667-7_0_4_line_83 |  | 76 | 85 | 0.024606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_667-7_0_4_line_84 |  | 77 | 81 | 0.031468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_667-7_0_4_line_85 |  | 78 | 79 | 0.017832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_667-7_0_4_line_86 |  | 80 | 82 | 0.018526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_667-7_0_4_line_87 |  | 82 | 83 | 0.00021093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_667-7_0_4_line_88 |  | 83 | 100 | 0.0065706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_667-7_0_4_line_89 |  | 84 | 115 | 0.0019401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_667-7_0_4_line_90 |  | 85 | 114 | 0.060039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_667-7_0_4_line_91 |  | 86 | 87 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_667-7_0_4_line_92 |  | 87 | 88 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_667-7_0_4_line_93 |  | 87 | 91 | 0.0048685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_667-7_0_4_line_94 |  | 88 | 89 | 0.00040601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_667-7_0_4_line_95 |  | 90 | 91 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_667-7_0_4_line_96 |  | 93 | 104 | 0.032824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_667-7_0_4_line_97 |  | 94 | 95 | 0.036115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_667-7_0_4_line_98 |  | 95 | 96 | 0.0074723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_667-7_0_4_line_99 |  | 96 | 97 | 0.021488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_667-7_0_4_line_100 |  | 97 | 98 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_667-7_0_4_line_101 |  | 98 | 99 | 0.035495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_667-7_0_4_line_102 |  | 99 | 109 | 0.031283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_667-7_0_4_line_103 |  | 100 | 101 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_667-7_0_4_line_104 |  | 101 | 102 | 0.0076843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_667-7_0_4_line_105 |  | 102 | 103 | 0.0090733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_667-7_0_4_line_106 |  | 104 | 105 | 0.043309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_667-7_0_4_line_107 |  | 104 | 106 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_667-7_0_4_line_108 |  | 106 | 107 | 0.053348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_667-7_0_4_line_109 |  | 107 | 108 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_667-7_0_4_line_110 |  | 109 | 110 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_667-7_0_4_line_111 |  | 110 | 111 | 0.021708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_667-7_0_4_line_112 |  | 111 | 112 | 0.025197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_667-7_0_4_line_113 |  | 112 | 113 | 0.0073662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_667-7_0_4_line_114 |  | 113 | 114 | 0.0006378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_667-7_0_4_trafo_68 | 0.63 MVA 20/0.4 kV | 116 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2584719.0187 | 1194453.4843 | 2584734.2658 | 1194459.5885
1 | 2584702.6499 | 1194446.9311 | 2584719.0187 | 1194453.4843
2 | 2584734.2658 | 1194459.5885 | 2584744.7541 | 1194463.7875 | 2584748.1715 | 1194465.2771
3 | 2584702.6499 | 1194446.9311 | 2584668.607 | 1194433.2817
4 | 2584748.1715 | 1194465.2771 | 2584749.2166 | 1194465.7326 | 2584749.2166 | 1194465.7326
5 | 2584655.7324 | 1194428.1197 | 2584668.607 | 1194433.2817
6 | 2584749.2166 | 1194465.7326 | 2584749.8657 | 1194466.2483
7 | 2584662.3975 | 1194473.8986 | 2584665.5044 | 1194471.9515
8 | 2584662.3975 | 1194473.8986 | 2584646.3843 | 1194483.9337
9 | 2584655.7324 | 1194428.1197 | 2584627.1404 | 1194450.1609
10 | 2584655.7324 | 1194428.1197 | 2584650.0033 | 1194422.578
11 | 2584755.3879 | 1194471.4309 | 2584752.5226 | 1194468.3589 | 2584749.8657 | 1194466.2483
12 | 2584646.3843 | 1194483.9337 | 2584639.3554 | 1194488.3386
13 | 2584636.378 | 1194402.7171 | 2584645.313 | 1194418.0412 | 2584650.0033 | 1194422.578
14 | 2584755.3879 | 1194471.4309 | 2584760.6353 | 1194470.4281 | 2584765.9905 | 1194469.8585 | 2584775.1693 | 1194468.7233 | 2584784.7876 | 1194466.4612
15 | 2584755.3879 | 1194471.4309 | 2584753.0052 | 1194472.2931
16 | 2584630.7906 | 1194493.706 | 2584639.3554 | 1194488.3386
17 | 2584636.378 | 1194402.7171 | 2584633.2555 | 1194397.3618
18 | 2584753.0052 | 1194472.2931 | 2584749.3375 | 1194474.2702 | 2584747.177 | 1194475.632 | 2584745.3826 | 1194477.1374 | 2584735.0286 | 1194491.0768
19 | 2584784.7876 | 1194466.4612 | 2584792.5169 | 1194464.6433
20 | 2584827.4262 | 1194457.1392 | 2584822.3531 | 1194457.7747 | 2584816.7848 | 1194458.4559 | 2584802.4086 | 1194462.3169 | 2584792.5169 | 1194464.6433
21 | 2584827.4262 | 1194457.1392 | 2584822.0851 | 1194442.3338 | 2584817.2245 | 1194428.1875
22 | 2584634.694 | 1194525.3257 | 2584634.694 | 1194525.3257 | 2584636.5609 | 1194535.1277
23 | 2584634.694 | 1194525.3257 | 2584632.6461 | 1194523.0853 | 2584630.8752 | 1194522.9279
24 | 2584637.5269 | 1194540.1994 | 2584636.5609 | 1194535.1277
25 | 2584630.8752 | 1194522.9279 | 2584628.1495 | 1194522.6856 | 2584627.684 | 1194522.7745
26 | 2584621.9501 | 1194523.8701 | 2584627.684 | 1194522.7745
27 | 2584621.9501 | 1194523.8701 | 2584621.8386 | 1194523.8914
28 | 2584621.8386 | 1194523.8914 | 2584614.0525 | 1194525.379 | 2584611.1925 | 1194524.3637 | 2584610.3607 | 1194520.8973 | 2584610.5485 | 1194513.9709 | 2584611.001 | 1194512.513
29 | 2584614.5233 | 1194501.1649 | 2584611.001 | 1194512.513
30 | 2584578.8431 | 1194490.4627 | 2584573.9826 | 1194520.18 | 2584571.347 | 1194523.3886 | 2584565.9478 | 1194524.922
31 | 2584563.1695 | 1194525.711 | 2584565.9478 | 1194524.922
32 | 2584578.8431 | 1194490.4627 | 2584591.0058 | 1194494.0554
33 | 2584578.8431 | 1194490.4627 | 2584561.7081 | 1194485.3965
34 | 2584591.0058 | 1194494.0554 | 2584598.7345 | 1194496.4948
35 | 2584591.0058 | 1194494.0554 | 2584587.7108 | 1194476.7776
36 | 2584539.3054 | 1194485.1071 | 2584546.959 | 1194483.3083 | 2584550.2801 | 1194482.8995 | 2584553.9076 | 1194483.0902 | 2584561.7081 | 1194485.3965
37 | 2584614.5233 | 1194501.1649 | 2584612.7012 | 1194500.8139 | 2584610.1849 | 1194500.1089 | 2584598.7345 | 1194496.4948
38 | 2584585.3803 | 1194466.7665 | 2584586.5409 | 1194470.6434 | 2584587.7108 | 1194476.7776
39 | 2584614.5233 | 1194501.1649 | 2584617.4337 | 1194501.0574 | 2584619.8244 | 1194500.3286 | 2584621.9781 | 1194499.2891 | 2584624.1612 | 1194497.8605 | 2584630.7906 | 1194493.706
40 | 2584585.3803 | 1194466.7665 | 2584551.114 | 1194440.1969
41 | 2584550.9705 | 1194439.8021 | 2584551.114 | 1194440.1969
42 | 2584616.1637 | 1194369.4907 | 2584625.3612 | 1194383.9312
43 | 2584626.1099 | 1194385.1066 | 2584625.3612 | 1194383.9312
44 | 2584616.1637 | 1194369.4907 | 2584602.7809 | 1194380.2899
45 | 2584599.45 | 1194347.5779 | 2584616.1637 | 1194369.4907
46 | 2584626.1099 | 1194385.1066 | 2584633.2555 | 1194397.3618
47 | 2584626.1099 | 1194385.1066 | 2584606.5381 | 1194403.9874
48 | 2584589.7933 | 1194390.7703 | 2584602.7809 | 1194380.2899
49 | 2584599.45 | 1194347.5779 | 2584591.2347 | 1194344.2085 | 2584581.7182 | 1194341.5428 | 2584574.6159 | 1194341.3389 | 2584567.797 | 1194341.679
50 | 2584599.45 | 1194347.5779 | 2584625.2582 | 1194329.7794 | 2584627.4865 | 1194328.3539
51 | 2584606.5381 | 1194403.9874 | 2584602.8581 | 1194407.5374
52 | 2584567.797 | 1194341.679 | 2584563.1929 | 1194335.6302
53 | 2584567.797 | 1194341.679 | 2584528.9383 | 1194348.5391
54 | 2584627.4865 | 1194328.3539 | 2584649.3297 | 1194314.3804
55 | 2584596.3907 | 1194413.7765 | 2584602.8581 | 1194407.5374
56 | 2584563.1929 | 1194335.6302 | 2584552.594 | 1194321.7055
57 | 2584528.9383 | 1194348.5391 | 2584527.3532 | 1194351.4003 | 2584528.5901 | 1194355.2769 | 2584544.6806 | 1194374.9635
58 | 2584663.0514 | 1194305.6024 | 2584649.3297 | 1194314.3804
59 | 2584596.3907 | 1194413.7765 | 2584563.6741 | 1194415.9524
60 | 2584536.7701 | 1194300.9163 | 2584552.594 | 1194321.7055
61 | 2584539.4922 | 1194380.9178 | 2584545.2009 | 1194375.6001 | 2584544.6806 | 1194374.9635
62 | 2584663.0514 | 1194305.6024 | 2584647.7557 | 1194274.861
63 | 2584663.0514 | 1194305.6024 | 2584683.6402 | 1194292.6958
64 | 2584556.1937 | 1194419.2277 | 2584563.6741 | 1194415.9524
65 | 2584809.3712 | 1194406.3786 | 2584811.468 | 1194411.4334 | 2584817.2245 | 1194428.1875
66 | 2584807.1975 | 1194401.1388 | 2584809.3712 | 1194406.3786
67 | 2584807.1975 | 1194401.1388 | 2584799.1345 | 1194381.5808
68 | 2584781.566 | 1194345.1524 | 2584783.0984 | 1194348.0574
69 | 2584781.566 | 1194345.1524 | 2584778.3024 | 1194338.3126 | 2584772.0177 | 1194325.3192
70 | 2584763.464 | 1194307.6347 | 2584772.0177 | 1194325.3192
71 | 2584759.6186 | 1194299.6844 | 2584763.464 | 1194307.6347
72 | 2584759.6186 | 1194299.6844 | 2584754.2151 | 1194288.5158
73 | 2584754.2151 | 1194288.5158 | 2584750.5025 | 1194280.8422 | 2584746.2152 | 1194272.8917
74 | 2584746.2152 | 1194272.8917 | 2584745.194 | 1194270.9979
75 | 2584738.3978 | 1194258.3947 | 2584745.194 | 1194270.9979
76 | 2584738.3978 | 1194258.3947 | 2584722.7282 | 1194230.5423 | 2584720.6474 | 1194227.3682
77 | 2584729.9532 | 1194263.6636 | 2584738.3978 | 1194258.3947
78 | 2584720.6474 | 1194227.3682 | 2584739.6097 | 1194219.2656
79 | 2584720.6474 | 1194227.3682 | 2584714.9282 | 1194219.8233
80 | 2584729.9532 | 1194263.6636 | 2584707.3172 | 1194229.2479 | 2584701.0138 | 1194221.001
81 | 2584729.9532 | 1194263.6636 | 2584698.7487 | 1194283.2247
82 | 2584739.6097 | 1194219.2656 | 2584756.4883 | 1194212.0534
83 | 2584714.9282 | 1194219.8233 | 2584718.2257 | 1194216.0906 | 2584720.1471 | 1194213.5955 | 2584722.5363 | 1194209.2648 | 2584723.5771 | 1194205.0488 | 2584722.7291 | 1194201.2601 | 2584720.361 | 1194198.9761 | 2584720.3471 | 1194198.9711
84 | 2584701.0138 | 1194221.001 | 2584688.3633 | 1194204.4501 | 2584680.7818 | 1194196.9898
85 | 2584698.7487 | 1194283.2247 | 2584683.6402 | 1194292.6958
86 | 2584647.7557 | 1194274.861 | 2584639.5033 | 1194258.2751
87 | 2584639.4093 | 1194258.0862 | 2584639.5033 | 1194258.2751
88 | 2584639.4093 | 1194258.0862 | 2584636.4824 | 1194252.2036
89 | 2584758.2724 | 1194211.291 | 2584756.4883 | 1194212.0534
90 | 2584686.4128 | 1194153.8384 | 2584686.9634 | 1194154.9941 | 2584694.5043 | 1194168.6153 | 2584703.99 | 1194188.8572 | 2584705.9592 | 1194193.0877 | 2584709.3056 | 1194196.4809 | 2584712.7828 | 1194197.4392 | 2584716.7763 | 1194197.6846 | 2584720.3471 | 1194198.9711
91 | 2584545.2353 | 1194424.0257 | 2584556.1937 | 1194419.2277
92 | 2584545.2353 | 1194424.0257 | 2584550.8318 | 1194439.4205
93 | 2584545.2353 | 1194424.0257 | 2584540.7615 | 1194425.9459
94 | 2584550.8318 | 1194439.4205 | 2584550.9705 | 1194439.8021
95 | 2584540.7615 | 1194425.9459 | 2584530.7955 | 1194430.2234
96 | 2584516.8898 | 1194274.7979 | 2584536.7701 | 1194300.9163
97 | 2584621.6536 | 1194151.3348 | 2584610.5291 | 1194159.0935 | 2584590.0556 | 1194168.5515 | 2584590.0556 | 1194168.5515
98 | 2584590.0556 | 1194168.5515 | 2584585.108 | 1194162.9518
99 | 2584570.8802 | 1194146.8487 | 2584585.108 | 1194162.9518
100 | 2584570.8802 | 1194146.8487 | 2584570.8575 | 1194146.8231 | 2584585.3501 | 1194139.4197
101 | 2584615.2908 | 1194120.4718 | 2584606.4815 | 1194126.1754 | 2584599.6823 | 1194131.2846 | 2584592.5994 | 1194135.7164 | 2584585.3501 | 1194139.4197
102 | 2584641.4566 | 1194125.6625 | 2584633.8575 | 1194127.9278 | 2584626.2224 | 1194130.9491 | 2584622.4636 | 1194127.2346 | 2584615.2908 | 1194120.4718
103 | 2584628.449 | 1194236.058 | 2584636.4824 | 1194252.2036
104 | 2584628.449 | 1194236.058 | 2584625.026 | 1194229.1783
105 | 2584620.9841 | 1194221.055 | 2584625.026 | 1194229.1783
106 | 2584516.8898 | 1194274.7979 | 2584509.2844 | 1194262.8225 | 2584533.0374 | 1194245.8628
107 | 2584516.8898 | 1194274.7979 | 2584519.5678 | 1194273.1568 | 2584532.0427 | 1194265.5298
108 | 2584573.5148 | 1194268.0409 | 2584564.7632 | 1194273.7285 | 2584559.9441 | 1194272.4515 | 2584549.4668 | 1194257.8598 | 2584546.0812 | 1194256.9459 | 2584545.3889 | 1194257.3701 | 2584532.0427 | 1194265.5298
109 | 2584573.5148 | 1194268.0409 | 2584590.8972 | 1194256.7441
110 | 2584641.4566 | 1194125.6625 | 2584657.1026 | 1194124.4935
111 | 2584678.75 | 1194122.876 | 2584657.1026 | 1194124.4935
112 | 2584678.75 | 1194122.876 | 2584676.9442 | 1194128.8394 | 2584677.251 | 1194132.585 | 2584678.275 | 1194136.6846 | 2584680.8648 | 1194142.1919 | 2584682.9706 | 1194146.6124
113 | 2584682.9706 | 1194146.6124 | 2584686.1386 | 1194153.2626
114 | 2584686.1386 | 1194153.2626 | 2584686.4128 | 1194153.8384

## bus_geodata
| x | y | coords
0 | 2584719.0187 | 1194453.4843
1 | 2584734.2658 | 1194459.5885
2 | 2584702.6499 | 1194446.9311
3 | 2584748.1715 | 1194465.2771
4 | 2584668.607 | 1194433.2817
5 | 2584749.2166 | 1194465.7326
6 | 2584665.5044 | 1194471.9515
7 | 2584662.3975 | 1194473.8986
8 | 2584655.7324 | 1194428.1197
9 | 2584749.8657 | 1194466.2483
10 | 2584646.3843 | 1194483.9337
11 | 2584627.1404 | 1194450.1609
12 | 2584650.0033 | 1194422.578
13 | 2584755.3879 | 1194471.4309
14 | 2584639.3554 | 1194488.3386
15 | 2584636.378 | 1194402.7171
16 | 2584735.0286 | 1194491.0768
17 | 2584753.0052 | 1194472.2931
18 | 2584784.7876 | 1194466.4612
19 | 2584792.5169 | 1194464.6433
20 | 2584827.4262 | 1194457.1392
21 | 2584634.694 | 1194525.3257
22 | 2584636.5609 | 1194535.1277
23 | 2584630.8752 | 1194522.9279
24 | 2584637.5269 | 1194540.1994
25 | 2584627.684 | 1194522.7745
26 | 2584621.9501 | 1194523.8701
27 | 2584621.8386 | 1194523.8914
28 | 2584611.001 | 1194512.513
29 | 2584565.9478 | 1194524.922
30 | 2584578.8431 | 1194490.4627
31 | 2584563.1695 | 1194525.711
32 | 2584591.0058 | 1194494.0554
33 | 2584561.7081 | 1194485.3965
34 | 2584598.7345 | 1194496.4948
35 | 2584587.7108 | 1194476.7776
36 | 2584539.3054 | 1194485.1071
37 | 2584614.5233 | 1194501.1649
38 | 2584585.3803 | 1194466.7665
39 | 2584630.7906 | 1194493.706
40 | 2584551.114 | 1194440.1969
41 | 2584625.3612 | 1194383.9312
42 | 2584616.1637 | 1194369.4907
43 | 2584626.1099 | 1194385.1066
44 | 2584602.7809 | 1194380.2899
45 | 2584599.45 | 1194347.5779
46 | 2584633.2555 | 1194397.3618
47 | 2584606.5381 | 1194403.9874
48 | 2584589.7933 | 1194390.7703
49 | 2584567.797 | 1194341.679
50 | 2584627.4865 | 1194328.3539
51 | 2584602.8581 | 1194407.5374
52 | 2584563.1929 | 1194335.6302
53 | 2584528.9383 | 1194348.5391
54 | 2584649.3297 | 1194314.3804
55 | 2584596.3907 | 1194413.7765
56 | 2584552.594 | 1194321.7055
57 | 2584544.6806 | 1194374.9635
58 | 2584663.0514 | 1194305.6024
59 | 2584563.6741 | 1194415.9524
60 | 2584809.3712 | 1194406.3786
61 | 2584817.2245 | 1194428.1875
62 | 2584807.1975 | 1194401.1388
63 | 2584799.1345 | 1194381.5808
64 | 2584783.0984 | 1194348.0574
65 | 2584781.566 | 1194345.1524
66 | 2584772.0177 | 1194325.3192
67 | 2584763.464 | 1194307.6347
68 | 2584759.6186 | 1194299.6844
69 | 2584754.2151 | 1194288.5158
70 | 2584746.2153 | 1194272.8917
71 | 2584745.194 | 1194270.9979
72 | 2584738.3978 | 1194258.3947
73 | 2584720.6474 | 1194227.3682
74 | 2584729.9532 | 1194263.6636
75 | 2584739.6097 | 1194219.2656
76 | 2584714.9282 | 1194219.8233
77 | 2584701.0138 | 1194221.001
78 | 2584698.7487 | 1194283.2247
79 | 2584683.6402 | 1194292.6958
80 | 2584647.7557 | 1194274.861
81 | 2584680.7818 | 1194196.9898
82 | 2584639.5033 | 1194258.2751
83 | 2584639.4093 | 1194258.0862
84 | 2584756.4883 | 1194212.0534
85 | 2584720.3471 | 1194198.9711
86 | 2584556.1937 | 1194419.2277
87 | 2584545.2353 | 1194424.0257
88 | 2584550.8318 | 1194439.4205
89 | 2584550.9705 | 1194439.8021
90 | 2584530.7955 | 1194430.2234
91 | 2584540.7615 | 1194425.9459
92 | 2584539.4922 | 1194380.9178
93 | 2584536.7701 | 1194300.9163
94 | 2584621.6536 | 1194151.3348
95 | 2584590.0556 | 1194168.5515
96 | 2584585.108 | 1194162.9518
97 | 2584570.8802 | 1194146.8487
98 | 2584585.3501 | 1194139.4197
99 | 2584615.2908 | 1194120.4718
100 | 2584636.4824 | 1194252.2036
101 | 2584628.449 | 1194236.058
102 | 2584625.026 | 1194229.1783
103 | 2584620.9841 | 1194221.055
104 | 2584516.8898 | 1194274.7979
105 | 2584533.0374 | 1194245.8628
106 | 2584532.0427 | 1194265.5298
107 | 2584573.5148 | 1194268.0409
108 | 2584590.8972 | 1194256.7441
109 | 2584641.4566 | 1194125.6625
110 | 2584657.1026 | 1194124.4935
111 | 2584678.75 | 1194122.876
112 | 2584682.9706 | 1194146.6124
113 | 2584686.1386 | 1194153.2626
114 | 2584686.4128 | 1194153.8384
115 | 2584758.2724 | 1194211.291
116 | 2584663.0514 | 1194305.6024

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1