## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_668-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_668-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_668-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_668-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_668-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_668-1_0_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_668-1_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_668-1_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_668-1_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_668-1_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_668-1_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_668-1_0_2_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_668-1_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_668-1_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_668-1_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_668-1_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_668-1_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_668-1_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_668-1_0_2_node_274 | 0.4 | n |  | TRUE
19 | bus_LV_668-1_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_668-1_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_668-1_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_668-1_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_668-1_0_2_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_668-1_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_668-1_0_2_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_668-1_0_2_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_668-1_0_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_668-1_0_2_node_302 | 0.4 | n |  | TRUE
29 | bus_LV_668-1_0_2_node_301 | 0.4 | n |  | TRUE
30 | bus_LV_668-1_0_2_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_668-1_0_2_node_278 | 0.4 | n |  | TRUE
32 | bus_LV_668-1_0_2_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_668-1_0_2_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_668-1_0_2_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_668-1_0_2_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_668-1_0_2_node_241 | 0.4 | n |  | TRUE
37 | bus_LV_668-1_0_2_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_668-1_0_2_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_668-1_0_2_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_668-1_0_2_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_668-1_0_2_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_668-1_0_2_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_668-1_0_2_node_303 | 0.4 | n |  | TRUE
44 | bus_LV_668-1_0_2_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_668-1_0_2_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_668-1_0_2_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_668-1_0_2_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_668-1_0_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_668-1_0_2_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_668-1_0_2_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_668-1_0_2_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_668-1_0_2_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_668-1_0_2_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_668-1_0_2_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_668-1_0_2_node_284 | 0.4 | n |  | TRUE
56 | bus_LV_668-1_0_2_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_668-1_0_2_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_668-1_0_2_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_668-1_0_2_node_115 | 0.4 | n |  | TRUE
60 | bus_LV_668-1_0_2_node_281 | 0.4 | n |  | TRUE
61 | bus_LV_668-1_0_2_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_668-1_0_2_node_108 | 0.4 | n |  | TRUE
63 | bus_LV_668-1_0_2_node_109 | 0.4 | n |  | TRUE
64 | bus_LV_668-1_0_2_node_113 | 0.4 | n |  | TRUE
65 | bus_LV_668-1_0_2_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_668-1_0_2_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_668-1_0_2_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_668-1_0_2_node_119 | 0.4 | n |  | TRUE
69 | bus_LV_668-1_0_2_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_668-1_0_2_node_120 | 0.4 | n |  | TRUE
71 | bus_LV_668-1_0_2_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_668-1_0_2_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_668-1_0_2_node_229 | 0.4 | n |  | TRUE
74 | bus_LV_668-1_0_2_node_230 | 0.4 | n |  | TRUE
75 | bus_LV_668-1_0_2_node_232 | 0.4 | n |  | TRUE
76 | bus_LV_668-1_0_2_node_233 | 0.4 | n |  | TRUE
77 | bus_LV_668-1_0_2_node_234 | 0.4 | n |  | TRUE
78 | bus_LV_668-1_0_2_node_235 | 0.4 | n |  | TRUE
79 | bus_LV_668-1_0_2_node_243 | 0.4 | n |  | TRUE
80 | bus_LV_668-1_0_2_node_236 | 0.4 | n |  | TRUE
81 | bus_LV_668-1_0_2_node_237 | 0.4 | n |  | TRUE
82 | bus_LV_668-1_0_2_node_238 | 0.4 | n |  | TRUE
83 | bus_LV_668-1_0_2_node_239 | 0.4 | n |  | TRUE
84 | bus_LV_668-1_0_2_node_240 | 0.4 | n |  | TRUE
85 | bus_LV_668-1_0_2_node_244 | 0.4 | n |  | TRUE
86 | bus_LV_668-1_0_2_node_242 | 0.4 | n |  | TRUE
87 | bus_LV_668-1_0_2_node_273 | 0.4 | n |  | TRUE
88 | bus_LV_668-1_0_2_node_276 | 0.4 | n |  | TRUE
89 | bus_LV_668-1_0_2_node_277 | 0.4 | n |  | TRUE
90 | bus_LV_668-1_0_2_node_279 | 0.4 | n |  | TRUE
91 | bus_LV_668-1_0_2_node_280 | 0.4 | n |  | TRUE
92 | bus_LV_668-1_0_2_node_282 | 0.4 | n |  | TRUE
93 | bus_LV_668-1_0_2_node_283 | 0.4 | n |  | TRUE
94 | bus_LV_668-1_0_2_node_289 | 0.4 | n |  | TRUE
95 | bus_LV_668-1_0_2_node_286 | 0.4 | n |  | TRUE
96 | bus_LV_668-1_0_2_node_287 | 0.4 | n |  | TRUE
97 | bus_LV_668-1_0_2_node_288 | 0.4 | n |  | TRUE
98 | bus_MV_120_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_668-1_0_2_load_0 | 0 | 0.0017079 | 0.00042803 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_668-1_0_2_load_1 | 1 | 0.0012236 | 0.00030667 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_668-1_0_2_load_2 | 2 | 0.0024254 | 0.00060786 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_668-1_0_2_load_3 | 3 | 0.0015849 | 0.00039722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_668-1_0_2_load_4 | 4 | 0.0016547 | 0.00041469 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_668-1_0_2_load_18 | 5 | 0.0055794 | 0.0013983 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_668-1_0_2_load_5 | 6 | 0.003233 | 0.00081027 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_668-1_0_2_load_6 | 7 | 0.0012928 | 0.000324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_668-1_0_2_load_7 | 8 | 0.013419 | 0.0033631 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_668-1_0_2_load_8 | 9 | 0.0035988 | 0.00090195 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_668-1_0_2_load_9 | 10 | 0.00052889 | 0.00013255 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_668-1_0_2_load_51 | 11 | 0.003882 | 0.00097293 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_668-1_0_2_load_10 | 12 | 0.00090075 | 0.00022575 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_668-1_0_2_load_11 | 13 | 0.0027263 | 0.00068326 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_668-1_0_2_load_13 | 15 | 0.0035633 | 0.00089305 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_668-1_0_2_load_14 | 16 | 0.001951 | 0.00048898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_668-1_0_2_load_15 | 17 | 0.0053 | 0.0013283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_668-1_0_2_load_274 | 18 | 0.00081139 | 0.00020335 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_668-1_0_2_load_16 | 19 | 0.0035873 | 0.00089906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_668-1_0_2_load_17 | 20 | 0.0016508 | 0.00041373 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_668-1_0_2_load_19 | 21 | 0.0015634 | 0.00039183 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_668-1_0_2_load_48 | 26 | 0.00067563 | 0.00016933 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_668-1_0_2_load_301 | 29 | 0.0058036 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_668-1_0_2_load_42 | 32 | 0.0013374 | 0.00033518 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_668-1_0_2_load_45 | 33 | 0.0025473 | 0.0006384 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_668-1_0_2_load_49 | 34 | 0.0017617 | 0.00044152 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_668-1_0_2_load_50 | 35 | 0.0027535 | 0.00069009 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_668-1_0_2_load_241 | 36 | 0.00048678 | 0.000122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_668-1_0_2_load_52 | 37 | 0.0028409 | 0.00071199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_668-1_0_2_load_53 | 38 | 0.00052079 | 0.00013052 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_668-1_0_2_load_54 | 39 | 0.0017233 | 0.00043189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_668-1_0_2_load_57 | 42 | 0.0010682 | 0.00026771 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_668-1_0_2_load_303 | 43 | 0.0052036 | 0.0013042 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_668-1_0_2_load_58 | 44 | 0.0029851 | 0.00074814 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_668-1_0_2_load_59 | 45 | 0.00086954 | 0.00021793 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_668-1_0_2_load_60 | 46 | 0.00088602 | 0.00022206 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_668-1_0_2_load_61 | 47 | 0.0014543 | 0.00036448 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_668-1_0_2_load_62 | 48 | 0.0015629 | 0.00039169 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_668-1_0_2_load_64 | 49 | 0.0011627 | 0.0002914 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_668-1_0_2_load_63 | 50 | 0.00093353 | 0.00023396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_668-1_0_2_load_68 | 54 | 0.00083277 | 0.00020871 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_668-1_0_2_load_284 | 55 | 0.00063307 | 0.00015866 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_668-1_0_2_load_70 | 57 | 0.0012725 | 0.00031892 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_668-1_0_2_load_71 | 58 | 0.00079012 | 0.00019802 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_668-1_0_2_load_115 | 59 | 0.00030602 | 7.6696e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_668-1_0_2_load_281 | 60 | 0.00069355 | 0.00017382 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_668-1_0_2_load_107 | 61 | 0.0015419 | 0.00038643 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_668-1_0_2_load_113 | 64 | 0.0017684 | 0.00044321 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_668-1_0_2_load_110 | 65 | 0.0010161 | 0.00025466 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_668-1_0_2_load_111 | 66 | 0.00037714 | 9.452e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_668-1_0_2_load_112 | 67 | 0.00052956 | 0.00013272 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_668-1_0_2_load_119 | 68 | 0.00091731 | 0.0002299 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_668-1_0_2_load_116 | 69 | 0.00019402 | 4.8626e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_668-1_0_2_load_120 | 70 | 0.00093828 | 0.00023515 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_668-1_0_2_load_117 | 71 | 0.0010687 | 0.00026783 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_668-1_0_2_load_118 | 72 | 0.00097702 | 0.00024487 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_668-1_0_2_load_229 | 73 | 0.0028185 | 0.00070638 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_668-1_0_2_load_232 | 75 | 0.00015873 | 3.9781e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_668-1_0_2_load_233 | 76 | 0.0010622 | 0.00026622 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_668-1_0_2_load_234 | 77 | 6.6964e-05 | 1.6783e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_668-1_0_2_load_235 | 78 | 0.000236 | 5.9147e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_668-1_0_2_load_243 | 79 | 0.00025228 | 6.3228e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_668-1_0_2_load_236 | 80 | 0.0038881 | 0.00097446 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_668-1_0_2_load_237 | 81 | 0.0017295 | 0.00043345 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_668-1_0_2_load_238 | 82 | 0.0011262 | 0.00028226 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_668-1_0_2_load_239 | 83 | 0.0003872 | 9.7041e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_668-1_0_2_load_240 | 84 | 0.0020811 | 0.00052158 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_668-1_0_2_load_244 | 85 | 0.00020087 | 5.0343e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_668-1_0_2_load_242 | 86 | 0.00099696 | 0.00024986 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_668-1_0_2_load_273 | 87 | 0.0037249 | 0.00093355 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_668-1_0_2_load_276 | 88 | 0.0028179 | 0.00070624 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_668-1_0_2_load_277 | 89 | 0.00351 | 0.0008797 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_668-1_0_2_load_279 | 90 | 0.0022043 | 0.00055244 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_668-1_0_2_load_280 | 91 | 0.00068421 | 0.00017148 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_668-1_0_2_load_282 | 92 | 0.00071139 | 0.00017829 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_668-1_0_2_load_283 | 93 | 0.00079064 | 0.00019815 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_668-1_0_2_load_289 | 94 | 0.00032836 | 8.2295e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_668-1_0_2_load_286 | 95 | 0.00086897 | 0.00021778 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_668-1_0_2_load_287 | 96 | 0.0009725 | 0.00024373 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_668-1_0_2_load_288 | 97 | 0.00072538 | 0.0001818 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_668-1_0_2_line_0 |  | 0 | 1 | 0.030563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_668-1_0_2_line_1 |  | 0 | 2 | 0.026243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_668-1_0_2_line_2 |  | 1 | 3 | 0.011855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_668-1_0_2_line_3 |  | 2 | 4 | 0.011762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_668-1_0_2_line_4 |  | 3 | 5 | 0.030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_668-1_0_2_line_5 |  | 4 | 6 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_668-1_0_2_line_6 |  | 5 | 20 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_668-1_0_2_line_7 |  | 6 | 7 | 0.017928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_668-1_0_2_line_8 |  | 7 | 8 | 0.0005275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_668-1_0_2_line_9 |  | 8 | 9 | 0.05016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_668-1_0_2_line_10 |  | 9 | 10 | 0.010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_668-1_0_2_line_11 |  | 10 | 11 | 0.032775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_668-1_0_2_line_12 |  | 11 | 37 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_668-1_0_2_line_13 |  | 12 | 13 | 0.022951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_668-1_0_2_line_14 |  | 12 | 14 | 0.037755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_668-1_0_2_line_15 |  | 13 | 15 | 0.024891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_668-1_0_2_line_16 |  | 14 | 16 | 0.12132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_668-1_0_2_line_17 |  | 15 | 17 | 0.00064795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_668-1_0_2_line_18 |  | 16 | 18 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_668-1_0_2_line_19 |  | 17 | 19 | 0.012339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_668-1_0_2_line_20 |  | 18 | 87 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_668-1_0_2_line_21 |  | 19 | 20 | 0.0084006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_668-1_0_2_line_22 |  | 21 | 22 | 0.071073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_668-1_0_2_line_23 |  | 21 | 23 | 0.2638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_668-1_0_2_line_24 |  | 22 | 24 | 0.14813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_668-1_0_2_line_25 |  | 23 | 27 | 0.016208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_668-1_0_2_line_26 |  | 24 | 25 | 0.10096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_668-1_0_2_line_27 |  | 24 | 26 | 0.033067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_668-1_0_2_line_28 |  | 25 | 33 | 0.036799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_668-1_0_2_line_29 |  | 25 | 32 | 0.068497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_668-1_0_2_line_30 |  | 26 | 34 | 0.26585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_668-1_0_2_line_31 |  | 27 | 28 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_668-1_0_2_line_32 |  | 27 | 29 | 0.016926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_668-1_0_2_line_33 |  | 28 | 43 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_668-1_0_2_line_34 |  | 29 | 30 | 0.026739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_668-1_0_2_line_35 |  | 30 | 31 | 0.072702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_668-1_0_2_line_36 |  | 31 | 88 | 0.031951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_668-1_0_2_line_37 |  | 34 | 35 | 0.0094926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_668-1_0_2_line_38 |  | 35 | 36 | 0.015538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_668-1_0_2_line_39 |  | 36 | 84 | 0.0026482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_668-1_0_2_line_40 |  | 37 | 38 | 0.022747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_668-1_0_2_line_41 |  | 38 | 39 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_668-1_0_2_line_42 |  | 39 | 40 | 0.0043676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_668-1_0_2_line_43 |  | 40 | 41 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_668-1_0_2_line_44 |  | 40 | 42 | 0.0062006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_668-1_0_2_line_45 |  | 41 | 43 | 0.0020717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_668-1_0_2_line_46 |  | 42 | 44 | 0.022943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_668-1_0_2_line_47 |  | 44 | 45 | 0.013212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_668-1_0_2_line_48 |  | 45 | 46 | 0.0077647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_668-1_0_2_line_49 |  | 46 | 47 | 0.024156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_668-1_0_2_line_50 |  | 47 | 48 | 0.0095568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_668-1_0_2_line_51 |  | 48 | 49 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_668-1_0_2_line_52 |  | 49 | 50 | 0.0045529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_668-1_0_2_line_53 |  | 50 | 51 | 0.022847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_668-1_0_2_line_54 |  | 51 | 52 | 0.024585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_668-1_0_2_line_55 |  | 51 | 53 | 0.026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_668-1_0_2_line_56 |  | 52 | 54 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_668-1_0_2_line_57 |  | 53 | 55 | 0.091497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_668-1_0_2_line_58 |  | 54 | 56 | 0.024409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_668-1_0_2_line_59 |  | 56 | 57 | 0.15231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_668-1_0_2_line_60 |  | 56 | 58 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_668-1_0_2_line_61 |  | 57 | 59 | 0.005946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_668-1_0_2_line_62 |  | 58 | 60 | 0.0045262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_668-1_0_2_line_63 |  | 59 | 69 | 0.025672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_668-1_0_2_line_64 |  | 60 | 91 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_668-1_0_2_line_65 |  | 61 | 62 | 0.16201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_668-1_0_2_line_66 |  | 62 | 63 | 0.10448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_668-1_0_2_line_67 |  | 63 | 64 | 0.051087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_668-1_0_2_line_68 |  | 63 | 65 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_668-1_0_2_line_69 |  | 65 | 66 | 0.0042411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_668-1_0_2_line_70 |  | 66 | 67 | 0.0076075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_668-1_0_2_line_71 |  | 67 | 68 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_668-1_0_2_line_72 |  | 68 | 71 | 0.0013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_668-1_0_2_line_73 |  | 69 | 70 | 0.045598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_668-1_0_2_line_74 |  | 70 | 72 | 0.02362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_668-1_0_2_line_75 |  | 71 | 72 | 0.016451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_668-1_0_2_line_76 |  | 73 | 74 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_668-1_0_2_line_77 |  | 74 | 75 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_668-1_0_2_line_78 |  | 74 | 76 | 0.02279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_668-1_0_2_line_79 |  | 76 | 77 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_668-1_0_2_line_80 |  | 77 | 78 | 0.070625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_668-1_0_2_line_81 |  | 78 | 79 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_668-1_0_2_line_82 |  | 79 | 86 | 0.032379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_668-1_0_2_line_83 |  | 80 | 81 | 0.0082112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_668-1_0_2_line_84 |  | 80 | 82 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_668-1_0_2_line_85 |  | 81 | 83 | 0.015481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_668-1_0_2_line_86 |  | 82 | 84 | 0.0047799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_668-1_0_2_line_87 |  | 83 | 85 | 0.42817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_668-1_0_2_line_88 |  | 85 | 86 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_668-1_0_2_line_89 |  | 88 | 89 | 0.0011183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_668-1_0_2_line_90 |  | 89 | 90 | 0.0016292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_668-1_0_2_line_91 |  | 91 | 92 | 0.0037579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_668-1_0_2_line_92 |  | 92 | 93 | 0.033394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_668-1_0_2_line_93 |  | 93 | 94 | 0.0091253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_668-1_0_2_line_94 |  | 94 | 96 | 0.0063286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_668-1_0_2_line_95 |  | 95 | 96 | 0.021811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_668-1_0_2_line_96 |  | 95 | 97 | 0.015446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_668-1_0_2_trafo_36 | 0.63 MVA 20/0.4 kV | 98 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2589018.3746 | 1198050.9367 | 2588990.976 | 1198037.3941
1 | 2589018.3746 | 1198050.9367 | 2589041.9004 | 1198062.5651
2 | 2588990.976 | 1198037.3941 | 2588980.3487 | 1198032.1412
3 | 2589052.4447 | 1198067.777 | 2589041.9004 | 1198062.5651
4 | 2588953.1954 | 1198018.7199 | 2588980.3487 | 1198032.1412
5 | 2589072.1713 | 1198077.382 | 2589054.2417 | 1198068.6652 | 2589052.4447 | 1198067.777
6 | 2588931.2892 | 1198008.0239 | 2588947.0901 | 1198015.7021 | 2588953.1954 | 1198018.7199
7 | 2589072.1713 | 1198077.382 | 2589088.2946 | 1198085.2206
8 | 2589088.769 | 1198085.4513 | 2589088.2946 | 1198085.2206
9 | 2589088.769 | 1198085.4513 | 2589133.8799 | 1198107.3827
10 | 2589143.0511 | 1198111.8414 | 2589133.8799 | 1198107.3827
11 | 2589143.0511 | 1198111.8414 | 2589152.3808 | 1198116.3772 | 2589157.6381 | 1198117.9907 | 2589166.2358 | 1198118.1528 | 2589174.3263 | 1198120.0168
12 | 2589174.3263 | 1198120.0168 | 2589174.3263 | 1198120.0168 | 2589183.7526 | 1198124.1433
13 | 2588866.8117 | 1197982.9641 | 2588888.3811 | 1197990.8079
14 | 2588831.3299 | 1197970.0611 | 2588866.8117 | 1197982.9641
15 | 2588888.3811 | 1197990.8079 | 2588889.146 | 1197991.086 | 2588911.7279 | 1197999.4381
16 | 2588831.3299 | 1197970.0611 | 2588811.4253 | 1197962.7724 | 2588781.891 | 1197953.4565 | 2588745.308 | 1197941.7195 | 2588730.3901 | 1197937.8791 | 2588715.2975 | 1197935.1792
17 | 2588912.3356 | 1197999.6629 | 2588911.7279 | 1197999.4381
18 | 2588715.2975 | 1197935.1792 | 2588713.3566 | 1197934.832 | 2588705.2096 | 1197933.6965
19 | 2588923.7334 | 1198004.3523 | 2588919.6506 | 1198002.3684 | 2588912.3356 | 1197999.6629
20 | 2588692.9738 | 1197931.991 | 2588705.2096 | 1197933.6965
21 | 2588931.2892 | 1198008.0239 | 2588923.7334 | 1198004.3523
22 | 2589120.4383 | 1198445.712 | 2589092.5006 | 1198420.9834 | 2589067.1741 | 1198398.6563
23 | 2589193.1599 | 1198166.8854 | 2589067.1741 | 1198398.6563
24 | 2589120.4383 | 1198445.712 | 2589144.077 | 1198476.4408 | 2589148.8857 | 1198495.1976 | 2589147.6544 | 1198508.9516 | 2589139.9292 | 1198539.9824 | 2589126.6965 | 1198582.207
25 | 2589193.1599 | 1198166.8854 | 2589193.615 | 1198165.9062 | 2589194.2978 | 1198164.4931 | 2589206.5837 | 1198170.3072
26 | 2589025.4658 | 1198579.781 | 2589126.6965 | 1198582.207
27 | 2589126.6965 | 1198582.207 | 2589159.7541 | 1198583.0017
28 | 2589025.4658 | 1198579.781 | 2589025.5361 | 1198605.4613 | 2589024.8205 | 1198616.5567
29 | 2589025.4658 | 1198579.781 | 2588999.0197 | 1198579.1518 | 2588956.976 | 1198579.0225
30 | 2589159.7541 | 1198583.0017 | 2589425.2718 | 1198596.3711
31 | 2589206.5837 | 1198170.3072 | 2589213.5097 | 1198155.7535
32 | 2589206.5837 | 1198170.3072 | 2589221.8828 | 1198177.5482
33 | 2589213.5097 | 1198155.7535 | 2589205.2022 | 1198151.8221 | 2589206.2718 | 1198149.5745 | 2589210.4127 | 1198151.5343
34 | 2589242.4711 | 1198190.2638 | 2589242.9718 | 1198189.1957 | 2589243.6242 | 1198187.8382 | 2589221.8828 | 1198177.5482
35 | 2589242.4711 | 1198190.2638 | 2589296.4843 | 1198215.8576 | 2589297.9936 | 1198216.6776 | 2589301.6928 | 1198219.9838 | 2589304.524 | 1198223.3694 | 2589305.3265 | 1198225.0244
36 | 2589305.3265 | 1198225.0244 | 2589309.6394 | 1198222.3596 | 2589315.5928 | 1198221.5485 | 2589334.5095 | 1198230.3704
37 | 2589425.2718 | 1198596.3711 | 2589432.9622 | 1198601.9358
38 | 2589445.5507 | 1198611.0448 | 2589432.9622 | 1198601.9358
39 | 2589445.5507 | 1198611.0448 | 2589447.6962 | 1198612.5972
40 | 2589204.5707 | 1198133.3092 | 2589203.0807 | 1198132.6045 | 2589183.7526 | 1198124.1433
41 | 2589204.5707 | 1198133.3092 | 2589209.5438 | 1198135.6611 | 2589214.4064 | 1198137.9646
42 | 2589217.952 | 1198140.515 | 2589214.4064 | 1198137.9646
43 | 2589217.952 | 1198140.515 | 2589212.2852 | 1198152.4206
44 | 2589217.952 | 1198140.515 | 2589222.42 | 1198143.6308 | 2589222.955 | 1198144.1614
45 | 2589212.2852 | 1198152.4206 | 2589210.4127 | 1198151.5343
46 | 2589222.955 | 1198144.1614 | 2589225.2732 | 1198146.4605 | 2589227.6999 | 1198149.3243 | 2589232.2652 | 1198155.6638 | 2589236.1403 | 1198159.3477 | 2589238.6201 | 1198160.5718
47 | 2589238.6201 | 1198160.5718 | 2589250.4672 | 1198166.4201
48 | 2589250.4672 | 1198166.4201 | 2589257.4298 | 1198169.8572
49 | 2589257.4298 | 1198169.8572 | 2589276.551 | 1198179.2963 | 2589279.0821 | 1198180.5676
50 | 2589279.0821 | 1198180.5676 | 2589287.6222 | 1198184.857
51 | 2589296.7768 | 1198189.455 | 2589287.6222 | 1198184.857
52 | 2589300.8454 | 1198191.4985 | 2589296.7768 | 1198189.455
53 | 2589321.4655 | 1198201.3271 | 2589310.3386 | 1198196.2666 | 2589300.8454 | 1198191.4985
54 | 2589321.4655 | 1198201.3271 | 2589325.9444 | 1198202.0416 | 2589331.2895 | 1198201.743 | 2589334.1061 | 1198201.2599 | 2589339.7297 | 1198199.1264 | 2589344.6739 | 1198196.0492
55 | 2589321.4655 | 1198201.3271 | 2589325.9444 | 1198202.0416 | 2589331.2895 | 1198201.743 | 2589343.7059 | 1198212.4708
56 | 2589344.6739 | 1198196.0492 | 2589346.7628 | 1198193.1439 | 2589350.6946 | 1198187.2826
57 | 2589343.7059 | 1198212.4708 | 2589426.2115 | 1198252.0257
58 | 2589362.9952 | 1198166.2226 | 2589354.7219 | 1198181.2788 | 2589350.6946 | 1198187.2826
59 | 2589362.9952 | 1198166.2226 | 2589375.6474 | 1198147.0674 | 2589419.4248 | 1198090.9369 | 2589437.0508 | 1198067.9377 | 2589453.2429 | 1198043.6403
60 | 2589362.9952 | 1198166.2226 | 2589374.5521 | 1198171.6996
61 | 2589453.2429 | 1198043.6403 | 2589455.2546 | 1198038.045
62 | 2589378.6422 | 1198173.6381 | 2589374.5521 | 1198171.6996
63 | 2589463.9401 | 1198013.8869 | 2589455.2546 | 1198038.045
64 | 2589394.5492 | 1198181.1767 | 2589378.6422 | 1198173.6381
65 | 2589633.0946 | 1197920.4796 | 2589623.6918 | 1198082.2202
66 | 2589633.0946 | 1197920.4796 | 2589611.6916 | 1197913.7913 | 2589587.8875 | 1197905.8399 | 2589577.3818 | 1197903.4459 | 2589566.4361 | 1197902.0311 | 2589550.7638 | 1197902.0253 | 2589531.0268 | 1197903.0273
67 | 2589531.0268 | 1197903.0273 | 2589521.2464 | 1197897.4082 | 2589490.7333 | 1197871.8432
68 | 2589531.0268 | 1197903.0273 | 2589520.7848 | 1197920.5881 | 2589520.3066 | 1197921.3721
69 | 2589518.0982 | 1197924.9929 | 2589520.3066 | 1197921.3721
70 | 2589518.0982 | 1197924.9929 | 2589514.1369 | 1197931.4876
71 | 2589501.7874 | 1197938.1515 | 2589504.525 | 1197937.1702 | 2589509.3969 | 1197936.0943 | 2589514.0647 | 1197931.6059 | 2589514.1369 | 1197931.4876
72 | 2589501.7874 | 1197938.1515 | 2589500.4785 | 1197938.6207
73 | 2589463.9401 | 1198013.8869 | 2589469.5046 | 1197998.4094 | 2589480.1747 | 1197971.282
74 | 2589480.1747 | 1197971.282 | 2589480.9822 | 1197969.229 | 2589487.477 | 1197951.4524 | 2589488.7896 | 1197949.3389
75 | 2589500.4785 | 1197938.6207 | 2589496.3591 | 1197940.0973 | 2589492.3293 | 1197943.6397 | 2589488.7896 | 1197949.3389
76 | 2589648.9702 | 1199144.6744 | 2589657.7412 | 1199144.6591 | 2589659.3576 | 1199144.6881
77 | 2589648.9702 | 1199144.6744 | 2589650.3481 | 1199134.7168
78 | 2589648.9702 | 1199144.6744 | 2589626.2697 | 1199146.693
79 | 2589626.2697 | 1199146.693 | 2589626.2697 | 1199146.693 | 2589616.0258 | 1199144.732
80 | 2589558.3683 | 1199104.967 | 2589601.2758 | 1199139.1327 | 2589616.0258 | 1199144.732 | 2589616.0258 | 1199144.732
81 | 2589558.3683 | 1199104.967 | 2589542.7357 | 1199092.5193
82 | 2589517.3221 | 1199072.4568 | 2589528.4319 | 1199081.1297 | 2589542.7357 | 1199092.5193
83 | 2589471.1527 | 1198629.5702 | 2589477.805 | 1198634.3837
84 | 2589471.1527 | 1198629.5702 | 2589451.5686 | 1198615.3993
85 | 2589490.347 | 1198643.4591 | 2589477.805 | 1198634.3837
86 | 2589447.6962 | 1198612.5972 | 2589451.5686 | 1198615.3993
87 | 2589490.347 | 1198643.4591 | 2589506.9313 | 1199071.3095
88 | 2589517.3221 | 1199072.4568 | 2589516.7667 | 1199072.0232 | 2589513.0649 | 1199071.1737 | 2589508.382 | 1199070.9597 | 2589506.9313 | 1199071.3095
89 | 2589334.5095 | 1198230.3704 | 2589335.523 | 1198230.8431
90 | 2589335.523 | 1198230.8431 | 2589336.9995 | 1198231.5317
91 | 2589394.5492 | 1198181.1767 | 2589397.9451 | 1198182.7861
92 | 2589397.9451 | 1198182.7861 | 2589428.1215 | 1198197.0874
93 | 2589428.1215 | 1198197.0874 | 2589436.3676 | 1198200.9954
94 | 2589442.0865 | 1198203.7057 | 2589436.3676 | 1198200.9954
95 | 2589461.7959 | 1198213.0464 | 2589442.0865 | 1198203.7057
96 | 2589475.7534 | 1198219.6612 | 2589461.7959 | 1198213.0464

## bus_geodata
| x | y | coords
0 | 2589018.3746 | 1198050.9367
1 | 2588990.976 | 1198037.3941
2 | 2589041.9004 | 1198062.5651
3 | 2588980.3487 | 1198032.1412
4 | 2589052.4447 | 1198067.777
5 | 2588953.1954 | 1198018.7199
6 | 2589072.1713 | 1198077.382
7 | 2589088.2946 | 1198085.2206
8 | 2589088.769 | 1198085.4513
9 | 2589133.8799 | 1198107.3827
10 | 2589143.0511 | 1198111.8414
11 | 2589174.3263 | 1198120.0168
12 | 2588866.8117 | 1197982.9641
13 | 2588888.3811 | 1197990.8079
14 | 2588831.3299 | 1197970.0611
15 | 2588911.7279 | 1197999.4381
16 | 2588715.2975 | 1197935.1792
17 | 2588912.3356 | 1197999.6629
18 | 2588705.2096 | 1197933.6965
19 | 2588923.7334 | 1198004.3523
20 | 2588931.2892 | 1198008.0239
21 | 2589067.1741 | 1198398.6563
22 | 2589120.4383 | 1198445.712
23 | 2589193.1599 | 1198166.8854
24 | 2589126.6965 | 1198582.207
25 | 2589025.4658 | 1198579.781
26 | 2589159.7541 | 1198583.0017
27 | 2589206.5837 | 1198170.3072
28 | 2589213.5097 | 1198155.7535
29 | 2589221.8828 | 1198177.5482
30 | 2589242.4711 | 1198190.2638
31 | 2589305.3265 | 1198225.0244
32 | 2588956.976 | 1198579.0225
33 | 2589024.8205 | 1198616.5567
34 | 2589425.2718 | 1198596.3711
35 | 2589432.9622 | 1198601.9358
36 | 2589445.5507 | 1198611.0448
37 | 2589183.7526 | 1198124.1433
38 | 2589204.5707 | 1198133.3092
39 | 2589214.4064 | 1198137.9646
40 | 2589217.952 | 1198140.515
41 | 2589212.2852 | 1198152.4206
42 | 2589222.955 | 1198144.1614
43 | 2589210.4127 | 1198151.5343
44 | 2589238.6201 | 1198160.5718
45 | 2589250.4672 | 1198166.4201
46 | 2589257.4298 | 1198169.8572
47 | 2589279.0821 | 1198180.5676
48 | 2589287.6222 | 1198184.857
49 | 2589296.7768 | 1198189.455
50 | 2589300.8454 | 1198191.4985
51 | 2589321.4655 | 1198201.3271
52 | 2589344.6739 | 1198196.0492
53 | 2589343.7059 | 1198212.4708
54 | 2589350.6946 | 1198187.2826
55 | 2589426.2115 | 1198252.0257
56 | 2589362.9952 | 1198166.2226
57 | 2589453.2429 | 1198043.6403
58 | 2589374.5521 | 1198171.6996
59 | 2589455.2546 | 1198038.045
60 | 2589378.6422 | 1198173.6381
61 | 2589623.6918 | 1198082.2202
62 | 2589633.0946 | 1197920.4796
63 | 2589531.0268 | 1197903.0273
64 | 2589490.7333 | 1197871.8432
65 | 2589520.3066 | 1197921.3721
66 | 2589518.0982 | 1197924.9929
67 | 2589514.1369 | 1197931.4876
68 | 2589501.7874 | 1197938.1515
69 | 2589463.9401 | 1198013.8869
70 | 2589480.1747 | 1197971.282
71 | 2589500.4785 | 1197938.6207
72 | 2589488.7896 | 1197949.3389
73 | 2589659.3576 | 1199144.6881
74 | 2589648.9702 | 1199144.6744
75 | 2589650.3481 | 1199134.7168
76 | 2589626.2697 | 1199146.693
77 | 2589616.0258 | 1199144.732
78 | 2589558.3683 | 1199104.9669
79 | 2589542.7357 | 1199092.5193
80 | 2589471.1527 | 1198629.5702
81 | 2589477.805 | 1198634.3837
82 | 2589451.5686 | 1198615.3993
83 | 2589490.347 | 1198643.4591
84 | 2589447.6962 | 1198612.5972
85 | 2589506.9313 | 1199071.3095
86 | 2589517.3221 | 1199072.4568
87 | 2588692.9738 | 1197931.991
88 | 2589334.5095 | 1198230.3704
89 | 2589335.523 | 1198230.8431
90 | 2589336.9995 | 1198231.5317
91 | 2589394.5492 | 1198181.1767
92 | 2589397.9451 | 1198182.7861
93 | 2589428.1215 | 1198197.0874
94 | 2589436.3676 | 1198200.9954
95 | 2589461.7959 | 1198213.0464
96 | 2589442.0865 | 1198203.7057
97 | 2589475.7534 | 1198219.6612
98 | 2589206.5837 | 1198170.3072

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1