## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_668-1_2_3_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_668-1_2_3_node_216 | 0.4 | n |  | TRUE
2 | bus_LV_668-1_2_3_node_210 | 0.4 | n |  | TRUE
3 | bus_LV_668-1_2_3_node_72 | 0.4 | n |  | TRUE
4 | bus_LV_668-1_2_3_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_668-1_2_3_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_668-1_2_3_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_668-1_2_3_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_668-1_2_3_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_668-1_2_3_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_668-1_2_3_node_304 | 0.4 | n |  | TRUE
11 | bus_LV_668-1_2_3_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_668-1_2_3_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_668-1_2_3_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_668-1_2_3_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_668-1_2_3_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_668-1_2_3_node_203 | 0.4 | n |  | TRUE
17 | bus_LV_668-1_2_3_node_201 | 0.4 | n |  | TRUE
18 | bus_LV_668-1_2_3_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_668-1_2_3_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_668-1_2_3_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_668-1_2_3_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_668-1_2_3_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_668-1_2_3_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_668-1_2_3_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_668-1_2_3_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_668-1_2_3_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_668-1_2_3_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_668-1_2_3_node_212 | 0.4 | n |  | TRUE
29 | bus_LV_668-1_2_3_node_228 | 0.4 | n |  | TRUE
30 | bus_LV_668-1_2_3_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_668-1_2_3_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_668-1_2_3_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_668-1_2_3_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_668-1_2_3_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_668-1_2_3_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_668-1_2_3_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_668-1_2_3_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_668-1_2_3_node_103 | 0.4 | n |  | TRUE
39 | bus_LV_668-1_2_3_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_668-1_2_3_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_668-1_2_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_668-1_2_3_node_174 | 0.4 | n |  | TRUE
43 | bus_LV_668-1_2_3_node_175 | 0.4 | n |  | TRUE
44 | bus_LV_668-1_2_3_node_176 | 0.4 | n |  | TRUE
45 | bus_LV_668-1_2_3_node_187 | 0.4 | n |  | TRUE
46 | bus_LV_668-1_2_3_node_188 | 0.4 | n |  | TRUE
47 | bus_LV_668-1_2_3_node_177 | 0.4 | n |  | TRUE
48 | bus_LV_668-1_2_3_node_178 | 0.4 | n |  | TRUE
49 | bus_LV_668-1_2_3_node_179 | 0.4 | n |  | TRUE
50 | bus_LV_668-1_2_3_node_180 | 0.4 | n |  | TRUE
51 | bus_LV_668-1_2_3_node_181 | 0.4 | n |  | TRUE
52 | bus_LV_668-1_2_3_node_182 | 0.4 | n |  | TRUE
53 | bus_LV_668-1_2_3_node_185 | 0.4 | n |  | TRUE
54 | bus_LV_668-1_2_3_node_186 | 0.4 | n |  | TRUE
55 | bus_LV_668-1_2_3_node_183 | 0.4 | n |  | TRUE
56 | bus_LV_668-1_2_3_node_193 | 0.4 | n |  | TRUE
57 | bus_LV_668-1_2_3_node_184 | 0.4 | n |  | TRUE
58 | bus_LV_668-1_2_3_node_194 | 0.4 | n |  | TRUE
59 | bus_LV_668-1_2_3_node_190 | 0.4 | n |  | TRUE
60 | bus_LV_668-1_2_3_node_217 | 0.4 | n |  | TRUE
61 | bus_LV_668-1_2_3_node_189 | 0.4 | n |  | TRUE
62 | bus_LV_668-1_2_3_node_213 | 0.4 | n |  | TRUE
63 | bus_LV_668-1_2_3_node_215 | 0.4 | n |  | TRUE
64 | bus_LV_668-1_2_3_node_191 | 0.4 | n |  | TRUE
65 | bus_LV_668-1_2_3_node_204 | 0.4 | n |  | TRUE
66 | bus_LV_668-1_2_3_node_192 | 0.4 | n |  | TRUE
67 | bus_LV_668-1_2_3_node_200 | 0.4 | n |  | TRUE
68 | bus_LV_668-1_2_3_node_195 | 0.4 | n |  | TRUE
69 | bus_LV_668-1_2_3_node_196 | 0.4 | n |  | TRUE
70 | bus_LV_668-1_2_3_node_197 | 0.4 | n |  | TRUE
71 | bus_LV_668-1_2_3_node_198 | 0.4 | n |  | TRUE
72 | bus_LV_668-1_2_3_node_199 | 0.4 | n |  | TRUE
73 | bus_LV_668-1_2_3_node_202 | 0.4 | n |  | TRUE
74 | bus_LV_668-1_2_3_node_205 | 0.4 | n |  | TRUE
75 | bus_LV_668-1_2_3_node_206 | 0.4 | n |  | TRUE
76 | bus_LV_668-1_2_3_node_207 | 0.4 | n |  | TRUE
77 | bus_LV_668-1_2_3_node_208 | 0.4 | n |  | TRUE
78 | bus_LV_668-1_2_3_node_209 | 0.4 | n |  | TRUE
79 | bus_LV_668-1_2_3_node_211 | 0.4 | n |  | TRUE
80 | bus_LV_668-1_2_3_node_218 | 0.4 | n |  | TRUE
81 | bus_LV_668-1_2_3_node_219 | 0.4 | n |  | TRUE
82 | bus_LV_668-1_2_3_node_307 | 0.4 | n |  | TRUE
83 | bus_LV_668-1_2_3_node_308 | 0.4 | n |  | TRUE
84 | bus_LV_668-1_2_3_node_220 | 0.4 | n |  | TRUE
85 | bus_LV_668-1_2_3_node_290 | 0.4 | n |  | TRUE
86 | bus_LV_668-1_2_3_node_221 | 0.4 | n |  | TRUE
87 | bus_LV_668-1_2_3_node_222 | 0.4 | n |  | TRUE
88 | bus_LV_668-1_2_3_node_223 | 0.4 | n |  | TRUE
89 | bus_LV_668-1_2_3_node_224 | 0.4 | n |  | TRUE
90 | bus_LV_668-1_2_3_node_225 | 0.4 | n |  | TRUE
91 | bus_LV_668-1_2_3_node_227 | 0.4 | n |  | TRUE
92 | bus_LV_668-1_2_3_node_226 | 0.4 | n |  | TRUE
93 | bus_MV_120_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_668-1_2_3_load_216 | 1 | 0.00047187 | 0.00011826 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_668-1_2_3_load_210 | 2 | 0.0026363 | 0.00066071 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_668-1_2_3_load_72 | 3 | 0.00030304 | 7.595e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_668-1_2_3_load_73 | 4 | 0.00021855 | 5.4774e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_668-1_2_3_load_75 | 5 | 0.0002751 | 6.8947e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_668-1_2_3_load_304 | 10 | 0.0012316 | 0.00030867 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_668-1_2_3_load_78 | 12 | 0.00070116 | 0.00017573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_668-1_2_3_load_88 | 15 | 0.00034971 | 8.7646e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_668-1_2_3_load_203 | 16 | 0.0001268 | 3.1779e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_668-1_2_3_load_201 | 17 | 0.00015016 | 3.7632e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_668-1_2_3_load_82 | 18 | 0.00040832 | 0.00010234 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_668-1_2_3_load_83 | 19 | 0.00086749 | 0.00021741 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_668-1_2_3_load_87 | 22 | 0.00022395 | 5.6128e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_668-1_2_3_load_90 | 24 | 0.00018125 | 4.5426e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_668-1_2_3_load_86 | 25 | 0.0010728 | 0.00026886 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_668-1_2_3_load_91 | 26 | 0.00016428 | 4.1173e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_668-1_2_3_load_228 | 29 | 0.00049404 | 0.00012382 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_668-1_2_3_load_93 | 30 | 0.012085 | 0.0030287 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_668-1_2_3_load_94 | 31 | 0.0020212 | 0.00050656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_668-1_2_3_load_96 | 33 | 0.0015195 | 0.00038081 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_668-1_2_3_load_98 | 35 | 0.0015228 | 0.00038165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_668-1_2_3_load_99 | 36 | 0.0045529 | 0.0011411 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_668-1_2_3_load_101 | 37 | 0.0014193 | 0.00035572 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_668-1_2_3_load_103 | 38 | 0.0015101 | 0.00037846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_668-1_2_3_load_100 | 39 | 0.0087022 | 0.002181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_668-1_2_3_load_104 | 40 | 0.0047394 | 0.0011878 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_668-1_2_3_load_105 | 41 | 0.0018702 | 0.00046871 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_668-1_2_3_load_174 | 42 | 0.00076129 | 0.0001908 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_668-1_2_3_load_175 | 43 | 0.00099157 | 0.00024851 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_668-1_2_3_load_177 | 47 | 0.00064685 | 0.00016212 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_668-1_2_3_load_178 | 48 | 0.00029887 | 7.4904e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_668-1_2_3_load_181 | 51 | 0.00055413 | 0.00013888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_668-1_2_3_load_182 | 52 | 0.0004463 | 0.00011185 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_668-1_2_3_load_185 | 53 | 0.00036234 | 9.0812e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_668-1_2_3_load_183 | 55 | 0.0017165 | 0.00043021 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_668-1_2_3_load_193 | 56 | 0.0034679 | 0.00086915 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_668-1_2_3_load_194 | 58 | 0.00091692 | 0.0002298 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_668-1_2_3_load_217 | 60 | 0.00043287 | 0.00010849 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_668-1_2_3_load_189 | 61 | 0.0035544 | 0.00089082 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_668-1_2_3_load_215 | 63 | 0.00030064 | 7.5348e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_668-1_2_3_load_204 | 65 | 0.0005679 | 0.00014233 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_668-1_2_3_load_192 | 66 | 0.0002077 | 5.2054e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_668-1_2_3_load_195 | 68 | 0.00027125 | 6.7982e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_668-1_2_3_load_196 | 69 | 0.0011439 | 0.0002867 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_668-1_2_3_load_197 | 70 | 0.00014035 | 3.5176e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_668-1_2_3_load_199 | 72 | 0.00021096 | 5.2871e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_668-1_2_3_load_202 | 73 | 0.00057894 | 0.0001451 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_668-1_2_3_load_205 | 74 | 0.00091441 | 0.00022917 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_668-1_2_3_load_206 | 75 | 0.0010158 | 0.00025458 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_668-1_2_3_load_207 | 76 | 0.00044397 | 0.00011127 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_668-1_2_3_load_208 | 77 | 0.0029305 | 0.00073446 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_668-1_2_3_load_209 | 78 | 0.00033048 | 8.2826e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_668-1_2_3_load_211 | 79 | 0.00023062 | 5.7798e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_668-1_2_3_load_307 | 82 | 0.0040873 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_668-1_2_3_load_308 | 83 | 0.0026314 | 0.00065949 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_668-1_2_3_load_290 | 85 | 0.00065874 | 0.0001651 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_668-1_2_3_load_221 | 86 | 0.00050957 | 0.00012771 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_668-1_2_3_load_222 | 87 | 0.00040139 | 0.0001006 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_668-1_2_3_load_224 | 89 | 0.00027709 | 6.9446e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_668-1_2_3_load_225 | 90 | 0.00016564 | 4.1514e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_668-1_2_3_line_0 |  | 0 | 1 | 0.063209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_668-1_2_3_line_1 |  | 0 | 2 | 0.039238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_668-1_2_3_line_2 |  | 1 | 57 | 0.24865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_668-1_2_3_line_3 |  | 2 | 77 | 0.0016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_668-1_2_3_line_4 |  | 3 | 4 | 0.0077365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_668-1_2_3_line_5 |  | 4 | 5 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_668-1_2_3_line_6 |  | 5 | 9 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_668-1_2_3_line_7 |  | 6 | 7 | 0.012596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_668-1_2_3_line_8 |  | 6 | 8 | 0.009606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_668-1_2_3_line_9 |  | 7 | 10 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_668-1_2_3_line_10 |  | 7 | 11 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_668-1_2_3_line_11 |  | 8 | 12 | 0.02324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_668-1_2_3_line_12 |  | 9 | 15 | 0.036045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_668-1_2_3_line_13 |  | 11 | 15 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_668-1_2_3_line_14 |  | 12 | 13 | 0.086052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_668-1_2_3_line_15 |  | 13 | 14 | 0.075814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_668-1_2_3_line_16 |  | 14 | 16 | 0.0086396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_668-1_2_3_line_17 |  | 14 | 17 | 0.028975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_668-1_2_3_line_18 |  | 17 | 71 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_668-1_2_3_line_19 |  | 18 | 19 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_668-1_2_3_line_20 |  | 18 | 20 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_668-1_2_3_line_21 |  | 19 | 21 | 0.01206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_668-1_2_3_line_22 |  | 20 | 22 | 0.0069745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_668-1_2_3_line_23 |  | 21 | 23 | 0.039131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_668-1_2_3_line_24 |  | 21 | 24 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_668-1_2_3_line_25 |  | 22 | 27 | 0.32024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_668-1_2_3_line_26 |  | 23 | 28 | 0.064638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_668-1_2_3_line_27 |  | 23 | 29 | 0.12457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_668-1_2_3_line_28 |  | 24 | 26 | 0.0023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_668-1_2_3_line_29 |  | 25 | 26 | 0.0064387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_668-1_2_3_line_30 |  | 27 | 37 | 0.1388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_668-1_2_3_line_31 |  | 28 | 79 | 0.022636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_668-1_2_3_line_32 |  | 29 | 92 | 0.18259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_668-1_2_3_line_33 |  | 30 | 31 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_668-1_2_3_line_34 |  | 30 | 32 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_668-1_2_3_line_35 |  | 31 | 33 | 0.043041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_668-1_2_3_line_36 |  | 32 | 34 | 0.013652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_668-1_2_3_line_37 |  | 32 | 35 | 0.053853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_668-1_2_3_line_38 |  | 33 | 36 | 0.047455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_668-1_2_3_line_39 |  | 34 | 37 | 0.040086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_668-1_2_3_line_40 |  | 35 | 38 | 0.029393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_668-1_2_3_line_41 |  | 36 | 39 | 0.027538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_668-1_2_3_line_42 |  | 38 | 40 | 0.028101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_668-1_2_3_line_43 |  | 40 | 41 | 0.027138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_668-1_2_3_line_44 |  | 42 | 43 | 0.0048284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_668-1_2_3_line_45 |  | 43 | 44 | 0.032904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_668-1_2_3_line_46 |  | 44 | 45 | 0.027661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_668-1_2_3_line_47 |  | 44 | 46 | 0.034314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_668-1_2_3_line_48 |  | 45 | 61 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_668-1_2_3_line_49 |  | 46 | 62 | 0.12016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_668-1_2_3_line_50 |  | 46 | 63 | 0.082455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_668-1_2_3_line_51 |  | 47 | 48 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_668-1_2_3_line_52 |  | 47 | 49 | 0.029149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_668-1_2_3_line_53 |  | 48 | 50 | 0.0089388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_668-1_2_3_line_54 |  | 49 | 51 | 0.022589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_668-1_2_3_line_55 |  | 49 | 52 | 0.014453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_668-1_2_3_line_56 |  | 50 | 53 | 0.019969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_668-1_2_3_line_57 |  | 50 | 54 | 0.014891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_668-1_2_3_line_58 |  | 51 | 55 | 0.033761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_668-1_2_3_line_59 |  | 52 | 56 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_668-1_2_3_line_60 |  | 53 | 58 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_668-1_2_3_line_61 |  | 54 | 59 | 0.061032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_668-1_2_3_line_62 |  | 54 | 60 | 0.04826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_668-1_2_3_line_63 |  | 55 | 57 | 0.055535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_668-1_2_3_line_64 |  | 58 | 68 | 0.022102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_668-1_2_3_line_65 |  | 59 | 64 | 0.027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_668-1_2_3_line_66 |  | 59 | 61 | 0.021208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_668-1_2_3_line_67 |  | 60 | 80 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_668-1_2_3_line_68 |  | 62 | 72 | 0.050158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_668-1_2_3_line_69 |  | 62 | 79 | 0.0079758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_668-1_2_3_line_70 |  | 64 | 65 | 0.0096904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_668-1_2_3_line_71 |  | 65 | 74 | 0.0061384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_668-1_2_3_line_72 |  | 66 | 67 | 0.015521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_668-1_2_3_line_73 |  | 67 | 73 | 0.054593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_668-1_2_3_line_74 |  | 67 | 71 | 0.046564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_668-1_2_3_line_75 |  | 69 | 70 | 0.0049601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_668-1_2_3_line_76 |  | 69 | 71 | 0.04027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_668-1_2_3_line_77 |  | 72 | 73 | 0.018167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_668-1_2_3_line_78 |  | 75 | 76 | 0.12546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_668-1_2_3_line_79 |  | 75 | 77 | 0.056472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_668-1_2_3_line_80 |  | 76 | 78 | 0.14108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_668-1_2_3_line_81 |  | 80 | 81 | 0.028951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_668-1_2_3_line_82 |  | 81 | 82 | 0.046292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_668-1_2_3_line_83 |  | 81 | 83 | 0.016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_668-1_2_3_line_84 |  | 81 | 84 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_668-1_2_3_line_85 |  | 84 | 85 | 0.0077797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_668-1_2_3_line_86 |  | 86 | 87 | 0.0084647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_668-1_2_3_line_87 |  | 86 | 88 | 0.0058406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_668-1_2_3_line_88 |  | 87 | 89 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_668-1_2_3_line_89 |  | 88 | 90 | 0.014184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_668-1_2_3_line_90 |  | 90 | 91 | 0.011358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_668-1_2_3_line_91 |  | 91 | 92 | 0.032676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_668-1_2_3_trafo_102 | 0.63 MVA 20/0.4 kV | 93 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2587962.7013 | 1198394.7641 | 2587954.6244 | 1198377.1599 | 2587943.5002 | 1198355.0818 | 2587932.5803 | 1198339.3893
1 | 2587962.7013 | 1198394.7641 | 2587926.6298 | 1198410.2072
2 | 2587733.6934 | 1198190.1564 | 2587932.5803 | 1198339.3893
3 | 2587926.6298 | 1198410.2072 | 2587925.0843 | 1198410.8689
4 | 2587512.9478 | 1197583.0761 | 2587514.1684 | 1197575.4365
5 | 2587516.4491 | 1197561.1612 | 2587516.4491 | 1197561.1612 | 2587514.1684 | 1197575.4365
6 | 2587528.6036 | 1197557.4003 | 2587516.4491 | 1197561.1612
7 | 2587533.0141 | 1197619.5576 | 2587541.6544 | 1197628.7444
8 | 2587551.1091 | 1197626.9014 | 2587541.6544 | 1197628.7444
9 | 2587523.2557 | 1197607.3827 | 2587533.0141 | 1197619.5576
10 | 2587544.7014 | 1197607.3377 | 2587533.0141 | 1197619.5576
11 | 2587551.1091 | 1197626.9014 | 2587556.8792 | 1197643.8428 | 2587558.4332 | 1197648.9543
12 | 2587528.6036 | 1197557.4003 | 2587532.3157 | 1197569.8325 | 2587536.164 | 1197581.8531 | 2587539.4831 | 1197591.7608
13 | 2587544.7014 | 1197607.3377 | 2587539.4831 | 1197591.7608
14 | 2587554.6614 | 1197733.8512 | 2587559.4069 | 1197708.8834 | 2587562.845 | 1197685.1191 | 2587562.8136 | 1197673.7464 | 2587562.3428 | 1197667.155 | 2587561.431 | 1197660.8646 | 2587559.6016 | 1197652.7975 | 2587558.4332 | 1197648.9543
15 | 2587559.9946 | 1197807.6351 | 2587553.8937 | 1197792.6843 | 2587550.8314 | 1197781.3513 | 2587549.7251 | 1197769.4584 | 2587550.1819 | 1197762.1646 | 2587550.8862 | 1197756.6157 | 2587554.6614 | 1197733.8512
16 | 2587559.9946 | 1197807.6351 | 2587555.3791 | 1197814.9384
17 | 2587559.9946 | 1197807.6351 | 2587569.0188 | 1197829.4278 | 2587570.9216 | 1197834.4683
18 | 2587575.2594 | 1197849.3254 | 2587572.7635 | 1197839.3475 | 2587570.9216 | 1197834.4683
19 | 2587797.411 | 1197861.0453 | 2587789.3714 | 1197859.5424 | 2587785.372 | 1197855.1816 | 2587785.372 | 1197855.1816
20 | 2587810.9007 | 1197863.567 | 2587797.411 | 1197861.0453
21 | 2587787.5865 | 1197843.3262 | 2587785.372 | 1197855.1816
22 | 2587810.9007 | 1197863.567 | 2587811.981 | 1197870.4573
23 | 2587787.5865 | 1197843.3262 | 2587749.5733 | 1197833.5993
24 | 2587787.5865 | 1197843.3262 | 2587800.8931 | 1197844.5303
25 | 2587811.981 | 1197870.4573 | 2588131.9038 | 1197856.3128
26 | 2587728.84 | 1197894.1857 | 2587737.4404 | 1197880.7385 | 2587749.5733 | 1197833.5993
27 | 2587749.5733 | 1197833.5993 | 2587769.4694 | 1197769.3462 | 2587778.395 | 1197736.1878 | 2587784.6038 | 1197715.0304 | 2587784.9599 | 1197714.18
28 | 2587803.278 | 1197844.7461 | 2587800.8931 | 1197844.5303
29 | 2587803.278 | 1197844.7461 | 2587809.6905 | 1197845.3263
30 | 2588131.9038 | 1197856.3128 | 2588140.4276 | 1197853.6055 | 2588149.2603 | 1197853.0208 | 2588161.7726 | 1197853.1626 | 2588173.0635 | 1197855.6192 | 2588182.9703 | 1197859.0569 | 2588193.7661 | 1197865.3165 | 2588201.7479 | 1197873.4384 | 2588208.8562 | 1197882.7292 | 2588236.3983 | 1197919.8389 | 2588239.2153 | 1197923.5706
31 | 2587728.84 | 1197894.1857 | 2587715.663 | 1197900.3273 | 2587707.7751 | 1197902.1583
32 | 2587784.9599 | 1197714.18 | 2587853.1228 | 1197544.7877
33 | 2588284.4916 | 1197942.3014 | 2588299.7903 | 1197936.3534
34 | 2588272.0891 | 1197957.3661 | 2588273.9118 | 1197951.0036 | 2588278.4304 | 1197944.6579 | 2588284.4916 | 1197942.3014
35 | 2588335.4553 | 1197912.8401 | 2588322.0559 | 1197924.2054 | 2588307.8027 | 1197933.2383 | 2588299.7903 | 1197936.3534
36 | 2588272.0891 | 1197957.3661 | 2588264.9226 | 1197957.0579 | 2588258.5667 | 1197958.5046
37 | 2588272.0891 | 1197957.3661 | 2588282.8066 | 1197958.7902 | 2588295.0088 | 1197960.1001 | 2588325.7722 | 1197959.5024
38 | 2588335.4553 | 1197912.8401 | 2588337.4132 | 1197911.1794 | 2588366.9705 | 1197889.0985 | 2588373.414 | 1197884.3676
39 | 2588258.5667 | 1197958.5046 | 2588251.2086 | 1197942.2104 | 2588244.6521 | 1197930.7728 | 2588239.2153 | 1197923.5706
40 | 2588354.7785 | 1197954.9899 | 2588329.3902 | 1197959.4321 | 2588325.7722 | 1197959.5024
41 | 2588395.6111 | 1197868.07 | 2588373.414 | 1197884.3676
42 | 2588354.7785 | 1197954.9899 | 2588366.4028 | 1197952.956 | 2588382.1718 | 1197948.8307
43 | 2588408.224 | 1197941.2461 | 2588407.3657 | 1197941.5475 | 2588387.7678 | 1197947.3667 | 2588382.1718 | 1197948.8307
44 | 2587625.5724 | 1198060.1422 | 2587624.8169 | 1198055.3733
45 | 2587614.6552 | 1198025.2262 | 2587621.2275 | 1198032.7165 | 2587624.8169 | 1198055.3733
46 | 2587614.6552 | 1198025.2262 | 2587605.3311 | 1198041.9213 | 2587600.5788 | 1198049.035
47 | 2587627.9462 | 1197993.5816 | 2587614.6552 | 1198025.2262
48 | 2587600.5788 | 1198049.035 | 2587602.6399 | 1198062.3489 | 2587603.1637 | 1198064.8474
49 | 2587700.0058 | 1197903.9617 | 2587679.4862 | 1197913.0535 | 2587667.2124 | 1197921.3612 | 2587656.1801 | 1197933.4128 | 2587648.43 | 1197945.5021 | 2587637.1015 | 1197968.8604 | 2587631.519 | 1197983.2352 | 2587627.9462 | 1197993.5816
50 | 2587627.9462 | 1197993.5816 | 2587634.2133 | 1197989.8109 | 2587645.1174 | 1197971.1004 | 2587649.6276 | 1197968.423 | 2587686.4661 | 1197951.8376 | 2587693.3436 | 1197948.0728
51 | 2587596.0686 | 1198165.0346 | 2587586.8229 | 1198160.4679 | 2587584.9381 | 1198159.1593
52 | 2587622.6325 | 1198176.9798 | 2587610.4461 | 1198172.1359 | 2587596.0686 | 1198165.0346
53 | 2587577.5954 | 1198154.0615 | 2587584.9381 | 1198159.1593
54 | 2587622.6325 | 1198176.9798 | 2587644.4531 | 1198178.7909 | 2587645.1388 | 1198178.8913
55 | 2587622.6325 | 1198176.9798 | 2587617.6541 | 1198190.5487
56 | 2587577.5954 | 1198154.0615 | 2587557.706 | 1198155.8428
57 | 2587581.0146 | 1198139.5688 | 2587577.5954 | 1198154.0615
58 | 2587645.1388 | 1198178.8913 | 2587660.9978 | 1198181.2133 | 2587678.5376 | 1198183.8266
59 | 2587617.6541 | 1198190.5487 | 2587617.6199 | 1198190.642 | 2587615.8834 | 1198197.7939 | 2587615.9482 | 1198203.8705
60 | 2587538.2169 | 1198157.0842 | 2587539.9754 | 1198156.7529 | 2587556.3688 | 1198155.9625 | 2587557.706 | 1198155.8428
61 | 2587581.0146 | 1198139.5688 | 2587591.8709 | 1198123.6821 | 2587596.8792 | 1198115.2449 | 2587600.8517 | 1198106.7431 | 2587608.3613 | 1198085.4049
62 | 2587581.0146 | 1198139.5688 | 2587573.9887 | 1198129.9561 | 2587560.9367 | 1198119.111 | 2587547.6966 | 1198109.378 | 2587546.1626 | 1198106.8571
63 | 2587733.6934 | 1198190.1564 | 2587697.8656 | 1198186.7064 | 2587678.5376 | 1198183.8266
64 | 2587538.2169 | 1198157.0842 | 2587517.2384 | 1198161.0363 | 2587516.487 | 1198161.1053
65 | 2587608.3613 | 1198085.4049 | 2587611.1547 | 1198095.7046 | 2587625.7101 | 1198104.479
66 | 2587608.3613 | 1198085.4049 | 2587606.1975 | 1198077.583 | 2587604.3384 | 1198069.7938 | 2587603.2014 | 1198065.027 | 2587603.1637 | 1198064.8474
67 | 2587539.71 | 1198095.6318 | 2587540.9413 | 1198098.1306 | 2587543.3792 | 1198102.2832 | 2587546.1626 | 1198106.8571
68 | 2587649.7054 | 1197903.3102 | 2587700.0058 | 1197903.9617
69 | 2587700.0058 | 1197903.9617 | 2587707.7751 | 1197902.1583
70 | 2587625.7101 | 1198104.479 | 2587633.0531 | 1198098.1556
71 | 2587633.0531 | 1198098.1556 | 2587637.7045 | 1198094.1501
72 | 2587578.4482 | 1197895.6769 | 2587576.4812 | 1197911.0725
73 | 2587578.4482 | 1197895.6769 | 2587596.4132 | 1197903.1767 | 2587631.5381 | 1197903.2647
74 | 2587575.2594 | 1197849.3254 | 2587576.9374 | 1197857.8598 | 2587578.24 | 1197879.8466 | 2587578.4482 | 1197895.6769
75 | 2587620.4527 | 1197851.142 | 2587615.4966 | 1197850.9428
76 | 2587575.2594 | 1197849.3254 | 2587615.4966 | 1197850.9428
77 | 2587649.7054 | 1197903.3102 | 2587631.5381 | 1197903.2647
78 | 2587872.9347 | 1198432.5215 | 2587815.8008 | 1198455.0516 | 2587755.7011 | 1198477.1758
79 | 2587872.9347 | 1198432.5215 | 2587892.8824 | 1198424.6554 | 2587925.0843 | 1198410.8689
80 | 2587755.7011 | 1198477.1758 | 2587678.5003 | 1198505.5953 | 2587623.3334 | 1198525.9726
81 | 2587539.71 | 1198095.6318 | 2587523.9034 | 1198071.352
82 | 2587523.9034 | 1198071.352 | 2587511.8963 | 1198079.4816 | 2587509.5839 | 1198084.3112 | 2587510.7086 | 1198090.4455 | 2587521.7404 | 1198107.4203
83 | 2587511.1496 | 1198061.1844 | 2587517.7769 | 1198065.8286 | 2587523.9034 | 1198071.352
84 | 2587541.2068 | 1198057.7306 | 2587536.0613 | 1198058.8197 | 2587524.9847 | 1198067.6922 | 2587523.9034 | 1198071.352
85 | 2587541.2068 | 1198057.7306 | 2587542.1054 | 1198050.003
86 | 2587839.5645 | 1197508.8706 | 2587834.6899 | 1197506.2826 | 2587832.878 | 1197503.9601
87 | 2587844.7232 | 1197511.6093 | 2587839.5645 | 1197508.8706
88 | 2587821.3118 | 1197489.1342 | 2587832.878 | 1197503.9601
89 | 2587844.7232 | 1197511.6093 | 2587858.9044 | 1197511.8916
90 | 2587869.332 | 1197516.3949 | 2587858.9044 | 1197511.8916
91 | 2587869.332 | 1197516.3949 | 2587853.1228 | 1197544.7877

## bus_geodata
| x | y | coords
0 | 2587962.7013 | 1198394.7641
1 | 2587932.5803 | 1198339.3893
2 | 2587926.6298 | 1198410.2072
3 | 2587512.9478 | 1197583.0761
4 | 2587514.1684 | 1197575.4365
5 | 2587516.4491 | 1197561.1612
6 | 2587541.6544 | 1197628.7444
7 | 2587533.0141 | 1197619.5576
8 | 2587551.1091 | 1197626.9014
9 | 2587528.6036 | 1197557.4003
10 | 2587523.2557 | 1197607.3827
11 | 2587544.7014 | 1197607.3377
12 | 2587558.4332 | 1197648.9543
13 | 2587554.6614 | 1197733.8512
14 | 2587559.9946 | 1197807.6351
15 | 2587539.4831 | 1197591.7608
16 | 2587555.3791 | 1197814.9384
17 | 2587570.9216 | 1197834.4683
18 | 2587797.411 | 1197861.0453
19 | 2587785.372 | 1197855.1816
20 | 2587810.9007 | 1197863.567
21 | 2587787.5865 | 1197843.3262
22 | 2587811.981 | 1197870.4573
23 | 2587749.5733 | 1197833.5993
24 | 2587800.8931 | 1197844.5303
25 | 2587809.6905 | 1197845.3263
26 | 2587803.278 | 1197844.7461
27 | 2588131.9038 | 1197856.3128
28 | 2587728.84 | 1197894.1857
29 | 2587784.9599 | 1197714.18
30 | 2588284.4916 | 1197942.3014
31 | 2588299.7904 | 1197936.3534
32 | 2588272.0891 | 1197957.3661
33 | 2588335.4553 | 1197912.8401
34 | 2588258.5667 | 1197958.5046
35 | 2588325.7722 | 1197959.5024
36 | 2588373.414 | 1197884.3676
37 | 2588239.2153 | 1197923.5706
38 | 2588354.7785 | 1197954.9899
39 | 2588395.6111 | 1197868.07
40 | 2588382.1718 | 1197948.8307
41 | 2588408.224 | 1197941.2461
42 | 2587625.5724 | 1198060.1422
43 | 2587624.8169 | 1198055.3733
44 | 2587614.6552 | 1198025.2262
45 | 2587600.5788 | 1198049.035
46 | 2587627.9462 | 1197993.5816
47 | 2587596.0686 | 1198165.0346
48 | 2587584.9381 | 1198159.1593
49 | 2587622.6325 | 1198176.9798
50 | 2587577.5954 | 1198154.0615
51 | 2587645.1388 | 1198178.8913
52 | 2587617.6541 | 1198190.5487
53 | 2587557.706 | 1198155.8428
54 | 2587581.0146 | 1198139.5688
55 | 2587678.5376 | 1198183.8266
56 | 2587615.9482 | 1198203.8705
57 | 2587733.6934 | 1198190.1564
58 | 2587538.2169 | 1198157.0842
59 | 2587608.3613 | 1198085.4049
60 | 2587546.1625 | 1198106.8571
61 | 2587603.1637 | 1198064.8474
62 | 2587700.0058 | 1197903.9617
63 | 2587693.3436 | 1197948.0728
64 | 2587625.7101 | 1198104.479
65 | 2587633.0531 | 1198098.1556
66 | 2587576.4812 | 1197911.0725
67 | 2587578.4482 | 1197895.6769
68 | 2587516.487 | 1198161.1053
69 | 2587615.4966 | 1197850.9428
70 | 2587620.4527 | 1197851.142
71 | 2587575.2594 | 1197849.3254
72 | 2587649.7054 | 1197903.3102
73 | 2587631.5381 | 1197903.2647
74 | 2587637.7045 | 1198094.1501
75 | 2587872.9347 | 1198432.5215
76 | 2587755.7011 | 1198477.1758
77 | 2587925.0843 | 1198410.8689
78 | 2587623.3334 | 1198525.9726
79 | 2587707.7751 | 1197902.1583
80 | 2587539.71 | 1198095.6318
81 | 2587523.9034 | 1198071.352
82 | 2587521.7404 | 1198107.4203
83 | 2587511.1496 | 1198061.1844
84 | 2587541.2068 | 1198057.7306
85 | 2587542.1054 | 1198050.003
86 | 2587839.5645 | 1197508.8706
87 | 2587832.878 | 1197503.9601
88 | 2587844.7232 | 1197511.6093
89 | 2587821.3118 | 1197489.1342
90 | 2587858.9044 | 1197511.8916
91 | 2587869.332 | 1197516.3949
92 | 2587853.1228 | 1197544.7877
93 | 2588258.5667 | 1197958.5046

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1