## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_668-4_1_2_node_247 | 0.4 | n |  | TRUE
1 | bus_LV_668-4_1_2_node_245 | 0.4 | n |  | TRUE
2 | bus_LV_668-4_1_2_node_199 | 0.4 | n |  | TRUE
3 | bus_LV_668-4_1_2_node_200 | 0.4 | n |  | TRUE
4 | bus_LV_668-4_1_2_node_201 | 0.4 | n |  | TRUE
5 | bus_LV_668-4_1_2_node_202 | 0.4 | n |  | TRUE
6 | bus_LV_668-4_1_2_node_203 | 0.4 | n |  | TRUE
7 | bus_LV_668-4_1_2_node_204 | 0.4 | n |  | TRUE
8 | bus_LV_668-4_1_2_node_205 | 0.4 | n |  | TRUE
9 | bus_LV_668-4_1_2_node_206 | 0.4 | n |  | TRUE
10 | bus_LV_668-4_1_2_node_216 | 0.4 | n |  | TRUE
11 | bus_LV_668-4_1_2_node_220 | 0.4 | n |  | TRUE
12 | bus_LV_668-4_1_2_node_230 | 0.4 | n |  | TRUE
13 | bus_LV_668-4_1_2_node_226 | 0.4 | n |  | TRUE
14 | bus_LV_668-4_1_2_node_207 | 0.4 | n |  | TRUE
15 | bus_LV_668-4_1_2_node_208 | 0.4 | n |  | TRUE
16 | bus_LV_668-4_1_2_node_209 | 0.4 | n |  | TRUE
17 | bus_LV_668-4_1_2_node_210 | 0.4 | n |  | TRUE
18 | bus_LV_668-4_1_2_node_211 | 0.4 | n |  | TRUE
19 | bus_LV_668-4_1_2_node_212 | 0.4 | n |  | TRUE
20 | bus_LV_668-4_1_2_node_213 | 0.4 | n |  | TRUE
21 | bus_LV_668-4_1_2_node_214 | 0.4 | n |  | TRUE
22 | bus_LV_668-4_1_2_node_215 | 0.4 | n |  | TRUE
23 | bus_LV_668-4_1_2_node_237 | 0.4 | n |  | TRUE
24 | bus_LV_668-4_1_2_node_227 | 0.4 | n |  | TRUE
25 | bus_LV_668-4_1_2_node_218 | 0.4 | n |  | TRUE
26 | bus_LV_668-4_1_2_node_229 | 0.4 | n |  | TRUE
27 | bus_LV_668-4_1_2_node_219 | 0.4 | n |  | TRUE
28 | bus_LV_668-4_1_2_node_221 | 0.4 | n |  | TRUE
29 | bus_LV_668-4_1_2_node_222 | 0.4 | n |  | TRUE
30 | bus_LV_668-4_1_2_node_223 | 0.4 | n |  | TRUE
31 | bus_LV_668-4_1_2_node_224 | 0.4 | n |  | TRUE
32 | bus_LV_668-4_1_2_node_225 | 0.4 | n |  | TRUE
33 | bus_LV_668-4_1_2_node_228 | 0.4 | n |  | TRUE
34 | bus_LV_668-4_1_2_node_231 | 0.4 | n |  | TRUE
35 | bus_LV_668-4_1_2_node_232 | 0.4 | n |  | TRUE
36 | bus_LV_668-4_1_2_node_233 | 0.4 | n |  | TRUE
37 | bus_LV_668-4_1_2_node_235 | 0.4 | n |  | TRUE
38 | bus_LV_668-4_1_2_node_236 | 0.4 | n |  | TRUE
39 | bus_LV_668-4_1_2_node_248 | 0.4 | n |  | TRUE
40 | bus_LV_668-4_1_2_node_249 | 0.4 | n |  | TRUE
41 | bus_LV_668-4_1_2_node_238 | 0.4 | n |  | TRUE
42 | bus_LV_668-4_1_2_node_117 | 0.4 | n |  | TRUE
43 | bus_LV_668-4_1_2_node_239 | 0.4 | n |  | TRUE
44 | bus_LV_668-4_1_2_node_240 | 0.4 | n |  | TRUE
45 | bus_LV_668-4_1_2_node_241 | 0.4 | n |  | TRUE
46 | bus_LV_668-4_1_2_node_242 | 0.4 | n |  | TRUE
47 | bus_LV_668-4_1_2_node_243 | 0.4 | n |  | TRUE
48 | bus_LV_668-4_1_2_node_244 | 0.4 | n |  | TRUE
49 | bus_LV_668-4_1_2_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_668-4_1_2_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_668-4_1_2_node_252 | 0.4 | n |  | TRUE
52 | bus_LV_668-4_1_2_node_246 | 0.4 | n |  | TRUE
53 | bus_LV_668-4_1_2_node_253 | 0.4 | n |  | TRUE
54 | bus_MV_0_node_213 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_668-4_1_2_load_247 | 0 | 0.00035314 | 8.8506e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_668-4_1_2_load_245 | 1 | 0.0010811 | 0.00027095 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_668-4_1_2_load_199 | 2 | 0.0017732 | 0.00044439 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_668-4_1_2_load_200 | 3 | 0.000549 | 0.00013759 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_668-4_1_2_load_201 | 4 | 0.00044934 | 0.00011262 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_668-4_1_2_load_203 | 6 | 0.00030556 | 7.658e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_668-4_1_2_load_205 | 8 | 0.00061017 | 0.00015292 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_668-4_1_2_load_216 | 10 | 0.00053416 | 0.00013387 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_668-4_1_2_load_220 | 11 | 0.0027632 | 0.00069253 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_668-4_1_2_load_230 | 12 | 0.00031795 | 7.9686e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_668-4_1_2_load_226 | 13 | 0.0012874 | 0.00032264 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_668-4_1_2_load_207 | 14 | 0.0007106 | 0.00017809 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_668-4_1_2_load_208 | 15 | 0.00019075 | 4.7805e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_668-4_1_2_load_211 | 18 | 0.00054994 | 0.00013783 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_668-4_1_2_load_212 | 19 | 0.001859 | 0.00046591 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_668-4_1_2_load_214 | 21 | 0.00064816 | 0.00016244 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_668-4_1_2_load_215 | 22 | 0.001651 | 0.00041378 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_668-4_1_2_load_237 | 23 | 0.00024758 | 6.205e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_668-4_1_2_load_218 | 25 | 0.00013356 | 3.3472e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_668-4_1_2_load_219 | 27 | 0.00059221 | 0.00014842 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_668-4_1_2_load_221 | 28 | 0.00031376 | 7.8636e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_668-4_1_2_load_222 | 29 | 0.0013145 | 0.00032944 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_668-4_1_2_load_223 | 30 | 0.00067758 | 0.00016982 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_668-4_1_2_load_228 | 33 | 0.00033951 | 8.509e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_668-4_1_2_load_231 | 34 | 0.00015509 | 3.887e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_668-4_1_2_load_232 | 35 | 0.0008021 | 0.00020103 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_668-4_1_2_load_233 | 36 | 0.00056818 | 0.0001424 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_668-4_1_2_load_248 | 39 | 0.0003116 | 7.8094e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_668-4_1_2_load_249 | 40 | 0.00012767 | 3.1996e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_668-4_1_2_load_117 | 42 | 0.00015013 | 3.7626e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_668-4_1_2_load_239 | 43 | 0.00027908 | 6.9944e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_668-4_1_2_load_240 | 44 | 0.00027385 | 6.8633e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_668-4_1_2_load_241 | 45 | 0.0005096 | 0.00012772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_668-4_1_2_load_242 | 46 | 0.001893 | 0.00047443 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_668-4_1_2_load_244 | 48 | 0.00040143 | 0.00010061 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_668-4_1_2_load_116 | 50 | 0.00014477 | 3.6283e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_668-4_1_2_load_252 | 51 | 0.00055968 | 0.00014027 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_668-4_1_2_line_0 |  | 0 | 1 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_668-4_1_2_line_1 |  | 1 | 47 | 0.01275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_668-4_1_2_line_2 |  | 2 | 3 | 0.03214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_668-4_1_2_line_3 |  | 2 | 4 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_668-4_1_2_line_4 |  | 3 | 5 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_668-4_1_2_line_5 |  | 4 | 6 | 0.021761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_668-4_1_2_line_6 |  | 5 | 7 | 0.009774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_668-4_1_2_line_7 |  | 5 | 8 | 0.029242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_668-4_1_2_line_8 |  | 6 | 9 | 0.029528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_668-4_1_2_line_9 |  | 7 | 10 | 0.021427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_668-4_1_2_line_10 |  | 8 | 11 | 0.0047461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_668-4_1_2_line_11 |  | 9 | 12 | 0.019954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_668-4_1_2_line_12 |  | 9 | 13 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_668-4_1_2_line_13 |  | 11 | 27 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_668-4_1_2_line_14 |  | 12 | 34 | 0.0029392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_668-4_1_2_line_15 |  | 13 | 31 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_668-4_1_2_line_16 |  | 14 | 15 | 0.0041839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_668-4_1_2_line_17 |  | 14 | 16 | 0.030292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_668-4_1_2_line_18 |  | 15 | 17 | 0.0096948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_668-4_1_2_line_19 |  | 16 | 18 | 0.01941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_668-4_1_2_line_20 |  | 16 | 19 | 0.022865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_668-4_1_2_line_21 |  | 17 | 20 | 0.002407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_668-4_1_2_line_22 |  | 17 | 21 | 0.027893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_668-4_1_2_line_23 |  | 18 | 22 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_668-4_1_2_line_24 |  | 20 | 23 | 0.45848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_668-4_1_2_line_25 |  | 22 | 24 | 0.022803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_668-4_1_2_line_26 |  | 23 | 41 | 0.01539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_668-4_1_2_line_27 |  | 24 | 26 | 0.01944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_668-4_1_2_line_28 |  | 24 | 32 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_668-4_1_2_line_29 |  | 25 | 26 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_668-4_1_2_line_30 |  | 26 | 33 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_668-4_1_2_line_31 |  | 27 | 28 | 0.00376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_668-4_1_2_line_32 |  | 28 | 29 | 0.011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_668-4_1_2_line_33 |  | 30 | 31 | 0.064094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_668-4_1_2_line_34 |  | 30 | 32 | 0.002884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_668-4_1_2_line_35 |  | 35 | 36 | 0.058827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_668-4_1_2_line_36 |  | 36 | 37 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_668-4_1_2_line_37 |  | 37 | 38 | 0.023338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_668-4_1_2_line_38 |  | 37 | 39 | 0.16667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_668-4_1_2_line_39 |  | 38 | 40 | 0.032585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_668-4_1_2_line_40 |  | 39 | 52 | 0.1358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_668-4_1_2_line_41 |  | 40 | 53 | 0.08286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_668-4_1_2_line_42 |  | 41 | 42 | 0.012948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_668-4_1_2_line_43 |  | 41 | 43 | 0.0058808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_668-4_1_2_line_44 |  | 42 | 49 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_668-4_1_2_line_45 |  | 43 | 44 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_668-4_1_2_line_46 |  | 45 | 46 | 0.077689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_668-4_1_2_line_47 |  | 45 | 47 | 0.021957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_668-4_1_2_line_48 |  | 46 | 48 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_668-4_1_2_line_49 |  | 47 | 52 | 0.086978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_668-4_1_2_line_50 |  | 49 | 50 | 0.084617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_668-4_1_2_line_51 |  | 50 | 51 | 0.08296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_668-4_1_2_line_52 |  | 51 | 53 | 0.026204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_668-4_1_2_trafo_213 | 0.63 MVA 20/0.4 kV | 54 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2585781.7738 | 1198525.7873 | 2585771.0222 | 1198523.9056
1 | 2585758.4636 | 1198521.7076 | 2585771.0222 | 1198523.9056
2 | 2585349.9198 | 1197396.9514 | 2585346.5286 | 1197396.0941 | 2585339.4451 | 1197392.7764 | 2585334.1024 | 1197388.1093 | 2585329.8983 | 1197381.883 | 2585327.321 | 1197376.2295
3 | 2585349.9198 | 1197396.9514 | 2585363.1658 | 1197400.3002
4 | 2585320.8165 | 1197361.9614 | 2585327.321 | 1197376.2295
5 | 2585384.1312 | 1197406.111 | 2585372.9191 | 1197402.766 | 2585363.1658 | 1197400.3002
6 | 2585316.758 | 1197353.0667 | 2585320.8165 | 1197361.9614
7 | 2585320.8165 | 1197361.9614 | 2585337.3248 | 1197366.8344 | 2585349.3135 | 1197365.8485
8 | 2585410.8093 | 1197418.6147 | 2585388.8481 | 1197407.5182 | 2585384.1312 | 1197406.111
9 | 2585316.758 | 1197353.0667 | 2585312.4839 | 1197343.172 | 2585309.1567 | 1197333.0562
10 | 2585354.0436 | 1197365.4595 | 2585349.3135 | 1197365.8485
11 | 2585410.8093 | 1197418.6147 | 2585418.9233 | 1197400.3845
12 | 2585410.8093 | 1197418.6147 | 2585422.0934 | 1197424.3162
13 | 2585369.0299 | 1197353.5176 | 2585365.2487 | 1197355.9153 | 2585354.8838 | 1197365.3904 | 2585354.0436 | 1197365.4595
14 | 2585420.1185 | 1197397.6993 | 2585418.9233 | 1197400.3845
15 | 2585440.2814 | 1197433.506 | 2585422.0934 | 1197424.3162
16 | 2585565.1637 | 1197501.0103 | 2585563.6648 | 1197504.9165
17 | 2585576.0161 | 1197472.7294 | 2585565.1637 | 1197501.0103
18 | 2585560.1915 | 1197513.9677 | 2585563.6648 | 1197504.9165
19 | 2585576.0161 | 1197472.7294 | 2585556.6487 | 1197471.4436
20 | 2585576.0161 | 1197472.7294 | 2585598.6256 | 1197476.1372
21 | 2585560.1915 | 1197513.9677 | 2585559.3288 | 1197516.2154
22 | 2585560.1915 | 1197513.9677 | 2585545.9037 | 1197510.6117 | 2585540.3617 | 1197505.289 | 2585538.7977 | 1197499.9827
23 | 2585556.6487 | 1197471.4436 | 2585553.4009 | 1197471.228 | 2585545.4433 | 1197469.0424
24 | 2585654.9926 | 1197964.6033 | 2585559.3288 | 1197516.2154
25 | 2585523.7 | 1197462.251 | 2585531.5745 | 1197465.2334 | 2585545.4433 | 1197469.0424
26 | 2585666.5232 | 1197974.6572 | 2585656.093 | 1197966.3113 | 2585654.9926 | 1197964.6033
27 | 2585523.7 | 1197462.251 | 2585517.0502 | 1197480.5214
28 | 2585503.7432 | 1197454.7067 | 2585523.7 | 1197462.251
29 | 2585517.0502 | 1197480.5214 | 2585516.4943 | 1197505.7823
30 | 2585517.0502 | 1197480.5214 | 2585500.8827 | 1197474.7559
31 | 2585369.0299 | 1197353.5176 | 2585372.2052 | 1197351.504
32 | 2585372.2052 | 1197351.504 | 2585382.0386 | 1197345.2683
33 | 2585440.2814 | 1197433.506 | 2585467.8468 | 1197441.1315 | 2585497.4543 | 1197452.3319 | 2585501.0452 | 1197453.6878
34 | 2585503.7432 | 1197454.7067 | 2585501.0452 | 1197453.6878
35 | 2585744.8377 | 1198151.5027 | 2585723.345 | 1198163.5329 | 2585698.3827 | 1198186.9051
36 | 2585682.1005 | 1198197.5392 | 2585690.5375 | 1198194.2505 | 2585698.3827 | 1198186.9051
37 | 2585682.1005 | 1198197.5392 | 2585666.8247 | 1198187.9932 | 2585662.1428 | 1198185.3586
38 | 2585682.1005 | 1198197.5392 | 2585698.0349 | 1198363.4453
39 | 2585662.1428 | 1198185.3586 | 2585659.7789 | 1198184.0303 | 2585644.6291 | 1198158.2827
40 | 2585674.8276 | 1198497.251 | 2585698.0349 | 1198363.4453
41 | 2585672.2158 | 1198096.331 | 2585665.5847 | 1198100.1601 | 2585655.025 | 1198104.2767 | 2585649.7777 | 1198107.2465 | 2585644.2227 | 1198112.0181 | 2585640.2669 | 1198116.8636 | 2585636.4158 | 1198124.0323 | 2585635.1645 | 1198132.462 | 2585637.1488 | 1198140.5838 | 2585643.2857 | 1198155.9995 | 2585644.6291 | 1198158.2827
42 | 2585666.5232 | 1197974.6572 | 2585663.6379 | 1197978.1994 | 2585660.292 | 1197985.8819
43 | 2585666.5232 | 1197974.6572 | 2585668.0714 | 1197972.4857 | 2585671.1304 | 1197971.5
44 | 2585647.4569 | 1197994.5139 | 2585655.8952 | 1197991.6142 | 2585659.1546 | 1197988.4935 | 2585660.292 | 1197985.8819
45 | 2585695.4312 | 1197972.691 | 2585690.6984 | 1197973.3538 | 2585671.1304 | 1197971.5 | 2585671.1304 | 1197971.5
46 | 2585766.3831 | 1198501.2285 | 2585767.6507 | 1198497.9506 | 2585779.8697 | 1198477.8661 | 2585789.5131 | 1198472.8959 | 2585800.8034 | 1198472.0129 | 2585819.2156 | 1198478.4168 | 2585827.583 | 1198481.7242
47 | 2585758.4636 | 1198521.7076 | 2585766.3831 | 1198501.2285
48 | 2585839.408 | 1198476.987 | 2585832.607 | 1198483.71 | 2585827.583 | 1198481.7242
49 | 2585674.8276 | 1198497.251 | 2585686.2337 | 1198500.2251 | 2585736.2859 | 1198513.6009 | 2585758.4636 | 1198521.7076
50 | 2585647.4569 | 1197994.5139 | 2585644.8839 | 1197998.0442 | 2585634.9681 | 1198004.0158 | 2585623.5551 | 1198014.3156 | 2585618.7932 | 1198019.6189 | 2585609.5275 | 1198023.5879 | 2585598.7431 | 1198026.1598 | 2585588.1792 | 1198031.7551 | 2585582.6071 | 1198038.9613 | 2585581.4488 | 1198042.7293
51 | 2585646.0998 | 1198094.7166 | 2585581.4488 | 1198042.7293
52 | 2585672.2158 | 1198096.331 | 2585650.7064 | 1198094.4597 | 2585646.0998 | 1198094.7166

## bus_geodata
| x | y | coords
0 | 2585781.7738 | 1198525.7873
1 | 2585771.0222 | 1198523.9056
2 | 2585349.9198 | 1197396.9514
3 | 2585327.321 | 1197376.2295
4 | 2585363.1658 | 1197400.3002
5 | 2585320.8165 | 1197361.9614
6 | 2585384.1312 | 1197406.111
7 | 2585316.7581 | 1197353.0667
8 | 2585349.3135 | 1197365.8485
9 | 2585410.8093 | 1197418.6147
10 | 2585309.1567 | 1197333.0562
11 | 2585354.0436 | 1197365.4595
12 | 2585418.9233 | 1197400.3845
13 | 2585422.0934 | 1197424.3162
14 | 2585565.1637 | 1197501.0103
15 | 2585563.6648 | 1197504.9165
16 | 2585576.0161 | 1197472.7294
17 | 2585560.1915 | 1197513.9677
18 | 2585556.6487 | 1197471.4436
19 | 2585598.6256 | 1197476.1372
20 | 2585559.3288 | 1197516.2154
21 | 2585538.7977 | 1197499.9827
22 | 2585545.4433 | 1197469.0424
23 | 2585654.9926 | 1197964.6033
24 | 2585523.7 | 1197462.251
25 | 2585516.4943 | 1197505.7823
26 | 2585517.0502 | 1197480.5214
27 | 2585369.0299 | 1197353.5176
28 | 2585372.2052 | 1197351.504
29 | 2585382.0386 | 1197345.2683
30 | 2585501.0452 | 1197453.6878
31 | 2585440.2814 | 1197433.506
32 | 2585503.7432 | 1197454.7067
33 | 2585500.8827 | 1197474.7559
34 | 2585420.1185 | 1197397.6993
35 | 2585744.8377 | 1198151.5027
36 | 2585698.3827 | 1198186.9051
37 | 2585682.1005 | 1198197.5392
38 | 2585662.1428 | 1198185.3586
39 | 2585698.0349 | 1198363.4453
40 | 2585644.6291 | 1198158.2827
41 | 2585666.5232 | 1197974.6572
42 | 2585660.292 | 1197985.8819
43 | 2585671.1304 | 1197971.5
44 | 2585695.4312 | 1197972.691
45 | 2585766.3831 | 1198501.2285
46 | 2585827.583 | 1198481.7242
47 | 2585758.4636 | 1198521.7076
48 | 2585839.408 | 1198476.987
49 | 2585647.4569 | 1197994.5139
50 | 2585581.4488 | 1198042.7293
51 | 2585646.0998 | 1198094.7166
52 | 2585674.8276 | 1198497.251
53 | 2585672.2158 | 1198096.331
54 | 2585559.3288 | 1197516.2154

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1